SUPERPAVE Digest 460

Topics covered in this issue include:

4) Vacuum Gauge

by jdagefor@DOR.state.ne.us

6) Vacuum Calibration Gauge for Degassing Ovens

by Tom Reese <prentex@iamerica.net>

- To: superpave@lists.cc.utexas.edu

- Subject: Vacuum Gauge

- From: jdagefor@DOR.state.ne.us

- Date: Tue, 15 May 2001 15:13:00 -0500

Any ideas on where I can find a calibrated NIST traceable vacuum gauge for

calibrating the vacuum degassing oven?

John A Dageforde

Nebraska Department of Roads

Materials and Research - Bituminous Laboratory

jdagefor@dor.state.ne.us

(402)479-4774

Fax (402) 479-3882

- To: Superpave List <superpave@lists.cc.utexas.edu>

- Subject: Vacuum Calibration Gauge for Degassing Ovens

- From: Tom Reese <prentex@iamerica.net>

- Date: Tue, 15 May 2001 17:40:38 -0500

In response to John Dageforde's inquiry:

As a manufacturer of a vacuum oven designed for the PAV degassing procedure, Prentex Alloy Fabricators offers a gauge specifically intended for calibrating vacuum ovens used in the degassing of PAV aged asphalt binder.

The gauge is o a 4.5" diameter, 0.5% accuracy gauge calibrated at an ISO9002 lab, with N.I.S.T. traceable calibration data at 25 In/Hg [the nearest whole in/Hg increment to 15kPa absolute for most users].  Furnished as a bottom-mount 1/4" NPT Connection with a 1/4" NPT coupling that allows it to be mounted directly to the metering valve for ease in calibration. It is available through Prentex or through a number of our distributors.  We accept verbal and written purchase authorizations from most customers.  No credit cards at this time.  Our P/N is 9900-P; list price is $220.00.

We also offer a similar gauge specifically for PAV pressure calibration -- 4.5", 0.5 accuracy, calibrated [with N.I.S.T. traceable data] at 305 psig..  Our P/N is 9300-P; list price is $220.00.

Other accessories for PAVs and vacuum degassing ovens are also available -- contact us for a parts and accessory list.

Orders may be placed by phone at [toll-free] 800-728-3812 / or [214] 748-  7837 or by fax at 214 - 748-7850, or e-mail to <prentex@iamerica.net> .

Tom Reese 
Prentex