State of Washington

DEPARTMENT OF GENERAL ADMINISTRATION

Office of State Procurement

Rm. 201 General Administration Building, P.O. Box 41017  Olympia, Washington 98504-1017  (360) 902-7400

http://www.ga.wa.gov

INVITATION FOR BID (IFB)

Steel Light Standards and Components (Category “A”)

Roadway Luminaires and Lighting (Category “B”)

| Contract Number | Prebid Conference Date & Time | Bid Opening Date & Time |
| --- | --- | --- |
| 03207 | May 16, 2007– 10:00 AM RSVP to mmaveric@ga.wa.gov (Requested But Not Required) (Seating is Limited) | May 24, 2007- 2:00 PM. |

bids must be received& Stamped on or before the opening date & time at this location:

210 11th AVe SW, Rm. 201, General Administration Building Olympia WA 98504-1017

Heidi Bohl, CPPB

Contracts Specialist

Phone  (360) 902-7436

Fax (360) 586-2426

E-mail  hbohl@ga.wa.gov

For a site map to the Capitol Campus, click http://www.ga.wa.gov/images/campus-map.pdf

Driving directions and parking information http://www1.leg.wa.gov/WorkingwithLeg/parking.htm

# ANNOUNCEMENT AND SPECIAL INFORMATION

Bidders are required to read and understand all information contained within this entire bid package.  The Competitive Procurement Standards, which are referred to in this bid package are not automatically printed or sent out with this IFB.  By responding to this IFB the bidder agrees to read and understand these documents.  These documents are available on our website at http://www.ga.wa.gov/pca/cps.htm.

In support of the State’s economic and environmental goals, we encourage you to consider the following elements in responding to our bids.  These are not a factor of award (unless otherwise specified in this document):

- Using environmentally preferable products and products that exceed EPA guidelines

- Supporting a diverse supplier pool, including small, minority, and women-owned firms

- Featuring products made or grown in Washington

Table of Contents

1	ANNOUNCEMENT AND SPECIAL INFORMATION	1

1.1	questions & inquiries	3

1.2	SCOPE	3

1.3	Purchasers	3

1.4	Term	4

1.5	Usage	4

1.6	PRE-BID CONFERENCE	4

1.7	PUBLIC DISCLOSURE	4

2	CHECK LIST	5

3	Bid Submittals	6

3.1	OFFER AND AWARD	6

3.2	BID INFORMATION	7

3.3	SPECIFICATIONS	9

3.4	PRICE SHEETS	17

3.5	SUPPLEMENTAL INFORMATION	30

3.6	REFERENCES	30

3.7	dealer authoRization	30

3.8	Washington Electronic Business Solution (WEBS)	30

3.9	Minimum orders	30

4	BID EVALUATION	30

4.1	EVALUATION / AWARD	30

4.2	EVALUATION CONFERENCE	31

5	CONTRACT REQUIREMENTS	31

5.1	RETENTION OF RECORDS	31

5.2	REPORTS	31

6	SPECIAL TERMS AND CONDITIONS	32

6.1	DELIVERY LOCATION	32

6.2	DELIVERY TIME	32

6.3	PRICING AND ADJUSTMENTS	33

6.4	CONTRACTOR PERFORMANCE	34

6.5	PURCHASING CARD ACCEPTANCE	34

6.6	BIDDER COMPLIANCE	34

6.7	ADDITIONS OR DELETIONS	34

6.8	Specifications compliance	34

## questions & inquiries

All questions related to the IFB shall be directed to the Contract Specialist (CS).  Questions submitted prior to the pre-bid conference are to be emailed to the Michael Maverick at mmaveri@ga.wa.gov

These will be reviewed and addressed at the conference.  Questions received after the conference are to be in email form and maybe responded to by the CS via email.  Emails are not considered a form of written amendment and are not binding.  However, any changes to the bid document will be issued via a written amendment and posted on our website.  Notification of amendment will be through OSP’s Washington’s Electronic Business Solution (WEBS) system.

Inquiries are to be in writing and shall reference the appropriate section and paragraph number.  Questions should be submitted 5 calendar days prior to bid opening.  Only questions answered by written amendment are binding. Oral interpretations have no legal effect.

## SCOPE

The purpose of this IFB is to establish a mandatory contract for the purchase of Roadway Luminaries and Lighting; and Lighting Standards and Components.  This contract will replace contract number 00300 for Lighting Standards and Components and contract number 02101 for Roadway Luminaries and Lighting.  Refer to specifications Section 3.3.

## Purchasers

The primary purchaser(s) will be the Washington State Department of Transportation.  However, based upon contractor’s agreement, the contract will be made available to all other state agencies and institutions of higher education, for delivery on a statewide basis.

Purchasing Cooperatives

While use of the contract by members of the WSPC and DASCPP/ORCPP is optional, the state encourages them to use state contracts.  Their use of the contracts may significantly increase the purchase volume.  Their orders are subject to the same contract terms, conditions and pricing as state agencies.  The state accepts no responsibility for payment by WSPC or DASCPP/ORCPP members.

Based upon contractor’s agreement, the contract will be made available to political subdivisions and non-profit organizations which are members of the State of Washington Purchasing Cooperative (WSPC) and/or State of Oregon Cooperative Purchasing Program (DASCPP/ORCPP).  A list of Washington members is available on the Internet https://fortress.wa.gov/ga/inet/servlet/PCACoopListSv.  A list of Oregon members is available through at http://procurement.oregon.gov/DAS/PFSS/SPO/coop-menu.shtml  Contractors shall not process state contract orders from unauthorized purchasers.

Purchases by Nonprofit Corporations

Legislation allows nonprofit corporations to participate in state contracts for purchases administered by OSP.  By mutual agreement with OSP, the contractor may sell goods or services at contract pricing awarded under this contract to self certified nonprofit corporations.  Such organizations purchasing under this contract shall do so only to the extent they retain eligibility and comply with other contract and statutory provisions.  The contractor may make reasonable inquiry of credit worthiness prior to accepting orders or delivering goods or services on contract.  The state accepts no responsibility for payments by nonprofit corporations.  Their use of the contracts may significantly increase the purchase.

## Term

The initial term shall be for 2 years starting from date of award (which is projected to be within forty-five days after bid opening date), with the option to extend for additional terms or portions.  Extensions will be subject to mutual agreement between the customers, contract holders and the Office of State Procurement.  The total contract term may not exceed six (6) years.  During the life of this contract specifications may be modified to incorporate industry upgrades.

## Usage

We estimate that purchases over the two year initial term of the contract will be an approximate value of $300,000.00.  This is representative of historical purchases and does not represent guaranteed sales.  The State does not guarantee any minimum purchase.  Orders will be placed on an as needed basis.  Refer to price sheets for breakdown of usage by item.

## PRE-BID CONFERENCE

An optional conference to address contractual requirements will be held at the time and location indicated below.  Prospective bidders are encouraged to be present.  As seating is limited please RSVP to Michael Maverick mmaveri@ga.wa.gov (requested but no limited).  If changes are required as a result of the conference, written bid amendments will be issued.

Note:  Assistance for disabled, blind or hearing-impaired persons who wish to attend is available with pre-arrangement with the Office of State Procurement (OSP).  Contact the Contracts Specialist identified on the face page of this document

| Pre Bid Date: | May 16, 2007 |
| --- | --- |
| Pre Bid Time: | 10:00 A.M. |
| Pre Bid Location: | Office of State Procurement General Administration Building, Room 201 210 11th Avenue S.W. Olympia Washington 98504-1017 |

The Washington State Department of Transportation (WSDOT) develops its bid specifications via a specification committee. Its members and coverage are state wide.  Any Change to bid specifications requires review of the committee.  Therefore the representative attending the pre-bid conference from WSDOT will not be able to confirm the questions or concerns raised. However this person will collect all questions and concerns and present them to the specification committee for review.

## PUBLIC DISCLOSURE

Bid information, including price sheets, will not be available for public disclosure until after award of the contract.  At the time of bid opening, only the name of the bidder and time of bid receipt will be read aloud.

### Bid evaluation and award criteria can be found in the section entitled BID EVALUATION

# CHECK LIST

This checklist is provided for bidder's convenience only and identifies the bid documents that must be submitted with each package.  Any bid packages received without these documents may be deemed non-responsive and may not be considered for award.

| Bid submittal entitled: Offer and Award |  |
| --- | --- |
| Bid submittal entitled: Bid Information |  |
| Bid submittal entitled: Specifications |  |
| Bid submittal entitled: Price Sheets |  |
| Bid submittal entitled: Supplemental Information |  |
| Bid submittal entitled: References |  |
| Bid submittal entitled: Dealer Authorization |  |

Documents to be provided after contract award

| Certificate of Insurance |  |
| --- | --- |
| Sales/Services Usage Report |  |

# Bid Submittals

## OFFER AND AWARD

Bidders are required to read and understand all information contained within this entire bid package.  There are some standard documents, which are referred to in this bid package that are not automatically printed or sent out with this bid.  For example, Competitive Procurement Standards (Standard Terms and Conditions, Instructions to Bidders, Definitions), Sales/Service & Subcontractor Report are binding terms of this contract.  It is important that you read and understand these documents.  These documents are available on our website at http://www.ga.wa.gov/pca/cps.htm.  If you do not have Internet access, you may contact the State Procurement Officer to obtain copies of any and all documents contained in this bid package.

STANDARD DEFINITIONS revised 06/02/03

STANDARD INSTRUCTIONS FOR BIDDERS revised 06/02/03

STANDARD TERMS AND CONDITIONS revised 07/31/06

Bidder further offers to furnish materials, equipment or services in compliance with all terms, conditions, and specifications herein including all amendments. Submitting this document with an authorized signature constitutes complete understanding and compliance with the terms and conditions and certifies that all-necessary facilities or personnel are available and established at the time of bid submittal.

| (Company Name) |  | (Typed or Printed Name) |
| --- | --- | --- |
| (Address) |  | (Title) |
| (City) (State) (Zip) |  | (Phone No.) |
| (Federal Tax Identification Number) |  | (Bidder’s Signature) (Date) |
| DO NOT PROVIDE SOCIAL SECURITY NUMBER |  |  |
| Email |  |  |

CONTRACT AWARD

(For State of Washington Use Only)

A contract is hereby awarded between the above company and the State of Washington, Office of State Procurement, Purchasing and Contract Administration, to be effective 			, Year		.  This is a Partial/Total award for 					.

Authorized Signatures

| (Contracts Specialist) |  | (Date) |  | (Purchasing Unit Manager) |  | (Date) |
| --- | --- | --- | --- | --- | --- | --- |

## BID INFORMATION

Bidder shall complete the following:

- Free on Board (FOB) Destination, freight prepaid and included in price to DOT locations throughout the state of Washington which may include but are not limited to the following:

| Eastern Region 2714 North Mayfair Street Spokane, WA 99207-2090 | North Central Region 1551 North Wenatchee Ave Wenatchee, WA 98801-1156 | Northwest Region 3700-9th Ave South Seattle, WA 98108 |
| --- | --- | --- |
| Olympic Region 5720 Capitol Blvd Tumwater, WA 98501-2601 | South Central Region 2809 Rudkin Road Union Gap, WA 98903-1648 | Southwest Region 4200 Main Street Vancouver, WA 98663-1847 |

- Bidder agrees to sell goods and services on this contract to political subdivisions registered with the Office of State Procurement with a 	 % increase to accommodate additional freight costs to Oregon locations.

- Prompt Payment Discount 		% 30 days.  Note: Prompt payment discount periods equal to (or greater than) 30 calendar days will receive consideration and bid pricing will be reduced (for evaluation purposes only) by the amount of that discount(s).

- Purchasing (Credit) Cards accepted Yes ______________	No ______________

(Washington State Purchasing card is VISA)

If yes, please list major credit card brands below:

Payment discount for transactions involving card use:  __________% Discount.

- Authorized Representative:

| Primary Contact-Contract Administration |  | Alternate Contact – Contract Administration |  |
| --- | --- | --- | --- |
| Name: |  | Name: |  |
| Telephone: |  | Telephone: |  |
| Fax: |  | Fax: |  |
| Email: |  | Email: |  |

| Customer Service/Order Placement |  |  |  |
| --- | --- | --- | --- |
| Name: |  | Name: |  |
| Telephone: |  | Telephone: |  |
| Fax: |  | Fax: |  |
| Email: |  | Email: |  |

Emergency Phone:

- Lead-time:  Materials, equipment or services will be delivered within calendar 		 days after receipt of order (ARO); not to exceed 60 days.

- Addresses:

| Orders to be sent to: |  | Billing will be from: |  | Payment to be sent to: |
| --- | --- | --- | --- | --- |

- Firms bidding from California only: Is your firm currently certified as a small business under California Code, Title 2, Section 1896.12?  Yes 		 No 		.

## SPECIFICATIONS

Category “A”

Steel Light Standards and Components

General

Light standards shall conform to these specifications and the following:

- Applicable sections of the Washington State Department of Transportation Standard Specifications for Road, Bridge and Municipal Construction 2006

- Latest Amendments to the 2006 Standard Specifications for Road, Bridge and Municipal Construction

- WSDOT Standard Plans for Road, Bridge and Municipal Construction

- Pre-approved plans for light standards

All standards shall be furnished complete with handhole covers, but without anchor bolts.  Components shall be furnished complete with all connection hardware.  Anchor bolts shall be ordered and furnished as a separate item when required.

Standard Specifications 2006 (M41-10), Amendments to the Standard Specifications and Standard Plans M21-01) are available at:  http://www.wsdot.wa.gov/fasc/EngineeringPublications/library.htm#S

Pre-approved drawings for light standards are available at the following internet site:

http://www.wsdot.wa.gov/eesc/bridge/lightsignalstandards/lightsignalstandards.htm

Description

The unit shall consist of furnishing steel light standards and components as follows:

| Item |  |
| --- | --- |
| 1. | 40' mounting height shaft with post top mounting with three bolt base plate. |
| 2. | 37' mounting height shaft with post top mounting with special 4 bolt base plate. |
| 3. | 37' mounting height shaft with post top mounting with median barrier base plate. |
| 4. | 30' mounting height shaft for Type 1 luminaire arm with 3 bolt base plate. |
| 5. | 40' mounting height shaft for Type 1 luminaire arm with 3 bolt base plate. |
| 6. | 50' mounting height shaft for Type 1 luminaire arm with 3 bolt base plate. |
| 7. | 30' mounting height shaft for Type 1 luminaire arm with special 4 bolt base plate. |
| 8. | 40' mounting height shaft for Type 1 luminaire arm with special 4 bolt base plate. |
| 9. | 40' mounting height shaft with elbow attachment for 6' Type 2 luminaire arm and 3 bolt base plate. |
| 10. | 40' mounting height shaft with elbow attachment for 8' Type 2 luminaire arm and 3 bolt base plate. |

| Item |  |
| --- | --- |
| 11. | 40' mounting height shaft with elbow attachment for 10' Type 2 luminaire arm and 3 bolt base plate. |
| 12. | 40' mounting height shaft with elbow attachment for 12' Type 2 luminaire arm and 3 bolt base plate. |
| 13. | 40' mounting height shaft with elbow attachment for 14' Type 2 luminaire arm and 3 bolt base plate. |
| 14. | 40' mounting height shaft with elbow attachment for 16' Type 2 luminaire arm and 3 bolt base plate. |
| 15. | 50' mounting height shaft with elbow attachment for 8' Type 2 luminaire arm and 3 bolt base plate. |
| 16. | 50' mounting height shaft with elbow attachment for 12' Type 2 luminaire arm and 3 bolt base plate. |
| 17. | 50' mounting height shaft with elbow attachment for 16' Type 2 luminaire arm and 3 bolt base plate. |
| 18. | 47’mounting height shaft with elbow attachment for 8' Type 2 double luminaire arm and special 4 bolt base plate |
| 19. | 6' Type 1 luminaire arm. |
| 20. | 8' Type 1 luminaire arm. |
| 21. | 10' Type 1 luminaire arm. |
| 22. | 12' Type 1 luminaire arm. |
| 23. | 14' Type 1 luminaire arm. |
| 24. | 16' Type 1 luminaire arm. |
| 25. | 6' Type 2 luminaire arm. |
| 26. | 8' Type 2 luminaire arm. |
| 27. | 10' Type 2 luminaire arm. |
| 28. | 12' Type 2 luminaire arm. |
| 29. | 14' Type 2 luminaire arm. |
| 30. | 16' Type 2 luminaire arm. |
| 31. | 3 bolt slip base assembly with clamping bolts and keeper plate. |
| 32. | Slip base adapter for 4-bolt light standard base and 4 bolt foundation. |
| 33. | 1” anchor bolt set for 3 bolt base or slip base. |
| 34. | 1” anchor bolt set for 4 bolt base. |

Fabrication Requirements

Light Standards and Components shall be fabricated in accordance with the methods and material noted in the applicable WSDOT Standard Plans, pre-approved plans, WSDOT Standard Specifications and Amendments, and exceptions noted below.  Welding inspection shall comply with Section 6-03.3(25)A of the Standard Specifications.

Item 1:	This item shall conform to the requirements noted on the following pre-approved plans.  The post top slip fit tenon will have a 4” O.D. and 5-1/2” projection.  Please verify with customer before releasing for manufacture.  If the manufacturers pre-approved plan does not include a Post Top Mounting Detail, it shall require approval by the WSDOT Bridge and Structures Engineer prior to delivery.  (See Post Top Mounting Detail):

Fabricator				Pre-Approved Plan

Ameron Pole Products		Drawing No. W3720-1, Rev. C & W3720-2, Rev. A

Northwest Signal Supply Inc.		Drawing No. NWS 3515, Rev. 4/6/04 or NWS 3515B, Rev. 4/6/04

Valmont Industries Inc.		Drawing No. DB00653 Rev. A, Sheets 1, 2 & 3

American Pole Structures, Inc.	Drawing No. WS-SL-02

Union Metal Corp.			Drawing No. 71035-B39, Rev 2, Sheets 1 & 2

West Coast Engineering Group	Drawing No. WSDOT-LP-02, Rev. 1, Sheets 1 & 2

Item 2:	This item shall have the same requirements as Item 1 except mounting height shall be 37' and the special base plate shall conform to the Barrier Mounted Pole Base Plate detail on Standard Plan J-1d except the base plate dimensions shall be 14-1/4" x 14-1/4" x 1-1/4" with four 1-1/4" bolt holes on a 14" bolt circle.

Item 3:	This item shall conform to the requirements of Item 1 except the mounting height shall be 37' and the base plate shall conform to the Barrier Mounted Pole Base Plate detail on Standard Plan J-1d.

Items 4 through 6 and Items 19 through 24:

These items shall conform to the requirements noted on the following pre-approved plans:

Fabricator				Pre-Approved Plan

Ameron Pole Products		Drawing No. W3721-1, Rev. E & W3721-2, Rev. A

Northwest Signal Supply Inc.	Drawing No. NWS 3510, Rev. 4/6/04 or NWS 3510B, Rev. 4/6/04

Valmont Industries Inc.	Drawing No. DB00654, Rev. A, Sheets 1, 2 & 3

American Pole Structures, Inc.	Drawing No. WS-SL-01

Union Metal Corp.	Drawing No. 71035-B39, Rev. 2,Sheets 1 & 2 & 71035-B38, Rev. 2, Sheets 1 & 2

West Coast Engineering Group	Drawing No. WSDOT-LP-01, Rev. 2Sheets 1 & 2 or WSDOT LP-01-BE, Rev 0, Sheets 1 & 2 or WSDOT-LP-01-C8B, Rev. 0

Items 7 and 8:

These items shall have the same requirements as Items 4 and 5 except the special base plate shall be 12-1/2" x 12-1/2" x 1", with four 1-1/2" x 2” bolt slots on a 12" bolt circle.

Items 9 through 17 and Items 25 through 30:

These items shall conform to the requirements noted on the following pre-approved plans:

Fabricator				Pre-Approved Plan

Ameron Pole Products		Drawing No. W3720-1, Rev. C & W3720-2, Rev. A

Northwest Signal Supply Inc.	Drawing No. NWS 3515, Rev. 4/6/04 or NWS 3515B, Rev. 4/6/04

Valmont Industries Inc.		Drawing No. DB00653, Rev. A, Sheets 1, 2 & 3

American Pole Structures, Inc.	Drawing No. WS-SL--02

West Coast Engineering Group	Drawing No. WSDOT-LP-02, Rev. 1, Sheets 1 & 2

Item 18:	This item shall conform to the requirements of Item 15 except the mounting height shall be 47', the shaft shall be fabricated for double Type 2 luminaire mast arms, and the special base plate shall conform to the Barrier Mounted Pole Base Plate detail on Standard Plan J-1d except the plate dimensions shall be 16" x 12" x 1-3/4" with four 1-1/4" bolt holes on a 11-3/4" x 5-1/2" rectangular pattern.

Item 31:	This item shall conform to the requirements noted on Standard Plan J-1b and the WSDOT Standard Specification 9-29.6(2) for the slip base assembly or the pre-approved drawings listed above. The item shall include the anchor plate, slip plate, the keeper plate, and the clamping bolts complete with nuts and washers.

Item 32:	This item shall conform to the requirements noted on Standard Plan J-1c for adapter type A-1 and WSDOT Standard Specification 9-29.6(2) for the slip base adapter.

Item 33:	This item shall conform to the requirements noted in Standard Plan J-1b and WSDOT Standard Specification 9-29.6(5) for anchor bolts for light standards or the pre-approved plans for light standards listed above.  This item shall include 3 - 1” x 4’-6” long anchor bolts and 2 anchor bolt templates.  Each bolt shall be furnished with 6 heavy hex nuts, 2 flat washers, and 1 - 4”square x 3/8” thick bearing plate.

Item 34:	This item shall have the same requirements as item 33 except the set shall include 4 anchor bolts and the anchor bolt templates will not be included.

Item 32:	Requires approval by the WSDOT Bridge and Structures Engineer prior to delivery.

If any of the pre-approved drawings are revised and approved by WSDOT Bridge and Structures Office during the term of this contract, the contractor shall supply light standards and components conforming to the revised drawings.

Component Identification

Light standards and luminaire arms will require identification tags.  The tags shall conform to the detail shown on the pre-approved drawings.  Slip base assemblies shall be bundled or packaged together complete with nuts, bolts, and washers and marked with the light standard number and contract number or purchase order number.  Anchor bolt sets, complete with nuts, washers plates and templates shall be bundled and tagged with the contract number or purchase order identification numbers.

Documentation

All manufacturer certification reports, including mill certifications, non-destructive testing reports, and anchor bolt reports shall be submitted for each light standard, component, and anchor bolt set.  All certifications and reports shall be marked with the purchase order number and contract number and shall be sent to the fabrication inspector.  The contractor shall notify the state, in advance, of the arrival of the light standards and components at the delivery site so that inspection can be scheduled.

Quality Assurance Inspection

Quality assurance inspection for light standards and components purchased by WSDOT will be provided by the WSDOT Materials Fabrication Inspection Office.  WSDOT purchasers shall contact the inspection office for information regarding inspection services. As the WSDOT Materials Laboratory operates on a cost recovery system, purchasers must provide a method of payment for inspection services.  Other purchaser may also contact the Materials Fabrication Inspection Office for information regarding inspection services.

The following process is used for quality assurance inspection and acceptance of inspected items.

- The purchaser shall notify the Materials Fabrication Inspection Office that they have placed an order for light standards and components (luminaire arms, slip base assemblies, anchor bolts, etc.) and that these items will require inspection at the fabrication plant or upon arrival at the delivery site*.  (*The Materials Fabrication Inspection Office will determine the inspection site based on plant location.)

The notice shall include contact information, the purchase order number, contract number, estimated delivery date, and a method for the fabrication inspectors to recover their inspection costs.  Contact information for the Fabrication Inspection Office can be found at:  Mats Lab Fabrication Inspection (http://www.wsdot.wa.gov/biz/mats/Construction/fabinsp.htm)

- The fabricator shall give two business days notice to the WSDOT Materials Fabrication Inspection Office so that fabrication inspection can be scheduled.  (Inspection site will be determined by fabrication inspection office.)

- The fabricator shall make arrangements for delivery with the purchaser.

- The Purchaser’s inspection of all materials and equipment upon delivery is for the sole purpose of identification.  Such inspection shall not be construed as final acceptance or as acceptance of materials or equipment if materials or equipment do not conform to contractual requirements.  If there are any apparent defects in the materials or equipment at the time of delivery, the Purchaser will promptly notify the Contractor thereof.  Without limiting any other rights, the Purchaser and/or the State at its option, may require the Contractor to:

- Repair or replace, at Contractor's expense, any or all of the damaged goods,

- Refund the price of any or all of the damaged goods, or

- Accept the return of any or all of the damaged goods without penalties.

- If inspection occurred at the fabrication site, light standards and components will be stamped or tagged “APPROVED FOR SHIPMENT”.  If there are no stamps or tags, the Purchaser shall notify the WSDOT Materials Fabrication Inspection Office that the light standards or components have arrived at the delivery site and are ready for inspection.

- The Materials Fabrication Inspection Office will inspect the light standards and components at the delivery site and if approved, they will be stamped or tagged “APPROVED FOR SHIPMENT”.  Material certification and nondestructive test reports shall be provided by the manufacturer and shall be available at the time of inspection.  Inspection at the delivery site is included in the 60 calendar day delivery time period.

If light standards or anchor bolts are not in compliance with the order, fail the fabrication inspection, or are damaged due to shipping, they shall be repaired to the satisfaction of the State or shall be replaced by the contractor at no additional cost to the State.

Category “B”

Roadway Luminaires and Lighting

All luminaries and components supplied for this contract shall comply with the applicable sections of the Washington State Department of Transportation Standard Specifications For Road, Bridge and Municipal Construction 2006.

Standard Specifications 2006 (M41-10) are available at:

http://www.wsdot.wa.gov/fasc/EngineeringPublications/library.htm#S

Specifications are listed under Section 9-29.

## PRICE SHEETS

Category “A”

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 1. | 40' mounting height shaft with post top mounting with three bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 36 | Ea | $ | $ |
| 2. | 37' mounting height shaft with post top mounting with special 4 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 3. | 37' mounting height shaft with post top mounting with median barrier base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 4. | 30' mounting height shaft for Type 1 luminaire arm with 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 5. | 40' mounting height shaft for Type 1 luminaire arm with 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 60 | Ea | $ | $ |
| 6. | 50' mounting height shaft for Type 1 luminaire arm with 3 bolt base. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2 | Ea | $ | $ |
| 7. | 30' mounting height shaft for Type 1 luminaire arm with special 4 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 20 | Ea | $ | $ |
| 8. | 40' mounting height shaft for Type 1 luminaire arm with special 4 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2 | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 9. | 40' mounting height shaft with elbow attachment for 6' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 20 | Ea | $ | $ |
| 10. | 40' mounting height shaft with elbow attachment for 8' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 11. | 40' mounting height shaft with elbow attachment for 10' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 12. | 40' mounting height shaft with elbow attachment for 12' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2 | Ea | $ | $ |
| 13. | 40' mounting height shaft with elbow attachment for 14' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 14. | 40' mounting height shaft with elbow attachment for 16' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 44 | Ea | $ | $ |
| 15. | 50' mounting height shaft with elbow attachment for 8' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 16. | 50' mounting height shaft with elbow attachment for 12' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: |  | Ea | $ | $ |
| 17. | 50' mounting height shaft with elbow attachment for 16' Type 2 luminaire arm and 3 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 6 | Ea | $ | $ |
| 18. | 47' mounting height shaft with elbow attachment for 8' Type 2 double luminaire arms and special 4 bolt base plate. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 19. | 6' Type 1 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 20. | 8' type 1 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 21. | 10' Type 1 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2 | Ea | $ | $ |
| 22. | 12' Type 1 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 18 | Ea | $ | $ |
| 23. | 14' Type 1 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 4 | Ea | $ | $ |
| 24. | 16' Type 1 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 122 | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 25. | 6' Type 2 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 26. | 8' Type 2 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2* | Ea | $ | $ |
| 27. | 10' Type 2 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2 | Ea | $ | $ |
| 28. | 12' Type 2 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 2 | Ea | $ | $ |
| 29. | 14' Type 2 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 4 | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

| Item | Description | Est. 2-Year Usage | Unit of Measure | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 30. | 16' Type 2 luminaire arm. Pre-approved Drawing No.: For Product Bid State: Mfg.: Catalog/ Design No: | 38 | Ea | $ | $ |
| 31. | 3 bolt slip base assembly with clamping bolts and keeper plate. For Product Bid State: Mfg.: Brand/Model: | 6 | Ea | $ | $ |
| 32. | Slip base adapter type A-1 for 4-bolt light standard base and 4 bolt foundation. For Product Bid State: Mfg.: Brand/Model: | 2* | Ea | $ | $ |
| 33. | 1" anchor bolt set for 3 bolt base or slip base. For Product Bid State: Mfg.: Brand/Model: | 18 | Ea | $ | $ |
| 34. | 1" anchor bolt set for 4 bolt base. For Product Bid State: Mfg.: Brand/Model: | 2 | Ea | $ | $ |
|  |  |  |  | Total |  |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

CATEGORY “B”

General Electric

| Item | Description | G.E. CAT. # | Est. 2-Year Usage | UoM | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
|  | 200W HPS 240V w/out PE Socket | MDCL20S3M12FMC32 | 2* | Ea | $ | $ |
|  | 200W HPS 480V w/out PE Socket | MDCL20S5M12FMC32 | 80 | Ea | $ | $ |
|  | 200W HPS Multi-Volt w/out PE Socket | MDCL20S0M12FMC32 | 12 | Ea | $ | $ |
|  | 200W HPS 120V w/PE Socket | MDCL20SIM22FMC32 | 4 | Ea | $ | $ |
|  | 200W HPS 480V w/PE Socket | MDCL20S5M22FMC32 | 4 | Ea | $ | $ |
|  | 200W HPS Multi-Volt Power Door Ballast Unit | MDRL20SOM | 2* | Ea | $ | $ |
|  | 200W HPS 480V Power Door Ballast Unit | MDRL20S5M | 2* | Ea | $ | $ |
|  | 250W HPS 240V w/out PE Socket | MDCL25S3M12FMC32 | 2* | Ea | $ | $ |
|  | 250W HPS 480V w/out PE Socket | MDCL25S5M12FMC32 | 2 | Ea | $ | $ |
|  | 250W HPS Multi-Volt w/out PE Socket | MDCL25SOM12FMC32 | 12 | Ea | $ | $ |
|  | 250W HPS 120V w/PE Socket | MDCL25S1M22FMC32 | 2* | Ea | $ | $ |
|  | 250W HPS Multi Volt Power Door Ballast Unit | MDRL25SOM | 2* | Ea | $ | $ |
|  | 250W HPS 240V w/PE Socket | MDCL25S3M22FMC32 | 2* | Ea | $ | $ |
|  | 250W HPS 480V POower Door Ballast Unit | MDRL25S5M | 2* | Ea | $ | $ |
|  | 310W HPS 240V w/out PE Socket | MDCL31S3M12FMC32 | 28 | Ea | $ | $ |
|  | 310W HPS 480V w/out PE Socket | MDCL31S5M12FMC32 | 38 | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

General Electric (continued)

| Item | Description | G.E. CAT. # | Est. 2-Year Usage | UoM |  | Unit Price | Total Price |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 310W HPS Multi-Volt w/out PE Socket | MDCL31SOM12FMC32 | 24 | Ea |  | $ | $ |  |
|  | 310W HPS Multi Volt Power Door Ballast Unit | MDRL31SOM | 2* | Ea |  | $ | $ |  |
|  | 310W HPS 240V w/PE Socket | MDCL31S3M22FMC32 | 2 | Ea |  | $ | $ |  |
|  | 310W HPS 480V Power Door Ballast Unit | MDRL31S5M | 2* | Ea |  | $ | $ |  |
|  | 400W HPS 240V w/out PE Socket | MDCL40S3M12FMC32 | 2* | Ea |  | $ | $ |  |
|  | 400W HPS 480V w/out PE Socket | MDCL40S5M12FMC32 | 84 | Ea |  | $ | $ |  |
|  | 400W HPS Multi-Volt w/out PE Socket | MDCL40SOM12FMC32 | 16 | Ea |  | $ | $ |  |
|  | 400W HPS Multi-Volt Power Door Ballast Unit | MDRL40SOM | 2* | Ea |  | $ | $ |  |
|  | 400W HPS 480V Power Door Ballast Unit | MDRL40S5M | 2* | Ea |  | $ | $ |  |
|  | Starter Boards for Cobra Heads | 35-216710R01 | 20 | Ea |  | $ | $ |  |
|  | Starter Boards For Cobra Heads | 35-216700R10 | 20 | Ea |  | $ | $ |  |
|  | 200 W HPS 120/240 V W/OUT PE SOCKET | MDCA20S7M12FMC3N | 26 | Ea |  | $ | $ |  |
|  | 250 W HPS 120/240 V W/OUT PE SOCKET | MDCA25S7M12FMC3N | 2* | Ea |  | $ | $ |  |
|  | 400 W HPS 120/240 V W/OUT PE SOCKET | MDCA40S7M12FMC3N | 20 | Ea |  | $ | $ |  |
|  | 200 W HPS 480 V W/OUT PE SOCKET | MDCA20S5M12FMC3N | 2* | Ea |  | $ | $ |  |
|  | 250 W HPS 480 V W/OUT PE SOCKET | MDCA25S5M12FMC3N | 2* | Ea |  | $ | $ |  |
|  | 400 W HPS 480 V W/OUT PE SOCKET | MDCA40S5M12FMC3N | 2* | Ea |  | $ | $ |  |
|  |  |  |  |  | Total |  |  |  |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

Hubbell

| Item | Description | Hubbell CAT. # | Est. 2-Year Usage | UoM | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
|  | 200W HPS 240V w/out PE Socket | RLCD20S76032025F0M53 | 2* | Ea | $ | $ |
|  | 200W HPS 480V w/out PE Socket | RLCD20S77032025F0M53 | 2* | Ea | $ | $ |
|  | 200W HPS Multi-Volt w/out PE Socket | RLCD20S78032025F0M53 | 2* | Ea | $ | $ |
|  | 200W HPS 120V w/PE Socket | RLCD20S76032035F0M53 | 2* | Ea | $ | $ |
|  | 200W HPS 480V w/PE Socket | RLCD20S77032035F0M53 | 2* | Ea | $ | $ |
|  | 200W HPS Multi-Volt Power Door Ballast Unit | RLGD20S76(120/240) | 2* | Ea | $ | $ |
|  | 200W HPS 480V Power Door Ballast Unit | RLGD-20S77(240/480) | 2* | Ea | $ | $ |
|  | 250W HPS 240V w/out PE Socket | RLCD25S76032025F0M53 | 2* | Ea | $ | $ |
|  | 250W HPS 480V w/out PE Socket | RLCD25S77032025F0M53 | 2* | Ea | $ | $ |
|  | 250W HPS Multi-Volt w/out PE Socket | RLCD25S78032025F0M53 | 2 | Ea | $ | $ |
|  | 250W HPS 120V w/PE Socket | RLCD25S76032035F0M53 | 2* | Ea | $ | $ |
|  | 250W HPS Multi Volt Power Door Ballast Unit | RLGD25S76(120/240) | 2* | Ea | $ | $ |
|  | 250W HPS 240V w/PE Socket | RLCD25S76032035F0M53 | 2* | Ea | $ | $ |
|  | 250W HPS 480V Power Door Ballast Unit | RLGD25S77(240/480) | 2* | Ea | $ | $ |
|  | 310W HPS 240V w/out PE Socket | RLCD31S76032025F0M53 | 2* | Ea | $ | $ |
|  | 310W HPS 480V w/out PE Socket | RLCD31S77032025F0M53 | 2* | Ea | $ | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

Hubbell (continued)

| Item | Description | Hubbell CAT. # | Est. 2-Year Usage | UoM |  | Unit Price | Total Price |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 310W HPS Multi-Volt w/out PE Socket | RLCD31S78032025F0M53 | 6 | Ea |  | $ | $ |  |
|  | 310W HPS Multi Volt Power Door Ballast Unit | RLGD31S76(120/240) | 2* | Ea |  | $ | $ |  |
|  | 310W HPS 240V w/PE Socket | RLCD31S76032035F0M53 | 2* | Ea |  | $ | $ |  |
|  | 310W HPS 480V Power Door Ballast Unit | RLCD31S77(240/480) | 2* | Ea |  | $ | $ |  |
|  | 400W HPS 240V w/out PE Socket | RLCD40S76032025F0M53 | 2* | Ea |  | $ | $ |  |
|  | 400W HPS 480V w/out PE Socket | RLCD40S77032025F0M53 | 2* | Ea |  | $ | $ |  |
|  | 400W HPS Multi-Volt w/out PE Socket | RLCD40S78032025F0M53 | 2* | Ea |  | $ | $ |  |
|  | 400W HPS Multi-Volt Power Door Ballast Unit | RLGD40S76(120/240) | 2 | Ea |  | $ | $ |  |
|  | 400W HPS 480V Power Door Ballast Unit | RLGD40S77(240/480) | 2 | Ea |  | $ | $ |  |
|  | Starter Boards for Cobra Heads | 600-7000-3608 | 4 | Ea |  | $ | $ |  |
|  | Starter Boards For Cobra Heads | 600-7000-3608 | 4 | Ea |  | $ | $ |  |
|  |  |  |  |  | Total |  |  |  |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

Miscellaneous

| Item | Description |  | Est. 2-Year Usage | UoM | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
|  | Luminaire | HOLOPHANE WSDOT PREDATOR PF250HP24LN3D-F2 | 2* | Ea | $ | $ |
|  | Luminaire | HOLOPHANE WSDOT PANEL-VUE MULTI-VOLT | 6 | Ea | $ | $ |
|  | Luminaire | HOLOPHANE WSDOT PANEL-VUE 480 VOLT | 16 | Ea | $ | $ |
|  | Ballast | HOLOPHANE WSDOT PANEL-VUE MULTI-VOLT | 2 | Ea | $ | $ |
|  | Ballast | HOLOPHANE WSDOT PANEL-VUE 480 VOLT | 6 | Ea | $ | $ |
|  | Refractor | HOLOPHANE WSDOT PANEL-VUE | 16 | Ea | $ | $ |
|  | Mounting Plate | HOLOPHANE WSDOT PANEL-VUE | 12 | Ea | $ | $ |
|  | Wire Guard | HOLOPHANE WSDOT PANEL-VUE | 6 | Ea | $ | $ |
|  | Luminaire | GARDCO JEH1913-400HPS-240-MAGREG-NA | 2 | Ea | $ | $ |
|  | Luminaire | GARDCO JEH1913-400HPS-480-MAGREG-NA | 2 | Ea | $ | $ |
|  | Luminaire | GARDCO JEH191VS-400HPS-480- MAGREG-NA-POLY | 4 | Ea | $ | $ |
|  |  |  |  | Total |  | $ |

*No usage information available; for evaluation purposes estimated usage is 1 unit each.

## SUPPLEMENTAL INFORMATION

http://www.ga.wa.gov/PCA/Forms/SUPPLEMENTAL-INFORMATION.doc or main page http://www.ga.wa.gov/PCA/regulat.htm

## REFERENCES

Bidder shall furnish a minimum of three (3) references for which bidder has delivered goods or services on a contract similar in scope to that described in this IFB.  The state reserves the right to waive reference checks if the bidder has a known, good performance history.  Negative responses on Reference checks may be grounds for finding bid non-responsive.

See form http://www.ga.wa.gov/PCA/Forms/REFERENCES.doc or main page

http://www.ga.wa.gov/PCA/regulat.htm

## dealer authoRization

The Bidder, if other than the manufacturer, shall provide current, dated, and signed authorization from the manufacturer that the bidder is an authorized distributor, dealer or service representative and is authorized to sell the manufacturer’s products.  Failure to comply with this requirement may result in bid rejection.

## Washington Electronic Business Solution (WEBS)

The Department of General Administration has implemented a new vendor registration, bid notification and bid posting system for the State of Washington.  The system will serve as a single location for vendors to register in order to do business with the State and will be a central location for government organizations to post bidding opportunities.  Vendors not already registered in WEBS may do so by accessing http://www.ga.wa.gov/webs/index.html.

Bidders are solely responsible for:

Properly registering with the Department of General Administration’s “Washington Electronic Business System” (WEBS) at http://www.ga.wa.gov/webs

Maintaining an accurate Vendor profile in WEBS

## Minimum orders

There shall be no minimum order size for this contract.

# BID EVALUATION

## EVALUATION / AWARD

Recognizing that a single brand or manufacture may not satisfy the needs of the state, this contract will be awarded for a variety of products in this category.  Every brand or model appearing on the contact will be awarded by manufacturer to a single vendor, following the competitive bid process.

Prior to using this contract for a purchase, the end user shall evaluate the product(s) meeting their needs and select the unit(s) that is with the lowest cost to the state.

BID EVALUATION PROCESS

The scoring criteria will be as follows:

Step 1:	Meet Bid Specifications 			Pass/Fail, if pass, move on to step 2

Step 2.	Responsiveness, based on bid submittal.	If responsive, move on to step 3.

Step 3:		Pricing – Lowest Responsive Bidder per manufacturer.

It is the state's intent to award a contract at the lowest possible cost to multiple suppliers, be they manufacturers, dealers or a combination thereof.  This decision will be based upon bid responses as it is unknown at this time if manufacturers will bid on a direct basis (offering statewide coverage through their authorized dealers), or if dealers themselves will bid, offering to provide product.

In conjunction with the Competitive Procurement Standards, Section, Paragraph 28, the award of this bid may be awarded in two parts, a competitively awarded part and a negotiated sole source agreement part.  Where bids are received from multiple bidders for the same manufacturer line, a competitive award may be pursued (i.e. divide estimated 2-year usage by number of manufacturers lines bid, multiply this number by bid price).  Where bids are received from a manufacturer or single bidder, a sole source negotiated agreement may be pursued.  Awards shall be made to the lowest responsible and responsive bidder(s) by manufacturer, that meets all bid requirements.

## EVALUATION CONFERENCE

To aid in the evaluation process, after bid opening, the state may require individual bidders to appear at a date, time and place determined by the state for the purpose of conducting discussions to determine whether both parties have a full and complete understanding of the nature and scope of contractual requirements.  In no manner shall such action be construed as negotiations or an indication of the state’s intention to award.

# CONTRACT REQUIREMENTS

## RETENTION OF RECORDS

The contractor shall maintain, for at least three years after completion of this contract, all relevant records pertaining to this contract.  This shall include, but not be limited to, all records pertaining to actual contract performance from the date of contract award.  It shall also include information necessary to document the level of utilization of MWBE’s and other businesses as subcontractors and suppliers in this contract as well as any efforts the contractor makes to increase the participation of MWBE’s.  The contractor shall also maintain, for at least three years after completion of this contract, a record of all quotes, bids, estimates, or proposals submitted to the Contractor by all businesses seeking to participate as subcontractors or suppliers in this contract.  The State shall have the right to inspect and copy such records.  If this contract involves federal funds, Contractor shall comply with all record keeping requirements set forth in any federal rules, regulations, or statutes included or referenced in the contract documents.

## REPORTS

The contractor(s) must provide the following report(s) to Office of State Procurement.

Sales and Subcontractor Report

The contractor must submit quarterly usage reports through the Contract Sales Reporting System located on the internet at https://fortress.wa.gov/ga/apps/CSR/login.aspx.  Once awarded, contractor may contact OSP for password to access the online Sales Reporting System.

Reports must be submitted within thirty (30) days after the end of the calendar quarter, i.e., no later than April 30th, July 31st, October 31st and January 31st.

Contracts Specialist Required Report

The successful bidder(s) must provide the Contracts Specialist with an itemized sales report by customers.  Reports are to be for a six month period and are due to the Contracts Specialist within 30 days after the reporting period.  Reports may be rounded to the nearest dollar (see page 87 for sample report form).

# SPECIAL TERMS AND CONDITIONS

## DELIVERY LOCATION

Light standards and components as well as roadway luminaires and lighting shall be delivered to the location points as indicated on the Field Order (which may be throughout the State of Washington).  Regular business hours are defined as 8:00 AM to 3:30 PM Monday through Thursday, excluding Washington State Holidays.  The contractor shall notify the purchaser three days prior to making a delivery.  Deliveries outside the regular business hours must be pre-arranged with the purchaser.  If contractor attempts to make delivery without prior arrangements, the State reserves the right to reject delivery

## DELIVERY TIME

### Steel light standards and components built in accordance with the pre-approved drawings will be delivered within 60 calendar days after acknowledgement of receipt of field order.  Anchor bolts, if required, will be delivered within 15 calendar days after acknowledgement of receipt of field order.

The order and delivery procedure will be as follows:

- WSDOT will fax or email field orders to the Contractor.

- Contractor will acknowledge receiving field order by faxing a confirmation within four (4) business hours after receipt of field order. Business hours are defined as Monday through Friday, 8 AM to 3:30 PM (Pacific Daylight/Standard Time).  For those field orders that are faxed or emailed to Contractor after 2:00 PM, the Contractor will process the field order first thing on the next working business day.  The contractor’s delivery time will begin on the next business day.

- The Contractor is required to submit shop drawings for light standards without pre-approved plans and for special base plates used on light standards with pre-approved drawings.  Contractor will submit six (6) sets of the shop drawings to the WSDOT responsible party listed on the field order for review and approval.  Pre-approved drawings are listed in Section 3.3.  For light standards built in accordance with pre-approved plans, no shop drawings are required.

- If needed, WSDOT responsible party will process the shop drawings in accordance with the WSDOT  WSDOT Construction Manual M41-01 Section 8-20.2B. WSDOT responsible party will be allowed seven (7) calendar days to review the Contractor’s shop drawings for light standards built without pre-approved drawings.  If the WSDOT responsible party requires a longer time period to review the shop drawings, the additional time will not count against the Contractor delivery time.  After approval, the responsible party will distribute the shop drawings according to WSDOT Construction Manual M41-01 Section 8-20.2B and shall ensure that two copies are forwarded to the Fabrication Inspection Office.

- Upon receipt of the stamped approved shop drawings, the Contractor will fabricate and ship the light standard(s) to the specified delivery point within the specified delivery period.

### Roadway luminaires and lighting will be delivered within 60 calendar days after acknowledgement of receipt of field order.

Because of a high incidence of damage, each luminaire fixture must be opened and checked by purchaser for concealed damage.  If there are signs of damage, it must be noted on the original Bill of Lading and Freight Bill.  The shipping agent shall allow adequate time to open and check each fixture.  It shall be the responsibility of the vendor to advise his shipping agent of this requirement

## PRICING AND ADJUSTMENTS

Unless otherwise stipulated all bids must include unit prices and extensions where applicable and be otherwise in the format requested.

All bid pricing is to be FOB Destination, freight prepaid and included, for any destination within the State of Washington.  If bidder agrees to extend contract pricing to State of Oregon ORCCP members, a percent increase to bid pricing to accommodate additional freight costs to Oregon locations may be indicated in Section .3.2, Bid Submittals.

### All pricing shall include the costs of bid preparation, servicing of accounts, and all contractual requirements.  During contract period pricing shall remain firm and fixed for at least 365 calendar days after effective date of contract.

### Adjustments in pricing will be considered after firm fixed price period on a pass through basis only.  A minimum of 45 calendar days advance written notice of price increase is required which is to be accompanied by sufficient documentation to justify the requested increase.  Documentation must be based on United States published indices such as the Producer Price Index.  Acceptance will be at the discretion of the Contracts Specialist and shall not produce a higher profit margin than that established on the original contract pricing.  Approved price adjustments shall remain unchanged for at least 365 calendar days thereafter.

### During the contract period, any price declines at the manufacturer’s level or cost reductions to Contractor shall be reflected in a reduction of the contract price retroactive to Contractor's effective date.

### During the term of this contract, should the contractor enter into pricing agreements with other customers providing greater benefits or lower pricing, contractor shall immediately amend the state contract to provide similar pricing to the state if the contract with other customers offers similar usage quantities, and similar conditions impacting pricing.  Contractor shall immediately notify the state of any such contracts entered into by contractor.

## CONTRACTOR PERFORMANCE

General Requirements: The state, in conjunction with purchasers, monitors and maintains records of Contractor performance.  Said performance shall be a factor in evaluation and award of this and all future contracts.  Purchasers will be provided with product/service performance report forms to forward reports of superior or poor performance to the Contracts Specialist.

## PURCHASING CARD ACCEPTANCE

In an effort to streamline the purchasing and payment process, the State is encouraging agencies to use the state contracted purchasing card to facilitate small dollar purchases.  While at the present time, it is not mandatory that contractors accept credit card purchases, we encourage all state contractors to consider this alternate payment process.  Please indicate in Bid Submittals which card(s) you presently accept and payment discount you may offer the state.  The current card available for state agency use is a VISA product.

## BIDDER COMPLIANCE

The State reserves the right to consider the actual level of bidder’s compliance with the requirements specified in this IFB, and to consider a bid responsive if it substantially complies with the state’s intent relative to overall bid requirements and specifications.

## ADDITIONS OR DELETIONS

The state reserves the right to add or delete items, agencies, or locations, as determined to be in the best interest of the state.  Added items, agencies or locations will be related to those on contract and additions or deletions will not represent a significant increase or decrease in size or scope of the contract.  Such additions or deletions will be by mutual agreement, will be at prices consistent with the original bid price margins, and will be evidenced by issuance of a written contract change notice from the Office of State Procurement.

## Specifications compliance

Clarification for any item in these specifications may be obtained from the Office of State Procurement, (OSP) in writing.

The equipment specification(s) for this purchase are official state documents that carry far reaching ethical and legal implications.  Therefore, after an award has been issued to a successful bidder, there shall be no deviations from any requirements stated in the published equipment specification(s) during the manufacturing or assembly process of the units offered, without prior approval and an official contract change notice has been issued by the Office of State Procurement.  Failure to comply with this requirement constitutes breach of contract; and may be grounds for order cancellation, without re-stocking fees or damages to WSDOT

CONTRACTS SPECIALIST REQUIRED ITEMIZED USAGE REPORT

STATE AGENCIES

Successful bidder must provide reports in the format shown below to the Contract Specialist 30 days after the six month reporting period. Refer to Page 31, Paragraph 5.2 CS Required Report.

Indicate the region you are reporting on.  Submit individual reports for each region.  See page 88 for map of WSDOT regions.

| Eastern Region: | North Central Region: | Northwest Region: |
| --- | --- | --- |
| Olympic Region: | South Central Region: | Southwest Region: |

| STATE AGENCY | CONTRACT ITEM (description as listed on contract) | NUMBER OF UNITS SOLD (six month period) | SALES (six month period) |
| --- | --- | --- | --- |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  | TOTAL | $ |

MAP – DOT Regions