Hellenic Accreditation System

Annex F1/A3 to the Certificate No. 877 SCOPE of ACCREDITATION of the CRIME SCENE INVESTIGATION DEPARTMENT of the FORENSIC SCIENCE DIVISION of the HELLENIC POLICE

| Materials /Products tested | Types of Tests / Measurable elements | Methods implemented/ Techniques used |
| --- | --- | --- |
| Forensic Tests |  |  |
| #### 1. Latent fingerprints and palm prints | Entry and Search of Latent (fingerprints and palmprints) against the A.F.P.I.S. | ΤΔΛ-003- ΑΣΑ-001 – “Comparison and matching of fingerprints using the Automated Fingerprint and Palmprint recognition System (A.F.P.I.S.)” |
| #### 2. Ten print Cards (dactyloscopic data sheet) | Entry and Search of Tenprint Cards (dactyloscopic data sheet) against the A.F.P.I.S. |  |

Site of assessment: Permanent facilities of the Forensic Science Division, 2-6 Athinon av. and Antigonis str., Athens, Greece.

Approved signatories:  Kouris E., Kopitsis P.S ,Angelis G., Korlos E.,Tsagkaradakis K., Niarchos P., Karadimas G., Karamitrakis Th., Papoutsakis S., Tsiortos N., Tsergas A., Apostolakis K., Tsioumas K., Katsouris A., Katsiavrias A., Karagiannis L., Georgiadis A., Milonas I., Tsimpidis C., Rizogiannis A., Mpalatsoukas G., Stamoulis I., Karampas N., Asimakopoulos A., Dafnoulis D., Varvatsoulis P., Stauropoulos D., Mpettas A., Giannakouris P., Deleas N., Kasidiaris P., Athanasiou A., Gogoulos G., Kalimtzis P., Karakasis A., Lianopitis I., Skandalis I., Tsigaridas P., David P., Iatrou M.

This scope of Accreditation replaces the previous one dated 18.07.2015.

The Accreditation Certificate No. 877, to ELOT EN ISO/IEC 17025:2005, is valid until 07.07.2017.

Athens,  October 31,  2016

Ioannis Sitaras

Director of the Laboratories Accreditation Division

Hellenic Accreditation System

Annex F1/B2 to the Certificate No. 877 SCOPE of ACCREDITATION of the FIREARMS & TOOL MARKS SECTION of the FORENSIC SCIENCE DIVISION of the HELLENIC POLICE

| Materials /Products tested | Types of Tests / Measurable elements | Methods implemented/ Techniques used |
| --- | --- | --- |
| Forensic Tests |  |  |
| #### 1.Cartridge Cases, Bullets / Fragments | Cartridge cases & bullets / fragments identification marks with comparison examinations | ΤΔΛ-004-ΒΑΛ-001 ΤΔΛ-004-ΒΑΛ-002 ΤΔΛ-004-ΒΑΛ-003 |

Site of assessment: Permanent facilities of the Forensic Science Division, 2-6 Athinon av. and Antigonis str., Athens, Greece.

Approved signatories:  Kostorrizos A., Konstantakopoulos D., Nomikos N., Tsiatis N., Lazos A., Smeraidos V., Sideris S., Lianou K., Petris I., Moraitis I., Panourgias S.

This scope of Accreditation replaces the previous one dated 08.07.2013.

The Accreditation Certificate No. 877, to ELOT EN ISO/IEC 17025:2005, is valid until 07.07.2017.

Athens,  October 31,  2016

Ioannis Sitaras

Director of the Laboratories Accreditation Division

Hellenic Accreditation System

Annex F1/C2 to the Certificate No. 877 SCOPE of ACCREDITATION of the EXAMINATION OF FALSE DOCUMENTS AND COUNTERFEIT VALUES DEPARTMENT of the FORENSIC SCIENCE DIVISION of the HELLENIC POLICE

| Materials /Products tested | Types of Tests / Measurable elements | Methods implemented/ Techniques used |
| --- | --- | --- |
| Forensic Tests |  |  |
| 1. Security documents (substrate and printing techniques) as passports, travel documents, identity cards, legal documents for aliens, driving licenses, visa, residence permits and stamps (impressed in the documents which are mentioned above), cheque, tickets, credit cards and all kind of public documents. | Comparative examination of the questioned documents to genuine documents and banknotes as far as the security features which are embedded in the substrate (paper or plastic), the printing techniques and other extra security features which are created by printing techniques and optical devises. All the data (printed or handwritten) on the questioned documents are included in the examination, in order to substantiate their genuineness or not. | In house methods: - ΤΔΛ-005- ΠΛΑ-001 (SOP-005-FOR -001) Examination of documents and printing techniques (security and commercial) - ΤΔΛ-005- ΠΛΑ-002 (SOP-005-FOR -002) Examination of banknotes and printing techniques (security and commercial) - ΤΔΛ-005- ΠΛΑ-003 (SOP-005-FOR -003) Examination of coins Based on: - Recognition of printing techniques- ENFSI (METPRINT001) - Publications of Doc 9303 of ICAO (International Civil Aviation Organisation - ICAO) regarding technical specifications of passports and travel documents. - FRONTEX training manuals - 2007 Standard Catalogue of World Coins 1901-2000 Standard Catalogue, 34th Official Edition - Counterfeit Euro Experts’ Manual - New classes of counterfeit and any extra information (CIRCA BC) - CMS Counterfeit Monitoring System |
| 2. Banknotes (substrate and printing techniques) as euro banknotes and banknotes of other countries which are not included in Euro zone as U.S.A. dollars, U.K. sterling and all kind of banknotes worldwide. |  |  |
| 3. Coins as euro coins and coins of other countries as U.K. sovereign and all kind of coins worldwide. | Comparative examination of questioned coins as far as is concerned the security graphics with optical check, weight, conductivity, magnetic flow and dimensions (diameter, thickness) measures. |  |
| 4. Printing devises | Printing devises are examined in order to determine whether or not mechanical/electronic impressions on a document have been produced by this specific devise. |  |
| 5. Stamps | Stamps are examined in order to determine whether or not stamp impression on a document has been derived by this specific stamp. |  |

Site of assessment: Permanent facilities of the Forensic Science Division, 2-6 Athinon av. and Antigonis str., Athens, Greece.

Approved signatories: Skartsis N., Georgakopoulos K., Della A., Kakogianni M., Karachanidis T., Karadima A.

This scope of Accreditation replaces the previous one dated 08.07.2013.

The Accreditation Certificate No. 877, to ELOT EN ISO/IEC 17025:2005, is valid until 07.07.2017.

Athens,  October 31,  2016

Ioannis Sitaras

Director of the Laboratories Accreditation Division

Hellenic Accreditation System

Annex F1/D2 to the Certificate No. 877 SCOPE of ACCREDITATION of the CHEMICAL & PHYSICAL EXAMINATION DEPARTMENT of the FORENSIC SCIENCE DIVISION of the HELLENIC POLICE

| Tested materials/products | Types of test/Properties | Applied Methods/Techniques |
| --- | --- | --- |
| Forensic tests |  |  |
| 1.Blood, Urine | Screening test for the detection of controlled drugs and narcotics (cannabinoids, opiates, cocaine, amphetamines, benzodiazepines) | Homogenous Immunoassay technique (VIVA-E Analyzer) In house validated method (ΤΔΛ-006-ΤΟΞ-001, ΤΔΛ-006-ΤΟΞ-002) based on: - Rochholz G. et al, Drug Screening in Serum Samples with the Dade Behring Viva-ETM System, Institut für Rechtsmedizin, Universitätsklinikum Schleswig-Holstein, Germany |
| 2.Blood, Urine | Qualitative determination of controlled drugs, narcotics and their metabolites (Cocaine, morphine, codeine, 6-monoacetylmorphine, diazepam, midazolam, bromazepam, nordazepam, flunitrazepam) | In house validated method of gas chromatography – mass spectrometry (ΤΔΛ-006-ΤΟΞ-004, ΤΟΞ-006-ΤΟΞ-005) based on: - GC/MS in Clinical Chemistry, P. Gerhards, U. Bons, J. Sawazki et al, WILEY-VCH, 1999 Recommended Methods for the Detection and Assay of Heroin, Cannabinoids, Cocaine, Amphetamine, Methamphetamine and Ring-Substituted Amphetamine Derivatives in Biological Specimens, United Nations, New York, 1995 |
| 3.GSR sample stubs | Gunshot residues (GSR) detection. | Standard method [ASTM International (2010): Standard Guide for Gunshot Residue Analysis by Scanning Electron Microscopy/Energy Dispersive X-Ray Spectrometry E1588 – 10ε1. 5 p.] Gunshot residues (GSR) analysis by Scanning Electron Microscopy/Energy Dispersive X-Ray Spectrometry SEM/EDX (ΤΛΔ-006-ΜΙΚ-001). |
| 4.Solids and liquids | Identification of organic explosives and residues (EGDN, TATP, 1-NG, 2-NT, DMNB, 2-NG, 3-NT, 4-NT, 1,3-DNG, 1,2-DNG, DEGDN, NG, 1,3-DNB, 2,6-DNT, 2,5-DNT, 2,3-DNT, 2,4-DNT, 3,5-DNT, 3,4-DNT, HMTD, TNB, TNT, PETN, RDX, 4-AM 4,6-DNT, 2-AM 4,6-DNT, TETRYL, HMX) | In house validated method of Thin Layer Chromatography (TLC) (ΤΔΛ-006-ΑΕΜ-002) based on: - J. Yinon & S. Zitrin, The Analysis of Explosives, 1981, Pergamon Pres. - J. Yinon & S. Zitrin, Modern Methods and Applications in Analysis of Explosives, 1993, John Wiley & Sons Ltd. - T. Tamiri, Explosives, Encyclopedia of Forensic Sciences, Elsevier, 2000 |
|  |  | In house validated qualitative method of Gas Chromatography – Mass Spectrometry (GC-MS) (ΤΔΛ-006-ΑΕΜ-001) based on: - J. Yinon & S. Zitrin, Modern Methods and Applications in Analysis of Explosives, 1993, John Wiley & Sons Ltd. - Beveridge, Forensic Investigation of Explosions, 1998, CRC PRESS. |
| 5.Solids and liquids | Detection and identification of fire accelerants | In house validated method of Gas Chromatography with Flame Ionization Detector (GC-FID) (ΤΔΛ-006-ΑΕΜ-006) based on: - «Detection and Classification of Fire Accelerants using GC/FID», S.M. 420, D.E.R.A. Forensic Explosives Laboratory. - KJ Newton, RW hiley, Detection and identification of arson accelerants. A review. DRA working paper, DRA/CES/FE/WP9401, June 1994. - ASTM International Standard test Method/ Designation: Ε 1618-10 |

Site of assessment: Permanent facilities of the Forensic Science Division, 2-6 Athinon av. and Antigonis str., Athens, Greece.

Approved signatories: Lagios M., Dialyna I., Parasyris M., Sarantopoulos N., Asouti M., Stavrianakou P., Mylonas M., Karavoltsos E., Chatzistamatiou A., Andriopoulos D., Stavrou N., Mataliotakis K.

This scope of Accreditation replaces the previous one dated 08.07.2013.

The Accreditation Certificate No. 877, to ELOT EN ISO/IEC 17025:2005, is valid until 07.07.2017.

Athens,  October 31,  2016

Ioannis Sitaras

Director of the Laboratories Accreditation Division

Hellenic Accreditation System

Annex F1/E3 to the Certificate No. 877 SCOPE of ACCREDITATION of the SUBDIVISION of BIOLOGICAL and BIOCHEMICAL EXAMINATION and ANALYSES of the FORENSIC SCIENCE DIVISION of the HELLENIC POLICE

| Tested materials/products | Types of test/Properties | Applied Methods/Techniques |
| --- | --- | --- |
| Biological tests |  |  |
| A)Body Fluids B)Bones C)Tissues (blood, buccal swab, hairs, seminal fluid, saliva, epithelial cells) | Forensic Tests 1. Human DNA profile determination with analysis of the following autosomal Short Tandem Repeats (STRs) D3S1358, TH01, D21S11, D18S51, D10S1248, D1S1656, D2S1338, D16S539, D22S1045, vWA, D8S1179, FGA, D2S441, D12S391, D19S433, SE33, PENTAE, D5S818, D13S317, D7S820, PENTAD, CSF1PO, TPOX, and the genetic locus of amylogenin (Amg) | 1) DNA extraction using the: a. Νucleospin Tissue kit , Macherey-Nagel b. DNA IQ kit, Promega c. DIFFEREX system, Promega d. SwabSolution Kit, (Promega-only for direct amplification of buccal swabs) 2) DNA quantification on Real Time-PCR 7500 ABI system using the Quantifiler® Trio DNA Quantification kits. 3) DNA PCR using the: a. PowerPlex ESX17 kit, Promega b. PowerPlex 16 ΗS kit, Promega c. PowerPlex ESX17 fast kit, Promega on a GeneAmp PCR 9700 (Αpplied Biosystems) 4) PCR products (fragment analysis) electrophoresis on an AB 3500 Genetic Analyzer and data analysis with the Genemapper software. 5) Use of CODIS software for the data entry and search of forensic profiles. |
| A)Body Fluids B)Bones C)Tissues (blood, buccal swab, hairs, seminal fluid, saliva, epithelial cells) | 2. Determination of Υ chromosome haplotype with analysis of the following Short Tandem Repeats (STR) DYS576, DYS389I, DYS448, DYS389II DYS19, DYS391, DYS481, DYS549, DYS533, DYS438, DYS437, DYS570, DYS635 DYS390, DYS439, DYS392, DYS643, DYS393, DYS458, DYS385a/b, DYS456 και Y-GATA-H4. | 1) DNA extraction using the: a. Νucleospin Tissue kit, Macherey-Nagel b. DNA IQ kit, Promega, c. DIFFEREX system, Promega, d. SwabSolution Kit, (Promega-only for direct amplification of buccal swabs) 2) DNA quantification on Real Time-PCR 7500 ABI system using the Quantifiler® Trio DNA Quantification kits. 3) DNA PCR using the PowerPlex Υ23 kit, Promega 4)PCR products (fragment analysis) electrophoresis on an AB 3500 Genetic Analyzer and data analysis with the Genemapper software. 5) Use of CODIS software for the data entry and search of forensic profiles. |
| A)Body Fluids B)Bones C)Tissues (blood, buccal swab, hairs, seminal fluid, saliva, epithelial cells) | Paternity – Relationship Testing Determination of human genetic profile and Υ-haplotype for paternity and relation testing with analysis of the following Short Tandem Repeats (STR) : D3S1358, TH01, D21S11, D18S51, D10S1248, D1S1656, D2S1338, D16S539, D22S1045, vWA, D8S1179, FGA, D2S441, D12S391, D19S433, SE33, PENTAE, D5S818, D13S317, D7S820, PENTAD, CSF1PO, TPOX, DYS576, DYS389I, DYS448, DYS389II DYS19, DYS391, DYS481, DYS549, DYS533, DYS438, DYS437, DYS570, DYS635 DYS390, DYS439, DYS392, DYS643, DYS393, DYS458, DYS385a/b, DYS456 και Y-GATA-H4. and the genetic locus of amylogenin (Amg) | 1) DNA extraction using the: a. Νucleospin Tissue kit , Macherey-Nagel b. DNA IQ kit, Promega , c. DIFFEREX system, Promega, d. SwabSolution Kit, (Promega-only for direct amplification of buccal swabs) 2) DNA quantification on Real Time-PCR 7500 ABI system using the Quantifiler® Trio DNA Quantification kits. 3) DNA PCR using the : a. PowerPlex ESX17 kit, Promega b. PowerPlex 16HS kit, Promega c. PowerPlex ESX17 fast kit, Promega d. PowerPlex Υ23 kit, Promega on a GeneAmp PCR 9700 ABI 4) PCR products (fragment analysis) electrophoresis on an AB 3500 Genetic Analyzer and data analysis with the Genemapper software. |
| Body Fluids – Any biological material | Sampling of biological material for DNA analysis Preliminary test a) blood and b) seminal fluid. Preliminary test for detection of body fluids. Preliminary test for qualitative detection of human blood. | Evidences Examination and sampling of biological material with scanning or cutting of substrate. Bone and dental pulverization α1) Method – detection of hydrogen peroxidase activity (Kastle-Meyer) α2) Method – detection : chemo-luminescence emission using the Bluestar Forensic kit of Bluestar Forensic b) Method – detection of acidic phosphatase activity Method - light source (420-470nm) using the ‘Crime light 2 blue light source’ of Foster + Freeman. Human Hemoglobin assay using the ‘ABAcard HemaTrace for the forensic identification of human blood’ kit of Abacus Diagnostics or the ‘HemDirect Hemoglobin Assay’ kit of Seratec. |

Site of assessment: Permanent facilities of the Forensic Science Division, 2-6 Athinon av. and Antigonis str., Athens, Greece.

Approved signatories: Miniati P., Pollatou  I., Kondili  A., Michos  D., Metheniti A., Mazitsos  K., Tsekoura K., Vamvaka K., Vouropoulou M., Florou G., Antonopoulos V., Papadakis D., Tsagkalia A., Oikonomou  E., Papadopoulou  C., Iliou M., Sgantzis  N., Gkougkoura  S., Spanou  C., Limnaios  S., Giannouli  S., Koukouvinos G., Katharios D., Anastasiadis V., Balla M., Raptis G., Bouras E., Arapis M., Spetsarias S.

This scope of Accreditation replaces the previous one dated 18.07.2015.

The Accreditation Certificate No. 877, to ELOT EN ISO/IEC 17025:2005, is valid until 07.07.2017.

Athens,  October 31,  2016

Ioannis Sitaras

Director of the Laboratories Accreditation Division