| SD-Nr.: | Pos.: |
| --- | --- |

| Ordered by: | Type |  |  |
| --- | --- | --- | --- |
|  | Quantity |  |  |
|  | Serial No. |  |  |
| Quote No: | Connection diagram |  |  |
| Order No: | Block diagram |  |  |
| End user: | Property number |  |  |
|  | Customer instructions |  |  |
|  | Version |  |  |
|  | Country (ISO-Code) |  |  |
| Installation: | Country of destination |  |  |

|  |  | Frequency |
| --- | --- | --- |
| Voltage |  | V 50 Hz 60 Hz |
|  |  | For U, if AC also for Us, Ud and Usyn |

| Current |  | A |
| --- | --- | --- |

Maximum loading

120 %In        200 %In  (type suffix -1/2 or –5/10)        150 %In  (Spec. Type suffix –1/1,5 or -5/7,5)

Accuracy class (on nameplate)

|  Standard, Active Cl.0,2S / Reactive Cl.1 | Special. Active 0,2S / Reactive 0,5 (IEC only defines Cl. 2.0) |
| --- | --- |
|  | Active Cl.0.5S / Reactive Cl.1 |

Auxiliary supply

|  | InpInput voltage range Us: | Only for Information.: Used operating voltage:________________________ |
| --- | --- | --- |

|  | AC / DC: 100 V - 230 V | low DC / AC: 24 V – 125 V | Special: 12 V |
| --- | --- | --- | --- |

Always used if Us = 100 V or 110 V							Please contact PM Zug

Input for time synchronisation of internal clock    Not possible for C.2

|  | Input voltage Usyn: |  |
| --- | --- | --- |
|  | AC: 100 V - 120 V 200 V - 230 V | DC: 24 V 48 V – 60 V 100 V - 125 V 200 V - 230 V |

No external tariff or no status input (Standard)

No external tariff input for f6:  Terminals 40, 43, 44, 45 not marked

   Tariff control 	3 Inputs E1, E2, E3 with Ud    Not possible for C.2

Or

Status input E with Uz, used for auxiliary bus operation (type suffix z)

|  | Input Voltage Ud, Uz: |  |
| --- | --- | --- |
|  | AC: 100 V - 120 V 200 V - 230 V | DC: 24 V 48 V – 60 V 100 V - 125 V 200 V - 230 V |

Alarm output:    monostabile relay with change-over contact

Optical interface for parameterisation and local read-out:
Protocol dlms	Baudrate: defined for 9600 bit/s

Interface RS 485 for local communication and connection to other meters (multidrop local network):
Protocol: dlms	 Baudrate: defined for 34800 bit/s        C.2: Factory setting subset of IEC870-5-102

Transmitting contacts   (Standard +A, -A, +R, -R)

Without, for f6 version prepared for subsequent contact installation

r4 (changeover)      r4aa (Twin NO Normally open contacts)      r4a ( 8 NO Normally open contacts)

|  | r4 | Standard 4x 1u Opto switch for 24-120 V DC/AC, not possible with used status outputs |  |
| --- | --- | --- | --- |
|  | r4aa | Special 2x 4a for 2 parallel connected make-only contacts( +A1, -A1. +R1, -R1, +A2, -A2, +R2, -R2) |  |
|  | r4a | Quadrants Splitting C.4 3x 2a Definition for +A, -A, +Ri, +Rc, -Ri, -Rc fix Customer specific 4x 2a Definition of the metering values to the outputs selectable, see SW configuration |  |
|  | r3 | Used only in DE, AT ,VZ 4x 1u Opto switch for 24-120 V DC/AC as r4 For double current. Pulse / pause 1:1 with storage of contact position in case of power outage |  |

Option for specific countries:   Please contact PM Zug

# Option: Lithium-battery:

# without	Can be equipped later on in f6,    for f9 not possible to be added later, no battery compartment

# Delivery with battery active for clock and display if without U and Us

Case

Wall mount f6 (Projection mounting case) 	according to drawing   H 71 0245 0001

| or f9 Rack mount (flush-pattern case), with ESSAILEC-connector 1x 8 + 3x 10 or 4x 10 -pole, without counter connectors |  |  |
| --- | --- | --- |
|  | for flush-mounting in 19“ rack f9.10 (cable connections) | acc. to drawing H 1 9838 2041 |
|  | or |  |
|  | for flush-mounting in 19“ rack f9.11/ f9.12 (rack with counter connectors) | acc. to drawing H 1 9838 2040 |
|  | or |  |
|  | for flush mounting in switchboard incl. 2 fixing clamps(cable connections. | acc. to drawing H 1 9838 2039 |

| For 19“ rack and counter connectors complete spec. sheet Szu_E03 | See attachment No:______________ |
| --- | --- |

Language for nameplate and user manual

de       en       fr      ru	  Special name plate__________________

Parameterisation

| ZMQ with secondary data |  | ZMQ ordered with secondary data. But before installation re-parametrisation to primary data | with customer specific data |  | Project definition by |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Standard values according |  |  | See Parameter setting |  | Landis+Gyr in Zug |  |  |
| Para setting page 5 |  |  | instructions Para No |  |  | Para No |  |
| without Para setting instructions SW-configuration C.4r4 is standard |  |  | Date: ___________ |  |  | Date: ___________ |  |

Security system	 Standard 	  Country / Customer specific see attachment No__________

Stability test for Cl.0.2S	  yes		  no

Test certificate

| no | yes | Language: de en fr | ANSI (Special) |
| --- | --- | --- | --- |

Official certification (from Swiss accreditation lab no 2 with Swiss seal)

yes (if required for other countries

Communication unit (CU)

without     B4 (RS232 / RS485)     M22/V34b (PSTN / RS485)     G22 / (GSM / RS485)  for f9 only with ADP
 	    E22 (TCP/IP)    Q22 IEC870    Q22 dlms

Needed pieces of CU ____, if not for every meter

_____________________________________________

| Changes | Legend:  Selection  Standard |  |
| --- | --- | --- |
|  | Prepared by: | Date: |
|  | Checked by: | Date: |