KRISHNA BHAGYA JALA NIGAM LIMITED

(A Government of Karnataka Undertaking)

Office of the Executive Engineer					           KBJNL, MLI Division No 2 Babaleshwar

Tq: Dist: Vijayapur			                                          	             Karnataka State

E-mail ID: eemli2mattihal@gmail.com

Ph No: 08426-286129; 286130

SHORT TERM TENDER NOTIFICATION

(Through e- Procurement only)

No: KBJNL / MLID-2 / SCP/ PB-4 /Bore-well/2015-16 /1970

Date: 10-03-2016

On behalf of Managing Director, KBJNL, Bangalore/Almatti, the Executive Engineer, KBJNL, MLI Division No.2, Babaleshwar invites bids for the following works on Turnkey- basis from KPWD Class-I or KBJNL category-III and above registered with satisfy the prequalification criterion. The two cover bid submission procedure as per Rule 28 of KTPP Act shall be followed.  The bidders are requested to submit their bids in two cover system including EMD in e-cash.  The first cover (Technical Bid) should contain the documents as mentioned in Para 1.1. The second cover shall contain the financial bid.  The cover-I (technical bid) will be opened first.  Thereafter, cover-II (financial bid) of only those bidders who have paid the requisite EMD and fulfill the conditions contained in Para 1.1 will be opened.

STATEMENT SHOWING THE DETAILS OF THE WORKS PUT TO E-TENDERING

| Sl. No. | Name of work | Approx amount put to tender (Rs In Lakhs) | Earnest Money Deposit (Rs in Lakhs) | Transaction fee | Stipulated period for completion of work |
| --- | --- | --- | --- | --- | --- |
| 01 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 676/Pai (Amogi Sangappa Hanchnal), 769/1A (Gangavva Satyappa Jalamatti), 777 (Bapu Siddappa Bangareppagol), 943/Pai (Yamunappa Dundappa Godekar), and 943 (Eswar Dundappa Godekar) of Attalatti Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works | 42.11 | 0.85 | As per e-portal | 04 Months |
| 02 | Providing irrigation facilities to the ST beneficiaries (6 Nos.) of 873/3 (Shivagonappa Bhimappa Bisanal),873/2A (Ningonda Bhimanna Bisanal), 873/2B(Egonda Bhimanna Bisanal), 873/3D (Paragonda Bhimanna Bisanal), 873/2D (Basagonda Bhimanna Bisanal) and 946/2B (Hanumavva Lakkappa Godekar) of Attalatti Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 47.94 | 0.98 | As per e-portal | 04 Months |
| 03 | Providing irrigation facilities to the ST beneficiaries (6 Nos.) of 779/1(Honagondappa Gurupad Walikar), 779/1+2/2 (Honagonda Gurupadappa Walikar), 789/1+4 (Elguri Balappa Bisanal), 789/1A (Nagappa Siddappa Bisanal), 789/1 (Layappa Siddappa Bisanal) and 941/A (Mallappa Dundappa Godekar) of Attalatti Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 49.07 | 0.99 | As per e-portal | 04 Months |
| 04 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 605/Pai (Babanna Balappa Bisanal), 605/Pai (Ugendappa Balappa Bisanal), 605/3 (Vittala Bapalla Bisanal), 606/Pai (Syasappa Balappa Bisanal), and 664/1+2 (Sasappa Ramappa Patted) of Attalatti Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 41.51 | 0.84 | As per e-portal | 04 Months |
| 05 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 176/2A (Layappa Bhimappa Sorapur), 176/3+4 (Bhimappa Bassappa Angadagere), 186/2A (Siddappa Laxmana Sorapur), 186/2B (Sharnappa Sangappa Sorapur), and 404/1 (Peerappa Basappa Sorapur) of Babaleswara Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 39.97 | 0.8 | As per e-portal | 04 Months |
| 06 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 404/1 (Ramappa Layappa Sorapur), 404/2 (Bhimappa Layappa Sorapur), 734/2 (Shivappa Bhimappa Sorapur) of Babaleswara Village and 44/4 (Sridevi Basappa Kmbagi) of Gunadal Village, and (Siddappa Bhimappa Totad) of Bolachikkalaki Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 40.77 | 0.82 | As per e-portal | 04 Months |
| 07 | Providing irrigation facilities to the ST beneficiaries (4 Nos.) of 21/3 (Ramappa Bhimaraya Dalavai), 24/4 (Vittala Bhimaraya Dalavai), 26/2 (Shivappa Bhimaraya Dalavai) and 63/2 (Vttala Syashappa Dalavai) of Dhanyal Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 32.28 | 0.66 | As per e-portal | 04 Months |
| 08 | Providing irrigation facilities to the ST beneficiaries (3 Nos.) of 65 (Shivappa Hiranyappa Dalavai), 53/1 (Yesubai Nagappa Natikar), and 75/2A (Aavanna Shivappa Dalavai) of Dhanyal Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 24.23 | 0.5 | As per e-portal | 04 Months |
| 09 | Providing irrigation facilities to the ST beneficiaries (4 Nos.) of 19/3 (Bhimappa Bagappa Bedar), 20/1 (Sanagappa Bhimappa Bedar), 20/2 (Siddaiah Sanangaiah Bedar) of Hanchinal P M and 202/3B (Rukkamavva Hanumantha Kolakar) of Honaganahalli Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 32.16 | 0.66 | As per e-portal | 04 Months |
| 10 | Providing irrigation facilities to the ST beneficiaries (6 Nos.) of 7/2 (Saba Sangaiah Bedar), 9 (Shivappa Balappa Nayak), 19/1 (Bagappa Bhimanna Bedar), 19/2 (Chandrasekhara Bhimappa Bedar), of Hanchinal P M Village, in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 31.85 | 0.64 | As per e-portal | 04 Months |
| 11 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 5 (Malakappa Hanumantha Bisanal), 11/1+2D (Shivappa Kallappa Natikar), 19/2P (Shivappa Yellappa Natikar), 35/1A (Gurupad Dundappa Tarapur) and 52/1B (Mahadevappa Yagagurdappa Koulagi) of Kanmuchhanal Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 40.99 | 0.82 | As per e-portal | 04 Months |
| 12 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 54/2 (Ashok Mallppa Shorapur), 55/3 (Rayagonda Shivappa Shorapur), 56/1A (Ramappa Bhimappa Koulagi), 56/2 (Ahoka Ramappa Koulagi) and 77/1 (Bhimappa Ramagonda Koulagi) of Kanmuchhanal Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 41.33 | 0.84 | As per e-portal | 04 Months |
| 13 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 78/1+2 (Mallappa Ramappa Koulagi), 113/1 (Amabanna Sangappa Bisianal), 135(Ambanna Sangappa Bisinal), 136/1B (Dundappa Bhimappa Sangapur) and 136/2 (Malappa Dyavappa Sangapur) of Kanmuchhanal Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 40.86 | 0.82 | As per e-portal | 04 Months |
| 14 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 136/2 (Balappa Gaibanna Sangapur), 137/2A (Balappa M Bisnal), 137/2B (Gurupad Manegenappa Bisnal), 137/4K (Gurulinga M Bisnal) and 142 (Vittal Shashappa Dalavai) of Kanmuchhanal Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 40.15 | 0.82 | As per e-portal | 04 Months |
| 15 | Providing irrigation facilities to the ST beneficiaries (6 Nos.) of 151/2/7 (Ambanna Yalugurappa Mulwad), 152/3 (Bhimaraya Avanna Daalavai), 152/1 (Siddavva Shivappa Naikodi), 160/1 (Mallappa Ameenappa Natikar), 160/2 Sabu Rangappa Natikar) and 873/5 (Rayagonda Bhimappa Bisnal) of Kanmuchhanal Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 49.4 | 0.99 | As per e-portal | 04 Months |
| 16 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 103/2 (Yellappa Bhimappa Bhatagi), 349/1 (Laxmana Hanumantha Buddar), 350/2A (Sreshail Yamunappa Buddar), 350/2B (Hanumantha Yamunappa Buddar) and 350/2K (Siddappa Yamunappa Buddar) of Sarwad Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 39.52 | 0.8 | As per e-portal | 04 Months |
| 17 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 510/1+2+3+4/1 (Gangabai Yamunappa Buddar), 799/1B+2+3(Yamunappa Devappa Buddar), 800/2B (Mahalingappa Saibanna Buddar), of Sarwad Village and 97/2 (Pradeep Hanumantha Naik) of Halagani Village and 106/2B (Ashok Kallappa Channbasppagol) of Arakeri Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 41.97 | 0.84 | As per e-portal | 04 Months |
| 18 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 143 (Avanna Ramappa Dalavai), 143 (Avanna Ramappa Dalavai), 144 (Manjunath Shivappa Dalavai), 144/1 (Shivappa Avanna Dalavai) and 147 (Ramappa Bhimappa Dalavai) of Kanmuchhinal Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 38.52 | 0.80 | As per e-portal | 04 Months |
| 19 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 179/1+2 (Shashappa Bagappa Natikar), 179/4A (Chadrasekhar Bagappa Natikar), 179/4B (Shashappa Bagappa Natikar), 265/1A (Balappa Bapu Natikar) and 304/2 (Patavva Thammanna Natikar) of Mamadapur Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 38.66 | 0.78 | As per e-portal | 04 Months |
| 20 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 158/B (Mahadev Sangappa Natikar), 158/1B (Mahadev Sangappa Natikar), 178 (Laxmana Sabu Natikar), 178/4 (Nandeppa Bhimappa Natikar) and 179/1+2 (Bagappa Bapu Natikar) of Mamadapur Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 37.91 | 0.76 | As per e-portal | 04 Months |
| 21 | Providing irrigation facilities to the ST beneficiaries (5 Nos.) of 156/3 (Lakkavva Mallappa Natikar), 157/1B (Mahadev Sangappa Natikar), 157/3 (Mallappa Barama Natikar), 157,178 (Avanappa Baramappa Natikar) and 157/3,178 (Avanappa Barappa Natikar) of Mamadapur Village in Vijayapura Tq. & Dist., under TSP programme By Sinking Bore well and providing Drip Irrigation System. (The scope includes, Drilling of Bore well with Casing Pipe, fixing of Submersible Pumping system, complete with Motor pump capacity of 7.50 HP with suitable Earthling protection, Inter connecting cables and other accessories, including Design, Supply, Installation, Testing and Commissioning Drip Irrigation which includes main and sub main pipes Laterals at 1.20m intervals and dripper spacing at 0.30m, filters, fustigation equipment, valves, air release valves, fittings and accessories as per BIS standards, etc. Complete, Construction of storage sump in RCC, Providing Transmission line with required number of Poles and transformer with all accessories, fittings and connections etc. complete, with Civil works, as per KPTCL/HESCOM Norms). The Works includes Maintenance of the entire system for a period of 2 years from the date of completion on turnkey basis. | 38.68 | 0.78 | As per e-portal | 04 Months |

1.00 INSTRUCTIONS TO TENDERERS:

  - COVER-I (Technical bid) shall contain the following documents.

- A copy of the certificate of registration issued by KPWD Class-I or KBJNL Category-III  and above with as the case may be.

- The requisite earnest money deposit (EMD).

- A copy of Income Tax returns filed for the financial year 2013-14 (Assessment year 2014-15) mentioning PAN Nos.

iv. Sales Tax clearance certificate for the financial year 2014-15.

V.Employees Provident Fund Registration Certificate is mandatory.

2.00 COVER-II shall contain the financial bid.

2.1 The Cover-I (Technical bid) will be opened first and thereafter Cover-II (Financial bid) of only those bidders who fulfill the conditions mentioned at Para 1.1 will be opened.

3.00 Issue and submission of tender documents

3.1 e - Tendering.

3.1.1. The Contractors can request for   e-tendering   documents from    in the web site http;//eproc.karnataka. gov.in/e-portal/index. Seam link e-tender document on payment (nonrefundable) as per e-portal towards transaction fee. While applying, the contractor can pay the transaction fee in the e-procurement portal using payment modes -1/ credit cards / Direct Debit / National electronic fund transfer (NEFT)/over the counter (OTC) on or before   up to 5.00 pm hours.

3.1.2 The contractor can have access to e-tender document from 16-03-2016 to

29-03-2016 up to 5.00 pm.

3.1.3 Submission of completed e-tendering document will be up to 29-03-2016

at 5.00 pm.

3.1.4 Cover –I (Technical bid) will be opened in the under signed office on

31-03-2016 at 11.00 AM.

The technical bids of all bidders who have uploaded the tender along with all relevant documents will be considered in the technical evaluation.

The necessary certificates / documents in support of eligibility criteria fulfilled as stipulated shall be scanned and attached to e-tender document and should be visible for technical evaluation.

3.1.5 Cover –II (Financial bid) of qualified bidder will be opened in the under

Signed office on 02-04-2016 at11.00 AM.

3.1.6 (a) The cover-2 (Financial bids) of the bidders who satisfy the tender stipulations based on the uploaded documents will be opened. The L1 bidder shall produce the original documents in support of the uploaded documents to enter into agreement. If the L1 bidder does not produce the original documents for entering into agreement, then the bid will be treated as non-responsive bid as per clause 26(4) of the KTPP rules. The names of the bidders will be removed from the select list of KBJNL enrollment/further their names will be proposed for blacklisting in case of KPWD contractor and barred from participation in any of the tenders to be invited by KBJNL apart from forfeiting the EMD paid through e-cash.

(b) Further, the L-1 bidder can be determined amongst the other responsive bidders

3.1.7 The contractor   should pay the requisite Earnest Money Deposit (EMD) in e-procurement portal in any mode of payment such as –a) Credit card / direct debit / National electronic fund transfer (NEFT) / over the counter (OTC).

The EMD amount submitted by the contractor should govern the following Conditions.

The EMD amount of Rs.as shown in table to be paid through electronic cash in single transaction.

- The contractor should pay as per Col.4 towards earnest money deposit (EMD) will be accepted only in the form of Electronic cash (and not through Demand Draft or Bank Guarantee) in the e-procurement portal using any of the payment modes such as (a) Credit card (b) Direct Debit (c) National Electronic Fund Transfer(NEFT) (d) Over the counter(OTC).

- The EMD amount as per Col.4 submitted in cash through e- procurement portal will be retained till the completion of the tender procedure and after signing of the agreement, e-cash EMD of the successful bidder will be transferred to KBJNL account.

- Tender inviting authority will release EMD taken in cash through e-procurement against Bank Guarantee for similar amount.

For details on e-payment services refer to e-procurement portal for more details on process.

3.1.8 If the percentage quoted by contractor for the work is below 90% (Ninty Percent) of the estimated amount of the department then the contractor shall furnish an additional performance security in the form of Bank Guarantee for an amount equivalent to the difference between the cost as per quoted percentage and 90% of the cost put to tender.

Pre-qualification criteria

- The bidder should have satisfactorily completed (not less than 90% of contract value) as a prime contractor, at least one similar work  (Similar nature of work means Water supply /Irrigation Works) of value not less than 50% of the amount put to tender in the last five years from 2010-11 to 2014-15.  The cost will be updated to the present value by giving weight age of 10% each year if the work is completed prior to the year 2014-15. The Certificates should be obtained from the Officer not below the rank of Executive Engineer.

2) The intending bidder should have achieved a minimum annual turnover of not less than the amount put to tender in any of the two financial years during the last 5 years from 2010-11 to 2014-15, duly updating the financial turnover at 10% per annum.

5.00 NOTES

5.1 During the time of technical evaluation, if the employer finds that any

Certification / information furnished is false, such bidders will be disqualified

and barred from participation in the bid.

5.2 If any bidder fails to satisfy the conditions mentioned at Para 1.1 above, such

bids shall be rejected.

5.3 The intending bidders are advised to visit the site of work before submitting

their tenders.

5.4 If any of the dates mentioned above happened to be a general holiday, the next

Working day holds good.

5.5 Conditional tenders are liable to be rejected. The officer competent to accept the

Tender shall have the right to reject any or all the tenders without assigning any

reason whatsoever.

5.6 Corrigendum will be published in the web site/newspapers for all Modifications

/ Corrections if any.WWW.KBJNL.COM.

5.7 The intending bidders should note that, if any of lands either in part /parts or

in whole required for the work is not acquired by the Nigam, it shall be the responsibility of the bidder to take possession of such land and start the work by consent of the land owners before commencement of work at no extra cost to the Nigam and no claim /delays whatsoever relating to on account of non-availability of land would be entertained.

5.8 If the percentage quoted by the contractor for the work is below ninety percent of the estimated amount put to tender or recast amount put to tender of the department, then the contractor shall furnish an additional performance security in the form of Bank Guarantee for an amount equivalent to the difference between the cost as per quoted percentage and 90% of the estimated amount put to tender. The additional performance security will be released only after the entire work contracted is fully completed and so certified by the next superior officer of the tender calling authority.

5.9 Contractor should abide by the directions of Government towards recovery of

1% (or as modification by Government from time to time) cess from the

Contractors bill under the provision of building and construction workers

Welfare cess act-1996.

5.10 Successful bidders should execute the agreement within 15 days from the date of approval intimated. If the contractor fails to enter into the agreement within the said period, the E M D of the contractor shall be forfeited and action shall be initiated for banning to participate in the tender of KBJNL.

5.11 The contractor will bear the service tax as per the reverse charge mechanism as per the Govt of India notification No.30/2012- Service tax dated 20th June 2012 & any modifications/changes notified by the Govt of India from time to time as on date of Payment.

Further information about electronic tendering can be had from          http;//eproc.karnatak.gov.in/e portal/index. Seam and can be had from the undersigned during office hours.

Sd/-

Executive Engineer,

KBJNL, MLI Division No.2,

Babaleshwar

Copy Submitted for kind information to:

- The Managing Director, KBJNL: water resources department, PWD office

Annexure, III floor, K.R. Circle, Bangalore-560 001/ Almatti.

- The Chief Engineer, KBJNL: Dam Zone, Almatti.

- The Superintending Engineer, KBJNL Dam circle, Almatti

- The Deputy Commissioner, District Tender Bulletin Officer, Bijapur with a request to publish the notification in the District Tender Bulletin.

- The Inspector general of Police Vigilance, Water Resources Department. 3rd floor, Basav Bhavan Bangalore.

Copy forwarded for information and necessary action to:

- Asst Executive Engineer KBJNL, MLI Sub division-5 Mattihal

- PB Section / AB Section of this office/Store section.

- Notice Board of Division office.

Executive Engineer

KBJNL, MLI Division No.2

Babaleshwar