###### TRANSMISSION CORPORATION OF ANDHRA PRADESH LIMITED

HYDERABAD - 500 082::ANDHRA PRADESH

## Tender No:PMM12-e-75/2017

SUPPLY OF DIESEL GENERATOR SETS under PSD funding

Item-1-3 phase, 450 Volts 0.8pf, 50Hz, 1500 rpm DG set - 25 KVA – 6Nos

CHIEF ENGINEER / CONSTRUCTION

APTRANSCO

Room No. 423, A Block

Vidyut Soudha, Hyderabad-500082

Phone/Fax  No. 040-23317637

No. 040-23396000

(Extn. 3394/ 3833/ 3527/ 3632)

Website(s): https//tender.apeprocurement.gov.in

### I N D E X

---------------------------------------------------------------------------------------------------------------

Section No.		Description				     Page Nos

---------------------------------------------------------------------------------------------------------------

I.	Notice Inviting Tenders (NIT)

II.	A)	Instructions to Bidders

B)	Check List

III.	General Terms & Conditions

(General & Financial)

IV.	Schedule of Requirements

V.	Technical  Specification

VI.	Qualification Requirements

VII.	SAMPLE FORMS :

1.  	Qualification & Performance Statements

2.	Bid Security form

3.	Contract form

4.	Performance Security form

5.	Proforma  for performance statement

6.	Details to be furnished by  Manufacturer

7.	Schedule of Deviation

8.	Declaration Form

9.	Bank Account Details for RTGS

10.	Bankers Certificate

11.	Manufacturers' bidding authorization form

12.   	Undertaking to be given by the company along with the bid

SECTION-I

Notice Inviting Tenders (NIT)

| 1. | Department Name | : | TRANSMISSION CORPORATION OF ANDHRA PRADESH LIMITED |
| --- | --- | --- | --- |
| 2. | Circle/ Division Name | : | Chief Engineer / Construction |
| 3. | Bid Notice No. | : | PMM12 – e –75 /2017 |
| 4. | Bid Subject | : | 1) Supply of 25KVA DG Set -6Nos under PSD Funding |
| 5. | Estimated Contract Value (ECV) | : | Item-1 :Rs. 19,69,789/- |
| 6. | Period of Contract | : | Delivery period + 18 months Guarantee period |
| 7. | Form of Contract | : | Supply of Equipment under PSD Funding |
| 8. | Bid Type | : | Open |
| 9. | Bid Category | : | Goods |
| 10. | BID SECURITY | For Item-1 :Rs 39396/- |
|  |  | : | Either by DD in the name of “Pay Officer, APTRANSCO /Vidyut Soudha, Hyderabad” payable at Hyderabad ( or ) By Bank Guarantee in favour of Chief Engineer /Construction, APTransco,Vidyut Soudha, Hyderabad . |
| 12. | Schedule Availability Date | : | 5:00 PM. On 01-03-2017 |
| 13. | Schedule Closing Date &Time | : | 2.00 PM On 22-03-2017 |
| 14. | Bid Submission closing Date & time | : | 03:00 PM On 22 -03-2017 |
| 15. | Bid Submission | : | On line |
| 16. | P.Q / Technical Bid Opening Date | : | 03:30 PM on 22 -03-2017 |
| 17. | Price Bid Opening Date & Time | : | Not applicable. |

18    .Eligibility Criteria:

i) The bidder should be a manufacturer who must have designed, manufactured, tested and supplied to Government undertaking power utilities at least 40% of the quoted quantity of the goods/ equipment of same or higher voltage class  against the item indicated in the “Schedule of Requirement” in one continuous period of 12 months in the last five years as on the date of opening of Bid and its financial turnover during any one year of the last five years should have been equal or more than 100% value of the item now quoted.

iii)  At least 20% of quoted quantity of the similar material offered against each item of this Specification should be in successful operation since 2 years as on the date of opening of the Bid.

The detailed Qualifying requirements are indicated in Section-IV

Responsibility for correctness of the information submitted in online bid lies with bidder.  If any information furnished in the bid is proved to be false at a later date, the bid will not only be rejected but the bidder will be BLACKLISTED.

19.	Officer Inviting Bids:

Chief Engineer/ Construction, APTRANSCO

20.	Address:

Room No.423, A-Block, Vidyut Soudha, Khairatabad, Hyderabad-500 082

21.	Contact Details:

Tele Fax: 040-2331 7637;

Phone: 040 - 2339 6000 Extn: 3394/ 3833/ 3527/ 3632

22. 	Procedure for bid submission:

Procedure for Submission of Bids:-

a)	The Bids should be in the prescribed form, which can be obtained from e-procurement platform from the date of electronic publication up to the time and date indicated in the Bid notice.  The intending bidders would be required to enroll themselves on the e-procurement market place http//tender.apeprocurement.gov.in.  Those contractors who register themselves in the e-procurement market place can download the Bid schedules free of cost. The bidder shall authenticate the bid with his digital certificate for submitting the bid electronically on e-procurement platform and the bids not authenticated by digital certificate of the bidder will not be accepted on the e-procurement platform following the G.O.Ms.No.6, I.T&C Department, dated 28-02-2005.

For enrolment and Registration APTS, Burgula Ramakrishnarao Building, Hyderabad is to be contacted.

b)	Intending bidders can contact office of the Chief Engineer/Construction, APTRANSCO, Vidyut Soudha, Hyderabad for any clarification/ information on any working day during working hours.

c)	The bidders who are desirous of participating in e-procurement shall submit their technical bid, price bid etc. in the standard formats prescribed in the Bid documents, displayed at e-market place.  The bidders should invariably upload the statement showing the list of documents uploaded in the e-market place in support of their technical bid.  The bidder should upload scanned copies of the certificates, documents etc. as called for hereunder. The bidder shall upload all the statements, documents, certificates duly signed by him, owning responsibility for their correctness/ authenticity.

d)	Technical bid evaluation of the bidders would be done on the certificates/ documents furnished by the bidder against the qualification criteria.

e)	The bidders shall invariably upload the scanned copy of Bid Security, either Demand Draft/ Bank Guarantee. The successful bidder shall furnish the original of the same either personally or through courier or by post within the stipulated time specified by the purchaser.

The bidder shall invariably upload the following :

- Documentary evidence to establish the quantities supplied so far such as Invoices, Delivery Challans, Excise Duty documents etc. along with Purchase Orders against 40% quantity of supply and 20% quantity of satisfactory performance to meet the Qualifying Requirements.

- Performance reports to meet QR-Performance.

- Documents in respect of Financial Turnover of last five years.

- Type test reports,

- Guaranteed Technical Particulars (GTP), drawings etc.

The bidder shall furnish original of all documents/ certificates/ statements    uploaded by him whenever sought by the Purchaser.  The successful bidder shall furnish their company broachers, technical write-ups and printed materials if any.

The bidder shall furnish the declaration that :

1)	They have not been blacklisted/ debarred by any department due to any reasons, as per the format enclosed.

2) 	They will agree to get disqualified themselves for any wrong declaration in respect of the above and get their Bid summarily rejected.

- The soft copies uploaded by them are genuine.

Any incorrectness/ deviations noticed will be viewed seriously and apart from cancelling the contract, duly forfeiting the Bid security, criminal action will be initiated including suspension of business and/ or black listing.

23.	 General Terms & Conditions:

Bids are invited on the e-procurement platform for the above-mentioned procurement     	from the firms eligible.

- Bid security to be paid in the shape of crossed Demand Draft drawn on any Nationalized/ Scheduled Bank drawn in favour of the Pay Officer, APTRANSCO, Vidyut Soudha, Hyderabad - 500 082, payable at Hyderabad (or) Bank Guarantee issued from any Nationalized Bank/ State Bank of India or its associate Bank to be valid for a period of 60 days over and above the validity of Bid i.e. 150 days from the date of bid opening.  Scanned copy of Demand Draft or Bank Guarantee towards Bid security shall be uploaded along with the Bids.  Originals must be submitted by successful bidder to the purchaser through registered post/ courier/ in person before placing of the order.  Bid Security shall be furnished for all items combined.

- Exemption for payment of Bid security is not allowed in any case.  The permanent Bid Security Bank Guarantee accepted earlier is deemed to have been withdrawn. Permanent Bid Security Bank Guarantee is not accepted.  Bid security extensions accorded earlier are deemed to have been withdrawn.

- Bid schedules: Bid schedule can be downloaded free of cost from the web site http//tender.apeprocurement.gov.in

- The bidder is subject to be disqualified, if he is found to have mislead or furnished false information in the forms/ Statements/ Certificates submitted in proof of qualification requirements and any record of abandoning supplies, not fulfilling contractual obligations in earlier contracts, inordinate delays in completion of supplies, litigation history, Financial failures or participating in the previous Bidding for the same supply and quoting unreasonably high price.

Even while execution of the contract, if it is found that the bidder had produced false/fake certificates of experience, he will be black listed and the contract will be terminated and his Bid security will be forfeited and contract will be carried through other agency at his cost and risk..

v)	a) Transaction fee : The participating bidders have to pay transaction fee of 0.03% on  Estimated Contract Value (ECV) with a cap of Rs 10,000/- (Rupees ten thousands only) for all tenders with ECV up to Rs.50.00 crore plus service charges @ 14.5% and Rs.25,000/- (Rupees Twenty Five thousand only) plus service charges @ 14.5% for tenders with Estimated Contract Value (ECV) above Rs.50.00 crore online payment gateway with any master/visa credit card issued by any Bank and through net Banking facility (direct debit) with AXIS/ICICI or HDFC Banks at the time of bid submission. Submission is mandatory as per G.O. Ms.No.13.  Payment of transaction fee through DD will not be accepted".

b) Corpus Fund :  The successful bidder shall pay an amount equivalent to 0.04% of ECV (estimated contract value) with a cap of Rs. 10,000/- (Rupees Ten Thousand only) for all tenders with ECV up to Rs.50.00 Crore and Rs.25,000/- (Rupees Twenty Five Thousand only) for tenders with ECV above Rs.50.00 crore on e-Procurement platform, before entering into agreement/issue of purchase orders towards e-Procurement fund in favour of Managing Director, APTS, Hyderabad, through the Agreement authority.

vi)	In case of discrepancy with Bid conditions in the Bid document and NIT, the condition in the Bid document prevails.

vii)	Note:

a)	Any other condition regarding receipt of Bids in conventional method appearing in the Bid documents may please be treated as not applicable.

b)	The contractors are to upload the information preferably in Zip format.

c)	The contractors should upload the documents duly signing each and every paper.

---***---

SECTION-II (A)

# INSTRUCTIONS TO BIDDERS

The Chief Engineer/ Construction, APTRANSCO invites bids on e-platform  in two parts for the materials indicated in the “Schedule of Requirements” during the period, for which dates and time specified in the NIT, and will be opened by ( him) or his nominee at this office on the date and time mentioned in the NIT.

  - The intending Bidders would be required to enroll themselves on the ‘e’-procurement market place at http//tender.apeprocurement.gov.in

  - The Bids should be in the prescribed form invited on e-procurement by the Chief Engineer/ Construction, APTRANSCO, Vidyut Soudha, Hyderabad (as specified in NIT) that can be downloaded free of cost from the website http//tender.apeprocurement.gov.in

  - The dates stipulated in the Bid notice i.e. NIT are firm and under any circumstances they will not be relaxed unless officially extended.

  - The Bidder should upload scanned copies as specified in checklist and all enclosures required for the schedules and Appendices.  Bidders should produce the originals of Bid Security and all other documents for verification if asked for by the Competent Authority within 3 (Three) days.

  - Transaction fee : The Transaction fee at 0.03% on ECV (Estimated Contract Value)  in total against which the Bidder has offered his Bid with a cap of Rs.10,000/- for all procurements with ECV up to Rs.50.00 Crore and Rs.25,000/- for procurements with ECV above Rs.50.00 Crore, and 14.5% on transaction fees as Service tax. Transaction Fee & other charges shall be paid by either Credit Card or Debit Card. The Payment Gateway accepts all Master and VISA credit cards issued by any bank to conduct the transaction.  The facility is mandatory for all bidders.

  - The successful bidder shall pay an amount equivalent to 0.04% of  Estimated Contract value against which contract is awarded with a cap of Rs.10,000/- (Rupees ten thousand only) for all works/supplies with ECV upto Rs.50.00 Crore and Rs.25,000/- (Rupees Twenty Five thousand only) for works/supplies with ECV above Rs.50.00 crore on e-procurement platform before entering into agreement/issue of purchase orders, towards e-Procurement fund in favour of Managing Director, APTS, Hyderabad through the Agreement authority.

  - The successful Bidder is expected to complete the supplies within the time period specified in the NIT/ Schedule of Requirement.

- Bidders / Firms eligible to Bid :

- The Bidders / Firms who

- Possess the valid registration as mentioned in the NIT and satisfies all the conditions therein.

- Are not blacklisted or debarred or suspended by any department for whatever be the reason, prohibiting them not to continue in the contracting business

- Have complied with the eligibility criteria specified in the NIT are the eligible Bidders /Firms.

  - Bidders / Firms ineligible to Bid:

(i)	A retired officer of the Govt. of AP or Govt. of India executing works/supplies is disqualified from Bidding for a period of two years from the date of retirement without the prior permission of the Government.

(ii)	The Bidder who has employed any retired officer as mentioned above shall be considered as an ineligible Bidder.

(iii)	The contractor himself or any of his employee is found to be Gazetted Officer who retired from Government Service and had not obtained permission from the Government for accepting the contractor’s employment within a period of 2 years from the date of his retirement.

(iv)	The Contractor or any of his employees is found at any time after award of contract, to be such a person who had not obtained the permission of the Government as aforesaid before submission of the Bid or engagement in the Contractor’s service.

(v)	Contractor shall not be eligible to Bid for works/supplies in AP Transco where any of his near relatives are employed in the rank of Assistant Engineer or Assistant Executive Engineers and above on the Engineering side and Assistant Accounts Officer and above on the accounts side.  The Contractor shall intimate the names of persons who are working with him in any capacity or are subsequently employed.  He shall also furnish a list of Gazetted /Non-Gazetted State Government Employees related to him.  Failure to furnish such information Bidder is liable to be removed from the list of approved contractors and his contract is liable for cancellation.

Note:  Near relatives include

Sons, step sons, daughters, and step-daughters.

Son-in-law, and daughter-in-law.

Brother-in-law, and sister-in-law.

Brothers and Sisters.

Father and Mother.

Wife / Husband.

Father-in-law and Mother-in-law

Nephews, nieces, uncles and aunts

Cousins and

Any person residing with or dependent on the contractor.

- Qualification Requirements of the Bidders :

  - The Bidder shall furnish the following particulars in the formats provided online and supported documentary evidence shall be uploaded :

Attested copies of documents relating to the Registration of the firm, Partnership deed, Articles of Association, Commercial Tax Registration, Latest Income Tax Clearance certificate / latest IT return and PAN number from IT Department etc.

Note:	The Partnership firms, which are registered as Contractors shall intimate the change in partnership deed, if any, as per GO Ms No.58, I & CAD, dt.23.4.2002 within one month of such change. Failure to notify the change to the registration authority in time will entail the firms to forfeit their registration and their Bid will be rejected.  The intimation of change of partners if any and the acceptance by the Registration authority may be enclosed.

Availability of key personnel for administration/ site management and execution viz., technical personnel required for the work.

  - Bids from Joint Ventures / agents / consortiums are not acceptable.   .

  - Qualification criteria for opening of the price bid:

  - Even though the Bidders meet the above qualification requirements, they are liable to be disqualified / debarred / suspended / blacklisted if they have:

3.4.1	Furnished false / fabricated particulars in the forms, statements and/annexures submitted in proof of the qualification requirements and/or,

3.4.2	Not turned up for entering into agreement, when called upon with in the time specified in the letter of acceptance,

3.4.3	Record of poor progress such as abandoning the work/supplies , not properly completing the contract, inordinate delays in completion, litigation history or financial failures etc.,

3.4.4	Participated in the previous bidding for the same work and had quoted unreasonably high Bid percentage and,

3.4.5	A history of criminal record in which the Bidder is involved if any.

3.4.6	Even while execution of the contract, if found that the contract was awarded to the Contractor based on false/fake certificates of experience, the Contractor will be blacklisted and contractor will be taken over invoking clause-61 of PS to APSS.

    - History of litigation with Govt. during the last 5 years in which the Bidder is involved.

3.4.8	Bidders should specifically indicate whether their firm has been banned/ blacklisted/debarred by any Govt. department/undertaking or any power utility for non-performance/malpractice or due to any reason. Bids of bidders who are banned/black-listed/debarred will be treated as non-responsive.

3.5	ELIGIBILITY CRITERIA:

- PHYSICAL EXPERIENCE:

1)The bidder should be a manufacturer who must have designed, manufactured, tested and supplied to Power Utilities, at least 40% of the quoted quantity of the goods/equipment of similar same or higher voltage class  with  same or superior Class of Accuracy indicated in the “Schedule of Requirement” in one continuous period of 12 months in the last five years as on the date of opening of bid (The bidder is required to furnish the year wise supply of  Material  and  the maximum quantity of Material  supplied in one continuous period of 12 months of the last five years along with proof of supplies).

B) 	PERFORMANCE :

At least 20% of the similar material offered for each item , as indicated in the ‘Schedule of Requirements’ should be in successful operation since 2 years as on the date of opening of the Bid.

(The bidder is required to furnish evidence and certificates for the quantity of material which are in successful operation since 2 years as on the date of opening of the Bid.)

C) 	FINANCIAL TURNOVER:

- Financial turnover during any one year of the last five years should have been equal or more than the estimated contract value. (The bidder is required to furnish the Financial Turnover of last five years).

- Reports on financial standing of the Bidder such as profit and loss statement, balance sheets and auditor’s report for the past FIVE years, in support of financial turnover and Banker’s certificates regarding Bank limits.

D)	TYPE  TEST REPORTS: The bidder shall furnish Type Test Reports. The type tests must have been conducted on the material offered as per the relevant IS in recognized laboratory as per the latest revision of the Relevant IS applicable and Technical Specification.  The date of type tests will not be earlier than ten years as on the date of bid opening.  If any change in design was made latest type tests shall be furnished along with approved drawing. (Bidder is required to furnish the Year of Type Test Reports done for similar Material in the remarks column of technical particulars)

The detailed Qualifying Requirements are indicated at Section –VI

Responsibility of correctness of the information submitted in online bid lies with bidder.  If any information furnished in the bid is proved to be false at a later date, the bid will not only be rejected but the bidder will be BLACKLISTED.

The bids not complying with the stipulated completion period will be treated as non-responsive.

While being equal or compatible in other aspects preference will be given to those bidders who have experience in erection of above works/supplies similar to that given in the specification or of higher voltages during the last five financial years.

IF A BIDDER QUOTING FOR THE BIDS IS HAVING POOR PERFORMANCE IN THE AND NOT COMMENSURATE WITH THE AGREEMENT IN THE PREVIOUS CONTRACTS, THE BID OF SUCH BIDDER WILL NOT BE CONSIDERED FOR AWARD OF CONTRACT.

- One Bid per Bidder:

Each Bidder shall submit only one Bid.  A Bidder who submits more than one Bid will cause dis-qualification of all the Bids submitted by the Bidder.

- Cost of Biding :

The Bidder shall bear all costs associated with the preparation and submission of his Bid and the Bid inviting authority will in no case be responsible and liable for those costs.

SECTION –II (B) : CHECK LIST

The bidders shall invariably upload/Attached the information and records listed in the check list below on e-procurement platform, and also confirm by marking Yes or No.  The same shall have to be furnished either personally or through courier or by post in the stipulated time, if asked by the Purchaser.

| 1 | Whether Original Bid Security BG / DD uploaded? | Yes / No |
| --- | --- | --- |
| 2 | Whether Transaction Fee is paid electronically or not. The copy of the receipt may be uploaded. | Yes / No |
| 3 | Whether Guaranteed Technical Particulars (GTP) are uploaded/Attached | Yes / No |
| 4 | Whether Proof of Turnover signed by Auditors are uploaded/Attached | Yes / No |
| 5 | Whether Form-1 i.e. Q.R. and Performance statements uploaded/Attached | Yes / No |
| 6 | Whether all the documents as proof to the Pre-Qualification Requirement i.e. 40% quantity of supply in 12 months from the utilities as called for | Yes / No |
| 7 | Whether all the documents pertaining to the 2 years satisfactory performance, i.e., satisfactory performance certificates from the utilities with documentary proof with attestation, are uploaded/Attached | Yes / No |
| 8 | Whether Bankers certificate uploaded/Attached | Yes / No |
| 9 | Whether Schedule of Deviations - Technical & Commercial are uploaded/Attached | Yes / No |
| 10 | Whether ‘Declaration Form’ uploaded/Attached | Yes / No |
| 11 | Whether copies of Type Test Certificates uploaded/Attached | Yes / No |
| 12 | Whether uploaded/Attached the Forms as per Section-VII of the Specification? | Yes / No |
| 13 | Whether uploaded/Attached the undertaking informing that firm has not been banned/black listed/debarred by any Govt. Department / undertaking or any power utility for non-performance or malpractice? | Yes / No |
| The Bidder shall indicate that all the forms and enclosures indicated in the checklist furnished are compiled with. |
| SIGNATURE OF THE BIDDER |

SECTION – III

#### GENERAL TERMS & CONDITIONS OF THE CONTRACT

A. Introduction

Definitions

1.1	In this Contract, the following terms will be interpreted as indicated:

- "The Contract" means the agreement entered into between the Purchaser and the Supplier, as recorded in the contract Form signed by the Parties, including all attachments and appendices thereto and all documents incorporated by reference therein.

- "The Contract Price" means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations.

(c)	"The Materials / equipment" means all of the material/ equipment, machinery, and/or other materials which the Supplier is required to supply to the Purchaser under the Contract.

(d)	"The Services" means those services ancillary to the supply of the material/ equipment, such as transportation and insurance, and any other incidental Services, such as installation, commissioning, provision of technical assistance, training, and other such obligations of the Supplier covered under the Contract.

(e)	"GCC" means the General Terms and Conditions of Contract contained in the section.

(f)	"The Purchaser" means the organization purchasing the Materials / equipment.

(g)	Vendor is a supplier for supply of material/ equipment.

(h)	"The Supplier" means the firm supplying the Materials / equipment and Services under this Contract.

(i)	"Day" means calendar day.

2.	Applicability

  - These General Conditions of contract will apply to the extent that they are not superseded by provisions of Salient features of the Bid.

3 (a)	Standards :

The equipment/material supplied under this Contract will conform to the Standards mentioned in the Technical specifications, and, when no applicable standard is mentioned, the authoritative standards appropriate to the equipment/ material, i.e., BIS, such standards will be the latest. All material will be of the best class and will be capable of satisfactory operation under tropical conditions without distortion or deterioration.

3 (b)	Interchangeability :

All similar material and removable parts of similar equipment will be interchangeable with each other.  A specific confirmation of this should be furnished in the bid.

- Scope of Work :

This specification covers design, manufacture, testing and delivery FADS (Free at Destination Stores) of the equipment/ material under PSD funding described in Section-IV ‘Schedule of Requirements’  and Section-V ‘Technical Specification’.

5.	Eligible Bidders :

Vendors for supply of the equipment/ material listed in section ‘Schedule of Requirements’ of Bid specification and meeting the Qualification Requirements described in section ‘Qualifying Requirements’ only need quote.  Bids received from firms not meeting the above criteria will not be considered. Any company/vendor/supplier/contractor that is blacklisted/debarred by any power utility is not eligible to participate in the tenders.

### B.     THE BIDDING DOCUMENTS :

6.	Contents of Bidding Document:

6.1	The Material/ equipment required, bidding procedures, and contract terms are prescribed in the bidding documents as listed below:

- Notice Inviting Tenders (NIT) – Section-I

- Instruction to Bidders & Check List – Section-II

- General Terms and Conditions of Contract – Section-III

- Schedule of Requirements & Delivery Schedule – Section-IV

- Technical Specifications – Section-V

- Qualification Requirements – Section-VI

- Sample Forms – Section-VII

(Qualification & Performance Statements, Bid Security form, Details to be furnished by Manufacturer, Performance Security form, Schedule of Deviations and Other forms to be duly filled-in & signed and up-loaded).

6.2	The Bidder is expected to examine all instructions, forms, terms and Technical specifications in the bidding documents.  Failure to furnish all information required by the bidding documents, or to submit a bid not responsive to the bidding documents in every respect will be at Bidder's risk and may result in the rejection of its Bid.

7.	Clarification of Bidding Documents :

Clarification of Bidding Documents: 	A prospective Bidder requiring any clarification of the bidding documents may notify the Purchaser in writing or by fax at the Purchaser's address. The Purchaser will respond in writing to any request for clarification of the bidding documents, which it receives no later than fifteen (15) days prior to the deadline for the submission of bids. Written copies of Purchaser's response (including an explanation of the query but without identifying the source of inquiry) will be put on e-procurement platform/ website of the purchaser.

8.	Amendment to Bidding Documents :

8.1	At any time prior to the deadline for submission of bids, the Purchaser, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, may modify the bidding documents by amendment.

8.2	All such amendments also would be made available on the e-procurement platform/ website of APTRANSCO and such amendments will be binding on the respective Bidders.

8.3	In order to allow prospective Bidders reasonable time in which to take the amendment into account in preparing their bids, the Purchaser, at its discretion, may extend the deadline for the submission of bids.

### C.     PREPARATION OF BIDS

9.	Language of Bid :

The bid prepared by the Bidder including all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser, will be in English.

10.	Cost Associated with Bidding :

The Bidder will bear all costs associated with the preparation and submission of its bid, and the Purchaser, will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

- Bidders have to pay a transaction fee @ 0.03% of ECV (Estimated Contract Value) with a cap of Rs.10,000/- for all works/ supplies with ECV up to Rs.50.00 Crore and Rs.25,000/- for works/supplies with ECV above Rs.50.00 Crore, at the time of bid submission electronically.

- Transaction Fee & other charges shall be paid by either Credit Card or Debit Card.

- Bidders have to pay ‘service tax’ as levied by Government of India on transaction fee, electronic payment gateway charges.

- Successful bidders shall pay another 0.04% of ECV to APTS towards e-procurement fund.

Bidders shall obtain digital certificates from APTS.

11.	Documents Constituting the Bid :

a)	The Bid comprises the following.

(i)	 Bid documents and Price Bid,

[Available online at http//tender.apeprocurement.gov.in]

- Qualification information and supporting documents

[to be uploaded by the Bidder]

  - Documentary evidence establishing in accordance with Clause No.19 ‘Documents Establishing Bidder’s Eligibility and Qualifications’ that the Bidder is eligible to bid and is qualified to perform the contract if its bid is accepted.

  - Documentary evidence establishing that the Materials/ equipment and ancillary services to be supplied by the Bidder are as per the Technical specification of the bidding documents,

  - Bid Security in accordance with Clause No.20, and as indicated in the Bid Notification.

  - Taxes and Duties clearance certificates

  - Schedule of Deviations -   a) Commercial    &   b) Technical

All the Schedules will be duly filled online with full details as called for in the schedules required for evaluation of bids. Bidders are expected to duly fill in all the schedules and sample forms and enclosed them to the Bid.

12.	Commercial form

The Bidder will complete the commercial form appropriately on e-procurement platform as described in Section –IV of the Schedule of Requirements of the Specification..

13.	Bid Prices:

13.1	The prices quoted shall be Firm. Bids will be called for with prices FADS inclusive of packing and forwarding Excise Duty, Sales Tax and other legally permissible duties and levies wherever applicable, handling charges to cover the transport by road from destination railway station to site/stores, unloading at site/stores and insurance (transit and storage at site for 45 days).

13.2	Even though composite price is given the break-up for all the duties, taxes, freight, insurance, packing and forwarding etc., will be furnished.  Freight & Insurance shall be quoted separately.  Quoting them ‘inclusive’/’zero’ will not be accepted.

13.3	It is the responsibility of the Bidder to inform himself of the correct rates of duties and taxes levyable on the materials at the time of bidding.

13.4	The proforma credit available to the bidder on the purchases of inputs (raw materials) consequent to the introduction of “MODVAT” Scheme may be taken into account while quoting the prices.

13.5	In case of difference in figures and text fields quoted by the bidder in the commercial form of e-procurement platform, the figures will be final and comments in the text field will not be taken into consideration.

14.	Variable prices & Price Variation basis :  Not Applicable.

15.     Taxes and Duties :

15.1   A bidder will be entirely responsible for quoting the correct taxes and duties, other local taxes or levies if any, license fees, etc., he has to incur until completion of the contract. For the purpose of evaluation, the bidder should clearly indicate the Excise Duty, Sales Tax (in case of local suppliers applicable APVAT), Entry Tax and any other taxes and levies payable in the respective columns provided in the Commercial form on e-procurement platform. Failure to furnish the details as prescribed in the price schedule will be loaded as indicated in the evaluation criteria.

15.2	If the rates of statutory levies assumed by the Bidder are less than the actual rates prevailing at the time of bidding, the Purchaser will not be responsible for such errors.  If the rates of statutory levies assumed by the Bidder are later proved to be higher than the actual/ correct rates prevailing at the time of bidding, the difference will be passed on to the credit of the Purchaser.

15.3.	Deemed Export Benefits: This is not applicable.

15.4	Tax and cess deductible at source

As per provision of APVAT Act, as amended, tax shall be deducted at source at the rate of 50% of VAT from the registered dealer (total amount of applicable tax to be deducted in case of un-registered dealer) charged on the supply invoices raised by the supplier as per the section 22(3B) as amended w.e.f12-01-2016. These provisions are applicable in both the situations viz, where separate purchase order is issued or where separate schedules are given for supply service in a composite contract/agreement (applicable to sch-A/sch-1 i.e. Material /equipment schedule only). The rates of TDS shall be made applicable as prevailing at the time of billing.

16.     Statutory Variations :

Any variation up or down in statutory levy or new levies introduced after ‘Tender calling date’ will be to the account of APTRANSCO, within the scheduled delivery period as per the contract on production of documentary evidence.  This is allowed only once during delivery period, i.e., at the time of delivery of goods at factory.

In cases where delivery schedule is not adhered to by the supplier and there are upward variation/revision after the agreed delivery schedule, the supplier will bear the impact of such levies and if there is downward variation/revision, the APTRANSCO will be given credit to that extent.

No Statutory variation is applicable for the transaction between the Supplier and their sub-vendors/sub-supplies i.e., for the bought-out items and taxes & duties of such items shall be inclusive in the bid price only.

In cases where the bidder assumes less tax rates and becomes lowest, upward variation of taxes will not be considered.

17. 	Bid Currencies :

Prices will be quoted in Indian Rupees; and will be paid in Indian Rupees Only.

18.	Quantity to quote :

Bidder shall quote 100% of the quantity indicated in the “Schedule of requirements” in the bid specification on single responsibility basis. Bid

offers less than the prescribed quantity are liable for rejection.

19.	Documents Establishing Bidder’s Eligibility and Qualifications :

The Bidder shall furnish, as part of its bid, documents establishing the Bidder's eligibility to bid and its qualifications to perform the contract if its bid is accepted.

The documentary evidence of the Bidder's qualifications to perform the contract if its bid is accepted shall establish to the Purchaser's satisfaction:

(a)   that the Bidder has the financial, technical, and production capability necessary to perform the contract;

(b)	that the Bidder meets the Qualification criteria listed in Section-VI.  In addition the Bidder may furnish full particulars regarding supply of the material in question made so far to APTRANSCO during the last 5 years and other reputed power utilities.

19.1 	Documents Establishing Equipment/ material conformity to Bidding Documents :

The Bidder will furnish as part of its bid, documents establishing conformity to the bidding documents of all Material/ equipment and services, which the Bidder proposes to supply under the Contract.

The documentary evidence of conformity of the material/equipment and the services to bidding documents may be in the form of literature, drawings, data, and will consist of:

(a)  a detailed description of the essential technical and performance characteristics of the materials/ equipment;

(b)	the bidder should specifically mention about furnishing the test certificates and a copy of test certificate should be uploaded along with the bid.

(c)	a list giving full particulars, including available sources and current prices of spare parts,  special tools etc., necessary for the proper and continuing functioning of the Material/equipment following commencement of the use of the Material/ equipment by the Purchaser; and

(d)	an item-by-item commentary on the Purchaser's Technical Specifications demonstrating substantial responsive-ness of the equipment/ material and services to those specifications, or a statement of deviations and exceptions to the provisions of the Technical Specifications.

For purposes of the commentary to be furnished pursuant to above, the Bidder will note that standards for workmanship, material, and equipment, as well as references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications, are intended to be descriptive only and not restrictive. The Bidder may substitute alternative standards, brand names, and/or catalogue numbers in its bid, provided that it demonstrates to the Purchaser's satisfaction that the substitutions ensure substantial equivalence to those designated in the Technical Specifications.

20.	Bid Security :

20.1	The Bidder shall furnish, as part of its bid, a Bid Security specified in the NIT. This amount should be paid by way of a crossed demand draft drawn on any scheduled bank in favour of the Pay Officer, APTRANSCO and payable at headquarters of the Purchaser.

Alternatively the bidders may furnish a Bank Guarantee (B.G.) in lieu of Demand Draft as per the proforma attached. The scanned copy of crossed DD/BG should invariably uploaded along with the Bids.

20.2	The fact of having Bid security by D.D./B.G. along with the bid should be clearly indicated in the Bid.

20.3	Submission of BID SECURITY by way of cheque, cash, money order, call deposit will not   be accepted and will be considered as disqualification.

20.4	Exemption for payment of Bid security is not allowed in any case.  The permanent bid security bank guarantee accepted earlier is deemed to have been withdrawn.  Permanent bid security Bank Guarantee is not accepted.  Bid security extensions accorded earlier are deemed to have been withdrawn.

20.5	Requests for exemption from payment of BID SECURITY will not be entertained on any account.

20.6	Any bid not secured as above will be rejected by the Purchaser.

20.7	The successful Bidder's Bid Security original shall be furnished before placing of order and the same will be discharged after award of contract and acceptance of Performance Security.

20.8	   The Bid Security may be forfeited:

(a)   if a Bidder :

- Withdraws its bid or alters its prices during the period of bid validity specified by the Bidder, or

- Does not accept the correction of errors pursuant to Clause No.30.2; or

- Offers post Bid rebates, revisions or deviations in quoted prices and/ or conditions or any such offers which will give a benefit to the Bidder over others will not only be rejected outright but the original Bid itself will get disqualified on this account and the Bidder’s BID SECURITY will be forfeited.

(b)	In the case of a successful Bidder, if the Bidder fails:

- To sign the contract in accordance with Clause No.38.

- To furnish performance security in accordance with Clause No.39.

20.9 	 Bids without Bid Security will be rejected and bidder will run the risk of being banned.

21.		Period of Validity of Bids :

21.1	Bids will remain valid for the period of ninety (90) days from the date of bid opening prescribed by the Purchaser. A bid valid for a shorter period will be rejected.

21.2	In exceptional circumstances, the Purchaser may solicit the Bidder's consent to an extension of the period of validity.  The request and the responses there to will be made in writing (or by Fax).  The Bid Security Bank Guarantee provided under Clause No.20 shall also be suitably extended. A Bidder may refuse the request without forfeiting its Bid Security.

22. 	Tax Clearance Certificates :

22.1	Copies of Income Tax, Sales Tax and Turnover Tax certificates for the latest period from the appropriate authority will invariably be enclosed to the bid.  In the case of proprietary or partnership firm it will be necessary to produce the certificate/ certificates for the proprietor or proprietors and for each of the partners as the case may be.  If the Bidder has already produced the certificate during the calendar year in which the bid is made, it will be sufficient, if particulars are given.

23.	Service Conditions :

23.1	The equipment / materials offered will be entirely satisfactory for operation under the climatic conditions indicated below.

(a)	Location 	- 	at various sub-stations in the state of Andhra Pradesh

(b)	Maximum ambient air temperature				55 0C

(c)	Minimum ambient air temperature				5 0C

(d)	Average daily ambient air temperature 			35 0C

(e)	Maximum relative humidity 					74 %

(f)	Maximum altitude above mean sea level			1000 m

(g)	Average number of thunder storm days per annum		40 days

(h)	Average number of rainy days / annum			90 days

(i)	Average tropical monsoon condition per annum		3 months

(j)	Average Annual Rain fall 					925 mm

(k)	Maximum wind pressure				      	200 kg/Sq.m.

(l)	Isoceraunic level per annum					50 days

(m)	Seismic level (horizontal acceleration)			0.10 g

23.2	Due consideration will be given to any special devices or attachments put forward by the Bidder which are calculated to enhance the general utility and the safe and efficient operation of the equipment / materials.

24.	Format & Signature of Bidder : Clause deleted.

D.    Submission of Bids :

25.      Procedure for Submission of Bids :

25.1  	Bids should be in the prescribed form, which can be obtained from ‘e-procurement’ platform from the date of electronic publication up to the time and date indicated in the Bid notice.  The intending bidders would be required to enroll themselves on the ‘e-procurement’ market-place http//tender.apeprocurement.gov.in.  Those bidders who register themselves in the ‘e-procurement’ market place can download the Bid specification and the Bid schedules free of cost.

The bidder shall authenticate the bid with his digital certificate for submitting the bid electronically on e-procurement platform and the bids not authenticated by digital certificate of the bidder will not be accepted on the e-procurement platform following the G.O.Ms.No.6, I.T&C Department, dated 28-02-2005.

  - Intending bidders can contact office of the Chief Engineer/Construction, APTRANSCO, Vidyut Soudha, Hyderabad for any clarification/ information on any working day during working hours.

  - The bidders who are desirous of participating in “e-procurement” shall submit their technical bids, price bids etc., in the standard formats prescribed in the Bid documents, displayed at “e” market place.  The bidders should invariably upload the statement showing the list of documents etc., in the “e” market place in support of their Technical bids.  The bidder should load scanned copies of all relevant certificates. The bidder shall sign on all the statements, documents, certificates, uploaded by him, owning responsibility for their correctness/ authenticity.

If any bidder uploads the Bid without paying Bid security, he will be blacklisted. Similarly, if any of the certificates, documents etc., furnished by the Bidder are found to be false/fabricated/bogus, the Bidder will be blacklisted and bid security forfeited.

  - The Bidder will invariably complete the Bid in full.

  - Telegraphic quotations and quotations by fax will not be entertained under any circumstances.  Clarification, amplifications, and / or any other correspondence from the Bidder subsequent to the opening of bid will not be entertained.

The Bidders are advised to ensure that their bids are uploaded in complete shape at the first instance itself.

26. 	Deadline for Submission of Bids

The Purchaser may, at its discretion, extend this deadline for the submission of bids by amending the bidding documents in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

27.        Modification and Withdrawal of Bids

No bid may be modified after the deadline for submission of bids.

No bid may be withdrawn in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified. Withdrawal of a bid during this interval may result in the forfeiture of its Bid Security.

###### E.	Opening and Evaluation of Bids

28.       Opening of Bids by the Purchaser

28.1	The Purchaser will open all the Pre-Qualification/ Technical bids meeting above criteria.  In case the Technical, Financial & Pre-qualification requirements are found to be adequate and as required after the examination, Price Bids will be opened at later date.

28.2	If the Technical, Financial & Pre-Qualification requirements are found to be

inadequate,  the ‘Price Bid’ of such unqualified Bidders will not be opened.

29.	     Clarification of Bids

29.1	During evaluation of the bids, the Purchaser may, at its discretion, ask the Bidder for a clarification of its Bid.  The request for clarification and the response will be in writing, and no change in the prices or substance of the bid will be sought, offered, or permitted.

30.	    Preliminary Examination

30.1	The Purchaser will examine the bids to determine whether they are complete, whether required sureties have been furnished, whether the documents have been properly signed, and whether the bids are generally in order.

30.2  The Purchaser may waive any minor informality, nonconformity, or irregularity in bid which does not constitute a material deviation, provided such waiver doesn't prejudice or affect the relative ranking of any Bidder.

30.3  	Prior to the detailed evaluation, the Purchaser will determine the substantial responsiveness of each bid to the bidding documents.  For purposes of these Clauses, a substantially responsive bid is one, which conforms to all the terms and conditions of the bidding documents without material deviations.  Deviations from, or objections or reservations to critical provisions, such as those concerning Bid Security, and Taxes and Duties will be deemed to be a material deviation.  The Purchaser's determination of a bid's responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

30.4   	If a bid is not substantially responsive, it will be rejected by the Purchaser and may not subsequently be made responsive by the Bidder by correction of the nonconformity.

31.	Evaluation and Comparison of Bids

31.1	The Purchaser will evaluate and compare the Technical & Pre-Qualification Bids, which have been determined to be substantially responsive.  In case the Technical, Financial & Pre-qualification requirements are found to be adequate and as required after the examination, Price Bids of the qualified bidders will be opened subsequently.

31.2	a) All the bids, which are opened and considered for evaluation, will be checked for qualification requirements in respect of technical and commercial aspects. Such of the bids, which do not meet the qualification requirements, will not be evaluated further. The bid is to be checked for its conformity to the technical specification. If it does not meet the technical specification, the Bid will not be evaluated further. However, if in the opinion of the purchaser the bidder has offered equipment/ material better than the technical specification the same may be considered.

b) Further, the purchaser may enquire from the bidder in writing for any clarification of the bid. The response of the bidder will also be in writing. However no change in the prices or substance of the bid will be sought, offered or permitted.

c) Bids will be examined for completeness and for any computational errors.

d) It will be ensured that the required sureties have been furnished and that the documents have been properly signed.

e)   The bid may be rejected for the following reasons:

- Not in the prescribed form,

- Insufficient bid security or no proof of bid security,

- The bidder is a vendor who is banned from further business transactions and the period of ban is still in force.

- Bids of bidders whose delivery against the pending orders is not satisfactory are liable for rejection.

f)	The purchaser's evaluation of a bid shall take into consideration one or more of the following factors.

              - Qualifying Requirements in respect of the Supply, Performance, Financial, Type tests etc.

              - Delivery schedule offered in the bid;

              - Commercial & Technical deviations.

              - The cost of components, mandatory spare parts, and service;

              - The availability of spare parts and after-sales services for the material offered in the Bid;

              - The projected operating & maintenance costs during the life of the equipment/ material;

              - The performance and productivity of the material/ equipment offered;

              - Other specific criteria indicated in the Bidding documents.

g) 	In addition the Purchaser’s evaluation of a bid will take into account the net landed cost of the material at the final destination. For the purpose of evaluation net landed cost is arrived at by adding all elements of the basic price, allowable discount, excise duty, sales tax & any other levies, packing & forwarding, freight charges, insurance (transit & storage) as quoted by the bidder, interest on advance if any, unloading at final destination,  servicing and other charges as called for, excluding CST/VAT.

h)	In addition any variation up or down in taxes and duties/ new levies introduced subsequent to bid opening and before award will be considered for comparison purposes.

i)	The following criteria may be adopted for taxes and duties for evaluation.

  - It is the responsibility of the bidder to quote all taxes and duties correctly without leaving any column unfilled.  Where taxes and duties are not applicable the bidder should enter ‘NA’ and if no duty/tax is leviable the same may be entered as’NIL’.  If any column is left blank or filled vaguely like “as applicable”, the same will be loaded with the maximum of the other eligible Bids.

  - Where there is an exemption of Excise Duty/ Sales Tax, the documentary evidence to that effect will be enclosed by the supplier.

  - Prior to detailed evaluation, the responsiveness of each bid will be determined. A substantially responsive bid is one that conforms to all the terms and conditions of the bidding documents without material deviations. For this purpose superscription, qualification requirement, bid security, validity, delivery, payment term, price schedule, taxes and duties will be deemed to be the critical provisions and deviations in any one of these items will be deemed to be a material deviation.

  - The purchaser may waive any minor informality, non-conformity or irregularity in the bid which does not constitute a material deviation, provided such waiver does not affect the relative ranking of any bidder.  The purchaser will clearly indicate in the bid specification the methodology for evaluation of bids.

- Bid price, which will include all, costs of manufacture and services at manufacturing place as well as, Transportation to destination stores, packing and forwarding, unloading, insurance and all Taxes & other legally permissible duties & levies payable.

- Delivery schedule offered in the bid.

- Deviations in payment schedule from that specified in the general terms and conditions of the contract.

- The cost of components, mandatory spare parts, and service,

- The availability of spare parts and after-sales services for the equipment offered in the Bid;

- The projected operating and maintenance costs during the life of the equipment;

- The performance and productivity of the equipment offered; and/or

- Other specific criteria indicated in the Bid Specification.

- Cost of recommendatory spares if any indicated in the relevant price schedule will not be considered for bid evaluation.

  - “The bidders for supply and works shall invariably possess ‘TIN’ & ‘PAN’ Numbers” and the same should be furnished for Bids above Rs.5.00 Lakhs.

31.3 	Any statutory variations of taxes and duties and new levies imposed after opening of the bid and before award of the contract will be taken into consideration for the purpose of evaluation.

31.4	A substantially responsive bid is one, which conforms to all the terms and conditions of the bidding documents without material deviations. For this purpose qualification requirement, bid security, validity, delivery, payment terms, price schedule, submission of types test certificates, taxes & duties will be deemed to be the critical provisions and deviations in any one of these things will be deemed to be a material deviation.

32.	Contacting the Purchaser.

32.1	From the time of the bid opening to the time of contract award, if any Bidder wishes to contact the Purchaser on any matter related to the bid, should do so in writing.

32.2	Any effort by a Bidder to influence the Purchaser in its decisions on bid evaluation, bid comparison, or contract award will result in the rejection of the Bidder's bid.

F. 	Award of Contract

33.	Post Qualification

33.1	In the absence of pre-qualification, the Purchaser will determine to its satisfaction whether the Bidder that is selected as having submitted the lowest evaluated responsive bid is qualified to perform the contract satisfactorily.

33.2  	The determination will take into account the Bidder's financial, and production capabilities.  It will be based upon an examination of the documentary evidence of the Bidder's qualification submitted by the Bidder, as well as such other information as the Purchaser deems necessary and appropriate.

34. 	Award Criteria :

34.1	The Purchaser will award the contract to the successful Bidder / Bidders whose bid has / have been determined to be substantially responsive.

However it is not binding on APTRANSCO to accept the lowest or any other Bid.  It reserves the right to place orders on different Bidders.

34.2    In the opinion of the purchaser in case it is undesirable to depend on one supplier, quantity may be distributed among two or more suppliers adopting the same price.

35.	Purchaser’s Right to vary Quantities at the time of Award

35.1	The Purchaser reserves the right at the time of contract award to increase or decrease the quantity of Materials/ equipment and services originally specified in the ‘Schedule of Requirements’ without any change in unit price or other terms and conditions.

35.2	The purchaser reserves the right to vary the ordered quantity by ±50% during the execution of the contract.

36.	Purchaser's Right to Accept Any Bid and to Reject Any or All Bids

36.1  The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to the affected Bidder or Bidders.  The Purchaser will inform the affected bidder/bidders of its reasons.

37.	Notification of Award

37.1	Prior to the expiration of the period of bid validity, the Purchaser will notify the Successful Bidder in writing by registered letter or by fax, to be confirmed in writing by registered letter, that its bid has been accepted.

37.2	The notification of award will constitute the formation of the Contract.

37.3  	Upon the successful Bidder's furnishing of the performance security, the Purchaser enters into contract with successful Bidder/ Bidders. The Purchaser will notify each unsuccessful Bidder and will discharge its Bid Security.

  - The supplier will have to predefine the Bank Account details after receipt of LOI and before entering into contract for electronic transfer of payment.

38.	Signing of Contract :

The Purchaser notifies the successful Bidder that its bid has been accepted.

Within 30 (thirty days) of receipt of notification of award of Contract, the successful Bidder will sign and date the contract. Failure to comply with this stipulation will entail cancellation of the contract besides forfeiture of the bid security.

39.	Performance Security :

39.1   	Within fifteen (15) days of receipt of notification of contract award, the successful Bidder will furnish to the Purchaser the performance security for an amount 10% of the contract value for proper fulfilment of the contract, which will include the warranty period, and completion of performance obligations including Warranty obligations. The Performance Security will cover 60 days beyond the date of completion of performance obligations including Warranty obligations.

In the event of any correction of defects or replacement of defective material during the warranty period, the warranty for the corrected / replaced material will be extended to a further period of 12 months and the Performance Bank Guarantee for proportionate value will be extended 60 days over and above the extended warranty period.

39.2  	The proceeds of the performance security will be payable to the Purchaser as compensation for any loss resulting from the Supplier's failure to complete its obligations under the Contract.

39.3 	The performance security will be…

- A Bank Guarantee issued by State Bank of India or its associate Banks/Nationalised Banks acceptable to the Purchaser, in the form provided in the bidding documents.

- A banker's cheque or crossed DD or Pay Order payable at the head quarter of the Purchaser in favour of the Purchaser drawn on State Bank of India or its associate Banks/Nationalised Banks.

39.4   	The performance security will be discharged by the Purchaser and returned to the Supplier not later than sixty (60) days after the expiry date.

39.5   Failure of the successful Bidder to comply with the above requirement will entail cancellation of the award and forfeiture of the Bid Security.

39.6	In case where the performance security is not yet paid, the bid security will be forfeited and the balance to makeup the performance security deposit will be deducted from pending payments any due to the bidder from APTRANSCO on other orders.  In addition the company will also became liable for black listed by APTRANSCO.

40.	Corrupt or Fraudulent Practices :

It is essential that the Purchaser as well as Bidder / supplier / contractor for the purposes of this provision, the terms set forth below as follows:

(i) “Corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution, and

(ii) “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the determinant of the purchaser, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the purchaser of the benefits of free and open competition;

(iii) Will reject a proposal for award if it determines that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

(iv) Will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract if it at anytime determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing a contract.

41.	Use of Contract Documents and Information:

41.1	The Supplier will not, without the Purchaser's prior written consent, disclose the Contract, or any provision thereof, of any specification, plan, drawing, pattern, sample, or information furnished by or on behalf of the Purchaser in connection therewith, to any person other than a person employed by the Supplier in the performance of the Contract.

Disclosure to any such employed person will be made in confidence and will extend only so far as may be necessary for purposes of such performance.

41.2	The Supplier will not, without the Purchaser's prior written consent, make use of any document or information except for purposes of performing the Contract.

41.3	Any document, other than the Contract itself, will remain the property of the Purchaser and will be returned (in all copies) to the Purchaser on completion of the supplier's performance under the Contract if so required by the Purchaser.

41.4    The Supplier will permit the Purchaser or his authorized representative to inspect the Supplier’s accounts and records relating to the performance of the Supplier and to have them audited by auditors appointed by the Supplier.

42.	Patent Rights

42.1	The Supplier will indemnify the Purchaser against	all third-party claims of infringement of patent, trademark, or industrial design rights arising from use of the Materials / equipment or any part thereof.

43.	Places / Locations

43.1	Particulars of site location to which the equipments / material have to be supplied will be given to successful Bidders. However, it may please be noted that the destinations for supply of materials will be Site/Stores any where in the state of Andhra Pradesh.

44.	Delivery:

44.1	Delivery period will be reckoned from the date of Purchase Order.   The delivery quoted will be firm, definite, unconditional and on the basis of receipt of materials at destination in good condition without any bearing on the procurement of raw materials or any similar prerequisites.  The commencement date and date of delivery will be indicted. The preferred delivery time, which is the essence of this specification, is indicated in the schedule.  Final deliveries are however, subject to confirmation at the time of Contract.  Delay in delivery of materials FADS (Free At Destination Store/site) due to non-availability of railway booking, non-allotment of wagons and any such reasons will not be considered.  It is the responsibility of the supplier to make alternative arrangements for transporting the materials by road or rail so as to see that the material reaches the destination within the stipulated period.  The Purchaser reserves its right to defer the delivery date at any time after orders are placed without any change in the conclusion of contract or other conditions of supply.  The delivery period, which will be reckoned from the date of the Contract, will be guaranteed under penalty as in Clause 60.

45.     Inspections and Tests

(i)  The supplier will keep the Purchaser informed in advance of the time of the   starting and the progress of manufacture of equipment/material in its various stages so that arrangement could be made for inspection. The accredited representative of the APTRANSCO will have access to the supplier’s or his subcontractor’s work at any time during working hours for the purpose of inspecting the materials during manufacturing of the materials/ equipment and testing and may select test samples from the materials going into plant and equipment.  The supplier will provide the facilities for testing such samples at any time including access to drawings and production data at no charge to Purchaser.  As soon as the materials are ready the supplier will duly send intimation to APTRANSCO by registered post and carry out the tests in the presence of the representative of APTRANSCO.

(ii)	The APTRANSCO may at its option get the materials inspected by the third party if it feels necessary and all inspection charges in this connection will be borne by the supplier.

(iii) The dispatches will be effected only if the test results comply with the specification. The dispatches will be made only after the inspection by the APTRANSCO Officer is completed to the APTRANSCO satisfaction or such inspection is waived by the competent authority.

(iv) The acceptance of any quantity of materials will in no way relieve the supplier of its responsibility for meeting all the requirements of this specification and will not prevent subsequent rejection if such materials are later found to be defective.

(v) The supplier will give 15 days advance intimation to enable the Purchaser depute his representative for witnessing the acceptance and routine tests.

(vi)	 Should any inspected or tested materials/ equipment fail to conform to the specification, the Purchaser may reject the materials and supplier will either replace the rejected materials or make alterations necessary to meet specifications requirements free of costs to the Purchaser.

46.	Name Plate:

Equipment should be provided with name plate giving full details of manufacturer, capacities and other details as specified in the relevant ISS or other specification stipulated.  The contract No. and date and year of supply and the words “APTRANSCO” must be etched on the name plate.

47.	Packing

47.1	The Supplier will provide such packing of the Material/ equipment as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. The packing will be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage.  Packing case size and weights will take into consideration, where appropriate, the remoteness of the Material/ equipment' final destination and the absence of heavy handling facilities at all points in transit.

47.2   The packing, marking, and documentation and outside the packages will comply strictly with such special requirements as will be expressly provided for in the Contract and in any subsequent instructions ordered by the Purchaser. The supplier will be required to make separate packages for each consignee, each package will be marked on three sides with proper paint / indelible ink with the following;

- Contract Number

  - Supplier’s name

  - Packing list reference number

47.3  The supplier, whenever dispatches material to a destination should prepare the following information in the form of packing slip in quadruplicate and send the same to the consignee and obtain his acknowledgement. The consignee will return to the supplier one copy of the packing slip with his remarks.  The proforma of packing slip will be as follows:

# PACKING SLIP

- Contract No.& Date.

- Quantity allotted to the stores and rate applicable.

- Quantity so far supplied to the stores and the rate applied.

- Quantity now supplied and the rate applied.

- Total quantity supplied under the Contract with rates applied.

- Programme for supplying the balance quantity to the Stores.

47.4	Each equipment/ material shall be packed securely & separately.

48.        Delivery Documents

48.1	Delivery of the Materials / equipment will be made by the Supplier in accordance with the terms specified in the contract.   The latest test certificates containing the result of the tests as per the relevant ISS or other specification stipulated must be submitted to the Chief Engineer and got approved by him.

48.2	Documents to be submitted by the Supplier are specified as under…

(i)  	Insurance certificate;

(ii)	Supplier’s certificate certifying that the defects if any pointed out during inspection have been rectified (3 copies).

(iii)	Manuals in Six sets along with a soft copy and drawings.

The Purchaser will receive the above documents soon after the dispatch of materials and if not received, the supplier will be responsible for any consequent expenses.

49.     Insurance

49.1 	The Materials / equipment supplied under the Contract will be fully insured against loss or damage incidental to manufacture or acquisition, transportation and delivery and also storage for 45 days at destination stores.

The insurance will be in an amount equal to 100% FADS value of Materials / equipment on all risks basis. The policy will have a provision for extension to cover further storage if necessary at destination stores / site at APTRANSCO cost. The beneficiary shall be APTRANSCO.

49.2	The Bidder shall a) Initiate and pursue insurance claim till settlement and  b) Promptly arrange for repair and or replacement of any damaged items in full irrespective of settlement of insurance claim by the under writers. (c) All costs because of insurance liabilities covered under the contract will be to supplier’s account.  The supplier shall provide the Purchaser with a copy of all insurance policies and documents taken out by him in pursuance of ‘Contract’.  Such copies of documents shall be submitted to the purchaser immediately after such insurance coverage.  The supplier shall also inform the Purchaser in writing at least sixty (60) days in advance, regarding the expiry, cancellation and /or change in any of such documents and ensure revalidation/renewal etc., as may be necessary well in time.

The risks that are to be covered under the insurance shall be comprehensive and shall include but not limited to, the loss or damage in transit, storage, due to theft, pilferage riot, civil commotion, weather conditions, accident of all kinds, fire, flood, war risk (during ocean transportation) bad or rough handling etc., The scope of such insurance shall cover the entire contract value.

50.	Transportation

50.1    The Supplier is required under the Contract to transport the Materials / equipment to a specified place of destination defined as normally the district stores, transport to such place of destination, including insurance and storage, will be arranged by the Supplier, and the related costs will be included in the Contract Price only.

51.       Incidental Services

51.1	The Supplier may be required to provide any or all of the following services, including additional services, if any.

    - Performance or supervision of on-site assembly and/or start-up of the supplied Materials / equipment;

    - Furnishing of tools required for assembly and/or maintenance of the supplied Materials / equipment;

    - Furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Materials / equipment;

    - Performance or supervision or maintenance and/or repair of the supplied Materials / equipment, during warranty period, provided that this service will not relieve the Supplier of any warranty obligations under this contract; and

    - Training of the Purchaser's personnel, at the Suppliers' plant and/or on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied material/ equipment.

2.  	Spare Parts

52.1 	The Supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier.

        - Such spare parts as the Purchaser may choose to purchase from the Supplier, provided that this selection will not relieve the supplier of any warranty obligations under the contract; and

        - In the event of termination of production of the spare parts:

        - Advance notification to the Purchaser of the impending termination.

        - Time to permit the Purchase to procure needed requirement; and following such termination, furnishing at no cost to the Purchaser, the blueprints, drawings, and specifications of the spare parts, if requested.

53.	Warranty:

  - The supplier will warrant for the satisfactory functioning of the material/ equipment as per specification for a minimum period of 18 months from the check-measurement date in Form-13 i.e. receipt of the material/ equipment at TLC Stores or site in good condition.

53.2	The Supplier warrants that the Materials / equipment supplied under the Contract are new, unused, of the most recent or current models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the Contract. The supplier further warrants that all Materials / equipment supplied under this Contract will have no defect, arising from a design and / or materials as required by the Purchaser's specifications or from any act of omission of the Supplier, that may develop under normal use of the supplied Materials / equipment.

53.3	All the material will be of the best class and will be capable of satisfactory operation in the tropics under service conditions indicated in clause-23.1 without distortion or deterioration.  No welding filling or plugging of defective parts will be permitted, unless otherwise specified, they will conform to the requirements of the appropriate Indian, British or American Standards. (Where a standard specification covering the material in question has not been published, the standards of the American Society for testing of Materials should be followed).

  - The entire designs and construction will be capable of withstanding the severest stresses likely to occur in actual service and of resisting rough handling during transport.

53.5	Unless otherwise specified the warranty period will be 18 months from the date of acceptance of the Materials / equipment. The Supplier will, in addition, comply with the performance guarantees specified under the contract.  If, for reasons attributable to the Supplier, these guarantees are not attained in whole or in part, the supplier will at its discretion either, make such changes, modifications, and/or additions to the Materials / equipment or any part thereof as may be necessary in order to attain the contractual guarantees specified in the contract at its own cost and expense and to carry out further performance tests as per the relevant standards.

53.6	The Purchaser will promptly notify the supplier in writing of any claims arising under this warranty.

53.7  "Upon receipt of such notice, the Supplier will within 30 days repair or replace the defective Materials/ equipment or parts thereof, free of cost at the ultimate destination.

The supplier will take over the replaced parts/ materials/ equipment at the time of their replacement.  No claim whatsoever will lie on the Purchaser for the replaced parts/ Materials/ equipment thereafter".  In the event of any correction of defects or replacement of defective material during the warranty period, the warranty for the corrected/replaced material will be extended to a further period of 12 months.

53.8    If the Supplier, having been notified, fails to remedy the defect(s) within the above period, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier's risk and expense duly deducting the expenditure from subsequent bills/ bank guarantee and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

53.9	Responsibility of the supplier for loss/ damage :

a)	The supplier is responsible for the safe delivery of the goods in good condition at the destination.  He should acquaint himself of the conditions obtaining for handling and transport of the goods to destination and shall include and provide for security and protective packing of the goods so as to avoid damage in transit.

b)	External damages or shortages that are prima-facie the results of rough handling in transit or due to defective packing will be intimated.  Internal defects, damages or shortages of any internal parts which cannot ordinarily be detected on a superficial visual examination though due to bad handling in transit or defective packing will be intimated separately.

In either case, the defective or damaged materials should be replaced by the supplier free of cost to the APTRANSCO.  If no steps are taken in this regard, APTRANSCO may without prejudice to its other rights and remedies cause to be repair or rectify the defective material or replace the same and recover the expenditure incurred there for from the deposit such as Earnest Money, Security and Performance or other monies available with APTRANSCO or by resorting to legal action.

c)	For the purpose of any legal construetion, the material shall be deemed to pass into APTRANSCO’s ownership only at the final destination where they delivered and

accepted.

54.	Payment

54.1	100% payment will be arranged within 45 days reckoned from the check measurement date in Form-13 duly transferring the said amount to the bank account of the supplier by the purchaser bank. The supplier will have to predefine the Bank details while entering into contract. The supplier will have to predefine the Bank Account details after receipt of LOI and before entering into contract for electronic transfer of payment.

However payment in advance may be considered by APTRANSCO after availing a rebate/ discount @ 0.3% per week or part there of for the advancement depending on the availability of funds.

54.2  	The 100% payment mentioned above is subject to submission of performance security as per Clause-39 by the supplier.  The bank charges will be made to the account of the supplier an amount of Rs.50/- (Rupees Fifty only) will be recovered from the bill amount per each disbursement on LOA raised by unit offices.

54.3	The supplier should invariably submit test certificates and other documents, the purchaser specifies as soon as dispatch is made so that they can be checked and approved well in advance.

54.4	The performance guarantee to be executed in accordance with this specification will be furnished on a stamp paper of value Rs.100/-.  The Bank Guarantee will be extended if required suitably in accordance with the provisions of Clause No.39.

54.5    If the supplier has received any over payments by mistake or if any amounts are due to the APTRANSCO due to any other reason, when it is not possible to recover such amounts under the contract resulting out of this specification, the APTRANSCO reserves the right to collect the same from any other amount and / or Bank Guarantees given by the company due to or with the APTRANSCO.

54.6    When the supplier does not at any time, fulfill his obligations in replacing/ rectifying etc. of the damaged/ defective materials in part or whole promptly to the satisfaction of the APTRANSCO Officers, the APTRANSCO reserves the right not to accept the bills against subsequent dispatches made by the supplier and only the supplier will be responsible for any demurrages, wharfages or damage occurring to the consignments so dispatched.

54.7	Freight & Insurance shall be re-imbursed only on submission of documentary evidence/ proofs.

55.     	Prices

55.1	Prices charged by the Supplier for Material/ equipment delivered and Services performed under the Contract will not vary from the prices quoted by the supplier in its bid, with the exception of any price adjustment authorized in the contract.

56.	Change Orders

56.1	The Purchaser may at any time, by a written order given to the Supplier make changes within the general scope of the Contract in any one or more of the following:

- Drawings, designs, or specifications, where Materials / equipment to be furnished under the Contract are to be specifically manufactured for the Purchaser;

- The method of shipment or packing;

- The place of delivery; and/or

- The Services to be provided by the Supplier.

57.	Contract Amendments

57.1	No variation in or modification of the terms of the Contract will be made except by written amendment by the Purchaser and accepted by the supplier.

58.	Assignment

58.1	The Supplier will not assign, in whole or in part, its obligations to perform under this Contract, except with the Purchaser's prior written consent.

59.	Delays in Supplier’s Performance

59.1	Delivery of the Materials / equipment will be made by the Supplier in accordance with the time schedule prescribed by the Purchaser in the Schedule of Requirements.

59.2   	If at any time during performance of the Contract, the Supplier should encounter conditions impeding timely delivery of the Materials / equipment, the Supplier will promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier's notice, the Purchaser will evaluate the situation and may at its discretion extend the Supplier's time for performance, with or without liquidated damages, in which case the extension will be ratified by the parties by amendment of the Contract.

59.3    Except as provided under force meajure clause a delay by the Supplier in the performance of its delivery obligations will render the Supplier liable to the imposition of liquidated damages unless an extension of time is agreed upon without the application of liquidated damages.

60.		1)Penalty for delay in supplies

The time for and the dates for delivery mentioned in the contract will be deemed to be the essence of the contract.  Subject to force majeure Clause No.64, if the Supplier fails to deliver any or all of the Materials / equipment or to perform the Services within the period(s) specified in the Contract, the Purchaser will, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated   damages, a sum equivalent to 0.5% per week on the undelivered portion subject to a maximum of 5% of the total value of the contract. Once the maximum is reached the Purchaser may consider termination of the contract.

The Check Measurement date in Form-13 i.e., the date of receipt of materials at 	destination 	stores in good condition will be taken as the date of delivery.  Material/ 	Equipment which 	are not of acceptable quality or are not confirming to the 	specification would be deemed to be not delivered. For penalty, the number of days 	would be rounded of to the nearest week and penalty calculated accordingly.

The penalty specified above will be levied and would be adjusted against subsequent pending bills.

61.     Termination for Default

61.1	The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate this Contract in whole or in part:

    - If the Supplier fails to deliver any or all of the Materials / equipment within the period(s) specified in the Contract, or within any extension thereof granted by the Purchaser.

    - If the Supplier fails to perform any other obligation(s) under the Contract.

    - If the Supplier, in the judgment of the Purchaser has engaged incorrupt or fraudulent practices in competing for or in executing the Contract.

61.2     In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner, as it deems appropriate, Materials/ equipment or services similar to those undelivered, and the Supplier will be liable to the Purchaser for any excess costs for such similar Materials/ equipment or Services.  However, the Supplier will continue performance of the Contract to the extent not terminated.

62.	Termination for Insolvency

62.1   	The Purchaser may at any time terminate the Contract by giving written notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the supplier, provided that such termination will not prejudice or not affect any right of action or remedy, which has accrued or will accrue thereafter to the Purchaser.

63.	Termination for Convenience

63.1     The Purchaser, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination will specify the termination is for the Purchaser's convenience, the extent to which performance of the supplier under the Contract is terminated, and date upon which termination becomes effective.

63.2 	However the Materials / equipment that are complete and ready for shipment within thirty (30) days after the supplier's receipt of notice of termination will be accepted by the Purchaser at the Contract terms and prices.

64.	Force Majeure

64.1	The Supplier will not be liable for forfeiture of its performance security, penalty for late delivery, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contact is the result of an event of Force Majeure.

64.2     For purposes of this clause, "Force Majeure" means an event beyond the control of the Supplier and not involving the Supplier's fault or negligence and not foreseeable.  Such events may include, but are not restricted to, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

64.3   	If a Force Majeure situation arises, the supplier will promptly notify the Purchaser in writing of such condition and the cause thereof.  Unless otherwise directed by the Purchaser in writing, the Supplier will continue to perform its obligations under the Contract as far as is reasonably practice, and will seek all reasonable alternative means for performance not prevented by the Force Majeure event.

64.4	No price variance will be allowed during the period of force majeure.

65.	Settlement of Disputes :

65.1	If any dispute or difference of any kind whatsoever will arise between the Purchaser and the Supplier in connection with or arising out of the Contract, the parties will make every effort to resolve amicably such dispute or difference by mutual consultation.

65.2	If, after thirty (30) days the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Purchaser or the Supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given.

65.3	Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause will be finally settled by arbitration.  Arbitration may be commenced prior to or after delivery of the Materials / equipment under the Contract.

65.4	Arbitration proceedings will be conducted in accordance with the following rules of procedure. The dispute resolution mechanism will be as follows:

- In the case of a dispute or difference arising between the Purchaser and a Supplier relating to any matter arising out of or connected with this agreement, such dispute or difference will be settled in accordance with the Arbitration and Conciliation Act. 1996.  The Arbitral Tribunal will consist of three Arbitrators one each to be appointed by the Purchaser and the supplier the Third Arbitrator will be chosen by the two Arbitrators so appointed by the parties and will acts as Presiding Arbitrator. In case of failure of the two Arbitrators appointed by the parties to reach upon a consensus within period of 30 days from the appointment of the Arbitrator appointed subsequently, the Presiding Arbitrator will be appointed by The Institution of Engineers (India).

- If one of the Parties fails to appoint its Arbitrator in pursuance of Sub-Clause (a) within 30 days after receipt of the notice of the appointment of its Arbitrator by The Institution of Engineers (India), will appoint the Arbitrator.  A certified copy of the order of the Institution of Engineers (India), making such an appointment will be furnished to each of the parties.

- Arbitration Proceedings will be held at Purchaser’s Headquarters, and the language of the Arbitration Proceedings and that of all documents and communication between the parties will be English.

- The decision of the majority of Arbitrators will be final and binding upon both parties.  The cost and expenses of Arbitration Proceedings will be paid as determined by the Arbitral Tribunal.  However, the expenses incurred by each party in connection with the preparation, presentation etc., of its proceedings as also the fees and expenses paid to the Arbitrator appointed by such party or on its behalf will be borne by each party itself.

- Where the value of the Contract is Rs.1.00 Crore and below, the disputes or differences arising will be referred to the Sole Arbitrator.  The Sole Arbitrator should be appointed by agreement between the parties; failing such agreement, by the appointing authority namely The Institution of Engineers (India).

65.5	Notwithstanding any reference to arbitration herein,

- The parties will continue to perform their respective obligations under the Contract unless they otherwise agree; and

- The Purchaser will pay the Supplier any monies due the Supplier.

66.	Jurisdiction

66.1	All and any disputes or differences arising out of or touching this contract will be decided by the Courts or Tribunals situated in Purchaser’s Headquarters only. No suit or other legal proceedings will be instituted elsewhere.

67.    	Notices

67.1	Any notice given by one party to the other pursuant to this Contract will be sent to the other party in writing or by fax and confirmed in writing to the other party’s address.

67.2  	A notice will be effective when delivered or on the notice's effective date, whichever is later.

68.	Foreign Exchange

  - No Foreign Exchange is available or expected for this purchase. Offers which do not require release of F.E. or procurement of import license by APTRANSCO only will be considered. Where some of the components are to be imported the manufacturer will have to make their own arrangements for import license etc., and should not look for any assistance from APTRANSCO.

69.	Blacklisting/ debarring :

Any Company/ Vendor/ Supplier/ Contractor or their promoters who are blacklisted/ debarred by power utility is not eligible to participate in the tenders. No contract/order/ work will be awarded/ placed on any blacklisted/ debarred Vendor/ Supplier/ Contractor/ Company or their promoters.  Bidders have to furnish a declaration/undertaking in this regard along with the bid.  Bids without this declaration are liable for rejection.

SECTION – IV

SCHEDULE OF REQUIREMENTS

| Item | Description | Qty. (Nos.) | APTRANSCO Delivery schedule | Destination |
| --- | --- | --- | --- | --- |
| Item-1 | Supply of 25KVA DG sets (Air cooled) with necessary accessories as per the technical specification | 6 | The bidder shall complete supply of 6 Nos within two months from the date of issue of purchase order. | Any TLC stores/ Sub -station in Andhra Pradesh |

Note:   1.Prices shall be quoted on Firm basis

2.  Prices shall be free at destination site/stores any where in Andhra Pradesh.

3. Freight and Insurance shall invariably be quoted separately. Quoting them as “Inclusive/Zero”  will not be accepted.

4. Freight or Insurance will be reimbursed on submission of documentary proofs only.

.

Signature of the Bidder

Chief Engineer/Construction

Section-V

# TECHNICAL SPECIFICATION

TABLE OF CLAUSES

Sl.No.   	Description 							Page No.

1	Scope

2      Climatic Conditions

3      General Technical Requirements

4      DG sets

5      Tests

6.     Acceptance tests

7.     Quality Assurance Plan

8      Inspection

9      Quality Assurance Plan

10    Documentation

11     Packing and Forwarding

12    Quantity and Delivery Requirements

13    Supervision Services

14    Marking

ANNEXURES:

I      Guaranteed technical particulars for DG setss to be furnished by bidders

II     Core wise details of Current Transformers

ACRONYMS

1.Scope

1.1     Supply,  testing & Commissioning of Diesel Engine with standard accessories coupled to   Crompton Greaves/Kirloskar/Stamford make alternator of 3 phase, 440 Volts 0.8pf, 50Hz, 1500 rpm, manual control panel, fuel tank, battery lead etc., 25 KVA Diesel Air Cooled  Generator set complete as per the details given in the technical specification.

The scope of supply shall include supply and commissioning of the complete Diesel Generator sets at the consignees locations.  The tentative locations are herewith enclosed.  APTRANSCO has reserves the right to change the locations at any point of time.

2  	CLIMATIC CONDITIONS:

  - Equipment to be supplied against this specification shall be suitable for satisfactory continuous operation under the following tropical conditions:

i)      Location         		            At various sub stations in the state of Andhra Pradesh

ii)     Max. ambient air temp.  (deg.C)    			            55

iii)     Min ambient air temp.  (deg.C)   	          		             5

iv)       Average daily ambient air  temperature (deg.C)                   	35

v)       Maximum Relative humidity (%)    			             74

vi)       Average annual rainfall (mm)        			             925

vii) 	Max. wind pressure (Kg/sq.m.)      	        	             	200

viii) 	Max. altitude above mean (Metres)  sea level  			1000

ix) 	Isoceraunic level (days/year)      		   	              50

x) 	Seismic level (horizontal  acceleration).		              0.10g

xi)	Average No. of thunder storms days/year		               40

xii)	Average No. of rainy days/year			               90

xiii)       Average No. of months/tropical monsoon Condition per year      4

xiv)	Noise level (db)					               45

Note:	Moderately hot and humid tropical climate conducive to rust and fungus growth. The climatic conditions are also prone to wide variations in the ambient conditions. Smoke is also present in the atmosphere. Heavy lightning also occurs during June to October.

3.TECHNICAL SPECIFICATION

SPECIFICATIONS FOR  25 KVA  DG SETs

Supply, testing & Commissioning of Diesel Engine of Mahindra & Mahindra/ Kirloskar with standard accessories coupled to   Crompton Greaves/ Kirloskar /Stamford make alternator of 3 phase, 450 Volts 0.8pf, 50Hz, 1500 rpm, manual control panel, fuel tank, battery lead etc., 25 KVA  Diesel Air Cooled type  Generator set complete as per the details given in the technical specification.

The scope of supply shall include supply and commissioning of the complete Diesel Generator sets at the consignees locations.

Diesel Engine and alternator shall be close coupled or provided with flexible coupling and mounted on a base plate of robust construction.

DIESEL ENGINE:

25 KVA diesel engine, direct injection, Compression ignition, AIR-COOLED   developing required BHP respectively @ 1500 rpm.  The engine will be complete with the following attachment in additions to the basic components.

- Flywheel with starting ring

- Veebelt driven axial flow blower

- Lub oil cooler

- Oil bath type air cleaner

- Exhaust silencer – industrial type

- Fuel lift pump

- Fuel filter-pre and micro

- Engine hour meter

- Engine control panel consisting o’OFF/On/START KEYS, Luboil pressure gauge battery ammeter.

- Luboil filter

- Automatic Blower belt tensioning unit

- 12 V electrical starting system with starter & charging alternator

- Mechanical auto shutdown device for blower belt failure.

- Belt guard

Diesel Engine shall be Mahindra & Mahindra/ Kirloskar make.

Diesel Engine shall be air  cooled as specified, electric start developing required B.H.P at 1500 RPM with class A-2 Governing or better for alternator to deliver specified continuous KVA output at 0.8 lagging pf at NTP conditions (all rating shall be tested at unity PF).  The Diesel Engine should be capable of providing 10% overload for one hour for every 11 hours continuous running at full load. Diesel engines shall conform as per IS/IEC.

- Fuel tank with capacity for 12 hours continuous running at full load.

- Engine instrument Panel consisting of starting switch with Key, Lube Oil temperature and pressure gauges, (water temperature gauge incase of water cooled engines), RPM indicator and hour meter.

- Safety controls to shut down the engine in the event of low lube oil pressure or high cylinder head temperature in case of air-cooled engines or high water temperature in case of water-cooled engines.

- Radiators in case of water-cooled engines.

- Exhaust silencer of residential type.

- 12 V starting system complete with starter motor, charging alternator and cutout.

ALTERNATOR MAKE: CROMPTON GREAVES/KIRLOSKAR/STAMFORD (BRUSHLESS) :

Self excited, self regulated, three phase Alternator developing the rated KVA @ 1500 rpm 440V, 0.8PF, 50Hz with an voltage regulation of +5% the rated voltage.

The alternator shall be self excited and self regulated of specified KVA rating in three phase at 415 Volt, 50 Hz, 1500 RPM and unity power factor and shall conform to IS.

COUPLING ARRANGEMENT:

The engine & alternator is assembled and aligned on a common base frame through a closed coupled.

BATTERY:

1x12V –150AH dry, uncharged lead acid battery with suitable connecting Leads. Lead Acid Batteries of suitable ratings with connecting cables.  The batteries shall be supplied in uncharged conditions and shall conform to relevant IS Specification.

FUEL TANK:

Fuel tank with capacity for 12 hours continuous running at full load.

Sheet steel fabricated, rectangular section, integrated fuel tank of approx. 65 liters capacity.  Provided with outlet & return terminals, fuel filing with cleaning arrangement, level Indicator & arrangement for drainage of fuel.

CONTROL PANEL:

Control Panel with complete gauge and meters with IP-53 degree of protection as per IS.

Sheet steel fabricated front opening, dust & vermin proof control panel will incorporate

The following instrumentation, protection control & metering features.

The panel should be incorporate reliable, accurate, instrumentation.

AC Voltmeter with selector switch		-	MECO

AC ammeter with selector switch			-	MECO

MCB						-	L&T

Indicating lamps for LOAD ON, SET ON	-	L&T

Suitable aluminum bus bars			-	JINDAL

All the components in the control panel shall be properly mounted, duly wired and labeled.  Suitable terminals are to be provided for panel incoming and outgoing connections.  The instruments/components shall be of reputed make.

However the technical particulars which are not covered in the above specifications  shall be as per the technical specification of DGS & D rate contract as applicable.

- DG Sets

  - STANDARDS:

The DG set and associated accessories shall conform to the latest issues/amendments of standards given below, except to the extent explicitly modified in the specification.

----------------------------------------------------------- ---------------------------------------

Sl. No.  Standard No.                					Title

----------------------------------------------------------- -----------------------------------------

ISO 8528:Part-I to XI Generator set

1.     IS:3046/BS 5514		 Engine.

2.     IS:4722/BS 5000         	 Alternator

3.     IS:4691      	             Alternator

4.     IS:5514         		 Diesel Engine.

5.     IS:13947         		Standard Control Panel/1993

6.     IS:2147			Control panel /Degree of protection

7.     IS:4722			Control panel /HV testing for panel

Acoustic Enclosure

8.IS-8183			Insulation material for sound absorption

9.IS-3744 (1998E)		Determination of sound power levels of noise resources

10.IS-8528			Measurement of Air borne noise by enveloping surface  method

11.IS-9614			Requirement of Grade-II-Accuracy for insulation

-------------------------------------------------------------------------------------------

Reference Abbreviation         Name and Address

IEC     	      : International Electro Technical Commission, Bureau central de la

commission, Electro Technique international, Technique international, 1, Rue de  vereimbe Geneva. , Switzerland

IS	        Indian standard, Bureau of   Indian Standards, Manak Bhavan,9, Bahadur shah Zafar  Marg, New Delhi- 110 002.

BS 	British Standards,  British Standards Institution,

101, Pentonnvilla Road, N -19 – ND – UK.

4.1.1   	In case equipment conforms to other international standards which ensure equal or better performance than that specified under clause 2,then the English version of such standards or the relevant extracts of the same shall be furnished with the bid and the salient features of comparison shall be brought out separately in additional information schedule.

4.2.  	PRINCIPAL PARAMETERS:

The DG set  shall conform  to the following specific parameters.

----------------------------------------------------------------------------------------------------------------------------

Sl.        Item                     				   S p e c i f i c a t i o n

No.	                                   			  		            DG sets

----------------------------------------------------------------------------------------------------------------------------

- Capacity							25KVA

- Rated Voltage							415V +/-10%

- RPM								1500

- Rated p.f.    							0.8 lag

- Rated frequency						50Hz +/-2%

- No.of phases							3

- OVER RATING			110% of Full Load for 1 hour in every 12 Hrs. of

continuous rating

- Noise level				<75 dB (as per CPCB norms)

- System voltage				12KV

- Insulation class				Class H The Diesel Generator and other

auxiliary motor shall be of H class with

temperature rise limited to Class-F for

temperature rise consideration

- Permissible voltage dip at full load				<18%

- Type of excitation						Self

- Type of AVR							Electronic/Governing

- Grounding							Neutral Solidly Grounding

5.0 INSPECTION AND TESTS

5 ISO standard functional test

5.1 General

Functional tests and acceptance shall be performed at the time of installation.

5.3  Installation site acceptance test

The acceptance test shall be carried out with the electrical load available at the site of installation, which shall be as near as possible to the rated power. Unless otherwise agreed, the following checks and measurements shall be carried out:

a) Completeness of items supplied and to be tested.

b) alignment;

c) operating functions of auxiliary equipment;

d) tightness of pipe work joints and components;

e) protection against accidental contact (mechanical and electrical);

f) operating and monitoring functions;

g) vibrations (steadiness);

h) unusual running noises;

i) temperature rise of important components.

j) switching functions of the associated switchgear;

k) control functions of the associated switchgear;

l) monitoring functions of the associated switchgear.

5.4 Measurement equipment accuracy

The required accuracy of the electrical instrumentation shall be subject to agreement between the

manufacturer and the customer.

If the test is carried out at the manufacturer’s works, the tolerances shown in 5.4 shall be used. If the test is not carried out at the manufacturer’s works, the minimum tolerances shown in Table 2 shall be used.

The waveform dependence of the measuring instruments used should be taken into account.

Parameter Units Tolerance (%)

Current A 2,5

Voltage V 2,5

Active power W 2,5

Reactive power kV·A 2,5

Power factor — 5,0

Frequency Hz 1,0

6 Acceptance test

6.1 General

This functional test shall be performed on the generating set with it at the site.  The rated power factor load is normally used for resting, with due regard paid to the rated active power and associated generator efficiency.  Optionally, if this is not possible because of the test equipment used,  this test may be performed at a power factor of unity.  This shall be by agreement between the manufacturer and customer.

TESTS

In addition to the tests mentioned at 5.3, the Contractor shall carryout the following commissioning tests to be carried out at site during installation.

Load Test - The engine shall be given test run for a period of at least 3 hours. The set shall be subjected to the maximum achievable load as decided by Purchaser without exceeding the specified DG Set rating. The necessary load to carry out the test shall be provided by the purchaser.

During the load test, half hourly records of the following shall have to be taken:

A. Load Test

a) Ambient temperature.

b) Exhaust temperature if exhaust thermometer is fitted.

c) Cooling water temperature at a convenient point adjacent to the water output from the engine jacket.

d) Lubricating oil temperature where oil cooler fitted.

e) Lubricating oil pressure.

f) Colour of exhaust gas

g) Speed

h) Voltage, wattage and current output.

i) Oil tank level

B. Insulation Resistance Test for Alternator

a) Insulation resistance in mega-ohms between the coils and the frame of the alternator when tested with a 500V megger shall not be less than IR=2x(rated voltage in KV)+1

b) Check of Fuel Consumption

c) A check of the fuel consumption shall be made during the load run test. This test shall be conducted for the purpose of proper tuning of the engine.

d) Insulation Resistance of Wiring

e) Insulation resistance of control panel wiring shall be checked by 500V Megger. The IR shall not be less than one mega ohm.

DOCUMENTS

Following drawings and data sheet shall be submitted for approval:

(i) Data sheet for Engine, Alternator, Battery, AMF panel and Enclosure

(ii) GA drawing of DG set

(iii) Layout of DGset in the enclosure along with sections

(iv) GA and schematic of AMF panel

(v) Arrangement of inclined roof and pedestal.

The D G Set shall be supplied with

(i) D G Set test Certificate.

(ii) Engine Operation & maintenance Manual.

(iii) Engine Parts Catalogue.

(iv) Alternator Operation, maintenance & Spare parts Manual.

(v) Alternator test certificate

7.    QUALITY ASSURANCE PLAN:

7.1	The bidder shall invariably furnish the following information along with his offer failing which the offer shall be liable for rejection.  Information shall be separately given for individual type of equipment offered.

- The Structure of organization

- The duties and responsibilities assigned to staff ensuring quality of work

iii	The system of purchasing, taking delivery and verification of materials

- The system for ensuring quality of workmanship

- The quality assurance arrangements shall confirm to the relevant requirement of                                                                         ISO-9001 on ISO 9002 as applicable.

- Statement giving list of important raw materials, names of sub-suppliers for the raw materials, list of standards according to which the raw material are tested, list of tests normally carried out on raw material in the presence of suppliers representative, copies of test certificates.

vi	Information and copies of test certificates as on (vi) above in respect of bought out

items.

viii.	List of manufacturing facilities available

ix.	Level of automation achieved and list of areas where manual processing exists.

x	List of areas in manufacturing process, where stage inspections are normally carried out for quality control and details of such tests and inspections.

xi.  	List of testing equipment available with the bidder for final testing of equipment specified and test plant limitation, if any I the type.  Special acceptance and routine tests specified in the relevant standards.  These limitations shall be very clearly brought out in “Schedule of Deviations” from the specified test requirements.

  - The Contractor shall within 30 days of placement of order, submit the following information to the purchaser.

  - List of the raw material as well as bought out accessories and the names of sub-suppliers selected from those furnished along with the offer.

  - Type test certificates of the raw material and bought out accessories if required by the

purchaser.

  - Quality Assurance Plan (QAP) with hold points for purchasers inspection.  QAP and

purchasers hold points shall be discussed between the purchaser and contractor before the QAP is             inalized.

The contractor shall submit the routine test certificates of bought out accessories and central excise passes for raw material at the time of routine testing if required by the purchaser and ensure that the quality assurance requirements of specification are followed by the sub-contractor.

7.0 The Quality Assurance Programme shall give a description of the Quality System and Quality Plans with the following details.

- Quality System:

- The Structure of the Organisation

- The duties and responsibilities assigned to staff ensuring quality of work.

- The system of purchasing, taking delivery of verification of materials.

- The system of ensuring of quality workmanship.

- The system of control of documentation.

- The system of retention of records.

- The arrangement of contractor internal auditing.

- A list of Administrator and work procedures required to achieve contractors quality requirements. These procedures shall be made readily available to the purchaser for inspection on request.

- Quality Plans:

  - An outline of the proposed work and program sequence.

  - The structure of contractors organizations for the contract.

  - The duties and responsibilities ensuring quality of work

  - Hold and notification points.

  - Submission of engineering documents required by this specification.

  - The Inspection of the materials and components on request.

  - Reference to contractors work procedures appropriate to each activity.

  - Inspection during fabrication/construction.

  - Final inspection and test.

DOCUMENTATION:

8.1	All  drawings  shall  conform   to   International   Standards  Organization    (ISO)   ‘A’   series  of drawing  sheet/Indian  Standards Specification.  All drawings shall  be  in  ink  and  suitable for  micro filming.  All dimensions and data shall be  in S.I.  Units only.

8.2	List of Drawings and Documents:

The Bidder shall  furnish  four  sets  of  following  drawings  along with his offer:

a)	General   outline   and   assembly   drawings  of  the     equipment.

b)	Sectional views showing:

i)	General Constructional Features.

ii)   	Materials/Gaskets/Sealing used.

iii)	The insulation of  the  winding  arrangements,   method  of connection of the

primary/secondary   winding  to  the  primary/secondary  terminals   etc.,

c)	Arrangement of terminals  and  details  of  connection     studs provided.

d)  	 Name plate.

e)  	 Schematic drawing.

f)	Type  test  reports of equipment offered.

g)	Test reports, literature, pamphlets of the bought  out  items and raw material.

8.3 	The  Bidder  shall  within  2  weeks  of placement of order,  submit four sets of final versions of all the  above  drawings  for Purchaser’s approval.  The Purchaser shall communicate his  comments/approval  on  the  drawings  to  the  Bidder within  reasonable time.  The Bidder shall, if necessary, modify the  drawings and resubmit four copies of the modified drawings for  Purchaser’s  approval  within  two  weeks  from  the  date  of  Purchaser’s comments.

After receipt of Purchaser’s approval,  the Bidder shall within three weeks, submit  20  prints  and  two good  quality  reproducible of the approved drawings for  Purchaser’s use.

8.4	Adequate copies of contract drawings, acceptance and routine test certificates, duly approved  by the  Purchaser  shall accompany each of the dispatched consignment.

8.5	The  manufacturing  of  the  equipment  shall  be  strictly in  accordance with the approved drawings and no  deviation  shall  be  permitted  without  the written approval of the Purchaser.  All manufacturing and fabrication work in connection with the equipment prior to the approval of the drawing shall be at the  Bidder’s risk only.

8.6	Twenty  (20)  copies  of  nicely  printed and bound volumes of  operation,  maintenance  and  erection  manuals   in   English  language, for each type and rating of equipment supplied shall  be  submitted  by  the Bidder for distribution, prior to the  dispatch of the equipment.  The manual shall contain  all  the  drawings  and information required for erection, operation and  maintenance of the transformers.  The manual shall also  contain a set of all the approved drawings, type, routine & acceptance Test reports etc.

8.7	Approval  of  drawings  by the Purchaser shall not relieve the  Bidder of his  responsibility  and  liability  for  ensuring  correctness  and correct interpretation of the latest revision  of applicable standards, rules and codes of  practices.    The  equipment  shall  conform in all respects to high standards of  engineering, design,  workmanship  and  latest  revisions  of  relevant  standards  at the time of ordering and the Purchaser  shall have the power to  reject  any  material  which  in  his  judgement is not in full accordance therewith.

9.0. PACKING AND FORWARDING:

9.1	The   equipment   shall  be  packed  in  crates  suitable  for  vertical/horizontal transport, as the case may be and suitable  to withstand handling during  transport  and  outdoor  storage  during transit. The Bidder shall be responsible for any damage to the equipment during transit, due to  improper  and  inadequate packing   and  handling.    The  easily  damageable  material  shall  be  carefully  packed  and  marked  with  the  appropriate caution   symbols.    Wherever  necessary,  proper  arrangement for lifting, such as lifting hooks etc., shall  be  provided.   Any  material found short inside the packing cases  shall be supplied by the Bidder without any extra cost.

9.2	Each consignment shall be accompanied by  a  detailed  packing  list containing the following information:

a)	 Name of the consignee.

b)  	 Details of consignment.

c)  	 Destination.

d)  	 Total weight of consignment.

e)   	 Handling and unpacking instructions.

f)        Bill  of  material indicating contents of each   package.

9.3   The Bidder shall ensure that the packing list  and  bill  of  material are approved by the Purchaser  before  dispatch.

10	QUANTITY AND DELIVERY REQUIREMENTS

i)	      The quantity and delivery requirement are set out in Section-VI.

The scope of supply shall include a supply of extra quantity of bolts, nuts, washers, split pins, quarter pins and such other loose items  as required.

The supplier shall arrange for unloading of material at the destination stores/site at their own cost.

11	SUPERVISION SERVICES : NIL

ANNEXURE-I

GUARANTEED TECHNICAL PARTICULARS FOR DG SETS(25KVA)

(To be filled in by the Bidder separately for each rating)

| Sl. No. | Specification | Capacity of DG sets = KVA, 3 ph, 440 V with manual control panel & air cooled type Engine |
| --- | --- | --- |
| 1 | Standards: |  |
|  | Engine Make (Mahindra & Mahindra/Kirloskar) |  |
|  | Alternator Make (Crompton Greaves /Stamford/ Kirloskar) |  |
| 2 | Specification of Engine |  |
| 2.1 | Make (Mahindra & Mahindra/Kirloskar) |  |
| 2.2 | Model |  |
| 2.3 | No. of Cylinders |  |
| 2.4 | No. of Strokes |  |
| 2.5 | RPM |  |
| 2.6 | BHP at NTP conditions |  |
| 2.7 | Cooling (Air cooled type) |  |
| 2.8 | Operating Condition C |  |
| 2.9 | Type of Injection |  |
| 2.10 | Recommended Fuel Oil |  |
| 2.11 | Fuel Oil consumption at full load: |  |
| 2.12 | Recommended Lubricating Oil: |  |
| 2.13 | Lubricating Oil consumption at full load |  |
| 2.14 | Lube Oil Sump capacity |  |
| 2.15 | Lubricating System Type and details |  |
| 3 | Governing System Type and details |  |
| 4 | Method Starting |  |
| 5 | Battery Type & make, capacity etc. |  |
| 6 | Acoustic Enclosure details Noise level |  |
| 7 | Cooling System consist of |  |
| 8 | Fuel Tank capacity & size |  |
| 9 | Fuel System |  |
| 10 | Lubricating system |  |
| 11 | Air in take system |  |
| 12 | Exhaust System |  |
| 13 | Safety Control |  |
| 14 | Other Accessories |  |
| 15 | Mounting- |  |
| 16 | 3 Sets of following documents shall be provides with each DG set |  |
| 17 | Alternator |  |
| 17.1 | Make (Crompton Greaves /Stamford/ Kirloskar) |  |
| 17.2 | Rating |  |
| 17.3 | Frame |  |
| 17.4 | Power Factor |  |
| 17.5 | Rated Voltage |  |
| 17.6 | Frequency |  |
| 17.7 | Class of Insulation |  |
| 17.8 | Degree of Protection |  |
| 17.9 | Bearing |  |
| 17.1 | Excitation |  |
| 17.11 | Space Heater |  |
| 18 | Type of Control Panel (Manual Control Panel) |  |
| 19 | Cooling (Air cooled type) |  |
| 20 | COUPLING & MOUNTING ARANGEMENT: |  |
| 21 | Type of Enclosure |  |
| 21.1 | Emission norms |  |
| 21.2 | Emission limits |  |
| 22 | Smoke limit |  |
| 23 | Test Cycle |  |
| 24 | Documents/certificates to be submitted at the time of supply. |  |
| 24.1 | Scope of Inspection |  |
| 24.2 | Physical inspection |  |
| 25 | Load test |  |
| 26 | Test certificate-vendor furnish test record for |  |
| 27 | Fuel Consumption test |  |
| 28 | Earthing system |  |
| 28 | Power Cable |  |
| 29 | Over all length of DG set LxWXH |  |
| 30 | Over all weight of DG set |  |
| 31 | Noise level at one meter with Acoustic enclosure |  |
| 32 | Control panel make |  |

Name of the firm .............

Signature of Bidder...........

Name & Designation & Seal ………..

Date .........................

A C R O N Y M S

MVA	                                           Mega Volt Ampere

KVA	Kilo Volt Ampere

kV	Kilo Volt

Cu. m	Cubic meter

Deg. C	Degrees Centigrade

mm.	Millimeter

cm.	Centimeter

dm.	Decimeter

km.	Kilometer

g.	Grams

kg.	Kilogram

V	Volts

Hz	Hertz

DC	Direct Current

AC	Alternate Current

ONAN	Oil Natural Air Natural

ONAF	Oil Natural Air Forced

HV	High Voltage

IV	Intermediary Voltage

Db	Decibel

KA	Kilo Amperes

sec.	Seconds

Amps.	Amperes

kVp.	Kilo volts peak

kV. rms.	Kilo volts root mean square

KW	Kilo watt

Max.	Maximum

Min.	Minimum

UTS	Ultimate Tensile Strength

QAP	Quality Assurance Plan

ACSR	Aluminium Conductor Steel Reinforced

AAAC	All Aluminium Alloy Conductor

HP	Horse Power

ppm. 				      Parts Per Million

OLTC	       On Load Tap Changer

WTI	       Winding Temperature Indicator

OTI	       Oil Temperature Indicator

LOI	       Letter of Intent

CIF	       Cost including Insurance & Freight

CIP	       Carriage Insurance Paid

SF6	       Sulphur Hexa Flouride

TRV	       Transient Recovery Voltage

CTD	       Capacitor Tripping Device

ICU	       Individual Compressor Unit

NO	       Normally Open

NC	       Normally Close

sq.mm Al. Cable	Square millimeter Aluminium cable

sq.mm Cu. Cable	Square millimeter Copper cable

MS Flat		           Mild Steel Flat

C			           Close

O			           Open

HRC 			       	High Rupturing Capacity

PVC 				Poly Vinyl Chloride

p.f				Power factor

CT				Current transformer

NCT				Neutral Current Transformer

TEFC				Totally enclosed fan cooled

P.U.				Per Unit

ISO				Indian Standard Organization

CB				Circuit Breaker

Auto				Automatic

kg./Sq.mm			Kilogram per square centimeter

SECTION – VI

### QUALIFICATION REQUIREMENTS

1.	i) The bidder should be a manufacturer who must have designed, manufactured, tested and supplied to Government undertaking power utilities at least 40% of the quoted quantity of the goods/ equipment of same or higher voltage class  against each item indicated in the “Schedule of Requirement” in one continuous period of 12 months in the last five years as on the date of opening of Bid and its financial turnover during any one year of the last five years should have been equal or more than 100% value of the item now quoted.

ii)  At least 20% of quoted quantity of the similar material offered against the  item of this Specification should be in successful operation since 2 years as on the date of opening of the Bid.

2.	The bidder should furnish the information on all past supplies and satisfactory performance in proforma under Form V.

3.	All bids submitted will also include the following information:

i.	Copies of original documents defining the constitution or legal status, place of registration and principle place of business of the company or firm or partnership, etc.,

ii.	The bidder should furnish a brief write-up, backed with adequate data, explaining his available capacity and experience (both technical and commercial) for the manufacture and supply of the required equipment within the specified time of completion after meeting all their current commitments.

iii.	The bidder should clearly confirm that all the facilities exist in his factory for inspection and testing and these will be made available to the purchaser or his representative for inspection.

iv.	Reports on financial standing of the Bidder such as profit and loss statement, balance sheets and auditor’s report for the past three years, bankers certificates etc.

4.	The bidder shall furnish Type Test Reports. The type tests must have been conducted on the material offered as per the relevant IS/IEC (with latest amendments)  in recognized laboratory. The date of type tests will not be earlier than 10 years as on the date of bid opening.  If any change in design was made latest type tests shall be furnished along with approved drawing..  The Bids received without type test reports will be treated as Non-Responsive.

5.	Even though the bidder meets the above qualifying criteria, they are subject to be disqualified if they have…

a.	made misleading or false representations in the forms statements and attachments submitted in proof of qualification requirements and / or

b.	record of poor performance such as not properly completing the contract, inordinate delays in supply completion, litigation history or financial failure etc.

6.	Bidders should quote for 100% of the tender quantity  of the  item  indicated in ‘Schedule of Requirements’ of Bid specification , on single responsibility basis.

7.	Not withstanding anything stated above the purchaser reserves the right to assess bidder’s capability and capacity to perform the contract should circumstances warrant such an assessment in the overall interest of the purchaser.

SECTION VII

SAMPLE FORMS

1 . QUALIFICATION  &  PERFORMANCE PARTICULARS

| Specification No: | PMM12/e-75/2017 |
| --- | --- |
| Material Description:Item-1 | Supply of 25KVA DG sets - 6Nos. |
| I. Qualifying requirements as per the Specification |
|  |  |  |  | Item-1: 25KVA |
| Quantity as per schedule of requirements | 6 |
| Supply - 40% of the requirement |  | 3 |
| Performance - 20% of the requirement |  | 1 |
| Turnover – 100 % of quantity quoted |  | 19.697 |
| Type Test Reports |  |  | Not earlier than 10 years from date of bid opening |
| II. Bidders past supply details to be furnished by the Bidder |  |  |  |
| Sl No | Particulars | Name of the Purchaser and quantity | Total |
|  | 1 |  | 2 |  | 3 |  |  |
|  | Purchaser Name | Quantity | Purchaser Name | Quantity | Purchaser Name | Quantity |  |
| Quantity supplied during the last five years |
| 1. | 2012 |  |  |  |  |  |  |  |
|  | Supply Qty |  |  |  |  |  |  |  |
|  | Turnover Amount |  |  |  |  |  |  |  |
| 2. | 2013 |  |  |  |  |  |  |  |
|  | Supply Qty |  |  |  |  |  |  |  |
|  | Turnover Amount |  |  |  |  |  |  |  |
| 3 | 2014 |  |  |  |  |  |  |  |
|  | Supply Qty |  |  |  |  |  |  |  |
|  | Turnover Amount |  |  |  |  |  |  |  |
| 4 | 2015 |  |  |  |  |  |  |  |
|  | Supply Qty |  |  |  |  |  |  |  |
|  | Turnover Amount |  |  |  |  |  |  |  |
| 5 | 2016 |  |  |  |  |  |  |  |
|  | Supply Qty |  |  |  |  |  |  |  |
|  | Turnover Amount |  |  |  |  |  |  |  |
| 6 | Maximum supply in continuous 12 months period in last 5 years. From To |  |  |  |  |  |  |  |
| 7 | Performance for similar eqpt. Qty |  |  |  |  |  |  |  |
| 8 | Year of Type Test Reports enclosed |  |  |  |  |

Note :	1) 	Documentary evidence in support of the above shall be furnished along with Bid.

Month wise supply details for the above shall also be furnished.

      - If any of the information furnished above is found to be false the firm will be debarred.

      - If the Bidder has supplied to more than three purchasers to meet the qualifying requirement a separate sheet may be enclosed to include the other purchasers and total indicated.

      - This above schedule shall be enclosed to the qualification bid.

Signature of the Bidder

2. BID SECURITY FORM

Whereas.  .............. (hereinafter called "the Bidder") has submitted its Bid dated (date of submission of bid) for the supply of.  ....................(name and /or description of the Materials / equipment) (hereinafter called "the Bid").

KNOW ALL PEOPLE by these presents that WE.  .............(name of bank) having our registered office at.  ...........(address of bank)(hereinafter called "the Bank"), are bound unto.  ...............(name of Purchaser) (hereinafter called "the Purchaser") in the sum of                   for which payment well and truly to be made to the said Purchaser, the Bank binds itself, its successors, and assigns by these presents. Sealed with the Common Seal of the said Bank this          day of             2017.

THE CONDITIONS of this obligation are:

1.	If the Bidder

- withdraws its Bid during the period of bid validity specified by the Bidder on the Bid Form; or

- does not accept the correction of errors in accordance with the Bid Specification,

or

2.	If the Bidder, having been notified of the acceptance of its bid by the Purchaser during the period of bid validity;

(a)	fails or refuses to furnish the performance security, in accordance with the Bid Specification.

(b)	fails or refuses to execute the Contract Form if required; or

We undertake to pay the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser will note that the amount claimed by it is due to it, owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force up to and including sixty (60) days after …………….(Specification Date) the period of the bid validity, and any demand in respect thereof should reach the Bank not later than the above date.

.  ....................

(Signature of the Bank)

NOTE :	This will be executed on a Rs.100/- non-judicial stamp paper issued by a scheduled Bank.

3. CONTRACT FORM

THIS AGREEMENT made the.  ....... day of.  ............ 2017 Between.  ..............(Name of Purchaser) of the one part and.  ..........(Name of Supplier) of the other part:

WHEREAS the Purchaser invited bids for certain Materials / equipment and ancillary services viz.,

.....................(Brief description of Materials / equipment and Services) and has accepted a bid by the Supplier for the supply of those Materials / equipment and services in the sum of.  .....................(Contract Price in Words and Figures)(hereinafter called "the Contract Price").

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions will have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.	The following documents will be deemed to form and be read and construed as part of this Agreement, viz.:

(a)	the Bid Form and the Price Schedule submitted by the  Bidder;

(b)	the Schedule of Requirements;

(c)	the Technical Specifications;

(d)	the General Conditions of Contract;

(e)	the Purchaser's Notification of Award.

3.	In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the Materials / equipment and services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

4.	The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the Materials / equipment and services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

Brief particulars of the Materials / equipment and services which will be supplied/ provided by the Supplier are as under:

| Sl. No. | Brief Description of Materials / Equipment & services | Quantity to be supplied | Unit Price Rs. | Total Price Rs. | Delivery Terms |
| --- | --- | --- | --- | --- | --- |

TOTAL VALUE:	(Rupees 			     	 		only)

DELIVERY SCHEDULE:

IN WITNESS whereof the parties hereto have caused this Agreement to be executed on the day and year first above written.

Signed, Sealed and Delivered by the

said.  ..............................(for the Purchaser)

in the presence of.  ................

Signed, Sealed and Delivered by the

said.  ..............................(for the Supplier)

in the presence of.  ................

NOTE:	To be executed on a Rs.100/- Non-judicial stamp paper.

4. PERFORMANCE SECURITY FORM

To:                          (Name of Purchaser)

WHEREAS…………………………………………………………………... (Name of Supplier)

(hereinafter called "the Supplier") has undertaken, in pursuance of Contract No..................... dated............., 2017 to supply ............................................................... (Description of Materials/ equipment and Services)  (hereinafter called "the Contract").

AND WHEREAS it has been stipulated by you in the said Contract that the Supplier will furnish you with a Bank Guarantee by a recognized Bank for the sum specified therein as security for compliance with the Supplier's performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the Supplier a Guarantee:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to a total of.  ............................ (Amount of the Guarantee in Words and Figures) and we undertake to pay you,  upon your first written demand declaring the Supplier to be in default under the Contract and without cavil or argument, any sum or sums within the limit of................ (Amount of Guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the.  .......... day of  …...... 2017.

Signature and Seal of Guarantors

..........................................

Date.  .......................2017.

..........................................

..........................................

Address:....................…...

..........................................

..........................................

NOTE : This will be executed on a Rs.100/- non-judicial stamp paper by a scheduled Bank.

5.  PROFORMA FOR PERFORMANCE STATEMENT

Bid No.__________				Date of Opening________

Time _______ Hours

Name of the Firm__________________________________________

| Order placed by (full address of purchaser) | Order No. and Date | Description and quantity of ordered equipment/ material | Date of Completion of Delivery |
| --- | --- | --- | --- |
|  |  |  | As per Contract | Actual |

| Remarks indicating reasons for late delivery, if any | Has the equipment been satisfactorily functioning? (Attach a Certificate from the Purchaser) |
| --- | --- |

Signature of the Bidder _______________________

FORM - 6 : DETAILS TO BE FURNISHED BY THE MANUFACTURER

|  | Specification No. | : |  |
| --- | --- | --- | --- |
|  | Name of the Material | : |  |
|  | Bidder’s vendor Registration No. for this item | : | Not applicable |
|  | Quantity to be procured | : |  |
|  | Last date and time for submission of Bid | : |  |
|  | Date and time for opening of Bid | : |  |
|  | State whether Bid Security is uploaded | : |  |
|  | Whether willing to furnish performance Security B.G. @ 10 %, if order is placed | : |  |
|  | Whether a local SSI Unit/ Local Unit | : |  |
|  | Whether APTRANSCO delivery schedule accepted? | : |  |
|  | Prices whether Firm / variable | : |  |
|  | Whether any other tax / duty payable. If so give details and the same is included / not included. | : |  |
|  | State whether APTRANSO terms of payment are accepted. | : |  |
|  | Quantity offered for supply | : |  |
|  | State whether 90 days validity offered | : |  |
|  | Whether sample is enclosed (if specified) | : | Not applicable |
|  | Whether the material/ equipment offered conforms to the relevant APTRANSCO Specification | : |  |
|  | Whether you have executed orders of the APTRANSCO previously for these items (if executed, please furnish details) | : |  |
|  | Similar details in respect of supplies made to other utilities | : |  |
|  | Whether sales tax clearance certificate enclosed | : |  |
|  | Whether Income-tax clearance certificate enclosed. | : |  |
|  | Furnish the max production capacity per month of your plant for each type of the quoted materials. |  |  |
|  | Whether APTRANSCO penalty clause accepted |  |  |
|  | Whether APTRANSCO Guarantee clause accepted |  |  |

Signature of the Bidder

7. SCHEDULE OF DEVIATION

# TECHNICAL

| Sl. No. | Requirements / Equipment | Specification Clause No. | Deviations | Remarks |
| --- | --- | --- | --- | --- |

It is hereby conformed that except for deviations mentioned above, the offer conforms to all the other features specified in Technical Specification Section ____ of this Bid Document

Place :								Signature of the Bidder :

Date :								Name :

Business address  :

SCHEDULE OF DEVIATION

# COMMERCIAL

| Sl. No. | Requirements / Equipment | Specification Clause No. | Deviations | Remarks |
| --- | --- | --- | --- | --- |

It is hereby conformed that except for deviations mentioned above, the offer conforms to all the other features specified in Commercial Specification Section ____ of this Bid Document

Place :								Signature of the Bidder :

Date :								Name :

Business address:

8.   DECLARATION  FORM

UNDERTAKING TO BE GIVEN BY THE COMPANY / PARTNERSHIP FIRM / CONTRACTOR ALONG WITH THE TENDER REGARDING RELATIVES

I, _________________________________________________________________ representing the Company / Partnership Firm / Contractor responding to the bid invitation by the APTRANSCO / APEPDCL / APSPDCL / APNPDCL / APCPDCL vide Specification No. _______________________________ hereby sincerely and solemnly affirm and state as follows:

(STRIKE OUT THAT WHICH IS NOT APPLICABLE)

(a)	that myself or any of the representatives of my company / firm do not have any relatives as defined in the appended Annexure in the APTRANSCO / DISCOM.

OR

(b)	that the following officers / employees of the APTRANSCO / DISCOM are related to me and to the representatives of my company / firm and their status in the APTRANSCO / DISCOMS is as under:

| Sl.No. | Name of the Officer Employee | Designation and Place of working | APTRANSCO / DISCOM | Relationship |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |
| 6. |  |  |  |  |

It is certified that the information furnished above is true to the best of my knowledge and belief.  It is hereby undertaken that in the event of any of the above information found to be false or incorrect at the later dated the APTRANSCO / DISCOM is entitled to terminate the contract / agreement entered into besides recovering damages as may be found necessary, with due notice.

Signature of the Authorised Representative

DECLARATION TO BE GIVEN BY THE COMPANY / PARTNERSHIP FIRM / CONTRACTOR AT THE TIME OF ENTERING INTO AGREEMENT WITH APTRANSCO / DISCOMS:

(STRIKE OUT THAT WHICH IS NOT APPLICABLE)

(a)	I declare that myself or any one of the representative of my company / firm do not have any relatives as defined in the appended annexure  in the APTRANSCO / DISCOM.

OR

(b)	that the following officers / employees of the APTRANSCO / DISCOM are related to me and to the representatives of my company / firm as mentioned hereunder:

| Sl.No. | Name of the Officer Employee | Designation and Place of working | APTRANSCO / DISCOM | Relationship |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |
| 6. |  |  |  |  |

It is certified that the information furnished above is true to the best of my knowledge and belief.  It is hereby undertaken that in the event of any of the above information found to be false at the later dated the APTRANSCO / DISCOM is entitled to terminate the contract / agreement entered into besides recovering damages as may be found necessary, with due notice.

Signature of the Authorised Representative

Annexure

LIST OF RELATIVES:

1.	Father					14.  Daughter’s Husband

2.	Mother (including step mother)	15.  Daughter’s Son

3.	Son (including step son)		16.  Daughter’s Son’s Wife

4.	Son’s Wife				17.  Daughter’s Daughter

5.	Daughter (including step daughter)	18.  Daughter’s Daughter’s Husband

6.	Father’s Father			19.  Brother (including step brother)

7.	Father’s Mother			20.  Brother’s Wife

8.	Mother’s Mother			21.  Sister (including step sister)

9.	Mother’s Father			22.  Sister’s Husband

10.	Son’s son				23.  Son’s Wife’s Father

11.	Son’s Son’s Wife			24.  Son’s Wife’s Mother		        and their

siblings

12.	Son’s Daughter			25.  Daughter’s Husband’s Father

13.	Son’s Daughter’s Husband		26.  Daughter’s Husband’s Mother

FORM - 9

BANK ACCOUNT DETAILS FOR RTGS

1.  	Name of the Bank		:

2. 	Name of the Branch		:

3. 	Branch code			:

City				:

4..          Account No.			:

5.	MICR No.			:

6.	IFSC No.			:

7.	Income Tax PAN Number	:

8. 	VAT Registration Number 	:

9.	Date of VAT Registration	:

10.  	Place of VAT Registration	:

Signature of the Bidder

FORM – 10 :   BANKERS CERTIFICATE

TO WHOM SO EVER IT MAY CONCERN

This is to certify that M/s. _________________________________________________, having their plant at ______________________________________________________is our customers and have satisfactory record of transactions. They are having the credit limits of Rs._________ Lakhs in our Bank.

Place :								Signature of the Manager

Date  :								Name:

Bank address and Seal.

FORM – 11 :   MANUFACTURERS' BIDDING AUTHORISATION FORM

No.                       dated

To

…………….

…………….

…………….

Dear Sir,

SPECIFICATION No.

We                              (Name & complete Address) who are established and reputable manufacturers of                         _________________(Name & descriptions of Materials / equipment offered)

having factory at                       (address of factory) do hereby authorize_________________  (Full name and Designation) whose specimen signature is attested here under to submit the bid, and sign the contract with you for the above Materials / equipment manufactured by us against the above Specification No.

Specimen Signature

Yours faithfully,

(Name)

(Name of manufacturers)

Note :	  This letter of authority should be on the letterhead of the manufacturer.

It should be included by the Bidder in its bid.

The Bidder’s complete postal address and their factory complete postal address with phone and fax numbers shall be invariably mentioned in the above proforma.

FORM - 12

UNDERTAKING TO BE GIVEN BY THE COMPANY ALONG WITH

THE BID REGARDING BLACKLISTING

I, ________________________________________________________________________ representing the Company responding to the bid invitation by the APTRANSCO vide Specification No. ______________________ hereby sincerely and solemnly affirm and state as follows:

(a) 	We, _______________________________________________ (Name of Company) or our promoter’s firm(s) have not been banned/ black-listed/debarred by any Govt. Department/ undertaking or Power Utility for non-performance or malpractice or due to any reasons.

It is certified that the information furnished above is true to the best of my knowledge and belief.  It is hereby undertaken that in the event of any of the above information found to be false or incorrect at the later dated, the APTRANSCO / DISCOM is entitled to terminate the contract / agreement entered into besides recovering damages as may be found necessary, with due notice.

Signature of the Authorised Representative