THE MYSORE ELECTRICAL INDUSTRIES LIMITED

Tumkur Road, Yeshwanthpur, Bangalore-22.

Ref: MEI/DGM/2016-17/074			            Date: 22.12.2016

Supply of   FABRICATION/ELECTRICAL / SCD ITEMS

DUE ON :  31.12.2016

| TENDER NO. | MATERIAL DESCRIPTION | UNIT | QTY. REQD. (APPX) | EMD in Rs. |
| --- | --- | --- | --- | --- |
| 74-090/ VBR | VACCUM INTERRUPTER TYPE: VS-12014 (B-14) | Nos. | 1000 | 1,18,000/- |
| 74-091/PVCB | MOTOR WITH GEAR BOX 240V 40 WATT, DRG. NO: 100-63729 | Nos. | 350 | 8,000/- |
| 74-092/ VBR | TRIVECTOR METER, 3PH, 4 WIRE ELECTRONIC WITH BI-DIRECTIONAL , ABT, TOD & DLMS FEATURE & RS 485 WITH SCADA COMPATIBILITY. CLASS 0.2S, CT RATIO 200-100/1-1A,TYPE:ER300P, MAKE: L&T, AS PER GTP APPROVED BY ESCOMS | Nos. | 75 | 15,000/- |
| 74-093/VBR | PVC FLEXIBLE COPPER WIRE (i))SIZE:80/0.2 OR 2.5²MM BLUE -100 METERS/COIL) – 50 COILS (ii) SIZE:80/0.2 OR 2.5²MM GREY -100 METERS/COIL) – 300 COILS (iii) SIZE:80/0.2 OR 2.5²MM GREEN -100 METERS/COIL) – 200 COILS | COILS | (i)50 (ii)300 (iii)200 | 6,000/- |
| 74-097/VBR | 85 WAY REMOTE CONTROL & ANNUNCIATOR PANEL,13 SWITCHES SCADA COMPATIBLE INDOOR SIMPLEX VERTICAL TYPE, AUX. VOLTAGE : 110V DC, (2 I/C + 1BC + 8F + 2CB) | No. | 01 | 1,000/- |
| 74-098/PVCB | BASE PLATE | Nos. | 600 | 2,500/- |
| 74-099/VBR | ANNUNCIATOR PANEL INDOOR SIMPLEX VERTICAL TYPE , 60 WAY, 8 SWITCHES SCADA COMPATIBLE (2 I/C + 8F) | No. | 01 | 1,000/- |
| 74-100/PVCB | CAP (ALU), DRG. NO.204 -65043 | NOS. | 600 | 1,800/- |
| 74-101/ VBR | TP IDMT N/D SHUNT TRIPPING RELAY WITH 2 O/C +1 E/F PROTECTION. TYPE: CDG-31/2TJM10X3, MAKE: ALSTOM/ER, CASE 3DH | NOS. | 12 | 2,000/- |
| 74-102/PVCB | UNDER VOLTAGE RELAY, MAKE: ALSTOM,TYPE :VDG-13 | NOS. | 10 | 1,200/- |
| 74-103/PVCB | OVER VOLTAGE RELAY, MAKE: ALSTOM,TYPE :VDG-11 | NOS. | 10 | 1,200/- |
| 74-104/ VBR | TP IDMT DIRECTIONAL COMMUNICABLE NUMERICAL RELAY, TYPE:P14DA, MAKE:ALSTOM ONLY | NOS. | 28 | 13,000/- |
| 74-105/ VBR | TP IDMT N/D SHUNT TRIPPING RELAY WITH 2 O/C +1 E/F PROTECTION WITH HIGH SET TYPE: CDG-61,MAKE: ALSTOM , CASE 3DH | NOS. | 487 | 1,15,000/- |
| 74-106/ VBR | TRIP CIRCUIT SUPERVISION RELAY, TYPE:ATSR31A/JRV911, MAKE:ASHIDA/JVS, | NOS. | 92 | 3,000/- |
| 74-107/ VBR | MASTER TRIPPING RELAY, TYPE:AVAJS13/JRV171, MAKE:ASHIDA/JVS | NOS. | 92 | 1,500/- |
| 74-108/ VBR | D.C.FAILURE RELAY, TYPE:AVA210/JRV017, MAKE:ASHIDA/JVS, | NOS. | 92 | 1,500/- |

Note:1) Connected drawings/ Technical details to be collected at  The Mysore    Electrical Industries Ltd  (Materials Division) phone-080-23379506/507.

2) To get drawings from Post/Courier send us DD of Rs.100/- towards postal/courier charges.

3) New supplier should submit the sample for approval before opening of the technical bid. Otherwise tender application will not be considered.

The Tender shall be submitted the bid through e-Procurement Portal (www.eproc.karnataka.gov.in) only. Vendors/ contractors need to register in the e-Procurement portal to submit their bids online. The tender document can be viewed free of on e-Procurement Portal.

Note:-The Tenders/Bidder has to confirm themselves for up-loading of all the Tender Documents. For any “HELP” regarding uploading of Tender Documents please call on –

9.00   am to 9.00 pm.Helpdesk:  080-25501216/ 25501227 of all working hrs.

DEPUTY GEN. MANAGER (MATLS) I/C.

THE MYSORE ELECTRICAL INDUSTRIES LIMITED

Tumkur Road, Yeshwanthpur, Bangalore-22.

Ref: MEI/DGM/2016-17/074				    		 Date: 14.12.2016

SECTION – 1

GENERAL INSTRUCTION

(Note: Read instructions/ Guidelines carefully before tendering Comments, if any, on the various clause of the tender document may be made in the tender)

- The tenderer may participate for all the items or any of the items or any part quantity of an item.  The tenderer shall indicate the tender serial number.

- The tender forms will be separate for each item.  The tenderer shall purchase tender form for each items separately.

- The Cost of tender form is as specified under respective tender serial no. (Non refundable & Non Transferable) The tender form can be purchased by making payment in the form of DD on any nationalized / scheduled bank drawn in favour of The Mysore Electrical Industries Limited.  Bangalore or by cash.  If the tender documents are required by post, tenderer has to pay Rs. 100/- extra towards postal charges.

- SCOPE :

- Tenders complete with all necessary information in duplicate duly filled in are invited for supply of material in accordance with the Terms & Conditions specified in the Section I & II enclosed to the tender form.  The price offer must be given as per Section III to this tender form in duplicate.

- This Tender document consists of the following :

Section – I 	General Instruction this document

Section – II 	Technical Specification of item

Section – III 	Price Bid Format.

Part : TECHNICAL PROPOSAL : (SECTION – II)

- INFORMATION REQUIRED WITH TECHNICAL PROPOSAL.

2.1	 The Bid must clearly indicate the name of the Bidder.

2.2	 Audited accounts of the last three years of the Bidder.

2.3	 Details of the customers to whom the above materials were supplied

and duly attested  performance certificates from respective

customer to be furnished.

  - The above information shall be provided by the bidder in the form

of a separate sheet, Catalogues  etc.,

2.5	Any technical & Commercial terms / Deviations shall be mentioned.

2.6	The information as mentioned in Annexure – C.

- PART II : PRICE PROPOSALS : (SECTION – III)

Bid proposals sheets consisting of price proposal duly filled in, signed and complete in all respect.

Note:  a)    The earnest money paid in the form of Demand Draft or receipt issued by MEI shall be enclosed to part – 1 “Techno Commercial Bid” and should not be enclosed in the “Price Bid”.

b)   Part – I Techno Commercial Bid will be opened on the due date at 13.00 hrs.

c)  Part – II Price Bid will be opened later, the date of which will be intimated to the tenderer subsequently.   The Price Bid will be opened after the Techno Commercial evaluation of the tender is completed.   After opening of techno commercial Bids and if found to be in order, price bids of only those tenderer whose techno commercial bid is accepted will be opened  and intimation thereof will be sent.  Price Bids of those tenderer whose techno commercial  bid is not accepted will be returned to such tenderer Un-opened.

- EARNEST MONEY DEPOSIT  (E.M.D)

- The supplier should pay the E.M.D. and tender processing fees by the following modes through e-payment

  - Through Credit Card

  - Debit through Internet Banking

  - Over the Counter (OTC) (ICICI Bank)

- NEFT – National Electronic Fund Transfer The EMD will not carry any interest.

- The EMD will be forfeited if the tenderer:

- Revised any of the terms quoted during the currency of contract.

- Violates any of the terms and condition specified.

- The EMD of the unsuccessful tenderer will be refunded free of interest after intimation is sent to them conveying the non – acceptance of their offer.

- The EMD in respect of successful tenderer would be retained till the completion of the contract as a security deposit.   The EMD will be forfeited if the terms of the contract are not fulfilled without assigning any reasons whatever.   The decision of the company will be final.

- The tender submitted without EMD will be rejected outright without assigning any reasons.

- QUALIFICATION FOR THE CONTRACT.

- Interested firm  companies may participate in the tender.

- The firm / companies participated in the tender would be registered as the vendor for the items to which is has participated.

- The firm / companies participated in the tender registered as a VENDOR  for the supply of the items shall supply the sample as per the specification and get the same approved from the Quality Assurance department of the MEI Ltd.,

- Orders will be placed for supply of materials by entering into contract only after the samples are approved by MEI Ltd., Subject to satisfying  the other terms and conditions such as price, shop capacity, financial stability etc., the quantity will be decided.   Even if the rates are lowest for new suppliers,  where samples has been  approved, a minimum quantity of 20% may be ordered , at the discretion of Tender Scrutiny Committee.

- Sample to be developed at the own cost of the vendor.

- REJECTION OF TENDER :

- The  tenders not containing the complete details are liable for rejection.

- If, on opening of the outer cover, it is seen that the tenderer has not furnished the requisite EMD in the form specified as above, the tender in liable to be rejected.

- Tenders received after due date and time will be summarily rejected.

- Tenders received from those who quote a lesser validity period than that called for shall be rejected.

- The tenders with part Earnest Money Deposit (less than the amount specified in the advertisement) shall be rejected.

- Telegraphic / Fax quotation will be summarily rejected.

- The tender is liable to be rejected if it is:

I ) Not in the prescribed form

ii) Nor properly signed by the tenderer.

iii) Not in conformity with the company’s Technical Specification.

iv) From a tenderer whose past performance is not satisfactory to MEI.

v) From a tenderer  who has not purchased a copy of this specification.

vi) Quantity offered is less than the 20 % of the tendered quantity.

- RIGHTS OF THE COMPANY:

The Mysore Electrical Industries Limited reserves the rights:

- To accept the lowest or any Tender at its discretion.

- To reject any or all the tender without assigning any reason thereof whatsoever reserving the rights to call for fresh tenders.

- The award contracts/ orders to one or more tenderer for the items covered by this tender specification.

- To revise the quantities and delivery schedule if necessary during the pendency of the contract / order.

- To order additional quantities if necessary during the pendency of the contract / order.

- Quantities mentioned in the tender are provisional subject to change.

- OPENING OF TENDER

The “ Technical & Commercial Bid” will be opened at The Mysore Electrical Industries Limited, Post Box No: 2221, Tumkur Road, Yeshwanthpur, Bangalore-22.

- SOUNDNESS OF THE COMPANY :

The tenderer should confirm that his company is financially sound .   Failure to furnish the information will make his offer liable for rejection.   The tenderer is requested to furnished the exact location of their factory with detailed address phone / fax / cable no., Mobile No. E-Mail address in their tender to enable for inspection.

- PAST PERFORMANCE:

The intending tenderer shall furnish the details of similar supply orders / work contracts executed by them in the past along with the tender end users Certification if any available may also be furnished.

- PRICES:

- The prices quoted shall be “FIRM” / “VARIABLE”  price of the materials.  Please refer Annexure – ‘A’ for the details regarding Firm / Variable price applicability and the price quoted shall be on all inclusive basis as given in Section – iii for delivery F.O.R. MEI’s basis i.e., inclusive of freight, insurance, packing and all other charges, details of Excise Duty, VAT  /Sales Tax and all other levies etc., and the price variation basis is given in section – II wherever it is variable.

- The price variation Permissible in respect of belated or delayed supplies will be allowed at the admissible rates limiting to that applicable for the deliveries specified in the purchase order / release order whichever is advantageous to the company and at the discretion of MEI Ltd.,

- The Company reserves the right to allow or not to allow any increase in price due to price variation beyond the scheduled delivery date indicated in the purchase order / release order.

- Split of details of all-inclusive price should be furnished as below without fail

i )	Ex-factory Price of each category of materials.

ii )	Basic Excise Duty if any payable on Ex-Factory Price in Percentage and amount.

iii )	VAT / Sales Tax / Service Tax if any payable.

iv )	Surcharge and additional surcharges on  sales tax, if any in percentage and amount.

v )	Other duties if any, in percentage and amount.

vi )	Freight, Insurance and other charges for delivery at F.O.R.  MEI’s Stores.

vii) In case of the manufacture in and around Bangalore shall give documentary evidence about their location within the Jurisdiction of BBMP or not.

- Tenders without break up details as above are liable for rejection.   Tenderer should take into account the CENVAT scheme and quote their price accordingly.

- The Tenderer should absorb the increase in statutory lives, if they are placed in a different duty slab due to higher turnover.

- Any charges in the rate of Excise Duty and VAT / Sales Tax due to statutory variation would be borne by the company within the contracted delivery schedule, if delivery schedule is maintained.

- In respect of material supplied beyond the schedule date of delivery and if accepted by the company, any increase in taxes / duties should be absorbed by the tenderer.   It should be noted that if the order is placed on a higher tenderer in preference to the lowest acceptable offer, on consideration of early delivery, the contractor will be liable to pay the company the difference between the contract rate and that of the lowest acceptable tender in case of failure to complete the supplies in terms of such order within the date of delivery specified in terms of such order in the tender and incorporated in the contract.   This is without prejudice to the right of the MEI under the terms of the contract.

- If you are a dealer or agent, please furnish the following:

  - Name of the manufacturer, brand name of the material with literature and From where the suppliers would be effected i.e. either from your office or directly from the manufacturing unit.

  - If you are executing the order through E1 sales, furnish the amount of CENVAT credit that company is eligible to avail against the invoice of the manufacture.

  - If you are issuing dealer invoice, the amount of CENVAT credit shall be which will be passed to us through dealer invoice to be indicated separately.

- EXCISE DUTY :

In accordance with the Central Excise rules now if force,  in order to avail CENVAT credit of duty paid, a duplicate copy of the invoice distinctly marked as duplicate copy for the Transporter  to avail CENVAT shall invariably accompany the materials supplied from the time to time.     If the Materials are not accompanied with the duplicate copy of the invoice, the Excise duty amount will be disallowed.

- VAT /SALE TAX :

a) Our Company’s TIN & CST Registration NO: are as follows :

TIN No: 29180066261

CST RC No: 70060502   dt. 19.10.2002

ECC NO: AABCT1006BXM001.

B) In respect of Inter-State Sales, Declaration form-”C” will be issued from our Finance Department, wherever the concessional rate of C.S.T is applicable.  Tenderer should  indicate their TIN / Sales Tax Registration No. along with the Xerox copy of registration  certificate.   In case of exemption of Sales Tax, documentary evidence should be furnished.

- ACCEPTANCE :

It is not binding on the MEI Ltd., to accept the lowest rates of any tender.   The MEI Ltd., reserves the right to place orders for individual items on different tenderer and to order 25% on either side of quantity of material during the currency of the order at the accepted rates.

- VALIDITY OF OFFERS

Tender should be valid for acceptance for a minimum period as mentioned in the Annexure – ‘C’ from the date of opening of the price bid tender.   Tenders with lesser validity period  shall be rejected outright.

- ROYALTIES AND PATENTS :

All royalties patents or the charges for the use of infringement there of that may be involved in the contract shall be included in the prices.   The tenderer shall project the purchaser against any claim’s thereof.

- LOSS OR DAMAGE :

External damages or shortages that are prima facie the results of rough handling in transit due to defective packing will be intimated, with in a fortnight of the receipt of the materials.   Internal defects, damages or shortages which can be ordinarily detected on a superficial visual examination caused by bad handling in transit or defective pacing would be intimated after inspection or receipt of the materials should be replaced free of cost.

- REPLACEMENT OF DEFECTIVE / DAMAGED MATERIALS.

- Notwithstanding  anything  contained  in  Liquidated Damages  Clause  of  this  Specification, where the whole or part of the materials supplied by the supplier are found to be defective or damaged or are not in conformity with the specification, such defects or damages in materials supplied shall be rectified at the supplier’s works at the cost of the supplier (after observing Central Excise formalities). The defective or damaged materials shall be replaced free of cost within two weeks on receipt of the intimation from the purchaser of such defects or damages. If the defects or damages are not rectified or replaced with in this period, the tenderer shall pay the liquidated damages at the rate of ½%(Half Percent) value per week (all inclusive price) of such material for each calendar week of delay subject to a maximum of 5% (five percent) for the delay from the date of receipt of the defects or damages.

- In the event of supplies being received damaged or short at MEI’s stores the cost of such materials with Excise Duty, VAT/Sales Tax and other charges payable thereof will be paid only proportionate to the value of the materials received in good condition unless the damaged good or short supplies are made goods free of cost.

- If during the period of supply, it is found that goods already supplied are defective materials or workmanship or do not confirm to the specifications or unsuitable for the purpose for which they are purchased, then it will be at the option of the MEI Ltd., either to reject the goods and repudiate the entire contract and claim such loss that the purchaser may suffer on that account and direct the tenderer to replace the defective goods free of cost.

- RESPONSIBILITY:

The tenderer is responsible for delivery of the materials at the MEI’s Stores in good condition. The tenderer shall include and provide for securely protecting and packing the materials as per relevant packing standards to avoid damages or loss in transit at its cost.

- PACKING :

The packing shall conform to relevant packing standards / as per specification enclosed.   The vendor should however, ensure that the packing is such that the materials reach their destination without damage / loss by rail or road and subsequent storage.   The words ‘Handle with care’ should be printed on the cartons without fail.

23. DELIVERY:

a)  The delivery requirement is as mentioned in annexure-C / Section III Price Bid. In the event of  successful tender the delivery schedule will be indicated separately in the form of release  orders as per the requirement of the category of materials contained in this specification.

b)  The delivery period should be specified in the tender in clear and unambiguous terms.

c)  The delivery so specified should be guaranteed by the tenderer under the liquidated damages  clause of the specification.

- The company is at liberty to alter the delivery dates on the lesser side to suit its needs as and  when necessity arises, during the pendency of the contract.

24.  FORCE MAJEURE:

a)  If, at any time during the continuance of the contract, the performance in whole or in part in any obligation under this contract shall be prevented or delayed by reasons of nay war, hostility, acts of public enemy, acts of civil commotion, strikes, lockouts, sabotages, fires, floods, explosions, epidemics, quarantine restriction or other acts of God (herein after referred to is eventualities) then provided notice of the happening of any such eventuality is given by the tenderer to the company within 15 days from the date of occurrence thereof, neither party shall by reasons of such eventuality, be entitled to terminate the contract, nor shall have any claim for damage against the other in respect of such non-performance or delay in performance, and deliveries under the contract shall, be resumed as soon as practicable after such eventuality has come to an end or ceased to exist.

b) Provided that if the performance in whole or part by the tenderer any obligation under this contract is prevented or delayed by reasons of any eventuality for a period exceeding 60 days, the company may at its option terminate the contract by notice in writing.

25. DEFAULTING SUPPLIER / CONTRACTOR

- Wherever the supplier fails to supply as per the agreed terms of the contract, the EMD paid by the firm will be forfeited and his name will be black listed. His poor performance will be recorded for reference in future ordering.

- Apart from the forfeiture of EMD, a penalty of half percent per week on the value of the order would be levied subject to a maximum of 5%.

- Apart from forfeited of EMD and penalty as mentioned above, the material will be procured from other sources/ suppliers without notice   to the tenderer and the difference in cost of the purchase would be recovered from the defaulting suppliers.

26.  PAYMENT TERMS:

Payment terms as mentioned in Annexure “C” subject  to receipt and acceptance of materials at MEI’s stores in good condition of the consignment and on receipt of Tenderers invoice (Induplicate) and other relative documents specified in the order No overdue interest will be paid in respect of all the items except.

NOTE: Please refer Annexure-C

27.  INSPECTION:

The MEI Ltd representative shall have free access to the tenderers works at any time during working hours for the purpose of inspecting the manufacture and testing of the materials covered by this specification. The Tenderers shall provide the necessary facilities for such inspection.

28.	JURISDICTION OF LEGAL PROCEEDINGS:

Any  dispute arising out of the contract after acceptance of the tender shall be subject to Bangalore jurisdiction only.

29.	DUES TO COMPANY:

Amount due from the Tenderer to the company for default in any contract will be adjusted from the pending payment against the contract to be awarded against this specification, besides EMD held against this specification.

30.	RAW MATERIALS & PACKING MATERIALS:

It is the responsibility of the tenderer to make their own arrangements to  procure the necessary raw materials required for the manufacture and supply.

31.	GENERAL:

a)     The  Company  or  competent authority will have the right to relax or waive any of the conditions stipulated in this specification wherever deemed necessary at its discretion.

b)   If  the tenderer  find  any ambiguity  in  any  of  the  definitions,  description  Terms  & Conditions stipulated in this enquiry, the tenderer shall get it clarified from the Deputy General Manager (Materials), The Mysore Electrical Industries Limited, Post Box No.2221, Tumkur Road, Yeshwanthpur, Bangalore-22, before submission of the tender. If this is not done and subsequent to the opening of the enquiry the doubts about the meaning or ambiguity in the interpretation if any of the terms and conditions stipulated in this enquiry are raised by the tenderer either in his offer or by a separate letter, the interpretation or clarification issued by the  Deputy General Manager (Materials), The Mysore Electrical Industries Limited, Post Box No.2221, Tumkur Road, Yeshwanthpur, Bangalore-22, on the tenders shall be final and binding on the tenderer.

c)    Note  that  any  deviation  to  General  Terms & Conditions  specified  in  the tender  should  be indicated without fail, which alone would be taken into account for evaluation purpose. If no  deviations are indicated it will be deemed to be confirming to the specification in all respects.

for THE MYSORE ELECTRICAL INDUSTRIES LIMITED

(BALACHANDRA.R)

DEPUTY GENERAL MANAGER (MATERIALS) I/C.

TENDER INVITING AUTHORITY