Government of Karnataka

Comissionarate Of Horticulture

Biocentre,Hulimavu, P.B No.7648, Bangalore

Annexure - 1

TECHNICAL SPECIFICATIONS OF EQUIPMENTS REQUIRED FOR

SPLIT AC – (2 TON) AT  BIOCENTRE LABORATORY

- Split Air conditioners :

Specifications:

Highwall 1 Split Air conditioner with Cordless Remote

1.5TR,  & 2.0TR Capacity.

Voltage stabilizer

Heavy duty outdoor stand

Copper pipe, cable & insulation fome

Standard installation charges as per company provide and  Transport charges

General Features

Type : Split AC

Capacity : 1.8-2 Ton

Functions : Cooling

Dehumidification : Yes

Performance Features

Air Circulation: 720 CFM

Compressor : Hermetically Sealed Rotary Type

Sound Level (Indoor): 47 db

Sound Level (Outdoor): 56 db

Noise Level (Indoor)(Low): 47 db

Modes

Dry :Yes

Cool :Yes

Auto Mode: Yes

Filters

Anti-Bacteria Filter: Yes

Dust Filter : Yes

Other Filters: Titanium Apatite Photo Catalytic Air Purifying Filter

Convenience Features

Auto Restart: Yes

Panel Display: LED

On/Off Timer: Yes

Air Swing : Yes

Other Convenience Features:  Power Airflow Flap, Wide angle louvers, New Power Chill Operation, Smell Proof Operation

Power Requirements

Power Supply: 230 V / 50 Hz

Power Consumption(Cooling): 1970 Watts

Running Current(Cooling): 8.97 Amps

Dimensions

Indoor (W x H x D): 1100 x 310 x 258 mm

Indoor Weight: 13 Kg

Outdoor (W x H x D): 845 x 595 x 300 mm

Outdoor Weight:40 Kg

Additional Features

Other Features: Anticorrosion Treatment of Outdoor Heat Exchanger, Child Lock, Stabilizer Free, Operation Range - 19.4 to 46 Degree C

Warranty

Warranty Summary

1 Year Comprehensive Warranty from company Additional 4 Years on Compressor

Qualifying criteria (Technical bid)

            - Bidders shall be qualified and should have at least about 3 (three) years experience in the field of manufacturing / supply of Split AC – 2 ton.

            - The bidders should have registered them selves in the e- procurement portal.

            - Bidders should have paid the prescribed tender document fees and EMD.

            - The bidder should have attached attested (by notary) copies of all the  documents listed here in. And all of them should be proper as required.

Documents to Be Submitted (All documents should be attested by notary)

      - A brief note on activities of the Firms/Company.

      - Technical details of the equipment

      - Financial bid.

      - VAT renewal certificate for the current financial year.

      - Income tax clearance certificate for the years 2013-14, 2014-15 and 2015-16

      - Turn over certificate by CA for the years 2013-14, 2014-15 and 2015-16

      - Attested copies of documents indicating having supplied Split AC – 2 ton to government / semi government / private sector during   2013-14, 2014-15 and 2015-16

      - An under taking by the bidder on a stamp paper  200/- of having accepted

- Of meeting all the qualifying criteria

- All the terms and conditions of tender process and the work execution process.

- Meeting the scope of professional service.

Terms and conditions

- The prescribed EMD for the supply of Split AC – 2 ton to the integrated biocentre is Rs.3,750.00

- The successful bidder should supply the equipment with in 30 days after issuing the supply order and the bidder shall give an undertaking in this regard.

- Department nominated consultants will prescribe inspection/ testing clauses by an

independent inspection agency if necessary, before making payment.

- Payment shall be done only after fully ascertaining regarding the functioning of the equipment and all the necessary quantitative and qualitative aspects.

- The supplier shall ensure quality of the item for a minimum period of one year from the date of supply and ensure the true quality of the materials supplied.

- Deputy Director of Horticulture has the power to accept or reject the tenders without assigning any reasons.

- Supplier should give training to our technical officers / staff for the use of equipments / instruments without any charges.

- The rates quoted should be valid up to one year

Mode of participation in the tender

- Details of technical specifications, quality details, terms and conditions, tender fees,             EMD details and tender documents can be obtained from e-Procurement website: https://eproc.karnataka.gov.in

- Tender documents can be down loaded and uploaded from 01.03.2017 to 10.03.2017 till 5.00 p.m. Pre bid meeting will be held on 04.03.2017 at 11.00 AM. Technical bids will be opened on 13.03.2017 at 10.30 AM. Financial bids of technically qualified bidders will be opened on 15.03.2017 at 10.30 AM.  The venue of pre bid meeting, Technical and financial bid opening is Office of the Deputy Director of Horticulture (Tissue culture) Biocentre, Hulimavu, Bangalore -76, Phone  and Fax No:080- 26582775, Email: ddhbiotech@gmail.com

- Prescribed tender documents fees and EMD should be paid online through e-procurement portal.

4.  The bidders can pay the EMD in the e-Procurement portal using any one of the   following payment modes: Credit Card/ Direct Debit/National Electronic Fund Transfer (NEFT)/ Over the Counter (OTC)

Bid evaluation criteria

a. Technical bid

            - Only technically qualified bids (as narrated above) shall be eligible for financial bid opening. Technical bids which are incomplete, not in proper format and not meeting the terms and conditions prescribed shall be rejected.

b. Financial bid

1.   Lowest Price for the supply of above items must be quoted in the tender form. The rates quoted should be inclusive of all taxes, freights, insurance, transport charges, handling and packing charges etc. The quoted rate shall include transport charges to the respective destinies.

            - The successful bidder should deposit 5 % of the approved bid amount as security, with the       concerned division Deputy Director of Horticulture, which shall be in the form of DD drawn in the name of concerned division Deputy Director of Horticulture from a Nationalized Bank. The same would be returned after one year from the date of supply of the equipment satisfactorily, which shall carry no interest.

            - All the taxes as per Government rules shall be deducted at source and the bidder shall be       responsible for paying all the taxes as and when applicable.

            - Financial bids which are incomplete, not in proper format and not meeting the terms and

conditions prescribed shall be rejected.

Sd/-

Deputy Director of Horticulture

(Tissue culture)

# Text boxes

__________