GOVERNMENT OF KARNATAKA

SECRETARY, HKRDB, KALABURAGI

“PROCUREMENT OF MEDICAL EQUIPMENTS/FURNITURES  REQUIRED FOR TALUKA HOSPITAL SEDAM OF KALABURAGI DISTRICT  UNDER HKRDB KALABURAGI MACRO PROJECT FOR THE YEAR   2017-18”

TABLE OF SECTIONS

| Sl. No. | SECTIONS |
| --- | --- |
| 1. | I – Invitation for Tenders (IFT) |
| 2. | II – Instruction to Tenderers (ITT) |
| 3. | III – General Condition of Contract (GCC) |
| 4. | IV – Special Condition of Contract (SCC) |
| 5. | V – Schedule of Requirements with Consignee list |
| 6. | VI – Technical Specification |
| 7. | VII – Qualification Criteria |
| 8. | VIII – Tender form and Price Schedule |
| 9. | IX – Details of Earnest Money Deposited |
| 10. | X – Contract Form |
| 11. | XI – Performance Security Form |
| 12. | XI / A – Comprehensive Maintenance security Bank Guarantee Form |
| 13. | XII – Proforma for Performance Statement Form |
| 14. | XII –Proforma for Qualification Criteria for the Manufacturer |
| 15. | XII A– Proforma for Qualification Criteria for the Authorized Agent |
| 16. | XIII- Manufacturers Authorization Form |
| 17. | XIV – Goods and Quality Control Form |
| 18. | XV – Document Verification Checklist |

E - TENDERS FOR  “PROCUREMENT OF MEDICAL EQUIPMENTS/FURNITURES  REQUIRED FOR TALUKA HOSPITAL SEDAM OF KALABURAGI DISTRICT  UNDER HKRDB KALABURAGI MACRO PROJECT FOR THE YEAR   2017-18”

SECTION I.   INVITATION FOR TENDERS (IFT)

IFT No:  HKRDB/KLB/TECH/02/2016-17/113 		Date: 12-04-2017

1.	SECRETARY, HKRDB, KALABURAGI(Purchaser) invites   e - tenders from eligible tenderers who are registered for e-platform by using ID & Digital Signature for the“PROCUREMENT OF MEDICAL EQUIPMENTS/FURNITURES  REQUIRED FOR TALUKA HOSPITAL SEDAM OF KALABURAGI DISTRICT  UNDER HKRDB KALABURAGI MACRO PROJECT FOR THE YEAR   2017-18”

s

2.	The tenderers may upload tenders for the above good individually. Tenderers are advised to note the qualification criteria specified in Section VII to qualify for award of the contract, (vide Section XII and XII A) in addition to other requirements of the tender. Two Cover tender procedures shall be followed. The Tenderers are required to upload First Cover i.e. Technical Bid consisting of document as specified in clause 7.1.1 of ITT and Second Cover i.e. Financial Bid Consisting Price Schedule for the equipment, as well as for CMC (wherever is applicable).   This Tender for “Bulk Purchase”. Holding valid license whose turnover for 3 years is as mentioned in the above column per annum and more than Rs. 1.00 crore per annum for local SSI units of Karnataka State, are eligible to participate in the tender.

3.	Tender documents may be downloaded from the web site http://eproc.karnataka.gov.in

4.	Tenderers must provide Earnest Money Deposit (EMD) as specified in the tender document which shall have to be made through electronic system (Refer Section-V Schedule of requirement).

5.	Tenders along with necessary enclosures must be uploaded to the web site http://eproc.karnataka.gov.in as per tender schedule mentioned in page 1 and First Cover containing the Technical Bid will be opened as per tender schedule  in the presence of the tenderers or their authorized representatives who wish to attend.  If the office happens to be closed on the date of opening of the tenders as specified, the tenders will be opened on the next working day at the same time and venue.

6.    	SSI units of Karnataka State shall be given fifteen percent (15%) price preference in accordance with New Industrial Policy 2009-14 provided that they fulfill all the other prescribed criteria and become responsive and if the policy is in operation as on the date of Tender Notification.

7.     Domestic Small Scale Industrial Unit’ means an industrial unit in which the investment In fixed assets in plant and machinery, whether held on ownership or on lease or by hire purchase, does not exceed rupees one crore, and which manufactures the goods within the state and registered with the Director of Industries and Commerce, Government of Karnataka and their registration is valid as on the last date of submission of tender.

8. 	The Second Cover (Financial Bid) of the Tenderers who are technically qualified / responsive will be opened through e-tendering system. Please refer clause 20.2 of I.T.T.

9.	Other details can be seen in the tender documents.

Note: The system followed will be “Two cover system” both “TECHNICAL” & “FINANCIAL” bids tender through e-Procurement Portal Only.

- Tender forms may be downloaded from e-Procurement Portal website i.e.

https://www.eproc.karnataka.gov.in. as per E-Procurement Portal.

- EMD should  be paid through any of the following five modes. I) Credit card II) Debit Card III) NEFT (National electronic fund transfer) IV) Net Banking. Bids will be evaluated only on confirmation of receipt of the payment (EMD) in the GoK’s central pooling a/c. The EMD of unsuccessful bidders will be refunded while that of the successful bidders will be considered as Security Deposit till completion of the Tender period.

- Time for receipt of tenders is up to 05.00pm on      22-04-2017.

- The Technical Bids will be opened in this Office on     24- 04-2017 at 10.30am.

- The Financial Bids of the qualified firms will be opened on   25-04-2017 at 10.30am.

- If the above mentioned dates are declared as holiday for any reason, the subsequent working day shall be the tender submission or Tender opening day as the case may be.

- The rate should be quoted as actual price Inclusive of taxes.

Right of accepting or rejecting the tender one or all is rest with the Secretary, HKRDB, Kalaburagi.

SECTION II: INSTRUCTIONS TO TENDERERS

TABLE OF CLAUSES

Clause	Topic

No.

A. Introduction

- Eligible Tenderer

- Cost of Tendering

B. Tender Documents

- Contents of Tender Documents

- Clarification of Tender Documents

- Amendment of Tender Documents

C. Preparation of Tenders

- Language of Tender

- Documents Constituting the Tender

- Tender Form

- Tender Prices

- Tender Currency

- Documents Establishing Tenderer’s Eligibility and Qualifications

- Documents Establishing Goods Eligibility and Conformity to Tender Documents

- Earnest Money Deposit

- Period of Validity of Tenders

- Format and Signing of Tender

#### D. Submission of Tenders

- Sealing and Marking of Tenders / Uploading

- Deadline for submission of Tenders

- Late Tenders

- Modification and Withdrawal of Tenders

##### E. Tender Opening and Evaluation of Tenders

- Opening of Tenders by the Purchaser

- Clarification of Tenders

- Preliminary Examination

- Evaluation and Comparison of Tenders

- Contacting the Purchaser

##### F. Award of Contract

- Post-qualification

- Award Criteria

- Purchaser’s Right to Vary Quantities as per KTPP

- Purchaser’s Right to accept any Tender and to reject any or all Tenders

- Notification of Award

- Signing of Contract

- Performance Security

- Corrupt and Fraudulent Practices

- Place of Installation and delivery

# SECTION II: INSTRUCTION TO TENDERERS

# A. Introduction

1.	Eligible Tenderers

1.1	Tenderers should not be associated, or have been associated in the past, directly or indirectly, with a firm or any of its affiliates which have been engaged by the Purchaser to provide consulting services for the preparation of the design, specifications, and other documents to be used for the procurement of the equipment to be purchased under this Invitation of Tenders.

1.2	Bidders shall not be under a declaration of ineligibility for corrupt and fraudulent practices issued by Government of Karnataka

2.	Cost of Tendering:

2.1	The Tenderer shall bear all costs associated with the preparation and uploading of its tender, and The Secretary, Hyderabad Karnataka Region Development Board(HKRDB), Kalaburagi hereinafter referred to as "the Purchaser", will in no case be responsible or liable for these costs, regardless of the conduct or outcome of the tender process.

B. The Tender Documents

3.	Contents of Tender Documents

3.1	The goods required, tendering procedures and contract terms are prescribed in the tender documents. In addition to the Invitation for Tenders, the tender documents include:

- Instruction to Tenderers (ITT)

- General Conditions of Contract (GCC)

- Special Conditions of Contract (SCC)

- Schedule of requirements with consignee list – Section V

- Technical Specifications – Section VI

- Qualification Criteria – Section VII

- Tender Form and Price Schedules – Section VIII

- Earnest Money Deposit – Section IX

- Contract Form – Section X

- Performance Security Form – Section XI

- Performance Statement Form – Section XII

- Manufacturer’s Authorization Form – Section XIII

- Equipment and Quality Control Form – Section XIV

- Proof of Service Centre in Karnataka – Section XV

- Declaration for Performance of quoted model – Section XVI

- Document Verification Checklist – Section XVII

3.2	The Tenderer is expected to examine all instructions, forms, terms, and specifications in the tender documents. Failure to furnish all information required by the tender documents or uploading of a tender not substantially responsive to the tender documents in every respect will be at the Tenderer’s risk and may result in rejection of its tender.

4.	Clarification of Tender Documents

4.1	A prospective Tenderer requiring any clarification of the tender documents may notify the Purchaser in writing or by telex or cable or fax at the Purchaser's mailing address indicated in the Invitation for Tenders. The Purchaser will respond in writing to any request for clarification of the tender documents, which it receives no later than 15 days prior to the deadline for uploading of tenders prescribed by the Purchaser. Written copies of the Purchaser's response (including an explanation of the query but without identifying the source of inquiry) will be notified in the e-procurement portal.

5.	Amendment of Tender Documents

5.1	At any time prior to the deadline for uploading of tenders, the Purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective tenderer, modify the tender documents by amendment.

5.2	Amendments, if any as per clause 5.1 above will be notified as Addendum/Corrigendum through the e-procurement portal and office notice board and the same will be binding on all prospective Tenderers.

5.3	In order to allow prospective tenderers reasonable time in which to take the amendment into account in preparing their tenders, the Purchaser, at its discretion, may extend the deadline for the uploading of tenders.

Preparation of Tenders

6.	Language of Tender

6.1	The tender prepared by the Tenderer, as well as all correspondence and documents relating to the tender exchanged by the Tenderer and the Purchaser, shall be written in English language.  Supporting documents and printed literature furnished by the Tenderer may be in another language provided they are accompanied by an accurate translation of the relevant passages in the English language in which case, for purposes of interpretation of the Tender, the translation shall govern.

7.	Documents Constituting the Tender

7.1	The tender prepared by the Tenderer shall comprise the following components and shall be uploaded in two covers containing the documents as follows:

    - First Cover: (Technical Bid)

(a)	Earnest money deposit details in accordance with ITT Clause 13, receipt of the payment made to be uploaded.

(b)	Documentary evidence established in accordance with ITT Clause 11 that the Tenderer is eligible to tender and is qualified to perform the contract if its tender is accepted.

- Documentary evidence established in accordance with ITT Clause 12 that the equipment and ancillary services to be supplied by the Tenderer are eligible equipment and services and conform to the tender documents.

- VAT/Sales Registration Certificate with Latest commodity list.

- Sales Tax Clearance Certificate as per Annexure-I or in the valid format of the Commercial  Tax Department for Previous Financial Year issued by the concerned authorities is to be uploaded.

- Annual Turnover shall be minimum 3 times for manufacturers and 2 times for authorized dealers of   the estimated cost for the preceding three financial years i.e., 2013-14, 2014-15 & 2015-16 certified by Auditor / Chartered Accountant as per Annexure-II is to be uploaded. (IT returns will not be considered).

- Copies of Balance Sheet and Profit and Loss Account for preceding three financial years i.e., 2013-14, 2014-15 & 2015-16 duly certified by the Chartered Accountant / Auditor, is to be uploaded.

- Performance of the manufacturer - 80% performance in any one of the last three financial years to be submitted issued by Competent Authority as per Section-XII is to be uploaded.

- To be furnished and signed by the Manufacturer only, in any one of the last 3 years i.e., 2013-14, 2014-15 & 2015-16.

- Proof of 80% Performance shall be submitted in the form of Supply Order / Purchase Order / Invoice Copies. It should be uploaded along with the Performance Statement.

- Performance of 80% shall be considered for the manufactured, tested and supplied equipment similar to type, size and complexity as specified in the schedule of requirements.50% of the supplier must be in HK region & entire supplies must be to Government Departments.

- Performance of the dealer- 50% Performance in any one of the last three financial years i.e., 2013-14, 2014-15 & 2015-16 is also to be uploaded as per Section-XII-A 50% of the performance should be in HK region and entire performance shown should pertain to Government Departments or Boards & Corporations only.

- Proof of 50% Performance shall be submitted in the form of Supply Order / Purchase Order / Invoice Copies. It should be uploaded along with the Performance Statement.

- Performance of 50% shall be considered for the supplied, installed and satisfactorily commissioned equipment similar to type, size, brand and complexity as specified in the schedule of requirements.

- End user Certificate by procuring entity shall be mandatory along with the proof of supply.

- If the bidder is the sole distributor / supplier of the quoted equipment throughout the country / abroad, the performance of 80% and 50% may be considered in total (Should be supported with the manufacturer’s declaration as Sole Distributor)

- Manufacture authorization for dealership/channel partner to be enclosed in ink singed document by head office of the Manufacture certificate of manufacturer to be enclosed.

- The Certificate of incorporation signed by the Registrar of Companies (ROC) notarized is to be uploaded in case Proprietor/Partnership Firm registration of firm and VAT registration.etc notarized copy should be uploaded.

- Tender Form with an undertaking to abide by the terms and conditions of the tender in the format as per Section- VIII is to be uploaded.

- The Manufacturers Authorization Form, referred in Section-XIII, in original, and copy of manufacturing license of the authorization issuing firm are also to be uploaded. The letter of authority should be issued to only one agent irrespective of models for this particular IFT.  If it is found that letter of authority issued to more than one firm, all the bids for which the authorization is given will be considered Non responsive.

Manufacturer’s Authorization has to be considered from the Prime Manufacturer only. Second Authorization from the Importer, dealer, stockiest and any other representatives of Manufacturer shall not be considered. Prime Manufacture will only be considered based on the brochures of brand uploaded in the bid. Non enclosure of Prime Manufacturer’s authorization along with manufacturing license of the prime manufacturer will lead to disqualification, as bidder being non-responsive.

- Equipment and quality control Employed by manufacturer as per proforma given in Section- XIV;

Equipment and Quality Control employed by the Manufacturer has to be furnished and signed by the Manufacturer only and submission of the same shall be mandatory and non submission of the certificate shall be liable for rejection. (CE/FCC/KC/PSE/Telec/BIS/SAA/ISO-900/CB/Certificate issued by NTEK or equivalent.

- Attested copy of valid SSI certificate issued by Director of Industries Commerce, Government of Karnataka is to be uploaded, by SSI units of Karnataka otherwise they will not be treated as SSI units of Karnataka. Only the primary manufacturer in Karnataka is entitled for SSI Concession.

- Self declaration stating that the firm is not black listed by any Government / Quasi Government / any other organizations and will not supply refurbished equipment / items, or assembled items. This sets declaration is compulsory.

- The tenderer quoting for the equipments under import license shall produce all the above mentioned documents and also has to produce the documents as formalized as per the prevailing international norms or bilateral agreements between India and the exporting country.

If the tenderer claims as an importer, the import license shall be in the tenderer’s name only for similar goods, products or equipments.

- Documentary evidence established in accordance for Service Center in Karnataka with maintenance staff and other details to be uploaded.

The tender document shall have signature on all pages including the annexure by the authorized signatory, The documents / certificates should be under the name and address of the premises where items quoted are actually manufactured. The Documents uploaded should be clearly visible failing which such documents shall not be considered.  The documents uploaded in general documents should be named individually.

Note:  The originals of all the documents uploaded under Technical Bid shall be produced for verification within 10 (TEN) days after the opening of the Technical Bid. The manufacturing premises of all responsive bidders will be subject to physical verification if required by authorities or by an agency authorized by the Office to ascertain as to whether the bidder has the required manufacturing capacity commensurate with the bid quantity.

    - Second Cover: (Financial Bid)

7.1     Prices shall be mentioned in the e-portal system only in the Price Schedule against each goods/equipment.

7.2	The originals of all the documents uploaded as per requirement given in 7.1.1 above shall be produced for verification within ten days after the opening of First Cover failing which the tenders shall be considered as non-responsive.

7.3	In case of discrepancy between the uploaded documents and the originals, the prices uploaded in the e-portal system shall prevail.

8.	Tender Form

8.1	As the tender has been invited through e-portal system, the Tender Form (Section-VIII) shall be uploaded in Cover-A without price.

9.	Tender Prices

  - The Tenderer shall indicate on the Price Schedule in the e-portal system the unit prices and total tender prices of the equipment it proposes to supply under the Contract.  However, tenderers shall quote for the complete requirements of equipments and services specified under each equipment on a single responsibility basis, failing which such tenders will not be taken into account for evaluation and will not be considered for award.

  - Prices indicated on the Price Schedule shall be entered separately as per e-procurement portal in the following manner:

- The price of the equipment, quoted (ex-works, ex-factory, ex-showroom, ex-warehouse, or off-the-shelf, as applicable), including all duties and sales taxes charges to be paid.

a.	on components and raw material used in the manufacture or assembly of equipment quoted ex-works or ex-factory; or

b.	on the previously imported equipment of foreign origin quoted ex-showroom, ex-warehouse or off-the-shelf.

- Unit Price should be quoted separately.

- Any duties, sales and other taxes which will be payable on the equipment if this Contract is awarded;

- The price for inland transportation, insurance and other local costs incidental to delivery of the equipment to their final destination.

- The price of other incidental services listed in Clause 4 of the Special Conditions of Contract.

- Towards year wise Comprehensive Maintenance Contract, the tenderer will be required to quote through online system in the select column provided as per section VIII B. The same will be digitally signed by the contractor and encrypted using the digital key. The CMC shall be quoted only in absolute number and shall not be quoted in percentage.(Not applicable for this tender)

9.3	The  Tenderer’s separation of the price components in accordance with ITT Clause 9.2 above will be solely for the purpose of facilitating the comparison of tenders by the Purchaser and will not in any way limit the Purchaser's right to contract on any of the terms offered.

9.4	Prices quoted by the Tenderer shall be fixed during the Tenderer’s performance of the Contract and not subject to variation on any account. A tender uploaded with an adjustable price quotation will be treated as non-responsive and rejected, pursuant to ITT Clause 22.

10.	Tender Currency

10.1	Prices shall be quoted in Indian Rupees only.

11. 	Documents Establishing Tenderer's Eligibility and Qualifications

11.1	Pursuant to ITT Clause 7, the Tenderer shall furnish, as part of its tender, documents establishing the Tenderer’s eligibility to tender and its qualifications to perform the Contract if its tender is accepted

11.2	The documentary evidence of the Tenderer's qualifications to perform the Contract if its tender is accepted, shall establish to the Purchaser's satisfaction:

(a)	that, in the case of a Tenderer offering to supply equipment under the contract which the Tenderer did not manufacture or otherwise produce, the Tenderer has been duly authorized (as per authorization form in Section XIII) by the equipment' Manufacturer or producer to supply the equipment in India.

[Note:  1. Supplies for any particular item quoted in the tender should be from one manufacturer only.  Tenders from agents offering supplies from different manufacturers for the same item in the tender will be treated as non-responsive

2. The manufacturer who is authorizing particular agencies should not authorize more than one firm irrespective of Model for this IFT.  If it is found that the authorization is issued to more than one firm, all the bids for which the authorization is given will be considered Non responsive.].

(b)	That the Tenderer has the financial, technical, and production capability necessary to perform the Contract and meets the criteria outlined in the Qualification requirements specified in Section VII. To this end, all tenders uploaded shall include the following information:

(i)	The legal status, place of registration and principal place of business of the company or firm or partnership, etc.

(ii)	Details of experience and past performance of the tenderer on equipment offered and on those of similar nature within the past three years and details of current contracts in hand and other commitments (suggested proforma  given in Section XII);

12.	Documents Establishing Equipment' Eligibility and Conformity to Tender Documents

12.1	Pursuant to ITT Clause 7, the Tenderer shall furnish, as part of its tender, documents establishing the eligibility and conformity to the tender documents of all equipment and services which the tenderer proposes to supply under the contract.

12.2	The documentary evidence of conformity of the equipment and services to the tender documents may be in the form of literature, drawings and data, and shall consist of:

(a)	A detailed description of the essential technical and performance characteristics of the equipment.

(b)	A list giving full particulars, including available sources and current prices, of spare parts, special tools, etc., necessary for the proper and continuing functioning of the equipment for a period of two years, following commencement of the use of the goods by the Purchaser.

- An item-by-item commentary on the Purchaser's Technical Specifications demonstrating  substantial responsiveness of the equipment and services to those specifications or a statement of deviations and exceptions to the provisions of the Technical Specifications.

Technical Literature with model quoted and compliance statement is mandatory.

12.3	For purposes of the commentary to be furnished pursuant to ITT Clause 12.2(c) above, the Tenderer shall note that standards for workmanship, material and equipment, and references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications are intended to be descriptive only and not restrictive. The Tenderer may substitute alternative standards, brand names and/or catalogue numbers in its tender, provided that it demonstrates to the Purchaser's satisfaction that the substitutions ensure substantial equivalence to those designated in the Technical Specifications.

13.	Earnest Money Deposit (EMD)

13.1	Pursuant to ITT Clause 7, the Tenderer shall furnish, as part of its tender, earnest money deposit as specified in Section-V - Schedule of requirements.

13.2	The earnest money deposit is required to protect the Purchaser against the risk of Tenderer's conduct, which would warrant the security's forfeiture, pursuant to ITT Clause 13.7.

13.3	The Earnest Money Deposit shall be denominated in Indian Rupees and shall be paid in the e-procurement portal using the following payment modes:

- Credit Card.

- Direct Debit.

- National Electronic Funds Transfer (NEFT)

- Over the Counter (OTC).

The OTC payment facility will be available at the designated Bank and branch or any bank approved by e-Governance for making payments from the date of tender notification.

13.4	Confirmation of receipt of EMD in Government of Karnataka central pool A/C held at the Bank approved by e-procurement will be verified. If found that an acceptable EMD is not received as indicated in Clause 13.3 above the tender shall be rejected by the Purchaser as Non – responsive.

13.5	Unsuccessful Tenderer's earnest money deposit will be refunded as promptly as possible as but not later than 30 days after the expiration of the period of tender validity prescribed by the Purchaser, pursuant to ITT Clause 14.

13.6	The successful Tenderer's earnest money deposit will be refunded upon the tenderer signing the Contract, pursuant to ITT Clause 30, and furnishing the performance security, pursuant to ITT Clause 31.

13.7	The Earnest Money Deposit may be forfeited:

(a)	If a Tenderer (i) withdraws its tender during the period of tender validity specified by the Tenderer on the Tender Form; or

(b)	In case of a successful Tenderer, if the Tenderer fails:

(i)	To sign the Contract in accordance with ITT Clause 30; or

(ii)	To furnish performance security in accordance with ITT Clause 31.

Refund of EMD

The EMD money will be kept in the central pooling account until the tender is awarded to the successful bidder.

Based on the instructions of Tender Accepting Authority (TAA) the EMD amount of the unsuccessful bidders will be refunded to the respective Bank a/c’s of the Contractor registered in the e-Procurement system.

14.	Period of Validity of Tenders

14.1	Tenders shall remain valid for 180 days after the deadline for uploading of tenders prescribed by the Purchaser, pursuant to ITT Clause 17.  A tender valid for a shorter period shall be rejected by the Purchaser as non-responsive.

  - In exceptional circumstances, the Purchaser may solicit the Tenderer's consent to an extension of the period of validity.  The request and the responses thereto shall be made in writing (or by cable or telex or fax).  The earnest money deposit provided under ITT Clause 13 shall also be suitably extended.  Tenderers may refuse the request without forfeiting its earnest money deposit.  Tenderers granting the request will not be required nor permitted to modify their tender.

15.	Format and Signing of Tender

15.1	The Tenderer shall upload the tender along with all the requisite documents through e – tendering system by using user ID and digital signature on Technical and Financial Bids.

15.2	Any interlineations, erasures or overwriting shall be valid only if they are initialed by the persons or persons signing the tender.

15.3	The Tenderer shall furnish information as described in the Form of Tender on commissions or gratuities, if any, paid or to be paid to agents relating to this Tender, and to contract execution if the Tenderer is awarded the contract.

D. Submission of Tenders

16.	Sealing and Marking of Tenders / Uploading

16.1	The Tenderers shall upload the Tender through e – tendering system only. No other mode of submission is permitted.

16.2	The Tender shall:

(a)	Be addressed to the Purchaser at the following address:

Secretary, HKRDB,

Kalaburagi district Kalaburagi 585102

(b)	Bear the Project Name, the Invitation for Tenders (IFT) title and number.

16.3	In addition to the identification required in Sub Clause 16.2, the tenderer shall provide the name and address of the Tenderer to make any further correspondence.

16.4	Telex, cable or facsimile tenders will be rejected.

17.	Deadline for uploading of Tenders

17.1	Tenders must be uploaded by the Tenderers no later than the time and date specified in the Invitation for Tenders (Section I) on the e-procurement portal.

17.2	The Purchaser may, at its discretion, extend this deadline for uploading of tenders by amending the tender documents in accordance with ITT Clause 5, in which case all rights and obligations of the Purchaser and Tenderers previously subject to the deadline will thereafter be subject to the deadline as extended.

18.	Late Tenders

18.1	Tenders cannot be uploaded by the tenderers after the deadline for uploading of tenders (on the                      e –procurement portal) prescribed by the Purchaser, pursuant to ITT Clause 17.

19.	Modification and Withdrawal of Tenders

19.1	In the “My bids“ Section of the e – procurement portal, the tenderer can view the status of their bids and decrypt bid (i.e. in cases where the tenderer has chosen to encrypt the tender using his own public key) for modification or withdrawal before the due date & time for uploading.

E. Tender Opening and Evaluation of Tenders

20.	Opening of Tenders by the Purchaser

20.1	Opening of First Cover of all Tenderers and evaluation to determine qualified Tenderers by the Purchaser:

20.1.1	The Purchaser will open/unlock the First Covers of all tenderers uploaded through e-tendering system, in the presence of Tenderers’ representatives who choose to attend, as per tender schedule mentioned in page no one.

The Tenderers' representatives who are present shall produce authorization letter and shall sign a register evidencing their attendance.  In the event of the specified date of Tender opening being declared a holiday for the Purchaser, the tenders shall be opened at the appointed time and location on the next working day.

20.1.2	The purchaser will verify and confirm the receipt of EMD for all tenderers who have uploaded the tenders. The Tenderers’ names, the presence or absence of earnest money deposit (amount, format and validity) the uploading of qualification information and such other details as the Purchaser, at its discretion, may consider appropriate will be announced at the opening.

20.1.3	The Purchaser will prepare minutes of the tender opening.

20.1.4	The Purchaser will evaluate and determine whether each tender (a) meets the eligibility criteria defined in ITT Clause 1.1, 11 and 12 (b) is accompanied by the required earnest money deposit as per stipulations in ITT Clause 13 and meets the qualification criteria stipulated in Section VII. The Purchaser will draw out a list of Qualified Tenderers.

20.2	Opening of Second Cover (Financial Bid) of Qualified Tenderers:

20.2.1	The Purchaser will inform all the Technically Qualified Tenderers through e-tendering system, after decryption of their Financial bid by Tender Acceptance Authority which could be viewed automatically by the respective technically qualified tenderers. In this regard no separate intimation shall be made by the Purchaser.

21.	Clarification of Tenders

21.1	During evaluation of tenders, the Purchaser may, at its discretion, ask the Tenderer for a clarification of its tender including the breakup of unit price. The request for clarification and the response shall be in writing and no change in prices or substance of the tender shall be sought, offered or permitted.

22.	Preliminary Examination

22.1	The Purchaser will examine the tenders to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed, and whether the tenders are generally in order. Tenders from Agents, without proper authorization from the manufacturer as per Section XIII, shall be treated as non-responsive.

22.1.1	Deleted.

22.2	Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the lower of the two will prevail.  If the supplier does not accept the correction of errors, its tender will be rejected and its EMD may be forfeited.

22.3	The Purchaser may waive any minor informality or non-conformity or irregularity in a tender which does not constitute a material deviation, provided such a waiver does not prejudice or affect the relative ranking of any Tenderer.

22.4	Prior to the detailed evaluation, pursuant to ITT Clause 23, the Purchaser will determine the substantial responsiveness of each tender to the tender documents. For purposes of these Clauses, a substantially responsive tender is one which conforms to all the terms and conditions of the tender documents without material deviations. Deviations from or objections or reservations to critical provisions such as those concerning Performance Security (GCC Clause 6),  Warranty (GCC Clause 14), Force Majeure (GCC Clause 24), Limitation of liability  (GCC Clause 28), Applicable law (GCC Clause 30), and Taxes & Duties (GCC Clause 32) will be deemed to be a material deviation. The Purchaser's determination of a tender's responsiveness is to be based on the contents of the tender itself without recourse to extrinsic evidence.

22.5	If a tender is not substantially responsive, it will be rejected by the Purchaser and may not subsequently be made responsive by the Tenderer by correction of the non-conformity.

23.	Evaluation and Comparison of Tenders

23.1	Deleted.

23.2	The Purchaser's evaluation of a tender will exclude and not take into account:

(a)	Any allowance for price adjustment during the period of execution of the Contract, if provided in the tender.

23.3	The Purchaser's evaluation of a tender will take into account, in addition to the tender price (Ex-factory/ex-warehouse/off-the-shelf price of the goods offered from within India, such price to include all costs as well as duties and taxes paid or payable on components and raw material incorporated or to be incorporated in the goods, and Excise duty on the finished goods, if payable) and price of incidental services, the following factors, in the manner and to the extent indicated in ITT Clause 23.4 and in the Technical Specifications:

For overseas bids in addition to the tender price (Ex-factory/ex-warehouse/off-the-shelf price of the goods offered up to CIF/ CIP India, however taxes paid or payable on components and raw material incorporated or to be incorporated in the goods, and Excise duty on the finished goods, if payable) and price of incidental services, the following factors, in the manner and to the extent indicated in ITT Clause 23.4 and in the Technical Specifications:

(a)	Cost of inland transportation, insurance and other costs within India incidental to the delivery of the goods to their final destination;

(b)	Delivery schedule offered in the tender;

(c)	Deviations in payment schedule from that specified in the Special Conditions of Contract;

(d)	The availability in India of spare parts and after-sales services for the equipment offered in the tender;

(e)	The bidders are instructed to give demonstration at their own cost, if requested by the purchaser, failing which it will be considered as technically Non-Responsive.

23.4	Pursuant to ITT Clause 23.3, one or more of the following evaluation methods will be applied:

(a)	Inland Transportation, Insurance and Incidentals:

(i)	Inland transportation, insurance and other incidentals for delivery of equipment to the final destination as stated in ITT Clause 9.2 (iii).

The above costs will be added to the tender price.

(b)	Delivery Schedule:

(i)	The Purchaser requires that the equipment under the Invitation for Tenders shall be delivered within 60 days as specified in the Schedule of requirements.  The estimated time of arrival of the equipment at the project site should be calculated for each tender after allowing for reasonable transportation time. Treating the date as per Schedule of requirements as the base, a delivery "adjustment" will be calculated for other tenders at 2% of the ex-factory price including excise duty for each month of delay beyond the base and this will be added to the tender price for evaluation.  No credit will be given to earlier deliveries and tenders offering delivery beyond 2 months of stipulated delivery period will be treated as non-responsive.

(c) 	Deviation in Payment Schedule:

The Special Conditions of Contract stipulate the payment schedule offered by the Purchaser.  If a tender deviates from the schedule and if such deviation is considered acceptable to the Purchaser, the tender will be evaluated by calculating interest earned for any earlier payments involved in the terms outlined in the tender as compared to those stipulated in this invitation, at a rate of 14 percent per annum.

(d)	Spare Parts and After Sales Service Facilities in India:

The cost to the Purchaser of establishing the minimum service facilities and parts inventories, as outlined elsewhere in the tender documents, if quoted separately, shall be added to the tender price.

24.	Contacting the Purchaser

24.1	Subject to ITT Clause 21, no Tenderer shall contact the Purchaser on any matter relating to its tender, from the time of the tender opening to the time the Contract is awarded.  If the tenderer wishes to bring additional information to the notice of the purchaser, it should do so in writing.

24.2	Any effort by a Tenderer to influence the Purchaser in its decisions on tender evaluation, tender comparison or contract award may result in rejection of the Tenderer's tender.

F. Award of Contract

25.	Post qualification

25.1	In the absence of prequalification, the Purchaser will determine to its satisfaction whether the Tenderer that is selected as having uploaded the lowest evaluated responsive tender meets the criteria specified in ITT Clause 11.2 (b) and is qualified to perform the contract satisfactorily.

25.2	The determination will take into account the Tenderer's financial, technical and production capabilities. It will be based upon an examination of the documentary evidence of the Tenderer's qualifications uploaded by the Tenderer, pursuant to ITT Clause 11, as well as such other information as the Purchaser deems necessary and appropriate.

25.3	An affirmative determination will be a prerequisite for award of the Contract to the Tenderer. A negative determination will result in rejection of the Tenderer's tender, in which event the Purchaser will proceed to the next lowest evaluated tender to make a similar determination of that Tenderer's capabilities to perform the contract satisfactorily.

26.	Award Criteria

26.1	Subject to ITT Clause 28, the Purchaser will award the Contract to the successful Tenderer whose tender has been determined to be substantially responsive and has been determined as the lowest evaluated tender, provided further that the Tenderer is determined to be qualified to perform the Contract satisfactorily.

27.	Purchaser's right to vary Quantities as per KTPP

27.1	The Purchaser reserves the right to increase or decrease by up to 25 percent of the quantity of equipment and services originally specified in the Schedule of requirements without any change in unit price or other terms and conditions as per KTPP Act.

28.	Purchaser's Right to Accept Any Tender and to Reject Any or All Tenders

28.1	The Purchaser reserves the right to accept or reject any tender, and to annul the tendering process and reject all tenders at any time prior to contract award, without thereby incurring any liability to the affected Tenderer or Tenderers.

29.	Notification of Award

29.1	Prior to the expiration of the period of tender validity, the Purchaser will notify the successful tenderer in writing by registered letter or by cable/telex or fax, to be confirmed in writing by registered letter, that its tender has been accepted.

29.2	The notification of award will constitute the formation of the Contract.

29.3	Upon the successful Tenderer's furnishing of performance security pursuant to ITT Clause 31, the Purchaser will promptly notify the name of the winning Tenderer to each unsuccessful Tenderer and will discharge its earnest money deposit, pursuant to ITT Clause 13.

29.4	If, after notification of award, a Tenderer wish to ascertain the grounds on which it’s tender was not selected, it should address its request to the Purchaser.  The Purchaser will promptly respond in writing to the unsuccessful Tenderer.

30.	Signing of Contract

30.1	At the same time as the Purchaser notifies the successful tenderer that its tender has been accepted, the Purchaser will send the Tenderer the Contract Form provided in the tender documents, incorporating all agreements between the parties.

30.2	Within 10 days of receipt of the Contract Form, the successful Tenderer shall sign the Contract and return it to the Purchaser.

31.	Performance Security

31.1	Within 10 days of the receipt of notification of award from the Purchaser, the successful Tenderer shall furnish the performance security in accordance with the Conditions of Contract, in the Performance Security Form provided in the tender documents or in another form acceptable to the Purchaser.

31.2	Failure of the successful Tenderer to comply with the requirement of ITT Clause 30.2 or ITT Clause 31.1 shall constitute sufficient grounds for the annulment of the award and forfeiture of the earnest money deposit, in which event the Purchaser may make the award to the next lowest evaluated Tenderer or call for new tenders.

32	Corrupt or Fraudulent Practices

32.1	The Government requires that Tenderers/ Suppliers/ Contractors observe the highest standard of ethics during the procurement and execution of Government financed contracts.  In pursuance of this policy, the Government:

(a)	Defines, for the purposes of this provision, the terms set forth as follows:

(i) 	“corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

(ii)	“fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Government, and includes collusive practice among Tenderers (prior to or after tender uploading) designed to establish tender prices at artificial non-competitive levels and to deprive the Government of the benefits of free and open competition;

(b)	will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

(c)	will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a Government financed  contract if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a Government-financed contract.

32.2	Furthermore, Tenderers shall be aware of the provision stated in sub-clause 4.4 and sub-clause 23.1 of the General Conditions of Contract.

33. Place of Installation and delivery

33.1 The Instruments/Equipments are to be delivered to the places as per section V. of Tender Booklet

SECTION-III: GENERAL CONDITIONS OF CONTRACT

TABLE OF CLAUSES

Clause

Number		Topic

  - Definitions

  - Application

  - Standards

  - Use of Contract Documents and Information; Inspection and Audit by Government

  - Patent Rights

  - Performance Security

  - Inspection and Tests

  - Packing

  - Delivery and Documents

  - Insurance

  - Transportation

  - Incidental Services

  - Spare Parts

  - Warranty

  - Payment

  - Prices

  - Change Orders

  - Contract Amendments

  - Assignment

  - Subcontracts

  - Delays in Supplier's Performance

  - Liquidated Damages

  - Termination for Default

  - Force Majeure

  - Termination for Insolvency

  - Termination for Convenience

  - Settlement of Disputes

  - Limitation of Liability

  - Governing Language

  - Applicable Law

  - Notices

  - Taxes and Duties

# SECTION III – GENERAL CONDITIONS OF CONTRACT

# General Conditions of Contract

1.	Definitions

1.1	In this Contract, the following terms shall be interpreted as indicated:

(a)	"The Contract" means the agreement entered into between the Purchaser and the Supplier, as recorded in the Contract Form signed by the parties, including all the attachments and appendices thereto and all documents incorporated by reference therein;

(b)	"The Contract Price" means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations;

(c)	"The Goods" means all the equipment, machinery, and/or other materials which the Supplier is required to supply to the Purchaser under the Contract;

(d)	"Services" means services ancillary to the supply of the Goods, such as transportation and insurance, and any other incidental services, such as installation, commissioning, provision of technical assistance, training and other obligations of the Supplier covered under the Contract;

(e)	“GCC” mean the General Conditions of Contract contained in this section.

(f)	“SCC” means the Special Conditions of Contract.

(g)	“The Purchaser” means the organization purchasing the Goods, as named in SCC.

(h)	“The Purchaser’s country” is the country named in SCC.

(i)	“The Supplier” means the individual or firm supplying the Goods and Services under this Contract.

(j)	“The Government” means the Government of Karnataka State.

(k)	“The Project Site”, where applicable, means the place or places named in SCC.

(l)	“Day” means calendar day.

2. 	Application

2.1	These General Conditions shall apply to the extent that they are not superseded by provisions in other parts of the Contract.

3.	Standards

3.1	The Goods supplied under this Contract shall conform to the standards mentioned in the Technical Specifications, and, when no applicable standard is mentioned, to the authoritative standard appropriate to the Goods' country of origin and such standards shall be the latest issued by the concerned institution.

4.	Use of Contract Documents and Information; Inspection and Audit by the Government

4.1	The Supplier shall not, without the Purchaser's prior written consent, disclose the Contract, or any provision thereof, or any specification, plan, drawing, pattern, sample or information furnished by or on behalf of the Purchaser in connection therewith, to any person other than a person employed by the Supplier in performance of the Contract.  Disclosure to any such employed person shall be made in confidence and shall extend only as far as may be necessary for purposes of such performance.

4.2	The Supplier shall not, without the Purchaser's prior written consent, make use of any document or information enumerated in GCC Clause 4.1 except for purposes of performing the Contract.

4.3	Any document, other than the Contract itself, enumerated in GCC Clause 4.1 shall remain the property of the Purchaser and shall be returned (in all copies) to the Purchaser on completion of the Supplier's performance under the Contract if so required by the Purchaser.

4.4	The supplier shall permit the Government to inspect the Supplier’s accounts and records relating to the performance of the Supplier and to have them audited by auditors appointed by the Government, if so required by the Government.

5.	Patent Rights

5.1	The Supplier shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof in India.

6.	Performance Security

6.1	Within 10 days of receipt of the notification of contract award, the Supplier shall furnish Performance Security to the Purchaser for an amount of 5% of the Contract Value, valid up to 60 days after the date of completion of performance obligations including Warranty obligations. In the event of any correction of defects or replacement of defective material during the Warranty period, the Warranty for the corrected/replaced material shall be extended to a further period of 12 months and the Performance Guarantee for proportionate value shall be extended 60 days over and above the initial Warranty period.

6.2	The proceeds of the performance security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier's failure to complete its obligations under the Contract.

6.3	The Performance Security shall be denominated in Indian Rupees and shall be in the following form:

- A cashier's check or Banker’s certified check, or crossed demand draft or pay order drawn in favour  of the Purchaser.; or in the form of irrevocable bank guarantee.

  - The Performance Security will be discharged by the Purchaser and returned to the Supplier not later than 60 days following the date of completion of the Supplier's performance obligations, including any Warranty obligations, under the Contract.

  - In the event of any contract amendment, the Supplier shall, within 20 days of receipt of such amendment, furnish the amendment to the Performance Security, rendering the same valid for the duration of the Contract as amended for 60 days after the completion of performance obligations including Warranty obligations.

7.	Inspections and Tests

  - The Purchaser or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract specifications at no extra cost to the Purchaser. SCC and the Technical Specifications shall specify what inspections and tests the Purchaser requires and where they are to be conducted.  The Purchaser shall notify the Supplier in writing in a timely manner of the identity of any representatives retained for these purposes.

7.2	The inspections and tests may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery and/or at the Goods final destination. If conducted on the premises of the Supplier or its subcontractor(s), all reasonable facilities and assistance, including access to drawings and production data - shall be furnished to the inspectors at no charge to the Purchaser.

7.3	Should any inspected or tested Goods fail to conform to the specifications, the Purchaser may reject the goods and the Supplier shall either replace the rejected Goods or make alterations necessary to meet specification requirements free of cost to the Purchaser.

7.4	The Purchaser's right to inspect, test and, where necessary, reject the Goods after the Goods' arrival at Project Site shall in no way be limited or waived by reason of the Goods having previously been inspected, tested and passed by the Purchaser or its representative prior to the Goods shipment.

7.5	Nothing in GCC Clause 7 shall in any way release the Supplier from any warranty or other obligations under this Contract.

7.6   Supplier / manufacturer must meet all the technical specifications and produce the test Certificates if requested in scheduled requirements “technical specifications”.  The bidders are instructed to give demonstration at their own cost, if requested by the purchaser, failing which  it  will be considered as Technically Non-Responsive.

7.7	Manuals and Drawings

7.7.1	Before the goods and equipment are taken over by the Purchaser, the Supplier shall supply operation and maintenance manuals, circuit diagrams together with equipment. These shall be in such detail as will enable the Purchaser to operate, maintain, adjust and repair all parts of the equipment as stated in the specifications.

7.7.2	The manuals and drawings shall be in the ruling language (English) and in such form and numbers as stated in the contract.

7.7.3	Unless and otherwise agreed, the goods and equipment shall not be considered to be completed for the purpose of taking over until such manuals and drawings have been supplied to the Purchaser.

7.8	Acceptance certificates;

7.8.1	On successful completion of acceptability test, receipt of deliverables and after the Purchaser is satisfied with the working of the equipment, the acceptance certificate signed by the supplier and the representative of purchaser will be issued. The date on which such certificate is signed shall be deemed to be the date of successful commissioning of the equipment.

8.	Packing

8.1	The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the Contract.  The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage.  Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods' final destination and the absence of heavy handling facilities at all points in transit.

  - The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be provided for in the Contract including additional requirements, if any, specified in SCC and in any subsequent instructions ordered by the Purchaser.

  - Packing Instructions: The Supplier will be required to make separate packages for each Consignee. Each Package will be marked on three sides with proper paint/indelible ink the following:

i) Project. ii) Contract No. iii) Suppliers Name and iv) Packing List Reference number.

9.	Delivery and Documents:

9.1	Delivery of the Goods shall be made within 60 days by the Supplier in accordance with the terms specified by the Purchaser in the Notification of Award.  The details of shipping and/or other documents to be furnished by the supplier are specified in SCC. The goods should be delivered, installed, demonstrated and get the working satisfactory certificate from the end users and the same shall be submitted to this office.

10.	Insurance

10.1	The Goods supplied under the Contract shall be fully insured in Indian Rupees against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery. For delivery of goods at site, the insurance shall be obtained by the Supplier in an amount equal to 110% of the value of the goods from “warehouse to warehouse” (final destinations) on “All Risks” basis including War risks and Strikes.

11.	Transportation

11.1	Where the Supplier is required under the Contract to transport the Goods to a specified place of destination within India defined as Project site, transport to such place of destination in India including insurance, as shall be specified in the Contract, shall be arranged by the Supplier, and the related cost shall be included in the Contract Price.

12.	Incidental Services

12.1	The supplier shall be required to provide any or all of the following services, including additional services, if any, specified in SCC:

(a)	Performance or supervision of the on-site assembly and/or start-up of the supplied Goods;

(b)	Furnishing of tools required for assembly and/or maintenance of the supplied Goods;

(c)	Furnishing of detailed operations and maintenance manual for each appropriate unit of supplied Goods;

(d)	Performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and

(e)	Training of the Purchaser's personnel, at the Supplier's plant and/or on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

12.2	Prices charged by the Supplier for incidental services, if not included in the Contract Price for the Goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services.

13.	Spare Parts & Consumables

13.1	As specified in the SCC, the Supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier:

(a)	such spare parts as the Purchaser may elect to purchase from the Supplier, providing that this election shall not relieve the Supplier of any warranty obligations under the Contract; and

(b)	In the event of termination of production of the spare parts:

(i)	Advance notification to the Purchaser of the pending termination, in sufficient time to permit the Purchaser to procure needed requirements; and

(ii)		Following such termination, furnishing at no cost to the Purchaser, the blueprints, drawings and specifications of the spare parts, if requested.

  - The Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spares for the Goods, such as gaskets, plugs, washers, belts etc. Other spare parts and components shall be supplied as promptly as possible but in any case within 3 months of placement of order.

14.	Warranty

14.1	The Supplier warrants that the Goods supplied under this Contract are new, unused, and materials unless provided otherwise in the Contract. The Supplier further warrants that all Goods supplied under this Contract shall have no defect arising from design, materials or workmanship (except when the design and/or material is required by the Purchaser's Specifications) or from any act or omission of the Supplier, that may develop under normal use of the supplied Goods in the conditions prevailing in the country of final destination.

14.2  	This warranty shall remain valid for 24 months after the Goods or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the Contract,The Supplier shall, in addition, comply with the performance and/or consumption guarantees specified under the Contract. If for reasons attributable to the Supplier, these guarantees are not attained in whole or in part, the Supplier shall at its discretion either:

(a) Make such changes, modifications, and/or additions to the Goods or any part thereof as may be necessary in order to attain the contractual guarantees specified in the Contract at its own cost and expense and to carry out further performance tests in accordance with SCC clause 4; OR

(b) Pay liquidated damages to the Purchaser with respect to the failure to meet the contractual guarantees. The rate of these liquidated damages shall be as specified in the Technical Specifications.

  - The Purchaser shall promptly notify the Supplier in writing of any claims arising under this

warranty.

14.4   Upon receipt of such notice, the Supplier shall, within the period of 7 days (excluding journey period) and with all reasonable speed, repair or replace the defective Goods or parts thereof, free of cost at the ultimate destination. The Supplier shall take over the replaced parts/goods at the time of their replacement. No claim whatsoever shall lie on the Purchaser for the replaced parts/goods thereafter. In the event of any correction of defects or replacement of defective material during the Warranty period, the Warranty for the corrected or replaced material shall be extended to a further period of 12 months.

14.5 	If the Supplier, having been notified, fails to remedy the major fault within 7 days, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier's risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

14.6 	The Supplier shall guarantee a 90% uptime of equipments.

14.7 	If any equipment gives continuous trouble, say six times in a month during the Warranty period, the Supplier shall replace the system(s) with new system(s) without any additional cost to the Purchaser.

15.	Payment

15.1	The method and conditions of payment to be made to the Supplier under this Contract shall be specified in the SCC.

15.2	The Supplier's request(s) for payment shall be made to the Purchaser in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and the Services performed, and by documents, uploaded pursuant to GCC Clause 9, and upon fulfillment of other obligations stipulated in the contract.

15.3	Payments shall be made promptly by the Purchaser but in no case later than sixty (60) days after submission of the invoice or claim by the Local (Indian) Supplier.

15.4	The payment will be made in Indian rupees against submission of acknowledgements, installation report and stock certificates from the respective consignees.

16.	Prices

16.1	Prices payable to the supplier as stated in the contract shall be firm during the performance of the contract. No escalation is entertained on any of the items supplied under this contreact.

17.	Change Orders

17.1	The Purchaser may at any time, by written order given to the Supplier pursuant to GCC Clause 31, make changes within the general scope of the Contract in any one or more of the following:

(a)	Drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser;

(b)	The method of shipping or packing;

(c)	The place of delivery; and/or

(d)	The Services to be provided by the Supplier.

17.2	If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier's performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or delivery schedule, or both, and the Contract shall accordingly be amended.  Any claims by the Supplier for adjustment under this clause must be asserted within thirty (30) days from the date of the Supplier's receipt of the Purchaser's change order.

18.	Contract Amendments

18.1	Subject to GCC Clause 17, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties.

19.	Assignment

19.1	The Supplier shall not assign, in whole or in part, its obligations to perform under the Contract, except with the Purchaser's prior written consent.

20.	Subcontracts

20.1	The Supplier shall notify the Purchaser in writing of all subcontracts awarded under this Contract if not already specified in the tender. Such notification, in his original tender or later, shall not relieve the Supplier from any liability or obligation under the Contract. Sub-contracts shall be only for bought out items and sub-assemblies.

20.2	Subcontracts must comply with the provisions of GCC Clause 2.

21.	Delays in the Supplier's Performance

21.1	Delivery of the Goods and performance of the Services shall be made by the Supplier in accordance with the time schedule specified by the Purchaser in the Schedule of requirements.

21.2	If at any time during performance of the Contract, the Supplier or its sub-contractor(s) should encounter conditions impeding timely delivery of the Goods and performance of Services, the Supplier shall promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s).  As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may, at its discretion, extend the Supplier’s time for performance with or without liquidated damages, in which case the extension shall be ratified by the parties by amendment of the Contract.

21.3	Except as provided under GCC Clause 24, a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 22, unless an extension of time is agreed upon pursuant to GCC Clause 21.2 without the application of liquidated damages.

22.	Liquidated Damages

22.1	Subject to GCC Clause 24, if the Supplier fails to deliver any or all of the Goods or to perform the Services within the period(s) specified in the Contract, the Purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to 0.5% of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery (if delay is exceed more than 7 days it will be considered as 2 weeks for calculation of penalty) or performance, up to a maximum deduction of 10% of the Contract Price. Once the maximum is reached, the Purchaser may consider termination of the Contract pursuant to GCC Clause 23.

23.	Termination for Default

23.1	The Purchaser shall, without prejudice to any other remedy for breach of contract, by written notice of default sent to the Supplier, terminate the Contract in whole or part:

(a)	If the Supplier fails to deliver any or all of the Goods within the period(s) specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause 21; or

(b)	If the Supplier fails to perform any other obligation(s) under the Contract.

(c)	If the Supplier, in the judgement of the Purchaser has engaged in corrupt or fraudulent practices in competing for or in executing the Contract.

For the purpose of this Clause:

“Corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.

“fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Borrower, and includes collusive practice among Bidders (prior to or after bid uploading) designed to establish bid prices at artificial non-competitive levels and to deprive the Borrower of the benefits of free and open competition.

23.2	In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Clause 23.1, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods or Services.  However, the Supplier shall continue the performance of the Contract to the extent not terminated.

24.	Force Majeure

24.1	Notwithstanding the provisions of GCC Clauses 21, 22, 23, the Supplier shall not be liable for forfeiture of its performance security, liquidated damages or termination for default, if and to the extent that, its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

24.2	For purposes of this Clause, "Force Majeure" means an event beyond the control of the Supplier and not involving the Supplier's fault or negligence and not foreseeable.  Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

24.3	If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

25.	Termination for Insolvency

25.1	The Purchaser shall at any time terminate the Contract by giving written notice to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser.

26.	Termination for Convenience

26.1	The Purchaser, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser's convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

26.2	The Goods that are complete and ready for shipment within 30 days after the Supplier's receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:

(a)	To have any portion completed and delivered at the Contract terms and prices; and/or

(b)	To cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and for materials and parts previously procured by the Supplier.

27.	Settlement of Disputes

27.1	The Purchaser and the supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

27.2	If, after thirty (30) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Purchaser or the Supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given.

27.2.1	Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the Goods under the Contract.

27.2.2	Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in the SCC.

All legal claims shall be at Purchaser’s Jurisdiction only.

27.3 	Notwithstanding any reference to arbitration herein:

(a)	The parties shall continue to perform their respective obligations under the Contract unless they otherwise agree; and

(b)	The Purchaser shall pay the Supplier any monies due to the Supplier.

28.	Limitation of Liability

28.1	Except in cases of criminal negligence or willful misconduct, and in the case of infringement pursuant to Clause 5,

(a)	the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser; and

(b)	The aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment.

29.	Governing Language

29.1	The contract shall be written in English language. Subject to GCC Clause 30, English language version of the Contract shall govern its interpretation. All correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in the same language.

30.	Applicable Law

30.1	The Contract shall be interpreted in accordance with the laws of the Union of India.

31.	Notices

31.1	Any notice given by one party to the other pursuant to this Contract shall be sent to other party in writing or by cable, telex or facsimile and confirmed in writing to the other Party’s address specified in SCC.

31.2	A notice shall be effective when delivered or on the notice's effective date, whichever is later.

32.	Taxes and Duties

32.2	Manufacturer/ suppliers shall be entirely responsible for all taxes, duties, license fees, octroi, road permits, etc., incurred until delivery of the contracted Goods to the Purchaser.

SECTION - IV: SPECIAL CONDITIONS OF CONTRACT

TABLE OF CLAUSES

Item No.	Topic

1.	   	Definitions (GCC Clause 1)

2.	   	Inspection and Tests (GCC Clause 7)

3.	   	Delivery and Documents (GCC Clause 9)

4.	   	Incidental Services (GCC Clause 12)

5.	   	Payment (GCC Clause 15)

6.	   	Settlement of Disputes (GCC Clause 27)

7.	   	Notices (GCC Clause 31)

8.		Progress of Supply

9.		Right to use defective equipment

10	Supplier Integrity

11	Supplier’s Obligation

12                 	Patent Rights

# Section: IV-  Special Conditions of Contract

The following Special Conditions of Contract shall supplement the General Conditions of Contract. Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract. The corresponding clause number of the General Conditions is indicated in parentheses.

1. Definitions (GCC Clause 1).

a) The Purchaser is Secretary, HKRDB, Kalaburagi.

b) The Supplier is individual or firm supplying .Goods/equipment and Services under this

contract.

2. Inspection and Tests (GCC Clause 7).

The following inspection procedures and tests are required by the Purchaser:

a)Demonstration of the equipment at Manufacturing unit or wherever the tenderer intends to show in working condition or as the place decided by the concerned Executive Engineer, Quality Control Divisions of H.K. Region Kalaburagi under HKRDB Administration Grants 2014-15”.

b) Inspection and certification of goods/equipments by the Project Management Consultants appointed by the Hyderabad Karnataka Region Development Board (HKRDB), Kalaburagi for Macro Projects.

3. Delivery and Documents (GCC Clause 9) Upon delivery of the Goods, the supplier shall notify the purchaser and the insurance company by cable/telex/fax the full details of the shipment including contract number, railway receipt number and date, description of goods, quantity, name of the consignee etc. The supplier shall submit the following documents to the purchaser with a copy to the insurance company:

(i) Four Copies of the Supplier invoice showing contract number, goods' description, quantity, unit price, total amount along with acknowledgement and stock certificate from the respective consignees.

(ii) Railway receipt/acknowledgment of receipt of goods from the consignee(s).

(iii) Four Copies of packing list identifying the contents of each package.

(iv) Insurance Certificate

(v) Manufacturer's/Supplier's warranty certificate.

(vi) Inspection Certificate issued by the nominated inspection agency, end user and the Supplier's factory inspection report, and

(vii) Copy of Bill of entry or Bill of landing with necessary custom clearance documents for imported equipments.

The above documents shall be received by the Purchaser before arrival of the Goods (except where the Goods have been delivered directly to the Consignee with all documents) and, if not received, the Supplier will be responsible for any consequent expenses.

4.	Incidental Services (GCC Clause 12)

The following services shall be furnished and the cost shall be included in the contract price:

(a) Unloading, safe storage and handling of the consignment at site.

(b) Performance of the on-site assembly, commissioning and start-up of the equipment.

(c)  Furnishing the detailed operation and maintenance manuals for each items of supply at

each location.

(d) Training of the Purchaser’s personnel at the installation site.

(e) Maintenance and repair of the equipment at each location during the warranty period of three years including supply of all spares. This shall not relieve the supplier of any warranty obligations under this contract.

(f) Warranty services includes both preventive and emergency breakdown service call.

i) Preventive Maintenance Services call: It include cleaning, inspection, lubrication, repairs and any other service as required by the consignee/hospital/institution authority to achieve the following objective.

- To minimize break down of equipment;

- To identify the condition of parts which may lead to break down of equipment?

- To repair/rectify such part at initial stage only to avoid major break down of equipment.

- To provide greater safety to the technician.

- Number of visits per year: six, once in two months.

- Emergency Maintenance Service call:

Number of visits: As and when break down calls received from time to time. The service is to be conducted within 7 days (excluding journey time) after receiving the call. After inspection of the fault, if it is minor in nature (means that the equipment is working but needs some minor repairs), the equipment has to be repaired with available spare parts /to be attended in a period of minimum 3 days. If the fault is major (means the equipment is not working as per requirement and needs some major repairs requiring bringing in spare parts) has to be attended with in a period of maximum 7 days.

5.	Payment (GCC Clause 15)

On Delivery: Seventy Five percent of the contract price shall be paid on receipt of Goods and upon submission of the documents specified in SCC Clause 3 above; and shall be paid to the supplier within 30 days.

On Final Acceptance: the remaining twenty five percent of the Contract Price shall be paid to the supplier within 45 days after successful installation and commissioning of the machine and upon submission of the stock certificates from the respective consignees as specified in SCC Clause 3.

6.	Settlement of Disputes (Clause 27)

The dispute settlement mechanism to be applied pursuant to GCC Clause 27.2.2 shall be as follows:

(a)	In case of Dispute or difference arising between the Purchaser and a domestic supplier relating to any matter arising out of or connected with this agreement, such disputes or difference shall be settled in accordance with the Arbitration and Conciliation Act, 1996, by a Sole Arbitrator. The Sole Arbitrator shall be appointed by agreement between the parties; failing such agreement, by the appointing authority namely the President of the Institution of Engineers (India). A certified copy of the appointment Order shall be supplied to each of the Parties.

- Arbitration proceedings shall be held at Kalaburagi Karnataka, and the language of the arbitration proceedings and that of all documents and communications between the parties shall be English.

(c)	The decision of the arbitrators shall be final and binding upon both parties.  The cost and expenses of Arbitration proceedings will be paid as determined by the Arbitrator.  However, the expenses incurred by each party in connection with the preparation, presentation etc. of its proceedings shall be borne by each party itself.

7 .	Notices (Clause 31)

For the purpose of all notices, the following shall be the address of the Purchaser and Supplier.

Purchaser: 	The Secretary, Hyderabad Karnataka Region Development Board, Opp. Aiwan-E-Shahi Guest House, Kalaburagi-585102.

Supplier:  (To be filled in at the time of Contract signature)

.............................................

.............................................

.............................................

8.	Progress of Supply:

Supplier shall regularly intimate progress of supply, in writing, to the Purchaser as under:

-	Quantity offered for inspection and date;

-	Quantity accepted/rejected by inspecting agency and date;

-	Quantity dispatched/delivered to consignees and date;

-	Quantity where incidental services have been satisfactorily completed with date;

-	Quantity where rectification/repair/replacement effected/completed on receipt of any communication from consignee/Purchaser with date;

-	Date of completion of entire Contract including incidental services, if any; and

-	Date of receipt of entire payments under the Contract

(In case of stage-wise inspection, details required may also be specified).

9.	Right to use defective equipment:

If after delivery, acceptance and installation and within the guarantee and warranty period, the operation or use of the equipment proves to be unsatisfactory, the Purchaser shall have the right to continue to operate or use such equipment until rectifications of defects, errors or omissions by repair or by partial or complete replacement is made without interfering with the Purchaser’s operation.

10.	Supplier Integrity:

The supplier is responsible for and obliged to conduct all contracted activities in accordance with the Contract using state-of-the-art methods and economic principles and exercising all means available to achieve the performance specified in the Contract.

11.	Supplier’s Obligations:

The Supplier is obliged to work closely with the Purchaser’s staff, act within its own authority and abide by directives issued by the Purchaser and implementation activities.

The Supplier will abide by the job safety measures prevalent in India and will free the Purchaser from all demands or responsibilities arising from accidents or loss of life the cause of which is the Supplier’s negligence. The Supplier will pay all indemnities arising from such incidents and will not hold the Purchaser responsible or obligated.

The Supplier is responsible for managing the activities of its personnel or sub-contracted personnel and will hold itself responsible for any misdemeanors.

The Supplier will treat as confidential all data and information about the Purchaser, obtained in the execution of his responsibilities, in strict confidence and will not reveal such information to any other party without the prior written approval of the Purchaser.

12.	Patent Rights:

In the event of any claim asserted by a third party of infringement of copyright, patent, trademark or industrial design rights arising from the use of the Goods or any part thereof in the Purchaser’s country, the supplier shall act expeditiously to extinguish such claim.  If the supplier fails to comply and the Purchaser is required to pay compensation to a third party resulting from such infringement, the supplier shall be responsible for the compensation including all expenses, court costs and lawyer fees.  The Purchaser will give notice to the supplier of such claim, if it is made, without delay.

SECTION V: SCHEDULE OF REQUIREMENTS & SUPPLY LOCATIONS

Schedule of Tender: “PROCUREMENT OF MEDICAL EQUIPMENTS/FURNITURES  REQUIRED FOR TALUKA HOSPITAL SEDAM OF KALABURAGI DISTRICT  UNDER HKRDB KALABURAGI MACRO PROJECT FOR THE YEAR   2017-18”

| Sl. No. | Name of Instruments | Taluka Hospital Sedam Dist:Kalaburagi | EMD |
| --- | --- | --- | --- |
| 1 | Central Oxygen Causality, OT, Post Operative ward, Delivery room SNCU Room | 1 | 17500 |
| 2 | Oxygen Concentration Machine | 8 | 10000 |
| 3 | C-Arm (Orthopedic) | 1 | 25000 |
| 4 | Ultrasound Machine | 1 | 8750 |
| 5 | AC 1.5 ton | 10 | 10000 |
| 6 | Intercom Phones & EPABX System | 24 | 6000 |
| 7 | ECG Machine | 1 | 1875 |
| 8 | Suction Apparatus | 8 | 6000 |
| 9 | Infant Radiant Warmer | 3 | 2625 |
| 10 | Baby Open Care system with Photo Therapy & Warmer | 1 | 1625 |
| 11 | Urine Analyzer | 1 | 1875 |
| 12 | Hematological Analyzer | 1 | 1875 |
| 13 | Fumigator | 2 | 2000 |
| 14 | Centrifuge Machine | 1 | 2750 |
| 15 | Fetal Doppler | 3 | 600 |
| 16 | Patient Cots with rubberized matress and pillow | 100 | 25000 |
| 17 | Office Almarah | 5 | 1125 |
| 18 | Wheel Chair | 6 | 1800 |
| 19 | Strecher Trolley Removable Top | 6 | 1200 |
| 20 | Office Chairs | 5 | 688 |
| 21 | Office Table | 5 | 750 |
| 22 | Nebulizer | 5 | 938 |
| 23 | Pulse Oximeter Multimode (ECG;SPO2;Pulse;BP) | 6 | 8250 |
| 24 | Foot Rest | 15 | 282 |
| 25 | Bedside Locker | 100 | 3750 |
|  | ENT Instruments |  |  |
| 26 | Bull's lamp | 1 | 125 |
| 27 | Head Mirror | 2 | 25 |
| 28 | Tongue Depressor | 2 | 25 |
| 29 | Aural Speculum | 4 | 50 |
| 30 | Nobal Speculum | 2 | 25 |
| 31 | IDL Mirror | 1 | 13 |
| 32 | Postnobal Mirror | 1 | 13 |
| 33 | Telly's Forceps | 2 | 25 |
| 34 | Tonsillectomy Set | 2 | 3750 |
|  | X-ray Instruments |  |  |
| 35 | Automatic Film Processing | 1 | 2500 |
| 36 | Lead Screen 7-feet height 4-feet width | 2 | 750 |
|  | Blood Storage Unit |  |  |
| 37 | Blood Tube Sealer | 1 | 500 |
|  | Ophthalmic Instruments |  |  |
| 38 | Streak Retinoscope | 1 | 875 |
| 39 | LED Chart | 1 | 1875 |
| 40 | Opthalmic Trial set | 1 | 375 |
| 41 | Ophthalmic Chair Unit | 1 | 3125 |
| 42 | Reading drum | 1 | 625 |
| 43 | Keratometer | 1 | 1000 |
|  | OT |  |  |
| 44 | OT Table | 2 | 8250 |
| 45 | OT Ceiling lamps | 2 | 6250 |
|  | Labor Room |  |  |
| 46 | Labor Table Hydraulic | 2 | 8250 |
| 47 | LED Light Labour | 4 | 5500 |

General Note:

- The quantities may increase / decrease at the time of issue of supply order.

- Delivery Schedule:  Supply and commissioning at the site within 60 days of the issue of Supply Order.

Special Note:

1) The above product should confirm to applicable ISI Standards in respect of materials, welding process, tests and performance.

2) The above items must confirm to the relevant quality and safety standards such as IEC 601 – 1 and BS 5724 and the Indian equivalent.

3) Manufacturers should have ISO Certification.

4) Service Centre should also be in HK Region of Karnataka.

5) Two Years Warranty after installation.

6) 50% of the experience should be in H.K Region.

7) Uploading of irrelevant & unnecessary documents is liable to be rejected.

8) Chinese products will not be accepted.

9) Repeated uploading of same document may lead to rejection of Tender Bid.

SECTION VI - TECHNICAL SPECIFICATIONS

- N2O and O2 Gas Pipeline for Causality, OT, Post Operative ward, Delivery room & SNCU Room

| Sl. No. | Specification | Quantity |
| --- | --- | --- |
| 1 | Oxygen Manifold: Main 10+10 Cylinder Oxygen Manifold be suitable to withstand a pressure of 140 Kg/Cm2 and above along with high pressure copper annealed tail pipes with end Brass adapter suitable for Oxygen Cylinders and manifold. Top frame comprising of high pressure copper pipes of size 12mm I.D x 1.5mm wall thick, with high pressure brass fittings made of high tensile brass and connections through non-return values; high pressure copper tail pipes, made of high pressure copper pipe of size 7mm I.D x 1.5mm wall thick. The design of middle and bottom frames should be provided to fit both round and flat bottom cylinders safely. The manifold should be tested (hydraulically) at 3500 pig. | 01 SET |
| 2 | Fully Automatic Oxygen Control Panel: The fully automatic control panel should be the following features: Will be enclosed in a metal cabinet with a hinged cover. The side covers of the panel should be made of fiberglass. Panel cover should be fitted with a lock to prevent unauthorized access can be swung open for maintenance. Should be Fully Automatic Changeover operation and no manual action The service gas should pneumatically operate gas change over system. Delivery of gas through control panel should not be dependent on electricity. Should be capable of delivering very high flow rate not less than 1300 litrs per minute at delivery pressure. Should have Visual indication of the State of the manifold by 3 gauges within the control panel, which wl be clearly visible through the transparent cover. Should have Audio – visual alarm indication for changeover of empty cylinder bank to filled cylinder bank. Built in transformer to ensure safe operation by low voltage. | 01 SET |
| 3 | Oxygen Manifold: Emergency 2 Cylinder Oxygen Manifold should be suitable be withstand a pressure of 140 Kg/Cm2and above,along with high pressure copper annealed tail pipes with end Brass adapter suitable for Oxygen Cylinders and manifold. Top frame comprising of high pressure copper pipes of size 12mmI.D x 1.5mm wall thick, with high pressure brass fittings made of high tensile brass and connections through non-return values; high pressure copper tail pipes, made of high pressure copper pipe of size 7mm I.D x 1.5mm wall thick and a single state high pressure high flow regulator connected to a high pressure brass block. The design of middle and bottom frames should be provided to fit both round and flat bottom cylinders safely. The manifold should be tested (hydraulically) at 3500 psig and necessary test certificates should accompany along with the supply. Manifold should have in built Siren System. | 01 SET |
| 4 | Nitrous Oxide Manifold: Main 02+02 Cylinder Nitrous Oxide Manifold should be suitable to withstand a pressure of 140 Kg/Cm2and above along with high pressure copper annealed tail pipes with end Brass adapter suitable for nitrous oxide Cylinders and manifold. Top frame comprising of high pressure copper pipes of size 12mm I.D x 1.5mm wall thick, with high pressure brass fittings made of high tensile brass and connections through non-return values; high pressure copper tail pipes, made of high pressure copper pipe of size 7mm I.D x 1.5mm wall thick. The design of middle and bottom frames should be provided to fit both round and flat bottom cylinders safely. The manifold should be tested (hydraulically) at 3500 pig. | 01 SET |
| 5 | Semi Automatic control panel for Nitrous Oxide. Semi automatic control panels are should be highly test designed for various control functions required during supply of oxygen through the manifold unit. Should be Enclosed in a metal cabinet. This semi automatic control panel should be highly efficient in triggering the signal for the Reserve system to go operational in case primary and secondary system fails in emergency. This panel is normally connected in a permanent mode and change over is semi automatic. The Semi automatic control should have bellow features:- Control panel cover made of M.S. duly powder coated. Easy maintenance. Highly reliable. Designed for safety and continuity of flow supplyat a constant pressure. Pressure gauge facility to indicate the gas pressure of each header and pipe line distribution pressure. Capable to provide a distribution flow rate in excess of 1500LPM.Incorporation of safety puncture in case pressure exceeds 100Psi. | 01 SET |
| 6 | Nitrous Oxide manifold: Emergency. An Emergency nitrous oxide manifold will be consisting of 2clyinder manifold with heavy duty regulator connection | 01 SET |
| 7 | Copper Piping: All copper pipes should be Solid drawn, seamless, deoxidized, non arsenical, half hard, tempered and degreased materials conforming to BS:EN:13348:2001 + A1:2005 Pipes sizes should be used as under: 42 mm OD x 1.2 mm thick 35 mm OD x 1.2 mm thick 28 mm OD x 0.9 mm thick 22 mm OD x 0.9 mm thick 15 mm OD x 0.9 mm thick 10 mm OD x 0.9 mm thick Copper Fittings: Fittings should be made of copper and suitable for a stem of working pressure of 17 bar and will confirm to BS 864 with specially made for brazed socket type connections.Unit |  |
| 8 | OUTLET POINTS Double locking DIN type valves which have a parking facility which also avoids interchanging of outlets and keys(Gas specific probes) | 01 No |
| 9 | Oxygen Outlets - drops of 10 mm dia copper pipe terminated properly DIN type valves which have a parking facility which also avoids interchanging of outlets and keys(Gas specific probes) | 01 No |
| 10 | Vacuum Outlets - drops of 10 mm dia copper pipe terminated properly DIN type valves which have a parking facility which also avoids interchanging of outlets and keys(Gas specific probes) | 01 No |
| 11 | Compressed Air Outlets 4 Bar - drops of 10 mm dia copper pipe terminated properly DIN type valves which have a parking facility which also avoids interchanging of outlets and keys(Gas specific probes) | 01 No |
| 12 | Compressed Air Outlets 7 Bar - drops of 10 mmdia copper pipe terminated properly DIN type valves which have a parking facility which also avoids interchanging of outlets and keys(Gas specific probes) | 01 No |
| 13 | Nitrous Oxide Outlets - drops of 10 mm dia copper pipe terminated properly DIN type valves which have a parking facility which also avoids interchanging of outlets and keys(Gas specific probes) | 01 No |
| 14 | ACCESSORIES |  |
| A | Oxygen Flow meter with Humidifier Bottle: Flow meter will be Backpressure Compensated. Flow meter should be accurate gas flow measurement and control within a range of 0-15 liters per minute. It should meet strict precision and durability standards. Flow meter body should be made of brass material. Flow tube and components will be made of clear, impact resistant polycarbonate. The humidifier bottle should be unbreakable polycarbonate material and auto cleavable at 134 degrees centigrade | 01 No |
| 15 | Single piece wall mounted suction collection & regulation unit. With jar capacity of 600ml each shall be provided at each of the bed side. Jars are should be made of auto cleavable materials. The units shall be clamped to the wall using suitable clamps. | 01 No |
| 16 | Theatre Vacuum Unit: The unit should comprise of two reusable 2000 ml shatter resistant bottle, each made up of poly carbonate material and fully auto cleavable at 134 degree centigrade. Should have a vacuum regulator with instant ON / OFF switch a three way selector switch with an option to operate either. - Left, Right or Both All the above items should be mounted on a Trolley having a free moving castor wheels. | 01 No |
| 17 | ISOLATION VALVES: Should be 900 turn, ball valves of brass body, duly chrome plated on the outer periphery, SS ball with high quality Teflon seated, connected to pipeline with brass ferrule for easy maintenance. ID of the copper pipe and the ball valve should have same dimensions to avoid the flow friction Isolation Valves 42 mm Isolation Valves 35 mm Isolation Valves 28 mm Isolation Valves 22 mm Isolation Valves 15 mm | 01 No |
| 18 | Zonal Valve box five Gas services An Zonal area valve box should have bellow spec. Wall mounted M.S. box with powder coated & lockable, Front glass mounting easily visible & using imported brass body quarter turn ball valves using for opening & closing position. The valve box door cannot be close during valve close position. | 01 No |
| 19 | Zonal Valve box four Gas services An Zonal area valve box should have bellow spec. Wall mounted M.S. box with powder coated & lockable, Front glass mounting easily visible & using imported brass body quarter turn ball valves using for opening & closing position. The valve box door cannot be close during valve close position. | 01 No |
| 20 | Zonal Valve box three Gas services An Zonal area valve box have bellow spec. Wall mounted M.S. box with powder coated & lockable, front glass mounting easily visible & using imported brass body quarter turn ball valves using for opening & closing position. The valve box door cannot be close during valve close position. | 01 No |
| 21 | Digital Area Alarm for five Gas Systems. Micro processor controlled Area Gas alarm panel five Lines, audio- visual alarms for each gas used on the floor and come fitted with test and mute button. Running on electricity 220V, these units are suggested to be fitted on each floor as well as areas of heavy usage. It should be fitted with a digital pressure gauge. It indicates low, medium & high pressure sensors. | 01 No |
| 22 | Digital Area Alarm for Four Gas Systems. Micro processor controlled Area Gas alarm panel four Lines, audio- visual alarms for each gas used on the floor and come fitted with test and mute button. Runnin g on electricity 220V, these units are suggested to be fitted on each floor as well as areas of heavy usage. It should be fitted with a digital pressure gauge. It indicates low, medium & high pressure sensors. | 01 No |
| 23 | Digital Area Alarm for Three Gas Systems. Micro processor controlled Area Gas alarm panel three Lines, audio- visual alarms for each gas used on the floor and come fitted with test and mute button. Running on electricity 220V, these units are suggested to be fitted on each floor as well as areas of heavy usage. It should be fitted with a digital pressure gauge. It indicates low, medium & high pressure sensors | 01 No |
| 24 | Digital Area Alarm for Two Gas Systems. Micro processor controlled Area Gas alarm panel two Lines, audio- visual alarms for each gas used on the floor and come fitted with test and mute button. Running on electricity 220V, these units are suggested to be fitted on each floor as well as areas of heavy usage. It should be fitted with a digital pressure gauge. It indicates low, medium & high pressure sensors. | 01 No |
| 25 | Double Arm Pendants for operating theatre The material of the Pendant should be Twoarmed rotary ceiling mounted surgical Pendant High-strength aluminum alloy. Extension arm 700+700mm.Loading capacity: 70-150kg.Level degrees rotation: ≤340°N.W.:158kg. Should be provision for Gas outlets Oxygen 02 nos, Vacuum 02 nos, Air 4 Bar 01 nos, Air 7 Bar 01 nos, Nitrous Oxide 01 nos, Power socket 08 nos, Grounding terminal 01 nos, Platform 03 nos,IV pole 01 nos, Drawer 01 nos. | 01 No |
| 26 | Single Arm Pendants for operating theatre The material of the Pendant should be Two-armed rotary ceiling mounted surgical Pendant High-strength aluminum alloy. Extension arm 700mm.Loading capacity: 70-150kg.Level degrees rotation: ≤340°N.W.:158kg. Should be provision for Gas outlets Oxygen 02 nos, Vacuum 02 nos, Air 4 Bar 01 nos, Air 7 Bar 01 nos, Nitrous Oxide 01 nos, Power socket 08 nos, Grounding terminal 01 nos, Platform 03 nos,IV pole 01 nos, Drawer 01 nos. | 01 No |
| 27 | Bed Headed Panel and Railing. (4 feet) Double railing Bed head panels will have bellow Specifications . Accessories 1. IV Stand Extendable type with aluminum slider. 2. Monitor stand wall Panel mounted. 3. Ward vacuum unit slider. 4. Two duplex 230 V, 5/15 Amp. Electrical Sockets Provision Gas/Vacuum outlets as follows. Oneoxygen Outlet. One Vacuum outlet. One Compressed Air outlet 4 Bar. | 01 No |
| 28 | Conversion Kit for Anesthesia for Oxygen. Should have high pressure antistatic tubing which is color coded. | 01 No |
| 29 | Conversion Kit for Anesthesia for Nitrous Oxide. Should have high pressure antistatic tubing which is color coded. | 01 No |

Bid to be including full installation including civil works.

Agency will give comprehensive warranty for 2 years and CAMC thereafter for 3 years at not more than 10% of capital cost

ss

2. Oxygen Concentrator

1. Oxygen concentrator to provide oxygen from ambient air

2. Oxygen concentration measured at the flow meter by oxygen sensing device (OSD)

3. Sound level<15db

4. Superior grade of molecular sieve

5. Maintenance free rotary proppet valve.

6. Oxygen purity, approx: 90%

7. Oxygen output, approx: 0 - 5 LPM

8. Pressure, approx: 8 psi

9. Double outlet or flow splitter for oxygen Delivery

10. Oxygen tube of 2 m length must be provided with

11. Facility for nebulisation with tube & mask

12. With two humidifier bottles and two cabinet filters

13.Unit should function with 200-240Vac, 50/60 Hz input power supply

14. Should have safety certificate from a competent authority CE / FDA (US) / STQC CB certificate / STQC S certificate or valid detailed electrical and functional safety test report from ERTL. Copy of the certificate / test report shall be produced along with the technical bid.

15. The equipment shall be supplied with

One spare set of tubing

One spare set of internal and external filters (bacterial)

One spare set of fuses

User manual with trouble shooting guidance, in English

Technical manual with maintenance and first line technical intervention instructions, in English

- Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

- Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

- Replacement of electrodes / sensors / bulbs/ tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

- Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free of cost

3. C-Arm (Orthopedic)

X-RAY GENERATOR

i. Type: High Frequency minimum 20 Khz.

ii. Fluoroscopy anode potential: 40 to 110Kvp (1Kvp step)

iii. Fluoroscopy mA range: Normal mode : 0.5 to 4 mA

iv. Power: 1.4 Kw

II. X-RAY TUBE

i. Should be of reputed make

ii. Type: Stationary anode/Rotating anode

iii. Focal spot:0.6/1.8mm

III. IMAGE INTENSIFIER

i. Should be of reputed make (Thales/Toshiba or equivalent)

ii. Input field size maximum 9”(Triple field)

iii. Grid on the entrance field: circular grid.

IV. TV CAMERA SYSTEM

i. Type: CCD with 752x582 pixels.

ii. Memory: Minimum 25 images non-volatile storage.

iii. Video Standard: PAL/NTSC/HD

V. TV monitor

i. Two 17” /18”/19”or more LCD/TFT monitors

ii. One for LIH and one for memory display.

iii. Should have a viewing angle of 170 degree or more.

VI. C-ARM CART

i. SID: 880mm

ii. Orbital Travel: 115º (90/25)

iii. C-arm Pivotal rotation: ±180º

iv. Horizontal Travel: 200mm

v. Vertical Travel: 400mm

vi. Panning Movement: ±10º

vii. Depth of C-arm: 600mm

VII. OTHER SPECIFICATONS

The unit should have the following facilities

i. Automatic KV and mA technique selection and manual mode

ii. Cumulative exposure timer for fluoroscopy

iii. Audible and Visual indication for X-ray emission.

iv. 360 degree rotations of images should be possible for LIH and memory image after fluoroscopy (without radiation).

v. Image vertical and horizontal reversal should be possible on the LIH image after fluoroscopy (without radiation).

vii. Iris collimation or two pairs of parallel shutters which can be controlled independently and can be rotated.

viii. Should have at least 20cm distance between the focal spot and skin for radiation safety.

ix. Should have a single / double steering wheel with 180º rotation.

x. Two sets of sterile drape for the X-ray tube assembly, Image intensifier and C-arm and clips to hold the drape on the c-arm should be provided.

xi. Cassette holder should be supplied.

xii. Five lead aprons with thyroid guards

xiii. The quoted model and tube should be AERB type approved. Relevant copies of the certificate should be attached with the bid.

xiv. Should have a facility to export images to a flash memory (USB port).

VIII. POWER REQUIREMENTS

i. Single phase , 230 Vac, 50Hz

ii. Suitable stabilizer should be provided along with the unit.

IX. SPECIFICATION OF LEAD APRON.

i. Should be AERB approved.

ii. Should be 0.5mm lead equivalent.

iii. Should be hook and loop type (Velcro).

iv. Should be supplied along with thyroid guard.

Manufacturer : As indicated or equivalent

1 C-arm Machine ProRad Premium Prognosys

2 X-ray Tube IMD XR04 IMD

3 Image Intensifier E5764SD-P4 TOSHIBA

4 CCD Camera XC/ST50CE SONY

5 Memory HP280 G1 MT (CPU) SEGATE/WD

6 Monitors S22C170B SAMSUNG

7 Lead Apron 0.50 Regular KIRAN

4. Ultrasound Machine

  - High performance Black and White  fully digital Ultrasound  system

  - Machine should be having Tissue Harmonic facilities.

  - Machine should be 256 gray scale

  - Machine should be Digital Beam Former with 12 bit A/D Converter

  - Machine should be Quick Boot-up and shout down maximum 26 seconds.

  - Monitor size should be minimum 10inch or more LCD monitor.

  - System provides 17-types of Built-in Presets, catered for different clinical applications and  minimum 51 types Body marks can be selected from the system

  - Should have image zoom facility in real time.

  - Machine  up to a maximum of 999static images can be stored

  - Machine should be allow 1300 or more(probe dependent) images can be stored within the Cine Memory for Search and Loop Playback for B-mode.

  - Report package General, Obstetrical/ Gynecology, Cardiac Function.

  - Modes-  B-mode , Dual B-mode, M-mode , B/M-Mode

  - Machine should have 360 degree in M mode facility for fetal heart application.

  - Machine should have DICOM to Store and Send facility should be available

  - System Should have three probe connectivity. The probe selection done the key Board panel.

  - Annotation Function up to 1000 words per dictionary, maximum of 6 dictionaries configurable

  - Machine should storage of image data in DICOM, JPEG or BMP format.

  - Machine should be have external storage facility.

  - Machine  should support Multi frequency transducers.(min 3 to 4 levels)

  - ISO & FDA/CE certificate

  - (3 to 7 Mhz) 130 degree Multi Frequency TV/TR Probe

  - Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

  - Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

  - Replacement of electrodes / sensors, tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

  - Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

  - Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free of cost

  - All parts must be from same manufacturer

5. AC 1.5 ton with SITC (Supply, Installation, Training & Commissioning)

1. 1.5 ton, 3 star Split Air Conditioner with voltage stabilizer

2. Nominal Capacity : 1.5 ton

3. Cooling capacity : 5.25kW ± 2%

4. Electricity in put : 230V/50Hz/Single Phase

5. Coefficient of performance : 3 (Minimum)

6. Max. Ambient temperature : 480 C ± 5%

7. Moisture removal rate : 2 ± 10% litre/ hour

8. Air flow rate : 5.6 cmm (Minimum)

9. Noise level

a. Indoor unit : Less than 45 db

b. Outdoor unit : Less than 55 db

10. Function modes : Auto/Cool/Fan/Dry – shall have sleep and power saving modes

11. Other features : - Automated vertical swing for horizontal louvers - Antifreeze thermostat

12. Compressor : Rotary type

13. Body surface finish : powder coated/high quality paint finish

14. Air filtering unit : Activated carbon cartridge, dust proof and anti-bacteria filter

15. Length of tubings : 15 m or as per the installation requirement

16. Remote handset : LCD display with night glow

17. Voltage Stabilizer : Stabilizer having ISI quality certification and power rating that matches with the power rating of the AC unit

18. 1 year warranty

6. Small EPABX system for 24 units

1. GENERAL :

(a) The EPABX system should be Digital Microprocessor based stored program control with latest Software Version. It should have facility to connect Computer Terminal, Telephone, and Paging System through suitable Interface common to all such devices. Tenderers shall indicate full details of the system offered including CPU speed.

(b) The system shall be capable of working in a suitably ventilated non-airconditioned environment. System design shall be immune to noise from various sources like power supplies, lighting system etc.

(c) The System shall ensure a very high degree of availability and maintainability through use of highly reliable components and appropriate structural & functional units. Provision of redundant control units in a suitable configuration shall be provided as an option.

(d) All components should be rated for continuous operation of the system. It should be designed in such a way that any damage in any circuit/ subassembly/ assembly should be self-containing and should not be propagate to other parts of the system.

(e) The EPABX shall be capable of pulse to tone conversion and vice versa to enable correct operation (originating & receiving calls) with the DTMF and dial pulse signaling having a speed range of 8-12 PPS and break ratio of 50 to 80%. Dialing out shall meet following limits. Dial Speed : 10+/0.5 PPS Make/break ratio : 1:2, normal with break period between 65 to 68%. IDP : >550 ms.

(g) The equipment shall be capable of working under the howling line & junction limits as under:

i. Extension loop resistance of 600 ohms for small systems.

ii. Junction Loop up to 1800 ohms.

iii. Insulation lower limit 20 k ohms.

(h) Flexibility of opening & closing of limits & modification in class of service will be provided.

(i) There must be protection of EPABX System from high voltage/current transient occurring on junction lines to the Exchange.

(j) Power fail cut through shall be provided as specified under clause'3y' of SYSTEM FEATURE.

(k) All cards of the same type & design shall be interchangeable without necessitating special adjustments. System would be offered by the firms with Hot standby facility if they have provision for the same.

(l) Cabinet design shall provide for adequate ventilation to dissipate heat due to energy loss.

(m) The points for connecting supplies, the power supply to the different plug-in cards shall be standardized & mechanically interchangeable to prevent damage due to accidental interchange of cards.

(n) Sub-assemblies & printed cards in the equipment shall be suitably marked. Identification of a type of card in its connector shall be possible without necessitating its removal. Any plug-in component shall be marked with sufficient information for its complete identification.

(o) All instructions labels or any other marking on the equipment shall be perfectly legible.

(p) Connecting cables between jacks shall be marked in their extremities with identical designation as on the fixed connecting flanges.

(q) Fuses used shall have a suitable marking for the different rating to enable easy identification and replacement.

(r) The items quoted shall have TEC approval for interconnection. TEC Approval will not be necessary for IP Gateways and DECT.

(s) No. of extensions specified for each configurations are exclusive of I.P. Gateways and DECT extensions.

(t) DECT Phones shall have a minimum talk time of 20 hours and a range of min.50 mtrs.

(u) Each DECT Base Station shall be capable of handling minimum of 48 DECT Phones calls simultaneously.

2. POWER SUPPLY :

(a) The EPABX shall be suitable for operation on 230V +/- 10%, 50 +/-2 Hz AC or on 48 V DC power supply as per the customer requirement.

(b) EPABXs operating on 230V+or_10% AC shall have in built battery charging arrangement for providing battery back up for 2 h minimum.

(e) The derived power supply shall be suitably protected on the input side against over current and accidental reversal of polarity and on the output side against over current and over voltage. Automatic recovery shall be possible.

3. SYSTEM FEATURES :

(a) The EPABX System should have Digital PCM/TDM (non-blocking) technology. They shall indicate the switching IC/CHIP used. They shall furnish calculation showing the non blocking technology /switching.

(b) Tone and Ringing: The System shall provide the standard tones and ringing current as in the Public Telephone Network as follows :

(i) Ringing 75 V AC , 25 Hz.

(ii) Ring back tone 400 Hz. 0.4 sec ON, 0.4 sec OFF.

(iii) Dial tone 400 Hz modulated by 25 Hz.

(iv) Busy tone 400 Hz, 0.75 sec ON, 0.75 sec OFF.

(v) Operating Voltage 48 V +/- 4 V DC.

(c) The equipment and circuits for tones and ringing shall form part of main PABX equipment.

(d) The equipment should have Automatic Route Selection facility to determine least cost route automatically based on class of service.

(e) Extension-to-Extension Dialing: It shall be possible to establish internal calls automatically by dialing any number without assistance of the attendant.

(f) Direct Outward Dialing: It shall be possible to establish external calls automatically by dialing any number without the assistance of the attendant (subject to class of service).

(g) Provision of DID & DISA: It shall have facility for direct inward dialing and direct inward station access.

(h) Direct Outwards Station Access (DOSA): Any Extension can access the trunk lines of the System through personal pass code to make outward calls from outside. All DOSA calls remain in account of that particular Extension.

(i) Direct Station Selection (DSS): Just pressing a single key the operator or extension can directly call an extension or access the trunk line without hassles of pressing 3 digits.

(j) Multi Level Voice DISA: When ordered as an extra feature/card, this will enable the systems to provide auto attendant service to outside callers to directly access the desired extension by surpassing the operator. The caller should be step wise guided by multi-level voice messages.

(k) Access To Exchange Network: It shall be possible for an extension to get access to public network with or without the attendant in such cases, facility shall exist for the attendant to either dial the required No. or to merely extend the junction to the extension and permit the subscriber to dial the number.

(l) Privacy Of Call: Full privacy of conversation shall be available on all calls whether established directly or by the attendant. A warning tone of a specified frequency shall be applied when trunk-offering facility is exercised by the attendant on an extension user.

(m) Class Of Service: It shall be possible to allow an extension control over the telephone usage by providing him suitable class of service.

(n) The coding technique to be used is ALAW/CODEC per channel.

(o) System should have provision for Automatic Last Number Redial up to 20 times on Junction Line.

(p) During night, when the board is shut, external lines should be linked to any pre-defined extensions.

(q) Provision for connecting recorded voice / answering to make available extensions to an incoming call without the help of operator.

(r) Flexible Numbering Scheme: System should have provision for flexible numbering plan up to four digits for extensions.

(s) Trunk Support: The System should support a following connectivity to satisfy all type of trunks & tie circuits.

For ISDN compatibility

In case of Small EPABX Systems : ISDN BRI

For Networking Compatibility

In case of Small EPABX Systems : Digital ISDN and VOIP

Generally system supporting ISDN PRI shall also compatible to E1 connectivity.

(t) Universal Port Configuration: All ports of the System should be identical to facilitate flexible configuration of the System as per user needs.

(u) Discriminate Ringing: The System should support discriminate ringing to indicate internal & external calls.

(w) Mixed Station Dialing: To support all the features irrespective of type of telephone instruments i.e., DTMF or DECADIC.

(x) Versatile ASMDR The System should support ASMDR, which is a call accounting application that can record & print up to at least 3500 calls without dedicated printer.

(y) Power Failure Transfer: In the case of power failure all P&T / CO lines become available on the pre-set Extensions.

Provision for Availability of Junction Lines shall be as under:

Availability of 4 Junctions

(z) Programmable Class Of Service The System should support programmable class of service for P&T (STD/ISD/LOCAL) dialing as per need.

(i) Direct Call Billing In Rupees: The System should support direct call billing (near value) through parallel/serial port printer without computer.

(ii) Call Billing Printout Options: The System should support versatile multiple combinations of direct printout options with total amount viz., Extension wise, Trunk wise. Today?s call print out, Group wise printout, Particular date, Particular Month, Particular Time,

Particular Phone etc.

(iii) Calling Line Identification (CLIP) : The incoming calling No. is displayed on Key/Analog Phone even if the call is transferred by the operator, it is compatible to DTMF (Optional).

(iv) Remote Maintenance: The System programming can even be done from remote locations.

4. EXTENSION FEATURES :

(a) Automatic Call Back: Facility shall exist for an extension user on encountering a busy signal on a called extension, to invoke the automatic call back feature by dialing a code before hanging up.

When both the calling and called parties are free, the call should be automatically put through on no-answer the call may be disconnected after a specified period. (This facility should be available throughout the network if more than one EPABX are interconnected in a Private Network).

(b) Call Forwarding: An extension with this class of service shall be able to transfer all incoming calls, temporarily to another pre-selected extension. Such requests shall be registered by dialing a code followed by the extension No. Facility shall also exist for cancellation of a  request registered earlier. This facility should be available throughout the network if more than one EPABXs are inter- connected in a Private Network.

(c) Consultation Hold: An extension engaged on an external call (incoming or outgoing) shall be able to hold the call while making internal call for private consultation. The external subscriber shall not overhear such consultation. There must be facility of music during hold condition.

(d) Brokers Call: An extension engaged on an external call (incoming or outgoing) shall be able to hold the call while making another call than alternate between the two. The other party shall not over hear such consultation. There must be facility of music during hold condition. This facility should be available throughout the network if more than one EPABXs are inter-connected in a Private Network.

(e) Automatic Call Transfer: It shall be possible for an extension user to transfer incoming calls to another extension with or without help of the attendant. This facility should be available throughout the network if more than one EPABXs are interconnected in a private network.

(f) Executive/Secretary: A combination of call forwarding, consultation & hold to provide for executive to selectively/answer calls. This facility should be available throughout the network if more than one EPABXs are interconnected in a private network.

(g) Executive Over-Ride: There must be facility offering priority to 5 min extensions to over-ride on going conversations. This facility should be available throughout the network if more than one EPABXs are interconnected in a private network.

(h) Access To Paging: Extensions and attendant shall have dial access to a loudspeaker or any other type of Paging System where such a system exists.

(i) Conference Call: It shall be possible for an extension user (up to a maximum number of 6 to talk to each other at the same time on a conference circuit. One of the extension user or by the attendant may set up the conference call. This facility should be available throughout the network if more than one EPABXs are interconnected in a private network.

(j) Call Pick-Up : It shall be possible for an extension user to pick-up incoming calls ringing on another extension without the help of the attendant. This facility should be available throughout the network

if more than one EPABXs are interconnected in a private network.

(k) Call Re-Routing : It shall be possible for a call to be re-routed, without help of the attendant, to other pre-defined extensions when certain conditions apply. This facility should be available throughout the network if more than one EPABXs are interconnected in a private network.

(l) Auto Call Disconnection: For large EPABXs, the system should facilitate to fix the time of call beyond which it will be automatically disconnected.

(m) Dynamic STD Lock : The System should support that individual extension can lock outward dialing (STD/ISD/LOCAL) by a personal secret pass code to prevent misuse by others.

(n) Paging On Key Phone: The caller can activate speaker phone of the called extension to communicate in urgency in own voice when Extension is idle.

(o) Call Name & Extension number on Display (Internal CLI): Name as well( as Extension No. of the caller is displayed on the Key Phone, facilitating to respond accordingly.

(p) Background Music: The Key Phone user can enjoy the light background music channeled from System When Voice DISA Card incorporated.

(q) Auto-Answer / Auto-Off : Key Phone can be programmed for auto-answer after pre-set number of incoming rings. The Key Phone is automatically disconnected when caller disconnects.

5. ATTENDANT'S CONSOLE FEATURES :

Stand-alone or P.C. based Attendant Console with the following features :

(a) The operator console should have soft/feather touch keys with easy to view display and busy lamp field for extensions. It will have easy handling facility for all internal & external calls.

(b) Answering an Incoming Call: Facility should exist for answering an incoming call, whether from an internal extensions or external junction. It should be possible to identify the type of call that is internal, external line etc., from the call indicator.

(c) Call Queuing : All incoming calls should be presented to the console in order of the arrival. Facility should exist for giving preference to junction calls and from tie lines over calls from internal extensions.

(d) Serial Call : Facility should exist in Large systems to extend an incoming call as serial call which should come back to attendant on completion of call permitting the attendant to route the call to another extension and so on.

(e) Call Waiting Display : An indication should be given when there is an unanswered call waiting in the queue. The lamp shall flash if number of calls waiting in the queue are two or more or if a call has been waiting fore more than a predetermine time.

(f) Call Selection : Facility should exist to the attendant to select which incoming call to be answered first.

(g) Call Hold Facility : It shall be possible for the attendant to place an incoming junction call on hold pending further processing.

(h) Setting Up External Calls : Facility shall exist for enabling the attendant to set up the external calls for the extensions, which are allowed to access the public network. The attendant may either dial the number himself or merely extend the junction to the authorized extension user.

(i) Trunk Offering: The attendant shall be able to offer an incoming call to busy extension. A tone shall however, alert the talking parties when the attendant barges-in on a connection.

(j) Provision for Remote Supervisor Control.

(k) Position Busy : When more than one console is in use. It shall be possible for a console to prevent further incoming calls from being assigned to it by busying itself. When a console is so busied all the waiting calls queued for the particular console shall be transferred to other console/extensions. Incoming calls in cases where two consoles exist shall be equally distributed. Facility shall exist during absence of the attendants for incoming external calls to be forwarded to one common or several individual extensions.

(l) Night Service : It should be possible for all incoming calls to be transferred to certain pre-fixed extensions, in case this option has been exercised during the night.

(m) Head Phone Connectivity : The operators can plug-in headphone to handle the call traffic efficiently while keeping her/his hands free for other jobs.

vi. The System shall have inherent capability to monitor its own performance and to detect, analyze and locate faults.

vii. Fault repair at site should normally consist of only replacing the faulty card or plug-in modules.

viii. The System should have remote maintenance facility.

(a) Small EPABXs operating on 230V +or_10%AC shall have in built battery charging arrangement for providing battery back up for 2 hrs minimum.

Small EPABX System with In built 4 Port voice mail.

Main Distribution Frame (MDF)

(d) Small EPABX systems with in built 4 port Voice mail (details like recording duration shall be indicated by tenderer) shall comply as per the detailed specification.

Main distribution frame is used as accessory to EPABX and shall be suitable for the EPABX quoted and shall be with IPM .

System Will Have : (1) 12 Digital Phones with 2 line display(32 Characters) & 8 programmable keys, (2) 12 Digital Phone without display with 8 programmable keys (3) 2 Operator Consoles (4) 4 Push Button CLI phones (5) 1 IP Gateway card for 16 Channels (6) 2 ISDN interface Cards (7) 1 E&M Cards for 8 ports (8) 1 Nos: 4-Port embedded voice mail card for 4 hour recording

7. ECG Machine

- Simultaneous 3 Channel ECG recording with 12 lead simultaneous Acquisition

- ECG Machine should have 3 modes of operation – Automatic, Manual & Rhythm.

- Should have a maintenance free digital thermal array printer

- Printer should work with standard thermal paper (should be available in Local Market)

- Printer should be able to print ECG report and should have on/off selection

- Equipment should have battery backup.

- Should have a digital filter for AC and EMG.

- Channel ECG recording facility.

- Should be able to re-edit individual form classes.

- Should be able to consolidate individual form classes.

- Should have scroll function for the over view (super page of the ECG)

- Should have the facilities of

  - Heart Rate Variability

  - QT Analysis

  - T wave alternant

  - Heart rate turbulence

- Any ECG print out should be possible.

- Should have Print out facility.

- Recorder should be a 3 channel ECG – 24 hour recorder.

- Digital recorder should have 128 samples/sec/channel for recording

and storage 1000/sec/channel for VLP.

Philips or equivalent

Comprehensive Onsite Warranty (COW) & Comprehensive Annual Maintenance Contract (CAMC)

- Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

- Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

- Replacement of electrodes / sensors, tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

- Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free of cost

8. Suction Apparatus

1. Rating of Motor – continuous

2. Suction Bottle Capacity - 2 x 2000 ml minimum (with safety valve)

3. Guage - 0 to 760 mm Hg

4. Vacuum Maximum - 660 mm Hg.

5. Pump - Oil lubricates rotary pump

6. Suction Tubings - ID 7 mm, 5m long and non-collapsible.

7. Should have air tight lids interconnected with both jars.

8. Should have a noiseless Operation

9. Should provide filter to absorb moisture and water particles entering into the rotor.

10. Should have a safety valve to prevent entry of fluids into machine in case the suction jar fills up.

11. Should be well-designed, cabinet made of Stainless Steel 304 Grade.

12. Should have facility to adjust suction pressure.

13. Should bear ISI / CE mark

14. Should operate from 200 to 240Vac, 50 Hz input supply

15. Powder coated cabinet with stainless steel top plate for easy to clean & maintain.

16. Heavy duty anesthetic castors

17. Versalite for MTP & Other major surgical applications.

18. Should be ISO approved

19. Warranty of 2 years.

9. Infant Radiant Warmer

| 1 | Description of Function Required for care of new born and infants |
| --- | --- |
| 2 | Operational Specifications Complete system with baby tray is required |
| 3 3.1 | Technical Specifications: Cart & Bassinet :- Warming System with controls & alarms, Examination Light, Cart – Should swivel on 4 wheels of atleast 4” dia – with foot operated 2 front lockable wheels Dimensions: Height – 180cm Width – 60cm Depth – 100cm Bassinet: Bassinet should be Mild Steel Construction e) Mattress: Width: 55 – 60 cm Length: 65 – 70cm Thickness: Minimum 4 cm Material: Soft, Comfortable, Easy to clear. f) Warmer Module Swivel: 90 deg on either side |
| 3.2 | Warming System:- Microprocessor based PID Servo Temperature Control System Modes: Manual, Skin, Air Modes Manual Mode – Adjustable in steps from zero to 100 Skin Mode – Flexible Unbreakable skin temperature probe, Set point range: 30-38 deg C. Skin temp variability at temperature equilibrium +/- 0.2 deg C Skin Temperature Display Accuracy +/- 0.2 deg C Type: Digital LED with 0.1 deg Resolution Correlation of Displayed and Actual Skin Temp: difference 0.2 deg C. Silence/Rest Switch: To Silence the alarm and reset set point Temperature Sensors should be NTC Thermistor based Rechargeable battery for power fail alarm 650W Ceramic Heater with parabolic reflector Alarms: Probe Failure Heater Failure High and Low Temperature Overheat Alarm Power Failure Display of Heater Power % Programmable Timer to be used as Stop watch or Reminder timer. |
| 3.6 | Accessories IV Line pole Monitor Shelves: 1 in number X-Ray Cassette Provision |
| 4 4.1 | System Configuration Accessories, spares and consumables as specificed All consumables required for installation and standardization of system to be given free of cost. |
| 5 5.1 5.2 | Environmental Factors Unit shall be capable of bring stored continuously in ambient temperature of 0 – 50 deg C and relative humidity of 15-90% Unit shall be capable of operating continuously in ambient temperature of 10 – 40 deg C and relative humidity of 15-90% |
| 6 6.1 | Power Supply Power input to be 220-240V AC, 50Hz fitted with Indian Plug |
| 7 7.1 7.2 7.3 | Standards, Safety and Training Open Care Warmer Should be CE, UL or BIS Certified Manufacturer should have ISO 13485:2003 Certification for Quality standards Unit should be tested against EN 60601-2-21:2009: Medical electrical equipment -- Part 2-21: Particular requirements for the basic safety and essential performance of infant radiant warmers |
| 8 | Warranty for 2 years. CMC for 3 years to be quoted |
| 9 | Should have Service Centre in Karnataka |

10. Baby Open Care system with Photo Therapy & Warmer

| 1 | Description of Function Required for care of new born and infants |
| --- | --- |
| 2 | Operational Specifications Complete system with baby tray is required |
| 3 3.1 | Technical Specifications: Cart & Bassinet :- Warming System with controls & alarms, Examination Light, Cart – Should swivel on 4 wheels of atleast 4” dia – with foot operated 2 front lockable wheels Dimensions: Height – 180cm Width – 60cm Depth – 100cm Bassinet: Bassinet should be Mild Steel Construction Mattress: Width: 55 – 60 cm Length: 65 – 70cm Thickness: Minimum 4 cm Material: Soft, Comfortable, Easy to clean Warmer Module Swivel: 90 deg on either side |
| 3.2 | Warming System Microprocessor based PID Servo Temperature Control System Modes: Manual, Skin, Air Modes Manual Mode – Adjustable in steps from zero to 100 Skin Mode – Flexible Unbreakable skin temperature probe, Set point range: 30-38 deg C Skin temp variability at temperature equilibrium +/- 0.2 deg C Skin Temperature Display Accuracy +/- 0.2 deg C Type: Digital LED with 0.1 deg Resolution Correlation of Displayed and Actual Skin Temp: difference 0.2 deg C Silence/Rest Switch: To Silence the alarm and reset set point Temperature Sensors should be NTC Thermistor based Rechargeable battery for power fail alarm 650W Ceramic Heater with parabolic reflector Alarms: Probe Failure Heater Failure High and Low Temperature Overheat Alarm Power Failure Display of Heater Power % Programmable Timer to be used as Stop watch or Reminder timer. |
| 3.3 | Phototherapy System Inbuilt LED Phototherapy System with atleast 9 High Power LEDs arranged on both sides of Heater Unit. |
| 3.6 | Accessories IV Line pole Monitor Shelves: 1 in number X-Ray Cassette Provision |
| 4 4.1 4.2 | System Configuration Accessories, spares and consumables System As specificed All consumables required for installation and standardization of system to be given free of cost. |
| 5 5.1 5.2 | Environmental Factors Unit shall be capable of bring stored continuously in ambient temperature of 0 – 50 deg C and relative humidity of 15-90% Unit shall be capable of operating continuously in ambient temperature of 10 – 40 deg C and relative humidity of 15-90% |
| 6 6.1 | Power Supply Power input to be 220-240V AC, 50Hz fitted with Indian Plug |
| 7 7.1 7.2 | Standards, Safety and Training Open Care Warmer Should be CE, UL or BIS Certified Manufacturer should have ISO 13485:2003 Certification for Quality standards Unit should be tested against EN 60601-2-21:2009: Medical electrical equipment -- Part 2-21: Particular requirements for the basic safety and essential performance of infant radiant warmers |
| 8 | Warranty for 2 years. CMC for 3 years to be quoted |
| 9 | Should have Service Centre in Karnataka |

11. Urine Analyzer

- Should have facility to read minimum 11 parameters strip

- Should have Micro albumin as one of the parameter in the 11 strip

- Should have 120 strips/ hour throughput

- Should have cold light source

- Should have four wavelengths 525 nm, 572 nm, 610 nm, 660 nm

- Should have RS 232 port

- Should have 1000 patient Data memory

- Should have facility to connect to the urine sediment analyzer

- Should be provided with software to interface with any computer

- Authorized distributor should have own manufacturing plant in India for urology reagents for regular supply and it should be certified with ISO, FDA, GMP

- Comprehensive Onsite Warranty (COW) & Comprehensive Annual Maintenance Contract (CAMC)

- Comprehensive onsite warranty for 1 year and CAMC for 3 years

- Should provide Reagent Rates per Test and undertake to supply Reagents at same rates for 3 years

- Should supply reagents / solutions / cartridges required for doing 5000 tests including accessory reagents & quality control in  lots as per requirement free.

- Replacement of electrodes / sensors, tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

- Should supply 3 level QC for minimum 1 checks each month during the comprehensive warranty & CAMC period free of cost

12. Haematology Analyzer

- The system should be Three part differential, fully automated

- Should have facility to measure/display 19 parameters +  3 Histogram

- The parameters should be WBC, Lymph#, Mid#, Gran#, Lymph%, Mid%, Gran% RBC, HGB, HCT, MCV, MCH, MCHC, RDW-CV, RDW-SD, PLT, MPV, PDW, PCT

4. Should have Double Aperture with a Diameter of WBC 100um   and RBC / PLT  70um

- Should use cyanide free lyse reagent

- Throughput should be min 60 samples/hr

- Should have Counting methods based on both volume and time base

- Sample volume should be

  - 13 uL in whole blood mode

  - 20 uL in prediluted mode

- All results with histogram to be displayed in a single screen

- Cost per test should be less than Rs. 11 including start up & shut down

for 30 samples /day

- Should have color TFT display without touch screen

- Display range should be

WBC (109/ L)		0.00	-	999.9

RBC  (1012/ L)	0.00	-	9.99

HGB  ( g/L)		0	-	300

PLT (109/L)		0	-	3000

- Should be provided with windows key board for easy patient data entry

- Should have search function for sample data retrieval

- Should have in built auto dispenser for diluent dispensing in prediluted mode

- Should have minimum 35,000 patient data memory with histogram

- It should be capable of aspirating sample from open tubes, EDTA bottles, Small

open vials, Conical vials etc

- Should be capable of printing results in external dot matrix printer.

- Should have Large color  display with a resolution of 800 x 600

- Supplier should have local service centre/branch office in Bangalore / HK Region

- Authorized distributor should have own manufacturing plant in India for hematology reagents for regular supply and it should be certified with ISO, FDA, GMP.

- Should provide with min 800VA online UPS with minimum 1 hr backup along with instrument.

- Comprehensive onsite warranty for 1 year and CAMC for 3 years

- Should provide Reagent Rates per Test and undertake to supply Reagents at same rates for 3 years

- Should supply reagents / solutions / cartridges required for doing 5000 tests including accessory reagents & quality control in  lots as per requirement free.

- Replacement of electrodes / sensors, tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

- Should supply 3 level QC for minimum 1 checks each month during the comprehensive warranty & CAMC period free of cost

13. Blood Coagulation Analyser

- Should be capable of performing PT, APTT, Fibrinogen, Thrombin Time

- Should be  with single channel measuring with magnetic mixer motor

- Minimum test volume should be 150uL

- Should have alphanumeric membrane keypad

- Should be with automatic cuvette detection

- Should be capable of double determination if required

- Should have minimum 4 cuvette pre incubation positions

- Should have at least one position for reagent incubation

- Measuring principle should be turbo densitometric.

- Should have facility to edit the ISI value

- Should have facility to edit calibration curves up to 9 points

- Should have LCD display

- Should have facility to calculate INR value

- Weight should be less than 1 Kg so that it is easily portable

Comprehensive Onsite Warranty (COW) & Comprehensive Annual Maintenance Contract (CAMC)

- Comprehensive onsite warranty for 1 year and CAMC for 3 years

- Should provide Reagent Rates per Test and undertake to supply Reagents at same rates for 3 years

- Should supply reagents / solutions / cartridges required for doing 5000 tests including accessory reagents & quality control in  lots as per requirement free.

- Replacement of electrodes / sensors, tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

- Should supply 3 level QC for minimum 1 checks each month during the comprehensive warranty & CAMC period free of cost

14. Fumigator

1. Ultra Low Volume fumigation machine.

2. Must have Precision Metering Valve allowing particles between 3 to 15 Microns for effective fumigation

3. Area capacity  up to 10000 cubic feet (Approx) and tank capacity 5 litre.

4. Free supply of 50 lit of fumigation fluid.

5. Must have local dealer for fluid supply. Proof and address to be uploaded along with cost of delivery of fluid per litre during technical qualification.

15. Centrifuge Machine

1.1 Clinical Purpose Use in Biochemical and Analytical labs for Hematocrit, blood corpusule percentage, Serum analysis, Precipitate Separation and Blood Group Matching

1.2 Used by Clinical department/ ward Analytical Laboratory

2.1 Technical Characteristics (Specific to this type of device)

1. Speed- Maximum Range 4000 to 6000 RPM

2. Reciprocating Centrifugal Force (RCF): 3000 to 3500

3. Minimum Capacity: 240ml

4. Digital Timer Range: 0 to 59 min

5. Auto Lid interlock to prevent opening while running centrifuge with emergency lid lock

release

6. Motor imbalance detector feature- desirable

7. Microprocessor with digital display

8. Dynamic break for quick deceleration

9. Stainless steel chamber easy to clean

10. Hinges to prevent door falling

11. Rotor size- 16 x15ml

12. Rotor should be autoclavable

2.3 User’s Interface Manual

2.4 Software/and/or standard of communication (where ever required)

4.1 Power Requirement 220-240 V/50Hz

5.1 Accessories (mandatory, standard, optional); Spare Parts (Main Once),

Consumables or Reagents (Open, Closed Systems) Rubber adapter should be provided for the use of vaccutainer for 3ml and 5ml

1. Should be FDA/CE/BIS approved product

2. Manufacturer & supplier should have ISO 13485 Certification for quality standards

3. Electrical safety conforms to the standards for electrical safety IEC 60601- General Requirements (or equivalent BIS Standard)

4. Shall meet internationally recognised for Electromagnetic Compatibility (EMC) for electro

medical equipment:61326-1

5. Certified to be compliant with IEC 61010-1, IEC61010-2-40 for safety

7.2 Local and/or international Manufacturer/ supply should be ISO certified for quality standard.

9.1 Warranty 3 years

9.2 Maintenance tasks CMC 5 years

2 PM visits annually

All breakdown calls to be attended within 24 hrs of registration

9.3 Service contract clauses including price

Spare price lists of all spares and accessories (including Minor) required for maintenance & repairs in future after guarantee / warranty period should be attached.

10 DOCUMENTATION

10.1 Operating manuals, service manuals, other manuals Should provide two sets (hard copy and soft copy) of

1. User, technical & maintenance manual in English/ Kannada along with the machine diagrams

2. List of Equipment & procedures required for local calibration & routine maintenance

3. Service & operation manuals (Original & Copy) to be provided

4. Advance maintenance task documentation

5. Certificate of calibration & inspection

10.2 Other accompanying documents

List of important spares and accessories with their part number and cost

16. Foetal Doppler

- Portable Foetal Doppler with display

- Large LCD display with blue back light

- Should be able to Monitor Foetus less than 12 weeks

- Should be able to detect FHR with clear sound

- Built in loud speaker

- Built in rechargeable battery with 2.5 MHz water proof probe.

- Three modes of operation like auto, average, and manual.

- Continuous working time up to 6 hours

- Should be ISO and CE Certified

- Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

- Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

- Replacement of electrodes / sensors, tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

- Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free of cost

17. Patient Cots with rubberized coir mattress and pillow

1. The Hospital Bed should be pre treated and epoxy powder coated.

2. Frame work should be made of Square/Rectangular MS tubes

3. Hospital beds should have top made of perforated CRCA sheet.

4. It should be fitted with tubular head and foot bows of unequal height.

5. It should have the provision for IV rod on four locations.

6. Should have overall dimensions approx. L xWxH= 205x90x60cms

7. Manufacturer should have ISO 13485 & CE certification for quality standards.

8. Manufacturer to supply rubberised coir mattresses and pillows with rexin cover of appropriate size and thickness for the cot

20. Office Almirah

Steel Almirah of size 6½' x 3'x 19" with four fixed shelves making five compartments, with three way locking system and duly spray painted. Door made from 20 swg MS sheets and Panels, shelves and back sheet of 22 swg MS sheet.

21. Wheel Chair

|  | MM |  | MM |
| --- | --- | --- | --- |
| Width | 650 | to | 720 |
| Length | 1000 | to | 1100 |
| Height | 910 | to | 950 |
| Floor to seat height | 480 | to | 510 |

1” Diameter 16 SWG ERW tubular frame fitted with S.S and back. Adjustable horizontal aluminum foot rest 90 degree to 120 degree with tread flats. Half round Wooden Hand rest with 1” Cushion. Solid rubber tyre wheels 24”x 1 W’ fitted with self propelling hoops and brake arrangement. 6” Diameter swiveling castors in front. Full length axle should be provided to fix the rickshaw wheel. Epoxy Powder coated with simen’s grey colour with minimum 50 microns.

The above product should conform to applicable ISI Standards in respect of materials, welding process, tests and performance.

The above items must conform to the relevant quality and safety standards such as IEC 601-1 and BS 5724 and the Indian equivalent.

22. Stretcher Trolley Removable Top

- Frame work made of heavy duty, lightweight material (CRC strong steel tubular frame work),

- Modular, convenient to use, Removable stretcher top with handles.

- Removable dished stretcher top supported on trolley frame with two side S.S. push handle with two Saline Rod locations and one single hook S.S. Drip Rod.

- Approx Dimensions:205 x 56 x 82 (H) cm,

- Diameter of the castors:150mm ± 25 mm dia with 2” thick high density rubber foam mattress covered with rexine foam cloth

- Finish: Epoxy Powder Coated (at rust-prone mainframe and other places)

- ISO Certified

23. Office Chairs

- Size: 86cm H x 50cm W

- The seat and back are to be made from 10mm thick hot pressed water resistant commercial plywood upholstered with PU foam and fabric.

- Seat size: 48 cm W X 48cm L.

- Back seat: 45cm W X 38cm L.

- Foam for seat and back is to be molded with density 45Kg / m3 hardness.

- Tubular Frame should be made of 1” Dia X 14guage thick MS ERW tube and powder coated.

- Should have 2nos of 1” bush fixed on each side of the leg.

24. Office Table

Class room table made from 18 mm prelaminated particle board of IS12823 grade of size 950 mm L x 450 mm W x 760 mm H. The table shall be provided with a storage unit on right hand side consisting of one drawer and a cupboard with shelf inside. The drawers shall move on a sliding channel and is provided with a stainless steel handle and good quality lock. The cupboard door is fixed using 2 Nos of good quality spring loaded hinges and provided with a stainless steel handle and good quality lock. Full knee cover is provided. The entire table including knee cover, drawers body and bottom, all partitions, doors etc are to be made from 18mm thick pre-laminated particle board. The edges of the table top shall be finished using 2 mm PVC edge band and all the remaining edges shall be fixed using 1 mm PVC edge banding. The Name of the Institution, “HKRDB Macro 2017-18” will be stamped on the front of the furniture in indelible ink such a way that it is visible in letters of size 1cm X 1 cm and total stamp of size of 6”X4”.

25. Ultrasound Nebulizer

Ultrasound should be energy source for nebulization of liquids for inhalation therapy.

The working mechanism should involve ultrasound waves to touch to the surface of the liquid (e.g. medicine, water) and merge the liquid into micron size sub particles. To increase therapy efficiency, because of the even distribution of the particle sizes. Doctors should be able of planning nebulisation as treatment with machine. Latest generation Ultra Sonic nebulizer with following added features

- Intensity Controller to control intensity of mist

- Four speed fan to control the volume of mist

- Timer for 1hour so treatment can be planned with continuous mode also

- Outlet for drainage

- Medicine cups to treat adult (10 nos) and pediatric (10 nos) patients

- Can work from 3ml

- Injection port so medicine can be added during procedure

- Unit should be table top as well as portable

- Unit should be supplied with 1 manual with 1 circuit diagram , 1Adult Mask, 1 Pediatric Mask,1 mouth connector for nebulization by mouth , 1 nasal connector for nebulization through nostrils, 2 extension non latex pipes, 2 spare fuses

- Noise less level less than 30db

- Ultrasonic and not piston or diaphragm

- Tested for electric safety

- Company should be ISO certified

- Product application training to Nursing and Para medics mandatory

- Droplet/micron size should be less than 1.5mµ

- Nebulization 2ml/min.with no wastage of drug

- CE /FDA certified trademarked product for authenticity of supply

- Guarantee /Warrantee for two years with service and spares available for next 3 years

- Ultrasound frequency 1.7MHz spare crystal to be given free

- Pediatric Mask free

  - Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

  - Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

  - Replacement of electrodes / sensors / bulbs/ tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

  - Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

  - Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free of cost

  - Standard Accessories to be supplied free during COW period and rates quoted for Standard Consumables which are to be supplied at same rates for period of CAMC

26. Pulse Oximeter Multimode

Should be suitable for adult, pediatric and neonatal patients.

- Should have dedicated neonatal mode for neonatal applications.

- Should have separate dedicated modes for pediatric and adult patients.

- Should have dual display, seven segment displays for digital values of PR, SPO2 and LCD display for plethysmograph.

- Should have removable and rechargeable battery for 4 hrs

- Should have integrated handle and mounting solutions.

- Should be upgradable to NIBP and temperature.

- Should have graded and color coded alarms.

- Should have perfusion level indicator.

- Should have facility to connect recorder.

- Should be light weight and weigh should be lesser than 4kg.

- Should have facility to connect central nursing station.

- Should have a facility for connecting inbuilt thermal recorder.

- Should have power full data storage and management functions.

- Should Have Up to 96 hours of SpO2 trend curve can be displayed.

- Should have ISO Certification.

- Should be CE approved

- Warranty of 2 years

- Service centre should be in Karnataka.

Should supply with;

  - SPO2 reusable sensor Adult/Neonatal -01 no.

  - Power cord, operating manual-01.

  - Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

  - Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

  - Replacement of electrodes / sensors / bulbs/ tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

  - Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

  - Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free of cost

- Foot Rest

28. Bedside Locker

| 1 | Size: H32" x W16" x D16" |
| --- | --- |
| 2 | Size of the Cupboard: H16" x W14" x D 16" located in the center |
| 3 | Cupboard made of CRCA steel sheet with double hinged door and locker facility |
| 4 | Locker top to have M.S. Sheet super imposed with raised edges on three sides |
| 5 | Framework of 1" square M.S. and legs with rubber feet. Full frame and cupboard to be powder coated in Siemens Grey colour with 50 microns coating |
| 6 | The above product should conform to applicable ISO Standards in respect of materials, welding process, tests and performance |

29. ENT Instruments

1. Bull's lamp

2. Head Mirror

3. Tongue Depressor

4. Aural Speculum

5. Nobal Speculum

6. IDL Mirror

7. Postnobal Mirror

8. Telly's Forceps

9. Tonsillectomy Set

1. Forcep Curved, 7 1/2"

2. Allis Forcep4x5 Teeth, 6"

3. Towel Clamp 5 1/4"

4. Curette#1, Straight, 8 1/2"

5. Curette#2, Straight, 8 1/2"

6. Curette#3, Straight, 8 1/2"

7. Curette#4, Straight, 8 1/2"

8. Curette#5, Straight, 8 1/2"

9. Curette#6, Straight, 8 3/4"

10. Tonsil Knife and Dissector 9"

11. Sponge Holding Forcep Serrated, Straight, 7"

12. Tonsil Dissector Large, 8 3/4"

13. Mouth Gag Complete with 3 Tongue Blades

14. Metzenbaum Scissors Curved, 7"

15. Scalpel Handle No. 7, 6 1/2"

16. Tonsil Forcep Closed Ring, Slight Curve, 7 1/2"

17. Needle Holder Serrated, 8"

18. Tonsil Snare

19. White Tonsil Seizing Forcep Curved, 7"

20. Retractor Small

21. Retractor Large

22. Suction Tube Stainless Steel, 11"1

30. X-ray Instruments

1. Automatic Film Processing

Dimensions (l x w x h) with feedtable 94 x 65 x 37 cm (37 x 25.5 x 14.5 in)

Weight Empty: 62 kg (136 lbs)

With replenisher bottles: 72 kg (158 lbs)

Tank capacity

Developer tank: 0.9 l

Fixer tank: 0.9 l

Wash tank: 0.9 l

Replenisher bottles: 2.5 l

Capacity: 60 films/hour (24 x 30 cm)

Processing cycle : 3 min

Film transport speed : 28 cm/min

Film sizes : Min. size: 10 x 10 cm (diagonally)

Max. width: 36 cm

Drying system : Infrared

Standard equipment Processor + set of 3 replenisher bottles

Accessories : Water supply connection, Light-tight cover, Processor stand, Set of three replenisher, bottles of 2.5 l , External replenishment kit,

Automatic stand-by mode

Warming-up time: 7 min

Noise level : Max 55 dB (A)

(ISO standard 7779)

Power supply : 200-240 V AC 50/60 Hz

Max. consumption: 1700 W

Continuous consumption: 500 W

In stand-by: 180W

Safety : Complies with the VDE, UL and CSA safety regulations and with the VDE regulations on radio interference suppression.

Agfa or equivalent

2. Lead Apron Screen 7-feet height 4-feet width

1. Should be AERB approved.

2. Should be light weight 0.5mm lead equivalent.

3. Should be hook and loop type (Velcro).

4. Should be supplied along with thyroid guard

31. Blood Storage Unit

1. Blood Tube Sealer

Extended sealing handgun with compatible RF Cable for extended use

Anti-spark and overheat protection system to avoid damage to tubing

Audio-visual indication for

- Ready to seal

- Seal process

- Power supply

Easy to remove sealing head cap (splash guard) for quick cleaning

Seal with clear break line for snap-apart separation Consistent seal quality

RF Frequency  : 40.68 MHZ

Recharging time  : 90 min

Seal / Charge  : 1000 seals (with auto adjustable seal time)

EEC Standard  Class 1 (93/42 and 47/2007 MDD)

Input Voltage  100-240 V, 50/60 Hz

Remi or equivalent

32. Ophthalmic Instruments

1. Streak Retinoscope

1. Should have an external focusing sleeve which is easy to grip and manipulate.

2. Should have crossed-linear polarizing filter.

3. Should allow one-hand operation for streak focus and 360º streak rotation.

4. Should be interchangeable to plane mirror and concave mirror mode by sleeve movement

5. Should have halogen / LED light source.

6. Should have 100% dust proof housing and multi-coated optics.

7. Should have brow rest for spectacle wearer.

8. Should be rechargeable battery with Charger.

9. Should have a carrying case.

10. If halogen lamp is used, then the following additional accessories should be supplied.

a. Bulb – 2 nos.

3. LED Chart

LED Chart

Display Type:	24 Inch LED Backlight

Resolution:	1920 x 1080 @ 75 hz

Chart Window Size:	534 X 300mm

Contrast / Brightness:	1000:1/250 Cd/m2

Standard Chart Type:	Letters, Numbers, Tumbling E, Pediatric, Landolt C, Languages, Contrast, logMAR, Snellen Chart, Crowding Bar, Single Row, Single Column, Single Letter

Range	1ft to 20ft (1mt to 6mt)

Special Chart Type :	Astigmatism, Fixation Target, Fixation Disparity, Amsler Grid, Polarization Test, Vernier Acuity, Pelli-Robson Contrast Test, Lea Symbols, Lea Numbers, Kay Pictures, Phoria Test, Railway Test, Signal Test, HOTVX Test, Worth4Dot, Cross Cylinder test, Fan and Block Test, Dot chart, Aniseikonia, Ishihara, ETDRS Chart, Duo Colour for all Charts etc.,

Mutimedia:	Images, Video, Animation (USB Support)

Distance of Installation :	1M – 6M (Step by 1 Meter)

Chart Change Over Device:Remote Control

Standard Accessories :	Remote Control, Multipurpose Screws–2

Line voltage:	AC 100 V- 240 V

Line frequency 	:50 Hz

4. Trial Lens Set

Technical Specifications:

•Spherical Lenses with handle on rims

•32pairs +/- 0.12 to 20sph

•20pairs +/- 0.12 to 06cyl

•10Prisms upto 12

•07standard accessories

•01Clement Clark Skeoch Trial Frame

•25mm reduced aperture lenses up to 6D and 20mm up to 20D

•Inbuilt cool illumination

•Supplied in wooden case with sunmica top and polished surface with rising tray.

5. Ophthalmic Chair Unit

1. Should have microcontroller or microprocessor based control and operating system

2. Should have controls from multiple locations

3. All movement of chair should be adjusted with control switches

4. Should have chair zero position

5. Should have telescopic drawer for trial lens set

6. Should have minimum two instrument table

7. Should have side top with telescopic drawer

8. Should have ophthalmoscope stand and indirect ophthalmoscope stand

9. Should have foot switch for chair adjustment

10. Should have head rest on chair

11. Chair rotating should be 0- 180 degree

12. Chair reclining should be 95 – 170 degree

13. Seat height should be up movement of 710mm and above and down movement of 520 mm and above

14. Weight carrying capacity up to 150 +/- 10 % Kg

15. Chair unit should be available with left and right hand side

16. Chair unit available with different colours

17. Should supply the following accessories along with refraction unit

A. Pneumatic chair for doctor.

B. Powder coated metal Rim Trial lens set

C. LED vision chart (45.7 cm or higher)

18. Should be operated with 230V/ 50 Hz supply

19. Should have safety certificate from a competent authority CE issued by a notified body registered in the European commission / FDA (US)/ STQC CB Certificate/ STQC S Certificate or valid detailed electrical and functional safety test report from ERTL. Copy of the certificate / test report shall be produced along with the technical bid

20. Should have adjustable leg supportC. Warranty, AMC & CAMC

- Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

- Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

- Replacement of electrodes / sensors / bulbs/ tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free

6. Reading drum

Cordless Remote Control Vision Testing Drum which is extensively used for different eye testing purposes. Cabinet type vision testing drum with 5-6 charts in reverse letters from English, Hindi(Marathi), CC, EE, Dots, Numbers, Animal pictures, Urdu & Kannada.

Worth 4 Dot test, Spot Light, Duochrome test.

Handpiece : Cordless – one & built-in cord remote - one

Mirror for Drum duly fixed with plywood back support and hooks ready to fit at wall.

7. Keratometer

1. Should have 15x eye piece

2. Should measure corneal refractive power measuring range from 36 to 52 D in steps of 0.25D steps.

3. Should measure corneal radius of curvature measuring range from 6.5 to 9.4 mm in steps of 0.05mm.

4. Should permit measurements of central corneal area.

5. Should have high accuracy of measurements.

6. Should have dust cover and spare bulb.

7. Should be supplied with motorized table.

8. Should have well illuminated circular mires with + sign

9. Warranty, AMC & CAMC

- Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

- Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

- Replacement of electrodes / sensors / bulbs/ tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

33. OT

1. OT Table

1. The table should have minimum 4 sections.

2. The table should have easily detachable split leg and easily detachable head section.

3. The table top should have a minimum height of 780mm or lesser.

4. The table top should have a minimum vertical stroke of 250mm.

5. Should have sealed hydraulic mechanism to avoid oil spillage.

6. Should have at least 25 degrees trendelenburg and reverse trendelenburg

7. Should have at least 20 degrees lateral tilt movement.

8. Should have at least 80 degrees back up movement with gas spring mechanism.

9. The head section should have up and down movement.

10. The leg section should have 90 degrees down movement and should move side wards to a minimum of 90 degree.

11. The table should have a heavy and sturdy base and compact to provide adequate foot room for the operating team.

12. The table should be mounted on heavy duty casters which offer enhanced weight bearing capacity and free mobility.

13. The table should have a single lever foot operated brake pedal.

14. Should have a minimum patient weight bearing capacity of 100 Kgs.

15. Base should be made of cast iron and all other parts and accessories should be completely made of Stainless Steel 304 grade except the cushion and gas spring.

16. The table should be supplied with the following accessories.

a. Mattress for the complete table top in sections - 1 set

b. A pair of arm boards with pad and fixing clamp - 1

c. A pair of padded shoulder support with clamps - 1

d. A pair of padded lateral support with clamps - 1

e. A pair of leg crutches with clamps - 1

f. Anesthetic screen frame with clamp - 1

g. Patient restraint strap - 1.

h. Humerous Supporting Plate -1

17. Detacheable Kidney Bridge

18. Manufacturer should have ISO - 9001 & CE certification for quality standards

19. 2 years onsite warranty from manufacturer

2. OT Ceiling lamps

1. Single dome mobile type Operation Theater light shadow-less

2. Light output should be minimum 1,00,000 lux at 1 meter distance

3. Diameter of the dome should be less than 650mm.

4. The dome should have single bulb with standby bulb. The standby bulb can be turned on automatically incase of failure of the primay bulb. Should have indication for bulb failure.

5.Minimum light field size should be 200mm

6. Power supply to the lamp should be from a constant voltage source/SMPS.

7. Color temperature should be between 4000?K to 5000?K

8. Should have short circuit protection for the low voltage power supply

9. Should have user friendly lamp replacement

10. Should have heat reduction filters

11. Should have field focus control through sterile handle. Additional sterile handles two numbers should be supplied

12. Five spare bulbs should be supplied.

13.Minimum spring arm stroke of 500mm.

14.Minimum four step intensity control

15. Should be mounted on castors for easy movement

16. Input supply – 230Vac, 50Hz.

17. Should have safety certificate from a competent authority CE issued by a notified body registered in the European commission / FDA (US)/ STQC CB Certificate/ STQC S Certificate or valid detailed electrical and functional safety test report from ERTL. Copy of the certificate/ test report shall be produced along with the technical bid.

34. Labor Room

1. Labor Table Hydraulic

- Approx. Dimensions" 72" L x 27"W x 24"-32"H.

- Frame work made of heavy duty, lightweight material (CRC Steel / ERW Steel, etc.), 2” x 1” x 16 gauge, rectangular / tubular pipe

- Mounted on swivelling 150 ± 25 mm Dia Castor wheels (2 numbers) with non-rusting body,

- Stainless steel top in three sections.

- Trendelenburg / Reverse Trendelenburg positions adjustable by pneumatic gas spring system.

- Hydraulically height adjustable by foot paddle from side.

- 2” thick high density water-proof rubber foam mattress covered with rexine foam cloth

- Backrest section adjustable on ratchet. Leg end section can slide under the main section. Height adjustable pair of knee crutches (Adjustable lihotomy poles with straps).

- Pre Finish: Pre-treated and Epoxy Powder Coated (at rust-prone mainframe and other places).

- Manufacturer should have ISO - 9001 & CE certification for quality standards.

- Should include Kelly’s Pad Rubber washable of Standard Size

- 1 year onsite warranty

2. LED Light Labour Room

- Should be Microprocessor controlled Intensity variable cool while light without mercury.

- Should have flexible handle.

- Should have light intensity of minimum 25000 lux at 650mm.

- Should have minimum life of 40000 burning hours.

- Should work from 70V to 230V

- Should be stand model with castor wheels for mobility

- Should be ISO-9001:2008, ISO-13485&CE certified.

- Comprehensive onsite warranty for 2 year and CAMC for 3 years thereafter to be quoted

- Must have service centre within Karnataka preferably in Hyderabad-Karnataka Region

- Replacement of electrodes / sensors / bulbs/ tubing sets or any other spares whenever required shall be done free of cost during comprehensive warranty and CAMC period.

- Proper calibration certificates shall be provided after installation, preventive maintenance & major repairs during Comprehensive warranty & CAMC period.

- Should supply 3 level QC for minimum 1 checks each quarter during the comprehensive warranty & CAMC period free of cost

NOTE: SCOPE OF SUPPLIERS OF ABOVE ALL EQUIPMENTS

Standards, Safety and Training

- Manufacturer should have ISO certification for quality standards.

- Comprehensive warranty for two years and next 7 years CMC charges after warranty.

- Comprehensive training schedule for technical staff and support services with the system.

Documentation

- User/Technical/maintenance manuals to be supplied in English.

- List of equipments available for providing calibration and routine Preventive maintenance Support, as per manufacturer documentation in services/technical manual.

- Certificate of calibration and inspection.

# SECTION - VII : QUALIFICATION CRITERIA

(Referred to in Clause 11.2(b) of ITT)

1.	(a)	The tenderer should be a manufacturer who must have manufactured, tested and supplied the equipment (s) similar to the type specified in the ‘Schedule of requirements’ up to at least 80% of the quantity required in any one of the last 3 years as per Section-XII.  The manufacturer must have manufactured, tested and supplied the equipment similar to the type, size and complexity as specified in the schedule of requirements and model offered should have been in satisfactory operation for at least 12 months as on date of tender opening.

(b)	In case of the tenderer quoting as authorized representative of a manufacturer, meeting with the above requirement in full, can also be considered provided:

(i)	The manufacturer furnishes authorization in the prescribed format assuring full guarantee and warranty obligations as per GCC and SCC; and

- The tenderer as authorized dealer shall also obtain the detailed qualification criteria of the manufacturer as cited at 1 (a) above and upload the same along with his own Qualification Criteria as stipulated in 1 b (iii).

- The tenderer, as authorized representative, has supplied, installed and commissioned satisfactorily at least 50% of the tendered quantity similar to the type, size and complexity specified in the Schedule of Requirements in any one of the last three years as per Section XII A, which must be in satisfactory operation for at least 12 months on the date of tender opening.

- The tenderer as authorized representative uploads the brochures of the manufacturer and also authorization from same manufacturer.

If the bidder is the sole distributor / supplier of the quoted equipment throughout the country / abroad, the performance of 80% and 50% may be considered in total (Should be supported with the manufacturer’s declaration as Sole Distributor)

- The tenderer should furnish the information on all past supplies and satisfactory performance for both (a) and (b) above, in proforma under Section XII by uploading all the documents.

- The tenderer should furnish details of spares, consumables Service centers and information on service support facilities that would be provided during the warranty period as per clause Section-IV of SCC (Clause 4 Incidental Service) and GCC clause 12.

SECTION VIII: TENDER FORM

Date:........................................

TO:

The Secretary

HYDERABAD KARNATAKA REGION DEVELOPMENT BOARD

Opp. Aiwan-E-Shahi

Kalaburagi-585102

Phone No: 08472 –256767

Fax No: 08472-227527

Gentlemen and/or Ladies:

Having examined the Tender Documents including Addenda Nos......................... [Insert numbers], the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply and deliver....................................................... (Description of Goods and Services) in conformity with the said tender documents for the sum of..................... (Total tender amount in words and figures) or such other sums as may be ascertained in accordance with the Schedule of Prices attached herewith and made part of this tender.

We undertake, if our tender is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our tender is accepted, we will obtain the guarantee of a bank in a sum equivalent to 5 percent of the Contract Price for the due performance of the Contract, in the form prescribed by the Purchaser.

We agree to abide by this tender for the Tender validity period specified in Clause 14.1 of the ITT and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal contract is prepared and executed, this tender, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will strictly observe the laws against fraud and corruption in force in India namely “Prevention of Corruption Act 1988”.

We understand that you are not bound to accept the lowest or any tender you may receive.

We clarify/confirm that we comply with the eligibility requirements as per ITT Clause 1 of the tender documents.

Dated this ....... day of ............................ 20.....

_________________________________ 		                    ___________________________________

(Signature) 									(In the capacity of)

Duly authorized to sign Tender for and on behalf of

PRICE SCHEDULE

| Schedule No. | Item Description | Quantity and Unit | Price for each Unit | Total Price 3x8 |
| --- | --- | --- | --- | --- |
|  |  |  | Ex-factory / Ex-warehouse / Ex-Showroom / off the shelf | Excise duty if any | Inland Transportation, insurance and other local costs incidental to delivery | Sales and other taxes payable if contract awarded | Unit Price (4+5+6+7) |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

Note: In case of discrepancy between unit price and total price, the unit price will prevail

Total tender price in Rs (Words)……………………..

……………………………………………………….

Signature of Tenderer ………………………………

Name and address: …………………………………

SECTION-IX  DETAILS OF EARNEST MONEY DEPOSITED

From:  (Tenderer)

………………………………….

………………………………….

…………………………………..

To:

The Secretary

HYDERABAD KARNATAKA REGION DEVELOPMENT BOARD

Opp. Aiwan-E-Shahi

Kalaburagi-585102

Phone No: 08472 –256767

Fax No: 08472-227527

Sir,

- We have deposited Earnest Money Deposit of Rs………………………… (Rupees………………………………………………… only) at approved bank by e-procurement to central pooling account of Government of Karnataka, the details of which are as follows:

- Bank & Branch ………………………….

- Method of remittance and its details ……………………

- DD for Rs.                          bearing no.                              of

- We agree that the EMD may be forfeited by the purchaser if we:

- Withdraw our tender during the period of tender validity specified by us in the Tender Form (Section VIII);

- Do not accept the correction of the Tender Price Pursuant to Clause 22.2 of I.T.T

- Do not sign the Agreement within the specified time limit in case we are successful and notification of award has been communicated;

- Do not furnish the required Performance Security deposit as required ITT Clause 31.

_____________________________________________

Name of Tenderer

SECTION X: CONTRACT FORM

THIS AGREEMENT made the .......day of.................................., 20... Between..........................(Name of purchaser) of.............. (Country of Purchaser) (hereinafter called "the Purchaser") of the one part and ..................... (Name of Supplier) of......................... (City and Country of Supplier) (hereinafter called "the Supplier") of the other part :

WHEREAS the Purchaser is desirous that certain Goods and ancillary services viz.,.....................................(Brief Description of Goods and Services) and has accepted a tender by the Supplier for the supply of those goods and services in the sum of.............................. (Contract Price in Words and Figures) (hereinafter called "the Contract Price").

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1. 	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.   The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:

(a)      the Tender Form and the Price Schedule submitted by the Tenderer;

(b)      the Schedule of Requirements;

(c) 	the Technical Specifications;

(d) 	the General Conditions of Contract;

(e)	the Special Conditions of Contract; and

(f)	the Purchaser's Notification of Award.

3. 	In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

4. 	The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the goods and services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

Brief particulars of the goods and services which shall be supplied/provided by the Supplier are as under:

____________________________________________________________________________________

SL.	BRIEF 		             QUANTITY TO 	UNIT 		Total	DELIVERY TERMS

NO. 	DESCRIPTION OF 	BE SUPPLIED 	PRICE 		Price

GOODS & SERVICES

___________________________________________________________________________________

____________________________________________________________________________________

TOTAL VALUE:

DELIVERY SCHEDULE:

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, Sealed and Delivered by the

said..................................................... (For the Purchaser)

in the presence of:.......................................

Signed, Sealed and Delivered by the

said..................................................... (For the Supplier)

in the presence of:.......................................

SECTION XI. PERFORMANCE SECURITY BANK GUARANTEE FORM

To: …………………………….(Name of Purchaser)

WHEREAS..........................................................................(Name of Supplier)

hereinafter called "the Supplier" has undertaken , in pursuance of Contract No................. dated,........... 20... to supply....................................................................... (Description of Goods and Services) hereinafter called "the Contract".

AND WHEREAS it has been stipulated by you in the said Contract that the Supplier shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with the Supplier's performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the Supplier a Guarantee:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to a total of................................... ........................................ (Amount of the Guarantee in Words and Figures) and we undertake to pay you, upon your first written demand declaring the Supplier to be in default under the Contract and without cavil or argument, any sum or sums within the limit of ................................ (Amount of Guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the ........day of...................20......(Warranty period + 60 days)

Signature and Seal of Guarantors

................................

................................

................................

Date......................20....

Address:........................

................................

................................

................................

................................

SECTION –XII

(Please refer Section VII Para 1(a) )

Proforma for Qualification Criteria for the manufacturer to the extent of 80%  in any one of the last three years

IFT No:

Name of the Manufacturer: ……………………………………………………………………………………..

| Orders placed by (Full address of Purchaser) | Order No and Date | Description and Quantity of Goods ordered | Value of Order | Date of Completion of Delivery As per contract/ Actual | Remarks indicating reasons for late delivery, if any | Has the goods/ equipment been satisfactorily functioning. (Attach a Certificate from the Purchaser) * |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

Note:

- To be furnished and signed by the Manufacturer, only for any one of the last 3 years.

- Proof of 80% Performance shall be submitted in the form of Supply Order / Purchase Order / Invoice Copies. It should be uploaded along with the Performance Statement.

- Performance of 80% shall be considered for similar type, size and complexity of equipment.

- Order copies if scanned, should be ink signed and if Xeroxed, should be attested. The authority giving performance certificate or proof should be the same authority who has ordered the procurement.

- Original certificates issued recently should be provided.

Signature and Seal of the Tenderer: -------------------------------------------------------------------------

SECTION –XII A

(Please refer Section VII of  1(b)-iii )

Proforma for Qualification Criteria for the Authorized Agents to the extent of 50% in any one of the last three years

IFT No:

Name of the Authorized Agent: ……………………………………………………………………………..

| Orders placed by (Full address of Purchaser) | Order No and Date | Description and Quantity of Goods ordered | Value of Order | Date of Completion of Delivery As per contract/ Actual | Remarks indicating reasons for late delivery, if any | Has the goods/ equipment been satisfactorily functioning. (Attach a Certificate from the Purchaser) * |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

Note:

- Proof of 50% Performance shall be submitted in the form of Supply Order / Purchase Order / Invoice Copies. It should be uploaded along with the Performance Statement.

- Performance of 50% shall be considered for similar type, size and complexity of equipment.

- Proof of  50% performance in H.K. region shall have to be produced

- End user Certificate shall be mandatory along with the proof of supply.

- If the bidder is the sole distributor / supplier of the quoted equipment throughout the country / abroad, the performance of 80% and 50% may be considered in total (Should be supported with the manufacturer’s declaration as Sole Distributor)

- Original certificates issued recently should be provided.

Signature and Seal of the Tenderer: -------------------------------------------------------------------------

# SECTION  - XIII

# MANUFACTURERS' AUTHORIZATION FORM

(Please see Clause 11.2(a) of Instructions to Tenderers)

No.___________ Dated:_______________

To

Dear Sir:

Ref:  IFT No.

We                                                           who are established and reputable manufacturers of (name and description of goods offered) having factories at                     (address of factory) do hereby authorize M/s                                        (Name and address of Agent) to submit a tender, and sign the contract with you for the goods manufactured by us against the above IFT.

No company or firm or individual other than M/s. are authorized to tender and conclude the contract for the above goods manufactured by us, against this specific IFT.

We hereby extend our full guarantee and warranty as per Clause 14 of the General Conditions of Contract for the goods and services offered for supply by the above firm against this IFT.

Yours faithfully,

(Name)

(Name of manufacturers)

Note:	1. This letter of authority should be on the letterhead of the manufacturer and should be signed by a person competent and having the power of attorney to legally bind the manufacturer.  It should be included by the Tenderer in its tender.

2. This letter of authority should be issued to only one agent irrespective of models for this particular IFT.  If found that the letter of authority is issued to more than one firm, all the bids for which the authorizations are given will be considered Non-Responsive. [Refer 7.1.1 (m)]

3. If it is a scanned document, it should be a colour scan and should be ink signed is the original. Xerox is acceptable only if it is attested by competent authority. Fax is not acceptable nor down loaded documents from internet or printed copies of e-mail.

# SECTION - XIV

# PROFORMA FOR EQUIPMENT AND QUALITY CONTROL EMPLOYED BY THE MANUFACTURER

[Refer 7.1.1 (n) of ITT]

IFT NO……………. 		                       Date of Opening:……..………..

NAME OF THE TENDERER: .........................................................................................................................

(Note:  All details should relate to the manufacturer for the items offered for supply)

1.	Name & full address of the Manufacturer

2.	(a)	Telephone & Fax No		Office/Factory/Works

(b)	 Telex No.		Office/Factory/Works

(c)	Telegraphic address:

3.	Location of the manufacturing factory.

4.	Details of Industrial License, wherever required as per statutory regulations.

5.	Details of important Plant & Machinery functioning in each dept. (Monographs & description pamphlets be supplied if available).

6.	Details of the process of manufacture in the factory.

7.	Details & stocks of raw materials held.

8.	Production capacity of item(s) quoted for, with the existing Plant & Machinery

8.1	Normal

8.2	Maximum

9.	Details of arrangement for quality control of products such as laboratory, testing equipment etc.

10.	Details of staff:

10.1	Details of technical supervisory staff in charge of production & quality control.

10.2	Skilled labour employed.

10.3	Unskilled labour employed.

10.4	Maximum No. of workers (skilled & unskilled) employed on any day during the 18 months preceding the date of Tender.

11.	Whether Goods are tested to any standard specification?  If so, copies of original test certificates should be uploaded in triplicate.

12.	Is the Manufacturer registered with the Directorate General of Supplies and Disposals, New Delhi 110 001, India?  If so, furnish full particulars of registration, period of currency etc. with a copy of the certificate of registration.

...............................................................

Signature and seal of the Manufacturer

# SECTION - XV

# PROOF OF SERVICE CENTRE IN KARNATAKA

ANNEXURE – I

SALES  TAX  CLEARANCE  CERTIFICATE

[Refer 7.1.1(e) of ITT]

This is to certify that M/s ………………………………………………………who is a registered dealer under VAT Act with regarding …………………………… having VAT TIN NO.…………………………& CST TIN NO. ………………………………has fixed Sales Tax return and tax cleared for the year ____________ (previous financial year) and no dues are outstanding for the said period.

Signature & Seal

of the Commercial Tax Authority.

ANNEXURE -II

Annual Turnover Statement

[Refer 7.1.1(f) of ITT]

The Annual Turnover of M/s.  ________________________________________

for the past three years are given below and certified that the statement is true and correct.

_____________________________________________________________

## Sl.No.        Financial years		Turnover in Lakhs (Rs)

_____________________________________________________________

First Year      		   -

Second Year       	   -

Third Year	                _________________________________________________________

Total 	-	Rs. _________________ Lakhs.

__________________________________________________________

Date:

Signature of Chartered Accountant

Seal:

(Name in Capital)

# SECTION - XVI

# DECLARATION FOR PERFORMANCE OF QUOTED MODEL

No.                                                                                                                                                     Date:

To

Dear Sir:

Ref:  IFT No.

We                                                           who are established and reputable manufacturers of (name and description of goods offered) having factories at                     (address of factory) do hereby declare that the quoted model_______________ is performing satisfactorily for the past 12 months.

Yours faithfully,

(Name)

(Name of manufacturers)

Note:	1. This letter of declaration should be on the letterhead of the manufacturer and should be signed by a person competent and having the power of attorney to legally bind the manufacturer.  It should be included by the Tenderer in its tender.

| XVII - Document Verification Check list |
| --- |
| Tender No. |
| To be uploaded by the bidder with page numbers as per the tender document requirement in the following pattern |
| Name of the equipment quoted |
| (Bidder quoted for more than 1 equipment list of equipments quoted to be attached) |
| Sl. No. | Details | Uploaded | Page No. |
| 1 | EMD |  |  |
| 2 | VAT registration No. |  |  |
| 3 | Sales tax / VAT clearance certificate of previous Financial Year |  |  |
| 4 | Annual Turnover for last three year |  |  |
| 5 | Balance Sheet for the past three years |  |  |
| 6 | Profit and Loss account statement for the last three years |  |  |
| 7 | Certificate of Incorporation |  |  |
| 8 | Tender offer form |  |  |
| 9 | Self Declaration |  |  |
| 10 | Attested copy of SSI issued by Industrial Commerce Department Government of Karnataka (if applicable) |  |  |
| 11 | Import License (if quoted for imported goods) |  |  |
| 12 | Manufacturing License (if applicable) |  |  |
| 13 | Authorization by Manufacturer |  |  |
| 14 | 80% Performance Statement for Manufacturer |  |  |
| 15 | Proof of 80% performance (Supply orders / invoice copies) |  |  |
| 16 | 50% Performance statement for Authorized Dealer |  |  |
| 17 | Proof of 50% performance (Supply orders / invoice copies) |  |  |
| 18 | End user certificate (to be submitted by authorized agent) |  |  |
| 19 | Equipment & Quality control certificate |  |  |
| 20 | Technical literatures & Brochures |  |  |
| 21 | Technical Compliance statements |  |  |
| 22 | Certificates CE/FDA/ISO/ISI or any other certificates required as per the tender document |  |  |
| 23 | Declaration For performance of quoted model |  |  |
| Note: Any other documents required as mentioned in the tender document to be uploaded apart from the above list. |