OFFICE OF THE DY. INSPECTOR GENERAL OF POLICE, GROUP CENTRE, CRPF, GANDHINAGAR (GUJARAT)- 382042

No.B.V-16/2016-17-GC-GNR-ARMO                                             Dated, the 21 July, 2016.

TENDER ENQUIRY

- Tenders are invited from approved and eligible contractors of CPWD and those who are on appropriate list of CPWD, R & B, Railway, MES, Air Force, Telecom, State PWDs Gujarat, Maharashtra, Municipal Corporation of Gujarat etc. the works:  Cleaning of drinking Water tanks, underground sumps and overhead tanks under A R & MO of Residential and Non Residential Buildings at Group Centre CRPF Campus Gandhinagar (Gujarat) during 2016-17. The description of work, cost and time of completion mentioned below :-

| Sl. No. | Ref. No. | Name of work & Location | Estimated cost put to tender | Earnest Money | Period of Completion | Last date & time of submission of tender | Time & date of opening of tender |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | No.B.V-16/2016-17-GC-GNR-ARMO | Cleaning of drinking water tanks, underground sumps and overhead tanks under AR & MO work 2016-17 as mentioned Clause -“C”. | Approx 1,20,535/- | 2500/- | Within 1 months from the award of work order. | 30.08.2016 by 1600 hours | 30.08.2016 by 1700 hours |

- Terms and conditions are as under:

| 1.Terms of price | Rates quoted by the Contractor should be quoted in Indian rupees both in figures as well as in words for complete units as per specifications. Any and every alteration in the rates should be signed in ink otherwise the offers will not be considered. Contractor should clearly indicate different taxes and duties, which they propose to charge as extra along with the present rates thereof. Offers with such stipulations like ‘as applicable’ will be treated as vague and are liable to be ignored. Rate be offered separately for the above work on each Tank/item basis and should be valid at least 90 days from the date of opening of tender. Rate shall be inclusive of all materials & labour involved in its application. |
| --- | --- |
| 2. Payment terms | 2.1 Works are required to be executed on credit basis only and payment will be made after drawl of amount from RPAO, CRPF, Hyderabad. 2.2 Payment in advance or immediately cannot be made. 2.3 Payment will be made on finished work and as per Measurement Book(M.B) 2.4 The Payment will be made on production of the following documents :- a) Bill in duplicate. b) A Copy of award of work. c) A copy of Certificate issued by the GC, CRPF, Gandhinagar that contracted work for the period for which payment has been claimed, has carried out by the contractor satisfactory. e) A copy of Expenditure Sanction. 2.5 TDS and other taxes will be deducted from the Bill of contractor by RPAO as per norms. |
| 3. Earnest money deposit | 3.1 All the contractors are required to deposit earnest money along with the quotation, failing which their offers will be summarily rejected. 3.2 The earnest money can be deposited through any of the following alternative forms: (a) a crossed Bank Draft/TDR/FDR drawn in favour of DIG, GC, CRPF, Gandhinagar payable at SBI, CRPF Campus Gandhinagar. (b) An irrevocable Bank Guarantee of any nationalized, scheduled bank or reputed commercial bank in the attached format as at appendix. 3.3 The earnest money shall remain valid and be deposited with the purchaser for a period of 90 days from the date of tender opening. If the validity of the tender is extended, the validity of the BG/or any other alternate document submitted in lieu of earnest money will also be suitably extended by the tenderer, failing which their tender after the expiry of the aforesaid period shall not be considered by the purchaser. 3.4 No interest shall be payable on the earnest money deposited by the tenderer. 3.5 The earnest money deposited is liable to be forfeited if the tenderer withdraws or amends impairs or derogates from the tender in any respect within the period of validity of his tender. 3.6 The earnest money of the successful tenderer shall be returned after the security deposit as required in terms of the contract is furnished by the tenderer. 3.7 If the successful tenderer fails to furnish the security deposit as required in the contract within the stipulated period, the earnest money shall be treated as performance security deposit for all practical purposes. 3.8. Earnest money deposits of all the unsuccessful tenderers will be returned as early as possible after the expiry of bid’s validity, but not later than 30 days after placement of contract. Tenderers are advised to send a pre receipt challan along with their bids so that refund of earnest money can be made in time. 3.9. Any tender, where the tenderer is required to deposit earnest money in terms of conditions mentioned in preceding paras, not accompanied with earnest money in any one of the approved forms acceptable to the competent authority, shall be summarily rejected. |
| 4. Performance security deposit clause | 4.1. The successful contractor shall have to deposit a performance security equivalent 5 % of the contracted value of the work to be executed within 07 days from the date of award of contract for due performance. Failure on the part of the firm to deposit the security deposit within the stipulated time empowers the competent authority to cancel the contract. 4.2. The performance security deposit submitted by the supplier will remain valid at least for 90 days beyond the date of completion of work as well as all contractual obligations of the supplier including guarantee/warrantee obligations. 4.3. The earnest money can be deposited in any of the following alternative forms : (a) A crossed Bank Draft drawn in favour of DIG, GC, CRPF, Gandhinagar payable at SBI CRPF Campus Gandhinagar . (b) An irrevocable Bank Guarantee of any nationalized/Scheduled Bank or reputed commercial bank in any other form prescribed. 4.4. If the contractor fails to start the work within the stipulated period and places and requests for extension of time, he shall submit an undertaking on Non Judicial stamp paper of Rs.10/- duly attested by the Notary public stating that the performance security deposit has already been extended for sixty days beyond the guarantee/warrantee period. 4.5 The performance security deposit shall be withheld or forfeited in full or part in case the work order is not executed satisfactorily within the stipulated period or requisite standard within the guarantee period is not undertaken to the best satisfaction of the user. |
| 5. Eligibility of Contractor | The Tenderer should be a Govt. Approved contractor for the subject work. The enlistment of the contractors should be valid on the last date of submission of tenders. In case only the last date of opening of tender is extended, the enlistment of contractor should be valid on the original date of opening of tenders. A copy of Registration Certificate/License issued by the CPWD/PWD/State/Central Govt. for the above work is mandatory to submit with the tender documents by the tenderer (s). |
| 6. Single Bid System Two Bid system | a) TECHNICAL BID alongwith Commercial/Price Bid: Consisting of all the technical details along with commercial terms and conditions and indicating the rates quoted may be kept in one sealed Cover superscribed as Tender for AR & MO work Cleaning of drinking water tanks, underground sumps and overhead tanks. The following documents are required with the Tender Documents:- documents :- The contractor/vendor shall submit, attested Xerox copies of : DD/P.O./Pay Slip/BC/FDR/TDR towards EMD. VAT Registration certificate. PAN Card. Certificate of Approved Contractor issued by GOI/State/Deptt/Ministry etc. Performance statement for last three years/past experience details. Any other necessary documents. i) Details of rates, duties, discounts if any, work completion period, validity of rates etc. quoted by the bidder. These details should be submitted on the letter pads of the suppliers/Contractor. ii) Rates must be clearly mentioned in figures as well as in words and in INR. iii) There should not be any cutting/over writing. |
| 7.Method of submission of tender enquiry | The tender enquiries duly filled in all aspects and having completed all applicable formalities may be sent by registered post/speed post duly stamped or by courier/by hand to the DIGP, GC, CRPF, Gandhinagar, Chiloda Road, P.O. - Gandhinagar (Gujarat) 382042, PHONE NO. 079-23201093, FAX No. 079-2321326, so as to reach on or before the scheduled time and date as mentioned in the Schedule to the tender enquiry. Department is not responsible for any postal delay. |

8. The work shall be carried out according to C.P.W.D. SPECIFICATIONS 2009 Vol,I & II Revised specification 2002, including up to date correction slips and as per additional conditions.

9. The Competent Authority has got the right to accept or reject/cancel/scrape the tender as whole or part of it and no claims what so ever will be entertained on this account. The competent authority has also reserves the right to increase/decrease/alter the place of work/ quantity of work etc. and no claims what so ever will also be entertained.

10. Before starting the work the contractor shall chalk out a programme in consultation with the DIG, GC, CRPF, Gandhinagar or his authorised representative so as to inform the occupants at least one week in advance. The contractor shall have to adhere to this programme failing which he shall be held responsible for any inconvenience caused to the occupants. In order to ensure that the work is carried out according to the programme drawn, the contractor shall ensure adequate supply of the material and employ required labour strength for execution of work. In case contractor fails to arrange/employ adequate labour and stick to the programme, the DIG, GC, CRPF, Gandhinagar  may supplement the labour, at the cost of the contractor after issue of one day’s notice to the contractor. No claims for idle  labour on any account shall be entertained. The contractor shall put his authorized representatives daily at the site of work and Enquiry Office for receiving instructions from DIG, GC, CRPF, Gandhinagar and other inspecting officials from the department. His name and signature shall be attested by the contractor and kept on the record with the department.

11. Nothing shall be paid extra on account of work to be executed at all heights of Residential/Non Residential buildings. The required equipments like ladder, scaffold, high rise ladder etc. will be born by the contractor.

12. Payment shall be made to contractor only after giving satisfactory completion of work for which contractor shall have to obtain certificate from concern department/resident allottee/Caretaker of non-residential buildings if needed.

13. Intending tenderer is eligible to submit the bid provided he has definite proof from the appropriate authority, which shall be to the satisfaction of the competent authority, of having satisfactorily completed similar works of magnitude specified.

14. The time allowed for carrying out the work will be within 1 Months from the date of work order.

15. The site for the work is available OR the site for the work shall be made available in parts as specified above.

16. The contractor shall not be permitted to tender for works in the CRPF in which is near relative  of CRPF is involve. If so, he shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives to any CRPF officer/personnel.

17. Department will not be responsible for any kind of incident involving the labour during or after the work. The contractor must insure the workers against all contingencies and be responsible for their safety.

18. Tin No. or/and Service Tax No. and Contractor’s Regn No.  must be printed in the bill which submitted for recoupment/payment action .

19. The tender for the works shall remain open for acceptance for a period of 90 (Ninety) Days from the date of opening of tenders. If any tenderer withdraws his tender before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of the tender which are not acceptable to the department, then the Government shall, without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money as aforesaid. Further the tenderer shall not be allowed to participate in the retendering process of the work.

20.	The contractor shall bear cost of Liquidated Damage for Delay in completion of work within the stipulated time @ of 2% of contracted value not exceeding the 10% of contracted value in whole.

21. This Notice Inviting Tender shall form a part of the contract document.

22. Hard copies as submitted physically in the office of DIG, GC, CRPF, Gandhinagar , shall be only valid document for evaluation of technical  specification . The DIG, GC, CRPF, Gandhinagar  has all rights to break contact at any time without assigning any reason.

23. The Tenderer are requested to return a copy of this Tender duly signed on each page alongwith other relevant documents as required with the tender for evaluation purpose. If tenderer is failed to return a copy of this Tender duly signed, his offer will not be considered and it will be rejected.

Sd/-21-07-2016

(Rajesh Dhakarwal)

DIG, GC, CRPF, Gandhinagar

For and on  behalf of the President of India

- Details of work mentioned as under:-

SCHEDULE OF QUANTITY

Name of work: Cleaning of Drinking Water Tanks, underground sumps and overhead tanks in Residential & Non-Residential buildings at Group Centre, CRPF Campus Gandhinagar (Gujarat)- 382042 under AR & MO 2016-17 as per details given below :-

- CLEANING OF DRINKING WATER TANKS, OVERHEAD TANKS AND SUMP

| SL No. | Description of work | Qty |
| --- | --- | --- |
| 1. | Cleaning of drinking water tanks including cleaning of top, side, bottom and partition walls using rotary jet high pressure jet spray, removal of impurities like sludge, etc by suction operation with sludge pump out of water tank, wet dry cleaning by vacuum p8mp to remove all the residue in the tank with potassium permanganate (KMNO4), finally disinfecting water tanks with ultra violet radiation etc all complete. The contractor shall arrange specialize agency for execution of this item including writing date of cleaning water tank with paint on water tanks, size of digit should be six inches etc., complete as per direction of Engineer –in-charge. |  |
|  | 2 lakh ltr. Over head tanks | 4 |
|  | 2 lakhs ltr. Underground sump | 4 |
|  | 10 lakhs ltr UG sump | 1 |
|  | 5000 ltr. Capacity over head tanks | 80 |
|  | 5 to 10 thousand Ltr. Capacity over head tanks | 76 |
| 2. | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. |  |
|  | 25 mm nominal bore, 152mm long, weighing not less than 440gms | 30 |

Sd/-21-07-2016

(Rajesh Dhakarwal)

DIG, GC, CRPF, Gandhinagar

For and on  behalf of the President of India

D.               Proforma for Price Bid/Commercial Bid

| SL No. | Description of work : |
| --- | --- |
| 1. | Cleaning of drinking water tanks including cleaning of top, side, bottom and partition walls using rotary jet high pressure jet spray, removal of impurities like sludge, etc by suction operation with sludge pump out of water tank, wet dry cleaning by vacuum p8mp to remove all the residue in the tank with potassium permanganate (KMNO4), finally disinfecting water tanks with ultra violet radiation etc all complete. The contractor shall arrange specialize agency for execution of this item including writing date of cleaning water tank with paint on water tanks, size of digit should be six inches etc., complete as per direction of Engineer –in-charge. |
|  |  | Qty | Rates(Rs.) | Taxes(Rs.) | Total(Rs.) |
|  | 2 lakh ltr. Over head tanks | 4 |  |  |  |
|  | 2 lakhs ltr. Underground sump | 4 |  |  |  |
|  | 10 lakhs ltr UG sump | 1 |  |  |  |
|  | 5000 ltr. Capacity over head tanks | 80 |  |  |  |
|  | 5 to 10 thousand Ltr. Capacity over head tanks | 76 |  |  |  |
| 2. | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. |  |  |  |  |
|  | 25 mm nominal bore, 152mm long, weighing not less than 440gms | 30 |  |  |  |
| Grand Total: |  |
| Rupees in word... |

Note: - Lowest Contractor (L-1) will be decided on overall lowest rates basis.

Appendix ‘A’

PROFORMA OF BANK GUARANTEE FOR SUBMITTING

EARNEST MONEY

(On banks letter head with adhesive stamp)

To

The Deputy Inspector General of Police,

Group Centre, C.R.P.F., Gandhinagar,

Post-Gandhinagar, Gujarat.

Pin – 382042.

Dear Sir,

In accordance with your invitation to Tender No------------------------------------

M/s.________________________________ (here in after called “The tenderer”)

with the following Directors on their Board of Directors/Partners of the firm.

1. _______________________ 2. ______________________________

3. _______________________ 4. ______________________________

wish to participate in the said tender enquiry for the supply/work of (Annual Repair and Maintenance of Residential and non-residential building of GC CRPF, Gandhinagar, Gandhinagar District to you (here in after called “The purchaser”) .Whereas a bank guarantee against Earnest Money for a sum of Rs. ______________(in words)_____________________________ Valid for 90 days from the date of tender opening viz. up to________________is required to be submitted by “the tenderer” as a precondition for the participation, this bank hereby guarantees and undertakes to pay the purchaser upto the above amount upon receipt of its first written demand, without the purchaser/contractor having

to substantiate its demand, provided that in its demand the purchaser/contractor will note that the amount claimed by it is due to it owing to the occurrence of any one of the three conditions mentioned below, specifying the occurred condition or conditions during the above said period of 90 days without any reservation and recourse.

1.	 If the tenderer withdraws or amends, impairs or derogates from the tender in any respect within the period of its validity.

2. 	If the tenderer after submitting his tender, modifies the rates or any of the terms and conditions thereof, except with the previous written consent of the purchaser.

3.	If the tenderer having been notified of the acceptance of this tender by the purchaser during the period its validity and

(a) If the tenderer fails to furnish the performance security for the due performance of the   contract.

- If the tenderer fails or refuses to accept and or execute the contract as provided in the general conditions of the contract.

The guarantee shall be irrevocable and shall remain valid up to 90 days from the date of opening of tender. If further extension to this guarantee is required, the same shall be extended to such period on receiving instructions from the tenderer on whose behalf this guarantee is issued and any demand in respect thereof should reach the Bank not later than the above date.

Date. ______                                   Signature of authorized officer of the bank_________________

Place _____________                                                                           Printed Name.______________

Designation_______________

Name and address of the bank ___________________

Signature of the tenderer                                                                 Banker’s Common Seal

Appendix-B

PERFORMA OF BANK GUARANTEE FOR FURNISHING

PERFORMANCE SECURITY DEPOSIT

To

The President of India,

WHEREAS M/S------------------------------------------------------------------------------

(name and address of the supplier) (hereinafter called “the supplier”) has undertaken, in pursuance of contract no……………….dated…………... to supply (Annual Repair and Maintenance of Residential and non-residential building of GC CRPF, Gandhinagar, Gandhinagar District  (description of works and services) (hereinafter called “the contract”)

AND WHEREAS it has been stipulated by you in the said contract that the supplier shall furnish you with a bank guarantee by a nationalized or scheduled commercial bank of good repute and record recognized by you for the sum specified therein as security for compliance with its obligations in accordance with the contract:

AND WHEREAS we have agreed to give the contractor such a bank guarantee:

NOW THEREFORE we hereby affirm that we are the guarantors and responsible to you, on behalf of the supplier/contractor, up to a total of

………………………………………………………………………………………………

(amount of the guarantee in words and figures), and we undertake to pay you, upon your first written demand declaring the supplier to be in default under the contract and without cavil or argument, any sum or sums within the limits of (amount of guarantee)as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the supplier before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the contract to be performed there under or of any of the contract documents which may be made between you and the supplier/contractor shall in any way release us from any liability under this guarantee and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid until the………….. day of …………….2016.

(Sig. of the authorized officer of the Bank)

Name and designation of the officer ……………………………………………...

Name and address of the Bank ...…..…………………………………....................

………………………………………………………

Banker’s common seal

Appendix-C

PERFORMANCE STATEMENT FOR LAST THREE YEARS

Name of Firm:

M/S_____________________________________________________________

1. Contract Nos. :

2. Description of Works :

3. Quantity on order :

4. Value :

5. Original Date of completion of work

6. Work done within the stipulated time limit

7. Extension of period for completion of work

8. Reason for delay in completion of work :

9. LD charges so paid for delay in completion of work:

(If any)

Appendix-D

Questionaire/Check List (must be filled in all respect)

| 01 | Whether firm/Contractor is registered for the tendered work or not |  |
| --- | --- | --- |
| 02 | Registration No. and Date |  |
| 03 | Registration issued by |  |
| 04 | Registration valid upto |  |
| 05 | Copy of Registration enclosed or not |  |
| 06 | Whether EMD enclosed, if yes details of EMD |  |
| 07 | Whether offer is valid upto 90 days or otherwise. |  |
| 08 | Whether a copy of PAN Card, Registration Certificate, VAT registration certificate enclosed with tender or not |  |
| 09 | Complete details of Banker with IFSC code, Account No. Name of Bank, Bank Code, Swift code etc. |  |
| 10 | Whether past performance Performa enclosed alongwith copies of award of contracts or not |  |
| 11 | Whether tender specification / work scope accepted by the firm/contractor or not |  |
| 12 | Whether all pages of tender has been signed by the authorized signatory or not and returned with offer of not. |  |
| 13 | Whether all the terms and condition of the Tender Enquiry including payment terms are acceptable or not |  |
| 14 | Any other specific condition of the firm/contractor |  |

Signature __________________

(Name of the firm/Contractor)

With seal/stamp