3. Januar 2001

Adressee name Business name Street Address City State Zip Code Country

Budgetary Quotation No. 0010/2001-

Dear Adressee,

Thank you for your interest in our products. We are happy to provide this non-binding pricing information. Our prices are subject to value-added-tax/sales tax applicable to your country; they include the usual warranty for the respective country and only apply to direct purchases from Agilent Technologies. The specified Delivery Time is the expected Delivery Time as of receipt of order. For additional questions please contact our order processing unit in the above mentioned sales office. Yours sincerely, Agilent Technologies

| Pos | Product Number | Net (USD) | Qty | Total (USD) |
| --- | --- | --- | --- | --- |
| 1 | G1354A 四元泵和脱气机 1100 Quaternary Pump with Degasser Includes quaternary pump, solvent cabinet, 4 solvent bottles, vacuum degasser and CAN cable. List price 16,040.38 USD Warranty: 5B 1 Year On Site | 16,040.38 | 1 | 16,040.38 |
| 2 | G1354A # 022 脱气机衍生装置 1100 Vacuum Degasser Option Exchanges micro with 1100 vacuum degasser. Includes 4 channel vacuum degasser. List price 405.95 USD Warranty: 5B 1 Year On Site | 405.95 | 1 | 405.95 |
| 3 | G1354A # 030 柱塞清洗附件 Active seal wash option For use with highly concentrated salt solution to extend seal lifetime - includes peristaltic pump, necessary hoses and various other parts. List price 949.90 USD Warranty: 5B 1 Year On Site | 949.90 | 1 | 949.90 |
| 4 | G1354A # 500 LAN 卡 LAN Communications Interface Provides capability to connect a host computer over LAN. Includes 8m twisted pair (10baseT) LAN cable. List price 767.05 USD Warranty: 5C 1 Year On Site | 767.05 | 1 | 767.05 |
| 5 | G1328B 手动进样器 1100 Series Manual Injector Includes Rheodyne 7725 manual injection valve, 20 ul sample loop and mounting stand. List price 1,846.58 USD Warranty: 5B 1 Year On Site | 1,846.58 | 1 | 1,846.58 |
| 6 | G1314A 紫外检测器 1100 Variable Wavelength Detector Includes variable wavelength detector with deuterium lamp and CAN cable. No flow cell included. List price 6,713.40 USD Warranty: 5B 1 Year On Site | 6,713.40 | 1 | 6,713.40 |
| 7 | G1314A # 018 标准流量池 Standard Flow Cell Includes stainless steel flow cell with 10 mm path length and 14 microliter volume. Pressure tight up to 40 bar. List price 1,215.55 USD Warranty: 5B 1 Year On Site | 1,215.55 | 1 | 1,215.55 |
| 8 | G2171BC 液相控制软件(中文化) Additional LC Instrument Cntrl SW 32bit Adds control of and data acquisition from one HPLC instrument to ChemStation to existing LC (G2170BA), GC (G2070BA) or A/D (G2072BA) ChemStation. List price 3,389.28 USD Warranty: 5P 1 Year Agilent | 3,389.28 | 1 | 3,389.28 |
| 9 | 993967-902 C-18柱 Eclipse XDB-C18 4.6x150 5u Analytical List price 433.55 USD Warranty: 3P 90 Days Agilent | 433.55 | 1 | 433.55 |
|  | Subtotal (USD) |  | 31,761.64 |
|  | 运保费 (5%) |  | 1,588.08 |
|  | Total (USD) |  | 33,349.72 |

Quotation Trailer Text

Sincerely,

Signature Place

Sender’s Name Sn:tn