| Item Qty. | #### PC programming set Obelisk |  |  |
| --- | --- | --- | --- |
|  |  | Used for the rapid and simple creation of switching programs for 2-channel time switch REG 372, 4-channel time switch DCF 77 REG 372/02 and 16-channel time switch DCF77 REG 373, consists of a CD ROM with the software, Obelisk memory module, interface and manual for the software, enables a transfer of the time switch program from the PC to the time switch via a memory module (OBELISK), which is programmed by the PC and then inserted in the time switch and read, in the other direction, it enables a program to be read out from a time switch with the memory module and transferred to another time switch or into the PC software, enables rapid copying of a time switch program. Reading out and describing of the memory module is carried out via the interface of the PC programming set which is connected to the serial interface of the PC. The Obelisk software enables: time switch programs to be programmed in an EEPROM memory module, time switch programs to be read out from the EEPROM memory module, time switch programs to be archived on the PC hard disk, time switch programs to be printed out in table form, elements from an existing switching program to be copied and inserted in a new or existing program, a new rule to be defined for the conversion from summertime to wintertime (if no DCF antenna has been connected), time switch programs to be filtered according to specific search criteria and filtered programs to be displayed or printed out. |  |

Manufacturer: Siemens Order no.: 5WG1 810-0EY01

| Supply, install, assign parameters, label, |  |  |  |
| --- | --- | --- | --- |
| commission and document |  |  |  |
| Material:.......... | Labour:............…. |  |  |
|  |  | EP:.................…... | GP:..................... |