This checklist is intended for use in association with A2LA assessments, and is not to be publicly distributed.  Use of this document is restricted to A2LA employees, contractors, and applicant and accredited laboratories.  Any other use of this document is prohibited.

------------------------------------------------------------------------------------------------------------------------------------------------

The following pages present the criteria to be used in evaluating a laboratory to U.S. FDA cGMP requirements as specified in 21CFR Parts 210 & 211. The laboratory’s policies and procedures must meet these requirements.  Requirements that include the need for a written policy, procedure or arrangement are shaded.

Laboratory Instructions: While it is not required that the laboratory complete this check list.  Correct completion of this checklist may save a significant amount of assessment time and cost.  Complete the document reference identifiers in the checklist's second column (labeled "Reference") for all thick, black border requirements.  The appropriate “reference” must identify the document (quality manual, laboratory manual, SOPs, etc) and include a “locator” to facilitate identification of the appropriate portion(s) of the relevant document (page number, section number, etc.)

The quality system documentation and supporting records must be available for the assessor's review.

A2LA Assessor Instructions: Review the laboratory’s documented quality system to verify compliance with the applicable requirements. This standard includes the production of drug, container, and closure, along with testing requirements. As such, parts of the standard may not be applicable to all assessments. Review the check list closely and place an NA where requirements are not applicable. Assess to verify that the documented quality system is indeed implemented as described.  Place a tick mark in the yes (Y), no (N), or not applicable (NA) space for each checklist item.  Record comments related to any requirement on the space provided.  Record comments related to tests on separate sheets and/or on the method review matrix.  All deficiencies must be identified and explained in the assessor deficiency report.  Assess the laboratory’s technical competence to perform specific tests or specific types of tests.  IMPORTANT NOTE: An asterisk (*) in the comments section indicates that the assessor must document the specific traceable objective evidence reviewed in association with that requirement.  Objective evidence information is mandatory for those clauses.

C212 – Specific Checklist: Current Good Manufacturing Practices (cGMP) Accreditation Program

To the best of my knowledge, all laboratory document references below as well as actual laboratory practices have been assessed for compliance with the relevant clauses of the A2LA General Requirements for Accreditation of Laboratories.  Any areas of noncompliance have been fully described in the Assessor Deficiency Report.

| Master Code: |  | Assessment ID: |  |
| --- | --- | --- | --- |
| Assessor: |  | Assessor Signature & Date: |  |

| Requirement | Reference | {RESERVED FOR ASSESSORS ONLY} |
| --- | --- | --- |
|  |  | Compliance | Comments |
|  |  | Y | N | NA |  |
| B. ORGANIZATION AND PERSONNEL |
| 1.1 Responsibilities of the Quality Control Unit |
| 1.1.1 There shall be a Quality Control Unit (QCU) that shall have the responsibility and authority to approve or reject all components, drug product, containers, closures, in-process materials, packaging material, labeling, and drug products, and the authority to review production records to assure that no errors have occurred or, if errors have occurred that they have been fully investigated. |  |  |  |  |  |
| 1.1.2 Adequate laboratory facilities for the testing and approval (or rejection) of components, drug product containers, closures, packaging materials, in-process materials, and drug products shall be available to the quality control unit. |  |  |  |  |  |
| 1.1.3 The QCU shall have the responsibility for approving or rejecting all procedures or specifications impacting the identity, strength, quality and purity of a drug product. |  |  |  |  |  |
| 1.1.4 The responsibilities and procedures applicable to the QCU shall be in writing; such written procedures shall be followed. |  |  |  |  |  |
| 1.2 Personnel Qualifications |
| 1.2.1.1 Each person engaged in the manufacture, processing, packing, or holding of a drug product shall have education, training, and experience, or any combination thereof, to enable that person to perform the assigned functions. |  |  |  |  |  |
| 1.2.1.2 Training shall be in the particular operations that the employee performs and in current good manufacturing practice (including the current good manufacturing practice regulations in this chapter and written procedures required by these regulations) as they relate to the employee's functions. |  |  |  |  |  |
| 1.2.1.3 Training in current good manufacturing practice shall be conducted by qualified individuals on a continuing basis and with sufficient frequency to assure that employees remain familiar with cGMP requirements applicable to them. |  |  |  |  |  |
| 1.2.2 Each person responsible for supervising the manufacture, processing, packing, or holding of a drug product shall have the education, training, and experience, or any combination thereof, to perform assigned functions in such a manner as to provide assurance that the drug product has the safety, identity, strength, quality, and purity that it purports or is represented to possess. |  |  |  |  |  |
| 1.2.3 There shall be an adequate number of qualified personnel to perform and supervise the manufacture, processing, packing, or holding of each drug product. |  |  |  |  |  |
| 1.3 Personnel Responsibilities |
| 1.3.1.1 Personnel engaged in the manufacture, processing, packing, or holding of a drug product shall wear clean clothing appropriate for the duties they perform. |  |  |  |  |  |
| 1.3.1.2 Protective apparel, such as head, face, hand, and arm coverings, shall be worn as necessary to protect drug products from contamination. |  |  |  |  |  |
| 1.3.2 Personnel shall practice good sanitation and health habits. |  |  |  |  |  |
| 1.3.3 Only personnel authorized by supervisory personnel shall enter those areas of the buildings and facilities designated as limited-access areas. |  |  |  |  |  |
| 1.3.4.1 Any personnel showing adverse medical condition shall be excluded from direct contact with components, drug product containers, closures, in-process materials, and drug products until the condition is corrected or determined by competent medical personnel not to jeopardize the safety or quality of drug products. |  |  |  |  |  |
| 1.3.4.2 All personnel shall be instructed to report to supervisory personnel any health conditions that may have an adverse effect on drug products. |  |  |  |  |  |
| 1.4 Consultants |
| 1.4.1.1 Consultants advising on the manufacture, processing, packing, or holding of drug products shall have sufficient education, training, and experience, or any combination thereof, to advise on the subject for which they are retained. |  |  |  |  |  |
| 1.4.1.2 Records shall be maintained stating the name, address, and qualifications of any consultants and the type of service they provide. |  |  |  |  | * |
| C. BUILDINGS AND FACILITIES |
| 2.1 Design and Construction Factors |
| 2.1.1 Any building or buildings used in the manufacture, processing, packing, or holding of a drug product shall be of suitable size, construction and location to facilitate cleaning, maintenance, and proper operations. |  |  |  |  |  |
| 2.1.2.1 Any such building shall have adequate space for the orderly placement of equipment and materials to prevent mixups between different components, drug product containers, closures, labeling, in-process materials, or drug products, and to prevent contamination. |  |  |  |  |  |
| 2.1.2.2 The flow of components, drug product containers, closures, labeling, in-process materials, and drug products through the building or buildings shall be designed to prevent contamination. |  |  |  |  |  |
| 2.1.3.1 Operations shall be performed within specifically defined areas of adequate size. |  |  |  |  |  |
| 2.1.3.2 There shall be separate or defined areas or such other control systems for the firm's operations as are necessary to prevent contamination or mixups during the course of the following procedures: |  |
| a) Receipt, identification, storage, and withholding from use of components, drug product containers, closures, and labeling, pending the appropriate sampling, testing, or examination by the quality control unit before release for manufacturing or packaging. |  |  |  |  |  |
| b) Holding rejected components, drug product containers, closures, and labeling before disposition. |  |  |  |  |  |
| c) Storage of released components, drug product containers, closures, and labeling. |  |  |  |  |  |
| d) Storage of in-process materials. |  |  |  |  |  |
| e) Manufacturing and processing operations. |  |  |  |  |  |
| f) Packaging and labeling operations. |  |  |  |  |  |
| g) Quarantine storage before release of drug products. |  |  |  |  |  |
| h) Storage of drug products after release. |  |  |  |  |  |
| i) Control and laboratory operations. |  |  |  |  |  |

| Requirement | Reference | {RESERVED FOR ASSESSORS ONLY} |
| --- | --- | --- |
|  |  | Compliance | Comments |
|  |  | Y | N | NA |  |
| j) Aseptic processing, which includes as appropriate: Floors, walls, and ceilings of smooth, hard surfaces that are easily cleanable. Temperature and humidity controls. An air supply filtered through high-efficiency particulate air filters under positive pressure, regardless of whether flow is laminar or nonlaminar. A system for monitoring environmental conditions. A system for cleaning and disinfecting the room and equipment to produce aseptic conditions. A system for maintaining any equipment used to control the aseptic conditions. |  |  |  |  |  |
| 2.1.4 Operations relating to the manufacture, processing, and packing of penicillin shall be performed in facilities separate from those used for other drug products for human use. |  |  |  |  |  |
| 2.2 Lighting |
| 2.2.1 Adequate lighting shall be provided in all areas. |  |  |  |  |  |
| 2.3 Ventilation, Air Filtration, Air Heating and Cooling |
| 2.3.1 Adequate ventilation shall be provided. |  |  |  |  |  |
| 2.3.2 Equipment for adequate control over air pressure, micro-organisms, dust, humidity, and temperature shall be provided when appropriate for the manufacture, processing, packing, or holding of a drug product. |  |  |  |  |  |
| 2.3.3.1 Air filtration systems, including prefilters and particulate matter air filters, shall be used when appropriate on air supplies to production areas. |  |  |  |  |  |
| 2.3.3.2 Measures shall be taken to control recirculation of dust from production if air is recirculated to production areas. |  |  |  |  |  |
| 2.3.3.3 There shall be adequate exhaust systems or other systems adequate to control contaminants in areas where contamination occurs during production. |  |  |  |  |  |
| 2.3.4 Air-handling systems for the manufacture, processing, and packing of penicillin shall be completely separate from those for other drug products for human use. |  |  |  |  |  |
| 2.4 Plumbing |
| 2.4.1.1 Potable water shall be supplied under continuous positive pressure in a plumbing system free of defects that could contribute contamination to any drug product. |  |  |  |  |  |
| 2.4.1.2 Potable water shall meet EPA drinking water standards. |  |  |  |  |  |
| 2.4.1.3 Drains shall be of adequate size and designed to prevent back up. |  |  |  |  |  |
| 2.5 Sewage and Refuse |
| 2.5.1 Sewage, trash, and other refuse in and from the building and immediate premises shall be disposed of in a safe and sanitary manner. |  |  |  |  |  |
| 2.6 Washing and Toilet Facilities |
| 2.6.1 Adequate washing facilities shall be provided, including hot and cold water, soap or detergent, air driers or single-service towels, and clean toilet facilities easily accessible to working areas. |  |  |  |  |  |
| 2.7 Sanitation |
| 2.7.1.1 Any building used in the manufacture, processing, packing, or holding of a drug product shall be maintained in a clean and sanitary condition. |  |  |  |  |  |
| 2.7.1.2 Any such building shall be free of infestation by rodents, birds, insects, and other vermin (other than laboratory animals). |  |  |  |  |  |
| 2.7.1.3 Trash and organic waste matter shall be held and disposed of in a timely and sanitary manner. |  |  |  |  |  |
| 2.7.2 There shall be written procedures assigning responsibility for sanitation and describing in sufficient detail the cleaning schedules, methods, equipment, and materials to be used in cleaning the buildings and facilities; such written procedures shall be followed. |  |  |  |  |  |
| 2.7.3.1 There shall be written procedures for use of suitable rodenticides, insecticides, fungicides, fumigating agents, and cleaning and sanitizing agents as well as, designed to prevent the contamination of equipment, components, drug product containers, closures, packaging, labeling materials, or drug products and shall be followed . |  |  |  |  |  |
| 2.7.3.2 Rodenticides, insecticides, and fungicides shall not be used unless registered and used in accordance with the Federal Insecticide, Fungicide, and Rodenticide Act (7 U.S.C. 135). |  |  |  |  |  |
| 2.7.4 Sanitation procedures shall apply to work performed by contractors or temporary employees as well as work performed by full-time employees during the ordinary course of operations. |  |  |  |  |  |
| 2.8 Maintenance |  |  |  |  |  |
| 2.8.1 Any building used in the manufacture, processing, packing, or holding of a drug product shall be maintained in a good state of repair. |  |  |  |  |  |
| D. EQUIPMENT |
| 3.1 Equipment Design, Size, and Location |
| 3.1.1 Equipment used in the manufacture, processing, packing, or holding of a drug product shall be of appropriate design, adequate size, and suitably located to facilitate operations for its intended use and for its cleaning and maintenance. |  |  |  |  |  |
| 3.2 Equipment Construction |
| 3.2.1 Equipment shall be constructed so that surfaces that contact components, in-process materials, or drug products shall not be reactive, additive, or absorptive so as to alter the safety, identity, strength, quality, or purity of the drug product beyond the official or other established requirements. |  |  |  |  |  |
| 3.2.2 Any substances required for operation, such as lubricants or coolants, shall not come into contact with components, drug product containers, closures, in-process materials, or drug products so as to alter the safety, identity, strength, quality, or purity of the drug product beyond the official or other established requirements. |  |  |  |  |  |
| 3.3 Equipment Cleaning and Maintenance |
| 3.3.1 Equipment and utensils shall be cleaned, maintained, and, as appropriate for the nature of the drug, sanitized and/or sterilized at appropriate intervals to prevent malfunctions or contamination that would alter the safety, identity, strength, quality, or purity of the drug product beyond the official or other established requirements. |  |  |  |  |  |
| 3.3.2.1 Written procedures shall be established and followed for cleaning and maintenance of equipment, including utensils, used in the manufacture, processing, packing, or holding of a drug product. |  |  |  |  |  |
| 3.3.2.2 These procedures shall include, but are not necessarily limited to, the following: |  |
| a) Assignment of responsibility for cleaning and maintaining equipment. |  |  |  |  |  |
| b) Maintenance and cleaning schedules, including, where appropriate, sanitizing schedules. |  |  |  |  |  |
| c) A description in sufficient detail of the methods, equipment, and materials used in cleaning and maintenance operations, and the methods of disassembling and reassembling equipment as necessary to assure proper cleaning and maintenance. |  |  |  |  |  |
| d) Removal or obliteration of previous batch identification. |  |  |  |  |  |
| e) Protection of clean equipment from contamination prior to use. |  |  |  |  |  |
| f) Inspection of equipment for cleanliness immediately before use. |  |  |  |  |  |
| 3.3.3 Records shall be kept of maintenance, cleaning, sanitizing, and inspection. |  |  |  |  | * |
| 3.4 Automatic, Mechanical, and Electronic Equipment |
| 3.4.1.1 If automatic, mechanical, or electronic equipment or other types of equipment, including computers, or related systems that will perform a function satisfactorily are to be used in the manufacture, processing, packing, or holding of a drug product, then it shall be routinely calibrated, inspected, or checked according to a written program designed to assure proper performance. |  |  |  |  |  |
| 3.4.1.2 Written records of those calibration checks and inspections shall be maintained. |  |  |  |  | * |
| 3.4.2.1 Appropriate controls shall be exercised over computer or related systems to assure that changes in master production and control records or other records are instituted only by authorized personnel. |  |  |  |  |  |
| 3.4.2.2 Input to and output from the computer or related system of formulas or other records or data shall be checked for accuracy. The degree and frequency of input/output verification shall be based on the complexity and reliability of the computer or related system. |  |  |  |  |  |
| 3.4.2.3.1 A backup file of data entered into the computer or related system shall be maintained except where certain data, such as calculations performed in connection with laboratory analysis, are eliminated by computerization or other automated processes. |  |  |  |  |  |
| 3.4.2.3.2 A written record of the program shall be maintained along with appropriate validation data. |  |  |  |  | * |
| 3.4.2.3.3 Hard copy or alternative systems, such as duplicates, tapes, or microfilm, designed to assure that backup data are exact and complete and that it is secure from alteration, inadvertent erasures, or loss shall be maintained. |  |  |  |  |  |
| 3.5 Filters |
| 3.5.1.1 Filters for liquid filtration used in the manufacture, processing, or packing of injectable drug products intended for human use shall not release fibers into such products. |  |  |  |  |  |
| 3.5.1.2 Fiber-releasing filters may be used when it is not possible to manufacture such products without the use of these filters. If use of a fiber-releasing filter is necessary, an additional nonfiber-releasing filter having a maximum nominal pore size rating of 0.2 micron (0.45 micron if the manufacturing conditions so dictate) shall subsequently be used to reduce the content of particles in the injectable drug product. |  |  |  |  |  |
| 3.5.1.3 The use of an asbestos-containing filter is prohibited. |  |  |  |  |  |
| E. CONTROL OF COMPONENTS AND DRUG PRODUCT CONTAINERS AND CLOSURES |
| 4.1 General Requirements |
| 4.1.1 There shall be written procedures describing in sufficient detail the receipt, identification, storage, handling, sampling, testing, and approval or rejection of components and drug product containers and closures; such written procedures shall be followed. |  |  |  |  |  |
| 4.1.2 Components and drug product containers and closures shall at all times be handled and stored in a manner to prevent contamination. |  |  |  |  |  |
| 4.1.3 Bagged or boxed components of drug product containers, or closures shall be stored off the floor and suitably spaced to permit cleaning and inspection. |  |  |  |  |  |
| 4.1.4.1 Each container or grouping of containers for components or drug product containers, or closures shall be identified with a distinctive code for each lot in each shipment received. This code shall be used in recording the disposition of each lot. |  |  |  |  |  |
| 4.1.4.2 Each lot shall be appropriately identified as to its status (i.e., quarantined, approved, or rejected). |  |  |  |  |  |
| 4.2 Receipt and Storage of Untested Components, Drug Product Containers, and Closures |
| 4.2.1 Upon receipt and before acceptance, each container or grouping of containers of components, drug product containers, and closures shall be examined visually for appropriate labeling as to contents, container damage or broken seals, and contamination. |  |  |  |  |  |
| 4.2.2 Components, drug product containers, and closures shall be stored under quarantine until they have been tested or examined, whichever is appropriate, and released. |  |  |  |  |  |
| 4.4 Testing and Approval or Rejection of Components, Drug Product Containers, and Closures |
| 4.4.1 Each lot of components, drug product containers, and closures shall be withheld from use until the lot has been sampled, tested, or examined, as appropriate, and released for use by the quality control unit |  |  |  |  |  |
| 4.4.2.1 Representative samples of each shipment of each lot shall be collected for testing or examination. |  |  |  |  |  |
| 4.4.2.2 The number of containers to be sampled, and the amount of material to be taken from each container, shall be based upon appropriate criteria such as statistical criteria for component variability, confidence levels, and degree of precision desired, the past quality history of the supplier, and the quantity needed for analysis and reserve. |  |  |  |  |  |
| 4.4.3 Samples shall be collected in accordance with the following procedures: |  |  |  |  |  |
| a) The containers of components selected shall be cleaned when necessary in a manner to prevent introduction of contaminants into the component. |  |  |  |  |  |
| b) The containers shall be opened, sampled, and resealed in a manner designed to prevent contamination of their contents and contamination of other components, drug product containers, or closures. |  |  |  |  |  |
| c) Sterile equipment and aseptic sampling techniques shall be used when necessary. |  |  |  |  |  |
| d) If it is necessary to sample a component from the top, middle, and bottom of its container, such sample subdivisions shall not be composited for testing. |  |  |  |  |  |
| e) Sample containers shall be identified so that the following information can be determined: name of the material sampled, the lot number, the container from which the sample was taken, the date on which the sample was taken, and the name of the person who collected the sample. |  |  |  |  |  |
| f) Containers from which samples have been taken shall be marked to show that samples have been removed from them. |  |  |  |  |  |
| 4.4.4 Samples shall be examined and tested as follows: |  |  |  |  |  |
| a) At least one test shall be conducted to verify the identity of each component of a drug product. Specific identity tests, if they exist, shall be used. |  |  |  |  |  |
| b) Each component shall be tested for conformity with all appropriate written specifications for purity, strength, and quality. In lieu of such testing by the manufacturer, a report of analysis may be accepted from the supplier of a component, provided that at least one specific identity test is conducted on such component by the manufacturer, and provided that the manufacturer establishes the reliability of the supplier's analyses through appropriate validation of the supplier's test results at appropriate intervals. |  |  |  |  |  |
| c) Containers and closures shall be tested for conformity with all appropriate written specifications. In lieu of such testing by the manufacturer, a certificate of testing may be accepted from the supplier, provided that at least a visual identification is conducted on such containers/closures by the manufacturer and provided that the manufacturer establishes the reliability of the supplier's test results through appropriate validation of the supplier's test results at appropriate intervals. |  |  |  |  |  |
| d) Components shall be microscopically examined when necessary. |  |  |  |  |  |
| e) Each lot of a component, drug product container, or closure that is liable to contamination with filth, insect infestation, or other extraneous adulterant shall be examined against established specifications for such contamination. |  |  |  |  |  |
| f) Each lot of a component, drug product container, or closure with potential for microbiological contamination that is objectionable in view of its intended use shall be subjected to microbiological tests before use. |  |  |  |  |  |
| 4.4.5 Any lot of components, drug product containers, or closures that meets the appropriate written specifications of identity, strength, quality, and purity and related tests may be approved and released for use. Any lot of such material that does not meet such specifications shall be rejected. |  |  |  |  |  |
| 4.5 Use of Approved Components, Drug Product Containers, and Closures |
| 4.5.1.1 Approved components, drug product containers, and closures shall be rotated so that the oldest approved stock is used first. |  |  |  |  |  |
| 4.5.1.2 Deviation from this requirement is permitted if such deviation is temporary and appropriate. |  |  |  |  |  |
| 4.6 Retesting of Approved Components, Drug Product Containers, and Closures |
| 4.6.1 Components, drug product containers, and closures shall be retested or reexamined, as appropriate, for identity, strength, quality, and purity and approved or rejected by the quality control unit as necessary. |  |  |  |  |  |
| 4.7 Rejected Components, Drug Product Containers, and Closures |
| 4.7.1 Rejected components, drug product containers, and closures shall be identified and controlled under a quarantine system designed to prevent their use in manufacturing or processing operations for which they are unsuitable. |  |  |  |  |  |
| 4.8 Drug Product Containers and Closures |
| 4.8.1 Shall not be reactive, additive, or absorptive so as to alter the safety, identity, strength, quality, or purity of the drug beyond the official or established requirements. |  |  |  |  |  |
| 4.8.2 Container closure systems shall provide adequate protection against foreseeable external factors in storage and use that can cause deterioration or contamination of the drug product. |  |  |  |  |  |
| 4.8.3 Shall be clean and, where indicated by the nature of the drug, sterilized and processed to remove pyrogenic properties to assure that they are suitable for their intended use. |  |  |  |  |  |
| 4.8.4 Standards or specifications, methods of testing, and, where indicated, methods of cleaning, sterilizing, and processing to remove pyrogenic properties shall be written and followed for drug product containers and closures. |  |  |  |  |  |
| F. PRODUCTION AND PROCESS CONTROLS |
| 5.1 Written Procedures and Deviations |
| 5.1.1.1 There shall be written procedures for production and process control designed to assure that the drug products have the identity, strength, quality, and purity they purport or are represented to possess. |  |  |  |  |  |
| 5.1.1.2 Written procedures, including any changes, shall be drafted, reviewed, and approved by the appropriate organizational units and reviewed and approved by the quality control unit. |  |  |  |  |  |
| 5.1.2.1 Written production and process control procedures shall be followed in the execution of the various production and process control functions and shall be documented at the time of performance. |  |  |  |  |  |
| 5.1.2.2 Any deviation from the written procedures shall be recorded and justified. |  |  |  |  | * |
| 5.2 Charge-In of Components |
| Written production and control procedures shall include: |
| 5.2.1 The batch shall be formulated with the intent to provide not less than 100 percent of the labeled or established amount of active ingredient. |  |  |  |  |  |
| 5.2.2.1 Components for drug product manufacturing shall be weighed, measured, or subdivided as appropriate. |  |  |  |  |  |
| 5.2.2.2 If a component is removed from the original container to another, the new container shall be identified with the following information: |  |  |  |  |  |
| a) Component name or item code |  |  |  |  |  |
| b) Receiving or control number |  |  |  |  |  |
| c) Weight or measure in new container |  |  |  |  |  |
| d) Batch for which component was dispensed, including its product name, strength, and lot number |  |  |  |  |  |
| 5.2.3.1 Weighing, measuring, or subdividing operations for components shall be adequately supervised. |  |  |  |  |  |
| 5.2.3.2 Each container of component dispensed to manufacturing shall be examined by a second person, unless performed by automated equipment in which only one person is needed, to assure that: |  |  |  |  |  |
| a) The component was released by the quality control unit. |  |  |  |  |  |
| b) The weight or measure is correct as stated in the batch production records. |  |  |  |  |  |
| c) The containers are properly identified. |  |  |  |  |  |
| 5.2.4 Each component shall either be added to the batch by one person and verified by a second person or, if the components are added by automated equipment, only verified by one person. |  |  |  |  |  |
| 5.3 Calculation of Yield |
| 5.3.1 Actual yields and percentages of theoretical yield shall be determined at the conclusion of each appropriate phase of manufacturing, processing, packaging, or holding of the drug product. |  |  |  |  |  |
| 5.3.1.2 Calculations shall either be performed by one person and independently verified by a second person, or, if the yield is calculated by automated equipment, be independently verified by one person. |  |  |  |  |  |
| 5.4 Equipment Identification |
| 5.4.1 All compounding and storage containers, processing lines, and major equipment used during the production of a batch of a drug product shall be properly identified at all times to indicate their contents and, when necessary, the phase of processing of the batch. |  |  |  |  |  |
| 5.4.2.1 Major equipment shall be identified by a distinctive identification number or code that shall be recorded in the batch production record to show the specific equipment used in the manufacture of each batch of a drug product. |  |  |  |  | * |
| 5.4.2.2 In cases where only one of a particular type of equipment exists in a manufacturing facility, the name of the equipment may be used in lieu of a distinctive identification number or code. |  |  |  |  |  |
| 5.5 Sampling and Testing of In-Process Materials and Drug Products |
| 5.5.1.1 Written procedures shall be established and followed that describe the in-process controls, and tests, or examinations to be conducted on appropriate samples of in-process materials of each batch. |  |  |  |  |  |
| 5.5.1.2 Control procedures shall be established to monitor the output and to validate the performance of those manufacturing processes that may be responsible for causing variability in the characteristics of in-process material and the drug product. |  |  |  |  |  |
| 5.5.1.3 Control procedures shall include, but are not limited to, the following, where appropriate: |  |  |  |  |  |
| a) Tablet or capsule weight variation |  |  |  |  |  |
| b) Disintegration time |  |  |  |  |  |
| c) Adequacy of mixing to assure uniformity and homogeneity |  |  |  |  |  |
| d) Dissolution time and rate |  |  |  |  |  |
| e) Clarity, completeness, or pH of solutions |  |  |  |  |  |
| f) Bioburden testing |  |  |  |  |  |
| 5.5.2.1 Valid in-process specifications for such characteristics shall be consistent with drug product final specifications and shall be derived from previous acceptable process average and process variability estimates where possible and determined by the application of suitable statistical procedures where appropriate. |  |  |  |  |  |
| 5.5.2.2 Examination and testing of samples shall assure that the drug product and in-process material conform to specifications. |  |  |  |  |  |
| 5.5.3 In-process materials shall be tested for identity, strength, quality, and purity as appropriate, and approved or rejected by the quality control unit, during the production process. |  |  |  |  |  |
| 5.5.4 Rejected in-process materials shall be identified and controlled under a quarantine system designed to prevent their use in manufacturing or processing operations for which they are unsuitable. |  |  |  |  |  |
| 5.6 Time Limitations on Production |
| 5.6.1.1 Time limits for the completion of each phase of production shall be established to assure the quality of the drug product, where appropriate. |  |  |  |  |  |
| 5.6.1.2 Deviation from established time limits may be acceptable if such deviation does not compromise the quality of the drug product. Such deviation shall be justified and documented |  |  |  |  |  |
| 5.7 Control of Microbiological Contamination |
| 5.7.1 Written procedures shall be established and followed to prevent objectionable microorganisms in drug products not required to be sterile. |  |  |  |  |  |
| 5.7.2.1 Written procedures shall be established and followed to prevent microbiological contamination of drug products purporting to be sterile. |  |  |  |  |  |
| 5.7.2.2 Procedures shall include validation of all aseptic and sterilization processes. |  |  |  |  |  |
| 5.8 Reprocessing |
| 5.8.1 Written procedures shall be established and followed prescribing a system for reprocessing batches that do not conform to standards or specifications and the steps to be taken to insure that the reprocessed batches will conform with all established standards, specifications, and characteristics. |  |  |  |  |  |
| 5.8.2 Reprocessing shall not be performed without the review and approval of the quality control unit. |  |  |  |  |  |
| G. PACKAGING AND LABELING CONTROL |
| 6.1 Materials Examination and Usage Criteria |
| 6.1.1.1 Written procedures shall be established and followed describing in sufficient detail the receipt, identification, storage, handling, sampling, examination, and/or testing of labeling and packaging materials. |  |  |  |  |  |
| 6.1.1.2 Labeling and packaging materials shall be representatively sampled, and examined or tested upon receipt and before use in packaging or labeling of a drug product. |  |  |  |  |  |
| 6.1.2 Any labeling or packaging materials meeting appropriate written specifications may be approved and released for use. Any labeling or packaging materials that do not meet such specifications shall be rejected to prevent their use in operations for which they are unsuitable. |  |  |  |  |  |
| 6.1.3 Records shall be maintained for each shipment received of each different labeling and packaging material indicating receipt, examination or testing, and whether accepted or rejected. |  |  |  |  | * |
| 6.1.4.1 Labels and other labeling materials for each different drug product, strength, dosage form, or quantity of contents shall be stored separately with suitable identification. |  |  |  |  |  |
| 6.1.4.2 Access to the storage area shall be limited to authorized personnel. |  |  |  |  |  |
| 6.1.5 Obsolete and outdated labels, labeling, and other packaging materials shall be destroyed. |  |  |  |  |  |
| 6.1.6 Use of gang-printed labeling for different drug products, or different strengths or net contents of the same drug product, is prohibited unless the labeling from gang-printed sheets is adequately differentiated by size, shape, or color. |  |  |  |  |  |
| 6.1.7 If cut labeling is used for immediate container labels, individual unit cartons, or multiunit cartons containing immediate containers that are not packaged in individual unit cartons, packaging and labeling operations shall include one of the following special control procedures: |  |  |  |  |  |
| a) Dedication of labeling and packaging lines to each different strength of each different drug product. |  |  |  |  |  |
| b) Use of appropriate electronic or electromechanical equipment to conduct a 100-percent examination for correct labeling during or after completion of finishing operations. |  |  |  |  |  |
| c) Use of visual inspection to conduct a 100-percent examination for correct labeling during or after completion of finishing operations for hand-applied labeling. Such examination shall be performed by one person and independently verified by a second person. |  |  |  |  |  |
| d) Use of any automated technique, including differentiation by labeling size and shape, that physically prevents incorrect labeling from being processed by labeling and packaging equipment. |  |  |  |  |  |
| 6.1.8 Printing devices on, or associated with, manufacturing lines used to imprint labeling upon the drug product unit label or case shall be monitored to assure that all imprinting conforms to the print specified in the batch production record. |  |  |  |  |  |
| 6.2 Labeling Issuance |
| 6.2.1 Strict control shall be exercised over labeling issued for use in drug product labeling operations. |  |  |  |  |  |
| 6.2.2 Labeling materials issued for a batch shall be carefully examined for identity and conformity to the labeling specified in the master or batch production records. |  |  |  |  |  |
| 6.2.3.1 Procedures shall be used to reconcile the quantities of labeling issued, used, and returned, and shall require evaluation of discrepancies found between the quantity of drug product finished and the quantity of labeling issued when such discrepancies are outside narrow preset limits based on historical operating data. |  |  |  |  |  |
| 6.2.3.2 Discrepancies shall be investigated. |  |  |  |  |  |
| 6.2.4 All excess labeling bearing lot or control numbers shall be destroyed. |  |  |  |  |  |
| 6.2.5 Returned labeling shall be maintained and stored in a manner to prevent mixups and provide proper identification. |  |  |  |  |  |
| 6.2.6 Procedures shall be written and followed describing in sufficient detail the control procedures employed for the issuance of labeling. |  |  |  |  |  |
| 6.3 Packaging and Labeling Operations |
| 6.3.1 Written procedures shall be established and followed to assure that correct labels, labeling, and packaging materials are used for drug products. |  |  |  |  |  |
| 6.3.2 Procedures shall incorporate the following features: |  |  |  |  |  |
| a) Prevention of mixups and cross-contamination by physical or spatial separation from operations on other drug products. |  |  |  |  |  |
| b) Identification and handling of filled drug product containers that are set aside and held in unlabeled condition for future labeling operations to preclude mislabeling of individual containers, lots, or portions of lots. Identification need not be applied to each individual container but shall be sufficient to determine name, strength, quantity of contents, and lot or control number of each container. |  |  |  |  |  |
| c) Identification of the drug product with a lot or control number that permits determination of the history of the manufacture and control of the batch. |  |  |  |  |  |
| d) Examination of packaging and labeling materials for suitability and correctness before packaging operations, and documentation of such examination in the batch production record. |  |  |  |  |  |
| e) Inspection of the packaging and labeling facilities immediately before use to assure that all drug products have been removed from previous operations. Inspection shall also be made to assure that packaging and labeling materials not suitable for subsequent operations have been removed. Results of inspection shall be documented in the batch production records. |  |  |  |  |  |
| 6.4 Tamper-Evident Packaging Requirements for Over-the-Counter (OTC) Human Drug Products |
| 6.4.1 OTC drug product (except a dermatological, dentifrice, insulin, or lozenge product) for retail sale must be packaged in a tamper-resistant package and properly labeled. |  |  |  |  |  |
| 6.4.2.1 A tamper-evident package must have one or more indicators or barriers to entry that employ an identifying characteristic which, if breached or missing, can reasonably be expected to provide visible evidence to consumers that tampering has occurred. The tamper-evident feature shall be designed to and shall remain intact when handled in a reasonable manner during manufacture, distribution, and retail display. |  |  |  |  |  |
| 6.4.2.2 Any two-piece, hard gelatin capsule covered by this section must be sealed using an acceptable tamper-evident technology. |  |  |  |  |  |
| 6.4.3 Each retail package of an OTC drug product (except ammonia inhalant in crushable glass ampules, containers of compressed medical oxygen, or aerosol products that depend upon the power of a liquefied or compressed gas to expel the contents from the container) is required to bear a statement that: |  |  |  |  |  |
| a) Identifies all tamper-evident feature(s), identifying characteristics, and any capsule sealing technologies used. |  |  |  |  |  |
| b) Is prominently placed on the package. |  |  |  |  |  |
| c) Is so placed that it will be unaffected if the tamper-evident feature of the package is breached or missing. |  |  |  |  |  |
| 6.4.4 If the tamper-evident feature chosen to meet the requirements of this section uses an identifying characteristic, that characteristic is required to be referred to in the labeling statement. |  |  |  |  |  |
| 6.5 Drug Product Inspection |
| 6.5.1 Packaged and labeled products shall be examined during finishing operations to provide assurance that containers and packages in the lot have the correct label. |  |  |  |  |  |
| 6.5.2 A representative sample of units shall be collected at the completion of finishing operations and shall be visually examined for correct labeling. |  |  |  |  |  |
| 6.5.3 Results of these examinations shall be recorded in the batch production or control records. |  |  |  |  | * |
| 6.6 Expiration Dating |
| 6.6.1 To assure that a drug product meets applicable standards of identity, strength, quality, and purity at the time of use, it shall bear an expiration date determined by appropriate stability testing. |  |  |  |  |  |
| 6.6.2 Expiration dates shall be related to any storage conditions stated on the labeling, as determined by stability studies. |  |  |  |  |  |
| 6.6.3 If the drug product is to be reconstituted at the time of dispensing, its labeling shall bear expiration information for both the reconstituted and unreconstituted drug products. |  |  |  |  |  |
| 6.6.4.1 Expiration dates shall appear on the immediate container and also the outer package, if any, unless it is easily legible through such outer package. |  |  |  |  |  |
| 6.6.4.2 Single-dose containers packed in individual cartons, may have the expiration date properly appear on the individual carton instead of the immediate product container. |  |  |  |  |  |
| 6.6.5.1 New drug products for investigational use are exempt from the requirements of this section, provided that they meet appropriate standards or specifications as demonstrated by stability studies during their use in clinical investigations. |  |  |  |  |  |
| 6.6.5.2 Where new drug products for investigational use are to be reconstituted at the time of dispensing, their labeling shall bear expiration information for the reconstituted drug product. |  |  |  |  |  |
| H. HOLDING AND DISTRIBUTION |
| 7.1 Warehousing Procedures |
| 7.1.1 Written procedures describing the warehousing of drug products shall be established and followed. |  |  |  |  |  |
| 7.1.1.2 The written procedures shall include: |  |
| a) Quarantine of drug products before release by the quality control unit. |  |  |  |  |  |
| b) Storage of drug products under appropriate conditions of temperature, humidity, and light so that the identity, strength, quality, and purity of the drug products are not affected. |  |  |  |  |  |
| 7.2 Distribution Procedures |
| 7.2.1.1 Written procedures shall be established, and followed, describing the distribution of drug products. |  |  |  |  |  |
| 7.2.1.2 The written procedures shall include: |  |
| a) A procedure whereby the oldest approved stock of a drug product is distributed first. Deviation from this requirement is permitted if such deviation is temporary and appropriate. |  |  |  |  |  |
| b) A system by which the distribution of each lot of drug product can be readily determined to facilitate its recall if necessary. |  |  |  |  |  |
| I. Laboratory Controls |
| 8.1 General Requirements |
| 8.1.1.1 The establishment of any specifications, standards, sampling plans, test procedures, or other laboratory control mechanisms required by this subpart, including any change in such specifications, standards, sampling plans, test procedures, or other laboratory control mechanisms, shall be drafted by the appropriate organizational unit and reviewed and approved by the quality control unit. |  |  |  |  |  |
| 8.1.1.2 The requirements in this subpart shall be followed and shall be documented at the time of performance. |  |  |  |  | * |
| 8.1.1.3 Any deviation from the written specifications, standards, sampling plans, test procedures, or other laboratory control mechanisms shall be recorded and justified. |  |  |  |  | * |
| 8.1.2.1 Laboratory controls shall include the establishment of scientifically sound and appropriate specifications, standards, sampling plans, and test procedures designed to assure that components, drug product containers, closures, in-process materials, labeling, and drug products conform to appropriate standards of identity, strength, quality, and purity. |  |  |  |  |  |
| 8.1.2.2 Laboratory controls shall include: |  |
| a) Determination of conformity to applicable written specifications for the acceptance of each lot within each shipment of components, drug product containers, closures, and labeling used in the manufacture, processing, packing, or holding of drug products. |  |  |  |  |  |
| b) The specifications shall include a description of the sampling and testing procedures used. Samples shall be representative and adequately identified. |  |  |  |  |  |
| c) Procedures shall require appropriate retesting of any component, drug product container, or closure that is subject to deterioration. |  |  |  |  |  |
| d) Determination of conformance to written specifications and a description of sampling and testing procedures for in-process materials. Such samples shall be representative and properly identified. |  |  |  |  |  |
| e) Determination of conformance to written descriptions of sampling procedures and appropriate specifications for drug products. Such samples shall be representative and properly identified. |  |  |  |  |  |
| f) The calibration of instruments, apparatus, gauges, and recording devices at suitable intervals in accordance with an established written program containing specific directions, schedules, limits for accuracy and precision, and provisions for remedial action in the event accuracy and/or precision limits are not met. Instruments, apparatus, gauges, and recording devices not meeting established specifications shall not be used. |  |  |  |  |  |
| 8.2 Testing and Release for Distribution |
| 8.2.1 For each batch of drug product, there shall be appropriate laboratory determination of satisfactory conformance to final specifications for the drug product, including the identity and strength of each active ingredient, prior to release. |  |  |  |  |  |
| 8.2.2 There shall be appropriate laboratory testing, as necessary, of each batch of drug product required to be free of objectionable microorganisms. |  |  |  |  |  |
| 8.2.3 Any sampling and testing plans shall be described in written procedures that shall include the method of sampling and the number of units per batch to be tested; such written procedure shall be followed. |  |  |  |  |  |
| 8.2.4 Acceptance criteria for the sampling and testing conducted by the quality control unit shall be adequate to assure that batches of drug products meet each appropriate specification and appropriate statistical quality control criteria as a condition for their approval and release. The statistical quality control criteria shall include appropriate acceptance levels and/or appropriate rejection levels. |  |  |  |  |  |
| 8.2.5 The accuracy, sensitivity, specificity, and reproducibility of test methods employed by the firm shall be established and documented. |  |  |  |  |  |
| 8.2.6 Drug products failing to meet established standards or specifications and any other relevant quality control criteria shall be rejected. Reprocessing may be performed. Prior to acceptance and use, reprocessed material must meet appropriate standards, specifications, and any other relevant criteria. |  |  |  |  |  |
| 8.3 Stability Testing |
| 8.3.1.1 There shall be a written testing program designed to assess the stability characteristics of drug products. The results of such stability testing shall be used in determining appropriate storage conditions and expiration dates. |  |  |  |  |  |
| 8.3.1.2 The written program shall be followed and shall include: |  |  |  |  |  |
| a) Sample size and test intervals based on statistical criteria for each attribute examined to assure valid estimates of stability. |  |  |  |  |  |
| b) Storage conditions for samples retained for testing. |  |  |  |  |  |
| c) Reliable, meaningful, and specific test methods. |  |  |  |  |  |
| d) Testing of the drug product in the same container-closure system as that in which the drug product is marketed. |  |  |  |  |  |
| e) Testing of drug products for reconstitution at the time of dispensing (as directed in the labeling) as well as after they are reconstituted. |  |  |  |  |  |
| 8.3.2 An adequate number of batches of each drug product shall be tested to determine an appropriate expiration date and a record of such data shall be maintained. |  |  |  |  | * |
| 8.3.3 For homeopathic drug products, the requirements of this section are as follows: |  |
| a) There shall be a written assessment of stability based at least on testing or examination of the drug product for compatibility of the ingredients, and based on marketing experience with the drug product to indicate that there is no degradation of the product for the normal or expected period of use. |  |  |  |  |  |
| b) Evaluation of stability shall be based on the same container-closure system in which the drug product is being marketed. |  |  |  |  |  |
| 8.4 Special Testing Requirements |
| 8.4.1 For each batch of drug product purporting to be sterile and/or pyrogen-free, there shall be appropriate laboratory testing to determine conformance to such requirements. The test procedures shall be in writing and shall be followed. |  |  |  |  |  |
| 8.4.2 For each batch of ophthalmic ointment, there shall be appropriate testing to determine conformance to specifications regarding the presence of foreign particles and harsh or abrasive substances. The test procedures shall be in writing and shall be followed. |  |  |  |  |  |
| 8.4.3 For each batch of controlled-release dosage form, there shall be appropriate laboratory testing to determine conformance to the specifications for the rate of release of each active ingredient. The test procedures shall be in writing and shall be followed. |  |  |  |  |  |
| 8.5 Reserve Samples |
| 8.5.1.1 An appropriately identified reserve sample that is representative of each lot in each shipment of each active ingredient shall be retained. |  |  |  |  |  |
| 8.5.1.2 The reserve sample consists of at least twice the quantity necessary for all tests required to determine whether the active ingredient meets its established specifications, except for sterility and pyrogen testing. |  |  |  |  |  |
| 8.5.1.3 The retention time is as follows: |  |
| a) For an active ingredient in a drug product other than those used in a radioactive or OTC drug product, the reserve sample shall be retained for 1 year after the expiration date of the last lot of the drug product containing the active ingredient. |  |  |  |  |  |
| b) For an active ingredient in a radioactive drug product, except for nonradioactive reagent kits, the reserve sample shall be retained for three months after the expiration date of the last lot of the drug product containing the active ingredient if the expiration dating period of the drug product is 30 days or less OR six months if the expiration dating period of the drug product is more than 30 days. |  |  |  |  |  |
| c) For an active ingredient in an OTC drug product that is exempt from bearing an expiration date, the reserve sample shall be retained for 3 years after distribution of the last lot of the drug product containing the active ingredient. |  |  |  |  |  |
| 8.5.2.1 An appropriately identified reserve sample that is representative of each lot or batch of drug product shall be retained and stored under conditions consistent with product labeling and in the same immediate container-closer system in which the drug product is marketed or has essentially the same characteristics. |  |  |  |  |  |
| 8.5.2.2 Reserve samples shall consist of at least twice the quantity necessary to perform all the required tests, except those for sterility and pyrogens. |  |  |  |  |  |
| 8.5.2.3 Reserve samples shall be examined visually at least once a year for evidence of deterioration unless visual examination would affect the integrity of the reserve sample. Any evidence of reserve sample deterioration shall be investigated. The results of the examination shall be recorded and maintained with other stability data on the drug product. |  |  |  |  | * |
| 8.6 Laboratory Animals |
| 8.6.1.1 Animals used in testing components, in-process materials, or drug products for compliance with established specifications shall be maintained and controlled in a manner that assures their suitability for their intended use. |  |  |  |  |  |
| 8.6.1.2 They shall be identified, and adequate records shall be maintained showing the history of their use. |  |  |  |  | * |
| 8.7 Penicillin Contamination |
| 8.7.1.1 Non-penicillin drug products shall be tested for the presence of penicillin if a reasonable possibility exists that is has been exposed to cross-contamination with penicillin. |  |  |  |  |  |
| 8.7.1.2 Non-penicillin drug products shall not be marketed if detectable levels are found when tested according to procedures specified in `Procedures for Detecting and Measuring Penicillin Contamination in Drugs,' which is incorporated by reference. |  |  |  |  |  |
| J. RECORDS AND REPORTS |
| 9.1 General Requirements |
| 9.1.1 Any production, control, or distribution record that is required to be maintained in compliance with this part and is specifically associated with a batch of a drug product shall be retained for at least 1 year after the expiration date of the batch or, in the case of certain OTC drug products lacking expiration dating because they meet the criteria for exemption, 3 years after distribution of the batch. |  |  |  |  |  |
| 9.1.2 Records shall be maintained for all components, drug product containers, closures, and labeling for at least 1 year after the expiration date or, in the case of certain OTC drug products lacking expiration dating because they meet the criteria for exemption, 3 years after distribution of the last lot of drug product incorporating the component or using the container, closure, or labeling. |  |  |  |  | * |
| 9.1.3 All records or copies of such records required under this part, shall be readily available for authorized inspection during the retention period at the establishment where the activities described in such records occurred. |  |  |  |  |  |
| 9.1.4.1 Written records required by this part shall be maintained so that data therein can be used for evaluating, at least annually, the quality standards of each drug product to determine the need for changes in drug product specifications or manufacturing or control procedures. |  |  |  |  | * |
| 9.1.4.2 Written procedures shall be established and followed for such evaluations and shall include provisions for: |  |
| a) A review of a representative number of batches, whether approved or rejected, and, where applicable, records associated with the batch. |  |  |  |  |  |
| b) A review of complaints, recalls, returned or salvaged drug products, and investigations conducted for each drug product. |  |  |  |  |  |
| 9.1.5 Procedures shall be established to assure that the responsible officials of the firm, if they are not personally involved in or immediately aware of such actions, are notified in writing of any investigations conducted, any recalls, reports of inspectional observations issued by the FDA or any regulatory actions relating to GMP brought by the FDA. |  |  |  |  |  |
| 9.2 Equipment Cleaning and Use Log |
| 9.2.1.1 A written record of major equipment cleaning, maintenance (except routine maintenance such as lubrication and adjustments), and use shall be included in individual equipment logs that show the date, time, product, and lot number of each batch processed. |  |  |  |  | * |
| 9.2.1.2 In cases where dedicated equipment is employed, the records of cleaning, maintenance, and use shall be part of the batch record. |  |  |  |  |  |
| 9.2.1.3 Persons performing and double-checking the cleaning and maintenance shall date and sign or initial the log indicating that the work was performed. |  |  |  |  |  |
| 9.2.1.4 Entries in the log shall be in chronological order. |  |  |  |  |  |
| 9.3 Component, Drug Product Container, Closure, and Labeling Records |
| 9.3.1 Records shall include the following: |  |
| a) The identity and quantity of each shipment of each lot of components, drug product containers, closures, and labeling. |  |  |  |  | * |
| b) The name of the supplier. |  |  |  |  |  |
| c) The suppliers lot number. |  |  |  |  |  |
| d) The receiving code and date of receipt. |  |  |  |  |  |
| e) The name and location of the prime manufacturer, if different from the supplier. |  |  |  |  |  |
| f) The results of any test or examination performed and the conclusions derived therefrom. |  |  |  |  |  |
| g) An individual inventory record of each component, drug product container, and closure and, for each component, a reconciliation of the use of each lot of such component. The inventory record shall contain sufficient information to allow determination of any batch or lot of drug product associated with the use of each component, drug product container, and closure. |  |  |  |  |  |
| h) Documentation of the examination and review of labels and labeling for conformity with established specifications. |  |  |  |  |  |
| i) The disposition of rejected components, drug product containers, closure, and labeling. |  |  |  |  |  |
| 9.4 Master Production and Control Records |
| 9.4.1.1 Master production and control records for each drug product, including each batch size thereof, shall be prepared, dated, and signed (full signature, handwritten) by one person and independently checked, dated, and signed by a second person. |  |  |  |  | * |
| 9.4.1.2 The preparation of master production and control records shall be described in a written procedure and such written procedure shall be followed. |  |  |  |  |  |
| 9.4.2 Master production and control records shall include: |  |
| a) The name and strength of the product and a description of the dosage form. |  |  |  |  |  |
| b) The name and weight or measure of each active ingredient per dosage unit or per unit of weight or measure of the drug product, and a statement of the total weight or measure of any dosage unit. |  |  |  |  |  |
| c) A complete list of components designated by names or codes sufficiently specific to indicate any special quality characteristic. |  |  |  |  |  |
| d) An accurate statement of the weight or measure of each component, using the same weight system for each component. Reasonable variations may be permitted, however, in the amount of components necessary for the preparation in the dosage form, provided they are justified in the master production and control records. |  |  |  |  |  |
| e) A statement concerning any calculated excess of component. |  |  |  |  |  |
| f) A statement of theoretical weight or measure at appropriate phases of processing. |  |  |  |  |  |
| g) A statement of theoretical yield, including the maximum and minimum percentages of theoretical yield beyond which investigation is required. |  |  |  |  |  |
| h) A description of the drug product containers, closures, and packaging materials, including a specimen or copy of each label and all other labeling signed and dated by the person or persons responsible for approval of such labeling. |  |  |  |  |  |
| i) Complete manufacturing and control instructions, sampling and testing procedures, specifications, special notations, and precautions to be followed. |  |  |  |  |  |
| 9.5 Batch Production and Control Records |
| 9.5.1.1 Batch production and control records shall be prepared for each batch of drug product produced and shall include complete information relating to the production and control of each batch. |  |  |  |  | * |
| 9.5.1.2 These records shall include: |  |
| a) Dates. |  |  |  |  |  |
| b) Identity of individual major equipment and lines used. |  |  |  |  |  |
| c) Specific identification of each batch of component or in-process material used. |  |  |  |  |  |
| d) Weights and measures of components used in the course of processing. |  |  |  |  |  |
| e) In-process and laboratory control results. |  |  |  |  |  |
| f) Inspection of the packaging and labeling area before and after use. |  |  |  |  |  |
| g) A statement of the actual yield and a statement of the percentage of theoretical yield at appropriate phases of processing. |  |  |  |  |  |
| h) Complete labeling control records, including specimens or copies of all labeling used. |  |  |  |  |  |
| i) Description of drug product containers and closures. |  |  |  |  |  |
| j) Any sampling performed. |  |  |  |  |  |
| k) Identification of the persons performing and directly supervising or checking each significant step in the operation, or if a significant step in the operation is performed by automated equipment, the identification of the person checking the significant step performed by the automated equipment. |  |  |  |  |  |
| l) Any investigations. |  |  |  |  |  |
| m) Results of examinations. |  |  |  |  |  |
| 9.6 Production Record Review |
| 9.6.1.1 All drug product production and control records, including those for packaging and labeling, shall be reviewed and approved by the quality control unit to determine compliance with all established, approved written procedures before a batch is released or distributed. |  |  |  |  |  |
| 9.6.1.2 Any unexplained discrepancy or the failure of a batch or any of its components to meet any of its specifications shall be thoroughly investigated, whether or not the batch has already been distributed. |  |  |  |  |  |
| 9.6.1.3 A written record of the investigation shall be made and shall include the conclusions and followup. |  |  |  |  | * |
| 9.7 Laboratory Records |
| 9.7.1 Records shall include complete data derived from all tests necessary to assure compliance with established specifications and standards, including examinations and assays, as follows: |  |
| a) A description of the sample received for testing with identification of source (that is, location from where sample was obtained), quantity, lot number or other distinctive code, date sample was taken, and date sample was received for testing. |  |  |  |  |  |
| b) A statement of each method used in the testing of the sample. The statement shall indicate the location of data that establish that the methods used in the testing of the sample meet proper standards of accuracy and reliability as applied to the product tested. |  |  |  |  |  |
| c) The suitability of all testing methods used shall be verified under actual conditions of use. |  |  |  |  |  |
| d) A statement of the weight or measure of sample used for each test, where appropriate. |  |  |  |  |  |
| e) A complete record of all data secured in the course of each test, including all graphs, charts, and spectra from laboratory instrumentation, properly identified to show the specific component, drug product container, closure, in-process material, or drug product, and lot tested. |  |  |  |  |  |
| f) A record of all calculations performed in connection with the test, including units of measure, conversion factors, and equivalency factors. |  |  |  |  |  |
| g) A statement of the results of tests and how the results compare with established standards of identity, strength, quality, and purity for the component, drug product container, closure, in-process material, or drug product tested. |  |  |  |  |  |
| h) The initials or signature of the person who performs each test and the date(s) the tests were performed. |  |  |  |  |  |
| i) The initials or signature of a second person showing that the original records have been reviewed for accuracy, completeness, and compliance with established standards. |  |  |  |  |  |
| 9.7.2 Complete records shall be maintained of any modification of an established method employed in testing. Such records shall include the reason for the modification and data to verify that the modification produced results that are at least as accurate and reliable for the material being tested as the established method. |  |  |  |  | * |
| 9.7.3 Complete records shall be maintained of any testing and standardization of laboratory reference standards, reagents, and standard solutions. |  |  |  |  | * |
| 9.7.4 Complete records shall be maintained of the periodic calibration of laboratory instruments, apparatus, gauges, and recording devices. |  |  |  |  | * |
| 9.7.5 Complete records shall be maintained of all stability testing performed. |  |  |  |  |  |
| 9.8 Distribution Records |
| 9.8.1 Records shall contain the name and strength of the product and description of the dosage form, name and address of the consignee, date and quantity shipped, and lot or control number of the drug product. |  |  |  |  | * |
| 9.9 Complaint Files |
| 9.9.1.1 Written procedures describing the handling of all written and oral complaints regarding a drug product shall be established and followed. |  |  |  |  |  |
| 9.9.1.2 Procedures shall include provisions for review by the quality control unit, of any complaint involving the possible failure of a drug product to meet any of its specifications and, for such drug products, a determination as to the need for an investigation. |  |  |  |  |  |
| 9.9.1.3 Procedures shall include provisions for review to determine whether the complaint represents a serious and unexpected adverse drug experience which is required to be reported to the Food and Drug Administration. |  |  |  |  |  |
| 9.9.2.1 A written record of each complaint shall be maintained in a file designated for drug product complaints and at the establishment where the drug product was manufactured, processed, or packed. |  |  |  |  | * |
| 9.9.2.2 Written records involving a drug product shall be maintained until at least 1 year after the expiration date of the drug product, or 1 year after the date that the complaint was received, whichever is longer. |  |  |  |  |  |
| 9.9.2.3 In the case of certain OTC drug products lacking expiration dating such written records shall be maintained for 3 years after distribution of the drug product. |  |  |  |  |  |
| 9.9.2.4 The written record shall include the following information, where known: |  |
| a) The name and strength of the drug product, lot number, name of complainant, nature of complaint, and reply to complainant. |  |  |  |  |  |
| b) the findings of the investigation and follow-up. The record or copy of the record of the investigation shall be maintained at the establishment where the investigation occurred |  |  |  |  |  |
| c) the reason that an investigation was found not to be necessary and the name of the responsible person making such a determination |  |  |  |  |  |
| K. RETURNED AND SALVAGED DRUG PRODUCTS |
| 10.1 Returned Drug Product |
| 10.1.1 Returned drug products shall be identified as such and held. |  |  |  |  |  |
| 10.1.2 If the conditions under which returned drug products have been held, stored, or shipped before or during their return, or if the condition of the drug product, its container, carton, or labeling, as a result of storage or shipping, casts doubt on the safety, identity, strength, quality or purity of the drug product, the returned drug product shall be destroyed unless examination, testing, or other investigations prove the drug product meets appropriate standards of safety, identity, strength, quality, or purity. |  |  |  |  |  |
| 10.1.3 Records of returned drug products shall be maintained and shall include the name and label potency of the drug product dosage form, lot number (or control number or batch number), reason for the return, quantity returned, date of disposition, and ultimate disposition of the returned drug product. |  |  |  |  | * |
| 10.1.4 If the reason for a drug product being returned implicates associated batches, an appropriate investigation shall be conducted. |  |  |  |  |  |
| 10.1.5 Procedures for the holding, testing, and reprocessing of returned drug products shall be in writing and shall be followed. |  |  |  |  |  |
| 10.2 Drug Product Salvaging |
| 10.2.1 Organoleptic examinations shall be acceptable only as supplemental evidence that the drug products meet appropriate standards of identity, strength, quality, and purity. |  |  |  |  |  |
| 10.2.2 Records including name, lot number, and disposition shall be maintained for drug products subject to this section. |  |  |  |  | * |

## Document Revision History

| Date | Description |
| --- | --- |
| 12/9/2011 | Added CAB Information Block |
| 8/27/18 | Reformatted, Added bolded boxes, asterisks and updated the header |