BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)

2nd Floor, Bharat Sanchar Bhawan, HC Mathur Lane,

Janpath, New Delhi- 110001

From:						   To,

AGM (MMY)						.................................................

2nd Floor, Broadband Section,			.................................................

Bharat Sanchar Bhawan, HCM Lane,		.................................................

Janpath, New Delhi – 110001.       			.................................................

No………………………………………………………………………………..		Dated: xx/xx/2014

# Sub: BID document for supply, installation, testing, commissioning, warranty and comprehensive AMC of LIM (Lawful interception monitoring) augmentation equipments at different IGW (International Gateway) locations.

Please find enclosed the tender document in respect of above mentioned subject which contains the following.

Table No: 1

| S. No. | Section/Annexure | Item | Page No. |
| --- | --- | --- | --- |
|  | Section 1 | Detailed NIT |  |
|  | Section 2 | Tender Information |  |
|  | Section 3 Part A | Scope of work |  |
|  | Section 3 Part B | Technical Specifications/ Requirements |  |
|  | Section 3 Part C | Schedule of Requirements(SOR) |  |
|  | Section 4 Part A | General Instructions to Bidders(GIB) |  |
|  | Section 4 Part B | Special Instructions to Bidders(SIB) |  |
|  | Section 4 Part C | E-tendering Instructions to Bidders |  |
|  | Section 5 Part A | General (Commercial) Conditions of Contract (GCC) |  |
|  | Section 5 Part B | Special (Commercial) Conditions of Contract (SCC) |  |
|  | Section 5 Part C | AMC agreement |  |
|  | Section 6 | Undertaking & declaration |  |
|  | Section 7 | Proforma (s) |  |
|  | Section 8 | Bidder’s profile & Questionnaire. |  |
|  | Section 9 | Bid Form & Price Schedule |  |
|  | Section 10 | Draft Agreement with regard to security |  |

If interested, kindly submit your offers by means of online bids only through Electronic Tendering at the portal detailed in ‘Special Instructions to Bidders for E-Tendering’ before 11:30 hours of --/--/2014.

AGM (-----)

Phone Number - (Off) 011-…………..

FAX 011-…………..

E-Mail: ………@bsnl.co.in

SECTION-1

### DETAILED NOTICE INVITING TENDER

- On behalf of Chairman and Managing Director, Bharat Sanchar Nigam Limited, digitally sealed online tenders, on rupee payment basis, are invited by BSNL CO, New Delhi in Single Stage Bidding and two stage Opening using two Electronic Envelopes (Techno-commercial bid and Financial bid) from the eligible bidders for supply, installation, testing, commissioning ,warranty and comprehensive AMC of following LIM ( Lawful interception monitoring) augmentation equipments at different IGW (International Gateway) locations.

| S.No | Name of the item | Quantity in number |
| --- | --- | --- |
| 1. | 10G Passive Optical TAPs (SM 1310/1550 nm) | 38 |
| 2. | Aggregation Load Balancing switch | 7 |
|  | a. 10Gbps SFP+ SR (850 nm) | 112 |
|  | b. 10Gbps SFP+ LR (1310 nm | 224 |
| 3. | Servers, RHEL | 84 |
| 4. | 42 U server Racks (Included in Server Specs.) | 16 |
| 5. | Manageable 24 ports Gigabit Ethernet Switch | 10 |
| 6. | Optical Patch cables Multi-Mode 5M (LC-LC) | 106 |
| 7. | Optical Patch cables Single-Mode 5M (LC-LC) | 77 |
| 8. | Optical Patch cables Single-Mode 20M (LC-LC) | 36 |
| 9. | Cat 6 Patch Cables 5M | 190 |
| 10. | Cat 6 Patch Cables 20M | 16 |
| 11. | UPS (1+1 configuration) capacity 10KVA | 1 |
| 12. | UPS (1+1 configuration) capacity 20KVA | 2 |
| 13. | UPS (1+1 configuration) capacity 30KVA | 5 |

Note1: The quantity /no. / Sites stated above are estimated and BSNL reserves the right to vary the quantity to the extent of -25 % to +25 % of specified quantity at the time of award of the contract i.e. APO without any change in unit price or other terms & conditions.

Note2: There is no provision for MSE bidder in this tender.

- Sale of Tender Document:

  - As this Tender Document shall be following the e-Tendering Process, the Bidders may download the Detailed NIT from the BSNL Web site http://www.bsnl.co.in following the Link for “Tender Notice” by BSNL in the tender section from ----------------- (1800 Hrs) onwards.

  - Tender Document shall be available for downloading only after

- Payment of INR 4,000/- (INR Four Thousand Only inclusive of taxes), which shall be non-refundable in the form of crossed demand draft, drawn on any scheduled bank in favour of ‘Accounts Officer (Cash), BSNL Corporate Office, New Delhi; and

- Bidder is required to register compulsorily and complete all the required formalities on the E-tender portal https://www.tcil-india-electronictender.com. Thereafter, upon payment of INR 4,000/- towards tender document fee and submission of the NDA to AGM(MMY), 2nd Floor, Bharat Sanchar Bhawan, Janpath, New Delhi-1, the prospective Bidder will be authorized by MM cell, BSNL Corporate Office, New Delhi, to access/download the tender document from the E-tendering portal only.

- e-Tendering Process

BSNL has decided to use the e-Tendering Process for inviting Bids for this Tender and thus the physical copy of the Tender would not be sold. The special instructions to Bidders for e-Tendering is provided in Section 4-Part B of this Tender.

- Eligibility Criteria:

- The Bidder shall be a company registered/incorporated in India under the Indian Companies Act, 1956.

- The Bidder shall have a minimum annual turnover of at least INR 50 Crores in each of the last 2 financial years i.e. financial year 2011-12, FY 2012-13. Audited Balance sheets for the last 2 financial years i.e. financial year 2011-12, FY 2012-13 shall be enclosed as supporting document.

- The main technology blocks of the projects consists mainly of Optical taps, Servers, load balancing switch etc. The bidder shall provide a list of the OEMs/ main technology partners whose equipment / solutions are being offered in the bid. Only one combination for the whole set of equipment shall be quoted. Alternative technology options within the bid are not acceptable and such bids shall be rejected. The bidder shall furnish signed letters from all the partners stating their participation in the said tender.

- The bidder shall be the authorized agent / dealer / channel partner for all the OEMs whose equipment / solutions are being offered in the bid. Documentary evidence of the same shall be submitted. In case the bidder is not yet authorized by OEM, OEM’s letter of commitment to support the installation, either directly or through their authorized representative, for 1 year during warranty and subsequent 4 years AMC after warranty shall be submitted.

- The Bidder shall have the experience of integrating and successfully implementing at least two projects comprising Optical taps, Servers, load balancing switch etc with project value of INR 5 Crore each or more after 01-04-2010. Certificates in this respect issued by the client(s) shall be submitted as part of the bid documents, indicating the equipment and software details and certificate of satisfactory performance for more than one year as on date of bid submission.

- The Bidder must have a sound and well documented Quality Framework. The hardware equipment proposed to be offered in the project shall have been manufactured in accordance with ISO 9001:2000 or equivalent. The Bidder shall accordingly submit a copy of certificate to the effect.

- The bidder must have a valid PAN Number.

- The bidder must have a valid Sales/ Service Tax registration certificate number or exemption certificate number.

- EMD:

6.1	The bidder shall furnish the bid EMD of INR 70 lakh in one of the following ways.

- Demand draft/Banker’s cheque drawn in favour of AO (cash), BSNL CO Payable at Delhi.

- Bank Guarantee from a scheduled bank drawn in favour of ‘DGM (MMT), BSNL, Delhi which shall be valid for 180 days from the tender opening date.

- Online Submission of Tender bid: Upto 11:30Hrs of tender closing date

(________________)

7.1	In case the date of submission (opening) of bid is declared to be a holiday, the date of submission (opening) of bid will get shifted automatically to next working day at the same scheduled time. Any change in bid opening date due  to  any  other  unavoidable  reason  will  be  intimated  to  all  the  bidders separately.

- Online Opening of Tender bids: At 12:00 Hours of this tender closing date (____________)

- Place of opening of Tender bids: BSNL  has  adopted  e-tendering  process which   offers  a  unique  facility  for ‘Public  Online   Tender   Opening   Event (TOE)’.

BSNL’s Tender opening Officers as well as authorized representatives of bidders can attend the Public Online Tender Opening Event (TOE) from the comfort of their offices. Please refer clause 8 of Section 4 Part C of Tender document for further instructions.

However, if required authorized representatives of bidders (i.e. Bidder organization) can attend the TOE at the Meeting Room, 2nd    Floor, Bharat Sanchar Bhawan, Janpath, New Delhi, where BSNL’s Tender Opening Officers would be conducting Public Online Tender Opening Event (TOE).

- Tender bids received after due time and date will not be accepted.

- Incomplete, ambiguous, conditional, unsealed tender bids are liable to be rejected.

- CMD BSNL reserves the right to accept or reject any or all tender bids without assigning any reason. He is not bound to accept the lowest tender.

- Tender  document  can  be  downloaded  from  the  website   www.bsnl.co.in following   Link  “Tender Notice”  or  from   https://www.tcil-india- electronictender.com.

- The 	bidder 	shall 	furnish a digitally signed copy with no addition/ deletion/ corrections   in   the   downloaded   tender   document   being submitted and it is identical to the tender document appearing on Web-site.

- In case of any correction/addition/alteration/omission in the tender document, the  tender  bid  shall  be  treated  as  non  responsive  and  shall  be  rejected summarily.

- All documents submitted/uploaded in the bid offer shall be preferably in

English and must be physically signed by bidder. In case the certificate viz experience, registration etc. is issued in any other language other than English, the bidder shall attach an English translation of the same  duly  attested by the  bidder  & the  translator  to be true copy in addition to the relevant certificate.

- All computer  generated documents  shall be  duly attested/signed by the issuing organization.

Section 2

Tender Information

- Type of tender: Single Stage Bidding, Two stage opening using – Two Electronic Envelopes without e-reverse auction.

Note 1: The bids will be evaluated techno-commercially and financial bids of techno-commercially compliant bidders only shall be opened.

- Bid Validity Period / Validity of bid Offer for acceptance by BSNL:- 150 days from the tender opening date.

- The tender offer shall contain two e-envelopes viz. techno-commercial and  financial  envelope which will contain one set of the following documents only :

- Techno-commercial e-envelope shall contain Electronic Form-Technical with all relevant bid annexure of following, but not limited to, documents :

    - EMD

    - Receipt/Proof of the tender fee.

    - Certificate(s) showing fulfillment of the eligibility criteria(s) stated in Clause 4 of the Detailed NIT.

    - Power of Attorney & authorization for executing the power of Attorney in accordance with clause 14.3 of Section 4 Part A

    - Integrity Pact (if applicable)

    - Clause by clause compliance as per clause 11.2 of Section-4A

    - Bidder’s Profile & Questionnaire duly filled & signed.

    - Non-Relation Certificate duly filled & signed.

    - Undertaking & declaration duly filled & signed

    - Documents stated in clause 10 of Section-4 Part A.

    - Tender/ Bid form- Section 9 Part A

    - Electronic Form- Technical duly filled & signed

Note 2: 	In case the bidder is unable to upload any of the documents listed above, he may submit the same physically. However EMD & cost of tender document will be submitted in original in physical form.

- Financial envelope shall contain:

i)	Electronic Form- financial along with Price Schedule with all relevant bid annexure

- The following documents are required to be submitted offline (i.e. offline submissions) to DM (MMT), BSNL, C.O. 2nd Floor, Bharat Sanchar Bhawan, Janpath, New Delhi-110001 on or before the date & time of submission of bids in a sealed envelope.

The envelope shall bear the tender number, name of work and the phrase: “Do Not Open Before (due date & time of opening of tender)”.

i)  	EMD – Bid security (original copy)

ii) 	DD/ Banker’s cheque of Tender fee

iii) 	Power of Attorney in accordance with clause 14.3 of section 4 Part A and authorization for executing the power of Attorney.

iv)  	Integrity Pact (if applicable)

- Payment terms :

  - The equipment is to be supplied as consignee wise package. The bidder shall submit the bill for payment for the complete package of equipments. Payment shall be made in Indian Rupees only. The payment terms shall be as follows:

5.1.1	For the Equipment (H/w & S/w)

(i).	50% on the supply of the equipment/ materials at site in satisfactory condition on physical inspection basis.

(ii).	45 % after installation & commissioning.

(iii).	5 % after warranty period of 1 year.

5.1.2	For Services:

(i)	100% of Installation and Commissioning charges will be paid site wise on successful commissioning of the equipments site wise.

5.1.3	For Annual Maintenance Contract (AMC) –

(i).	No advance payment for AMC shall be made.

(ii).	Bills for AMC shall be paid at the end of each quarter, after successful execution of the works normally within 15 (fifteen) days of the receipt of AMC bills.

(iii).	All payments shall be made by based on the fault report received, after making due adjustment towards SLA penalties. It has to be ensured by the bidder that it has back to back AMC agreements with all associated OEMs.

- Delivery Schedule:

  - The delivery of the goods including installation & commissioning shall be completed by the Bidder within 90 days from the date of issue of Purchase Order (PO).

  - The Purchase order is liable to be short closed at the end of the scheduled delivery period with the accepted supplies. No supplies shall be made or production be continued in anticipation of extension of delivery date.

7.	Consignee: The consignee details of various locations shall be specified in the PO.

Section 3 Part A

SCOPE OF WORK

# 1.	Scope of Work: Supply, installation, testing, commissioning, warranty and comprehensive AMC  of LIM (Lawful interception monitoring) augmentation equipments at different IGW ( International Gateway) locations as per specifications mentioned in Section 3 Part B.

2.	Responsibilities of the BSNL

- Provision of required space and air conditioning for installation of equipment at the designated sites.

- Making available raw power supply for powering of the equipments .UPS is to be supplied by the bidder.

- Access to tap points, connectivity to the BSNL network to be monitored.

d)	Installation of Application software and its testing by C-DOT.

3.	Responsibilities of the bidder

- Supply of equipment to the consignees at various locations which shall include complete equipment along with cables, accessories, tools, hardware, software etc.

- Installation of equipment including transportation of material to the installation site, physical installation of racks, installation of cables required for interconnections and extending the connectivity from the installed equipment to the taps and / or BSNL designated point(s) for monitoring.

- Supply and laying / installation of power connectors and power cabling from the supplied servers’ rack/UPS to raw power distribution point / board provided by BSNL at the site. Bidder shall provide necessary cables for this work. Detailed Instructions on interconnectivity and configuration specific to each site will be discussed /shared with the selected bidder.

- Installation of all network connection cables, whether copper or optical (Detailed Instructions on interconnectivity and configuration specific to each site will be discussed/shared with the selected bidder).

- Necessary integration of the existing LIM equipment as detailed in clause 4 below will be carried out by the bidder without any extra cost.

- Testing and commissioning of the complete network as per the specifications of the tender and test schedule proposed by bidder & approved by BSNL. All the testing/ installation tools as required for testing and commissioning will be arranged by the bidder.

g)	Before bidding, Bidder shall interact with CGM BBNW circle BSNL office Netaji Nagar, New Delhi for facilitating visits to all the 8 locations to ascertain the requirements for integration.

# h)	All Equipments, Elements, Hardware, Software supplied through this tender shall be IPV6 compliant and need to be implemented/ validated with IPv6 addressing scheme  in addition to IPv4 addressing scheme.

4. The detail of existing equipment/items on 5 existing sites is as under:

| S. No. | Items/Qty. | Delhi | Mumbai Fountain | Bangalore East | Kolkata | Chennai Haddows Road |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 10G Passive Optical TAPs (SM 1310nm) | 2 | 6 | 6 | 2 | 6 |
| 2 | Aggregation Load Balancing switch 24 port | 1 | 2 | 1 | 1 | 2 |
|  | a. 10Gbps SFP+ SR (850 nm) | 8 | 16 | 8 | 8 | 16 |
|  | b. 10Gbps SFP+ LR (1310 nm) | 8 | 16 | 4 | 8 | 16 |
|  | c. 10Gbps SFP+ ER (1550 nm) | 8 | 16 | 12 | 8 | 16 |
|  | d. 1Gbps SFP LX (1310 nm) | 0 | 0 | 0 | 0 | 0 |
|  | e. 1Gbps SFP ZX (1550 nm) | 0 | 0 | 0 | 0 | 0 |
| 3 | Servers, RHEL | 5 | 12 | 4 | 3 | 12 |
| 4 | 42 U server Racks | 1 | 2 | 1 | 1 | 2 |
| 5 | Manageable 24 ports Gigabit EthernetSwitch | 1 | 2 | 1 | 1 | 2 |
| 6 | Optical Patch cables Multi-Mode 5M (LC-LC) | 8 | 16 | 12 | 8 | 16 |
| 7 | Optical Patch cables Multi-Mode 20M (LC-LC) |  |  |  |  |  |
| 8 | Optical Patch cables Single-Mode 5M (LC-LC) | 5 | 10 | 10 | 5 | 10 |
| 9 | Optical Patch cables Single-Mode 20M (LC-LC) | 5 | 10 | 10 | 5 | 10 |
| 10 | Cat 6 Patch Cables 5M | 12 | 30 | 10 | 8 | 30 |
| 11 | Cat 6 Patch Cables 20M | 2 | 2 | 2 | 2 | 2 |

Bidder shall do integration of above existing equipments with supplied equipments.

Section 3 Part B

TECHNICAL SPECIFICATIONS / Requirements

1.	FUNCTIONAL & TECHNICAL SPECIFICATIONS

1.1	Passive Optical Taps 10Gigabit:

1.1.1 Fiber Tap shall allow the uninterrupted pass through of full duplex data over a fiber optic link while providing a duplicate signal to the monitoring ports for each unidirectional network connection.

1.1.2 Depending on the number of TAPSs required per site, vendor may quote individual TAPs or  group TAPs (e.g. 4 in One or more)

| S.No. | Specifications | Details |
| --- | --- | --- |
|  | Type | Inline Passive Optical TAPs |
|  | Split Ratio | 70:30 |
|  | Data Rates | Up to 10 Gbps, Complete data capture at line speed |
|  | Bandwidth | 1310/1550 nm (both), single Mode |
|  | Connector Type | LC |
|  | Rack Mountable | Yes |
|  | Warranty | 1 Year onsite replacement |

## 1.2	Load balancing switch:

| S.No. | Specifications | Details |
| --- | --- | --- |
|  | No. of Ports | 48X10Gbps Ethernet SFP+ Module based ports (Fully Compliant to IEEE 802.3) |
|  | Functions Supported | (i) Aggregation, Regeneration, Packet filtering, and load balancing of monitoring traffic (ii) Device shall be able to receive traffic either from 10G SPAN ports or external Taps/splitters (iii) Shall be compatible with the routers /switches /Splitters /TAPs and server NIC cards from all major OEMs |
|  | Port Mapping Features | (i) Traffic aggregation (Any number of input ports) (ii) Regeneration of traffic to any number of output ports (iii)Shall be able to configure any port as input, output or both |
|  | Traffic filtering | (i) IP source or destination address (ii) MAC source or destination address (iii) Source or destination port/protocol (iv) VLAN |
|  | IP Packet Load Balancing | Traffic received on input ports shall be aggregated and load balanced to the multiple groups of Minimum 8 destination ports in each group on the following basis- (i) Session/Flow based (Source IP, Destination IP, Src port, Dest port) (ii) Port addresses/Protocol (iii) MAC addresses (iv) VLAN Automatic inclusion of returned packets of same flow/session in the load balancing criteria. Automatic failover of load balancing to other ports in the group in case a monitoring device connected to a port is failed (based on health monitoring) Load balancing of all types of IP packets with different headers or encapsulations like MPLS, VLAN, GTP etc De-encapsulation or Striping of Labels/Headers for the protocols like MPLS, GTP, VLAN for entire input or output traffic. |
|  | Switching Performance | (i) Min 480 Gbps for 48x10Gbps ports, scalable to 640Gbps or higher, without dropping any packet. (ii) Support for Min 4x40Gbps QSFP+ based ports within the same chassis for future upgradation. (iii) Scalability through stacking or virtualization of such multiple devices will be preferred. |
|  | Management | (i) RMON Statistics (ii) CLI using local console or remote SSH Connection (iii) WEB based |
|  | Supported SFPs | (i) 10G SR SFP+ (850nm Multi mode) (ii) 10G LR SFP+ (1310/1550nm single Mode) (iii)40G SR QSFP+ (850nm Multi mode) (iv)40G LR QSFP+ (1310/1550nm single Mode) |
|  | Power | 230V AC 50hz , Dual redundant hot swappable power supplies. |
|  | Warranty | (i) 1 year Onsite Replacement (ii) All updates & upgrades on release by OEM will be provided |

Note:  (1) Price of each type of SFP+ module shall be quoted separately. (2) Devices will be supplied without limiting any feature or functionality. (3) Appropriate management application if required to manage devices will be included.

## 1.3   Servers:

| S.No. | Specification | Details |
| --- | --- | --- |
|  | Processor | Intel® Xeon® Processors – 4 Nos E7-4860 Series, 2.26 GHz, 24MB cache |
|  | Memory | 128 GB, PC3-10600 DDR III, expandable to 1TB |
|  | Internal Storage | Min 8x600GB SFF 6Gb/s, 10K SAS Disks |
|  | Hard disk Controller | SAS RAID Controller (RAID 5/6) with 1GB Cache |
|  | Optical Drive | DVDROM |
|  | Graphics | Integrated SVGA graphics interface |
|  | Network Interface | High performance, PCI Express Gen2 compliant, Server Ethernet NIC with multifunction capability including TCP Offload (TOE), VLAN Tagging, 9K Jumbo frames, IPV4 & IPV6 and teaming for failover and load balancing (a) 2xGigabit Ethernet NIC (10/100/1000 Mbps) (b) 2x10Gigabit, SR Optical (Intel 82599 Based) |
|  | I/O Ports | Minimum 5xUSB2.0 |
|  | Power Supply | Hot Plug AC 230V/50Hz, Redundant Power supply |
|  | Chassis | Rack Mountable with accessories |
|  | Management | Integrated Remote Management controller (enabled). Remote management solution shall support SSL encryption of HTTP traffic |
|  | Supported OS | Red Hat® Linux® Enterprise v5 (64bit) Advanced Platform, VMWARE, Xen Server |
|  | OS to be Supplied | Red Hat Enterprise V6 (64 bits) Linux Server Standard (up to 1 guest) 4 Sockets |
|  | Warranty | 1 Year, On-site |

Common Items required per site:-

- Keyboard, Mouse, 15” TFT Monitor per rack to be connected through KVM.

- KVM switch per rack to support  up to 8 Servers

- 42 U OEM 9KW Server rack to mount  servers , KVM Switch, Ethernet Switch, Single Monitor, Keyboard and Mouse with dual PDU and MCB protection. Evenly distributed holes from top to bottom of front and rear doors to permit adequate airflow (equivalent to the required 64 percent open area for ventilation).  Each PDU shall support 12xC13 (10A) receptacles and NEMA connectors.

## 1.4   Manageable 24 ports GE Switch:

| S.No. | Specifications |
| --- | --- |
| A | Functional Requirements |
|  | 1URack Mountable switch |
|  | 230V–50Hz power supply |
|  | (i) 24x10/100/1000Mbps RJ45 Ethernet ports (ii) 2x 1000Base-SX up link ports |
|  | Minimum Switching capacity 52 Gbps and Minimum forwarding rate 38 Mpps. |
|  | VLANs: Multiple VLAN with Inter VLAN Routing. |
|  | VLAN support for (i) 802.1Q tag-based VLANs and trunking (ii) Protocol-based VLAN (iii) Management VLAN |
|  | IEEE802.3adLinkAggregationControlProtocol(LACP) |
|  | Automatic media dependent interface crossover(MDIX) |
|  | QoS intelligence to prioritize delay-sensitive and high-bandwidth network traffic |
|  | Spanning Tree Protocol (i) IEEE 802.1D Spanning Tree (ii) IEEE 802.1w /s Rapid Spanning Tree, Multiple Spanning Tree |
|  | 802.1p class of service(CoS) and differentiated services code point(DSCP) |
|  | Support for IPv6s witching in hardware |
| B | Security Features |
|  | IEEE802.1xdynamic port based and Access control (ACL)based security |
|  | Secure Shell(SSHv2)Protocol and Simple Network Management Protocol version3 (SNMPv3),Web based (HTTP/HTTPS) management interface |
|  | Port mirroring to Traffic on a port to another port for analysis with a network analyzer or RMON probe |
|  | TACACS+ and RADIUS authentication |
|  | Support for Jumbo frames(9216bytes) |
|  | 1 year comprehensive onsite warranty |

1.5	Miscellaneous Items:

All the patch cords, cables etc shall be factory made, certified and from reputed brands. Cable Length, connector type and quantity may be redefined according to the site requirements.

1.6      UPS:

UPS backup shall be minimum of 1 hours with (1+1 Configuration). Detailed calculation of UPS & Battery capacity shall be submitted for meeting the load requirements of items supplied.

| Sl. No. | Technical specification requirement | UPS Systems upto 10KVA | UPS Systems greater than 10KVA |
| --- | --- | --- | --- |
| [A] | AC Input Range & Frequency | 150V to 275V Single Phase (Nominal 230V) 48 to 52 Hz | 320V to 480V Three Phase (Nominal 400V) 48 to 52 Hz |
| [B] | CHARGER (FR/FC) | SMPS Technique using Switching Frequencies 20KHz and above. | SMPS Technique using Switching Frequencies 20KHz and above |
| 1 | Operation | Auto Float-cum-Charge mode. | Auto Float-cum-Charge mode. |
| 2 | Charger Voltage (Float /Charge). | Depending upon the Number of Cells used and Cell Voltage (2.25V /2.3V) | Depending upon the Number of Cells used and Cell Voltage (2.25V /2.3V) |
| 3 | Charger Efficiency i. At nominal input, output and load between 75% to 100% ii. For other specified Input, output conditions & load between 50% to 100%. | Better than 89% Better than 85% | Better than 90% Better than 87% |
| 4 | Psophometric Noise (e.m.f weighted at 800Hz) at full rated load and nominal input | Within 2mV (with Battery floated). Within 4mV, when Battery not connected for test purpose. | Within 2mV (with Battery floated). Within 4mV, when Battery not connected for test purpose. |
| 5 | Peak to Peak Ripple | 300mV at Switching Frequency. | 300mV at Switching Frequency. |
| 6 | Battery | Sealed Maintenance Free VRLA Battery (48V) | Sealed Maintenance Free VRLA Battery (48V) |
| 7 | No. of Cells & Cell voltage | Shall be as mentioned in the Ordering Information | Shall be as mentioned in the Ordering Information |
| 8 | Battery Back up | Shall be as mentioned in the Ordering Information | Shall be as mentioned in the Ordering Information |
| 9 | Battery monitoring Feature shall be provided : | 1. Battery Under Voltage Isolation /Reconnection 2. Battery Current Limiting & Battery Temperature compensation. | 1. Battery Under Voltage Isolation /Reconnection 2. Battery Current Limiting & Battery Temperature compensation. |
| [C] | Output Characteristics (Inverter) : |  |  |
| 1 | Power Capacity | 0.5KVA to 10KVA | 15KVA to 120KVA For high Power Capacity paralleling with Redundancy is allowed. |
| 2 | Output Voltage of Inverter | Shall deliver continuous uninterrupted single phase pure sine wave output at 230V/50Hz. | Shall deliver continuous uninterrupted three phase pure sine wave output at 400V/50Hz |
| 3 | Output Voltage Settable | Shall be continuously settable at any value between 210V to 230V. | Shall be continuously settable at any value between 400V +/-10V |
| 4 | Output Voltage Stability for – 1. input voltage variation in the range specified. 2. Load current variations from zero to 100% (full load) 3. Load power factor variations from 0.7 Lag to Unity. | +/-2% of the Set Voltage | +/-2% of the Set Voltage |
| 5 | Output Frequency: To get the stabilized frequency the crystal oscillators shall only be used. | 50Hz +/-0.5Hz for all specified input and output conditions. | 50Hz +/-0.5Hz for all specified input and output conditions. |
| 6 | Load Power Factor | 0.7 or 0.8 Lag to Unity | 0.7 or 0.8 Lag to Unity |
| 7 | Inverter Efficiency | - Not less than 85% for load 75% to 100%, input DC voltage of 2.15V/Cell to 2.3V/Cell and output voltage of 230V. - Not less than 80% for other input, output and load conditions. | - Not less than 85% for load 75% to 100%, input DC voltage of 2.15V/Cell to 2.3V/Cell and output voltage of 400V. - Not less than 80% for other input, output and load conditions. |
| 8 | Transient Response : | The transient overshoot shall not exceed 10% with battery floated under the following conditions, provided it gets restored within regulating range within 100ms : 1. Switch ON 2.Step change of input voltage specified and vice-versa 3.Load change from 100% to 10% and vice-versa Note : For test purposes, transient overshoot at the output can be up to 30% when the battery not floated at the input, provided it is restored within the limit of 10% under two cycles (40ms) and regulating range within 100ms. | Same as specified in the case of UPS Sytems upto 10KVA. |
| 9 | Total Harmonic Distortion i. Total Voltage Harmonic Distortion : ii. Total Current Harmonic Distortion: | The total line harmonic voltage distortion shall not be more than 3% in conformity with CIGREs (International Conference on Large High Voltage Electric Systems) limits. The total current harmonic distortion, contributed by the unit at the output, shall not exceed 5% for all working conditions. | Same as specified in the case of UPS Sytems upto 10KVA. Same as specified in the case of UPS Sytems upto 10KVA. |
| 10 | Static Transfer Switch (If provided) | Static Transfer Switch, capable of handling 120% Load of the rated system capacity shall be provided to transfer the load automatically within 5 mS to AC Commercial /Stand-by mains through isolation arrangement, in case the inverter fails to take load due to any reason. However, the transfer of the load back to inverter shall be manual. | Static Transfer Switch, capable of handling 120% Load of the rated system capacity shall be provided to transfer the load Automatically within 5 mS to AC Commercial/Stand-by mains through isolation arrangement, in case the inverter fails to take load due to any reason. However, the transfer of the load back to inverter shall be manual. |
| 11 | Operating Noise | The fully equipped UPS system at full load shall not contribute more than 15dB(Weighted) to the ambient noise level taken as 45dBA. | The fully equipped UPS system at full load shall not contribute more than 15dB(Weighted) to the ambient noise level taken as 45dBA. |
| 12 | Cooling Arrangement | Natural Convention cooling or Forced Cooling. | Forced Cooling |
| 13 | Metering | Digital meters ( with the resolution enough to read from a distance of 1 metre) : i) AC input & Output Voltage/Current ii) DC Output & input Current iii) DC Output & Input Voltage. iv) Output Frequency | Digital meters ( with the resolution enough to read from a distance of 1 metre) : i) AC input Voltage & AC Output Voltage/Current ii) DC Output & input Current iii) DC Output & Input Voltage. iv) Output Frequency |
| 14 | Protections : Adequate Protections shall be provided For : | 1. Reverse Polarity at input 2. Input Under Voltage 3. Input Over Voltage 4. Output Voltage High 5. Output Voltage Low 6. Output Frequency Out of Range. | 1. Reverse Polarity at input 2. Input Under Voltage 3. Input Over Voltage 4. Output Voltage High 5. Output Voltage Low 6. Output Frequency Out of Range. |
| 15 | Over Load : | Shall be capable of taking 110% of its full rated load for one hour. In case of excessive over load or short circuit at the output the inverter shall be isolated at the input. | Shall be capable of taking 110% of its full rated load for one hour. In case of excessive over load or short circuit at the output the inverter shall be isolated at the input. |
| 16 | Monitoring Alarms and indications (Preferred): | A).Functional Indications : 1. Mains available 2. Charger on (Boost /Float) 3. Load on Inverter 4. Load on Standby Power B) Alarm Indications : 1) Mains Fail / Mains out of range 2) Charger (FR/FC) Fail 3) Inverter Fail 4) Fan Fail Battery Fail or No Battery (separate for each Battery) 6) System Over Load 7) Temp. Comp Fail | A) Functional Indications : 1.Mains available (R/Y/B) 2. Charger on (Boost /Float) 3. Load on Inverter 4. Load on Standby Power B) Alarm Indications : 1) Mains Fail / Mains out of range / Phase Fail 2) Charger (FR/FC) Fail 3) Inverter Fail 4) Fan Fail 5) Battery Fail or No Battery (separate for each Battery) 6) System Over Load 7) Temp. Comp Fail |
| 17 | Audio alarm | Every Alarm shall be accompanied with an Audio alarm with audio cut-off facility with a cutoff key. | Every Alarm shall be accompanied with an Audio alarm with audio cut-off facility with a cutoff key. |
| 18 | Operating Temperature & RH | 0 to 50 Deg C & RH 95% Non condensing | 0 to 50 Deg C & RH 95% Non condensing |
| 19 | Lightning & Surge Protections (First Stage & Second Stage) | The Ordering information shall specify Lightning & Surge Protections (First Stage & Second Stage) Depending upon the Site requirements. | The Ordering information shall specify Lightning & Surge Protections (First Stage & Second Stage) Depending upon the Site requirements. |

## Section 3 Part C

## SCHEDULE OF REQUIREMENTS (SOR)

1.	  The schedule of requirements is furnished in the Tables below.

Bill of Material

(The equipment specific to each location shall to be shipped and installed by the bidders. The address and contact details of each location for shipment and execution of work will be provided to the selected bidder only)

| S. No. | Items/Qty. | Augmentation requirement items for Existing Sites | Requirement of items for New sites | Total |
| --- | --- | --- | --- | --- |
|  |  | Delhi | Mumbai Fountain | Kolkata | Banglore East | Chennai Haddows Road | Mumbai PrabhaDevi | Banglore NTB | Chennai Flower Bazar |  |
|  | 10G Passive Optical TAPs (SM 1310/1550Nm) | 5 | 2 | 2 | 3 | 2 | 8 | 8 | 8 | 38 |
| 2. | Aggregation Load Balancing switch | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 7 |
|  | 10Gbps SFP+ SR (850 nm) | 16 | 16 | 0 | 16 | 16 | 16 | 16 | 16 | 112 |
|  | 10Gbps SFP+ LR (1310 nm) | 32 | 32 | 0 | 32 | 32 | 32 | 32 | 32 | 224 |
| 3. | Servers, RHEL | 11 | 4 | 5 | 12 | 4 | 16 | 16 | 16 | 84 |
| 4. | 42 U server Racks (Included in Server Specs.) | 2 | 1 | 1 | 2 | 1 | 3 | 3 | 3 | 16 |
| 5. | Manageable 24 ports Gigabit Ethernet Switch | 1 | 1 | 0 | 1 | 1 | 2 | 2 | 2 | 10 |
| 6. | Optical Patch cables Multi-Mode 5M (LC-LC) | 12 | 5 | 8 | 15 | 6 | 20 | 20 | 20 | 106 |
| 7. | Optical Patch cables Single-Mode 5M (LC-LC) | 11 | 4 | 4 | 6 | 4 | 16 | 16 | 16 | 77 |
| 8. | Optical Patch cables Single-Mode 20M (LC-LC) | 3 | 2 | 2 | 3 | 2 | 8 | 8 | 8 | 36 |
| 9. | Cat 6 Patch Cables 5M | 23 | 10 | 15 | 27 | 10 | 35 | 35 | 35 | 190 |
| 10. | Cat 6 Patch Cables 20M | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 16 |
| 11. | UPS (1+1 config) 10KVA | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |
| 12. | UPS (1+1 config) 20KVA | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 2 |
| 13. | UPS (1+1 config) 30KVA | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 5 |

Note 1:	Bidder shall furnish the detailed unpriced Bill of Material (BOM) for each SOR item mentioned above. The detailed unpriced Bill of Material shall clearly mention all the components including quantities, constituting the SOR item.

Note 2:	The priced Bill of Material shall be submitted in the envelope containing the price bid and unpriced Bill of Material shall be submitted in the envelope containing the techno-commercial part.

Note 3:	There shall not be any difference in the items and quantities in the priced and the unpriced BOMs.

Section 4 Part A

# GENERAL INSTRUCTIONS TO BIDDERS (GIB)

      - DEFINITIONS:

(a)	“The Purchaser” means the CMD, Bharat Sanchar Nigam Ltd. (BSNL), New Delhi

(b)	“The Bidder” means the individual or firm who participates in this tender and submits its bid.

(c)	“The Supplier” or “The Vendor” means the individual or firm supplying the goods under the contract.

(d)	“The Goods” means all the equipment, machinery, and/or other materials which the bidder is required to supply to the Purchaser under the contract.

(e)	“The Advance Purchase Order” or “Letter of Intent” means the intention of Purchaser to place the Purchase Order on the bidder.

(f)	“The Purchase Order” means the order placed by the Purchaser on the Bidder signed by the Purchaser including all attachments and appendices thereto and all documents incorporated by reference therein.  The purchase order shall be deemed as “Contract” appearing in the document.

(g)    “The Contract Price” means the price payable to the Bidder under the purchase order for the full and proper performance of its contractual obligations.

(h)	“Validation” is a process of testing the equipment as per the Generic Requirement in the specifications for use in BSNL network. Validation is carried out in stimulated field environment and includes stability, reliability and environmental tests.

(i)	“Telecom Service Provider” means any Telecom operator in India, who is licensed by the Department of Telecommunications (DOT), Government of India to provide telecom services to the general public or to the other DOT licensed Telecom operators. “Telecom Service Provider” also refers to any Telecom operator in other countries providing telecom services to general public of that country or to other telecom operators of the same country.

(i)	“Successful bidder(s)” means the bidder(s) to whom work I this tender is awarded.

      - ELIGIBILITY CRITERIA:

2.1.	 Refer to Clause 4 of Detailed NIT (Section 1)

      - COST OF BIDDING

The bidder shall bear all costs associated with the preparation and submission of the bid. The Purchaser will, in no case, be responsible or liable for these costs, regardless of the conduct or outcome of the biding process.

      - DOCUMENTS REQUIRED

  - The goods required to be supplied; bidding procedures and contract terms and conditions are prescribed in the Bid Documents. The contents of the Bid documents are specified in the covering letter.

  - The Bidder is expected to examine all instructions, forms, terms and specifications in the Bid Documents and clarifications/ amendments/ addenda, if any. Failure to furnish all information required as per the Bid Documents or submission of the bids not substantially responsive to the Bid Documents in every respect will be at the bidder’s risk and may result in rejection of the bid.

      - CLARIFICATION OF BID DOCUMENTS

5.1	A prospective bidder, requiring any clarification on the Bid Documents shall notify the Purchaser in writing or by FAX or by Email to the Purchaser’s mailing address indicated in the invitation of Bid. The Purchaser shall respond in writing to any request for the clarification of the Bid Documents, which it receives 21 days prior to the date of opening of the Tenders. Copies of the query (without identifying the source) and clarifications by the Purchaser shall be uploaded on ETS portal, as addenda, for all the prospective bidders who have downloaded the official copy of tender documents from ETS portal.

5.2	If required, BSNL may hold a vendor conference. In this conference, BSNL will address the clarifications sought by the bidders with regard to the tender document. The pre-bid conference, if required, would be held in the fourth week of start of sale of tender document.

5.3	Purchaser reserves the right not to respond to any / all queries raised or clarifications sought if, in their opinion and at their sole discretion, they consider that it would be inappropriate to do so or do not find any merit in it. No extension to any deadline referred in this document will be granted on the basis or grounds that purchaser should respond to any queries to provide any clarification.

5.4	Purchaser shall not entertain any further queries from the bidders after their written queries and those raised in the pre-bid conference are responded.

5.5	The format in which the clarifications are to be sent via E-mail (soft copy in Excel format), on e-tender portal and FAX is as under:

| S. No. | Section | Clause | Page no. | Brief Description of the clause | Bidder query |
| --- | --- | --- | --- | --- | --- |

5.6	Any clarification issued by BSNL in response to query raised by prospective bidders shall form an integral part of bid documents and it shall amount to an amendment of relevant clauses of the bid documents.

      - AMENDMENT OF BID DOCUMENTS

  - The purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective bidder, may modify bid documents by amendments prior to the date of submission of Bids with due notification to prospective bidders.

  - The amendments shall be notified in writing through E-tender portal to all prospective bidders on the address intimated at the time of purchase of the bid document from the purchaser and these amendments will be binding on them.

  - In order to afford prospective bidders a reasonable time to take the amendment into account in preparing their bids, the purchaser may, at its discretion, extend the deadline for the submission of bids suitably.

      - DOCUMENTS COMPRISING THE BID

The bid prepared by the bidder shall ensure availability of the following components:

(a) Documentary evidence establishing that the bidder is eligible to bid and is qualified to perform the contract if its bid is accepted in accordance with the clause 2 &10.

(b) Bid Security furnished in accordance with clause 12.

© A clause by clause compliance as per clause 11.2©.

(d) A Bid form and price schedule completed in accordance with clause 8 & 9.

      - BID FORM

8.1	The bidder shall complete the bid form and appropriate Price schedule furnished in the Bid documents, indicating the goods to be supplied, brief description of the goods, quantity and prices as per section-9.

      - BID PRICES

  - The bidder shall give the total composite price inclusive of all Levies & Taxes i.e. Sales Tax & Excise, custom duty, packing, forwarding, freight and insurance etc. but excluding Octroi /Entry Tax which will be paid extra as per actual, wherever applicable.  The basic unit price and all other components of the price need to be individually indicated against the goods it proposes to supply under the contract as per the price schedule given in Section 9.  Prices of incidental services shall also be quoted. The offer shall be firm in Indian Rupees. No Foreign exchange will be made available by the purchaser.

  - Prices indicated in the Price Schedule shall be entered in the following manner:

(i) 	The Basic Unit price (Ex-Factory Price) of the goods,  Excise duty,  custom duty , Sales Tax,  Freight,  Forwarding,  Packing, Insurance and any other Levies/Charges already paid or payable by the bidder shall be quoted separately item wise.

(ii)	The bidder shall quote as per price schedule given in section 9 for all the items given in schedule of requirement.

  - A bid submitted with an adjustable price quotation will be treated as non - responsive and rejected.

  - The prices quoted by the bidder shall be in sufficient detail to enable the Purchaser to arrive at the price of equipment/system offered.

  - “DISCOUNT, if any, offered by the bidders shall not be considered unless specifically indicated in the price schedule.  Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply, etc, into account”.

  - The price approved by BSNL for procurement will be inclusive of levies and taxes, packing, forwarding, freight and insurance as mentioned in clause 9.1 subject to other terms and condition as stipulated in clause 22.2 of Section 4 Part A. and clause 11 of Sec-5 Part A of Bid-document. Unloading charges at the consignee end shall be borne by the bidder and no separate charges shall be paid for transportation to individual sites for installation.

  - The freight by sea for transportation of equipment/Stores from the nearest port in the main land to Andaman & Nicobar Islands will be reimbursed to the bidder at the concessional rates levied by Ministry of Water and Surface Transport on production of proof.

      - DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATION

  - The bidder shall furnish, as part of the bid documents establishing the bidder's eligibility, the following documents or whichever is required as per terms and conditions of Bid Documents.

      - Type Approval Certificate given by Telecom Engineering Centre(TEC)/ TSEC issued by the Quality Assurance Circle of BSNL or proof of having applied for TSEC (Copy of Form QF 103 be attached).

      - Inspection Certificate issued by BSNL(QA) for execution of educational/ Commercial Order.

      - Additional documents to establish the eligibility and qualification of bidder as specified in Section-1 and Section-4 Part B.

      - Power of Attorney as per clause 14.3 (a) and (d) and authorization for executing the power of Attorney as per clause 14.3 (b) or (c).

      - Documentary proof of applicable rate of ED/ CD/ Sales Tax/ VAT /Service Tax.

      - Undertaking duly signed by front bidder and its technology/ consortium partner stating that both of them shall be liable for due performance of the contract jointly and severally as per clause 12.7(c).

      - Certificates from all Directors of the bidder stating that none of their near relatives are working in BSNL in accordance with clause 34.

      - Certificate of incorporation.

      - Article or Memorandum of Association or partnership deed or proprietorship deed as the case may be.

      - List of all Directors including their name(s), Director Identification Number(s) (DIN) and address (es) along with contact telephone numbers of office and residence.

      - Registration certificate from State Director of Industries or from Secretariat for Industrial Assistance (SIA), Ministry of Industries, Government of India.

      - Approval from Reserve Bank of India/ SIA in case of foreign collaboration.

  - Documentary evidence for financial and technical capability

a)	The bidder shall furnish audited Annual Report and /or a certificate from its bankers to assess its solvency/financial capability.

b) 	The bidder shall furnish documentary evidence about technical and production capability necessary to perform the contract.

  - In order to enable the Purchaser to assess the proven-ness of the system offered, the bidder  shall provide documentary evidence regarding the system being offered by him.

  - The offered product has to be type approved. For this purpose, the supplier shall submit a sample type for evaluation. The sample would be evaluated for its ability to meet the technical specifications, manufacturability, reliability, testability, ease of installation, maintainability etc. Necessary documents to substantiate these attributes will have to be submitted at the time of application for approval by supplier for obtaining type approval. Or in case goods offered have already been type approved/ validated by the Purchaser, documentary evidence to this effect shall be submitted by the bidder.

  - A signed undertaking from Authorized Signatory of the bidder that shall certify that all components/ parts/ assembly/ software used in the Desktops and Servers like Hard disk, Monitors, Memory etc. shall be original, new components/ parts/ assembly/ software and that no refurbished/ duplicate/ second hand components/ parts/ assembly/ software are being used or shall be used.

  - For supply of any software i.e. operating system or any applications software the bidder shall submit a Certificate Of Authenticity (COA), signed by Authorized Signatory stating that all Software supplied are authentic and legal copy is/ are being supplied.

  - Documentary evidence/ Declaration to the effect that the type of software to be utilized in the system/ equipment i.e. Packaged/ Canned OR Customized shall be furnished by the bidder. In case of Packaged/ Canned, the portion of value which represents consideration paid or payable for transfer of right to use such goods subject to provisions laid down in Central Excise/Custom Notifications”.

      - DOCUMENTS      ESTABLISHING     GOOD’S      CONFORMITY    TO      BID DOCUMENTS

  - Pursuant to clause 7, the bidder shall furnish, as part of his bid, documents establishing the conformity of his bid to the Bid Documents of all goods and services which he proposes to supply under the contract.

  - The documentary evidences of the “goods and services” conformity to the Bid Documents, may be, in the form of literature, drawings, data etc. and the bidder shall furnish :

(a) 	a detailed description of goods with essential technical and performance characteristics;

(b) 	a list, giving full particulars including available sources and current prices of all spare parts, special tools, etc., necessary for the proper and continuous functioning	of	the	goods 	for 	a 	period 	of three years following commencement of use of the goods by the purchaser,  and

(c) 	a clause-by-clause compliance on the purchaser’s Technical Specifications and  Commercial  Conditions  demonstrating substantial responsiveness  to the  Technical  Specifications  and  Commercial  Conditions.  In case  of  deviations,  a  statement  of  the  deviations  and  exception  to  the provision of the Technical  Specifications and Commercial Conditions shall be given by the bidder. A bid without clause-by-clause compliance of the Scope of Work, Technical Specifications, SOR (Section-3 Part A, B & C), General (Commercial) Conditions  and Special (Commercial) Conditions, General Conditions of AMC (Section -5 Part A, B & C) shall not be considered.

  - For the purpose of  compliance to be furnished pursuant to the clause 11.2(c) above, the bidder shall note that the standards for the workmanship, material and  equipment  and  reference to  the brand names  or catalogue number, designated by the Purchaser in its Technical specifications are intended to be descriptive only and not restrictive.

      - BID SECURITY/EMD

  - The bidder shall furnish, as part of its bid, a bid security as mentioned in Section-1 (DNIT).

  - The bid security is required to protect the purchaser against the risk of bidder's conduct, which would warrant the forfeiture of bid security pursuant to Para 12.6.

  - A bid not secured in accordance with Para 12.1 shall be rejected by the Purchaser being non-responsive at the bid opening stage and archived unopened on e-tender portal for e-tenders and returned to the bidder unopened(for manual bidding process).

  - The bid security of the unsuccessful bidder will be discharged/ returned as promptly as possible and within 30 days of finalization of the tender or expiry of the period of the bid validity period prescribed by the purchaser pursuant to clause 13.

  - The successful bidder's bid security will be discharged upon  the bidder's     acceptance of the advance purchase order satisfactorily in accordance with clause 27 and furnishing the performance security, except in case of L-1 bidder, whose EMBG/EMD shall be released only after the finalization of ordering of complete tendered quantity in pursuance to clause no. 24.4 & 27.3 of this section.

  - The bid security may be forfeited:

  - If the bidder withdraws or amends its bid or impairs or derogates from the bid in any respect during the period of bid validity specified by the bidder in the bid form or extended subsequently; or

  - If the bidder does not accept the APO/ AWO and /or does not submit PBG & sign the contract /agreement in accordance with clause 28.

Note: The bidder shall mean individual company/ firm or the front bidder and its technology/ consortium partner, as applicable.

      - PERIOD OF VALIDITY OF BIDS

  - Bid shall remain valid for period specified in clause 2 of Tender information (Section -2) from the date of opening of bids prescribed by the purchaser.  A bid valid for a shorter period shall be rejected by the purchaser being non-responsive.

  - In exceptional circumstances, the purchaser may request the consent of the bidder for an extension to the period of bid validity. The request and the response thereto shall be made in writing. The bid security provided under clause 12 shall also be suitably extended. The bidder may refuse the request without forfeiting his bid security. A bidder accepting the request and granting extension will not be permitted to modify his bid.

      - FORMAT AND SIGNING OF BID

  - The bidder shall submit his bid, online, complying all eligibility conditions, other terms and conditions of tender document to be read along with the clarifications and amendments issued in this respect. All the documents must be authenticated, using Digital Signature, by the authorized person. The letter of authorization shall be indicated by written power-of-attorney accompanying the bid.

  - The bid shall contain no interlineations, erasures or overwriting except as            necessary to correct errors made by the bidder in which case such corrections shall be signed by the person or persons signing the bid. All pages of the original bid, except for un-amended printed literatures, shall be digitally signed by the person or persons signing the bid.

  - Power of Attorney

(a) 	The power of Attorney shall be submitted and executed on the non-judicial stamp paper of appropriate value as prevailing in the concerned states(s) and the same be attested by a Notary public or registered before Sub-registrar of the state(s) concerned.

(b)	The power of Attorney be executed by a person who has been authorized by the Board of Directors of the bidder in this regard, on behalf of the Company/ institution/ Body corporate.

(c)	In case of the bidder being a firm, the said Power of Attorney shall be executed by all the partner(s) in favour of the said Attorney.

(d) 		Attestation of the specimen signatures of authorized signatory by the Company’s/ firm’s bankers shall be furnished. Name, designation, Phone number, mobile number, email address and postal address of the authorized signatory shall be provided.

      - SEALING AND MARKING OF BIDS:

  - The bid shall be submitted online using single stage bidding and Two Envelope methodology under each package.

The first envelope (Techno-commercial bid): This envelope shall contain documents satisfying the bidder’s eligibility / Technical & commercial conditions requirements. Second envelope will be named as financial bid containing price Schedule as per section 9.

  - Venue of Tender Opening:  Specified in Clause 9 of detail NIT (Section 1).

      - SUBMISSION OF BIDS

  - Bids must be submitted online by the bidders on or before the specified date & time indicated in DNIT.

  - The Purchaser may, at its discretion, extend this deadline for the submission of bids by amending the Bid Documents in accordance with clause 6 in which case all rights and obligations of the purchaser and bidders previously subject to the deadline will thereafter be subjected to the deadline as extended.

  - The bidder shall submit its bid offer against a set of bid documents purchased by him for all or some of the systems / equipment / packages as per requirement of the Bid Documents. He may include alternate offer, if permissible, as per the bid.  However not more than one independent and complete offer shall be permitted from the bidder.

      - LATE BIDS

No bid shall be accepted online by the Electronic Tender System® (ETS) after the specified deadline for submission of bids prescribed by the purchaser.

      - MODIFICATION AND WITHDRAWAL OF BIDS

  - The bidder may modify, revise or withdraw his bid after submission prior to deadline prescribed for submission of bid.

  - The bidder’s modification, revision or withdrawal shall have to be online and digitally authenticated as per clause 15.

  - No bid shall be allowed for modification subsequent to the deadline for submission of bids.

      - OPENING OF BIDS BY PURCHASER

  - The purchaser shall open bids online in the presence of bidders or their authorized representatives who chose to attend, at time specified in Clause 7 of detail NIT(Section-1) on due date. The bidder’s representatives, who are present, shall sign in an attendance register. Authority letter to this effect shall be submitted by the bidders before they are allowed to participate in bid opening (A Format is given in section 7 (c)).

  - A maximum of two representatives of any bidder shall be authorized and permitted to attend the bid opening.

  - The bidder’s names, Bid prices, modifications, bid withdrawals and such other details as the purchaser, at its discretion, may consider appropriate will be made available online at the time of opening.

  - The date fixed for opening of bids, if subsequently declared as holiday by the BSNL, the revised date of schedule will be notified.  However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

      - CLARIFICATION OF BIDS

  - To assist in the examination, evaluation and comparison of bids, the purchaser may, at its discretion ask the bidder for the clarification of its bid. The request for the clarification and the response shall be in writing. However, no post bid clarification at the initiative of the bidder shall be entertained.

  - If any of the document required to be submitted along with the technical bid is found wanting, the offer is liable to be rejected at that stage. However, the purchaser at its discretion may call for any clarification regarding the bid document within the stipulated time period. In case of non-compliance to such queries, the bid will be outrightly rejected without entertaining any further correspondence in this regard.

      - PRELIMINARY EVALUATION

  - Purchaser shall evaluate the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

  - Arithmetical errors shall be rectified on the following basis. Based on the quoted percentage of duties and taxes, Freight etc. the amounts quoted thereof shall be worked out and rounded off to 2 decimal points. In case the unit price quoted in column 12 does not tally with its breakup quoted in col. 4, 6, 8, 10 & 11, the same shall be corrected by summing up the breakups. If there is a discrepancy between the unit price and total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected by the purchaser.

  - If there is a discrepancy between words and figures, the amount in words shall prevail. If the bidder does not accept the correction of the errors, its bid shall be rejected.

  - Prior to the detailed evaluation pursuant to clause 22, the Purchaser will determine the substantial responsiveness of each bid to the Bid Document. For purposes of these clauses, a substantially responsive bid is one which confirms to all the terms and conditions of the Bid Documents without material deviations. The purchaser's determination of bid's responsiveness shall be based on the contents of the bid itself without recourse to extrinsic evidence.

  - A bid, determined as substantially non-responsive will be rejected by the purchaser and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

  - The Purchaser may waive any minor infirmity or non-conformity or irregularity in a bid which doesn't constitute a material deviation, provided such waiver doesn't prejudice or affect the relative ranking of any bidder.

      - EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS

  - The Purchaser shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause 21.

  - The evaluation and comparison of responsive bids shall be done on the basis of Net cost to BSNL on the prices of the goods offered inclusive of Duties and taxes (but excluding CENVAT-able Duties & Taxes), Sales Tax, Packing, Forwarding, Freight and Insurance charges etc. as arrived in Col. 17 of the price schedule in the Section-.9 Part B (I&II)of the Bid-document after arithmetical correction in the manner laid down in clause 21.2 above.

#### As stipulated in clause 9.1, Octroi/ Entry Taxes are not to be included in the composite price and hence the same will not be considered for the purpose of evaluation and comparison of responsive bids. However, Octroi/ Entry Taxes will be paid extra. as per actual wherever applicable on production of proof of payment/relevant invoices/documents.

a.	“Duties & Taxes for which the firm has to furnish Cenvatable Challans/ Invoices  will be indicated separately in the PO/APO.

b.	Vendors shall furnish the correct E.D./Customs tariff Head in the price Schedule. If the credit for the Duties and Taxes under CENVAT Credit Rules, 2004 is found to be not admissible at any stage subsequently owing to wrong furnishing of Tariff Head, then the vendors will be liable to refund such non-admissible amount, if already paid, along with penalty if charged by the concerned authority.

c.    	In case the Duties & Taxes which are non CENVAT-able as per the quotes indicated in the price schedule by the vendors and subsequently at any stage it is found that Credit for such Duties & Taxes is admissible as per CENVAT Credit Rules, 2004, then the vendors will be liable to refund the amount equivalent to such Duties & Taxes if already paid to them. However, the purchaser may allow the bidder to submit necessary documents in this regard which may enable the purchaser to avail the CENVAT credit provided such credit is still available for the amount so paid as per CENVAT Credit Rules 2004.

d.  	The purchaser reserves the right to ask the bidders to submit documentary proof confirming the correct Tariff Head from the E.D./Customs authority where the Tariff Head furnished against the particular tendered item by different bidders differs from each other or the same is found apparently not furnished in accordance with E.D./ Customs Tariff notifications.

e. 	“If the bidder fails to furnish necessary supporting documents i.e. Excise/ Customs invoices etc. in respect of the Duties/taxes which are Cenvatable, the amount pertaining to such Duties/ Taxes will be deducted from the payment due to the firm.”

      - CONTACTING THE PURCHASER

  - Subject to Clause 20, no bidder shall try to influence the Purchaser on any matter relating to its bid, from the time of the bid opening till the time the contract is awarded.

  - Any effort by a bidder to modify his bid or influence the purchaser in the purchaser’s bid evaluation, bid comparison or contract award decision shall result in the rejection of the bid.

      - PLACEMENT OF Purchase ORDER/ Award of work

  - The Purchaser shall consider placement of orders for commercial supplies only on those eligible bidders whose offers have been found technically, commercially and financially acceptable and whose goods have been type approved/ validated by the purchaser. The Purchaser reserves the right to counter offer price(s) against price(s) quoted by any bidder.

  - The ordering price of any bidder shall not exceed the lowest evaluated package price. However, at a later stage if there is any increase in Govt. duties/taxes within scheduled delivery date (SDD), the unit prices with applicable revised duties/taxes will be paid to suppliers irrespective of their ranking viz.L1/ L2/ L3 …..etc keeping other levies & charges unchanged.

  - The purchaser reserves the right for the placement of order of entire tendered quantity on the bidder with the lowest evaluated price.

      - PURCHASER’S RIGHT TO VARY QUANTITIES

  - BSNL reserves the right to increase or decrease up to 25% of the quantity of goods and services specified in the schedule of requirements without any change in the unit price or other terms and conditions at the time of award of contract.

  - BSNL also reserves the right for placement of additional order or up to 50% of the additional quantities of goods and services contained in the running tender/ contract within a period of twelve months from the date of acceptance of first APO in the tender at the same rate or a rate negotiated (downwardly) with the existing venders considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc and supplies to be obtained within delivery period scheduled afresh.

  - In exceptional situation where the requirement is of an emergent nature and it is necessary to ensure continued supplies from the existing venders, the purchaser reserves the right to place repeat order up to 100% of the quantities of goods and services contained in the running tender /contract within a period of twelve months from the date of acceptance of first  APO in the tender at the same rate or a rate negotiated (downwardly) with the existing venders considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc. Exceptional situation and emergent nature shall be spelt out clearly detailing the justification as well as benefits accrued out of it and loss incurred in case this provision is not invoked and approved by the authority competent to accord administrative and financial approval for the procurement calculated on the basis of total procurement i.e. initial and proposed add-on quantity.

      - PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids, at any time prior to award of contract without assigning any reason whatsoever and without thereby incurring any liability to the affected bidder or bidders on the grounds of purchaser’s action.

      - ISSUE OF ADVANCE PURCHASE ORDER

  - The issue of an Advance Purchase Order shall constitute the intention of the Purchaser to enter into contract with the bidder.

  - The bidder shall within 14 days of issue of the advance purchase order, give its acceptance along with performance security in conformity with the proforma provided with the bid document at Section-7B.

      - SIGNING OF CONTRACT

  - The issue of Purchase order shall constitute the award of contract on the bidder.

  - Upon the successful bidder furnishing performance security pursuant to clause 27, the Purchaser shall discharge the bid security in pursuant to clause 12, except in case of L-1 bidder, whose EMBG/ EMD shall be released only after  finalization of ordering of complete tendered quantity.

      - ANNULMENT OF AWARD

Failure of the successful bidder to comply with the requirement of clause 28 shall constitute sufficient  ground  for  the annulment of the award and the forfeiture of the bid  security in which event the Purchaser may make the award to any other bidder at the discretion of the purchaser or call for new bids.

      - QUALITY ASSURANCE REQUIREMENTS

The bidder shall have Quality Management System supported and evidenced by the following:

a)     	A Quality Policy.

b)   	A management representative with authority and responsibility for fulfilling QA requirements and for interfacing with purchaser in the matters of Quality.

c)   	Procedure for controlling design/ production engineering, materials, choice of components/vendors, manufacturing and packaging process for supplying quality products.

(d)      System of Inward Good Inspection.

(e)   	System to calibrate and maintain required measuring and test equipment.

(f)   	System for tracing the cause for non-conformance (traceability) and segregating product which don't conform to specifications.

(g)      Configuration management and change-control mechanism.

(h)      A quality plan for the product.

(i)       Periodical internal quality audits.

(j)     	A 'Quality Manual' detailing the above Or infrastructure assessment certificate and Type Approval Certificate (TAC)/ Technical Specifications Evaluation Certificate (TSEC) issued by "QA Circle" shall be furnished.

      - REJECTION OF BIDS

  - While all the conditions specified in the Bid documents are critical and are to be complied, special attention of bidder is invited to the following clauses of the bid documents. Non-compliance of any one of these shall result in outright rejection of the bid.

        - Clauses 12.1, 12.2 & 13.1 of Section- 4 Part A:  The bids will be rejected at opening stage if Bid security is not submitted as per Clauses 12.1 & 12.2 and bid validity is less than the period prescribed in Clause 13.1 mentioned above.

        - Clause 2 & 10 of Section-4Part A:  If the eligibility condition as per clause 2 of Section 4 Part A is not met and/ or documents prescribed to establish the eligibility as per Clause 10 of section 4 Part A are not enclosed, the bids will be rejected without further evaluation.

        - Clause 11.2 (c) of Section-4 Part A:  If clause-by-clause compliance as well as deviation statements as prescribed are not given, the bid will be rejected at the stage of primary evaluation.

        - While giving compliance to Section-5 Part A, General Commercial conditions, Section-4 Part B, Special Instructions to Bidders, Section-5B Special (Commercial) Conditions of Contract and Section-3 Technical Specifications ambiguous words like "Noted", "Understood", “Noted & Understood" shall not be accepted as complied. Mere "Complied" will also be not sufficient, reference to the enclosed documents showing compliances must be given.

        - Section-9 Price Schedule:  Prices are not filled in as prescribed in price schedule.

        - Section-4 Part A clause 9.5 on discount which is reproduced below:- "Discount, if any, offered by the bidder shall not be considered unless specifically indicated in the price schedule.  Bidders desiring to offer discount shall therefore modify their offer suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply etc. into account”

  - Before outright rejection of the Bid by Bid-opening team for non-compliance of any of the provisions mentioned in clause 31.1(a), 31.1(b) of Section-4PartA, the bidder company is given opportunity to explain their position, however if the person representing the company is not satisfied with the decision of the Bid opening team, he/they can submit the representation to the Bid opening team immediately but in no case after closing of the tender process with full justification quoting specifically the violation of tender condition if any.

  - Bid opening team will not return the bids submitted by the bidders on the date of tender opening even if it is liable for rejection and will preserve the bids in sealed cover as submitted by taking the signatures of some of the desirous representatives of the participating bidder/companies present on the occasion.

  - The in-charge of Bid opening team will mention the number of bids with the name of the company found unsuitable for further processing on the date of tender opening and number of representations  received in Bid opening Minutes and if Bid opening team is satisfied with the argument of the bidder/company mentioned in their representation and feel that there is prima-facie fact for consideration, the in-charge of the bid opening team will submit the case for review to Officer competent to approve the tender as early as possible preferably on next working day and decision to this effect shall be communicated to the bidder company within a week positively. Bids found liable for rejection and kept preserved on the date of tender opening will be returned to the bidders after issue of P.O. against the instant tender.

  - If the reviewing officer finds it fit to open the bid of the petitioner, this shall be done by giving three (working) days notice to all the participating bidders to give opportunity to participants desirous to be present on the occasion.

      - Action by purchaser against Bidder(s)/ Vendor (s) in case of default

In case of default by Bidder(s) / Vendor (s) such as

(a) Does not supply the equipment in time;

(b) Equipment does not perform satisfactory in the field in accordance with the    specifications;

© Or any other default whose complete list is enclosed in Appendix-1.

Purchaser will take action as specified in Appendix-1 of this section.

      - Near Relationship Certificate:

33.1	The bidder shall give a certificate that none of his/her near relative is working in the units as defined below where he is going to apply for the tender. In case of proprietorship firm, certificate will be given by the proprietor. For partnership firm, certificate will be given by all the partners. In case of Limited Company, certificate will be given by all the Directors of the company excluding Government of India/Financial institution nominees and independent non-Official part time Directors appointed by Govt. of India or the Governor of the state and full time Directors of PSUs both state and central. Due to any breach of these conditions by the company or firm or any other person the tender will be cancelled and Bid Security will be forfeited at any stage whenever it is noticed and BSNL will not pay any damage to the company or firm or the concerned person.

33.2	The company or firm or the person will also be debarred for further participation in the concerned unit.

33.3	The near relatives for this purpose are defined as:-

(a) Members of a Hindu undivided family.

(b) They are husband and wife.

(c) The one is related to the other in the manner as father, mother, son(s) & Son’s wife (daughter in law), Daughter(s) and daughter’s husband (son in law), brother(s) and brother’s wife, sister(s) and sister’s husband (brother in law).

33.4	Please refer to the Performa enclosed in Section 6 Part(B).

      - VERIFICATION OF DOCUMENTS AND CERTIFICATES

The bidder will ensure that all the documents and certificates, including experience/ performance and self certificates submitted by him are correct and genuine before enclosing them in the bid. The onus of proving genuineness of the submitted documents would rest with the bidder.

If any document/ paper/ certificate submitted by the participant bidder is found/ discovered to be false / fabricated/ tempered / manipulated either during bid evaluation or during award of contract or thereafter, then the Purchaser will take action as per Clause-1 of Appendix-1 of this section.

Note for Tender opening Committee:

At the time of tender opening, the TOC will check/ verify that the documents conforming to eligibility part are submitted by the participant bidder duly authenticated by authorized signatory to obviate any possibility of doubt and dispute and maintain veracity of documents / papers/ certificates. The documents/ papers to be submitted in respective bid part have been explicitly stated in clause -7 of Section -4 Part A.

This opened bid part which is already signed by the authorized representative of the bidder company during bid submission will be signed by the tender opening committee on hard copy and preserve it along with the bid received online in case of e-tendering.

These papers will be treated as authentic one, in case of any dispute.

      - Security Clause as per latest guidelines and requirement

Mandatory Licensing requirements with regards to security related concerns issued by the Government of India from time-to-time shall be strictly followed and appropriate clauses shall be added in all bid documents. Necessary guidelines in this regard shall be issued separately.

| Appendix-1 to Section 4 Part A of Chapter 4 (Standard Tender Enquiry Document) |
| --- |
| S. No. | Defaults of the bidder / vendor. | Action to be taken |
| A | B | C |
| 1(a) | Submitting fake / forged | i) Rejection of tender bid of respective Vendor. ii) Banning of business for 3 years which implies barring further dealing with the vendor for procurement of Goods & Services including participation in future tenders invited by BSNL for 3 years from date of issue of banning order. iii) Termination/ Short Closure of PO/WO, if issued. This implies non-acceptance of further supplies / work & services except to make the already received material work/ complete work in hand. |
|  | a) Bank Instruments with the bid to meet terms & condition of tender in respect of tender fee and/ or EMD; |  |
|  | b) Certificate for claiming exemption in respect of tender fee and/ or EMD; |  |
|  | and detection of default at any stage from receipt of bids till award of APO/ issue of PO/WO. |  |
|  | Note 1:- However, in this case the performance guarantee if alright will not be forfeited. |
|  | Note 2:- Payment for already received supplies/ completed work shall be made as per terms & conditions of PO/ WO. |
| 1(b) | Submitting fake / forged documents towards meeting eligibility criteria such as experience capability, supply proof, registration with Sales Tax, Income Tax departments etc and as supporting documents towards other terms & conditions with the bid to meet terms & condition of tender : |  |
|  | (i) If detection of default is prior to award of APO | i) Rejection of Bid & ii) Forfeiture of EMD. |
|  | (ii) If detection of default after issue of APO but before receipt of PG/ SD (DD,BG etc.) | i) Cancellation of APO , ii) Rejection of Bid & iii) Forfeiture of EMD. |

| S. No. | Defaults of the bidder / vendor. | Action to be taken |
| --- | --- | --- |
| A | B | C |
| 1(b) contd. | (iii) If detection of default after receipt of PG/ SD (DD,BG etc.) . | i) Cancellation of APO ii) Rejection of Bid & iii) Forfeiture of PG/ SD. However on realization of PG/ SD amount, EMD, if not already released shall be returned. |
|  | (iv) If detection of default after issue of PO/ WO | i) Termination/ Short Closure of PO/WO and Cancellation of APO ii) Rejection of Bid & iii) Forfeiture of PG/ SD. However on realization of PG/ SD amount, EMD, if not released shall be returned. |
|  | Note 3:- However, settle bills for the material received in correct quantity and quality if pending items do not affect working or use of supplied items. |
|  | Note 4:- No further supplies are to be accepted except that required to make the already supplied items work. |
| 2 | If vendor or his representative uses violent/ coercive means viz. Physical / Verbal means to threatens BSNL Executive / employees and/ or obstruct him from functioning in discharge of his duties & responsibilities for the following : | Banning of business for 3 years which implies Barring further dealing with the vendor for procurement of Goods & Services including participation in future tenders invited by BSNL for 3 years from date of issue of banning order. |
|  | a) Obstructing functioning of tender opening executives of BSNL in receipt/ opening of tender bids from prospective Bidders, suppliers/ Contractors. |  |
|  | b) Obstructing/ Threatening other prospective bidders i.e. suppliers/ Contractors from entering the tender venue and/ or submitting their tender bid freely. |  |
| 3 | Non-receipt of acceptance of APO/ AWO and SD/ PG by L-1 bidder within time period specified in APO/ AWO. | Forfeiture of EMD. |

| S. No. | Defaults of the bidder / vendor. | Action to be taken |
| --- | --- | --- |
| A | B | C |
| 4.1 | Failure to supply and/ or Commission the equipment and /or execution of the work at all even in extended delivery schedules, if granted against PO/ WO. | i) Termination of PO/ WO. ii) Under take purchase/ work at the risk & cost of defaulting vendor. iii) Recover the excess charges if incurred from the PG/ SD and outstanding bills of the defaulting Vendor. |
| 4.2 | Failure to supply and/ or Commission the equipment and /or execution of the Work in full even in extended delivery schedules, if granted against PO/ WO. | i) Short Closure of PO/ WO to the quantity already received by and/ or commissioned in BSNL and/ or in pipeline provided the same is usable and/or the Vendor promises to make it usable. ii) Under take purchase/ work for balance quantity at the risk & cost of defaulting vendor. iii) Recover the excess charges if incurred from the PG/ SD and outstanding bills of the defaulting Vendor. |
| 5.1 | The supplied equipment does not perform satisfactory in the field in accordance with the specifications mentioned in the PO/ WO/Contract. | i) If the material is not at all acceptable, then return the non-acceptable material (or its part) & recover its cost, if paid, from the o/s bills/ PG/ SD. OR ii) If the material is inducted in network & it is not possible to return it and/ or material is acceptable with degraded performance, the purchaser may determine the price for degraded equipment (Financial penalty = Price – price determined for degraded equipment) himself and/ or through a committee. Undertake recovery of financial penalty from outstanding dues of vendor including PG/ SD. |

| S. No. | Defaults of the bidder / vendor. | Action to be taken |
| --- | --- | --- |
| A | B | C |
| 5.2 | Major quality problems (as established by a joint team / committee of User unit(s) and QA Circle) / performance problems and non-rectification of defects (based on reports of field units and QA circle). | i) If the material is not at all acceptable, then return the non-acceptable material (or its part) & recover its cost, if paid, from the o/s bills/ PG/ SD; OR ii) If the material is inducted in network & it is not possible to return it and/ or material is acceptable with degraded performance, the purchaser may determine the price for degraded equipment (Financial penalty = Price – price determined for degraded equipment) himself and/ or through a committee. Undertake recovery of financial penalty from outstanding dues of vendor including PG/ SD; and iii) Withdrawal of TSEC/ IA issued by QA Circle. |
| 6 | Submission of claims to BSNL against a contract | i) Recovery of over payment from the outstanding dues of Vendor including EMD/ PG & SD etc. and by invoking ‘Set off’ clause 21 of Section 5 Part A or by any other legal tenable manner. ii) Banning of Business for 3 years from date of issue of banning order or till the date of recovery of over payment in full, whichever is later. |
|  | (a) for amount already paid by BSNL . |  |
|  | (b) for Quantity in excess of that supplied by Vendor to BSNL. |  |
|  | c) for unit rate and/ or amount higher than that approved by BSNL for that purchase. |  |
|  | Note 5:- The claims may be submitted with or without collusion of BSNL Executive/ employees. |
|  | Note 6:- This penalty will be imposed irrespective of the fact that payment is disbursed by BSNL or not. |
| 7 | Network Security/ Safety/ Privacy:- If the vendor tampers with the hardware, software/ firmware or in any other way that | i) Termination of PO/ WO. ii) Banning of business for 3 years which implies barring further dealing with the vendor for procurement of Goods & Services including participation in future tenders invited by BSNL for 3 years from date of issue of banning order. iii) Recovery of any loss incurred on this account from the Vendor from its PG/ SD/ O/s bills etc. |
|  | a) Adversely affects the normal working of BSNL equipment(s) and/ or any other TSP through BSNL. |  |
| S. No. | Defaults of the bidder / vendor. | Action to be taken |
| A | B | C |
| 7 con-td. | b) Disrupts/ Sabotages functioning of the BSNL network equipments such as exchanges, BTS, BSC/ MSC, Control equipment including IN etc., transmission equipments but not limited to these elements and/ or any other TSP through BSNL. | ( Continued from page 178) iv) Legal action will be initiated by BSNL against the Vendor if required. |
|  | c) tampers with the billing related data/ invoicing/ account of the Customer/ User(s) of BSNL and/ or any other TSP(s). |  |
|  | d) hacks the account of BSNL Customer for unauthorized use i.e. to threaten others/ spread improper news etc. |  |
|  | e) undertakes any action that affects/ endangers the security of India. |  |
| 8 | If the vendor is declared bankrupt or insolvent or its financial position has become unsound and in case of a limited company, if it is wound up or it is liquidated. | i) Termination/ Short Closure of the PO/ WO. ii) Settle bills for the quantity received in correct quantity and quality if pending items do not affect working or use of supplied items. iii) No further supplies are to be accepted except that required to make the already supplied items work. iv) In case of turnkey projects, If the material is commissioned and is usable without any degradation of performance, then settle bills for the acceptable equipment/ material (or its part). v) In case of turnkey projects, if the material is inducted in network & it is not possible to return it and/ or material is acceptable with degraded performance, the purchaser may determine the price for degraded equipment (Financial penalty = Price – price determined for degraded equipment) himself and/ or through a committee. (continues to page 173) |

| S. No. | Defaults of the bidder / vendor. | Action to be taken |
| --- | --- | --- |
| A | B | C |
| 8 con-td. |  | Undertake recovery of financial penalty from outstanding dues of vendor including PG/ SD. |
| 9 | In the event of the vendor, its proprietor, Director(s), partner(s) is / are convicted by a Court of Law following prosecution for offences involving moral turpitude in relation to the business dealings. | i) Termination/ Short Closure of the PO/ WO. ii) Settle bills for the material received in correct quantity and quality if pending items do not affect working or use of supplied items. iii) No further supplies are to be accepted except that required to make the already supplied items work. iv) In case of turnkey projects, If the material is commissioned and is usable without any degradation of performance, then settle bills for the acceptable equipment/ material (or its part). v) In case of turnkey projects, If the material is inducted in network & it is not possible to return it and/ or material is acceptable with degraded performance, the purchaser may determine the price for degraded equipment (Financial penalty = Price – price determined for degraded equipment) himself and/ or through a committee. Undertake recovery of financial penalty from outstanding dues of vendor including PG/ SD. |
| 10 | If the vendor does not return/ refuses to return BSNL’s dues: | i) Take action to appoint Arbitrator to adjudicate the dispute. |
|  | a) inspite of order of Arbitrator. | i) Termination of contract, if any. ii) Banning of business for 3 years which implies barring further dealing with the vendor for procurement of Goods & Services including participation in future tenders invited by BSNL from date of issue of banning order or till the date by which vendor clears the BSNL’s dues, whichever is later. (continues to page 174) |

| S. No. | Defaults of the bidder / vendor. | Action to be taken |
| --- | --- | --- |
| A | B | C |
| 10 con-td. |  | iii) Take legal recourse i.e. filing recovery suite in appropriate court. |
|  | b) inspite of Court Orders. | i) Termination of contract, if any. ii) Banning of business for 3 years which implies barring further dealing with the vendor for procurement of Goods & Services including participation in future tenders invited by BSNL from date of issue of banning order or till the date by which vendor clears the BSNL’s dues, whichever is later. |
| 11 | If the Central Bureau of Investigation/ Independent External Monitor (IEM) / Income Tax/ Sales Tax/ Excise / Custom Departments recommends such a course | Take Action as per the directions of CBI or concerned department. |
| 12 | The following cases may also be considered for Banning of business: | i) Banning of business for 3 years which implies Barring further dealing with the vendor for procurement of Goods & Services including participation in future tenders invited by BSNL for 3 years from date of issue of banning order. |
|  | (a) If there is strong justification for believing that the proprietor, manager, MD, Director, partner, employee or representative of the vendor/ supplier has been guilty of malpractices such as bribery, corruption, fraud, substitution of tenders, interpolation, misrepresentation with respect to the contract in question. |  |
|  | (b) If the vendor/ supplier fails to execute a contract or fails to execute it satisfactorily beyond the provisions of Para 4.1 & 4.2. |  |
|  | (c) If the vendor/ supplier fails to submit required documents/ information, where required. |  |
|  | (d) Any other ground which in the opinion of BSNL is just and proper to order for banning of business dealing with a vendor/ supplier. |  |
| Note 7: The above penalties will be imposed provided it does not clash with the provision of the respective tender. |
| Note 8:-In case of clash between these guidelines & provision of invited tender, the provision in the respective tender shall prevail over these guidelines. |
| Note 9: Banning of Business dealing order shall not have any effect on the existing/ ongoing works/ AMC / CAMC which will continue along with settlement of Bills. |

Section 4 Part B

SPECIAL INSTRUCTIONS TO BIDDERS

## 1.    The Special Instructions to Bidders shall supplement the 'Instructions to Bidders' and in case of any conflict with those in Section-4 Part A i.e. GENERAL INSTRUCTIONS TO BIDDERS (GIB), the provisions herein shall prevail.

      - Eligibility Conditions: As per Para 4 of DNIT.

      - Bid Security

3.1	The bank guarantee/DD so submitted shall be as per the format given in Section-7 E on prescribed judicial paper with stamps of proper value and shall contain full address of the issuing branch of the bank with its telephone  number  and FAX number.

Section 4 Part C

SPECIAL INSTRUCTIONS TO BIDDERS for E-tendering

- General

  - The Special Instructions (for e-Tendering) supplement ‘Instruction to Bidders’, as given in these Tender Documents. Submission of Online Bids is mandatory for this Tender.

  - E-Tendering is a new methodology for conducting Public Procurement in a secured manner. Bidders/ Vendors will be the biggest beneficiaries of this new system of procurement.  For conducting electronic tendering, BSNL has decided to use the portal (https://www.tcil-india-electronictender.com) of M/s TCIL, a Government of India Undertaking.

  - Benefits to Bidders are outlined on the Home-page of the portal.

- Instructions

  - Tender Bidding Methodology:  – ‘Single Stage Bidding, Two stage opening using – Two Electronic Envelopes’.

- Broad outline of activities from Bidders’ prospective:

3.1	Procure a Digital Signing Certificate (DSC)

3.2	Register on Electronic Tendering System® (ETS)

3.3	Create Users and assign roles on ETS

3.4	View Notice Inviting Tender (NIT) on ETS

3.5	Download Official Copy of Tender Documents from ETS

3.6	Clarification to Tender Documents on ETS

-Query to BSNL (Optional)

-View response to queries posted by BSNL as addenda.

3.7	Bid-Submission on ETS

3.8	Attend Public Online Tender Opening Event (TOE) on ETS

– Opening of Technical-Part

3.9	Post-TOE Clarification on ETS (Optional)

– Respond to BSNL’s Post-TOE queries

3.10	Attend Public Online Tender Opening Event (TOE) on ETS

- Opening of Financial-Part

(Only for Technical Responsive Bidders)

- Other Instructions

For participating in this Tender online, the following instructions are to be read carefully. These instructions are supplemented with more detailed guidelines on the relevant screens of the ETS.

- Digital Certificates

For integrity of data and authenticity/ non-repudiation of electronic records, and to be complaint with IT Act 2000, it is necessary for each user to have a Digital Certificate (DC) also referred to as Digital Signature Certificate (DSC), of Class 2 or above, issued by a Certifying Authority (CA) licensed by Controller of Certifying Authorities (CCA) [refer http://www.cca.gov.in].

- Registration

To use the ElectronicTender® portal (https://www.tcil-india-electronictender.com) vendors need to register on the portal. Registration of each organization is to be done by one of its senior persons who will be the main person coordinating for the e-tendering activities. In ETS terminology, this person will be referred to as the Super User (SU) of that organization. For further details, please visit the website/portal, and click on the ‘Bidder Organization’ link under ‘Registration’ (on the Home Page), and follow further instructions as given on the web site. Pay Annual Registration Fee as applicable.

[Note: After successful submission of Registration details and Annual Registration Fee (Rs 6000/- plus service tax as applicable, payable etc TCIL), please contact TCIL Helpdesk (as given below), to get your registration accepted/activated].

| TCIL Helpdesk |
| --- |
| TCIL’s Contact Person | Mr. Manish Tiwari |
| Telephone/ Mobile | 011-26202624 [between 9:30 hrs to 18:00 hrs on working days] |
| E-mail ID | manish.tiwari@tcil-india.com [Please mark CC: support@electronictender.com] |

| BSNL Contact-1 |
| --- |
| BSNL’s Contact Person | Mr. Anup Verma, AGM(MMY) |
| Telephone/ Mobile | 011-23717844 [between 9:30 hrs to 18:00 hrs on working days] |
| E-mail ID | akverma@bsnl.co.in |

| BSNL Contact-2 |
| --- |
| BSNL’s Contact Person | Mr. Manoj Jain ,Dy. Mgr.(MMX) |
| Telephone/ Mobile | 011-23037172 [between 9:30 hrs to 18:00 hrs on working days] |
| E-mail ID | manoj_jain@bsnl.co.in |

- Some Bidding related Information for this Tender (Sealed Bid)

(A)	Procurement of Official Copy of Tender Documents

After the registration process, to procure an official copy of Tender Documents, the Bidder is requested to submit the following documents offline to AGM (MMY), BSNL Corporate Office, 2nd Floor, Bharat Sanchar Bhawan, Janpath, New Delhi – 110001, on or before the date & time of procurement of Tender Documents specified in the covering letter of this Tender Document:

- DD/ Bankers cheque of INR 4,000/- ( INR Four Thousand only)drawn in favour of AO(Cash), BSNL CO, New Delhi, payable at New Delhi  against payment of tender fee (ie cost of Tender Documents)

Only after the receipt of the above mentioned documents, the Bidder would be authorized to procure the official copy of Tender Documents from the e-procurement portal.

(B)	Online Submission of Bids

The entire bid-submission would be online on ETS. Broad outline of submissions are as follows:

- Submission of information about Bid Security/ Earnest Money Deposit (EMD) being submitted ‘offline’ on or before the date & time of submission of bids

- Submission of digitally signed copy of Tender Documents/ Addenda

- Acceptance of General Terms and Conditions  (GTC)

- Acceptance of Special Terms and Conditions (STC)

- Two Envelopes

- Technical-Part

- ElectronicForms-mandatory

- Main-Bid-mandatory

- Bid-Annexures (Optional)

- Financial-Part

- ElectronicForms-mandatory

- Main-Bid-mandatory

- Bid-Annexures (Optional)

- Offline Submissions:

The Bidder is requested to submit the following original documents offline to DM (MMT), BSNL Corporate Office, 2nd Floor, Bharat Sanchar Bhawan, Janpath, New Delhi – 110001 on or before the Bid Closing Date specified in covering letter of this Tender Document, in a sealed envelope. The envelope shall bear (the Tender/Project name), the tender number and the words ‘DO NOT OPEN BEFORE’ (due date & time).

        - Bid Security.

        - Power of attorney in accordance with clause 14 of Section-4 Part A.

        - Integrity Pact duly signed by the Bidder. (if applicable)

[Note:     The Bidder has to upload the Scanned copy of all above said original documents as Bid-Annexure during Online Bid-Submission].

- Special Note on Security of Bids

  - Security related functionality has been rigorously implemented in ETS in a multi-dimensional manner. Starting with 'Acceptance of Registration by the Service Provider', provision for security has been made at various stages in Electronic Tender's software. Specifically for Bid Submission, some security related aspects are outlined below.

  - As part of the Electronic Encrypter™ functionality, the contents of both the ‘Electronic Forms’ and the ‘Main-Bid’ are securely encrypted using a Pass-Phrase created by the Bidder himself. Unlike a ‘password’, a Pass-Phrase can be a multi-word sentence with spaces between words (eg I love this World). A Pass-Phrase is easier to remember, and more difficult to break. It is recommended that a separate Pass-Phrase be created for each Bid-Part. This method of bid-encryption does not have the security and data-integrity related vulnerabilities which are inherent in e-tendering systems which use Public-Key of the specified officer of a Buyer organization for bid-encryption. Bid-encryption in ETS is such that the Bids cannot be decrypted before the Public Online Tender Opening Event (TOE), even if there is connivance between the concerned tender-opening officers of the Buyer organization and the personnel of e-tendering service provider.

  - Typically, ‘Pass-Phrase’ of the Bid-Part to be opened during a particular Public Online Tender Opening Event (TOE) is furnished online by each Bidder during the TOE itself, when demanded by the concerned Tender Opening Officer.

  - It is important for the bidder to keep a safe record of his Pass-phrases. It is the RESPONSIBILITY of the bidder to provide the CORRECT PASS-PHRASE for decrypting his bid part. In case the bidder is unable to provide the correct pass-phrase during the TOE, it will not be possible to open his bid and as his bid will be REJECTED (i.e. Archived Un-opened). Before rejection in such a situation, the bidder will be given opportunity to himself enter the pass-phrase from his own office or from BSNL’s office if his representative is physically present there.

  - There is an additional protection with SSL Encryption during transit from the client-end computer of a Bidder organization to the e-tendering server/ portal.

- Public Online Tender Opening Event (TOE)

  - ETS offers a unique facility for ‘Public Online Tender Opening Event (TOE)’. Tender Opening Officers as well as authorized representatives of Bidders can attend the Public Online Tender Opening Event (TOE) from the comfort of their offices. Alternatively, duly authorized representatives of Bidders (i.e. Bidder organization) are requested to carry a Laptop with Wireless Internet Connectivity, if they wish to come to BSNL office for the Public Online TOE.

  - Every legal requirement for a transparent and secure ‘Public Online Tender Opening Event (TOE)’ has been implemented on ETS.

  - As soon as a Bid is decrypted with the corresponding ‘Pass-Phrase’ as submitted online by the Bidder himself (during the TOE itself), salient points of the Bids are simultaneously made available for downloading by all prospective Bidders. The tedium of taking notes during a manual ‘Tender Opening Event’ is therefore replaced with this superior and convenient form of ‘Public Online Tender Opening Event (TOE)’.

  - ETS has a unique facility of ‘Online Comparison Chart’ which is dynamically updated as each online bid is opened. The format of the chart is based on inputs provided by the Buyer for each Tender. The information in the Comparison Chart is based on the data submitted by the Bidders. A detailed Technical and/ or Financial Comparison Chart enhances Transparency. Detailed instructions are given on relevant screens.

  - ETS has a unique facility of a detailed report titled ‘Minutes of Online Tender Opening Event (TOE)’ covering all important activities of ‘Online Tender Opening Event (TOE)’. This is available to all prospective Bidders for ‘Viewing/ Downloading’.

  - There are many more facilities and features on ETS. For a particular tender, the screens viewed by a Bidder will depend upon the options selected/programmed by the Purchaser for the relevant tender.

IMPORTANT NOTE: In case of internet related problem at a bidder’s end, especially during ‘critical events’ such as – a short period before bid-submission deadline, during online public tender opening event, during e-auction, it is the bidder’s responsibility to have backup internet connections.  In case there is a problem at the e-procurement/ e-auction service-provider’s end (in the server, leased line, etc) due to which all the bidders face a problem during critical events, and this is brought to the notice of BSNL by the bidders in time, then BSNL will promptly re-schedule the affected event(s).

- Other Instructions

  - For further instructions, the vendor shall visit the home-page of the portal (https://www.tcil-india-electronictender.com) and go to the User-Guidance Center

  - The help information provided through ‘ETS User-Guidance Center’ is available in three categories – Users intending to Register / First-Time Users, Logged-in users of Buyer organizations, and Logged-in users of Bidder organizations. Various links are provided under each of the three categories.

  - It is strongly recommended that all authorized users of Bidder organizations shall thoroughly peruse the information provided under the relevant links, and take appropriate action. This will prevent hiccups, and minimize teething problems during the use of ETS.

  - The following ‘FOUR KEY INSTRUCTIONS for BIDDERS’ must be assiduously adhered to:

        - Obtain individual Digital Signing Certificate (DSC or DC) well in advance of your first tender submission deadline on ETS

        - Register your organization on ETS well in advance of your first tender submission deadline on ETS.

        - Get your organization’s concerned executives trained on ETS well in advance of your first tender submission deadline on ETS

        - Submit your Bids well in advance of tender submission deadline on ETS (There could be last minute problems due to internet timeout, breakdown, et al).

        - While the first three instructions mentioned above are especially relevant to first-time users of ETS, the fourth instruction is relevant at all times.

- Minimum Requirements at Bidders end

  - Computer System with good configuration (Min PIV, 1 GB RAM, Windows XP)

  - Broadband connectivity

  - Microsoft Internet Explorer 6.0 or above

  - Digital Certificate(s)

- Training Program

  - One day training (10:00 to 17:00) would be provided as per the following table. Training is optional.

  - The prospective Bidders are requested to carry a Laptop and Wireless Connectivity to Internet.

| Scheduled Date | Date of uploading of Tender document + 7 days |
| --- | --- |
| Venue | BSNL Corporate Office, Bharat Sanchar Bhawan, Janpath, New Delhi – 110001 |
| Training Charges (Per Participant) | Rs. 2,500/- (plus Service Tax @ 12.36 %) |

Section 5 part A

# GENERAL (COMMERCIAL) CONDITIONS OF CONTRACT (GCC)

- APPLICATION

The General Conditions of Contracts provide the terms and conditions applicable to the Bidder for the supply of Goods and the provision of Services.

- STANDARDS

The Goods and Services supplied under the Contract shall conform to the standards prescribed in the Technical Specifications mentioned in Section-3.

- PATENT RIGHTS

The Bidder shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods and/or Services or any part thereof in network of BSNL.

- PERFORMANCE SECURITY

  - The Bidder (including small scale units who are registered with National Small Scale Industries Corporation under single point registration scheme) shall furnish Performance Security to the Purchaser for an amount equal to 5% of the value of Advanced Purchase Order & valid for a minimum period of 24 months, within 14 days from the date of issue of Advance Purchase Order by BSNL.

  - The proceeds of the performance security shall be payable to the Purchaser as compensation for any loss resulting from the bidder's failure to complete its obligations under the contract.

  - The performance security Bond shall be in the form of Bank Guarantee issued by a scheduled Bank and in the proforma provided in 'Section-7B’ of this Bid Document.

  - The performance security Bond will be discharged by the Purchaser after completion of the bidder's performance obligations including any warranty obligations under the contract.

- INSPECTION AND TESTS

  - The Purchaser or its representative shall have the right to inspect and test the goods as per prescribed test schedules for their conformity to the specifications. Where the Purchaser decides to conduct such tests on the premises of the bidder or its subcontractor(s), all reasonable facilities and assistance like Testing instruments and other test gadgets including access to drawings and production data shall be furnished to the inspectors at no charge to the purchaser.

  - Shall any inspected or tested goods fail to conform to the specifications the purchaser may reject them and the bidder shall either replace the rejected goods or make all alterations necessary to meet Specification / requirements free of cost to the purchaser.

  - Notwithstanding the pre-supply tests and inspections prescribed in clause 5.1 & 5.2 above, the equipment and accessories on receipt in the Purchaser's premises will also be tested during and after installation before "take over" and if any equipment or part thereof is found defective, the same shall be replaced free of all cost to the purchaser as laid down in clause 5.4 below.

  - If any equipment or any part thereof, before it is taken over under clause 5.5, is found defective or fails to fulfill the requirements of the contract, the inspector shall give the Bidder notice setting forth details of such defects or failure and the bidder shall make the defective equipment good, or alter the same to make it comply with the requirements of the contract forthwith and in any case within a period not exceeding three months of the initial report. These replacements shall be made by the bidder free of all charges at site. Shall it fail to do so within this time, the purchaser reserves the discretion to reject and replace at the cost of the bidder the whole or any portion of equipment as the case may be, which is defective or fails to fulfill the requirements of the contract. The cost of any such replacement made by the purchaser shall be deducted from the amount payable to the bidder.

  - When the performance tests called for have been successfully carried out, the inspector / ultimate consignee will forthwith issue a Taking Over Certificate. The inspector /ultimate consignee shall not delay the issue of any "taking Over Certificate" contemplated by this clause on account of minor defects in the equipment which do not materially affect the commercial use thereof provided that the bidder shall undertake to make good the same in a time period not exceeding six months. The Taking Over Certificate shall be issued by the ultimate consignee within six weeks of successful completion of tests. In this case, BCPC (Bills Copy Payable Challan) shall be equivalent to "Taking Over Certificate", issuance of which shall certify receipt of goods in safe and sound condition.  However, they shall not discharge the bidder of their warranty obligation.  BCPC in respect of last consignment against the purchase order will be equivalent to "Taking Over Certificate".

  - Nothing in clause 5 shall in any way release the Bidder from any warranty or other obligations under this contract.

- DELIVERY AND DOCUMENTS

  - Delivery of the goods and documents shall be made by the bidder in accordance with the terms specified by the purchaser in its schedule of requirements and special conditions of contracts, and the goods shall remain at the risk of the bidder until delivery has been completed. The delivery of the equipment shall be to the ultimate consignee as given in the purchase order.

  - The delivery of the goods and documents shall be completed within time frame stated in Section-2 (Tender information).

  - All Technical assistance for installation, commissioning and monitoring of the equipment shall be provided by the Bidder at no extra cost during laboratory evaluation, type approval and field trial, if any.

  - The extension of delivery period against the purchase order, if any, shall be granted subject to the condition that BSNL shall have the absolute right to revise the price(s) and also to levy penalty for the delayed supplies.

- TRAINING (refer Section 5 – Part B)

- INCIDENTAL SERVICES

The Bidder may be required to provide any or all of the following Services:

        - Performance or supervision of on-site assembly and/or start-up of the   supplied goods.

        - Furnishing of tools required for assembly and/or maintenance of supplied goods:

        - Performance of supervision or maintenance and/or repair of the supplied goods, for a period of time agreed by the parties that this service shall not relieve the Bidder of any Warranty obligations under this Contract.

- SPARES –

  - The supplier shall be required to provide a list of the following material and notifications pertaining to spare parts manufactured or distributed by the supplier of spares including cost and quantity considered for arriving at the price of spares in Sec-4 Part A clause 9.

- Such spare parts as the purchaser may elect to purchase from the supplier provided that such purchase shall not relieve the supplier of any warranty obligation under the contract.

- In the event of termination of production of the spare parts, the supplier shall:

      - give advance notification to the purchaser pending termination (not less than 2 years), in sufficient time to enable the purchaser to procure life time spare;  and

      - following such advance intimation of termination, furnish at no cost to the purchaser, the blue prints, drawings and specifications of spare parts, if and when requested.

  - Over a period of three years starting from the date of final acceptance, the supplier shall supply, at its own cost, all necessary spares which have not been included in the offer as part of the requirement. These spares should be supplied within a maximum period of 30 days from the notification by the purchaser of its need.

- WARRANTY

# The warranty of the stores/ equipment supplied shall be for a period of twelve months from the date of commissioning.

# During the warranty period, all obligations of AMC including SLA penalties etc. shall be fulfilled by the bidder.

  - Replacement under warranty clause shall be made by the supplier free of all charges at site including freight, insurance and other incidental charges.

- PAYMENT TERMS

  - Payment will be made as specified in Clause 5 of the tender information (Section-2). For claiming the payment on receipt of goods by the consignee, following documents are to be submitted to the paying authority.

- Invoice clearly indicating break up details of composite price i.e. Basic, E.D., Sales Tax, any other Duties and Taxes, Freight/Packing Charges, Service Tax etc.

- Acknowledged Delivery Challan in original.

- Supplier certificate for dispatch

- Excise gate pass / invoice or equivalent document

- Inspection certificate of QA

- Consignee receipt

- Excise gate pass / invoice or equivalent document, if applicable.

- The sea freight receipt as per the rates approved by the Ministry of Water and Surface Transport, if applicable.

- Proof of payment of Octroi/ entry tax etc., if applicable.

Note: -	If the bidder fails to furnish necessary supporting documents i.e. excise/Customs invoices etc. in respect of the Duties/taxes which are CENVAT-able, the amount pertaining to such Duties/Taxes will be deducted from the payment due to the firm.

  - In those cases where supply of the equipments shortages/damages are intimated to the supplier in writing, the appropriate payment shall be released only after the cases are settled in accordance with the provision of the P.O.

  - Form C will not be issued.

  - No payment will be made for goods rejected at the site on testing.

  - The bidder has to give the mandate for receiving payment costing Rs.5 lakhs and above electronically and the charges, if any, levied by bank has to be borne by the bidder/ contractor/bidder. The bidder company is required to give the following information for this purpose:-

- Beneficiary Bank Name:

- Beneficiary branch Name:

- IFSC code of beneficiary Branch

- Beneficiary account No.:

- Branch Serial No. (MICR No.):

- PRICES

  - Prices charged by the bidder for goods delivered and services performed under the contract shall not be higher than the prices quoted by the Bidder in its Bid except for variation caused by change in taxes/ duties as specified in Clause-12.2 mentioned below.

  - For changes in taxes/ duties during the scheduled delivery period, the unit price shall be regulated as under:

- Prices will be fixed at the time of issue of purchase order as per taxes and statutory duties applicable at that time.

- In case of reduction of taxes and other statutory duties during the scheduled delivery period, purchaser shall take the benefit of decrease in these taxes/ duties for the supplies made from the date of enactment of revised duties/taxes.

- In case of increase in duties/taxes during the scheduled delivery period, the purchaser shall revise the prices as per new duties/ taxes for the supplies, to be made during the remaining delivery period as per terms and conditions of the purchase order.

  - Any increase in taxes and other statutory duties/ levies, after the expiry of the delivery date shall be to the bidder's account.  However, benefit of any decrease in these taxes/duties shall be passed on to the Purchaser by the bidder. The total price is to be adjusted (by reducing the basic price) with increased duties and taxes as per price mentioned in PO.

- CHANGES IN PURCHASE ORDERS

  - The Purchaser may, at any time, by a written order given to a Bidder, make changes within the general scope of the Contract in any one or more of the following:

          - Drawings, designs or specifications, where goods to be supplied under the Contract are to be specifically manufactured for the Purchaser;

          - the method of transportation or packing;

          - the place of delivery; or

          - the services to be provided by the Bidder.

  - If any such change causes an increase or decrease in the cost and quantity of, or the time required for the execution of the Contract an equitable adjustment shall be made in the Contract Price or delivery schedule, or both, and the Contract shall accordingly be amended. Any proposal by the Bidder for adjustment under this clause must be made within thirty days from the date of the receipt of the change in order.

- SUBCONTRACTS

The Bidder shall notify the Purchaser in writing of all subcontracts awarded under this Contract if not already specified in his Bid. Such notification, in his original bid or later shall not relieve the Bidder from any liability or obligation under the Contract.

- DELAYS IN THE BIDDER’S PERFORMANCE

  - Delivery of the Goods and performance of the services shall be made by the Bidder in accordance with the time schedule specified by the purchaser in its purchase order. In case the supply is not completed in the stipulated delivery period, as indicated in the Purchase Order, purchaser reserves the right to short-close/ cancel this purchase order and/ or recover liquidated damage charges. The cancellation/ short-closing of the order shall be at the risk and responsibility of the bidder and purchaser reserves the right to purchase balance unsupplied item at the risk and cost of the defaulting vendors.

  - Delay by the Bidder in the performance of its delivery obligations shall render the Bidder liable to any or all of the following sanctions:

- forfeiture of its performance security,

- imposition of liquidated damages, and/ or

- Short closure of the contract in part or full and/ or termination of the contract for default.

  - If at any time during the performance of the contract, the bidder encounters condition impending timely delivery of the goods and performance of service, the bidder shall:

- Promptly notify to the Purchaser in writing the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the bidder's notice, the purchaser shall evaluate the situation and may at its discretion extend the period for performance of the contract (by not more than 20 weeks or as per provisions of clause 16.2 Section-5A as per provision given below :

- The vendor has to submit their request for extension along with the undertaking as per clause 24 Section-5A (Fall Clause) and a copy of QA inspection certificate at least two weeks before the expiry of delivery period. The vendor shall also submit unconditional acceptance of the conditions for delivery period extension i.e. applicability of liquidated damages, prices to be provisional and to be regulated as per clauses 12.3 and 24 of section-5A and submission of additional BG, wherever applicable. The decision regarding extension shall be communicated within two weeks of the receipt of request and after receipt of the unconditional acceptance and the undertaking mentioned above.

- In case extension is being granted beyond 20 weeks then the vendor shall submit additional BG while seeking extension. For piecemeal items the amount of additional BG shall be 5% of the value of balance quantity of items to be supplied for which extension in delivery period has been sought. In case of infrastructure/ projects other than as stated above, 1% of the total project value shall be the value for additional BG. The additional BG shall be valid for six months beyond extension of. delivery period sought and shall be discharged after the full ordered quantity has been supplied to the ultimate consignee within the last extended delivery period on submission of inspection certificate from QA and consignee receipt without prejudice to the other remedies available to the purchaser.

- If the vendor fails to deliver the full ordered quantity even during extended delivery period then the PO shall be short-closed and the Performance Bank Guarantee as well as additional BG shall be forfeited.

- Format of (i) letters conveying conditions of DP extension and (ii) DP extension letter are at Section 7 Part A& Part B.

  - If the supplies are not completed in the extended delivery period, the purchase order shall be short-closed and both the Performance securities shall be forfeited.

- LIQUIDATED DAMAGES

  - The date of delivery of the stores stipulated in the acceptance of the tender shall be deemed to be the essence of the contract and delivery must be completed not later than the dates specified therein. Extension will not be given except in exceptional circumstances. Shall, however, deliveries be made after expiry of the contracted delivery period, without prior concurrence of the purchaser and be accepted by the consignee, such delivery will not deprive the purchaser of its right to recover liquidated damage under clause 16.2 below. However, when supply is made within 21 days of the contracted original delivery period, the consignee may accept the stores and in such cases the provision of clause 16.2 will not apply. Further, DP extension for this grace period of 21 days shall not be necessary.

  - While granting extension of delivery period as per clause 15.3, the liquidated damages shall be levied as follows:

- Shall the bidder fails to deliver the store or any consignment thereof within the period prescribed and agreed for delivery, the purchaser, without prejudice to other remedies available to the purchaser shall be entitled to recover, as agreed liquidated damages for breach of contract, a sum equivalent to 0.5% of the value of the delayed supply and/ or undelivered material/ supply for each week of delay or part thereof for a period up to 10 (TEN) weeks, and thereafter at the rate of 0.7% of the value of the delayed supply and/ or undelivered material/ supply for each week of delay or part thereof for another TEN weeks of delay.

- DP extension beyond 20 weeks would not be generally allowed. The extension beyond 20 weeks may be decided in most exceptional circumstances on case to case basis, by the CGM concerned in case of tenders floated by Circles and by the Functional Director concerned in case tenders floated by Corporate Office, stating reasons and justifications for grant of extension of delivery period beyond 20 weeks.

- In the case of package supply/ projects when the delayed portion of the supply materially hampers installation and commissioning of the systems, LD charges shall be levied as above on the total value of the concerned package of the Purchase Order.

- Quantum of liquidated damages assessed and levied by the purchaser and decision of the purchaser thereon shall be final and binding on the bidder, further the same shall not be challenged by the bidder either before Arbitration tribunal or before the court. The same shall stand specifically excluded from the purview of the arbitration clause, as such shall not be referable to arbitration. However, when supply is made to the ultimate consignee within 21 days of QA clearance in the extended delivery period and the goods were dispatched within this delivery period, the consignee may accept the stores and in such cases the LD shall be levied up to the date of dispatch after QA clearance only.

- The total value of the liquidated damages as per above sub-clauses shall be limited to a maximum of 12% (Twelve percent) i.e. LD shall be levied up to 20 weeks only as per provision at Para (a).

Note :LD for the services like Installation and commissioning shall also be applied on the same terms and conditions as stated above on the cost of installation and commissioning rates evaluated and approved.

- FORCE MAJEURE

  - If, at any time, during the continuance of this contract, the performance in whole or in part by either party of any obligation under this contract is prevented or delayed by reasons of  any war or hostility, acts of the public enemy, civil commotion, sabotage , fires, floods, explosions, epidemics, quarantine restrictions, strikes, lockouts or act of God (hereinafter referred to as events) provided notice of happenings of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof, neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any  claim for damages against  other in respect of such non-performance or delay in performance, and  deliveries under the contract shall be resumed as soon as practicable after such an event come to an end or cease   to exist, and the decision of the Purchaser as to whether the deliveries have been so resumed or not shall be final and conclusive.  Further that if the performance in whole or part of any obligation under this contract is prevented or delayed by reasons of any such event for a period exceeding 60 days, either party may, at its option, terminate the contract.

  - Provided, also that if the contract is terminated under this clause, the Purchaser shall be at liberty to take over from the Bidder at a price to be fixed by the purchaser, which shall be final, all unused, undamaged and acceptable materials, bought out components and stores in course of manufacture which may be in possession of the  Bidder at the time of such termination or such portion thereof as the purchaser may deem fit, except such materials, bought out components and stores as the Bidder may with the concurrence of the purchaser elect to retain.

- Action by Purchaser against Bidder(s)/ Vendor(s) in case of default

  - In case of default by Bidder(s)/ Vendor(s) such as

- Failure to deliver and/or commission any or all of the goods within the time period(s) specified in the contract, or any extension thereof granted by the purchaser pursuant to clause 15 of this section;

- Failure to perform any other obligation(s) under the  Contract; and

- Equipment does not perform satisfactory in the field in accordance with the specifications;

- Or any other default whose complete list is enclosed in Appendix-1 of Section -4 Part –A;

Purchaser will take action as specified in Appendix-1 of Section-4, Part-A.

- ARBITRATION

  - In the event of any question, dispute or difference arising under this agreement or in connection there-with (except as to the matters, the decision to which is specifically provided under this agreement), the same shall be referred to the sole arbitration of the CMD, BSNL or in case his designation is changed  or his office is abolished, then in such cases to the sole arbitration of the officer for the time being entrusted (whether in addition to his own duties or otherwise) with the functions of the CMD, BSNL or by whatever designation such an officer may be called (hereinafter referred to as the said officer), and if the CMD or the said officer is unable or unwilling to act as such, then to the sole arbitration of some other person appointed by the CMD or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act 1996.  There will be no objection  to any such appointment on the ground that the arbitrator is a Government Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as a Government Servant he has expressed his views on all or any of the matters in dispute. The award of the arbitrator shall be final and binding on both the parties to the agreement. In the event of such an arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reason whatsoever, the CMD, BSNL or the said officer shall appoint another person to act as an arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

  - The arbitrator may from time to time with the consent of both the parties enlarge the time frame for making and publishing the award. Subject to the aforesaid, Arbitration and Conciliation Act, 1996 and the rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

  - The venue of the arbitration proceeding shall be the office of the CMD, BSNL, New Delhi or such other places as the arbitrator may decide.

- SET OFF

Any sum of money due and payable to the bidder (including security deposit refundable to him) under this contract may be appropriated by the purchaser or the BSNL or any other person(s) contracting through the BSNL and set off the same against any claim of the Purchaser or BSNL or such other person or person(s) for payment of a sum of money arising out of this contract or under any other contract made by the bidder with  the Purchaser or BSNL or such other person(s) contracting through the BSNL.

- INTIMATION OF SUPPLY STATUS

The bidders, who are given Purchase Orders, must give the details of the supplies made against all the Purchase Orders every month on the first working day of the following month to MM and the concerned Planning Branches of BSNL (Corporate Office).

- DETAILS OF THE PRODUCT

The bidder shall furnish the name of his collaborator (if applicable), brand name, model no. and type of the products offered in this tender. The technical literatures of the products shall also be submitted.  No change in either technology or product shall be permitted after opening of bids.

- FALL CLAUSE

  - The prices once fixed will remain valid during the scheduled delivery period except for the provisions in clause 12.1 of Section 5 Part A.  Further, if at any time during the contract

- It comes to the notice of purchaser regarding reduction of price for the same or similar equipment/ service;

and /or

- The prices received in a new tender for the same or similar equipment/ service are less than the prices chargeable under the contract.

  - The purchaser, for the purpose of delivery period extension, if any, will determine and intimate the new price, taking into account various related aspects such as quantity, geographical location etc., and the date of its effect for the balance quantity/ service to the vendor.  In case the vendor does not accept the new price to be made applicable during the extended delivery period and the date of its effect, the purchaser shall have the right to terminate the contract without accepting any further supplies. This termination of the contract shall be at the risk and responsibility of the bidder and the purchaser reserves the right to purchase the balance unsupplied quantity/ service at the risk and cost of the defaulting vendor besides considering the forfeiture of his performance security.

  - The vendor while applying for extension of time for delivery of equipment/services, if any, shall have to provide an undertaking as “We have not reduced the sale price, and/ or offered to sell the same or similar equipment/ service to any person/organization including Department of central/state Government or any central/state PSU at a price lower than the price chargeable under the contract for scheduled delivery period.”

  - In case under taking as in Clause 24.3 is not applicable, the vendor will give the details of prices, the name(s) of purchaser, quantity etc.  to the purchaser, while applying extension of  delivery period.

25.      COURT JURISDICTION:

  - Any dispute arising out of the tender/bid document/evaluation of bids/issue of APO shall be subject to jurisdiction of the competent court at the place from where the NIT/tender has been issued.

  - Where a contractor has not agreed to arbitration, the dispute/claims arising out of the Contract/PO entered with him shall be subject to the jurisdiction of the Competent Court at the place from where Contract/PO has been issued. Accordingly ,a stipulation shall be made in the contract as under:

“This Contract/PO is subject to jurisdiction of Court at Delhi only”

SECTION – 5 PART-B

# SPECIAL CONDITIONS OF CONTRACT

The Special Conditions of the Contract shall supplement the ‘Detailed Notice Inviting Tender’ as contained in Section-1, `General Instructions to the Bidders’ as contained in Section-4 Part A, "General Commercial Conditions of the Contract" as contained in Section-5 Part A. Wherever there is a conflict, the provisions herein shall prevail over those in Section-1, Section-4 Part A and Section-5 Part A.

# Instructions regarding technology solution-

# Bidder shall submit along with the bid, the complete list of their OEM partners.

# The original hardware/software Manufacturer(s) (OEMs) of the proposed equipment / solution shall support to the BSNL for a minimum period of 5 years (1 year under warranty & 4 years under AMC) . The bidder shall submit back-to-back agreement with each of the OEM for servers, optical taps, load balancing switch, Manageable switch, UPS etc. to ensure that respective product support for implementation, operations, maintenance and upgrades are available for a minimum period of 5 years (1 year under warranty & 4 years under AMC) excluding the period of implementation. A copy of such support certificate shall be submitted in the bid as per Section 7(G) of the tender document.

# The OEM of active components shall be directly present in India with their office. The OEM shall have their agents/ spares depots in India to provide faster turnaround time for replacement of faulty parts.

# Bidder has to keep the AMC support current from all the OEMs during the contract period (including implementation, warranty and AMC period). In case it is noticed that bidder has not renewed the AMC services from any of the OEMs then BSNL shall be at liberty to renew the AMC contract directly from the respective OEM at the risk and cost of the bidder.

# Hardware/Software/Database:

# Various products including servers, networking equipments, etc should be commercially launched as on the date of bid submission. Any product shall be considered as commercially launched if it has been supplied to a customer for deployment by the OEM  or declared at the website of OEM.

# All the software licenses supplied against this Tender Document shall be perpetual without any limitations on use and shall be licensed in the name of BSNL. Licensing matrix shall be indicated for each of the applications.

# Certified and licensed copies of the application software required shall be supplied. All the Software upgrades and/or patches required for the maintenance of the system supplied/shown in the roadmap for realization of the features stated in the Bid will be implemented without any additional cost at each site during the currency of the warranty & AMC and acceptance testing of the system may be done by BSNL after the implementation of Software upgrades/patches in each system

# TENDER EVALUATION:

  - The tender shall be evaluated on the basis of price schedule of all the items of Section-9 (100% requirements including quoted taxes) including installation and commissioning charges, AMC charges for 4 years & any other item quoted by the bidder for successful commissioning and Maintenance of the LIM system.

  - Items which are to be included in addition to what has been mentioned in the SOR are to be quoted by the bidder under “Any other Item” category of the Price Schedule. It is the responsibility of bidder to indicate such items as a part of any other item of the SOR. It shall also form part of the evaluation of tender. If the bidder indicates quantities of “Any other Item” as zero, such items are to be supplied free of cost by the bidder.

  - BSNL reserves the right to place order for individual equipments/items as per its requirement at the approved rates during the currency of the tender.

  - For AMC cost NPV calculations: Cost of AMC for the period mentioned in the price schedule shall be calculated to the Net present value (NPV) at a discounted rate of 12% per annum, for evaluating purpose as per the formula given below:

NPV=A1/(1+r/100)2+A2/(1+r/100)3+A3/(1+r/100)4+ A4/(1+r/100)5

Here A1, A2, A3, A4 are the AMC amounts for first, second, third, fourth years subsequent to the one year of warranty and “r” is the discounting rate of 12% per annum.

  - The Bidder shall quote the cost of AMC for a period of 4 years for all the elements as a percentage of the quoted equipment cost for each of the 4 years. Minimum AMC % to be quoted is 3%. In case the bidder quotes the AMC % less than 3% in any year then the minimum 3% AMC cost shall be considered for the purpose of the evaluation. However the bidder shall be paid as per the actual AMC quoted by them.

- Loading: In order to reach the required level of techno-commercial compliance, the financial Bid of the bidders shall be treated as below, for the purpose of arriving at ranking:-

(i)	In case any item is not quoted by a Bidder mentioned in the SOR of the tender document or the price of any item is not available in its own bid, then the bid shall be loaded by the highest price quoted by any of the bidders for that item. The loaded item shall be supplied at lowest cost quoted by any of the bidder.

(ii)	Cases in which the bidder has quoted for less quantity for any of the items than that indicated in the SOR of the tender document, then the price bid shall be loaded to the extent of the difference in the quantity of the item to meet the full requirement of the SOR on a pro-rata basis for the purpose of evaluation and ordering.

(iii)	No de-loading of the bid is envisaged, if the quoted quantity in the bid is higher than that requested in the tender for the purpose of evaluation.

(iv)	AMC cost shall not be paid for all items supplied free of cost on account of the loading.

(v)	Offer to the L1 bidder(s) after correcting the arithmetical errors and effecting changes in the unit prices due to loading shall not tantamount to counter offer. If not accepted by the bidder, then he/she shall be liable to be barred from participating in future tenders/RFPs of BSNL for a period of two years.

- AWARD OF CONTRACT

  - BSNL after evaluation of the financial bids (of technically and commercially responsive bidders) shall prepare separate list of such bidders arranged in increasing order of their evaluated prices (with NPV) starting from the lowest (i.e. L1, L2, L3 and so on) for the purpose of ordering against this tender.

  - The bidder with the lowest evaluated price (L1) will be considered for awarding the work.

  - In case L1 bidder declines to accept the offer, the offer shall be made to L2 bidder. The security of L1 bidder shall be forfeited in case of refusal of offer.

    - The offer to L2 bidder shall be at the total evaluated price of the L1. The evaluated price schedule of the L2 bidder shall be recalculated by multiplying the individual SoR line items with a factor arrived at by dividing the evaluated L1 (with NPV) price by evaluated L2 (with NPV) price (herein after referred to as “derating”). The L2 may decline the offer without the risk of forfeiting its bid security.

  - In case L2 bidder declines to accept the offer, the offer shall be made to L3 bidder and so on in the same manner as has been made to L2 bidder.

  - BSNL reserves the right to place add-on orders by way of additional items within the quantity variation permissible as per the tender.

- Delivery schedule and time for commissioning

  - The bidder shall be responsible for Supply, Installation, integration & commissioning of all items as per PO in each of the locations including all the installation material, accessories, consumables for the installation of the Systems.

  - The bidder shall be responsible for carrying out all general tests such as Power on test on delivery, pre-installation checks to ensure correct connections etc. The bidder shall be responsible for end to end implementation of the LIM system.

  - Equipments shall be supplied, installed and Commissioned at each location within 90 days from the date of PO. Commissioning of all sites shall be completed in all respects within 90 days from the date of placement of Purchase Order.

- Validation:

  - The systems/Equipments supplied and installed by the Bidders against the Purchase Orders placed on them shall be subjected to on-site validation by the team designated by BSNL during which the tests as per the Tender requirements shall be conducted.

  - Validation shall be conducted at one site only.

  - The successful bidder will submit the Validation test schedule and procedure (including but not limited to all test of features, Capacity test/ quality testing, Traffic trials, etc.) within 15 days of issue of PO. The test schedule and procedures for validation tests will be finalized by BSNL in consultation with the bidder.

  - The bidder shall make software programs and testers required for carrying out the Validation tests as per the schedule.

- Acceptance Testing (A/T):

  - The Selected Bidder shall submit the Acceptance test schedule within 15 days from issue of PO and BSNL shall finalize the same in consultation with the bidder.

  - BSNL designated unit shall offer equipment for acceptance testing to A/T team that will carry out the tests detailed in the acceptance test schedule to confirm that the performance of the different modules, subsystems, and entire installation satisfies the specified requirement of specifications including service performance.

  - Any components or modules failing during the acceptance tests shall be replaced at no additional cost to the Purchaser at site by the Selected Bidder.

  - After successful acceptance tests, designated unit shall declare the solution fit for deployment in BSNL network and commissioning shall be announced.

- Penalties for delay in supply, Installation and commissioning

  - In case of delay in commissioning within the specified time, BSNL without prejudice to other remedies under the agreement, levy as a penalty a sum equal to 0.5% of the cost of the equipment to be deployed at all sites, for each week or part thereof or a period upto 10 weeks and thereafter at the rate of 0.7% until commissioning. The upper ceiling of penalty levied for delay shall be 12% of the total cost of the equipment as per P.O.  The penalty shall be deducted from the payments due to the Supplier by BSNL.

  - In case installation and commissioning of the project is delayed/hampered due to delay in software installation by C-DOT or any dependency on part of BSNL, same shall be taken due care while imposing LD.

- WARRANTY

  - The warranty of the Stores/ Equipment supplied for the project shall be for 12 months from the date of commissioning. Commissioning certificate shall be issued site wise.

  - During the warranty period, all obligations of AMC including SLA penalties etc. shall be fulfilled by the bidder.

  - Penalty for non-adherence during the warranty period shall be deducted from the withheld payment.

- TRAINING

  - A detailed training material shall be prepared by the bidder  on the installed network covering atleast the following:

(a) System Configuration and Network Architecture.

(b) Operation and Monitoring

  - The bidder shall provide comprehensive training for operation and management of infrastructure installed under LIM system to minimum 1 designated official in each location after the Commissioning.

  - The training shall be carried out at least for 1 day in each location.

# Annual Maintenance Contract (AMC)

# The Bidder shall quote prices for year-wise comprehensive Annual Maintenance Contract for 4 years. AMC shall start on the date of expiry of the warranty. The Bidders shall quote the AMC prices as a percentage of the quoted equipment cost.

# For this purpose, the successful bidder shall be required to enter into Annual Maintenance Contract with BSNL for a period of 4 years after the warranty period as per AMC Agreement given in section 5 part C. The terms and conditions for AMC are given in AMC Agreement given in section 5 part C.

# The price for year-wise AMC shall include for all the efforts required to maintain the SLA specified for AMC agreement. No separate charges shall be paid for visit of engineers or attending to faults and repairs or supply of spare parts.

# Incidental Damages

# Not withstanding any of the  other provisions contained in this Contract , the Bidder shall protect, defend, indemnify and hold harmless  BSNL and its employees, officers, Directors, agents, or representatives from and against any and all liabilities, damages, fines, penalties and costs (including legal costs and disbursement) arising from ‘or’ relating to:

      - Any breach of any statute, regulation, direction, orders or standards from any governmental body, agency, or regulator issued with respect to the product/ services being supplied/provided under this Contract.

      - Any claim made by third parties arising out of the use of the services of BSNL being provided using the equipment supplied under the Contract to the extent these are attributable solely to the poor quality or non compliance of the product/services to the respective specifications.

      - Any claims arising from the customers or other service providers, in connection with interruptions ‘or’ degradation of services due to non availability of services beyond the stipulated time frame as contained in AMC and solely attributable to the supplier of the product and services under this Contract.

      - Any claim that the Equipment/Services/’or’ any value addition component offered and supplied by the Supplier in this Contract, infringe any patent, trademarks or copyright of any third party.

# The Bidder shall  furnish an unequivocal, unqualified and irrecoverable undertaking along with the Bid to the effect that;

“During the Bidding process ‘or’ during the course of execution of the Contract ‘or’ at any stage thereafter, if it is found that the Bidder has fraudulently misrepresented any of the facts about the product/services etc being offered under the Tender/Contract, the Purchaser (BSNL) shall be free to claim a sum equivalent to damage as assessed by it subject to a maximum of the value of the tendered goods and services from the Bidder for such misrepresentation. The Bidder shall immediately on being told by BSNL pay such sum of money to BSNL. Quantum of damages under this clause assessed and levied by the Purchaser (BSNL) shall be final and not challengeable by the Bidder/Supplier”.

- SECURITY CLEARANCE FOR PROCUREMENT:

# Security Requirements

- The Supplier shall enable the Purchaser to comply with Applicable Laws including but not limited to notifications, circulars etc issued by DoT from time to time.

- The Supplier recognizes and accepts that  in order to make, maintain and ensure Purchaser’s networks compliant with security related instructions and guidelines issued by the DoT  from time to time,  complete cooperation and commitment of the Supplier is necessary. To help and address the business continuity, communication, security requirements and security management of Purchaser’s network, the Supplier shall execute an agreement in the format as contained in Section 10 of the Tender Document before issuance of PO by the Purchaser.  It is clarified that the execution of such agreement shall be a condition to the effectiveness of the Advance Purchase Order. The Supplier shall indemnify and hold harmless the Purchaser and its employees, agents, shareholders, directors, representatives, against any claims or penalty or consequence arising out of breach of the security related terms of the License as a result of breach or non-compliance by the Supplier with its obligations in this sub-Clause (b) or any separate agreement executed for this purpose.

- it is clarified that any expenditure incurred by the Purchaser for complying with security related provisions as prescribed under tender, in respect of all the network elements/equipments supplied under this tender both for Package-I & Package-II, shall be borne by the Supplier concerned. In the event there is a breach of the security related provisions as prescribed under Applicable Laws, any penalty imposed by the DoT on the Purchaser shall be paid by the Supplier to the Purchaser. Further, any testing of Supplier’s equipment including requirement of testing equipment shall be met by Supplier on his own cost.

# Compliance with Licenses: The Supplier shall assist and provide support as and when required to the Purchaser including the providing of information and documents to comply with the provisions of the Licenses, any amendments made thereto as well as any notifications, circulars, directions/regulations issued by DoT/TRAI or any other Governmental Authority from time to time specially in relation to security clearance and lawful interception.

# Non-Compliance: The Supplier, including their personnel, employees, associates and sub-suppliers shall be solely responsible for complying with the statutes, laws, regulations, subordinate legislation, administrative orders and instructions issued by relevant Government Authorities, regarding, but not limited to, environment, industrial relations, security and taxation, during the performance of their respective obligations under this Contract. Without limiting the generality of the foregoing, the Supplier shall be responsible for compliance with the Applicable Laws and similar regulations applicable to its activities hereunder, at its own cost and expenses.

In the event there is a delay by the Supplier which is solely attributable to Supplier in fulfilling its obligations under this Contract or any non-compliance or breach of obligations under this Contract by the Supplier due to which any Governmental Authority imposes sanctions on Purchaser, which results in financial and other liabilities on the Purchaser, the Supplier shall be liable to make good such loss immediately which has been suffered by the Purchaser.

Section 5-Part C

ANNUAL MAINTENANE CONTRACT

This agreement is made on the ________ day of ______(year) to be effective from ___________ between M/s. Bharat Sanchar Nigam Limited a company registered under the Companies Act 1956 having license to provide all types of services of Telegraph and having its registered office at Bharat Sanchar Bhavan, Harish Chandra Mathur Lane, Janpath Road, New Delhi-110 001 New Delhi and local office at ---------------------------------------- (hereinafter called BSNL which terms shall mean and include its successors, administrators, heirs and assigns).

> (hereinafter called BSNL) of the ONE PART and ______________ a company registered under the Companies Act 1956 and having its registered office at _____________________

(hereinafter called BIDDER which expression shall unless repugnant to the context, include its successors in business, legal representatives and administrators or permitted assigns) of the OTHER PART.

WHEREAS, BSNL has placed purchase order on the BIDDER vide No. _________ dated ________ for supply, installation, commissioning & Annual Maintenance of supplied equipment against tender No._________, dated_____________.

WHEREAS the BIDDER has made the offer to duly comply with all the provisions of the Bid Document, including those pertaining to Post Warranty Annual Maintenance Contract, after making himself fully aware and understanding fully the implications of the terms and conditions and specifications mentioned therein  and which has been accepted by BSNL on the terms and conditions mentioned hereafter and after ascertaining that the BIDDER is fully capable of complying with the aforesaid terms of the Bid Document.

NOW the AGREEEMENT WITNESSETH as follows:

- This AMC Agreement shall remain in force for FOUR years from the date of completion of ONE year warranty, while at the same time the terms and conditions of this agreement except for payment of charges to the BIDDER shall also apply during warranty period.

  - This AMC agreement can be extended beyond four year also on mutually negotiated terms and conditions including commercials.

1.2	a) Terms and conditions of AMC shall be applicable during Warranty period including imposition of penalties except that no charges for services provided under Warranty/ extended warranty shall be payable. Amount for penalties will be deducted from the pending payments against supplies or if that amount is insufficient then by invoking the PBG available against supply or AMC or from the charges due for AMC.

b) It shall be mandatory for the bidders to undertake the Annual maintenance contract for four years to be signed at the time of acceptance of APO for entire quantity proposed to be ordered. The selected bidder has to submit a signed copy of the AMC agreement along with the accepted A.P.O.

- In addition to complying with all the terms and conditions recorded in the Bid Document, the bidder hereby agrees and unequivocally undertakes to fully comply with all the terms and conditions stipulated in this Agreement.

- Unless otherwise mentioned or appearing from the context, the Tender (Bid) Document and any clarifications thereof and the purchase order shall form part and parcel of this agreement, provided that in case of conflict or inconsistency on any issue relating to this Agreement, the terms set out in the body of this agreement with schedules and Annexure thereto shall prevail.

- Entire hardware/software including database shall be supported for 1 year warranty and 4 years AMC.

- During the period of AMC the bidder shall inter alia :

- Diagnose and rectify the faults detected.

- Repair and replace the faulty PCB, modules, terminals and any other equipment or part thereof.

- Carry out the periodic preventive maintenance on quarterly basis.

- Upkeep the supplied software periodically.

- Upgrade the supplied software to latest version.

- Create customized reports from various systems as required and specified by BSNL from time to time.

- The selected bidder shall submit a bank guarantee against AMC, valid for a period of four and half years, two months before the scheduled date of expiry of the PBG submitted against the APO. Purchaser reserves the right to forfeit the PBG if the BG against AMC is not submitted in time. Amount of Bank Guarantee shall be equivalent to 2% of the cost of equipment as per P.O. or the first year AMC charge whichever is higher. The validity of the AMC BG shall have to be extended by the bidder to cover the whole four years of AMC, if for any reason the date of start of AMC changes.

- The  purchaser  shall  have  the  absolute  right  to  forfeit  the  Performance Guarantee, valid at the time, for unsatisfactory performance of the SUPPLIER or for any non-compliance of any of the conditions of this Agreement.

- The  Bank  Guarantee  shall  be  discharged  after  successful  completion  of SUPPLIER’s  performance obligations under the Agreement and subsequent extension if any or in the event of any default in the execution of the Agreement by the SUPPLIER as per terms and  conditions of the Agreement; the Bank Guarantee shall be invoked either in part or in full.

- If BSNL is not satisfied with the performance of the SUPPLIER during AMC it reserves the right to terminate the AMC during its currency, after giving two months notice to the SUPPLIER.

- The bidder shall prepare the schedule of preventive maintenance to be carried out quarterly and shall submit the same to BSNL in advance. The preventive maintenance shall not affect the normal functioning of the system.  The details of activities to be carried out during preventive maintenance visits shall be decided by BSNL before the start of warranty/AMC.

- The BIDDER shall provide further releases of software / upgrades to BSNL free of cost as a part of the AMC as well the maintenance of these upgrades.

- The BIDDER shall be responsible for the maintenance, repair & upgradation of the software/hardware systems, equipments and parts thereof and BSNL shall not be liable to interact with any of the partners/ collaborators or subcontractors of the BIDDER.

- The schedule of routine operational and maintenance activities to be carried out at each node shall be provided by bidder. The day to day operations and maintenance activities shall be done by BSNL.

- BSNL site in charge shall replace the faulty /affected module with a readily available good module, stocked at the site by the bidder or out of the spare capacity, if available, at the site. However, it shall not absolve the BIDDER from his responsibilities under this agreement for restoration of fault etc. All such changes / replacement of faulty / affected modules shall be done by BSNL staff as per the telephonic (or otherwise) instructions of the technical support centre.

- Technical Support Center :

  - The BIDDER shall have at least one Technical support Center in India. The BIDDER may set up more such center to meet the criteria for fault restoration/faulty unit repair times as mentioned in the AMC. The BIDDER shall furnish the names, locations, complete postal address, Telephone numbers and FAX numbers of all Technical support Centers at the time of signing this Agreement.

  - Any change in Address, Phone number, FAX Number, contact details etc shall have to be intimated in writing by the BIDDER to the designated BSNL authority.

- Technical support procedure:  The technical support procedure shall be as follows:

  - In case of any fault, abnormality in the system, partial or total failure of the system, the officer in charge of the  site shall contact the designated Technical support Center of the BIDDER and give information about the nature of fault over phone / FAX / e-mail/Web portal.

  - The bidder shall design a fault reporting docket format/ procedure, covering all the details, which shall be approved by BSNL before the start of AMC. All the details related to the faults reported shall be recorded in it.  This shall become part of the AMC agreement at the time of signing of the agreement.

  - After the fault is reported over phone/portal/fax/email etc by BSNL, fault docket shall be prepared through Web based tool by the technical support center and   a copy of the same, duly filled in, shall be kept for records as well as for reconciliation purposes by BSNL and at the technical support center. The time of occurrence of fault, the time of restoration, total duration of fault and other details, as recorded in the fault docket only shall be taken into consideration for all purposes.

  - In case of any dispute arising regarding duration of fault etc, the Fault Docket as maintained at the BSNL station shall be the guiding documents to be agreed by both parties.

  - The “Fault Docket” shall be filled with utmost care, giving all the details of the faults and other information as prescribed in the Fault Docket and the entries made shall   be authenticated by signature of the station In charge of the station concerned.

  - Technical instructions may be given to the BSNL staff of the concerned station, over phone.  If the fault is restored by following the instructions given over phone, the station in charge will close the Fault Docket after making suitable entries and after satisfying himself of the proper restoration of the fault.

  - The BIDDER shall ensure visits of the expert and competent technical staff of the BIDDER in case the fault is not rectified to the satisfaction of BSNL even after following the telephonic instructions and advices.

  - Once the fault has been rectified and the system & services were restored to normalcy, the visiting engineer of the BIDDER shall record in the station Log Book, the details of the works done by him for restoration of the faults and also record the details of steps to be taken and procedures to be followed for not only restoration of similar faults by BSNL staff but also for preventing the occurrence of similar faults in future.   Similar entries shall be made in the fault docket also.

  - The Technical support Center shall regularly obtain feedback about the health of the systems under its jurisdiction from the station incharge of BSNL on monthly basis and maintain a proper record of such feedback in the form of History Sheets.  These Sheets shall be made available to the technical experts nominated by the BIDDER for analysis.  Such technical experts, in turn, shall give adequate and proper guidelines / technical advice to the in-charge of BSNL stations for taking necessary preventive measure during preventive maintenance visits for reducing the frequency of such faults and also for preventing such faults from re-occurring in future. This shall, however, not absolve the BIDDER from fulfilling his obligations under this agreement.

- Preventive Maintenance (PM)

  - The  technical  expert personnel  of   the  bidder  shall  visit  each site on quarterly  basis for  preventive maintenance, for general exchange  health check up, for  educating /guiding the site personnel on various operational, technical and maintenance related matters etc.

  - The preventive maintenance schedule shall be prepared by the bidder in advance, which shall be approved by BSNL in mutual consultation with bidder and then it shall be sent to all sites, designated nodes/offices.

  - The scope of activities under PM visits shall be finalized before the start of   AMC.  All such activities are to be carried out by the technical expert team  of  the  bidder.

  - Any new upgrade, feature facility, procedure etc shall  also be explained to BSNL site in-charges during the PM visits apart from the defined activities/scope of such visits.

  - History sheet Performa shall be designed by the bidder for acceptance by BSNL before the start of AMC.  BSNL reserves the right to make changes in the proforma proposed by the BIDDER. These proformas shall become part of the AMC agreement at the time of signing of the agreement.

  - The BIDDER shall supply elaborate maintenance procedures and proforma of the history sheet to every site of BSNL.

- AMC charges and PAYMENTS:

  - The charges for AMC will be as given in the purchase order.  A copy of the same   shall be enclosed as part of the agreement, at the time of signing the AMC agreement.

  - BSNL shall pay the charges for the services rendered by the BIDDER under the AMC Agreement after successful execution of the works under Agreement.

  - BSNL shall not pay any charges in advance.  Bills for AMC shall be paid by BSNL at the end of every three months, after successful execution of the works under Agreement.

  - All payments shall be made based on the slip of satisfactory performance of the vendor, as received from site in charge of each node, within 15 days time, after deducting penalties, if any.  For this, BSNL shall designate nodal officers.

  - BSNL reserves the right to adjust any over-payment of AMC charges of one period, any time during the period of AMC.

15.      SERVICE LEVEL AGREEMENTS AND PENALTIES

15.1	Any fault in one or more components / sub-systems causing the entire system to stop functioning shall be taken as a total failure. Example: while the traffic to be intercepted is not available to the monitoring point, the same is not being intercepted or being offered to the servers or being processed due to servers being down or in hung state or load balancer switch not working or the intercepts not getting stored due to disk failures or connectivity to the remote controlling station is lost due to NIC fault.

15.2	Any fault in one or more components / sub-systems causing the entire system to continue functioning albeit with reduced performance, shall be taken as a partial failure. Example: failure of one or more (but not all) servers in a multi server site.

15.3	Total guaranteed uptime shall be 99% per quarter. This means that the cumulative total failure time over one quarter shall not exceed 1 day.

15.4	An additional downtime of 1% (1 day per quarter) can be allowed for partial failure.

15.5	In the event of the total failure time exceeding 1 day in a quarter, per day penalty of every additional day of total failure shall be 2% of annual AMC charges.

15.6	The per day penalty for partial failure time exceeding 1 day in a quarter shall be 0.5% of annual AMC charge. Total penalty for partial failure over the year shall have a ceiling of 10% of annual AMC charges.

15.7	Total penalty over the year shall have a ceiling of 20% of annual AMC charges. The uptime requirements and penalties shall be applied to each site individually.

15.8	The penalty shall be deducted from the quarterly bills.

16.	Failure to carry out preventive maintenance: If the bidder fails to perform quarterly health check and technical audit visit, penalty charges of 10 % of AMC cost (over and above the 20% as specified in Para 15.7 above shall be levied).

16.1	Failure on the part of BIDDER to comply with any of the clauses of this agreement shall  be sufficient ground for termination of contract and the BSNL (purchaser) shall have the right to forfeit the performance securities submitted to BSNL.

16.2	If BSNL is not  satisfied  with  the  performance  of the  BIDDER during AMC   it  reserves  the right to terminate the  AMC during its currency, after giving three months notice  to  the  BIDDER.

17.	Force Majeure:

17.1	Neither BSNL nor the BIDDER  shall be liable to the other for any delay in or failure of performance of their respective obligation under the agreement caused by occurrences beyond the control of BSNL or the BIDDER  including but not limited to fire (including failure or reductions), acts of God, acts of the public enemy, wars, insurrections, riots, strikes, lockouts, sabotage, any law, status or ordinance, thereof of any other local authority, or any compliance therewith or any other causes, contingencies of circumstances  similar to the above. Either party shall promptly but not later than twenty days thereafter notify the other of the commencement, and cessation of such contingencies, and if such contingencies continue beyond three months. Both parties agree upon the equitable solution for termination of this agreement or otherwise decide the course of action to be adopted.

18.	DISPUTES & ARBITRATION:

18.1	In the event of any question, dispute or difference arising under this agreement or in connection there-with (except as to matter the decision of which is specifically provided under this agreement), the same shall be referred to sole arbitration of the CMD, BSNL, New Delhi or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the officer for the time being entrusted (whether in addition to his own duties or otherwise) with the functions of the CMD, BSNL  or by whatever designation such officers may be called (hereinafter referred to as the said officer) and if the CMD, BSNL or the said officer is unable or unwilling to act as such the sole arbitration or some other person appointed by the CMD, BSNL  or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act, 1996.

18.2	There will be no objection to any such appointment on the ground that the arbitrator is BSNL Servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as BSNL officer he has expressed views on all or any of the matter under dispute. The award of the arbitrator shall be final and binding on the parties to the agreement. In the event of such arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reasons whatsoever the CMD,  BSNL  or the said officer shall appoint another person to act as arbitrator in  accordance with terms of the agreement and the person so appointed shall be entitled to  proceed from the stage at which it was left out by his predecessors.

18.3	The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award. Subject to aforesaid Arbitration and Conciliation Act, 1996 and the Rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

18.4	The venue of the arbitration proceeding shall be the Office of the CMD, BSNL, New Delhi or such other Places as the arbitrator may decide.

18.5	Any party shall not use any information obtained from other party during the course of dispute resolution process under this clause for any purpose other than to resolve the dispute and such information shall not be used in any litigation.

18.6	Both parties shall use their best efforts in good faith and best intention to resolve  disputes by mutual negotiation and consultation and shall settle amicably any dispute that may arise or relate to this agreement or a breach thereof. Pending resolution of dispute, the bidder shall continue to fulfill its obligations under this agreement.

19.	Set Off:

Any sum of money due and payable to the BIDDER (including security deposit refundable to him) under this contract may be appropriated by the purchaser or the BSNL or any other person or persons contracting through the BSNL and set off the same against any claim of the Purchaser or BSNL or such other person or persons for payment of a sum of money arising out of this contract or under any other contract made by the bidder with the Purchaser or BSNL or such other person or persons contracting through BSNL.

IN WITNESS WHEREOF the parties hereto have caused this Agreement to be executed through their respective authorized representatives on the day and year first above written.

Signed and delivered for and on behalf of BHARAT SANCHAR NIGAM LIMITED.

By____________

Signed on behalf of M/s.___________________

By Shri _______________ holder of General Power of Attorney dated__________ executed in accordance with the Resolution No. Nil dated _____________ passed  by Board of Directors.

In the presence of :

Witness :

- _____________________

- _____________________

SECTION- 6 Part A

UNDERTAKING & DECLARATION Performa

for Understanding the Terms & Conditions of Tender & Specifications of Work

A)	Certified that:

1.	I/ We ……………………………………. have read, understood and agree with all the terms and conditions, specifications included in the Tender documents & offer to execute the contract at the rates quoted by us in the Tender form.

2.	If I/ We fail to enter into the agreement & commence the contract in time the EMD/ SD deposited by us will stand forfeited to the BSNL.

B)	The Bidder hereby covenants and declares that:

      - All the information, Documents, Photo copies of the Documents/ Certificates enclosed along with the Tender offer are correct.

      - If anything is found false and/or incorrect and/or reveals any suppression of fact at any time, BSNL reserves the right to debar our tender offer/ cancel the LOA/ Purchase/ work order if issued and forfeit the EMD/ SD pending with BSNL. In addition, BSNL may debar the Bidder from participation in its future Tenders.

      - No addition/ deletion /correction have been made in the downloaded tender document being submitted and it is identical to the tender document appearing on website.

In case of any correction/addition/alteration/omission in the Tender document, the TENDER bid shall be treated as non-responsive and shall be rejected summarily

Date: 	…………… 					                 …………………………………

Signature of Bidder

Place: ……………		   				Name of Bidder……………………………….

Along with date & Seal

SECTION 6  PART B

NEAR RELATIONS CERTIFICATE

(Certificate to be given by the Bidder  in respect of status of employment of his/ her near relative (s) in BSNL)

“I……………………………………….s/o…….…………………………………….r/o………………………………………………………………………………………………………………………………………………………………………………….hereby certify that none of my relative(s) as defined in the Tender Document is/are employed in BSNL unit as per details given in Tender Document.  In case at any stage, it is found that the information given by me is false / incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me.”

Signature of the Bidder

with date and seal

## SECTION- 7 (A)

For the BIDSECURITY/ EMD Guarantee

(To be typed on Rs.100/- non-judicial stamp paper)

Dated: dd.mm.yyyy

Sub:	Bid Security/EMD guarantee.

Whereas M/s …………………………… office/at ……………… ………… ………………………………………  (Hereafter referred to as Bidder) has approached us for giving Bank Guarantee of Rs. ……………………/- (hereafter known as the “B. G. Amount”) valid up to …../……/ 20….. (hereafter known as the “Validity date”) in favour of DGM (MMT) BSNL CO, Delhi (Hereafter referred to as BSNC) for participation in the tender of work of  ……………………………………………..  vide tender no. ………………………………….

Now at the request of the Bidder, We ……………………………………… Bank …………………………Branch having ………………………………………… ………. .……………………………………. (Address) and Regd. office address as ……… ………...……………………………………………………………………… ……… ……… …………… (Hereinafter called ‘the Bank”) agrees to give this guarantee as hereinafter contained:

2. 	We the Bank do hereby undertake to pay the amounts due and payable under this guarantee without any demur, merely on a demand from the BSNC stating that the amount claimed is due by way of loss or damage caused to or would be caused to or suffered by the BSNC by reason of breach by the said bidder(s) of any of terms or conditions contained in the said Agreement or by reason of the bidder (s) failure to perform the said Agreement. Any such demand made on the bank shall be conclusive as regards the amount due and payable by the Bank under this guarantee where the decision of the BSNC in these counts shall be final and binding on the bank. However, our liability under this guarantee shall be restricted to an amount not exceeding the “B. G. Amount”.

3. 	We undertake to pay to the BSNC any money so demanded notwithstanding any dispute or disputes raised by the bidder(s) in any suit or proceeding before any court or tribunal relating thereto our liability under this present being absolute and unequivocal. The Payment so made by us under this bond shall be valid discharge of our liability for payment there under and the bidder(s) shall have no claim against us for making such payment.

4. 	We the Bank further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the BSNC under or by virtue of the said Agreement have been fully paid and its claims satisfied or discharged or till BSNC Certifies that the terms and conditions of the said Agreement have been fully and properly carried out by the said bidder(s) and accordingly discharge this guarantee. Unless a demand or claim under this guarantee is made on us in writing or before the expiry of Validity date from the date hereof, we shall be discharged from all liability under this guarantee thereafter.

5.	We the Bank further agree with the BSNC that the BSNC shall have the fullest liberty without our consent and without affecting in any manner our obligations hereunder to vary any of the terms and conditions of the said Agreement or to extend time of performance by the said bidder(s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the BSNC against the said bidder(s) and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said Bidder(s) or for any forbearance, act or omission on the part of the BSNC or any indulgence by the BSNC to the said bidder(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

- Notwithstanding anything herein contained:

(a)	The liability of the Bank under this guarantee is restricted to the “B. G. Amount” and it will remain in force up to its Validity date specified above.

(b)	The guarantee shall stand completely discharged and all rights of the BSNC under this Guarantee shall be extinguished if no claim or demand is made on us in writing on or before its validity date.

- In case BSNC demands for any money under this bank guarantee, the same shall be paid through banker’s Cheque in favour of “AO (Cash) BSNL CO” payable at New Delhi.

- The Bank guarantees that the below mentioned officer who have signed it on behalf of the Bank have authority to give this guarantee under its delegated power.

Place:	……………………………

Date: 	…………………………..			      (Signature of the Bank Officer)

Rubber stamp of the bank

Authorized Power of Attorney Number: ……………….

Name of the Bank officer: ……………………………..

Designation: ……………………………………

Complete Postal address of Bank: ……………………

………………………………………………………………

Telephone Numbers ……………………………..

Fax numbers……………..

Section 7(B)

# Format for the Performance Bank Guarantee

(To be typed on Rs.100/- non-judicial stamp paper)

Sub:	Performance guarantee.

Whereas AGM (MM) BSNL CO, Delhi office at …………………………..………… …………………..(hereafter referred to as BSNC) has issued an APO no.   …………..………. Dated ……/……/20…..  awarding the work of …………… …… … ………………………………….. to M/s …………………..……………………………  R/o …………………………………………………………………  (hereafter referred to as “Bidder”) and BSNC has asked him to submit a performance guarantee in favour of DGM(MMT) BSNL CO, Delhi of Rs. …………..……/- (hereafter referred to as “P.G. Amount”) valid up to ……/……/20………(hereafter referred to as “Validity Date”)

Now at the request of the Bidder, We ……………………………………… Bank …………………………Branch having ……………………..…………………… ………. .……………………………………. (Address) and Regd. office address as ……… ………...……………………………………………………………………… ……… ……… …………… (Hereinafter called ‘the Bank”) agreed to give this guarantee as hereinafter contained:

- We, “the Bank” do hereby undertake and assure to the BSNC that if in the opinion of the BSNL, the Bidder has in any way failed to observe or perform the terms and conditions of the said agreement or has committed any breach of its obligations there-under, the Bank shall on demand and without any objection or demur pay to the BSNL the said sum limited to P.G. Amount or such lesser amount as BSNC may demand without requiring BSNC to have recourse to any legal remedy that may be available to it  to compel the Bank to pay the same.

- Any such demand from the BSNC shall be conclusive as regards the liability of Bidder to pay to BSNC or as regards the amount payable by the Bank under this guarantee.  The Bank shall not be entitled to withhold payment on the ground that the Bidder had disputed its liability to pay or has disputed the quantum of the amount or that any arbitration proceeding or legal proceeding is pending between Bidder and BSNL regarding the claim.

- We, the Bank further agree that the guarantee shall come into force from the date of its issue and shall remain in full force and effect up to its Validity date.

- The Bank further agrees that the BSNC shall have the fullest liberty without the consent of the Bank and without affecting in any way the obligations hereunder to vary any of the terms and conditions of the said agreement or to extend the time for performance of the said agreement from any of the powers exercisable by BSNL against the Bidder and to forebear to enforce any of the terms and conditions relating to the said agreement and the Bank shall not be relieved from its liability by reason of such failure or extension being granted to Bidder or through any forbearance, act or omission on the part of BSNC or any indulgence by BSNC to Bidder or any other matter or thing whatsoever which under the law relating to sureties would but for this provision have the effect of relieving or discharging the guarantor.

- Notwithstanding anything herein contained ;

(a)	The liability of the Bank under this guarantee is restricted to the P.G. Amount and it will remain in force up to its Validity date.

(b)	The guarantee shall stand completely discharged and all rights of the BSNL under this Guarantee shall be extinguished if no claim or demand is made on us in writing on or before its validity date.

- In case BSNL demands for any money under this bank guarantee, the same shall be paid through banker’s Cheque in favour of “AO (Cash) BSNL CO” payable at New Delhi.

- The Bank guarantees that the below mentioned officer who have signed it on behalf of the Bank have authority to give this guarantee under its delegated power.

Place:	……………………………

Date: 	…………………………..			      (Signature of the Bank Officer)

Rubber stamp of the bank

Authorized Power of Attorney Number: ……………….

Name of the Bank officer: ……………………………..

Designation: ……………………………………

Complete Postal address of Bank: ……………………

………………………………………………………………

Telephone Numbers ……………………………..

Fax numbers	……………………………….

Section 7(C)

Format for Letter of Authorization for attending Bid Opening

(To be typed preferably on letter head of the company)

Subject: Authorization for attending Bid opening

I/ We Mr. /Ms. …………………………………….. have submitted our bid for the tender no. ………………………….……… in respect of …………………… ………………………………………………………….. (Item of work) which is due to open on …………………. (date) in the Meeting Room, O/o ………………………………………………………………………………….

We hereby authorize Mr. / Ms. ………………………………& Mr. / Ms…………….………… (alternative)  whose signatures are attested below, to attend the bid opening for the tender mentioned above on our behalf.

…………………………………….

Signature of the Representative

…………………………………	Signature of Bidder/ Officer authorized to sign

Name of the Representative 			on behalf of the Bidder

…………………………………….

Signature of the alternative Representative

…………………………………………..

Name of the alternative Representative

Above Signatures Attested

Note 1:  Only one representative will be permitted to attend the Bid opening

2.  Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not received.

SECTION 7 (D)

Model Amendment Letter Intimating Conditions for Extension of Delivery Period

(Refer to Appendix (i) to clause 15.3 of Section-5 Part A)

# Registered A Due

# Address of the purchaser

--------------------------------

--------------------------------

# To

M/s ………………………………..

………………………………………

Sub: This office contract no………….. dated …………. placed on you for supply of …………………………………………………………………….

# Ref :Your letter no……………………………… dated ……………….

We are in receipt of your letter, wherein you have asked for extension/ further extension of time for delivery/ execution/ installation/ commissioning.

In view of the circumstances stated in your above referred letter, the time of delivery can be extended from _______ (original/ last delivery period) to ____________ (presently agreed delivery period) subject to your unconditional acceptance of the following terms and conditions:

1.	That, liquidated damages shall be levied in accordance with agreed clause 16.2  & 16.3 Section-5 Part A of terms and conditions of the tender/ PO.

2.	That, notwithstanding any stipulation in the contract for increase in price on any ground, no such increase, whatsoever, which takes place after current last date of Delivery shall be admissible on such of the said goods as are delivered after the said date as per clause 12 Section-5 Part A.

3.	That, the prices during this extended delivery period shall be provisional and shall be governed as per agreed clauses 12 and 24 of Section 5 Part A and shall be finalized in accordance with the current PO price or the current PO price with latest budget/ duty impact or the prices in the new tender (T.E. no. ………..) from the date of its opening, on whichever is lower basis.

4.	An additional BG of Rs._____in accordance with clause 15.3, Section- 5PartA of the contract with validity up to _______.

5.	An undertaking as required vide clause 24.3, Section-5A. Otherwise furnish the details as requisite in clause 24.4 section 5 Part A”

Please intimate your acceptance of this letter along with the additional BG within ten days of the issue of this letter failing which the contract will be cancelled at your risk and expense without any further reference to you. This letter shall form part and parcel of the agreement/ contract/ APO/ PO and all other terms & conditions of the contract remain unaltered.

Yours faithfully,

(………………………)

for and on behalf of………..

Note : The entries which are not applicable for the case under consideration are to be deleted.

SECTION 7 (E)

## Model Amendment Letter for Extension of Delivery Period

Appendix (ii) to clause 15.3 of Section-5 Part A

# Registered Acknowledgement Due

# Address of the purchaser

--------------------------------

# To

M/s ………………………………..

………………………………………

Sub : This office contract no………….. dated …………. placed on you for supply of ………………

Ref :	1.	Your letter no……………………………… dated ………….  requesting DP extension

2.	This office letter no. ……………… dated …… intimating conditions for DP extension

3.	Your letter no………………….. dated ……. accepting the conditions for DP extension

In your above letter under reference (1), you have asked for extension/ further extension of time for delivery/ execution/ installation/ commissioning. The terms and conditions for extension of delivery period were conveyed to you vide this office letter under reference (2).

In view of the circumstances stated in your above referred letter, and upon your unconditional acceptance of the terms and conditions of this extension vide your letter under reference (3), the time of delivery is hereby extended from _______ (last delivery period) to ____________ (presently agreed delivery period) on the terms and conditions in letter under reference (2) above and agreed by you vide letter under reference (3) i.e.:

# (a)	Liquidated damages shall be levied in accordance with agreed clause 16.2 & 16.3 Section-5 Part A of terms and conditions of the tender/ PO.

# (b)	Notwithstanding any stipulation in the contract for increase in price on any ground, no such increase, whatsoever, which takes place after current last date of Delivery/ completion of work shall be admissible on such of the said goods as are delivered after the said date as per clause 12 Section- 5 Part A.

# (c)	The prices during this extended delivery period shall be governed as per clauses 12 and 24 of Section-5 Part A and shall be finalized in accordance with current PO price or the current PO price with latest budget/ duty impact or the prices in the new tender (T.E. no. ………..) from the date of its opening, on whichever is lower basis.

The letters under reference above and this letter shall form part and parcel of agreement/ contract/ APO/ PO and all other terms & conditions of the contract remain unaltered.

Yours faithfully,

(………………………)

for and on behalf of………..

Copy to :

…………………..

…………………..

(All concerned)

Note:- The entries which are not applicable for the case under consideration are to be deleted.

Section 7 (F)

INTEGRITY PACT AGREEMENT

To be signed on plain paper by

Both BSNL and the Bidder

This Integrity Pact Agreement is made on ___ day of ____, 2011, by and between:

Bharat Sanchar Nigam Limited (BSNL) (hereinafter  referred  to  as  “The Principal”)

And

……………………………….. (hereinafter referred to as “The Bidder/Contractor”)

# Each of the Principal and the Bidder shall be individually referred to as the “Party” and collectively as the “Parties”.

# Preamble

A.	The Principal intends to award, under laid down organizational procedures, contract/s for…………………………. (“Tender”). The Principal values full compliance with all relevant laws and regulations, and the principles of economic use of resources, and of fairness and transparency in its relations with its Bidder/s .

B.	In order to achieve these goals, the Principal will appoint an Independent External Monitor (as hereinafter defined) who will monitor the Tender process and the execution of the contract for compliance with the principles mentioned above.

Section 1 – Commitments of the Principal

1.1	The Principal commits itself to take all measures necessary to prevent corruption and to observe the following principles:-

1.2	No employee of the Principal, personally or through family members, will in connection with the Tender for, or the execution of a contract, demand, take a promise for or accept, for him/herself or third person, any material or immaterial benefit which he/she is not legally entitled to.

1.3	The Principal will, during the Tender process treat all Bidder(s) with equity and reason. The Principal will in particular, before and during the Tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.

1.4	The Principal will exclude from the process all known prejudiced persons.

- If the Principal obtains information on the conduct of any of its employees which is a criminal offence under the relevant Anti-Corruption Laws of India, or if there be a substantive suspicion in this regard, the Principal will inform its Corporate Vigilance Office of BSNL (“Corporate Vigilance Office”) and in addition can initiate disciplinary actions.

Section 2 – Commitments of the Bidder(s)

2.1	The Bidder(s)   commits itself to take all measures necessary to prevent corruption. He commits himself to observe the following principles during his participation in the Tender process and during the contract execution.

2.2	The Bidder(s)   will not, directly or through any other person or firm, offer, promise or give to any of the Principal’s employees involved in the tender process or the execution of the contract or to any third person any material or immaterial benefit which he/she is not legally entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the tender process or during the execution of the contract.

2.3	The Bidder(s)   will not enter with other Bidder(s) into any undisclosed agreement or understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to introduce cartelization in the bidding process.

  - The Bidder(s)   will not commit any offence under the relevant applicable laws include the anti-corruption laws of India; further the Bidder(s)/Contractor(s) will not use improperly, for purposes of competition or personal gain, or pass on to others, any information or document provided by the Principal as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.

  - The Bidder(s)/  will, when presenting his Bid, disclose any and all payments he has made, is committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the Contract.

  - The Bidder(s) will not instigate third persons to commit offences outlined above or be an accessory to such offences.

Section 3 – Disqualification from Tender process and exclusion from future contracts

If the Bidder(s)   before award of the Contract or during execution of the Contract has committed a transgression through a violation of Section 2, above or in any other form such as to put his reliability or credibility in question, the Principal is entitled to disqualify the Bidder(s)/Contractor(s) from the tender process or take action as per the defined procedure.

Section 4 – Compensation for Damages

4.1 	If the Principal has disqualified the Bidder(s) from the Tender process prior to the award of the Tender, according to Section 3, the Principal is entitled to demand and recover the damages equivalent to Bid Security.

4.2	If the Principal has terminated the Contract in accordance with Section 3, or if the Principal is entitled to terminate the Contract according to Section 3, the Principal shall be entitled to demand and recover from the Contractor the amount equivalent to Performance Security in addition to any other payments as per terms and conditions of the Tender Document.

Section 5 – Previous transgression

5.1	The Bidder declares that no previous transgression occurred in the last 3 years with any other Company in any country conforming to the anti-corruption approach or with any other public sector enterprise in India that could justify his exclusion from the Tender process.

5.2	If the Bidder makes any incorrect, contrary to the provisions of this Section 5, , he can be disqualified from the Tender process or action can be taken as per the defined procedure.

Section 6 – Equal treatment of all Bidders/ Subcontractors

6.1  	The Principal will enter into agreements with identical conditions as this one with all Bidders

6.2	The Bidder(s)   undertake(s) to demand from all subcontractors a commitment in conformity with this Integrity Pact Agreement.

6.3	The Principal will disqualify from the Tender process all bidders who do not sign this Integrity Pact Agreement or violate its provisions.

Section 7 – Criminal charges against violating Bidder(s)/ Subcontractor(s)

If the Principal obtains knowledge of conduct of a Bidder, or Subcontractor, or of an employee or a representative or an associate of a Bidder, or Subcontractor, which constitutes a violation of the terms and conditions of stated herein, or if the Principal has substantive suspicion in this regard, the Principal will inform the Corporate Vigilance Office.

Section 8 – Independent External Monitor

8.1		 The Principal appoints competent and credible independent external Monitor for this Integrity Pact Agreement (“Independent External Monitor”). The task of the Independent External Monitor is to review independently and objectively, whether and to what extent the Parties comply with the obligations under this Integrity Pact Agreement.

  - The Independent External Monitor is not subject to instructions by the representatives of the Parties and performs his functions neutrally and independently. He reports to the CMD of the BSNL.

  - The Bidder(s) accepts that the Independent External Monitor has the right to access without restriction to all project documentation of the Principal including that provided by its sub-contractor. The Bidder will also grant the Independent External Monitor, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his project documentation. The same is applicable to the subcontractors of the Bidder. The Independent External Monitor is under contractual obligation to treat the information and documents of the Bidder(s)/ Subcontractor(s) with confidentiality.

8.4	Notwithstanding anything contained in this Section, the Bidder(s)   shall have no obligation whatsoever to provide any internal costing mechanisms or any internal financial or commercial data pursuant to any audit or review conducted by or on behalf of the Principal.  Further, the Bidder(s) shall not be required to provide any data relating to its other customers, or any personnel or employee related date.

8.5	The Principal will provide to the Independent External Monitor sufficient information about all meetings among the Parties related to the project provided such meetings could have an impact on the contractual relations between the Principal and the Bidder. The Parties offer to the Independent External Monitor the option to participate in such meetings.

  - As soon as the Independent External Monitor notices, or believes to notice, a violation of this Integrity Pact Agreement, he will so inform the management of the Principal and request the management to discontinue or take corrective action, or to take other relevant action. The Independent External Monitor can in this regard submit non-binding recommendations. Beyond this, the Independent External Monitor has no right to demand from the Parties that they act in a specific manner, refrain from action or tolerate action.

8.7		The Independent External Monitor will submit a written report to the Chairperson of the Board of the Principal within 8 to 10 weeks from the date of reference or intimation to him by the ‘Principal’ and, shall the occasion arise, submit proposals for correcting problematic situations.

8.8 		If the Independent External Monitor has reported to the CMD of the BSNL, a substantiated suspicion of an offence under Applicable Laws including relevant anti-corruption laws of India, and BSNL has not, within reasonable time, taken visible action to proceed against such offence or reported it to the Corporate Vigilance Office, the Independent External Monitor may also transmit this information directly to the Central Vigilance Commissioner, Government of India.

  - The word Independent External ‘Monitor’ would include both singular and plural.

Section 9 – Term

9.1	This Integrity Pact Agreement shall commence upon the date of signature by BSNL and shall continue (a) for the Successful Bidder for a period of 12 months after the last payment has been made by the Principal to the Successful Bidder under the Contract, and (ii) for all other Bidders 6 months after the Contract has been awarded to the Successful Bidder (“Term”).

9.2	If any claim is made/ lodged during this time, the same shall be binding and continue to be valid despite the lapse of this Integrity Pact Agreement as specified above, unless it is discharged/determined by CMD, BSNL.

Section 10 – Other provisions

10.1	This Integrity Pact Agreement is subject to the laws of India. The place of performance and jurisdiction is the registered office of the Principal, i.e. New Delhi. The arbitration clause provided in the Tender Document / contract shall not be applicable for any issue /dispute arising under Integrity Pact Agreement.

  - Changes and supplements as well as termination notices need to be made in writing.

  - Shall one or several provisions of this Integrity Pact Agreement turn out to be invalid, the remainder of this Integrity Pact Agreement remains valid. In this case, the parties will strive to come to an agreement to their original intention.

  - Capitalised terms not defined in the Integrity Pact Agreement shall have the meaning assigned to it in the Tender.

--------------------------------			           ----------------------------------

For the Principal					For the Bidder/Contractor

Place……………………		                     Witness 1 : ……………………

Date ……………………		                     Witness 2.................................

Section 7 (G)

OEM Support Document

Subject:   Procurement of LIM equipment Tender of BSNL – Support for Installation, maintenance of Hardware & Software and BSNL

Certified the following hardware / software, for which our company, M/s ……………………… is the OEM, has been quoted in the bid of M/s ………………………

| Sl No | Hardware / Software Name | Hardware / Software Version |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |

We undertake to provide the following:

  - Full Professional Services Support for installation ,maintenance covering all the above hardware / software components, their engineering customization and their integration with other hardware / software components.

  - Support and upgrades is available as per terms and conditions during warranty for 1 year from the date of commissioning.

We also certify that the agreement in the above respect has already been signed.

Signature of Authorized signatory of Bidder

Signature of Authorized signatory of OEM / Country Manager of OEM.

Section 8

Bidder’s profile & Questionnaire

Tenderer / Bidder’s Profile & Questionnaire

(To be filled in and submitted by the bidder)

- Tenderer’s Profile

1.	Name of the Individual/ Firm: 	………………………………………………

2. 	Present Correspondence Address	…………………………..……………… 	…………..…………………………………………………………………………

…………………………..…………………………………………………………

Telephone No. …………………………….. Mobile No. ………………………... FAX No. …………………………………………………………………………

3. 	Address of place of Works/ Manufacture ……….…………….………………………………………………. ………………… ………………….……………………………………………………………………

Telephone No. ..………………………..  Mobile No. ……………………………

4. 	State the Type of Firm: 		Sole proprietor-ship/partnership firm / (Tick the correct choice): 			Private limited company.

5.	Name of the sole proprietor/ partners/ Director(s) of Pvt. Ltd Co.:

| S. No. | Name | Father’s Name | Designation |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |

6.	Name of the person authorized to enter into and execute contract/ agreement and the capacity in which he is authorized (in case of partnership/ private Ltd company):

…………………………………………………………………………………………………………………………………..………………………………………………………….

7. 	Permanent Account No. :	………………………………………………………

8. 	Details of the Bidder’s Bank for effecting e-payments:

- Beneficiary Bank Name:………………………………

- Beneficiary branch Name:…………………………….

- IFSC code of beneficiary Branch……………………..

- Beneficiary account No.:……………………………….

- Branch Serial No. (MICR No.):………………………...

9.	Whether the firm has Office/ works (i.e. manufacture of the tendered item) in Delhi? If so state its Address

…………………………………………………………………………………………………………………………………………………………………………

B)	Questionnaire

- Do you think any other detail/ material is required to complete the work specified in the specification?	 Yes/ No.

  - If Yes, Give details

………………………………………………………………………………………

………………………………………………………………………………………

2.	Do you think any other item of work need be included in tender form to complete the work specified in the specification?	Yes/ No.

2.1	If Yes, Give details

………………………………………………………………………………………

………………………………………………………………………………………

3. Kindly indicate the maximum Quantity of tendered material which you are capable of supplying within the scheduled delivery period.

| Name of the tendered Item | Qty that can be supplied by the firm within scheduled delivery period. |
| --- | --- |

4.  Suggestion for improvement of the tender document.

……………………………………………………………………………………….

……………………………………………………………………………………….

…………………………………………………………………………………….

Place………………….

Signature of contractor ………………………

Date ………………….		     Name of Contractor ……………………………

SECTION-9 Part-A

## BID FORM

# To							From,

# ………………………………………….		……………………………………….

# <complete address of the purchaser>		<complete address of the Bidder>

………………………………………….	 	…………………………………

………………………………………	 	…………………………………

Bidder’s Reference No:……………....………………… …Dated…………………….

# Ref: Your Tender Enquiry No CP-35/5 PAIR//TENDER/2013-14/24     dated …05/07/2013

1.	Having examined the above mentioned tender enquiry document including amendment/ clarification/ addenda Nos. ...................... dated …………….. ……………the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply  and deliver .............................................. in conformity with the said drawings, conditions of contract and specifications for the sum shown in the schedule of prices attached herewith and made part of the financial Bid.

2.	Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

- We agree to abide by this Bid for a period of  ……….days from the date fixed for Bid opening or for subsequently extended period, if any, agreed to by us. This bid shall remain binding upon us up to the aforesaid period.

- We understand that you are not bound to accept the lowest or any bid, you may receive.

- If our Bid is accepted, we will provide you with a performance guarantee from a Scheduled Bank for a sum @ 5% of the contract value for the due performance of the contract.

- If our Bid is accepted, we undertake to complete delivery of all the items and perform all the services specified in the contract in accordance with the delivery schedule specified in the Section-2 (Tender Information).

- Until a formal Purchase Order of Contract is prepared and executed, this Bid together with your written acceptance thereof in your notification of award shall constitute a binding contract between us.

# Dated: ....... day of  ................... 20…

Signature ………………………….

Witness 		                   		Name ……………………………..

# Signature………………………….		In the capacity of ………………………….

# Name ……………………………..		Duly authorized to sign the bid for and on

# Address  ......................................		behalf of ..............................................

SECTION-9 Part-B

## Part I - Price Schedule for Indigenous Equipment

| Sl. No. | Item description | Total Qty. | Ex-factory Price (Basic Unit Price exclusive of all levies & charges) | Excise Duty | Sales Tax | F.F. Pkg & I | Other levies & charges, if any | Unit Price (all inclusive (4+6+8+10+11) | Duties & Taxes CENVAT-able on unit price | Unit Price excluding Duties & Taxes CENVAT-able (12-13) | Total Price Inclusive of all levies & charges excluding Duties & Taxes (3X14) | Discount offered, if any | Total discounted price excluding Duties & Taxes CENVAT-able (15-16) | E.D.Tarif Head | Import content | Percentage (%) of Customs duty | Customs Tariff Head |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | % | Amt | % | Amt | % | Amt |  |  |  |  |  |  |  |  |  |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 |
| 1.1 | 10G Passive Optical TAPs (SM 1310/ 1550 nm) | 38 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.2 | Aggregation Load Balancing Switch | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10 Gbps SFP +SR (850 nm) | 112 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10 Gbps SFP +LR (1310 nm) | 224 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.4 | Servers, RHEL | 84 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.5 | Server Racks, KVM, Keypad, Mouse, Monitor (Included in Server specs) | 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.6 | Manageable 24 ports Gigabit Ethernet Switch | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Optical Patch cables Multi -Mode 5 M (LC-LC) | 106 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.8 | Optical Patch cables Single - Mode 5 M (LC-LC) | 77 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Optical Patch cables Single -Mode 20 M (LC-LC) | 36 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.10 | Cat 6 Patch Cables 5 M | 190 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.11 | Cat 6 Patch Cables 20 M | 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.12 | UPS (1+1 configuration) 10 KVA | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.13 | UPS (1+1 configuration) 20 KVA | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.14 | UPS (1+1 configuration) 30 KVA | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Any other items for meeting the requirement of tender |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Installation and commissioning charges |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | AMC for 4 years (after 1 year warranty) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.1 | Year 1 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.2 | Year 2 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.3 | Year 3 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.4 | Year 4 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Note:

- “We hereby declare that in quoting the above prices, we have taken into account the entire credit on inputs available under the MODVAT SCHEME introduced w.e.f.  1st March 1986 and further extended on more items till date”.

- If Annual maintenance Contract charges are required to be quoted as per SOR, basic charges shall be shown in column-4 & the service tax in column 11 & 13.

- “We hereby certify that E.D/Customs Tariff Head shown in column 18/21 are correct & CENVAT Credit for the amount shown in column 13 above are admissible as per CENVAT Credit Rules 2004”.

- The bidder shall quote separately for hardware and software as per special conditions of contract.

- The bidder submitted the offer with concessional E.D/sales tax shall submit the proof of applicable concessional ED/Sales Tax.

SECTION-9 Part-B (II)

## Price Schedule for Imported Equipment

| Sl. No. | Item description | Total Qty. | Ex-factory Price (Basic Unit Price exclusive of all levies & charges) | Unit price per Unit CIF | Custom Duty | Sales Tax | Pkg. & Inland freight | Other levies & charges, if any | Price per Unit for site (all inclusive) (4B+6+8+10+11) | Duties & Taxes CENVAT-able on unit price | Unit Price excluding Duties & Taxes CENVAT able (12-13) | Total Price Inclusive of all levies & charges excluding Duties & Taxes (3X14) | Discount offered, if any | Total discounted price excluding Duties & Taxes CENVAT-able (15-16) | Customs Tariff Head |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | % | Amt | % | Amt | % | Amt |  |  |  |  |  |  |  |  |
| 1 | 2 | 3 | 4A | 4B | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |
| 1.1 | 10G Passive Optical TAPs | 38 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.2 | Aggregation Load Balancing Switch | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10 Gbps SFP +SR (850 nm) | 112 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10 Gbps SFP +SR (1310 nm) | 224 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.4 | Servers, RHEL | 84 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.5 | Server Racks, KVM, Keypad, Mouse, Monitor (Included in Server specs) | 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.6 | Manageable 24 ports Gigabit Ethernet Switch | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Optical Patch cables Multi -Mode 5 M (LC-LC) | 106 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.8 | Optical Patch cables Single - Mode 5 M (LC-LC) | 77 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Optical Patch cables Single -Mode 20 M (LC-LC) | 36 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.10 | Cat 6 Patch Cables 5 M | 190 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.11 | Cat 6 Patch Cables 20 M | 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.12 | UPS (1+1 configuration) 10 KVA | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.13 | UPS (1+1 configuration) 20 KVA | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.14 | UPS (1+1 configuration) 30 KVA | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Any other items for meeting the requirement of tender |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Installation and commissioning charges |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | AMC for 4 years (after 1 year warranty) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.1 | Year 1 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.2 | Year 2 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.3 | Year 3 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.4 | Year 4 (minimum 3%) | % | Amount |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Note:

- “We hereby declare that in quoting the above prices, we have taken into account the entire credit on inputs available under the MODVAT SCHEME introduced w.e.f. 1st March 1986 and further extended on    more items till date”.

- If Annual maintenance Contract charges are required to be quoted as per SOR, basic charges shall be shown in column-4B & the service tax in column 11 & 13.

- “We hereby certify that E.D/Customs Tariff Head shown in column 18 are correct & CENVAT Credit for the amount shown in column 13 above are admissible as per CENVAT Credit Rules 2004”.

- The bidder shall quote separately for hardware and software as per special conditions of contract.

- The bidder submitted the offer with concessional E.D/sales tax shall submit the proof of applicable concessional ED/Sales Tax

Section 10

DRAFT AGREEMENT WITH REGARD TO SECURITY REQUIREMENTS

This AGREEMENT is made and entered into at New Delhi on this the [●] day of [●], 2013

BY AND BETWEEN

Bharat Sanchar Nigam Limited, a company incorporated under the Companies Act, 1956 and having its registered office at 2nd Floor, Bharat Sanchar Bhawan, HC Mathur Lane, Janpath, New Delhi 110001(hereinafter referred to as “BSNL” or the “TSP”, which expression shall, unless repugnant to the context or meaning thereof, include its successors and permitted assigns) of the FIRST PART;

AND

[●], a company incorporated under the Companies Act, 1956 and having its registered office at [●](hereinafter referred to as the “Bidder” or the “Vendor”, which expression shall, unless repugnant to the context or meaning thereof, include its successors, and permitted assigns) of the OTHER PART.

(BSNL/TSP and the Bidder/Vendor shall be collectively called as the “Parties” and individually a “Party”.)

RECITALS

A.	The Vendor has been awarded the Tender bearing no [●] for the [●] (“Contract”).

B.	Pursuant to the provisions of Clause [●] of Part [●] of Section [●] of the Contract, the Parties are executing this Agreement, subject to the terms and conditions as provided hereinafter.

NOW THEREFORE, IN CONSIDERATION OF MUTUAL REPRESENTATIONS, COVENANTS AND OTHER VALUABLE CONSIDERATION, THE RECEIPT AND SUFFICIENCY OF WHICH IS HEREBY ACKNOWLEDGED, THE PARTIES HEREBY AGREE AS FOLLOWS:

1. 	Definition & Interpretation

1.1	Definitions

Unless the context otherwise requires, the different terms and expression used in this Agreement shall have the meaning assigned to them for the purpose of this Agreement :

“Access” shall mean the interconnection with TSP Systems or access to or use of TSP Information stored on TSP Systems through interconnection with TSP Systems or access to or use of TSP Information stored on Vendor Systems or access to or use of TSP Information stored in any mobile device.

“Applicable Laws” shall mean any law, statute, ordinance, rule, regulation, guideline, policy or other pronouncement having the effect of law of any Governmental Authority as interpreted and administered including any modifications or amendments thereto.

“Authorised” shall refer to the approval by TSP of the Access as part of the authorisation process and the Vendor Security Contact has a record of this authorisation. The term “Authorisation” shall be construed accordingly.

“Commencement Date”” shall mean the date when the Agreement is executed

“Contract Personnel” means dedicated resources of the Vendor in terms of employees, subcontractors including employees of sub contractors and agents including agent’s sub contractors and their employees engaged for the purpose of this Agreement.

“End Date” shall have the meaning assigned to it in Clause 16.1.

“Escrow Information” shall have the meaning assigned to it in Clause 7.11 (a).

“Governmental Authority” shall mean any governmental authority, statutory authority, government department, ministry, secretariat, agency, commission, board, tribunal, court or other law, rule or regulation making body/ entity having or purporting to have jurisdiction on behalf of the Republic of India or any other government having or purporting to have jurisdiction over a Party, or any state or other subdivision thereof or any municipality, district or other subdivision thereof including, without limitation, the Chairman, Department of Telecommunications, Ministry of Communications, Government of India and/or any other telecom regulatory authority, including Telecom Engineering Center, having competent jurisdiction; and/or Chairman, Telecom Regulatory Authority of India, and includes any officer empowered by them to perform all or any of the functions of such a governmental authority.

“Information" shall mean technical, financial and commercial information and data relating to Party’s respective businesses, finances, planning, facilities, products, techniques and processes and shall include, but not limited to, discoveries, ideas, concepts, know-how, techniques, designs, specifications, drawings, blueprints, tracings, diagrams, models, samples, flow charts, data, computer programs, disks, diskettes, tapes, marketing plans, customer names and other technical, financial or commercial information and intellectual properties, whether in written, oral or other tangible or intangible forms.

“Licensor” shall mean the Department of Telecommunications, Ministry of Communications & IT, Government of India.

“Personal Data” shall comprise of customer details and Call Detail Record (CDR)..

“Sensitive Information” shall mean any TSP Information marked as classified as per TSP’s data classification policy or deemed business critical. This also includes any other data, or element of information, notified as such by the Government (e.g. IT Act 2000).

“Security Standards” shall mean all the relevant contemporary standards associated with national and international security standard related to IT & Telecom equipment hardware and software and those related to information & communication security, including but without limitation to ISO 27000 series, ISO/ IEC 15408, 3GPP, 3GPP2, WiMAX etc. and as evolved from time to time.

“Subcontractor” shall mean any person, partnership or corporation with whom the Vendor places a contract and/or an order for the supply of any equipment, item, service or for any work in relation to the purpose of this Agreement. The term "Subcontract" shall be construed accordingly.

“Supplies” shall mean all components, materials, plant, tools, test equipment, documentation, hardware firmware, software, spares parts, services and all the things & items to be provided to TSP pursuant to the Agreement together with all Information and Work the Agreement requires to be supplied or performed for TSP.

“Term” shall mean the term of this Agreement starting from the Commencement Date upto the End Date.

“TSP” shall mean Bharat Sanchar Nigam Limited who has been issued the CMTS license under section 4 of Indian Telegraph Act 1885 by the Licensor, Government of India

“TSP Group Security” shall mean the security organisation based within the TSP.

“TSP Information” shall mean all data including data, text, image, sound, voice, codes, circuit diagrams, core & applications software and database, intellectual property as well as personal, public, operational and services data in TSPs custody which is and /or received which are supplied/ shared with Vendor for the purpose of this Agreement or are obtained by the Vendor on behalf of TSP.

“TSP Items” shall mean all items provided by TSP to the Vendor and all items held by the Vendor which belong to TSP.

“TSP Regulatory Contact” shall mean in-charge of TSP Regulatory Operations or such other person whose details shall be notified by TSP to the Vendor from time to time.

“TSP Security Contact” shall mean in-charge of TSP Security Operations Centre or such other person whose details shall be notified by TSP to the Vendor from time to time.

“TSP Systems” shall mean any TSP computer, application, databases , network infrastructure, network elements and appliances, core and applications software or such other systems as may be agreed in writing from time to time between TSP and the Vendor.

“Vendor” shall mean the vendor who supplies equipment, software and is and/or managed services to TSP for the purpose of installation, testing, commissioning, provision, operations and/or maintenance of TSP’s networks.

“Vendor Security Contact” shall mean such person whose details shall be notified by the Vendor to TSP from time to time for such purpose.

“Vendor Regulatory Contact” shall mean such person whose details shall be notified by the Vendor to TSP from time to time for such purpose.

“Vendor Systems” shall mean any Vendor owned computer hardware or software,

application database or network elements / appliance or such other systems as may be agreed in writing from time to time by TSP and the Vendor.

1.2	Interpretation

Unless otherwise stated or unless the context otherwise requires, in this Agreement:

(a)	the  headings, whether of Clauses or other parts of the Agreement, are for ease of reference only and shall not be relevant to interpretation;

(b)	the references to the Recitals, Clauses, Schedules and Annexures shall be references to the recitals, clauses, schedules and annexures of this Agreement;

(c)	words importing the singular shall include plural and vice versa;

(d)	words denoting any gender shall include all genders;

(e)	where a word or phrase is defined, other parts of speech and grammatical forms of that word or phrase shall have corresponding meanings;

(f)	references to statutes or statutory provisions include references to any orders, or regulations made there under and references to any statute, provision, order or regulation include references to that statute, provision order or regulation as amended, modified, re-enacted or replaced from time to time whether before or after the date thereof.

2. 	Scope

This Agreement sets out the provisions under which the Vendor will be able to supply equipments and services and be granted Access to TSP Systems, network, equipments, data and facilities and TSP Information including Sensitive Information for the purpose of the planning, engineering, supply, installation, testing, commissioning, operations and maintenance, annual maintenance  on network/equipment as per the contract.

3. 	International Security Standard Certification

The Vendor shall have contemporary relevant Security standard certification and shall comply with the provisions of security standards certification with respect to  Telecom & IT equipment hardware and software and those related to information & communication security management, such as ISO 15408 standards as applicable to IT and IT related products, ISO 27001 for Information Security Management System, standards used by other relevant standard formulation bodies for Telecom equipment like 3GPP, 3GPP2, ITU standard etc or equivalent acceptable international standards or certification. Based on the requisite testing to be conducted at their labs, vendors will certify their own equipments as required under this clause. IT related elements in the telecom networks of the concerned OEMs, which are already ISO 15408 certified will be accepted as certified. Vendor will submit a relevant self certificate based on test reports in this regards.

4.	Security Requirements:

The Vendor shall comply with following security policies:

4.1 	General

4.1.1 	The Vendor shall be Authorised to access only TSP Systems and Information in accordance with the provisions of this Agreement and only during the Term of this Agreement.

4.1.2 	The Vendor shall identify to the TSP, details of Vendor Security Contact at the Commencement Date who will act as a single point of contact for TSP, such as a senior manager or CIO responsible for security, for any security issues. This responsibility shall be detailed within his/her job description. Notwithstanding anything to the contrary, the Vendor shall at all times be responsible to the TSP for any security related issues.  It is clarified that the Vendor Security Contact shall be a security cleared Indian national. The security clearance for the Vendor Security Contact will be applied, within one month of date of submission of necessary document by the vendor to TSP.

4.1.3 	As part of the Authorisation process, details of Vendor’s Contract Personnel that need Access will be requested by TSP. The Vendor Security Contact shall at all times ensure that only Contract Personnel who have a need to Access in order to fulfill the purpose of this Agreement are Authorised. This Authorization and any changes in the Contract Personnel would be notified by the Vendor for the information and for the approval (wherever applicable) of the TSP.

4.1.4 	Pursuant to Clause 4.1.3 above, the Vendor acknowledges that only the Contract Personnel having requisite training are Authorized to access the TSP System.

4.1.5 	The Vendor shall have a well defined Information Security policy compliant with ISO/IEC 27001:2005 or have equivalent standards and in line with the TSP’s information security policies and requirements.

4.1.6 	The Vendor shall ensure that they have information security organization in place to implement the provisions of TSP’s information security policies. The Information Security responsibilities of all Vendor employees working for TSP shall be defined and communicated.

4.1.7 	The Vendor shall establish and maintain contacts with special interest groups to ensure that the understanding of the information security environment is current, including updates on security advisories, vulnerabilities and patches and ensure that the same is implemented.

4.1.8 	The Vendor shall conduct a Risk Analysis and ensure that all risks due to it own and subcontractors’ operations with TSP are identified, measured and mitigated as per the TSPs requirements. The Risk Assessment report is required to be shared with the Chief Security officer/CISO of TSP.

4.2 	Physical Security

4.2.1 	All Contract Personnel including sub contractors and their employees, agents and their employees of the Vendor working on TSP premises shall be in possession of a TSP Identification or Electronic Access Control (“TSP ID/EAC”) card. This card is to be used as a means of identity verification on TSP premises at all times and as such the photographic image displayed on the TSP ID/EAC card must be clear and be a true likeness of the Contract Personnel. If the TSP has any advanced identity verification systems the same would also apply. TSP and Vendor will mutually agree to re- define such verification measures from time to time

4.2.2 	All Contract Personnel including sub contractors and their employees, agents and their employees of the Vendor accessing premises (sites, buildings or internal areas) , where TSP Information is stored or processed, shall be in possession of an Identification or Electronic Access Control (“ID/EAC”) card. This card is to be used as a means of identity verification on these premises at all times and as such the photographic image displayed on the ID/EAC card must be clear and be a true likeness of the Contract Personnel or the Subcontractor or the Vendor’s employees, subcontractors and agents. If the TSP has any advanced identity verification systems the same would also apply. TSP may re-define such verification measures from time to time

4.2.3 	The Vendor shall not (and, where relevant, shall procure that any Contract Personnel shall not) without the prior written Authorisation of the TSP Security Contact connect any equipment, device or software to any TSP System and where it is not intended to be connected at a point in the TSP system.

4.2.4 	The Vendor shall be able to demonstrate that it has procedures to deal with security threats directed against TSP or against a Vendor working on behalf of TSP whilst safeguarding TSP Information.

4.2.5 	The Vendor and/or its Contract Personnel shall not access TSP’s electronic systems without first obtaining the written consent of the TSP Security Contact.

4.2.6 	The Vendor’s Access to sites, buildings or internal areas where TSP Information is stored or processed, shall be as Authorised and the Vendor and all its Authorised personnel shall adhere to robust processes and procedures to ensure compliance.

4.2.7 	The Vendor shall not conduct recording, photography or video graphic at TSP premises that captures any TSP Information, without prior authorization from the TSP Security Contact.

4.2.8 If already available at the TSP Premises, CCTV security systems and their associated recording medium shall be used by the TSP/Vendor  either in response to security incidents, as a security surveillance tool, as a deterrent or as an aid to the possible apprehension of individuals caught in the act of committing a crime. As such, these systems shall be Authorised by appropriate TSP Security Contact when used by Vendor.

4.2.9 The Vendor shall maintain a controlled record of all assigned TSP physical assets and assigned TSP Items to them.

4.2.10 The local area surrounding the Vendor’s facilities at TSPs premises over which Vendor has authorized control shall be physically inspected for security risks and threats by the Vendor in case of any abnormal activity / incident found / observed shall report the same to TSP.

.

4.2.11	The Vendor shall disable the Access immediately if any Contract Personnel is no longer require Access or has changed roles for any reason whatsoever or whose integrity is suspected or considered doubtful or as may be notified by TSP in accordance with clause 4.3.1.

4.3 	Logical Security

4.3.1 	The Vendor shall notify TSP immediately if any Contract Personnel no longer requires Access or changes role for any reason whatsoever thus enabling TSP to disable or modify the Access rights.

4.3.2 	The Parties shall, implement agreed security measures across all supplied components and materials including software & data to ensure safeguard and confidentiality, availability and integrity of TSP Systems and TSP Information, Parties shall prepare documentation in relation to the implementation of logical security and shall ensure that it has such security as:

- prevents unauthorised individuals e.g. hackers from gaining Access to TSP Systems; and

- reduces the risk of misuse of TSP Systems or TSP information, which could potentially cause loss of revenue or service (and its Quality) or reputation, breach of security by those individuals who are Authorised to Access it; and

(c)	detects any security breaches that do occur enabling quick rectification of any problems that result and identification of the individuals who obtained Access and determination of how they obtained it.

4.4 	Information Security

4.4.1 	The Vendor shall not use TSP Information for any purpose other than for the purposes for which they were provided to the Vendor by TSP and only to the extent necessary to enable the Vendor to perform as per this Agreement.

4.4.2   The Vendor shall ensure that all information security requirements in this Agreement are communicated including in writing to all Contract Personnel in relation to their role.

4.4.3 	The Vendor shall ensure procedures and controls are in place to protect the exchange of information through the use of emails, voice, facsimile and video communications facilities.

4.5 	Contract Personnel Security

4.5.1 	The Vendor shall ensure that the TSP Information provided under this Agreement is used only to the extent necessary to enable the Vendor to perform its obligations as per the terms of this Agreement. All Contract Personnel shall sign a confidentiality agreement either as part of their initial terms and conditions of employment or when they start working in TSP buildings or on TSP Systems and TSP Information. These confidentiality agreements shall be retained by the Vendor and shall be made accessible to TSP, if required.

4.5.2 	The Vendor shall deal with breaches of security policies and procedures, including interfering with or otherwise compromising security measures, through a formal disciplinary process.

4.5.3  The Vendor shall provide a 'whistle blower' facility, available to all staff, with all TSP related issues reported back to the TSP Security Contact to the extent permissible by the law in a location in India where the Vendor is providing the services. . For the avoidance of doubt, this facility shall be used by the Contract Personnel if TSP’s employee, agent or contractor instructs Contract Personnel to act in an inconsistent manner in violation of the Agreement.

4.5.4 	The Vendor shall ensure that in respect to any Contract Personnel assigned to this Agreement, it shall carry out recruitment checks in accordance with its policies.

4.5.5 	The Vendor shall ensure that all Contract Personnel maintain a clear-desk and a clear screen policy to protect TSP Information, as per internal policy.

4.5.6 	The Vendor shall ensure that an auditable process is developed for the ongoing control and management of Contract Personnel access profiles.

4.5.7 	The Vendor shall, and shall procure that if a Contract Personnel’s job or role has been changed or terminated, such Contract Personnel shall securely destroy any TSP Information received in a recorded form from TSP (or has recorded received TSP Information) in accordance with its internal policy.  Vendor may retain one copy of such information for archival policy provided it does so in a secure manner..

4.5.8 The vendor may perform the above activities as per its internal policy, which shall be shared with BSNL from time to time.

4.6	Additional Security Policies

4.6.1	The Vendor shall have documented operating procedures to discharge the security requirements detailed within this Agreement and provide TSP with access to such documentation in accordance with “Access to Vendor systems” as stipulated in this Agreement.

4.6.2  The  Vendor  shall  implement  a  controlled  exit  procedure in  respect  of  the individual Contract Personnel to ensure the return of any TSP assets or TSP Items or TSP Information in the possession of the individual when any of the Contract Personnel who have Access, leave the employment of the Vendor or are no longer engaged for the purpose of this Agreement. Such controlled exit procedure shall include a written communication by the Vendor Security Contact to TSP Security Contact of this removal.

4.6.3  The  Vendor  shall  inform  the  TSP  Security  Contact  immediately  upon   its becoming aware of any actual or suspected unauthorized Access or misuse of TSP Systems or TSP Information or breach of any of the Vendor's obligations under this Agreement.

4.6.4 The Vendor shall maintain integrity of the software build including upgrades, operating systems and applications from factory to desk.  The Vendor shall demonstrate that the software build (both proprietary and off-the-shelf) delivered to TSP is the same as the software build agreed with TSP. The software as provided by Vendor shall not have any known viruses or malware which could hamper security including any unauthorized leakage of TSP Information including Sensitive Information.

4.6.5   Any change of location by the Contract Personnel or Vendors support centers shall be notified to TSP.

4.6.6	Where Vendor uses subcontractors,,  TSP  may  require  that  the  associated  security  risks  are   clearly identified and assessed by TSP Group Security or the appropriate TSP  line of business security team. This will ensure that any unacceptable security risks are identified and addressed. This in anyway shall not reduce the Vendor from being responsible to TSP for its obligations to be performed under this Agreement relating to security.

4.6.7	Where Vendor uses subcontractors,  formal  contracts containing all necessary security requirements shall be put in place between the Vendor and its subcontractor before the Subcontractor or its personnel can access TSP Systems and TSP Information or occupy space in TSP’s buildings or space in the Vendor’s building that is used to access, hold or process TSP Information.

4.6.8	TSP may update from time to time, security related policies, guidelines, standards and requirements. TSP will incorporate such updates by reference which shall be notified in writing by TSP to the Vendor promptly. If the Vendor has an issue with such updates, the Vendor shall promptly detail its concerns to TSP in writing.

4.6.9	The Vendor shall record and maintain detailed information of all Contract Personnel who are authorized to Access TSP Systems or TSP Information.

.

5. 	Access to TSP Systems

5.1 	Subject to the provisions of this Agreement, the TSP allows (so far as it can and is able to do so) the Vendor, to have Access solely for the purpose as contemplated herein during the Term of this Agreement.

5.2 	In relation to Access, the Vendor shall (and, where relevant, shall procure that all

Contract Personnel shall):

a) 	ensure each individual Contract Personnel has a unique user identification and password known only to such user for his/her sole use.

b) 	ensure Contract Personnel never share user identification, passwords or security tokens.

c)	Promptly provide to TSP such agreed reports as TSP shall from time to time require  concerning  the  Vendor’s  use  and security  of  Access  and  any related matters to Access.

d)	ensure onward bridging or linking to TSP Systems is prevented unless authorised by TSP.

e)	use all reasonable endeavours to ensure no viruses or malicious code like malware, spyware, key logger, bots (as the expressions are generally understood in the computing industry) are introduced, and that there is no corruption or modification or compromisation of TSP Systems or TSP Information, while meeting out the obligations under the Contract.

f)	use reasonable  endeavours  to  ensure  that  personal  files which contain information, data or media with no relevance to the purpose, are not stored on TSP building servers or TSP centralised storage facilities or TSP Systems.

5.3 	If TSP has provided the Vendor with Access to the Internet/Intranet, the Vendor shall, and shall ensure that the Contract Personnel, access the Internet/Intranet appropriately. It is the Vendor’s responsibility to ensure that practical guidance on internet and email abuse (as amended) is communicated to the Contract Personnel from time to time.

5.4 	The Vendor shall ensure that all Contract Personnel, subject to the Clauses headed

“Regulatory Matters” and “Confidentiality” comply with classifying and handling of Information.

5.5 	Any security software procured by the Vendor shall be used by the Vendor without modification, unless there is an essential need to do so, in which case appropriate controls shall be applied and the agreement of TSP Group Security sought.

6.	Access to Vendor Systems

6.1 	If Contract Personnel is granted Access to Vendor Systems having bearing on TSP data, information or network, the Vendor shall:

a) 	ensure each individual has a unique user identification and password known only to such individual for his/her sole use.

b) 	promptly provide to TSP such reports as TSP shall from time to time require, concerning the Vendor’s use and security of access to Vendor Systems.

c) 	allow Access only to the minimum extent required to enable the Contract Personnel perform their duties.

d) 	allow Access using a secure login process.

e) 	establish and implement formal procedures to control the allocation and de-allocation of Access rights.

f) 	ensure that the allocation and use of enhanced privileges and access to sensitive tools and facilities in Vendor Systems are controlled and limited to only those users who have a business need.

g) 	ensure that the allocation of user passwords to Vendor Systems that hold or access TSP Information is controlled through a formal auditable management process.

h) 	provide processes to demonstrate that remote and home working activities are only permitted where Authorised by TSP and subject to appropriate security controls within the Vendor’s organisation including but not limited to remote Access by users being subject to strong authentication.

i) 	demonstrate that users follow security best practice in the management of their passwords.

j) 	implement a password management system which provides a secure and effective interactive facility that ensures quality passwords.

k) 	ensure that user sessions are terminated after a defined period of inactivity.

l) 	ensure that audit logs are generated to record user activity and security-relevant events and securely managed and retained with nil ability on the part of the Vendor to allow any un-authorised access or amendment to the audit logs. Such audit logs must be maintained for future reference for a period of at least one year.

m) 	ensure that monitoring of audit and event logs and analysis reports for anomalous behaviour and/or attempted unauthorised access are performed by Vendor’s staff independent of those users being monitored.

n) 	make available audit logs where required by TSP for review.

o) 	ensure all systems holding, processing or accessing TSP Information shall be hardened as per industry  standards.

p) 	ensure that to the extent possible, development, test and live environments are segregated from each other and the other work areas in Vendor buildings.

q) 	implement controls to detect and protect against malicious software and ensure that appropriate user awareness procedures are implemented.

r) 	ensure that Vendor has in relation to all Vendor Systems formal security incident management procedures with defined responsibilities.

s) 	ensure that any unauthorised software is identified and removed from Vendor Systems holding, processing or accessing TSP Information.

t) 	ensure that Access to diagnostic and management ports as well as diagnostic tools are securely controlled to TSP’s reasonable satisfaction.

u) 	ensure that Access to Vendor’s audit tools shall be restricted to Relevant Contract Personnel and their use is monitored.

v) 	Ensure that data gathered after running audit tool is properly        protected.

w) 	perform enhanced  independent  code   reviews  (including   penetration testing) on all Vendor Systems, as a part of the Vendor’s security development lifecycle (SDL).

6.2 	The devices which use proprietary encryption technique shall not be used for holding TSP information.

6.3 	To the extent the servers are used to fulfill the purpose of this Agreement, Vendor’s servers shall not be deployed on un-trusted networks without appropriate security controls.

6.4 	Changes to individual Vendor Systems shall be controlled and subject to formal change control procedures. All documentation relating to Vendor Systems shall be protected from unauthorized Access or amendment.

6.5 	Security procedures and controls shall be used to secure equipment holding, accessing or processing TSP Information in Vendor Systems.

7. 	Conditions for Equipment Vendors

7.1 	Conformance to Security Standards and Policies

The Vendor shall ensure and certify that the supplied equipment has been subjected to penetration testing and all addressable vulnerabilities have been mitigated and the equipment is ‘Safe to Connect’ in the Telecom Network as per the latest standards and recommendations on the subject from ITU/ISO/IETF/IEC etc. It will also include that the equipment confirms to the security policies of the TSP with respect to network elements. This applies to all telecom network elements and IT equipment used in the network.

The Vendor shall also ensure that the equipment supplied has all the contemporary security related features, facilities, hardware, software etc for the purpose of Interception, Monitoring, Analysis etc for use by the law enforcement agencies and provide complete information to enable these features and facilities before the supply of the equipment or the procedure of enabling these, if these are to be enabled after the commissioning of the network. The Vendor shall also submit a test report on these features and facilities and also a certificate that all contemporary features and facilities of this category exist in the equipment supplied.

Vendors will be allowed to certify their own equipments based on the testing at the labs which are capable of such testings. IT related elements in the telecom networks which are already ISO 15408 certified will be accepted as certified. Vendor can submit a relevant Self certificate based on test reports in this regard.

7.2	Equipments Configuration Guide

Two sets of equipment configuration guide shall be supplied which detail the configuration required to meet the policies and standards at least in respect of following:

Network Element security policies:

- Generic OS

- Technical Standard for Switches and Routers

- Management Standard for Switches and Routers

7.3	Reports

A report on the susceptibility to the attacks on mobile networks shall be provided by the Vendor to the TSP in the following manner:

(a)	Next Generation Network Equipment are susceptible to several attacks. The Vendor must submit a report categorically stating that the attacks to which the equipment and the network is susceptible, the degree of risk of each type of attack and mitigation technique to deal with these attacks.. The Vendor will ensure that whatever mitigation was possible as per the current available technologies, techniques, configuration have already been used and adopted by them before the supply of the equipment.

7.4	Security from Malware

There are no known cases of malware disrupting telecom services, yet. However, malware can cause information leaks and can result in the leak of private user information. However, some viruses, worms and Trojans can infect devices and spread malware via text messages or Bluetooth connectivity. This network-based service will also block Denial of Service attacks and restrict network traffic based on source, destination, IP ports and applications. It will also allow enterprise IT managers to lock and/or delete data on lost or stolen devices. The connectivity could affect platforms if adequate  firewalls,  IDPs  are  not  strong.  Therefore Vendors would provide adequate firewall and IDPs with the supply of equipment.

7.5	Cryptography Related Security Issues:

Vendors will take suitable measures to deal with cryptography related vulnerabilities and submit a report of the measures along with a relevant certificate(s)that they have taken adequate measures to deal with these vulnerabilities.

i.	Attacks on COMP-128 algorithm

ii.	Compromised cipher key

iii.	Key recovery allowing SIM cloning

iv.	Hijacking outgoing calls in networks with encryption disabled

v.	Hijacking outgoing calls in networks with encryption enabled

vi.	Hijacking incoming calls in networks with encryption disabled

vii.	Hijacking incoming calls in networks with encryption enabled

viii.	Suppressing encryption between the target user and the intruder

ix.	Suppressing encryption between target user and the true network

7.6	Data Flow Attacks

Many sophisticated attacks disguise themselves in data flows across sessions and ports—the more traffic there is, the harder it is to identify the threats.  Vendors may ensure that they are aware of this and submit compliance on the same.

7.7	Additional Interfaces

Many of the problems in the data intensive infrastructure may come to increased number of interfaces additionally for data than those were present for voice only PSTN, hence, the Vendors must give special attention to  interfaces and  their  related  vulnerability.  Such  Vendors  may  ensure  that  they  provide additional notes that they have taken care of the same and the test mechanism and methodology adopted by them with adequate evidence.

7.8	Security against Remote Access

The Vendor shall submit a written undertaking to the TSP clearly identifying all possible means of remote control/ remote access/remote command and control in the supplied equipment as well as suitable mitigation means to close such access mechanisms.

7.9	Software and Hardware Design Surety :Vendor may choose one of the following Options for Software and Hardware Design Surety

7.9.1      Option 1:

(a)	The Vendor shall at TSP’s request enter into an escrow deposit arrangement in respect of all Information and documentation in relation to Supplies in respect of Hardware, executable Software/source code/gold build etc, High Level  Designs (HLD), Detail Design Documents (DDD), listings and programmer’s notes) (“the Escrow Information”) as  would  enable  TSP  to  complete  any  outstanding obligations of the Vendor under this Agreement, including,  without  limitation, obligations that would have existed (including the requirement to fulfil any orders that TSP would have otherwise placed under this Agreement) had this Agreement not been terminated by TSP before the expiry of its Term.

(b)	Without affecting any other rights it may have, TSP shall have the right, free of charge, to use the Escrow Information, after its release, in order to use or maintain (including to upgrade) the software, to modify or have modified the software, and to authorize such modified software to or have it maintained by third parties, in case Vendor refuses to do so as per the Agreement.

(c)	The Vendor shall ensure that the Escrow Information deposited in accordance with Clause 7.11 (a) is and will be maintained as sufficient to allow a reasonably skilled programmer or analyst to maintain, modify and correct the hardware and software without the help of any other person or reference, and the Vendor further undertakes to keep the Escrow Information fully upto-date throughout the Term.

(d)	On the occurrence of any event permitting the release of the Escrow Information, the Vendor shall immediately provide, at its cost and expense, to TSP for a reasonable period, such advice, support assistance, data, information, access to Vendor's personnel or any key personnel of legal owner of the [Hardware and/or] Software for the purpose of understanding, maintaining (including  upgrading), modifying and correcting any of the Hardware and/or Software. The softwares and codes written only in English language shall be acceptable. The code/softwares shall be proven to be operational and correct version and to be  certified that it does not have self-destructing programmes. This may be  ensured by using the same at least once for loading the system initially before being deposited.

7.9.2      Alternative to option 1 is Option 2 as below::

(i)	Gold software copy or the Executable copy of the software at the discretion of vendor.

(ii)	Dumb hardware can be loaded with software by the TSP or under the supervision of TSP from Gold software copy or from the executable copy after checking that hardware is free from any software and ensuring that there are no harmful malware into the hardware. Alternatively, vendors will submit a certificate to BSNL that the supplied hardware is free from harmful malware based on the above test.

(iii )	Upgradation of software for a period of as agreed in the Contract .

(iv)	Design of network (network diagram of Vendor Implemented equipment under the Contract) in digital form and/ or in hard copy

7.10	Penalty

In the event that the Vendor is unable to comply with its obligations under this Agreement, as a result of which the Licensor imposes any sanction on the TSP, which results in any financial and other liabilities on the TSP, the Vendor shall be liable to make good such loss. In addition to the above, in case of any inadequate measures, act of intentional omissions, deliberate vulnerability left into the equipment or in case of deliberate attempt for a security breach by the Vendor, the Licensor may at its discretion blacklist the Vendor from entering into any supply deals with any Indian telecom operators. The TSP shall give the vendor the opportunity to defend any claim prior to imposing any penalty or blacklisting the vendor on account of security breach being attributable to it.

7.11	Inspection

The Vendor must allow the TSP , Licensor/DoT and/or its designated agencies to inspect the hardware, software, design, development, manufacturing facility and supply chain and subject all software to a security/threat check at the  time of procurement of equipment and upto two more times every year until the supplies under the Contract have been completed, at the sole discretion of the TSP. All the documents shall be in English and handed over to the visiting team of the TSP at least 4 weeks ahead of the visit.

7.12	Language of Supplies

All the software codes, firmware, operating system, hardware details shall be in English only.

8.	Data Protection

8.1 	The Parties acknowledge that, in respect of all personal data and processed by the Vendor for the purpose of the provision of supplies under the  Contract, TSP alone as data controller shall determine the purposes for which and the manner in which such personal data will be processed by the Vendor.

8.2 	Other than at TSP's request, or where required by law to provide the supplies, the Vendor shall not disclose or allow access to any Personal Data other than, subject to Clause 8.4(f) to a person placed by the Vendor under the same obligations as contained in this clause who is employed or engaged by the Vendor or within the control of the Vendor in the performance of the Agreement.

8.3 	The Vendor shall not use personal data for any purpose other than the provision of the supplies and shall return any personal data to TSP immediately upon request at any time providing such return does not prevent the Vendor from fulfilling its obligations under this Agreement. The Vendor shall retain personal data no longer than is necessary for the provision of the supplies, in accordance with the relevant Applicable Law and such instructions as TSP may provide from time to time. Upon expiry or termination of this Agreement for whatever reason, the Vendor shall immediately return to TSP all personal data and certify that no copies have been made or retained by the Vendor or any third party acting on its behalf.

8.4 	The Vendor shall:

(a) 	process personal data only on the instructions of TSP and to the extent necessary for the performance of this Agreement;

(b) 	not modify, amend or alter the contents of the personal data except as required or permitted by this Agreement or with TSP’s prior written consent;

(c) 	implement the appropriate technical and organisational measures to protect personal data against accidental or unlawful destruction or accidental loss, alteration, unauthorised disclosure or access, and against all other unlawful forms of processing, which measures are set out in more detail in Clause 4  and provide to TSP with a written description of the measures taken when requested by TSP;

(d) 	comply with all relevant provisions of any TSP codes of practice notified to the Vendor from time to time and the Applicable Law ;

(e) 	keep all personal data secure and confidential, act only on TSP's instructions with respect to it, and comply with such further reasonable requirements from time to time of TSP for the security of it;

(f) 	ensure that, of the Vendor’s staff, only those of the Contract Personnel who need to have access to the personal data are granted access to the personal data only for the purposes of the performance of this Agreement and the Contract Personnel are informed of the confidential nature of the personal data and comply with the obligations set out in this Clause 8;

(g) 	notify TSP forthwith, and in any event, no later than 12 hours from the time it comes to the Vendor’s attention, that personal data transferred by TSP to the Vendor has been the subject of accidental or unlawful destruction or accidental loss, alteration, unauthorised disclosure or access, or any other unlawful forms of processing; and

(h) 	notify TSP in the event that it receives a request or notice from any person subject to having access to that person’s personal data held by it and will provide TSP with full co-operation and assistance in relation to any complaint or request including providing TSP with any relevant personal data it holds within the timescales provided by the request or notice or as otherwise required by TSP.

8.5 	In respect of transfer of personal data the following conditions shall apply:

(a) 	obtain TSP’s prior written consent before transferring personal data to any Subcontractors in connection with the provision of the supplies;

(b) 	prior to any transfer of personal data, enter into or procure that any Subcontractor delivering the supplies will enter into contracts for the transfer of personal data. In respect of personal data transferred by TSP to the Vendor or acquired by the Vendor from TSP’s systems to a country outside of India shall be on the basis of Applicable Laws , or such other data protection model contract terms as may be agreed between the Parties from time to time, except where the relevant Applicable Laws provides for a derogation from this requirement.

8.6 	Any breach of this Clause 8 by the Vendor shall be deemed to be a material breach of the Agreement and the Vendor shall indemnify TSP from the against any costs, losses, damages, proceedings, claims, expenses or demands incurred or suffered by TSP which arise as a result of such breach.

8.7 	The Vendor shall, upon TSP giving reasonable notice, allow TSP or its nominated representatives such access to its premises, Information and records and those of its agents subsidiaries and sub contractors, as may be reasonably required by TSP from time to time to assess the Vendor’s and/or Contract Personnel’s compliance with this Clause 8.

9. 	Regulatory Matters

9.1 	The Vendor shall

(a) 	comply  with  all  regulatory  matters  under  Applicable  Laws  including, without limitation, any actions that TSP may require in connection with any regulatory matter, that are notified to the Vendor Regulatory Contact from time to time by the TSP Regulatory Contact in so far as they relate to the performance by the Vendor under the Agreement.

(b)	within  14  days  of  the  Commencement  Date,  ensure  that  the  Vendor Regulatory Contact contacts the TSP Regulatory Contact to establish the nature  and  extent  of  communication  between  them,  to  assist  them  in meeting  all  regulatory  requirement relevant to the Contract, as  set  by  the  Licensor   or  any Governmental Authority or any other person nominated by Licensor

(c)	ensure that the Vendor and its Contract Personnel have undergone the proper and adequate training for the purpose of performing its obligations under this Agreement and promptly provide such information to TSP as shall be necessary for TSP to respond fully and to the timescale required to any request or requirement for information from any Governmental Authority , to the extent that such information relates to the performance of the obligations by the  Vendor under the Agreement.

10.	 Confidentiality

10.1 	In this Clause, “TSP Information” which TSP from time to time identifies to the Vendor as being commercially confidential, or is by its nature commercially confidential or defined by TSP as confidential, or confidential as per the Applicable Law. The term “Information” shall mean and include all or any communication(s), Information(s) or data disclosed, whether written, visual or oral and other material supplied to or obtained by the Party (“Recipient”) from the other Party (“Disclosing Party”) during the course of the Agreement.

10.2 	Except with TSP's consent, the Vendor shall not disclose TSP Information to any TSP employee, not authorized to receive such information

10.3 	Subject to the Clause 11, either Party receiving Information from the other shall not without the other’s prior written consent use such Information except for Contract purposes or disclose such Information to any person other than TSP's employees, agents and contractors or Contract Personnel who have a need to know and who are bound by equivalent obligations of confidentiality. Any breach of such obligations by Contract Personnel or TSP's employees, agents or contractors (as the case may be) shall be deemed to be a breach by the Vendor or TSP respectively.

10.4 	Clause 10.2 and Clause 10.3 shall not apply to Information that is:

(a) 	published except by a breach of the Contract; or

(b) 	lawfully known to the Recipient at the time of disclosure and is not subject to any obligations of confidentiality; or

(c) 	lawfully disclosed to the Recipient by a Vendor without any obligations of confidentiality; or

(d) 	replicated by development independently carried out by or for the Recipient by an employee or other person without access to or knowledge of the Information.

10.5 	The Vendor shall not publicize this Agreement without TSP’s prior written consent and shall ensure that any subcontractor is bound by similar confidentiality terms to those in this clause.

10.6 	Either Party that has during the course of this Agreement received Information in a

recorded form from the other (or has recorded received Information) shall return or

destroy in a complete irrecoverable mode (at the option of the disclosing party) such

records upon:

(a) 	expiry or termination of this Agreement; or

(b) 	upon earlier request unless such records are part of the supplies.

10.7 	This clause shall survive termination / expiry of this Agreement.

10.8	The obligations of confidentiality shall also be governed by the Non-Disclosure Agreement dated [●] (“NDA”), entered into between the TSP and the Vendor. In the event of any conflict between this Clause 10 and the NDA, the provisions of the NDA shall be applicable.

11. 	Intellectual Property

11.1	Each Party will retain its right, title and interest in its respective trademarks, service marks and trade names as well as rights in respect of any patent, copyright, trade secrets  or  other  intellectual  property  used  during  the  performance  of  this Agreement. Both Parties recognise that except as otherwise expressly provided herein or agreed between the Parties, they shall have no right, title,  interest or claim over the others’ intellectual property.

11.2	The Vendor agrees that it shall defend, at its own expense, all proceedings, suits and claims against and/or affecting the TSP or any of their officers, directors or employees (“Indemnities”) with respect to infringement, breach or violation of any patent, trademark, copyright, trade secret, mark or other intellectual property rights of any third party in the course of performance of its obligations under this Agreement. The Vendor agrees that it shall indemnify the Indemnities for all sums, costs, expenses and liabilities including, without limitation, all reasonable attorneys’ fees and other costs, incurred by Indemnities in connection with  or otherwise arising out of any such proceeding, suit or claim.

If in any such suit so defended, all or any part of the equipment or any component thereof or the use thereof is held to constitute an infringement or violation of third party intellectual property rights and its use is enjoined, or if in respect of any claim of infringement or violation the Vendor deems it advisable to do so, the Vendor shall at its sole cost and expense take one or more of the following actions: (a) procure the right to continue the use of the same without interruption for the TSP; or (b) replace the same with non-infringing Equipment that meets the technical specifications stipulated under the Contract; or (c) modify the said equipment or any component thereof so as to be non-infringing; provided, that (i) the equipment or any component thereof as modified complies with all of the technical specifications as stipulated under the Contract; and (ii) Vendor shall fully indemnify the TSP for any costs associated with any such action.

12. 	Security Review-The Vendor shall:

(a) 	give to (or procure the giving to) TSP (or any person authorised by TSP) such

access at all reasonable times to the Vendor’s and any Subcontractor’s records and

premises related to this Agreement as TSP may require from time to time to assess

the Vendor’s compliance of these policies in this Agreement;

(b) 	such assessments may include assessments of all elements of physical and logical

audits, penetration testing of the Vendor’s Systems. The Vendor shall facilitate this

assessment by permitting TSP to collect, retain and analyse information to identify

potential security risks including trace files, statistics, network addresses and the

actual information or screens accessed or transferred; and

(c) 	provide such reports to TSP and attend such meetings as may be reasonably

required by TSP.

13.	Network Audit, Test and Certification:

The process of networks audit and certification shall be performed by the test and certification agencies to include following activities:

(a)      Network forensics to identify existing unwanted running processes\ malwares\

backdoors etc. on all networks' elements. The operation includes sniffing of live

traffic to identify unwanted redirection and interception of traffic.

(b) 	Network Hardening to map all networks elements and to calibrate them to

optimized secured state.

(c)  	Network penetration test to assure system durability against any kind of attack.

(d)  	Risk assessment to understand what actions shall be taken to minimize future

damage to carrier and what risks are inevitable.

(e)  	Actions to fix found problems by setting systems to default or acquiring relevant IT security technologies to prevent such problems from reoccurring.

An available list of Test and Certification Agencies (Third Parties) in various countries who may take up the regular Technical Audit of Networks and Security Certification is given at Appendix I. The TSP may engage the services of any other Network Audit andSecurity Certification agency also

14 	Investigation:

14.1 	If TSP believes that there has been a breach by the Vendor of the provisions of this

Agreement, TSP will inform the Vendor Security Contact. The Vendor shall cooperate with TSP fully in any ensuing investigation. The Vendor shall provide list of users who have had access to TSP Systems and TSP Information to TSP and/or any law enforcement agency. TSP shall have access to the Vendor Systems and TSP Information in the Vendor’s premises generally with prior notice but include the right to make unannounced visits.

14.2 	The Vendor shall report to TSP Security Contact promptly of any potential misuse of TSP Information or improper or unauthorised access to TSP Systems and TSP Information. Upon request, the Vendor shall promptly provide to TSP a written report with details of the potential misuse of TSP Information or improper or unauthorised access to TSP Systems and TSP Information, a remedial plan and a timetable for achievement of the planned improvements and steps to be taken to avoid the repeat of the potential misuse of TSP Information or improper or unauthorised access to TSP Systems and TSP Information.

14.3 	If any audit or investigation reveals that there is a potential risk to the confidentiality, integrity or availability of TSP Information in the Vendor’s processes or Vendor Systems, Vendor shall promptly correct any security risk in the Vendor’s processes or Vendor Systems promptly.

14.4 	During investigation, the Vendor shall co-operate with TSP, providing reasonable access, accommodation, facilities and assistance to all Vendor Systems as reasonably necessary to investigate the breach of the provisions of this Agreement including permitting interview of any sales, engineering or other operational personnel of Vendor. TSP shall, or at TSP’s request shall instruct the Vendor to, confiscate for evaluation any tangible or intangible asset suspected to have been used for information/ security breach or provide lead to investigation belonging to the Vendor or its subcontractor to aid the investigation.

15. 	Limitation of Liability

The aggregate liability of the Vendor to the TSP in respect of any breach of obligations under this Agreement shall not exceed the sum of Rs. 50,00,00,000 (Rupees Fifty Crores only) per breach, provided that such limitation shall not apply to claims arising pursuant to Clauses 10 and Clause 11.2 or pursuant to any other Clause where such limitation is expressly excluded.

16.	Term and Termination

16.1	This Agreement shall be effective from the Commencement Date .Notwithstanding anything contained herein or in the Contract, this Agreement shall survive till any equipment is working, which is supplied and served by the Vendor under this Contract or for a period of ten years after signing of this Agreement whichever is later (“End Date”).

16.2	This Agreement may also be terminated in the event it is so determined by the Licensor or under Applicable Laws.

16.3	The termination of this Agreement shall be without prejudice to the rights and obligations of the parties which have accrued up to the date of termination.

17.	Indemnity

17.1	The Vendor shall indemnify and hold harmless the TSP and its employees, agents, shareholders, directors, representatives, against any claims or penalty or consequence arising out of breach of the security related terms of the license granted by the Licensor as a result of breach or non-compliance by the Vendor with its obligations in this Agreement.

17.2	It is clarified that any expenditure incurred by the TSP for complying with security related provisions as prescribed under Applicable Law shall be borne by the Vendor. In the event there is a breach of the security related provisions as prescribed under Applicable Laws, any penalty imposed by the DoT on the TSP shall be paid by the Vendor to the TSP. Further, any testing of Vendor’s equipment including requirement of testing equipment shall be met by Vendor at his own cost.

18.	 Governing Law

This Agreement shall be governed by laws of India and the  Parties agree to the exclusive jurisdiction of the Indian courts where the registered office of the TSP is situated.

19.	Arbitration

19.1	In the event of any question, dispute or difference arising under this Agreement or in connection there-with, the same shall be referred to the sole arbitration of the CMD,BSNL or in case his designation is changed or his office is abolished, then in such cases to the sole arbitration of the officer for the time being entrusted (whether in addition to his own duties or otherwise) with the functions of the CMD, BSNL or by whatever designation such an officer may be called (hereinafter referred to as the said officer), and if the  CMD, BSNL or the said officer is unable or unwilling to act as such, then to the sole arbitration of some other person appointed by the CMD, BSNL or the said officer. The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act 1996. There will be no objection to any such appointment on the ground that the arbitrator is a government servant or that he has to deal with the matter to which the agreement relates or that in the course of his duties as  a government servant he has expressed his views on all or any of the matters in dispute. The award of the arbitrator shall be final and binding on both the parties to the agreement. In the event of such an arbitrator to whom the matter is originally referred, being transferred or vacating his office or being unable to act for any reason whatsoever, the CMD, BSNL or the said officer shall appoint another person to act as an arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stage at which it was left out by his predecessors.

19.2	The arbitrator may from time to time with the consent of both the Parties enlarge the time frame for making and publishing the award. Subject to the aforesaid,  Arbitration and Conciliation Act, 1996 and the rules made there under, any modification thereof for the time being in force shall be deemed  to apply to the arbitration proceeding under this clause.

19.3	The venue of the arbitration proceeding shall be the office of the CMD BSNL), BSNL Corporate Office, New Delhi or such other places as the arbitrator may decide.

20 	Notices

20.1	Any notice, documents, information, direction and any other communications required or permitted to be (or such other addresses as specified in writing by the respective Party from time to time) hereunder shall be sent in writing and sent by registered post, courier and or by facsimile transmission or delivered personally by hand or sent by email addressed to the other Party to the relevant addresses set out below at the following addresses:

If to the TSP:

Bharat Sanchar Nigam Limited

2nd Floor, Bharat Sanchar Bhavan

HC Mathur Lane

New Delhi 110001

Attention: [●]

Fax:          [●]

Email:	     [●]

If to the Vendor:

[Name]

[Address}

Attention: [●]

Fax:          [●]

Email:	     [●]

20.2	Any such notices and other documents shall:

(a)	if delivered by hand, be deemed to have been given and received at the place of receipt on the date of delivery;

(b)	if mailed by post or couriered, be deemed to have been given and received at the place of delivery on the date of delivery.

(c)	if given by facsimile transmission be deemed to have been given and received, at the place of receipt on the date as shown in the facsimile transmission report; and

(d)	if given by e-mail be deemed to have been given and received at the place mentioned in Clause 19 above on the same day.

20.3	Either Party shall inform the other of any change in its address above through a notice in writing to the other Party in the manner set forth above.

IN WITNESS WHEREOF THE PARTIES HAVE CAUSED THESE PRESENTS TO BE EXECUTED ON THE DAY, MONTH AND YEAR HEREINBELOW WRITTEN TO BE EFFECTIVE FROM THE DATE FIRST MENTIONED ABOVE

| SIGNED for and on behalf of Bharat Sanchar Nigam Limited …………………………………………….. Signature …………………………………………… Name …………………………………………… Position …………………………………………..... Witness Signature …………………………………………… Name & Address | SIGNED for and on behalf of [●] …………………………………………….. Signature …………………………………………….. Name …………………………………………….. Position …………………………………………..... Witness Signature …………………………………… Name & Address |
| --- | --- |

***********************