Presentation of the Tool

Quality laboratory testing is essential in order to reach the goal of TB elimination. Continual improvements in laboratory testing and standardization must be maintained to ensure quality data is obtained for clinical trials and that sponsors have sufficient confidence in the data to advance products that can ultimately be used to improve TB treatment and control. Thus, it is imperative that the laboratory provides clinical trial sponsors with accurate test results (e.g. smear, culture, drug susceptibility and molecular results) within acceptable turn-around times while providing a safe work environment for laboratory personnel.  This self-assessment tool is designed to capture information on best-practices in your laboratory and allows the sponsor an opportunity to review your procedures.

The purpose of this assessment tool is to provide you with guidance on how to get ready for TB clinical research trials, to help you identify any areas for improvement, and to help you determine whether additional resources should be sought to address any identified areas for improvement.  As a result, there are no wrong answers to the questions and this is NOT a report card. Rather, the document attempts to match your laboratory’s specific capabilities with future clinical research needs.

This document should be completed by the laboratory director/manager and covers the minimum required information for a standard useful laboratory assessment.  Additional data may be collected through an on-site audit by a qualified auditor. This tool focuses on the following areas.

1. Structural, functional and policy profile of the TB laboratory network

2. Quality assurance programme

3. Laboratory performance analysis

4. Human resource development

5. Procurement of laboratory equipment and supplies

6. Safety measures and practices

7. Data management

MYCOBACTERIOLOGY LABORATORY

Laboratory Name:

Laboratory Director:

Laboratory Manager (if 2 positions):

Investigational Site & Investigator Name:

Physical Address of Laboratory:

Room number identifier:

Postal Address of Laboratory:

Contact details of Laboratory Director:

Tel no:					+

Cell no:					+

Fax no:					+

E-mail:

Contact details of Laboratory:

Tel no:					+

Cell no:					+

Fax no:					+

E-mail:

Web site:

Research History

Describe TB relevant Research (e.g., drug trials, vaccine studies, diagnostic test/kit evaluations) performed by this Laboratory during the past 5 years.

Describe the Laboratory Methods performed in Clinical Research Studies performed at this Site.

List the Publications relevant to the Clinical Research Studies.

Laboratory Staff

Is an Organizational Chart of the Laboratory available?

Yes / No

Is there a/ an:

- Assistant Lab Manager		Yes / No,  Name:

- QA / QC Technologist		Yes / No, Name:

- Safety Officer			Yes / No, Name:

Indicate whether Staff are Registered with a Health Professions Council or similar Regulatory Board within the Country:

Yes / No

Are current Job Descriptions with Responsibilities available for each Staff Member?

Yes / No

Are Summaries of Experience (e.g., CVs) available for each Staff Member?

Yes / No

Are Competency Assessments of Staff performed Annually?

Yes / No

Describe Experience and Qualifications of all Staff involved with Clinical Drug Trial Analysis

| Name | Qualification | Length of Employment | Experience in Clinical Trials | GCLP and/or GCP Trained | IATA Trained |
| --- | --- | --- | --- | --- | --- |

Training

Do the Laboratory Personnel receive Refresher Courses (e.g. safety, GCLP, instrumentation)?

Yes / No

If yes, Describe the type of Refresher Courses provided:

If yes, who provides these Refresher Courses?

Are complete Training Records maintained for all Laboratory Staff?

Yes / No

If yes, do the Training Records include Initial Qualification Training for the Assigned Areas?

Yes / No

If yes, do the Training Records include Refresher Training for the Assigned Areas?

Yes / No

Do you practice Cross Training in the Laboratory?

Yes / No

Mycobacteriology Laboratory Facilities

Does this Laboratory provide diagnostic service?

Yes / No

If yes, what is the Extent of Diagnostic Service that the Laboratory provides?

- Isolation, Identification and Drug Susceptibility Testing (DST) of M Tuberculosis

Yes / No

- Isolation, Identification of M tuberculosis with DST done by a Reference Laboratory

Yes / No

- Isolation, Identification of Atypical Mycobacteria (NTM/MOTT) with DST done by a Reference Laboratory

Yes / No

- Acid Fast Stain, Isolation of Mycobacteria with Identification and DST done by a Reference Laboratory

Yes / No

Please attach the CV of Laboratory Director / Manager

What are the Working Hours of the Laboratory?

Mon - Fri:

Sat - Sun:

Holidays:

How far is the Laboratory from the clinic (sample collection)?

Distance:

Delivery Time (with range for multiple clinics):

Describe the plans for preventing unauthorized entry into the laboratory area.

Describe the availability of clean, distilled, or sterile water.

Describe the availability and reliability of electric power, and the backup procedures in case of power failure.

Are there adequate Facilities for (please comment on any “No” response):

|  |  | Comments |
| --- | --- | --- |
| Controlled Receipt and appropriate Storage of Materials, Samples and Supplies? | Yes / No |  |
| Kit Production and Dispatch? | Yes / No |  |
| Processing and Analysis of Specimens? | Yes / No |  |
| Maintenance and Operation of Equipment? | Yes / No |  |
| An appropriately Controlled Environment for Central Computer Systems? | Yes / No |  |
| Maintenance and Storage of Data and Records? | Yes / No |  |
| Report Collation? | Yes / No |  |
| Good Housekeeping Practices? | Yes / No |  |

BIOSAFETY

Environmental Infection Control

What is the Biosafety level of the TB Facility?

BSL2       			Yes/ No

BSL3				Yes/ No

BSL2 and BSL3 rooms		Yes/ No

Is Airflow monitored?

Yes / No

Briefly describe Workflow. Is it designed to separate work according to Density of Mtb in Samples and Exposure Risk, e.g., Separate work with low numbers of Mtb (Clinical Specimens) from high numbers of Mtb (ID and DST)?

How often are Safety Inspections carried out?

Is there a Biosafety Cabinet (BSC)?

How many?

What Type / Class?

Frequency of Re-certification?

Is the Certification Sticker posted on the BSC?

Yes / No

Is there a Disposal Container for Infectious Materials in the BSC?

Yes / No

Are UV Lights mounted in the Biosafety Cabinet(s)?

Yes / No

Are there UV Lights mounted in the Laboratory?

Yes / No

Are Centrifuges used with Biosafety Lids and Canisters?

Yes / No

Is the Autoclave monitored for Sterilization (Spore Test Performed)?

Yes / No

Frequency:

Are the Work benches / Biosafety Cabinets disinfected?

Yes / No

If yes, at what frequency using which disinfectant?:

Personal Protective Apparel and Respiratory Protection

Are Protective Apparel requirements clearly posted and available at all times?

Yes / No

If no, please specify:

Do the Staff use the following Apparel while working with TB Specimens / Cultures:

Gloves? 		Yes / No

Eye protection?              Yes / No

Gowns? 		Yes / No

Shoe covers? 		Yes / No

Hair covers? 		Yes / No

Are Laboratory Personnel provided N-95, FFP-2, or Equivalent Respirators?

Yes / No

If yes, have they been Fit-tested for Personal use?

Yes / No

If Respirators are used, have the Staff received Training on the proper use of these Respirators?

Yes / No

If yes, are Staff wearing the Respirators while handling TB Specimens / Cultures?

Yes / No

Biosafety Practices / Infection Control Procedures

Does the Laboratory have SOP’s for working in the Containment Area and in BSC?

Yes / No

Are TB Specimens handled only in Biosafety Cabinets?

Yes / No

Do Staff work in a manner to minimize Aerosols?

Yes / No

Do Staff use Appropriate Practices to avoid Interruption of Airflow (Placement of Specimens, Reagents, Equipment; Hand / Arm Movement) while working in a Biosafety Cabinet?

Yes / No

Are Staff monitored to ensure these Practices are maintained?

Yes / No

What is the Training Program for new Staff working in the Containment Area?

Are Staff monitored periodically for Competency while working in this Area?

Yes / No

Have there been any Laboratory-acquired TB (Infection or Disease) in this Laboratory?

Yes / No

If yes, please describe.

Equipment

Describe Equipment available, Tests that can be performed (if applicable), Capacity of the Equipment as well as the Back-up laboratory:

| Equipment / Machine | Functionality of Machine | Tests | Capacity | Back-up |
| --- | --- | --- | --- | --- |

Specimens

Is there a System in place for Tracking Specimens from the point at which they are collected, through Testing, Storage, and / or Shipping?

- Collected at the Site			Yes / No

- Shipped to the Laboratory		Yes / No

- Received at the Laboratory		Yes / No

- Processed at the Laboratory		Yes / No

- Results reported to the Site		Yes / No

Kit Supplies

Can Kit Supplies be provided (e.g., specimen collection)?

Yes / No

If yes, Kit Type:

Quality Management of Equipment

Are Quality Control Records/Service Checks available for:

Microscopes?

Are microscopes cleaned and maintained?     			Yes / No
How often (frequency) are they cleaned and maintained:________________

Centrifuges?

Are the centrifuges checked for speed accuracy?		Yes / No

How often (frequency) are they checked:   ________________

Are the centrifuges cleaned and maintained?     			Yes / No
How often (frequency) are they cleaned and maintained:________________

If refrigerated, is the temperature checked?			Yes / No

How often (frequency) are they checked:________________

Incubators?

Are the incubators cleaned and maintained?     			Yes / No
How often (frequency) are they cleaned and maintained: ________________

Are the incubator temperatures checked?			Yes / No

How often (frequency) are they checked:________________

Refrigerators?

Are the refrigerators cleaned and maintained?     		Yes / No
How often (frequency) are they cleaned and maintained: ________________

Are the refrigerator temperatures checked?			Yes / No

How often (frequency) are they checked:________________

Freezers?

Are the freezers cleaned and maintained?     			Yes / No
How often (frequency) are they cleaned and maintained:________________

Are the freezer temperatures checked?				Yes / No

How often (frequency) are they checked:________________

Alarms?

Is there an alarm system on the equipment? 			Yes / No

If yes, how often is the system checked:________________

Are Thermometers calibrated with an appropriate National / International Standard Thermometer?

Yes / No

Are ambient temperatures recorded in each room?

Yes / No

Do you have a Becton Dickinson service contract for maintaining MGIT 960/320 instrument(s)?

Yes / No

If not, please explain why?

Is Equipment appropriately Validated, Calibrated, and Maintained according to Documented Procedures?

- Micropipettors				Yes / No

- Balances					Yes / No

- Water baths, heat blocks			Yes / No

- Shakers, platform rockers			Yes / No

- Water system (deionized, distilled) 		Yes / No

- Other					Yes / No 	List:

Is there an Equipment Service Program, which lists all relevant items of Equipment and includes a Schedule of Planned Service and Calibration Events?

Yes / No

Quality Assurance

Accreditation / Certification

Is the Laboratory Certified or Accredited?

Yes / No

If yes, which Certifying Body (e.g., CAP, ISO, National Agency / Organization) and date of last Certification?

If no, is the Laboratory Preparing to obtain Certification / Accreditation?

Yes / No

If yes, which Certifying Body and Expected Date to seek Certification?

Quality Control: Internal Quality Control

Are Internal Quality Control Records available?

Yes / No

Does the Laboratory test Culture Media for Sterility and Performance?

Yes / No

Are Control Samples processed along with Patient Specimens?

Positive Sample  	Yes / No

Negative Sample 	Yes/ No

Does the Laboratory use QC slides (pos/neg for AFB) for verifying Microscopy Results?

Yes / No

Does the Laboratory use QC strains for verifying Identification Results?

Yes / No

Does the Laboratory use QC strains for verifying Drug Susceptibility Results?

Yes / No

Does the Laboratory use QC strains or DNA for verifying Molecular Test Results?

Yes / No

Does the Laboratory Collect and Review Cumulative Data to Monitor Recovery Rates (Smear and Culture Positivity) and Contamination Rates?

Yes/ No

Record the latest Recovery and Contamination Rates (monthly, yearly) and Dates.

| Parameter | Rate | Date |
| --- | --- | --- |
| Smear Positive / Culture Positive (Solid medium) |  |  |
| Smear Negative / Culture Positive (Solid medium) |  |  |
| Smear Positive / Culture Positive (Liquid Medium) |  |  |
| Smear Negative / Culture Positive (Liquid Medium) |  |  |
| Culture Positive/ Specimens Cultured (Solid medium) |  |  |
| Culture Positive/ Specimens Cultured (Liquid medium) |  |  |
| Contamination Rate (Solid Medium) |  |  |
| Contamination Rate (Liquid Medium) |  |  |

External Quality Assessment / Proficiency Testing

Does the Laboratory participate in any Proficiency Testing Program?

Yes / No

If yes, which Proficiency Testing Program (e.g., CAP, INSTAND, national organization)?

If yes, with what Frequency (how often test panels received)?

If yes, when did the Laboratory start to Participate?

Please provide the Name the Proficiency Program used for (list all programs):

Microscopy:

Isolation and Identification:

Drug Susceptibility Testing:

Molecular Testing:

Quality Manual

Is there a current Quality Manual available?

Yes / No

Are the following defined in the Manual?

- Mission					 Yes / No

- Organization Chart / Structure		 Yes / No

- Staff Responsibilities/Job Descriptions	 Yes / No

Standard Operating Procedures

Does the Laboratory have written SOP’s?

Yes / No

If yes, are there procedures for all the tests performed?

Yes / No

Are SOP’s available at Point of Use and Easily Accessible?

Yes / No

Are SOP’s periodically Reviewed, Revised and Approved before Release as necessary?

Yes / No

Are the procedures Standardized in Accordance with the WHO/Global Laboratory Initiative Toolbox?

Yes / No

If no, elaborate whether the lab use other standardized procedures?

Are there SOPs for the following procedures:

Sputum Collection and Transport		Yes / No

Sputum Processing				Yes / No

AFB Smear Preparation and Microscopy		Yes / No

MGIT Culture Procedure			Yes / No

Solid Culture Procedure				Yes / No

Mtb Complex Identification			Yes / No

Drug Susceptibility Testing			Yes / No

Quantitative Culture Procedure 			Yes / No

Validation and Reporting of Results		Yes / No

Preparing and Storage of Isolates 		Yes / No

Other relevant SOPs				Yes / No 	If yes, List:

Are the following Procedures documented in SOP’s? (Usually in Quality Management Manual)

| Internal Quality Control | Yes / No |
| --- | --- |
| External Quality Assurance / Proficiency Testing | Yes / No |
| Corrective Actions for Quality Issues and Response to Equipment Failure | Yes / No |
| Staff Training / Qualification of Personnel | Yes / No |
| Competency Assessment of Staff | Yes / No |
| Health and Safety Precautions | Yes / No |
| Internal Audits | Yes / No |
| Validation and Implementation of new Reagents, Tests, and Equipment | Yes / No |
| Data Recording Practices | Yes / No |
| Cleaning and Maintenance of Instrumentation | Yes / No |
| Receipt, Identification and Storage of Samples | Yes / No |
| Operations of Quality Assurance (i.e., Performing and Reporting Audits / Inspections) | Yes / No |
| Authorized access to Equipment | Yes / No |
| Coding of Studies, Handling of Data | Yes / No |
| Use of Computerized Systems | Yes / No |

Vendor Selection

Does the Laboratory have a system for choosing their Vendors and 3rd Party Laboratories (For Tests that they are not able to perform Locally)?

Yes / No

If yes, is this System documented?

Yes / No

Laboratory Services

Summarize Services and Analyses available:

|  | Yes | How many | No | Alternative if ‘ No’ |
| --- | --- | --- | --- | --- |
| Telephone |  |  |  |  |
| Fax – Plain Paper |  |  |  |  |
| Computers |  |  |  |  |
| Lockable Cupboard |  |  |  |  |
| Blood Draws |  |  |  |  |
| Sputum Collection |  |  |  |  |
| Centrifugation |  |  |  |  |
| Refrigerators |  |  |  |  |
| Freezers - 20 °C |  |  |  |  |
| Freezers - 80 °C |  |  |  |  |
| Back-up Freezers |  |  |  |  |
| Digital Thermometer |  |  |  |  |
| Freezer Alarm |  |  |  |  |
| Back-up Generator Stabilizers (UPS) |  |  |  |  |
| Dry Ice |  |  |  |  |
| Transport / Courier Local, International |  |  |  |  |

Sputum Processing

What Method is used for Decontaminating Sputum Specimens?

What is the final NaOH concentration?

TB Tests

Which tests are available for TB diagnosis and how many are performed monthly:

- Direct AFB smears: 		Yes / No	#/month________

- Concentrated AFB smears: 	Yes / No 	#/month________

- Solid Cultures:			Yes / No	#/month________

- Liquid Cultures:			Yes / No	#/month________

- Identification:			Yes / No	#/month________

- Drug Susceptibility Testing:		Yes / No	#/month________

- Hain LPA MTBDR plus:		Yes / No	#/month________

- Hain LPA MTBDRsl:		Yes / No	#/month________

- GeneXpert:			Yes / No	#/month ________

- QUANTIFeron or T-Spot:		Yes / No	#/month ________

- Other Tests:

Microscopy Methods

What Method(s) is / are used for Staining?

Sputum Smears: ___________________

Positive MGIT Cultures: ______________

Source of Microscopy Staining Reagents?

Commercially purchased

Prepared in-house

What Scoring / Grading System is used for Reporting Results?

WHO/IUATLD

CDC/USPHS

Culture Methods

What Culture method(s) is/are used for isolation of Mtb?

LJ slant

MGIT 960

Manual MGIT

Ogawa slant

7H10/11 agar plate

Other			 List:

Are Culture Media purchased commercially or prepared at Local Laboratory (In-house)?

Are Culture Results reported in a semi-quantitative manner?

Yes / No

Identification Methods

What Method(s) is / are used for Identification?

Biochemicals:		Yes / No

PNB:			Yes / No

MTP64 Antigen Test:	Yes/ No

DNA probes:		Yes / No

Hain LPA MYCCM: 	Yes/ No

PCR:			Yes / No

Other / List:

Drug Susceptibility Testing Methods

Is First-line Drug-sensitivity Testing available?

Yes / No

If yes, what Method(s) is / are used for Drug Susceptibility Testing?

| Methodology | Yes / No |
| --- | --- |
| Agar Proportion Method |  |
| Absolute Concentration Method |  |
| LJ Proportion Method |  |
| MGIT 960 |  |
| Molecular (Inno-LiPA, HAIN) |  |

What Method is performed for First-line DST (Direct / Indirect)?

Which of the following First-line Drugs are tested? Provide their Critical Concentrations.

Concentration

Streptomycin		      _______________

Isoniazid		      _______________

Rifampicin		      _______________

Ethambutol		      _______________

Pyrazinamide		      _______________

If Isolate is Drug Resistant, is DST performed again using the same Method or another Method?

Yes / No

If Isolate is Resistant to First-line Drugs, is Isolate tested with Second-line Drugs?

Yes / No

If yes, what Method(s) is / are used for Second-line DST?

| Methodology | Yes / No |
| --- | --- |
| Agar Proportion Method |  |
| Absolute Concentration Method |  |
| LJ Proportion Method |  |
| MGIT 960 |  |
| Molecular (Inno-LiPA, HAIN) |  |

Which of the following Second-Line Drugs are tested? Provide their Critical Concentrations?

Concentration						Concentration

Amikacin	      _______________		Ofloxacin	      _______________

Kanamycin	      _______________ 		Moxifloxacin	      _______________

Capreomycin	      _______________		Ethionamide	      _______________

PAS		      _______________		Cycloserine	      _______________

Levofloxacin	      _______________		Other:

Are MIC’s performed?

Yes / No

Special Tests / Procedures

Are Quantitative Sputum Cultures done in this Laboratory?

Yes / No

If yes, please elaborate:

If no, please answer the following questions. These tasks require similar skills to those used in performing quantitative (CFU) culture.

Use of solid agar-base media for MTB isolation and counting colonies:

- Have you used agar media such as Middlebrook 7H10 or 7H11 for sputum culture?

Yes / No

- Have you performed drug susceptibility testing according to the proportion method using agar media?

Yes / No

Preparation of agar-base media/antibiotic containing media:

- Have you prepared agar plates (7H10, 7H11)?

Yes / No

- Have you prepared media (LJ, agar, liquid) containing antibiotics?

Yes / No

- If you have made media with antibiotics, were the antibiotics in disk form (Selectatabs) or drug powders?

Pipetting skills:

- Have you performed procedures that require pipetting precise volumes?

Yes / No

- Have you performed serial dilutions?

Yes / No

Are other Procedures or Tests related to Mtb performed in the Laboratory?

MODS

Nitrate Reductase Assay

Direct MTB Amplification Test		 (e.g., Roche Amplicor, Cobas, ProbeTec, Gen-Probe AMTD)

Mycobacterial speciation by HPLC

Other Tests					 List:

Is Mtb Strain Typing available?

Yes / No

If yes, which Genotyping Method(s) is/ are used?

Turnaround Time for Reporting Results

What is the average Turnaround time for?

AFB Smear Results:      _______________

Culture Results:      _______________

DST Results:      _______________

Storage of TB Isolates

How are Isolates prepared for Long-term Storage in a Freezer?

Media type:      _______________

Volume:      _______________

Temperature:      _______________

Describe the Tracking System used to catalogue the Isolates:

Administrative

Reporting

What is the Procedure for Reporting Results?

How is Confidentiality ensured on the Reported Results?

Record Retention

How are Laboratory Records stored?

What Storage Facilities are used and what Systems are in place to ensure the Safekeeping of the Records?

Are Electronic Records retained under Equivalent Controls, in accordance with Regulatory Requirements relating to the Generation and Use of Electronic Records?

Yes/ No

Does Electronic Record Retention utilize Media that is suitable for Long-term Storage and Retrieval of Data?

Yes/ No

Are the following Records retained?

| Records | Retention Time |
| --- | --- |
| Analytical Raw Data / Results Records of all Audits by the Quality Audit Function Qualifications, Training, Experience and Job Description of Personnel Maintenance and Calibration Records Historical File of SOP’s including Index Results of all QC test Results to confirm Accuracy of Work Performed |  |

Documentation

Does the Data Recording Procedure specify requirements consistent with Good Data Recording Practice?

Yes / No

Do Automated Systems in use comply with Good Practices Standards with regard to the Development, Testing, Introduction and use of Computerized Systems, and do they follow relevant Regulatory Requirements for Electronic Records and Electronic Signatures?

Yes / No

Is there a System in place to verify Correct Results are recorded on Final Record?

Yes / No

Computerized System

Are Procedures in place to assure that Computerized Systems are Acquired, Developed, Tested, Released, Used, Maintained and Retired according to Procedures in line with established Good Practice Standards and expectations?

Yes / No

Are Computerized Systems housed in suitable Locations, with Back-up Systems and / or Uninterruptible Power Supplies (UPS) in place where System Failure could potentially affect the results of Studies?

Yes / No

Are Disaster Recovery Procedures in place for Critical Systems and are they regularly tested?

Yes / No

Is access to Computerized Systems controlled via appropriate Physical and Logical Security Measures?

Yes / No

Do Procedures define Software Development / Coding Standards, Test / Validation Requirements and the Responsibilities of all Groups involved in the use of Computerized Systems (IT, Users, QA)?

Yes / No

Product Identification & Traceability

Are Chemicals, Reagents and Solutions labelled to indicate their:

Identity:						Yes / No

Concentration:					Yes / No

Storage Conditions:				Yes / No

Fitness for Purpose:				Yes / No

(Received, Opened and Expiry dates)

Do Products and Records allow for the Identification of all Materials used in a Project, e.g., Kit Components, Analytical Standards, Lot Numbers and Quality Controls, such that it will always be possible to retrospectively determine which Components were used in a given Study?

Yes / No