Pre-Beam Tunnel Check List for 2007 LCLS Commissioning

Nov. 27, 2006

(all Z-locations are measured from the cathode along the beam path)

Gun & GTL Beam Line:

SOL1BK (solenoid bucking coil):

SOLN: IN20:111

Z-location = 0	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? (ser. #?)	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 11) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SOL1 (gun solenoid magnet):

SOLN:IN20:121

Z-location = 0.20 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001099 (ser. #2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 11) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

CQ01 (gun solenoid quad trim):

QUAD:IN20:121

Z-location = 0.20 m (inside SOL1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SQ01 (gun solenoid skew-quad trim):

QUAD:IN20:122

Z-location = 0.20 m (inside SOL1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 9) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC00 (gun solenoid x-steering coil):

XCOR:IN20:121

Z-location = 0.20 m (inside SOL1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC00 (gun solenoid y-steering coil):

YCOR:IN20:122

Z-location = 0.20 m (inside SOL1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

VV01 (gun vacuum valve):

VVPG:IN20:BL155

Z-location = 0.38 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

air line connected 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

responds to controls (pneumatic) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

AM00 (cathode laser mirrors):

Z-location = 0.49 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

both windows clear and unobstructed	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

AM01 (alignment laser mirror):

MIRR:IN20:191

Z-location = 0.60 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

window clear and unobstructed	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YAG01 (GTL YAG screen):

YAGS:IN20:211

Z-location = 0.61 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

FC01 (GTL Faraday cup):

FARC:IN20:212

Z-location = 0.62 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves with YAG01 (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

IM01 (GTL current monitor toroid):

TORO:IN20:215

Z-location = 0.71 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM2 (1st GTL BPM):

BPMS:IN20:221

Z-location = 0.84 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Serial # SA-380-514-50-01	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on downstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC01 (GTL type-1g x-steering coil):

XCOR:IN20:221

Z-location = 0.84 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC01 (GTL type-1g y-steering coil):

YCOR:IN20:222

Z-location = 0.84 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Gun-Spectrometer Branch Line:

BXG (gun-spectrometer dipole magnet & trim):

BEND:IN20:231

BTRM:IN20:231

Z-location = 1.13 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? (ser. #?)	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main polarity OK (Fig. 3) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim polarity OK (Fig. 3) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QG02 (1st gun-spectrometer quadrupole magnet):

QUAD:IN20:811

Z-location = 1.45 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001031 (ser. #2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCG1 (QG02 x-steering coil):

XCOR:IN20:811

Z-location = 1.45 m (windings on QG02) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 5) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCG1 (QG02 y-steering coil):

YCOR:IN20:812

Z-location = 1.45 m (windings on QG02) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 6) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMG1 (1st gun-spectrometer BPM):

BPMS:IN20:821

Z-location = 1.56 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-70-03	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 14) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QG03 (2nd gun-spectrometer quadrupole magnet):

QUAD:IN20:831

Z-location = 1.68 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001032 (ser. #3) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCG2 (QG03 x-steering coil):

XCOR:IN20:831

Z-location = 1.68 m (windings on QG03) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 5) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCG2 (QG03 y-steering coil):

YCOR:IN20:832

Z-location = 1.68 m (windings on QG03) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 6) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YAGG1 (gun-spectrometer YAG screen):

YAGS:IN20:841

Z-location = 1.84 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

CRG1 (gun-spectrometer Cherenkov radiator):

CRAD:IN20:842

Z-location = 1.85 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

FCG1 (gun-spectrometer Faraday cup):

FARC:IN20:898

Z-location = 1.87 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Main Injector Beam Line:

BPM3 (2nd GTL BPM):

BPMS:IN20:235

Z-location = 1.22 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-65-02	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on downstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

CR01 (GTL Cherenkov radiator):

CRAD:IN20:237

Z-location = 1.36 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YAG02 (GTL YAG screen):

YAGS:IN20:241

Z-location = 1.39 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

L0a Input Couplers:

Z-location = 1.52 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SOL2 (L0a solenoid magnet):

SOLN:IN20:311

Z-location = 1.72 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001059 (ser. SI 18425 #1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 11) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC02 (type-1s-L0a x-steering coil on L0a):

XCOR:IN20:311

Z-location = 2.37 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001033	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC02 (type-1s-L0a y-steering coil on L0a):

YCOR:IN20:312

Z-location = 2.37 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001033	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC03 (type-1s x-steering coil on L0a):

XCOR:IN20:341

Z-location = 4.16 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC03 (type-1s y-steering coil on L0a):

YCOR:IN20:342

Z-location = 4.16 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YAG03 (L0a/L0b YAG screen):

YAGS:IN20:351

Z-location = 4.62 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QA01 (1st L0a/L0b ‘ET’ quadrupole magnet):

QUAD:IN20:361

Z-location = 4.86 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000408 (ser. #001) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

PH01 (beam phase monitor):

TBD

Z-location = 5.00 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

RF and water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QA02 (2nd L0a/L0b ‘ET’ quadrupole magnet):

QUAD:IN20:371

Z-location = 5.18 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000379 (ser. #004) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM5 (QA02 BPM):

BPMS:IN20:371

Z-location = 5.18 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-02-01	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

L0b Input Couplers:

Z-location = 5.36 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC04 (1st type-1s x-steering coil on L0b):

XCOR:IN20:381

Z-location = 5.70 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC04 (1st type-1s y-steering coil on L0b):

YCOR:IN20:382

Z-location = 5.70 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC05 (2nd type-1s x-steering coil on L0b):

XCOR:IN20:411

Z-location = 8.00 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001035	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC05 (2nd type-1s y-steering coil on L0b):

YCOR:IN20:412

Z-location = 8.00 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001035	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QE01 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:425

Z-location = 8.49 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000381 (ser. #003) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM6 (QE02 BPM):

BPMS:IN20:425

Z-location = 8.49 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-03-01	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on downstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

IM02 (current monitor toroid):

TORO:IN20:431

Z-location = 8.62 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

VV02 (vacuum valve):

VVPG:IN20:BL435

Z-location = 8.75 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

air line connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

responds to controls (pneumatic) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QE02 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:441

Z-location = 8.90 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000382 (ser. #013) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YAG04 (injector YAG screen):

YAGS:IN20:471

Z-location = 10.24 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

TCAV0 (55-cm long transverse deflecting cavity):

TBD

Z-location = 11.14 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

RF wave-guide connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC06 (type-1t x-steering coil on TCAV0):

XCOR:IN20:491

Z-location = 11.14 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001061	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC06 (type-1t y-steering coil on TCAV0):

YCOR:IN20:492

Z-location = 11.14 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001061	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QE03 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:511

Z-location = 11.57 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000383 (ser. #010) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM8 (QE03 BPM):

BPMS:IN20:511

Z-location = 11.57 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-03-02	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on downstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC07 (type-1a x-steering coil):

XCOR:IN20:521

Z-location = 11.78 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001037	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC07 (type-1a y-steering coil):

YCOR:IN20:522

Z-location = 11.78 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001037	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QE04 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:525

Z-location = 11.97 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000386 (ser. #011) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM9 (QE04 BPM):

BPMS:IN20:525

Z-location = 11.97 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-03-03	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on downstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

WS01 (wire scanner):

WIRE:IN20:BL531

Z-location = 12.17 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 16) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

wire travels in & out properly (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

OTR1 (injector OTR screen):

OTRS:IN20:541

Z-location = 12.32 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

VV03 (vacuum valve):

VVPG:IN20:BL545

Z-location = 12.43 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

air line connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

responds to controls (pneumatic) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

RST1 (backwards radiation stopper):

STPR:IN20:BL551

Z-location = 13.84 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

responds to controls (leave in OUT pos.) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

WS02 (wire scanner):

WIRE:IN20:BL561

Z-location = 14.08 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 16) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

wire travels in & out properly (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

OTR2 (injector OTR screen):

OTRS:IN20:571

Z-location = 14.24 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM10 (BPM):

BPMS:IN20:581

Z-location = 14.40 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-01	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

WS03 (wire scanner):

WIRE:IN20:BL611

Z-location = 16.00 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 16) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

wire travels in & out properly (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

OTR3 (injector OTR screen):

OTRS:IN20:621

Z-location = 16.15 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM01 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:631

Z-location = 16.36 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000385 (ser. #012) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM11 (QM01 BPM):

BPMS:IN20:631

Z-location = 16.36 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-02	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC08 (type-1a x-steering coil):

XCOR:IN20:641

Z-location = 16.59 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC08 (type-1a y-steering coil):

YCOR:IN20:642

Z-location = 16.59 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

VV04 (vacuum valve):

VVPG:IN20:BL635

Z-location = 16.74 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

air line connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

responds to controls (pneumatic) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM02 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:651

Z-location = 16.91 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000387 (ser. #009) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM12 (QM02 BPM):

BPMS:IN20:651

Z-location = 16.91 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-03	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SA-Spectrometer Branch Line:

XCS1 (type-1a SAB x-steering coil):

XCOR:IN20:911

Z-location = 17.99 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCS1 (type-1a SAB y-steering coil):

YCOR:IN20:912

Z-location = 17.99 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

VVS1 (SAB vacuum valve):

VVPG:IN20:IS915

Z-location = 18.44 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

air line connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

responds to controls (pneumatic) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YAGS1 (1st SAB YAG screen):

YAGS:IN20:921

Z-location = 18.59 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMS1 (1st SAB BPM):

BPMS:IN20:925

Z-location = 18.76 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-06	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BXS (SAB spectrometer dipole magnet):

BEND:IN20:931

Z-location = 19.28 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? (ser. #?)	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1 – no trim coils) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QS01 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:941

Z-location = 20.08 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000391 (ser. #008) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMS2 (QS01 BPM):

BPMS:IN20:945

Z-location = 20.08 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-07	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 14) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCS2 (type-1a SAB x-steering coil):

XCOR:IN20:951

Z-location = 20.34 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCS2 (type-1a SAB y-steering coil):

YCOR:IN20:952

Z-location = 20.34 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QS02 (injector ‘ET’ quadrupole magnet):

QUAD:IN20:961

Z-location = 20.59 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000380 (ser. #015) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

IMS1 (SAB current monitor toroid):

TORO:IN20:971

Z-location = 20.93 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMS3 (last SAB BPM):

BPMS:IN20:981

Z-location = 21.19 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-08	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 14) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YAGS2 (2nd SAB YAG screen):

YAGS:IN20:995

Z-location = 21.42 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

OTRS1 (SAB OTR screen):

OTRS:IN20:991

Z-location = 21.80 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SDMP (SAB dump):

DUMP:IN20:999

Z-location = 22.33 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Main Injector/Linac Beam Line:

BX01 (1st DL1 dipole magnet & trim):

BEND:IN20:661

BTRM:IN20:661

Z-location = 17.29 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000436 (ser. #C15484) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

OTR4 (DL1 OTR screen):

OTRS:IN20:711

Z-location = 17.79 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC09 (type-1a DL1 x-steering coil):

XCOR:IN20:721

Z-location = 17.95 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC09 (type-1a DL1 y-steering coil):

YCOR:IN20:722

Z-location = 17.95 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QB (DL1 ‘QE’ quadrupole magnet):

QUAD:IN20:731

Z-location = 18.17 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000017 (ser. #E-230) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM13 (QB BPM):

BPMS:IN20:731

Z-location = 18.17 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-45-01	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 14) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

WS04 (wire scanner):

WIRE:IN20:BL741

Z-location = 18.52 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 15) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

wire travels in & out properly (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BX02 (2nd DL1 dipole magnet):

BEND:IN20:751

Z-location = 19.06 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000437 (ser. #A15483) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim should not be connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC10 (type-1a x-steering coil):

XCOR:IN20:761

Z-location = 19.35 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC10 (type-1a y-steering coil):

YCOR:IN20:762

Z-location = 19.35 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM03 (‘ET’ quadrupole magnet):

QUAD:IN20:771

Z-location = 19.57 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000384 (ser. #014) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM14 (QM03 BPM):

BPMS:IN20:771

Z-location = 19.57 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-04	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM04 (‘ET’ quadrupole magnet):

QUAD:IN20:781

Z-location = 19.98 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000388 (ser. #005) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM15 (QM04 BPM):

BPMS:IN20:781

Z-location = 19.98 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-05	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

IM03 (current monitor toroid):

TORO:IN20:791

Z-location = 20.17 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC11 (type-1s x-steering coil):

XCOR:LI21:101

Z-location = 20.78 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC11 (type-1s y-steering coil):

YCOR:LI21:102

Z-location = 20.78 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QA11 (‘ET’ quadrupole magnet):

QUAD:LI21:131

Z-location = 23.29 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000423 (ser. #018) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMA11 (QA11 BPM):

BPMS:LI21:131

Z-location = 23.29 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-01-01	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCA11 (type-1s QA11 x-steering coil):

XCOR:LI21:135

Z-location = 23.83 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCA11 (type-1s QA11 y-steering coil):

YCOR:LI21:136

Z-location = 23.83 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QA12 (‘ET’ quadrupole magnet):

QUAD:LI21:161

Z-location = 26.33 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000427 (ser. #016) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMA12 (QA12 BPM):

BPMS:LI21:161

Z-location = 26.33 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-01-02	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCA12 (type-1s QA12 x-steering coil):

XCOR:LI21:165

Z-location = 26.79 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001036	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCA12 (type-1s QA12 y-steering coil):

YCOR:LI21:166

Z-location = 26.79 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001036	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC21203 (type-4 y-steering coil):

YCOR:LI21:203

Z-location = 28.79 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC21202 (type-4 x-steering coil):

XCOR:LI21:202

Z-location = 29.08 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

VVX1 (vacuum valve):

VVMG:LI21:BL175

Z-location = 29.56 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

status readback OK (manual gate valve) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

X-band RF Structure:

TBD

Z-location = 30.05 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

RF and water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCM11 (type-1x X-band struc. x-steering coil):

XCOR:LI21:191

Z-location = 30.05 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 002202	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCM11 (type-1x X-band struc. y-steering coil):

YCOR:LI21:192

Z-location = 30.05 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 002202	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

VVX2 (vacuum valve):

VVMG:LI21:BL195

Z-location = 30.56 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

status readback OK (manual gate valve) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Q21201 (‘QE’ quadrupole magnet):

QUAD:LI21:201

Z-location = 30.73 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000370 (ser. #QE-072) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7 - SLC setting) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

both power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM21201 (Q21201 BPM):

BPMS:LI21:201

Z-location = 30.73 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-45-02	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

IMBC1I (1st BC1 current monitor toroid):

TORO:LI21:205

Z-location = 30.87 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM11 (‘ET’ quadrupole magnet):

QUAD:LI21:211

Z-location = 31.20 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000389 (ser. #007) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BX11 (BC1 dipole magnet & trim):

BEND:LI21:215

BTRM:LI21:215

Z-location = 31.48 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001077 (ser. #42608-4) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

CQ11 (tweaker quadrupole magnet):

QUAD:LI21:221

Z-location = 31.88 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001026 (ser. #2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BX12 (BC1 dipole magnet):

BEND:LI21:231

Z-location = 34.13 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001076 (ser. #42608-3) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main polarity OK (Fig. 3) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim should not be connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMS11 (BC1 BPM):

BPMS:LI21:233

Z-location = 34.48 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-505-90	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

special color-coding ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

CE11 (BC1 x-collimator jaw pair):

COLL:LI21:235

Z-location = 34.65 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

left jaw moves in & out (left in “out” pos.) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

right jaw moves in & out (left in “out” pos.) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

OTR11 (BC1 OTR screen):

OTRS:LI21:237

Z-location = 34.83 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (left in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BX13 (BC1 dipole magnet & trim):

BEND:LI21:241

BTRM:LI21:241

Z-location = 35.16 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001079 (ser. #42608-2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main polarity OK (Fig. 3) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim polarity OK (Fig. 3) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

CQ12 (tweaker quadrupole magnet):

QUAD:LI21:251

Z-location = 37.41 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001027 (ser. #1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BX14 (BC1 dipole magnet & trim):

BEND:LI21:261

BTRM:LI21:261

Z-location = 37.81 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001078 (ser. #42608-1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

main power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

trim power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BC1 Chicane:

moves toward wall (leave at x = 230 mm) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

cables strain relieved & clear of motion	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

MPS ion chambers connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Support and stage clear of all debris	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BL11 (bunch length monitor):

BLEN:LI21:265

Z-location = 38.08 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

All 4 filters respond to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

In-vac. mirror inserts & extracts (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

window clear and unobstructed (if visible) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM12 (‘ET’ quadrupole magnet):

QUAD:LI21:271

Z-location = 38.29 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000390 (ser. #006) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCM13 (type-1a x-steering coil):

XCOR:LI21:275

Z-location = 38.52 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001060	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCM12 (type-1a y-steering coil):

YCOR:LI21:276

Z-location = 38.52 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001060	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

IMBC1O (2nd BC1 current monitor toroid):

TORO:LI21:277

Z-location = 38.73 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM13 (‘ET’ quadrupole magnet):

QUAD:LI21:278

Z-location = 38.96 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000392 (ser. #002) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMM12 (QM13 BPM):

BPMS:LI21:278

Z-location = 38.96 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Serial # SA-380-514-00-10	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BL12 (bunch length monitor):

BLEN:LI21:280

Z-location = 39.12 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

4 small waveguides undamaged	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

4 diode cables connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

WS11 (wire scanner):

WIRE:LI21:BL285

Z-location = 39.55 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001069	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 15) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

wire travels in & out properly (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

WS12 (wire scanner):

WIRE:LI21:BL293

Z-location = 41.21 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001072	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 15) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

wire travels in & out properly (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

OTR12 (OTR screen):

OTRS:LI21:291

Z-location = 41.50 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

camera image visible (with reticule) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

illumination lamp lights	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (leave in “out” position) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

PH02 (beam phase monitor):

TBD

Z-location = 41.92 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

RF and water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XC21302 (type-4 x-steering coil):

XCOR:LI21:302

Z-location = 42.22 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YC21303 (type-4 y-steering coil):

YCOR:LI21:303

Z-location = 42.47 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

WS13 (wire scanner):

WIRE:LI21:BL301

Z-location = 42.87 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 001073	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 15) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

wire travels in & out properly (leave out) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Q21301 (‘QE’ quadrupole magnet):

QUAD:LI21:301

Z-location = 43.17 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000371 (ser. #QE-004) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 8 - nominally OFF) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

both power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPM21301 (Q21301 BPM):

BPMS:LI21:301

Z-location = 43.17 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-45-03	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

TD11 (post-BC1 insertable beam stopper):

DUMP:LI21:305

Z-location = 43.89 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

water connected	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

moves in and out (locked in by RP?) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM14 (‘ET’ quadrupole magnet):

QUAD:LI21:315

Z-location = 44.33 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000425 (ser. #021) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

BPMM14 (QM14 BPM):

BPMS:LI21:315

Z-location = 44.33 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Ser. # SA-380-514-00-11	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Installation orientation OK (Fig. 13) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity color-coding OK	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

feed-through on upstream end	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

XCM14 (type-1a x-steering coil):

XCOR:LI21:325

Z-location = 44.61 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 1) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

YCM15 (type-1a y-steering coil):

YCOR:LI21:325

Z-location = 44.61 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code ? 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 2) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

dipole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

QM15 (‘ET’ quadrupole magnet):

QUAD:LI21:335

Z-location = 44.89 m	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

SLAC bar-code 000426 (ser. #023) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

beam-direction arrow OK 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

polarity OK (Fig. 7) 	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

name-label visible on or near device	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

field responds to controls	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

quadrupole field	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power connections tight and clear	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

power cables labeled for polarity	(((((((((((((((((((,  Initials:(((((((,  Date:(((((((((((

Polarity Figures Referred to in Checkout List Above

Figure 1.  A “positive” horizontally bending dipole magnet (above) bends electrons in the +x direction.

Figure 2.  A “positive” vertically bending dipole magnet (above) bends electrons in the +y direction (up).

Figure 3.  A “negative” horizontally bending dipole magnet (above) bends electrons in the x direction.

Figure 4.  A “negative” vertically bending dipole magnet (above) bends electrons in the y direction (down).

Figure 5.  Special quadrupole magnet additionally wound with dipole steering coils rotated by 45 degrees.  The case above is defined as the “XCOR”.

Figure 6.  Special quadrupole magnets additionally wound with dipole steering coils rotated by 45 degrees.  The case above is defined as the “YCOR”.

Figure 7.  A “positive” normal quadrupole magnet (above) focuses electrons in x (a ‘QF’ quadrupole).

Figure 8.  A “negative” normal quadrupole magnet (above) focuses electrons in y (a ‘QD’ quadrupole).

Figure 9.  A “positive” skew quadrupole magnet (above) is simply a 45° clockwise-rotated (around z axis) normal “positive” quadrupole.

Figure 10.  A “negative” skew quadrupole magnet (above) is simply a 45° counter-clockwise-rotated (around z axis) normal “positive” quadrupole.

Figure 11.  A “positive” solenoid magnet (above) rotates electrons in a clockwise direction (around z axis as beam leaves observer) with longitudinal magnetic field pointing in direction of beam.

Figure 12.  A “negative” solenoid magnet (above) rotates electrons in a counter-clockwise direction (around z axis as beam leaves observer) with longitudinal magnetic field pointing against direction of beam.

Figure 13.  A BPM (above) as seen down its bore with electron beam emerging from paper.  The BPM is installed in the upright position ( = 0).  The cable color-coding standard is also illustrated.

Figure 14.  A BPM (above) as seen down its bore with electron beam emerging from paper.  The BPM is installed with a 45-degree rotation ( = 45°).  The cable color-coding standard is also illustrated.

Figure 15.  A wire-scanner (above) as seen down its bore with electron beam emerging from paper.  The wire-scanner is installed with a +45° rotation.

Figure 16.  A wire-scanner (above) as seen down its bore with electron beam emerging from paper.  The wire-scanner is installed with a 45° rotation.