Ref: D60F03002

Rev. Date: 09/14/09

# REQUEST FOR FOAM ANALYSIS

## SUBMITTED BY:

Date:

Company Name:

Requestor Name:

Address:

City: 	  State: 	  Zip:

Phone: 	  Fax:

Email:

P.O. Number:

Visa        MasterCard

Credit Card Number: 	Exp Date:

Name on Card:	Signature:

| Sample Number | Sample Source (tank, location, top/bottom) | Strength* (Concentrate or Premix) | Foam Type* (AR-AFFF, AFFF, Protein, FFFP, etc.) | Proportioning Rate* (1%, 3%, 6%, etc.) | Manufacturer, Product & Lot Number |
| --- | --- | --- | --- | --- | --- |

*This information is required for processing. The sample(s) will be analyzed as identified by the requestor. The reported results are valid for the sample as submitted. Assuring that the sample is representative of the storage container is the responsibility of the sampler.

A standard foam analysis will be conducted, which includes refractive index, specific gravity, pH, foam quality, viscosity, film formation, and sedimentation (as applicable). An 8 oz. (250 ml) sample usually is sufficient. Standard analysis cost is $100 per sample. All reports will be returned via email unless otherwise requested.

Check here if a proportioning test is required. Send 1 qt. (1L) of system water and 8 oz. (250 ml) of foam concentrate in addition to the proportioned (premixed) sample above.

Other services are available. If required, please select from the following:

Surface tension and spreading coefficient (quality & film formation indicators): 20% surcharge

Full-scale UL fire test (call for sample requirements and scheduling): $250 min.

Rush analysis & report delivery (2 day turnaround following sample receipt): 50% surcharge

When completed, send this request form, an MSDS, Certificate of Analysis or Technical Datasheet, and the sample(s) to the address below. Insure that all sample containers are (1) permanently labeled and (2) securely packaged to prevent leaks.

Chemguard

204 South 6th Avenue

Mansfield, TX 76063

Attention: FOAM ANALYSIS

Phone: 817.473.9964 / Fax: 817.473.0606