Attendance

Members – 13/21, Correspondents – 0, Guest -- 6

See attached roster.

IEEE-SA Patent Policy

Slides #1 and #2 were displayed on the projector screen.  The text was verbally read to the attendees.  No objection to the Patent Policy was expressed.

Minutes From Tucson, AZ Meeting

Approved as posted.

Report From ADSCOM

- Upgrade to MS Word 2000 & Acrobat Reader 7.0 will be required for future participation in drafting standards.

- Credit card payments & registration fee increase to $150 are expected at the time of the next switchgear meeting.

- No modification to the format of the Ballot Comment Form is permitted.  Comments must be provided using the existing file format.

- Metric only standards have been proposed by some officials at IEEE Headquarters.  Numerous members Switchgear are vehemently opposed to this proposal.

Report From WG PC37.30.1

The document continues with Revision 16 to be posted to the IEEE website during June 2005.  We expect to ballot this document before the next meeting in Montreal, Quebec.  Corrections to the new style format are required prior to the ballot process.  Verification of notes will be conducted.

TF – Wind Loading of HV & EHV Switches

The task force under WG PC37.30.1 continued its investigation concerning whether or not a test code should be established for wind loading of air switches.  There are concerns about high winds forcing switch blades to close in spite of being opened and locked in the decoupled position.  It has been proposed that the TF recommend adoption of 90 mph wind speed as a usual operating condition.

Report From WG IEEE 1247

A re-circulation ballot will again be issued soon.  The new ballot will address negative comments received on the previous re-circulation ballot.

Alexander Dixon

HVS Chair

Vox:	410-922-0014

Fax:	410-655-0014

E-mail:	Dixon.alex@ieee.org

Attachment --HVS Roster

Roster

Legend:

M = Member 		G = Guest		D = Deleted		C = Correspondent 
? = Unknown		P = Present		E = Excused		A = Absent

| LAST_NAME | FIRST_NAME | E-MAIL ADDRESS | PHONE | CAT | ATTEND |
| --- | --- | --- | --- | --- | --- |
| Ambrose | Chris | Chris_ambrose@ieee.org | 561-845-4841 | M | P |
| Angelis | John | jangelis@ieee.org | 262-832-9022 | M | P |
| Bowles | Harvey L. | hbowles@rus.usda.gov | 202-720-0980 | C |  |
| Brisson | Lyne | Brisson.lyne@hydro.gc.ca |  | M | A |
| Brothers | Lowell | 1brothers@royalswitchgear.com | 205-426-4090 | G | P |
| Brown | R. A. | rabrown@hps.hubbell.com | 573-682-8347 | M | P |
| Capra | Raymond | raymoc@aol.com | 925-284-7070 | M | P |
| DeCesaro | Frank | fdecesaro@cooperpower.com | 262-835-1529 | C |  |
| Desai | Bhavin | bdesai@duke-energy.com | 704-382-3616 | M | A |
| Dixon | Alexander | dixon.alex@ieee.org | 410-922-0014 | M | P |
| Dotson | Randy | Randall.Dotson@lakelandelectric.com | 863-834-6494 | M | P |
| Fernihough | Bill | billfern@doble.com | 604-597-6735 | G | P |
| Fortin | Marcel | fortin.marcel@ieee.org | 450-922-0925 | M | E |
| Gavazza | Rick | Rjg4@pge.com | 510-874-2362 | M | P |
| Harless | Ken | ken.harless@ieee.org | 276-688-2212 | M | P |
| Houston | James | jehousto@southernco.com | 205-257-4069 | M | P |
| Hurst | Bill | bhurst@ieee.org | 724-483-7959 | M | P |
| Isaac | Carlos R. | cisaac@oncorgroup.com | 817-215-6370 | C |  |
| Kamber | Ginger | gkamber@ieee.org |  | C |  |
| Konkle | Dan | dkonkle@bridgeselectric.com | 501-362-6266 | G | P |
| Mayle | Frank W. | fmayle@technibus.com | 330-478-6395x6366 | G | P |
| McCord | Neil | neil.mccord@ieee.org | 770-946-4562 | M | E |
| Monroe | Alec C. | amonroe@uscopower.com | 205-592-7241 | M | A |
| Morgan | Pete | pmmorpac@earthlink.net | 520-294-3452 | M | A |
| Ransom | James C. W. | jcwr@worldnet.att.net | 503-292-2435 | M | P |
| Reigart | Carl | creigart@ieee.org | 978-465-4251 | M | P |
| Rostron | Joe | j.rostron@SouthernStatesLLC.Com | 770-946-4562 | C |  |
| Servies | David | dservies@cooperpower.com | 479-587-6334 | M | A |
| Shipley | Melanie | mshiple@entergy.com |  | G | P |
| Stewbrecsher | Brian | bstewbrechsherf@cooperpower.com | 262-691-8221 | G | P |
| White | Trey | twhite@bridgeselectric.com | 501-362-6266 | M | A |
| Wood | John | Jgw5@pge.com | 415-973-3355 | M | P |

## Alexander Dixon

## HVS Chair