|  | Janata Bank Limited Head Office Information Technology System Department 110 Motijheel C/A, Dhaka-1000 Tel: 9553339, 9567442, Fax: 88-02-9564644, Telex: 675840 JBD BJ Website: www.janatabank-bd.com |  |
| --- | --- | --- |

RE-TENDER

TENDER DOCUMENT

FOR THE PROCUREMENT OF

Computer Hardware and Accessories, MICR Machine, Network Device and Connectivity for CDC, DRS, Head Office Departments and Branches of Janata Bank Limited to implement True Online Banking on turn-key basis.

(Open Tendering Method)

Invitation for Tender No: JBL/ITSD/OTM-06/Re-Tender/2009

Issued on: 29/10/2009

Tender Document Issued to: ......................................................................

.......................................................................

.......................................................................

Date:  ...........................

Table of Contents

|  | Invitation for Tenders ................................................................................................... | 1 |
| --- | --- | --- |
|  | Section 1. Instructions to Tenderers ....................................................................... | 3 |
| A. | Genaral ............................................................................................................................. | 3 |
|  |  | Scope of Tender .................................................................................................... | 3 |
|  |  | Source of Funds ................................................................................................... | 3 |
|  |  | Corrupt, Fraudulent, Collusive or Coercive Practices ........................................... | 3 |
|  |  | Eligible Tenderers ................................................................................................. | 5 |
|  |  | Eligible Goods and Related Services .................................................................... | 5 |
|  |  | Site Visit ................................................................................................................ | 6 |
| B. | Tender Document ............................................................................................................ | 6 |
|  |  | Tender Document: Sections ................................................................................. | 6 |
|  |  | Tender Document: Clarification ............................................................................ | 6 |
|  |  | Tender Document: Pre-Tender Meeting ............................................................... | 7 |
|  |  | Tender Document: Amendment ............................................................................ | 7 |
| C. | Qualification Criteria ...................................................................................................... | 8 |
|  |  | General Criteria ..................................................................................................... | 8 |
|  |  | Experience Criteria ................................................................................................ | 8 |
|  |  | Financial Criteria ................................................................................................... | 8 |
| D. | Tender Preparation ......................................................................................................... | 8 |
|  |  | Tender : Only One ................................................................................................. | 8 |
|  |  | Tender: Preparation Costs .................................................................................... | 9 |
|  |  | Tender: Language .................................................................................................. | 9 |
|  |  | Tender: Contents of Tender ................................................................................... | 9 |
|  |  | Tender: Submission Sheet, Price Schedules and Specifications Submission Sheet ........ | 9 |
|  |  | Tender: Alternatives .............................................................................................. | 10 |
|  |  | Tender: Prices and Discounts ................................................................................ | 10 |
|  |  | Tender: Currency ................................................................................................... | 11 |
|  |  | Tenderer: Documents Establishing Eligibility ........................................................ | 11 |
|  |  | Goods and Related Services: Documents Establishing Eligibility ......................... | 11 |
|  |  | Tenderers: Documents Establishing Qualifications .............................................. | 12 |
|  |  | Tenderer: Disqualification ...................................................................................... | 13 |
|  |  | Tender: Validity ..................................................................................................... | 13 |
|  |  | Tender: Security .................................................................................................... | 13 |
|  |  | Tender Format and Signing................................................................................... | 14 |
| E. | Tender Submission ......................................................................................................... | 15 |
|  |  | Tender: Sealing and Marking ................................................................................ | 15 |
|  |  | Tender: Submission Deadline ............................................................................... | 15 |
|  |  | Tender: Submitted Late ........................................................................................ | 16 |
|  |  | Tender: Modification, Substitution or Withdrawal .................................................. | 16 |
| F. | Tender Opening and Evaluation .................................................................................... | 16 |
|  |  | Tender: Opening .................................................................................................... | 16 |
|  |  | Tender: Confidentiality ........................................................................................... | 17 |
|  |  | Tender: Clarification ............................................................................................... | 17 |
|  |  | Tenderer: Contacting the Purchase ....................................................................... | 17 |
|  |  | Tender: Responsiveness ..................................................................................... | 17 |
|  |  | Tender: Non-conformities, Errors, and Omissions ................................................ | 18 |
|  |  | Tender: Correction of Arithmetical Errors .............................................................. | 18 |
|  |  | Tender: Preliminary Examination .......................................................................... | 19 |
|  |  | Tender: Technical Evaluation ................................................................................ | 19 |
|  |  | Tender: Financial Evaluation ................................................................................ | 19 |
|  |  | Tender: No Negotiation ......................................................................................... | 22 |
|  |  | Tender: Comparison .............................................................................................. | 22 |
|  |  | Tenderer: Post-qualification ................................................................................... | 22 |
|  |  | Tenders: Purchaser’s Right to Accept or to Reject Any or All ................................ | 23 |
| G. | Contract Award ............................................................................................................... | 23 |
|  |  | Award Criteria ........................................................................................................ | 23 |
|  |  | Purchaser’s Right to Vary Quantities ..................................................................... | 23 |
|  |  | Notification of Award .............................................................................................. | 23 |
|  |  | Performance Security ............................................................................................ | 23 |
|  |  | Contract: Signing ................................................................................................... | 24 |
|  |  | Advising Unsuccessful Tenderers .......................................................................... | 24 |
|  |  | Tenderer: Right to Complain ................................................................................. | 24 |

| Section 2. | Tender Data Sheet ............................................................................................. | 25 |
| --- | --- | --- |
|  | A. | General ................................................................................................................... | 25 |
|  | B. | Tender Document .................................................................................................. | 25 |
|  | C. | Qualification Criteria ............................................................................................... | 26 |
|  | D. | Preparation of Tender ............................................................................................ | 26 |
|  | E. | Submission of Tender ............................................................................................ | 27 |
|  | F. | Opening and Evaluation of Tenders ...................................................................... | 28 |
|  | G. | Award of Contract .................................................................................................. | 28 |

| Section 3. | General Conditions of Contract .................................................................... | 29 |
| --- | --- | --- |
|  | 1. | Definitions ............................................................................................................. | 29 |
|  | 2. | Contract Documents ............................................................................................. | 30 |
|  | 3. | Corrupt, Fraudulent, Collusive or Coercive Practices ........................................... | 31 |
|  | 4. | Interpretation ........................................................................................................ | 31 |
|  | 5. | Documents Forming the Contract and Priority of Documents ............................... | 32 |
|  | 6. | Eligibility ................................................................................................................ | 33 |
|  | 7. | Governing Language ............................................................................................ | 33 |
|  | 8. | Governing Law ..................................................................................................... | 33 |
|  | 9. | Gratuities / Agency fees ....................................................................................... | 33 |
|  | 10. | Joint Venture, Consortium or Association (JVCA) ............................................... | 33 |
|  | 11. | Confidential Information ....................................................................................... | 33 |
|  | 12. | Communications and Notices .............................................................................. | 34 |
|  | 13. | Patent and Intellectual Property Rights ............................................................... | 35 |
|  | 14. | Copyright ............................................................................................................. | 36 |
|  | 15. | Assignment .......................................................................................................... | 36 |
|  | 16. | Sub contracting ................................................................................................... | 36 |
|  | 17. | Supplier’s Responsibilities .................................................................................. | 36 |
|  | 18. | Purchaser’s Responsibilities ............................................................................... | 36 |
|  | 19. | Scope of Supply .................................................................................................. | 36 |
|  | 20. | Change Orders and Contract Amendments ......................................................... | 36 |
|  | 21. | Packing and Documents ...................................................................................... | 37 |
|  | 22. | Delivery and Documents and Acceptance ........................................................... | 37 |
|  | 23. | Contract Price ...................................................................................................... | 38 |
|  | 24. | Transportation ...................................................................................................... | 38 |
|  | 25. | Spare Parts .......................................................................................................... | 38 |
|  | 26. | Terms of Payment ............................................................................................... | 38 |
|  | 27. | Insurance ............................................................................................................ | 39 |
|  | 28. | Taxes and Duties ................................................................................................ | 39 |
|  | 29. | Performance Security .......................................................................................... | 39 |
|  | 30. | Specifications and Standards .............................................................................. | 40 |
|  | 31. | Inspections and Tests .......................................................................................... | 40 |
|  | 32. | Warranty .............................................................................................................. | 41 |
|  | 33. | Extensions of Time .............................................................................................. | 42 |
|  | 34. | Liquidated Damages ............................................................................................ | 42 |
|  | 35. | Limitation of Liability ............................................................................................ | 42 |
|  | 36. | Change in Laws and Regulations ........................................................................ | 43 |
|  | 37. | Force Majeure ..................................................................................................... | 43 |
|  | 38. | Termination ......................................................................................................... | 43 |
|  | 39. | Settlement of Disputes ........................................................................................ | 45 |

| Section 4. | Particular Conditions of Contract .................................................................. | 46 |
| --- | --- | --- |
| Section 5. | Tender and Contract Forms ............................................................................ | 50 |
|  | Tender Submission Sheet (Form G – 1) ................................................................ | 51 |
|  | Price Schedule for Goods (Form G-2A) ................................................................ | 52 |
|  | Price Schedule for Goods (Form G-2B) ................................................................ | 53 |
|  | Specifications Submission Sheet (Form G-3) ....................................................... | 55 |
|  | Tenderer Information Sheet (Form G-4) ............................................................... | 56 |
|  | Manufacturer’s Authorisation Letter (Form G - 5) ................................................. | 59 |
|  | Bank Guarantee for Tender Security (Form G – 6) .............................................. | 60 |
|  | Notification of Award (Form G - 7) ........................................................................ | 61 |
|  | Contract Agreement (Form G - 8) ......................................................................... | 62 |
|  | Bank Guarantee for Performance Security (Form G – 9) ..................................... | 63 |
|  | Maintenance Contract/Agreement (Form G – 10) ................................................. | 64 |
|  | Deed of Mutual Agreement for Router Management ……………………………… | 68 |
| Section 6. | Schedule of Requirements ............................................................................. | 69 |
| Section 7. | Technical Specifications ................................................................................. | 75 |

|  | Janata Bank Limited Head Office Information Technology System Department 110 Motijheel C/A, Dhaka-1000 Tel: 9553339, 9567442, Fax: 88-02-9564644, Telex: 675840 JBD BJ Website: www.janatabank-bd.com |
| --- | --- |

INVITATION FOR RE-TENDER

Sealed tenders are invited under the provisions of the Public Procurement Rules-2008 for the Goods and related Services and under the terms and conditions outlined below and detailed in the Tender Document:

| 1. | Tender Ref. | : | JBL/ITSD/OTM-06/Re-Tender/2009 |
| --- | --- | --- | --- |
| 2. | Tender Name | : | Re-Tender for Procurement of Computer Hardware and Accessories, MICR Machine, Network Device and Connectivity for CDC, DRS, Head Office Departments and Branches of Janata Bank Limited to implement True Online Banking on turn-key basis. |

3. Brief description of Goods/services: The items shall be internationally renowned brand item. No clone/Assembled items will be accepted:

| Lot/Group | Sl | Items | Unit |
| --- | --- | --- | --- |
| Package-A |
| Lot/Group-1 | 1 | Items for CDC | As per Tender Document |
|  | 2 | Items for DRS |  |
| Lot/Group-2 | 1 | Network Device for CDC |  |
|  | 2 | Network Device for DRS |  |
|  | 3 | Accessories for Head Office Floor |  |
|  | 4 | Network Device for Branches |  |
|  | 5 | Accessories for Branches |  |
| Lot/Group-3 | 1 | CDC and DRS Construction |  |
| Package-B |
| Lot/Group-1 | 1 | Netwrok Connectivity (Primary) | As per Tender Document |
| Lot/Group-2 | 1 | Netwrok Connectivity (Alternative) |  |
| Package-C |
| Lot/Group-1 | 1 | Desktop PC, MICR Machine, Laptop Computer & Laser Printer | As per Tender Document |
| Lot/Group-2 | 1 | Line Printer (Heavy & Medium Duty) |  |
| Lot/Group-3 | 1 | UPS and AVS |  |

| 4. | Time for completion of delivery | : | 10 weeks from the date of contract signature. |
| --- | --- | --- | --- |
| 5. | Eligibility of Tenderers | : | 5.1 The Tenderer shall be the developer/manufacturer/authorized dealer/ distributor/reseller/ bonafide supplier having specific experience of supplying, installing, commissioning, operating of similar goods and providing support service to different organization/banks in Bangladesh in multi-user environment. 5.2 Must have strong presence and support office in Dhaka City with well equipped service cell manned by adequately qualified technical personnel for maintenance and support for the proposed Goods and Services. Preference will be given for such offices in other major cities in Bangladesh. Floating or home address shall not be considered as established offices. 5.3 The participating company may offer proposals for the items in any or all lots/groups under any Package and must quote all the items in that/those lot(s)/group(s) considering the condition set for Package-B. For Package-B, a company can offer for only 1(One) Lot/Group under this Package. If a company offers for both Lots/groups under this Package, both the offers will be disqualified. Evaluation will be done Lot/Group by Lot/Group basis and contract will also be awarded Lot/Group by Lot/Group basis. Partial offer for any lot/group will not be accepted. 5.4 The offers should have validity for at least 150 (one hundred and fifty) days from the date of opening the tender. |
| 6. | Name and address of the Office(s) Selling Tender Document | : | Information Technology System Department, Janata Bank Limited, Head Office (22nd floor), 110, Motijheel C/A, Dhaka-1000, Bangladesh between 10.00 a.m. and 3.00 p.m. on all working days. Interested Tenderers may view the documents at the website of the Bank. (Website: www.janatabank-bd.com) |
| 7. | Price of Tender Document | : | TK. 2,000/=(Two thousand) only (non refundable) payable in the form of Pay Order favouring “Janata Bank Limited” from any scheduled Bank in Bangladesh. |
| 8. | Amount of Tender Security | : | A tender security favouring Janata Bank Limited shall be required for : Package-A Lot/Group- 1: 30,00,000.00 (Thirty Lac) Only Lot/Group- 2: 7,50,000.00 (Seven Lac Fifty Thousand) only Lot/Group- 3: 10,00,000.00 (Ten Lac) only Package-B Lot/Group- 1: 2,00,000.00 (Two Lac) only Lot/Group- 2: 1,75,000.00 (One Lac Seventy Five thousand) only Package-C Lot/Group- 1: 5,00,000.00 (Five Lac) only Lot/Group- 2: 3,00,000.00 (Three Lac) only Lot/Group- 3: 50,000.00 (Fifty Thousand) only The Tender Security should be valid till 15-06-2010 |
| 9. | Date, Time & Place for Pre-Tender Meeting | : | 04-11-2009 at 11.30 A.M. Place: As at Sl No.-6 |
| 10. | Last Date and Time for Selling Tender Document | : | 17-11-2009 within 3.00 P.M. |
| 11. | Last Date and Time for Submission of Tenders | : | 18-11-2009 within 12.00 P.M. |
| 12. | Name and address of the Office(s) Receiving Tenders | : | As at Sl No.-6. |
| 13. | Name and address of the Office Opening Tenders | : | As at Sl No.-6. |
| 14. | Date and Time for Opening of Tenders | : | 18-11-2009 at 12.15 P.M. Tenderer's authorised representative(s) are allowed to attend, if any. |
| 15. | Special Instructions | : a. The Procuring Entity reserves the right to accept or reject any or all offers without showing any reason. b. The Bank shall not be under any obligation to accept the lowest quotation. |
| Deputy General Manager |
| Information Technology System Department |

# Section 1.	Instructions to Tenderers

| A. General |
| --- |
| Scope of Tender | The Purchaser, as indicated in the Tender Data Sheet (TDS), issues this Tender Document for the supply of Goods, and Related Services incidental thereto, as specified in the TDS and as detailed in Section 6: Schedule of Requirements. The name of the Tender and the number and identification of its constituent lot(s) are stated in the TDS. |
|  | The successful Tenderer will be required to complete the delivery of the goods and related services (when applicable) as specified in the Particular Conditions of Contract (PCC). |
|  | Throughout this Tender Document: the term “in writing” means communicated in written form with proof of receipt; if the context so requires, singular means plural and vice versa; and “day” means calendar day. |
| Source of Funds | The Purchaser has been allocated public funds as indicated in the TDS and intends to apply a portion of the funds to eligible payments under the contract for which this Tender Document is issued. |
|  | For the purpose of this provision, “public funds” means any monetary resources appropriated to procuring entities under Government budget, or revenues generated by statutory bodies and corporations or aid grants and credits put at the disposal of procuring entities by the development partners through the Government. |
|  | Payments by the development partner, if so indicated in the TDS, will be made only at the request of the Government and upon approval by the development partner in accordance with the applicable Loan/Credit/Grant Agreement, and will be subject in all respects to the terms and conditions of that Agreement. |
| Corrupt, Fraudulent, Collusive or Coercive Practices | The Government requires that Purchasers, as well as Tenderers and Suppliers shall observe the highest standard of ethics during the implementation of procurement proceedings and the execution of contracts under public funds. |
|  | In pursuance of this requirement, the Purchaser shall: exclude the Tenderer from participation in the procurement proceedings concerned or reject a proposal for award; and declare a Tenderer ineligible, either indefinitely or for a stated period of time, from participation in procurement proceedings under public funds; if it, at any time, determines that the Tenderer has engaged in corrupt, fraudulent, collusive or coercive practices in competing for, or in executing, a contract under public funds. |
|  | Should any corrupt, fraudulent, collusive or coercive practice of any kind come to the knowledge of the Purchaser, it shall, in the first place, allow the Tenderer to provide an explanation and shall, take actions only when a satisfactory explanation is not received. Such exclusion and the reasons thereof, shall be recorded in the record of the procurement proceedings and promptly communicated to the Tenderer concerned. Any communications between the Tenderer and the Purchaser related to matters of alleged fraud or corruption shall be in writing. |
|  | The Government defines, for the purposes of this provision, the terms set forth below as follows: (a) “corrupt practice” means offering, giving, or promising to give, directly or indirectly, to any officer or employee of a Procuring Entity or other governmental/private authority or individual, a gratuity in any form, an employment, or any other thing or service of value, as an inducement with respect to an act or decision of, or method followed by, a Procuring Entity in connection with the procurement proceeding; “fraudulent practice” means a misrepresentation or omission of facts in order to influence a procurement proceeding or the execution of a contract to the detriment of the Purchaser; “collusive practice” means a scheme or arrangement among two or more Tenderers, with or without the knowledge of the Purchaser (prior to or after Tender submission), designed to establish Tender prices at artificial, non-competitive levels and to deprive the Purchaser of the benefits of free, open and genuine competition; and “coercive practice” means harming or threatening to harm, directly or indirectly, persons or their property to influence the procurement proceedings, or affect the execution of a contract. |
|  | The Tenderer shall be aware of the provisions on fraud and corruption stated in GCC Clause 3 and GCC Sub-Clause 38.1(c). |
|  | The Government requires that the Purchaser’s personnel have an equal obligation not to solicit, ask for and/or use coercive methods to obtain personal benefits in connection with the said proceedings. |
| Eligible Tenderers | This Invitation for Tenders is open to eligible Tenderers from all countries, except for any specified in the TDS. |
|  | A Tenderer may be a physical or juridical individual or body of individuals, or company, association or any combination of them under agreement in the form of an intended or existing joint venture, consortium or association (JVCA), invited to take part in public procurement or seeking to be so invited or submitting a Tender in response to an Invitation for Tenders. All members of the JVCA shall be jointly and severally liable to the Purchaser. JVCA is distinct from Supplier, Sub-supplier arrangement where the entire responsibility for contract execution rests with the Supplier. |
|  | A Government-owned enterprise in Bangladesh may also participate in the Tender if it is legally and financially autonomous, it operates under commercial law, and it is not a dependent agency of the Purchaser. |
|  | The Tenderer shall provide in Section 5: Tender and Contract Forms, a statement that the Tenderer (including all members of a JVCA) is not associated, nor has been associated in the past, directly or indirectly, with a consultant or any other entity that has prepared the specifications and other documents for this Invitation for Tenders. |
|  | The Tenderer shall not be under a declaration of ineligibility for corrupt, fraudulent, collusive or coercive practices in accordance with ITT Sub-Clause 3.2. |
|  | The Tenderer with a consistent history of litigation or a number of arbitration awards against it, shall not be eligible to Tender. The Tenderer shall supply the information requested in para 3.3 of the Tenderer Information Sheet (Form G-4) |
|  | The Tenderer shall have the legal capacity to enter into the contract. |
|  | The Tenderer shall not be insolvent, be in receivership, be bankrupt or being wound up, its business activities shall not be suspended, and it shall not be the subject of legal proceedings for any of the foregoing. |
|  | The Tenderer shall have fulfilled its obligations to pay taxes and social security contributions under the relevant national laws and regulations. |
| Eligible Goods and Related Services | All goods and related services to be supplied under the contract are eligible, unless their origin is from a country specified in the TDS. |
|  | For purposes of this clause, “origin” means the place where the goods are mined, grown, or produced, or the place from which the related services are supplied. |
|  | The origin of goods and services is distinct from the nationality of the Tenderer. |
| Site Visit | For goods contracts requiring installation/ commissioning/ networking or similar services at site, the Tenderer, at the Tenderer’s own responsibility and risk, is encouraged to visit and examine the Site and obtain all information that may be necessary for preparing the Tender and entering into a contract for the supply of goods and related services. |
|  | The Tenderer should ensure that the Purchaser is informed of the visit in adequate time to allow it to make appropriate arrangements. |
|  | The costs of visiting the Site shall be at the Tenderer’s own expense. |
| B. Tender Document |
| Tender Document: Sections | The Sections comprising the Tender Document are listed below and should be read in conjunction with any Amendment issued in accordance with ITT Clause 10. Section 1 Instructions to Tenderers (ITT) Section 2 Tender Data Sheet (TDS) Section 3 General Conditions of Contract (GCC) Section 4 Particular Conditions of Contract (PCC) Section 5 Tender and Contract Forms Section 6 Schedule of Requirements Section 7 Technical Specifications Section 8 Drawings |
|  | The Purchaser will reject any Tender submission if the Tender Document was not purchased directly from the Purchaser, or through its agent as stated in the TDS. |
|  | The Tenderer is expected to examine all instructions, forms, terms, and specifications in the Tender Document as well as in Tender Amendments, if any. Failure to furnish all information or documentation required by the Tender Document may result in the rejection of the Tender. |
| Tender Document: Clarification | A prospective Tenderer requiring any clarification of the Tender Document shall contact the Purchaser in writing at the Purchaser’s address indicated in the TDS. The Purchaser will respond in writing to any request for clarification received no later than seven (7) days prior to the deadline for submission of Tenders. |
|  | The Purchaser shall forward copies of its response to all those who have purchased the Tender Document, including a description of the enquiry but without identifying its source. |
|  | Should the Purchaser deem it necessary to amend the Tender Document as a result of a clarification, it shall do so following the procedure under ITT Clause 10 and ITT Sub-Clause 30.3. |
| Tender Document: Pre-Tender Meeting | To clarify issues and to answer questions on any matter arising in the Tender Document, the Purchaser may, if stated in the TDS, invite prospective Tenderers to a Pre-Tender Meeting at the place, date and time as specified in the TDS. Tenderers are encouraged to attend the meeting, if it is held. |
|  | The Tenderer is requested to submit any questions in writing so as to reach the Purchaser not later than five (5) days prior to the date of the meeting. |
|  | Minutes of the pre-Tender meeting, including the text of the questions raised and the responses given, together with any responses prepared after the meeting, will be transmitted within seven (7) days to all those who purchased the Tender Document. Any modification to the Tender Document listed in ITT Sub-Clause 7.1 that may become necessary as a result of the pre-Tender meeting shall be made by the Purchaser exclusively through the issue of an Amendment pursuant to ITT Clause 10 and not through the minutes of the pre-Tender meeting. |
|  | Non-attendance at the pre-Tender meeting will not be a cause for disqualification of a Tenderer. |
| Tender Document: Amendment | At any time prior to the deadline for submission of Tenders, the Purchaser for any reason, on its own initiative or in response to a clarification request in writing from a Tenderer, having purchased the Tender Document, may amend the Tender Document by issuing an amendment. |
|  | Any amendment issued shall become an integral part of the Tender Document and shall be communicated in writing to all those who have purchased the Tender Document. |
|  | To give a prospective Tenderer reasonable time in which to take an amendment into account in preparing its Tender, the Purchaser may, at its discretion, extend the deadline for the submission of Tenders, pursuant to ITT Sub-Clause 30.3. In the event that an amendment is issued with a period of only one-third or less of the Tendering period remaining, then the deadline for the submission of Tenders may be extended by the Purchaser, if so requested by a substantial number of Tenderers. |
| C. Qualification Criteria |
| General Criteria | The Tenderer shall possess the necessary professional and technical qualifications and competence, financial resources, production capability with equipment and other physical facilities, including after-sales service where appropriate, managerial capability, specific experience, reputation, and the personnel to perform the contract. |
|  | To qualify for a multiple number of lots in a package for which tenders are invited in the Invitation for Tenders, The Tenderer shall demonstrate having resources and experience sufficient to meet the aggregate of the qualifying criteria for the individual lots |
| Experience Criteria | The Tenderer shall have the following minimum level of supply experience to qualify for supplying the Goods and Related Services under the contract: a minimum number of years of overall experience in the supply of goods and related services as specified in the TDS; specific experience in the supplying of similar goods and related services as specified in the TDS; a minimum production capacity or availability of equipment as specified in the TDS; and in case of a Tenderer offering to supply goods which the Tenderer did not manufacture or otherwise produce, the Tenderer has been duly authorized by the goods’ manufacturer or producer to supply the goods. |
| Financial Criteria | The Tenderer shall have the following minimum level of financial capacity of qualify for the supply of goods under the contract: The satisfactory completion of supply of similar goods of value stated in the TDS under a single contract in the last five years; and Availability of minimum liquid assets or working capital or credit facilities from a Bank, as specified in the TDS. |
| D. Tender Preparation |
| Tender : Only One | A Tenderer shall submit only one (1) Tender for each lot, either individually or as a Member in a JVCA. A Tenderer who submits or participates in more than one (1) Tender for each lot will cause all the Tenders with that Tenderer’s participation to be rejected. |
| Tender: Preparation Costs | The Tenderer shall bear all costs associated with the preparation and submission of its Tender, and the Purchaser shall not be responsible or liable for those costs, regardless of the conduct or outcome of the Tendering process. |
| Tender: Language | The Tender, as well as all correspondence and documents relating to the Tender shall be written in the English or Bangla language, unless specified otherwise in the TDS. Supporting documents and printed literature furnished by the Tenderer may be in another language provided they are accompanied by an accurate translation of the relevant passages into the English or Bangla language, in which case, for purposes of interpretation of the Tender, such translation shall govern. |
|  | The Tenderer shall bear all costs of translation to the governing language and all risks of the accuracy of such translation. |
| Tender: Contents of Tender | The Tender prepared by the Tenderer shall comprise the following: the Tender Submission Sheet (Form G-1); the Price Schedule (Form G-2) completed in accordance with ITT Clauses 18, 20 and 21; Original Tender Security (Form G-6) completed in accordance with ITT Clause 27; Specifications Submission Sheet (Form G-3) completed in accordance with ITT Clause 18; alternative Tenders, if permitted, in accordance with ITT Clause 19; written confirmation authorising the signatory of the Tender to commit the Tenderer, in accordance with ITT Clause 28; documentary evidence in accordance with ITT Clause 22 establishing the Tenderer’s eligibility to Tender, including the Tenderer Information Sheet (Form G-4) and the Manufacturer’s Authorisation Letter (Form G-5), when applicable; documentary evidence in accordance with ITT Clauses 23 and 37 that the Goods and Related Services are of eligible origin and conform to the Tender Document; documentary evidence in accordance with ITT Clause 24 establishing the Tenderer’s qualifications to perform the contract if its Tender is accepted; and any other document as specified in the TDS. |
| Tender: Submission Sheet, Price Schedules and Specifications Submission Sheet | The Tenderer shall submit the completed Tender Submission Sheet (Form G-1) as furnished in Section 5: Tender and Contract Forms. This document shall be completed without any alterations to its format, filling in all blank spaces with the information requested, failing which the tender may be rejected as being non-responsive. |
|  | The Tenderer shall submit the completed Price Schedule for Goods and Related Services (Form G-2) as furnished in Section 5: Tender and Contract Forms. |
|  | The Tenderer shall submit the completed Specifications Submission Sheet (Form G-3) as furnished in Section 5: Tender and Contract Forms. |
|  | All the documents mentioned in ITT clauses 18.1 to 18.3 shall be completed without any alterations to their format, filling in all blank spaces with the information requested, failing which the Tender may be rejected as being non-responsive. |
| Tender: Alternatives | Unless otherwise stated in the TDS, alternative Tenders shall not be considered. |
| Tender: Prices and Discounts | The prices and discounts quoted by the Tenderer in the Tender Submission Sheet (Form G-1) and in the Price Schedule (Form G-2) shall conform to the requirements specified below. |
|  | All items for each lot, as listed in Section 6: Schedule of Requirements must be listed and priced separately on the Price Schedule (Form G-2). For any item listed in the Schedule of Requirements, but not shown in the Price Schedule, it shall be assumed that the item is not included in the Tender. For any item listed in the Schedule of Requirements, but shown unpriced in the Price Schedule, it shall be assumed that the price is included in the prices of other items. In all cases the Tender shall be evaluated in accordance with ITT Sub-Clause 20.3. |
|  | Tenders are being invited either for individual lots or for any combination of lots and prices quoted shall correspond to 100% of the items and quantities specified for each lot. If so indicated in the TDS Contracts may be awarded on a lot-by-lot basis and Tenderers wishing to offer any price reduction for the award of more than one Contract shall specify in their Tender the price reductions applicable to each lot or combination of lots. |
|  | The Tenderer shall indicate on the Price Schedule (Form G-2) the unit prices (where applicable) and the total price of the lot it proposes to supply under the contract. |
|  | Prices indicated on the Price Schedule shall be entered separately in the following manner: the price of the goods quoted EXW (ex works, ex factory, ex warehouse, ex showroom, or off-the-shelf, as applicable), including all customs duties and sales and other taxes already paid or payable : (i) on the components and raw materials used in the manufacture or assembly of goods quoted ex works or ex factory; or (ii) on the previously imported goods of foreign origin quoted ex warehouse, ex showroom or off-the-shelf; any Purchaser country local taxes (VAT and other taxes) which will be payable on the goods if the contract is awarded; the price for inland transportation, insurance, and other local costs incidental to delivery of the goods to their final destination, if specified in the TDS; and the price of other related (incidental) services, if any, listed in the TDS. |
|  | The Tenderer's separation of price components in accordance with ITT Sub-Clause 20.5 will be solely for the purpose of facilitating the comparison of Tenders by the Purchaser and will not in any way limit the Purchaser’s right to contract on any of the terms offered. |
|  | Prices quoted by the Tenderer shall be fixed during the Tenderer’s performance of the Contract and not subject to variation on any account, unless otherwise specified in the TDS. |
| Tender: Currency | All prices shall be quoted in Bangladesh Taka. |
| Tenderer: Documents Establishing Eligibility | The Tenderer shall submit documentary evidence to establish its eligibility in accordance with ITT Clause 4 and, in particular, shall: complete the eligibility declarations in the Tender Submission Sheet (Form G-1), furnished in Section 5: Tender and Contract Forms; and if in accordance with ITT Sub-Clause 4.2, the Tenderer is an existing or intended JVCA, it must submit the Tenderer Information Sheet (Form G-4) and a copy of the JV Agreement, or a letter of intent to enter into such an Agreement. The respective document shall be signed by all legally authorised signatories of all the parties to the existing or intended JVCA, as appropriate. |
|  | If so specified in the TDS, a Tenderer that does not manufacture or produce the Goods it offers to supply shall submit the Manufacturer’s Authorisation Letter (Form G-5) furnished in Section 5: Tender and Contract Forms, to demonstrate that it has been duly authorised by the manufacturer or producer of the Goods to supply the Goods to Bangladesh. |
| Goods and Related Services: Documents Establishing Eligibility | To establish the conformity of the Goods and Related Services to the Tender Document, the Tenderer shall furnish as part of its Tender the documentary evidence that the goods conform to Section 7: Technical Specifications. |
|  | The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed item by item description of the essential technical and performance characteristics of the Goods and Related Services, demonstrating the substantial responsiveness of the Goods and Related Services to those requirements of Section 7: Technical Specifications, and if applicable, a statement of deviations and exceptions. The Tenderer shall note that standards for workmanship, material, and equipment as well as references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications, are intended to be descriptive only and not restrictive. The Tenderer may substitute alternative standards/ brand names, etc. in its tender provided that it demonstrates to the Purchaser’s satisfaction that substitutions ensure substantial equivalence. |
|  | The Tenderer shall also furnish a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the goods for a period to be specified in the TDS, following commencement of the use of the goods by the Purchaser. |
| Tenderers: Documents Establishing Qualifications | Tenderers shall submit documentary evidence to meet the qualification criteria specified in Sub-Section C, Qualification Criteria of the ITT. |
|  | Tenderers shall submit the Tenderer Information Sheet (Form G-4) furnished in Section 5: Tender and Contract Forms. |
|  | Tenderers shall include the following information and documents with their Tenders: total monetary value of similar goods supplied for each of the last five (5) years; details of major supplies of similar types of Goods over the last five (5) years, and clients who may be contacted for further information on those contracts; financial reports or balance sheets or profit and loss statements or auditor’s reports or bank references with documents or a combination of these demonstrating the availability of liquid assets to successfully complete the contract; authority to seek references from the Tenderer’s Bankers; and information on past (5 years) litigation in which the Tenderer has been involved or in which the Tenderer is currently involved. |
|  | Tenders submitted by a JVCA shall comply with the following requirements, and any other requirements as specified in the TDS: the Tenderer shall include all the information listed in ITT Sub-Clause 24.3 for each JVCA Member; the Tender shall be signed so as to be legally binding on all Members; all Members shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms; one of the Members will be nominated as being in charge, authorised to incur liabilities, and receive instructions for and on behalf of any and all Members of the JVCA; and the execution of the entire Contract, including payment, shall be done exclusively with the Member in charge. |
| Tenderer: Disqualification | The Purchaser shall disqualify a Tenderer who submits a document containing false information for purposes of qualification or misleads or makes false representations in proving its qualification requirements. If such an occurrence is proven, the Purchaser may declare such a Tenderer ineligible, either indefinitely or for a stated period of time, from participation in future procurement proceedings. |
|  | The Purchaser may disqualify a Tenderer who has a record of poor performance, such as abandoning the supply, not properly completing the contract, inordinate delays, litigation history or financial failures. |
| Tender: Validity | Tenders shall remain valid for the period specified in the TDS after the date of Tender submission prescribed by the Purchaser, pursuant to ITT Clause 30. A Tender valid for a shorter period shall reject by the Purchaser as non-responsive. |
|  | In exceptional circumstances, prior to the expiration of the Tender validity period, the Purchaser may solicit the Tenderers’ consent to an extension of the period of validity of their Tenders. The request and the responses shall be made in writing. The Tender Security provided under ITT Clause 27, shall also be suitably extended promptly. If a Tenderer does not respond or refuses the request it shall not forfeit its Tender Security, but its Tender shall no longer be considered in the evaluation proceedings. A Tenderer agreeing to the request will not be required or permitted to modify its Tender. |
| Tender: Security | The Tenderer shall furnish as part of its Tender, a Tender Security in original form (Form G-6) and in the amount specified in the TDS. |
|  | The Tender Security shall: at the Tenderer’s option be either; in the form of a bank draft or pay order; or in the form of an irrevocable bank guarantee (Form G-6) issued by a Scheduled Bank of Bangladesh in the format furnished in Section 5: Tender and Contract Forms; be payable promptly upon written demand by the Purchaser in the case of the conditions listed in ITT Sub-Clause 27.5 being invoked; and remain valid for a period of twenty-eight (28) days beyond the original validity period of Tenders, or beyond any period of extension subsequently requested under ITT Clause 26.2. |
|  | A Tender not accompanied by a valid Tender Security in accordance with ITT Sub-Clause 27.2, shall be rejected by the Purchaser as non-responsive. |
|  | Unsuccessful Tenderers’ Tender Security will be discharged or returned within twenty-eight (28) days of the end of the Tender validity period specified in ITT Sub-Clause 26.1 and 26.2. The Tender Security of the successful Tenderer will be discharged upon the successful Tenderer’s furnishing of the Performance Security pursuant to ITT Clause 51 and signing the Contract Agreement. |
|  | The Tender Security may be forfeited: (a) if a Tenderer withdraws its Tender during the period of Tender validity specified by the Tenderer on the Tender Submission Sheet, except as provided in ITT Sub-Clause 26.2; or (b) if the successful Tenderer fails to: (i) accept the correction of its Tender Price pursuant to ITT Sub-Clause 39.2; or (ii) furnish a Performance Security in accordance with ITT Clause 50; or (iii) sign the Contract in accordance with ITT Clause 51. |
|  | The Tender Security of a JVCA shall be in the name of the JVCA that submits the Tender. If the JVCA has not been legally constituted at the time of tendering, the Tender Security shall be in the name of all intended JVCA Members as named in the letter of intent mentioned in ITT Sub-Clause 22.1. |
| Tender Format and Signing | The Tenderer shall prepare one (1) original of the documents comprising the Tender as described in ITT Sub-Clause 17.1 and clearly mark it “ORIGINAL”. In addition, the Tenderer shall prepare the number of copies of the Tender, as specified in the TDS and clearly mark each of them “COPY”. In the event of any discrepancy between the original and the copies, the original shall prevail. |
|  | The original and each copy of the Tender shall be typed or written in indelible ink and shall be signed by a person duly authorised to sign on behalf of the Tenderer. This authorisation shall consist of a written authorisation and shall be attached to the Tenderer Information Sheet (Form G-4). The name and position held by each person signing the authorisation must be typed or printed below the signature. All pages of the original and of each copy of the Tender, except for un-amended printed literature, shall be numbered sequentially and signed or initialled by the person signing the Tender. |
|  | Any interlineations, erasures, or overwriting shall be valid only if they are signed or initialled by the person(s) signing the Tender. |
| E. Tender Submission |
| Tender: Sealing and Marking | The Tenderer shall enclose the original in one (1) envelope and all the copies of the Tender in another envelope, duly marking the envelopes as “ORIGINAL” and “COPY.” The two (2) envelopes shall then be enclosed and sealed in one (1) single outer envelope. |
|  | The inner and outer envelopes shall: bear the name and address of the Tenderer; be addressed to the Purchaser at the address specified in the TDS; bear the name of the Tender and the Tender Number as specified in the TDS; and bear a statement “DO NOT OPEN BEFORE…” the time and date for Tender opening as specified in the TDS. |
|  | If all envelopes are not sealed and marked as required by ITT Sub-Clause 29.2, the Purchaser will assume no responsibility for the misplacement or premature opening of the Tender. |
| Tender: Submission Deadline | Tenders must be received by the Purchaser at the address specified in ITT Sub-Clause 29.2 no later than the date and time as specified in the TDS. |
|  | Tenders may be hand delivered, posted by registered mail or sent by courier. The Purchaser shall, on request, provide the Tenderer with a receipt showing the date and time when its Tender was received. |
|  | The Purchaser may, at its discretion, extend the deadline for the submission of Tenders by amending the Tender Document in accordance with ITT Clause 10, in which case all rights and obligations of the Purchaser and Tenderers previously subject to the deadline shall thereafter be subject to the new deadline as extended. |
| Tender: Submitted Late | Any Tender received by the Purchaser after the deadline for submission of Tenders in accordance with ITT Clause 31 shall be declared late, will be rejected, and returned unopened to the Tenderer. |
| Tender: Modification, Substitution or Withdrawal | A Tenderer may modify, substitute or withdraw its Tender after it has been submitted by sending a written notice, duly signed by the same authorised representative, and shall include a copy of the authorisation in accordance with ITT Sub-Clause 28.2, (except that no copies of the withdrawal notice are required). The corresponding substitution or modification of the Tender must accompany the respective written notice. The written notice must be: submitted in accordance with ITT Clauses 28 and 29 (except that withdrawal notices do not require copies), and in addition, the respective envelopes shall be clearly marked “Modification” “Substitution,” or “Withdrawal,” and received by the Purchaser prior to the deadline prescribed for submission of Tenders, in accordance with ITT Clause 30. |
|  | Tenders requested to be withdrawn in accordance with ITT Sub-Clause 32.1 shall be returned unopened to the Tenderers, only after the Tender opening. |
|  | No Tender shall be modified, substituted or withdrawn after the deadline for submission of Tenders specified in ITT Clause 30. |
| F. Tender Opening and Evaluation |
| Tender: Opening | The Purchaser shall open the Tenders in public, including modifications or substitutions made pursuant to ITT Clause 32, at the time, on the date, and at the one place specified in the TDS. Tenders for which an acceptable notice of withdrawal has been submitted pursuant to ITT Clause 32 shall not be opened. Tenderers or their authorised representatives shall be allowed to attend and witness the opening of Tenders, and shall sign a register evidencing their attendance. |
|  | The name of the Tenderer, Tender modifications, substitutions or withdrawals, total amount of each Tender, number of corrections, discounts, and the presence or absence of a Tender Security, any alternatives if so permitted, and such other details as the Purchaser, at its discretion, may consider appropriate, shall be read out aloud and recorded. Only those discounts and alternative offers read out at the Tender opening shall be considered for evaluation. All pages of the original of the Tenders, except for un-amended printed literature, will be initialled by a minimum of three (3) members of the Purchaser’s Tender Opening Committee. |
|  | Minutes of the Tender opening shall be made by the Purchaser and furnished to any Tenderer upon receipt of a written request. The minutes shall include, as a minimum: the name of the Tenderer and whether there is a withdrawal, substitution or modification, the Tender Price, per lot if applicable, including any discounts and alternative offers, and the presence or absence of a Tender Security, if one was required. |
|  | Tenders not opened and read out at the Tender opening shall not be considered, irrespective of the circumstances, and shall be returned unopened to the Tenderer. |
|  | No Tender shall be rejected at the Tender opening, except for late Tenders, which shall be returned unopened to the Tenderer pursuant to ITT Clause 31. |
| Tender: Confidentiality | After the opening of Tenders, information relating to the examination, clarification, and evaluation of Tenders and recommendations for award shall not be disclosed to Tenderers or other persons not officially concerned with the evaluation process until after the award of the Contract is announced. |
| Tender: Clarification | The Purchaser may ask Tenderers for clarification of their Tenders in order to facilitate the examination and evaluation of Tenders. The request for clarification and the response shall be in writing, and any changes in the prices or substance of the Tender shall not be sought, offered or permitted, except to confirm the correction of arithmetical errors discovered by the Purchaser in the evaluation of the Tenders, in accordance with ITT Clause 39. |
| Tenderer: Contacting the Purchaser | Following the opening of the Tenders and until the Contract is signed no Tenderer shall make any unsolicited communication to the Purchaser or try in any way to influence the Purchaser’s examination and evaluation of the Tenders. |
|  | Any effort by a Tenderer to influence the Purchaser in its decisions on the examination, evaluation, comparison, and post-qualification of the Tenders or Contract award may result in the rejection of its Tender. |
|  | Notwithstanding ITT Sub Clause 36.1, from the time of Tender opening to the time of Contract award, if any Tenderer wishes to contact the Purchaser on any matter related to the tendering process, it should do so in writing. |
| Tender: Responsive ness | The Purchaser’s determination of a Tender’s responsiveness is to be based on the contents of the Tender itself without recourse to extrinsic evidence. |
|  | A substantially responsive Tender is one that conforms in all respects to the requirements of the Tender Document without material deviation, reservation, or omission. A material deviation, reservation, or omission is one that: affects in any substantial way the scope, quality, or performance of the Goods and Related Services specified in the Contract; or limits in any substantial way or is inconsistent with the Tender Document, the Purchaser’s rights or the Tenderer’s obligations under the Contract; or if rectified would unfairly affect the competitive position of other Tenderers presenting substantially responsive Tenders. |
|  | If a Tender is not substantially responsive to the Tender Document it shall be rejected by the Purchaser and shall not subsequently be made responsive by the Tenderer by correction of the material deviation, reservation or omission. |
|  | There shall be no requirement as to the minimum number of responsive Tenders. |
| Tender: Non-conformities, Errors, and Omissions | The Purchaser may regard a Tender as responsive even if it contains minor deviations that do not materially alter or depart from the characteristics, terms, conditions and other requirement set forth in Tender Document or if it contains errors or oversights that are capable of being corrected without affecting the substance of the Tender. |
|  | Provided that a Tender is substantially responsive, the Purchaser may request that the Tenderer submits the necessary information or documentation, within a reasonable period of time, to rectify nonmaterial nonconformities or omissions in the Tender related to documentation requirements. Such omission shall not be related to any aspect of the price of the Tender. Failure by the Tenderer to comply with the request may result in the rejection of its Tender. |
| Tender: Correction of Arithmetical Errors | Provided that the Tender is substantially responsive, the Purchaser shall correct arithmetical errors on the following basis: if there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected, unless, in the opinion of the Purchaser, there is an obvious misplacement of the decimal point in the unit price, in which case the total price as quoted shall govern and the unit price shall be corrected; if there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and if there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetical error, in which case the amount in figures shall prevail subject to (a) and (b) above. |
|  | Any arithmetical error or other discrepancy, as stated in ITT Sub-clause 39.1, is found it shall be immediately notified to the concerned Tenderer. |
|  | Any Tenderer that does not accept the correction of errors as determined by the application of ITT Sub-clauses 39.1, its Tender shall be disqualified and its Tender Security may be forfeited. |
| Tender: Preliminary Examination | The Purchaser shall firstly examine the Tenders to confirm that all documentation requested in ITT Clause 17 has been provided, and to determine the completeness of each document submitted. |
|  | The Purchaser shall assess whether the Tenderer’s Qualifications as per Section C are substantially met. Any negative determination by the Purchaser will result in rejecting the Tender as non-responsive without the need for further evaluation as per ITT Clauses 41 and 42. |
| Tender: Technical Evaluation | The Purchaser shall secondly examine the Tender to confirm that all terms and conditions specified in the GCC and the PCC have been accepted by the Tenderer without any material deviation or reservation. |
|  | The Purchaser shall evaluate the technical aspects of the Tender submitted in accordance with ITT Clause 23, to confirm that all requirements specified in Section 7: Technical Specifications, have been met without any material deviation or reservation. |
|  | If, after the examination of the terms and conditions and the technical aspects of the Tender, the Purchaser determines that the Tender is not substantially responsive in accordance with ITT Clause 37, it shall reject the Tender. |
| Tender: Financial Evaluation | The Purchaser shall thirdly evaluate each Tender that has been determined, up to this stage of the evaluation, to be substantially responsive. |
|  | To evaluate a Tender, the Purchaser shall consider the following: the Tender price as quoted in accordance with ITT Clauses 18 and 20, excluding local taxes (VAT and other taxes) which will be payable on the goods if contract is awarded); price adjustment for correction of arithmetical errors pursuant to ITT Sub-Clause 39.1; the applicable economic factors of evaluation set out in ITT Sub-Clause 42.3. |
|  | The Purchaser’s economic evaluation of a Tender will take into account, in addition to the delivered price offered in accordance with ITT Sub-Clause 18.1, one or more of the factors affecting the economic value of the Tender from the list below, as specified in the TDS, and as quantified in ITT Sub-Clause 42.5: the delivery schedule offered in the Tender; and the cost of components, mandatory spare parts, and service; the availability in Bangladesh of spare parts and after-sales services for the equipment offered in the Tender; the projected operating and maintenance costs during the anticipated life-cycle of the equipment; the performance and productivity of the equipment offered; or any other specific criteria as specified in Section 7: Technical Specifications. |
|  | For those factors specified in ITT Sub Clause 42.4 which are selected to be considered in the evaluation of the Tenders, one or more of the following quantification methods shall be applied, as specified in the TDS. Delivery schedule: (i) The goods covered under the IFT are required to be delivered at the time specified in Section 6: Schedule of Requirements. Treating the Tender with the earliest delivery as the base, a delivery ‘adjustment’ will be calculated for other Tenders for the purpose of evaluation, by applying a percentage, as specified in the TDS, of the Tender price for each week of delay beyond the base, and this will be added to the Tender price for evaluation. No credit shall be given to early delivery. or (ii) The goods covered under the IFT are required to be delivered within an acceptable range of weeks as specified in Section 6: Schedule of Requirements. No credit shall be allowed to earlier deliveries, and Tenders offering delivery beyond this range shall be treated as non-responsive. Within this acceptable range, an adjustment per week, as specified in the TDS, will be added, for the purpose of evaluation, to the Tender price of Tenders offering deliveries later than the earliest delivery period specified in Section 6: Schedule of Requirements. or (iii) The goods covered under the IFT are required to be delivered in partial shipments, as specified in Section 6: Schedule of Requirements. Tenders offering deliveries later than the specified deliveries will be adjusted for the purpose of evaluation by adding to the Tender price a factor equal to a percentage, as specified in the TDS, of the Tender price per week of variation from the specified delivery schedule. (b) Cost of components and mandatory spare parts: The schedule of items and quantities of major assemblies, components, and selected spare parts, likely to be required during the initial period of operation specified in the TDS is annexed to Section 7: Technical Specifications. The total cost of these items, at the unit prices quoted in each Tender, will be added to the Tender price. (c) Spare parts and after sales service facilities in Bangladesh: The cost to the Purchaser of establishing the minimum service facilities and parts inventories, as outlined in the TDS or Section 7: Technical Specifications, if quoted separately, shall be added to the Tender price. (d) Projected operating and maintenance costs: Operating and maintenance costs of the goods will be evaluated in accordance with the criteria specified in the TDS or in Section 7: Technical Specifications. (e) Performance and productivity of the equipment: (i) Tenderers shall state the guaranteed performance or efficiency of their equipment offered in response to Section 7: Technical Specifications. For each drop in the performance or efficiency below the norm of 100, an adjustment for an amount specified in the TDS will be added to the Tender price for the purpose of evaluation, representing the capitalized cost of additional operating costs over the life of the plant, using the methodology specified in Section 7: Technical Specifications. or (i) Equipment offered shall have a minimum productivity specified under the relevant provision in Section 7: Technical Specifications, to be considered responsive. Evaluation shall be based on the cost per unit of the actual productivity of goods offered in the Tender, and adjustment will be added to the Tender prices for the purpose of evaluation, using the methodology specified in Section 7: Technical Specifications. (f) Specific additional criteria: Other specific additional criteria to be considered in the evaluation and the evaluation method to be used for such criteria shall be as specified in the TDS and/or Section 7: Technical Specifications. |
|  | If so indicated in the TDS (ITT Sub-Clause 20.3), the Tender Document shall allow Tenderers to quote separate prices for one or more lots, and shall allow the Purchaser to award one or multiple lots to more than one Tenderer following the methodology specified in ITT Sub-Clause 42.6. |
|  | To determine the lowest evaluated lot, or combination of lots, the Purchaser shall: (a) evaluate only the lot or lots which comply with the requirements specified in ITT Sub-Clause 20.3; (b) take into account: the experience and resources sufficient to meet the aggregate of the qualifying criteria for the individual lots; the lowest-evaluated Tender for each lot calculated in accordance with the requirements of Evaluation Criteria; the price reduction per lot or combination of lots and the methodology for their application as offered by the Tenderer in its Tender; and the Contract award sequence that provides the optimum economic combination, taking into account any limitations due to constraints in supply or execution capacity determined in accordance with the post-qualification criteria under ITT Clause 45. |
| Tender: No Negotiation | No negotiation shall be held with the lowest or any other Tenderer. |
|  | A Tenderer shall not be required, as a condition for award, to undertake responsibilities not stipulated in the Tender Document, to change its price or otherwise to modify its Tender. |
| Tender: Comparison | The Purchaser shall compare all substantially responsive Tenders to determine the lowest-evaluated Tender, in accordance with ITT Clause 42. |
| Tenderer: Post-qualification | The Purchaser shall determine to its satisfaction whether the Tenderer that is selected as having submitted the lowest evaluated and substantially responsive Tender is qualified to perform the Contract satisfactorily. |
|  | The determination shall be based upon an examination of the documentary evidence of the Tenderer’s qualifications submitted by the Tenderer, pursuant to ITT Clause 24, to clarifications in accordance with ITT Clause 35 and the qualification criteria indicated in ITT Clauses 11, 12 and 13. Factors not included therein shall not be used in the evaluation of the Tenderer’s qualification. |
|  | An affirmative determination shall be a prerequisite for award of the Contract to the Tenderer. A negative determination shall result in rejection of the Tenderer’s Tender, in which event the Purchaser shall proceed to the next lowest evaluated Tender to make a similar determination of that Tenderer’s capabilities to perform satisfactorily. |
| Tenders: Purchaser’s Right to Accept or to Reject Any or All | The Purchaser reserves the right to accept any Tender, to annul the Tender process, or to reject any or all Tenders, at any time prior to contract award, without thereby incurring any liability to the affected Tenderers, or any obligation to inform Tenderers of the grounds for the Purchaser’s actions.. |
| G. Contract Award |
| Award Criteria | The Purchaser shall award the Contract to the Tenderer whose offer is substantially responsive to the Tender Document and that has been determined to be the lowest evaluated Tender, provided further that the Tenderer is determined to be qualified to perform the Contract satisfactorily. |
| Purchaser’s Right to Vary Quantities | The Purchaser reserves the right at the time of Contract Award to increase or decrease the quantity, per item, of Goods and Related Services originally specified in Section 6: Schedule of Requirements, provided this does not exceed the percentages indicated in the TDS, and without any change in the unit prices or other terms and conditions of the Tender and the Tender Document. |
| Notification of Award | Prior to the expiration of the period of Tender validity, the Purchaser shall notify the successful Tenderer, in writing, that its Tender has been accepted. |
|  | Until a formal Contract is prepared and executed, the Notification of Award shall constitute a binding Contract. |
|  | The Notification of Award shall state the value of the proposed Contract, the amount of the Performance Security, the time within which the Performance Security shall be submitted and the time within which the Contract shall be signed. |
| Performance Security | Within fourteen (14) days of the receipt of Notification of Award from the Purchaser, the successful Tenderer shall furnish Performance Security for the due performance of the Contract in the amount specified in the TDS, using for that purpose the Performance Security Form (Form G-8) furnished in Section 5: Tender and Contract Forms. |
|  | The Performance Security shall be valid until a date twenty-eight (28) days after the date of completion of the Supplier’s performance obligations under the Contract, including any warranty obligations. |
|  | The proceeds of the Performance Security shall be payable to the Purchaser unconditionally upon first written demand as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract. |
| Contract: Signing | At the same time as the Purchaser issues the Notification of Award, the Purchaser shall send the Contract Agreement and all documents forming the Contract, to the successful Tenderer. |
|  | Within twenty-one (21) days of receipt of the Contract Agreement, the successful Tenderer shall sign, date and return it to the Purchaser. |
|  | Failure of the successful Tenderer to submit the Performance Security pursuant to ITT Clause 51 or sign the Contract pursuant to ITT Sub-Clause 52.2 shall constitute sufficient grounds for the annulment of the award and forfeiture of the Tender Security. In that event, the Purchaser may award the Contract to the next lowest evaluated responsive Tenderer at their quoted price (corrected for arithmetical errors), who is assessed by the Purchaser to be qualified to perform the Contract satisfactorily. |
|  | Immediately upon receipt of the signed Contract Agreement and Performance Security from the successful Tenderer, the Purchaser shall discharge and return the successful Tenderer’s Tender Security. |
| Advising Unsuccessful Tenderers | Upon the successful Tenderer furnishing Performance Security pursuant to ITT Clause 50, and signing the Contract pursuant to ITT Clause 51, the Purchaser shall also notify all other Tenderers that their Tenders have been unsuccessful. |
|  | The Purchaser shall promptly respond in writing to any unsuccessful Tenderer who, after notification in accordance with ITT Sub-Clause 52.1, requests in writing for the Purchaser to communicate the grounds on which its Tender was not selected. |
| Tenderer: Right to Complain | Any Tenderer has the right to complain if it has suffered or may suffer loss or damage due to a branch of a duty imposed on the Purchaser by the Public Procurement Regulations 2003 (PPR). |
|  | The Complaint shall firstly be processed through an administrative review following the procedures set act in Regulation 51 of the PPR. The place and address for the first step in the submission of complaints to the Administrative Authority is provided in the TDS. |
|  | If not satisfied with the outcome of the administrative review, the Tenderer may complain to the Review Panel pursuant to Regulation 53 of the PPR. |

| Section 2. Tender Data Sheet |
| --- |
| ITT Clause | Amendments of, and Supplements to, Clauses in the Instruction to Tenderers |
| A. General |
| ITT 1.1 | The Purchaser is Information Technology System Department represented by Deputy General Manager. |
|  | The Name of the Tender is: Re-Tender for Procurement of Computer Hardware and Accessories, MICR Machine, Network Device and Connectivity for CDC, DRS, Head Office Departments and Branches of Janata Bank Limited to implement True Online Banking on turn-key basis. Package-A Lot/Group- 1: (Items for CDC and DRS) Lot/Group- 2: (Network Device for CDC, DRS, Barnches and Accessories for Head Office and Branches) Lot/Group- 3: (CDC and DRS Construction) Package-B Lot/Group- 1: (Netwrork Connectivity-Primary) Lot/Group- 2: (Netwrork Connectivity-Alternative) Package-C Lot/Group- 1: (PC, MICR Machine, Laptop & Printer) Lot/Group- 2: (Line Printer) Lot/Group- 3: (UPS and AVS) |
| ITT 2.1 | The source of public fund is Bank's own budget. |
| ITT 2.3 | The name of the Development Partner is None. |
| ITT 4.1 | Tenderers from the following countries are not eligible: Israel. |
| ITT 5.1 | Non eligible countries are: Israel. |
| B. Tender Document |
| ITT 7.2 | The following are authorised agents of the Purchaser for the purpose of providing the Tender Document: “None”. |
| ITT 8.1 | For clarification of Tender purposes only, the Purchaser’s address is: Attention: Deputy General Manager Address: Information Technology System Department, Janata Bank Limited, Head Office, 110, Motijheel C/A (22nd floor), Dhaka-1000, Bangladesh. Telephone: 9553339 Facsimile number: 9564644 Electronic mail address: Shafiq@janatabank-bd.com |
| ITT 9.1 | A Pre- Tender meeting shall be held at 11.30 A.M. on 04-11-2009 at Information Technology System Department, Janata Bank Limited, Head Office, 110, Motijheel C/A (22nd floor), Dhaka-1000, Bangladesh. |
| C. Qualification Criteria |
| ITT 12.1(a) | The Tenderer shall have a minimum of 5(five) years of overall experience (for Package-A & Package-C) and 3(Three) Years of Overall Experience (For Package-B) in the supply of goods and related services. |
| ITT 12.1(b) | i) The Tenderer shall have a minimum of 3(three) years of specific experience in the supply of similar goods and related services, which shall be substantiated by submission of copies to performance certificates for supply of similar goods and related services to any government organization (including semi-government and autonomous bodies) or multi national companies or in banking sector with minimum value equal to the value of the Tender, from at least two organizations and/or two contracts. Preference will be given to those who have experience in Online Banking System. ii) Tenderer shall have adequate and satisfactory after sales’ services facilities as follows: Bidders must have well equipped after sales service bureau/center(s) / office(s) for software, computer hardware and LAN in Bangladesh manned by adequately qualified personnel. The Bidder must have at least 25(Twenty Five) suitably qualified hardware engineers. Bio-data of each person must be provided. The vendor has to provide 5 weeks related training to operate and maintain CDC, DRS, Head Office Departments and Branches including all the servers, network devices and equipments to run the system properly after successful installation (For Lot/Group-1 & Lot/Group-2 under Package-A). A Training Schedule in this regard has to be submitted. The vendor has to provide all the System and User manuals both in hard copy and soft copy (For Lot/Group-1 & Lot/Group-2 under Package-A). The successful Network Service Providers (Package-B) must sign a mutual agreement for Configuration and Management of Router Operation for smooth functioning of the Routers as well as Network Connectivity of the Online Banking System as per prescribed format of the Bank. The vendor has to supply all the hardware and equipments as per the banks requirements. |
| ITT 12.1(c) | The minimum production capacity or availability of equipment is/ are: “None” |
| ITT 13.1(a) | The minimum supply value of goods under a single contract in the last five years is for Tenderer as under: None |
| ITT 13.1(b) | The minimum amount of liquid asset or working capital or credit facility is None |
| D. Tender Preparation |
| ITT 17.1 | The Tender, as well as all correspondence and documents relating to the Tender shall be written in the English or Bangla language. |
| ITT 17.1(j) | The Tenderer shall submit with its Tender the following additional documents: i) Original Tender Document purchased by the Tenderer. ii) Original money receipt of purchasing Tender Document. iii) A Training Schedule to operate and maintain CDC, DRS, Head Office Departments and Branches including all the servers and equipments to run the system properly after successful installation (For Lot/Group-1 & Lot/Group-2 under Package-A). iv) Copy of Updated License from BTRC (Bangladesh Telecommunication Regulatory Commission) [For Package-B]. v) An undertaking to execute maintenance agreement to render maintenance services by their personnel. vi) An undertaking to sign the Deed Of Mutual Agreement For Router Management (For Package-B). |
| ITT 19.1 | Alternative Tenders shall not be permitted. |
| ITT 20.3 & ITT 42.5 | Tenders are being invited for 8 (Eight) lots/groups under 3(three) Packages. For participating in the Tender: The participating company may offer proposals for the items in any or all lots/groups under any Package and must quote all the items in that/those lot(s)/group(s) considering the condition set for Package-B. For Package-B, a company can offer for only 1(One) Lot/Group under this Package. If a company offers for both Lots/grups under this Package, both the offers will be disqualified. Evaluation will be done Lot/Group by Lot/Group basis and contract will also be awarded Lot/Group by Lot/Group basis |
| ITT 20.5 (c) | The final destination of the goods is: Central Data Center (CDC), Disaster Recovery Site (DRS), Head Office Departments and Branches all over the country as per requirement of Janata Bank Limited detailed at Annexure-I & II for Phase-1. |
| ITT 20.5 (d) | The Tenderer shall submit prices for the following incidental services: Installation, test run, commissioning. |
| ITT 20.7 | The prices quoted by the Tenderer shall be fixed for the duration of the Contract. |
| ITT 22.2 | A Manufacturer’s Authorisation Letter is required for all the items listed in Section 6: Schedule of Requirements. |
| ITT 26.1 | The Tender validity period shall be 150 (One hundred andFifty) days. |
| ITT 27.1 | The amount of the Tender Security shall be as under for: Package-A Lot/Group- 1: 30,00,000.00 (Thirty Lac) Only Lot/Group- 2: 7,50,000.00 (Seven Lac Fifty Thousand) only Lot/Group- 3: 10,00,000.00 (Ten Lac) only Package-B Lot/Group- 1: 2,00,000.00 (Two Lac) only Lot/Group- 2: 1,75,000.00 (One Lac Seventy Five thousand) only Package-C Lot/Group- 1: 5,00,000.00 (Five Lac) only Lot/Group- 2: 3,00,000.00 (Three Lac) only Lot/Group- 3: 50,000.00 (Fifty Thousand) only The Tender Security should be valid till 15-06-2010 |
| ITT 28.1 | In addition to the original of the Tender, 1(One) copy shall has to be submitted. |
| E. Tender Submission |
| ITT 29.2(b) | For Tender submission purposes only, the Purchaser’s address is: Attention: Deputy General Manager Address: Information Technology System Department (22nd floor), Janata Bank Limited, Head Office, 110, Motijheel C/A, Dhaka-1000, Bangladesh. The deadline for submission of Tenders is 12.00 p.m. on 18-11-2009. |
| ITT 29.2(c) | The inner and outer envelope shall bear the following additional identification marks: The name of the tender is: Re-Tender for Procurement of Computer Hardware and Accessories, MICR Machine, Network Device and Connectivity for CDC, DRS, Head Office Departments and Branches of Janata Bank Limited to implement True Online Banking on turn-key basis. The Tender Number is: JBL/ITSD/OTM-06/Re-Tender/2009 |
| F. Tender Opening and Evaluation |
| ITT 33.1 | The Tender opening shall take place at: Address: Information Technology System Department (22nd floor), Janata Bank Limited, Head Office, 110, Motijheel C/A, Dhaka-1000, Bangladesh. Date & Time: 18-11-2009 at 12.15 PM |
| ITT 42.3 | The applicable economic factors for evaluation shall be as follows: “None” |
| ITT 42.4(a) Option (i) | The following quantification methods shall be applied. Delivery schedule. “None” |
| ITT 42.4(b) | Cost of components and mandatory spare parts. “None” |
| ITT 42.4(c) | Spare parts and after-sales service facilities in Bangladesh. “None” |
| ITT 42.4(d) | Projected operating and maintenance costs. “None” |
| ITT 42.4(e) | Performance and productivity of equipment. “None” |
| ITT 45.2 | As additional post-qualification measures, Supply, installation and commissioning of Computer Hardware, Accessories and Network Connectivity, offered by the lowest evaluated tenderer may be subjected to the following tests and performance benchmarks prior to contract award: such documentation reviews, interviews with tenderer's clients referenced in its tender, reference site visits/inspection, witnessing performances of the offered goods and verification of other relevant information that the purchaser deems necessary and reasonable etc. |
| G. Contract Award |
| ITT 48.1 | The maximum percentage by which quantities per item may be increased or decreased is 15%. |
| ITT 50.1 | The amount of Performance Security shall be Ten [10] percent of the Contract Price. |
| ITT 53.1 | As per Rule: 57 of the PPR-2008. |
| ITT 53.2 | The name and address of the office where complaints to the Procuring Entity under Regulation 57 are to be submitted is: Chief Executive Officer & Managing Director, Janata Bank Limited, Head Office, Dhaka, Bangladesh. |

| Section 3. General Conditions of Contract |
| --- |
| Definitions | The following words and expressions shall have the meaning hereby assigned to them. Boldface type is used to identify the defined term: Completion Schedule means the fulfilment of the Related Services by the Supplier in accordance with the terms and conditions set forth in the Contract; Contract Agreement means the Agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein; Contract Documents means the documents listed in the Contract Agreement, including any amendments thereto; Contract Price means the price payable to the Supplier as specified in the Contract Agreement, subject to such additions and adjustments thereto or deductions therefrom, as may be made pursuant to the Contract; Day means calendar day; Delivery means the transfer of ownership of the Goods from the Supplier to the Purchaser in accordance with the terms and conditions set forth in the Contract; GCC mean the General Conditions of Contract; Goods means all of the commodities, raw materials, machineries and equipments, products and/or other materials in solid, liquid or gaseous form that the Supplier is required to supply to the Purchaser under the Contract, as specified in the PCC; Government means the Government of the People’s Republic of Bangladesh; Purchaser means the entity purchasing the Goods and Related Services, as specified in the PCC; Related Services means the services incidental to the supply of the goods, such as insurance, installation, training and initial maintenance and other similar obligations of the Supplier under the Contract; PCC means the Particular Conditions of Contract; Subcontractor means any natural person, private or government entity, or a combination of the above, including its legal successors or permitted assigns, who has a Contract with the Supplier to carry out a part of the supply in the Contract, or a part of the Related Services of the Contract; Supplier means the natural person, private or government entity, or a combination of the above, whose Tender to perform the Contract has been accepted by the Purchaser and is named as such in the PCC and the Contract Agreement, and includes the legal successors or permitted assigns of the Supplier; Writing means any hand-written, type-written, or printed communication including telex, cable and facsimile transmission |
| Contract Documents | Subject to the order of precedence set forth in the GCC Sub-Clause 5.1, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory. |
| Corrupt, Fraudulent, Collusive or Coercive Practices | The Government requires that Purchasers, as well as Suppliers, shall observe the highest standard of ethics during the implementation of procurement proceedings and the execution of contracts under public funds. |
|  | In pursuance of this requirement, the Purchaser shall: exclude the Supplier from participation in the procurement proceedings concerned or reject a proposal for award; and declare a Supplier ineligible, either indefinitely or for a stated period of time, from participation in procurement proceedings under public funds; if it at any time determines that the Supplier has engaged in corrupt, fraudulent, collusive or coercive practices in competing for, or in executing, a contract under public funds. |
|  | Should any corrupt, fraudulent, collusive or coercive practice of any kind referred to in GCC Sub-Clause 3.4 hereunder come to the knowledge of the Purchaser, it shall, in the first place, allow the Supplier to provide an explanation and shall, take actions as stated in GCC Sub-Clause 3.2 and GCC Sub-Clause 38.1(c) only when a satisfactory explanation is not received. Such exclusion and the reasons thereof shall be recorded in the record of the procurement proceedings and promptly communicated to the Supplier concerned. Any communications between the Supplier and the Purchaser related to matters of alleged corrupt, fraudulent, collusive or coercive practices shall be in writing. |
|  | The Government defines, for the purposes of this provision, the terms set forth below as follows: “corrupt practice” means offering, giving, or promising to give, directly or indirectly, to any officer or employee of a Procuring Entity or other governmental/private authority or individual a gratuity in any form, an employment or any other thing or service of value, as an inducement with respect to an act or decision of, or method followed by, a Procuring Entity in connection with the procurement proceeding; “fraudulent practice” means a misrepresentation or omission of facts in order to influence a procurement proceeding or the execution of a contract to the detriment of the Purchaser; “collusive practice” means a scheme or arrangement among two or more Tenderers with or without the knowledge of the Purchaser (prior to or after Tender submission) designed to establish Tender prices at artificial, non-competitive levels and to deprive the Purchaser of the benefits of free, open and genuine competition; and “coercive practice” means harming or threatening to harm, directly or indirectly, persons or their property to influence the procurement proceedings or affect the execution of a contract. |
|  | The Supplier shall permit the Purchaser to inspect the Supplier’s accounts and records and other documents relating to the submission of the Tender and Contract performance. |
| Interpretation | In interpreting the GCC, singular also means plural, male also means female or neuter, and the other way around. Headings in the GCC shall not be deemed part thereof or be taken into consideration in the interpretation or construction thereof or of the Contract. Words have their normal meaning under the English language unless specifically defined. |
|  | Entire Agreement (a) The Contract constitutes the entire agreement between the Purchaser and the Supplier and supersedes all communications, negotiations and agreements (whether written or oral) of parties with respect thereto made prior to the date of Contract Agreement. |
|  | Amendment (a) No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorised representative of each party thereto. |
|  | Non-waiver Subject to GCC Sub-Clause 4.4(b), no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract. Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorised representative of the party granting such waiver, and must specify the right and the extent to which it is being waived. |
|  | Severability (a) If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract. |
|  | Partial Supply (a) If partial supply is specified in the Schedule of Requirements, references in the GCC to the Supply and to the Delivery Date shall apply to any portion of the Supply (other than references to the Completion Date for the whole of the Supply). |
| Documents Forming the Contract and Priority of Documents | The following documents forming the Contract shall be interpreted in the following order of priority: the signed Contract Agreement; the letter of Notification of Award the completed Tender Submission Sheet as submitted by the Tenderer; the completed Price Schedules as submitted by the Tenderer; the Particular Conditions of Contract; the General Conditions of Contract; the Schedule of Requirements; the Technical Specifications; the Drawings, and; any other document listed in the PCC as forming part of the Contract. |
| Eligibility | The Supplier and its Sub-Contractors shall have the nationality of a country other than those specified in the PCC. |
|  | All Goods and Related Services supplied under the Contract shall have their origin in the countries except those specified in the PCC. |
| Governing Language | The Contract as well as all correspondence and documents relating to the Contract exchanged by the Supplier and the Purchaser shall be written in English, unless otherwise stated in the PCC. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the Contract, this translation shall govern. |
|  | The Supplier shall bear all costs of translation to the governing language and all risks of the accuracy of such translation. |
| Governing Law | The Contract shall be governed by and interpreted in accordance with the laws of the People’s Republic of Bangladesh. |
| Gratuities / Agency fees | No fees, gratuities, rebates, gifts, commissions or other payments, other than those shown in the Tender or the contract, shall be given or received in connection with the procurement process or in the contract execution. |
| Joint Venture, Consortium or Association (JVCA) | If the Supplier is a joint venture, consortium, or association, all of the parties shall be jointly and severally liable to the Purchaser for the fulfilment of the provisions of the Contract and shall designate one party to act as a leader with authority to bind the joint venture, consortium, or association. The composition or the constitution of the joint venture, consortium, or association shall not be altered without the prior consent of the Purchaser. |
| Confidential Information | The Purchaser and the Supplier shall keep confidential and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract. Notwithstanding the above, the Supplier may furnish to its Subcontractor such documents, data, and other information it receives from the Purchaser to the extent required for the Subcontractor to perform its work under the Contract, in which event the Supplier shall obtain from such Subcontractor an undertaking of confidentiality similar to that imposed on the Supplier under GCC Clause 11. |
|  | The Purchaser shall not use such documents, data, and other information received from the Supplier for any purposes unrelated to the contract. Similarly, the Supplier shall not use such documents, data, and other information received from the Purchaser for any purpose other than the design, procurement, or other work and services required for the performance of the Contract. |
|  | The obligation of a party under GCC Sub-Clauses 11.1 and 11.2 above, however, shall not apply to information that: the Purchaser or Supplier needs to share with institutions participating in the financing of the Contract; now or hereafter enters the public domain through no fault of that party; can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality. |
|  | The above provisions of GCC Clause 11 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply or any part thereof. |
|  | The provisions of GCC Clause 11 shall survive completion or termination, for whatever reason, of the Contract. |
| Communications and Notices | Communications between Parties (notice, request or consent required or permitted to be given or made by one party to the other) pursuant to the Contract shall be in writing to the addresses specified in the PCC. |
|  | A notice shall be effective when delivered or on the notice’s effective date, whichever is later. |
|  | A Party may change its address for notice hereunder by giving the other Party notice of such change to the address. |
| Patent and Intellectual Property Rights | The Supplier shall, subject to the Purchaser’s compliance with GCC Sub-Clause 13.2, indemnify and hold harmless the Purchaser and its employees and officers from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Purchaser may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property rights registered or otherwise existing at the date of the Contract by reason of: the installation of the Goods by the Supplier or the use of the Goods in Bangladesh; and the sale in any country of the products produced by the Goods. Such indemnity shall not cover any use of the Goods or any part thereof other than for the purpose indicated by or to be reasonably inferred from the Contract, neither any infringement resulting from the use of the Goods or any part thereof, or any products produced thereby in association or combination with any other equipment, plant, or materials not supplied by the Supplier, pursuant to the Contract. |
|  | If any proceedings are brought or any claim is made against the Purchaser arising out of the matters referred to in GCC Sub-Clause 13.1, the Purchaser shall promptly give the Supplier a notice thereof, and the Supplier may at its own expense and in the Purchaser’s name conduct such proceedings or claim and any negotiations for the settlement of any such proceedings or claim. |
|  | If the Supplier fails to notify the Purchaser within twenty-eight (28) days after receipt of such notice that it intends to conduct any such proceedings or claim, then the Purchaser shall be free to conduct the same on its own behalf. |
|  | The Purchaser shall, at the Supplier’s request, afford all available assistance to the Supplier in conducting such proceedings or claim, and shall be reimbursed by the Supplier for all reasonable expenses incurred in so doing. |
|  | The Purchaser shall indemnify and hold harmless the Supplier and its employees, officers, and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Supplier may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Purchaser. |
| Copyright | The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser by the Supplier herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party. |
| Assignment | The Supplier shall not assign, in whole or in part, its obligations under the Contract, except with the Purchaser’s prior written consent. |
| Sub contracting | The Supplier shall obtain approval of the Purchaser in writing of all Sub-Contracts to be awarded under the Contract if not already specified in the Tender. Sub-Contracting shall in no event relieve the Supplier from any of its obligations, duties, responsibilities, or liability under the Contract. |
|  | Subcontractors shall comply with the provisions of GCC Clause 3. |
| Supplier’s Responsib ilities | The Supplier shall supply all the Goods and Related Services specified in the Scope of Supply in conformity in all respects with the provisions of the Contract Agreement. |
| Purchaser’s Responsib ilities | The Purchaser shall pay the Supplier, in consideration of the provision of Goods and Related Services, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and manner prescribed in the Contract Agreement. |
| Scope of Supply | The Goods and Related Services to be supplied shall be as specified in Section 6: Schedule of Requirements. |
|  | Unless otherwise stipulated in the Contract, the Supply shall include all such items not specifically mentioned in the Contract but that can be reasonably inferred from the Contract as being required for attaining delivery of the Goods and completion schedule of the Related Services as if such items were expressly mentioned in the Contract. |
| Change Orders and Contract Amendments | The Purchaser may at any time order the Supplier through a notice in accordance with GCC Clause 12, to make changes within the general scope of the Contract in any one or more of the following: drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser provided such changes do not materially affect the scope of supply; the method of shipment or packing; the place of delivery; and the Related Services to be provided by the Supplier. |
|  | If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or in the Delivery/Completion Schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this Clause must be submitted within twenty-eight (28) days from the date of the Supplier’s receipt of the Purchaser’s Change Order. |
|  | Prices to be charged by the Supplier for any Related Services that might be needed, but which were not included in the Contract, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services. |
| Packing and Documents | The Supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit. |
|  | The packing , marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in the PCC, and in any subsequent instructions ordered by the Purchaser |
| Delivery and Documents and Acceptance | Subject to GCC Sub-Clause 20.1, the Delivery of the Goods and completion of the Related Services shall be in accordance with the Delivery and Completion Schedule specified in the Section 6: Schedule of Requirements. |
|  | The documents to be furnished by the Supplier shall be specified in the PCC, and shall be received by the Purchaser at least one week before arrival of the Goods and, if not received, the Supplier shall be responsible for consequent expenses. |
|  | Acceptance by the Purchaser shall be processed not later than fourteen (14) days from receipt of the goods at final destination in the form of an Acceptance Certificate, unless any defects in the supply, any damage during transport or any failure to meet the required performance criteria of the supply are identified and reported to the Supplier in accordance with GCC Clause 31 and GCC Clause 32. In such cases the Acceptance Certificate will be issued only for those parts of the contract supplies which are accepted. The Acceptance Certificate for the remaining supplies will only be issued after the Supplier has remedied the defects and/or any non-conformity in accordance with GCC Clause 31 and GCC Clause 32. |
| Contract Price | The Contract Price shall be as specified in the Contract Agreement subject to any additions and adjustments thereto, or deductions therefrom, as may be made pursuant to the Contract. |
|  | Prices charged by the Supplier for the Goods delivered and the Related Services performed under the Contract shall not vary from the prices quoted by the Supplier in its Tender, with the exception of any price adjustments authorised in the PCC. |
| Transport ation | Where the Supplier is required under the Contract to transport the Goods to a specified place of destination within Bangladesh, defined as the Site, transport to such place of destination including insurance, and other incidental costs, and temporary storage, if any, as shall be specified in the Contract, shall be arranged by the Supplier, and related costs shall be included in the Contract Price. |
| Spare Parts | As specified in the PCC, the Supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier: such spare parts as the Purchaser may elect to purchase from the Supplier, provided that this election shall not relieve the Supplier of any warranty obligations under the Contract; and in the event of termination of production of the spare parts : advance notification to the Purchaser of the pending termination, in sufficient time to permit the Purchaser to procure needed requirements; and following such termination, furnishing at no cost to the Purchaser, the blueprints, drawings, and specifications for the spare parts, if requested. |
|  | The Supplier shall carry sufficient inventories to assure ex-stock supply of spare parts as promptly as possible, but in any case within the time specified in the PCC for placing the order and opening the letter of credit. |
| Terms of Payment | The Contract Price, including any Advance Payments, if applicable, shall be paid in the manner as specified in the PCC. |
|  | The Supplier’s request for payment shall be made to the Purchaser in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and Related Services performed, and accompanied by the documents pursuant to GCC Clause 22 and upon fulfilment of any other obligations stipulated in the Contract. |
|  | Payments shall be made promptly by the Purchaser, no later than the dates indicated in the PCC. |
|  | In the event that the Purchaser fails to pay the Supplier any payment by its respective due date or within the period set forth in the PCC, the Purchaser shall pay to the Supplier interest on the amount of such delayed payment at the rate shown in the PCC, for the period of delay until payment has been made in full, whether before or after judgment or arbitration award. |
| Insurance | Unless otherwise specified in the PCC, the Goods supplied under the Contract shall be fully insured against loss or damage incidental to manufacture or acquisition, transportation, storage, and delivery, in the manner specified in the PCC. |
| Taxes and Duties | The Supplier shall be entirely responsible for all taxes, duties, license fees, and other such levies imposed or incurred until delivery of the contracted goods to the Purchaser. |
| Performance Security | In the case of Goods having warranty obligations the Performance Security shall be reduced to the amount specified in the PCC after delivery and acceptance of the Goods to cover the Supplier’s warranty obligations in accordance with GCC Sub-Clause 32.3. |
|  | The Purchaser shall notify the Supplier of any claim made against the Bank issuing the Performance Security. |
|  | The Purchaser may claim against the security if any of the following events occurs for fourteen (14) days or more; the Supplier is in breach of the Contract and the Purchaser has notified him that he is; and the Supplier has not paid an amount due to the Purchaser. |
|  | In the event the Supplier is liable to pay compensation under the Contract amounting to the full value of the Performance Security or more, the Purchaser may forfeit the full amount of the Performance Security. |
|  | If there is no reason to call the Performance Security, it shall be discharged by the Purchaser and returned to the Supplier not later than twenty-eight (28) days following the date of completion of the Supplier’s performance obligations under the Contract, including any warranty obligations. |
| Specifications and Standards | The Supplier shall ensure that the Goods and Related Services comply with technical specifications and other provisions of the Contract. |
|  | The Supplier shall be entitled to disclaim responsibility for any design, data, drawing, specification or other document, or any modification thereof provided or designed by or on behalf of the Purchaser, by giving a notice of such disclaimer to the Purchaser. |
|  | The Goods and Related Services supplied under this Contract shall conform to the standards mentioned in Section 7: Technical Specifications and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the goods’ country of origin. |
|  | Wherever references are made in the Contract to codes and standards in accordance with which it shall be executed, the edition or the revised version of such codes and standards shall be those specified in the Schedule of Requirements. During Contract execution, any changes in any such codes and standards shall be applied only after approval by the Purchaser and shall be treated in accordance with GCC Clause 20. |
| Inspections and Tests | The Supplier shall at its own expense and at no cost to the Purchaser carry out all such tests and/or inspections of the Goods and Related Services as are specified in the Schedule of Requirements. |
|  | The inspections and tests may be conducted on the premises of the Supplier or its Subcontractor and/or at the Goods’ final destination, or in another place in Bangladesh as specified in the PCC. Subject to GCC Sub-Clause 31.3, if conducted on the premises of the Supplier or its Subcontractor, all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser. |
|  | The Purchaser or its designated representative shall be entitled to attend the tests and/or inspections referred to in GCC Sub-Clause 31.2, provided that the Purchaser bear all of its own costs and expenses incurred in connection with such attendance including, but not limited to, all travelling and board and lodging expenses. |
|  | Whenever the Supplier is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser. The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser or its designated representative to attend the test and/or inspection. |
|  | The Purchaser may require the Supplier to carry out any test and/or inspection not required by the Contract, but deemed necessary to verify that the characteristics and performance of the Goods comply with the technical specifications, codes and standards under the Contract, provided that the Supplier’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price. Further, if such test and/or inspection impede the progress of manufacturing and/or the Supplier’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected. |
|  | The Supplier shall provide the Purchaser with a report of the results of any such test and/or inspection. |
|  | The Purchaser may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser, and shall repeat the test and/or inspection, at no cost to the Purchaser, upon giving a notice pursuant to GCC Sub-Clause 31.4. |
|  | The Supplier agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report pursuant to GCC Sub-Clause 31.6, shall release the Supplier from any warranties or other obligations under the Contract. |
| Warranty | The Supplier warrants that all the Goods are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Contract. |
|  | Subject to GCC Sub-Clause 30.1, the Supplier further warrants that the Goods shall be free from defects arising from any act or omission of the Supplier or arising from design, materials, and workmanship, under normal use in the conditions prevailing in Bangladesh. |
|  | Unless otherwise specified in the PCC, the warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the PCC. |
|  | The Purchaser shall give notice to the Supplier stating the nature of any such defects together with all available evidence thereof, promptly following the discovery thereof. The Purchaser shall afford all reasonable opportunity for the Supplier to inspect such defects. |
|  | Upon receipt of such notice, the Supplier shall, within the period specified in the PCC, expeditiously repair or replace the defective Goods or parts thereof, at no cost to the Purchaser. |
|  | If having been notified, the Supplier fails to remedy the defect within the period specified in the PCC; the Purchaser may proceed to take within a reasonable period such remedial action as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract. |
| Extensions of Time | If at any time during performance of the Contract, the Supplier or its subcontractors should encounter conditions impeding timely delivery of the Goods or completion of Related Services pursuant to GCC Clause 22, the Supplier shall promptly notify the Purchaser in writing of the delay, its likely duration, and its cause. As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may at its discretion extend the Supplier’s time for performance, in which case the extension shall be ratified by the Parties by amendment of the Contract. |
|  | Except in the case of Force Majeure, as provided under GCC Clause 37, a delay by the Supplier in the performance of its Delivery and Completion obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 34, unless an extension of time is agreed upon, pursuant to GCC Sub-Clause 33.1. |
| Liquidated Damages | Except as provided under GCC Clause 37, if the Supplier fails to deliver any or all of the Goods or perform the Related Services within the period specified in the Contract, the Purchaser may, without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the PCC of the Contract Price of the delayed Goods and/or Related Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in those PCC. Once the maximum is reached, the Purchaser may terminate the Contract pursuant to GCC Clause 38. |
| Limitation of Liability | Except in cases of criminal negligence or wilful misconduct , (a) the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser and (b) the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the supplier to indemnify the Purchaser with respect to patent infringement. |
| Change in Laws and Regulations | Unless otherwise specified in the Contract, if after the date twenty eight (28) days before the submission of Tenders for the Contract, any law, regulation, ordinance, order or bylaw having the force of law is enacted, promulgated, abrogated, or changed in Bangladesh (which shall be deemed to include any change in interpretation or application by the competent authorities) that subsequently affects the Delivery Date and/or the Contract Price, then such Delivery Date and/or Contract Price shall be correspondingly increased or decreased, to the extent that the Supplier has thereby been affected in the performance of any of its obligations under the Contract. Notwithstanding the foregoing, such additional or reduced cost shall not be separately paid or credited if the same has already been accounted for in the price adjustment provisions where applicable, in accordance with GCC Clause 23. |
| Force Majeure | The Supplier shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure. |
|  | For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Supplier that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Supplier. Such events may include, but not be limited to, acts of the Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes. |
|  | If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event. |
| Termination | Termination for Default (a) The Purchaser, without prejudice to any other remedy for breach of Contract, by giving twenty eight (28) days written notice of default, may terminate the Contract in whole or in part: (i) if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause 33; or (ii) if the Supplier fails to perform any other obligation under the Contract. In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Sub-Clause 38.1(a), the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed, and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services. However, the Supplier shall continue performance of the Contract to the extent not terminated. If the Supplier, in the judgment of the Purchaser has engaged in corrupt, fraudulent, collusive or coercive practices, as defined in GCC Clause 3, in competing for or in executing the Contract. |
|  | Termination for Insolvency. The Purchaser and the Supplier’s may at any time terminate the Contract by giving notice to the other party if either of the party becomes bankrupt or otherwise insolvent. In such event, termination will be without compensation to any party, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the other party. |
|  | Termination for Convenience. The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective. The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect: to have any portion completed and delivered at the Contract terms and prices; and/or to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier. |
| Settlement of Disputes | Amicable Settlement (a) The Purchaser and the Supplier shall use their best efforts to settle amicably all disputes arising out of or in connection with this Contract or its interpretation. |
|  | Arbitration If the Parties are unable to reach a settlement as per GCC Clause 39.1(a) within twenty-eight (28) days of the first written correspondence on the matter of disagreement, then either Party may give notice to the other party of its intention to commence arbitration in accordance with GCC Sub-Clause 39.2(b). The arbitration shall be conducted in accordance with the Arbitration Act (Act No 1 of 2001) of Bangladesh as at present in force and in the place shown in the PCC. |

| Section 4. Particular Conditions of Contract |
| --- |
| Instructions for completing the Particular Conditions of Contract are provided, as needed, in the notes in italics mentioned for the relevant GCC clauses. |
| GCC Clause | Amendments of, and Supplements to, Clauses in the General Conditions of Contract |
| GCC 1.1 (h) | The nature of the goods to be supplied are Package-A Lot/Group- 1: (Items for CDC and DRS) Lot/Group- 2: (Network Device for CDC, DRS, Barnches and Accessories for Head Office and Branches) Lot/Group- 3: (CDC and DRS Construction) Package-B Lot/Group- 1: (Netwrork Connectivity-Primary) Lot/Group- 2: (Netwrork Connectivity-Alternative) Package-C Lot/Group- 1: (PC, MICR Machine, Laptop & Printer) Lot/Group- 2: (Line Printer) Lot/Group- 3: (UPS and AVS) |
| GCC 1.1(j) | The Purchaser is Information Technology System Department, Janata Bank Limited, Head Office, 110, Motijheel C/A, Dhaka-1000, Bangladesh. |
| GCC 1.1(n) | The Supplier is Name- Address- Name of authorized representative. ( Please fill in the above blank spaces) |
| GCC 5.1(j) | The following documents shall also be part of the Contract (where applicable): 1. An undertaking to execute annual maintenance contract before expiry of warranty period. |
| GCC 6.1 | Suppliers and Sub-contractors from the following countries are not eligible: Israel |
| GCC 6.2 | Goods and Related Services from the following countries are not eligible: Israel |
| GCC 7.1 | Routine correspondence between the parties may be in English or Bangla. |
| GCC 12.1 | For notices, the Purchaser’s contact details shall be: Attention: Deputy General Manager Address: Information Technology System Department, Janata Bank Limited, Head Office, 110, Motijheel C/A (22nd floor), Dhaka-1000, Bangladesh. Telephone: 9553339 Facsimile number: 9564644 Electronic mail address: shafiq@janatabank-bd.com |
|  | For notices, the Supplier’s contact details shall be: Attention: Address: Telephone: Facsimile number: Electronic mail address: ( Please fill in the above blank spaces) |
| GCC 21.2 | A complete packing list indicating the content of each package shall be enclosed in a water proof envelope and shall be secured to the outside of the packing case. In addition, each package shall be marked with indelible ink/paint in bold letters, as follows: Contract Number Name and address of Purchaser Country of origin Gross weight Net weight Package number of total number of packages Brief description of the content Upright markings, where appropriate, shall be placed on all four vertical sides of the package. All materials used for packing shall be environmentally neutral. |
| GCC 22.2 | The documents to be provided are as follows: copies of Supplier’s invoice showing goods’ description, quantity, unit price, total amount; copies of the packing list identifying the contents of each package; manufacturer’s/ supplier’s warranty certificate (if any); inspection certificate issued by the nominated inspection agency (or Purchaser) and/ or the supplier’s factory inspection report (if any); certificate of origin. |
| GCC 23.2 | The prices charged for the Goods delivered and the Related Services to be performed shall be fixed for the duration of the contract. |
| GCC 25.1 | Additional spare parts requirements are specified in Annex- [ ] of the Specifications: None |
| GCC 25.2 | Within [ ] weeks of placing the order and opening the letter of credit. None |
| GCC 26.1 | The method and conditions of payment to be made to the Supplier under this Contract shall be as follows: through payment order issued in favour of the supplier for each lot/group separately. |
|  | Payments shall be made in Bangladesh Taka in the following manner : (i) For all Hardware and Accessories for CDC, DRS, Head Office Departments, Branches and Construction of CDC, DRS and Network Connectivity of all the Packages: on delivery, installation, commissioning and acceptance: upon submission of documents specified in GCC Clause 22.2 within sixty (60) days of submission of a claim supported by the Acceptance Certificate issued by the respective departments/branches. The supplier for both the Lot/Group must collect Acceptance Certificate From the Technical Team of ITSD, Head Office, Dhaka after successful completion of delivery, installation, commissioning of the goods/connectivity and include this certificate with the Bill. (ii) Upon satisfactory performance: the maintenance charges/reccuring cost shall be payable by the respective departments/branches. Payment will be made for the whole lot/group and in no case in advance. |
| GCC 26.4 | The payment-delay period after which the Purchaser shall pay interest to the supplier shall be 60(sixty) days. The interest rate that shall be applied is prevailing STD rate |
| GCC 27.1 | “All risks” insurance, including “war risks, riots, and/or strikes” shall be acquired for 110% of the delivered cost of the goods on “Warehouse to Warehouse” basis. |
| GCC 29.1 | The Performance Security shall be reduced to [5%] percent of the Contract Price. |
| GCC 31.2 | Regarding Inspections and tests: a) The Purchaser’s right to inspect, test in its premises or the supplier's premises and where appropriate reject the Goods after delivery, shall in no way be limited or waived by the reason of Goods having previously been inspected, tested or passed by the Purchaser or its representative prior the Goods shipment; b) The Purchaser will conduct/perform the User Acceptance Test receiving the goods from the successful Tenderer. |
| GCC 32.3 | The period of validity of the Warranty shall be: For all hardware, accessories, network device- 3(three) years from the date of satisfactory commissioning certificate to be issued by the respective departments/branches of the bank. The warranty period shall be extended for the goods and related services down time counted in days. For purposes of the Warranty, the place of final destination shall be: branches mentioned at TDS against ITT 20.5(c) |
| GCC 32.5 | The period for repair or replacement shall be: i) for the branches situated in Dhaka-Narayangonj-Gazipur not more than 3(three) hours after telephonic request and, on a monthly basis, 80 percent of all responses within 2(two) hour. In an emergency situation, respond within 1(one) hour of telephonic request. ii) for the branches situated outside Dhaka-Narayangonj-Gazipur not more than 6(six) hours after telephonic request and, on a monthly basis, 80 percent of all responses within 4(four) hours. In an emergency situation, respond within 4(four) hours of telephonic request. Replacement good(s) and service(s) shall be identical in all respects to the good(s) and service(s) originally supplied. Upgrade models from the same seller/ manufacturer and at least of the same capacity of original one will be acceptable. In default the bank will arrange for repair or replacement at cost of the supplier downtime in excess of 3(three) hours in Dhaka-Narayangonj-Gazipur and 6(six) hours outside Dhaka-Narayangonj-Gazipur per day to a maximum 5(five) times per month shall result in a penalty of Tk. 1,000/-(One thousand) per hour, which is to be paid by the supplier on demand. |
| GCC 34.1 | The liquidated damage shall be half of one percent (0.5%)of the Contract value per week or part thereof. |
|  | The maximum amount of liquidated damages shall be: Ten (10%) of the Contract value. |
| GCC 39.3(b) | Arbitration shall take place in: Dhaka (Janata Bank Limited, Head Office), Bangladesh. |

Section 5. Tender and Contract Forms

| Form | Title |
| --- | --- |
|  | Tender Forms |
| G – 1 | Tender Submission Sheet |
| G – 2 | Price Schedule |
| G – 3 | Specifications Submission Sheet |
| G – 4 | Tenderer Information Sheet |
| G – 5 | Manufacturer’s Authorisation Letter |
| G – 6 | Bank Guarantee for Tender Security |
|  | Contract Forms |
| G – 7 | Notification of Award |
| G – 8 | Contract Agreement |
| G – 9 | Bank Guarantee for Performance Security |
| G-10 | a) Maintenance Contract/Agreement for Hardware |
| G-11 | Deed Of Mutual Agreement For Router Management |

Forms G1 to G6 comprise part of the Tender and should be completed as stated in ITT Clause 17.

Forms G7 to G-10 comprise part of the Contract as stated in GCC Clause 5.

Forms G11comprise part of the Contract.

Tender Submission Sheet (Form G – 1)

| Invitation for Tender No: | Date: |
| --- | --- |
| Tender Package No: |  |
| To: [Name and address of Purchaser]] |  |

We, the undersigned, offer to supply in conformity with the Tender Document the following Goods and Related Services, viz:

The total price of our Tender, excluding  price reduction(s)  is:

| Tk: insert value in figures | (insert value in words) |
| --- | --- |

If applicable under Instruction to Tenderers (ITT) Sub-Clause 20.3, and in case we are awarded a contract for more than one lot in the package, the discounts / cross- discounts offered, and the methodology for its application is:

We undertake, if our Tender is accepted, to deliver the goods in [     ] (weeks / months) from the date of [      ], in accordance with the delivery schedule specified in the Schedule of Requirements.

We are not participating as Tenderers in more than one Tender in this Tendering process. Our Tender shall be valid for the period stated in the Tender Data Sheet and it shall remain binding upon us and may be accepted at any time before the expiration of that period. A Tender Security in the amount stated in the Tender Data Sheet is attached in the form of a [state pay order, bank draft, bank guarantee] valid for a period of 28 days beyond the Tender validity date.

If our Tender is accepted, we commit to obtaining a Performance Security in the amount stated in the Tender Data Sheet and valid for a period of 28 days beyond the date of completion of our performance obligations under the Contract, including any warranty obligations.

We declare that ourselves, and any subcontractors or suppliers for any part of the Contract, have nationalities from eligible countries and that the goods and related services will also be supplied from eligible countries. We also declare that the Government of Bangladesh has not declared us, and any subcontractors or suppliers for any part of the Contract, ineligible on charges of engaging in corrupt, fraudulent, collusive or coercive practices. We furthermore, pledge not to indulge in such practices in competing for or in executing  the Contract, and are aware of the relevant provisions of the Tender Document (ITT Clause 3).

We understand that your written Notification of Award shall constitute the acceptance of our Tender and shall become a binding contract between us, until a formal contract is prepared and executed.

We understand that you are not bound to accept the lowest evaluated Tender or any other Tender that you may receive.

|  | Signed |
| --- | --- |
|  | In the capacity of: Duly authorised to sign the Tender on behalf of the Tenderer. |
|  | Date: |

(The Tenderer is requested to fill in each space of this FORM, if not applicable state 'N/A'. Please do not alter or modified the form.)

## Price Schedule for Goods* (Form G-2A)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  |  |  |

A: PRICE OF GOODS AND DELIVERY SCHEDULE

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item N( . | Description Of Item | Unit Of Supply | Qty Of units Required | Unit price EXW | Total price EXW (col. 4 ( 5) | Extra Price to deliver Goods to final destination | Total price Delivered (col. 6 +7) | VAT and other taxes payable if contract is awarded | Point of Delivery And Delivery Period Offered |
|  |  |  |  | Note 1 / Note 2 |  | Note 3 |  | Note 4 |  |
|  | LOT/GROUP No. : [enter description of Lot as specified in Section 6: Schedule of Requirements] |
|  | [add as many rows and details as there are individual items in the Lot/Group] | [Do the below for | Same each Lot/Group] |  |  |  |  |  |  |
|  | Package- ….. |  |  |  |  |  |  |  |  |
|  | LOT/GROUP No. … |  |  |  |  |  |  |  |  |

- Price for Goods refers the Goods' Price with other costs including warranty for the products for Package-A & C and Installation cost for Package-B.

- If any Tender quote “NIL”/”Free” or any other word with such meaning in the Price Schedule MUST be followed by an Explanation of the Tenderer for such offer.

Note 1: EXW means Ex-works; Ex-factory; Ex-warehouse; Ex-show-room, or off-the-shelf as applicable

Note 2: Unit Price EXW shall include all custom duties and taxes as specified in ITT Sub-Clause 20.5(a)

Note 3: Price for inland transportation shall include insurance and other costs as specified in ITT Sub-Clause 20.5(c)

Note 4: VAT and any other taxes payable in Bangladesh shall be included here as specified in ITT Sub-Clause 20.5(b)

Name of Tenderer _____________________________Signature of Tenderer _________________________ Date _________________________

(The Tenderer is requested not to alter or modified the form.)

Price Schedule for Related Services * (Form G-2B)

| Invitation for Tender No: |  | Date |  |
| --- | --- | --- | --- |
| Tender Package No: |  |  |  |

B: PRICE OF RELATED SERVICES AND COMPLETION SCHEDULE

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item N( . | Description Of Related Service | Unit of Supply | Qty Of units Required | Unit price | Total price (col. 4 ( 5) | Other Related Costs | Total price (col. 6 +7) | VAT and other taxes payable if contract is awarded | Point of Delivery And date Required |
|  |  | Note 1 | Note 1 |  |  | Note 1 |  | Note 2 |  |
|  | LOT/GROUP No. …: [enter description of Lot/Group as specified in Section 6: Schedule of Requirements] |
|  | [add as many rows and details as there are individual items in the Lot/Group] |  | Same each Lot /Group] |  |  |  |  |  |  |
|  | Package- ….. |  |  |  |  |  |  |  |  |
|  | LOT/GROUP No. … |  |  |  |  |  |  |  |  |

Note 1: The Tenderer will complete these columns as appropriate following the details specified in Section 6: Schedule of Requirements

Note 2: VAT and any other taxes payable in Bangladesh shall be included here as specified in ITT Sub-Clause 20.5(b)

*

- Related Services refers the Maintenance for 2(two) years after the 3 years warranty for the products for Package – A & C and Monthly Reccuring Cost (service charge) for 5(five) years for Package -B. The Tenderer for Package- B must include their related cost for Configuration and Management of Router Operation for smooth functioning of the Routers as well as Network Connectivity.

- If any Tender quote “NIL”/”Free” or any other word with such meaning in the Price Schedule MUST be followed by an Explanation of the Tenderer for such offer.

Name of Tenderer _________________________ Signature of Tenderer _____________________________________ Date ________________________

(The Tenderer is requested not to alter or modified the form.)

Projected Costs for expansion of Branches under Phase-II for Package-B

The Tenderer for Package -B MUST also provide a separate Price Schedule for connectivity for expansion of branches under Phase-II (List of the branches are at Annexure-III). This priced schedule will not be taken into account in the Tender evaluation, but will be effective if Bank expands the network connectivity for Phase-II branches.

| Price Schedule for future Expandability of Package-B for Phase -II |
| --- |
| Sl | Item | Unit | Cost within 1st & 2nd year* | Cost within 3rd & 4th Year* | Cost within 5th Year & Above* |
| 01 | Installation cost for the branches mentioned at Annexure-III | Per Branch |  |  |  |
| 02 | Monthly Service Charge (Recurrent Cost) for the branches mentioned at Annexure-III | Per Branch |  |  |  |

* The year will be calculated after signing date of the contract.

## Specifications Submission Sheet (Form G-3)

| Invitation for Tender No: |  | Date |  |
| --- | --- | --- | --- |
| Tender Package No: |  |  |  |

| ItemNo | Name of Goods or Related Service | Country of Origin | Make and Model (when applicable) | Full Technical Specifications and Standards |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
|  | FOR GOODS | [the Tenderer should complete columns 3, 4 and 5 as required] |
|  | Lot/Group No. 1 |  |  |  |
|  | Lot/Group No. 2 |  |  |  |
|  | FOR RELATED SERVICES |  |
|  | Lot/Group No. 1 |  |  |  |
|  | Lot/Group No. 2 |  |  |  |

Name of Tenderer _____________ Signature of Tenderer ____________________Date ________________________

## Tenderer Information Sheet (Form G-4)

| Invitation for Tender No: |  | Date |  |
| --- | --- | --- | --- |
| Tender Package No: |  |  |  |

A. Individual Tenderers

| 1. General Information of the Tenderer |
| --- |
| 1.1 | Tenderer’s Legal Name |  |
| 1.2 | Tenderer’s legal address in Country of Registration |  |
| 1.3 | Tenderer’s legal status |  |
|  | Proprietorship |  |
|  | Partnership (Registered under the Partnership Act, 1932) |  |
|  | Limited Liability Concern (Registered under the Companies Act, 1913) |  |
|  | Others |  |
| 1.4 | Tenderer’s Year of Registration |  |
| 1.5 | Tenderer’s business status |  |
|  | Manufacturer |  |
|  | Local Agent/Distributor of a foreign Manufacturer |  |
|  | Stockist |  |
|  | Others |  |
| 1.6 | Tenderer’s Authorised Representative Information |  |
|  | Name |  |
|  | Address |  |
|  | Telephone / Fax Numbers |  |
|  | e-mail address |  |
| 1.7 | Tenderer’s Value Added Tax Registration Number |  |
| 1.8 | Tenderer’s Income Tax Identification Number (TIN) |  |
| 1.9 | Tenderer to attach copies of the following documentation: | Articles of Incorporation or Registration of firm. Latest Income Tax Clearance Certificate Latest VAT Registration Certificate Original letter naming the person authorised to sign on behalf of the Tenderer Others (to be completed by the Purchaser if required) |
| 2. Qualification Information of the Tenderer |
| 2.1 | Number of years of overall experience of the Tenderer in the supply of goods and related services: |  |
| 2.2 | Number of years of experience of the Tenderer in the supply of similar goods and related services: |  |
| 2.3 | Total annual monetary value of similar goods supplied in each of the last five years. [ | [write “Not applicable”, if this information is not asked in ITT 13.1(a)] |
| 2.4 | Available liquid assets | [write “Not applicable”, if this information is not asked in ITT 13.1(b)] |
| 2.5 | Details of production capacity/ equipment available: | [write “Not applicable”, if this information is not asked in ITT 12.1(c)] |
| 2.6 | Major supplies of similar type of Goods over the last five years. Also list details of supplies of similar type of Goods under way or committed, including expected delivery date. |  |
| 3. Financial Information of the Tenderer |
| 3.1 | Financial reports or balance sheets or profit and loss statements or auditors’ reports or bank references with documents or a combination of these demonstrating availability of liquid assets. List below and attach copies. |
| 3.2 | Name, address, and telephone, telex, and facsimile numbers of banks that may provide references if contacted by the Employer |
| 3.3 | Information on litigation in which the Tenderer is, or has been, involved: |
|  | (a) Any case within the past five years |
|  | Cause of Dispute | Result of Settlement and amount involved |
|  | (b) Current cases in this financial year |
|  | Cause of Dispute | Current Position of Case |
| Note: The above represents the minimum requirements. These may be added to buy the Purchaser on a case-by-case basis, as necessary. |

B. Individual Members of a Joint Venture

| 4.1 | Each Member of a JVCA shall provide all the information requested in the form above, Sections 1-3. |
| --- | --- |
| 4.2 | Attach a power of attorney for each of the authorising signatories of the Tender on behalf of the JVCA. |
| 4.3 | Attach the Agreement among all Members of the JVCA (and which is legally binding on all Members), which shows that: all Members shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms; one of the Members will be nominated as being in charge, authorised to incur liabilities, and receive instructions for and on behalf of any and all Members of the joint venture; and the execution of the entire Contract, including payment, shall be done exclusively with the Member in charge |
| Note: The above represents the minimum requirements. These may be added to buy the Purchaser on a case-by-case basis, as necessary. |

(The Tenderer is requested to fill in each space of this FORM, if not applicable state 'N/A'. Please do not alter or modified the form.)

## Manufacturer’s Authorisation Letter (Form G - 5)

[This letter of authorisation should be on the letterhead of the manufacturer and should be signed by the person with the proper authority to sign documents that are binding on the manufacturer]

| Invitation for Tender No: | Date: |
| --- | --- |
| Tender Package No: |  |
| To: Name and address of Purchaser] |  |

WHEREAS, we [name and address of manufacturer] are reputable manufacturers having factories at [list of places of factories].

THEREFORE, we do hereby:

- Authorise [name of Tenderer] to submit a Tender in response to the Invitation for Tenders indicated above, the purpose of which is to provide the following Goods, [description of goods], manufactured by us, and to subsequently sign the Contract for the supply of such Goods; and,

- Extend our full guarantee and warranty in accordance with GCC Clause 32, with respect to the Goods offered in the Tender.

|  | Signed |
| --- | --- |
|  | In the capacity of: Duly authorised to sign the authorisation for and on behalf of |
|  | [name of manufacturer] |
|  | Date: |

## Bank Guarantee for Tender Security (Form G – 6)

[this is the format for the Tender Security to be issued by a scheduled bank

of Bangladesh in accordance with ITT Clause 28]

| Invitation for Tender No: | Date: |
| --- | --- |
| Tender Package No: |  |
| To: [Name and address of Purchaser] |  |

TENDER GUARANTEE No:

We have been informed that [name of Tenderer] (hereinafter called “the Tenderer”) intends to submit to you its Tender dated [date of Tender] (hereinafter called “the Tender”) for the supply of [description of goods and related services] under the above Invitation for Tenders (hereinafter called “the IFT”).

Furthermore, we understand that, according to your conditions Tenders must be supported by a Tender guarantee.

At the request of the Tenderer, we [name of bank] hereby irrevocably undertake to pay you, without cavil or argument, any sum or sums not exceeding in total an amount of Tk [insert amount in figures and in words] upon receipt by us of your first written demand accompanied by a written statement that the Tenderer is in breach of its obligation(s) under the Tender conditions, because the Tenderer:

- has withdrawn its Tender during the period of Tender validity specified by the Tenderer in the Form of Tender; or

- does not accept the correction of errors in accordance with the Instructions to Tenderers of the IFT; or

- having been notified of the acceptance of the Tender by the Purchaser during the period of Tender validity, (i) fails or refuses to furnish the Performance Security in accordance with the ITT, or (ii) fails or refuses to execute the Contract Form,

This guarantee will expire :

- if the Tenderer is the successful Tenderer, upon our receipt of a copy of the Performance Security and a copy of the Contract signed by the Tenderer as issued by you; or

- if the Tenderer is not the successful Tenderer, twenty eight days after the expiration of the Tenderer’s Tender validity period, being [date of expiration of the Tender].

Consequently, we must receive at the above-mentioned office any demand for payment under this guarantee on or before that date.

| Signature | Signature |
| --- | --- |

## Notification of Award (Form G - 7)

| Contract No: | Date: |
| --- | --- |
| To: |  |

This is to notify you that your Tender dated [insert date] for the supply of goods and related services for [name of project/contract] for the Contract Price of Taka [amount in figures and in words], as corrected and modified in accordance with the Instructions to Tenderers is hereby accepted by [name of Procuring Entity].

You are requested to proceed with the supply of the goods and the related services and note that this Notification of Award shall constitute the formation of a Contract, which shall only become binding upon you furnishing a Performance Security within 14 days, in accordance with ITT Clause 50, and the signing of the Contract Agreement within 21 days, in accordance with ITT Clause 51.

We attach the Contract Agreement and Contract Documents for you perusal and signature.

|  | Signed |
| --- | --- |
|  | Duly authorised to sign for and on behalf of [name of Procuring Entity |
|  | Date: |

## Contract Agreement (Form G - 8)

THIS AGREEMENT made the [day] day of [month] [year] between [name and address of Purchaser] (hereinafter called “the Purchaser”) of the one part and [name and address of Supplier] (hereinafter called “the Supplier”) of the other part:

WHEREAS the Purchaser invited Tenders for certain goods and related services, viz, [brief description of goods and related services] and has accepted a Tender by the Supplier for the supply of those goods and related services in the sum of Taka [Contract Price in figures and in words] (hereinafter called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the General Conditions of Contract hereafter referred to.

2.	The documents forming the Contract shall be interpreted in the following order of priority:

- the signed Form of Contract Agreement;

- the letter of Notification of Award

- the completed Tender Submission Sheet as submitted by the Tenderer;

- the completed Price Schedules as submitted by the Tenderer;

- the Particular Conditions of Contract;

- the General Conditions of Contract;

- the Schedule of Requirements;

- the Technical Specifications;

- any other document listed in the PCC as forming part of the Contract.

3.	In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the goods and related services and to remedy any defects therein in conformity in all respects with the provisions of the Contract.

4.	The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the goods and related services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of Bangladesh on the day, month and year first written above.

|  | For the Purchaser: | For the Supplier: |
| --- | --- | --- |
| Signature |  |  |
| Print Name |  |  |
| Title |  |  |
| In the presence of Name |  |  |
| Address |  |  |

## Bank Guarantee for Performance Security (Form G – 9)

[this is the format for the Performance Security to be issued by a scheduled bank

of Bangladesh in accordance with ITT Clause 50]

| Contract No: | Date: |
| --- | --- |
| To: [Name and address of Purchaser] |  |

PERFORMANCE GUARANTEE No:

We have been informed that [name of supplier] (hereinafter called “the Supplier”) has undertaken, pursuant to Contract No [reference number of Contract] dated [date of Contract] (hereinafter called “the Contract”) for the supply of [description of goods and related services] under the Contract.

Furthermore, we understand that, according to your conditions, Contracts must be supported by a performance guarantee.

At the request of the Supplier, we [name of bank] hereby irrevocably undertake to pay you, without cavil or argument, any sum or sums not exceeding in total an amount of Tk [insert amount in figures and in words] upon receipt by us of your first written demand accompanied by a written statement that the Supplier is in breach of its obligation(s) under the Contract conditions, without you needing to prove or show grounds or reasons for your demand of the sum specified therein.

This guarantee is valid until [date of validity of guarantee], consequently, we must receive at the above-mentioned office any demand for payment under this guarantee on or before that date.

| Signature | Signature |
| --- | --- |

## Maintenance Agreement (Form G – 10(a))

Maintenance Agreement

For

THE ---------------------------------------------------------------------------------------------- INSTALLED AT ------------ BRANCH OF JANATA BANK LIMITED, ON “TURN-KEY” BASIS AS PER OUR PURCHASE ORDER NO................... DATED...............

This DEED OF AGREEMENT is made on the ----------------- day of -------------------in the year two thousand ......of the Christian era.

B E T W E E N

.................................... Ltd., a company incorporated under the laws of Bangladesh having its office at ..................................., Bangladesh, hereafter referred to as “Vendor” represented by its Managing Director Mr. ....................................... herein after called the FIRST PARTY and referred to as the Party of the FIRST PART (Vendor) (which expression shall mean their successors, legal representative, assignee, executor, administrator etc.)

AND

JANATA BANK LIMITED, a bank registered with the registrar Joint Stock Companies and Firms, Dhaka under Company Act of 1994, with all the liabilities and asset of Janata Bank (which was duly established as per Bangladesh Bank’s Nationalization Order 1972)(the Presidential Order No.26 of 1972) having its  Head Office at “JANATA BHABAN” 110, Motijheel C/A., Dhaka-1000, Bangladesh, hereafter referred to as “Bank”, with its ---------------------------------------- branch [Name and Address], Bangladesh, herein after called the SECOND PARTY and referred to as the Party of the SECOND PART(which expression shall mean its legal representative, assignee, executor, administrator etc.)

The parties agree as follows:

01.00 The FIRST PART agrees to maintain the equipment as per appended list together with Operating System Software/Printer Driver to operate in accordance with the Specifications in the equipment list. Bank agrees to pay for the Maintenance cost of the equipment in accordance with the terms of this Agreement.

01.01 For the purposes of this Contract:

(a) ''Equipment" means all the hardware system and essential software and accompanying documentation supplied by the FIRST PART as listed on the Equipment list including cables, terminals, connectors, spares and electrical fittings.

(b) ''Operating System software" means environmental software i.e. software supplied the Equipment necessary to make it operate as opposed to software that runs applications.

(c) "Specification" means any statement of the performance, physical characteristics, operating characteristics, space requirement, modularity, timing requirement and the like of the Equipment whether contained in the Tender Document, vendor's proposal or other Contract Documents.

02.00 That the Maintenance Agreement for 2 (two) years will be effective after completion of three years warranty period.

02.01 The FIRST PART shall maintain the Equipment so that it continues to meet the requirements of the Specifications. In default the Bank will arrange to maintain the Equipment and the Vendor shall pay the amount on demand without protest.

03.00 That the Maintenance Agreement would be valid up to ---------------- and it may only be cancelled by the SECOND PART under provision mentioned at para 15.00.

04.00 That the SECOND PART shall pay the cost of maintenance as per attached year wise maintenance cost list of the said Equipment to the FIRST PART for each period of 1 (one) year of the Maintenance Agreement.

05.00 That the FIRST PART shall provide all repairs including cost of labor, replacement and spare parts for the said Equipment arising out of faulty behaviour of the components of the Equipment without any additional expense to the SECOND PART.

06.00 That the FIRST PART shall perform all routine checkup and maintenance work such as servicing, cleaning of dust, removal of bugs, Viruses etc. if any of all the computer system at least once in a month and preventive maintenance needed to keep the Equipment in good working order and condition and functioning as required by the specifications and Equipment manufacturer's specifications. They shall be liable for any damage to Equipment due to willful errors or negligence and careless uses by his staff during the period of maintenance.

07.00. For the branches situated in Dhaka-Narayangonj-Gazipur, Equipment maintenance shall be provided not more than 3(three) hours after telephonic request and, on a monthly basis, 80 percent of all responses shall be within 2(two) hour. When SECOND PART notifies FIRST PART of an emergency situation, FIRST PART shall respond within 1(one) hour of telephonic request.

08.00. For the branches situated outside Dhaka-Narayangonj-Gazipur, Equipment maintenance shall be provided not more than 6(six) hours after telephonic request and, on a monthly basis, 80 percent of all responses shall be within 4(four) hours. When SECOND PART notifies FIRST PART of an emergency situation, FIRST PART shall respond within 4(four) hours of telephonic request till FIRST PART has no offices at these places. FIRST PART shall open offices at these places if it fails to provide Equipment maintenance within this time. When FIRST PART has offices at these places, Equipment maintenance shall be provided within the time mentioned in the above para 07.00.

09.00 If it is found that the Goods needs repair and requires time more than 2 (two) hour to correct the Equipment, the FIRST PART shall replace the hardware on the spot.

10.00. However, FIRST PART shall, at this option, repair or replace any part of the Equipment when there is a malfunction. If the FIRST PART thinks it necessary to take any defective Equipment at its premises for repair/ replacement, FIRST PART shall carry the Equipment with the help of its own staff and own cost. All maintenance shall be performed by maintenance engineers certified by the manufacturer to perform maintenance of the Equipment.

11.00 During the maintenance period, the FIRST PART shall support the Operating System Software and other Software by promptly diagnosing and correcting errors, bugs or problems; providing updated user and software documentation; and replacing defective Operating System Software and other software.

12.00 The SECOND PART shall operate and handle the Equipment with sufficient care and attention, properly and without any negligence such as:-

a) shall start/ switch on the hardware equipment according to order;

b) shall check whether the power supply is O.K. or not;

c) in case of any problem during the operation or handling of the Equipment, it shall inform the FIRST PART of the problem immediately without trying to solve the problem itself.

13.00 The FIRST PART shall neither be liable for any damage to Equipment during the period of maintenance agreement due to mishandling or careless uses by the staff of the SECOND PART nor would it bear any responsibility for inappropriate results arrived at by the Equipment due to procedural mistake done or operational errors committed by the staff of SECOND PART.

14.00 That the fees that is mentioned in para 04 shall be payable on yearly basis after satisfactory completion of each year. The maintenance fees shall be paid by the SECOND PART within 45 (forty five) days of submission of the invoice by the FIRST PART on completion of each year.

15.00 That the agreement can be terminated by the SECOND PART giving a notice of 3 (three) months in writing to the FIRST PART. In such event charges on pro-rata basis, will be paid.

16.00 If the FIRST PART fails to perform its obligations under the Agreement for any period, the SECOND PART shall be entitled to claim damage to the extent of 8% (eight percent) of the Equipment value from the FIRST PART for the period.

17.00 To ensure sufficient operations of the Equipment, the FIRST PART must keep in stock at least but not limited to the following critical components to meet emergency situations:

-- mother board / chips

-- processor board

-- hard disk

-- memory card

-- power supply unit

-- diskette drive / removable drive,

-- backup device / storage media etc.

-- battery, fuse etc.

-- printer head, ribbon musk etc.

Downtime of the computer system in excess of 3 (three) hours in and Dhaka-Narayangonj-Gazipur and 6 (six) hours outside Dhaka-Narayangonj-Gazipur per day to a maximum of 5 (five) times per month shall result in a penalty of Tk. 1,000/-(One thousand) per hour, which is to be paid by the FIRST PART to the SECOND PART on demand.

18.00 This maintenance Agreement shall cover the replacement of all external parts, mother board / chips, Processor, hard disk, memory card, power supply unit, diskette drive, backup device / storage media etc.

19.00 That all other terms, conditions of the tender schedule, purchase order, supply contract, correspondences etc, related to the Equipment shall form part of this agreement, if not otherwise specified.

20.00 That if FIRST PART goes into liquidation or is put under receivership, voluntary or otherwise, this agreement will be treated as null and void.

21.00 In regard to all other conditions not stipulated hereinabove, the laws of Bangladesh shall apply to this contract and in the event of any interpretation of any clause or clauses and dispute it should be referred to a sole arbitrator to be appointed by the SECOND PART of the rank of General Manager of the SECOND PART whose decision shall be binding upon the parties.

In witness thereof both the parties put their respective signature and seal on this date, month and year referred above.

| WITNESS: |  | AUTHORISED SIGNATURE OF THE VENDOR |
| --- | --- | --- |
| 1. |  |  |
| 2. |  | AUTHORISED SIGNATURE OF THE BANK |

DEED OF MUTUAL AGREEMENT FOR ROUTER MANAGEMENT

THIS AGREEMENT made the [day] day of [month] [year] between [name and address of Network Service Provider (Primary)] (hereinafter called “the 1st Party”) as one part of the agreement and [name and address of Network Service Provider (Alternative)] (hereinafter called “the 2nd Party”) as the other part of the agreement:

WHEREAS both the parties have been selected by Janata Bank Limited as Successful Tenderer and later as Supplier of Goods and Related Services against the Tender Reference No: JBL/ITSD/OTM-06/Re-Tender/2009 issued on:- 29-10-2009 for Procurement of Computer Hardware and Accessories, Network Device and Connectivity for CDC, DRS, Head Office Departments and Branches of Janata Bank Limited to implement True Online Banking on turn-key basis in Package-B and both the parties party will provide network connectivity for at least 5(five) years initially for fully operative of Online Banking System in Janata Bank Limited. The parties have already signed “Contract Agreement” separately with Janata Bank Limited.

CONDITIONS SET FOR THE PARTIES:

- In this Agreement all the parties agree that they will work jointly for smooth functioning of the Routers Operation for Online Banking System of Janata Bank Limited. Here smooth functioning of the Routers stands for configuration of the Router, Router management and any other related activities of the Router as well as network connectivity for Online Baking Operation.

- Any charges for maintaining smooth functioning of Routers as well as maintenance of the same will be borne by the parties which they have already quoted in their tender proposal and accepted by the bank.

- For any disturbance or disruption of Online Banking Operation due to failure of Router Management, above mentioned parties will be responsible solely and jointly.

- If the system fails to function smoothly which is stated in Para-01, then Janata Bank Limited may impose penalty to all the above mentioned parties as per Contract Agreement signed between the Parties and the Bank.

- In case of any ambiguity arises to implement this agreement, the Contract Agreement signed between the Parties and the Bank will prevail.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of Bangladesh on the day, month and year first written above.

|  | For the 1st Party | For the 2nd Party |
| --- | --- | --- |
| Signature |  |  |
| Print Name |  |  |
| Title |  |  |
| In the presence of Name |  |  |
| Address |  |  |

# Section 6.	Schedule of Requirements

| Invitation for Tender No: |  | Date |  |
| --- | --- | --- | --- |
| Tender Package No: |  |  |  |

A.	List of Goods and Delivery Schedule

(When completing Form G-2 the Tenderer shall quote prices and contract delivery dates for each item against each lot and show each Lot/Group separately, as specified in the List of Goods and Delivery Schedule.)

| Item No. | Description of Item | Unit of Supply | Quantity of Units required | Point of Delivery | Date Required (in weeks) |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
|  | Purchaser’s Option for delivery terms is: | from date of contract signature |
| PACKAGE-A |
| Lot/Group No. 1: (Items for CDC and DRS) |
| A) Items for Central Data Center (CDC) | As per Annexure-I | 10 weeks |
| 1 | Web Server | Piece | 2 |  |  |
| 2 | Application Server ( Active - Active) | Piece | 2 |  |  |
| 3 | Database Server ( Active - Active) | Piece | 2 |  |  |
| 4 | Internet Application Server | Piece | 1 |  |  |
| 5 | Internet Web Server | Piece | 1 |  |  |
| 6 | Test and Development Server | Piece | 1 |  |  |
| 7 | Rack + Console Kit + HMC | Piece | 2 |  |  |
| 8 | External Storage System ( 10TB in RAID 1+0) | Piece | 1 |  |  |
| 9 | Storage Area Network (SAN) Switch | Piece | 2 |  |  |
| 10 | Tape Library | Piece | 1 |  |  |
| b) Items for Disaster Recovery Site (DRS) |  |  |
| 1 | Web Server | Piece | 1 |  |  |
| 2 | Application Server | Piece | 1 |  |  |
| 3 | Database Server | Piece | 1 |  |  |
| 4 | Internet Application Server | Piece | 1 |  |  |
| 5 | Internet Web Server | Piece | 1 |  |  |
| 6 | Rack + Console Kit + HMC | Piece | 1 |  |  |
| 7 | External Storage System ( 10TB in RAID 1+0) | Piece | 1 |  |  |
| 8 | Storage Area Network (SAN) Switch | Piece | 2 |  |  |
| 9 | Tape Library | Piece | 1 |  |  |
| Lot/Group No. 2: (Network Device for CDC, DRS, Branches and Accessories for Head Office and Barnches) |
| A. Network Device for Central Data Center (CDC) | As per Annexure-I | 10 weeks |
| 01 | Core Router | Piece | 2 |  |  |
| 02 | Internet Router | Piece | 1 |  |  |
| 03 | Core Switch | Piece | 2 |  |  |
| 04 | Server Firm Switch | Piece | 2 |  |  |
| 05 | DMZ and DMZ Server Firm Switch | Piece | 2 |  |  |
| 06 | Access Floor Switch | Piece | 14 |  |  |
| 07 | IT Floor (Access-Switch) | Piece | 2 |  |  |
| 08 | Core Firewall | Piece | 2 |  |  |
| 09 | Internet Firewall with Content Security Module | Piece | 1 |  |  |
| B. Network Device for Disaster Recovery Site (DRS) |  |  |
| 01 | Core Router | Piece | 1 |  |  |
| 02 | Core Switch | Piece | 1 |  |  |
| 03 | Internet Firewall | Piece | 1 |  |  |
| C. Accessories for Head Office Floor |  |  |
| c) Accessories for Head Office Floor (Supply & Installation) |  |  |
| i | Materials (Copper) |  |  |
|  | 1 | UTP Cat 6 Data Cable, Brand : Panduit, Korea or the like | Boxes | 72 |  |  |
|  | 2 | UTP Face Plate, Duel Port, Shutter Type, Brand : Panduit or the like | Piece | 432 |  |  |
|  | 3 | UTP Cat 6 Modular Jack, Brand : Panduit or the like | Piece | 864 |  |  |
|  | 4 | UTP Patch Panel without Modular, 24 Port, Brand : Panduit, Costerica or the like | Piece | 18 |  |  |
|  | 5 | Horizontal Cable Manager, Both Sided, Brand Panduit or the like | Piece | 36 |  |  |
|  | 6 | UTP Cat 6 Patch Cable, 3 Mtr, Brand : Panduit, USA or the like | Piece | 432 |  |  |
|  | 7 | UTP Cat 6 Patch Cable, 2 Mtr, Brand : Panduit, USA or the like | Piece | 180 |  |  |
|  | 8 | UTP Cat 6 Patch Cable, 1 Mtr, Brand : Panduit, USA or the like | Piece | 432 |  |  |
|  | 9 | EIA Rack (Enclosure) 15U, Wall Mounted, Brand : A Line or the like | Piece | 18 |  |  |
|  | 10 | 1" Dia PVC Pipe, Local | Rft | 9000 |  |  |
|  | 11 | 11/2" Size PVC Channel, Local | Rft | 5200 |  |  |
|  | 12 | 1" Dia PVC Flexible Pipe | Rft | 2400 |  |  |
|  | 13 | Wall Mounting box for Face Plate | Piece | 432 |  |  |
| ii | Materials (Fiber Optic) |  |  |
|  | 1 | 6 Core fiber cable 62.5/125µm multimode riser cable (Back Bone), Brand : YOFC, China. or the like | Mtr | 5000 |  |  |
|  | 2 | Fiber Optic FC Connector, Brand : FONS or the like | Piece | 216 |  |  |
|  | 3 | 3 mtr patch cable SC-SCDuplex, Multimode, Brand FONS or the like | Piece | 72 |  |  |
|  | 4 | 24 port Fiber Optic Patch Panel with FC Adaptor Brand : FONS or the like | Piece | 18 |  |  |
|  | 5 | Media converter, Multimode, Duplex, Brand : FONS or the like | Pair | 18 |  |  |
| D) Network Device for Branches |  |  |
| 1 | Router (for Branches & HO, Department at 29 Dlkusha and 48 Motijheel) | Piece | 14 |  |  |
| 2 | Branch switch (for Branches & HO, Department at 29 Dlkusha and 48 Motijheel) | Piece | 14 |  |  |
| E) Accessories for Branches (Supply & Installation) |  |  |
|  | 1 | UTP Cat 6 Data Cable, Brand : Panduit, Korea or the like | Boxes | 28 |  |  |
|  | 2 | UTP Face Plate, Duel Port, Shutter Type, Brand : Panduit or the like | Piece | 336 |  |  |
|  | 3 | UTP Cat 6 Modular Jack, Brand : Panduit or the like | Piece | 672 |  |  |
|  | 4 | UTP Patch Panel without Modular, 24 Port, Brand : Panduit, Costerica or the like | Piece | 14 |  |  |
|  | 5 | Horizontal Cable Manager, Both Sided, Brand Panduit or the like | Piece | 28 |  |  |
|  | 6 | UTP Cat 6 Patch Cable, 3 Mtr, Brand : Panduit, USA or the like | Piece | 336 |  |  |
|  | 7 | UTP Cat 6 Patch Cable, 2 Mtr, Brand : Panduit, USA or the like | Piece | 140 |  |  |
|  | 8 | UTP Cat 6 Patch Cable, 1 Mtr, Brand : Panduit, USA or the like | Piece | 336 |  |  |
|  | 9 | EIA Rack (Enclosure) 15U, Wall Mounted, Brand : A Line or the like | Piece | 14 |  |  |
|  | 10 | 1" Dia PVC Pipe, Local | Rft | 8400 |  |  |
|  | 11 | 11/2" Size PVC Channel, Local | Rft | 2800 |  |  |
|  | 12 | 1” Dia PVC Flexible Pipe | Rft | 1400 |  |  |
|  | 13 | Wall Mounting box for Face Plate | Piece | 336 |  |  |
| Lot/Group No.- 3: CDC and DRS Construction |
| 1 | CDC and DRS Construction | - | 1 full package | As per Annexure-I | 10 weeks |
| PACKAGE-B |
| Lot/Group No.- 1: Network Connectivity- Primary |
| A | Dedicated Connection preferable in Optical Fibre (Connectivity from Branch/ HO Deaprtments to Data Centre at 256 kbps) |
|  | 1) JBL, HO Department at 29, Dilkusha C/A, Dhaka | connection | 1 | As per Annexure-I | 10 weeks |
|  | 2) JBL, HO Department at 48, Motijheel C/A, Dhaka | connection | 1 |  |  |
|  | 3) Principal Branch (Local Office) | connection | 1 |  |  |
|  | 4) Central Branch (Janata Bhaban Corp. Branch), Dhaka | connection | 1 |  |  |
|  | 5) Kawran Bazar Corp. Branch, Dhaka | connection | 1 |  |  |
|  | 6) Nagar Bhaban Corp. Branch, Dhaka | connection | 1 |  |  |
|  | 7) BB Road Corp. Branch, Narayangonj | connection | 1 |  |  |
|  | 8) Laldighi East Corp Branch, Chittagong | connection | 1 |  |  |
|  | 9) Sk. Mujib Road Corp Branch, Chittagong | connection | 1 |  |  |
|  | 10) Khulna Corp. Branch, Khulna | connection | 1 |  |  |
|  | 11) Sylhet Corp. Branch, Sylhet | connection | 1 |  |  |
|  | 12) Rajshahi Corp. Branch, Rajshahi | connection | 1 |  |  |
|  | 13) Barisal Corp. Branch, Barisal | connection | 1 |  |  |
|  | 14) Rangpur Corp. Branch, Rangpur | connection | 1 |  |  |
| B | Dedicated Dark Fibre Connection from Data Centre to DR Site (within 35 km) | connection | 1 | As per Annexure-I | 10 weeks |
| Lot/Group No.- 2: Network Connectivity- Alternative |
| A | Dedicated Connection preferable in Optical Fibre (Connectivity from Branch/ HO Deaprtments to Data Centre at 128 kbps) |
|  | 1) JBL, HO Department at 29, Dilkusha C/A, Dhaka | connection | 1 | As per Annexure-I | 10 weeks |
|  | 2) JBL, HO Department at 48, Motijheel C/A, Dhaka | connection | 1 |  |  |
|  | 3) Principal Branch (Local Office) | connection | 1 |  |  |
|  | 4) Central Branch (Janata Bhaban Corp. Branch), Dhaka | connection | 1 |  |  |
|  | 5) Kawran Bazar Corp. Branch, Dhaka | connection | 1 |  |  |
|  | 6) Nagar Bhaban Corp. Branch, Dhaka | connection | 1 |  |  |
|  | 7) BB Road Corp. Branch, Narayangonj | connection | 1 |  |  |
|  | 8) Laldighi East Corp Branch, Chittagong | connection | 1 |  |  |
|  | 9) Sk. Mujib Road Corp Branch, Chittagong | connection | 1 |  |  |
|  | 10) Khulna Corp. Branch, Khulna | connection | 1 |  |  |
|  | 11) Sylhet Corp. Branch, Sylhet | connection | 1 |  |  |
|  | 12) Rajshahi Corp. Branch, Rajshahi | connection | 1 |  |  |
|  | 13) Barisal Corp. Branch, Barisal | connection | 1 |  |  |
|  | 14) Rangpur Corp. Branch, Rangpur | connection | 1 |  |  |
| B | Dedicated Dark Fibre Connection from Data Centre to DR Site (within 35 km) | connection | 1 | As per Annexure-I | 10 weeks |
| PACKAGE-C |
| Lot/Group-1 (PC, MICR Machine, Laptop & Printer) |
| 1. | Personal Computer (PC) | Piece | 200 | As per Annexure-II | 10 weeks |
| 2. | Laptop Computer | Piece | 06 |  |  |
| 3. | MICR Readable Cheque Scanner | Piece | 94 |  |  |
| 4. | Laser Printer | Piece | 10 |  |  |
| 5. | Color Laser Printer | Piece | 01 |  |  |
| Lot/Group-2 (Line Printer) |
| 1. | Line Printer (Heavy Duty) | Piece | 02 | As per Annexure-II | 10 weeks |
| 2. | Line Printer (Medium Duty) | Piece | 20 |  |  |
| Lot/Group-3 (UPS and AVS) |
| 1. | Line Interactive UPS 1000 VA | Piece | 200 | As per Annexure-II | 10 weeks |
| 2. | AVS 1000 VA | Piece | 200 |  |  |

B.	List of Related Services and Completion Schedule

When completing Form G-2 the Tenderer shall quote prices and contract delivery dates for each item against each lot/Group

| Item No. | Description of Related Services | Unit of Supply | Quantity of Units Required | Point at which Services are required | Required Completion Date for Services |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| PACKAGE-A |
| Lot/Group No 1: |
| A) Items for Central Data Center (CDC) |
| 1 | Maintenance of 2 pieces Web server for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) | As per Annexure-I | After completion of 3 years warranty period |
| 2 | Maintenance of 2 pieces Application server (Active-Active) for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 3 | Maintenance of 2 pieces Database Server (Active-Active) for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 4 | Maintenance of 1 pieces Internet Application server for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 5 | Maintenance of 1 pieces Internet Web server for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 6 | Maintenance of 1 piece Test and Development Server for 2 years for CDC. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 7 | Maintenance of 2 pieces Rack + Console Kit + HMC for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 8 | Maintenance of 1 piece External Storage System (10TB in RAID 1+0) for 2 years for CDC. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 9 | Maintenance of 2 pieces Storage Area Network (SAN) switch for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 10 | Maintenance of 1 piece Tape Library for 2 years for CDC. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| B) | Items for Disaster Recovery Site (DRS) |  |  |
| 1 | Maintenance of 1 piece Web server for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 2 | Maintenance of 1 piece Application server for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 3 | Maintenance of 1 piece Database server for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 4 | Maintenance of 1 piece Internet Application server for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 5 | Maintenance of 1 piece Internet Web server for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 6 | Maintenance of 1 piece Rack + Console Kit + HMC for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 7 | Maintenance of 1 piece External Storage System (10TB in RAID 1+0) for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 8 | Maintenance of 2 pieces Storage Area Network (SAN) switch for 2 years for DRS. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 9 | Maintenance of 1 piece Tape Library for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| Lot/Group No. 2: (Network Device for CDC, DRS, Branches and Accessories for Head Office and Barnches) |
| 1 | Maintenance of 2 pieces Core Router for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) | As per Annexure-I | After completion of 3 years warranty period |
| 2 | Maintenance of 1 piece Internet Router for 2 years for CDC. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 3 | Maintenance of 2 pieces Core Switch for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 4 | Maintenance of 2 pieces Server Firm Switch for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 5 | Maintenance of 2 pieces DMZ and DMZ Server Firm Switch for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 6 | Maintenance of 14 pieces Access Floor Switch for 2 years for CDC. | Per Piece per year | 28 (14 pieces X 2 yrs.) |  |  |
| 7 | Maintenance of 2 pieces IT Floor (Access Switch) for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 8 | Maintenance of 2 pieces Core Firewall for 2 years for CDC. | Per Piece per year | 4 (2 pieces X 2 yrs.) |  |  |
| 9 | Maintenance of 1 piece Internet Firewall with Content Security Module for 2 years for CDC. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 10 | Maintenance of 1 piece Core Router for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 11 | Maintenance of 1 piece Core Switch for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 12 | Maintenance of 1 piece Internet Firewall for 2 years for DRS. | Per Piece per year | 2 (1 piece X 2 yrs.) |  |  |
| 13 | Maintenance of 14 pieces Router for 2 years for Branches and HO Departments. | Per Piece per year | 28 (14 pieces X 2 yrs.) |  |  |
| 14 | Maintenance of 14 pieces Switch for 2 years for Branches and HO Departments. | Per Piece per year | 28 (14 pieces X 2 yrs.) |  |  |
| Package-B |
| Lot/Group No.- 1: Network Connectivity- Primary (Monthly Recurring Cost for 5 years) |
| A) | 1) JBL, HO Department at 29, Dilkusha C/A, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) | As per Annexure-I | Monthly Secvice Charge (Recurring Cost) for 5 years |
|  | 2) JBL, HO Department at 48, Motijheel C/A, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 3) Principal Branch (Local Office) | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 4) Kawran Bazar Corp. Branch, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 5) Nagar Bhaban Corp. Branch, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 6) BB Road Corp. Branch, Narayangonj | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 7) Laldighi East Corp Branch, Chittagong | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 8) Sk. Mujib Road Corp Branch, Chittagong | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 9) Khulna Corp. Branch, Khulna | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 10) Sylhet Corp. Branch, Sylhet | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 11) Rajshahi Corp. Branch, Rajshahi | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 12) Barisal Corp. Branch, Barisal | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 13) Rangpur Corp. Branch, Rangpur | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
| B | Dedicated Dark Fibre Connection from Data Centre to DR Site (within 35 km) | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
| Lot/Group No.- 2: Network Connectivity- Alternative (Monthly Recurring Cost for 5 years) |
| A) | 1) JBL, HO Department at 29, Dilkusha C/A, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) | As per Annexure-I | Monthly Secvice Charge (Recurring Cost) for 5 years |
|  | 2) JBL, HO Department at 48, Motijheel C/A, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 3) Principal Branch (Local Office) | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 4) Kawran Bazar Corp. Branch, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 5) Nagar Bhaban Corp. Branch, Dhaka | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 6) BB Road Corp. Branch, Narayangonj | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 7) Laldighi East Corp Branch, Chittagong | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 8) Sk. Mujib Road Corp Branch, Chittagong | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 9) Khulna Corp. Branch, Khulna | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 10) Sylhet Corp. Branch, Sylhet | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 11) Rajshahi Corp. Branch, Rajshahi | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 12) Barisal Corp. Branch, Barisal | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
|  | 13) Rangpur Corp. Branch, Rangpur | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
| B | Dedicated Dark Fibre Connection from Data Centre to DR Site (within 35 km) | Per Connetion | 60 (1X 12 month X 5 yrs.) |  |  |
| PACKAGE-C |
| Lot/Group-1 (PC, MICR Machine, Laptop & Printer) |
| 1 | Maintenance of 200 pieces Personal Computer for 2 years. | Per Piece per year | 400 (200 pieces X 2 yrs.) |  |  |
| 2 | Maintenance of 6 pieces Laptop Computer for 2 years. | Per Piece per year | 12 (6 pieces X 2 yrs.) |  |  |
| 3 | Maintenance of 94 pieces MICR Machine for 2 years. | Per Piece per year | 188 (94 pieces X 2 yrs.) |  |  |
| 4 | Maintenance of 10 pieces Laser Printer for 2 years. | Per Piece per year | 20 (10 pieces X 2 yrs.) |  |  |
| 5 | Maintenance of 1 piece Color Laser Printer for 2 years. | Per Piece per year | 02 (1 piece X 2 yrs.) |  |  |
| Lot/Group-2 (Line Printer) |
| 1 | Maintenance of 2 pieces Line Printer (Heavy Duty) for 2 years. | Per Piece per year | 04 (2 pieces X 2 yrs.) |  |  |
| 2 | Maintenance of 20 pieces Line Printer (Medium Duty) for 2 years | Per Piece per year | 40 (20 pieces X 2 yrs.) |  |  |
| Lot/Group-3 (UPS and AVS) |
| 1 | Maintenance of 200 pieces Line Interactive UPS 1000 VA for 2 years. | Per Piece per year | 400 (200 pieces X 2 yrs.) |  |  |
| 2 | Maintenance of 200 pieces AVS 1000 VA for 2 years. | Per Piece per year | 400 (200 pieces X 2 yrs.) |  |  |

# Section 7.	Technical Specifications

The Goods and Related Services shall comply with following Technical Specifications:

Package: A

LOT/GROUP NO. 01: (Items for CDC and DRS)

| Item No. | Name of Item or Related Service | Technical Specification and Standards |
| --- | --- | --- |
| A. | ITEMS FOR CENTRAL DATA CENTER (CDC) |
| 1. | WEB SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor | Number of Latest RISC/EPIC processor to be quoted=2. |
|  | Memory (RAM) | 8 GB DDR2 memory and expandable up 128GB or higher DDR2 Memory |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Five PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two(2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 2 | APPLICATION SERVER ( Active -Active) |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and Speed | Number of Latest RISC/EPIC processor to be quoted=6. |
|  | Memory (RAM) | 32GB DDR2 memory and expandable up 128 GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two(2) Dual Port Gigabit Fibre Channel PCI Adapter (8GB ) to connect the External SAN Storage & Tape Library |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
|  | Application server software requirement | Must have proven integration with Active –Active Database clusters including Multi-data source, load balancing and handling node failure in an Active-Active database cluster environment. In-Memory Data Grid for Scalability, Performance, and Availability Support for FastSwap/hot re-deployment Should support all Operating System Supports Remote deployment Application run time should provide “Overload protection” and “self-tuning” Supports deterministic garbage collection for improved performance requirements MAN/WAN replication and failover Automatic migration of transaction recovery service (TRS) Premium EJB Caching with multicast update and invalidation across clusters Automatic migration of messaging/JMS Tools for diagnosing problems in development and production Tools for automating management of applications and servers |
| 3 | DATABASE SERVER ( Active -Active) for Maximum availability and Active-Active infrastructure to minimize idle server |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and speed | Number of Latest RISC/EPIC processor to be quoted=8. |
|  | Memory (RAM) | 32GB DDR2 memory and expandable up 256GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Three (3) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library. |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
|  | Associate Software for Active-Active Infrastructure | Enables a single database to run across a cluster of servers, providing unbeatable fault tolerance, performance, and scalability with no application changes necessary. Ensure 24/7 up time without a single point of failure Active-Active database clusters with shared everything architecture Transparent failover in the event of server failure Scale out on demand without having to repartitioning the existing data Customer/end user must not experience any disconnection even if one server fails/goes down Provide Software CD, License and manual |
| 4. | INTERNET APPLICATION SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and Speed | Number of Latest RISC/EPIC processor to be quoted=8. |
|  | Memory (RAM) | 32 GB DDR2 memory and expandable up 256GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM(Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two(2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 5 | INTERNET WEB SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and Speed | Number of Latest RISC/EPIC processor to be quoted=8. |
|  | Memory (RAM) | 16GB DDR2 memory and expandable up 256GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two (2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 6. | TEST & DEVELOPMENT SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Central Processor | 64 Bit, RISC / EPIC based Processor |
|  | Number of Processor Cores | Number of Latest RISC/EPIC processor to be quoted=8. |
|  | Cache Memory | Should be mentioned. |
|  | Memory (Ram) | 32GB DDR2 memory and expandable up 256GB or higher DDR2 Memory |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | DVD Drive | Factory Default |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC) must be submitted for evaluation purpose |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Five PCI Slots and future expansion support |
|  | Power Supply | Redundant Hot Swap-plug Power Supply |
|  | Ethernet Port | 4 X 10/100/1000Mbps Ethernet NIC |
|  | Fibre Channel Adapter | Two (2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup. |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 7. | RACK + CONSOLE KIT + HMC |
|  | Brand and Model | Should be mentioned |
|  | Capacity | 42 EIA Units Height: minimum 1804 mm (81 inch) Width: minimum 644 mm (25.4 in) Rear and Front Door: 1098 mm (43.3 in) Power strip – 12 way, 2 units Rack Security Kit |
|  | Monitor | Slim, sleek, lightweight monitor design that occupies only 1U (17-inch 1280 x 1024 display resolution) in a 19-inch standard rack A 17-inch, flat screen TFT monitor with truly accurate images and virtually no distortion. KVM Switch that allows users single-point access and control of up to 8 servers from a single console Two cable is required for Eight systems supported on the switch.. |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 8 | EXTERNAL STORAGE SYSTEM (10 TB in RAID1+0) |
|  | Storage Configuration | Synchronous Mirroring has to be configured between Storage Systems in Production Site. It should be possible to dynamically switch between Synchronous Mirroring Mode, Asynchronous Mirroring Mode with Write Consistency Group & Asynchronous Mirroring Mode without Write Consistency Group, without disruption to the mirrored pairs While mirroring is in place, read access of the secondary target logical drives should be permissible. Independent of the Mirror Mode, it should be able to suspend Mirror & Resume Mirror. Upon resumption of Mirror, resynchronization of changed data should take place. If all segments for the given logical drive in a mirrored pair change before the synchronization can take place (due to link error conditions for example), then the full synchronization should be supported. In a mirrored pair, Role Reversal should be possible - In the event of site failure or for maintenance tasks it should be possible to change the role of a logical drive in a given mirror relationship from primary to secondary and vice versa and grant or deny (to the hosts) write access on this Logical Drives. Vendor should provide the clear picture of any better deployment plan of storage in production site. Advanced copy services features should be given to instantaneously create capacity-efficient, point-in-time volume images, providing a logical volume for such uses as file restoration and backup. Volume Copy Service feature should also be given to create a complete physical copy or clone of a volume within a storage system that can be assigned to any host and used for application testing or development, information analysis, or data mining. |
|  | Brand | IBM / SUN / HP or the like |
|  | Series | Should be mentioned. |
|  | Chassis | Rack mount with rack and rack kit |
|  | Storage Architecture | The storage architecture should be based on dual controllers with no single point of failure either due to failure of any component in the controller or failure of any disk or any other component in the Storage System. It must have high-speed processor for RAID parity calculations |
|  | Throughput | The storage system should have end-to-end 4 Gbps throughput from the HBA to the disks. |
|  | Host ports and Connectivity | The storage should have minimum 8 x 4Gbps FC-SW (Fiber Channel – Switched) disk connectivity ports, (minimum 4 ports per controller, for redundancy & high availability). |
|  | Disk connectivity ports/FC interface port | The storage should have minimum 8 x 4Gbps FC-SW (Fiber Channel – Switched) disk connectivity ports, (minimum 4 ports per controller, for redundancy & high availability). |
|  | Supported Disks | The Storage system should support FC disks and any of the following disk types within the same frame – ATA, LCFC, SATA, PATA, FATA. |
|  | RAID controller redundancy | The hardware RAID controllers (at least 2 sets) must be able to do automatic controller fail-over in case one of controller failure in order to continue the operation |
|  | RAID Support | The storage systems must support an intermix of RAID 0, 1, 3, 5,6 or above |
|  | Operating System | External storage should simultaneously support the following Operating Systems – AIX 5.1, 5.2, 5.3 or above Sun Solaris 8, 9, 10 HP-UX 11.0, 11i and 11.23 with PV Links Red Hat Enterprise Linux 3.0-U7 / 4.0-U3 SuSE Linux Enterprise Server 8-SP4 / 9-SP3 Windows 2003 w/SP1 and R2 – Enterprise, Standard, Web, and Storage Server editions. |
|  | Storage Cache | The Storage system must be configured for a minimum usable (available) data cache space of 4GB per controller (8GB total for controller pair), mirrored. This data cache area should not be shared for Controller Operating System |
|  | Cache Protection | Cache on the two controllers to be mirrored. In case of cache failure in any controller, there should be no cache data loss. There should be no dependency of the cache on the disks i.e. failure of any disk in the system should not disable / degrade the write cache on the controllers |
|  | HDD Type | 146.8 GB/10K 4 Gbps FC DDM, 300 GB/10K 4 Gbps FC DDM, 450 GB/10K 4 Gbps FC DDM, 750/7.2K SATA DDM, 1,000 GB/7.2K SATA DDM |
|  | Management software and tools | The storage systems must support online LUN creation, deletion and expansion for multiple heterogeneous servers on the same system The storage management software must be with the storage system and must be web based interface (GUI Interface) and Command line Interface in order to monitor and configure system from anywhere in TCP/IP network. The license for the software should be quoted for the total scalability of the storage system The storage management software must be able to collect and show data for performance analysis for information such total IOPS, Read%, Write%, Cache Read Hit%, KB/s read & write, Average read size, Average write size The storage system must have at least one network port (RJ45) in order to do out-of-band management Storage system must have out-of-band maintenance support tool that continuously monitors the operation of the storage system at all times, collecting hardware status and error data. |
|  | Disk Support | No of Disk Support: Minimum 250 Disks |
|  | Disk Capacity | 10TB usable disk capacity in RAID 1+0 configurations for Production data with 4Gbps, 300GB 10K rpm disks. Global Hot Spare to be provided to prevent data loss in case of two successive disk failure. |
|  | Hot pluggable and / or hot swappable Components (non-disruptive addition or replacement) | Disks Power Supplies Cooling Fans/Fan assembly RAID Controllers Hot-swappable disk enclosures/ disk bays with support for hot add |
|  | Redundant components | Power Supplies 200-240VAC, Cooling Fans |
|  | Storage Features : Configuration | The storage system must have meta data configuration in every configured drive to provide easier reconfiguration and migration |
|  |  | The storage systems must support dynamic configuration features such as the following Dynamic Volume Expansion Dynamic RAID migration Dynamic Segment size Migration Dynamic Mode switching for data replication during storage-to-storage mirroring |
|  | Storage array up-gradation | The Storage array being proposed shall be upgradeable to higher models with “Data in Place” i.e. without moving or backing up data from the disks in the storage system to any temporary data staging place. |
|  | Online RAID creation | Creating RAID groups and logical units online and without shutdown or disruption to the servers connected |
|  | Data replication mode | The storage systems must support data replication both Synchronous mode and Asynchronous mode simultaneously within same array |
|  | Dynamic capacity expansion | Provide the ability to add additional disk enclosure to a live Storage System without stopping operations and bringing unused storage online |
|  | Dynamic RAID level migration | Dynamic RAID level migration within the same RAID volume (without copying data to a new volume or a temporary staging space |
|  | Dynamic segment sizing | For online resizing & tuning of the system performance based on the segment size for optimizing between IOPS and throughput. |
|  | Expansion of LUN | Expansion of LUNs online through concatenation and stripping |
|  | HBA load balancing and automatic failover software | HBA load balancing and automatic failover software to be provided for each server connected to the storage system. Software agent should enable this feature. |
|  | GUI based Management software | The Storage system should be configured with a GUI based Management software to monitor and manage the array. The license for the software should be quoted for the total scalable storage system with 5 years upgrade license |
|  |  | Requisite features & licenses to be provided for fiber zoning and SAN security. Software Licenses should be quoted for the total scalable capacity of the storage system |
|  | Host Support | At least 8 host to be supported in each array. Software license, if any for the same to be provided |
|  | Dynamic segment sizing | For online resizing & tuning of the system performance based on the segment size for optimizing between IOPS and throughput. |
|  | Connectivity components | LC-LC cables to connect SAN Switch to the RAID Controllers and Host Servers for 100% redundant & failover connectivity (quantity – 32 nos. for all host ports to connect to 2 SAN Switches, equally distributed). |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 9. | STORAGE AREA NETWORK (SAN) SWITCH |
|  | Model No. | Brand and Model number should be mentioned |
|  | Chassis | Standard 19” Rack mount with rack kit |
|  | Power Supply | Redundant power supply, 200-240VAC |
|  | Fiber channel ports* | Twenty Two (22) 8Gbps SW SFP Transceiver & Two (2) 4Gbps 30 Km Ext Distance LW SFP Transceiver. SAN Switches should be upgrade able upto 40 Ports. |
|  | Characteristics of port | All port modules shall support hot-swappable Small Form Factor Pluggable (SFP) LC typed transceivers that are interchangeable for 1,2,4 & 8Gbps Fiber Channel ports. |
|  | Port Speed* | All 1/2/4/8 Gbps auto-sensing Fiber Channel ports must support the following port types: (E, F and FL) with SFP/LC optical interfaces. |
|  |  | The switch should have non-blocking architecture, with all ports working at 8 Gbps. Aggregate bandwidth of 128 Gbps full duplex or more. |
|  | Zoning | The switch must support hard and soft zoning. |
|  |  | The switch must support safe zoning mode to prevent unintended results when merging switches and zone sets. |
|  | Port features | It shall support self discovery of devices and auto negotiate to the speed of the device or the switch port connected. |
|  |  | The switch must support online firmware loading and hot code activation without causing any devices connected to the switch to be offline and ensuring no disruption happens while upgrading the Fabric OS. |
|  | Management software and tools | Switch shall have flexible management methods like web based management, integration with Enterprise Management software. The management software must be provided. |
|  | Management and communication port | Switch shall have integrated Ethernet and Serial port for management & communication. |
|  | Performance monitoring | Switch shall have end-to-end performance monitoring enabled |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 10 | TAPE LIBRARY |
| i) | Brand | Should be mentioned |
|  | Model No. | Should be mentioned |
|  | Chassis | Rack mount with rack kit |
|  | Tape Storage | Should be modular tape library architecture |
|  | Tape Device Type | LTO Ultrium 4 Tape Library |
|  | Interface | FC (4Gbps) Native Interface |
|  | Number of Drive | 2 (Two) and expandable upto minimum 4 ( Four Tape Drive) |
|  | Minimum throughput | At least 120MB/S |
|  | Number of Tape Cartridges can inserted in the library | At least Thirty ( 30 ) |
|  | Capacity | At least 10 TB or more ( without compression ) |
|  | Hot Swap feature | Power Supply should be hot swappable |
|  | Redundancy feature | Major Components must be hot swappable such as tape drives, fans and power supplies may be replaced without shutting down the system; uninterruptible and redundant power supplies are also available |
|  | Remote Management feature | Remote web-based management and SMI-S interface capable |
|  | Capacity per cartridge | At least 800GB per cartridge Native |
|  | Form Factor | Rack Unit(s), as required |
|  | Tape Cartridges | Forty (40) LTO Ultrium 4 (800/1600 GB) Cartridges & Five (5) Cleaning Cartridges should be provided |
|  | Mixed Tape | Must support mix tape drive technology and mix media such in same library as LTO2, LTO3 and LTO4 |
|  | Power Supply | Shall be 200-240VAC support |
|  | Operating system | OS/400®, V5R2, V5R3, or later AIX 5L™ V5.1, V5.2, V5.3 or later Sun Solaris 8,9 or later Microsoft® Windows® 2000 Microsoft Windows 2003 HP-UX 11.0, HP-UX 11.11 and HP-UX 11.231 Linux® distributions: Red Hat Enterprise Linux Version 4 SUSE Linux Enterprise Server 9 |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| ii) | BACKUP SOFTWARE: |
|  | Software name | Enterprise backup software. |
|  | Version | Should be latest version |
|  | Supported OS | The Backup Server Software should be available on all flavors of Unix (Solaris, HP-UX and IBM AIX or Like) |
|  | Configuration | The Backup Software should provide LAN Free Backup for all Servers connected to the SAN, i.e., the Data should move from the Production Servers to the Backup Disk (ATA/SATA Disks of the SAN Storage), and Simultaneously create a Copy of the Backup Data on the Tape Library connected to the SAN. |
|  | Backup Features | All the Drives of the Tape Library should be shared by all the Hosts connected to the SAN for Backup Operation The Backup Software should supports online hot backup for Microsoft® SQL Server, Oracle and IBM Informix databases The Backup Software should Support Backup of Clients with Operating Systems: Windows, Unix, Linux, Netware, AIX, Sun Solaris, HP-UX Backup Software should have an Open Tape Format, which would ensure that the Format of Backup is the same for all Operating Systems – Windows, Unix and Linux. Should be capable of Cloning (creating multiple copies of backup data) a particular Data set to another tape, offline tape-to-tape copy, without affecting the client, which owns the data set The Backup Software should support Backup to Disk, so that there can be simultaneously read and write of Backup data from the Disk (a Recovery Operation from the Backup Disk, should be possible, for some clients, while the Backup is happening to the Disk for a few other Clients) The Backup Software should support 128 Bit AES Encryption Backup Software should have a built in Web Browser based GUI to manage the backup Operation, and in-built reporting functionality |
| B. | ITEMS FOR DISASTER RECOVERY SITE (DRS) |
| 1. | WEB SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor | Number of Latest RISC/EPIC processor to be quoted=2. |
|  | Memory (RAM) | 8GB DDR2 memory and expandable up 128GB or higher DDR2 Memory |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Five PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two(2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 2. | APPLICATION SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and Speed | Number of Latest RISC/EPIC processor to be quoted=8. |
|  | Memory (RAM) | 32GB DDR2 memory and expandable up 256GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two (2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | I/O port/Interface | Parallel, Serial, Mouse, Keyboard, Video, Ethernet, USB etc. |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 3. | DATABASE SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and speed | Number of Latest RISC/EPIC processor to be quoted=8. |
|  | Memory (RAM) | 32GB DDR2 memory and expandable up 256GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Three (3) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library. |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 4. | INTERNET APPLICATION SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and Speed | Number of Latest RISC/EPIC processor to be quoted=6. |
|  | Memory (RAM) | 24 GB DDR2 memory and expandable up 128GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two(2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 5 | INTERNET WEB SERVER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Form factor/Node Type | 19- inch wide Rack Mountable with rail kit-adjustable depth |
|  | Processor Type | 64 Bit, RISC/EPIC Processor |
|  | No of Processor and Speed | Number of Latest RISC/EPIC processor to be quoted=4. |
|  | Memory (RAM) | 16GB DDR2 memory and expandable up to 128GB or higher DDR2 Memory. |
|  | Cache Memory | Should be mentioned. |
|  | System Memory Bandwidth (GB/s) | Should be mentioned. |
|  | System I/O Bandwidth (GB/s) | Should be mentioned. |
|  | Internal Hard Disk | 2 X 300GB 10,000 RPM (Minimum) FC/SAS Disk Drive with Mirroring for Operating System |
|  | I/O Slots | Ten PCI Slots with future expansion support |
|  | DVD Drive | Factory Default |
|  | Graphics | Integrated Graphics Adapter with Digital Support (Optional) |
|  | Ethernet Port | 4X 10/100/1000 Ethernet NIC |
|  | Fiber Channel Adapter | Two (2) Dual Port Gigabit Fibre Channel PCI Adapter (8Gbps) to connect the External SAN Storage & Tape Library |
|  | Performance Benchmark | All performance benchmark details (Oracle, TPC and SPEC etc) must be submitted for evaluation purpose |
|  | Power supply | Redundant Hot Swap-plug Power Supply |
|  | Operating System | Pre installed 64 Bit UNIX Operating System with CD and Manual |
|  | Integrated Backup Device for OS backup | DDS5 integrated tape backup for OS backup |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Port of Shipment | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 6 | RACK + CONSOLE KIT + HMC |
|  | Brand and Model | Should be mentioned |
|  | Capacity | 42 EIA Units Height: minimum 1804 mm (81 inch) Width: minimum 644 mm (25.4 in) Rear and Front Door: 1098 mm (43.3 in) Power strip – 12 way, 2 units Rack Security Kit |
|  | Monitor | Slim, sleek, lightweight monitor design that occupies only 1U (17-inch 1280 x 1024 display resolution) in a 19-inch standard rack A 17-inch, flat screen TFT monitor with truly accurate images and virtually no distortion. KVM Switch that allows users single-point access and control of up to 8 servers from a single console Two cable is required for Eight systems supported on the switch. |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 7 | EXTERNAL STORAGE SYSTEM (10 TB IN RAID 1+0) |
|  | Storage Configuration | Synchronous Mirroring has to be configured between Storage Systems in DR Site. It should be possible to dynamically switch between Synchronous Mirroring Mode, Asynchronous Mirroring Mode with Write Consistency Group & Asynchronous Mirroring Mode without Write Consistency Group, without disruption to the mirrored pairs While mirroring is in place, read access of the secondary target logical drives should be permissible. Independent of the Mirror Mode, it should be able to suspend Mirror & Resume Mirror. Upon resumption of Mirror, resynchronization of changed data should take place. If all segments for the given logical drive in a mirrored pair change before the synchronization can take place (due to link error conditions for example), then the full synchronization should be supported. In a mirrored pair, Role Reversal should be possible - In the event of site failure or for maintenance tasks it should be possible to change the role of a logical drive in a given mirror relationship from primary to secondary and vice versa and grant or deny (to the hosts) write access on this Logical Drives. Vendor should provide the clear picture of any better deployment plan of storage in DR site. Advanced copy services features should be given to instantaneously create capacity-efficient, point-in-time volume images, providing a logical volume for such uses as file restoration and backup. Volume Copy Service feature should also be given to create a complete physical copy or clone of a volume within a storage system that can be assigned to any host and used for application testing or development, information analysis, or data mining. |
|  | Brand | IBM / SUN / HP or the like |
|  | Series | Should be mentioned. |
|  | Chassis | Rack mount with rack and rack kit |
|  | Storage Architecture | The storage architecture should be based on dual controllers with no single point of failure either due to failure of any component in the controller or failure of any disk or any other component in the Storage System. It must have high-speed processor for RAID parity calculations |
|  | Throughput | The storage system should have end-to-end 4 Gbps throughput from the HBA to the disks. |
|  | Host ports and Connectivity | The storage should have minimum 8 x 4Gbps FC-SW (Fiber Channel – Switched) host ports, (4 ports per controller, for redundancy & high availability). |
|  | Disk connectivity ports/FC interface port | The storage should have minimum 8 x 4Gbps FC-SW (Fiber Channel – Switched) disk connectivity ports, (4 ports per controller, for redundancy & high availability). |
|  | Supported Disks | The Storage system should support FC disks and any of the following disk types within the same frame – ATA, LCFC, SATA, PATA, FATA. |
|  | RAID controller redundancy | The hardware RAID controllers (at least 2 sets) must be able to do automatic controller fail-over in case one of controller failure in order to continue the operation |
|  | RAID Support | The storage systems must support an intermix of RAID 0, 1, 3, 5,6 or above |
|  | Operating System | External storage should simultaneously support the following Operating Systems – AIX 5.1, 5.2, 5.3 or above Sun Solaris 8, 9, 10 HP-UX 11.0, 11i and 11.23 with PV Links Red Hat Enterprise Linux 3.0-U7 / 4.0-U3 SuSE Linux Enterprise Server 8-SP4 / 9-SP3 Windows 2003 w/SP1 and R2 – Enterprise, Standard, Web, and Storage Server editions. |
|  | Storage Cache | The Storage system must be configured for a minimum usable (available) data cache space of 4GB per controller (8GB total for controller pair), mirrored. This data cache area should not be shared for Controller Operating System |
|  | Cache Protection | Cache on the two controllers to be mirrored. In case of cache failure in any controller, there should be no cache data loss. There should be no dependency of the cache on the disks i.e. failure of any disk in the system should not disable / degrade the write cache on the controllers |
|  | HDD Type | 146.8 GB/10K 4 Gbps FC DDM, 300 GB/10K 4 Gbps FC DDM, 450 GB/10K 4 Gbps FC DDM, 750/7.2K SATA DDM, 1,000 GB/7.2K SATA DDM |
|  | Management software and tools | The storage systems must support online LUN creation, deletion and expansion for multiple heterogeneous servers on the same system The storage management software must be with the storage system and must be web based interface (GUI Interface) and Command line Interface in order to monitor and configure system from anywhere in TCP/IP network. The license for the software should be quoted for the total scalability of the storage system The storage management software must be able to collect and show data for performance analysis for information such total IOPS, Read%, Write%, Cache Read Hit%, KB/s read & write, Average read size, Average write size The storage system must have at least one network port (RJ45) in order to do out-of-band management Storage system must have out-of-band maintenance support tool that continuously monitors the operation of the storage system at all times, collecting hardware status and error data. |
|  | Disk Support | No of Disk Support: Minimum 250 Disks |
|  | Disk Capacity | 10TB usable disk capacity in RAID 1+0 configurations for Production data with 4Gbps, 300GB 10K rpm disks. Global Hot Spare to be provided to prevent data loss in case of two successive disk failure. |
|  | Hot pluggable and / or hot swappable Components (non-disruptive addition or replacement) | Disks Power Supplies Cooling Fans/Fan assembly RAID Controllers Hot-swappable disk enclosures/ disk bays with support for hot add |
|  | Redundant components | Power Supplies 200-240VAC, Cooling Fans |
|  | Storage Features : Configuration | The storage system must have meta data configuration in every configured drive to provide easier reconfiguration and migration |
|  |  | The storage systems must support dynamic configuration features such as the following Dynamic Volume Expansion Dynamic RAID migration Dynamic Segment size Migration Dynamic Mode switching for data replication during storage-to-storage mirroring |
|  | Storage array up-gradation | The Storage array being proposed shall be upgradeable to higher models with “Data in Place” i.e. without moving or backing up data from the disks in the storage system to any temporary data staging place. |
|  | Online RAID creation | Creating RAID groups and logical units online and without shutdown or disruption to the servers connected |
|  | Data replication mode | The storage systems must support data replication both Synchronous mode and Asynchronous mode simultaneously within same array |
|  | Dynamic capacity expansion | Provide the ability to add additional disk enclosure to a live Storage System without stopping operations and bringing unused storage online |
|  | Dynamic RAID level migration | Dynamic RAID level migration within the same RAID volume (without copying data to a new volume or a temporary staging space |
|  | Dynamic segment sizing | For online resizing & tuning of the system performance based on the segment size for optimizing between IOPS and throughput. |
|  | Expansion of LUN | Expansion of LUNs online through concatenation and stripping |
|  | HBA load balancing and automatic failover software | HBA load balancing and automatic failover software to be provided for each server connected to the storage system. Software agent should enable this feature. |
|  | GUI based Management software | The Storage system should be configured with a GUI based Management software to monitor and manage the array. The license for the software should be quoted for the total scalable storage system with 5 years upgrade license |
|  |  | Requisite features & licenses to be provided for fiber zoning and SAN security. Software Licenses should be quoted for the total scalable capacity of the storage system |
|  | Host Support | At least 8 host to be supported in each array. Software license, if any for the same to be provided |
|  | Dynamic segment sizing | For online resizing & tuning of the system performance based on the segment size for optimizing between IOPS and throughput. |
|  | Connectivity components | LC-LC cables to connect SAN Switch to the RAID Controllers and Host Servers for 100% redundant & failover connectivity (quantity – 32 nos. for all host ports to connect to 2 SAN Switches, equally distributed). |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 8 | STORAGE AREA NETWORK (SAN) SWITCH |
|  | Model No. | Brand and Model number Should be mentioned |
|  | Chassis | Standard 19” Rack mount with rack kit |
|  | Power Supply | Redundant power supply, 200-240VAC |
|  | Fiber channel ports | Twenty Two (22) 8Gbps SW SFP Transceiver & Two (2) 4Gbps 30 Km Ext Distance LW SFP Transceiver. SAN Switches should be upgrade able upto 40 Ports. |
|  | Characteristics of port | All port modules shall support hot-swappable Small Form Factor Pluggable (SFP) LC typed transceivers that are interchangeable for 1,2,4& 8Gbps Fiber Channel ports. |
|  | Port Speed | All 1/2/4/8 Gbps auto-sensing Fiber Channel ports must support the following port types: (E, F and FL) with SFP/LC optical interfaces. |
|  |  | The switch should have non-blocking architecture, with all ports working at 8 Gbps. Aggregate bandwidth of 128 Gbps full duplex or more. |
|  | Zoning | The switch must support hard and soft zoning. |
|  |  | The switch must support safe zoning mode to prevent unintended results when merging switches and zone sets. |
|  | Port features | It shall support self discovery of devices and auto negotiate to the speed of the device or the switch port connected. |
|  |  | The switch must support online firmware loading and hot code activation without causing any devices connected to the switch to be offline and ensuring no disruption happens while upgrading the Fabric OS. |
|  | Management software and tools | Switch shall have flexible management methods like web based management, integration with Enterprise Management software. The management software must be provided. |
|  | Management and communication port | Switch shall have integrated Ethernet and Serial port for management & communication. |
|  | Performance monitoring | Switch shall have end-to-end performance monitoring enabled |
|  | Country of origin | Should be mentioned |
|  | Country of Assemble | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 9 | TAPE LIBRARY |  |
| i) | Brand | Should be mentioned |
|  | Model No. | Should be mentioned |
|  | Chassis | Rack mount with rack kit |
|  | Tape Storage | Must be modular tape library architecture |
|  | Tape Device Type | LTO Ultrium 4 Tape Library |
|  | Interface | FC (4Gbps) Native Interface |
|  | Number of Drive | 2 (Two) and expandable upto minimum 4 ( Four Tape Drive) |
|  | Minimum throughput | At least 120MB/S |
|  | Number of Tape Cartridges can inserted in the library | At least Thirty ( 30 ) |
|  | Capacity | At least 10 TB or more ( without compression ) |
|  | Hot Swap feature | Power Supply should be hot swappable |
|  | Redundancy feature | Major Components must be hot swappable such as tape drives, fans and power supplies may be replaced without shutting down the system; uninterruptible and redundant power supplies are also available |
|  | Remote Management feature | Remote web-based management and SMI-S interface capable |
|  | Capacity per cartridge | Must be at least 800GB per cartridge Native |
|  | Form Factor | Rack Unit(s), as required |
|  | Tape Cartridges | Forty (40) LTO Ultrium 4 (800/1600 GB) Cartridges & Five (5) Cleaning Cartridges should be provided |
|  | Mixed Tape | Must support mix tape drive technology and mix media such in same library as LTO2, LTO3 and LTO4 |
|  | Power Supply | Shall be 200-240VAC support |
|  | Operating system | OS/400®, V5R2, V5R3, or later AIX 5L™ V5.1, V5.2, V5.3 or later Sun Solaris 8,9 or later Microsoft® Windows® 2000 Microsoft Windows 2003 HP-UX 11.0, HP-UX 11.11 and HP-UX 11.231 Linux® distributions: Red Hat Enterprise Linux Version 4 SUSE Linux Enterprise Server 9 |
|  | Country of origin | Should be mentioned |
|  | Country of Assemble | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| ii) | BACKUP SOFTWARE |
|  | Software name | Enterprise backup software |
|  | Version | Should be latest version |
|  | Supported OS | The Backup Server Software should be available on all flavors of Unix (Solaris, HP-UX and IBM AIX) |
|  | Configuration | The Backup Software should provide LAN Free Backup for all Servers connected to the SAN, i.e., the Data should move from the Production Servers to the Backup Disk (ATA/SATA Disks of the SAN Storage), and Simultaneously create a Copy of the Backup Data on the Tape Library connected to the SAN. |
|  | Backup Features | All the Drives of the Tape Library should be shared by all the Hosts connected to the SAN for Backup Operation The Backup Software should supports online hot backup for Microsoft® SQL Server, Oracle and IBM Informix databases The Backup Software should Support Backup of Clients with Operating Systems: Windows, Unix, Linux, Netware, AIX, Sun Solaris. HP-UX Backup Software should have an Open Tape Format, which would ensure that the Format of Backup is the same for all Operating Systems – Windows, Unix and Linux. Should be capable of Cloning (creating multiple copies of backup data) a particular Data set to another tape, offline tape-to-tape copy, without affecting the client, which owns the data set The Backup Software should support Backup to Disk, so that there can be simultaneously read and write of Backup data from the Disk (a Recovery Operation from the Backup Disk, should be possible, for some clients, while the Backup is happening to the Disk for a few other Clients) The Backup Software should support 128 Bit AES Encryption Backup Software should have a built in Web Browser based GUI to manage the backup Operation, and in-built reporting functionality |

LOT/GROUP-02: (Networking Device for CDC, DRS, Branches and Accessories for Head Office and Branches)- Supply and Installation.

| A. | NETWORK DEVICE FOR CENTRAL DATA CENTER (CDC) |
| --- | --- |
| 01 | Core Router : |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned |
|  | Part/Product No. | Should be mentioned |
|  | Description | Minimum number of network slots: 04 Number of HWIC slots: 04 Total routed port required: 08 Number of fixed LAN ports (2-fixed RJ-45 port for 10/100/1000 connectivity) Number of fixed Small Form-Factor Pluggable (SFP) ports: 01 Number of 16 port Serial Sync/Async Network Module:01 (With appropriate Cable) Number of USB 1.1 ports: 02 Should have hardware-based VPN encryption acceleration OS: Should support VPN, IPSec 3DES IDS, SSH and IPv6 Number of console ports: 01 Number of auxiliary ports: 01 Memory: Compact Flash: 128 MB(Minimum) RAM: 1GB Should have redundant power supply Rackmount: 19’’ AC input voltage: 100-240 VAC, autoranging AC input frequency: 47-63 Hz DC input voltage: 24-60 VDC, autoranging positive or negative Operating temperature: 32 to 104°F (0 to 40°C) |
|  | Security | Built in Security |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labour, parts and replacement |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 02 | Internet Router |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned |
|  | Part/Product No. | Should be mentioned |
|  | Description | DRAM: 128 MB Compact Flash: 64 MB Fixed USB 1.1 Ports: 01 Onboard LAN Ports: 2-10/100 Interface Card Slots: 4 slots (2 slots support HWIC, WIC, VIC, or VWIC type modules) port 10/100 Routed Port should have installed Should have Integrated Hardware-Based Encryption VPN Hardware Acceleration (on Motherboard): AES256+SHA-1/3DES+SHA-1 VPN OS: Should support VPN, IPSec 3DES IDS, SSH and IPv6 SSL VPN License: 10 Console Port: 01 Auxiliary Port: 01 AC Input Voltage: 100 to 240 VAC, autoranging AC Input Frequency: 47-63 Hz Operating Temperature: 32° to 104°F (0° to 40°C) Non-Operating Temperature: -4° to 149°F (-20° to 65°C) Operating Humidity: 10 to 85% non-condensing |
|  | Security | Built in Security |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labour, parts and replacement |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 03 | Core Switch |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Description | Chassis: Total Slots: minimum 7 Bandwidth/line card : 16 GBPS Required Engine: 01 Power Supply Bays: 02 Should have redundant power supply. Should support redundant Engine for future scalability Back-plane capacity: Minimum 128 GBPS Engine: Engine Uplinks: Two 10Gig IP v4 Routing Entries: 10,000(minimum) IP v6 Routing Entries: 10,000(minimum) Centralized switching capacity : Minimum 136 Gbps Throughput:65 MPPS (IPV4) Throughput:65 MPPS (IPV6) Multicast Entries: 2,000 for IPV4(minimum) CPU: Minimum 1GHz RAM: 1 GB Flash: 128 MB Security and QoS Hardware Entries: 1,28,000 MAC addresses: Minimum 24,000 Active vlan: 4096 L3 Protocol: Layer 3 routing protocols, Border Gateway Protocol version 4 (BGPv4), Open Shortest Path First (OSPF), Intermediate System-to-Intermediate System (IS-IS), Routing Information Protocol (RIP), Distributed FIB Switching, Internet Control Message Protocol (ICMP) • Multicast forwarding, Protocol independent Multicast (PIM) (both sparse and dense mode), Bidirectional PIM in hardware • Comprehensive MPLS support • Group Management Protocol and Internet Group Management Protocol (IGMP) snooping Line Card: Should have one unit 24-port 10/100/1000 Module (RJ45) Should have one unit 24-port 10/100/1000 SFP (fully Loaded with Multimode Transceiver Modules) Supervisor 10G Should be loaded with Multimode transceiver module which can support distance minimum 25 Meter Safety Standards: Should be mentioned Layer 2 Features: ● Layer 2 switch ports and VLAN trunks● IEEE 802.1Q VLAN encapsulation, ● ISL ● VTP and VTP domains ● Per-VLAN Spanning Tree Protocol Plus ● Spanning-tree PortFast and PortFast guard ● Spanning-tree UplinkFast and BackboneFast, ● 802.1s, ● 802.1w, ● 802.3ad, ● Spanning-tree root guard, Should Support Private V-LAN Server/Client. |
|  | Country of Origin | Should be mentioned |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| 04 | Server Firm Switch |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Description | 24 Ethernet 10/100/1000 ports and 2*10GE (10 Gig ports should be Populated with Multimode Transceiver Module which support minimum 25 Miter distance.) multilayer switch VLANs: Minimum 1024 Switching Fabric : 128 Gbps Forwarding rate : 65 Mpps DRAM: Minimum 128 MB Flash memory: Minimum 32 MB Configurable MAC addresses: Minimum 12,000 Environmental Ranges • Operating temperature: 32 to 113ºF (0 to 45ºC) • Storage temperature: -13 to 158ºF (-25 to 70ºC) • Relative humidity operating: 0 to 95% (noncondensing) • Relative humidity nonoperating: 10 to 85% (noncondensing) Acoustic Noise: Should be mentioned Safety Certifications: Should be mentioned Electromagnetic Emissions Certifications: Should be mentioned |
|  | Country of Origin | Should be mentioned |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| 05 | DMZ & DMZ SERVER FIRM SWITCH |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Description | 24 Ethernet 10/100/1000 ports and 4 SFP-based Gigabit Ethernet ports multilayer switch VLANs: Minimum 1024 SNMP v1, v2c, and v3 and Telnet interface support Forwarding bandwidth : 16 Gbps Forwarding rate : 38 Mpps DRAM: Minimum128 MB Flash memory:Minimum 32 MB Configurable MAC addresses: Minimum 12000 Environmental Ranges: Should be mentioned Acoustic Noise: Should be mentioned • UL 60950-1, First Edition • CUL to CAN/CSA 22.2 No. 60950-1, First Edition • TUV/GS to EN 60950-1, First Edition • CB to IEC 60950-1 with all country deviations • AS/NZS 60950-1, First Edition Electromagnetic Emissions Certifications: Should be mentioned |
|  | Country of Origin | Should be mentioned |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| 06 | ACCESS FLOOR SWITCH |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Description | 24 Ethernet 10/100 ports and 2 Duel Fiber uplink (Fiber port should be populated with two multimode transciver) Layer-2/3 switch VLANs: Minimum 250 SNMP v1, v2c, and v3 and Telnet interface support Forwarding bandwidth : 16 Gbps Forwarding rate: 6.5 Mpps (Minimum) DRAM: 64 MB Flash memory: Minimum 32 MB Configurable MAC addresses: Should be mentioned Environmental Ranges: Should be mentioned Acoustic Noise: Should be mentioned Safety Certifications: UL 60950-1, First Edition • CUL to CAN/CSA 22.2 No. 60950-1, First Edition • TUV/GS to EN 60950-1, First Edition • CB to IEC 60950-1 with all country deviations • AS/NZS 60950-1, First Edition Electromagnetic Emissions Certifications: FCC Part 15 Class A • EN 55022 Class A (CISPR22) • EN 55024 (CISPR24) • AS/NZS CISPR22 Class A |
|  | Country of Origin | Should be mentioned |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| 07 | IT FLOOR (ACCESS SWITCH) |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Description | 48 Ethernet 10/100 ports and 2 Duel Fiber uplink (Fiber port should be populated with two multimode transciver) Layer-2/3 switch VLANs: Minimum 250 VLAN ID: Four thousand SNMP v1, v2c, and v3 and Telnet interface support Forwarding bandwidth : 16 Gbps Forwarding rate based on 64-byte packets: 10.1 Mpps DRAM: 64 MB Flash memory: Minimum 32 MB Configurable MAC addresses: Should be mentioned Environmental Ranges: Should be mentioned Acoustic Noise: Should be mentioned Safety Certifications: UL 60950-1, First Edition • CUL to CAN/CSA 22.2 No. 60950-1, First Edition • TUV/GS to EN 60950-1, First Edition • CB to IEC 60950-1 with all country deviations • AS/NZS 60950-1, First Edition Electromagnetic Emissions Certifications: FCC Part 15 Class A • EN 55022 Class A (CISPR22) • EN 55024 (CISPR24) • AS/NZS CISPR22 Class A |
|  | Country of Origin | Should be mentioned |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| 08 | CORE FIREWALL |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Country of Origin | Should be mentioned |
|  | Description | Firewall Throughput: Up to 1.2 GBPS Maximum Firewall and IPS Throughput: Up to 1.2 GBPS 3DES/AES VPN Throughput: Should be mentioned IPsec VPN Peers: 2000(minimum) Concurrent Connections: 2,50,000(Minimum) Integrated Network Ports: Should be mentioned Management and Monitoring Interface: 1 Ethernet 10/100 port Virtual Interfaces (VLANs): Should be mentioned Memory: Minimum 4 GB Minimum System Flash: 64 MB Should support High availibility Operating Temperature: Should be mentioned Acoustic noise: Should be mentioned Regulatory and Standards Compliance Safety: UL ,CSA |
|  | Enclosure Type | External |
|  | Compliant Standards | CE, FCC Class A certified, UL, EN 60950 |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| 09 | INTERNET FIREWALL WITH CONTENT SECURITY MODULE |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Country of Origin | Should be mentioned |
|  | Description | Firewall: Firewall Throughput: Should be mentioned 3DES/AES VPN Throughput: Should be mentioned IPsec VPN Peers: 500(minimum) Concurrent Connections: Should be mentioned Integrated Network Ports: 1 Fast Ethernet ports; 4 Gigabit Ethernet Virtual Interfaces (VLANs): 100(minimum) Memory: 512 MB Minimum System Flash: 64 MB Content Security Module: URL blocking and filtering Built-in Standard user license: 500 Processor: Should be mentioned Memory: 512MB (minimum) System Flash: 256 MB Temperature (Operating): 32 to 104ºF (0 to 40ºC) Relative Humidity (Operating): 10 to 90 percent, noncondensing Remote management protocol: HTTP, SNMP, HTTPS, SNMP 2, Telnet Routing protocol: BGP, OSPF, RIP-1, RIP-2, Static IP routing |
|  | Enclosure Type | External |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| B. | NETWORK DEVICE FOR DISASTER RECOVERY SITE (DRS) |
| 01 | Core Router |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned |
|  | Part/Product No. | Should be mentioned |
|  | Description | Minimum number of network slots: 04 Number of HWIC slots: 04 Total routed port required: 04 Number of fixed LAN ports (2-fixed RJ-45 port for 10/100/1000 connectivity) Number of fixed Small Form-Factor Pluggable (SFP) ports: 01 Number of 16 port Serial Sync/Async Network Module:01 (With appropriate Cable) Number of USB 1.1 ports: Minmum 01 Should have hardware-based VPN encryption acceleration OS: Should support VPN, IPSec 3DES IDS, SSH and IPv6 Number of console ports: 01 Number of auxiliary ports: 01 Memory: Compact Flash: 128 MB(Minimum) RAM: 1GB Should have redundant power supply Rackmount: 19’’ AC input voltage: 100-240 VAC, autoranging AC input frequency: 47-63 Hz DC input voltage: 24-60 VDC, autoranging positive or negative Operating temperature: 32 to 104°F (0 to 40°C) |
|  | Security | Built in Security |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labour, parts and replacement |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| 02 | Core Switch |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Description | 24 Ethernet 10/100/1000 ports and 4 SFP-based Gigabit Ethernet ports multilayer switch VLANs: Up to 1024 SNMP v1, v2c, and v3 and Telnet interface support Forwarding bandwidth : 16 Gbps Forw Forwarding rate : 38 Mpps DRAM: Minimum128 MB Flash memory:Minimum 32 MB Configurable MAC addresses: Should be mentioned Environmental Ranges: Should be mentioned Acoustic Noise: Should be mentioned • UL 60950-1, First Edition • CUL to CAN/CSA 22.2 No. 60950-1, First Edition • TUV/GS to EN 60950-1, First Edition • CB to IEC 60950-1 with all country deviations • AS/NZS 60950-1, First Edition Electromagnetic Emissions Certifications: Should be mentioned |
|  | Country of Origin | Should be mentioned |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| 03 | INTERNET FIREWALL |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Country of Origin | Should be mentioned |
|  | Description | Firewall: Firewall Throughput: Should be mentioned 3DES/AES VPN Throughput: Should be mentioned IPsec VPN Peers: 500(minimum) Concurrent Connections: Should be mentioned Integrated Network Ports: 1 Fast Ethernet ports; 4 Gigabit Ethernet Virtual Interfaces (VLANs): 100(minimum) Memory: 512 MB Minimum System Flash: 64 MB Content Security Module: URL blocking and filtering Built-in Standard user license: 500 Processor: Should be mentioned Memory: 512MB (minimum) System Flash: 256 MB Temperature (Operating): 32 to 104ºF (0 to 40ºC) Relative Humidity (Operating): 10 to 90 percent, noncondensing Remote management protocol: HTTP, SNMP, HTTPS, SNMP 2, Telnet Routing protocol: BGP, OSPF, RIP-1, RIP-2, Static IP routing |
|  | Enclosure Type | External |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
| C | ACCESSORIES FOR HEAD OFFICE FLOOR (SUPPLY & INSTALLATION) |
|  | i) MATERIALS (COPPER) |
|  | 1 | UTP Cat 6 Data Cable, Brand : Panduit, Korea or the like |
|  | 2 | UTP Face Plate, Duel Port, Shutter Type, Brand : Panduit or the like |
|  | 3 | UTP Cat 6 Modular Jack, Brand : Panduit or the like |
|  | 4 | UTP Patch Panel without Modular, 24 Port, Brand : Panduit, Costerica or the like |
|  | 5 | Horizontal Cable Manager, Both Sided, Brand Panduit or the like |
|  | 6 | UTP Cat 6 Patch Cable, 3 Mtr, Brand : Panduit, USA or the like |
|  | 7 | UTP Cat 6 Patch Cable, 2 Mtr, Brand : Panduit, USA or the like |
|  | 8 | UTP Cat 6 Patch Cable, 1 Mtr, Brand : Panduit, USA or the like |
|  | 9 | EIA Rack (Enclosure) 15U, Wall Mounted, Brand : A Line or the like |
|  | 10 | 1" Dia PVC Pipe, Local |
|  | 11 | 11/2" Size PVC Channel, Local |
|  | 12 | 1" Dia PVC Flexible Pipe |
|  | 13 | Wall Mounting box for Face Plate |
|  | ii) MATERIALS (FIBER OPTIC) |
|  | 1 | 6 Core fiber cable 62.5/125µm multimode riser cable (Back Bone), Brand : YOFC, China. or the like |
|  | 2 | Fiber Optic FC Connector, Brand : FONS or the like |
|  | 3 | 3 mtr patch cable SC-SCDuplex, Multimode, Brand FONS or the like |
|  | 4 | 24 port Fiber Optic Patch Panel with FC Adaptor, Brand : FONS or the like |
|  | 5 | Media converter, Multimode, Duplex, Brand : FONS or the like |
| D. | NETWORK DEVICE FOR BRANCHES |
| 1. | ROUTER |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned |
|  | Part/Product No. | Should be mentioned |
|  | Description | DRAM: 128 MB Compact Flash: 64 MB Fixed USB 1.1 Ports: 01 Onboard LAN Ports: 2-10/100 Interface Card Slots: 4 slots (2 slots support HWIC, WIC, VIC, or VWIC type modules) 1-port 10/100 Routed Port should have installed Should have Integrated Hardware-Based Encryption VPN Hardware Acceleration (on Motherboard): DES, 3DES, AES 128, AES 192, and AES 256 OS: Should support VPN, IPSec 3DES IDS, SSH and IPv6 SSL VPN License: 10 Console Port: 01 Auxiliary Port: 01 AC Input Voltage: 100 to 240 VAC, autoranging AC Input Frequency: 47-63 Hz Operating Temperature: 32° to 104°F (0° to 40°C) Non-Operating Temperature: -4° to 149°F (-20° to 65°C) Operating Humidity: 10 to 85% non-condensing |
|  | Security | Built in Security |
|  | Country of origin | Should be mentioned |
|  | Country of Assemble | Should be mentioned |
|  | Warranty | At least 3 years on site with full labour, parts and replacement |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified |
| 2 | SWITCH |
|  | Brand | Should be internationally reputed |
|  | Model | Should be mentioned |
|  | Part / Product No | Should be mentioned |
|  | Description | 24 Ethernet 10/100 ports Layer-2/3 switch VLANs: Minimum 250 SNMP v1, v2c, and v3 and Telnet interface support Forwarding bandwidth : 16 Gbps Forwarding rate based on 64-byte packets: 6.5 Mpps DRAM: 64 MB Flash memory: Minimum 32 MB Configurable MAC addresses: 12000 Environmental Ranges: Should be mentioned Acoustic Noise: Should be mentioned Safety Certifications: UL 60950-1, First Edition • CUL to CAN/CSA 22.2 No. 60950-1, First Edition • TUV/GS to EN 60950-1, First Edition • CB to IEC 60950-1 with all country deviations • AS/NZS 60950-1, First Edition Electromagnetic Emissions Certifications: FCC Part 15 Class A • EN 55022 Class A • AS/NZS CISPR22 Class A |
|  | Country of Origin | Should be mentioned |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement. |
| E. | ACCESSORIES FOR BRANCHES (SUPPLY & INSTALLATION) |
|  | 1 | UTP Cat 6 Data Cable, Brand : Panduit, Korea or the like |
|  | 2 | UTP Face Plate, Duel Port, Shutter Type, Brand : Panduit or the like |
|  | 3 | UTP Cat 6 Modular Jack, Brand : Panduit or the like |
|  | 4 | UTP Patch Panel without Modular, 24 Port, Brand : Panduit, Costerica or the like |
|  | 5 | Horizontal Cable Manager, Both Sided, Brand Panduit or the like |
|  | 6 | UTP Cat 6 Patch Cable, 3 Mtr, Brand : Panduit, USA or the like |
|  | 7 | UTP Cat 6 Patch Cable, 2 Mtr, Brand : Panduit, USA or the like |
|  | 8 | UTP Cat 6 Patch Cable, 1 Mtr, Brand : Panduit, USA or the like |
|  | 9 | EIA Rack (Enclosure) 15U, Wall Mounted, Brand : A Line or the like |
|  | 10 | 1" Dia PVC Pipe, Local |
|  | 11 | 11/2" Size PVC Channel, Local |
|  | 12 | 1" Dia PVC Flexible Pipe |
|  | 13 | Wall Mounting box for Face Plate |

LOT/ GROUP-03:  (CDC and DRS CONSTRUTION)

A. INFRASTRUCTURE DESIGN OF  CDC SITE

SCOPE OF WORK AND SPECIFICATIONS

1.  Introduction

The Data Center (DC) Site identified as one of the important element of the core infrastructure for any organization while creating IT physical infrastructure that offers high reliability and availability. It is proposed to create the Data Center for Janata Bank Limited at its Head Office premises in Dhaka to consolidate the services, application and infrastructure. The Data Center would provide many functionality and some of the key functionalities are central repository of secure servers, data storage, online delivery of services, services portal, intranet portal, disaster recovery, remote management and service integration.

As the Data Center is the key-supporting element thus reliability, availability and serviceability for the data center needs to be ensured. The Bidder should evaluate best solution with their expertise in designing, installing and commissioning of Data Center which is provisionally, designed & scoped with best individual system specification and integration features. This solution is for a Data Center with approximately 1200 square feet and server/network room designed to have 6 to 7 IT racks for servers, storage and communication devices.

2. Scope of Work

Janata bank requires bidder to Supply & Install the detailed Specifications and Bill Of Materials (BOM) as required for key building blocks of the Data Center.

Thus, based on requirements, the scope of work is as follows:

- To plan, prepare and submit detailed technical architecture (Physical and Logical) design of the Bank Data Center will be telecommunications infrastructure standard for data centers TIA-942. The Data Center must be designed for 24/7 operation.

- To plan, prepare and submit detailed environmental design of the Bank Data Center following telecommunications infrastructure standard for data centers TIA-942.

- To provide/implement total Data Center solution, which includes establishment of Bank Data Center consisting of supply, installation, acceptance testing, configuration, commissioning, maintenance of various equipments and components (like Precision AC, raised floor, UPS, fire protection, cabling infrastructure, cable management, interior decoration and facilities, security and access control, water intrusion protection, racks and cabinets, pathways and spaces etc.)

- To prepare and submit technical hands on and guide of cable plan and documentation of newly constructed data center and obtain the approval of Bank on the same.

- Precision Air Conditioner to maintain 45 –50 RH & temperature 18-20 degree centigrade in server room with the Redundancy Option.

- Supply, installation and commissioning of 2 X 60 KVA UPS in redundant parallel architecture, true online, double conversion, pure sine wave with 30 minutes backup time in full load for Data Center .

- To supply and install raised access floor.

- Interiors (sizing and partitioning of server/network room, NOC & UPS & electrical control room) with IT facilities needed for each room. Best IT Practices for each type of room should be adopted.

- Environmental Monitoring System (Fire detection, Fire suppression, Rodent Repellent, Water leak detection, CCTV, Access control system ) for Integration of all the above system to control & monitor and to have intelligent automation for redundancy and security.

- Delivery of all the equipments/materials as per the discussed & approved Specification & BOM. Activity Scheduling and supervision during execution of the Project i.e. installation, to keep check whether the work done is according to the Data Center norms, quality & standards.

- Commissioning of all the delivered materials as per the Specification & BOM, determining Test Scenarios for various infrastructure facilities. Vetting of Test Procedures.

3.  Specification:

The detail specifications of the different type of Products are given below:

- Raised Floor (Server, NOC & Power Room)

| Item No | Item Specification |
| --- | --- |
| i. | Brand name : Should be mentioned |
|  | Origin: Should be mentioned |
|  | Technical Specification: |
|  | Solid & Perforated Tiles |
|  | Per Panel Load Capacity: FS 800 |
|  | Static Loadings Concentrated Load(N/25mm2) : 3560 Uniform Load(N/m2) : 22500 |
|  | Flatness: ≤.5mm |
|  | Breadth Size: 600mm x 600mm |
|  | Fire-proof, Water Proof & Damp proof |
|  | Easy to install, Disassembly and Interchange |
|  | Panel Thickness: 35mm |
|  | Panel Lifter |
|  | Systematically anti-static |
|  | Installation: Installation, Testing & Commissioning Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

- Uninterruptible Power Supply (UPS)

| Item No | Item Specifications |
| --- | --- |
| ii. | Bidder is required to supply an Un-interrupted Power Supply System that will work in redundant mode. The UPS system will supply clean continuous power to the Data Center . All UPS must be supplied with the necessary power cables and installation kits. All batteries should be installed in proper cabinets as indicated by the manufacturer. Technology: VFI, double conversion with integrated transformer. Capacity: Min.60 KVA True Online. Transfer Time: zero. Backup Time: 30 minute in 70% of load Wave Shape: Pure Sine Wave Battery Type: Maintenance-free Sealed Lead acid Input Voltage: 320 ~ 460/184 ~ 265 VAC, 3 Phase/single phase Output Voltage: 415/240 V ±1%, 3 Phase (User selectable) Input Power Factor: 0.98 Output Frequency: 50 Hz, +/- 0.05% ( User selectable) Output Power Factor: 0.8 lag Phase: Three – Three Inverter: SVM (Space Vector Modulation) and IGBT technology Noise Level: 40-55 dB Computer Interface: Support RS 232 for UPS monitoring software High Availability: Redundant Parallel Architecture (RPA) with advantage of no Single Point of Failure, complete unit with LCD and Mimic Panel, RS232 port, auto battery test, volt free contacts, SNMP Installed, Intelligent Energie Management, Maintenance By-pass, etc. Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

- Earthing System :

| Item No | Item Specifications |
| --- | --- |
| iii. | The server room earthing to be carried out to form an earthing mesh of insulated copper wire below the false flooring and connected to false flooring supports. This earthingh shall be connected to separate earthing pits dedicated for electronics through insulated copper cables. |

- Precision Air Conditioning : Redundant

| Item No | Item Specifications |
| --- | --- |
| iv. | Model/Version: Should be mentioned |
|  | Brand : USA / Europe |
|  | Technical Specification:- |
|  | Condensing Temperature : 45'C Precisely Temperature Control : ±2 to ±5 Precisely Humidity Control : ±2 to ±15 Air Distribution: Down flow with Top Return Air Total cooling Capacity : Min.10.2 RT Total cooling Capacity: Min. 36.2 kw Sensible Cooling capacity: Min. 33.7Kw Air Flow: 10000 m3/h Required Total Capacity: N+N Return air Temperature:24'C Return Humidity:50% rel. Electrical Reheat step 1: 6/9 Kw Electrical Reheat step 2 : 6/9 Kw Sensible Heat factor: 0.75 to 0.98 Steam Humidifier-8.0Kg/h(3 Phase) Three phase control (Over, under voltage, asymmetry voltage, phase sequence) Smoke detector per module,mounted. High Efficiency ‘slab’ Evaporator Coil coated with Hydrophilic film (Tested to 40 Bar) Auto restart after power outage Disposable Zigzag filter- G4 Dimension(mm) IDU:w 1,400/H 1,980/D 890 |
|  | Compressor type : Scroll Refrigerant : : R407A/R22 Electrical Power consumption: 7.5 Kw Single Refrigeration Circuit |
|  | Control: Microprocessor based automatic fan,Temperature,Humidity ,compressor and filtration control Alarm notification by BMS port |
|  | EC (Electrocommutator Fan-IDU) Fan with microprocessor based, with Manually Adjustable Voltage, Fan Speed control |
|  | Controller Feature Unit ON/OFF key providing "master “control of the unit ON/OFF key providing "power on “to graphical display Graphical liquid crystal display Mute key for silencing the local and remote audible alarms Fire & Smoke detector,Emergency fire shut-down, Remote on/off control Internally sequencing up to 31 A/C |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

v. Comfort Aircon – NOC

| Item No | Item Specifications |
| --- | --- |
| v. | Brand: Should be mentioned Model : Should be mentioned |
|  | Capacity Cooling/Heating(BTU/h): 35200-35800 Cooling/Heating (Kw): 10.30-10.50 |
|  | Moisture Removal (L/h): 4.0 |
|  | Room Air Circulation(high) IDU(m3/h):1660 ODU (m3/h) : 5900 |
|  | Input power (V/ph/Hz):380-415/3/50 |
|  | Running Current Cooling/Heating(A):7.00-7.20 Power Cosumption Cooling/Heating(Kw): 3.80-3.90 |
|  | EER Cooling/Heating (Kw/Kw):2.71-2.69 |
|  | Permissible range of outdoor temp.('C): 0'-52'C |
|  | Dimenssion (H× W× D): IDU(mm):240×1680×700 ODU(mm) : 1152× 940× 370 |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

vi. Comfort Aircon – Power Room

| Item No | Item Specifications |
| --- | --- |
| vi. | Brand : Should be mentioned Model : Should be mentioned |
|  | Capacity BTU/h:23200-23600 Kw:6.80-6.90 |
|  | Moisture Removal L/h: 2.5 |
|  | Room Air Circulation(high) IDU(m3/h):950 |
|  | Running Current(A):12.20-12.20 Power Consumption(Kw):2.55-2.66 |
|  | EER(Kw/Kw):2.67-2.59 |
|  | Permissible range of outdoor temp.('C): 21-43'C |
|  | Dimenssion(mm): IDU(mm):320×1120×220 ODU: |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

vii. Automatic Gas Suppression System for Fire Protection ( Server , Power Room)

Fire Detection systems for NOC Room

| Item No. | Item Descriptions | location | location | location | Unit | Total Qty |
| --- | --- | --- | --- | --- | --- | --- |
| A | FM-200 CYLINDER & ACCESSORIES | Sarver Room | Power Room | NOC (only Detection) |  |  |
| 1 | 100 LTR. FM-200 Cylinder | 1 |  |  | NO. | 1 |
| 2 | 45 LTR. FM-200 Cylinder | 1 | 1 |  | NO. | 2 |
| 3 | FM-200 gas | 78 | 22 |  | KG | 100 |
| 4 | Cylinder Back Rack | 2 | 2 |  | NO. | 4 |
| 5 | Cylinder Front Strap | 2 | 2 |  | NO. | 4 |
| 6 | Pressure gauge | 1 | 1 |  | No. | 2 |
| 7 | Pilot Cylinder c/w Gas and Valve | 1 | 1 |  | No. | 2 |
| 8 | Check valve | 1 | 1 |  | NO. | 2 |
| 9 | Manual actuator | 1 | 1 |  | NO. | 2 |
| 10 | 5/8" Aluminum Dip Tube | 1 | 1 |  | NO. | 2 |
| 11 | FM200 CYLINDER VALVE | 1 | 1 |  | NO. | 2 |
| 12 | Actuator Block incl. TEDEM+Solenoid | 1 | 1 |  | NO. | 2 |
| 13 | Connection Hose/Pilot Hose | 1 | 1 |  | NO. | 4 |
| 14 | Gas Discharge Nozzle (1.25" dia) | 2 |  |  | NO. | 2 |
| 15 | Gas Discharge Nozzle (1/2' dia) | 2 |  |  | NO. | 2 |
| B | DETECTION SYSTEM |  |  |  |  |  |
| 1 | 08 detection zone with 04 Extinguising area Control Panel |  |  |  | NO. | 1 |
| 2 | Only Detection Panel for NOC Room |  |  |  | NO. | 1 |
| 3 | Lead-Acid Battery, 12V each |  |  |  | NO. | 4 |
| 4 | Heat Detector | 6 | 2 | 4 | NO. | 12 |
| 5 | Photo electric smoke detector | 6 | 2 | 4 | NO. | 12 |
| 6 | Rotating Light |  |  |  | NO. | 1 |
| 7 | Double Flashing light | 1 | 1 |  | NO. | 2 |
| 8 | 24V DC Bell, Diameter 6" | 1 | 2 | 1 | NO. | 4 |
| 9 | Auto Exit Sign | 1 | 2 | 1 | NO. | 4 |
| 10 | Caution | 1 | 1 | 1 | NO. | 3 |
| 11 | Manual Release or Break Glass | 1 | 1 |  | NO. | 2 |
| C | OTHERS |  |  |  |  |  |
| 1 | Schedule 40 pipe 1.5" Dia |  |  |  | RFT | 15 |
| 2 | Schedule 40 pipe 1.25" Dia |  |  |  | RFT | 30 |
| 3 | Schedule 40 pipe 1" Dia |  |  |  | RFT | 30 |
| 4 | Schedule 40 pipe 0.75" Dia |  |  |  | RFT | 30 |
| 5 | Schedule 40 pipe 0.5" Dia |  |  |  | RFT | 20 |
| 6 | GI Fittings/MS fitting/M S C-Channel |  |  |  | NO. | 1 |
| 7 | Fire resistance cable |  |  |  | MTR. | 550 |
| 8 | Best Quality Local Painting, Burger or equivalent |  |  |  | NO. | 1 |
| 9 | Conduit 1", 3/4" & Accessories |  |  |  | MTR. | 300 |
| 10 | Flexible cable, 2 x 40/0.0076, Paradise/BRB |  |  |  | MTR. | 150 |
| 11 | Flexible cable, 3 x 40/0.0076, Paradise/BRB |  |  |  | MTR. | 60 |
| 12 | Installation, Testing and Commissioning |  |  |  | NO. | 1 |

*Brand & Company of manufacturing of fire system component should be mentioned

The fire suppression (FM-200) gas extinguishing agent must have Underwriters Laboratories (UL) recognized component and Installation of the system must complies with NFPA Standard 2001.

Viii. Access Control and Monitoring systems

| S/L | Description | Qty | Unit |
| --- | --- | --- | --- |
| 1 | Access Control and Time Recorder Terminal with Proximity Reader, 15 Key Numeric Keypad (for PIN code entry and device configuration) & Backlight LCD Display. | 1 | Nos |
|  | Model : Should be mentioned |  |  |
|  | Brand : Should be mentioned |  |  |
|  | Origin : Should be mentioned |  |  |
| 2 | Reader inter face unit for one Access door control | 2 | Nos |
| 3 | EM Proximity Reader for Entry Use | 4 | Nos |
| 4 | EM Proximity Reader for Exit Use | 4 | Nos |
| 5 | Power Supply Unit c/w Battery Back up |  |  |
|  | Switching Power Supply Unit is applied to Door interface units to supply 12VDC/2.5A with a battery low-volt cut off module to prevent controller. | 2 | Nos |
| 6 | Electro-Magnetic Lock |  |  |
|  | Specified by Controller delay time, Door swing angle 90deg. with 600lbs force. | 4 | Nos |
| 6 | Z-L Bracket/U-channel Bracket |  |  |
|  | U-channel bracket is used to clamp onto a frameless glass door for mounting the metal armature used to latch the door to the EM Lock. | 4 | Nos |
|  | Z-L bracket is used to clamp on most types of doors for mounting the metal armature used to latch the door to the EM Lock. |  |  |
| 7 | Door Sensor Unit |  |  |
|  | Magnetic device to detect the position of doors & windows to indicate if the door has been open,left-open or breached. | 4 | Nos |
| 8 | Emergency Break Glass |  |  |
|  | Bypass mechanism for emergency realese of any locking mechanism. | 4 | Nos |
| 9 | Access Management System software | 1 | Lot |
|  | with Hardlock soft key |  |  |
| 10 | Cable & Conduit: Cat-6 communication cable with PVC conduit | 150 | RM |
| 11 | Cable & Conduit: Power cable with PVC conduit | 100 | RM |
| 12 | Installation,testing & commissioning of the System's Software & Hardware | 1 | Lot |

IX. TCP \ IP Based CCTV Systems with Software

| Item no | Item of Specifications |
| --- | --- |
|  | 08-Channel Video Recording Transmitter 500 GB HDD (Multi-stream video coding Technology. LAN, ADSL, PSTN & mobile network connections. Video transmission up to 100/120fps on LAN. Recording up to 100/120fps at D1 & 200/240fps at CIF. Built-in web server & live Video on web. Independent remote viewers. Video footage extraction through DVD writer & USB flash drive. Event type external alarm, tamper, video motion detection. Mobile video monitoring with M-303.Single and multi-site monitoring. Security lock and password protection. Model: Should be mentioned Brand: Should be mentioned Origin: Should be mentioned Indoor IR Color Dome Camera 1/3” interline transfer CCD,380 TVL,3.6mm Lens,68° View Angle, infrared LEDs / ~15 M,0.1 Lux / F1.2 ( IR OFF )0.0 Lux ( IR ON ) Model: Should be mentioned Brand: Should be mentioned Origin: Should be mentioned 17’’ LCD Monitor Brand: Should be mentioned Installation, testing and commissioning of the system’s software and hardware. Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

X. Environment Monitoring & Water detection System

| Item No. | Specification of Items |
| --- | --- |
|  | Brand name : Should be mentioned Origin : Should be mentioned |
|  | Model/Version: Should be mentioned |
|  | Monitor Threats Temperature, humidity, intrusion, waterleakage, Liquid detection sensor, shock vibration, Smoke, glassbreak, motion, 4-20mA converter, voltage detector and more. |
|  | Technical Specification:- Protocols: HTTP/HTTPS, SNMP V1/V2c, SMTP, TCP/IP, Syslog, SNMP, Supports local authentication, SSL. Operates and configures via HTTP/HTTPS web page, Telnet or RS232 interface. Sends notifications of alerts to a maximum of 17 email addresses, SNMP addresses and/or cell phone numbers. internal temperature Sensor |
|  | Internal Power Sensor Measures mains voltage: 0 to 255 VAC. Measures battery voltage: 0 to 20 VDC Alerts are sent when there is a power outage and when power returns |
|  | Back-up Battery Rechargeable sealed lead-acid battery. Provides back-up for one hour. |
|  | Environmental Operating temperature: 32°F to 100°F (0°C to 38°C). Storage temperature: -20°F to 140°F (-30°C to 60°C). Operating and Storage Relative Humidity: 17 to 90% no condensing RH. |
|  | Dimensions WxDxH (in.): Should be mentioned |
|  | Control Methods Full configuration via Web-page Configure sensor thresholds and timing, alarm methods, alert formats and system data log. View current sensor values and alert status. Connection to remote sites over TCP/IP.Alarm handling with alarm retransmission, logging and more. |
|  | GSM Modem – 1 Set |
|  | Including Electrical work and Data link work for EMS |
|  | Installation: Installation, Testing & Commissioning Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty. |

XI. Thermal Insulation under raise floor for Server Room & Communication Room

| Item No | Item specifications |
| --- | --- |
|  | Origin: Should be mentioned |
|  | Technical Specification: |
|  | Thickness : 5mmx4 Layer PE Foam |
|  | Fire Proof Broad top side laminated with aluminium Foil tape Bottom side laminated self adhesive Gum tape Wall protection for Damp proof with thermal insulation. Installation & Testing. |

Xii. Dehumidifier

| Item No | Item specifications |
| --- | --- |
|  | Brand name : Should be mentioned |
|  | Model/Version: Should be mentioned |
|  | Technical Specification:- |
|  | Moisture removal capacity: 20 L/day |
|  | Power consumption: 350 watts |
|  | Operation range: 5 to 35 'C |
|  | Rotary compressor + R-134a refrigerant |
|  | Metal housing |
|  | Fan speed: 2 |
|  | Water tank: 4.8 L |
|  | Net weight: 22.5 kgs |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

Xiii. Fire resisting door for power room

| Item No | Item Specification |
| --- | --- |
|  | Origin: Should be mentioned Brand: Should be mentioned |
|  | NFPA 251 Standard |
|  | Test standard: Fire Door must be tested according to BS Standard |
|  | Shutter materials: Steel |
|  | Two hour fire resistivity. |
|  | Jamb:2 vertical Fire Resisting jamb and 1 Fire Resisting horizontal jamb |
|  | Door shutter sheet thickness: At least 3mm |
|  | Vision panel:Fire Rated glass vision panel |
|  | Hinge, bolt and screw :Fire rated |
|  | Internal Insulation:Honeycomb core insulation |
|  | Lock:Built in mortise lock |
|  | Auto Door Closer :Default |
|  | Dimension: Should be mentioned |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

XIV. Structured Cabling System (SCS) inside Data center

The bidder must comply with the following important conditions:

- UL Verification report for CAT 6 cabling solution must be provided.

- Should be ensure Cat 6 performance even when termination is within 15 meters thus ensuring eliminating short resonance. Especially useful in Data Center,  DRS & Computer rooms.

- +6dB Margin over CAT6 Standards for swept frequency 1~250MHz must be guaranteed.

- Should be a technology Development partner with Leading Active Component Manufacturer.

- Should be ensure RoHS - Restriction of Certain Hazardous Substances.

| Item No | Item Description | Unit |
| --- | --- | --- |
| 1 | UTP Cat 6A Data Cable | Box |
| 2 | UTP Face Plate with shutter | Each |
| 3 | UTP Cat 6 Modular Jack | Each |
| 4 | UTP Patch Panel , 24 Port, With Modular, | Each |
| 5 | UTP Cat 6 Cable, 5 Meter Long | Each |
| 6 | UTP Cat 6 Cable, 3 Meter Long | Each |
| 7 | UTP Cat 6 Patch Cable, 2 Meter Long | Each |
| 8 | Patch Cable, 1 Meter | Each |
| 9 | Horizontal Cable Manager, Both Sided | Each |
| 10 | Consolidated Point Box (Zone Box) | Each |
| 11 | 2"X4"X2" Aluminum Box Chanel (Cable Duct) | Meter |
| 12 | Steel Flexible Conduit | Meter |
| 16 | Wall Mounting Box for Face Plate | Each |

XV. Large Display Screen

| Items | Item Specifications |
| --- | --- |
| Brand | Should be mentioned |
| Display |  |
| Display Technology | LCD |
| Screen Size | Minimum 52” flat |
| Resolution | Min. 1366 x 768 |
| Aspect Ratio | Min. 16: 9 |
| Brightness | Min. 500cd/m2 |
| Contrast | 1300:01:00 |
| Mounting | Wall mounting |
| Signal – compatibility |  |
| Color System | NTSC, PAL, SECAM |
| PC Signal Compatibility | VGA, SVGA, XGA, SXGA, UXGA, WXGA |
| Inputs |  |
| PC | HD15-PC Input |
| AUDIO | Audio In, Audio Out, PC Audio In, Headphone Out |
| General |  |
| Power Supply | 220V AC, 50/60Hz |
| Physical Dimensions | Max. Width 50 inch |
| Installation and Commissioning | Complete Installation and commissioning. |
| Others | Detailed Users Manual and required accessories. |
| Warranty | 1 year full warranty with parts and onsite service & labor. |
| Maintenance | 4 Years maintenance after warranty |

Drawing : Floor Layout Plan for Janata Bank Data Center

Layout of  Central Data Center (CDC)

Bill of Materials / Bill of Quantity:

| S/L | Description | Specification | Unit | Qty |
| --- | --- | --- | --- | --- |
| 1 | Raised Flooring systems | As described in this RFP | Sqft | As per proposed design of Server , NOC & Power room |
| 2 | UPS Systems ( Redundant ) | As described in this RFP | Unit | 2 |
| 3 | Earthing Systems | As described in this RFP | Lot | 1 |
| 4 | Precision Air condition System | As described in this RFP | Unit | 2 |
| 5 | Comfort Air condition ( NOC /OPPS Room ) | As described in this RFP | Unit | 1 |
| 6 | Comfort Air condition (Power Room ) | As described in this RFP | Unit | 2 |
| 7 | Automatic Gas Suppression System for server , power & Noc room | As described in this RFP | Lot | 1 |
| 8 | Access control & Monitoring software | As described in this RFP | Unit | As per proposed design for Main Entrance , server , NOC, Power/Gas Room |
| 9 | Digital CCTV System | As described in this RFP | Unit | As per proposed design for Main Entrance , server , NOC, Power/Gas Room |
| 10 | Environment Monitoring & Water detection System | As described in this RFP | Lot | 1 |
| 11 | Thermal Insulation for server Room | As described in this RFP | Lot | 1 |
| 12 | Dehumidifier | As described in this RFP | Unit | 2 |
| 13 | Fire resistant door | As described in this RFP | Unit | 1 |
| 14 | Structure cabling systems inside Datacenter | As described in this RFP | Lot | 1 |
| 15 | Large Display Screen | As described in this RFP | Unit | 1 |
| 16 | Civil Works |  | Job | 1 |  |
| 17 | Furniture’s |  | Lot | 1 |
| 18 | Electrical works |  | Job | 1 |

B. INFRASTRUCTURE DESIGN OF  DR SITE

DISASTER RECOVERY SITE (DRS)

SCOPE OF WORK AND SPECIFICATIONS

1.  Introduction

The DR Site identified as one of the important element of the core infrastructure for any organization while creating IT physical infrastructure that offers high reliability and availability. It is proposed to create the DRS for Bank at its own premises in Nitaigonj Corporate Branch, Nitaigonj, Narayangonj to consolidate the services, application and infrastructure. The DRS would provide many functionality and some of the key functionalities are central repository of secure servers, data storage, online delivery of services, services portal, intranet portal, disaster recovery, remote management and service integration.

As the DRS is the key-supporting element thus reliability, availability and serviceability for the DRS needs to be ensured. The Bidder should evaluate best solution with their expertise in designing, installing and commissioning of DRS which is provisionally, designed & scoped with best individual system specification and integration features. This solution is for a DRS with server/network room designed to have 4 to 5 IT racks for servers , storage and communication devices.

2. Scope of Work

Janata bank requires bidder to Supply & Install the detailed Specifications and BOM as required for key building blocks of the DRS.

Thus, based on requirements, the scope of work is as follows:

- To plan, prepare and submit detailed technical architecture (Physical and Logical) design of the

Janata Bank DRS will be telecommunications infrastructure standard for DRSCTIA-942. The DRS Should be designed for 24/7 operation.

- To plan, prepare and submit detailed environmental design of the Bank DRS following telecommunications infrastructure standard for DRSTIA-942.

- To provide/implement total DRS solution, which includes establishment of BANK DRS consisting of supply, installation, acceptance testing, configuration, commissioning, maintenance of various equipments and components (like Precision AC, raised floor, UPS, fire protection, cabling infrastructure, cable management, interior decoration and facilities, security and access control, water intrusion protection, racks and cabinets, pathways and spaces etc.)

- To prepare and submit technical hands on and guide of cable plan and documentation of newly constructed DRS and obtain the approval of BANK on the same.

- Precision Air Conditioner to maintain 45 –50 RH & temperature 18-20 degree centigrade in server room with the Redundancy option.

- Supply, installation and commissioning of 2 X 40 KVA UPS in redundant parallel architecture, true online, double conversion, pure sine wave with 30 minutes backup time in full load for DRS.

- To supply and install raised access floor.

- Interiors (sizing and partitioning of server/network room, NOC & UPS & electrical control room) with IT facilities needed for each room. Best IT Practices for each type of room should be adopted.

- Environmental Monitoring System (Fire detection, Fire suppression, Rodent Repellent, Water leak detection, CCTV, Access control system ) for Integration of all the above system to control & monitor and to have intelligent automation for redundancy and security.

- Delivery of all the equipments/materials as per the discussed & approved Specification & BOM. Activity Scheduling and supervision during execution of the Project i.e. installation, to keep check whether the work done is according to the DRS norms, quality & standards.

- Commissioning of all the delivered materials as per the Specification & BOM, determining Test Scenarios for various infrastructure facilities. Vetting of Test Procedures.

- Specification:

- Raised Floor (Server, NOC & Power Room)

| Item No | Item Specification |
| --- | --- |
| i. | Brand name : Should be mentioned |
|  | Origin: Should be mentioned |
|  | Technical Specification: |
|  | Solid & Perforated Tiles |
|  | Per Panel Load Capacity: FS 800 |
|  | Static Loadings Concentrated Load(N/25mm2) : 3560 Uniform Load(N/m2) : 22500 |
|  | Flatness: ≤.5mm |
|  | Breadth Size: 600mm x 600mm |
|  | Fire-proof, Water Proof & Damp proof |
|  | Easy to install, Disassembly and Interchange |
|  | Panel Thickness: 35mm |
|  | Panel Lifter |
|  | Systematically anti-static |
|  | Installation: Installation, Testing & Commissioning Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

- Uninterruptible Power Supply (UPS)

| Item No | Item Specifications |
| --- | --- |
| ii. | Bidder is required to supply an Un-interrupted Power Supply System that will work in redundant mode. The UPS system will supply clean continuous power to the DRC. All UPS must be supplied with the necessary power cables and installation kits. All batteries should be installed in proper cabinets as indicated by the manufacturer. Technology: VFI, double conversion with integrated transformer. Capacity: Min.40 KVA True Online. Transfer Time: zero. Backup Time: 30 minute in 70% of load Wave Shape: Pure Sine Wave Battery Type: Maintenance-free Sealed Lead acid Input Voltage: 320 ~ 460/184 ~ 265 VAC, 3 Phase/single phase Output Voltage: 415/240 V ±1%, 3 Phase (User selectable) Input Power Factor: 0.98 Output Frequency: 50 Hz, +/- 0.05% ( User selectable) Output Power Factor: 0.8 lag Phase: Three – Three Inverter: SVM (Space Vector Modulation) and IGBT technology Noise Level: 40-55 dB Computer Interface: Support RS 232 for UPS monitoring software High Availability: Redundant Parallel Architecture (RPA) with advantage of no Single Point of Failure, complete unit with LCD and Mimic Panel, RS232 port, auto battery test, volt free contacts, SNMP Installed, Intelligent Energie Management, Maintenance By-pass, etc. Warranty: 1 year full warranty with parts and onsite service & labor. Maintenance: 4 Years maintenance after warranty |

- Earthing System :

| Item No | Item Specifications |
| --- | --- |
| iii. | The server room earthing to be carried out to form an earthing mesh of insulated copper wire below the false flooring and connected to false flooring supports. This earthingh shall be connected to separate earthing pits dedicated for electronics through insulated copper cables. |

- Precision Air Conditioning : Redundant

| Item No | Item Specifications |
| --- | --- |
| iv. | Model/Version: Should be mentioned |
|  | Brand : USA / Europe |
|  | Technical Specification:- |
|  | Condensing Temperature : 45'C Precisely Temperature Control : ±2 to ±5 Precisely Humidity Control : ±2 to ±15 Air Distribution:Down flow with Top Return Air Total cooling Capacity : 8.9 RT Total cooling Capacity: 30.9 kw Sensible Cooling capacity: 30.9Kw Air Flow: 9000 m3/h Required Total Capacity: N+N returm air Temperature:24'C Return Humidity:50% rel. Electrical Reheat step 1: 6/9 Kw Electrical Reheat step 2 : 6/9 Kw Sensible Heat factor: 0.7 to 0.98 Steam Humidifier-8.0Kg/h(3 Phase) Three phase controll (Over,under voltage,asymmetry voltage,phase sequence) Smoke detector per module,mounted. High Efficiency ‘slab’ Evaporator Coil coated with Hydrophilic film (Tested to 40 Bar) Auto restart after power outage Disposable Zigzag filter- G4 Dimension(mm) IDU: w 1,400/H 1,980/D 890 |
|  | Compressor type : Scroll Refrigerant : : R407A Electrical Power cosumption: 6.3 Kw Single Refrigeration Circuit |
|  | Control: microprocessor Based automatic fan,Temperature,Humidity ,compressore and filtration control Alarm notification by BMS port |
|  | EC (Electrocommutator Fan-IDU)Fan with microprocessor based, with Manually Adjustable Voltage, Fan Speed control |
|  | Controller Feature Unit ON/OFF key providing "master"control of the unit ON/OFF key providing "power on"to graphical display Graphical liquid crystal display Mute key for silencing the local and remote audiable alarms Fire & Smoke detector,Emergency fire shut-down, Remote on/off control Internally sequencing up to 31 A/C |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor Maintenance: 4 Years maintenance after warranty |

v. Comfort Aircon – NOC

| Item No | Item Specifications |
| --- | --- |
| v. | Brand : Should be mentioned Model : Should be mentioned |
|  | Capacity Cooling/Heating(BTU/h): 35200-35800 Cooling/Heating (Kw): 10.30-10.50 |
|  | Moisture Removal (L/h): 4.0 |
|  | Room Air Circulation(high) IDU(m3/h):1660 ODU (m3/h) : 5900 |
|  | Input power (V/ph/Hz):380-415/3/50 |
|  | Running Current Cooling/Heating(A):7.00-7.20 Power Cosumption Cooling/Heating(Kw): 3.80-3.90 |
|  | EER Cooling/Heating (Kw/Kw):2.71-2.69 |
|  | Permissible range of outdoor temp.('C): 0'-52'C |
|  | Dimenssion (H× W× D): IDU(mm):240×1680×700 ODU(mm) : 1152× 940× 370 |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor Maintenance: 4 Years maintenance after warranty |

vi. Comfort Aircon – Power Room

| Item No | Item Specifications |
| --- | --- |
| vi. | Brand : Should be mentioned Model : Should be mentioned |
|  | Capacity BTU/h:23200-23600 Kw:6.80-6.90 |
|  | Moisture Removal L/h: 2.5 |
|  | Room Air Circulation(high) IDU(m3/h):950 |
|  | Running Current(A):12.20-12.20 Power Cosumption(Kw):2.55-2.66 |
|  | EER(Kw/Kw):2.67-2.59 |
|  | Permissible range of outdoor temp.('C): 21-43'C |
|  | Dimenssion(mm): IDU(mm):320×1120×220 ODU: |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor Maintenance: 4 Years maintenance after warranty |

vii. Automatic Gas Suppression System for Fire Protection ( Server , Power Room)

| Items No. | Item specifications | location | location | Unit | Total Qty |
| --- | --- | --- | --- | --- | --- |
| A | FM-200 CYLINDER & ACCESSORIES | Sarver Room | Power Room |  |  |
| 1 | 45 LTR. FM-200 Cylinder | 1 | 1 | NO. | 2 |
| 2 | FM-200 gas | 54 | 24 | KG | 78 |
| 3 | Cylinder Back Rack | 2 | 2 | NO. | 4 |
| 4 | Cylinder Front Strap | 2 | 2 | NO. | 4 |
| 5 | Pressure gauge | 1 | 1 | No. | 2 |
| 6 | Pilot Cylinder c/w Gas and Valve | 1 | 1 | No. | 2 |
| 7 | Check valve | 1 | 1 | NO. | 2 |
| 8 | Manual actuator | 1 | 1 | NO. | 2 |
| 9 | 5/8" Aluminum Dip Tube | 1 | 1 | NO. | 2 |
| 10 | FM200 CYLINDER VALVE | 1 | 1 | NO. | 2 |
| 11 | Actuator Block incl. TEDEM+Solenoid | 1 | 1 | NO. | 2 |
| 12 | Connection Hose/Pilot Hose | 1 | 1 | NO. | 2 |
| 13 | Gas Discharge Nozzle (1.25" dia) | 2 | 2 | NO. | 4 |
| 14 | Gas Discharge Nozzle (1/2' dia) | 2 |  | NO. | 2 |
| B | DETECTION SYSTEM |  |  |  |  |
| 1 | 4 detection zone with 2 Extinguising area Control Panel |  |  | NO. | 1 |
| 2 | Only Detection Panel for NOC Room |  |  | NO. | 1 |
| 3 | Lead-Acid Battery, 12V each |  |  | NO. | 4 |
| 4 | Heat Detector | 5 | 4 | NO. | 9 |
| 5 | Photo electric smoke detector | 5 | 4 | NO. | 9 |
| 6 | Rotating Light |  |  | NO. | 1 |
| 7 | Double Flashing light | 1 | 1 | NO. | 2 |
| 8 | 24V DC Bell, Diameter 6" | 1 | 2 | NO. | 3 |
| 9 | Auto Exit Sign | 1 | 2 | NO. | 3 |
| 10 | Caution | 1 | 1 | NO. | 2 |
| 11 | Manual Release or Break Glass | 1 | 1 | NO. | 2 |
| C | OTHERS |  |  |  |  |
| 1 | Schedule 40 pipe 1.5" Dia |  |  | RFT | 15 |
| 2 | Schedule 40 pipe 1.25" Dia |  |  | RFT | 25 |
| 3 | Schedule 40 pipe 1" Dia |  |  | RFT | 25 |
| 4 | Schedule 40 pipe 0.75" Dia |  |  | RFT | 20 |
| 5 | Schedule 40 pipe 0.5" Dia |  |  | RFT | 20 |
| 6 | GI Fittings/MS fitting/M S C-Channel |  |  | NO. | 1 |
| 7 | Fire resistance cable, Bangladesh |  |  | MTR. | 450 |
| 8 | Best Quality Local Painting, Burger or equivalent |  |  | NO. | 1 |
| 9 | Conduit 1", 3/4" & Accessories |  |  | MTR. | 250 |
| 10 | Flexible cable, 2 x 40/0.0076, Paradise/BRB |  |  | MTR. | 150 |
| 11 | Flexible cable, 3 x 40/0.0076, Paradise/BRB |  |  | MTR. | 60 |
| 12 | Installation, Testing and Commissioning |  |  | NO. | 1 |

* Brand & Country of manufacturing of fire system components should be mention by Bidder

The fire suppression (FM-200) gas extinguishing agent must have Underwriters Laboratories (UL) recognized component and Installation of the system complies with NFPA Standard 2001.

Viii. Access Control and Monitoring systems

| S/L | Description | Qty | Unit |
| --- | --- | --- | --- |
| 1 | Access Control and Time Recorder Terminal with Proximity Reader, 15 Key Numeric Keypad (for PIN code entry and device configuration) & Backlight LCD Display. |  |  |
|  | Model : Should be mentioned | 1 | Nos |
|  | Brand : Should be mentioned |  |  |
|  | Origin : Should be mentioned |  |  |
| 2 | Reader inter face unit for one Access door control | 2 | Nos |
| 3 | EM Proximity Reader for Entry Use | 4 | Nos |
| 4 | EM Proximity Reader for Exit Use | 4 | Nos |
| 5 | Power Supply Unit c/w Battery Back up |  |  |
|  | Switching Power Supply Unit is applied to Door interface units to supply 12VDC/2.5A with a battery low-volt cut off module to prevent controller. | 2 | Nos |
| 6 | Electro-Magnetic Lock |  |  |
|  | Specified by Controller delay time, Door swing angle 90deg. with 600lbs force. | 4 | Nos |
| 6 | Z-L Bracket/U-channel Bracket |  |  |
|  | U-channel bracket is used to clamp onto a frameless glass door for mounting the metal armature used to latch the door to the EM Lock. | 4 | Nos |
|  | Z-L bracket is used to clamp on most types of doors for mounting the metal armature used to latch the door to the EM Lock. |  |  |
| 7 | Door Sensor Unit |  |  |
|  | Magnetic device to detect the position of doors & windows to indicate if the door has been open,left-open or breached. | 4 | Nos |
| 8 | Emergency Break Glass | 4 | Nos |
|  | Bypass mechanism for emergency realese of any locking mechanism. |  |  |
| 9 | Access Management System software | 1 | Lot |
|  | with Hardlock soft key |  |  |
| 10 | Cable & Conduit: Cat-6 communication cable with PVC conduit | 01 | lot |
| 11 | Cable & Conduit: Power cable with PVC conduit | 01 | Lot |
| 12 | Installation,testing & commissioning of the System's Software & Hardware. | 1 | Lot |

IX. TCP \ IP Based CCTV Systems with Software

| Item no | Item of Specifications |
| --- | --- |
|  | 08-Channel Video Recording Transmitter 500 GB HDD (Multi-stream video coding Technology. LAN, ADSL, PSTN & mobile network connections. Video transmission up to 100/120fps on LAN. Recording up to 100/120fps at D1 & 200/240fps at CIF. Built-in web server & live Video on web. Independent remote viewers. Video footage extraction through DVD writer & USB flash drive. Event type external alarm, tamper, video motion detection. Mobile video monitoring with M-303.Single and multi-site monitoring. Security lock and password protection. Model: Should be mentioned Brand: Should be mentioned Origin: Should be mentioned Indoor IR Color Dome Camera 1/3” interline transfer CCD,380 TVL,3.6mm Lens,68° View Angle, infrared LEDs / ~15 M,0.1 Lux / F1.2 ( IR OFF )0.0 Lux ( IR ON ) Model: Should be mentioned Brand: Should be mentioned Origin: Should be mentioned 17’’ LCD Monitor Brand: Should be mentioned Installation, testing and commissioning of the system’s software and hardware. Warranty: 1 year full warranty with parts and onsite service & labor Maintenance: 4 Years maintenance after warranty |

X. Environment Monitoring & Water detection System

| Item No. | Specification of Items |
| --- | --- |
|  | Brand name : Should be mentioned Origin : Should be mentioned |
|  | Model/Version: Should be mentioned |
|  | Monitor Threats Temperature, humidity, intrusion, waterleakage, Liquid detection sensor, shock vibration, Smoke, glassbreak, motion, 4-20mA converter, voltage detector and more. |
|  | Technical Specification:- Protocols HTTP/HTTPS, SNMP V1/V2c, SMTP, TCP/IP, Syslog, SNMP, Supports local authentication, SSL. Operates and configures via HTTP/HTTPS web page, Telnet or RS232 interface. Sends notifications of alerts to a maximum of 17 email addresses, SNMP addresses and/or cell phone numbers. internal temperature Sensor |
|  | Internal Power Sensor Measures mains voltage: 0 to 255 VAC. Measures battery voltage: 0 to 20 VDC Alerts are sent when there is a power outage and when power returns |
|  | Back-up Battery Rechargeable sealed lead-acid battery. Provides back-up for one hour. |
|  | Environmental Operating temperature: 32°F to 100°F (0°C to 38°C). Storage temperature: -20°F to 140°F (-30°C to 60°C). Operating and Storage Relative Humidity: 17 to 90% no condensing RH. |
|  | Dimensions WxDxH (in.): Should be mentioned |
|  | Control Methods Full configuration via Web-page Configure sensor thresholds and timing, alarm methods, alert formats and system data log. View current sensor values and alert status. Connection to remote sites over TCP/IP.Alarm handling with alarm retransmission, logging and more. |
|  | GSM Modem – 1 Set |
|  | Including Electrical work and Data link work for EMS |
|  | Installation: Installation, Testing & Commissioning Warranty: 1 year full warranty with parts and onsite service & labor Maintenance: 4 Years maintenance after warranty |

XI. Thermal Insulation under raise floor for Server Room

| Item No | Item specifications |
| --- | --- |
|  | Origin: Should be mentioned |
|  | Technical Specification: |
|  | Thickness : 5mmx4 Layer PE Foam |
|  | Fire Proof Broad top side laminated with aluminium Foil tape Bottom side laminated self adhesive Gum tape Wall protection for Damp proof with thermal insulation. Installation & Testing. |

Xii. Dehumidifier

| Item No | Item specifications |
| --- | --- |
|  | Brand name : To be mention by the bidder |
|  | Model/Version: To be mention by the bidder |
|  | Technical Specification:- |
|  | Moisture removal capacity: 20 L/day |
|  | Power consumption: 350 watts |
|  | Operation range: 5 to 35 'C |
|  | Rotary compressor + R-134a refrigerant |
|  | Metal housing |
|  | Fan speed: 2 |
|  | Water tank: 4.8 L |
|  | Net weight: 22.5 kgs |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor Maintenance: 4 Years maintenance after warranty |

Xiii. Fire resisting door for power room

| Item No | Item Specification |
| --- | --- |
|  | Origin: Should be mentioned Brand: Should be mentioned |
|  | NFPA 251 Standard |
|  | Test standard: Fire Door must be tested according to BS Standard |
|  | Shutter materials: Steel |
|  | Two hour fire resistivity. |
|  | Jamb:2 vertical Fire Resisting jamb and 1 Fire Resisting horizontal jamb |
|  | Door shutter sheet thickness: At least 3mm |
|  | Vision panel:Fire Rated glass vision panel |
|  | Hinge, bolt and screw :Fire rated |
|  | Internal Insulation:Honeycomb core insulation |
|  | Lock:Built in mortise lock |
|  | Auto Door Closer :Default |
|  | Dimension: To be mention by the bidder |
|  | Installation: Installation, Testing & Commissioning |
|  | Warranty: 1 year full warranty with parts and onsite service & labor Maintenance: 4 Years maintenance after warranty |

XIV. Structured Cabling System (SCS) inside DRC

The bidder must comply with the following important conditions:

- UL Verification report for CAT 6 cabling solution must be provided.

- Should be ensure Cat 6 performance even when termination is within 15 meters thus ensuring eliminating short resonance. Especially useful in Data Center & DRCs & computer rooms.

- +6dB Margin over CAT6 Standards for swept frequency 1~250MHz must be guaranteed.

- Should be a technology Development partner with Leading Active Component Manufacturer.

- Should be  ensure RoHS - Restriction of Certain Hazardous Substances.

| Item No | Item Description | Unit |
| --- | --- | --- |
| 1 | UTP Cat 6A Data Cable | Box |
| 2 | UTP Face Plate with shutter | Each |
| 3 | UTP Cat 6 Modular Jack | Each |
| 4 | UTP Patch Panel , 24 Port, With Modular, | Each |
| 5 | UTP Cat 6 Cable, 5 Meter Long | Each |
| 6 | UTP Cat 6 Cable, 3 Meter Long | Each |
| 7 | UTP Cat 6 Patch Cable, 2 Meter Long | Each |
| 8 | Patch Cable, 1 Meter | Each |
| 9 | Horizontal Cable Manager, Both Sided | Each |
| 10 | Consolidated Point Box (Zone Box) | Each |
| 11 | 2"X4"X2" Aluminum Box Chanel (Cable Duct) | Meter |
| 12 | Steel Flexible Conduit | Meter |
| 16 | Wall Mounting Box for Face Plate | Each |

Drawing: Floor Layout plan for Janata Bank DRS

Bill of Materials / Bill of Quantity (Disaster Recovery center)

| S/L | Description | Specification | Unit | Qty |
| --- | --- | --- | --- | --- |
| 1 | Raised Flooring systems | As described in this RFP | Sqft | As per proposed design of Server , NOC & Power room |
| 2 | UPS Systems ( Redundant ) | As described in this RFP | Unit | 2 |
| 3 | Earthing Systems | As described in this RFP | Lot | 1 |
| 4 | Precision Air condition System | As described in this RFP | Unit | 2 |
| 5 | Comfort Air condition ( NOC /OPPS Room ) | As described in this RFP | Unit | 1 |
| 6 | Comfort Air condition (Power Room ) | As described in this RFP | Unit | 2 |
| 7 | Automatic Gas Suppression System for server , power | As described in this RFP | Lot | 1 |
| 8 | Access control & Monitoring software | As described in this RFP | Unit | As per proposed design for Main Entrance , server , NOC, Power/Gas Room |
| 9 | Digital CCTV System | As described in this RFP | Unit | As per proposed design for Main Entrance , server , NOC, Power/Gas Room |
| 10 | Environment Monitoring & Water detection System | As described in this RFP | Lot | 1 |
| 11 | Thermal Insulation for server Room | As described in this RFP | Lot | 1 |
| 12 | Dehumidifier | As described in this RFP | Unit | 2 |
| 13 | Fire resistant door | As described in this RFP | Unit | 1 |
| 14 | Structure cabling systems inside Datacenter | As described in this RFP | Lot | 1 |
| 15 | Civil Works |  | Job | 1 |
| 16 | Furniture’s |  | Lot | 1 |  |
| 17 | Electrical works |  | Job | 1 |

PACKAGE-B

LOT/GROUP-01 (NETWORK CONNECTIVITY-PRIMARY)

| Item No. | Name of Item or Related Service | Technical Specification and Standards |
| --- | --- | --- |
|  | NETWORK CONNECTIVITY (PRIMARY) |
| A. | Dedicated Connection preferable in Optical Fibre: Connectivity from Branch to Data Center at 256 kbps/branch (The connectivity architecture must be Layer 2 MPLS) (Aggregate Bandwidth of Branch should be provide to CDC and DRS) |
| B. | Dedicated Dark Fibre Connection: Connectivity from Data Center to DR Site (within 35 KM) |

LOT/GROUP-02 (NETWORK CONNECTIVITY-ALTERNATIVE)

|  | NETWORK CONNECTIVITY (ALTERNATIVE) |
| --- | --- |
| A. | Dedicated Connection preferable in Optical Fibre: Connectivity from Branch to Data Center at 128 kbps/branch (The connectivity architecture must be Layer 2 MPLS) (Aggregate Bandwidth of Branch should be provide to CDC and DRS) |
| B. | Dedicated Dark Fibre Connection: Connectivity from Data Center to DR Site (within 35 KM) |

PACKAGE-C:

| Item No. | Name of Item or Related Service | Technical Specification and Standards |
| --- | --- | --- |
| LOT/GROUP-01: (PC, MICR MACHINE, LAPTOP AND PRINTER) |
| 01 | PERSONAL COMPUTER (PC) |
|  | Brand | Should be Internationally reputed |
|  | Model | Should be mentioned. |
|  | Part/Product No. | Should be mentioned. |
|  | Form factor | Tower |
|  | Processor | Pentium Core 2 Duo or higher |
|  | Speed | Minimum 2.8 GHz or higher. |
|  | Chipset | Intel G31 or equivalent |
|  | Memory (RAM) | Standard 2 GB expandable to minimum 4 GB. |
|  | Cache Memory (per core) | Integrated 3 MB L-2. |
|  | System Bus speed | 1033 MHz or Higher |
|  | HDD | 250 GB or higher 7200RPM. |
|  | DVD Drive | 32x16x8 or higher |
|  | Graphics | AGP with minimum 256 MB or higher |
|  | Monitor | 17" LCD Colour, same brand as Workstation. |
|  | Keyboard & Mouse | 104 or more Keys enhanced keyboard, 3 button Mouse & pad. |
|  | Expansion slots | Minimum 3 (2 PCI + 1 PCI Express) slots |
|  | Expansion Bays | Minimum 4 bays. |
|  | Network Controller | Integrated Ethernet Gigabit NIC |
|  | I/O Ports/ Interface | Parallel, Mouse, Keyboard, Graphics, RJ-45, USB etc. |
|  | Operating System | Windows XP Professional with Service Pack 3 or equivalent with Media and License for every PC |
|  | Additional Software | Microsoft office 2007 Professional (Genuine License) & Anti-virus, Anti-spy ware, firewall with CD Media and 3 years License for every PC |
|  | Hardware device driver | Should be support all Microsoft OS(Window XP, Vista, Server) |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Dust cover | Should be supplied |
|  | Certification | 1. ISO 9001:2000 certificate for quality assurance (manufacturing) 2. FCC class B certification for components (In both cases company’s e-mail and web address must be mentioned in the certificate) |
|  | Authentication | Different parts of the system must be certified with brand company and should have Parts No. on each Part. |
|  | Compatibility | All the devices must be OS authenticated/ Signature verified. |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 02 | LAPTOP COMPUTER |
|  | Brand | Should be Internationally reputed |
|  | Model | Should be mentioned. |
|  | Part/Product No | Should be mentioned. |
|  | Processor | Intel® Core 2 Duo Processor (2.80GHz, 1066MHz 6M L2 Cache) |
|  | Display | 14.1 inch Wide Screen WXGA LED display |
|  | Memory(RAM) | Minimum 4.0GB, DDR2-800MHz 2 DIMM |
|  | Wireless | Intel WiFi Link |
|  | Bluetooth | Bluetooth Module |
|  | Video Memory | Minimum 256MB |
|  | Hard Drive | 250GB Hard Drive 7200RPM |
|  | DVD/CD Drive | 8X DVD+/-RW |
|  | Battery | 9-Cell Battery; Lithium ion(Minimum 6 hours backup) |
|  | Additional Power option | External 9 cell battery(Minimum 6 hours backup) |
|  | AC adapter | 90W AC Adapter |
|  | Weight | Maximum 6.3 lbs |
|  | I/O Ports | Serial, docking connector, 4 USB, VGA, headphone /speaker out, RJ-45, AC power, Integrated Webcam |
|  | Accessories | Laser Mouse, Nylon Carrying Case |
|  | Operating System | Windows XP Professional with Service Pack 3 or equivalent with Media and License for every Laptop |
|  | Additional Software | Microsoft office 2007 Professional (Genuine License) & Anti-virus, Anti-spy ware, firewall with CD Media and 3 years License for every Laptop |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 03 | MICR READABLE CHEQUE SCANNER |
|  | Brand / Model | Should be mentioned. |
|  | Documents Processing Speed | 40-60 Document per minute (dpm) |
|  | Capturing Capacity | Front and Rear Image Capture at 300 dot per inch (dpi) |
|  | Document Hopper | Minimum 50 item hopper Capacity |
|  | Output Pockets | Minimum 2 Pockets and 50 item pocket capacity |
|  | Endorsement | Print Method-Inkjet, Print Character-Numeric, Alphabetic and Symbol, Font size- 7.5 CPI, 10 CPI, 15 CPI |
|  | Endorsement Ink Cartridge | Minimum 2 units |
|  | Computer Interfaces | USB 2.0 |
|  | Interface Operating Environment | Microsoft Windows VISTA Business, XP Professional with SP3 |
|  | Power Supply AC Adapter | AC 100-240 V, 50/60Hz, |
|  | Upgradeable | Yes |
|  | Country of Origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labour, parts & replacement. |
| 04 | LASER PRINTER |
|  | Brand / Model | Should be Internationally reputed. |
|  | Print Technology | Laser |
|  | Print Speed | 35 page per minute |
|  | Work Load | Minimum 1,50,000 pages per month |
|  | Paper Tray | Minimum 2 tray |
|  | Print Resolution | 1200 X 1200 dpi |
|  | Memory | 64MB |
|  | Processor | Minimum 400 MHz |
|  | Interfacing | UBS 2.0 |
|  | Paper support | Letter, Legal, Executive, A4 etc |
|  | Country of Origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement |
| 05 | COLOR LASER PRINTER |  |
|  | Brand / Model | Should be Internationally reputed. |
|  | Print Technology | Laser |
|  | Print Speed | Color 20 page per minute |
|  | Work Load | Minimum 60,000 pages per month |
|  | Paper Tray | Minimum 2 tray |
|  | Print Resolution | 1200 X 600 dpi |
|  | Memory | 128MB |
|  | Processor | Minimum 350 MHz |
|  | Interfacing | UBS 2.0 |
|  | Paper support | Letter, Legal, Executive, A4 etc |
|  | Country of Origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement |
| LOT/GROUP-02: LINE PRINTER |
| 01 | LINE PRINTER (HEAVY DUTY) |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Printing Method | Line Impact Dot Matrix. |
|  | Work Load | Minimum 4,00,000 pages per month |
|  | Print Speed | Minimum 1500 Lines per minute |
|  | Character Pitch | 5 to 20 character per inch |
|  | Line Pitch | 1.5 to 10 line per inch |
|  | Fonts | Draft, Data Processing, Gothic, Courier, OCR-A/B |
|  | Paper Tractor | 4 (Four) tractors |
|  | Interfaces | Parallel and Serial RS232 both active simultaneously |
|  | Configuration Save | Save up to 10 unique configurations. |
|  | Emulations | MT660/MT690, Tally Line matrix Printer, Printronix P600 & P6000, HP 2564C, DEC LG01, Epson FX100, Genicom ANSI & IBM Proprinter III XL. |
|  | Accessories | 10 (ten) extra cartridges |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement |
| 02. | LINE PRINTER (MEDIUM DUTY) |
|  | Brand | Should be Internationally reputed. |
|  | Model | Should be mentioned. |
|  | Printing Method | Line Impact Dot Matrix. |
|  | Work Load | Minimum 1,75,000 pages per month |
|  | Print Speed | Minimum 600 Lines per minute |
|  | Character Pitch | Minimum 5 to 15 character per inch |
|  | Fonts | Draft, Data Processing, Gothic, Courier, OCR-A/B |
|  | Paper Tractor | 2 (Two) tractors |
|  | Interfaces | Parallel |
|  | Accessories | 10 (ten) extra cartridges |
|  | Country of origin | Should be mentioned. |
|  | Country of Assemble | Should be mentioned. |
|  | Port of Shipment | Should be mentioned. |
|  | Warranty | At least 3 years on site with full labor, parts and replacement |
| LOT/GROUP-03: (UPS and AVS) |
| 01 | LINE INTERACTIVE UPS :1000VA |
|  | Brand | Should be mentioned. |
|  | Model | Should be mentioned. |
|  | Capacity | Minimum 1000 VA. (400 watt bulb test required) |
|  | Back up time | Minimum 20 minutes at full load. |
|  | AC MODE |  |
|  | Input Voltage | 160~280 VAC. |
|  | Output Voltage | 220 VAC |
|  | Input Frequency | 50Hz +/- 3Hz |
|  | INVERTER MODE |  |
|  | Output Voltage | 220 V AC +/- 5% |
|  | Output Frequency | 50 Hz |
|  | Transfer time | < 2 ms |
|  | Protection | Lightning & Surge, Blackouts, Brownouts, Over load, Under & Over voltage, Battery Low & Battery Over Charge, Surge & Spike protection and assurance of compatibility with all loads. |
|  | Product Certification | ISO/BSTI Certification will get preference. |
|  | Country of origin | Should be mentioned. |
|  | Warranty | At least 3 years with full labor, parts and replacement (including battery) on site. |
| 02 | AUTOMATIC VOLTAGE STABILIZER: 1000VA |
|  | Brand | Should be mentioned |
|  | Model | Should be mentioned. |
|  | Capacity | 1000 VA |
|  | Input Voltage | 90V-290 V AC |
|  | Output Voltage | 220 V |
|  | Input Frequency | 50 Hz +/- 3Hz |
|  | Protection | Over load, Under & Over voltage, Surge & Spike protection. |
|  | Product Certification | ISO/BSTI Certification will get preference. |
|  | Country of origin | Should be mentioned. |
|  | Warranty | At least 3 years with full labor, parts and replacement. |

IMPLEMENTATION SCHEDULE (PHASE-WISE) for PACKAGE-B

1st Phase CDC in Head Office Location and DR Site at Netaigonj Narayangonj Total 12 Branches - (Annexure-I) ► 4 in Dhaka and 8 in outside of Dhaka 2nd Phase 1st Stage: Total 123 Branch: (Annexure-II) ► Remaining Off-Line Computerized Corporate, AD, Grade-1 Branches 2nd Stage: Total 100 Branch: (Annexure-II) ► Remaining Grade 1- Branches

Annexure-I

Phase -1

List of 12 Branches

| Sl. No. | Office/Branch Name | Location |
| --- | --- | --- |
| A | Central Data Center (CDC) | Janata Bank Limited, Head Office, Janata Bhaban, 110 Motijheel, C/A, Dhaka |
| B | Disaster Recovery Site (DRS) | Janata Bank Limited, Netaigonj Corporate Branch , Narayangonj |
| C | Janata Bank Limited, Head Office Departments* | Janata Bank Limited, Head Office, Janata Bhaban, 110 Motijheel, C/A, Dhaka |
| D | Janata Bank Limited, Head Office Departments | 48, Motijheel C/A, Dhaka 29, Dilkusha C/A, Dhaka |
| Branches |
| 01 | LOCAL OFFICE / PRINCIPAL BRANCH | 1, Dilkusha C/A, Dhaka |
| 02 | JANATA BHABAN CORPORATE / CENTRAL BRANCH * | 110 Motijheel, C/A, Dhaka |
| 03 | KAWRAN BAZAR CORPORATE BRANCH | WASA Bhaban, 98, Kazi Nazrul Islam Avenue, Kawran Bazar, Dhaka |
| 04 | NAGAR BHABAN COPORATE BRANCH | Nagar Bhaban, Dhaka |
| 05 | B. B. ROAD CORPORATE BRANCH | 29, Banga Bandhu Raod, Narayangonj |
| 06 | LALDIGHI EAST CORPORATE BRANCH | Bank Square, Laldighi East, Chittagong |
| 07 | SK. MUJIB ROAD CORP. BRANCH | 27, Sk, Mujib Road, Chittagong |
| 08 | KHULNA CORPORATE BRANCH | Jalil Tower, 77, Lower Jessore Road, Khulna |
| 09 | SYLHET CORPORATE BRANCH | New Market, Sylhet |
| 10 | RAJSHAHI CORPORATE BRANCH | Saheb Chattar, Rajshahi |
| 11 | BARISAL CORPORATE BRANCH | Municipal Super Market, Sadar Road, Barisal |
| 12 | RANGPUR CORPORATE BRANCH | Collectorate Biponi Bitan Bhabn, Rangpur |

* Note: Since this branch is located in Head Office Building, therefore the monthly recurring cost for connectivity should not be included in the quoted price for Package B.

# Annexure-II

Distribution List for Package-C

| Sl | Location Name | PC | Laptop | MICR | Laser Printer | Line Printer | UPS 1000V | AVS-WS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Divisional Office, Dhaka | 1 |  |  |  |  | 1 | 1 |
| 2 | Divisional Office, Chittagong | 1 |  |  |  |  | 1 | 1 |
| 3 | Divisional Office, Khulna | 1 |  |  |  |  | 1 | 1 |
| 4 | Divisional Office, Rajshahi | 1 |  |  |  |  | 1 | 1 |
| 5 | Divisional Office, Sylhet | 1 |  |  |  |  | 1 | 1 |
| 6 | Area Office, Narayanganj | 1 |  |  |  |  | 1 | 1 |
| 7 | Area Office, Comilla | 1 |  |  |  |  | 1 | 1 |
| 8 | Area Office, Noakhali | 1 |  |  |  |  | 1 | 1 |
| 9 | Area Office, Mymensingh | 1 |  |  |  |  | 1 | 1 |
| 10 | Area Office, Tangail | 1 |  |  |  |  | 1 | 1 |
| 11 | Area Office, Bogra | 1 |  |  |  |  | 1 | 1 |
| 12 | Area Office, Rangpur | 1 |  |  |  |  | 1 | 1 |
| 13 | Area Office, Dinajpur | 1 |  |  |  |  | 1 | 1 |
| 14 | Area Office, Rajshahi | 1 |  |  |  |  | 1 | 1 |
| 15 | Area Office, Pabna | 1 |  |  |  |  | 1 | 1 |
| 16 | Area Office, Kushtia | 1 |  |  |  |  | 1 | 1 |
| 17 | Area Office, Barisal | 1 |  |  |  |  | 1 | 1 |
| 18 | Area Office, Jessore | 1 |  |  |  |  | 1 | 1 |
| 19 | Area Office, Khulna | 1 |  |  |  |  | 1 | 1 |
| 20 | Area Office, Faridpur | 1 |  |  |  |  | 1 | 1 |
| 21 | Regional Office, Dhaka South | 1 |  |  |  |  | 1 | 1 |
| 22 | Regional Office, Dhaka North | 1 |  |  |  |  | 1 | 1 |
| 23 | Regional Office, Dhaka East | 1 |  |  |  |  | 1 | 1 |
| 24 | Regional Office, Dhaka West | 1 |  |  |  |  | 1 | 1 |
| 25 | Regional Office, Narsingdhi | 1 |  |  |  |  | 1 | 1 |
| 26 | Regional Office, Comilla-B | 1 |  |  |  |  | 1 | 1 |
| 27 | Regional Office, Feni | 1 |  |  |  |  | 1 | 1 |
| 28 | Regional Office, Chittagong-A | 1 |  |  |  |  | 1 | 1 |
| 29 | Regional Office, Chittagong-B | 1 |  |  |  |  | 1 | 1 |
| 30 | Regional Office, Chittagong-C | 1 |  |  |  |  | 1 | 1 |
| 31 | Regional Office, Cox's Bazer | 1 |  |  |  |  | 1 | 1 |
| 32 | Regional Office, Sunamganj | 1 |  |  |  |  | 1 | 1 |
| 33 | Regional Office, Moulvibazer | 1 |  |  |  |  | 1 | 1 |
| 34 | Regional Office, Hobiganj | 1 |  |  |  |  | 1 | 1 |
| 35 | Regional Office, Brahmanbaria | 1 |  |  |  |  | 1 | 1 |
| 36 | Regional Office, Kishoreganj | 1 |  |  |  |  | 1 | 1 |
| 37 | Regional Office, Jamalpur | 1 |  |  |  |  | 1 | 1 |
| 38 | Regional Office, Sirajganj | 1 |  |  |  |  | 1 | 1 |
| 39 | Regional Office, Noagoan | 1 |  |  |  |  | 1 | 1 |
| 40 | Regional Office, Natore | 1 |  |  |  |  | 1 | 1 |
| 41 | Regional Office, Kurigram | 1 |  |  |  |  | 1 | 1 |
| 42 | Regional Office, Thakurgoan | 1 |  |  |  |  | 1 | 1 |
| 43 | Regional Office, Chapai Nawabganj | 1 |  |  |  |  | 1 | 1 |
| 44 | Regional Office, Jhenaidah | 1 |  |  |  |  | 1 | 1 |
| 45 | Regional Office, Satkhira | 1 |  |  |  |  | 1 | 1 |
| 46 | Regional Office, Bhola | 1 |  |  |  |  | 1 | 1 |
| 47 | Regional Office, Patuakhali | 1 |  |  |  |  | 1 | 1 |
| 48 | Regional Office, Madaripur | 1 |  |  |  |  | 1 | 1 |
| 49 | Regional Office, Chandpur | 1 |  |  |  |  | 1 | 1 |
| 50 | Regional Office, Gaibandha | 1 |  |  |  |  | 1 | 1 |
| 51 | Merchant Banking Unit |  |  |  | 02 |  |  |  |
| 52 | Information Technology System Department, Head Office | 56 | 06 |  | 09 | 04 | 56 | 56 |
| 53 | Bach 94 Branch in Dhaka City | 94 |  | 94 |  |  | 94 | 94 |
| 54 | CDC, Head Office |  |  |  |  | 1 |  |  |
| 55 | DRS , Netaigonj, Narayangonj |  |  |  |  | 1 |  |  |
| 56 | Branches at Annex-I |  |  |  |  | 12 |  |  |
| 57 | HO Departments |  |  |  |  | 04 |  |  |
|  | Total | 200 | 06 | 94 | 11 | 22 | 200 | 200 |

# Annex-III

# Phase-II

# List of 223 Branches under On line Banking (For Package-B)

| Serial Number | Branch Type | Branch Name |
| --- | --- | --- |
|  | Corporate Branch-1 | IMAMGONJ CORPORATE, DHAKA |
|  | Corporate Branch-1 | RAMNA CORPORATE BRANCH, DHAKA |
|  | Corporate Branch-1 | DILKUSHA CORPORATE, DHAKA |
|  | Corporate Branch-1 | 48,MOTIJHEEL CORPORATE, DHAKA |
|  | Corporate Branch-1 | FOREIGN EXCHANGE CORPORATE, DHAKA |
|  | Corporate Branch-2 | A.K. FAZLUL HUQ ROAD CORPORATE, COMILLA |
|  | Corporate Branch-2 | ASADGONJ CORPORATE, CHITTAGONG |
|  | Corporate Branch-2 | BOGRA CORPORATE, BOGRA |
|  | Corporate Branch-2 | COMILLA CORPORATE, COMILLA |
|  | Corporate Branch-2 | DHAKA SHERATON HOTEL CORPORATE, DHAKA |
|  | Corporate Branch-2 | DINAJPUR CORPORATE, DINAJPUR |
|  | Corporate Branch-2 | ELEPHANT ROAD CORPORATE, DHAKA |
|  | Corporate Branch-2 | FARIDPUR CORPORATE, FARIDPUR |
|  | Corporate Branch-2 | FARM GATE CORPORATE, DHAKA |
|  | Corporate Branch-2 | FOREIGN EXCHANGE (CTG.) CORP. |
|  | Corporate Branch-2 | FOREIGN EXCHANGE(SYLHET) CORP. |
|  | Corporate Branch-2 | GOPALGONJ CORPORATE, GOPALGONJ |
|  | Corporate Branch-2 | GULSHAN CIRCLE-2 CORPORATE, DHAKA |
|  | Corporate Branch-2 | KAMAL ATATURK AVENUE CORPORATE, DHAKA |
|  | Corporate Branch-2 | KHATUNGONJ CORPORATE, CHITTAGONG |
|  | Corporate Branch-2 | KUSHTIA CORPORATE, KUSTIA |
|  | Corporate Branch-2 | M.K.ROAD CORPORATE, JESSORE |
|  | Corporate Branch-2 | MAIZDEE COURT CORPORATE, NOAKHALI |
|  | Corporate Branch-2 | MOHAKHALI CORPORATE, DHAKA |
|  | Corporate Branch-2 | MOHAMMADPUR CORPORATE, DHAKA |
|  | Corporate Branch-2 | MYMENSINGH CORPORATE, MYMENSINGH |
|  | Corporate Branch-2 | NAWABPUR ROAD CORP., DHAKA |
|  | Corporate Branch-2 | NEATAIGONJ(NARAYANGONJ) CORP. |
|  | Corporate Branch-2 | PABNA CORP. PABNA |
|  | Corporate Branch-2 | PORT (CHITTAGONG) CORP. |
|  | Corporate Branch-2 | RAJARBAGH CORPORATE, DHAKA |
|  | Corporate Branch-2 | RAJUK BHABAN CORPORATE, DHAKA |
|  | Corporate Branch-2 | SADHARAN BIMA BHABAN CORP., CHITTAGONG |
|  | Corporate Branch-2 | SATMASJID ROAD CORPORATE, DHAKA |
|  | Corporate Branch-2 | SHANTINAGAR CORPORATE, DHAKA |
|  | Corporate Branch-2 | TOPKHANA ROAD CORP., DHAKA |
|  | Corporate Branch-2 | UTTARA MODEL TOWN CORP., DHAKA |
|  | Corporate Branch-2 | WASA (DHAKA) CORP. |
|  | Corporate Branch-2 | ZINDA BAZAR CORPORATE, SYLHET |
|  | Grade-1 Branch | ABUL HASNAT ROAD, DHAKA |
|  | Grade-1 Branch | ALU BAZAR DHAKA |
|  | Grade-1 Branch | AMIN BAZAR DHAKA |
|  | Grade-1 Branch | BANGSHAL ROAD DHAKA |
|  | Grade-1 Branch | CAPTAIN BAZAR DHAKA |
|  | Grade-1 Branch | CHAMPATALI DHAKA |
|  | Grade-1 Branch | CHOWK BAZAR(DHAKA) |
|  | Grade-1 Branch | DEOBHOG DHAKA |
|  | Grade-1 Branch | DHAKESWARI ROAD DHAKA |
|  | Grade-1 Branch | ENGLISH ROAD DHAKA |
|  | Grade-1 Branch | FATULLAH, NARAYANGONJ |
|  | Grade-1 Branch | FULBARIA (DHAKA) |
|  | Grade-1 Branch | HATKHOLA (LADIES) ROAD DHAKA |
|  | Grade-1 Branch | I.W.T.A.(DHAKA) |
|  | Grade-1 Branch | ISLAMPUR(DHAKA) |
|  | Grade-1 Branch | KAMALAPUR BAZAR DHAKA |
|  | Grade-1 Branch | KHILGAON ROAD BRANCH DHAKA |
|  | Grade-1 Branch | LAXMI BAZAR BRANCH DHAKA |
|  | Grade-1 Branch | MITFORD ROAD BRANCH DHAKA |
|  | Grade-1 Branch | MOKIMKATRA BRANCH DHAKA |
|  | Grade-1 Branch | MUGDAPARA DHAKA |
|  | Grade-1 Branch | NARINDA ROAD DHAKA |
|  | Grade-1 Branch | NAWABGONJ BRANCH DHAKA |
|  | Grade-1 Branch | NAZIMUDDIN ROAD BRANCH DHAKA |
|  | Grade-1 Branch | POSTAGOLA DHAKA |
|  | Grade-1 Branch | RAYER BAZAR BRANCH DHAKA |
|  | Grade-1 Branch | SARULIA DHAKA |
|  | Grade-1 Branch | TAN BAZAR(NARAYANGONJ) |
|  | Grade-1 Branch | TEJGAON INDUS. AREA BRANCH DHAKA |
|  | Grade-1 Branch | THATARI BAZAR BRANCH DHAKA |
|  | Grade-1 Branch | TIPU SULTAN ROAD DHAKA |
|  | Grade-1 Branch | URDU ROAD BRANCH DHAKA |
|  | Grade-1 Branch | WEST KAFRUL BRANCH DHAKA |
|  | Grade-1 Branch | ZINZIRA BRANCH DHAKA |
|  | Grade-1 Branch | AKHAURA, B BARIA |
|  | Grade-1 Branch | ALAMNAGAR (RANGPUR) |
|  | Grade-1 Branch | ALLAR DARGAH KUSHTIA |
|  | Grade-1 Branch | AMBAGAN, CHITTAGONG |
|  | Grade-1 Branch | B.K.ROAD, NARAYANGONJ |
|  | Grade-1 Branch | BALUCHARA , CHITTAGONG |
|  | Grade-1 Branch | BANDARBAN (MAIN) |
|  | Grade-1 Branch | BARA BANDAR, DINAJPUR |
|  | Grade-1 Branch | BEANI BAZAR, SYLHET |
|  | Grade-1 Branch | BHAIRAB BAZAR, BHAIRAB, KISHORGONJ |
|  | Grade-1 Branch | BHOLA (MAIN) |
|  | Grade-1 Branch | BSCIC INDUSTRIAL ESTATE (BOGRA) |
|  | Grade-1 Branch | C.U. F. L. (CHITTAGONG) |
|  | Grade-1 Branch | CHAKTAI, CHITTAGONG |
|  | Grade-1 Branch | CHAPAI NAWABGONJ (MAIN) |
|  | Grade-1 Branch | CHHAGALNAIYA BAZAR |
|  | Grade-1 Branch | CHHATTAK, SYLHET |
|  | Grade-1 Branch | CHOUDDAGRAM, COMILLA |
|  | Grade-1 Branch | CHOWDHURI HAT, CHITTAGONG |
|  | Grade-1 Branch | CHOWK BAZAR (CHITTAGONG) |
|  | Grade-1 Branch | COLLEGE ROAD (FENI) |
|  | Grade-1 Branch | DAK BANGLA ROAD, KHULNA |
|  | Grade-1 Branch | DAUDKANDI, COMILLA |
|  | Grade-1 Branch | DEWAN HAT, CHITTAGONG |
|  | Grade-1 Branch | DREDGER SANGSTHA, NARAYANGONJ |
|  | Grade-1 Branch | FERINGEE BAZAR, CHITTAGONG |
|  | Grade-1 Branch | GAIBANDHA (MAIN) |
|  | Grade-1 Branch | GOHIRA, CHITTAGONG |
|  | Grade-1 Branch | GOURIPUR BAZAR, COMILLA |
|  | Grade-1 Branch | H.M.M.ROAD, JESSORE |
|  | Grade-1 Branch | HAT HAZARI, CHITTAGONG |
|  | Grade-1 Branch | HELATOLA ROAD, KHULNA |
|  | Grade-1 Branch | HOMNA, COMILLA |
|  | Grade-1 Branch | HOSSAIN SHAHID SOHROARDI, CHITTAGONG |
|  | Grade-1 Branch | ISHURDI |
|  | Grade-1 Branch | JHALAKATI |
|  | Grade-1 Branch | JOYPURHAT |
|  | Grade-1 Branch | KADAMTALI, CHITTAGONG |
|  | Grade-1 Branch | KALIAKOIR, GAZIPUR |
|  | Grade-1 Branch | KALIGOANJ (JHENAIDAH) |
|  | Grade-1 Branch | KALURGHAT, CHITTAGONG |
|  | Grade-1 Branch | KATHALTALI, RANGAMATI |
|  | Grade-1 Branch | KAZIR DEWRI, CHITTAGONG |
|  | Grade-1 Branch | KAZITOLA, SYLHET |
|  | Grade-1 Branch | KHAGRACHARI |
|  | Grade-1 Branch | KHALISHPUR, KHULNA |
|  | Grade-1 Branch | KHAN JAHAN ALI ROAD, BAGERHAT |
|  | Grade-1 Branch | KORBANIGONJ, CHITTAGONG |
|  | Grade-1 Branch | KURIGRAM |
|  | Grade-1 Branch | LAXMIPUR (NOAKHALI) |
|  | Grade-1 Branch | MADHUPUR |
|  | Grade-1 Branch | MAGURA (MAIN) |
|  | Grade-1 Branch | MANIKGONJ |
|  | Grade-1 Branch | MEHERPUR (MAIN) |
|  | Grade-1 Branch | MUNICIPALITY (CHITTAGONG) |
|  | Grade-1 Branch | MUNSHIGONJ(MAIN) |
|  | Grade-1 Branch | MURADPUR, CHITTAGONG |
|  | Grade-1 Branch | MURAPARA, NASHINGDI |
|  | Grade-1 Branch | NAOGAON (MAIN) |
|  | Grade-1 Branch | NATORE (MAIN) |
|  | Grade-1 Branch | NATUN BAZAR(MYMENSINGH) |
|  | Grade-1 Branch | NAZIRHAT, CHITTAGONG |
|  | Grade-1 Branch | PABNA BAZAR, PABNA |
|  | Grade-1 Branch | PALASH, NORSHINGDI |
|  | Grade-1 Branch | PANCHAGHAR |
|  | Grade-1 Branch | PARBATIPUR |
|  | Grade-1 Branch | PATENGA ROAD |
|  | Grade-1 Branch | PATUAKHALI (MAIN) |
|  | Grade-1 Branch | PORT ROAD, BARISAL |
|  | Grade-1 Branch | RAIL ROAD (BAGERHAT) |
|  | Grade-1 Branch | RAIPUR, NOAKHALI |
|  | Grade-1 Branch | REAZUDDIN BAZAR, CHITTAGONG |
|  | Grade-1 Branch | ROOSEVELT-JETTY, KHULNA |
|  | Grade-1 Branch | SADARGHAT ROAD(CHITTAGONG) |
|  | Grade-1 Branch | SATKHIRA (MAIN) |
|  | Grade-1 Branch | SHERPUR (JAMALPUR) |
|  | Grade-1 Branch | STRAND ROAD, CHITTAGONG |
|  | Grade-1 Branch | TAJPUR, SYLHET |
|  | Grade-1 Branch | TERI BAZAR, CHITTAGONG |
|  | Grade-1 Branch | ZIA SARKARKHANA, B. BARIA |
|  | Grade-1 Branch | ABDUL GANI ROAD, DHAKA |
|  | Grade-1 Branch | AMIR MARKET, CHITTAGONG |
|  | Grade-1 Branch | ARMANITOLA, DHAKA |
|  | Grade-1 Branch | B.R.T.C.(DHAKA) BRANCH |
|  | Grade-1 Branch | BANANI BRANCH, DHAKA |
|  | Grade-1 Branch | BANGLA MOTOR, DHAKA |
|  | Grade-1 Branch | BRAHMANBARIA (MAIN) |
|  | Grade-1 Branch | BURIRCHAR, CHITTAGONG |
|  | Grade-1 Branch | CHOWMOHANI, NOAKHALI |
|  | Grade-1 Branch | COMPANIGONJ, COMILLA |
|  | Grade-1 Branch | COX'S BAZAR (MAIN) |
|  | Grade-1 Branch | D.M.C.H.(DHAKA) |
|  | Grade-1 Branch | DAGON BHUIYAN, FENI |
|  | Grade-1 Branch | DARSANA, KUSTIA |
|  | Grade-1 Branch | DHAKA COLLEGE GATE, DHAKA |
|  | Grade-1 Branch | DHANMONDI, DHAKA |
|  | Grade-1 Branch | EMPLOYMENT EXCHANGE, DHAKA |
|  | Grade-1 Branch | EXPORT PROCESSING ZONE(CTG.) |
|  | Grade-1 Branch | FAKIRAPOOL, DHAKA |
|  | Grade-1 Branch | FARASHGONJ, DHAKA |
|  | Grade-1 Branch | FATICKCHARI, CHITTAGONG |
|  | Grade-1 Branch | FENI (MAIN) |
|  | Grade-1 Branch | GANDARIA, DHAKA |
|  | Grade-1 Branch | GREEN ROAD, DHAKA |
|  | Grade-1 Branch | GULSHAN CIRCLE-1, DHAKA |
|  | Grade-1 Branch | HABIGONJ (MAIN) |
|  | Grade-1 Branch | JAMALPUR (MAIN) |
|  | Grade-1 Branch | JHENAIDAH (MAIN) |
|  | Grade-1 Branch | JUBILEE ROAD CTG |
|  | Grade-1 Branch | JURAIN, DHAKA |
|  | Grade-1 Branch | K.D.A.(KHULNA) |
|  | Grade-1 Branch | KANDIRPAR, COMILLA |
|  | Grade-1 Branch | KHAN A. SABUR ROAD, KHULNA |
|  | Grade-1 Branch | KISHOREGONJ (MAIN) |
|  | Grade-1 Branch | MAGH BAZAR, DHAKA |
|  | Grade-1 Branch | MIRPUR SECTION-1 BRANCH, DHAKA |
|  | Grade-1 Branch | MIRPUR SECTION-10 BRANCH, DHAKA |
|  | Grade-1 Branch | MONGLA PORT COMPOUND, KHULNA |
|  | Grade-1 Branch | MOUCHAK MARKET BRANCH, DHAKA |
|  | Grade-1 Branch | MOULVI BAZAR (MAIN) |
|  | Grade-1 Branch | NARSINGHDI(MAIN) |
|  | Grade-1 Branch | NEW MARKET(CHITTAGONG) |
|  | Grade-1 Branch | NEW MARKET(DHAKA) BRANCH |
|  | Grade-1 Branch | NOAPARA (JESSORE) |
|  | Grade-1 Branch | OPEN UNIVERSITY CAMPUS, DHAKA |
|  | Grade-1 Branch | OPP. G.P.O. BRANCH, DHAKA |
|  | Grade-1 Branch | PAGLA BAZAR, NARAYANGONG |
|  | Grade-1 Branch | POSTHA BRANCH, DHAKA |
|  | Grade-1 Branch | PURAN BAZAR (CHANDPUR) |
|  | Grade-1 Branch | PURANA PALTAN BRANCH, DHAKA |
|  | Grade-1 Branch | RAJANIGANDHA SUPER MARKET BR. DHAKA |
|  | Grade-1 Branch | RAMPURA BRANCH, DHAKA |
|  | Grade-1 Branch | RURAL ELECTRIFICATION BOARD, DHAKA |
|  | Grade-1 Branch | SADARGHAT(DHAKA) BRANCH |
|  | Grade-1 Branch | SAPTAPADI MARKET, BOGRA |
|  | Grade-1 Branch | SAVAR BRANCH |
|  | Grade-1 Branch | SERAJGONJ (MAIN) |
|  | Grade-1 Branch | SHER-E-BANGLA NAGAR BRANCH, DHAKA |
|  | Grade-1 Branch | SHYAMOLI BRANCH, DHAKA |
|  | Grade-1 Branch | SONARGAON ROAD BRANCH, DHAKA |
|  | Grade-1 Branch | STATION ROAD (SYLHET) |
|  | Grade-1 Branch | SUNAMGONJ (MAIN) |
|  | Grade-1 Branch | SYED ALI CHAMBER, NARAYANGONJ |
|  | Grade-1 Branch | TANGAIL (MAIN) |
|  | Grade-1 Branch | THAKURGAON (MAIN) |
|  | Grade-1 Branch | TONGI BRANCH, TONGI |
|  | Grade-1 Branch | UNIVERSITY CAMPUS (T.S.C.), DHAKA |
|  | Grade-1 Branch | VICTORIA PARK BRANCH, DHAKA |
|  | Grade-1 Branch | WAPDA BRANCH, DHAKA |
|  | Grade-1 Branch | WASA (CHITTAGONG) |

|  | Annual Maintenance: |  |
| --- | --- | --- |
|  | a) Server, Storage Device, Rack, Tape Library, Router, Switch, Firewall, Printers, MICR Machine, UPS, AVS, Laptop. | 2(two) years after expiry of 3 years warranty period | Before expiry of the warranty period, the bank may sign a maintenance contract as per Form-G10(a) with the supplier(s) for smooth functioning of supplied goods & related services. The supplier(s) shall have to give an undertaking to execute maintenance agreement to render maintenance services by their personnel. Having more established service center in important location including divisional head quarters will be given preferences. |

It would be additional qualification for the bidder, if following information is added in the technical offer:

1.	Schematic diagram of the proposed Application and Technical Architecture

- Proposed processing architecture

- Technical and user manuals

- Distribution of the application software and other related databases/software across the proposed technology platforms in a multi-location scenario.

- Description of level and extent of integration and philosophy of integration of different application components.

- Proposed data communication protocol

- Distribution of the processing capabilities across the various hardware platforms.

- The roll out strategies for the application software, hardware, system/environment software and communication equipment at the Bank.

- Limitation of the proposed technology and application architecture.

- Customization requirement.

- Protection offered in the event of inadequate support or withdrawal of the system from the market and detail of right of escrow and possession of source code available to the Bank.

- Any other relevant information the vendor wishes to provide for the technical proposal.

( ( (