# Dhaka Power Distribution Company Limited

# (DPDC)

STANDARD TENDER DOCUMENT (INTERNATIONAL) FOR PROCUREMENT OF WORKS RELTAED TO

Design, Manufacture, Supply, Installation, Testing & Commissioning of Pre-Paid Meters, And Distribution Network Management, Commercial Operation & Customer Service For 5 years at NOCS Narinda Under DPDC.

Single stage two envelope

Invitation for Tender No. :

Issued on                          :

Tender Package No.         :

Table of Contents

Section-1: Instructions to Tenderers	1

A.	General	2

1.	Scope of Tender	2

2.	Interpretation	2

3.	Source of Funds	2

4.	Corrupt, Fraudulent, Collusive or Coercive Practices	3

5.	Eligible Tenderers	4

6.	Eligible Goods and Related Services	5

7.	Site Visit	5

B.	Tender Document	6

8.	Tender Document: General	6

9.	Clarification of Tender Documents	6

10.	Pre-Tender Meeting	6

11.	Addendum to Tender Documents	7

C.	Qualification Criteria	8

12.	General Criteria	8

13.	Litigation History	8

14.	Experience Criteria	8

15.	Financial Criteria	8

16.	Appointment of Subcontractor	8

D.	Tender Preparation	9

17.	Only One Tender	9

18.	Cost of Tendering	9

19.	Issuance and Sale of Tender Document	9

20.	Language of Tender	9

21.	Contents of Tender	10

22.	Alternatives	11

23.	Tender Prices, Discounts	11

24.	Tender Currency	14

25.	Documents Establishing the Conformity of the Goods and Related services	14

26.	Documents Establishing Qualifications of the Tenderer	14

27.	Validity Period of Tender	15

28.	Extension of Tender Validity and Tender Security	15

29.	Tender Security	15

30.	Form  of  Tender security	16

31.	Authenticity of Tender Security	16

32.	Return of Tender Security	16

33.	Forfeiture of Tender Security	16

34.	Format and Signing of Tender	17

E.	Tender Submission	18

35.	Sealing, Marking and Submission of Tender	18

36.	Deadline for Submission of tenders	18

37.	Late tender	19

38.	Modification, Substitution or  Withdrawal of Tenders	19

39.	Tender Modification	19

40.	Tender Substitution	19

41.	Withdrawal of Tender	19

F.	Tender Opening and Evaluation	19

42.	Tender Opening	19

43.	Evaluation of Tenders	21

44.	Evaluation process	21

45.	Preliminary Examination	21

46.	Technical Examinations & Responsiveness	22

47.	Clarification on Tender	24

48.	Restrictions on the Disclosure of Information Relating to the Procurement Process	24

49.	Correction of Arithmetical Errors	24

50.	Conversion to Single Currency	25

51.	Domestic Preference	25

52.	Financial Evaluation	26

53.	Assessing  the Price of Unpriced Items	27

54.	Evaluation of Domestic Preference	27

55.	Price Comparison	28

56.	Negotiation	28

57.	Post-qualification	28

58.	Rejection of All Tenders	29

59.	Informing Reasons for Rejection	29

G.	Contract Award	30

60.	Award Criteria	30

61.	Purchaser’s Right to Vary Quantities	30

62.	Notification of Award	30

63.	Performance Security	30

64.	Form and Time Limit for furnishing of Performance security	31

65.	Validity of Performance Security	31

66.	Authenticity of performance Security	31

67.	Contract Signing	31

68.	Publication of Notification of Award of Contract	32

69.	Debriefing of Tenderers	32

70.	Right to Complain	32

Section-2: Tender Data Sheet	33

A.	General	34

B.	Tender Document	34

C.	Qualification Criteria	35

D.	Preparation of Tender	37

E.	Submission of Tender	39

F.	Opening and Evaluation of Tenders	40

G.	Award of Contract	41

Section-3: General Conditions of Contract	43

Section-4: Particular Conditions of Contract	62

Section 5. Tender and Contract Forms	79

Tender Submission Letter (Form PG4 – 1)	80

Tenderer Information Sheet (Form PG4-2)	83

Price Schedule for Goods (Form PG4-3A)	86

Price Schedule for Goods (Form PG4-3B)	90

Price Schedule for Goods (Form PG4-3C)	95

Price and Completion Schedule - Related Services (Form PG4-3D)	99

Specifications Submission and Compliance Sheet (Form PG4-4)	103

Manufacturer’s Authorisation Letter (Form PG4 - 5)	111

Bank Guarantee for Tender Security (Form PG4 – 6)	133

Notification of Award (Form PG4 - 7)	134

Contract Agreement (Form PG4 - 8)	135

Bank Guarantee for Performance Security (Form PG4 – 9)	136

Bank Guarantee for Advance Payment (Form PG4 – 10)	137

Section-6: Schedule of Requirements	138

Section-7: The Technical Specification of the Pre-Paid Metering System	146

Section-8: Drawings	237

PART-2 : Sofware API	Error! Bookmark not defined.

# Section-1: Instructions to Tenderers

Section-1: Instructions to Tenderers

| A. General |
| --- |
| Scope of Tender | The Purchaser named in the Tender Data Sheet (TDS) (hereinafter referred to as the “Purchaser”) wishes to issues these Tender Documents for the supply of Goods, and Related Services incidental thereto, as specified in the TDS and as detailed in Section 6: Schedule of Requirements. |
|  | The name of the Tender and the number and identification of its constituent lot(s) are stated in the TDS. |
|  | The successful Tenderer will be required to complete the delivery of the goods and related services (when applicable) as specified in the GCC Clause 18. |
| Interpretation | Throughout this Tender Document the term “in writing” means communication written by hand or machine duly signed and includes properly authenticated messages by facsimile or electronic mail; if the context so requires, singular means plural and vice versa; and “day” means calendar days unless otherwise specified as working days; "Tender Document ", means the Document provided by a Purchaser to a Tenderer as a basis for preparation of its Tender; "Tender ", depending on the context, means a Tender submitted by a Tenderer for delivery of Goods and Related Services to a Purchaser in response to an Invitation for Tender; |
| Source of Funds | The Purchaser has been allocated public funds from the source as indicated in the TDS and intends to apply a portion of the funds to eligible payments under the contract for which this Tender Document is issued. |
|  | For the purpose of this provision, “public funds” means any funds allocated to a Purchaser under Government budget, or loan, grants and credits placed at the disposal of a Purchaser through the Government by the development partners or foreign states or organizations. |
|  | Payments by the development partner, if so indicated in the TDS, will be made only at the request of the Government and upon approval by the development partner in accordance with the applicable Loan/Credit/Grant Agreement, and will be subject in all respects to the terms and conditions of that Agreement. |
| Corrupt, Fraudulent, Collusive or Coercive Practices | The Government requires that Procuring Entities, as well as Tenderers shall observe the highest standard of ethics during implementation of procurement proceedings and the execution of Contracts under public funds. The Government requires that Procuring Entities, as well as Tenderers and Suppliers shall, during the Procurement proceedings and the execution of Contracts under public funds, ensure- strict compliance with the provisions of Section 64 of the Public Procurement Act 2006 (Act 24 of 2006); abiding by the code of ethics as mentioned in the Rule127 of the Public Procurement Rules, 2008; that neither it’s any officer nor any staff or any other agents or intermediaries working on its behalf engages in any practice as detailed in ITT Sub Clause 4.3. |
|  | For the purposes of ITT Sub-clause 4.2 the terms set forth as bellows: corrupt practice means offering, giving or promising to give, receiving, or soliciting, either directly or indirectly, to any officer or employee of a Purchaser or other public or private authority or individual, a gratuity in any form; employment or any other thing or service of value as an inducement with respect to an act or decision or method followed by a Purchaser in connection with a Procurement proceeding or contract execution; fraudulent practice means the misrepresentation or omission of facts in order to influence a decision to be taken in a Procurement proceeding or Contract execution; collusive practice means a scheme or arrangement between two (2) or more Persons, with or without the knowledge of the Purchaser, that is designed to arbitrarily reduce the number of Tenders submitted or fix Tender prices at artificial, non competitive levels, thereby denying a Purchaser the benefits of competitive price arising from genuine and open competition; or coercive practice means harming or threatening to harm, directly or indirectly, Persons or their property to influence a decision to be taken in a Procurement proceeding or the execution of a Contract, and this will include creating obstructions in the normal submission process used for Tenders. |
|  | Should any corrupt, fraudulent, collusive or coercive practice of any kind come to the knowledge of the Purchaser, it will, in the first place, allow the Tenderer to provide an explanation and shall, take actions only when a satisfactory explanation is not received. Such exclusion and the reasons thereof, shall be recorded in the record of the procurement proceedings and promptly communicated to the Tenderer concerned. Any communications between the Tenderer and the Purchaser related to matters of alleged fraud or corruption shall be in writing. |
|  | If corrupt, fraudulent, collusive or coercive practices of any kind determined by the Purchaser against any Tenderer alleged to have carried out such practices, the Purchaser shall - exclude the concerned Tenderer from further participation in the particular Procurement proceeding; or reject any recommendation for award that had been proposed for that concerned Tenderer or; declare, at its discretion, the concerned Tenderer to be ineligible to participate in further Procurement proceedings, either indefinitely or for a specific period of time. |
|  | The Tenderer shall be aware of the provisions on corruption, fraudulence, collusion and coercion in Section 64 of the Public Procurement Act, 2006 and Rule 127 of the Public Procurement Rules, 2008 and others as stated in GCC Clause 3. |
| Eligible Tenderers | This Invitation for Tenders is open to eligible Tenderers from all countries, except for any specified in the TDS. A Tenderer will be eligible if it is a citizen, or is constituted, registered and operates in conformity with the provisions of the laws of that country. |
|  | A Tenderer may be a physical or juridical individual or body of individuals, or company, association invited to take part in public procurement or seeking to be so invited or submitting a Tender in response to an Invitation for Tenders. |
|  | Government-owned enterprises in Bangladesh shall be eligible only if they can establish that they (i) are legally and financially autonomous, (ii) operate under commercial law, and (iii) are not a dependent agency of the Purchaser. |
|  | Tenderers shall have the legal capacity to enter into the Contract. A Tenderer that is under a declaration of ineligibility by the Government of Bangladesh in accordance with applicable laws at the date of the deadline for Tender submission or thereafter shall be disqualified. |
|  | Tenderers and all parties constituting the Tenderer shall not have a conflict of interest pursuant to Rule 55 of the Public Procurement Rules, 2008. |
|  | Tenderers in its own name or its other names or also in the case of its Persons in different names, shall not be under a declaration of ineligibility for corrupt, fraudulent, collusive or coercive practices as stated under ITT Sub Clause 4.3. |
|  | Tenderers are not restrained or barred from participating in public Procurement on grounds of execution of defective supply in the past under any Contract. |
|  | Tenderers are not under a declaration of ineligibility by an international financing agency such as World Bank, Asian Development Bank or any other international agency. |
|  | Tenderers shall not be insolvent, be in receivership, be bankrupt, be in the process of bankruptcy, be not temporarily barred from undertaking business and it shall not be the subject of legal proceedings for any of the foregoing. |
|  | Tenderers shall have fulfilled its obligations to pay taxes and social security contributions under the provisions of laws and regulations of the country of its origin. In the case of foreign Tenderers, a certificate of competent authority in that country of which the Tenderer is citizen shall be provided. |
|  | Tenderers shall provide such evidence of their continued eligibility satisfactory to the Purchaser, as the Purchaser will reasonably request. |
|  | These requirements for eligibility will extend, as applicable, to Sub-contractor proposed by the Tenderer. |
| Eligible Goods and Related Services | All goods and related services to be supplied under the contract are eligible, unless their origin is from a country specified in the TDS. |
|  | For purposes of this Clause, the term “goods” includes commodities, raw material, machinery, equipment, and industrial plants; and “related services” includes services such as insurance, transportation, installation, and commissioning, training, and initial maintenance. |
|  | For purposes of this clause, “origin” means the country where the goods have been mined, grown, cultivated, produced, manufactured or processed; or through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. |
|  | The origin of goods and services is distinct from the nationality of the Tenderer. The nationality of the firm that produces, assembles, distributes, or sells the goods shall not determine their origin. |
| Site Visit | For goods contracts requiring installation/ commissioning/ networking or similar services at site, the Tenderer, at the Tenderer’s own responsibility and risk, is encouraged to visit and examine the Site and obtain all information that may be necessary for preparing the Tender and entering into a contract for the supply of goods and related services. |
|  | The Tenderer should ensure that the Purchaser is informed of the visit in adequate time to allow it to make appropriate arrangements. |
|  | The costs of visiting the Site shall be at the Tenderer’s own expense. |
| B. Tender Document |
| Tender Document: General | The Sections comprising the Tender Document are listed below and should be read in conjunction with any addendum issued under ITT Clause 11. Section 1 Instructions to Tenderers (ITT) Section 2 Tender Data Sheet (TDS) Section 3 General Conditions of Contract (GCC) Section 4 Particular Conditions of Contract (PCC) Section 5 Tender and Contract Forms Section 6 Schedule of Requirements Section 7 Technical Specifications Section 8 Drawings |
|  | The Purchaser shall reject any Tender if the Tender Document was not purchased directly from the Purchaser, or through its agent as stated in the TDS. |
|  | The Tenderer is expected to examine all instructions, forms, terms, and specifications in the Tender Document as well as addendum to Tender Documents. |
| Clarification of Tender Documents | A prospective Tenderer requiring any clarification of the Tender Document shall contact the Purchaser in writing at the Purchasers address indicated in the TDS before two-third of time allowed for preparation and submission of Tender elapses. |
|  | A Purchaser is not obliged to answer any clarification received after that date requested under ITT Sub-Clause 9.1. |
|  | The Purchaser shall respond in writing within five (5) working days of receipt of any such request for clarification received under ITT Sub-Clause 9.1 |
|  | The Purchaser shall forward copies of its response to all those who have purchased the Tender Document, including a description of the enquiry but without identifying its source. |
|  | Should the Purchaser deem it necessary to amend the Tender Document as a result of a clarification, it shall do so following the procedure under ITT Clause 11. |
| Pre-Tender Meeting | To clarify issues and to answer questions on any matter arising in the Tender Document, the Purchaser may, if stated in the TDS, hold a Pre-Tender Meeting at the place, date and time as specified in the TDS. All Potential Tenderers are encouraged to attend the meeting, if it is held. |
|  | Minutes of the pre-Tender meeting, including the text of the questions raised and the responses given, together with any responses prepared after the meeting, will be transmitted within one week (7 days) after holding the meeting to all those who purchased the Tender Document and even those who did not attend the meeting. |
|  | Any amendment to the Tender Document listed in ITT Sub-Clause 8.1 that may become necessary as a result of the pre-Tender meeting shall be made by the Purchaser exclusively through the issue of an Addendum as stated under ITT Sub-Clause 11 and not through the minutes of the pre-Tender meeting. |
|  | Non-attendance at the pre-Tender meeting will not be a cause for disqualification of a Tenderer. |
| Addendum to Tender Documents | At any time prior to the deadline for submission of Tenders, the Purchaser on its own initiative or in response to a clarification request in writing from a Tenderer, having purchased the Tender Document or as a result of a Pre-Tender meeting, may revise the Tender Document by issuing an addendum pursuant to Rule 95 of the Public Procurement Rules, 2008. |
|  | The addendum issued under ITT Sub-Clause 11.1 shall become an integral part of the Tender Document and shall have a date and an issue number and shall be circulated by fax, mail or e-mail, to Tenderers who have purchased the Tender Documents within five (5) working days of issuance of such addendum, to enable Tenderers to take appropriate action. |
|  | The Tenderer shall acknowledge receipt of an addendum. |
|  | Tenderers who have purchased the Tender Documents but have not received any addendum issued under ITT Sub-clause 11.1 shall inform the Purchaser of the fact by fax, mail or e-mail before two-third of the time allowed for the submission of Tenders has elapsed. |
|  | Procuring Entities shall also ensure posting of relevant addenda with the reference number and date on their website. |
|  | To give a prospective Tenderer reasonable time in which to take an amendment into account in preparing its Tender, the Purchaser may, at its discretion, extend the deadline for the submission of Tenders, pursuant to Rule 95(6) of the Public Procurement Rule, 2008 and under ITT Clause 36. |
|  | If an addendum is issued when time remaining is less than one-third of the time allowed for the preparation of Tenders, a Purchaser shall extend the deadline by an appropriate number of days for the submission of Tenders, depending upon the nature of the Procurement requirement and the addendum. The minimum time for such extension shall not be less than seven (7) days. |

| C. Qualification Criteria |
| --- |
| General Criteria | The Purchaser requires the Tenderer to be qualified by meeting predefined, precise minimum requirements, which entails setting pass/fail criteria, which if not met by the Tenderer, will result in rejection of its Tender. |
|  | In addition to meeting the eligibility criteria, as stated in ITT Clause 5, the Tenderer must satisfy the other criteria stated in ITT Clauses 13 to 15 inclusive. |
|  | To qualify for a multiple number of lots in a package for which tenders are invited in the Invitation for Tenders, The Tenderer shall demonstrate having resources and experience sufficient to meet the aggregate of the qualifying criteria for the individual lot. The requirement of overall experience and specific experience under ITT Sub-Clause 14.1 (a) and 14.1 (b) shall not be separately applicable for individual lot. |
| Litigation History | The maximum number of arbitration awards against the Tenderer over a period shall be as specified in the TDS. |
| Experience Criteria | Tenderers shall have the following minimum level of supply experience to qualify for supplying the Goods and Related Services under the contract: A minimum number of years of overall experience in the supply of goods and related services as specified in the TDS; and Specific experience of satisfactory completion of supply of similar goods of minimum value stated in the TDS under maximum number of contracts stated in TDS within the period stated in TDS; and A minimum supply and/or production capacity of Goods as specified in the TDS. |
| Financial Criteria | Tenderers shall have the following minimum level of financial capacity of qualify for the supply of goods under the contract: |
|  | Availability of minimum liquid assets or working capital or credit facilities from a Bank, as specified in the TDS. |
| Appointment of Subcontractor | Tenderer, pursuant to Rule 53 of the PPR2008, is allowed to sub-contract a portion of the Supply. |
|  | The Tenderer shall specify in its Tender all portion of the Goods that will be Subcontracted, if any, including the entity(ies) to whom each portion will be subcontracted to, subject to the maximum allowable limit for subcontracting of Goods specified in the TDS. |
|  | All subcontracting arrangement must be disclosed at the time of Tendering, and subcontractors must be identified in the Tender submitted by Tenderer. |
|  | A Subcontractor may participate in more than one Tender, but only in that capacity. |
|  | Subcontractors must comply with the provision of ITT Clause 5. For this purpose contractor shall complete the Subcontractor’s information in Form PG4-1 for submission with tender. |
|  | If the Purchaser determines that a subcontractor is ineligible, the subcontracting of such portion of the Goods assigned to the ineligible subcontractor shall be disallowed. |
| D. Tender Preparation |
| Only One Tender | If a Tender for Goods is invited on ‘lot-by-lot’ basis, each lot shall constitute a Tender. A Tenderer shall submit only one (1) Tender for each lot, A Tenderer who submits or participates in more than one (1) Tender for each lot will cause all the Tenders with that Tenderer’s participation to be rejected. |
| Cost of Tendering | Tenderers shall bear all costs associated with the preparation and submission of its Tender, and the Purchaser shall not be responsible or liable for those costs, regardless of the conduct or outcome of the Tendering process. |
| Issuance and Sale of Tender Document | A Purchaser, pursuant to Rule 94 of the Public Procurement Rules, 2008 shall make Tender Documents available immediately to the potential Tenderers, requesting and willing to purchase at the corresponding price if the advertisement has been published in the newspaper pursuant to Rule 90 of the Public Procurement Rules,2008. |
|  | Full contact details with mailing address, telephone and facsimile numbers and electronic mail address, as applicable, of those to whom Tender Documents have been issued shall be recorded with a reference number by the Purchaser or its agent. |
|  | There shall not be any pre-conditions whatsoever, for sale of Tender Document and the sale of such Document shall be permitted up to the day prior to the day of deadline for the submission of Tender. |
| Language of Tender | Tenders shall be written in English language. Supporting documents and printed literature furnished by the Tenderer may be in another language provided they are accompanied by an accurate translation of the relevant passages into the English language, in which case, for purposes of interpretation of the Tender, such translation shall govern. |
|  | Tenderers shall bear all costs of translation to the governing language and all risks of the accuracy of such translation. |
| Contents of Tender | The Tender prepared by the Tenderer shall comprise the following: Tender Submission Letter (Form PG4-1) as furnished in Section 5: Tender and Contract Forms; Tenderer information sheet (Form PG4-2) as furnished in Section 5: Tender and Contract Forms; The completed Price Schedule for Goods and Related Services (Form PG4-3A, 3B, 3C and PG4-3D) as furnished in Section 5: Tender and Contract Forms as stated under ITT Clauses 23 and 24; Tender Security as stated under ITT Clause 29,30 and 31; The completed Specifications Submission and Compliance Sheet (Form PG4-4) as furnished in Section 5: Tender and Contract Forms as stated under ITT clause 25.2; Alternatives, if permitted, as stated under with ITT Clause 22; Written confirmation authorising the signatory of the Tender to commit the Tenderer, as stated under ITT Sub-Clause 34.3; The completed eligibility declarations, to establish its eligibility as stated under ITT Clause 5, in the Tender Submission Sheet (Form PG4-1), as furnished in section 5: Tender and Contract Forms; An affidavit confirming the legal capacity stating that there are no existing orders of any judicial court that prevents either the Tenderer or employees of a Tenderer entering into or signing a Contract with the Purchaser as stated under ITT clause 5; An affidavit confirming that the Tenderer is not insolvent, in receivership or not bankrupt or not in the process of bankruptcy, not temporarily barred from undertaking their business for financial reasons and shall not be the subject of legal proceedings for any of the foregoing as stated under ITT Clause 5; A certificate issued by the competent authority stating that the Tenderer is a Tax payer having valid Tax identification Number (TIN) and VAT registration number or in lieu any other document acceptable to the Purchaser demonstrating that the Tenderer is a genuine Tax payer and has a VAT registration number as a proof of fulfillment of taxation obligations as stated under ITT Clause 5. In the case of foreign Tenderers, a certificate of competent authority in that country of which the Tenderer is citizen shall be provided ; Documentary evidence demonstrating that they are enrolled in the relevant professional or trade organizations registered in Bangladesh or in case of foreign tenderer in their country of origin or a certificate concerning their competency issued by a professional institution in accordance with the law of the country of their origin, as stated under ITT Clause 5; The country of origin declarations, to establish the eligibility of the Goods and Related Services as stated under ITT Clause 6, in the Price Schedule for Goods and Related Services (Form PG4-3B, 3C and PG4-3D) as, applicable, furnished in Section 5: Tender and Contract Forms; Documentary evidence as stated under ITT Clauses 25, that the Goods and Related Services conform to the Tender Documents; Documentary evidence as stated under ITT Clause 26 that the Tenderer’s qualifications conform to the Tender Documents; Documents establishing legal and financial autonomy and compliance with commercial law, as stated under ITT Sub-clause 5.3 in case of government owned entity; and Any other document as specified in the TDS. |
|  | The Tenderer shall submit the Tender Submission Letter (Form PG4-1) as furnished in Section 5: Tender and Contract Forms. This form must be completed without any alterations to its format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested. The Tenderer shall submit the completed Price Schedule for Goods and Related Services (Form PG4-3A, 3B, 3C and PG4-3D), according to their origin as appropriate as furnished in section 5: Tender and Contract Forms. |
| Alternatives | Unless otherwise stated in the TDS, alternatives shall not be considered. |
| Tender Prices, Discounts | The prices and discounts quoted by the Tenderer in the Tender Submission Letter (Form PG4-1) and in the Price Schedule (Form PG4-3A, 3B, 3C and PG4-3D) shall conform to the requirements specified below. |
|  | All lots or items as listed in Section 6: Schedule of Requirements must be listed and priced separately on the Price Schedule following the Form PG4-3A, 3B, 3C and PG4-3D as applicable. |
|  | Tenders are being invited either for a single lot or for a number of lots on ‘lot-by-lot’ basis, as specified in the TDS. |
|  | Each lot shall constitute a Tender, If Tenders for Goods are invited on ‘lot-by-lot’ basis. |
|  | Tenders being invited for a single lot or for a number of lots on ‘lot-by-lot’ basis, price quoted shall correspond to 100% of the items specified for each lot and to 100% of the quantities specified for each item of that particular lot and shall correspond to 100% of the total offered lot value, unless otherwise stated in the TDS |
|  | A Lot Tender not offering minimum number of items of those being priced based on percentage of the total number of items, and, the corresponding minimum value based on percentage of the total lot value, as specified in the ITT Sub-Clause 23.5 shall also be considered non-responsive. |
|  | Subject to ITT Sub-Clause 23.5, a Lot tender not offering a particular item which represents more than fifty percent (50%) of the estimated lot value identified by the Purchaser and specified in the TDS, even if it complies with the requirement of minimum number of items based on percentage of the total number of items as stated under ITT Sub Clause 23.5, shall be considered non-responsive. |
|  | The price to be quoted in Tender Submission Letter (Form PG4-1) shall be the total price of the Tender, excluding any discounts offered, only in case of being awarded more than one lot, by the Tenderer |
|  | The Tenderer wishing to offer any discount shall indicate the methodology for their application in the Tender Submission Letter (Form PG4-1) for being awarded of more than one lot. |
|  | Prices shall be quoted as specified in each Price Schedule (Form PG4-3A, 3B, 3C and PG4-3D) as applicable. The dis-aggregation of price components is required solely for the purpose of facilitating the comparison of tenders by the Purchaser. This shall not in any way limit the Purchaser’s right to contract on any of the terms offered. In quoting prices, the Tenderer shall be free to use transportation through carriers registered in any eligible Countries. Similarly, the Tenderer may obtain insurance services from any eligible country. Prices shall be entered in the following manner: |
|  | For Goods, manufactured within Bangladesh, the prices in the Price schedule (Form PG4-3A) shall be entered separately in the following manner: the price of the Goods quoted EXW (ex works, ex factory, ex warehouse, ex showroom, or off-the-shelf, as applicable), including all customs duties and import vat and other taxes already paid or payable on the components and raw material used in the manufacture or assembly of the Goods; VAT payable on account of supplier, if the contract is awarded ; and the price for inland transportation, insurance, and other local costs for the delivery of the Goods to their final destination (Project Site) specified in the TDS. |
|  | For Goods, manufactured outside Bangladesh, to be imported, the prices in the Price schedule (Form PG4-3B) shall be entered separately in the following manner: the price of the Goods, quoted CIP (named place of destination, in the Bangladesh ) or CIF (named port of destination, in Bangladesh) as specified in the TDS; VAT payable on account of supplier, if the contract is awarded; and the price for inland transportation, insurance, and other local costs for the delivery of the Goods to their final destination (Project Site) specified in the TDS; in addition to the CIP/CIF prices specified in 23.12(a) above, the price of the Goods to be imported may be quoted in other INCOTERM and shall be governed by the rules prescribed in the current edition of INCOTERM published by the International Chamber of Commerce, Paris, if so specified in the TDS; |
|  | For Goods, manufactured outside Bangladesh, already imported, the prices in the Price schedule (Form PG4-3C) shall be entered separately in the following manner: the price of the Goods, including the original import value of the Goods; plus any mark-up ; plus any other related local cost, and custom duties, import VAT and other import taxes already paid on the Goods already imported. the custom duties, import VAT and other import taxes already paid (need to be supported with documentary evidence) on the Goods already imported; the price of the Goods, obtained as the difference between (a) and (b) above; VAT payable on account of supplier, if the contract is awarded; and the price for inland transportation, insurance, and other local costs for the delivery of the Goods to their final destination (Project Site) specified in the TDS. [For previously imported Goods, the quoted price shall be distinguishable from the original import value of these Goods declared to customs and shall include any rebate or mark-up of the local agent or representative and all local costs except import duties and taxes, which have been paid. For clarity the tenderers are asked to quote the price including import duties, and additionally to provide the import duties and the price net of import duties which is the difference of those values.] for Related Services, other than inland transportation and other services required to convey the Goods to their final destination, whenever such Related Services are specified in the Schedule of Requirements, the prices in the price schedule (Form PG4-3D) shall be entered in the following manner : the price of each item comprising the Related Services (inclusive of any applicable taxes). |
| Tender Currency | For expenditures that will be incurred in Bangladesh, the Tenderer shall quote the prices in Bangladesh Taka. |
|  | Suppliers offering Goods manufactured or assembled in Bangladesh, are permitted to submit their Tender in a combination of local and foreign currencies. |
|  | For expenditures that will be incurred outside Bangladesh, the Tenderer may quote the prices in USD or GBP or EUR or JPY as specified in TDS. |
| Documents Establishing the Conformity of the Goods and Related services | To establish the conformity of the Goods and Related Services to the Tender Documents, the Tenderer shall furnish as part of its Tender the documentary evidence that the Goods and Related services conform to the technical specifications and standards in Section 7, Technical Specifications. |
|  | Documentary evidence of conformity of the Goods and services to the Tender Documents may be in the form of literature, drawings, and data, and shall consist of: a detailed description of the essential technical and performance characteristics of the Goods; if so required in TDS, tenderer shall also furnish a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the Goods during the period specified in the TDS, following commencement of the use of the Goods by the Purchaser ; and an item-by-item commentary on the Purchaser’s Technical Specifications demonstrating substantial responsiveness of the Goods and Related services to those specifications, or a statement of deviations and exceptions to the provisions of Section 7. Technical Specifications. |
| Documents Establishing Qualifications of the Tenderer | The documentary evidence of the Tenderer’s qualifications to perform the contract if its Tender is accepted shall establish to the Purchaser’s satisfaction: that the Tenderer meets each of the qualification criterion specified in Sub-Section C, Qualification Criteria of the ITT; that, if required in the TDS, a Tenderer that does not manufacture or produce the Goods it offers to supply shall submit the Manufacturer’s Authorization Letter (Form PG4-5) furnished in Section 5: Tender and Contract Forms, to demonstrate that it has been duly authorized by the manufacturer or producer of the Goods to supply the Goods to Bangladesh.; and that, if required in the TDS, in case of a Tenderer not doing business within Bangladesh, the Tenderer is or will be (if awarded the contract) represented by an Agent in the country equipped and able to carry out the Supplier’s maintenance. |
| Validity Period of Tender | Tender validities shall be determined on the basis of the complexity of the Tender and the time needed for its examination, evaluation, approval of the Tender and issuance of the Notification of Award pursuant to Rule 19 and 20 of the Public Procurement Rules, 2008. |
|  | Tenders shall remain valid for the period specified in the TDS after the date of Tender submission deadline prescribed by the Purchaser, as stated under ITT Clause 36. A Tender valid for a period shorter than that specified will be rejected by the Purchaser as non- responsive. |
| Extension of Tender Validity and Tender Security | In justified exceptional circumstances, prior to the expiration of the Tender validity period, the Purchaser following Rule 21 of the Public Procurerment Rules,2008 may solicit, not later than ten (10) days before the expiry date of the Tender validity, compulsorily all the Tenderers’ consent to an extension of the period of validity of their Tenders. |
|  | The request for extension of Tender validity period shall state the new date of the validity of the Tender. |
|  | The request from the Purchaser and the responses from the Tenderers will be made in writing. |
|  | Tenderers consenting in writing to the request made by the Purchaser under ITT Sub-Clause 28.1 shall also correspondingly extend the validity of its Tender Security for twenty-eight (28) days beyond the new date for the expiry of Tender validity. |
|  | Tenderers consenting in writing to the request under ITT Sub-Clause 28.1 shall not be required or permitted to modify its Tender in any circumstances. |
|  | If the Tenderers are not consenting in writing to the request made by the Purchaser under ITT Sub-Clause 28.1, its Tender will not be considered for subsequent evaluation. |
| Tender Security | The Tender Security and its amount shall be determined sufficient to discourage the submission of frivolous and irresponsible tenders pursuant to Rule 22 of the Public Procurement Rule,2008 and shall be expressed as a rounded fixed amount and, shall not be stated as a precise percentage of the estimated total Contract value. |
|  | The Tenderer shall furnish as part of its Tender, in favour of the Purchaser or as otherwise directed on account of the Tenderer as specified in TDS. |
|  | Amount of the Tender security may be determined on the basis of different percentages for each lot, but the amount in fixed and currency as specified in TDS, if so indicated that the Tenders are invited on lot-by-lot basis under ITT Sub Clause 23.3 |
| Form of Tender security | The Tender Security shall be in the form of an irrevocable bank guarantee issued by an internationally reputable bank and shall require to be endorsed by its any correspondent bank located in Bangladesh, to make it enforceable, in the format (Form PG4-6) furnished in Section 5: Tender and Contract Forms; be payable promptly upon written demand by the Purchaser in the case of the conditions listed in ITT Clause 33 being invoked; and remain valid for at least twenty eight (28) days beyond the expiry date of the Tender Validity in order to make a claim in due course against a Tenderer in the circumstances detailed under ITT Clause 33 and pursuant to Rule 25 of the Public Procurement Rules,2008. |
| Authenticity of Tender Security | The authenticity of the Tender security submitted by a Tenderer shall be examined and verified by the Purchaser in writing from the Bank issuing the security, prior to finalization of the Evaluation Report pursuant to Rule 24 of the Public Procurement Rule, 2008. |
|  | If a Tender Security is found to be not authentic, the Tender which it covers shall not be considered for subsequent evaluation and in such case the Purchaser shall proceed to take punitive measures against that Tenderer as stated under ITT Sub-Clause 4.6, pursuant to Rule 127 of the Public Procurement Rules, 2008 and in accordance with Section 64(5) of the Public Procurement Act, 2006. |
|  | Tender not accompanied by a valid Tender Security as stated under Sub-Clause 29, 30 and 31, shall be considered as non-responsive. |
| Return of Tender Security | No Tender security shall be returned by the Tender Opening Committee (TOC) during and after the opening of the Tenders pursuant to Rule 26 of the Public Procurement Rules 2008. |
|  | No Tender security shall be returned to the Tenderers before contract signing, except to those who are found non-responsive. |
|  | Tender securities of the non-responsive Tenders shall be returned immediately after the Evaluation Report has been approved by the Purchaser. |
|  | Tender securities of the responsive Tenderers shall be returned only after the lowest evaluated responsive Tenderer has submitted the performance security and signed the contract , that being even before the expiration of the validity period specified in Clause 27. |
|  | Tender Securities of the Tenderers not consenting within the specified date in writing to the request made by the Purchaser under ITT Sub-Clause 28.1 in regard to extension of its Tender validity shall be discharged or returned forthwith. |
| Forfeiture of Tender Security | The Tender security pursuant to Rule 25 of the Public Procurement Rules,2008 may be forfeited if a Tenderer: withdraws its Tender after opening of Tenders but within the validity of the Tender as stated under ITT Clauses 27,and 28, pursuant to Rule 19 of the Public Procurement Rules 2008; or refuses to accept a Notification of Award as stated under ITT Sub-Clause 62.3, pursuant to Rule 102 of the Public Procurement Rules 2008; or fails to furnish performance security as stated under ITT Sub-Clause 63.2, pursuant to Rule 102 of the Public Procurement Rules 2008; or refuses to sign the Contract as stated under ITT Sub-Clause 67.2 pursuant to Rule 102 of the Public Procurement Rules 2008; or does not accept the correction of the Tender price following the correction of arithmetic errors as stated under ITT Clause 49, pursuant to Rule 98(11) of the Public Procurement Rules 2008 |
| Format and Signing of Tender | The Tenderer shall prepare one (1) original of the documents comprising the Tender as described in ITT Clause 21 and clearly mark it “ORIGINAL”. In addition, the Tenderer shall prepare the number of copies of the Tender, as specified in the TDS and clearly mark each of them “COPY”. In the event of any discrepancy between the original and the copies, the original shall prevail. |
|  | Alternatives, if permitted under ITT Clause 22, shall be clearly marked “Alternative”. |
|  | The original and each copy of the Tender shall be typed or written in indelible ink and shall be signed by a person duly authorised to sign on behalf of the Tenderer. This authorisation shall consist of a written authorisation and shall be attached to the Tender Submission Letter (Form PG4-1). |
|  | The name and position held by each person signing the authorisation must be typed or printed below the signature. |
|  | All pages of the original and of each copy of the Tender, except for un-amended printed literature, shall be numbered sequentially and signed or initialled by the person signing the Tender. |
|  | Any interlineations, erasures, or overwriting shall be valid only if they are signed or initialled by the person(s) signing the Tender. |
|  | Person(s) signing the Tender shall describe his or her name, address, position. |

| E. Tender Submission |
| --- |
| Sealing, Marking and Submission of Tender | The Tenderer shall enclose the original in one (1) envelope and all the copies of the Tender, including the alternative , if permitted under ITT Clause 22 in another envelope, duly marking the envelopes as “ORIGINAL” “ALTERNATIVE” (if permitted) and “COPY.” These sealed envelopes will then be enclosed and sealed in one (1) single outer envelope. |
|  | Tenders shall be properly marked by Tenderers in order not be confused with other types of correspondence which may also be hand-delivered or posted by mail or courier service. The inner and outer envelopes shall: bear the name and address of the Tenderer ; be addressed to the Purchaser as stated under ITT Sub-Clause 36.1; bear the specific identification of this tendering process indicated in ITT Sub-Clause1.2 and any additional identification marks as specified in the TDS; and bear a statement “DO NOT OPEN BEFORE…” the time and date for Tender opening, as stated under ITT Sub- Clause 42.2 |
|  | The Tenderer is solely and entirely responsible for pre-disclosure of Tender information if the envelope(s) are not properly sealed and marked. |
|  | Tenders shall be delivered by hand or by mail, including courier services to location as designated in the ITT Sub-Clause 36.1. |
|  | Tenders shall be submitted on the basis of this Tender Document issued by the Purchaser. |
|  | The Purchaser will, on request, provide the Tenderer with a receipt showing the date and time when it’s Tender was received. |
|  | When so specified in the TDS, tenderers shall have the option of submitting their tenders electronically. |
|  | Tenderers submitting tenders electronically shall follow the electronic tender submission procedures specified in the TDS. |
| Deadline for Submission of tenders | Tenders shall be delivered to the Purchaser at the address specified in the TDS and no later than the date and time specified in the TDS. |
|  | The Purchaser may, at its discretion on justifiably acceptable grounds duly recorded, extend the deadline for submission of Tender as stated under ITT Sub Clause 36.1, in which case all rights and obligations of the Purchaser and Tenderers previously subject to the deadline will thereafter be subject to the new deadline as extended. |
| Late tender | Any Tender received by the Purchaser after the deadline for submission of Tenders as stated under ITT Sub-Clause 36.1, shall be declared LATE, rejected, returned unopened to the Tenderer. |
| Modification, Substitution or Withdrawal of Tenders | A Tenderer may modify, substitute or withdraw its Tender after it has been submitted by sending a written notice duly signed by the authorised signatory properly sealed, and shall include a copy of the authorisation (the power of attorney), confirmed by an affidavit duly authenticated as stated under ITT Clause 34.3, provided that such written notice including the affidavit is received by the Purchaser prior to the deadline for submission of Tenders as stated under ITT Sub-Clause 36.1. |
| Tender Modification | The Tenderer shall not be allowed to retrieve its original Tender, but shall be allowed to submit corresponding modification to its original Tender marked as “MODIFICATION”. |
| Tender Substitution | The Tenderer shall not be allowed to retrieve its original Tender, but shall be allowed to submit another Tender marked as “SUBSTITUTION”. |
| Withdrawal of Tender | The Tenderer shall be allowed to withdraw its Tender by a Letter of Withdrawal marked as “WITHDRAWAL”. |
| F. Tender Opening and Evaluation |
| Tender Opening | Tenders shall be opened pursuant to Rule 97 following steps in Part D of Schedule IV of The Public Procurement Rule, 2008. |
|  | Tenders shall be opened in public immediately after the deadline for submission of Tenders at the place, date and time as specified in the TDS but no later than ONE HOUR after expiry of the submission deadline. Tender opening shall not be delayed on the plea of absence of Tenderers or his or her representatives. |
|  | Any specific electronic Tender opening procedures required if electronic tendering is permitted under ITT Sub-Clause 35.7, shall be as specified in the TDS. |
|  | Persons not associated with the Tender may not be allowed to attend the public opening of Tenders. |
|  | The Tenderers’ representatives shall be duly authorised by the Tenderer. Tenderers or their authorised representatives will be allowed to attend and witness the opening of Tenders, and will sign a register evidencing their attendance. |
|  | The authenticity of withdrawal or substitution of, or modifications to original Tender, if any made by a Tenderer in specified manner, shall be examined and verified by the Tender Opening Committee based on documents submitted under ITT Sub Clause 38.1. |
|  | Tenders will be opened in the following manner: firstly, envelopes marked “Withdrawal” shall be opened and “Withdrawal” notices read aloud and recorded, and the envelope with the corresponding Tender shall not be opened, but returned unopened to the Tenderer by the Purchaser at a later time immediately after preliminary examination by the Tender Evaluation Committee (TEC) as stated under ITT Sub-Clause 45.1. No Tender withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorization to request the withdrawal and in such case the Tender shall be read aloud at the Tender opening ; secondly, the remaining Tenders will be sorted out and those marked “substitutes” or “modified” will be linked with their corresponding “original”(O) Tender; Next, envelopes marked “Substitution”(S) shall be opened and read aloud and recorded, and exchanged with the corresponding Tender being substituted, and the substituted Tender shall not be opened, but returned unopened to the Tenderer by the Purchaser at a later time immediately after preliminary examination by the Tender Evaluation Committee (TEC) as stated under ITT Sub-Clause 45.1 . No Tender substitution shall be permitted unless the corresponding substitution notice contains a valid authorization to request the substitution and in such case the Tender shall be read aloud at the Tender opening. Next envelopes marked “Modification” (M) shall be opened and read aloud with the corresponding Tender and recorded. No Tender modification shall be permitted unless the corresponding modification notice contains a valid authorization to request the modification and in such case the Tender shall be read aloud at the Tender opening. thirdly, if so specified in this Tender Document, the envelopes marked “ Alternative ”(A) shall be opened and read aloud with the corresponding Tender and recorded. |
|  | Ensuring that only the correct (M), (S), (A),(O) envelopes are opened, details of each Tender will be dealt with as follows: the Chairperson of the Tender Opening Committee will read aloud each Tender and record in the Tender Opening Sheet (TOS) the name and address of the Tenderer; state if it is a withdrawn, modified, substituted , or original tender; the Tender price; the number of initialled corrections; any discounts; any alternatives; the presence or absence of any requisite Tender Security; and such other details as the Purchaser, at its discretion, may consider appropriate. only discounts and alternative read aloud at the Tender opening will be considered in evaluation; all pages of the original version of the Tender, except for un-amended printed literature, will be initialled by members of the Tender Opening Committee. |
|  | Upon completion of Tender opening, all members of the Tender Opening Committee and the Tenderers or Tenderer’s duly authorised representatives attending the Tender opening shall sign by name, address, designation and their national Identification Numbers the Tender Opening Sheet, copies of which shall be issued to the Head of the Purchaser or an officer authorised by him or her and also to the members of the Tender Opening Committee and any authorised Consultants and, to the Tenderers immediately. |
|  | The omission of a Tenderer’s signature on the record shall not invalidate the contents and effect of the record under ITT Sub-Clause 42.8. |
|  | No Tender will be rejected at the Tender opening stage except the LATE Tenders. . |
|  | A copy of the record shall be distributed to all Tenderers who submitted tenders in time, and posted online when electronic tendering is permitted. |
| Evaluation of Tenders | Purchaser’s Tender Evaluation Committee (TEC) shall examine, evaluate and compare Tenders that are responsive to the mandatory requirements of Tender Documents in order to identify the successful Tenderer. |
|  | Tenders shall be examined and evaluated only on the basis of the criteria specified in the Tender Document. |
| Evaluation process | The TEC may consider a Tender as responsive in the Evaluation, only if it is submitted in compliance with the mandatory requirements set out in the Tender Document. The evaluation process should begin immediately after tender opening following four steps: Preliminary Examination; Technical Examinations and Responsiveness; Financial evaluation and price comparison; Post-qualification of the lowest evaluated responsive Tenders. |
| Preliminary Examination | Compliance, adequacy and authenticity of the documentary evidences for meeting the qualification criterion specified in the corresponding section of the Tender document shall have to be preliminarily examined and verified. |
|  | The TEC shall firstly examine the Tenders to confirm that all documentation requested in ITT Clause 21 has been provided. Examination of the compliance, adequacy and authenticity of the documentary evidence may follow the order below: verification of the completeness of the eligibility declaration in the Tender Submission Letter (Form PG4-1), to determine the eligibility of the tenderer as stated under ITT Sub-Clause 21(h). Any alterations to its format, filling in all blank spaces with the information requested, failing which the tender may lead to rejection of the Tender; verification of that the Tenderer is enrolled in the relevant professional or trade organisations as stated under ITT Clause 21(l); verification of the eligibility in terms of legal capacity and fulfilment of taxation obligation by the tenderer in accordance as stated under ITT Sub-Clause 21(i) and 21(k); verification of eligibility that the tenderer is not insolvent, in receivership, bankrupt, not in the process of bankruptcy, not temporarily barred as stated under ITT Sub-Clause 21(j); verification of eligibility of Tenderer’s country of origin as stated under ITT Sub-Clause 21(b); verification of the written authorization confirming the signatory of the Tenderer to commit the Tender has been attached with Tender Submission Letter (Form PG4-1) as stated under ITT Sub-Clause 21(g); in order to check the authenticity of Tender and Tenderer itself ; verification of the Tender Security as stated under ITT Sub-Clause 21(d); and Verification of that the written notice for ‘WITHDRAWL’ and ‘SUBSTITUTION of’ or MODIFICATION to, the corresponding Tender is proper and authentic, if the tender is “WITHDRAWN”, “SUBSTITUTION” or “MODIFICATION”, as stated under ITT Sub-Clause 38.1 |
|  | The TEC shall confirm that the above documents and information have been provided in the Tender and the completeness of the documents and compliance of instructions given in corresponding ITT Clauses shall be verified, failing which the tender shall be considered as non-responsive. |
| Technical Examinations & Responsiveness | Only those Tenders surviving preliminary examination need to be examined in this phase. |
|  | Secondly, the TEC will examine the adequacy and authenticity of the documentary evidence which may follow the order below: verification of the completeness of the country of origin declaration in the Price Schedule for Goods and Related Services (Form PG4-3B, 3C and PG4-3D) as furnished in Section 5: Tender and Contract Forms to determine the eligibility of the Goods and Related Services as stated under ITT Sub Clause 21(m). verification and examination of the documentary evidence and completed Specification Submission Sheet (Form PG4-4) as furnished in Section 5: Tender and Contract Forms to establish the conformity of the Goods and Related Services to the Tender Documents as stated under ITT Sub Clause 21(e) and 21(n). verification and examination of the documentary evidence that the Tenderer’s qualifications conform to the Tender Documents and the Tenderer meets each of the qualification criterion specified in Sub-Section C, Qualification Criteria as stated under ITT Sub Caluse 21(o). verification and examination of the documentary evidence that Tenderer has met all the requirements in regards to scope of Supply as stated under Section 6, Schedule of Requirements, without any material deviation or reservation. |
|  | TEC may consider a Tender as responsive in the evaluation, only if comply with the mandatory requirements as stated under Clause 46.2. |
|  | The TEC’s determination of a Tender’s responsiveness is to be based on the documentary evidence as requested in Clause 46.2 without recourse to extrinsic evidence. |
|  | Information contained in a Tender, that was not requested in the Tender Document shall not be considered in evaluation of the Tender. |
|  | If a Tender is not responsive to the mandatory requirements set out in the Tender Document it shall be rejected by the TEC and shall not subsequently be made responsive by the Tenderer by correction of the material deviation, reservation. |
|  | A material deviation or reservation is one- which affects in any substantial way the scope, quality, or performance of the Goods and Related Services and Tenderer’s qualifications mentioned in the Tender Document. which limits in any substantial way, inconsistent with the Tender Documents, the Purchaser ’s rights or the Tenderer’s obligations under the Contract; or whose rectification would anyway affect unfairly the competitive position of other Tenderers presenting responsive Tenders. |
|  | During the evaluation of Tender, the following definitions apply: “Deviation” is a departure from the requirements specified in the Tender Document; “Reservation” is the setting of limiting conditions or withholding from complete acceptance of the requirements specified in the Tender Document; |
|  | A TEC may regard a Tender as responsive, even if it contains- minor or insignificant deviations, which do not meaningfully alter or depart from the technical specifications, characteristics and commercial terms and conditions or other requirements set out in the Tender Document; errors or oversights, which if corrected, would not alter the key aspects of the Tender. |
| Clarification on Tender | The TEC may ask Tenderers for clarifications of their Tenders, including breakdowns of unit rates, in order to assist the examination and evaluation of the Tenders, provided that, Tender clarifications which may lead to a change in the substance of the Tender or in any of the key elements of the Tender as stated under ITT Sub-Clause 46.7, shall neither be sought nor permitted by the TEC. |
|  | Change in the tender price shall not be sought or permitted, except to confirm correction of arithmetical errors discovered by the Purchaser in the evaluation of the Tender, as sated under ITT Clause 49. |
|  | Any request for clarifications by the TEC shall not be directed towards making an apparently non-responsive Tender responsive and reciprocally the response from the concerned Tenderer shall not be articulated towards any addition, alteration or modification to its Tender. |
|  | If a Tenderer does not provide clarifications of its Tender by the date and time set in the TEC’s written request for clarification, its Tender shall not be considered in the evaluation. |
|  | Requests for clarification shall be in writing and shall be signed only by the Chairperson of the TEC. |
| Restrictions on the Disclosure of Information Relating to the Procurement Process | Following the opening of Tenders until issuance of Notification of Award no Tenderer shall, unless requested to provide clarification to its Tender or unless necessary for submission of a complaint, communicate with the concerned Purchaser pursuant to Rule 31 of the Public Procurement Rule,2008. |
|  | Tenderers shall not seek to influence in anyway, the examination and evaluation of the Tenders. |
|  | Any effort by a Tenderer to influence a Purchaser in its decision concerning the evaluation of Tenders, Contract awards may result in the rejection of its Tender as well as further action in accordance with Section 64 (5) of the Public Procurement Act 2006. |
|  | All clarification requests shall remind Tenderers of the need for confidentiality and that any breach of confidentiality on the part of the Tenderer may result in their Tender being disqualified. |
|  | Information relating to the examination, evaluation, comparison, and post qualification of the tender or contract award, shall not be disclosed to tenderers or any other persons not officially concerned with such process. |
| Correction of Arithmetical Errors | The TEC shall correct any arithmetic errors that are discovered during the examination of Tenders, and shall promptly notify the concerned Tenderer(s) of any such correction(s) pursuant to Rule 98(11) of the Public Procurement Rule, 2008. |
|  | Provided that the Tender is responsive, TEC shall correct arithmetical errors on the following basis: If there is a discrepancy between the unit price and the line item total that is obtained by multiplying the unit price by the quantity, the unit price shall prevail and the line item total shall be corrected, unless in the opinion of the TEC there is an obvious misplacement of the decimal point in the unit price, in which case the total price as quoted will govern and the unit price will be corrected; If there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected. |
|  | Any Tenderer that does not accept the correction of the Tender amount following correction of arithmetic errors as determined by the application of ITT Sub-Clause 49.2 shall be considered as non-responsive. |
| Conversion to Single Currency | For evaluation and comparison purpose, TEC shall convert all Tender prices expressed in the amounts in various currencies into an amount in Bangladeshi Taka currency, using the selling exchange rates established by the Bangladesh Bank, on the date of Tender opening. |
| Domestic Preference | Domestic preference shall be a factor in tender evaluation, unless otherwise specified in the TDS |
|  | If domestic preference shall be a tender-evaluation factor, the Purchaser will grant a margin of fifteen percent (15%) domestic preference to Goods manufactured in Bangladesh during the evaluation of its Tender while comparing the same with those of other Tenderers under the classification set out in ITT Sub-Clause 51.3. The evaluation will be carried out in accordance with the provisions set out in ITT Clause 54. |
|  | Tenders will be classified in one of two groups, as follows: Group A: Tender offering goods manufactured in Bangladesh, for which: labour, raw materials, and components from within the Bangladesh account for more than thirty (30) percent of the EXW price; and the production facility in which they will be manufactured or assembled has been engaged in manufacturing or assembling such goods at least since the date of tender submission. Group B: Tenders offering Goods manufactured outside Bangladesh that have been already imported or that will be imported. |
|  | To facilitate this classification by the Tenderer, the Tenderer shall complete whichever Form of the Price Schedule furnished in the Tender Document is appropriate. |
|  | Completion of an inappropriate Form of the Price Schedule by the Tenderer shall not result in rejection of its tender, but merely in the Purchaser’s reclassification of the tenderer into its appropriate tender group. |
| Financial Evaluation | Thirdly the TEC, pursuant to Rule 98 of the Public Procurement Rules, 2008 shall evaluate each Tender that has been determined, up to this stage of the evaluation, to be responsive to the mandatory requirements in the Tender Document. |
|  | To evaluate a Tender in this stage , the Purchaser shall consider the following: |
|  | Verification and examination of the Price Schedule for Goods and Related Services (Form PG4-3A, 3B, 3C and PG4-3D) as furnished by the Tenderer and checking the compliance with the instructions provided under ITT Clause 23; Evaluation will be done for Items or lot by lot as stated under ITT Clause 23 and the Total Tender Price as quoted in accordance with Clause 23 ; Adjustment for correction of arithmetical errors as stated under ITT Sub-Clause 49.2; Adjustment for price modification offered as stated under ITT Clause 38; Adjustment due to discount as stated under ITT Sub-Clauses 23.8 , 23.9 and 52.3; Adjustment due to the application of economic factors of evaluation as stated under ITT Sub-Clause 52.5 if any; Adjustment due to the assessment of the price of unpriced items as stated under ITT Clause 53 if any; Adjustment due to the application of a margin of preference (domestic preference), in accordance with ITT Clause 54 if applicable |
|  | If Tenders are invited for a single lot or for a number of lots as stated under ITT Sub-clauses 23.3, TEC shall evaluate only lots that that have included at least the percentage of items per lot as stated under ITT Sub-Clause 23.5 and 23.6. The TEC shall evaluate and compare the Tenders taking into account: Lowest evaluated tender for each lot ; The price discount/reduction per lot; Least cost combination for the Purchaser, considering discounts and the methodology for its application as stated under ITT Sub-clauses 23.8 and 23.9 offered by the Tenderer in its Tender. |
|  | Only those spare parts and tools which are specified as a item in the List of Goods and Related Services in Section 6, Schedule of Requirement or adjustment as stated under ITT Sub-clause 52.5, shall be taken into account in the Tender evaluation. Supplier-recommended spare parts for a specified operating requirement as stated under ITT Sub-clause 25.2(b) shall not be considered in Tender evaluation. |
|  | The Purchaser’s evaluation of a tender may require the consideration of other factors, in addition to the Tender Price quoted as stated under ITT Clause 23. The effect of the factors selected, if any, shall be expressed in monetary terms to facilitate comparison of tenders. The factors, methodologies and criteria to be used shall be as specified in TDS. The applicable economic factors, for the purposes of evaluation of Tenders shall be: Adjustment for Deviations in the Delivery and Completion Schedule Cost of major replacement components, mandatory spare parts, and service |
|  | Variations, deviations, and alternatives and other factors which are in excess of the requirements of the Tender Document or otherwise result in unsolicited benefits for the Purchaser will not be taken into account in Tender evaluation. |
| Assessing the Price of Unpriced Items | If it is so permitted under ITT Clause 23 , any Tenderer offered only eighty percent (80%) or minimum percent of the items of a lot as stated under ITT Sub-Clause 23.5, the TEC shall calculate the total lot value by adding up the average prices offered by other responsive Tenderers for the missing items to the lot value to establish the winning lot Tender. If the Tenderer offered less than the specified, the Tender shall be evaluated as sated under ITT Clause 23. |
|  | If the winning lot is missing some items as stated under ITT Sub Clause 53.1, comprising less than twenty percent (20%), the Purchaser may procure the missing items from the Tenderer offering the least cost for those remaining items. |
| Evaluation of Domestic Preference | If the Tender document so specifies, the Tenderer will grant a margin preference to goods manufactured in Bangladesh as stated in ITT Caluse 51 for the purpose of Tender comparison, in accordance with the procedure outlined below: |
|  | The Purchaser will first review the tenders to confirm the appropriateness of, and to modify as necessary, the tenderer group classification to which Tenderers assigned their tenders in preparing their Tender Forms and Price Schedules. |
|  | All evaluated tenders in each group will then be compared to determine the lowest evaluated tender of each group. Such lowest evaluated tenders shall be compared with each other and if as a result of this comparison a tenderer from Group A and the Tenders offering Goods manufactured in Bangladesh is the lowest, it shall be selected for the award. |
|  | If, as a result of the preceding comparison, the lowest evaluated tender is from Group B, all Group B tenders will then be further compared with the lowest evaluated tender from Group A, after adding to the evaluated tender price of goods offered in the tender for Group B, for the purpose of further comparison only an amount equal to fifteen (15) percent of the CIF/CIP (named place of destination or named port of destination) tender price. The lowest-evaluated tender determined from this last comparison shall be selected for the award. |
| Price Comparison | The TEC shall compare all responsive Tenders to determine the lowest-evaluated Tender, as stated under ITT Clause 54. |
|  | In the extremely unlikely event that there is a tie for the lowest evaluated price, the Tenderer with the superior past performance with the Purchaser shall be selected, whereby factors such as delivery period, quality of Goods delivered, complaints history and performance indicators could be taken into consideration. |
|  | In the event that there is a tie for the lowest price and none of the Tenderers has the record of past performance with the Purchaser, then the the Tenderer shall be selected, subject to firm confirmation through the Post-qualification process described in ITT Clause 57, after consideration as to whether the quality of Goods that is considered more advantageous by the end-users. |
|  | The successful Tenderer as stated under ITT Sub Clauses 55.1, 55.2 and 55.3 shall not be selected through lottery under any circumstances. |
| Negotiation | No negotiations shall be held during the Tender evaluation or award with the lowest or any other Tenderer pursuant to Rule 99 of the Public Procurement Rules, 2008. |
| Post-qualification | After determining the lowest-evaluated responsive tender as sated under ITT Sub-Clause 55.1, the Purchaser’s TEC pursuant to Rule 100 of the Public Procurement Rules, 2008, shall carry out the Post-Qualification of the Tenderer, using only the requirements specified in Sub-Section C, Qualification Criteria. |
|  | The TEC shall contact the references given by Tenderers about their previous Supply experiences to verify, if necessary, statements made by them in their Tender and to obtain the most up-to-date information concerning the Tenderers. |
|  | The TEC may visit the premises of the Tenderer as a part of the post-qualification process, if practical and appropriate, to verify information contained in its Tender. |
|  | The TEC shall determine to its satisfaction whether the Tenderer that is selected as having submitted the lowest evaluated responsive Tender is qualified to perform the Contract satisfactorily. |
|  | The objective of any visit under ITT Sub-Clause 57.3 shall be limited to a general and visual inspection of the Tenderer’s facilities and its plant and equipment, and there shall be no discussion concerning the Tender or its evaluation with the Tenderer during such visit(s). |
|  | In the event that the Tenderer with lowest evaluated cost fails the post-qualification, the TEC shall make a similar determination for the Tenderer offering the next lowest evaluated cost and so on from the remaining responsive Tenders, provided that, such action shall only be taken if the evaluated costs of the Tenders under consideration are acceptable to the Purchaser; when the point is reached whereby the evaluated costs of the remaining responsive Tenders are significantly higher than that of the official estimate, or the market price, the Purchaser may take action pursuant to Rule 33 and may proceed for re-Tendering, using a revised Tender Document designed to achieve a more successful result. |
| Rejection of All Tenders | The Purchaser may, in the circumstances as stated under ITT Sub-Clause 58.2 and pursuant to Rule 33 of the Public Procurement Rules 2008, reject all Tenders following recommendations from the Evaluation Committee only after the approval of such recommendations by the Head of the Purchaser. |
|  | All Tenders can be rejected, if - the price of the lowest evaluated Tender exceeds the official estimate, provided the estimate is realistic; or there is evidence of lack of effective competition; such as non-participation by a number of potential Tenderers; or the Tenderers are unable to propose completion of the delivery within the stipulated time in its offer, though the stipulated time is reasonable and realistic; or all Tenders are non-responsive; or evidence of professional misconduct, affecting seriously the Procurement process, is established pursuant to Rule 127 of the Public Procurement Rules, 2008. |
|  | Notwithstanding anything contained in ITT Sub-Clause 58.2 Tenders may not be rejected if the lowest evaluated price is in conformity with the market price. |
|  | A Purchaser may pursuant to Rule 35 of the Public Procurement Rules, 2008, on justifiable grounds, annul the Procurement proceedings prior to the deadline for the submission of Tenders. |
|  | All Tenders received by the Purchaser shall be returned unopened to the Tenderers in the event Procurement proceedings are annulled under ITT Sub-Clause 58.4. |
| Informing Reasons for Rejection | Notice of the rejection, pursuant to Rule 35 of the Public Procurement Rules, 2008, will be given promptly within seven (7) days of decision taken by the Purchaser to all Tenderers and, the Purchaser will, upon receipt of a written request, communicate to any Tenderer the reason(s) for its rejection but is not required to justify those reason(s). |

| G. Contract Award |
| --- |
| Award Criteria | The Purchaser shall award the Contract to the Tenderer whose offer is responsive to the Tender Document and that has been determined to be the lowest evaluated Tender, provided further that the Tenderer is determined to be Post-Qualified as stated under ITT Clause 57. |
|  | A Tenderer shall no be required, as a condition for award of contract, to undertake obligations not stipulated in the Tender Document, to change its price, or otherwise to modify its Tender. |
| Purchaser’s Right to Vary Quantities | The Purchaser reserves the right at the time of Contract Award to increase or decrease the quantity, per item, of Goods and Related Services originally specified in Section 6: Schedule of Requirements, provided this does not exceed the percentages indicated in the TDS, and without any change in the unit prices or other terms and conditions of the Tender and the Tender Document. |
| Notification of Award | Prior to the expiry of the Tender validity period and within seven (7) working days of receipt of the approval of the award by the Approving Authority, the Purchaser pursuant to Rule 102 of the Public procurement Rules, 2008, shall issue the Notification of Award (NOA) to the successful Tenderer |
|  | The Notification of Award, attaching the contract as per the sample (Form PG4-7) to be signed, shall state: the acceptance of the Tender by the Purchaser; the price at which the contract is awarded; the amount of the Performance Security and its format; the date and time within which the Performance Security shall be submitted; and the date and time within which the contract shall be signed. |
|  | The Notification of Award shall be accepted in writing by the successful Tenderer within seven (7) working days from the date of issuance of NOA. |
|  | Until a formal contract is signed, the Notification of Award shall constitute a Contract, which shall become binding upon the furnishing of a Performance Security and the signing of the Contract by both parties. |
|  | The Notification of Award establishes a Contract between the Purchaser and the successful Tenderer and the existence of a Contract is confirmed through the signature of the Contract Document that includes all agreements between the Purchaser and the successful Tenderer. |
| Performance Security | The Performance Security shall be determined sufficient to protect the performance of the Contract pursuant to Rule 27 of the Public Procurement Rules, 2008. |
|  | Performance Security shall be furnished by the successful Tenderer in the amount specified in the TDS and denominated in the currencies in which the Contract Price is payable pursuant to Rule 102 (8) of the Public Procurement Rules, 2008. |
|  | The proceeds of the Performance Security shall be payable to the Purchaser unconditionally upon first written demand as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract. |
| Form and Time Limit for furnishing of Performance security | The Performance Security shall be in the form of irrevocable Bank Guarantee in the format (Form PG4-9) as stated under ITT Clause 63, shall be issued by an internationally reputable bank and it shall have correspondent bank located in Bangladesh, to make it enforceable pursuant to Rule 27(4) of the Public Procurement Rules, 2008.. |
|  | Within twenty-eight (28) days from issue of the Notification of Award, the successful Tenderer shall furnish the Performance Security for the due performance of the Contract in the amount specified under ITT Sub Clause 63.2. |
| Validity of Performance Security | The Performance Security shall be required to be valid until a date twenty-eight (28) days beyond the date of completion of the Supplier’s performance obligations under the Contract, including any warranty obligations. |
|  | If under any circumstances date of completion of the Supplier’s performance obligations under the Contract, including any warranty obligations is to be extended, the Performance Security shall correspondingly be extended for the extended period. |
| Authenticity of performance Security | The Purchaser shall verify the authenticity of the Performance Security submitted by the successful Tenderer by sending a written request to the branch of the bank issuing irrevocable Bank Guarantee in specified format. |
|  | If the Performance Security submitted under ITT Sub Clause 63.2 is not found to be authentic, the Purchaser shall proceed to take measures against the Tenderer in accordance with Section 64 of the Act and pursuant to Rule 127 of the Public Procurement Rules, 2008. |
| Contract Signing | At the same time as the Purchaser issues the Notification of Award, the Purchaser shall send the draft Contract Agreement and all documents forming the Contract pursuant to Rule 102 of the Public Procurement Rule, 2008, to the successful Tenderer. |
|  | Within twenty-eight (28) days of the issuance of Notification of Award, the successful Tenderer and the Purchaser shall sign the contract provided that the Performance Security submitted by the Tenderer is found to be genuine. |
|  | If the successful Tenderer fails to provide the required Performance Security, as stated under ITT Clause 63 or to sign the Contract , as stated under ITT Sub-Clause 67.2, Purchaser shall proceed to award the Contract to the next lowest evaluated Tenderer, and so on, by order of ranking pursuant to Rule 102 of the Public Procurement Rules,2008. |
| Publication of Notification of Award of Contract | Notification of Awards for Contracts of Taka 10(ten) million and above shall be notified by the Purchaser to the Central Procurement Technical Unit within 7(seven) days of issuance of the NOA for publication in their website, and that notice shall be kept posted for not less than a month pursuant to Rule 37 of the Public Procurement Rules, 2008. |
|  | Notification of Award for Contracts below Taka 10(ten) million, shall be published by the Purchaser on its Notice Board and where applicable on the website of the Purchaser and that notice shall be kept posted for not less than a month pursuant to Rule 37 of the Public Procurement Rules, 2008.. |
| Debriefing of Tenderers | Debriefing of Tenderers by Purchaser shall outline the relative status and weakness only of his or her Tender requesting to be informed of the grounds for not accepting the Tender submitted by him or her pursuant to Rule 37 of the Public Procurement Rule, 2008, without disclosing information about any other Tenderer. |
|  | In the case of debriefing confidentiality of the evaluation process shall be maintained. |
| Right to Complain | Any Tenderer has the right to complain if it has suffered or likely to suffer loss or damage due to a failure of a duty imposed on the Purchaser to fulfil its obligations in accordance with Section 29 of the Public Procurement Act 2006 and pursuant to Part 12 of Chapter Three of the Public Procurement Rules, 2008. |
|  | Circumstances in which a formal complaint may be lodged in sequence by a potential Tenderer against a Purchaser pursuant to Rule 56 of the Public Procurement Rules, 2008, and the complaints, if any, be also processed pursuant to Rule 57 of the Public Procurement Rules 2008 . |
|  | The potential Tenderer shall submit his or her complaint in writing within seven (7) calendar days of becoming aware of the circumstances giving rise to the complaint. |
|  | In the first instance, the potential Tenderer shall submit his or her complaint to the Purchaser who issued the Tender Document. |
|  | The place and address for the first stage in the submission of complaints to the Administrative Authority is provided in the TDS. |
|  | The Tenderer may appeal to a Review Panel only if the Tenderer has exhausted all his or her options of complaints to the administrative authority as stated under ITT Sub-Clause 70.2. |

# Section-2: Tender Data Sheet

Section-2: Tender Data Sheet

Instructions for completing the Tender Data Sheet are provided, as needed, in the notes in italics and under lined mentioned for the relevant ITT clauses.

| ITT Clause | Amendments of, and Supplements to, Clauses in the Instruction to Tenderers. |
| --- | --- |
| A. General |
| ITT 1.1 | The Purchaser is: Dhaka Power Distribution Company Limited Represented by Project Director, Prepayment Meter Installation, Distribution Network & Commercial Operation Management Outsourcing Pilot Project for NOCS Narinda under DPDC. The Name and identification number of Tender is : Design, Manufacture, Supply, Installation, Testing & Commissioning of Pre-Payment Meters and Distribution Network Management, Commercial Operation & Customer Service for NOCS Narinda under DPDC. Package No.: 1 (one), phase 2(two) 1st Phase: Design, Manufacture, Supply, Installation, Testing & Commissioning of Pre payment Meters, CT PT operated AMR meters, LT CT operated DT (Distribution Transformer) meters and related items at NOCS Narinda. 2nd Phase: Distribution Network Management, Commercial Operation and Customer Service for 5 years after completion of 1st phase at NOCS Narinda. |
| ITT 1.2 | The number, identification and name of lots comprising the Tender is Single lot the list of goods, works and related services are identified in Section 6: Schedule of Requirements. |
| ITT 3.1 | The source of public fund is: DPDC’s own fund |
| ITT 3.3 | The name of the Development Partner is: N/A |
| ITT 5.1 | Tenderers from the following countries are not eligible: Israel |
| ITT 6.1 | Goods and Related Services from the following counties are not eligible: Israel |
| B. Tender Document |
| ITT 8.2 | The following are the offices of the Purchaser or authorised agents for the purpose of selling the Tender Document: a) Chief Engineer (Development) : House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 b) Chief Engineer (North): House no-73/1, Rd 5/A, Dhanmondi, Dhaka-1009 c) Chief Engineer (Central): 12/1/B Motijheel C/A, Dhaka-1000 |
| ITT 9.1 | For clarification of Tender purposes only, the Purchaser’s address is: Attention: Chief Engineer (Development), DPDC Address: House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 Telephone:+88-02-9895458, +88-02-9885848, Fax: :+88-02-8823264 E-mail:ced@dpdc.org.bd |
| ITT 10.1 | A pre-bid meeting shall be held on 04/09/2016, 11 AM at the office of the Chief Engineer (Development), House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 |
| C. Qualification Criteria |
| ITT 13.1 | The maximum 3 (three) number of arbitration against the Tenderer over last five (5) years. |
| ITT 14.1(a) | General experience requirement for the tender are as follows: a) The Tenderer shall have minimum of five (5) years of overall experience in the supply of goods and related services including the following requirement: i) The minimum general experience of the Tenderer/ Manufacturer in the network building, database oriented software, Hardware & Software integrated and interfaced software making of at least 02 nos. in operation or in supply and installation of pre-payment electric metering system in Electricity utility services within last 5 (Five) calendar years. ii) The tenderer/ manufacturer shall have local establishment or local representative having proper establishment in Bangladesh for providing instant services as and when required. b) The Tenderer must have project management experience to demonstrate its management capability in at least 1(one) turnkey project (total contract amount should not be less than USD 1 (one) Million outside their own country or in the case of Bangladeshi bidder, in Bangladesh or elsewhere, within last 5 (five) years as on the date of opening of technical proposal. Such evidence shall be in user’s respective letterhead pad indicating address, telephone, fax numbers, email and website of the user and shall include name of the project, name of the employers, and description of the work, commissioning date and contract amount. |
| ITT 14.1(b) | The Tenderer should fulfill the following requirements: a) (i) The tenderer/ manufacturer shall have experience of completing at least 2(two) contracts amounting to minimum USD 1(one) million within the last 5 (five) years for design, supply, delivery, installation, testing & commissioning of online prepayment metering system with 15,000 nos. prepayment meters on turnkey basis. The prepayment metering system in at least 1 contract shall be in successful operation for a period of minimum 2 (two) years as on the date of opening of technical bid. The performance certificates to be submitted from the end users (must be a electricity utility) shall be in English at the letter head pad of the end users where detailed e-mail address, Telephone no., Fax no., contracted amount, commissioning date, details of contract etc. will be furnished and at least 1(one) contract shall be from outside the Pre-Payment Meter manufacturer’s own country. (ii) At least three employee (not below the rank of executive engineer) of the tenderer shall have minimum 25 years work experience in any distribution utility in Bangladesh. Of them, at least one employee shall have experience of working as Superintending Engineer or above rank for minimum 1 year in any distribution utility in Bangladesh. Evidence, bio-data etc. shall have to be submitted in support of experience of the employee of the tenderer. b) Demonstration: Preliminary responsive Tenderers shall have to successfully present & demonstrate the functionality on the sample meters & Pre-payment Metering System of the tenderer or as per Technical Specification of Tender requirements. The respective preliminary qualified tenderer will be notified the date of presentation/demonstration at least 15 (fifteen) days ahead of the presentation/ demonstration. This presentation/demonstration will be a part of the technical evaluation. Without changing the sample meter, the tenderer may perform the demonstration with necessary firmware upgradation. The tenderers, who will fail to perform this presentation/demonstration on sample meters & Pre-payment Metering System or whose presentation/demonstration will not be satisfactory as per technical specification of tender requirements, will be considered Technically Non-responsive and as such their tender will be rejected and shall not be considered for further evaluation. c) Interfacing: The system software has been developed and irrected. The prescribed interfacing protocol has been developed in JAVA which is attached in Part -2 of the tender document. The tenderer’s meters will follow that protocol and the tenderer will complete their interfacing on or before demonstration date. No tender will be technically responsive until and unless the interfacing API works and complies with requirements and also fully satisfy the Engineers authorized by the purchaser. Othewise the tender shall be rejected and will not be considered for further evaluation. d) Demonstration and practically implementation of Mother meter-Child meter billng system: Preliminary responsive tenderers shall have to successfully demonstrate & practically implement the mother meter-child meter billing system by using their submitted 4 nos. sample meters (2 nos. three phase, 2 nos. single phase). Out of the four submitted sample meters, one three phase meter shall be used as mother meter and remaining three meters shall be used as child meter. The requirement for meter-child meter billing system is mentioned in clause: 7.56, section 7 of this document. The tenderers, who will fail to practically implement Mother meter-Child meter billng system on their sample meters, will be considered Technically Non-responsive and as such their tender will be rejected and shall not be considered for further evaluation. |
| ITT 14.1(c) | The meter manufacturer shall have following minimum supply and/or production capacity: 1,00,000 nos. per annum. |
| ITT 15.1(a) | The minimum amount of liquid asset or working capital or credit facility is: USD 1 million. |
| ITT 16.2 | The maximum of percentage of Goods allowed to be subcontracted: Not applicable |
| D. Preparation of Tender |
| ITT 21.1(q) | In additin to the Clause ITT 21.1 the following Documents to be submitted by the tenderer/ manufacturer: Documentary evidence establishing the Tenderer qualification to perform the Contract, if it’s Tender is accepted. Description of work method and schedule. Delivery and completion time shall be 6 months from the date of contract signing for 1st phase of the project. The 2nd phase shall continue up to 5 years after completion of 1st phase and issueance of taking over certificate. List of manufacturers, places of manufacture and testing. Details of key personnel. Drawings, documents, catalogues and leaflets. The tenderer shall have to submit the Authorisation Letter from data network service provider at their letter head pad as confirmation. The tenderer shall furnish manufacturer’s authorization for pre-payment meters (single phase and three phase), AMR meters, DT meters. The manufacturers of prepayment meters, AMR meters, DT meters shall have updated ISO 9001:2008 certification. The manufacturer shall have supply record of pre-payment meter (single phase and three phase), AMR meters, DT meters for last 5(five) calendar years. The following samples shall be submitted with the tender to confirm the tender requirement: (a) 2 no. smart card based single phase pre payment meter. (b) 2 no. smart card based three phase online pre payment meter. Type test report for sample prepayment meters (those are submitted with the bid) from internationally reputed independent testing laboratory mentioned in section 7. The tenderer shall also supply type test report of offer type AMR meters and DT meters from reputed independent testing laboratory. |
| ITT 22.1 | Alternatives “shall not be” permitted. |
| ITT 23.3 | Tender is invited for a single lot |
| ITT 23.5 | Price quoted for each lot shall correspond at least to [insert figure %] of the items specified for each lot and correspond at least to [insert figure %] of the total lot value. N.A. |
| ITT 23.7 | The following particular item represents more than fifty percent (50%) of the estimated lot value is: N.A. |
| ITT 23.11(c) ITT 23.12 (c) ITT 23.13 (e) | “Final destination (Project Site)”: Project site is area under NOCS Narinda |
| ITT 23.12 (a) | Place of Destination: Designated stores of the project |
| ITT 23.12 (d) | In addition to the CIF/CIP price specified in ITT 23.12(a), the price of the Goods manufactured outside Bangladesh shall be quoted: [insert appropriate INCOTERM, other than CIF/CIP] N.A. |
| ITT 24.3 | Name of the foreign currency: USD |
| ITT 25.2(b) | Spare parts are: Under turn key contract supply of spare parts upto the warranty period is the responsibility of the contractor. Period of time the Goods are expected to be functioning (for the purpose of spare parts): 3(three years) |
| ITT 26.1(b) | Manufacturer’s authorization is: Required A Manufacturer’s Authorisation Letter is required for a. prepayment meter (single and three phase), b. AMR meter, c. DT meter |
| ITT 26.1(C) | After sales service is: Required for the period of 3 (Three) years from the date of commissioning or replacement of any goods and serices. |
| ITT 27.2 | The Tender validity period shall be 180 days. |
| ITT 29.2 | The Tender Security shall be furnished in favour of Project Director, Distribution Network & Commercial Operation Management Outsourcing Pilot Project for NOCS Narinda under DPDC. |
| ITT 29.3 | The amount of the Tender Security shall be USD 1(one) Lac (United States Dollar One Lac Only) or Taka 80 (eighty) Lac. |
| ITT 34.1 | In addition to the original of the Tender, three (03) copies shall be submitted. |
| E. Submission of Tender |
| ITT 35.2(c) | The Tender shall be single stage two envelope. Technical and financial proposal shall be submitted in two separate envelopes duly sealed and signed, which shall be in a single envelope duly addressed to the employer. The Technical envelope will be opened first. The Financial Proposal will be kept in safe custody. Financial Proposal of only technically responsive bids will be opened at date and time to be notified later to the respective bidder. The Financial Proposal of the technically non-responsive bidder will be returned unopened to the respective bidder The tenderer shall enclose the original Technical Proposal and Financial Proposal in different envelope. The envelopes will be marked as Technical Proposal Original and Financial Proposal Original. Similarly copies of technical and financial proposal will be enclosed in two different envelopes and the envelope will be marked 'Copy Technical Proposal' and 'Copy Financial Proposal'. Then original Technical Proposal envelope and copy of the technical proposals will be put into another envelope and the envelope will be marked as technical proposal. Similarly Original of the Financial Proposal and Copy of the Financial Proposal will put into another envelope will be marked as Financial Proposal. These two envelopes of Technical Proposal and Financial proposal shall then be enclosed one single outer envelope. All the envelops should be duly sealed and signed by the bidder. |
| ITT 35.7 | Tenderer “shall not” have the option of submitting their tender electronically. |
| ITT 35.8 | If bidders shall have the option of submitting their bids electronically, the electronic bidding submission procedures shall be: N.A. |
| ITT 36.1 | For Tender submission purposes ,the Purchaser’s address is: Office of the Chief Engineer (Development), House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 Office of the Chief Engineer (Central), 12/1/B Motijheel C/A, Dhaka-1000 The deadline for submission of Tender is: Date: 06/10/2016 Time: 12:00 Noon |
| F. Opening and Evaluation of Tenders |
| ITT 42.2 | The Tender opening shall take place at : Office of the Chief Engineer (Development), DPDC Address: House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 Date: 06/10/2016 Time: 03:00 P.M |
| ITT 42.3 | If electronic tender submission is permitted as sated under ITT sub-clause 34.8, the specific tender opening procedures shall be: N.A. |
| ITT 51.1 | Domestic preference “shall not” be a tender evaluation factor N.A. |
| ITT 52.5 | The applicable economic factors, for the purposes of evaluation of Tenders shall be: N.A. Adjustment for Deviations in the Delivery and Completion Schedule “The Goods covered by this Tendering process are required to be delivered in accordance with, and completed within, the Delivery and Completion Schedule specified in Section 6, Schedule of Requirements. No credit will be given for earlier completion. Tender offering late contract performance schedules within acceptable period will be accepted but the tenders shall be Adjusted in the evaluation by adding to the Tender Price at the rate of [specify percentage] of the Tender Price for each day of delay. Tender offering delivery schedules beyond [specify time Limit] of the date specified in Section 6, Schedule of Requirement, shall be rejected.” Cost of major replacement components, mandatory spare parts, and service The Procuring will draw up a list of high-usage and high-value items of components and spare parts [specify (spare parts, tools, major assemblies, estimated quantities] of usage in the initial period [specify period] of operation. The total cost of these items and quantities will be computed from spare parts unit prices submitted by the Tenderer and added to the tender price, for evaluation purposes only. |
| G. Award of Contract |
| ITT 61.1 | The maximum percentage by which quantities per item may be increased is 15%. The maximum percentage by which quantities per item may be decreased is 15%. |
| ITT 63.2 | The contractor shall have to submit 2 Performance securities (PS). The 1st PS amountintg to 10 percent of the Contract Price for 1st phase of the project shall have to be submitted after issueance of Notification of award (NoA). The 2nd PS amounting to Taka 15 crore shall have to be submitted before issueance of taking over certificate. The PS for 1st phase shall be released within 28 days after issueance of taking over certificate. |
| ITT 70.5 | The name and address of the office where complaints to the Purchaser are to be submitted is: Chief Engineer (Development), DPDC Address: House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 |

# Section-3: General Conditions of Contract

| Section-3: General Conditions of Contract |
| --- |
| Definitions | The following words and expressions shall have the meaning hereby assigned to them. Boldface type is used to identify the defined term: Completion Schedule means the fulfilment of the Related Services by the Supplier in accordance with the terms and conditions set forth in the Contract; Contract Agreement means the Agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein; Contract Documents means the documents listed in the Contract Agreement, including any amendments thereto; Contract Price means the price stated in the Notification of Award and thereafter as adjusted in accordance with the provisions of the Contract; ; Day means calendar days unless otherwise specified as working days; Delivery means the transfer of ownership of the Goods from the Supplier to the Purchaser in accordance with the terms and conditions set forth in the Contract; GCC mean the General Conditions of Contract; Goods means raw materials, products and equipment and objects in solid, liquid or gaseous form, electricity, and related Services if the value of such Services does not exceed that of the Goods themselves ; Government means the Government of the People’s Republic of Bangladesh; Procuring Entity/Purchaser means a Entity having administrative and financial powers to undertake Procurement of Goods, Works or Services using public funds, as specified in the PCC; Related Services means Services linked to the supply of Goods contracts.; PCC means the Particular Conditions of Contract; Subcontractor means any natural person, private or government entity, or a combination of the above, to whom any part of the Goods to be supplied or execution of any part of the Related Services is subcontracted by the Supplier; Supplier means a Person under contract with a Purchaser for the supply of Goods and related Services under the Act; Site means the point(s) of delivery named in the PCC Writing means communication written by hand or machine duly signed and includes properly authenticated messages by facsimile or electronic mail. Verified Report means the report submitted by the Purchaser to the Head of the Purchaser setting forth its findings as to the existence of grounds or causes for termination and explicitly stating its recommendation for the issuance of a Notice to Terminate. |
| Contract Documents | Subject to the order of precedence set forth in the GCC Sub-Clause 5.1, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory. The Contract Agreement shall be read as a whole. |
| Corrupt, Fraudulent, Collusive or Coercive Practices | The Government requires that Purchaser, as well as Suppliers, shall observe the highest standard of ethics during the implementation of procurement proceedings and the execution of contracts under public funds. |
|  | The Government requires that Procuring Entities, as well as Suppliers shall, during the execution of Contracts under public funds, ensure- strict compliance with the provisions of Section 64 of the Public Procurement Act 2006 (Act 24 of 2006); abiding by the code of ethics as mentioned in the Rule127 of the Public Procurement Rules, 2008; that neither it nor any other member of its staff or any other agents or intermediaries working on its behalf engages in any practice as detailed in GCC Sub -Clause 3.3 |
|  | For the purpose of GCC Sub-clause 3.2 the terms – corrupt practice means offering, giving or promising to give, receiving, or soliciting, either directly or indirectly, to any officer or employee of a Purchaser or other public or private authority or individual, a gratuity in any form; employment or any other thing or service of value as an inducement with respect to an act or decision or method followed by a Purchaser in connection with a Procurement proceeding or contract execution; fraudulent practice means the misrepresentation or omission of facts in order to influence a decision to be taken in a Procurement proceeding or Contract execution; collusive practice means a scheme or arrangement between two (2) or more Persons, with or without the knowledge of the Purchaser, that is designed to arbitrarily reduce the number of Tenders submitted or fix Tender prices at artificial, noncompetitive levels, thereby denying a Purchaser the benefits of competitive price arising from genuine and open competition; or coercive practice means harming or threatening to harm, directly or indirectly, Persons or their property to influence a decision to be taken in a Procurement proceeding or the execution of a Contract, and this will include creating obstructions in the normal submission process used for Tenders. |
|  | Should any corrupt, fraudulent, collusive or coercive practice of any kind come to the knowledge of the Purchaser, it will, in the first place, allow the Supplier to provide an explanation and shall, take actions only when a satisfactory explanation is not received. Such exclusion and the reasons thereof, shall be recorded in the record of the procurement proceedings and promptly communicated to the Supplier concerned. Any communications between the Supplier and the Purchaser related to matters of alleged fraud or corruption shall be in writing. |
|  | If corrupt, fraudulent, collusive or coercive practices of any kind determined by the Purchaser against the Supplier alleged to have carried out such practices, the Purchaser shall proceed under GCC Clause 42.4 |
|  | The Supplier shall permit the Purchaser to inspect the Supplier’s accounts and records and other documents relating to the submission of the Tender and Contract performance. |
| Interpretation | In interpreting the GCC, singular also means plural, male also means female or neuter, and the other way around. Headings in the GCC shall not be deemed part thereof or be taken into consideration in the interpretation or construction thereof or of the Contract. Words have their normal meaning under the English language unless specifically defined. |
|  | Entire Agreement (a) The Contract constitutes the entire agreement between the Purchaser and the Supplier and supersedes all communications, negotiations and agreements (whether written or oral) of parties with respect thereto made prior to the date of Contract Agreement; except those stated under GCC Sub Clause 5.1(i) . |
|  | Amendment (a) No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorised representative of each party thereto. |
|  | Non-waiver Subject to GCC Sub-Clause 4.4(b), no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract. Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorised representative of the party granting such waiver, and must specify the right and the extent to which it is being waived. |
|  | Severability (a) If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract. |
| Documents Forming the Contract in order of precedence | The following documents forming the Contract shall be in the following order of precedence, namely : the signed Contract Agreement; the Notification of Award; The Tender and the appendices to the Tender; Particular Conditions of Contract; General Conditions of Contract; Technical Specifications; Drawings; Priced Schedule and schedule of requirements and ; Other Documents including correspondences listed in the PCC forming part of the Contract. |
| Eligibility | The Supplier and its Subcontractors shall have the nationality of an eligible country. A Supplier or Subcontractor shall be deemed to have the nationality of a country if it is a citizen or constituted, incorporated, or registered, and operates in conformity with the provisions of the laws of that country. |
|  | All Goods and Related Services to be supplied under the Contract shall have their origin in Eligible Countries. |
|  | For the purpose of the GCC Clause 6.2, origin means the country where the goods have been grown, mined, cultivated, produced, manufactured, or processed; or through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. |
| Governing Language | The Contract shall be written in English language. Correspondence and documents relating to the Contract exchanged by the Supplier and the Purchaser shall be written in English .Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in English language, in which case, for purposes of interpretation of the Contract, this translation shall govern. |
|  | The Supplier shall bear all costs of translation to the governing language and all risks of the accuracy of such translation. |
| Governing Law | The Contract shall be governed by and interpreted in accordance with the laws of the People’s Republic of Bangladesh. |
| No fees/ Gratuities | No fees, gratuities, rebates, gifts, commissions or other payments, other than those shown in the Tender or the contract, shall be given or received in connection with the procurement process or in the contract execution. |
| Use of Contract Documents & Information | The Supplier shall not, except for purposes of performing the obligations in this Contract, without the Purchaser’s prior written consent, disclose this Contract, or any provision thereof, or any specification, plan, drawing, pattern, sample, or information furnished by or on behalf of the Purchaser. Any such disclosure shall be made in confidence and shall extend only as far as may be necessary for purposes of such performance. |
|  | Any document, other than this Contract itself, enumerated in GCC Clause 10.1 shall remain the property of the Purchaser and shall be returned (all copies) to the Purchaser on completion of the Supplier’s performance under this Contract if so required by the Purchaser. |
| Communications & Notices | Communications between Parties (notice, request or consent required or permitted to be given or made by one party to the other) pursuant to the Contract shall be in writing to the addresses specified in the PCC. |
|  | A notice shall be effective when delivered or on the notice’s effective date, whichever is later. |
|  | A Party may change its address for notice hereunder by giving the other Party notice of such change to the address. |
| Trademark, Patent and Intellectual Property Rights | The Purchaser should not be liable for any infringement of intellectual property rights arising from use of the goods procured. In case there are third-party claims of such infringement of patent, trademark, or industrial design rights, the supplier must indemnify and hold the Purchaser free and harmless against such claims and shall not be in contravention of The Trademark Act, 2009 and The Patents and Designs Act, 1911. |
| Copyright | The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser by the Supplier herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party. |
| Assignment | The Supplier shall not assign his rights or obligations under the Contract, in whole or in part, except with the Purchaser’s prior written consent. |
| Sub contracting | Any subcontracting arrangements made during contract implementation and not disclosed at the time of the Tendering shall not be allowed. |
|  | Subcontracting of any portion of the Goods shall not relieve the Tenderer from any liability or obligations that may arise from its performance. |
|  | Supplier shall retain full responsibility for the contract and can not pass any contractual obligations to the subcontractor and under no circumstances assignment of the contract to the subcontractor be allowed. |
|  | Subcontractors shall comply with the provisions of GCC Clause 3 and 6. |
| Supplier’s Responsibilities | The Supplier shall supply all the Goods and Related Services specified in the Scope of Supply as stated under GCC Clause 18 and the Delivery and Completion schedule, as stated under GCC Clauses 23 and 24 in conformity with the provisions of the Contract Agreement. |
| Purchaser’s Responsibilities | Whenever the performance of the obligations in this Contract requires that the Supplier obtain permits, approvals and other license from local public authorities, the Purchaser may, if so needed by the Supplier, make its best effort to assist the Supplier in complying with such requirements in a timely and expeditious manner. However, the supplier shall bear the costs of such permits and/or licenses. On the other hand, the Purchaser shall pay all costs involved in the performance of its responsibilities, in accordance with the contract. |
|  | The Purchaser shall pay the Supplier, in consideration of the provision of Goods and Related Services, the Contract Price under the provisions of the Contract at the times and manner prescribed in the Contract Agreement. |
| Scope of Supply | Subject to the PCC, the Goods and Related Services to be supplied shall be as specified in Section 6: Schedule of Requirements. |
|  | Unless otherwise stipulated in the Contract, the Scope of Supply shall include all such items not specifically mentioned in the Contract but that can be reasonably inferred from the Contract as being required for attaining Delivery and Completion of the Goods and Related Services as if such items were expressly mentioned in the Contract. |
| Amendment to Order | The Purchaser may make an amendment to Order for necessary adjustment within the general scope of the contract in any one or more of the following aspects in order to fully meet the requirement of the Contract: Drawing, design or specifications of the goods, provided that: The goods to be furnished are to be specifically manufactured for the government in accordance therewith; The change is an improvement of the goods and advantageous to the Government; It is done at no extra cost; and It is not prejudicial to the losing Tenderers in the sense that such change/s could not have been foreseen during the conduct of the tendering and would have significantly affected the other tenderer’s tender; The place of delivery; The place of performance of the services; Additional items needed and necessary for the protection of the goods procured, which were not included in the original contract. Such amendment may or may not result to an increase or a decrease of the contract price, and/or an extension or reduction of the delivery period. However, the amendment should not have the result of changing the subject matter of the contract or the specifications of the goods or services, in any material aspect and to such an extent that, if introduced during the Tendering stage, may have had a significant effect on other Tenderer’s tender, because this situation would actually require another tendering activity. |
| Instances When Amendment to Order May be Issued | The Purchaser may issue amendments order at any time during contract implementation, through a notice as stated under GCC Clause 11, provided that such adjustment is required to fully meet the requirements of the contract. Any of the following circumstances may serve as basis for such amendment/s: Emergency cases, fortuitous events or unforeseen contingencies arising during contract implementation, and such contingencies have an impact on the procurement at hand, such as: Changes in the conditions affecting the contract, e.g., a change in the place of delivery; Time is of the essence in the implementation of the contract, and any changes require immediate implementation; and Additional requirements have been identified as necessary for the protection of the goods procured, such as changes in the packaging of the goods, or additional items have become necessary to ensure that the goods are sufficiently protected from the elements; When the contract does not reflect the real intention of the parties due to mistake or accident, and the amendment is necessary to reflect the party’s intention; and Other analogous circumstances that could affect the conditions of the procurement at hand |
| Adjustments in Contract Price and/or Delivery Schedule in Amendment to Order | If an amendment to order increases or decreases the cost of ,or the time required for executing any part of the delivery under the original contract, an equitable adjustment in contract price and/or delivery schedule should be mutually agreed upon between parties concerned, and the contract should be modified as stated under GCC Clause 46 If the amendment to order consists of additional items, the price adjustment shall be based on the unit price in the original contract for items of goods similar to those in the original contract. If the contract does not contain any rate applicable to the additional items, then suitable prices shall be mutually agreed upon between the parties, based on prevailing market prices. It is required, however, that any increase in contract price must not exceed ten percent (10%) of the original contract price. |
| Packing and Documents | The Supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract and in accordance with existing industry standards. The packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit. |
|  | The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract as stated under GCC Clause 22.1, including additional requirements, if any, specified in the PCC, and in any subsequent instructions ordered by the Purchaser. |
|  | The outer packaging must contain a “Packing List” which must reflect the actual contents of the package. |
| Delivery and Documents | Subject to GCC Sub-Clause 19, the Delivery of the Goods and completion of the Related Services shall be in accordance with the Delivery and Completion Schedule specified in the Section 6: Schedule of Requirements. |
|  | The details of shipping and other documents to be furnished by the Supplier shall be specified in the PCC, and shall be received by the Purchaser at least one week before arrival of the Goods and, if not received the Supplier shall be responsible for consequent expenses. |
| Acceptance | Acceptance by the Purchaser shall be completed not later than fourteen (14) days from receipt of the goods at final destination in the form of an Acceptance Certificate, unless any defects in the supply, any damage during transportation or any failure to meet the required performance criteria of the supply are identified and reported to the Supplier as stated under GCC Clause 31 and GCC Clause 32. In such cases the Acceptance Certificate will be issued only for those parts of the contract supplies which are accepted. The Acceptance Certificate for the remaining supplies will only be issued after the Supplier has remedied the defects and/or any non-conformity under GCC Clause 31 and GCC Clause 32. |
|  | The appropriate Technical Inspection and Acceptance Committee of the Purchaser must commence the inspection and acceptance process within two (2) days from delivery of the goods, and shall complete the same as soon as practicable. |
| Contract Price | The Contract Price shall be specified in the PCC. |
|  | During evaluation, tender has excluded and not taken into account: In the case of Goods manufactured in Bangladesh, VAT payable on account of Supplier, which will be payable on the goods if a contract is awarded to the Tenderer; in the case of Goods manufactured outside the Bangladesh, already imported or to be imported, customs duties, import VAT and other import taxes levied on the imported Good, VAT, which will be payable on the Goods if the contract is awarded to the Tenderer. |
|  | The Contract price will include all the costs paid or payable as stated under GCC Clause 25.2. |
|  | Prices charged by the Supplier for the Goods delivered and the Related Services performed under the Contract shall not vary from the price as stated under GCC Sub-Clause 25.1, with the exception of any change in price resulting from a Change Order issued under GCC Clause 19. |
| Transportation | The Supplier is required under the Contract to transport the Goods to a specified place of destination as specified in Section 6: Schedule of Requirements, defined as the Site, transport to such place of destination, including insurance, other incidental costs, and temporary storage, if any. These costs shall be included in the Contract Price. |
|  | If not in accordance GCC Clause 26.1, responsibility for transportation of the Goods shall be as specified in the INCOTERM indicated in the Price Schedule or any other trade terms specify the responsibilities of the Purchaser and Supplier as specified in PCC. |
| Terms of Payment | The Contract Price, including any Advance Payments, if applicable, shall be paid in the manner as specified in the PCC. |
|  | The Supplier’s request for payment shall be made to the Purchaser in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and Related Services performed, and accompanied by the documents as stated under GCC Clause 23 and 24 and upon fulfilment of any other obligations stipulated in the Contract. |
|  | Payments shall be made promptly by the Purchaser, but in no case later than the days indicated in the PCC after submission of an invoice or request for payment by the Supplier, and after the Purchaser has accepted it. |
|  | The currencies in which payments shall be made to the Supplier under this Contract shall be those in which the tender price is expressed. |
|  | In the event that the Purchaser fails to pay the Supplier any payment by its respective due date or within the period set forth in the PCC, the Purchaser shall pay to the Supplier interest on the amount of such delayed payment at the rate shown in the PCC, for the period of delay until payment has been made in full, whether before or after judgment or arbitrage award. |
| Insurance | The Goods supplied under this Contract shall be fully insured by the Supplier in a freely convertible currency against loss or damage incidental to manufacture or acquisition, transportation, storage, and delivery. The Goods remain at the risk and title of the Supplier until their final acceptance by the Purchaser. |
|  | If not in accordance GCC Clause 28.1, the insurance coverage shall be as specified in the INCOTERM indicated in the Price Schedule or any other insurance provisions as specified in PCC. |
| Taxes and Duties | For Goods Manufactured within Bangladesh, the Supplier shall be entirely responsible for all taxes, duties, VAT, license fees, and other such levies imposed or incurred until delivery of the contracted goods to the Purchaser. |
|  | For Goods manufactured outside Bangladesh, the Supplier shall be entirely responsible for all taxes, duties and other such levies imposed outside Bangladesh. |
|  | If any tax exemptions, reductions, allowances or privileges may be available to the Supplier in Bangladesh, the Purchaser shall use its best efforts to enable the Supplier to benefit from any such tax savings to the maximum allowable extent. |
| Performance Security | The proceeds of the Performance Security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract. |
|  | The Performance Security shall be discharged by the Purchaser and returned to the Supplier not later than Thirty (30) days following the date of Completion of the Supplier’s performance obligations under the Contract and the issuance of certification to that effect by the Purchaser, including any warranty obligations as stated under GCC Clause 33, provided that there are no claims field against the supplier. |
| Specifications and Standards | The Goods and Related Services supplied under this Contract shall conform to the technical specifications and standards mentioned in Section 7, Technical Specification and in Section 8, Drawings, if any. |
|  | If there is no applicable standard, the goods must conform to the authoritative standards appropriate to the good’s country of origin. Such standards must be the latest issued by the concerned institution. |
|  | Subject to the GCC Clause 19, the Supplier shall be entitled to disclaim responsibility for any design, data, drawing, specification or other document, or any modification thereof provided or designed by or on behalf of the Purchaser, by giving a notice of such disclaimer to the Purchaser. |
|  | Wherever references are made in the Contract to codes and standards in accordance with which it shall be executed, the edition or the revised version of such codes and standards shall be those specified in the Technical Specification. During Contract execution, any changes in any such codes and standards shall be applied only after approval by the Purchaser and shall be treated under GCC Clause 19. |
| Inspections and Tests | The Purchaser shall have the right to test the Goods to confirm their conformity to the Contract specifications. The PCC and Technical specifications shall specify what tests the Purchaser requires and where they are to be conducted. The supplier shall at its own expense and at no cost to the Purchaser, carry out all such tests of the Goods and related services as are specified in the Contract. |
|  | The Supplier shall provide the Purchaser with a report of the results of any such test. |
|  | The Purchaser may engage external agents for the purpose of conducting inspection or pre-shipment inspection of Goods, provided that the Purchaser shall bear all of its costs and expenses. |
|  | The Purchaser or its designated representative as specified shall be entitled to attend the tests and/or inspections under GCC Clause 32.1, provided that the Purchaser shall bear all of its own costs and expenses incurred in connection with such attendance. |
|  | Whenever the Supplier is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser. The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser or its designated representative to attend the test and/or inspection. |
|  | The Purchaser may require the Supplier to carry out any test and/or inspection not required by the Contract, but deemed necessary to verify that the characteristics and performance of the Goods comply with the technical specifications, codes and standards under the Contract, provided that the Supplier’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price. Further, if such test and/or inspection impede the progress of manufacturing and/or the Supplier’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected. |
|  | The Purchaser may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser, and shall repeat the test and/or inspection, at no cost to the Purchaser, upon giving a notice under GCC Sub-Clause 32.5. |
|  | The Supplier agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report as stated under GCC Sub-Clause 32.2, shall relieve the Supplier from any warranties or other obligations under the Contract. |
| Warranty | The Supplier warrants that all the Goods supplied under the Contract are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, except when the design and/or material required by the Purchaser provides otherwise under GCC Clause 19. |
|  | The Supplier further warrants that the all Goods supplied under this Contract shall have no defect, arising from design, materials, or workmanship or from any act or omission of the Supplier that may develop under normal use of the supplied Goods in the conditions prevailing in Bangladesh. |
|  | In order to assure that manufacturing defects shall be corrected by the Supplier, manufacturer, or distributor, as the case may be, a warranty shall be required from the Supplier for a minimum period of three (3) months in the case of supplies, and one (1) year in the case of equipment, or other such period as may be specified in the PCC, after the Goods, or any portion thereof as the case may be, have been delivered to and accepted in the form of an Acceptance Certificate as indicated in the GCC Clause 24.1 at the final destination indicated in the PCC |
|  | The warranty periods may vary among the various items and lots. The warranty for Goods delivered ahead will lapse earlier than the succeeding deliveries. |
|  | The Purchaser shall promptly notify the Supplier in writing of any claims arising under this warranty. |
|  | Upon receipt of such notice, the Supplier shall, within the period specified in the PCC, expeditiously repair or replace the defective Goods or parts thereof, at no cost to the Purchaser. |
|  | If the Supplier, having been notified, fails to remedy the defect(s) within the period as stated under GCC Sub Clause 33.6, the Purchaser may proceed to call upon the Performance security without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract and under the applicable law. |
|  | Performance Security under GCC Clause no 30 shall only be released after the lapse of the warranty period, provided that the goods supplied are free from patent and latent defects and all the conditions imposed under the contract have been fully met. A patent defect, which is one that is apparent to the buyer on normal observation. It is an apparent or obvious defect. For example, a ball pen that does not write is patently defective. A latent defect, which is one that is not apparent to the buyer by reasonable observation. A latent defect is “hidden” or one that is not immediately determinable. For example, a ball pen that writes .75 kilometers instead of the expected 1.5 kilometers, has a latent defect. |
| Delays in Delivery and Extensions of Time | The Supplier must deliver the Goods or perform the services procured within the period prescribed by the Purchaser, as specified in the Contract. |
|  | If at any time during performance of the Contract, the Supplier or its subcontractors should encounter conditions impeding timely delivery of the Goods or completion of Related Services as stated under GCC Clause 23, the Supplier shall promptly notify the Purchaser in writing. It must state therein the cause/s and duration of the expected delay. The Purchaser shall decide whether and by how much to extend the time. In all cases, the request for extension should be submitted before the lapse of the original delivery date. Within twenty-one (21) days of receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may grant time extensions, if based on justifiable grounds, without liquidated damages. The Procuring may extend up to twenty percent (20%) of the original contract time, above 20% of the original contract time approval of Head of Purchaser (HOPE) shall be required, in which case the extension shall be ratified by the Parties by amendment of the Contract as stated under GCC Clause 46. |
|  | Except in the case of Force Majeure, as provided under GCC Clause 38, a delay by the Supplier in the performance of its Delivery and Completion obligations shall render the Supplier liable to the imposition of liquidated damages as stated under GCC Clause 35, unless an extension of time is agreed upon, under GCC Sub-Clause 34.3. |
| Liquidated Damages | Subject to GCC Clause 34 and 38, if the , if the Supplier fails to deliver any or all of the Goods by the Date(s) of delivery and/or perform the Related Services within the period specified in the Contract as stated under GCC Clause 23, the Purchaser shall, without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the PCC of the Contract price of the delayed Goods or unperformed / Related Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in those PCC. Once the maximum is reached, the Purchaser may terminate the Contract as stated under GCC Clause 42. |
| Limitation of Liability | Except in cases of criminal negligence or wilful misconduct, and in the case of infringement of patent and intellectual property rights, if applicable, the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, the aggregate liability of the Supplier to the Purchaser shall not exceed the total Contract Price, provided that this limitation shall not apply, to the cost of repairing or replacing defective equipment or, to any obligation of the Supplier to pay liquidated damages to the Purchaser. |
| Change in Laws and Regulations | Unless otherwise specified in the Contract, if after the Contract, any law, regulation, ordinance, order or bylaw having the force of law is enacted, promulgated, abrogated, or changed in Bangladesh (which shall be deemed to include any change in interpretation or application by the competent authorities) that subsequently affects the Delivery Date and/or the Contract Price, then such Delivery Date and/or Contract Price shall be correspondingly increased or decreased, to the extent that the Supplier has thereby been affected in the performance of any of its obligations under the Contract. |
| Definition of Force Majeure | In this Clause, “Force Majeure” means an exceptional event or circumstance: which is beyond a Party’s control; which such Party could not reasonably have provided against before entering into the Contract; which, having arisen, such Party could not reasonably have avoided or overcome; and which is not substantially attributable to the other Party. Force Majeure may include, but is not limited to, exceptional events or circumstances of the kind listed below, so long as conditions (a) to (d) above are satisfied: war, hostilities (whether war be declared or not), invasion, act of foreign enemies; rebellion, terrorism, sabotage by persons other than the Contractor’s Personnel, revolution, insurrection, military or usurped power, or civil war; riot, commotion, disorder, strike or lockout by persons other than the Contractor’s Personnel; munitions of war, explosive materials, ionising radiation or contamination by radio-activity, except as may be attributable to the Contractor’s use of such munitions, explosives, radiation or radio-activity, and natural catastrophes such as cyclone, hurricane, typhoon, tsunami, storm surge, floods, earthquake , landslides, fires, epidemics, quarantine restrictions, or volcanic activity; freight embargoes; acts of the Government in its sovereign capacity. |
| Notice of Force Majeure | If a Party is or will be prevented from performing its substantial obligations under the Contract by Force Majeure, then it shall give notice to the other Party of the event or circumstances constituting the Force Majeure and shall specify the obligations, the performance of which is or will be prevented. The notice shall be given within 14 days after the Party became aware, or should have become aware, of the relevant event or circumstance constituting Force Majeure. The Party shall, having given notice, be excused performance of its obligations for so long as such Force Majeure prevents it from performing them. Notwithstanding any other provision of this Clause, Force Majeure shall not apply to obligations of either Party to make payments to the other Party under the Contract. |
| Duty to Minimise Delay | Each Party shall at all times use all reasonable endeavours to minimise any delay in the performance of the Contract as a result of Force Majeure. |
|  | A Party shall give notice to the other Party when it ceases to be affected by the Force Majeure. |
| Consequences of Force Majeure | The Supplier shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that it’s delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure. |
|  | The Purchaser may suspend the delivery or contract implementation, wholly or partly, by written order for a certain period of time, as it deems necessary due to force majeure as defined in the contract. |
|  | Delivery made either upon the lifting or the expiration of the suspension order. However, if the Purchaser terminates the contract as stated under GCC clause 42, resumption of delivery cannot be done. |
|  | Head of Purchaser determines the existence of a force majeure that will be basis of the issuance of suspension of order. |
|  | Adjustments in the delivery or contract schedule and/or contract price, Including any need to modify contract under GCC Clause 46. |
| Termination for Default | The Purchaser shall terminate this Contract for default when any of the following conditions attends its implementation: Outside of force majeure, the Supplier fails to deliver or perform any or all of the GOODS within the period(s) specified in the contract, or within any extension thereof granted by the Purchaser pursuant to a request made by the Supplier prior to the delay; As a result of force majeure, the Supplier is unable to deliver or perform any or all of the GOODS, amounting to at least ten percent (10%) of the contract price, for a period of not less than sixty (60) calendar days after receipt of the notice from the Purchaser stating that the circumstance of force majeure is deemed to have ceased; or The Supplier fails to perform any other obligation under the Contract; If the Supplier, in the judgment of the Purchaser has engaged in corrupt, fraudulent, collusive or coercive practices, as stated under GCC Clause 3, in competing for or in executing the Contract; When deductable amount due to liquidated damage reaches its maximum as stated under GCC Clause 35. |
|  | Termination of a contract for default is without prejudice to other remedies available to the Purchaser for breach of contract, such as payment of liquidated and other damages, if there are grounds for the latter. |
|  | In the event the Purchaser terminates the Contract in whole or in part, as stated under GCC Clause 42.1, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed, and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services. However, the Supplier shall continue performance of the Contract to the extent not terminated. |
|  | In the event as stated under GCC Clause 42.1(d),the Purchaser shall, terminate the Supplier's employment under the Contract and cancel the contract, after giving 14 days notice to the Supplier and the provisions of Clause 42 shall apply as if such expulsion had been made under Sub-Clause 42.1 declare, at its discretion, the concerned Person to be ineligible to participate in further Procurement proceedings, either indefinitely or for a specific period of time. |
| Termination for insolvency | The Purchaser shall terminate this Contract if the Supplier is declared bankrupt or insolvent as determined with finality by a court of competent jurisdiction. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser and/or the Supplier. |
| Termination for Convenience | The Purchaser, by written notice sent to the supplier, may terminate this Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that the termination is for the Purchaser’s convenience, the extent to which performance of the supplier under the contract is terminated, and the date upon which such termination becomes effective. |
|  | Any of the following circumstances may constitute sufficient grounds to terminate a contract for conveniences : If Physical and economic conditions have significantly changed so as to render the contract no longer economically, financially or technically feasible, as determined by the Head of Purchaser; The Head of Purchaser has determined the existences of conditions that make contract implementation impractical and/or unnecessary, such as, but not limited to , fortuitous event/s, change in laws and government policies; Funding for the contract has been withheld or reduced; Any circumstances analogous to the foregoing. |
|  | The GOODS that have been delivered and/or performed or are ready for delivery or performance within thirty (30) calendar days after the Supplier’s receipt of Notice to Terminate shall be accepted by the Purchaser at the contract terms and prices. For GOODS not yet performed and/or ready for delivery, the Purchaser may elect: |
|  | to have any portion delivered and/or performed and paid at the contract terms and prices; and/or to cancel the remainder and pay to the Supplier an agreed amount for partially completed and/or performed goods and for materials and parts previously procured by the Supplier. |
| Procedures for Termination of Contracts | The following provisions shall govern the procedures for termination of this Contract as stated under GCC Clauses 42,43 and 44: Upon receipt of a written report of acts or causes which may constitute ground(s) for termination as aforementioned, or upon its own initiative, the Purchaser shall, within a period of seven (7) calendar days, verify the existence of such ground(s) and cause the execution of a Verified Report, with all relevant evidence attached; Upon recommendation by the Purchaser, the Head of the Purchaser shall terminate this Contract only by a written notice to the Supplier conveying the termination of this Contract. The notice shall state: that this Contract is being terminated for any of the ground(s) afore-mentioned, and a statement of the acts that constitute the ground(s) constituting the same; the extent of termination, whether in whole or in part; an instruction to the Supplier to show cause as to why this Contract should not be terminated; and special instructions of the Purchaser, if any. |
|  | The Notice to Terminate shall be accompanied by a copy of the Verified Report; |
|  | Within a period of seven (7) calendar days from receipt of the Notice of Termination, the Supplier shall submit to the Head of the Purchaser a verified position paper stating why this Contract should not be terminated. If the Supplier fails to show cause after the lapse of the seven (7) day period, either by inaction or by default, the Head of the Purchaser shall issue an order terminating this Contract; |
|  | The Purchaser may, at anytime before receipt of the Supplier’s verified position paper, withdraw the Notice to Terminate if it is determined that certain items or works subject of the notice had been completed, delivered, or performed before the Supplier’s receipt of the notice; |
|  | Within a non-extendible period of ten (10) calendar days from receipt of the verified position paper, the Head of the Purchaser shall decide whether or not to terminate this Contract. It shall serve a written notice to the Supplier of its decision and, unless otherwise provided, this Contract is deemed terminated from receipt of the Supplier of the notice of decision. The termination shall only be based on the ground(s) stated in the Notice to Terminate; and |
|  | The Head of the Purchaser may create a Contract Termination Review Committee (CTRC) to assist him in the discharge of this function. All decisions recommended by the CTRC shall be subject to the approval of the Head of the Purchaser. |
| Contract Amendment | Subject to applicable laws, no variation in or modification of the terms of this Contract shall be made except by written amendment signed by the parties. |
|  | The Purchaser, in accordance with their Delegation of Financial Powers, as required, may amend the Contract to reflect the changes introduced to the Original terms and Conditions of the Contract. |
| Settlement of Disputes | Amicable Settlement: The Purchaser and the Supplier shall use their best efforts to settle amicably all disputes arising out of or in connection with this Contract or its interpretation. |
|  | Adjudication If the Supplier /Purchaser believe that amicable settlement of dispute is not possible between the two parties, the dispute shall be refereed to the Adjudicator within fourteen (14) days of first written correspondence on the matter of disagreement; The Adjudicator named in the PCC is jointly appointed by the parties. In case of disagreement between the parties, the Appointing Authority designated in the PCC shall appoint the Adjudicator within fourteen (14) days of receipt of a request from either party; The Adjudicator shall give its decision in writing to both parties within twenty-eight (28) days of a dispute being referred to it; The supplier shall make all payments (fees and reimbursable expenses) to the Adjudicator, and the Purchaser shall reimburse half of these fees through the regular progress payments; (e) Should the Adjudicator resign or die, or should the Purchaser and the Supplier agree that the Adjudicator is not functioning in accordance with the provisions of the Contract; a new Adjudicator will be jointly appointed by the Purchaser and the Supplier. In case of disagreement between the Purchaser and the Supplier the Adjudicator shall be designated by the Appointing Authority designated in the PCC at the request of either party, within fourteen (14) days of receipt of a request from either party. Arbitration If the Parties are unable to reach a settlement under GCC Clause 47.1(a) within twenty-eight (28) days of the first written correspondence on the matter of disagreement, then either Party may give notice to the other party of its intention to commence arbitration in accordance with GCC Sub-Clause 47.3(b); The arbitration shall be conducted in accordance with the rules of procedure specified in the PCC. |

Section-4: Particular Conditions of Contract

Section-4: Particular Conditions of Contract

Instructions for completing the Particular Conditions of Contract are provided, as needed, in the notes in italics mentioned for the relevant GCC clauses.

| GCC Clause | Amendments of, and Supplements to, Clauses in the General Conditions of Contract |
| --- | --- |
| GCC 1.1(j) | The Purchaser is Dhaka Power Distribution Company Limited represented by Project Director, Prepayment Metering Project for NOCS Narinda |
| GCC 1.1(o) | The site(s)/ point(s) of delivery is/are: Designated stores of the project |
| GCC 5.1(i) | In addition to the GCC 5.1 the following documents will also be part of the Contract: Bank Guarantee for Performance Security (PG4-9) and Tender Security (PG4-6) All wirtten correspondances Applicable local Law & Acts API annexed in part-2 All documents related to existing software, servers and networks The Schedule of Key Personnel Site Investigation Reports |
| GCC 11.1 | For notices, the Purchaser’s contact details shall be: Office of Project Director, Pre-payment Metering Project for Narinda, Ramna 33/11 kV Sub station, Fulbaria, Dhaka-1000. Telephone: +88-029585905 email: seramna@dpdc.org.bd Fax: +88-029555341 |
|  | For notices, the Supplier’s contact details shall be: Attention: Address: Telephone: Facsimile number: Electronic mail address: |
| GCC 17.1 | The Engineer/ Project Director (PD) or authorised represnetative of purchasers shall obtain specific approval of the purchaser before taking any of the following actions: Subcontracting of any part of the Works Determining an extension of time Drawings, Catalogues, Manuals etc.: The Contractor shall submit to the Purchaser for approval, within one month after the date of Commencement, such drawings, catalogues, manuals, samples, patterns and models as may be called for therein or as the Purchaser may reasonably require. Before manufacturing of the equipment is to commence, dimensional drawings and diagrams showing all details of the equipment and materials to be used shall be submitted to the Engineer/PD for approval and to the Purchaser simultaneously. These drawings shall be submitted as soon as possible after the date of signing of the Contract and in any case in sufficient time allowance (not later than one month after the date of signing of the contract) to permit modifications to be made if such are deemed necessary and instructed by the Engineer without delaying the supply of the goods. The drawing shall be modified as necessary if instructed by the Engineer/PD and resubmitted for approval. Besides the drawings of individual equipment and system components, the Tenderer shall provide drawings and information regarding general arrangement and layout of goods. After approval of drawings by the Engineer/PD, the Contractor shall submit the approved Drawings to the Purchaser and to the Engineer/PD. It is to be understood, however, that approval of the Drawings will not exonerate the Contractor from any responsibility in connection with the work. Number of copies of drawings to be submitted to the Purchaser and to the Enginer/PD shall be as follows: Purchaser Engineer Drawings for approval 2 copies 2 copies Approved drawings 2 copies 2 copies The Tenderer at his expense if required by the Purchaser shall supply further copies of particular Drawings. One (1) the copy of the Drawing duly approved and signed by the Purchaser or the Engineer/PD will be returned to the Tenderer within 30 days of receipt of the drawings for approval. The Purchaser or the Engineer/PD shall have the right at all reasonable time to inspect at the factory of the Contractor all drawings of any portion of the works. (f) All Drawings associated with the Contract are to have the title of the drawings; the Tenderer's name, the date and the scale are to be shown. |
| GCC 18.1 | The scope of Supply shall be defined in Section-6: Schedule of Requirements. The scope of supply shall also include the goods and related services mentioned in the price schedules (FromPG4-3A, 3B, 3C & 3D). If any supply required from outside the Section-6: Schedule of Requirements for the succesful completion of the turn key contract, the tenderer will be responsible to delivery that goods and related services. |
| GCC 22 | All materials used in packing are to comply with the relevant Bangladesh regulations. Adequate protection and precautions are to be taken to exclude termites or other vermin, noxious insects, larva or fungus from the packing materials or plant. All contents are to be clearly marked for easy identification against the packing list. All galvanized ferrous materials shall, in any case, not be touched with water and shall not be handled with any chemical products during transportation to prevent the corrosive effect to the galvanized surface. The Contractor shall pack and crate all goods for export to a tropical, humid climate and for ocean transport and in accordance with internationally accepted export practice and such a manner as to protect it from damage and deterioration in transit by truck, rail and sea. The contractor shall be held responsible for and make good any and all damages costs involved due to improper and inadequate packing. Each box or other unit of shipment shall be eligible and properly marked in addition to the usual contractor's marking code. Detailed instructions for marking shown are given in tender document and such marking shall be written either on the box itself or on a metallic tag for drums, steel section etc. strongly attached to the Equipment |
| GCC 22.2 | The Supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to their final as indicated in the Contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage. Packing case size and weights, shall take into consideration, where appropriate, the remoteness of final destination of the supply and the absence of heavy handling facilities at all points in transit. The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract and in any subsequent instructions ordered by the Purchaser. The supplier shall provide such crate for shipment of goods as to protect the equipment and materials. The outer packing may be clearly marked on at least four slides as follows: Name and address of Purchaser Name of the Supplier Contract Description Final Destination/Delivery Point Gross weight Package number of total number of packages Brief description of the content Any special lifting instructions Any special handling instructions [Note: The above requirements should be reviewed by a Purchaser on a case-by-case basis, with amendments being made as necessary.] |
| GCC 23.1 | Delivery and Documents: Delivery of the goods shall be made by the Supplier in accordance with the terms and the goods shall remain at the risk of the Supplier until delivery has been completed. Delivery shall be considered to have been completed when the last consignment to be delivered are accepted and taken over by the Purchaser at the final destination: Designated stores of the project for NOCS Narinda. All transportation, insurance and other costs incurred in delivering the goods to Port of landing up to the final destination shall be entered in the Tenderer’s price schedule. Incomplete Delivery: The Tenderer shall be responsible for any shortages in supply when the contents of the cases do not comply with the manifests, for which claim documents will be prepared in the English language by the Purchaser and submitted to the Tenderer for the necessary action. In making a Tender, the Tenderer shall offer and recommend spare parts for 5 (five) years operation and maintenance in the spare parts schedule of the Tender Documents. After list of optional accessories and special tools recommended by the Tender shall also be included. The cost of these recommended optional accessories and special tools will not be taken into consideration for tender evaluation. These spare parts and/ or accessories and special tools shall be submitted by detailed functional description and itemized prices shall be provided. Purchaser will decide which of these recommended spares optional accessories and special tools are required. The Purchaser may order all in any of the spare so recommended. Those ordered are to be delivered to the nominated Site in accordance with the Schedules not later than the dated of receipt of the last Shipment of the associated item of plant. The price of spares shall be submitted to the same price conditions as the associated item of plant. Price Conditions as the associated item of plant. All spares are to be interchangeable with the original parts. They are to be treated and packed for long-term storage under the climatic conditions at site. Each spare is to be clearly and permanently labeled on the outside of its container with its description and purpose. When several spares are packed in one case, a general description of the contents is to be given on the outside of the case. All cases, containers, or other package are liable to be opened for inspection and checking at site. Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spares. Other spare parts & component shall be supplied as promptly as possible but in any case within six months of placement of order and establishment of Letter of Credit. Compliance with specification: Notwithstanding any descriptive literature, drawings or illustrations which may have been submitted with the Tender, all details other than those shown on the Schedule will be deemed to be in accordance with the Specification and the Standard specifications and codes referred to in the Specification. Apart from those shown in the Schedule any departures from the specification are to be made with prior written approval of the Engineer. The documentary evidence of the equipment's conformity to the Tender Document may be in the form of literature, drawings and date, and shall furnish. A detailed description of the equipment essential technical and performance characteristics like specification, drawings; A list, giving full particulars, including available sources and current prices, of all spare parts, special tools, etc., necessary for the proper and continuing of the equipment for a period of 10(ten) years; A clause-by-clause commentary on the specifications demonstrating the equipment's statement of deviations and exceptions to the provisions of the Specifications and Details containing the name of the manufacture of type of trade name, reference of all equipment and materials, which shall be firm. The words "equivalent" "similar" etc. for specifying equipment and materials shall not be considered acceptable. Storage of the materials: After the goods under this contract arrive in Bangladesh, the contractor will store meters, the Vending Station and other equipment & materials to the store designated by the employer. The storing facilities are the responsibility of the contractor. Any damage to the equipment facility will be the responsibility of the contractor. Rejection: In the event any of the Equipment supplied by the Contractor is found defective prior to the issue of delivery Certificate or otherwise not in conformity with the requirements of the Contract, the Purchaser or the Engineer shall have the right to either reject the Equipment or request the Tenderer in writing to rectify/ replace the Equipment. The Contractor shall with utmost diligence and at his own expense replace the defective equipment or rectify the defect as the case may be. If the Contractor fails to comply within 30 (Thirty) days after having been informed, the Purchaser has the option to replace or rectify such defective equipment and charge the Tenderer the extra cost plus 15% (fifteen percent) of the total cost. In the event the Contractor is not able to rectify or replace the rejected equipment within reasonable time, the Purchaser reserves the right to recover any money due as a result of rejection and to terminate the Contract for default as provided in the contract. Acquire the said Goods at a reduced price considered equitable under the circumstances. |
| GCC 23.2 | Shipping Documents The Purchaser and the Engineer/PD shall receive the shipping documents described in clause GCC 23.2(1) of Particular Conditions of Contract at the latest one-week before arrival of cargos at the airport of Dhaka or any sea port of entry in Bangladesh. The required numbers of shipping documents shall be supplied to the follows officers of the purchaser: Name & Designation: Project Director, Prepayment Metering Project for NOCS Narinda Address: New Ramna 33/11 kV Substation, Fulbaria, Dhaka-1000. Name & Designation: Chief Engineer (Development), DPDC Address: House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 No goods should be shipped or delivered without prior instruction (shipping advice) from the Purchaser. No goods should be shipped, without prior instruction from the Engineer/Purchaser. In cases, where the goods have been passed inspection but the Contractor from the Engineer/Purchaser has not received the instruction of delivery within one month of the date of inspection, the contractor may proceed with the shipment. In case of ex-factory basis delivery for domestic goods, the purchaser shall arrange to lift the goods from the specified place of the factory/warehouse within 30 (thirty) days after the date of inspection/ acceptance certificate issued by the Purchaser. All air cargoes destined for the site shall be landed at Hazrat Shajalal International Airport of Dhaka as specified in Tender Document. Any items liable to be damaged in transit shall be effectively protected and securely fixed in their cases. All lists of over 1(one) ton shall be marked to show where slings should be placed. The Contractor shall give complete shipping information concerning the weight, size, content of each package including any other information the Purchaser or the Engineer may require. Tenderer shall indicate the Bid delivery schedule in the Schedule of Requirements. The Contracted delivery period shall be within 90 (Ninety) days counted from the date of the qualified commitment to the letters of credit and specified accordingly in the final contract agreement. 1) For Imported goods: Upon shipment, the Supplier shall notify the Purchaser and the Insurance Company by Cable or fax or telex: the full details of the shipment including Contract number, description of Goods, quantity, the bill of landing number and date, port of loading, date of shipment, port of discharge, etc. The Supplier shall mail the following documents to the Purchaser, with a copy to the Insurance Company: 06.(six) copies of the Supplier's invoice showing goods description, quantity, unit price, total amount. 1(one) original and 8(eight) copies of the negotiable, clean, on-board bill of lading marked freight prepaid and eight (8) copies of non-negotiable bill of lading, 8(Eight) copies of packing list identifying contents of each package; Insurance certificate; Freight Memo, Manufacturer's/supplier's guaranty certificate; Inspection certificate, issued by the nominated inspection Engineer and the Supplier's factory inspection report; and Certificate of origin. Shipping advice issued by the Purchaser. The Purchaser shall receive the above documents at least one week before arrival of Goods at the port and, if not received, the Supplier will be responsible for any consequent expenses. The negotiable sets of documents shall be originals signed by the Tenderer. The Commercial Invoice is to show material value plus freight and insurance. Documentary evidence of accepted and taken over of the goods by the Purchaser at the final destination (i.e. Divisional store of Sales & Distribution site) in accordance to clause GCC 22.2 of Particular Conditions of Contract. (2) For Goods from within the Purchaser’s country as per INCOTERM EXW: Upon delivery of the Goods to the transporter, the Supplier shall notify the Purchaser and send the following documents to the Purchaser: 04 (Four) copies of the Supplier’s invoice showing the description of the Goods, quantity, unit price, and total amount; delivery note, railway receipt, or truck receipt; Manufacturer’s or Supplier’s warranty certificate; inspection certificate issued by the nominated inspection agency, and the Supplier’s factory inspection report; and certificate of origin. The Purchaser, shall receive the above documents before the arrival of the Goods and, if not received, the Supplier will be responsible for any consequent expenses. |
| GCC 25.1 | The contract Price is:-----------------[in word---------------------------------------] a) Unless specified otherwise in Purchaser’s Requirements, Tenderer shall quote for the entire facilities on a “single responsibility” basis as described in TDS such that the Tender price covers all the Contractor’s obligations mentioned in or to be reasonably inferred from the tendering documents in respect of the design, manufacture, including procurement and subcontracting (if any), delivery, construction, installation and completion of the facilities. This includes all requirements under the Contractor’s responsibilities for testing, pre-commissioning and commissioning of the facilities and, where so required by the bidding documents, the acquisition of all permits, approvals and licenses, etc., operation, maintenance, inspection and training services and such other items and services as may be specified in the tendering documents, all in accordance with the requirements of the Conditions of Contract. The tenderer shall complete the appropriate Price Schedules included herein, stating the unit prices, total price per item, the total amount and the expected countries of origin of the Plant to be supplied under the Contract. Prices quoted in the Price Schedules will be entered in the following manner. The price of goods quoted FOB port of shipment, marine insurance and freight shall also be priced separately; and The price of goods quoted CIF port of entry in the employer’s country; and The price of inland transportation, insurance and other local costs incidental to delivery of the goods from the port of entry to their final destination. In quoting the price, the Tenderer shall be free to use oceangoing vessels registered in any eligible source countries. Similarly, the Tenderer shall obtain insurance from Sadharan Bima Corporation of Bangladesh. The price of works and installation work, inclusive of all site testing and services. Cost of mandatory spare parts. The terms EXW, CIF, and FOB shall be governed by the rules prescribed in the current edition of INCOTERMS, published by the International chamber of commerce, Paris. Marine and local insurance will be paid at cost but estimated values shall be included in the price schedules. The marine and local insurance and Freight prices quoted in the Schedules shall be the maximum price. Freight charges will be paid, at cost, up to the values quoted. All prices for installation, testing, commissioning and local transportation & haulage in Bangladesh shall be quoted in Bangladesh Taka and payments shall be made in Bangladesh Taka. (b) Currency of Tender: Prices quoted shall be declared in the Schedules contained in the Tender Document. Prices shall be quoted in the following currencies: The prices shall be quoted in the currency of United States Dollars and Bangladesh Taka. A tenderer expecting to incur a portion of its expenditures in the performance of the Contract in more than one currency and wishing to be paid accordingly shall so indicate in its Tender. If some of the contract expenditures related to Works, Installation and Other Services pursuant to clause 20.2, such expenditures shall be quoted in Bangladesh Taka. (c) Price Variations: The prices quoted for the contract shall be fixed and valid until completion of the Contract performance and no price variation shall be allowed whether in the cost of Labour, materials or any other factors affecting prices of Works. A tender submitted with an adjustable price quotation will be treated as non-responsive and will be rejected. |
| GCC 26.2 | The transportation of all goods is the responsibility of the supplier. The supplier or bidder will be solely responsible for partial or fully damage of goods. |
| GCC 27.1 | Terms of Payment: Payment to the contractor for 1st phase of the contract: The method and conditions of payment to be made to the contractor under this Contract shall be as follows: (a) Payment for Goods and related services supplied from home and abroad: 1. The currency or currencies in which payment is to be made to the Supplier under this Contract shall be specified in the subject to the following general principle: Payment will be made in the currency or currencies in which the Contract price has been stated in the Supplier's Bid, as well as in other currencies in which the Supplier had indicated in its Bid that it intends to incur expenditures in the performance of the Contract and wishes to be paid. LC Charges within Bangladesh and outside Bangladesh shall be paid by the supplier. Payment for Goods and related services supplied from home and abroad (in USD or BDT or combination of both) to be made as follows: (i) Advance Payment: No advance payment will be given. (ii) The whole contract amount for 1st phase of the project will be splitted into 60 (sixty) equal parts/installments and each part/installment will be adjusted from each monthly bill of 2nd phase of the project during the whole 5(five) years duration of 2nd phase of the project. The adjustment shall commence from the very 1st bill of the 2nd phase of the contract. IT, VAT shall be deducted at source from each part/installment that will be adjusted during 2nd phase as per policy of GoB. |
|  | Issueance of TOC & FAC: The contractor shall inform DPDC after completion of supply, installation, testing and commissioning of all 25,000 nos. prepayment meters, DT meters, AMR meters with server, required nos. of UCC, UVS, data connectivity, training etc. under scope of work for 1st phase of the project. Taking Over Certificate (TOC) shall be issued within 28 days after such notification from the contractor has been received for successful completion of 1st phase of the project. FAC shall be issued within 28 days after such notification from the contractor has been received for successful completion of 2nd phase of the project. |
|  | Payment to DPDC for 2nd phase of the project: The 2nd phase shall start from the date of issueance of Taking over certificate. The contractor shall operate vending station during the 1st phase of the project and shall deposit the amount in DPDC’s account. For the purpose of payment in 2nd phase, DPDC and the contractor shall have a joint account. Superintending Engineer, NOCS Circle Narinda will be the authorized person from DPDC for this joint account. During 2nd phase, all amount collected at vending points as credit recharge for prepaid meters/customers and at bank/ booth or any other point as monthly bill for post paid customers shall be deposited in the joint account of DPDC and the contractor. The VAT amount shall be transferred to assigned VAT account of DPDC. The contractor shall have to pay bill to DPDC from the joint account within 5(five) working days after DPDC submits the monthly bill against the feeder meters of NOCS Narinda to the contractor. If the contractor fails to pay total monthly bill within 5(five) working days after DPDC submits the monthly bill, DPDC shall collect the due monthly bill from the performance security submitted by the contractor for the 2nd phase. The contractor shall have to replenish the performance security, if any amount is withdrawn against the security, within 1(one) month from the date of notification issued by DPDC for such replenishment. If the contractor fails to do so, the contract will be terminated. Performance Security: The contractor shall have to submit a performance security (PS) equal to 10% of the contract value for 1st phase of the project after issueance of Notification of Award (NOA). This PS will be released within 28 days after commencement of 2nd phase of the project. Before issueance of Taking Over Certifiacte (TOC), the contractor shall also need to submit another performance security (PS) equal to Tk. 15 crore (fifteen crore). This PS will be released within 3 months after issueance of FAC. |
| GCC 27.3 | Payments shall be made in no case later than the 45 days after submission of an invoice or request for payment by the Supplier, and after the Purchaser has accepted it as per payment terms. |
| GCC 27.5 | The payment-delay period after which the Purchaser shall pay interest to the supplier shall be 60 days after submission of an invoice or request for payment by the Supplier, and after the Purchaser has accepted it as per payment terms. The interest rate that shall be applied is not applicable. |
| GCC 28.2 | The minimum insurance cover shall be 110% (Hundred Ten). The insurance policy would be furnished from Bangladesh Sadharan Bima Corporation. (a) The maximum deductible for insurance of the Works and of Plant and Materials and Marine and Inland Transportation and All risk erection is Tk ------- [amount] [the Contractor shall provide this amount at the time of Contract signing]. (b) The minimum cover for insurance of the Works and of Plant and Materials in respect of the Contractor’s faulty design is Tk. 2000 million (c) The maximum deductible for insurance of Equipment is Tk -------[amount]. [the Contractor shall provide this amount at the time of Contract signing]. (d) The minimum cover for loss or damage to Equipment is Tk- 200 million (e) The maximum deductible for insurance of other property is Tk----- [amount]. [the Contractor shall provide this amount at the time of Contract signing]. (f) The minimum cover for insurance of other property is Tk. 100 million (g) The minimum cover for personal injury or death insurance: (i) for the Contractor’s employees is as per the law and common practice in Bangladesh. (ii) and for third parties is as per the law and common practice in Bangladesh. |
| GCC 32.1 | The inspections and tests shall be as follows: Orientation Training and Factory Performance Tests & Acceptance: The Purchaser shall be entitled to inspect at all reasonable items during manufacturing to witness the factory performance acceptance test on the manufacturer’s premises of the materials and workmanship of all equipment to be supplied under the Contract. An Engineering Team (nominated by the Purchaser) will participate on the quality acceptance test (QAT) for the following equipment at the manufacturer's plant and confirm their quality as per specification. The Purchaser's nominated "Engineering Team" consisting of 3 (three) Engineers in each team shall have the witness of the QAT of the goods on the manufacturer's premises. The team number will be same with number of delivery lot. Orientation Training and Factory Performance Tests & Acceptance shall be carried out on following items: i. prepayment meters (single phase & three phase), CT-PT operated AMR energy meter, DT metering unit with CT operated LT AMR meter, MODEM and CTs. Such inspection examination or testing if made shall not release the Contractor from any obligation under the Contract. The Contractor shall give to the Purchaser 30 (thirty) days notice in writing of the date and of the place at which any equipment will be ready to witness the factory performance acceptance test on the manufacturer’s premises of the materials and workmanship of all equipment to be supplied under the Contract. Tests shall be performed in accordance with the relevant IEC standard and as per offered technical particulars and guarantees of the contract. All expenses for such tests shall be borne by the contractor. Before testing and inspection five copies of the test schedule showing the standards applied, number of samples, guaranteed values, test methods and other relevant information shall be submitted for approval of the Engineer/Purchaser. The manufacturer/ Supplier shall furnish the following to the 'Engineering Team': a) Approved specification, Guaranteed technical particulars and Drawings of the goods. b) The test schedule showing the standards applied, test methods and other relevant information. c) Type test report of the offered goods. d) Factory test report of all the goods as per relevant standard. Where the Contract provides for tests on the premises of the manufacturer, the Supplier/ Manufacturer shall provide all reasonable facilities and assistance viz. labour, materials, electricity, fuel, stores, apparatus, instruments etc. as may be required and as may be reasonably demanded to carry out such tests efficiently at no charge to the purchaser. All the cost regarding QAT witness by the Purchaser’s 'Engineering Team' i.e., the cost of Air Ticket from Dhaka to the place of training & return, internal transportation, Phone, Fax, E-mail, Health insurance, Hotel accommodation, Food etc. and pocket money of USD 150 per day per inspector for the period excluding journey time shall be borne by the contractor and the cost shall be included with the equipment’s quoted price. The Tenderer/ manufacturer/ supplier shall invite consignee to nominate representatives for witnessing such factory performance acceptance test of the goods/equipment and inspection of factory production line. Where no specific tests are specified then the equipment shall be tested in accordance with the appropriate standards or alternative standard accepted by the Purchaser. Where no appropriate standard is available, tests shall be carried out in accordance with the Manufacturer's standard practice, which shall meet with the approval of the Engineer/Purchaser. Test shall be performed in accordance with the relevant standards supplemented by the specification requirements and as per contract. Where no specific tests are specified then the equipment shall be tested in accordance with the appropriate standards or alternative standard accepted by the Purchaser. Purchaser’s 'Engineering Team' shall select samples from the goods to be supplied on random basis for testing. The selected samples shall be tested according to the relevant standards at the manufacturer’s premises in presence of Purchaser’s 'Engineering Team'. In case of absence of requisite testing facilities in the manufacturer premises, the samples shall be tested in the testing laboratory accepted by the Purchaser/ Purchaser’s 'Engineering Team'. As and when any Equipment shall have passed the tests referred to in this Clause, the Engineer or the Purchaser's representative shall furnish to the Contractor a witness / Quality Certificate. The supplier shall provide test reports to the purchaser duly countersigned by the witnessing team within 10 (ten) days after completion of QAT. The purchaser will issue written instruction to the supplier to deliver the goods to the purchaser's designated stores against having satisfactory test report. If as a result of such witness the factory performance acceptance test of the equipment, (other than “Tests on Completion”) the Engineer or the Purchaser’s representatives shall decide that such equipment is defective or not in accordance with the contract, he shall notify the contractor accordingly stating in writing his objection and reasoning. The Contractor shall promptly make good the defect or ensure that the equipment complies with the Contract. Thereafter, if demanded by the Engineer, the tests shall be repeated under the same terms and conditions at the Contractor’s expense. No equipment shall be packed, prepared for shipment or dismantled for the purpose of packing unless it has been tested and approved or tests have been waived and written instruction have been received from the Purchaser. If any dissimilarity is observed during post delivery inspection on received goods in respect to pre-inspected goods, the purchaser has the right, not to receive the goods in the purchaser's store. The Contractor shall provide 12 (twelve) copies of reports for Proejct Director & 10 (Ten) copies to the Purchaser of all witness & factory performance acceptance test within 30 (thirty) days after completion of Factory Performance Tests and Acceptance. No goods shall be packed, prepared for shipment or ready for the purpose of packing unless it has been inspected and approved (or inspection has been waived) and written instructions for shipment is conveyed to the contractor. During Technical Orientation & Quality Test Witness, the inspection team will select 2(two) meters on random basis for testing the selected meters in an independent testing lab for the following tests: i) Dry heat test; ii) Damp heat cycle test; iii) Electromagnetic compatibility (EMC) tests as per relevant IEC standards. The tenderer will arrange these tests in an independent Testing Laboratory during Quality Test Witness. Post Landing Inspection: The Post Landing Inspection/Post delivery Inspection shall be carried out on all items mentioned in the price schedule by a committee of DPDC. The inspection and tests may be conducted on the premises of the Supplier or its Sub-Contractor at point of delivery and/or at the goods' final destination. When conducted on the premises of the Supplier or its Sub-Contractor, all reasonable facilities and assistance including access to drawings and production data shall be furnished to the inspectors at no charge to the Purchaser. 1. Should any inspected or tested goods fail to conform to the Specifications, the Purchaser may reject them and the Supplier shall either replace the rejected goods or make all alterations necessary to meet the specification, requirements free of cost to the Purchaser. 2. The Purchaser's right to inspect, test and where necessary, reject the goods after the goods’ arrival in the Purchaser's country shall in no way be limited or waived by reason of the goods having previously been inspected, tested and passed by the Purchaser or its representative prior to the goods shipment from the country of manufacture. 3. Nothing in any Clause shall in any way release the Supplier from any warranty or other obligations under this Contract. |
| GCC 33.3 | The Period of Validity of the warranty shall be 3 years from the date of completion of works including testing & commissioning and handing over to the employer and the place of final destination shall be project site(s). The following conditions shall also be applicable for Warranty and Guarantee of Goods: Guarantee of Goods and Guaranty period as used in this document will mean warranty and period of guarantee respectively. Warranty/ Guarantee period is 3 years from the date of completion of works including testing & commissioning and handing over to the employer. Goods or portion thereof, if replaced under this clause, will come under fresh warranty/ Guarantee for a further period of 3 (three) years from the date of replacement. The Supplier warrants that the goods supplied under the Contract are new, unused, of the most recent or current models and incorporate all recent improvements in design and materials unless provided otherwise in the Contract. The Supplier further warrants that all goods supplied under this Contract shall have no defect arising from design, materials or workmanship (except in so far as the design or material is required by the Purchaser's Specifications) or from any act or omission of the Supplier, that may develop under normal use of the Supplied Goods in the conditions obtaining in the country of final destination. |
| GCC 33.6 | The Supplier shall correct any defects covered by the Warranty 30 (thirty) days of being notified by the Purchaser of the occurrence of such defects. |
| GCC 35.1 | The applicable rate for liquidated damages for delay shall be: 0.5 percent of the Contract Price of the delayed Goods or unperformed Related services for each week of delay until actual delivery or performance. |
|  | The maximum amount of liquidated damages shall be: Ten (10%) percent of the Contract Price. |
| GCC 47.2(b) | The name of the Adjudicator. Chief Engineer (Development), DPDC Address: House # 47 (1st floor), Road # 135, Gulshan-1, Dhaka-1212 The name of the appointing authority of the Adjudicator: DPDC Authority |
| GCC 47.3(b) | The rules of procedure for arbitration proceedings shall be as follows: a) If the parties are unable to reach a settlement as per GCC Clause 47.1(a) within twenty eight (28) days of the first written correspondence on the matter of disagreement, then either party may give notice to the other party of its intention to commence arbitration in accordance with GCC Sub-clause 47.3(b). b) The arbitration shall be conducted in accordance with the Arbitration Act (Act No. 1 of 2001) of Bangladesh as at present in force and in the place shown in the PCC. |

Section-5: Tender and Contract Forms

Section-5: Tender and Contract Forms

| Form | Title |
| --- | --- |
|  | Tender Forms |
| PG4 – 1 | Tender Submission Letter |
| PG4 – 2 | Tenderer Information Sheet |
| PG4 – 3A,3B & 3C | Price Schedule for Goods |
| PG4 – 3D | Price Schedule for Related Services |
| PG4 – 4 | Specifications Submission and Compliance Sheet |
| PG4 – 5 | Manufacturer’s Authorisation Letter |
| PG4 – 6 | Bank Guarantee for Tender Security |
|  | Contract Forms |
| PG4 – 7 | Notification of Award |
| PG4 – 8 | Contract Agreement |
| PG4 – 9 | Bank Guarantee for Performance Security |
| PG4 – 10 | Bank Guarantee for Advance Payment |

Forms PG4-1 to PG4-6 comprises part of the Tender and should be completed as stated in ITT Clause 21.

Forms PG4-7 to PG4-10 comprises part of the Contract as stated in GCC Clause 5.

## Tender Submission Letter (Form PG4 – 1)

[This letter shall be completed and signed by the Authorised Signatory

preferably on the Letter-Head pad of the Tenderer].

| To: [Contact Person] [Name of Purchaser] [Address of Purchaser] | Date: |
| --- | --- |
| Invitation for Tender No: | [indicate IFT No] |
| Tender Package No: | [indicate Package No] |
| Lot No: | [indicate number of Lots] |

We, the undersigned, offer to supply in conformity with the Tender Document the following Goods and related Services:

In accordance with ITT Clauses 22 and 23, the following prices and discounts apply to our Tender:

| The Tender Price is: (ITT Sub-Clause 23.1) | Taka [state amount in figures] and Taka[state amount in words] |
| --- | --- |
| Mandatory Spare parts Price (If economic Factor is applicable) (ITT Sub-Clause 52.2 (f) & 52.5 (b) | Taka [state amount in figures] and Taka[state amount in words] |
| The unconditional discount for being awarded more than one lot in this package is: (ITT Sub-Clause 23.8) | Taka [state amount in figures] and Taka[state amount in words] |
| The methodology for Application of the discount is: (ITT Sub-Clause 23.9) | [state the methodology] |
| The advance payment is: (GCC Sub-Clause 27.1) | [state the amount based on percentage of the Tender Price] |
| and we shall accordingly submit an Advance Payment Guarantee in the format shown in Form PG4 - 10. |

In signing this letter, and in submitting our Tender, we also confirm that:

- our Tender shall be valid for the period stated in the Tender Data Sheet (ITT Sub-Clause 27.2) and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- a Tender Security is attached in the form of a bank guarantee] in the amount stated in the Tender Data Sheet (ITT Clause 29) and valid for a period of 28 days beyond the Tender validity date;

- if our Tender is accepted, we commit to furnishing a Performance Security in the amount stated in the Tender Data Sheet (ITT Sub-Clause 63.2) in the form stated in Tender Data Sheet (ITT Sub-Clause 64.1) and valid for a period of 28 days beyond the date of completion of our performance obligations;

- we have examined and have no reservations to the Tender Document, issued by you on [insert date];

including Addendum to Tender Documents No(s) [state numbers] ,issued in accordance with the Instructions to Tenderers (ITT Clause 11). [insert the number and issuing date of each addendum; or delete this sentence if no Addendum have been issued];

- we, including as applicable,  subcontractor for any part of the contract resulting from this Tender process, have nationalities from eligible countries, in accordance with ITT Sub-Clause  5.1;

- we  are submitting this Tender as a sole Tenderer

- we are not a Government owned entity as defined in ITT Sub-Clause 5.3

or

we are a Government owned entity, and we meet the requirements of ITT Sub-Clause 5.3];

(delete one of the above as appropriate)

- we, declare that we are not associated, nor have been associated in the past, directly or indirectly, with a consultant or any other entity that has prepared the design, specifications and other documents, in accordance with ITT Sub-Clause 5.5;

- we, including as applicable subcontractor have not been declared ineligible by the Government of Bangladesh on charges of engaging in corrupt, fraudulent, collusive or coercive practices, in accordance with ITT Sub-Clause 5.6;

- furthermore, we are aware of ITT Sub Clause 4.3 concerning such practices and pledge not to indulge in such practices in competing for or in executing the Contract;

- we intend to subcontract an activity or part of the Supply, in accordance with ITT Sub-Clause 16.1 to the following Subcontractor(s);

| Nature of the Supply or related service | Name and address of Subcontractor |
| --- | --- |

- we, confirm that we do not have a record of poor performance, such as abandoning the Supply, not properly completing contracts, inordinate delays, or financial failure as stated in ITT Sub-Clause 5.8, and that we do not have, or have had, any litigation against us, other than that stated in the Tenderer Information Sheet(Form PG4-2);

- we are not participating as Tenderers in more than one Tender in this Tendering process. We understand that your written Notification of Award shall become a binding Contract between us, until a formal Contract is prepared and executed;

- we understand that you reserve the right to accept or reject any Tender, to cancel the Tender proceedings, or to reject all Tenders, without incurring any liability to Tenderers, in accordance with ITT Clause 58.1.

| Signature: | [insert signature of authorised representative of the Tenderer] |
| --- | --- |
| Name: | [insert full name of signatory with National ID] |
| In the capacity of: | [insert designation of signatory] |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

[If there is more than one (1) signatory add other boxes and sign accordingly].

Attachment-1:	Written confirmation authorising the above signatory (ies) to commit the Tenderer, in accordance with ITT Sub-Clause 34.3;

## Tenderer Information Sheet (Form PG4-2)

[The Tenderer shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted]

| Invitation for Tender No: | [Indicate IFT No] | Date | [Insert date of Tender Submission] |
| --- | --- | --- | --- |
| Tender Package No: | [Indicate Package No] |  |  |

A. Individual Tenderers

| 1. Eligibility Information of the Tenderer [ITT Clauses 5 & 21] |
| --- |
| 1.1 | Tenderer’s Legal Name: |  |
| 1.2 | Tenderer’s legal address in Country of Registration |  |
| 1.4 | Tenderer’s Year of Registration |  |
| 1.5 | Tenderer’s Authorised Representative Information |  |
|  | Name |  |
|  | National ID number |  |
|  | Address |  |
|  | Telephone / Fax Numbers |  |
|  | e-mail address |  |
| 1.6 | Attached are copies of original documents of : [check box(es) of the attached original documents] Articles of Incorporation or Registration of firm named in 1.1, in accordance with ITT sub-Clause 5.1and 5.2] In case of government owned entity, documents establishing legal and financial autonomy and compliance with commercial law, in accordance with ITT Sub-Clause 5.3 An affidavit confirming the legal capacity stating that there are no existing orders of any judicial court that prevents either the tenderer or employees of a tenderer entering into or signing a Contract with the Purchaser in accordance with ITT clause 5 An affidavit confirming that the tenderer is not insolvent, in receivership or not bankrupt or not in the process of bankruptcy, not temporarily barred from undertaking their business for financial reasons and shall not be the subject of legal proceedings for any of the foregoing in accordance with ITT Clause 5. A certificate issued by the competent authority of Bangladesh stating that the Tenderer is a Tax payer having valid Tax identification Number (TIN) and VAT registration number or in lieu any other document acceptable to the Purchaser demonstrating that the Tenderer is a genuine Tax payer and has a VAT registration number as a proof of fulfillment of taxation obligations in accordance with ITT Clause 5 . Documentary evidence demonstrating that they are enrolled in the relevant professional or trade organizations registered in Bangladesh in accordance with ITT Clause 5. |
| 2. Litigation History: [Number of arbitration awards against the tenderer over the period in accordance the ITT Clause 13.1] if no [state “None”] |
| 3. Qualification Information of the Tenderer: |
| 3.1 | Number of years of overall experience of the Tenderer in the supply of goods and related services as stated under ITT Sub-Clause14.1(a): |  |
| 3.2 | Number of completed supply contracts in the supply of similar goods and related services of required value within the period mentioned in TDS as stated under ITT Sub-Clause 14.1(b): Number of Contracts: Value of the Contracts: Period of the Contract: |  |
| 3.3 | The supply and/or production capacity of Goods, if applicable, as stated under ITT Sub-Clause 14.(c) |  |
| 3.4 | Available liquid assets or working capital or credit facility in accordance with ITT Clause 15.1(a) |  |

B. Individual Members of a Joint Venture (If appicable)

| 4.1 | Each Member of a JVCA shall provide all the information requested in the form above, Sections 1-3. |
| --- | --- |
| 4.2 | Attach a power of attorney for each of the authorising signatories of the Tender on behalf of the JVCA. |
| 4.3 | Attach the Agreement among all Members of the JVCA (and which is legally binding on all Members), which shows that: all Members shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms; one of the Members will be nominated as being in charge, authorised to incur liabilities, and receive instructions for and on behalf of any and all Members of the joint venture; and the execution of the entire Contract, including payment, shall be done exclusively with the Member in charge |
| Note: The above represents the minimum requirements. These may be added to buy the Purchaser on a case-by-case basis, as necessary. |

## Price Schedule for Goods (Form PG4-3A)

[Group A Tenders: Goods Manufactured/ Offered in Bangladesh]

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |
| Tender Lot No: |  | Lot Description: | [enter description as specified in Section 6] |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line Item No . | Description of Item | Unit of Measurement | Quantity | Unit price EXW [Taka.] | EXW price per Line Item (Col. 4 ( 5) [Taka.] | Inland transportation, Insurance and other local costs for the delivery of the Goods to their final destination [Taka] | Cost of local labour, raw materials and components from with origin in Bangladesh [Taka.] | VAT Payable on account of Supplier if the Contract is awarded [Taka] | Total Price per line item (Col. 6+7) |
|  |  |  |  |  |  |  |  |  | Taka |
|  |  | [Insert name of the Unit] | [Insert number of Unit to be supplied] | [Insert EXW unit price, also indicate Currency] | [Insert total EXW price per line item] | [Insert corresponding price per line item] | [Insert cost of local labour, raw material and components as a% of the Col 5] | [Insert Supplier’s VAT if Contract is awarded ] | [Insert total price per line item] |
| 1.0 | Meter & Accessories |  |  |  |  |  |  |  |  |
| 1.1 | Supply of Smart Card based Single phase Pre paid Meters with 10% spare Smart Card | no. | 21,000 |  |  |  |  |  |  |
| 1.2 | Supply of Smart Card based Three phase online Pre Paid Meters with MODEM and 10% spare Smart Card | no. | 4000 |  |  |  |  |  |  |
| 1.3 | Supply of 400V, CT operated DT metering unit with MODEM and AMR/RMR facility meter, class:0.5s, CTs with 400/5 CT ratio in 3 phase and neutral, class of CT: 0.5, MCCB (415V & 400A) with necessary enclosure etc. complete in all respect | no. | 300 |  |  |  |  |  |  |
| 1.4 | Supply of 110V CT- PT operated 3 phase 4 wire energy meter with MODEM and AMR/RMR facility, class: 0.5s etc. complete in all respect | no. | 50 |  |  |  |  |  |  |
| 1.5 | Supply of AMR/RMR server and software including UPS, 5 nos. work station and other necessary equipment as required i.e complete in all respect. | Lot | 1 |  |  |  |  |  |  |
|  | Sub-total (A) |  |  |  |  |  |  |  |  |
| 2.0 | Supply of hardware , related software and necessary LAN set up for each Utility Vending station (UVS) |  |  |  |  |  |  |  |  |
| 2.1 | Router and switch with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 2.2 | Workstation with Required Software (both System and application) | Number | 2 |  |  |  |  |  |  |
| 2.3 | Smart Card Reader/writer with Required Software (both System and application) | Number | 2 |  |  |  |  |  |  |
| 2.4 | Slip Printer with Required Software (both System and application) | Number | 2 |  |  |  |  |  |  |
| 2.5 | Laser Printer with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 2.6 | UPS 2 KVA 2 hr. backup with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 2.7 | Split Type AC (2 ton) | Number | 1 |  |  |  |  |  |  |
| 2.8 | Laptop with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 2.9 | SIM card with required software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 2.10 | GPRS/EDGE/EVDO Modem with required software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 2.11 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. | Lot | 1 |  |  |  |  |  |  |
|  | Sub-Total for each UVS |  |  |  |  |  |  |  |  |
|  | Sub-total (B) for 4 nos. UVS (4 × amount in previous row) |  |  |  |  |  |  |  |  |
| 3.0 | Supply of hardware , related software and necessary LAN set up for Utility Customization Center (UCC) |  |  |  |  |  |  |  |  |
| 3.1 | Router and switch with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 3.2 | Workstation with Required Software (both System and application) | Number | 2 |  |  |  |  |  |  |
| 3.3 | Smart Card Reader/writer with Required Software (both System and application) | Number | 2 |  |  |  |  |  |  |
| 3.4 | Slip Printer with Required Software (both System and application) | Number | 2 |  |  |  |  |  |  |
| 3.5 | Laser Printer with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 3.6 | Smart Card Printer with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 3.7 | UPS 2 KVA 2 hr. backup with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 3.8 | Split Type AC (2 ton) | Number | 1 |  |  |  |  |  |  |
| 3.9 | Laptop with Required Software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 3.10 | SIM card with required software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 3.11 | GPRS/EDGE/EVDO Modem with required software (both System and application) | Number | 1 |  |  |  |  |  |  |
| 3.12 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. | Lot | 1 |  |  |  |  |  |  |
|  | Sub-Total C for UCC |  |  |  |  |  |  |  |  |
| Note : Price offered in Bangladesh Taka | Total Price for Lot |  |
| Point of Delivery as per Schedule of Requirement: | Period of Delivery as per Schedule of Requirement: |
| Name: | [insert full name of signatory] | Signature with Date and Seal |
| In the capacity of: | [insert designation of signatory] | [ Sign] |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Price Schedule for Goods (Form PG4-3B)

[Group B Tenders: Goods Manufactured outside Bangladesh, to be imported]

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |
| Tender Lot No: |  | Lot Description: | [enter description as specified in Section 6] |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line Item No. | Description of Item | Country of Origin | Unit of Measurement | Quantity | Unit price CIF up to ICD Kamlapur via Chittagong port [USD] | CIF price per Line Item up to ICD Kamlapur via Chittagong port (Col. 5 ( 6) [USD] *Note -1 | Inland transportation, Insurance and other local costs for the delivery of the Goods to their final destination (including VAT, IT etc.) *Note -2 [Taka] | VAT Payable on account of Supplier if the Contract is awarded [Taka] | Total Price per line item (Col. 7+ Col. 8) |
|  |  |  |  |  |  |  |  |  | FC | Taka |
|  |  | [insert country of origin of the Good] | [Insert name of the Unit] | [Insert number of Unit to be supplied] | [Insert unit price in CIP, also indicate currency ] | [Insert total price per line item] | [Insert corresponding price per line item] | [Insert Supplier’s VAT if Contract is awarded ] (If applicable as per VAT Act ) | [Insert total price per line item ] |
| 1.0 | Meter & Accessories |  |  |  |  |  |  |  |  |
| 1.1 | Supply of Smart Card based Single phase Pre paid Meters with 10% spare Smart Card |  | no. | 21,000 |  |  |  |  |  |
| 1.2 | Supply of Smart Card based Three phase online Pre Paid Meters with MODEM and 10% spare Smart Card |  | no. | 4000 |  |  |  |  |  |
| 1.3 | Supply of 400V, CT operated DT metering unit with MODEM and AMR/RMR facility meter, class:0.5s, CTs with 400/5 CT ratio in 3 phase and neutral, class of CT: 0.5, MCCB (415V & 400A) with necessary enclosure etc. complete in all respect |  | no. | 300 |  |  |  |  |  |
| 1.4 | Supply of 110V CT- PT operated 3 phase 4 wire energy meter with MODEM and AMR/RMR facility, class: 0.5s etc. complete in all respect |  | no. | 50 |  |  |  |  |  |
| 1.5 | Supply of AMR/RMR server and software including UPS, 5 nos. work station and other necessary equipment as required i.e complete in all respect. |  | lot | 1 |  |  |  |  |  |
|  | Sub-total (A) |  |  |  |  |  |  |  |  |
| 2.0 | Supply of hardware , related software and necessary LAN set up for each Utility Vending station (UVS) |  |  |  |  |  |  |  |  |
| 2.1 | Router and switch with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 2.2 | Workstation with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |
| 2.3 | Smart Card Reader/writer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |
| 2.4 | Slip Printer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |
| 2.5 | Laser Printer with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 2.6 | UPS 2 KVA 2 hr. backup with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 2.7 | Split Type AC (2 ton) |  | Number | 1 |  |  |  |  |  |
| 2.8 | Laptop with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 2.9 | SIM card with required software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 2.10 | GPRS/EDGE/EVDO Modem with required software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 2.11 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. |  | lot | 1 |  |  |  |  |  |
|  | Sub-Total for each UVS |  |  |  |  |  |  |  |  |
|  | Sub-total (B) for 4 nos. UVS (4×amount in previous row) |  |  |  |  |  |  |  |  |
| 3.0 | Supply of hardware , related software and necessary LAN set up for Utility Customization Center (UCC) |  |  |  |  |  |  |  |  |
| 3.1 | Router and switch with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 3.2 | Workstation with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |
| 3.3 | Smart Card Reader/writer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |
| 3.4 | Slip Printer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |
| 3.5 | Laser Printer with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 3.6 | Smart Card Printer with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 3.7 | UPS 2 KVA 2 hr. backup with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 3.8 | Split Type AC (2 ton) |  | Number | 1 |  |  |  |  |  |
| 3.9 | Laptop with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 3.10 | SIM card with required software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 3.11 | GPRS/EDGE/EVDO Modem with required software (both System and application) |  | Number | 1 |  |  |  |  |  |
| 3.12 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. |  | lot | 1 |  |  |  |  |  |
|  | Sub-Total C for UCC |  |  |  |  |  |  |  |  |
| Note : Price offered in foreign currency (FC) & Bangladesh Taka | Total Price for Lot |  |
| Point of Delivery as per Schedule of Requirement: | Period of Delivery as per Schedule of Requirement: |

*Note-1:  Insurance cover note must have to be submitted to the consignee before opening the Letter of Credit (LC)

* Note-2: (i) Inland transportation, Insurance  from ICD Kamalapur to DPDC store (Insurance cover note  from Sadaron Bima Corporation, Bangladesh) , all handling charge at port and DPDC store (including loading and unloading), shipping agent charge, damarage charge, C & F bill and other local cost shall include all costs incidental to clearing and forwarding of the goods through port of entry and customs, handling & transportation, insurance and delivery to final destination, over head,  applicable custom duties  and other charges at the port of entry of the purchaser’s country and miscellaneous costs, if any    (ii) Supplier/ Contractor/ Local agent cannot  claim any extra money in any form (iii)  C&F Agent will be engaged by the supplier informing the purchaser.

| Name: | [insert full name of signatory] | Signature with Date and Seal |
| --- | --- | --- |
| In the capacity of: | [insert designation of signatory] | [ Sign] |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

[Note: The Purchaser may also use other INCOTERMs, if deemed necessary, In such case Form PG4-3B, will require to be customized by the Purchaser]

Price Schedule for Goods (Form PG4-3C)

[ Group B Tenders: Goods Manufactured outside Bangladesh, already imported ]

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |
| Tender Lot No: |  | Lot Description: | [enter description as specified in Section 6] |

| 1 | 2 | 3 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line Item No . | Description of Item | Country of Origin | Unit of Measurement | Quantity | Unit price Including Custom Duties, import VAT & other import taxes already paid [Taka] | Custom Duties, import VAT & other import taxes already paid per unit [Taka] | Unit Price per line item net of Custom Duties, import VAT & other import taxes already paid [Taka] (Col. 5 – Col.6) | Price per line item net of Custom Duties, import VAT & other import taxes already paid [Taka] (Col. 4X Col. 7) | Inland transportation, Insurance and other local costs for the delivery of the Goods to their final destination [Taka] | VAT Payable on account of Supplier if the Contract is awarded [Taka] | Total Price per line item (Col.8+ Col.9) [Taka] |
|  |  | [insert country of origin of the Good] | [Insert name of the Unit] | [Insert number of Unit to be supplied] | [Insert unit price including CD & all import taxes] | [Insert CD,VAT & import taxes paid per unit] to be supported by documents | [insert unit price net of CD,VAT and import taxes] | [ insert price per line item net of CD,VAT and import taxes] | [Insert corresponding price per line item] | [Insert Supplier’s VAT if Contract is awarded ] | [Insert total price per line item ] |
| 1.0 | Meter & Accessories |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Supply of Smart Card based Single phase Pre paid Meters with 10% spare Smart Card |  | no. | 21,000 |  |  |  |  |  |  |  |
| 1.2 | Supply of Smart Card based Three phase online Pre Paid Meters with MODEM and 10% spare Smart Card |  | no. | 4000 |  |  |  |  |  |  |  |
| 1.3 | Supply of 400V, CT operated DT metering unit with MODEM and AMR/RMR facility meter, class:0.5s, CTs with 400/5 CT ratio in 3 phase and neutral, class of CT: 0.5, MCCB (415V & 400A) with necessary enclosure etc. complete in all respect |  | no. | 300 |  |  |  |  |  |  |  |
| 1.4 | Supply of 110V CT- PT operated 3 phase 4 wire energy meter with MODEM and AMR/RMR facility, class: 0.5s etc. complete in all respect |  | no. | 50 |  |  |  |  |  |  |  |
| 1.5 | Supply of AMR/RMR server and software including UPS, 5 nos. work station and other necessary equipment as required i.e complete in all respect. |  | lot | 1 |  |  |  |  |  |  |  |
|  | Sub-total (A) |  |  |  |  |  |  |  |  |  |  |
| 2.0 | Supply of hardware , related software and necessary LAN set up for each Utility Vending station (UVS) |  |  |  |  |  |  |  |  |  |  |
| 2.1 | Router and switch with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 2.2 | Workstation with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |  |  |
| 2.3 | Smart Card Reader/writer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |  |  |
| 2.4 | Slip Printer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |  |  |
| 2.5 | Laser Printer with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 2.6 | UPS 2 KVA 2 hr. backup with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 2.7 | Split Type AC (2 ton) |  | Number | 1 |  |  |  |  |  |  |  |
| 2.8 | Laptop with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 2.9 | SIM card with required software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 2.10 | GPRS/EDGE/EVDO Modem with required software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 2.11 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. |  | Lot | 1 |  |  |  |  |  |  |  |
|  | Sub-Total for each UVS |  |  |  |  |  |  |  |  |  |  |
|  | Sub-total (B) for 4 nos. UVS (4×amount in previous row) |  |  |  |  |  |  |  |  |  |  |
| 3.0 | Supply of hardware , related software and necessary LAN set up for h Utility Customization Center (UCC) |  |  |  |  |  |  |  |  |  |  |
| 3.1 | Router and switch with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.2 | Workstation with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |  |  |
| 3.3 | Smart Card Reader/writer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |  |  |
| 3.4 | Slip Printer with Required Software (both System and application) |  | Number | 2 |  |  |  |  |  |  |  |
| 3.5 | Laser Printer with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.6 | Smart Card Printer with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.7 | UPS 2 KVA 2 hr. backup with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.8 | Split Type AC (2 ton) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.9 | Laptop with Required Software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.10 | SIM card with required software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.11 | GPRS/EDGE/EVDO Modem with required software (both System and application) |  | Number | 1 |  |  |  |  |  |  |  |
| 3.12 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. |  | Lot | 1 |  |  |  |  |  |  |  |
|  | Sub-Total C for each UCC |  |  |  |  |  |  |  |  |  |  |
| Note : Price offered in Bangladesh Taka | Total Price for Lot |  |
| Point of Delivery as per Schedule of Requirement: | Period of Delivery as per Schedule of Requirement: |

| Name: | [insert full name of signatory] | Signature with Date and Seal |
| --- | --- | --- |
| In the capacity of: | [insert designation of signatory] | [ Sign] |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Price and Completion Schedule - Related Services (Form PG4-3D)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |
| Tender Lot No: |  | Lot Description: | [enter description as specified in Section 6] |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Service No. | Description of Services (excludes inland transportation and other services required in Bangladesh to convey the goods to their final destination) | Country of Origin | Unit of Measurement | Quantity | Unit price of service [FC] or [Taka] | Price per line item of service (Col. 5 X Col. 6) [FC] or [Taka] | VAT Payable on account of Supplier if the Contract is awarded [Taka] | Total Price per line item of service (Col. 7) |
|  |  |  |  |  |  |  |  | FC | Taka |
|  |  | [insert country of origin of the Service] | [Insert name of the Unit] | [Insert number of Unit to be supplied] | [Insert unit price] | [Insert price per line item of service] | [Insert Supplier’s VAT if Contract is awarded ] | [Insert total price per line item of service ] |
| 1.0 | Meter & Accessories |  |  |  |  |  |  |  |
| 1.1 | Installation, testing & commissioning of Smart Card based Single phase Pre paid Meters with 10% spare Smart Card |  | no. | 21,000 |  |  |  |  |
| 1.2 | Installation, testing & commissioning of Smart Card based Three phase online Pre Paid Meters with MODEM and 10% spare Smart Card |  | no. | 4000 |  |  |  |  |
| 1.3 | Installation, testing & commissioning of 400V, CT operated DT metering unit with MODEM and AMR/RMR facility meter, class:0.5, CTs with 400/5 CT ratio in 3 phase and neutral, class of CT: 0.5, MCCB (415V & 400A) with necessary enclosure etc. complete in all respect |  | no. | 300 |  |  |  |  |
| 1.4 | Installation, testing & commissioning of 110V CT- PT operated 3 phase 4 wire energy meter with MODEM and AMR/RMR facility, class: 0.5 etc. complete in all respect |  | no. | 50 |  |  |  |  |
| 1.5 | Installation, testing & commissioning of AMR/RMR server and software including UPS, 5 nos. work station and other necessary equipment as required |  | lot | 1 |  |  |  |  |
| 1.6 | Dismantle cost of existing post paid meters with carrying and return to DPDC store. |  | lot | 1 |  |  |  |  |
| 1.7 | Civil Works: infra-structure development for 4 nos. UVSs & 1 no. UCC (The contractor shall provide room and shall do aesthetic interior decoration with necessary furniture (2 nos. table, 2 nos. chair, 1 no. rack, 1 no. fan, necessary lighting etc.) |  | each | 5 |  |  |  |  |
|  | Sub-total (A) |  |  |  |  |  |  |  |
| 2.0 | Network |  |  |  |  |  |  |  |
| 2.1 | Between (i) MIC to 1 no. of UCC and (ii) MIC to 4 nos. of UVS. The connectivity shall be dedicated leased fiber optics line from dual source (Primary and Secondary connection from two independent Service Provider). |  | per location per month | 5 locations for 6 months |  |  |  |  |
| 2.2 | MIC to 4 nos. UVS & MIC to 1 no. UCC. This is a Wireless connection. |  | per location per month | 5 locations for 6 months |  |  |  |  |
| 2.3 | MIC to Online 3-phase meters. This is a Wireless connection. |  | per meter per month | 4000 nos. meter for 6 month |  |  |  |  |
| 2.4 | AMR meter to AMR server This is a Wireless connection. |  | per meter per month | 350 nos. meters for 6 month |  |  |  |  |
|  | Sub-Total (B) |  |  |  |  |  |  |  |
| 3.0 | Manpower Training (Local) |  | MM | 20 |  |  |  |  |
|  | Sub-total (C) |  |  |  |  |  |  |  |
| Note: Price offered in foreign currency (FC) & Bangladesh Taka | Total Price (sum of sub total A+sub total B+ sub total C) |  |
| Point of Delivery as per Schedule of Requirement: | Period of Delivery as per Schedule of Requirement: |

Grand Total (PG4-3A+3B+3C+3D) =

Grand total In word:

| Name: | [insert full name of signatory] | Signature with Date and Seal |
| --- | --- | --- |
| In the capacity of: | [insert designation of signatory] | [ Sign] |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

Price Schedule for 2nd phase:

| Descrition | Unit | Minimum to be offered (Taka) | To be offered by the tenderer (Taka) |
| --- | --- | --- | --- |
| Price of per unit of electricity (KWh) at 11 kv level for 5 years distribution network management, commercial operation & customer service of NOCS Narinda | Taka per KWh | 6.8000 |  |

| Name: | [insert full name of signatory] | Signature with Date and Seal |
| --- | --- | --- |
| In the capacity of: | [insert designation of signatory] | [ Sign] |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

- Specifications of 230 VOLT 5(60) A  Single Phase PREPAYMENT ELECTRIC ENERGY METER

(To be filled up and signed by the Tenderer & Manufacturer, otherwise the offer will not be acceptable)

| Sl. No. | Name of Item | Unit | Required specifications | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
|  | Reference Standard | - | IEC |  |
|  | Country of Origin |  | To be mentioned |  |
|  | Manufacturer’s Name & address |  | To be mentioned |  |
|  | Place of Manufacturer |  | To be mentioned |  |
|  | Starting Year of Manufacture & Testing |  | To be mentioned |  |
|  | Model of Meter | - | To be mentioned |  |
|  | Generation of the offered Meter |  | To be mentioned |  |
|  | Type | - | Indoor |  |
|  | Installation |  | Indoor installation |  |
|  | Connection | - | 1- phase, 2-wire (unidirectional) |  |
|  | Rated voltage | Volt | 230 |  |
|  | Maximum voltage | Volt | 280 |  |
|  | Basic Current | Amp | <=5 |  |
|  | Maximum Current | Amp | >=60 |  |
|  | Frequency | HZ | 50 |  |
|  | Number of Terminal | No. | 4 |  |
|  | Diameter of Terminal; Bore | mm | 6mm to accommodate 10 mm2 cable |  |
|  | No. of Element (minimum) | No. | 2 (One in Phase & other in Neutral) |  |
|  | Voltage circuit loss at rated voltage | VA & W | 5VA, 2 Watt |  |
|  | Current circuit loss at rated current | VA | 2.5 |  |
|  | Variation of Power factor |  | 0.5 lag to 0.8 lead |  |
|  | Variation of voltage |  | -30% to +30% |  |
|  | Performance Curve |  | To be submitted |  |
|  | Impulse withstand voltage | KV | 6 |  |
|  | Starting current (minimum) | mA | 0.4% of basic current |  |
|  | KWh register type | - | LCD Display |  |
|  | Meter constant | Impulse/ kWhr | To be mentioned |  |
|  | Accuracy class | Class | 1.0 |  |
|  | Type of Battery |  | Lithium Battery |  |
|  | Built in clock |  | Real Time Clock (RTC) as per IEC 62054-21 or updated version |  |
|  | Battery Reserve & Life |  | 10(Ten) Years |  |
|  | No. of Digits for Credit Storage |  | 5+1 |  |
|  | Credit Transfer System |  | To be mentioned |  |
|  | Tariff Structure |  | Utility’s tariff structure |  |
|  | KWhr dispensing register |  | Solid state LCD Display |  |
| 36. | Front Page Indications |  | - Credit Status, - Accept/Reject - Low credit warning - Consumption Rate - Tamper Indication |  |
| 37. | Disconnection Facility |  | - On credit expiry, - Decommissioning state - Exceeded Power threshold - When tampered |  |
| 38. | Provision for emergency Friendly Credit |  | To be Mentioned |  |
| 40. | Time interval of re-calibration (minimum) | Year | 10 |  |
| 41 | Service life (minimum) | Year | 10 |  |
| 42 | Weight of meter | Kg | To be mentioned |  |
| 43 | Overall dimensions (height, width, depth) | mm | To be mentioned |  |
| 44 | Load Control |  | To be mentioned |  |
| 45 | Warranty | Years | 3 Years |  |
| 46 | List of Recommended Spares |  | To be mentioned |  |
| 47 | Any other facility if any |  | To be mentioned |  |
| 48 | Meter body sealing condition |  | Hermatically Sealed/ Unltrasonic Welded |  |
| 49 | Meter terminal cover sealing condition |  | shall have provision for sealing with twist tight seals |  |
| 50 | Lacting relay |  | As per specification mentioned in Section-7.27.3 |  |
| 51 | Communication: RS-485 |  | Shall have RS 485 and suitable for Cascade connection |  |
| 52 | Communication Options |  | Pluggable or Replaceable GPRS/ PLC/RF module compliant to DLMS, COSEM communication protocol Plug-in or Replaceable communication module must be protected. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

- Specifications of 400 VOLT 10(100) A  THREE PHASE PREPAYMENT ELECTRIC ENERGY METER

(To be filled up and signed by the Manufacturer & Tenderer, otherwise the offer will not be acceptable)

| Sl. No. | Name of Item | Unit | Required specifications | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 1. | Reference Standard | - | IEC |  |
| 2. | Country of Origin |  | To be mentioned |  |
| 3. | Manufacturer’s Name & address |  | To be mentioned |  |
| 4. | Place of Manufacturer |  | To be mentioned |  |
| 5. | Year of Manufacture & Testing |  | To be mentioned |  |
| 6. | Model of Meter | - | To be mentioned |  |
| 7. | Generation of the offered Meter |  | To be mentioned |  |
| 8. | Type | - | Indoor |  |
| 9. | Installation |  | Meters are to be installed at easy approachable places in the consumer's premise. |  |
| 10. | Connection | - | 3- phase, 4-wire (unidirectional) |  |
| 11. | Rated voltage | Volt | 400 |  |
| 12. | Maximum voltage | Volt | 500 |  |
| 13. | Basic Current | Amp | <=10 |  |
| 14. | Maximum Current | Amp | >=100 |  |
| 15. | Frequency |  | 50HZ |  |
| 16. | Number of Terminal | No. | 8 |  |
| 17. | Diameter of Terminal; Bore | mm | 8.5mm to accommodate 25 mm2 cable |  |
| 18. | No. of Element | No. | 3 |  |
| 19. | Voltage circuit loss at rated voltage | VA & W | ≤ 5 W and 10 VA |  |
| 20. | Current circuit loss at rated current | VA | 2.5 |  |
| 21. | Variation of Power factor |  | 0.5 lag to 0.8 lead |  |
| 22. | Variation of voltage |  | -30% to +30% |  |
| 23. | Performance Curve |  | To be submitted |  |
| 24. | Impulse withstand voltage | KV | 6 |  |
| 25. | Starting current (minimum) | mA | 0.4% of basic current |  |
| 26. | KWh register type | - | LCD Display |  |
| 27. | Meter constant | Impulse/ kWhr | To be mentioned |  |
| 28. | Accuracy class | Class | 1.0 |  |
| 29. | Type of Battery |  | Lithium Battery, if necessary |  |
| 30. | Built in clock |  | Real Time Clock (RTC) as per IEC 62054-21 or updated version |  |
| 31. | Battery Reserve & Life |  | 10(Ten)Years |  |
| 32. | No. of Digits for Credit Storage |  | 5+1 |  |
| 33. | Credit Transfer System |  | To be mentioned |  |
| 34. | Tariff Structure |  | Utility’s tariff structure |  |
| 35. | KWhr dispensing register |  | Solid state LCD Display |  |
| 36. | Front Page Indications |  | - Credit Status - Accept/Reject - Low credit warning - Consumption Rate - Tamper Indication |  |
| 37. | Disconnection Facility |  | - On credit expiry - Decommissioning state - Exceeded Power threshold - When Tampered |  |
| 38. | Provision for emergency Friendly Credit |  | To be Mentioned |  |
| 39. | Provision for Fixed charge/ Minimum charge |  | To be Mentioned |  |
| 40. | Time interval of re-calibration (minimum) | Year | 10 |  |
| 41. | Service life (minimum) | Year | 10 |  |
| 42. | Weight of meter | Kg | To be mentioned |  |
| 43. | Overall dimensions (height, width, depth) | mm | To be mentioned |  |
| 44. | Warranty | Years | 3 Years |  |
| 45. | List of Recommended Spares |  | To be mentioned |  |
| 46. | Any other facility if any |  | To be mentioned |  |
| 47. | Meter body sealing condition |  | Hermatically Sealed/ Unltrasonic Welded |  |
| 48. | Meter terminal cover sealing condition |  | shall have provision for sealing with twist tight seals |  |
| 49 | Lacting relay |  | As per specification mentioned in Section-7.44.3 |  |
| 50 | Communication: RS-485 |  | Shall have RS 485 and suitable for Cascade connection. |  |
| 51 | Communication : GPRS |  | Meter must have pluggable or replaceable GPRS module compliant to DLMS, COSEM communication protocol. Plug-in or replaceable communication module must be protected. |  |
| 52 | Communication option |  | Pluggable or Replaceable GPRS/ PLC/RF module compliant to DLMS, COSEM communication protocol Plug-in communication module must be protected. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

3.	Specifications of Router (8-port switch integrated) for UVS & UCC

(To be filled up and signed by the Manufacturer & Tenderer, otherwise the offer will not be acceptable)

| Sl No | Name of Item | Unit | Required specifications | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 1 | Brand |  | Any International Reputed Brand: To be mentioned by Tenderer |  |
| 2 | Model |  | To be mentioned by Tenderer |  |
| 3 | Country of origin |  | USA /EU/Japan |  |
| 4 | Country of Assemble |  | To be mentioned by Tenderer |  |
| 5 | Interfaces |  | WAN : 1 x Ethernet 10Base-T/100Base-TX/1000Base-T - RJ-45 WAN : 1 x Ethernet 10Base-T/100Base-TX - RJ-45 LAN : 8 x Ethernet 10Base-T/100Base-TX - RJ-45 Management : 1 x Console - RJ-45, Management : 1 x Auxiliary - RJ-45, Peripheral : Min. 1 x Hi-Speed USB - 4 pin USB, |  |
| 6 | Capacity |  | IPSec VPN tunnels : 50 |  |
| 7 | Remote Management Protocol |  | HTTPS, Telnet, SNMP 3, HTTP, SSH |  |
|  | Encryption Algorithm |  | 256-bit AES, 192-bit AES, PKI, PEAP, 128-bit AES, TKIP, DES, Triple DES, SSL, LEAP |  |
|  | Features |  | DHCP server, DNS proxy, Traffic shaping, Bidirectional Forwarding Detection (BFD), IPv6 support, Content filtering, VLAN support, URL filtering, Intrusion Prevention System (IPS), High Availability, Stateful Failover, Dynamic Multipoint VPN (DMVPN), Weighted Fair Queuing (WFQ), Class-Based Weighted Fair Queuing (CBWFQ), Link Fragmentation and Interleaving (LFI), DiffServ support, IGMP snooping, Stateful Packet Inspection (SPI), NAT support, WAN failover, VPN support, Virtual Route Forwarding-Lite (VRF-Lite), Access Control List (ACL) support, Spanning Tree Protocol (STP) support, Quality of Service (QoS), Load balancing, Auto-uplink (auto MDI/MDI-X), MAC address filtering |  |
|  | RAM |  | 512 MB (installed) / 768 MB (max) |  |
| 8 | Flash Memory |  | 256 MB (installed) / 256 MB (max) |  |
| 9 | Connectivity Technology |  | Wired |  |
| 10 | Network / Transport Protocol |  | L2TPv3, DHCPDNS, IPSec, FTP, L2TP, DDNS |  |
| 11 | Routing Protocol |  | EIGRP, BGP, RIP-1, RIP-2, VRRP, NHRP, GRE, HSRP, PIM-SM, OSPF |  |
| 12 | Power Supply / Device |  | Power adapter External |  |
| 13 | Voltage Required |  | AC 120/230 V |  |
| 14 | Power provided |  | 60 Watt |  |
| 15 | Data Link Protocol |  | Fast Ethernet, Ethernet |  |
| 16 | Enclosure Type |  | Desktop |  |
| 17 | Warranty |  | Full 03 (Three) years replacement and instant service warranty from the date of commissioning. |  |
| 18 | Brand |  | Any International Reputed Brand: To be mentioned by Tenderer |  |
|  | Model |  | To be mentioned by Tenderer |  |
| 19 | Country of origin |  | USA /EU/Japan |  |
| 20 | Country of Assemble | Calendar Year | To be mentioned by Tenderer |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

4.	Specifications of Work Station

(To be filled up and signed by the Manufacturer & Tenderer)

| Sl No. | Name of Item | Unit | Required Specification | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 1 | Brand |  | Any International reputed brand operating in the recognized continental markets for decades. |  |
| 2 | Model |  | To be mentioned by the supplier/tenderer. |  |
| 3 | Country Of Origin |  | North America / EU / Japan |  |
| 4 | Country of Manufacture |  | To be mentioned by the supplier/tenderer. |  |
| 4 | Processor | GHz | Intel core i5-4570 |  |
| 5 | Clock Speed | GHz | 3.2 GHz (min), 6 MB Cache Memory(min) |  |
| 6 | Chipset |  | Intel H81 Express Chipset or higher |  |
| 7 | Bus Speed | Mhz | Min. 1600 MHz |  |
| 8 | RAM | GB | 4 GB or Higher, Expandable to 16 GB |  |
| 9 | HDD | GB | 1 Tera (1024 RPM) |  |
| 10 | Mouse |  | Same Brand USB Scroll Optical Mouse |  |
| 11 | Keyboard |  | Same brand USB Keyboard |  |
| 12 | Graphics |  | Integrated Intel HD 4200 or Higher |  |
| 13 | Monitor | inch | Same brand LED 18.5" Monitor |  |
| 14 | DVD ROM Drive |  | DVD RW Drive |  |
| 15 | Hard disk controller | gbps | Serial ATA 3.0 Gbps or Latest |  |
| 16 | Audio |  | Integrated sound card |  |
| 17 | I/O Ports |  | 8 USB(2 front,6 rear,1 internal ) ,Serial, Parallel, RJ-45 Etc. + Display port 1.2, Mic.in & Headphone out (front) |  |
| 18 | NIC | mbps | Integrated 10/100/1000 Network Card |  |
| 19 | Slots |  | At least 3. 2 PCI, 1 PCIe x1 |  |
| 20 | OS Support |  | Windows 7/8, Linux, etc. |  |
| 21 | OS |  | License windows with recovery kit |  |
| 22 | Software |  | Licensed Anti-Virus Software |  |
| 23 | Brochure and CDs |  | All brochure, instructions, manual and driver CDs to be supplied with the product |  |
| 24 | Connection Cables |  | All necessary power and data connection cables to be supplied along with the product , power cables (3 pin flat) |  |
| 25 | Warranty Period | Calendar Year | Full 03(Three) years replacement and instant service warranty. Replacement time maximum 07(Seven) days. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

5.	Specifications of Laptop

(To be filled up and signed by the Manufacturer & Tenderer)

| Sl No. | Name of Item | Unit | Required Specification | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 1 | Brand |  | Any International reputed brand operating in the recognized continental markets for decades. |  |
| 2 | Model |  | To be Mentioned by the supplier/tenderer. |  |
| 3 | Country of Origin |  | North America / EU/ Japan |  |
| 4 | Country of Manufacturer |  | To be Mentioned by the supplier/tenderer. |  |
| 5 | Processor | GHz | Intel Core i7 Processor,Min. 2.80 GHz or Higher; 4 MB L3 cache |  |
| 6 | RAM | GB | (1x4 GB) 1 DIMM DDR3 |  |
| 7 | Hard Disk Drive | GB, rpm | Min. 1 Tera SATA HDD |  |
| 9 | Combo Drive | nos. | DVD RW Drive |  |
| 10 | Graphics |  | Integrated GMA HD6630M or higher |  |
| 11 | NIC | k | Integrated 56K modem and 10/100/1000 NIC |  |
| 12 | Monitor | inch | HD, True Life Display |  |
| 13 | PC Card |  | Min 1 Type I/II PCMCIA Card Slot |  |
| 14 | Port & Connector |  | Min 3 USB port, 1 X RJ 45 port for LAN, 1 X RJ, External Micro phone, Head Phone + Media Card Reader, Audio Jecks |  |
| 15 | Keyboard |  | Integrated standard Keyboard |  |
| 16 | Pointing Devise |  | Both Touch Pad and one additional USB mouse |  |
| 17 | Webcam |  | Min. 1 Mega Pixel |  |
| 18 | Speaker |  | Integrated Internal Speaker |  |
| 19 | Wireless Technology |  | Wireless LAN and Bluetooth |  |
| 20 | Battery |  | 6 cell lithium ion battery |  |
| 21 | Battery Backup |  | 4 hours or higher with A/C Adapter |  |
| 22 | Weight & Colour | kg | Max 2.2 kg, Black |  |
| 23 | Operating System |  | Windows 7 with Original License and recover CD. |  |
| 24 | Carrying Case |  | Original Standard Carrying Case, Same brand. |  |
| 25 | Software |  | License Anti-Virus Software (Kesperesky/Norton/Semantic) |  |
| 26 | Bangla software |  | Licensed Software with CD (Preferably Lekhoni) |  |
| 27 | Certification |  | FCC class B, ISO 9001: 2000 |  |
| 28 | Warranty Period | Calendar Year | Full 03(Three) years replacement and instant service warranty. Replacement time maximum 07(Seven) days. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

6.	Specifications of Network Laser Printer

(To be filled up and signed by the Manufacturer & Tenderer)

| Sl No. | Name of Item | Unit | Required specifications | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 1 | Brand |  | Any International reputed brand operating in the recognized continental markets for decades. |  |
| 2 | Model |  | To be mentioned by the supplier/tenderer. |  |
| 3 | Country of Origin |  | North America / EU / Japan |  |
| 4 | Country of Manufacturer |  | To be mentioned by the supplier/tenderer. |  |
| 5 | Toner type |  | Toner and associated drum unit in single case, No starter toner. |  |
| 6 | Fuser Unit |  | Instant on fuser technology with ceramic heating elements. |  |
| 7 | Resolution | dpi | 1200 × 1200 dpi (Minimum) |  |
| 8 | Processor | MHz | Min. 800 MHz |  |
| 9 | Printing Speed | ppm | 62-Page-per Minute (Letter), 35 PPM (A4) (min.) |  |
| 10 | First Page Print Out | second | As fast as 8 seconds |  |
| 11 | Memory | MB | 256 MB (Minimum) Expandable to 1 GB |  |
| 12 | Memory Slots |  | 2 DIMM Slots Minimum |  |
| 13 | Interface |  | Jet direct Fast Ethernet embedded print server, two open EIO slots, High Speed USB 2.0 Port & Parallel Port (min.) |  |
| 14 | Languages |  | PCL 6, PCL 5e, POST Script 3 emulation |  |
| 15 | Duty Cycle | page | 2, 75,000 Pages per Month |  |
| 16 | Trays |  | 100 sheet multi-purpose input tray, 2 x 500 sheet input tray 50-sheet face up output tray, 250-sheet face down output tray |  |
| 17 | Media Sizes |  | Letter, Legal, A4, A5, B5 and custom sizes |  |
| 18 | Media Types |  | Paper ( Plain, Preprinted, Letterhead, Bond, Color, Recycled, Rough ),Transparencies, Labels |  |
| 19 | Power Requirements |  | 220-240 V / 50Hz + |  |
| 20 | Client Operating System Supported |  | Windows XP/7/8/Linux etc., server |  |
| 21 | Network Operating System Supported |  | Via HP Jetdirect print server: Me, NT 4.0, 2000, XP, XP 64-bit, Server 2003, Red Hat Linux 6 and later. |  |
| 22 | Network Protocols Supported |  | Via HP Jet direct print server: TCP/IP, HTTP |  |
| 23 | Warranty Period | Calendar Year | Full 03(Three) years replacement and instant service warranty. Replacement time maximum 07 (Seven) days. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

7.	Specifications of UPS off Line

(To be filled up and signed by the Manufacturer & Tenderer, otherwise the offer will not be acceptable)

| Sl No. | Name of Item | Unit | Required specifications | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 1 | Brand |  | Any reputed brand |  |
| 2 | Model |  | To be mentioned by the supplier/tenderer. |  |
| 3 | Country of Origin |  | To be mentioned by the supplier/tenderer. |  |
| 4 | Country of Manufacture |  | To be mentioned by the supplier/tenderer. |  |
| 5 | Technology |  | Off Line |  |
| 6 | Capacity | KVA | 2 |  |
| 7 | Transfer Time | ms | 2 ms. |  |
| 8 | Back-up time | hr. | 2 |  |
| 9 | Wave Shape |  | Simulated Sine Wave. |  |
| 10 | Input Voltage | VAC | 160-270 VAC. |  |
| 11 | Input Frequency | Hz | 50/60Hz. |  |
| 12 | Output Voltage | VAC | 220±5% VAC. |  |
| 13 | Output Frequency | AC | 50/60 Hz±0.5% (AC Input) Auto Tracing. |  |
| 14 | Computer Interface |  | Support RS 232 for UPS monitoring Software. |  |
| 15 | Battery |  | Sealed Maintenance free Lead Acid. |  |
| 16 | Battery Recharging | hrs | 6-8 Hours up to 90% Capacity. |  |
| 17 | Protection |  | Lightning, Spike, Surge, Flicker, Over & under Voltage, Over Load, Short Circuit, Battery low (Deep Discharge) & Noise (EMI/RFI) followed by International Safety Standard. |  |
| 18 | Operating Temperature | °C | 0-40°C. |  |
| 19 | Operating Humidity |  | 10%-90% (Non Condensation). |  |
| 20 | Brochure and CDs |  | All brochure, instruction manual and driver CDs to be supplied with the product. |  |
| 21 | Connection Cables |  | All necessary power and data connection cables to be supplied along with the product. |  |
| 22 | Warranty Period | Calendar Year | Full 03(three) years replacement and instant service warranty. Replacement time maximum 07(Seven) days. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

8.	Specifications of GPRS/EDGE Modem

(To be filled up and signed by the Manufacturer & Tenderer)

| Sl No. | Name of Item | Unit | Required specifications | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 1 | Brand |  | Any International reputed brand operating in the recognized continental markets for decades. |  |
| 2 | Model |  | To be mentioned by the supplier/tenderer. |  |
| 3 | Country of Origin |  | To be mentioned by supplier/tenderer. |  |
| 4 | Country of Manufacture |  | To be mentioned by the supplier/tenderer. |  |
| 5 | Band |  | Quad-band GSM850/EGSM900/DCS1800/PCS1900. |  |
| 6 | SIM |  | Internal SIM interface, Push-push SIM holder. |  |
| 7 | Data |  | EDGE Circuit Switched data. |  |
| 8 | APN |  | Support for multiple APNs. |  |
| 9 | Interface |  | Data interface: USB specification 2.0 compliant full-speed. |  |
| 10 | Display |  | LED display, simple integration via plug & play. |  |
| 11 | Power |  | USB bus-powered, requires no external power supply. |  |
| 12 | Size |  | Highly compact, light and powerful. |  |
| 13 | OS Support |  | OS: Windows 2000/XP or higher. |  |
| 14 | EDGE features | kbps | Data transfer max. 237 kbps.Multi-slot class 10, coding schemes MCS-1 ... MCS-9. |  |
| 15 | SIM Support |  | Must support EDGE Network and SIM. |  |
| 16 | Warranty Period | Calendar Year | Full 03(three) years replacement and instant service warranty. Replacement time maximum 07(Seven) days. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

9.	Specifications of Slip Printer

(To be filled up and signed by the Manufacturer & Tenderer)

| Sl No | Name of Item | Unit | Required specifications | Full Technical Specification & Standard (to be mentioned) |
| --- | --- | --- | --- | --- |
| 01 | Brand |  | Any International reputed brand operating in the recognized continental markets for decades. |  |
| 02 | Model |  | To be mentioned by supplier/tenderer. |  |
| 03 | Country of Origin |  | To be mentioned by supplier/tenderer. |  |
| 04 | Country of Manufacturer |  | To be mentioned by supplier/tenderer. |  |
| 05 | Print Method | PIN | 9 Pin Serial Impact Dot Matrix. |  |
| 06 | Print Speed | LPS | 6.0 LPS(30 Columns: 16 CPI). |  |
| 07 | Data Buffer | KB | 4KB. |  |
| 08 | Inked Ribbon |  | ERC-38(Black/Red). |  |
| 09 | Interface |  | USB Interface, BI-directional parallel. |  |
| 10 | Power Supply (Adapter) | Volt | AC 120 ~240V DC 24V, 1.5A. |  |
| 11 | Auto Cutter |  | Yes. |  |
| 12 | Paper |  | Roll Paper. |  |
| 13 | Driver/Manual | nos. | All Manual, Driver CD/DVD, Power Cable (3 Pin Flat), USB Cable have to be provided. |  |
| 14 | Warranty Period | Calendar Year | Full 03(three) years replacement and instant service warranty. Replacement time maximum 07(Seven) days. |  |

[The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

10.	Specifications of Smart Card Printer for UCC

(To be filled up and signed by the Manufacturer & Tenderer)

| Sl. No. | Name of Item | Required specifications | Manufacturer’s /Tenderer’s Particulars Guaranteed (to be mentioned) |
| --- | --- | --- | --- |
| 01. | Brand | Any international reputed brand. Operating in the recognized continental markets for decades |  |
| 02. | Model | To be mentioned by the supplier/tenderer |  |
| 03. | Country of Origin | North America / EU / Japan |  |
| 04. | Country of Manufacture | To be mentioned by the supplier/tenderer |  |
| 05. | Printing Capabilities | One—or—two sided (Duplex) edge-to-edge printing. Full color or monochrome Ultraviolet fluorescent printing. Continuous tone, full color, black and white photos. Alphanumeric text, logos and digitized signatures variety of bar codes background patterns. |  |
| 06. | Print Speed | Full color print speed: Up to 175 cards per hours (one-sided print and laminate) or higher Up to 165 cards per hour (two sided print and laminate) |  |
| 07. | Capacity | Input & Output hopper: Min. 100 cards |  |
| 08. | Security (Printer Locking) | Hardware locking option includes input hopper key lock, ribbon and laminate key lock, reject tray key lock. |  |
| 09. | Lamination & Topcoat Capabilities | Topcoat and Patch Lamination Capability in addition to ribbon topcoat. |  |
| 10. | Connectivity | Direct connect 10/100 Based-T Ethernet & Bi-directional USB. |  |
| 11. | O/S Support | Support for Window 2000 and XP. |  |
| 12. | Printer Driver | User adjustable image and color controls; Color image and test card preview; Online user help. |  |
| 13. | Operating Environment | Audible and visual message prompts; Automatic card feed; Operator replaceable print head; Quick change ribbon and laminated cartridges. |  |
| 14. | Ribbon Usage Technology | Automatic identification and validation for ribbons, laminates and overlays; Ribbon low warming; Ribbon server. |  |
| 15. | Plastic Cards | ISO ID-1/CR-80 Size Cards 3.370in. X 2.125 in. (85.6mm X 53.98 mm) |  |
| 16. | Certifications | FCC Emissions, European EMC: Emissions. |  |
| 17. | Warranty Period | Full 03 (Three) years replacement and instant service warranty from the date of commissioning. |  |

The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

11. Specifications of of Smart Card Reader/Writer

(To be filled up and signed by the Manufacturer & Tenderer)

| Item No | Name of Item | Required specifications | Manufacturer/Tenderer Particulars Guaranteed (to be mentioned) |
| --- | --- | --- | --- |
| 01. | Manufacturer Name | To be mentioned by supplier/tenderer. |  |
| 02. | Manufacturer Address | To be mentioned by supplier/tenderer. |  |
| 03. | Model no. | To be mentioned by supplier/tenderer. |  |
| 04. | Country of Origin | To be mentioned by supplier/tenderer. |  |
| 05. | Features | USB PnP or Serial interface to PC with simple command structure. Read and write SLE4428 or 100% compatible 1K Byte EEPROM Memory Card. SLE 4418/4428 intelligent 1 K byte EEPROM with write-protect function: SLE 4418/SLE 4428 |  |
| 06. | Power supply | Supply voltage- Regulated 5V DC Supply current - <100mA (without smart card) |  |
| 07. | Serial Communication Interface | Type - RS-232C, five lines: RxD, TxD, CTS, DTR, GND Power Souce - From PS/2 mouse interface Speed - Min. 1.5 Mbps (Low Speed) |  |
| 08. | Universal Serial Bus Interface | Power Source - From USB Speed - 1.5 Mbps (Low Speed) |  |
| 09. | Smart Card Interface | As per supplied smart card with meter |  |
| 10. | Operating System | Windows XP/7 or Above |  |
| 11. | Warranty | Full 03 (Three) years replacement and instant service warranty from the date of commissioning. |  |

The Tenderer should complete all the columns as required]

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

12. Specifications of 400Volt 3-phase, 4-Wire, 3-Element, CT Operated Programmable Type Solid State Energy Meter with AMR

(to be filled up properly, then to be signed and sealed by both  bidder & manufacturer, otherwise the bid will be treated as non-responsive)

| Sl. No. | Description | Unit | Required Specification | Manufacturer’s Particulars |
| --- | --- | --- | --- | --- |
| 01 | Reference standard |  | IEC 62053-22 |  |
| 02 | Mfg’s Name and Address |  | Shall be mentioned |  |
| 03 | Mfg’s Type/ Model |  | Shall be mentioned |  |
| 04 | Connection |  | 3-Phase, 4-Wire, CT Operated. |  |
| 05 | Installation |  | Indoor type |  |
| 06 | Number of Element |  | 3 |  |
| 07 | Rated Voltage | Volt. | 400 |  |
| 08 | Rated frequency | Hz. | 50± 5%. |  |
| 09 | Variation of Voltage | % | +20% to -20% |  |
| 10 | Accuracy Class |  | Maximum 0.5 |  |
| 11 | Rated Current (In) | A | (5 |  |
| 12 | Maximum Current | A | (10 |  |
| 13 | Number of Digit ( Integral & Decimal) |  | At least (7+1) |  |
| 14 | Power Consumption | Watt & VA | ≤ 1.5Watt; (max. 5VA/phase in voltage circuit and max 3VA in current circuit) |  |
| 15 | Starting Current. | mA | 0.001In at Unity PF |  |
| 16 | Minimum Biasing Voltage | V | 40V |  |
| 17 | Power factor range |  | 0 lag – unity – 0 lead |  |
| 18 | Meter memory |  | non - volatile |  |
| 19 | IP protection rating |  | IP 54 |  |
| 20 | Maximum Demand Register Type of Register Integration period. Cumulating Time Class of Accuracy Resetting period Cumulative MD transfer Cycle Timing Devices No. of Digit( Integral & Decimal) |  | Shall be mentioned |  |
| 21 | Size of Digit of Display | WxH | W=(5~7);H=(8~10)mm |  |
| 22 | No. of Terminal | Nos. | 10 (ten) |  |
| 23 | Battery life | Years. | minimum 10( ten) yrs. |  |
| 24 | Service life | Year | minimum 10 (ten) |  |
| 25 | Weight of Meter | Kgs. | Shall be mentioned |  |
| 26 | Terminal size of connector for using conductor | Sq.mm | 4 |  |
| 27 | a) Remote meter-readout facility |  | shall have this feature |  |
|  | b) Communication protocol used (must be open communication protocol) |  | DLMS and COSEM |  |
|  | c) Meter terminal sealing provision with twist tight seal |  | shall have this feature |  |
|  | d) Baud rate of data transmission |  | Shall be mentioned |  |
|  | e) Optical communication port |  | Shall be provided |  |
|  | f) Software and necessary data cables to be used for downloading meter data |  | Shall be provided |  |
|  | g) necessary interfacing cables and software to read meter reading directly from memory chip by opening the front cover from damaged meters/ meters with no display (this is an optional requirement) |  | preferrable |  |
|  | h) Meter body sealing condition |  | shall be ultrasonically welded |  |
| 28 | Time of Day Zones (Selectable) |  | shall have this feature |  |
| 29 | Anti tamper features |  | Shall be mentioned |  |
| 30 | Dimension | (mm x mm x mm) | Shall be mentioned |  |
| 31 | Outlined Drawing/Leaflets |  | Shall be mentioned |  |
| 32 | Year of Manufacture |  | Shall be mentioned |  |
| 33 | Type Test Report |  | Shall be provided |  |
| 34 | Performance curve for balanced and unbalanced load. |  | Shall be provided |  |
| 35 | Country of Origin |  | Shall be mentioned |  |
| 36 | Place of Manufacture |  | Shall be mentioned |  |
| 37 | Place of Inspection and Testing |  | factory premises of manufacturer |  |
| 38. | Communication module/device (GPRS/EDGE MODEM) for AMR |  | Shall be furnished |  |
| 39. | Warranty | years | 3 Years |  |

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

13. Specifications of CT Operated DT Metering Unit

(to be filled up properly, then to be signed and sealed by both  bidder & manufacturer, otherwise the bid will be treated as non-responsive)

| Sl. No. | Description | Unit | Required Specification | Supplier’s Particulars |
| --- | --- | --- | --- | --- |
| 01. | Applied Standard |  | IEC |  |
| 02. | Manufacturers name and Address |  | Shall be mentioned |  |
| 03. | Type /Model of Box/Panel |  | Shall be mentioned |  |
| 04. | Materials and Thickness of the Box/ Panel | 1.6mm | The meter box shall be made of minimum 1.6 mm metal sheet duly powder coated, having two compartment of housing- meter, Test Terminal Block in the upper compartment & CT, bus bars in the lower compartment. CT compartment shall have Copper Bus of adequate ampere rated having incoming & Outgoing power cable termination. Suitable glands plate having 08 (eight) hole for cable entry & exits. The diameter of each hole is 38 mm with provision of Locking, Sealing. |  |
| 05. | Rated Voltage Rating | V | 400 |  |
| 06. | Maximum Voltage | V | 460 |  |
| 07. | Connection |  | 3-Phase, 4-wire, 3-Element, Solidly grounded neutral |  |
| 08. | Dimension | mm x mm x mm | Shall be mentioned. |  |
| 09. | Weight | Kg. | Shall be mentioned. |  |
| 10. | Installation of Metering unit |  | The metering unit will be installed with existing pole mounted 11/.0415 kV distribution transformer. The metering unit shall have sealing provisions. The unit shall be weather proof and dust proof. |  |
| 11. | MCCB |  | The MCCB shall be installed inside the DT metering unit and shall have provision to operate from outside the enclosure of metering unit |  |
| 12. | MODEM |  | The MODEM shall be installed inside the DT metering unit. If necessary, the antenna of MODEM can be located outside the metering unit. |  |
| 13. | Reference Drawing |  | Shall be furnished. |  |
| 14. | Sealing provision |  | Shall have provision for sealing with twist tight seals |  |
| 15. | Country of Origin |  | Shall be mentioned. |  |
| 16 | Place of Manufacture |  | Shall be mentioned. |  |
| 17 | Year of manufacture |  | Shall be mentioned. |  |
| 18 | Warranty | years | 3 Years |  |
| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

13. Specifications of Current Transformer (CT) for CT Operated 400V Energy Meter

(to be filled up properly, then to be signed and sealed by both  bidder & manufacturer, otherwise the bid will be treated as non-responsive)

| Sl. No. | Description | Unit | Required Specification | Supplier’s Particulars |
| --- | --- | --- | --- | --- |
| 01. | Reference Standard |  | IEC 60044-1 |  |
| 02. | Mfg’s Name and Address |  | Shall be mentioned |  |
| 03. | Mfg’s Type/ Model of CT |  | Shall be mentioned |  |
| 04. | Construction |  | Outdoor Type. |  |
| 05 | Rated System Voltage (Phase to Phase) | V | 400 phase to phase |  |
| 06. | Maximum System Voltage. (Phase to Phase) | V | 460 phase to phase |  |
| 07. | Rated frequency | Hz. | 50 ± 5% |  |
| 08. | Transformation ratio |  | 400/5A |  |
| 09. | Number of Phase |  | Single |  |
| 10. | Number of Secondary winding. |  | Single |  |
| 11. | Rated Secondary Burden (Suitable for offered meter) | VA | 15 (maximum) |  |
| 12. | Extended current rating | % | 120 |  |
| 13 | Accuracy class | % | Maximum 0.5 |  |
| 14. | Weight | Kg. | Shall be mentioned |  |
| 15. | Outlined Drawing/leaflets |  | Shall be submitted |  |
| 16. | Country of origin |  | Shall be mentioned |  |
| 17. | Place of Manufacturer |  | Shall be mentioned |  |
| 18. | Year of Manufacturer |  | Shall be mentioned |  |
| 19. | Warranty | years | 3 Years |  |

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

15. Specifications of 110V, 3- PHASE, 4-WIRE, 3- ELEMENT, 5 AMPS SOLID STATE PROGAMMABLE TYPE ENERGY METER WITH AMR

(to be filled up properly, then to be signed and sealed by both  bidder & manufacturer, otherwise the bid will be treated as non-responsive)

| SL NO | DESCRIPTION | UNIT | REQUIRED SPECIFICATION | MANUFACTURER’S PARTICULARS |
| --- | --- | --- | --- | --- |
| 1. | Manufacturers name and Address |  | shall be mentioned |  |
| 2. | Model of Meter |  | shall be mentioned |  |
| 3. | Accuracy Class |  | maximum 0.5 |  |
| 4. | Type |  | Indoor |  |
| 5. | Reference standard |  | shall be mentioned |  |
| 6. | Connection |  | 3 phase, 4 wire, CT & PT operated |  |
| 7. | Number of element |  | 3 |  |
| 8. | Installation |  | Indoor pad/floor mounted in weatherproof box. |  |
| 9. | Parameters to be displayed |  | As specified in tender specification |  |
| 10. | Power factor range |  | 0 lag – unity – 0 lead |  |
| 11. | Rated current (In) | A | (5 |  |
| 12. | Maximum current | A | (10 |  |
| 13. | Starting current | mA | 0.1 % of In |  |
| 14. | Rated voltage (Vref) |  | 110V/√3 from PT secondary |  |
| 15. | Minimum biasing voltage |  | 40V |  |
| 16. | Variation of voltage at which meter functions normally |  | -20% to +20% of Vref |  |
| 17. | Rated frequency | Hz | 50 |  |
| 18. | Maximum demand register -Type of register -Integration period -Cumulative time -Resetting period -Cumulative MD transfer cycle -Timing Devices -No. of Digit (Integral & Decimal) |  | Shall be mentioned |  |
| 19. | Power loss in voltage & current circuit | VA | shall be mentioned |  |
| 20. | Display Type |  | Seven segment, seven digit Liquid Crystal Display (LCD) with backlit or LED, |  |
| 21. | Size of digit of display | W×H | W=(5~7);H=(8~10)mm |  |
| 22. | No. of display digit ( Integral and decimal) |  | At least (7+1) |  |
| 23. | No. of terminal |  | 10(ten) |  |
| 24. | Terminal size | sq.mm | 4 |  |
| 25. | Battery life (minimum) | years | 10(ten) |  |
| 26. | Service life (minimum) | years | 10(ten) |  |
| 27. | memory type |  | Non volatile |  |
| 28. | Weight of meter |  | Shall be mentioned |  |
| 29. | Dimensions |  | Shall be mentioned |  |
| 30. | Warranty | year | 2 years from receiving at store |  |
| 31. | Out line drawing |  | Shall be submitted |  |
| 32 | Printed catalogue |  | Shall be submitted |  |
| 33. | a) Remote meter-readout facility |  | shall have this feature |  |
|  | b) Communication protocol used (must be open communication protocol) |  | DLMS and COSEM |  |
|  | c) Meter terminal sealing provision with twist tight seal |  | shall have this feature |  |
|  | d) Baud rate of data transmission |  | Shall be mentioned |  |
|  | e) Optical communication port |  | To be provided |  |
|  | f) Software to be used for downloading meter data |  | Shall be submitted in CD/DVD format |  |
|  | g) Meter body sealing condition |  | shall be ultrasonically welded |  |
|  | h) necessary interfacing cables and software to read meter reading directly from memory chip by opening the front cover from damaged meters/ meters with no display (this is an optional requirement) |  | preferrable |  |
| 34. | Type test certificates |  | Shall be submitted |  |
| 35. | Time of Day Zones (Selectable) |  | shall have this feature |  |
| 36. | Anti tamper features |  | Shall be mentioned |  |
| 37. | IP protection rating |  | IP 54 or better |  |
| 38. | Performance curve for balanced and unbalanced load |  | Shall be submitted |  |
| 39. | Place of manufacture |  | Shall be mentioned |  |
| 40. | Year of manufacture |  | Shall be mentioned |  |
| 41. | Communication module / device (GPRS/EDGE MODEM) for AMR |  | Shall be furnished |  |
| 42. | Warranty | years | 3 Years |  |

| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| --- | --- |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Specifications Submission and Compliance Sheet (Form PG4-4)

| Invitation for Tender No: |  | Date: |  |
| --- | --- | --- | --- |
| Tender Package No: |  | Package Description: | [enter description as specified in Section 6] |

16. Specifications of MCCB to be used inside 400V DT metering Unit

(to be filled up properly, then to be signed and sealed by both  bidder & manufacturer, otherwise the bid will be treated as non-responsive)

| SL NO | DESCRIPTION | UNIT | REQUIRED SPECIFICATION | MANUFACTURER’S PARTICULARS |
| --- | --- | --- | --- | --- |
| 1 | Name and address of manufacturer |  | Shall be mentioned |  |
| 2 | Type/Model |  | Shall be mentioned |  |
| 3 | Country of Origin |  | USA/UK/Japan/France/Switzerland/Germany |  |
| 4 | Country of manufacture |  | USA/UK/Japan/France/Switzerland/Germany |  |
| 5 | Standard |  | Shall be in accordance to IEC 60947-1 and 60947-2, or equivalent international standards. |  |
| 6 | General |  | Must coordinate with 11KV, Expulsion type 20Amps fuse, fitted at upstream of the 200 KVA transformer |  |
| 7 | Application |  | For 11KV/ 200 KVA Transformer secondary and/or feeder protection. |  |
| 8 | Installation |  | Outdoor, inside pole mounted DT metering panel |  |
| 9 | Frame current size |  | 400 AF. |  |
| 10 | Rated operating voltage | V | 415V |  |
| 11 | Rated Insulation Voltage | V | ≥ 750V |  |
|  | Rated Impulse withstand Voltage i.e. Uimp | kV | ≥ 8.0KV |  |
| 12 | System frequency | Hz | 50±3% |  |
| 13 | Number of Poles |  | 3 (three), for three phase operation. |  |
| 14 | Rated continuous current | A | 400 Amperes. |  |
| 15 | Rated Service Short Circuit Breaking Capacity | KA | shall be mentioned |  |
| 16 | Construction |  | Contacts shall be made of silver alloy bolted terminal for front wire on entry from top and bottom. |  |
| Signature: Name & Designation of tenderer | Signature Name and Designation of Manufacturer |
| Duly authorised to sign the Tender for and on behalf of the Tenderer |

## Manufacturer’s Authorisation Letter (Form PG4 - 5)

[The Tenderer shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer.  The Tenderer shall include it in its tender, if so indicated in the TDS as stated under ITT Sub-Clause26.1(b)]

| Invitation for Tender No: | Date: |
| --- | --- |
| Tender Package No: |  |
| Tender Lot No: |  |
| To: Name and address of Purchaser] |  |

WHEREAS

We [insert complete name of Manufacturer],

who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of Manufacturer’s factories], do hereby

authorize [insert complete name of Tenderer] to  supply the following Goods, manufactured by us [insert name and or brief description of the Goods].

We hereby extend our full guarantee and warranty as stated under GCC Clause 33 of the General Conditions of Contract, with respect to the Goods offered by the above Tenderer.

Signed: [insert signature(s) of authorized representative(s) of the Manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the Manufacturer]

Address: [insert full address including Fax and e-mail]

Title: [insert title]

Date: [insert date of signing]

## Bank Guarantee for Tender Security (Form PG4 – 6)

[this is the format for the Tender Security to be issued by a scheduled bank

of Bangladesh as stated under ITT Clauses 29 and 30]

| Invitation for Tender No: | Date: |
| --- | --- |
| Tender Package No: |  |
| Tender Lot No: |  |
| To: [Name and address of Purchaser] |  |

TENDER GUARANTEE No:

We have been informed that [insert name of Tenderer] (hereinafter called “the Tenderer”) intends to submit to you its Tender dated [insert date of Tender] (hereinafter called “the Tender”) for the supply of [description of goods and related services] under the above Invitation for Tenders (hereinafter called “the IFT”).

Furthermore, we understand that, according to your conditions, Tenders must be supported by a Bank Guarantee for Tender Security.

At the request of the Tenderer, we [insert name of bank] hereby irrevocably undertake to pay you, without cavil or argument, any sum or sums not exceeding in total an amount of Tk [insert amount in figures and in words] upon receipt by us of your first written demand accompanied by a written statement that the Tenderer is in breach of its obligation(s) under the Tender conditions, because the Tenderer:

- has withdrawn its Tender after opening of Tenders but within the validity of the  Tender Security ; or

- refused to accept the Notification of Award (NOA)  within the period as stated under Instructions to Tenderers (ITT) ; or

- failed to furnish Performance Security within the period as stipulated in the NOA; or

- refused to sign the Contract Agreement by the time specified in the NOA; or

- did not accept the correction of the Tender price following the correction of the arithmetic errors in accordance with the ITT; or

This guarantee will expire:

- if the Tenderer is the successful Tenderer, upon our receipt of a copies of the contract signed by the Tenderer and the Performance Security  issued to you in accordance with the  ITT; or

- if the Tenderer is not the successful Tenderer,  twenty eight (28) days after the expiration of the Tenderer’s Tender validity period, being [date of expiration of the Tender validity plus twenty eight(28) days]

Consequently, we must receive at the above-mentioned office any demand for payment under this guarantee on or before that date.

| Signature | Seal |
| --- | --- |

## Notification of Award (Form PG4 - 7)

| Contract No: | Date: |
| --- | --- |
| To: [Name of Contractor] |  |

This is to notify you that your Tender dated [insert date]  for the supply of Goods and related Services  for [name of contract] for the Contract Price of Tk [state amount in figures and in words] as corrected and modified in accordance with the Instructions to Tenderers, has been approved by [name of Purchaser].

You are thus requested to take following actions:

    - accept in writing the Notification of Award within seven (7) working days of its issuance pursuant to ITT Sub-Clause 62.3

    - furnish a Performance Security in the specified format  and in the amount of Tk [state amount in figures and words] ,within Twenty-eight (28) days from issue of this Notification of Award but not later than (specify date), in accordance with ITT Clause 64.2

    - sign the Contract within twenty eight (28 ) days of issuance of this Notification of Award but not later than (specify date), in accordance with ITT Clause 67.2

You may proceed with the execution of the supply of Goods and related Services only upon completion of the above tasks. You may also please note that this Notification of Award shall constitute the formation of this Contract, which shall become binding upon you.

We attach the draft Contract and all other documents for your perusal and signature.

|  | Signed |
| --- | --- |
|  | Duly authorised to sign for and on behalf of [name of Purchaser] |
|  | Date: |

## Contract Agreement (Form PG4 - 8)

THIS AGREEMENT made the [day] day of [month] [year] between [name and address of Purchaser] (hereinafter called “the Purchaser”) of the one part and [name and address of Supplier] (hereinafter called “the Supplier”) of the other part:

WHEREAS the Purchaser invited Tenders for certain goods and related services, viz, [brief description of goods and related services] and has accepted a Tender by the Supplier for the supply of those goods and related services in the sum of Taka [Contract Price in figures and in words] (hereinafter called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

      - In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the General Conditions of Contract hereafter referred to.

      - The following documents forming the Contract shall be in the following order of precedence, namely :

- the signed Form of Contract Agreement;

- the  Notification of Award

- The Tender and the appendices to the Tender

- Particular Conditions of Contract;

- General Conditions of Contract;

- Technical Specifications;

- Drawings;

- Price Schedules and Schedule of Requirements and;

- Other document including correspondences listed in the PCC forming part of the Contract

      - In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the goods and related services and to remedy any defects therein in conformity in all respects with the provisions of the Contract.

      - The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the goods and related services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of Bangladesh on the day, month and year first written above.

|  | For the Purchaser: | For the Supplier: |
| --- | --- | --- |
| Signature |  |  |
| Print Name |  |  |
| Title |  |  |
| In the presence of Name |  |  |
| Address |  |  |

## Bank Guarantee for Performance Security (Form PG4 – 9)

[This is the format for the Performance Security to be issued by an internationally reputable bank and it shall have correspondent bank located in Bangladesh, to make it enforceable in accordance with ITT Sub-Clause 64.1 pursuant to Rule 27(4) of the Public Procurement Rules, 2008.]

| Contract No: | Date: |
| --- | --- |
| To: [Name and address of Purchaser] |  |

PERFORMANCE GUARANTEE No: [insert Performance Guarantee number]

We have been informed that [name of supplier] (hereinafter called “the Supplier”) has undertaken, pursuant to Contract No [reference number of Contract] dated [date of Contract] (hereinafter called “the Contract”) for the supply of [description of goods and related services] under the Contract.

Furthermore, we understand that, according to your conditions, Contracts must be supported by a performance guarantee.

At the request of the Supplier, we [name of bank] hereby irrevocably undertake to pay you, without cavil or argument, any sum or sums not exceeding in total an amount of Tk [insert amount in figures and in words] upon receipt by us of your first written demand accompanied by a written statement that the Supplier is in breach of its obligation(s) under the Contract conditions, without you needing to prove or show grounds or reasons for your demand of the sum specified therein.

This guarantee is valid until [date of validity of guarantee], consequently, we must receive at the above-mentioned office any demand for payment under this guarantee on or before that date.

[Signatures of authorized representatives of the bank]

| Signature | Seal |
| --- | --- |

## Bank Guarantee for Advance Payment (Form PG4 – 10)

N.A.

[this is the format for the Advance Payment Security to be issued by an internationally reputable bank and it shall have correspondent bank located in Bangladesh, to make it enforceable in accordance with GCC Clause 27.1]

| Contract No: | Date: |
| --- | --- |
| To: [Name and address of Purchaser] |  |

ADVANCE PAYMENT GUARANTEE No:

We have been informed that [name of supplier] (hereinafter called “the Supplier”) has undertaken, pursuant to Contract No [reference number of Contract] dated [date of Contract] (hereinafter called “the Contract”) for the supply of [description of goods and related services] under the Contract.

Furthermore, we understand that, according to your Particular Conditions of Contract Clause 26.1, Advance Payment(s) on Contracts must be supported by a bank guarantee.

At the request of the Supplier, we [name of bank] hereby irrevocably undertake to pay you, without cavil or argument, any sum or sums not exceeding in total an amount of Tk [insert amount in figures and in words] upon receipt by us of your first written demand accompanied by a written statement that the Supplier is in breach of its obligation(s) under the Contract conditions, without you needing to prove or show grounds or reasons for your demand of the sum specified therein.

We further agree that no change, addition or other modification of the terms of the Contract to be performed, or of any of the Contract documents which may be made between the Purchaser and the Supplier, shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

This guarantee is valid until [date of validity of guarantee], consequently, we must receive at the above-mentioned office any demand for payment under this guarantee on or before that date.

[Signatures of authorized representatives of the bank]

| Signature | Seal |
| --- | --- |

# Section-6: Schedule of Requirements

Section-6: Schedule of Requirements

| Invitation for Tender No: |  | Date |  |
| --- | --- | --- | --- |
| Tender Package No: |  |  |  |

Notes on Schedule of Requirements

Objectives The objectives of the Schedule of Requirements are (a) To provide sufficient information on the quantities of Works to be performed to enable Tenders to be prepared efficiently and accurately; and (b) When a Contract has been entered into, to provide a priced (Schedule of Requirement) for use in the periodic valuation of Works executed. In order to attain these objectives, Works should be itemized in the (Schedule of Requirement) in sufficient detail to distinguish between the different classes of Works, or between Works of the same nature carried out in different locations or in other circumstances which may give rise to different considerations of cost. Consistent with these requirements, the layout and content of the (Schedule of Requirement) should be as simple and brief as possible. Day work Schedule A Day work Schedule should be included only if the probability of unforeseen work, outside the items included in the (Schedule of Requirement), is high. To facilitate checking by the Employer of the realism of rates quoted by the Tenderers, the Daywork Schedule should normally comprise the following: (a) a list of the various classes of labour, materials, and construction plant for which basic Daywork rates or prices are to be inserted by the Tenderer, together with a statement of the conditions under which the Contractor will be paid for work executed on a Daywork basis. (b) nominal quantities for each item of Daywork, to be priced by each Tenderer at Daywork rates as Tender. The rate to be entered by the Tenderer against each basic Daywork item should include the Contractor’s profit, overheads, supervision, and other charges. Provisional Sums A general provision for physical contingencies (quantity overruns) may be made by including a provisional sum in the Summary Schedule of Requirement. Similarly, a contingency allowance for possible price increases should be provided as a provisional sum in the Summary Schedule of Requirement. The inclusion of such provisional sums often facilitates budgetary approval by avoiding the need to request periodic supplementary approvals as the future need arise. Where such provisional sums or contingency allowances are used, the PCC should state the manner in which they will be used, and under whose authority (usually the Engineer’s). The estimated cost of specialized work to be carried out, or of special goods to be supplied, by other Contractors should be indicated in the relevant part of the Schedule of Requirementas a particular provisional sum with an appropriate brief description. A separate procurement procedure is normally carried out by the Employer to select such specialized Contractors. To provide an element of competition among the Tenderers in respect of any facilities, amenities, facilities, attendance, etc., to be provided by the successful Tenderer as prime Contractor for the use and convenience of the specialist Contractors, each related provisional sum should be followed by an item in the Schedule of Requirementinviting the Tenderer to quote a sum for such amenities, facilities, attendance, etc. Correction of Errors If in preparing its Tender, the Tenderer has made errors in the unit price or the total price, and wishes to correct such errors prior to submission of its Tender, it may do so, but shall ensure that each correction is suitable initialled by the authorised person of the Tenderer and that a statement shall be made as to the total number of corrections made, at the end of the priced Schedule of Requirement.

A.	List of Goods, Works, Services and Delivery Schedule

When completing Form PG4-3A, 3B & 3C the Tenderer shall quote prices and contract delivery dates for each lot separately, as specified in the List of Goods and Delivery Schedule.

| Sl. No. | Description of Items | Unit of Measurement | Quantity | Point of Delivery [Final (Project Site) Destination as specified in TDS] | Delivery Date Required (in weeks) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Earliest Delivery Date | Latest Delivery Date |
| 1 | Design, Manufacture, Supply, Installation, Testing & Commissioning of Utility Vending Station (UVS) | Nos. | 4 | Designated stores/sites of the project |  | This is a turn key contract. The contract will be completed in 2 phases. In the first phase Delivery, Installation, Testing & Commissioning of goods and other required works/services including training shall be completed within 6 months from the date of contract signing. The 2nd phase shall continue up to 5 yrs. from the dtae of issueance of Taking over certificate. |
| 2 | Design, Manufacture, Supply, Installation, Testing & Commissioning of Utility Customization Center (UCC) | Nos. | 1 | Designated stores/sites of the project |  |  |
| 3 | Design, Manufacture, Supply, Installation, Testing & Commissioning of single phase & three phase pre-paid energy meters including MODEM with three phase meters and 10% spare smart card | Nos. | 1Ø=21,000 3Ø=4,000 | Designated stores/sites of the project |  |  |
| 4 | Design, Manufacture, Supply, Installation, Testing & Commissioning of CT Operated 400 V DT metering with energy meter class:0.5, MODEM, CTs with 400/5 CT ratio, class of CT:0.5 . i.e.complete in all respect | Nos. | 300 | Designated stores/sites of the project |  |  |
| 5 | Design, Manufacture, Supply, Installation, Testing & Commissioning of CT-PT Operated 110V, 0.5 class Energy meter with MODEM. i.e complete in all respect | nos. | 50 | Designated stores/sites of the project |  |  |
| 6 | Design, Manufacture, Supply, Installation, Testing & Commissioning of AMR server, software, UPS and necessary items | Lot | 1 | designated location |  |  |
| 7 | Replacement of existing postpaid meters & service drops and return to DPDC store | lot | 1 | Designated stores/sites of the project |  |  |
| 8 | Manpower Training | MM | Local Training: 20 MM |  |  |  |
| 9 | Distribution network management, commercial operation and customer service of NOCS Narinda for 5 yrs. after completion of 1st phase | per month | 60 months |  |  |  |

Network

The MIC, the CDC and the DRS will be assigned with real IP address.

| Sl. No. | Description of Items | Description of the Network | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 01 | The MIC to the 4 nos UVS & 1 no. UCC. This is a physical connection via fiber optical line | Dedicate leased fiber line(like DDN) from dual source @minimum 2mbps A secured & separate APN Alive network for 24x7 round the clock A fixed static IP scheme Bi-directional(Full Duplex) @minimum 1Gbps twisted pair (RJ45) | per month per location | 6 months at 5 locations |
| 02 | The MIC to the 4 nos. UVS & 1 no. UCC. Wireless connection. | GPRS/EDGE/EVDO or other. Different Locations under DPDC. Chosen Data Service Network Provider so the every other operated on air mobile operators will be available for necessary communication amongst them and that has to be ensured. A secured & separate APN. A fixed static IP scheme. Bi-directional (Full Duplex). | per month per location | 6 months at 5 locations |
| 03 | The MIC to Online 3-phase meters. This is a Wireless connection. | GPRS/EDGE/EVDO or other. Different Locations under DPDC. Chosen Data Service Network Provider so the every other operated on air mobile operators will be available for necessary communication amongst them and that has to be ensured. A secured & separate APN. A fixed static IP scheme. Bi-directional (Full Duplex). | per month per Meter | 4000 nos. meters for 6 months |
| 04 | AMR meter to AMR server This is a Wireless connection. | GPRS/EDGE/EVDO or other. Different Locations under DPDC. Chosen Data Service Network Provider so the every other operated on air mobile operators will be available for necessary communication amongst them and that has to be ensured. A secured & separate APN. A fixed static IP scheme. Bi-directional (Full Duplex). | per month per Meter | 350 nos. meters for 6 months |

| Point of Delivery (Location and address) |  |
| --- | --- |
| Delivery Date: (a) Earliest Delivery Date (b) Latest Delivery Date |  |

Utility Vending Station (UVS)

Hardware

| Sl. No. | Description of Items | Unit of Measurement | Quantity |
| --- | --- | --- | --- |
| 1 | Workstation | Nos. | 2 |
| 2 | Smart Card Reader/writer | Nos. | 2 |
| 3 | GRPS/EDGE/EVDO Modem | Nos. | 1 |
| 4 | SIM Card | Nos. | 1 |
| 5 | Slip Printer | Nos. | 2 |
| 6 | Laser Printer | Nos. | 1 |
| 7 | Router & Switch | Nos. | 1 |
| 8 | Laptop | Nos. | 1 |
| 9 | UPS 2 KVA 2 hr. backup | Nos. | 1 |
| 10 | AC ( 2 ton) with related material and services | Nos. | 1 |
| 11 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. | Lot | 1 |
| 12 | Civil Works: Infra-structure development for the UVS | each | 1 |

| Point of Delivery (address of location) |  |
| --- | --- |
| Delivery Date: (a) Earliest Delivery Date (b) Latest Delivery Date |  |

Utility Customization Center   (UCC)

Hardware

| Sl. No. | Description of Items | Unit of Measurement | Quantity |
| --- | --- | --- | --- |
| 1 | Workstation | Nos. | 2 |
| 2 | Smart Card Reader/writer | Nos. | 2 |
| 3 | GRPS/EDGE/EVDO Modem | Nos. | 1 |
| 4 | SIM Card | Nos. | 1 |
| 5 | Slip Printer | Nos. | 2 |
| 6 | Laser Printer | Nos. | 1 |
| 7 | Router & Switch | Nos. | 1 |
| 8 | Laptop | Nos. | 1 |
| 9 | UPS 2 KVA 2 hr. backup | Nos. | 1 |
| 10 | AC ( 2 ton) with related material and services | Nos. | 1 |
| 11 | Smart card printer | Nos. | 1 |
| 12 | Commissioning of hardwares and LAN set up with necessary modular, cat cable, connectors, channel etc. | Lot | 1 |
| 13 | Civil Works: Infra-structure development for the UVS | each | 4 |

| Point of Delivery (address of location) |  |
| --- | --- |
| Delivery Date: (a) Earliest Delivery Date (b) Latest Delivery Date |  |

Section-7:	Technical Specifications

Section-7: General Specification

# The Principle

For a stable and efficient electricity distribution system and an effective and trust worthy revenue collection system a country wide Pre-Paid Metering System is evident. As the technology advancement reaches at its peak for peace to help the utility companies to manage a well-organized electricity distribution system, the utility companies no need to rely on conventional metering system. An adaptation of Pre-Paid Metering System can change the needs and the requirements of better solution for the utility companies that make the whole distribution system more dynamic and digitally enhanced. By introducing the features and advantages of the Pre-Paid Metering System that will not only provide freedom of the consumers but also generate a pace in collection strategy of the utility companies in comfort eliminating all kinds of confusion and havoc of corruption.

Digital Metering System brings a quantum leap in energy calculation in accuracy. But eventually most of the energy meters are analog devices. Conventionally mostly installed the analog meters are not only a less-in-accuracy but also it creates and follows to maintain a human hauled operational system that is a bit costly and rather slow. On the contrary the digital metering systems are quick and free from all the demerits of the running aged old electricity distribution system.

Let’s have a quick through of National Unified Pre-Paid Metering System. In prepaid model, an electricity consumer has to buy credit (Unit/Currency) from the utility company and to enjoy the limited bought electricity credit into the meter before he can use the electricity. This amount is slowly credited as the consumer uses electricity. One can refill one’s necessary credit at any nearest Point of Sale for electricity. As it is clear that the consumer is solely responsible for the pre-buying energy credit and accommodating the purchased energy for optimal use, the utility company requires no resources and personal for billing purposes and that surely will help to improve customer care services. In a sense it is a direct and practical procedure to help the consumers to be optimal in one’s uses to reduce down the system loss and averaging the incremental collection of the revenue. By the National Unified Pre-Paid Meter System. The Load Demand will be aligned as the consumer can meet the facility of monitoring one’s installed credit initials.

But this model also introduces a chance of fraud if there is a complete lack of meter usage supervision. This is easily corrected by introducing data exchange mechanism within the energy meters that are able to report usage statistics, load profile, power failures, tamper data and other relevant information. Building this data exchange mechanism within a key code meter will require additional hardware like power line communication or mobile communication chips. But as more and more manufactures enter the market it will become difficult to maintain the success of the model if they do not follow a single standard. It will be difficult for the utilities to run a successful business if they cannot replace an existing meter from a particular manufactures with another meter from another manufactures. So it is undoubtedly a present time demand to have standardized single uniform platform of distribution system for a nation.

This is only possible when all manufactures follow a single guideline and standards. These standards include meter data and history, data exchange format and software specification for all related software. This document proposes such a system which not only includes practical lessons learned from the field but also introduces new features and components that are necessary for utility companies to manage new generation of prepaid meters with tariff management. A complete breakdown of the overall system is specified first with diagram, then it is described in detail, network architecture is explained next and the hardware and software specification defined. A complete and exhaustive specification like this can only ensure the success of all future meter requirements of Bangladesh but can also act as a model for other countries to follow.

There are already existing single phase meters deployed and used in the field. Some of the mode of media of these works with a smartcard and others with keypad. The proposed solution builds on the existing model by providing standardized data exchange mechanism. The data exchange media will be the smartcard or key code tokens. This will carry both tariff and recharge amount data from utility to meter and carry usage data from meter to utility (i.e. bidirectional data transfer). And for the keypad process a standard key mechanism also been introduced and adopted. A standardized data format for the smartcard has been adopted. Since many manufactures use different encoding and security within their meter, the data exchange mechanism also has provision for manufacturer encoded data that can be only decoded by the meter. The manufacturer will provide API to create this encoded data from raw data to the utility.

In Bangladesh, the electricity is being running on tariff beneficiary approach. So the revenue collection must have been counted and calculated at the meter side for a real time calculation and have to generate a real customer data pattern that will definitely enhance the data exchange to reveal the energy generation as well as the load management.

All the Pre-paid meter that shall be procured shall be followed the described system software architecture (attached in part-2 of this STD).

The overall network system of the pre-paid metering system:

7.1	The Technical Specification on the Network and the Software of the Pre-Paid Metering System has mainly two parts.

- The Master Information Center (MIC): All the servers, the routers, the switches, the billing software located centrally in the utility premises are defined together as The Master Information Center.

- The Data Network Service Provider (Mobile Network Companies): The Data Network Service Provider companies are responsible for providing both SIM/RIM card data circuit for data network service having a stable bandwidth capacity. Short Message Service (PUSH-PULL SMS) also is available and defined for the short text messaging system activated in the mobile network companies.

7.2 	The System

The system as shown in the diagram are containing several continuous areas each performing different particular roles.

7.2.1	Master Information Center (MIC):

The core area of the system is the Master Information Center (MIC). This is where all the running communication processes and the running business processes are installed and located residing in the utility company premises. There is only one Master Information Center (MIC) per utility company.

The Master Information Center (MIC) is comprise of

- The Database Servers (RDBMS): The Multiple database servers provide reliable data storage and delivery.

- The Routers and the Firewalls: The Routers are connected through the system master station to The Data Network Service Provider round the clock. All the network connections have gone through the firewall for maximum security reasons.

- The Application Server: This is a request processing side. There should be at least two application servers at this end as to make the system a little flexible. These servers lonely will be responsible for processes of all the requests from the Point of Sales (POS) terminals and vending stations.

The functions of these servers are:

- To provide a real time and relentless connectivity in between the database and POS/Utility Vending Station,

- To provide secure authentication service to POS/ Utility Vending Station,

- To process unit charge/bill pay request from POS/ Utility Vending Station,

- To ensure required encrypt data quickly,

- To transfer results and status of the data to POS/Utility Vending Station for hardcopy receipt to a consumer,

- The Short Message Server (PUSH-PULL SMS): This server will process PUSH-PULL SMS requests arriving from the various consumers through The Data Network Service Provider.

- The Accounting and Billing Server: This server will keep and produce the various billing and transaction reports for all the vendors, mobile operators and consumers.

7.2.2 	The Data Network Service Provider (Mobile Operators): The Data Network Service Provider actually it refers to the mobile operators will provide the following services:

- Provide data network service through GPRS/EDGE/EVDO/HSPA network,

- Provide PUSH-PULL SMS service to utility companies and their consumers through mobile phones.

Every Data Network Service Provider will be connected to each utility only one Master Information Centre through a dedicate fiber or leased fiber line.

7.2.3 	Point of Sales (POS):

The POS is where the utility consumers will come most of the time to recharge their credits. The Consumers will deliver their meter information and pay the vendor his preferred and demanded amount. Each POS will be equipped with a laptop or desktop, smartcard reader/writer, a slip printer, a network modem and the POS software. The vendor will enter these consumer details into the POS software and issue a request to process the transaction. The POS software will use the data network service to connect to the application server at Master Information Center and initiate a fund transfer request. Before getting the fund transfer he should have a fund collection from the respective vending station of the respective utilities. The process will first check whether there are enough funds available in the vendor’s account for this transaction. If ‘No’ then a message is sent back to the POS informing regarding the insufficiency fund status. If there is enough fund, then the application server initiates a transfer fund request from the vendor account. If the transfer is successful, then the server checks the database to find the type of meter installed at the consumer premises. If it is a keypad meter then the server will generate the ‘n’ digit keypad number necessary to recharge the meter. If it is a smartcard based meter then an encrypted data is generated that contains instruction to update the smartcard. This number or the encrypted message along with a success recharge message is sent back to the POS software along with the kept data of the smart card of the respective meters(as it is a two way communication system). The POS software then depending on the meter either prints the keypad code or writes into the consumer meter smart card through the smart card reader. In both cases, the software will print a receipt containing the amount paid instantly. The POS software will keep the till next vended amount in accordance with it’s purchased amount as well as the system master station will also follow the log of transaction for future use.

In case of the three phase meters, the SMS server will send back the success message to the POS software and the software will print the acknowledgement receipt for the consumer.

7.2.4 	Utility Vending Stations 24x7:

This performs the same function as POS but this will be managed by the utility companies itself round the clock. It is the wing from the utility companies to the POS vendors and the consumers also. It will be established for multi purposes as well. The consumer will get necessary services regarding the meters during stipulated office hours and the complains will be attended from here. So a customization center must integrated here to give the consumer a prompt, better and reliable service to shorten down the power cut. The POS vendors will come here to collect the required energy during the official time table. The vending stations will deposit the collected amount to the Bank. Again for the consumers the late hour collected amount will be kept and deposited to the bank after certain time maintaining the friendly hours.

Since it will be managed by the utility company. A ‘n’ digit code can be generated or smart card written directly taking cash from the consumer. The vending stations along with the customization center will be connected to The Master Information Center though a secured dedicated leased line or where possibly through the mobile data network where leased line is not available or not feasible.

7.2.5 Utility Consumers:  Consumers can check their assigned load status and other information by sending PUSH-PULL SMS by a predefined format using their mobile phones. Each utility company will have its own short-code (example: BPAY or 2729) which will be valid for all mobile operators. When a PUSH-PULL SMS is sent, the data network service provider will send it directly to the Master Information Center’s PUSH-PULL SMS server through the connected network. The PUSH-PULL SMS server will process the PUSH-PULL SMS request, generate the appropriate response and send the response back to the requesting mobile phone containing the requested information. This will work as PUSH-PULL SMS service.

7.2.6 On-Line Three phase meters:  Three phase meters, unlike single phase will have on-line vending facility. Each meter will be fitted built-in GSM modem though which the information can directly be communicated to and from the meter. Again for those three phase meters that is stand alone will be treated as the other single phase meters.

7.2.7 Customization Center:  Mostly located at utility premises, this center will integrate with the system master station to create new consumer, assign/change meter of consumer and perform all administrative tasks to maintain consumer data integrity in the Master Information Center. This customization center also will be integrated at each vending stations of the respective utilities.

7.2.8 Data Service Network: The backbone of the proposed Pre-Paid Metering System will be established on already erected and developed network by a recognized data service network provider. The only one system master station of each utility company will be connected with their network through a firewall. The data service network provider actually the mobile operators will be connected through this data service network. Similarly the vending stations of the utility organizations may also be connected through the same data service network as required.

7.2.9 The Central Data Center (CDC): Here the all the utilities of the country operational data will be sent at a Prime Time. The CDC will keep all the Data for not only to preserve but to make an impact on the management of the Pre-Paid Meter System. The establishment of the CDC will be almost like The Master Information Center in a larger scale. The entire MIC will be connected to the CDC through the chosen established Data Network Service round the clock. The data preservation at CDC must be kept by an authenticated and reliable person.  A Prime Time will be fixed and only CDC can fetch all the daylong data of each utility. MIC cannot have any access to CDC. CDC will provide customer data at internet one day behind. So, each of any customer can see their previous data through internet.

7.3 	The Network Specification of the Pre-Paid Metering System

The Pre-Paid Metering System will require the following basic network connections to work seamlessly that will online 24x7. These networks are defined below:

- Network 1: The Master Information Center to the Data Service Network Provider (the Mobile Operator Network).

- Network 2: The Data Service Network Provider (The Mobile Operator) to the POS Network.

- Network 3: The Master Information Center to the Utility Vending Station Network.

- Network 4: The Master Information Center to the Central Data Center.

7.3.1 Network 1: The Master Information Center to the Data Service Network Provider (the Mobile Operator Network)

This Data Service Network Provider will connect The Master Information Center to all the mobile networks available. The connection in between of those two will most likely be either dedicated fiber or leased fiber line. Each link speed should be minimum of 2Mbps. A single link (in case of leased line) will terminate at the system master station and the other end will be one for the Data Service Network Provider. The termination points will be 1Gbps twisted pair (RJ45). This network will carry:

- All the data traffic from the POSs at each a single span of real time.

- All PUSH-PULL SMS message traffic from users at each a single span of real time.

- All the utility vending station data traffic where applicable at each a single span of real time.

- All the Monetary Transactions from The Master Information Center to the Data Service Network Provider (the mobile network) accounting and billing server.

SSL/PKI can be applied to make the all sorts of communications ensured. The network should be made redundant if taken through a vendor (multipath, multilink or wireless).

7.3.2	Network 2: The Data Service Network Provider (The Mobile Operator) to the POS Network.

The POSs, that is eventually located at different areas, will be connected round the clock to The Master Information Center by using Data Service Network (mobile network). These can be GPRS, EDGE, EVDO or any other proven and convenient wireless network technology. An arrangement must be made by the utility companies with the chosen Data Service Network Provider so that every other operated on air mobile operators will be available for necessary communication amongst them and that has to be ensured that the network will be a separate VLAN and data from this network will not mix with other data networks of the mobile operators. Also a fixed static IP scheme should be agreed upon. All data communication must be bi-directional(Full Duplex). It should be noted that although this will use existing GPRS/EGDE/EVDO networks, this will be a separate data service network and will not have any kind of foreign access like the internet. All data will be switched and logged managed by the chosen Data Service Network (from the mobile operator network directly) to The Master Information Center through firewall protected routers.

7.3.3 	Network 3: The Master Information Center to the Utility Vending Station Network

This will connect The Master Information Center to the Utility Vending stations. This should also be a dedicated or leased fiber line. This network can also be based on leased DDN line from BTCL where appropriate. A 2Mbps link per Utility Vending Station is recommended. This link must be established secured by VPN. There should be redundancy in the network. Whenever possible and feasible a leased fiber or DDN line should be used to connect the vending stations to The Master Information Center. Rather on an alternate the chosen Data Service Network (the mobile network) will be used.

Rather the described 03 networks above the connection in between the MIC and the CDC and The CDC to the DRC will be maintained through the chosen established Data Network Service round the clock.

7.3.4 	Network-4: The Master Information Center to the Central Data Center (the Mobile Operator Network)

This Data Service Network Provider will connect The Master Information Center to all the mobile networks available. The connection in between of those two will most likely be either dedicated fiber or leased fiber line. Each link speed should be minimum of 2Mbps. A single link (in case of leased line) will terminate at the system master station and the other end will be one for the Data Service Network Provider. The termination points will be 1Gbps twisted pair (RJ45). This network will carry: All the data traffic from the MICs at each a single span of real time.

SSL/PKI can be applied to make the all sorts of communications ensured. The network should be made redundant if taken through a vendor (multipath, multilink or wireless).

7.4 	System Integration, Installation, Operation and Maintenance

The Tenderer will be responsible for design, manufacture, supply, installation, testing & commissioning pre-paid meters & metering system with related service on turn key basis, which will include to the operation of the system and interfacing of offered meters with purchasers existing software. Already developed software API is enclosed in part-2 of the STD. The whole system will be integrated so that all parts run smoothly. These responsibilities include but are not limited to:

- Work with utility to test and finalize all input and output.

- Deploy software at each required locations.

- Ensure interoperability of each software module.

- Install a secure software installation method.

- Arrange for SMS message short codes from mobile operators.

- Work with the data service network provider (mobile operators) and with the purchasers’ to setup the required network communication for both wireless and physical connections.

- Work with the data service network provider (mobile operators) representation to setup SMS message server and communication.

- Work with utility, pos vendors and all concerned to test software for bugs and if required fix bugs or incorporate improvements and suggestions.

- Work with meter manufactures to make sure all software and hardware meters communicate properly.

- Work with utility to make sure that all software follows the defined standards, agree on change with all partners if required.

- Interfacing: The system software has been developed and erected. The prescribed interfacing protocol has been developed in JAVA which is attached in Part -2 of the tender document. The renderer’s meters will follow that protocol and will complete their interfacing API on or before demonstration date. No tender will be technically responsive until and unless the interfacings API works and comply with requirements and also fully satisfy the Engineers authorized by the Employer. Otherwise the tender shall be rejected and will not be considered for further evaluation.

- The offered meter will be manufactured in such a way so that its API can follow the already developed system software’s API. The rights & the Copt rights of the system software and the pattern of the system will be the sole owner of the people’s republic of Bangladesh.

# Etc. and more as required.

The software part are described below:

- The online 3phase meter must be connected directly with the MIC server using the built in / pluggable GPRS/EDGE /EDVO modem.

- The communication data format is XML.

- The XML data exchange format is defined in the XML schema files.

- The communication channel of the 3phase online meter must be encrypted by 256bit SHA and seeded by a true random number generator.

- Each online 3phase meter will have contained a unique key installed.

- Utility must be able to program the following data into the meter before they are used:

  - Meter ID

  - Data Communication Port (default 2100, custom port)

  - Server IP Address

  - Server Port

  - Encryption Key

- The meter will get a fixed IP address from the installed SIM card.

- The meter will always listen to the “Data Communication Port” for incoming data and will always send data to “Server IP Address: Server Port”.

- For incoming request, the reply data will go through the same connection similar to HTTPS.

- Incoming request from server to IP address and port 2100 of meter.

- Server posts encoded XML data.

- Server sends two carriage return to denote that it has send the entire request.

- The meter decodes the data, process the request and generates appropriate response and send it back to server.

- Bidirectional data transfer will use the same connection like HTTPS.

# Etc. and more as required.

7.5	Vending Software:

This software should have proper installer to install and this software should have a hardware constrained with a unique hardware electronic ID like MAC address or chasis ID or Processor ID or vendor service tag no. ID or etc.

- Sales Module

- This module will sale credit or energy as per consumer requirement

- To Define type of Pre Payment meter.

- To Collect consumer and meter related information from related MIC database like tariff and Slab, holiday, friendly hour, Emergency credit, connection load, and Alert level etc. and related information through established network.

- To Send defined information through Smart card or generating token or through SMS/GPRS for remote Meter.

- To Collect Meter historical data that will be collected from the meter and operational data from Smart card and update those to MIC database.

# Etc. and more as required.

- Data Exchange module

- This module will collect updated information from MIC and send & insert it to relevant databases.

- To Collect information from temporary local database and send all those processed data to MIC through P2P connection by established LAN or Dial Up or through Data network Service.

- All exchangeable data need to prepare using encryption methodology.

# Etc. and more as required.

- Report Module:

There will be a several types of reports to be generated. It has to be met the on demand process of the each utility division. here some of it’s type are noted below:

- Daily Sales report,

- Individual consumer purchase report,

- Operator related report,

- Generate log for Data Exchange module,

Etc. and more as required.

# 7.6 	POS Application

# This application work will be operative for 24x7 round the clock online system.

# Sales Module

# 7.6.1 	For Smart card base Meter

  - To Collect consumer and meter historical Information from Smart card and get Credit demand by key input.

  - Send those information’s to the MIC through short Message service (SMS) or by GPRS/EDGE Service through established data network service.

  - To Collect necessary information From the MIC as per request and update smart card by those information’s.

  - To Print module for slip print.

  - To Send acknowledgment to the MIC after completion of Operation.

  - To Generate log file for all operations.

# Etc. and more as required.

# 7.6.2 	For Keypad base meter: Not Applicable for this tender

  - To Insert consumers’ identification number and credit demand to POS interface and POS will send those to the MIC through short Message service (SMS) or by GPRS/EDGE Service through established data network service.

  - To Collect Token Number for the above request from the MIC and print it to thermal paper.

  - To Send acknowledgment to the MIC after completion of Operation.

  - To Generate log file for all operation.

# Etc. and more as required.

# 7.6.3 	For Online 3phase Meter

  - To Insert consumer identification number and credit demand to POS interface and the POS will send those through short Message service (SMS) or by GPRS/EDGE  Service through established data network service.

  - To Collect acknowledgement from the MIC after sending information to Meter by the MIC itself through short Message service.

  - then at POS an acknowledgement will be received and  print a slip for consumer.

  - To Send acknowledgment to the MIC after completion of Operation.

  - To Generate log file for all operation.

# Etc. and more as required.

# 7.7 	The MIC Software

# MIC Application

# This application will be the core of the total pre paid metering system. Any type data modification will be allowed and accomplished only by this application. It will have different management Module for processing different type tasks.

# 7.7.1	Consumer Information Management

# Information modification

# By this module only authorized user can modify any kind of data related to consumer.

# Consumer personal information.

# Consumer tariff Class.

# Connection load.

# Issued meter related information.

# Etc. and more as required.

# Report module

# Consumer personal information

# Sales report

# Consumption report

# Historical report

# Etc. and more as required.

# Tariff Management

# Management module

# Insertion of new tariff

# Modification of existing tariff

# Tariff Slab insertion and modification

# Activation Date issue

# Etc. and more as required.

# Report module

# Individual tariff details

# All active tariff details

# Tariff history log

# Etc. and more as required.

# 7.7.2	Customized Information Management

# This Module will use for include/exclude/Modification of common feature for individual or common Consumer.

# Holiday Information

# Friendly Hour

# Weekend

# Emergency Credit Limit

# Credit Alert Information

# Etc. and more as required.

# 7.8 	Utility Vending Station Management

# Management module

# Issue new vending Station

# Update vending Station information.

# Deposit Information Update

# Vending Authentication information

# Vending sales Limit

# Etc. and more as required.

# Report Module

# Individual Vending related information

# Vending sales pattern

# Vending Station Deposit Status.

# Etc. and more as required.

# 7.9 	POS Management

# Management module

# Issue new POS

# Update POS information.

# Deposit Information Update

# POS Authentication information

# Issued GSM/GPRS SIM related information.

# Commission related information

# POS sales Limit

# Etc. and more as required.

# Report Module

# a.   Individual POS related information

# b.   POS sales pattern

# c.   POS Deposit Status.

# d.   POS Sale Commission and related report

# Etc. and more as required.

7.10 	Load Control:

This feature is a unique and essential part of the system to regulate the Load Management. This will be icluded into the meter and obviously the software. The Load control module will work on both for the offline & online meters. This module will be reside in the application software. In the meter the request will follow the trigger of load control. so the there will be a micro-controller programmed load control feature.

7.11 	DATA Exchange Management Service

This is a self running and automatic service that has the vital role for the total system. It will be the way by which all vending Station and POS can communicate and exchange information with the MIC.

- To Prepare update or modified data from MIC database Server.

- To Collect and insert new Data from every Vending Station and POS to MIC Database Server.

- To Synchronize all updated data from database Server, Vending Station and POS.

- To Generate log for every task for synchronization.

# Etc. and more as required.

7.11.1 Content management Application

- Short Message Service(SMS) module

  - POS management

    - To Collect request SMS/GPRS  from POS.

    - To Process and generate information from MIC database as per request.

    - To Send replied SMS/GPRS for the particular request to the particular request.

    - To Send Common information to POS.

Etc. and more as required.

- Consumer management

    - To Send Meter operational information to online 3 phase Meter as per requirement for instant urgent basis.

    - To Collect Meter related information from remote meter through SMS.

Etc. and more as required.

Token Management

- To Collect requested information from database.

- To Generate Token for individual request.

- To Generate token for common information.

Etc. and more as required.

Meter Management

Meter Customization

  - To Issue new meter for individual consumer.

  - To Update meter related information to database.

  - To Collect meter related information from database and send those to Meter.

  - To Generate report for related task like day wise meter customization.

# Etc. and more as required.

Meter/Smart Card Change Application

  - To Change new issued meter or card related information to database

  - To Send meter related information to new issued Meter.

  - To Send changing information with common information to Smartcard as it can be accessible by the particular Meter.

# Etc. and more as required.

Meter Status Access module

- This module will used for accessing meter Current information Collected from Meter through Common Meter Status Card or RF/IR communicator or through RS232 Serial interface.

# Etc. and more as required.

7.11.2 Instant Service Management

It is a portable application by which utility can mentor and monitor meters installed at Field. This application must have been hardware constrained.

- To Interface to collect information from meter through Meter through Common Meter Status Card or RF/IR communication or through RS232 Serial interface.

- To Update information to Meter as per MIC requirement.

- To Interface to Collect information from MIC database as per requirement to update information to meter and stored it to temporary database at the portable device for the time being.

- To Interface to Update MIC database with collected information from occured situation.

# Etc. and more as required.

7.11.3 Authorization Management

- As everyone cannot get permission to access every management module, this module will use for giving permission to individual for accessing specific management module.

- It will also manage permission for user of vending Station and POS by providing user name and password.

# Etc. and more as required.

7.11.4 Backup Module

This module is to take backup of the MIC related database.

Etc. and more as required.

7.12 	Report Management Console

Sales reports

    - Account wise sales reports.

    - Daily sales reports.

    - Monthly sales reports.

    - Tariff wise sales reports.

    - POS wise sales reports.

Etc. and more as required.

Consumption reports

    - Account wises.

    - Tariff wises.

    - Feeder wises.

    - Month wises.

# Etc. and more as required.

VAT reports

    - Date wises

    - Month wises

    - Year wises

# Etc. and more as required.

Customer reports

    - Account wise

    - Meter no wise

    - Phase wise

    - Tariff wise

    - All customer

Etc. and more as required.

- Exception reports

    - Sanction load violation report on No of [n]% violated

    - Low/No consumption report

Etc. and more as required.

7.13 	Account log info report

  - Account wise

  - All

  - Others

  - Holiday report

  - Tariff report

  - Vending station/POS report

  - Credit given report

  - Vending station information report

  - Sales pattern

  - Deposit status

  - Vending statistics report

# Etc. and more as required.

It is notable that the software that will be involved and installed in the CDC,  MIC, UVS, UCC & POS will be followed on the basis of a decided conversion of the Data Exchange Format that will be responsible for  The meter that must be able to read and to write data to the smartcard in specific decided format if it is a smartcard based meter or decode information from decided encoded keys typed through the keypad if it is a keypad based meter.

At the POS or the Utility Vending Station the Token will be generated for the Keypad base meters so the software should have follow the keypad numbering scheme as described below. Here it is should be mentioned that the scheme is perception only it could be changed or modified with respect to the manufacturer that varies.

7.14 Keypad Numbering Scheme: Not applicable for this tender

While the manufacturer is free to use any number scheme they see fit, the number scheme must be secure and use minimum number of digits and must always contain the following fields in encrypted form:

Meter ID

Recharged amount

Sanctioned Load

Sequence Number

The meter must check the validity of these fields before recharging the credit. The sequence number is an auto generated number starting from 1 for each recharge or keypad numbers. A keypad number will only be accepted if the previous number has been keyed in. For example if a consumer goes to POS to recharge 300Tk and gets key code xxxyyyzzz (which contains sequence number n). The next month he goes again to recharge 250Tk and gets key code pppqqqrrr (which contains sequence number n+1). Key code pppqqqrrr will only be accepted if xxxyyyzzz has been keyed in previously i.e. meter will only accept a key code containing sequence number ‘n’ if at some point key code containing sequence number ‘n-1’ has been keyed in. This is to ensure that key codes are not discarded by a consumer intentionally.

Periodically it may be necessary to generate a key code that contains more data. The key code scheme must be able to accommodate the following data if and when required:

Meter ID

Recharged amount

Sanctioned Load

Sequence Number

Load Change

- Sanctioned Load

- Start Time

- Load Control

Rate

- Start Unit

- Peak Rate

- Off peak Rate

- Activation Date

Holiday

- Month

- Day

It is assumed that the keypad number with only the meter id, amount, load and sequence number will be a lot shorter that the key code containing all the rate information.

At the POS or the Utility Vending Station the data transfer will be occurred for the smartcard base meters so the software should have follow the Smart Card Data Format scheme as described below. Here it is should be mentioned that the scheme is a perception only it could be changed or modified with respect to the manufacturer that varies.

7.15 Smart Card Data Format

SLE4428 or 100% compatible 1K Byte EEPROM Memory Card must be used in the card based meter. The memory card will have encrypted and no encrypted memory parts. The encrypted bytes must be generated by the meter SDK/API as supplied by the manufacturer. The manufacturer is free to use any encoding scheme to secure the data but must contain all the data as mentioned in the following table:

| Data | Bytes | Memory Address (Bytes) |
| --- | --- | --- |
| Non Encrypted Data |
| Binary Pattern (1010110011110000) | 2 | 1-2 |
| Version | 1 | 3 |
| Meter ID | 10 | 4-13 |
| Consumer ID | 10 | 14-23 |
| Utility ID | 2 | 24-25 |
| Sanctioned Load (kW) | 6 | 26-31 |
| Meter Type | 1 | 32 |
| Sanctioned Load Exceeded | 1 | 33 |
| Last Recharge Amount | 2 | 34-35 |
| Last Recharged Date (DMY) | 3 | 36-38 |
| Last Transaction ID | 10 | 39-48 |
| Unused/Future Provision | 55 | 49-100 |
| Encrypted Data as Generated by the Meter Manufacturer SDK/API |
| The following Data must exist within the encrypted Data: Data To Meter: Meter ID, Consumer ID, Utility ID, Sanctioned Load, Recharge Amount, Weekend, Emergency Account, Friendly Hour (start/end), Peak Hour (start/end), Buzzer Volume, Rates, Rate starts at unit, Rate at Peak, Rate at Off peak, Activation Date, Holidays, Month, Day, Load Change, Load Control, Start Time (hour/minute), Sanctioned Load, Etc. and more as required. Data From Meter: Tamper Status, RTC Status, LR Status, Usage Data for the last 6 months individually, Month, Year, KWh, Taka Recharged, Taka Used, Average Power, Reactive Power, Maximum Power, Volt Ampere, KWh in Peak, KWh in Off peak, Karsh in Peak, Karsh in Off peak, Total charge in Peak, Total charge in Off peak, Number of power failures, Number of time sanctioned load exceeded, Load Control, Tamper, Number of times tampered, Date/Time of Tamper, Etc. and more as required. | 923 | 101-1024 |

7.16 Encrypted Data Generation SDK/API

It is notable that the software that will be involved and installed in the CDC, MIC, UVS, UCC & POS will be followed on  Encrypted Data Generation SDK/API of the related respective meter supplied by the meter manufacturer responsible for  The meter that must be able to read and to write data to the smartcard in specific decided format if it is a smartcard based meter or decode information from decided encoded keys typed through the keypad if it is a keypad based meter through the involved Encrypted Data Generation SDK/API.

At the POS or the Utility Vending Station the data transfer will be occurred for the smartcard base meters or the Token will be generated for the Keypad base meters so the software should have follow and use

Encrypted Data Generation SDK/API as described in Part B of the Tender Document. Here it is should be mentioned that the Encrypted Data Generation SDK/API is a perception only it could be changed or modified with respect to the manufacturer that varies.

The meter manufacturer must provide SDK/API to generate encrypted that suitable for the meter to process and understand the API interface that has been developed in JAVA and operating system is on Linux.

The manufacturer must provide:

- Library compiled in GCC Linux that can be integrated in Java Program.

- Sample project and source code illustrating usage of provided java program

- Documentation of each function, input and output.

Work with utility to make sure that all software follows the defined standards, agree on change with all partners if required. Standards are summarized below:

7.17 	POS-SMS Communication Format

The POS will communicate directly with the MIC using a separate & private Data Service Network (mobile network or other secure network where applicable). The data exchange will occur through an encrypted XML data exchange. The communication channel will use a 512 bit or 1024 bit SSL which the vendor must acquire. A private key will reside on the server and a public key will be available. The XML request and response formats are defined in the attached XML scheme files. Furthermore, the following additional information are required:

Server Address:

Port: 443, standard SSL port

URL: https://server_address/pos_process/

- Accounting Server-SMS Communication Format

- Meter Manufacturer API/SDK Format

The Tenderer must collect, integrate and test proper functionality of these SDK from the meter manufacturers:

- Library compiled in GCC Linux that can be integrated in any Linux C program.

- Windows DLL or C library with all required header files.

- .NET managed DLL.

- Sample project illustrating usage provided library/DLL.

- Documentation.

- Installer.

Function Lists: The following functions and parameters must be implemented:

Function meter encode:

Related Parameters

| Parameter | Data Type |
| --- | --- |
| Recharge amount | Integer |
| Sanctioned load | Float |
| Sequence Number | Integer |
| Rate | Array |
| Holiday | Array |
| Loss | Array |
| Load Change | Array |
| Meteoroid | String |
| Expected output | Unsigned char (1=key code, 2=binary data) |
| Sanctioned Load, Weekend, Emergency Account, Friendly Hour (start/end), Peak Hour (start/end), Buzzer Volume, Rate, Holiday, Loss, Load Change includes: Rates, Rate starts at unit, Rate at Peak, Rate at Off peak, Activation Date, Holidays, Month, Day, Load Change, Load Control, Start Time (hour/minute), Sanctioned Load, Etc. and more as required. | Array |

| Related Response |
| --- |
| Parameter | Data Type |
| Status | Boolean |
| Amount | Float |
| Encoded Data | Byte array |
| Key code | String |
| Meteoroid | String |
| Etc. and more as required. |

| Function meter decode: |
| --- |
| Parameter | Data Type |
| Meteoroid | String |
| Encoded Data | Byte array |
| Etc. and more as required. |
| Related Response |
| Parameter | Data Type |
| Status | Boolean |
| Tamper Status, RTC Status, LR Status, Usage Data for the last 6 months individually, Month, Year, KWh, Taka Recharged, Taka Used, Average Power, Reactive Power, Maximum Power, Volt Ampere, KWh in Peak, KWh in Off peak, Karsh in Peak, Karsh in Off peak, Total charge in Peak, Total charge in Off peak, Number of power failures, Number of time sanctioned load exceeded, Load control, Tamper, Number of times tampered Date/ Time of Tamper | Array |
| Etc. and more as required. |

7.18 Meter Number Scheme

The meter number scheme will be finalized at the time of design approval.

7.19	3( Meter-SMS Data Exchange and Authentication Scheme

The XML data exchange format is defined in the attached XML files. Furthermore the communication channel must be encrypted by 256bit SHA and seeded by a true random number generator. Each meter should also have a unique key installed.

Server Address:

Port: 2100, custom port

Protocol: Text/Encrypted XML

7.20 Smart Card Data Format

SLE4428 or 100% compatible 1K Byte EEPROM Memory Card must be used in the card based meter. The memory card will have encrypted and no encrypted memory parts. The encrypted bytes must be generated by the meter SDK/API as supplied by the manufacturer. The manufacturer is free to use any encoding scheme to secure the data but must contain all the data as mentioned in the following table:

| Data | Bytes | Memory dress (Bytes) |
| --- | --- | --- |
| Non Encrypted Data |
| Binary Pattern (1010110011110000) | 2 | 1-2 |
| Version | 1 | 3 |
| Meter ID | 10 | 4-13 |
| Consumer ID | 10 | 14-23 |
| Utility ID | 2 | 24-25 |
| Sanctioned Load (kW) | 6 | 26-31 |
| Meter Type | 1 | 32 |
| Sanctioned Load Exceeded | 1 | 33 |
| Last Recharge Amount | 2 | 34-35 |
| Last Recharged Date (DMY) | 3 | 36-38 |
| Last Transaction ID | 10 | 39-48 |
| Unused/Future Provision | 55 | 49-100 |
| Encrypted Data as Generated by the Meter Manufacturer SDK/API |
| The following Data must exist within the encrypted Data: Data To Meter: Meter ID, Consumer ID, Utility ID, Sanctioned Load, Load Control, Recharge Amount, Weekend, Emergency Account, Friendly Hour (start/end), Peak Hour (start/end) Buzzer Volume, Rates, Rate starts at unit, Rate at Peak, Rate at Off peak, Activation Date, Holidays, Month, Day, Load Change, Start Time (hour/minute), Sanctioned Load, Etc. and more as required. Data From Meter: Tamper Status, RTC Status, LR Status, Usage Data for the last 6 months individually, Month, Year, KWh, Taka Recharged, Taka Used, Average Power, Reactive Power, Maximum Power, Volt Ampere, KWh in Peak, KWh in Off peak, Karsh in Peak, Karsh in Off peak, Total charge in Peak, Total charge in Off peak, Number of power failures, Number of time sanctioned load exceeded, Load control, Tamper, Number of times tampered, Date/Time of Tamper, Etc. and more as required. | 923 | 101-1024 |

The Tenderer developed POS software must be able to reach and write these values to and from the smartcard as well as acquire encode values from manufacturer provided SDK.

7.21 Meter Connection Procedure

The following procedure is envisioned: Configure the meter with server IP, port and any authentication key required. Bring the meter online and send a query test command from the server. The meter should respond with firmware version which will verify connectivity. The send the “conf” command to meter from server.

7.22 	Establishment of Network

The Tenderer who will implement will be responsible for establishment of the network for the entire system. These include but are not limited to:

- Network connecting POS to MIC

- Network connecting UVS & UCC and utility POS to MIC if/when required

- Network connecting Data Network Service Provider (mobile operators) to MIC

- Arrange contract with Data Network Service Provider (mobile operators) for a secure private data network and provide data network SIM/RIM to POS operators.

- Ensure security of the network. Setup APN where required

- Ensure uptime of network

- Manage network, test performance, throughput and bottleneck of network

- Maintain automated network failure detection and failover. Develop a failure notification service model

- Follow network address scheme as defined below:

Each utility company will be assigned a unique number starting with 1 (max: 119, total: 119). Each mobile operator will be assigned a unique number starting with 230 (max 254, total: 25). Each financial institution will be assigned a unique number starting with 120 (max 229, total: 110). For our example, we will assume the following numbers to illustrate an example.

Utility company x: 1

Utility company y: 2

Mobile Operator m: 230

Mobile Operator n: 231

Financial Institution p: 120

Financial Institution q: 121

All utility servers will reside in a unique subnet of the 172.16.x.x network.

Example:

Utility company x application server address: 172.16.1.1

Utility company y application server address: 172.16.2.1

Mobile company m application server address: 172.16.230.1

Mobile company n application server address: 172.16.231.1

Financial Institute p payment server address: 172.16.120.1

Financial Institute q payment server address: 172.16.121.1

Other 253 IPs are available for other network servers for later or additional use

## 7.23 Tariff Management

### 7.23.1 Tariff Definition

The System Manager shall be able to define tariff objects. Each tariff has a unique tariff ID associated with it. The following information is required to define a tariff.

| Tariff ID | A unique tariff identifier |
| --- | --- |
| Effective Date | This is the date on which the tariff becomes effective. |

| Subject | Tariff Category | PFC Calculation |
| --- | --- | --- |
| Power Factor Correction Charges | `A’ & `D’ Category,3phase, 400V, 20KW & above | 0.95 PFC= power factor obtained from meter |
|  | `C’ Category, 3phase,400V |  |
|  | `E’ Category, 3phase,400V |  |

| Subject | Tariff Category | Time |
| --- | --- | --- |
| Time of Use | `C’ & `E’ Category, | Peak – 17:00 to 23:00 Off Peak-23:00 to 17:00 |

| Service Charges SC | Fixed charges are levied per month. These charges are different for single and three phase customers in a particular tariff category. |
| --- | --- |
| Minimum Charges MC | There will be no minimum charges for prepaid customers, but conventional customers pay a minimum charge, which varies per tariff category. |
| Sanctioned Demand Charges DC (Fixed Charge) | A fixed charge per kW of the sanctioned demand is levied per month. |
| Maximum Demand Charges | Integrated over ½ hourly periods Maximum Demand in KW. |
| VAT | Value added tax is levied on electricity charges and must be catered for in the system. |

- The tariff code, effective date, kHz (in units of kWh), Rx together with a fixed monthly service charge SC and a fixed monthly sanctioned demand shall be used to define all prepaid tariffs used in the system.

- The SMS shall make provision for up to 500 tariff definitions

- The SMS must verify the tariff data entered and shall not allow discontinuities in the energy levels or negative rates for energy and fixed charges.

- There shall be a facility to copy tariffs to new tariff codes for editing purposes. The edit facility shall include a mechanism to increase the values of any of the variables Rx, SC and DC by a fixed percentage.

- Tables of Supply Group Codes and tariffs shall be securely stored at the SMS.

- No penalty Charges for PFC factor above 0.95 to 1.0. PFC is computed as above and average power factor is measured by meter based on only reactive energy. The monthly average power factor from meter is used for the factor and applied on the monthly consumption.

Refer to DPDC's tariff structure at dad’s website (www.dpdc.org.bd) for details of the tariffs.

### 7.23.2 Tariff Algorithm

The prepayment system could be implemented stepped tariffs. The tariffs will be implemented at the vending equipment/meter. The algorithm must ensure that:

- The Stepped tariffs are implemented in meter as accurately as is the case for conventionally bitted customers.

- Customers ate not restricted to the amount  and frequency of electricity token purchases provided purchases do not exceed 12 times the calculated  monthly average consumption without penalty.

- If any tariff changes, tariff update with effective date sent to meters through smart card at the time of purchase for smart card meters. The updated tariff will be sent using special numbers for keypad meters. For both meters, after utility decides the tariff update, all purchase of credit (with keypad number of smart card) will carry and tariff change flag. So that the meter will not accept any credit  addition until it gets the tariff update.

- Customers will purchase only following credit transfer principles.

- Before any new purchase in a particular month the fixed charges are deducted for the first time and the rest of the money paid by customer will be sent to meter through card or number as credit.

- For consecutive purchase in the same month, credit values without any fixed charge will be sent to the meter.

- Slab reset service charges, power factor penalty (PFC) should be monthly basis.

- The tender shall provide a detailed description of the algorithm including:

- All assumptions made.

- An explanation of how the averaging algorithm operates.

- Examples of how the algorithm works.

- Examples of how to explain the algorithm to customers.

- Examples of how to deal with customers queries.

- Description of how the algorithm manages tariff rate and tariff structure change.

- Description to apply corrections

- Description to mechanisms to how to deal with the situation where a customer buys at two different locations between data transfers.

- Online data transfer is required so that customers can by token from any vending system and different locations.

Specification for

Single Phase

Pre-payment Energy Meters

7.24 	Scope

This specification covers the design, manufacture, testing and supply of static single-phase direct connected pre-payment energy meters of accuracy Class 1.

7.25 	Scope of Supply

The tenderer shall be responsible for supply, installation, testing & commissioning with related services packing, loading, shipment, custom clearance if necessary, and transportation, insurance and unloading at site. The supplied meters will be operated by existing purchasers’ software (API attached in part-2 of this STD). Interfacing of the offered meter is the responsible of the tender.

| Item No. | Name of Goods or Related Services | Description | Unit of Measur-ement | Quantity |
| --- | --- | --- | --- | --- |
| 1. | Supply and installation of Pre-payment Energy Meter including necessary accessories packing, loading, shipment, custom clearance if necessary, and transportation, insurance and unloading at site | Single phase, 230 Voltage (phase to neutral), 5(60)A | Each | 21,000 |

Single phase prepayment meters shall be installed and commissioned according to the minimum guidelines as set out in technical specification. Prior to installation of meters customers shall be forewarned by delivery of a notice explaining what will happen. Public relations will be responsibility of the utility companies.

The installation team shall have a work order sheet instructing them what to do. The following information shall be printed on the works order from:

| Customer Name | : | Supplied by the Utility and verified by Survey |
| --- | --- | --- |
| Customer address | : | Supplied by the Utility and verified by Survey |
| Old Account Number | : | Supplied by the Utility |
| Old Meter Number & Reading | : | Supplied by the Utility |
| Tariff Code | : | The specific tariff to be allocated to the customer must be identified by the tariff code |

There are different categories of installations that will be required:

- Removal of induction & conventional digital meter and direct installation of prepayment meter with additional wiring or service line work required.

- Removal of induction & conventional digital meter, re-routing of wiring with replacement of service connection and installation of pre-payment meter. Potential joints shall not be allowed in service drop cable.

- Removal of service line and meter. Replacement of service connection and installation of meter.

- New customer installation including service connection and installation of pre-payment meter.

The following guide lines must be followed by the supplier during installation of the meters:

- The meters shall be sealed with Ferrule Type/Twist type seals compatible with the meters that uniquely identify the utility person who sealed the meters.

- Meters shall be tested and commissioned by the installation supervisor using the data from the works order form to program the tariff details.

- At the time of meter installation the customer’s induction & conventional digital meter reading shall be captured on the order by the installation supervisor and the data returned to the SMS. The date of commissioning is also entered onto the work order form.

- Customers shall be registered at the SMS using the returned work order form within 24 hours of commissioning.

- The service connections shall not be replaced unless the survey indicates service line with joints or inadequately rated service lines or bad in selected line.

- All meters shall be installed indoors at a location convenient to the customer as well as service personnel away from sources of heat and moisture.

- The installation shall be symmetrical, vertical and parallel to respective walls and floors. From the points where the service enters customers building, it shall be enclosed in a 25 mm (dia) PVC pipe until it enters the metering house.

- The piping shall be clamped or saddled at a maximum of 250 mm intervals.

- At the time of installation on site training and instruction shall be given to the customer.

- All other necessary accessories will be supplied by the Contractor.

7.26 	General Technical Requirements

7.26.1 Service conditions

The meters to be supplied against this specification shall be suitable for satisfactory continuous operation under the following tropical conditions.

| Sl.No. | Condition | Specification |
| --- | --- | --- |
| 1 | Maximum ambient temperature (oC) | 50 |
| 2 | Minimum ambient temperature (oC) | 5 |
| 3 | Maximum daily average temperature (oC) | 35 |
| 4 | Maximum annual average temperature (oC) | 30 |
| 5 | Mean annual rainfall (mm) | 2500 |
| 6 | Minimum annual rainfall (mm) | 1461 |
| 7 | Maximum annual rainfall (mm) | 4127 |
| 8 | Maximum relative humidity (%) | 100 |
| 9 | Average relative humidity (%) | 80 |
| 10 | Maximum wind velocity (km/h) | 180 |
| 11 | Maximum altitude above mean sea level (meters) | 200 |

7.26.2 Environmental Requirements

The meter shall conform to the environmental capability requirements as documented in IEC 62052-11, 62053-21 and 62053-23. In addition to that, the following minimum requirements shall be met.

- The meter shall be protected against malfunction due to the ingress of vermin, by conformal coating of the printed circuit boards in the meter.

- Any openings shall be as small as practically possible to prevent the ingress of dirt and vermin and to limit the potential for vandalism or tamper following IP 51.

7.26.3	Standards and codes of practice

All material and equipment supplied and all works carried out shall comply in every respect with the technical codes of the International Organization for Standardization (ISO) and with the recommendations of the International Electro technical Commission (IEC), which apply to the electrical equipment.

Goods and special guarantees beyond the scope of ISO and IEC shall conform at least to one of the following standards and codes in the following priority:

- VDE and DIN standards

- BS or ASTM

- Other internationally accepted standards which ensure a quality equal to or higher than the standards mentioned above, but only if these are submitted in the English language edition.

The following documents shall be read in conjunction with this specification. In case of conflict, however, this document shall take precedence. Nothing in this specification shall lessen the contractors obligations detailed in any other documents forming part of the contract.

| IEC 514 | Acceptance inspection of Class 1 alternating current watt-hour meters. |
| --- | --- |
| IEC 735 | Testing equipment for electrical energy meters. |
| IEC 62052-11 | Electricity metering equipment (AC)- General requirements, tests and test Conditions- Part 11: Metering equipment |
| IEC 62055-21, IEC 62055-31 | Electricity metering – Payment systems Part 21: Framework for standardization Part 31: Particular requirements- Static payment meters for active energy (classes 1). |
| IEC 62053-21, IEC 62053-23 | Electricity metering equipment (a.c.) - Particular requirements – Part 21: Static meters for active energy (classes 1 and 2) Part 23: Static meters for reactive energy (classes 2 and 3) |
| IEC 1036 | Alternating current static watt-hour meters for active energy (classes 1 and 2). |
| IEC 1038 | Time switches for tariff and load control |
| IEC 1107 | Data exchange for meter reading, tariff and load control and direct local data exchange |
| IEC 58 | Shock and vibration, humidity, solar radiation and salt mist etc |
| ISO 9001 | Code of practice for quality systems part 1: Model for quality assurance in design/development, production, installation and servicing. |
| IEC 62054 | Real Time Clock (RTC) |
| Others | All other relevant IEC specifications for metering equipment |

# 7.27	Specific Technical Requirements

The meters to be supplied against this specification shall meet the requirements specified in this clause.

# 7.27.1  Electrical requirements

Meter supplied shall meet the following electrical requirements.

| Sl.No | Description | Specification |
| --- | --- | --- |
| 1 | Connection | 1-phase, 2-wire, direct connected (unidirectional) |
| 2 | Number of element | 01 (one) minimum |
| 3 | Rated voltage | 230 V phase to neutral |
| 4 | Variation in voltage | +30% to –30%; |
| 5 | Continuous over voltage | Should withstand 400 volts for 48 hours without causing any damage or degrading of its operating life, or causing changes of more than 0.01 kWh in its credit registers (excluding the possible decrement of credit due to power being consumed). |
| 6 | Base current, Ib | (5 A |
| 7 | Maximum continuous current, Imax | ≥ 60 A |
| 8 | Starting current | 0.4% Ib |
| 9 | Rated frequency | 50 Hz |
| 10 | Variation in frequency | ± 4% |
| 11 | Power factor | 0.5 lag – unity – 0.8 lead |
| 12 | Class index | 1.0 |
| 13 | Clock | Built-in real time clock with 10 years battery backup |
| 14 | Display | LCD; Visibility should be sufficient to read the meter mounted at height of 0.5 to 2.0 m. Pin type; trans-reflective HTN or STN type industrial grade; temperature range –200C to +700C |
| 15 | Period of display | Continuous |
| 16 | Digits | WxH: 6 mm x 10 mm (minimum) |
| 17 | Maximum viewing angle | 160 degrees |
| 18 | Number of display digits | 5+1 |
| 19 | Display parameters | kWh for the current billing period Total kWh used since installation Current electricity rate Credit level Date and time Instantaneous load Instantaneous voltage, current & p.f. |
| 20 | Power consumption in the voltage circuit | ( 2 Watts and 5 VA |
| 21 | Harmonic energy | Meter shall record total energy including harmonic energy |
| 22 | Memory | Non volatile memory that retain information up to 10 years in the absence of power |
| 23 | Power limiting | Meter shall disconnect the load when a pre-programmed threshold power is reached. The threshold shall be programmable in steps of 500W or less. |
| 24 | Limit of Current | Shall be Programmable within the range of 0.02A >60 A |
| 25 | Tamper detection | Sensor to detect that terminal cover have been opened |
| 26 | Load disconnection | Latching relay |
| 27 | Audible alarm | Buzzer |
| 28 | Lightning Protection | In accordance with relevant IEC standard |
| 29 | Sealing Condition for Top cover | The meter body will be hermetrically sealed or ultrasonically welded. |
| 30 | Sealing Condition for Terminal cover | The meter terminal cover shall have twist tight sealing provision |

# 7.27.2  Mechanical requirements

The enclosure shall be tamper resistant and shall be suitable for indoor mounting. The meter shall be such that the internal components in the active part of the meter shall be protected against unintentional damage or tamper during handling and installation.

Furthermore, Meter supplied shall meet the following mechanical requirements.

| Sl. No. | Description | Specification |
| --- | --- | --- |
|  | Meter Case | The meter shall be constructed by employing flame retardant and high impact strength material. The base, body and frame including terminal block shall be of heat resistive; shock proof and rust proof good quality hard material e.g. unbreakable engineering or stamped metal or molded phenol resin which shall be capable of withstanding of 145( C. The base will be provided with 3 (three) screw mounting holes, 1 (one) slotted meter support bracket at the top and 1 (one) round hole on each side in the bottom half of the base for securely mounting the meter to the meter board. The meter cover shall be of molded black phenol resin or alternatively stamped metal or toughened glass or Poly-Carbonate. The meter cover shall be provided with a window of Poly-Carbonate or toughened glass. For display of LCD display. The meter shall be effectively sealed to prevent entrance of moisture, rain and dust into its internal parts. |
| 2 | Terminal | Side/bottom entry connection type; minimum 4 terminals to accommodate 10 mm2 duplex; terminal cover shall be extended type; Terminal block shall be polycarbonate grade 500R or equivalent bake lite; brass or copper current terminals; two flat-head brass screws at each terminal; terminal bore diameter 6 mm; |
| 3 | Minimum free space between bottom of terminal and terminal cover | 60 mm |
| 4 | Connections diagrams and terminal marking | Every meter shall be indelibly marked with a diagram of connection Meter terminals shall be marked, this marking shall appear on the diagram |
| 5 | Insulation level | Shall withstand a power frequency test of 4kV and impulse withstand test of 6 kV |
| 6 | Protection against penetration of dust and water | Conform to the degree of protection of IP51 or better |
| 7 | Top cover sealing | Should be hermetically or ultrasonically welded |
| 8 | Pulse output | Flashing LED visible from the front. |
| 9 | Maximum pulse frequency | Shall not exceed 2.5 kHz |
| 10 | Protection against magnetic field | Accuracy shall not be affected by AC/DC magnetic field on all the sides of meter. Meter working shall not be affected by permanent magnet of 0.5 tm. |
| 11 | Temperature range | Limit range of operation: -250C to 550C Limit range of storage and transport: -250C to 700C |
| 12 | Name plate | Every meter shall have clearly visible, indelibly and distinctly marked name plate containing the following information: Manufacturer’s name Meter type Number of phases and number of wire Meter serial number and year of manufacture Rated voltage of the system Basic current and maximum current Reference frequency in hertz Meter constant in imp/kWh Class index of the meter Over-current breaking capacity (in kA) Utility logo Contract No. Reference Standard |

# 7.27.3 Latching relay specifications

The specification for the single phase latching relay is as follows:

| Sl. no | Description | Requirements |
| --- | --- | --- |
| 1 | Manufacturers Name & Address | To be mentioned |
| 2 | No. of coils | 2 (two) |
| 3 | Rated coil voltage | 12 VDC |
| 4 | Rated coil power | 6 W |
| 5 | Pulse to set | 30 ms |
| 6 | Contact Material | Silver alloy |
| 7 | Maximum Switching Power | 15000 VA |
| 8 | Maximum Switching Voltage | 250 V AC |
| 9 | Maximum Switching Current (rams) | 80A |
| 10 | Contact resistance | ≤ 2 me |
| 11 | Electrical Cycle | 1x104 |
| 12 | Mechanical Cycle | 1x105 |
| 13 | Insulation resistance | ≥ 1000 MΩ |
| 15 | Dielectric Strength between contacts | ≥ 2000 VAC |
| 16 | Dielectric Strength between contact and coil (50 Hz) | ≥ 3000 VAC |
| 17 | Dielectric Strength between contacts assembly | ≥ 4000 VAC |
| 18 | Ambient temperature | -40 co ~ +55 co |
| 19 | Operating humidity | 40 to 90% |
| 20 | Temperature rise at rated current (assuming 300C room temp.) | 600C |

# 7.27.4 Meter sealing

a) 	Provision shall be for sealing the terminal of the meter with two twist tight seals

b) 	The twist tight seals shall be applied in such a way that it will not be possible to undo/loosen the mounting screws used to secure the meter without breaking these seals.

c) 	The stainless steel seals shall be applied in such a way that they will be easily visible when viewing an installed meter from the front.

# 7.27.5 Tamper detection

A tamper sensor shall be provided to detect that terminal cover has been opened both in power supply and without power supply.

7.27.6 Optical Interface

The meter shall have an IEC 62056-21 compliant optical communication port. This should allow the utility to access via front for variety of customer information stored inside the meter and to upload it into a hand held unit (HHU).

7.27.7 Remote Communication

The meter shall have remote communication option which will be able to interface with RS485 for data communication with the central server from meters.

7.28 Electromagnetic compatibility

(a) Immunity to electromagnetic disturbance

The meter shall be designed in such a way that conducted or radiated electromagnetic disturbances as well as electrostatic discharge do not damage or substantially influence the meter. The disturbances to be considered are:

- Electrostatic discharges

- Electromagnetic HF field

- Fast transient burst

(b) Radio interference suppression

The meters shall not generate conducted or radiated noise which could interfere with other equipment.

7.29 Accuracy requirements

(a) Limits of error due to variation of the current

The percentage errors shall not exceed the limits for the relevant accuracy class stipulated in IEC standard.

(b) Limits of error due to other influence quantities

The additional percentage error due to the change of influence quantities shall not exceed the limit for the reference accuracy class stipulated in IEC standard.

(c) Limits of error due to ambient temperature variation

The limits of error shall not exceed the limits stipulated in IEC standard.

(d) Starting and running with no-load

Initial start-up of the meter: The meter shall be fully functional within 5 seconds after the voltage is applied to the meter terminals.

Running with no load: When the voltage is applied with no current flowing in the current circuit the test output of the meter shall not produce more than one pulse.

Starting: The meter shall start and continue to register at 0.4Ib% at power factor of 1.

(e) Meter constant

The relation between the test output and the indication in the display shall comply with the marking on the name-plate.

7.30 Functional Requirement

7.30.1 Security

All credit and meter management tokens shall be meter specifically encrypted to guarantee security of the system. Encrypted tokens shall not be reusable. Tokens to display status and test the meter may be un-encrypted and reusable.

7.30.2 Token validation

If a token not meant for the meter is applied, the meter should display a message to that effect. Similarly, if a valid token is re-entered into the meter then the meter must display an appropriate message.

7.30.3 Meter personalization

In addition to factory personalization and personalization via encrypted tokens, it shall be possible to personalize the meter from a hand held unit (HHU) provided the HHU is authorized/ programmed to communicate with the meter.

7.30.4 Meter modes

The meter shall be required to support at least two modes of operation, namely the prepayment mode and the meter test mode.

### 7.30.5 Prepayment mode

The basis of this mode is that credit is transferred to the meter, and provided the meter remains in credit, the meter provides supply. The credit register is decremented against current consumption with the countdown total being displayed on the meter display.

7.30.6 Meter test mode

The meter should support a test mode that is activated either from a dedicated test token, or using the HHU. This test should be automated in the meter and should include a full diagnostic test, testing of the all the active and inactive functionality, metering accuracy test (1 minute load test), and connection validation tests. Meter test mode shall also display following information:

- Meters software version

- Current limit

- Switch open and close count

- Token acceptance & rejection count

7.30.7 Load disconnection

a)	The load shall be disconnected by a latching relay under the following conditions:

- The credit in the meter has expired and grace facilities also expired.

- The load power threshold has been exceeded.

- The meter is in a tampered state.

- Neutral missing at source side.

b)	The meter shall indicate whether the load is connected or not and shall display the reason for disconnection.

c) 	The customer shall not have the option to switch the contact manually. Under over – current conditions the mechanism to automatically reconnect the load must ensure that the number of switching cycles is limited. The meter shall attempt to reconnect the load up to 5 times at 30-second intervals. If the over-current condition still exits the meter shall wait a period of 30 minutes before attempting to reconnect the load.

7.30.8 Load control

Meters shall have the options to control loads with the following features:

| Sl. No. | Requirement | Description |
| --- | --- | --- |
| 1 | Allowed loads for given time periods | There shall be provision in the meter to define the allowable loads for given time periods within a day |
| 2 | Activation date of load allocation | There shall be provision in the meter to accommodate the date of activation of the defined load allocation |
| 3 | Load Limit step | Load limit shall be defined in step of 500 W. |

7.30.9 Tamper detection

Tamper shall be detected with and without power supply.

When the meter detects a tamper condition, it should enter a shutdown state, with an appropriate message. The customer should be disconnected immediately. The tamper status shall be reset by using a uniquely coded tamper reset token that may only be used once.

Meter should detect reverse flow of power and measure correctly by forward registration.

Meter should measure current in phase and neutral both so that current bypass tamper taken care off.

Meter should provide tamper log data with date and time and same should be sent to main system through two ways token or through meter reading port.

Removal of battery shall be considered as a temper.

7.30.10 Energy accounting

7.30.11 Credit register

The credit register is the “operating account” of the meter being decremented by the metering process. The specific requirements of this register are:

- This register must be decremented for the equivalent of every credit unit consumed.

- When the available credit has been consumed, the meter must open the contact and isolate supply from the customer (unless the Friendly hours or Emergency Credit option is invoked).

- This register can become negative from use of emergency credit.

- The balance of this register should be written to the token.

7.30.12 Friendly hours, weekend, holidays

The meter shall accommodate the “Friendly hours”, “Weekend” and “Holidays” features. These are time periods during which the meter shall not cut-off power to consumer if the credit becomes negative. Details of the features are described in the following table.

| Sl. No. | Requirement | Description |
| --- | --- | --- |
| 1 | Friendly hours | There shall be provision to define ‘Friendly hours’ in the meter. The utility shall be able to define the ‘Friendly hours’ and shall be communicated to the meter through token. |
| 2 | Weekend | There shall be provision to define ‘Weekend’ in the meter. The utility shall be able to define the weekend and shall be communicated to the meter through token. |
| 3 | Holidays | There shall be provision to define ‘Holidays’ in the meter. At the end of a year the utility shall be able to define new holiday dates and these shall be communicated to meter through token. |

7.30.13 Emergency credit

Provision shall be made in the meter for an Emergency Credit facility that allows the customer to draw on an emergency credit should the credit in the register be consumed.

The specific requirements of this facility are:

- When the credit register value reaches a programmable Emergency Credit Threshold the meter should sound an audible alarm, and prompt the user to accept the use of the Emergency Credit facility (card insertion). The meter should not supply energy against emergency credit unless acknowledged by the customer.

- If all the available credit in the credit register is expired and power disconnected, the facility to activate the Emergency Credit should remain an option to the user.

- The meter should remain in service until the Emergency Credit Limit has been reached, after which the supply should be disconnected.

- If the Emergency credit limit is set to zero, the Emergency Credit Threshold shall function as a low credit warning and provide the user with a visual and audible alarm that credit is low. The user shall have the option to silence the alarm by inserting a card or pressing a button to accept the alarm.

- If emergency credit has been previously consumed, then the value of emergency credit used shall be deducted from the next token inserted into the meter.

- Once emergency credit has been exhausted, no further credit facilities shall be available until the full emergency credit allocation has been paid for.

7.30.14 Consumption during current billing period

- This register records the cumulative energy consumption for the current billing period.

- The registers shall be updated at least every 10 Wh.

- The value of this register shall be written to the token (if applicable).

7.30.15 Historic consumption

For this option there are six energy registers that store the total energy consumed for the previous six months.

- These registers are cycled at during the month-end process, with the oldest data being deleted.

- The value of these registers written to the token (if applicable).

### 7.30.16 Cumulative energy consumption

- This register records the cumulative consumption since the meter was commissioned.

- The units of storage are kWh, rounded to two decimal points (10 who).

- The value of this register shall be written to the token (if applicable).

### 7.30.17 Tariff

All tariff calculation must be done within the meter.

The meter is required to support stepped tariffs structures as well as time-of-use and maximum demand.

The tariff structure consists of the following records:

- Each tariff must be uniquely identified using the tariff code

- Each tariff shall have an activation date, being the date on which the tariff becomes effective.

- Each tariff has up to seven steps (in kWh) for different levels of energy pricing.

- The rate describes the cost per kWh for energy consumption in that step.

### 7.30.18 Tariff management in the meter

- Tariffs shall be entered into the meter via the two-way token or HHU. The meter should not allow tariffs to be manually entered using the push buttons.

- When the meter is active, the current cannot be overwritten.

- The meter must time and date stamp when the tariff is loaded into meter.

- In general, when a tariff has expired in the meter, the tariff is automatically deleted by the meter.

### 7.30.19 Tariff security and verification

The meter shall write the active tariff code to the token on each insertion.

### 7.30.20 Tariff switchover

When the meter detects that a new tariff is applicable (using the tariff activation date), the meter should execute the following steps:

- The meter shall begin the billing against the new tariff.

- The current tariff code shall be updated to reflect the new tariff code.

- The old (expired) tariff should be deleted.

- New tariffs will only be activated at 00:00 on the first day of a month.

## 7.30.21 Billing

Billing operates on a monthly basis. Energy consumption charge is deducted within the meter for at least every 10 Wh. All other charges including service charge, minimum charge, vat and taxes are deducted at the POS.

### 7.30.22 Month-end calculation

At the end of each month, the meter should perform a month-end calculation that consists of the following minimum steps:

- The cumulative monthly energy registers must be reset, and the historic registers must be updated.

- The meter must determine whether a new tariff will become active, and if so, must delete the old tariff.

## 7.30.23 Date and time management

The meter shall be equipped with a real time clock supporting the date and time as per IEC standard. Pseudo-clock using mains crossing detection is not acceptable. The maximum drift of the clock shall be less than 30 seconds per month. The battery and/or auxiliary power source shall operate maintenance free for a period of at least 10 years.

The meter must be equipped with a battery monitoring system that monitors the battery’s condition and initiates a “Change Battery Alarm” to the point of sale when the battery approaches the end of its operating life.  If the battery is not replaced, the failure of the battery is deemed to constitute a meter failure, and the meter should be shut down.

Date and time may be changed using special device.

## 7.30.24 Human machine interface displays

### 7.31 General requirements

- The design philosophy of the meter display subsystem should be that a suitable message or indication must be displayed or annunciated for every meter event and alarm without exception.

- The meter should make provision for the customer or utility personnel to scroll through the displays.

- The meter should have a default display that displays the following minimum information:

- The Remaining Credit

- The Total Consumption, whir to date

- The power limit

- The current Tariff

### 7.32 Liquid crystal display

- A liquid crystal display is required to display status alarm and event information.

- An illuminated display with a minimum lifetime of ten years is required.

- The size (number of rows and characters per row) should be appropriate for the display and interpretation of the messages and meter information, and should be legible from a distance of at least 500 cm with a viewing angle of no less than 30(.

7.33 Fault and status display

The meter should provide a visible indication of the status of the incoming supply.

### 7.34 Rate LED

The meter should include a consumption rate indicator LED that emits visible red light.

### 7.35 Status/alarm/event displays

In addition to the displays required above the meter must display the following minimum information in an intuitive way such that an inexperienced user can understand and interpret the information intelligibly. Laminated instruction cards are to be provided for each unit.

- Meter ID.

- Out of Credit message

- Invalid token entered

- Duplicate token entered

- Meter tamper state

- Meter failure and/or fault code

The Tenderer must submit a detailed specification of the way in which the display are structured and laid out.

## 7.36 Meter identification cards

- In case of keypad meters, each meter shall be supplied with a meter identification card, which complies with NRS 009-4: 1995 (Not applicable for this tender).

- The printed details and graphic design of the cards shall be submitted to the utility prior to producing the cards.

## 7.37 Testing and approval

a) 	It will be the responsibility of the Tenderer to submit to the Employers representative for approval a complete Acceptance Test Procedure (ATP) for system verification.

b) 	Once the Employer’s representatives approve the ATP, the testing and performance validation tests on randomly selected sample meters of the to be supplied meters will commence.

7.38 Quality assurance

###### Tenderers shall comply with and be certified to the following ISO levels:

ISO 9001 Quality systems

Model for quality assurance in design development production installation and servicing

Model for quality assurance in final inspection and test

Tenderers shall submit copies of certification with their proposal to this effect.

# 7.39 SOFTWARE requirement

## 7.39.1 Data Exchange Format

The meter must be able read and write data to the smartcard in specific format if it is a smartcard based meter or decode information from encoded keys typed through the keypad if it is a keypad based meter.

## 7.39.1 Keypad Numbering Scheme: Not applicable for this tender

The meter number scheme will be the unique and be followed by a conversion of all the utilities. The number scheme will not be the scheme described but the description will be the basic of the conversion of the meter number scheme which will be supplied after signing of the contract

While the manufacturer is free to use any number scheme they see fit, the number scheme must be secure and use minimum number of digits and must always contain the following fields in encrypted form:

Meter ID

Recharged amount

Sanctioned Load

Sequence Number

The meter must check the validity of these fields before recharging the credit. The sequence number is an auto generated number starting from 1 for each recharge or keypad numbers. A keypad number will only be accepted if the previous number has been keyed in. For example if a consumer goes to POS to recharge 300Tk and gets key code xxxyyyzzz (which contains sequence number n). The next month he goes again to recharge 250Tk and gets key code pppqqqrrr (which contains sequence number n+1). Key code pppqqqrrr will only be accepted if xxxyyyzzz has been keyed in previously i.e. meter will only accept a key code containing sequence number ‘n’ if at some point key code containing sequence number ‘n-1’ has been keyed in. This is to ensure that key codes are not discarded by a consumer intentionally.

Periodically it may be necessary to generate a key code that contains more data. The key code scheme must be able to accommodate the following data if and when required:

Meter ID

Recharged amount

Sanctioned Load

Sequence Number

Load Change

- Sanctioned Load

- Start Time

Rate

- Start Unit

- Peak Rate

- Off peak Rate

- Activation Date

Holiday

- Month

- Day

It is assumed that the keypad number with only the meter id, amount, load and sequence number will be a lot shorter that the key code containing all the rate information.

## 7.39.2 Smart Card Data Format

SLE4428 or 100% compatible 1K Byte EEPROM Memory Card must be used in the card based meter. The memory card will have encrypted and no encrypted memory parts. The encrypted bytes must be generated by the meter SDK/API as supplied by the manufacturer. The manufacturer is free to use any encoding scheme to secure the data but must contain all the data as mentioned in the following table:

| Data | Bytes | Memory Address (Bytes) |
| --- | --- | --- |
| Non Encrypted Data |
| Binary Pattern (1010110011110000) | 2 | 1-2 |
| Version | 1 | 3 |
| Meter ID | 10 | 4-13 |
| Consumer ID | 10 | 14-23 |
| Utility ID | 2 | 24-25 |
| Sanctioned Load (kW) | 6 | 26-31 |
| Meter Type | 1 | 32 |
| Sanctioned Load Exceeded | 1 | 33 |
| Last Recharge Amount | 2 | 34-35 |
| Last Recharged Date (DMY) | 3 | 36-38 |
| Last Transaction ID | 10 | 39-48 |
| Unused/Future Provision | 55 | 49-100 |
| Encrypted Data as Generated by the Meter Manufacturer SDK/API |
| The following Data must exist within the encrypted Data: Data To Meter: Meter ID Consumer ID Utility ID Sanctioned Load Recharge Amount Weekend Emergency Account Friendly Hour (start/end) Peak Hour (start/end) Buzzer Volume Rates Rate starts at unit Rate at Peak Rate at Off peak Activation Date Holidays Month Day Load Change Start Time (hour/minute) Sanctioned Load Data From Meter: Tamper Status RTC Status LR Status Usage Data for the last 6 months individually Month Year KWh Taka Recharged Taka Used Average Power Reactive Power Maximum Power Volt Ampere KWh in Peak KWh in Off peak Kvarh in Peak Kvarh in Off peak Total charge in Peak Total charge in Off peak Number of power failures Number of time sanctioned load exceeded Tamper Number of times tampered Date/Time of Tamper | 923 | 101-1024 |

## 7.39.3 Encrypted Data Generation SDK

Encrypted Data Generation SDK/API as described in Part 2 of the Tender Document. Here it should be mentioned that the Encrypted Data Generation SDK/API is a perception only it could be changed or modified with respect to the manufacturer that varies.

The meter manufacturer must provide SDK/API to generate encrypted that suitable for the meter to process and understand the API interface that has been developed in JAVA and operating system is on Linux.

The manufacturer must provide:

- Library compiled in GCC Linux that can be integrated in Java Program.

- Sample project and source code illustrating usage of provided java program

- Documentation of each function, input and output.

Work with utility to make sure that all software follows the defined standards, agree on change with all partners if required.

The following functions and parameters must be implemented:

Function Lists:

## Function meter_encode:

Command

meter_encode

Parameters

| Parameter | Data Type |
| --- | --- |
| Recharge_amount | Integer |
| Sanctioned_load | Float |
| Sequence Number | Integer |
| Rate | Array |
| Holiday | Array |
| Loss | Array |
| Load Change | Array |
| Meter_id | String |
| Expected_output | Unsigned char (1=keycode, 2=binary data) |
| Meter_id | String |
| Sanctioned Load Weekend Emergency Account Friendly Hour (start/end) Peak Hour (start/end) Buzzer Volume Rate, Holiday, Loss, Load Change includes: Rates Rate starts at unit Rate at Peak Rate at Off peak Activation Date Holidays Month Day Loss Loss Type Loss Rate Load Change Start Time (hour/minute) Sanctioned Load | Array |

Response

| Parameter | Data Type |
| --- | --- |
| Status | Boolean |
| Amount | Float |
| Encoded_Data | Byte array |
| Key code | String |
| Meter_id | String |

## Function meter_decode:

Command

meter_decode

Parameters

| Parameter | Data Type |
| --- | --- |
| Meter_id | String |
| Encoded_Data | Byte array |

Response

| Parameter | Data Type |
| --- | --- |
| Status | Boolean |
| Tamper Status RTC Status LR Status Usage Data for the last 6 months individually Month Year KWh Taka Recharged Taka Used Average Power Reactive Power Maximum Power Volt Ampere KWh in Peak KWh in Off peak KVarh in Peak KVarh in Off peak Total charge in Peak Total charge in Off peak Number of power failures Number of time sanctioned load exceeded Loss Charge Type of Loss Loss charge in Peak Loss charge Off peak Tamper Number of times tampered Date/Time of Tamper | Array |

## 7.39.4 Meter Numbering

The meter number scheme will be finalized at the time of design approval.

7.40 Tariff Management

### 7.40.1 Tariff Definition

The System Manager shall be able to define tariff objects. Each tariff has a unique tariff ID associated with it. The following information is required to define a tariff.

| Tariff ID | A unique tariff identifier |
| --- | --- |
| Effective Date | The date on which the tariff will be effective. |

| Step Structure | Step | Rate |
| --- | --- | --- |
|  | 0 - kWh1 | R1 |
|  | kWh1 - kWh2 | R2 |
|  | kWh2 - kWh3 | R3 |
|  | kWh3 - | R4 |

| Subject | Tariff Category | PFC Calculation |
| --- | --- | --- |
| Power Factor Correction (PFC) Charges | `A’ & `D’ Category,3phase, 400V, 20KW & above | 0.95 PFC= power factor obtained from meter |
|  | `C’ Category, 3phase,400V |  |
|  | `E’ Category, 3phase,400V |  |

| Subject | Tariff Category | Time |
| --- | --- | --- |
| Time of Use | `C’ & `E’ Category, | Peak – 17:00 to 23:00 Off Peak-23:00 to 17:00 |

| Service Charges | Fixed charges are levied per month. These charges are different for single phase and three phase meters in a particular tariff category. |
| --- | --- |
| Minimum Charges | There will be no minimum charges for Pre-Paid System. |
| Sanctioned Demand Charges (Fixed Charge) | A fixed charge per kW of the sanctioned demand is levied per month. |
| Maximum Demand Charges | Integrated over ½ hourly periods Maximum Demand in KW. |
| VAT | Value added tax is levied on electricity charges and must be catered for in the system. |

- The tariff code, effective date, kWhx (in units of kWh), Rx together with a fixed monthly service charge Service Charges and a fixed monthly sanctioned demand shall be used to define all prepaid tariffs used in the system.

- The MIC shall make provision for up to 500 tariff definitions.

- The MIC must verify the tariff data entered and shall not allow discontinuities in the energy levels or negative rates for energy and fixed charges.

- There shall be a facility to copy tariffs to new tariff codes for editing purposes. The edit facility shall include a mechanism to increase the values of any of the variables Rx, SC and DC by a fixed percentage.

- Tables of Supply Group Codes and tariffs shall be securely stored at the MIC.

- No penalty Charges for Power Factor above 0.95 to 1.0. Power Factor Correction Charge is computed as above and average power factor is measured by meter based on only reactive energy. The monthly average power factor from meter is used for the factor and applied on the monthly consumption.

### 7.40.2 Tariff Algorithm

The prepayment system could be implemented stepped tariffs. The tariffs will be implemented at the vending equipment/meter. The algorithm must ensure that:

- The Stepped tariffs is implemented in meter as accurately as is the case for conventionally bitted customers.

- Customers ate not restricted to the amount  and frequency of electricity token purchases provided purchases do not exceed 12 times the calculated  monthly average consumption without penalty.

- If any tariff changes, tariff update with effective date sent to meters through smart card at the time of purchase for smart card meters. The updated tariff will be sent using special numbers for keypad meters. For both meters, after utility decides the tariff update, all purchase of credit (with keypad number of smart card) will carry and tariff change flag. So that the meter will not accept any credit  addition until it gets the tariff update.

- Customers will purchase only following credit transfer principles.

- Before any new purchase in a particular month the fixed charges are deducted for the first time and the rest of the money paid by customer will be sent to meter through card or number as credit.

- For consecutive purchase in the same month, credit values without any fixed charge will be sent to the meter.

- Slab reset service charges, power factor penalty (PFC) should be monthly basis.

- The tender shall provide a detailed description of the algorithm including:

- All assumptions made.

- An explanation of how the averaging algorithm operates.

- Examples of how the algorithm works.

- Examples of how to explain the algorithm to customers.

- Examples of how to deal with customers queries.

- Description of how the algorithm manages tariff rate and tariff structure change.

- Description to apply corrections

- Description to mechanisms to how to deal with the situation where a customer buys at two different locations between data transfers.

- Online data transfer is required so that customers can by token from any vending system and different locations.

Specification

for

Three Phase Online Pre-payment Energy Meters

7.41 Scope

This specification covers the design, manufacture, testing and supply of static three phase direct connected pre-payment energy meters of accuracy Class 1.

# 7.42 Scope of Supply

The tenderer shall be responsible for supply, installation, testing & commissioning with related services packing, loading, shipment, custom clearance if necessary, and transportation, insurance and unloading at site. The supplied meters will be operated by existing purchasers’ software (API attached in part-2 of this STD). Inerfacing of the offered meter is the responsible of the tender.

| Item No. | Name of Goods or Related Services | Description | Unit Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1. | Supply and installation of Pre-payment Energy Meter including necessary accessories packing, loading, shipment, custom clearance if necessary, and transportation, insurance and unloading at site | Three phase, 400 Voltage (phase to phase), 10(100)A | Each | 4,000 |

Three phase prepayment meters shall be installed and commissioned according to the minimum guidelines as set out in technical specification. Prior to installation of meters customers shall be forewarned by delivery of a notice explaining what will happen. Public relations will be responsibility of the utility companies.

The installation team shall have a work order sheet instructing them what to do. The following information shall be printed on the works order from:

| Customer Name | : | Supplied by the Utility and verified by Survey. |
| --- | --- | --- |
| Customer address | : | Supplied by the Utility and verified by Survey. |
| Old Account Number | : | Supplied by the Utility. |
| Old Meter Number & Reading | : | Supplied by the Utility. |
| Tariff Code | : | The specific tariff to be allocated to the customer must be identified by the tariff code. |

There are different categories of installations that will be required:

- Removal of induction and conventional meter and direct installation of pre-paid meter with additional wiring or service line work, where required.

- Removal of induction and conventional meter re-routing of wiring with replacement of service connection (where required) and installation of pre-paid meter. Potential joints shall not be allowed in service drop cable.

- Removal of service line (where required) and meter. Replacement of service connection and installation of meter.

- New customer installation including service connection and installation of pre-payment meter.

The following guide lines must be followed by the supplier during installation of the meters:

- The meters shall be sealed with Twist type seals.

- Meters shall be tested and commissioned by the installation supervisor using the data from the works order form to program the tariff details.

- At the time of meter installation the customer’s induction and conventional post-paid meter reading shall be captured/noted on the order by the installation supervisor and the data returned to the MIC. The date of commissioning is also entered onto the work order form.

- Customers shall be registered at the MIC using the returned work order form within 24 hours of commissioning.

- The service connections shall not be replaced unless the survey indicates service line with joints or inadequately rated service lines or bad in selected line.

- All meters shall be installed indoors at a suitable location convenient to the eye-level of customer as well as service personnel away from sources of heat and moisture.

- The installation shall be symmetrical, vertical and parallel to respective walls and floors. From the points where the service enters customers building, it shall be enclosed through an appropriate size (dia) PVC pipe until it enters the metering house.

- The piping shall be clamped or saddled at a maximum of 250 mm intervals.

- At the time of installation on site training and instruction shall be given to the customer.

- All other necessary accessories will be supplied by the Contractor.

# 7.43 GENERAL TECHNICAL REQUIREMENTS

## 7.43.1 Service conditions

The meters to be supplied against this specification shall be suitable for satisfactory continuous operation under the following tropical conditions.

| Sl. No. | Condition | Specification |
| --- | --- | --- |
| 1 | Maximum ambient temperature (oC) | 50 |
| 2 | Minimum ambient temperature (oC) | 5 |
| 3 | Maximum daily average temperature (oC) | 35 |
| 4 | Maximum annual average temperature (oC) | 30 |
| 5 | Mean annual rainfall (mm) | 2500 |
| 6 | Minimum annual rainfall (mm) | 1461 |
| 7 | Maximum annual rainfall (mm) | 4127 |
| 8 | Maximum relative humidity (%) | 100 |
| 9 | Average relative humidity (%) | 80 |
| 10 | Maximum wind velocity (km/h) | 180 |
| 11 | Maximum altitude above mean sea level (meters) | 200 |

## 7.43.2  Environmental Requirements

The meter shall conform to the environmental capability requirements as documented in IEC 62052-11, 62053-21 and 62053-23. In addition to that, the following minimum requirements shall be met.

- The meter shall be protected against malfunction due to the ingress of vermin, by conformal coating of the printed circuit boards in the meter.

## Any openings shall be as small as practically possible to prevent the ingress of dirt and vermin and to limit the potential for vandalism or tamper following IP 51.

## 7.43.3 Standards and codes of practice

All material and equipment supplied and all works carried out shall comply in every respect with the technical codes of the International Organization for Standardization (ISO) and with the recommendations of the International Electro technical Commission (IEC), which apply to the electrical equipment.

Goods and special guarantees beyond the scope of ISO and IEC shall conform at least to one of the following standards and codes in the following priority:

- VDE and DIN standards

- BS or ASTM

- Other internationally accepted standards which ensure a quality equal to or higher than the standards mentioned above, but only if these are submitted in the English language edition.

The following documents shall be read in conjunction with this specification. In case of conflict, however, this document shall take precedence. Nothing in this specification shall lessen the contractors obligations detailed in any other documents forming part of the contract.

| IEC 514 | Acceptance inspection of Class 1 alternating current watt-hour meters. |
| --- | --- |
| IEC 735 | Testing equipment for electrical energy meters. |
| IEC 62052-11 | Electricity metering equipment (AC)- General requirements, tests and test Conditions- Part 11: Metering equipment |
| IEC 62055-21, IEC 62055-31 | Electricity metering – Payment systems Part 21: Framework for standardization Part 31: Particular requirements- Static payment meters for active energy (classes 1). |
| IEC 62053-21, IEC 62053-23 | Electricity metering equipment (arc.) - Particular requirements – Part 21: Static meters for active energy (classes 1 and 2) Part 23: Static meters for reactive energy (classes 2 and 3) |
| IEC 1036 | Alternating current static watt-hour meters for active energy (classes 1 and 2). |
| IEC 1038 | Time switches for tariff and load control |
| IEC 1107 | Data exchange for meter reading, tariff and load control and direct local data exchange |
| IEC 58 | Shock and vibration, humidity, solar radiation and salt mist etc |
| ISO 9001 | Code of practice for quality systems part 1: Model for quality assurance in design/development, production, installation and servicing. |
| IEC 62054 | Real Time Clock (RTC) |
| Others | All other relevant IEC specifications for metering equipment |

# 7.44 SPECIFIC TECHNICAL REQUIREMENTS

The meters to be supplied against this specification shall meet the requirements specified in this clause.

## 7.44.1 Electrical requirements

Meter supplied shall meet the following electrical requirements.

| Sl. No | Description | Specification |
| --- | --- | --- |
| 1 | Connection | 3-phase, 4-wire, direct connected (unidirectional) |
| 2 | Number of element | 3 (Three) |
| 3 | Rated voltage | 400 V phase to phase |
| 4 | Variation in voltage | +30% to –30%; |
| 5 | Continuous over voltage | Should withstand 500 volts for 48 hours without causing any damage or degrading of its operating life, or causing changes of more than 0.01 kWh in its credit registers (excluding the possible decrement of credit due to power being consumed). |
| 6 | Base current, I | ( 10 A |
| 7 | Maximum continuous current, Imax | ≥ 100 A |
| 8 | Starting current | 0.4% I |
| 9 | Rated frequency | 50 Hz |
| 10 | Variation in frequency | ± 4% |
| 11 | Power factor | 0.5 lag – unity – 0.8 lead |
| 12 | Class index | 1.0 |
| 13 | Clock | Built-in real time clock with 10 years battery backup |
| 14 | Display | LCD; Visibility should be sufficient to read the meter mounted at height of 0.5 to 2.0 m. Pin type; trans-reflective HTN or STN type industrial grade; temperature range –200C to +700C |
| 15 | Period of display | Continuous |
| 16 | Digits | Who: 6 mm x 10 mm (minimum) |
| 17 | Maximum viewing angle | 160 degrees |
| 18 | Number of display digits | 5+1 |
| 19 | Display parameters | kWh for the current billing period Total kWh used since installation Current electricity rate Credit level Date and time Instantaneous load Instantaneous phase voltage Instantaneous phase current Instantaneous puff |
| 20 | Power consumption in the voltage circuit | ( 5 Watts and 10 VA |
| 21 | Harmonic energy | Meter shall record total energy including harmonic energy |
| 22 | Memory | Non volatile memory that retain information up to 10 years in the absence of power |
| 23 | Power limiting | Meter shall disconnect the load when a pre-programmed threshold power is reached. The threshold shall be programmable in steps of 500W or less. |
| 24 | Limit of Current | Shall be Programmable within the range of 0.04A > 100 A |
| 25 | Tamper detection | Sensor to detect that terminal cover have been opened |
| 26 | Load disconnection | Latching relay |
| 27 | Audible alarm | Buzzer |
| 28 | Lightning Protection | In accordance with relevant IEC standard |
| 29 | Sealing Condition for top cover | The meter body will be hermetically sealed or ultrasonically welded. |
| 30 | Sealing Condition for terminal cover | The terminal cover shall have provision for sealing with twist tight seals |

## 7.44.2 Mechanical requirements

The enclosure shall be tamper resistant and shall be suitable for indoor mounting. The meter shall be such that the internal components in the active part of the meter shall be protected against unintentional damage or tamper during handling and installation.

Furthermore, Meter supplied shall meet the following mechanical requirements.

| Sl. No. | Description | Specification |
| --- | --- | --- |
|  | Meter Case | The meter shall be constructed by employing flame retardant and high impact strength material. The base, body and frame including terminal block shall be of heat resistive; shock proof and rust proof good quality hard material e.g. unbreakable engineering or stamped metal or molded phenol resin which shall be capable of withstanding of 145( C. The base will be provided with 3 (three) screw mounting holes, 1 (one) slotted meter support bracket at the top and 1 (one) round hole on each side in the bottom half of the base for securely mounting the meter to the meter board. The meter cover shall be of molded black phenol resin or alternatively stamped metal or toughened glass or Poly-Carbonate. The meter cover shall be provided with a window of Poly-Carbonate or toughened glass for display of LCD display. The meter shall be effectively sealed to prevent entrance of moisture, rain and dust into its internal parts. |
| 2 | Terminal | Side/bottom entry connection type; minimum 8 terminals to accommodate 16 mm2 duplex; terminal cover shall be extended type; Terminal block shall be polycarbonate grade 500R or equivalent bakelite; brass or copper current terminals; two flat-head brass screws at each terminal; terminal bore diameter 8.5 mm; |
| 3 | Minimum free space between bottom of terminal and terminal cover | 60 mm |
| 4 | Connections diagrams and terminal marking | Every meter shall be indelibly marked with a diagram of connection Meter terminals shall be marked, this marking shall appear on the diagram |
| 5 | Insulation level | Shall withstand a power frequency test of 4kV and impulse withstand test of 6 kV |
| 6 | Protection against penetration of dust and water | Conform to the degree of protection of IP51 or better |
| 7 | Top cover sealing | Hermitically sealed or ultrasonic welded |
| 8 | Pulse output | Flashing LED visible from the front. |
| 9 | Maximum pulse frequency | Shall not exceed 2.5 kHz |
| 10 | Protection against magnetic field | Accuracy shall not be affected by AC/DC magnetic field on all the sides of meter. Meter working shall not be affected by permanent magnet of 0.5 mT. |
| 11 | Temperature range | Limit range of operation: -250C to 550C Limit range of storage and transport: -250C to 700C |
| 12 | Name plate | Every meter shall have clearly visible, indelibly and distinctly marked name plate containing the following information: Manufacturer’s name Meter type Number of phases and number of wire Meter serial number and year of manufacture Rated voltage of the system Basic current and maximum current Reference frequency in hertz Meter constant in imp/kWh Class index of the meter Over-current breaking capacity (in kA) Utility logo |

## 7.44.3  Latching relay specifications

The specification for the three phase latching relay is as follows:

| Sl. No | Description | Requirements |
| --- | --- | --- |
| 1 | Manufacturers Name & Address | To be mentioned |
| 2 | No. of coils | 2 (two) |
| 3 | Rated coil voltage | 12 VDC |
| 4 | Rated coil power | 9 W |
| 5 | Pulse to set | 30 ms |
| 6 | Contact Material | Silver alloy |
| 7 | Maximum Switching Power | 25,000 VA |
| 8 | Maximum Switching Voltage | 250 V AC |
| 9 | Maximum Switching Current (rms) | 120A |
| 10 | Contact resistance | ≤ 2 mΩ |
| 11 | Electrical Cycle | 5x103 |
| 12 | Mechanical Cycle | 1x105 |
| 13 | Insulation resistance | ≥ 1,000 MΩ |
| 14 | Dielectric Strength between open contacts | ≥ 2,000 VAC |
| 15 | Dielectric Strength between contact and coil (50 Hz) | ≥ 3,000 VAC |
| 16 | Dielectric Strength between contacts assembly | ≥ 4,000 VAC |
| 17 | Ambient temperature | -40 oC ~ +55 oC |
| 18 | Operating humidity | 40 to 90% |
| 19 | Temperature rise at rated current (assuming 300C room temp.) | 600C |

## 7.44.3 Meter sealing

a) 	Provision shall be for sealing the terminal of the meter at least two twist tight seals.

b) 	The stainless steel seals shall be applied in such a way that it will not be possible to undo/loosen the mounting screws used to secure the meter without breaking these seals.

c) 	The stainless steel seals shall be applied in such a way that they will be easily visible when viewing an installed meter from the front.

## 7.44.4  Tamper detection

## A tamper sensor shall be provided to detect that terminal cover has been opened both in power supply and without power supply.

## 7.44.5  Optical Interface

The meter shall have an IEC 62056-21 compliant optical communication port. This should allow the utility to access via front for variety of customer information stored inside the meter and to upload it into a hand held unit (HHU).

## 7.44.6  Electromagnetic compatibility

(a) Immunity to electromagnetic disturbance

The meter shall be designed in such a way that conducted or radiated electromagnetic disturbances as well as electrostatic discharge do not damage or substantially influence the meter. The disturbances to be considered are:

- Electrostatic discharges

- Electromagnetic HF field

- Fast transient burst

(b) Radio interference suppression

The meters shall not generate conducted or radiated noise which could interfere with other equipment.

## 7.44.7 Accuracy requirements

(a) Limits of error due to variation of the current

The percentage errors shall not exceed the limits for the relevant accuracy class stipulated in IEC standard.

(b) Limits of error due to other influence quantities

The additional percentage error due to the change of influence quantities shall not exceed the limit for the reference accuracy class stipulated in IEC standard.

(c) Limits of error due to ambient temperature variation

The limits of error shall not exceed the limits stipulated in IEC standard.

(d) Starting and running with no-load

Initial start-up of the meter: The meter shall be fully functional within 5 seconds after the voltage is applied to the meter terminals.

Running with no load: When the voltage is applied with no current flowing in the current circuit the test output of the meter shall not produce more than one pulse.

Starting: The meter shall start and continue to register at 0.2Ib% at power factor of 1.

(e) Meter constant

The relation between the test output and the indication in the display shall comply with the marking on the name-plate.

## 7.44.8 Remote Communication

The meter shall have remote communication option which will be able to interface with  RS485 for data communication with the central server from meters.

# 7.45 Functional requirement

## 7.45.1 Security

All credit and meter management tokens shall be meter specifically encrypted to guarantee security of the system. Encrypted tokens shall not be reusable. Tokens to display status and test the meter may be un-encrypted and reusable.

## 7.45.2 Token validation

If a token not meant for the meter is applied the meter should display a message to that effect. Similarly, if a valid token is re-entered into the meter then the meter must display an appropriate message.

## 7.45.3 Meter personalization

In addition to factory personalization and personalization via encrypted tokens, it shall be possible to personalize the meter from a hand held unit (HHU) provided the HHU is authorized/programmed to communicate with the meter.

## 7.45.4 Meter modes

The meter shall be required to support at least two modes of operation, namely the prepayment mode and the meter test mode.

### 7.45.5 Prepayment mode

The basis of this mode is that credit is transferred to the meter, and provided the meter remains in credit, the meter provides supply. The credit register is decremented against current consumption with the countdown total being displayed on the meter display.

### 7.45.6 Meter test mode

The meter should support a test mode that is activated either from a dedicated test token, or using the HHU. This test should be automated in the meter and should include a full diagnostic test, testing of the all the active and inactive functionality, metering accuracy test (1 minute load test), and connection validation tests. Meter test mode shall also display following information:

- Meters software version

- Current limit

- Switch open and close count

- Token acceptance & rejection count

## 7.45.7 Load disconnection

a)	The load shall be disconnected by a latching relay under the following conditions:

- The credit in the meter has expired and grace period also expired.

- The load power threshold has been exceeded.

- The meter is in a tampered state.

- Neutral missing at source side.

b)	The meter shall indicate whether the load is connected or not and shall display the reason for disconnection.

c) 	The customer shall not have the option to switch the contact manually. Under over – current conditions the mechanism to automatically reconnect the load must ensure that the number of switching cycles is limited. The meter shall attempt to reconnect the load up to 5 times at 30-second intervals. If the over-current condition still exits the meter shall wait a period of 30 minutes before attempting to reconnect the load.

## 7.45.8 Load control

Meters shall have the options to control loads with the following features:

| Sl. No. | Requirement | Description |
| --- | --- | --- |
| 1 | Allowed loads for given time periods | There shall be provision in the meter to define the allowable loads for given time periods within a day |
| 2 | Activation date of load allocation | There shall be provision in the meter to accommodate the date of activation of the defined load allocation |
| 3 | Load Limit step | Load limit shall be defined in step of 500 W. |

## 7.45.9 Tamper detection

Tamper shall be detected with and without power supply.

When the meter detects a tamper condition, it should enter a shutdown state, with an appropriate message. The customer should be disconnected immediately. The tamper status shall be reset by using a uniquely coded tamper reset token that may only be used once.

Meter should detect reverse flow of power and measure correctly by forward registration.

Meter should measure current is phase and neutral both so that current bypass tamper taken care off.

Meter should provide tamper log data with date and time and same should be sent to main system through two way token or through meter reading port.

Removal of battery shall be considered as a temper.

The meter shall operate normally under the following conditions:

Phase Sequence Reversal: The meter should work accurately irrespective of phase sequence of the supply.

Shorting / By Passing: The meter shall have capability to record bypassing / shorting and opening of current coil(s) of one or any two phases with date, time.

Missing Potential: The meter shall be capable of detecting and recording occurrences and restorations of missing potential (1 phase or 2 phases) which can happen due to intentional/ accidental disconnection of potential leads with date and time along with total no. of such occurrences for all phases during the above period.

## 7.45.10 Energy Accounting

### 7.45.11 Credit register

The credit register is the “operating account” of the meter being decremented by the metering process. The specific requirements of this register are:

- This register must be decremented for the equivalent of every credit unit consumed.

- When the available credit has been consumed, the meter must open the contact and isolate supply from the customer (unless the Friendly hours or Emergency Credit option is invoked).

- This register can become negative from use of emergency credit.

- The balance of this register should be written to the token.

### 7.45.11 Friendly hours, weekend, holidays

The meter shall accommodate the “Friendly hours”, “Weekend” and “Holidays” features. These are time periods during which the meter shall not cut-off power to consumer if the credit becomes negative. Details of the features are described in the following table.

| Sl.No. | Requirement | Description |
| --- | --- | --- |
| 1 | Friendly hours | There shall be provision to define ‘Friendly hours’ in the meter. The utility shall be able to define the ‘Friendly hours’ and shall be communicated to the meter through token. |
| 2 | Weekend | There shall be provision to define ‘Weekend’ in the meter. The utility shall be able to define the weekend and shall be communicated to the meter through token. |
| 3 | Holidays | There shall be provision to define ‘Holidays’ in the meter. At the end of a year the utility shall be able to define new holiday dates and these shall be communicated to meter through token. |

### 7.45.12 Emergency credit

Provision shall be made in the meter for an Emergency Credit facility that allows the customer to draw on an emergency credit should the credit in the register be consumed.

The specific requirements of this facility are:

- When the credit register value reaches a programmable Emergency Credit Threshold the meter should sound an audible alarm, and prompt the user to accept the use of the Emergency Credit facility (card insertion). The meter should not supply energy against emergency credit unless acknowledged by the customer.

- If all the available credit in the credit register is expired and power disconnected, the facility to activate the Emergency Credit should remain an option to the user.

- The meter should remain in service until the Emergency Credit Limit has been reached, after which the supply should be disconnected.

- If the Emergency credit limit is set to zero, the Emergency Credit Threshold shall function as a low credit warning and provide the user with a visual and audible alarm that credit is low. The user shall have the option to silence the alarm by inserting a card or pressing a button to accept the alarm.

- If emergency credit has been previously consumed, then the value of emergency credit used shall be deducted from the next token inserted into the meter.

- Once emergency credit has been exhausted, no further credit facilities shall be available until the full emergency credit allocation has been paid for.

### 7.45.13 Consumption during current billing period

- This register records the cumulative energy consumption for the current billing period.

- The registers shall be updated at least every 10 Wh.

- The value of this register shall be written to the token (if applicable).

### 7.45.14 Historic consumption

For this option there are six energy registers that store the total energy consumed for the previous six months.

- These registers are cycled at during the month-end process, with the oldest data being deleted.

- The value of these registers written to the token (if applicable).

### 7.45.15 Cumulative energy consumption

- This register records the cumulative consumption since the meter was commissioned.

- The units of storage are kWh, rounded to two decimal points (10 Wh).

- The value of this register shall be written to the token (if applicable).

## 7.46 Tariff

All tariff calculation must be done within the meter.

The meter is required to support stepped tariffs structures as well as time-of-use and maximum demand.

The tariff structure consists of the following records:

- Each tariff must be uniquely identified using the tariff code

- Each tariff shall have an activation date, being the date on which the tariff becomes effective.

- Each tariff has up to seven steps (in kWh) for different levels of energy pricing.

- The rate describes the cost per kWh for energy consumption in that step.

### 7.46.1 Tariff management in the meter

- Tariffs shall be entered into the meter via the two-way token or HHU. The meter should not allow tariffs to be manually entered using the push buttons.

- When the meter is active, the current cannot be overwritten.

- The meter must time and date stamp when the tariff is loaded into meter.

- In general, when a tariff has expired in the meter, the tariff is automatically deleted by the meter.

### 7.46.2 Tariff security and verification

The meter shall write the active tariff code to the token on each insertion.

### 7.46.3 Tariff switchover

When the meter detects that a new tariff is applicable (using the tariff activation date), the meter should execute the following steps:

- The meter shall begin the billing against the new tariff.

- The current tariff code shall be updated to reflect the new tariff code.

- The old (expired) tariff should be deleted.

- New tariffs will only be activated at 00:00 on the first day of a month.

## 7.46.4 Billing

Billing operates on a monthly basis. Energy consumption charge is deducted within the meter for at least every 10 Wh. All other charges including service charge, minimum charge, vat and taxes are deducted at the POS.

### 7.46.5 Month-end calculation

At then end of each month, the meter should perform a month-end calculation that consists of the following minimum steps:

- The cumulative monthly energy registers must be reset, and the historic registers must be updated.

- The meter must determine whether a new tariff will become active, and if so, must delete the old tariff.

7.46.6 Date and time management

The meter shall be equipped with a real time clock supporting the date and time as per IEC Standard. Pseudo-clock using mains crossing detection is not acceptable. The maximum drift of the clock shall be less than 30 seconds per month. The battery and/or auxiliary power source shall operate maintenance free for a period of at least 10 years.

The meter must be equipped with a battery monitoring system that monitors the battery’s condition and initiates a “Change Battery Alarm” to the point of sale when the battery approaches the end of its operating life.  If the battery is not replaced, the failure of the battery is deemed to constitute a meter failure, and the meter should be shut down.

Date and time may be changed using special token carrier. Date and time changes shall be flagged, written to the token carrier and transferred to the POS at the next purchase.

## 7.47 Human machine interface displays

### 7.47.1 General requirements

- The design philosophy of the meter display subsystem should be that a suitable message or indication must be displayed or annunciated for every meter event and alarm without exception.

- The meter should make provision for the customer or utility personnel to scroll through the displays.

- The meter should have a default display that displays the following minimum information:

- The Remaining Credit

- The Total Consumption, kWh to date

- The power limit

- The current Tariff

### 7.47.2 Liquid crystal display

- A liquid crystal display is required to display status alarm and event information.

- An illuminated display with a minimum lifetime of ten years is required.

- The size (number of rows and characters per row) should be appropriate for the display and interpretation of the messages and meter information, and should be legible from a distance of at least 500 cm with a viewing angle of no less than 30(.

### 7.47.3 Fault and status display

The meter should provide a visible indication of the status of the incoming supply.

### 7.47.4 Rate LED

The meter should include a consumption rate indicator LED that emits visible red light.

### 7.47.5 Status/alarm/event displays

In addition to the displays required above the meter must display the following minimum information in an intuitive way such that an inexperienced user can understand and interpret the information intelligibly. Laminated instruction cards are to be provided for each unit.

- Meter ID.

- Out of Credit message

- Invalid token entered

- Duplicate token entered

- Meter tamper state

- Meter failure and/or fault code

The tenderer must submit a detailed specification of the way in which the display are structured and laid out.

## 7.47.6 Meter identification cards

- In case of keypad meters, each meter shall be supplied with a meter identification card, which complies with NRS 009-4: 1995. (Not applicable for this tender)

- The printed details and graphic design of the cards shall be submitted to the utility prior to producing the cards.

## 7.47.7 Testing and approval

a)	It will be the responsibility of the tenderer to submit to the Employers representative for approval a complete Acceptance Test Procedure (ATP) for system verification.

b) 	Once the Employer’s representatives approve the ATP, the testing and performance validation tests on 2% (random samples) of the supplied meters  will commence. The Employer’s representative at the utility’s premises will witness these tests.

7.47.8 Quality assurance

###### Tenderers shall comply with and be certified to the following ISO levels:

ISO 9001 Quality systems

Model for quality assurance in design development production installation and servicing

Model for quality assurance in final inspection and test

Tenderers shall submit copies of certification with their proposal to this effect.

# 7.48 SOFTWARE requirement

# Data Exchange Format

The meter must be able to communicate directly with the Master Information Center server using the built in / pluggable GPRS/EDGE modem. The communication data format is XML. Furthermore the communication channel must be encrypted by 256bit SHA and seeded by a true random number generator. Each meter should also have a unique key installed. Utility must be able to program the following data into the meter before they are used:

Meter ID

Data Communication Port (default 2100, custom port)

Server IP Address

Server Port

Encryption Key			(if necessary the more data could have been needed)

The meter will get a fixed IP address from the installed SIM card. The meter will always listen to the “Data Communication Port” for incoming data and will always send data to “Server IP Address: Server Port”. For incoming request, the reply data will go through the same connection similar to HTTP.

Example: if the server needs to communicate with the meter, it will originate a connection request to the IP address of the meter in port 2100 (default). It will be a simple text connection similar to telnet. If connection is established, the server will send the encoded XML request through this channel, after which the server will send two carriage returns. The meter will process the request, generate appropriate XML response and return it to the server by using this existing connection.

- Incoming request from server to IP address and port 2100 of meter.

- Server posts encoded XML data.

- Server sends two carriage returns to denote that it has sent the entire request.

- The meter decodes the data, processes the request and generates appropriate response and sends it back to server.

- Bidirectional data transfer will use the same connection like HTTP.

Fig: Data Exchange/Connection format for 3 Phase Meter

## Meter Connection Procedure

Configure the meter with server IP, port and any authentication key required. Bring the meter online and send a query_test command from the server. The meter should respond with firmware version which will verify connectivity. (The send the “conf” command to meter from server.)

## Meter Numbering

The meter numbering will be finalized at the time of design approval.

Tariff Management

Tariff Definition

The System Manager shall be able to define tariff objects. Each tariff has a unique tariff ID associated with it. The following information is required to define a tariff.

| Tariff ID | A unique tariff identifier |
| --- | --- |
| Effective Date | The date on which the tariff will be effective. |

| Step Structure | Step | Rate |
| --- | --- | --- |
|  | 0 - kWh1 | R1 |
|  | kWh1 - kWh2 | R2 |
|  | kWh2 - kWh3 | R3 |
|  | kWh3 - | R4 |

| Subject | Tariff Category | PFC Calculation |
| --- | --- | --- |
| Power Factor Correction Charges | `A’ & `D’ Category,3phase, 400V, 20KW & above | 0.95 PFC= power factor obtained from meter |
|  | `C’ Category, 3phase,400V |  |
|  | `E’ Category, 3phase,400V |  |

| Subject | Tariff Category | Time |
| --- | --- | --- |
| Time of Use | `C’ & `E’ Category, | Peak – 17:00 to 23:00 Off Peak-23:00 to 17:00 |

| Service Charges | Fixed charges are levied per month. These charges are different for single phase and three phase meters in a particular tariff category. |
| --- | --- |
| Minimum Charges | There will be no minimum charges for Pre-Paid System. |
| Sanctioned Demand Charges (Fixed Charge) | A fixed charge per kW of the sanctioned demand is levied per month. |
| Maximum Demand Charges | Integrated over ½ hourly periods Maximum Demand in KW. |
| VAT | Value added tax is levied on electricity charges and must be catered for in the system. |

- The tariff code, effective date, kWhx (in units of kWh), Rx together with a fixed monthly service charge Service Charges and a fixed monthly sanctioned demand shall be used to define all prepaid tariffs used in the system.

- The MIC shall make provision for up to 500 tariff definitions.

- The MIC must verify the tariff data entered and shall not allow discontinuities in the energy levels or negative rates for energy and fixed charges.

- There shall be a facility to copy tariffs to new tariff codes for editing purposes. The edit facility shall include a mechanism to increase the values of any of the variables Rx, SC and DC by a fixed percentage.

- Tables of Supply Group Codes and tariffs shall be securely stored at the MIC.

- No penalty Charges for PFC factor above 0.95 to 1.0. PFC is computed as above and average power factor is measured by meter based on only reactive energy. The monthly average power factor from meter is used for the factor and applied on the monthly consumption.

### Tariff Algorithm

The prepayment system could be implemented stepped tariffs. The tariffs will be implemented at the vending equipment/meter. The algorithm must ensure that:

- The Stepped tariffs is implemented in meter as accurately as is the case for conventionally bitted customers.

- Customers ate not restricted to the amount and frequency of electricity token purchases provided purchases do not exceed 12 times the calculated  monthly average consumption without penalty.

- If any tariff changes, tariff update with effective date sent to meters through smart card at the time of purchase for smart card meters. The updated tariff will be sent using special numbers for keypad meters. For both meters, after utility decides the tariff update, all purchase of credit (with keypad number of smart card) will carry and tariff change flag. So that the meter will not accept any credit  addition until it gets the tariff update.

- Customers will purchase only following credit transfer principles.

- Before any new purchase in a particular month the fixed charges are deducted for the first time and the rest of the money paid by customer will be sent to meter through card or number as credit.

- For consecutive purchase in the same month, credit values without any fixed charge will be sent to the meter.

- Slab reset service charges, power factor penalty (PFC) should be monthly basis.

- The tender shall provide a detailed description of the algorithm including:

- All assumptions made.

- An explanation of how the averaging algorithm operates.

- Examples of how the algorithm works.

- Examples of how to explain the algorithm to customers.

- Examples of how to deal with customers queries.

- Description of how the algorithm manages tariff rate and tariff structure change.

- Description to apply corrections

- Description to mechanisms to how to deal with the situation where a customer buys at two different locations between data transfers.

- Online data transfer is required so that customers can by token from any vending system and different locations.

7.49 Documents Submission:

The following Documents to be submitted with the tender otherwise bid will be rejected:

- Manufacturer's Authorization if manufacturer is not a Tenderer.

- Specifications Submission and Compliance Sheets sealed & signed by the manufacturer & the bidder.

- Complete Type Test report with ref. number as per relevant international standard in English along with test results of the offered pre-payment meter from anyone of the following Independent testing laboratory.

    - KEMA, Holland.

    - UL International New Zealand/Parkside Laboratories, 	New Zealand.

    - South African Bureau of Standards (SABS).

    - MET Laboratories Inc., USA

    - Office of the Gas and Electricity Market, UK /SGS, UK

    - European Measuring Instruments Directive (MID) 	recognized labs.

    - CESI, Italy.

The Test Report includes the following tests with results (but not limited to):

- Impulse voltage test

- AC Voltage test

- Accuracy test

a) Test of  variation of current

b) Test of meter constant

c) Test of starting condition

d) Test of no-load condition

e) Test of ambient temperature influence

f) Test of influence quantities

- Test of power consumption

- Test of influence of supply voltage, short-time over currents, self-heating & heating.

- Electromagnetic compatibility (EMC) test

- Dry heat test

- Cold test

- Damp heat accuracy, cyclic test

- Vibration test

- Shock test

- Spring hammer test

- Test of protection against penetration of dust and water

- Test of resistance to heat and fire

- The manufacturer shall submit the test report of the offered meter on pre-payment mode as per IEC 62055-31 or SANS 1524-1 from any accredited Independent Testing Laboratory that includes the following test with results (but not limited to):

- Functionality Test

- Load switching Test

- Year wise supply record of the manufacturer for the electric pre-payment meter are to be submitted with supported by authentic documents in the following format:

| Sl. No. | Name, Address, Phone No., e-mail ID (company domain) & Fax No. of the Purchaser | Contract no. & Date | Contract Value | Supplied Prepaid meter (mentioning type, model, 1-pase/3-phase, keypad/smart, split/non-split) | Quantity | Date of Completion of Supply |
| --- | --- | --- | --- | --- | --- | --- |
| 1. |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |
| ... | ... | ... | ... | ... | ... |  |

Minimum 7,500 nos. pre paid meters are to be supplied by the manufacturer in a single contract within last 5(five) calendar years.

- The manufacturer shall have Satisfactory Performance Certificate from the End User (must be from a Electricity Utility) with at least 2(Two) contracts of "Design, Manufacture, Supply, Installation, Testing & Commissioning of electric Prepayment meter and Online Pre-Payment Metering system” of which at least 1(one) from outside the manufacturers own country during last 5 (five) calendar years.  All certificates of End Users shall be in English in their letterhead pad where detail e-mail address, Telephone no., Fax no. etc will be furnished.

- Year wise supply record of the manufacturer for the CT PT operated AMR meter, CT operated DT metering unit are to be submitted with supported by authentic documents in the following format:

| Sl. No. | Name, Address, Phone No., e-mail ID (company domain) & Fax No. of the Purchaser | Contract no. & Date | Contract Value | Supplied meter (CT PT operated AMR meter/ CT operated DT metering unit) | Quantity | Date of Completion of Supply |
| --- | --- | --- | --- | --- | --- | --- |
| 1. |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |
| ... | ... | ... | ... | ... | ... |  |

- The manufacturers of CT PT operated AMR meter and DT AMR meter shall have at least 2 nos. Satisfactory Performance Certificate from the End User (must be from a Electricity Utility). The AMR metering system in atleast one contract shall be in successful operation for at least 3 years. All certificates of End Users shall be in English in their letterhead pad where detail e-mail address, Telephone no., Fax no. etc will be furnished.

- Printed Catalogue describing the technical specifications of the offered prepayment meter, CT PT operated AMR meter, and DT AMR meter with CTs.

- Drawings of offered  prepayment meters, CT PT operated AMR meter, DT metering unit and MCCB to be used iside DT metering unit.

7.50 Technical Orientation and Quality Test Witness:

The Purchaser shall have the right to inspect/test the goods/materials to confirm their conformity to the specification. The purchaser shall be entitled at all reasonable time during manufacture to inspect, examine and test of goods/materials at the manufacturers’ premises, workmanship and performance.

The Supplier shall, after consulting the purchaser, give the Purchaser reasonable notice in writing of the date and the place at which any material or equipment will be ready for testing as provided in the contract and unless the purchaser shall attend at the place so named on date, which the supplier has stated in his notice, the supplier may proceed with the tests, which shall be deemed to have been made in the purchaser’s presence, and shall forth with forward to the purchaser duly certified copies of test readings.

When the purchaser intends to attend the test he shall promptly inform the supplier accordingly in writing, so that he can take action. The purchaser shall give the supplier timely notice in writing of his intention to attend the test.

Where the supplier provides for tests on the premises of the supplier or of any manufacturer of the supplier, except where otherwise specified, shall provide free of charge such assistance, labor, materials, electricity, fuel, stores, apparatus and instruments as may be requisite and as may be reasonably demanded to carry out such test efficiently. These tests shall be performed as per relevant SANS/IEC standard and only routine tests as agreed upon, will be performed.

As and when the purchaser is satisfied that any materials/equipment shall have passes the tests referred to in this clause, purchaser shall notify the contractor in writing to that effect.

Should any inspected/tested goods fail to conform to the specification, the Purchaser shall have the right to reject any of the items or complete batch if necessary. In that case Supplier has to replace the Equipment and to make good of them without any financial involvement to the Purchaser. In case any of the Equipment found not conforming with the specification at the time of post landing Inspection, the supplier will in no way be relieved from the responsibility of replacing them or making them good at their own cost, despite the Equipment were found good at the time of Factory Acceptance Test. Nothing in this clause shall in any way release the supplier from any warranty or other obligations under the contract.

If the offered goods are manufactured outside the purchaser’s country then DPDC’s Inspection Team shall have to conduct Technical Orientation and Quality Test Witness at the manufacturer’s factory premises. The cost incurred for this purpose shall be borne by the supplier. The cost of Air Tickets (both way) from Bangladesh to Manufacturer’s Country (place of Technical Orientation and Quality Test Witness), Hotel Accommodation, food, etc. will be borne by the Supplier. Other than this the Supplier will pay USD 150 per day per inspector (Excluding journey period). The period for this purpose is about 10 (ten) days. Technical Orientation and Quality Test Witness will be attended by 03(three) engineers. All the cost of this purpose shall be deemed is included in the offered price.

No goods shall be packed, prepared for shipment / delivery unless it has been approved including Test reports and written instruction has been issued by the Purchaser.

The tenderder has to mention the place of Technical Orientation and Quality Test Witness in the following table:-

| Sl. No. | Item | Period of Technical Orientation and Quality Test Witness | Place & Country of Technical Orientation and Quality Test Witness |
| --- | --- | --- | --- |

During Technical Orientation & Quality Test Witness, the Utility inspection team will select 2(two) meters random basis for testing the selected meters in an independent testing lab for the following tests: i) Dry heat test; ii) Damp heat, cyclic test; iii) electromagnetic compatibility (EMC) tests. The tenderer will arrange these tests in an Independent Testing Laboratory during Quality Test Witness.

7.51 Post Landing Inspection:

The post landing inspesction/post delivery inspection will be carried out for all offered items. The Supplier shall inform the purchaser immediately after arrival of the goods at the designated store of Utility (as per delivery schedule). An Inspection team of Utility shall perform the post-landing inspection in presence of supplier's representative. The Supplier shall arrange the program of post-landing inspection. Any defect or damage have been found at post-landing inspection, the defective or damaged materials/ goods to be replaced by the supplier at his own cost within the stipulated time.

The purchaser’s right to inspect, test (where necessary) and reject the goods after delivery at the designated store of Utility shall in no way be limited or waived by reason of the goods having previously been inspected, tested and passed by the purchaser prior to the good's delivery. The cost incurred for this purpose shall be borne by the supplier.

7.52 Packing:

Meters must be export packed and properly protected for shipment, rough transportation and storage. Specific care shall be taken for protection in store and reference is made to the climatic condition prevailing in Bangladesh.

Each unit shall be sealed in waterproof polyethylene bag having a silica gel packet placed inside the unit and then packed in polystyrene foam gasket closed by self adhesive tape rating of the meter shall be marked by marker pen or label on the form for easy identification.

Each meter (single phase and three phase) shall be packed in a small card board box. Then maximum 10 nos. single phase meter and maximum 6 nos. three phase meter shall be packed in a separate large card board box. The large card board boxes  are allowed to pack into a wooden packaging box lined with heavy gauge polyethylene. Between metering units a suitable packing material for protection and preventing their movement should be used. Silica gel should be provided inside each polyethylene wrapper. The packing case should be able to withstand accidental direct exposure to weather for reasonable period.

The supplier shall be responsible for damages due to inadequate packing. A packing list showing the contents of each packing shall be enclosed in a waterproof envelope secured outside of the packing case. A copy of the packing list shall also be enclosed inside the package.

All packages imported are liable to be opened for customs examination at the port of landing and packing shall therefore be designed to facilitate opening and repackaging thereafter.

A red band (20 cm wide) shall be painted all around each package. Each package shall have the following information printed on it bold letters.

- Name of supplier.

- Port of loading.

- Port of destination.

- Name of consignee.

- Contract number.

- Brief description of stores.

- Number of packages. (total quantity)

- Gross and net weight.

- Dimension.

In addition each package shall be clearly marked or stenciled in red on two sides, the shipping mark Utility Name, BANGLADESH inscribed within a triangle marked shown below:

The shipping mark

On the other two sides, arrow marking with words “ THIS SIDE UP” and “FRAGILE” shall be clearly marked or stenciled to indicate the face of the package to keep upward.

THIS SIDE UP

7.53 Hand Over of Project Site

The contractor shall supply, install, test & commission the prepayment meters, DT metering unit and CT PT operated AMR meters and related items, train required personnel on prepayment metering system, DT metering and AMR metering system and manage the distribution network, conduct commercial operation and customer service for 5 years of NOCS Narinda and handover the project to DPDC after successful completion of 2nd phase of the project.

7.54 Resposibility of the contractor under Distribution Network Management, Commercial operation & customer service For 5 years at NOCS Narinda

Requirement for Phase 2:

1.0 During the course of phase 2 of the contract, the contractor shall manage the distribution network, conduct commercial operation and customer service of NOCS Narinda for 5 (five) years.

The requirement for phase 2 is as follows:

1.1    SCOPE OF WORKS AND SERVICES FOR DISTRIBUTION NETWORK OPERATION

1.1.1	The Works  is identified as management of the distribution network and commercial operation such as Preventive Maintenance, Breakdown Maintenance of 11/0.4KV, 11KV & 0.4KV Overhead lines and Underground cables, Preventive Maintenance of distribution Transformer & Associate Equipment, load balancing etc. & other overhead line related works, collection of the Electric Meter Readings from the non-prepayment customers premises, distribution of the Electric Bills to the premises of non-prepayment customers, serving the certificates and or notices etc., Installation of Service Connections and Meters, disconnection and re-connection, identification and removal of the Illegal electricity users or defaulter customer, etc.   of NOCS Narinda Division under DPDC.

All the personnel of the Contractor will act and perform their duties assigned by the Contractor as per the Schedule and Target of the Works and Services.

1.1.2	BRIEF DESCRIPTION OF WORKS AND SERVICES:

The scope of works and services to be rendered by the personnel of contractor shall include but not be limited to the following:

1.1.2.1	DEVELOPMENT OF MAINTENANCE SCHEDULE FOR INDIVIDUAL EQUIPMENT

The contractor shall develop a schedule of maintenance of each feeder under the jurisdiction of NOCS Narinda and submit the same to DPDC for approval. In developing this schedule, it is to be ensured that entire feeder line down to the level of 0.4KV along with its equipment is fully covered during the contract period.

1.2	MINIMUM POWER OUTAGE DURING SCHEDULE MAINTENANCE

1.2.1	In preparing the annual maintenance schedule, the contractor shall take into consideration the following aspects so that power outage in System network is kept to bare minimum.

1.2.2	Maintenance work on major equipment requiring system outage shall be carried out during holidays, weekends and during off peak hours so that minimum disturbance is caused to the customers.

1.2.3	Maintenance schedule shall be developed in such a manner that only one 33/11 KV substation or only one 11 KV feeder is disturbed on a particular day.

1.3 	SAFE CLEARANCE PROCEDURE DURING MAINTENANCE OF EQUIPMENT AND/OR LINE.

The contractor shall be conversant with “Safe clearance procedure” in putting a piece of equipment or distribution line on outage for scheduled maintenance work. Though the responsibility for correct clearance procedure rests with the control room operator, the contracting firm shall understand the switching sequences in order to render the equipment “dead” so that the maintenance personnel can carry out the schedule maintenance without any electrical or mechanical hazards. “Safe clearance procedure” must be followed exactly to avoid damage to equipment and injury to personnel.

1.4	EXTENT OF MAINTINANCE WORK TO BE CARRIED OUT

1.4.1	Emergency and breakdown maintenance/repair is included within the scope of scheduled and preventive maintenance. In case of emergency or break down maintenance, the contracting firm shall dispatch required maintenance personnel with necessary logistics, tools and tackles etc. instantly.

1.4.2	In carrying out scheduled and preventive maintenance including emergency or breakdown maintenance on any piece of equipment and/or facility, the contracting firm shall provide necessary man power, tools, tackles, logistics etc.  while DPDC will furnish spares, material needed for putting the equipment/facilities in normal operating conditions. It must be understood that the prime objective of undertaking scheduled and preventive maintenance is to keep each equipment and facility healthy throughout its lifetime so that reliable and un-interrupted power supply can provided to the customers. The contracting firm shall be held responsible for any lapse in this regard.

1.5	INVENTORY OF MATERIALS/SPARES USED AND KEEPING OF RECORDS OF MAINTENANCE WORKS DONE

1.5.1	For every maintenance work done on a piece of equipment or facility, the contracting firm shall keep a detailed record of work done, materials/spares used and replaced etc in a format to be approved by DPDC. The reports are to be submitted on monthly basis.

1.5.2	The contractor shall ensure that after  maintenance work is carried out on a piece of equipment and/or facility, he shall return to DPDC the unserviceable spares/materials removed from equipment/facility with a complete report, the proforma of which shall be approved by DPDC. The surplus material if any issued by DPDC shall also be returned to DPDC in the same manner as stated  above immediately after the work is completed. For failure to return these materials/spares by the contracting firm, the firm will be subject to penalization by way of subtraction from their invoice twice the book value of these items.

1.6	PROVIDING PERSONNEL AND LOGISTICS FOR EMERGENCY/ BREAKDOWN/ SCHEDULE MAINTENANCE.

1.6.1	DPDC plans to keep Breakdown/Emergency Maintenance gangs on round the clock through shift duty in order to attend consumer’s complaints and quick restoration of power supply. The Contractor shall maintain morning shift from 08.00 hours to 16.00 hours, evening shift from 16.00 hours to 24.00 hours and night shift from 24.00 hours to 08.00 hours for Breakdown/Emergency Maintenance gang. In addition, one no. of Schedule/Emergency Maintenance gang will be deployed for schedule/emergency maintenance work in morning shift (from 08.00 hours to 16.00 hours).

1.6.2	Though a particular work will be assigned to a gang but the gangs may be deployed for any work to meet up any emergency in the distribution network or to serve the interest of DPDC.

1.6.3	The Contractor shall provide these personnel and necessary logistics including vehicles, tools & tackles, walkie-talkie, Mobile Telephones etc. for attending to maintenance and/or trouble shooting duties. The vehicles and other logistics to be offered by the contrator for meeting maintenance and trouble shooting duties shall be reliable & shall not fail when performing duty under strenuous conditions. In case the vehicles and/or other logistics fail, these shall be replaced immediately.

1.6.4	Attendance of contractor personnel shall be duly recorded in registers maintained at the reporting stations.

1.7	LINE CONSTRUCTION WORKS

The Contractor shall undertake line construction when required by the field conditions to restore power supply, arrange alternative feedings to meet crisis situations, etc. For such constructions, materials shall generally be provided by DPDC. In case of non-availability of materials the claim will be settled by DPDC following standard norm and practice.

2.0	CONTROL ROOM MANAGEMENT AND MAINTENANCE GANGS

2.1	Senior Engineers

The contractor shall engage 2(two) Senior Engineers to work as the coordinating and controlling officer for all gangs.  They will work as key technical personnel for all gangs. They will be responsible to make sure that all gangs are properly engaged and carry out their assigned job satisfactorily.  Furthermore, it will be their responsibility to regularly update & submit the required reports/formats to DPDC.

2.2	Complian Supervisor (Junior Engineer)

The contractor shall engage 4(four) Complian Supervisor (Junior Engineer) during the contract period. They will work stay in the control room shift wise and receive complains from the customers. Upon receipt of complain, they will provide technical solution to the customers and if necessary, shall direct the gangs to attend at the customers premises to solve their problems. They will immediately instruct the gangs to move to a particular area upon receipt of a complain when required.

2.3	Breakdown/ Emergency Maintenance Gang:

The contractor shall have in total 4 (four) breakdown/emergency maintenance gangs. Each breakdown/emergency gang shall comprise of the following minimum personnel.

- Junior Engineer	    	      : 	 01(one)

- Lineman      		      :	 01(one)

- Helper			      :      02 (Two)

In each shift, the contracting firm shall provide the above minimum personnel for the breakdown/emergency maintenance gang to be stationed in the control room/sub stations where from the gang will attend to breakdown maintenance duties.

2.4	Schedule /preventive Maintenance gang

The Contractor shall provide personnel for the schedule/preventive maintenance gang throughout the period of contract. The schedule/preventive maintenance gang shall comprise of the following minimum personnel:

- Junior Engineer	    	      : 	 01(one)

- Lineman      		      :	 01(one)

- Helper			      :      02 (Two)

- cable Jointer		      :      01(one)

The contractor shall provide a pick-up (mini truck) Vehicle with driver and a  van with all logistics including walkie-talkie, measuring equipment, tools, tackles, ladders etc that are needed for attending to schedule/preventive maintenance works. They will attend schedule/preventive maintenance works during morning shift (08.00 hours to 16.00 hours). Their works will not be limited to Schedule Maintenance works but in need they may be deployed to face any emergency in DPDC. They may also be required to carry out the work of construction/dismantling of distribution transformer/line equipment etc.

2.5	 SHIFT RE-ARRANGEMENT

In order to render prompt and efficient services, if required, as per directive of the Engineer-in-Charge, the Contracting Firm shall have to re-schedule the shift of any gang. In case of necessity any gang may be merged with another gang.

3.0	GROUPING OF SERVICES/WORKS

Breakdown/Emergency maintenance of 11 KV, 11/0.4kV and 0.4 KV distribution network (lines & cables), 11/0.4 kV distribution sub-stations etc, within the jurisdiction of Narinda NOCS Division shall be carried out by group/gang as described below.

The contractor shall provide breakdown/emergency maintenance throughout the period of service as stated below:

- One gang in the morning shift (08:00 hrs to 16:00 hrs), each day, seven days a week.

- Two gang in the evening shift (16:00 hrs to 24:00 hrs), each day, seven days a week.

- One gang in the night shift (24:00 hrs to 08:00 hrs), each day, seven days a week

For the services mentioned above, personnel and logistics shall be provided as per provision described above.

The Contractor shall provide each day, 7(seven) days a week transports along with drivers, fuel etc as under and carry out necessary operation & maintenance:

2 (two) Single Cabin Pick-Up/mini truck vehicles during morning shift.

2 (two) Single Cabin Pick-Up /mini truck vehicles during evening shift.

1(one) Single Cabin Pick-Up /mini truck vehicle during night shift.

Each vehicle shall be driven by more than 1 no. driver.

    - All the personnel of the contractor will act as per contract requirement.

    - The Contractor shall submit weekly reports to the Employer’s representative about the status of works and services performed by them.

SCOPE OF WORKS AND SERVICES FOR COMMERCIAL OPERATION

4.0 	The Contractor’s Personnel will collect the electric meter readings from the non- prepayment consumer’s premises and distribute the monthly electric bills, certificates and notices (if any). The meter reader will also collect all other related information regarding the conditions of the meters, meter connection, meter’s sealing, service drop, evidence of tempering / by-passing or illegal extension or overloading etc.

5.0		If the following irregularities are noticed, the Contractor shall immediately report to 		DPDC and shall take 	necessary corrective measures:

  - Dead Meter / Damage Meter (DM)

  - Negative Meter Reading (NM).

  - Tampered Meter (TM)

  - By Pass Meter (BM).

  - Broken Seal (BS).

  - No Seal (NS).

  - No Consumption (NC).

  - Joints in Service Drop (JS).

  - Temporary House Lock (TL).

  - Permanent House Lock (PL).

  - Others, if any, to be mentioned (OT) during execution of contract.

6.0	PUBLIC RELATIONS ACTIVITIES:

The Contractor shall provide a comprehensive public relations program that concentrates on customer awareness, education and training regarding pre-payment system.

The public awareness development program can be executed through mass communication media. Customers must be politely told that the system is mandatory for customers within the designated areas. The areas that are for conversion must be clearly communicated. The Contractor shall initiate a Public Relation Activities to create awareness, emphasize the benefits of prepayment and provide details of those areas which are about to be converted and general news as well as advice on prepayment metering. The material shall be subject to DPDC's approval prior to publishing or airing.

7.0	DELINQUENT CUSTOMERS

Prepayment customers who bypass or vandalize meters shall have the meter and service line removed from the premises by the Operational and Maintenance Support Service personnel.

DPDC shall be notified of the meter removal and DPDC may authorize the Operational Support to take the necessary actions to fine the customer or to take legal action.

Where meters have been vandalized or tampered by customers, the cost of the repairs shall be borne by the customer. The Operational and maintenance Support personnel  shall recover these costs from the customer at rates agreed to by DPDC. Reconnection shall be made only after customers have paid for the energy stolen and for the labour and material costs of the replacement.

8.0	COLLECTION OF ARREARS

Arrears shall be collected as a fixed percentage of each credit purchase (for example 25%) or specific amount at each credit purchase.

The arrears shall be calculated by DPDC and provided to the contractor personnel with the following information:

- Customer name

- Account number (Previous)

- Customer Number

- Outstanding balance

The Contractor shall provide reports that indicate the total outstanding arrears on a monthly basis.

Any dispute regarding the initial arrear amount calculated for a particular customer shall be the responsibility of DPDC but the contractor personnel shall resolve ongoing queries.

9.0	METER READING, AUDITING AND REPORTING

On a monthly basis the following audits and related reports shall be produced by the Contractor and copied to DPDC:

- Report of meter installed to date.

- Report actual sales per tariff level.

- Produce energy accounting report. (% Losses)

- Report exceptions. (Tamper/fault/low consumption)

- Update credit limits for UVSs and produce bank reconciliation report for each UVS and for the whole system.

- Report of total outstanding arrears.

- Report cumulative meter change outs since project inception.

- Report number and location of all decommissioned meters. Reasons for decommissioning shall also be provided.

10.0	PREPAYMENT METER MAINTENANCE

- The Contractor shall ensure smooth operation of prepayment meters & metering system during maintenance support service period.

- The contractor shall maintain the data connectivity at different points for smooth functioning of the prepayment system.

- The contractor shall replace prepayment meters when required.

- The Contractor shall provide a system to track meters that have been changed out. The system shall provide a full history of each meter purchased.

- This system shall include warranty and service history details and shall track faults per meter.

- The Contractor shall be in a position to verify the accuracy and functionality of the meter at the DPDC premises.

- Faulty devices and peripherals shall be repaired on exchange basis during the warranty period or otherwise at the cost of the contractor. All sorts of repairing and maintenance tasks for software, hardware, meter and network has to be performed by the contractor.

11.0	CASH MANAGEMENT

All cash collected at vending points shall be banked directly into a joint bank account of DPDC and the contractor on a daily basis. It is of utmost importance that the cash is accounted for correctly and that regular reconciliations take place.

The procedures for cash management at each UVS are as follows:

- The end of shift reports for the day is collated and a banking report detailing the amount of cash to be banked is generated by the UVS.

- The risk of the loss or theft of the money lies with the Contractor.

- The deposit slips and a copy of the banking report shall be forwarded to DPDC on a daily basis.

- UVS credit limits shall normally be replenished as required. The replenishment shall only take place once the MIC has received proof that the money has been deposited into the joint bank account.

12.0	MANAGEMENT OF DELINQUENT CUSTOMERS & FAULTY EQUIPMENT

- The contractor shall monitor customer behavior with the help of DPDC personnel on monthly basis by analysis of the system reports. Customers who have bypassed meters shall be disconnected and fined according to DPDC’s standard procedures.

- Action to be taken by the Contractor on faulty meter shall be reported to DPDC on monthly basis as well as follow up reports shall have to be submitted to DPDC.

- The contractor shall manage all repairs and warranties at its own cost for the duration of the contract.

13.0	ENERGY BALANCE REPORT

###### Vending system shall have a comprehensive energy balancing module. A feeder wise report shall be generated for indicating total system loss for the selected feeder.

###### These losses shall be calculated on the basis of calculating the difference of total energy dispatched by the feeders and total energy consumed by all the customers (Pre-Payment, LT Consumer and HT Customers). Energy auditing shall be performed for any individual feeder or for all feeders with respect to the total energy consumed by meters.

14.0	Reporting

The contractor shall report to DPDC about their maintenance activities on regular basis.

The contractor shall maintain a log book. The log book shall contain information on 	customer complaints received and remedial action taken, time taken to solve a customer 	complain, identification of fradulent activities/meter tampering by customers (if any) and 	action taken in such situation etc. If any fradulent activities/meter tampering by 	customers is noticed, the contractor shall immediately inform it to the Executive 	Engineer of NOCS Narinda, DPDC.

Organogram of the contractor for management of Distribution Network, 	Commercial Operation and customer service of NOCS Narinda for 5 (five) years:

For efficient and effective management of Distribution Network And Commercial 	Operation of NOCS Narinda for 5 (five) years, the contrcator is required to have 	adequate manpower with suffucient technical knowledge along with necessary 	logistics. A brief overview of the proposed organogram of the contractor is shown 	below:

The contractor must engage the minimum no. of personnel and logistics shown on the above organogram for management of Distribution Network And Commercial Operation of NOCS Narinda for 5 (five) years. The contractor must engage more manpower than the minimum requirement if required for successful operation. The contracting firm will be headed by Chief Executive Officer during this period and he will be responsible for overall performance. He will be the key person for overall activities related to Distribution Network management And Commercial Operation in NOCS Narinda. He will be the contact person on behalf of the contractor with DPDC for any issues. He will directly supervise financial, legal and administrative affairs and office care dept.

The CEO will be assisted by 2 nos. executive officers (EO). The EOs will be incharge of the other technial and functional departments of the organizations. They will work as single point service provider to any customers.

A brief description of TOR (Term of reference) for each main working group shown on the above organogram is described below:

  - Team for managing Non-prepayment customers

This team will collect meter reading and serve bills of those customers who are not under pre-payment metering system. This team will be responsible for all sort of activities related to non-prepayment customers.

  - Meter Installation, Line disconnection/re-connection Team

This team will install meters for new connections or replace existing damaged/faulty meters.  They will also disconnect/re-connect service wire of those customers who are found to be defaulter or found to have adopted unfair mains/ unauthorized ways in using electricity.

  - Control room management team

This team will be headed by two senior engineers. They will guide and provide technical support to the Preventive maintenance support Team and Break down maintenance support Teams.  Complian supervisors (junior engineer) will receive customer complains at the control room and shall provide terchnical solution over phone if possible; otherwise, the CS will convey the problems to the gangs and direct them to attend at the sites within minimum time. The CS shall monitor movement of the gang and write down the remedial activities taken by the gang and time required to solve the problem.

  - Team for Pre-paid Metering system maintenance & supervision and file processing for new connec., load increase/decrease

This team will be responsible for smooth operation and maintainance of the prepayment metering system in NOCS Narinda. They will analyze the consumption and other important data of prepayment customers and supervise for any fradulant activities. This team will continuously monitor all pre-payment customers and shall carry out inspection and serveilance visit as and when required.

This team will also prepare and process files for new connection or load decrease etc. This team will also be responsible for recording of meter reading of the substation import meters jointly with DPDC’s authorized personnel at midnight on the last date of each month.

  - Report prep.,UCC & Vending management  and IT support Team

This team will be responsible for all sort of IT supports required for smooth operation of the prepayment metering system. They will support the UCC and UVS personnel and shall prepare necessary report as and when required. This team will be headed by an IT expert. He will regularly prepare the credit transaction report and shall re-concile with the bank.

  - Finance Department

This team will collect the cash recieved against credit sold at the vending stations each day and keep the amount under their custody if cash amount can’t be deposited to the bank on a particular day. They will deposit the amount to the bank in the next available banking hour. This team will also be responsible for preperation of salary/bonuses of the employee of the contractor and all sorts of payment related activities.

  - HR & Legal Department

This team will look after the legal issues and shall carry out necessary programs for improvement of human resources of the contracting firm. This team will also be responsible for other administrative and recruitment related activities.

The tenderer shall submit a declaration with their technical bid that they will engage the minimum number of personnel shown in the above organogram. They shall also submit a declaration that the following key personnel who will be engaged during the contract execution period shall have the required minimum experience and educational qualifications as outlined below:

| SI. No. | Designation | Minimum Qualification Requirement | Minimum Experience | Age Limit (Maximum) |
| --- | --- | --- | --- | --- |
| 1 | Chief Executive Officer | B.Sc. Engineer in EEE/CSE/ME/CE | Shall have minimum 25 yrs. work experience in any distribution utility in Bangladesh and have served as Superintending Engineer or above rank for minimum 1 year. | 65 |
| 2 | Executive Officer | B.Sc. Engineer in EEE/CSE/ME/CE | Shall have minimum 25 yrs. work experience in any distribution utility in Bangladesh and have served as Executive Engineer or above rank for minimum 3 years. | 65 |
| 3 | Senior Engineer | B.Sc. Engineer in EEE/CSE/ME/CE | 2 years | 35 |
| 4 | Junior Engineer | Diploma in Power /Electrical/ Electronics/Civil/ME/communication | 2 years | 35 |
| 5 | IT officer | B.Sc. Engineer in CSE or Bachelor degree in IT with CCNA certification | 2 years | 35 |
| 6 | Officer | Post graduate degree in any discipline, MBA is preferable | 2 years | 35 |
| 7 | Lineman | SSC/Trade Course/ Lineman Certificate | 01 (one) year experience in any Electricity Utility | 40 |
| 8 | Electrician | SSC/Trade Course/ Electrician Certificate | 01 (one) year experience in any Electricity Utility | 40 |
| 9 | Cable Jointer | SSC/Trade Course/ Cable Jointer Certificate | 01 (one) year experience in any Electricity Utility | 40 |
| 10 | Helper | Class Eight or JSC pass | 01 (one) year experience in any Electricity Utility | 40 |

Process of employment of personnel:

The contractor shall submit biodata and relevant experience and qualification certificate of the above personnel to DPDC for approval before commencement of the 2nd phase of the contract.

The Contractor shall furnish a declaration that the employee(s) proposed to be engaged to perform any sort of jobs for the Works and Services under this Contract has/have not been discharged or dismissed from any previous works or services of DPDC/DESCO/DESA or other electrical utility under Power Sector, or under any Contractor involved in the similar nature of works.

The contractor shall propose at least two persons against eash post. DPDC will select the suitable employee against each post through a committee. The contractor shall confirm that the selected personnel are to be employed with the firm before comencement of the 2nd phase of the contract.

Equipment Required:

The tenderers shall declare that they have the following minimum equipments to carry out the mangement work of distribution network:

| SL No. | Name of the Tools | Schedule/preventive maintenance Gang | Breakdown maintenance Gang |
| --- | --- | --- | --- |
| 01 | Megger 5 KV | 01 (one) set | 02 (Two) sets |
| 02 | Earth Tester | 01 (one) set | 02 (Two) sets |
| 03 | Clip on Meter | 01 (one) set | 02 (Two) sets |
| 04 | Multi Meter/Avo Meter | 01 (one) set | 02 (Two) sets |
| 05 | Chain Block 2 ton | 01 (one) set | 02 (Two) sets |
| 06 | Ratchet 1 ton | 01 (one) set | 02 (Two) sets |
| 07 | Conductor Cutter | 01 (one) set | 02 (Two) sets |
| 08 | Hot Stick | 01 (one) set | 02 (Two) sets |
| 09 | Hack Saw | 01 (one) set | 02 (Two) sets |
| 10 | 33/11 KV Tester | 01 (one) set | 02 (Two) sets |
| 11 | Dull, Ring & Box Wrench Set | 01 (one) set | 02 (Two) sets |
| 12 | Slide Wrench 12” | 01 (one) set | 02 (Two) sets |
| 13 | Slide Wrench 8” | 01 (one) set | 02 (Two) sets |
| 14 | Insulated Pliers 10” | 01 (one) set | 02 (Two) sets |
| 15 | Screw Driver Set | 01 (one) set | 02 (Two) sets |
| 16 | Allen Key Set | 01 (one) set | 02 (Two) sets |
| 17 | Grounding Set | 01 (one) set | 02 (Two) sets |
| 18 | Tree Trimming Saw | 01 (one) set | 02 (Two) sets |
| 19 | Pipe Wrench 14” | 01 (one) set | 02 (Two) sets |
| 20 | Axe | 01 (one) set | 02 (Two) sets |
| 21 | Walkie-Talkie for communication, with DPDC base | 01 (one) set | 02 (Two) sets |
| 22 | Burndy Crimping Tools | 01 (one) set | 02 (Two) sets |
| 23 | Safety Belt | 01 (one) set | 02 (Two) sets |
| 24 | Helmet | 01 (one) set | 02 (Two) sets |

If any other equipments are required other than those mentioned above, the contractor shall provide all of such equipmets.

Particular condition:

      - The contractor shall install a three phase online meter against each distribution transformer of DPDC and shall make necessary arrangement to read this meter through AMR technology.

      - The contractor shall connect a digital meter in series with the existing substation feeder meter and all substation meters shall be sealed by signature of both DPDC and contractor. The contractor and the DPDC personnel shall take meter reading of the existing substation feeder meter jointly at midnight on the last date of each month.

      - The contractor shall collect the arrears of the existing postpaid customers on behalf of DPDC and shall deposit the amount in DPDC’s bank account. The customer shall be given the freedom for payment of arrear either in full at once or in part by equal 12 monthly installments or deduction of a certain equal amount of arrear each time during credit recharge until the full arrear is recovered. The contractor shall continuosly motivate the customers for payment of arrear and 1(one) percent of the arrear amount collected shall be given to the contractor as a reward.

      - If a customer is found guilty of illegal use of electricity, the contractor shall disconnect the line of the customer and shall prepare a penal bill following electricity tariff act. The penal bill shall be issued upon approval from DPDC and line shall be restored immediately after the customer pays the penal bill. The penal bill shall be deposited in a joint account of the contractor and DPDC and subsequently both DPDC and the contractor shall share 50% each of the penal amount. Executive Engineer, NOCS Narinda will be the authorised person of DPDC for approval of penal bill.

      - If a supplementary bill is required to be issued against a customer for inappropriate meter reading, the contractor shall prepare a supplementary bill following the electricity tariff act. The supplementary bill shall be issued upon approval from DPDC. Executive Engineer, NOCS Narinda will be the authorised person of DPDC for approval of supplementary bill.

      - The contractor shall carry out adequate public relation activities and awareness build-up program to make the customers of NOCS Narinda well conversant about the prepayment metering system and use of pre payment and AMR meters. The contractor shall also provide an easy-to-use manual to each customer about the use of pre payment and AMR meters. A brief description about the display of the meter reading shall be attached / hanged in wall or board or any suitable place at each customer premises nearby the meters.

      - A set of targets will be given to the contractor in each financial year and they must meet the targets at any cost. The targets include but not limited to the following: a.    various indexes related to interruption of power ; b. transformer burn-out rate; c. over loading of transformer; d. over loading of feeder; e. new connection; f. any other criteria. The targets will be finalized at the time of pre-contract meeting and it may be reviewed as and when required.

      - If a feeder or more are required to be load sheeded, the contractor shall immediately inform it to DPDC the reasons for load sheeding and probable duration of load sheeding. The contractor shall make all out effort to minimize the duration of load sheeding period. The contractor shall fully achieve the various indexes related to interruption of power.

      - The contractor shall be fully liable for any sort of damage to any asset of DPDC due to mis-operation or negligence. The contractor shall be required to compensate any damage to any asset of DPDC if happened due to mis-operation or negligence.

      - The contractor shall never carry out any activities that will disgrace DPDC or shall lessen the image of DPDC. If the contractor is found guilty of such activities, the contract shall be terminated immediately and shall be sued for degarding DPDC’s reputation.

      - If any written complain is received against the contractor from any customer for corruption or inappropriate customer service and if such complain is found authentic after investigation by DPDC, the contractor shall be either penalized or the contract shall be terminated. The penal amount shall be 50% of the performance security. If the contractor has been penalized once during the contract period and another complain raised against the contractor by any customer and found authentic after investigation by DPDC, the contract shall be terminated immediately.

      - The contractor shall be responsible to provide any sort of information and report related to the distribution network management and commercial operation of NOCS Narinda at the earliest as and when required by DPDC.

      - The contractor shall regularly carry out their maintenance work of distribution network of NOCS Narinda. The over head feeders, under ground cable, circuit breaker and other related equipments at substation, distribution transformers etc. shall be maintained periodically to reduce the outage. DPDC shall provide maximum 1% of total distribution transformer in line in NOCS Narinda against damaged or burn out transformer each year. The contractor shall have to arrange distribution transformer itself within minimum time if yearly no. of damaged or burnout distribution transformer is more than 1% of total in line.

      - If any sort of materials such as LA, DOFC, cable jointing kits, conductor, hardware materials etc.  are required for maintenance of distribution network, DPDC shall provide the materials upon requisition by the contractor and joint investigation by DPDC and the contractor personnel for assessment of actual requirement of materials. After completion of work, the contractor shall report to DPDC and shall inform the quantity of materials used. Any unused materials shall be returned to DPDC.

      - The money collected at the vending station from the customers shall be deposited to a joint account of DPDC and the contractor.

      - The contractor shall process the file when a customer will apply for new connection. After processing, the contractor shall submit to DPDC for approval of the load and issuenace of demand note. The security money against the demand note shall be deposited in DPDC’s account and other charges shall be deposited in the joint account of DPDC and the contractor. The contractor shall recieve 30% of the fees for other charge and DPDC will receive the remaining 70% fees for other charge.

      - If any development work such as additional line extension is required in the area of NOCS Narinda, DPDC shall carry out the development work. When a new customer will apply for connection under the newly developed line, all sort of new connection fees shall be deposited in DPDC’s account.

      - If DPDC decides to collect the cost of the meters from the customers, the contractor shall collect the money on behalf of DPDC and shall deposit the amount in DPDC’s account. The meter cost may be recovered in form of monthly rental basis or through any other mechanism to be decided later by DPDC.

      - The contractor shall be responsible to provide any materials, service works or manpower which are not included in the price schedule but are required for successful implementation of the project in both phases without claimimg any extra charge. Such cost shall be deemed to have been included in the tenderer’s total offered price for the project.

      - The contractor shall be sincere in its performance and activities for better customer service and uninterrupted power supply in NOCS Narinda. Maximum effort shall be given by the contractor to ensure minimum power outage and maximum customer satisfaction.

      - The contractor if procure any item for use in the distribution network from outside or within Bangladesh, 2(two) representatives of DPDC shall carry out quality inspection witness test at the cost of the contractor. Without quality inspection witness test by DPDC personnel, no item shall be used by the contractor in the distributrion network.

      - The cost for data connectivity and AMR meter communication for 2nd phase of the prioject is deemed to have been included in the offered unit price for 2nd phase by the tenderer.

      - The amount collected as demand charge and service charge from the customers shall be deposited in favor of DPDC at DPDC’s bank account.

      - The contractor shall not be charged for PFC if power factor (PF) at 11 KV feeder point is found 0.93 or above. If PF at 11 KV feeder point is less than 0.93, the contractor shall be charged for PFC by DPDC for the amount of unit (KWh) loss due to lower pf.

      - If energy in feeder meter(s) is not recorded due to any problem such as problem in CT/PT/meter display/internal fault of meter etc., an estimated energy unit will be calculated and added with the monthly consumption of feeder meter(s) by DPDC as per technical analysis. The contractor shall have to accept the analysis and pay the bill.

      - The contract price for 2nd phase shall remain fixed for 5 years contract period.  If BERC increases the retail tariff rate, DPDC shall identify the extra amount collected from the customers due to increase in retail tariff for use of electricity at various slabs from the prepayment system. The contractor shall have no claim on this extra amount and this extra amount along with monthly billed amount at contract rate will be transferred to DPDC’s account from the joint account.

      - The extra amount will be calculated using the following method:

Extra amount per month= Total amount collected after increase of retail tariff- Total amount that could have been collected at existing contract price

      - For the last month of the contract period (60th month), in addition to the monthly bill, customer’s unused vended amount beyond zero hour of the last date of the contract shall be transferred to DPDC’s account.

Miscellaneous Cost:

The contractor shall provide all sort of goods/items / services which are not mentioned in the tender document but necessary to carry out the project successfully. The price proposal of the tenderer shall be deemed to have included price for these sort of costing.

The cost for operation and maintenance of prepayment meters, UVSs, UCC etc. for the implementation period shall also be deemed to have been included in the price proposal.

Where necessary, the contractor shall also bear the cost for cable and hardware items required for DT metreing, cable for replacement of existing service wire or relocation of  existing meter, neutral wiring etc. and shall be deemed to have included these sort of costs in the price proposal.

Termination of contract:

| A. | Termination by either party |
| --- | --- |
| The Employer or the Contractor may terminate the Contract by giving prior written notice to the other party as per the stipulations given below: Termination by either party may be effective by giving 90 days notice without assigning any reason whatsoever. Termination will be without compensation to any party. The Employer and the Contractor may at any time terminate the Contract by giving notice to the other party if either of the party becomes bankrupt or otherwise insolvent. In such event, termination will be without compensation to any party, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the other party. |
| B. | Contractor events of default - Termination by DPDC |
|  | The Procuring Entity or the Contractor, without prejudice to any other remedy for breach of Contract, by giving twenty eight (28) days written notice of default to the other party, may terminate the Contract in whole or in part if the other party causes a fundamental breach of Contract. Fundamental breaches of the Contract shall include, but shall not be limited to, the following: |
|  | a) | the failure of the contractor to complete phase 1 ( design, manufacture, supply, installation, testing and commissioning of all prepayment meters and metering system along with UCC, UVS, service cable, DT metering with AMR, hardware materials, training, data connectivity etc.) of the contract within stipulated time. |
|  | b) | the failure of the contractor to achieve the Commercial Operation target date for phase 2 (distribution network management, commercial operation and customer service of NOCS Narinda) ; |
|  | d) | if the contractor has subcontracted part or whole of the Works to other party without the required agreement and approval of the Procuring Entity; |
|  | e) | the contractor, in the judgment of the Procuring Entity has involved in corrupt or fraudulent practices, as defined in GCC in completing for or in executing the Contract. |
|  | f) | the Procuring Entity gives Notice that failure to correct a particular Defect is a fundamental breach of Contract and the Contractor fails to correct it within a reasonable period of time determined by the Procuring Entity; |
|  | g) | any statement, representation, or warranty by the contractor in this Agreement proving to have been incorrect, in any material respect when made or when deemed to have been made and such failure or incorrect statement, representation, or warranty having an adverse effect on contractor’s ability to perform its obligations under this Agreement; or |
|  | h) | any material breach by the contractor of this Agreement that is not remedied within thirty (30) days after notice from the DPDC stating that a material breach of this Agreement has occurred that could result in the termination of this Agreement, identifying the material breach in question in reasonable detail and demanding remedy thereof; |
|  | i) | If the contractor fails to pay the bill amount to DPDC within 30(thirty) days after such bill has been placed to the contractor by DPDC for payment |
|  | j) | If the contractor fails to provide required performance guarantee |
|  | k) | The Employer, by notice sent to the Contractor, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Employer’s convenience, the extent to which performance of the Contractor under the Contract is terminated, and the date upon which such termination becomes effective. Termination will be without compensation to any party. |
|  | n) | In the event the Employer terminates the Contract in whole or in part, the Employer shall accept the portion of the Works and Services that are complete till the notice of termination and make payments due to the Contractor for the executed Works and Services. If the Contract is terminated, the Contractor shall stop work immediately. |
| C | DPDC events of default-termination by Contractor |
|  | a) | any default or defaults by DPDC in the making of any payment or payments required to be made by it within thirty (30) days of the due date there for and then, upon notice to DPDC, any default or defaults by DPDC in the making of any payment in accordance with the terms the Guarantee which continues unpaid for ten (10) Business Days; |
|  | b) | any statement, representation or warranty made by DPDC herein proving to have been incorrect, in any respect, when made or when deemed to have been made and such failure or incorrect statement, representation or warranty having a material adverse effect on DPDC's ability to perform its obligations under this Agreement |
|  | c) | any material breach by DPDC of this Agreement, which is not remedied within thirty (30) days after notice from contractor to DPDC stating that a material breach of the Agreement has occurred that could result in the termination of the Agreement, identifying the material breach in reasonable detail and demanding remedy thereof; |

Minimum Contract Price per unit for 2nd phase of the project:

At present, there are 9 nos. of 11 KV feeders at NOCS Narinda and these feeders have sources at three different 33/11 KV substations.  Average monthly import unit for NOCS Narinda is 1,10,00,000.00 at 33 KV voltage level. This figure can vary depending on demand of load of the customers. Though the reading will be taken at 11 kV level (feeder meter), the consumption at 11 kV will be converted to 33 KV by adding 2.5% loss and the bill will be submitted accordingly to the contractor for payment. The minimum contracted price at 11 kV level will be Tk. 6.8000 per unit at present tariff rate. Any bidder offering lower than this amount of Tk. 6.8000 per unit at 11 kV level shall be considered as non-responsive.

For example: If sum of all 11 KV feeder meter consumption is ‘A’ per month, then import for Narinda NOCS at 33 KV level will be:

A+ 2.5% x A=1.025 x A unit. So, the contractor has to pay Tk. 1.025 x A x 6.8000 per month.

Guideline for bidders regarding financial evaluation criteria:

This project will be completed in 2 phases. In 1st phase, the contractor shall supply, test and commission all the items mentioned in price schedule. The contract price for 1st phase will be adjusted equally from each of the 60 monthly bills in the 2nd phase.  In the 2nd phase, the contractor shall pay to DPDC against import electricity bill of NOCS Narinda as per contract.

The difference of following 2 payments will be calculated to determine the best evaluated financial offer:

    - Total payments to DPDC by the contractor for 5 years in socond phase against the  import sales of NOCS Narinda (1,10,00,000 units of electricity import per month will be considered for evaluation purpose) and

    - Total payment to the contractor by DPDC in 2nd phase against the contract price of 1st phase.

The financial offer of the bidder for which this difference is maximum will be considered as the best/winner evaluated financial offer.

7.55 Training

Introduction

This section describes the approach to be under taken by the Contractor in conducting training to DPDC employees.

Training organization/administration

Engineers and technicians nominated by the Employer shall be trained at site.

The Bid shall include a description of the Tenderer’s proposed module for implementation of the training program, indicating the responsibility for training within the Tenderer’s proposed site organization, and indicating the staff responsible for the various components of the training.

The training is intended for management and engineering staff of DPDC so as to enable them to understand in detail the function of the prepayment meters and to operate and expand/adapt the Prepayment Metering System DT meteing system and AMR metering system.

The contractor shall provide hands-on local training equivalent to 20 MM. The training shall be on prepayment metering system, DT metering and AMR metering system. The course of the training shall be decided by DPDC later on. The trainer shall have in depth knowledge on prepayment metering system, AMR and DT metering system.

All cost including training material, food, daily allowance, etc. shall have to be borne by the Contractor.

7.56 Mother-Child Metering System:

Mother-Child (CPR-CPC: Check Point Real - Check Point Child) metering system is presently being used in DPDC’s post-paid billing system. To protect revenue leakage, DPDC wants to implement Mother-Child meter system for prepaid metering system also. Following options are being considered to incorporate mother meter-child meter concept in prepayment billing system.

- Option-1 (Child Meters are off-line Prepaid & Mother meter is on-line Prepaid): In this option, The mother meter will be 3 Phase  prepaid  meter having  on-line facility (GPRS MODEM connected) as per specification mentioned in the tender document. This mother meter use RS-485 for communication among mother meter & child meters. The system will work in the following way:

  - Mother meter will not have any load. It will act as a monitoring and communication device for prepayment system.

  - Another 3 phase prepaid meter will be installed for common uses like Lift, Water pump etc. under the mother meter as child meter.

  - All child meters’ load will be connected through mother meter. One or more 3 Phase meter may be installed as child meter.

  - Through mother meter’s GPRS communication, system will collect monthly energy consumption information of all meters (mother meter and child meter).

  - Every month, the energy loss (CPR-CPC) will be calculated by the system, and system will alarm if there is an abnormal difference.

  - If communication fails between mother and any child meter at any instant, an alarm will be generated from mother meter and a message will be sent to the system immediately.

  - There will be an option for remotely shut down of the mother meter from system.

- Option-2 (Mother Meter is Existing check meter and all Child Meters are Prepaid Meter):The Mother meter will be DPDC's existing Post Paid 3 phase traditional (CPR) Meter.This meter will not have any load. It won’t be used for billing purpose. It will be used only for monitoring purpose. But one 3 phase on-line GPRS prepayment meter will be installed as a child meter under this meter for communication purpose. This meter will have loads for common services like Lift, Water Pump etc. Using RS-485, this meter will communicate with other child meters and will send energy information to system of all child meters including self consumption. The system will work in the following way:

  - Existing Mother meter’s reading must be recorded during the installation of prepayment meters as child meter.

  - Shift existing mother meter’s load to 3 phase online GPRS prepayment meter. This meter will be connected as a child meter under the existing mother meter. All other child prepayment meters will be connected to this online meter through RS-485 communication media.

  - Through 3 phase online meter’s GPRS communication, system will collect monthly energy information of all prepaid child meters including its self consumption.

  - If communication fails between 3 Phase online meter with any other child meter at any instant, an alarm will be generated from GPRS meter and a message will be sent to the system immediately.

  - If any abnormal difference between existing mother meter’s reading and sum of all child meters’ readings is found, then action will be taken as per rule.

# Section-8: Drawings

The tender shall submit drawings of prepayment meter, CT PT operated meter, CT operated LT meter, DT metering unit, MCCB etc. with their technical offer.

Flow charts of the processes involved between different entities in the prepaid e-metering system

Overall Process Outline

Main requirement: A receipt is essential as a proof of vending. Otherwise, in case of problem of actual vending into the meters, resolution of the dispute will be difficult. Therefore, a consumer for vending purpose must come either to a POS or to a Vending Station for recharging his/her meters (either single phase or three phases). Since the friendly hour and emergency credit facilities will be active within the meter so the failure of vending beyond the office hour will not harm the consumer.

Processes initiated at POS

- Processes involved at the Utility’s Vending Station

- Same as the POS initiated processes except the checking monitory transactions because only cash transactions will be made at the vending stations.

- Processes involved at Short Message Services from customers’ mobile

# PART-2

(Unified Prepayment System API)

Table of Contents

# 1 Multi-factories Access Platform

## 1.1 Access Platform Architecture Design

### Each manufacturer provides its own encryption / decryption API, integrated into the system software.

### When dealing with business based on different meters from each manufacturer, the system automatically calls the corresponding manufacturers’ encryption/ decryption API.

### The system defines uniformly data exchange interface corresponding to different business, such as input and output parameters.

### When dealing with a business, for the keypad meter, the system will call the encryption/ decryption API, generates the corresponding Token, and print; for smart card meter, the system will call the encryption/ decryption API, write the corresponding Token to encrypted data area of the smart card.

### The encryption/decryption API from smart card manufacture must be able to generate Token which must contain the information of business type and length information. So that when smart card meter read the encrypted data in the card, the meter can separate the Token and identify the Token business itself.

### POS read the smart cards from different manufactures via standard card read devices.

### MIC communicates with GPRS meters of other factories according to standard data exchange mechanism.

### Note: Token in this document means encrypted data.

# 2. Business Process

## 2.1 Vending as example:

# 3. Keypad Meters and Card Meter Access design

## 3.1 Error Code definition:

### 0 or empty: success

### 1: sequence number is not excepted

### 2: tariff Index argument error, not in scope

### 3: key Version argument not in scope

### 4: key Expired Time not in scope (0-255)

### 5: key No exceed 65535 or < 0

### 6: meter No is not excepted

### 7: credit amount <= 0

### 8: unknown reason

## 3.2 Standard Interface for Generating a Variety of Token

### 3.2.1 Token Standard Interface Define

| Programming language | JAVA |
| --- | --- |
| Functionality | Token standard interface class |
| Package | com.hx.ami.spi |
| Interface | Token |
| Class definition | public interface Token { Generate credit Token public String get Credit Token(String meter No, String sac, into tarrif Index, into key Version, int key Expired Time, long key No, into seq No, double amount); Generate key change Token public String get Key Change Token (String meter No, String sac, into tariff Index, into key Version, into key Expired Time, long key No, String nag, into Tariff Index, into Key Version, int Key Expired Time, long Key No); Generate Management Token Generate clear balance Token public String getClearBalanceToken (String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo); Generate clear event Token public String getClearEventToken (String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo); Generate max Power Limit Mode Token public String getMaxPowerLimitToken(String meterNo,String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo, int activationModel, String date,int[] maxPowerLimits, int[] hours); Generate single Tariff Token public String getSingleTariffToken(String meterNo, String Sgc, int tarrifIndex,int keyVersion, int keyExpiredTime, long keyNo, int seqNo,String activatingDate, int activatingModel, int validDate, int rate); Generate step Tariff Token public String getStepTariffToken(String meterNo, String Sgc, int tarrifIndex,int keyVersion, int keyExpiredTime, long keyNo, int seqNo,String activatingDate, String validDate, int[] rates, int[] steps); Generate Tou Tariff Token public String getTOUTariffToken(String meterNo, String Sgc, int tarrifIndex,int keyVersion, int keyExpiredTime, long keyNo, int seqNo,String activatingDate, int activatingModel, int validDate, int[] rates, int[] times); Generate Friend Mode Token public String getFriendModeToken(String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo, int friendMode, int[] times, int[] days); Generate Public Holiday Token generateHolidayModeToken(String meterNo,String sgcId, int ti, int kv, int ke, int seq, int keyNo,int holidayMode, String[] days); Generate Change Meter Mode Token public String getChangeMeterModeToken(String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo,int mode); Generate Set Credit Amount Limit And Overdraw Amount Limit Token public String getSetCreditAmountLimitOrOverdrawAmountLimitToken( String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo, int amountType, int amountLimit); Generate Set Low Credit Warning Limit Token public String SetLowCreditWarningLimitToken( String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo, int amountType, int amountLimit); Generate LogoffReturn Token public String generateLogoffReturnToken (String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, int keyNo, int seqNo); Resolve the Return Token public String resolveReturnToke(String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, String Token); 4) Generate Test Token public String getTestToken (int manufacturingID, int control); } |

### 3.2.2 Charge Interface Definition

| Functionality | To get credit Token |
| --- | --- |
| Application | To call the function and generate credit token when vending. seqNo : Each token has sequence number except change-key-token. seqNo will increase 1 for each token generated and change to 1 when above 200; keyNo: when seqNo change from 200 to 1,keyNo add 1. keyExpiredTime: Global system parameter used as cipher fact. System can change it. Nothing to do with key expiration. Just a encryption fact. Key version: Global encryption fact, it will be changed in case all meter need to change keys. |

| Function name | getCreditToken |
| --- | --- |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meter number Sgc String String of 6 numbers Supply group code System parameter. tarrifIndex Int 1-99 Tariff index When custom change tariff, this value may change to any of 1-99 keyVersion Int 1-9 Key version Global encryption fact, it will be changed in case all meter need to change keys. keyExpiredTime Int 0-255 Global system parameter used as cipher fact. System can change it. Nothing to do with key expiration. Just a encryption fact keyNo Long 0-65535 Key Sequence, similar to key changed times, see above method descpt. seqNo Int 1-200 Token Sequence amount Int 0-99999999(scale&unit 0.01TK) Credit amount |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode see 3. Chart definition. If succeeded, need return an array of <tokens>elements. |
| --- | --- |
| Function definition | public String getCreditToken(String meterNo, String sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo, int amount) { … } |

### 3.2.3 Key Change Interface Definition

| Functionality | To get key change Token |
| --- | --- |
| Application | As soon as user wants to charge money , to generate the manage token and test token ,and judge if the encryption factor has been changed, if changed , to call function and generate change token. This function is called at four case: Meter installed and custom purchase energy at first time Called if tariff changed SeqNo change from 200 to 1. Called when operator press menu to change key. For the first time registration, parameter defines as below: tariffIndex=0; keyVersion=0; keyExpiredTime=0; keyNo=0; |
| Function name | getKeyChangeToken |

| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. Sgc String String of 6 numbers Old Supply group code tariffIndex Int 1-99 Old Tariff index keyVersion Int 1-9 Old Key version keyExpiredTime Int 0-255 Old Key expire time keyNo Long 0-65535 Old Key Sequence nSgc Int String of 6 numbers Current supply grop code nTariffIndex Int 1-99 Current Tariff index nKeyVersion Int 1-9 Current Key version nKeyExpiredTime Int 0-255 Current Key expire time nKeyNo Int 0-65535 Current Key Sequence |
| --- | --- |
| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| Function definition | public String getKeyChangeToken (String meterNo, String sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, String nSgc, int nTariffIndex, int nKeyVersion,int nKeyExpiredTime, int nKeyNo) { …} |

### 3.2.4 Management Token

#### 3.2.4.1 Generate Clear Meter Balance Token

| Functionality | To get clear balance Token |
| --- | --- |
| Application | To clear balance |
| Function name | getClearBalanceToken |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. sgc String String of 6 numbers Supply group code tariffIndex Int 1-99 Tariff index keyVersion int 1-9 Key version keyExpiredTime int 0-255 Key expire time keyNo long 0-65535 Key Sequence seqNo int 1-255 Token Sequence |
| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| Function definition | public String getClearBalanceToken (String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo) { … } |

#### 3.2.4.2 Generate Clear Event Token

| Functionality | To get clear event Token |
| --- | --- |
| Application | To clear event |
| Function name | getClearEventToken |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. sgc String String of 6 numbers Supply group code tariffIndex int 1-99 Tariff index keyVersion int 1-9 Key version keyExpiredTime int 0-255 Key expire time keyNo long 0-65535 Key Sequence seqNo int 1-255 Token Sequence |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| --- | --- |
| Function definition | public String getClearEventToken (String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo) { … } |

#### 3.2.4.3 Generate Setup Max Power Limit Mode Token

| Functionality | To get the set up Max Power Limit Mode Token |
| --- | --- |
| Application | To set up Max Power Limit Mode Token |
| Function name | getMaxPowerLimitToken |

| Parameter list | Parameter name Type Scope or length Description meterno. String String of 12 numbers Meterno. sgc String String of 6 numbers Supply group code tariffIndex Int 1-99 Tariff index keyVersion Int 1-9 Key version keyExpiredTime Int 0-255 Key expire time keyNo Long 0-65535 Key Sequence seq Int 1-255 Token Sequence activatingModel Int 0-1 0：Noramal Mode 1：Immediately switch mode Active Mode This parameter always 1. activatingDate String YYYY-MM-DD Active Date Change Date type to String type：adapt to all kinds development languages maxPowerLimits int[] 1-2047 (array length :2) scale&unit:0.1kW Max Power array Hours Int[] 0-23 (array length :2)unit:hour Active time |
| --- | --- |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| --- | --- |
| Function definition | public String getMaxPowerLimitToken (String meterNo, String Sgc,int tarrifIndex, int keyVersion, int keyExpiredTime , long keyNo, int seq , int activatingModel, String date int[] maxPowerLimits, int[] hours) { … } |

#### 3.2.4.4 Generate Setup Single Tariff Token

| Functionality | To get the Setup Single Tarrif Token |
| --- | --- |
| Application | To set up single tarrif |
| Function name | getSingleTariffToken |

| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. sgc String String of 6 numbers Supply group code tariffIndex Int 1-99 Tariff index keyVersion Int 1-9 Key version keyExpiredTime Int 0-255 Key expire time keyNo Long 0-65535 Key Sequence seq Int 1-255 Token Sequence activatingDate String YYYY-MM-DD Active date Change Date type to String type：adapt to all kinds development languages activatingModel Int 0-1 0：Normal Mode 1：Immediately switch mode Active Mode always 1. validate Int 0-7 Validate always 0. rate Int 1-8191（scale&unit：0.01TK）By the integer bits and fractional bits, up to two decimal places, the maximum rate of price can be set to 81.91 Unit price |
| --- | --- |
| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| Function definition | public String getSingleTariffToken(String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime , long keyNo, int seq, String activatingDate, int activatingModel,int validDate, int rate) { …} |

#### 3.2.4.5 Generate Setup Step Tariff Token

| Functionality | To get the Setup Step Tarrif Token |
| --- | --- |
| Application | To set up step tarrif |
| Function name | getStepTariffToken |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. sgc String String of 6 numbers Supply group code tariffIndex int 1-99 Tariff index keyVersion int 1-9 Key version keyExpiredTime int 0-255 Key expire time keyNo long 0-65535 Key Sequence seq int 1-255 Token Sequence activatingDate String YYYY-MM-DD Active date Change Date type to String type：adapt to all kinds development languages validate int 0-7 Effective date activatingModel Int 0-1 0：Normal Mode 1：Immediately switch mode Effective Mode Always 1 rates int[] Length 4 1-8191( scale&unit：0.01TK) By the integer bits and fractional bits, up to two decimal places, the maximum rate of price can be set to 81.91 Price array steps int[] 1-4096 (the max array length :8) scale&unit:1 kWh Step array |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> for example： 0-100 kWh rate：2.3TK 100-200kWh rate: 2.7TK 200-300kWh rate: 3.2TK 300-∞ rate: 4.5TK rate[]= {2.3,2.7,3.2,4.5} steps[]={100,200,300} If succeeded, need return an array of <tokens>elements |
| --- | --- |
| Function definition | public String getStepTariffToken(String meterNo, String Sgc, int tarrifIndex,int keyVersion, int keyExpiredTime, long keyNo, int seq,String activatingDate, int activatingModel, int validDate, int[] rates, int[] steps) { …} |

#### 3.2.4.6 Generate Setup TOU Tariff Token

| Functionality | To get the Setup TOU tariff Token |
| --- | --- |
| Application | To set up TOU tariff |
| Function name | getTOUTariffToken |
| Parameter list | Parameter name Type Scope or length Description meterNo. String String of 12 numbers Meterno. Sgc String String of 6 numbers Supply group code tariffIndex Int 1-99 Tariff index keyVersion Int 1-9 Key version keyExpiredTime Int 0-255 Key expire time keyNo long 0-65535 Key Sequence Seq int 1-255 Token Sequence activatingDate String YYYY-MM-DD Active Date Change Date type to String type：adapt to all kinds development languages activatingModel Int 0-1 0：Normal 1：Immediately switch mode Active Mode always 1. validate Int 0-7 Effective Date rates Int[] Length 4 1-8191（scale&unit：0.01TK） By the integer bits and fractional bits, up to two decimal places, the maximum rate of price can be set to 81.91 Price times int[] Length 2 0-23 Hours period |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| --- | --- |
| Function definition | public String getTOUTariffToken(String meterNo, String Sgc, int tarrifIndex,int keyVersion, int keyExpiredTime, long keyNo, int seq,String activatingDate, int activatingModel, int validDate, int[] rates, int[] times) { … } |

#### 3.2.4.7 Generate Setup friendly mode Token

| Functionality | To get the Setup Friendly Mode Token |
| --- | --- |
| Application | To set up friendly mode |
| Function name | getFriendModeToken |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. Sgc String String of 6 numbers Supply group code tariffIndex int 1-99 Tariff index keyVersion int 1-9 Key version keyExpiredTime int 0-255 Key expire time keyNo long 0-65535 Key Sequence seqNo int 1-255 Token Sequence friendMode int 0-1 0: friendly mode is enable 1:friendly mode is closed Friendly mode Times int[] 0-23 (array length :2) Friendly time interval Days int[] 0-6 means Saturdy, Friday, Thursday , Wednesday, Tuesday , Monday and Sunday in sequence. (array length :7) Weekly holiday Array value 0 means weekend and 1 means ordinary day N_of_allowable_days int 0-99 No of allowable days that friendly hour will work after that without vending meter will not work in friendly hour |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| --- | --- |
| Function definition | public String getFriendModeToken(String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime , long keyNo, int seqNo, int friendMode, int[] times, int[] days) { … } |

#### 3.2.4.8 Generate Switch Meter Mode Token

| Functionality | To get Switch Meter Mode Token |
| --- | --- |
| Application | To set up switch meter mode |
| Function name | getChangeMeterModeToken |

| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. Sgc String String of 6 numbers Supply group code tariffIndex int 1-99 Tariff index keyVersion int 1-9 Key version keyExpiredTime int 0-255 Key expire time keyNo long 0-65535 Key Sequence seqNo int 1-255 Token Sequence mode int 0-1 0:switch to the ordinary meter mode; 1:switch to the pre-paid meter mode Meter mode switch |
| --- | --- |
| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |

| Function definition | public String getChangeMeterModeToken(String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo, int mode) { … } |
| --- | --- |

#### 3.2.4.9 Generate Set Credit Amount Limit And Overdraw Amount Limit Token

| Functionality | To get set credit amount limit and overdraw Amount Limit Token |
| --- | --- |
| Application | To set credit amount limit and overdraw Amount Limit . |
| Function name | getSetCreditAmountLimitAndOverdrawAmountLimit |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. Sgc String String of 6 numbers Supply group code tariffIndex Int 1-99 Tariff index keyVersion Int 1-9 Key version keyExpiredTime Int 0-255 Key expire time keyNo Long 0-65535 Key Sequence seqNo Int 1-255 Token Sequence amountType Int 0-1 0: creditAmountLimit 1: overAmountLimit Balance Type amountLimit Int 0~99999999(scale&unit:0.01TK) Amount |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| --- | --- |
| Function definition | public String getSetCreditAmountLimitOrOverdrawAmountLimitToken ( String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, int seqNo, int amountType, int amountLimit) { … } |

#### 3.2.4.10 Generate Logoff Token

| Functionality | To get reset Token |
| --- | --- |
| Application | To reset meter |
| Function name | generateLogoffReturnToken |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. Sgc String String of 6 numbers Supply group code tariffIndex Int 1-99 Tariff index keyVersion Int 1-9 Key version keyExpiredTime Int 0-255 Key expire time keyNo Long 0-65535 Key Sequence seqNo Int 1-255 Token Sequence |
| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <errorCode></errorCode> <tokens> <token></token> ... <token></token> <tokens> </result> Note： errorCode definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| Function definition | public String generateLogoffReturnToken (String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, int keyNo, int seqNo) { …} |

#### 3.2.4.11 Generate Credit/ Management Return Token

| Functionality | To get return Credit/Management Return Token |
| --- | --- |
| Application | User should get the return token before credit Return ,and send the meter information to the electricity sale system, or else the electricity sale system will not sale electricity to user ,it will helpful for subsequent management 。 |
| Function name | resolveReturnToke |
| Parameter list | Parameter name Type Scope or length Description meterNo String String of 12 numbers Meterno. Sgc String String of 6 numbers SGCID tariffIndex int 1-99 Tariff index keyVersion int 1-9 Key version keyExpiredTime int 0-255 Key expire time keyNo long 0-65535 Key Sequence Token String Custom defined by each manufacturers Token encryption character String |
| Return value | Return XML String Xml format: <?xml version='1.0' encoding='utf-8'?> <result> <type>0</type> <balance>454.54</balance> <sequence>6</sequence> <event> <clockSetFlag>1</clockSetFlag> <batteryVoltageLowFlag>0</batteryVoltageLowFlag> <openCoverFlag>0</openCoverFlag> <openBottomCoverFlag>1</openBottomCoverFlag> <byPassFlag>0</byPassFlag> <reverseFlag>0</reverseFlag> <magneticInterfereFlag>0</magneticInterfereFlag> <relayStatusFlag>1</relayStatusFlag> <relayFaultFlag>0</relayFaultFlag> <overdraftUsedFlag>0</overdraftUsedFlag> <forwardActiveEnergyTol>11.23</forwardActiveEnergyTol> <tariffIndex>51</tariffIndex> </event> </result> Note: If token resolve fail then return null. Return returnTokens: Parameter Scope of Length Description Type 0-1 0:credit return token 1:logoff return token Balance Balance of meter Sequence 0-1 0:credit return token 1:logoff return token Sequence of meter clockSetFlag 0-1 0:unhappen 1:happen Clock set event batteryVoltageLowFlag 0-1 0:unhappen 1:happen Battery low voltage event openCoverFlag 0-1 0:unhappen 1:happen Meter cover open event openBottomCoverFlag 0-1 0:unhappen 1:happen Terminal cover open event byPassFlag 0-1 0:unhappen 1:happen Bypass event reverseFlag 0-1 0:unhappen 1:happen Reverse event magneticInterfereFlag 0-1 0:unhappen 1:happen Magnetic interference event relayStatusFlag 0-1 0:connect 1:disconnect Relay status relayFaultFlag 0-1 0:unhappen 1:happen Relay fault event overdraftUsedFlag 0-1 0:no 1:yes Emergency balance used or not |
| Function definition | public String resolveReturnToken (String meterNo, String Sgc, int tarrifIndex, int keyVersion, int keyExpiredTime, long keyNo, String Token) { …} |

3.2.5 Test Function Interface Define

| Functionality | To get test Token |
| --- | --- |
| Application | To manage the user meter test and display, call the function and generate the test token. |
| Function name | Get Test Token |
| Parameter list | Parameter name Type Scope or length Description Manufacturing ID Into 2 numbers Manufacturer code Hexing: 14 Control Into 0: test all the contents 1: test relay 2: test LCD display 3: teat total energy 4 : test max power limit 5 : display current meter status 6 : display current power 7：display meter version number 8：display current tariff unit price 9：display overload current limit 10: display credit numbers 11: display serial number of meter 12: display off numbers of relay 13: enter into accuracy test mode 18-36: save Test token type |

| Return value | Return XML String Xml format: <?xml version="1.0" encoding="UTF-8"?> <result> <error Code></error Code> <Tokens> <token></token> ... <token></token> <tokens> </result> Note： Error Code definition refer to chart 3. If succeeded, need return an array of <tokens>elements |
| --- | --- |
| Function definition | public String get Test Token (into manufacturing ID, into control) { … } |

# 4 Functionality of Read And Write With Card

## Smart Card business process

## 4.1 Smart Card Data Format

| Data | Bytes | Memory Address (Bytes) |
| --- | --- | --- |
| Non Encrypted Data |
| Answer To Reset | 4 | 0-4 |
| Binary Pattern | 2 | 5-6 |
| Version | 1 | 7-7 |
| Meter ID | 10 | 8-17 |
| Consumer ID | 10 | 18-27 |
| Utility ID | 6 | 28-33 |
| Sanctioned Load | 6 | 34-39 |
| Meter Type | 1 | 40-40 |
| Sanctioned Load exceeded | 2 | 41-42 |
| Last Recharge Amount | 4 | 43-46 |
| Last Recharge Date | 3 | 47-49 |
| Last Transaction ID | 10 | 50-59 |
| Encrypted Data as Generated by the Meter Manufacturer SDK/API |
| The following Data must exist within the encrypted Data: Data To Meter: Meter ID Consumer ID Utility ID Tokens Credit Token Management Token Test Token Data From Meter: Tamper Status RTC Status LR Status Usage Data for the last 6 months individually Month Year KWh Taka Recharged Taka Used Average Power Reactive Power Maximum Power Volt Ampere KWh in Peak KWh in off peak Karsh in Peak Karsh in off peak Total charge in Peak Total charge in off peak Number of power failures Number of time sanctioned load exceeded Tamper Number of times tampered Date/Time of Tamper Return Token | 965 | 60-1024 |

## 4.2 Smart Card Standard Interface Define

| Program language | JAVA |
| --- | --- |
| Functionality | Smart Card standard interface |
| Package | com.hx.ami.spi |
| Interface | Smart Card |
| Class definition | Public interface Smart Card { //the encryption data for Smart card public String encrypt Smart Card Return Data (into answer To Reset, into binary Pattern, into version, String meter ID, String customer ID, String utility ID, long sanctioned Load, into meter Type, into last charge Amount, String last Recharge Date, String last Transaction ID, into card Type, String pad Data, into Token Total Number, String[] tokens); Note: the encryption data in the card address range: 4-1019 size:1016bytes //Smart card to decrypt the return data public String decrypt Smart Card Return Data( String meter No, String sac, into tariff Index, into key Version, into key Expired Time, long key No, String encrypted Data); } Note: The input parameter: encrypted Data length is 1024 bytes, thewhole card data |

## 4.3 Encrypt Data Write to Smart Card Function Define

| Functionality | Decrypt Smart Card return data |
| --- | --- |
| Application | To write the data to smart card, call function to encrypt function |
| Function name | Encrypt Smart Card Return Data |
| Parameter list | Parameter name Type Scope or length Description Answer to Reset Into 8 Answer to Reset Reserved position in IC card default set value 0 Binary Pattern String Hex string String of 4 chars Fixed string ‘ACF0’ Set value ACF0 Version Into 2 Version Manufacturer code Example: Hexing: 14 Meter No String String of numbers Length<=13 Meter no. Customer ID String String of 20 chars Customer ID Utility ID String String of 4 chars Utility ID Sanctioned Load Long 0-65535 Sanctioned Load Scale & unit: 0.1kW Meter Type String String of 2 numbers Meter Type 01: keypad meter 02: card meter 03: gprs meter Last Recharge Amount Into String of 4 numbers Scale & Unit: 0.01TK Last Recharge Date String String of 6 numbers DDMMYY Last Transaction ID String String of 20 Card Type String String of 4 chars OABC: user card 0BAC: test card Pad Data String String of 12 chars Put the first 12 chars pwd Data into <block5> Token Total Number Into String of 2 numbers Max value25 Tokens String [] Every element length: String of 20 numbers or Greater than 20 numbers |
| Return value | Return String mapping in the card address range: 4-1019 size: 1016bytes 2032chars |
| Function definition | public String encrypt Smart Card Return Data (into answer To Reset, into binary Pattern, into version, String meter ID, String customer ID, String utility ID, long sanctioned Load, into meter Type, into last Recharge Amount, String last Recharge Date, String last Transaction D, into card Type, String pad Data, into Token Total Number, String[] tokens){ … } |

## 4.4 Decrypt Return Data from Smart Card Function Define

| Functionality | Decrypt Smart Card return data |
| --- | --- |
| Application | To read the response data from smart card, call function to decrypt the dates. |
| Function name | Decrypt Smart Card Return Data |
| Parameter list | Parameter name Type Scope or length Description Meter No String String of numbers Length<=13 Meter number Sac String String of 6 numbers SGCID Tariff Index Into 1-99 Tariff index Key Version Into 1-9 Key version Key Expired Time Into 0-255 Key expire time Key No Long 0-65535 Key Sequence Encrypted Data String Custom manufacturers Card String 1024bytes 2048char 4428 IC card length |
| Return value | Return XML String Xml format: <? Xml version="1.0" encoding="UTF-8"?> <Card> <block1> <answer To Reset></answer To Reset> <version></version> <meter ID></meter ID> <customer ID></customer ID> <utility ID></utility ID> <sanctioned Load></sanctioned Load> <meter Type></meter Type> <last Transaction ID></last Transaction ID> <last Recharge Date></last Recharge Date> <last Transaction ID></last Transaction ID> </block1> <block2> <card Type></card Type> <card Used Flag></card Used Flag> <token Total Number ></token Total Number> </block2> <block3> <!—more than one token，split with “,”--> <token></token> </block3> <block4> <meter ID></meter ID> <consumer ID></consumer ID> <utility ID></utility ID> </block4> <block5> <psData1></psData1> <psData2></psData2> <psData3></psData3> <psData4></psData4> <psData5></psData5> <psData6></psData6> </block5> <block6> <!—more than one token，split with “,”--> <tokenReturnCode></tokenReturnCode> </block6> <block7> <LastMonth1> <billingDate>20150920105212</billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth1> <LastMonth2> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth2> <LastMonth3> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth3> <LastMonth4> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth4> <LastMonth5> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth5> <LastMonth6> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth6> </block7> <block8> <returnToken></returnToken> <updateFlag></updateFlag> </block8> </card> Example with data <?xml version='1.0' encoding='utf-8'?> <card> <block1> <answerToReset>91102392</answerToReset> <version>51</version> <meterID>00000000037990020549</meterID> <customerID>00000000000000999910</customerID> <utilityID>0001</utilityID> <sanctionedLoad>000000000005</sanctionedLoad> <meterType>20</meterType> <LastRechargeAmount>412.22</LastRechargeAmount> <lastRechargeDate>150919</lastRechargeDate> <lastTransactionID>00000000000000012858</lastTransactionID> </block1> <block2> <cardType>0abc</cardType> <cardUsedFlag>fa</cardUsedFlag> <tokenTotalNumber>0</tokenTotalNumber> </block2> <block3> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> <token></token> </block3> <block4> <meterID>0000000000000000000049050290790300000000</meterID> <consumerID>0000000000000000000010999900000000000000</consumerID> <utilityID>000000000100</utilityID> </block4> <block5> <psData1>0c</psData1> <psData2>71</psData2> <psData3>53</psData3> <psData4>12</psData4> <psData5>f4</psData5> <psData6>77</psData6> </block5> <block6> <tokenReturnCode>0</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> <tokenReturnCode>255</tokenReturnCode> </block6> <block7> <LastMonth1> <billingDate>20150920105212</billingDate> <activeEnergyImport>0.0</activeEnergyImport> <takaRecharged>0.0</takaRecharged> <takaUsed>0.0</takaUsed> <activeMaximumPower>0.0</activeMaximumPower> <reactiveMaximumPower>0.0</reactiveMaximumPower> <activeEnergyImportT1>0.0</activeEnergyImportT1> <activeEnergyImportT2>0.0</activeEnergyImportT2> <reactiveEnergyImportT1>0.0</reactiveEnergyImportT1> <reactiveEnergyImportT2>0.0</reactiveEnergyImportT2> <totalChargeT1>0.0</totalChargeT1> <totalChargeT2>0.0</totalChargeT2> <numberOfPowerFailures>1</numberOfPowerFailures> <numberOfSanctionedLoadExceeded>0</numberOfSanctionedLoadExceeded> <monthAveragePowerFactor>0.0</monthAveragePowerFactor> </LastMonth1> <LastMonth2> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth2> <LastMonth3> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth3> <LastMonth4> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth4> <LastMonth5> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth5> <LastMonth6> <billingDate></billingDate> <activeEnergyImport></activeEnergyImport> <takaRecharged></takaRecharged> <takaUsed></takaUsed> <activeMaximumPower></activeMaximumPower> <reactiveMaximumPower></reactiveMaximumPower> <activeEnergyImportT1></activeEnergyImportT1> <activeEnergyImportT2></activeEnergyImportT2> <reactiveEnergyImportT1></reactiveEnergyImportT1> <reactiveEnergyImportT2></reactiveEnergyImportT2> <totalChargeT1></totalChargeT1> <totalChargeT2></totalChargeT2> <numberOfPowerFailures></numberOfPowerFailures> <numberOfSanctionedLoadExceeded></numberOfSanctionedLoadExceeded> <monthAveragePowerFactor></monthAveragePowerFactor> </LastMonth6> </block7> <block8> <returnToken>07485085822316193422</returnToken> <updateFlag>fa</updateFlag> </block8> </card> Note： Determine the element< errorCode> is greater than or equal to 0, if the conditions established, generate Token error. Otherwise, the build succeeds, you can call get an array of <tokens>elements. |
| Function definition | public String decryptSmartCardReturnData(String meterNo, String sgc, int tariffIndex, int keyVersion, int keyExpiredTime, long keyNo, String encryptedData) { … } |

4.5 Smart Card Writing Password Algorithm

### Below is the example of password block:

### <block5>

### <psData1>0c</psData1>

### <psData2>71</psData2>

### <psData3>53</psData3>

### <psData4>12</psData4>

### <psData5>f4</psData5>

### <psData6>77</psData6>

</block5>

Hex total = psData1* 255 + psData2* 100 + psData3* 155 + psData4* 10 + psData5* 55 + psData6;

### Then the password will be last two bytes of the total; One exception is if all the data is equal to FF then password will be FFFF. <psData1>0c</psData1> here 0c is Hex format.

## 4.6 The format of byte after decryption (Just for example)：

| Data | Length | Address | Data Type | Is Encrypted | Desc |
| --- | --- | --- | --- | --- | --- |
| Answer To Reset | 4 | 0 |  |  | Answer To Reset |
| Binary Pattern | 2 | 4 |  |  | Fixed Data 0b1010110011110000 = 0xACF0 |
| Version | 1 | 6 | BCD | N | Manufacturers |
| Meter ID | 10 | 7 | BCD | N | Meterno. |
| Consumer ID | 10 | 17 | BCD | N | A/C No. |
| Utility ID | 2 | 27 | BCD | N | Utility ID |
| Sanctioned Load | 6 | 29 | BCD | N | Sanctioned Load |
| Meter Type | 1 | 35 | HEX | N | Meter Type |
| Sanctioned Load exceeded | 1 | 36 | HEX | N | Sanctioned Load exceeded |
| Last Recharge Amount | 2 | 37 | HEX | N | Last Recharge Amount |
| Last Recharge Date | 3 | 39 | BCD | N |  |
| Last Transaction ID | 10 | 42 | BCD | N | Last Transaction ID |
| Card Type | 2 | 100 | HEX | N | 0ABC-Account Card， 0BAC-Test Card B, 0AAC-Test Card A |
| Card Used Flag | 1 | 102 | Boolean | N | Token in the card has been processed flag. Upon completion of Token processing, write the results, and then update the flag FA. POS point writing Token set the flag FF |
| Token Total Number | 1 | 103 | HEX | N | Token Total Numbe |
| CS | 2 | 104 | HEX | N | Data sum check |
|  | 6 | 106 |  | N | Blank Area:FF |
| Token 1 | 10 | 112 | BCD | N | Token area, arranged in strict accordance with the required number in order of priority. No Token fill the whole area F |
| Token 2 | 10 | 122 | BCD | N |  |
| Token 3 | 10 | 132 | BCD | N |  |
| Token 4 | 10 | 142 | BCD | N |  |
| Token 5 | 10 | 152 | BCD | N |  |
| Token 6 | 10 | 162 | BCD | N |  |
| Token 7 | 10 | 172 | BCD | N |  |
| Token 8 | 10 | 182 | BCD | N |  |
| Token 9 | 10 | 192 | BCD | N |  |
| Token 10 | 10 | 202 | BCD | N |  |
| Token 11 | 10 | 212 | BCD | N |  |
| Token 12 | 10 | 222 | BCD | N |  |
| Token 13 | 10 | 232 | BCD | N |  |
| Token 14 | 10 | 242 | BCD | N |  |
| Token 15 | 10 | 252 | BCD | N |  |
| Token 16 | 10 | 262 | BCD | N |  |
| Token 17 | 10 | 272 | BCD | N |  |
| Token 18 | 10 | 282 | BCD | N |  |
| Token 19 | 10 | 292 | BCD | N |  |
| Token 20 | 10 | 302 | BCD | N |  |
| Token 21 | 10 | 312 | BCD | N |  |
| Token 22 | 10 | 322 | BCD | N |  |
| Token 23 | 10 | 332 | BCD | N |  |
| Token 24 | 10 | 342 | BCD | N |  |
| Token 25 | 10 | 352 | BCD | N |  |
|  | 6 | 362 |  | N |  |
| Meter ID | 20 | 368 | BCD | N | Meter ID |
| Consumer ID | 20 | 388 | BCD | N | Consumer ID |
| Utility ID | 6 | 408 | BCD | N | Utility ID |
| CS | 2 | 414 | HEX | N |  |
|  | 0 | 416 |  | N |  |
| Data A | 1 | 416 | HEX | N |  |
| Data B | 1 | 417 | HEX | N |  |
| Data C | 1 | 418 | HEX | N |  |
| Data D | 1 | 419 | HEX | N |  |
| Data E | 1 | 420 | HEX | N |  |
| Data F | 1 | 421 | HEX | N |  |
| CS | 2 | 422 | HEX | N |  |
|  | 0 | 424 |  | N |  |
| Token 1 Return Code | 1 | 424 | HEX | Y | Meter operating results after Token, 0x00: success, 0xFF: default value, the other: the error code. |
| Token 2 Return Code | 1 | 425 | HEX | Y |  |
| Token 3 Return Code | 1 | 426 | HEX | Y |  |
| Token 4 Return Code | 1 | 427 | HEX | Y |  |
| Token 5 Return Code | 1 | 428 | HEX | Y |  |
| Token 6 Return Code | 1 | 429 | HEX | Y |  |
| Token 7 Return Code | 1 | 430 | HEX | Y |  |
| Token 8 Return Code | 1 | 431 | HEX | Y |  |
| Token 9 Return Code | 1 | 432 | HEX | Y |  |
| Token 10 Return Code | 1 | 433 | HEX | Y |  |
| Token 11 Return Code | 1 | 434 | HEX | Y |  |
| Token 12 Return Code | 1 | 435 | HEX | Y |  |
| Token 13 Return Code | 1 | 436 | HEX | Y |  |
| Token 14 Return Code | 1 | 437 | HEX | Y |  |
| Token 15 Return Code | 1 | 438 | HEX | Y |  |
| Token 16 Return Code | 1 | 439 | HEX | Y |  |
| Token 17 Return Code | 1 | 440 | HEX | Y |  |
| Token 18 Return Code | 1 | 441 | HEX | Y |  |
| Token 19 Return Code | 1 | 442 | HEX | Y |  |
| Token 20 Return Code | 1 | 443 | HEX | Y |  |
| Token 21 Return Code | 1 | 444 | HEX | Y |  |
| Token 22 Return Code | 1 | 445 | HEX | Y |  |
| Token 23 Return Code | 1 | 446 | HEX | Y |  |
| Token 24 Return Code | 1 | 447 | HEX | Y |  |
| Token 25 Return Code | 1 | 448 | HEX | Y |  |
| Recharge Date&Time | 6 | 449 | HEX | Y | SSMMHHDDMMYY, Meter recharge time, prepayment System writes all F |
| Recharge Amount | 4 | 455 | HEX | Y | unit:0.01，The amount of recharge |
| Token Return Code CS | 2 | 459 | HEX | Y |  |
|  | 3 | 461 | HEX | Y |  |
| Billing Date&Time | 6 | 464 | BCD | Y | SSMMHHDDMMYY |
| Active energy import (Current Month) | 4 | 470 | BCD | Y | unit:0.01 kWh |
| Taka Recharged(Current Month) | 4 | 474 | HEX | Y | Unit 0.01 |
| Taka Used(Current Month) | 4 | 478 | HEX | Y | unit 0.01 |
| Active Maximum Power（MD） | 3 | 482 | BCD | Y | Active Maximum Power（MD） |
| Reactive Maximum Power（MD） | 3 | 485 | BCD | Y | Reactive Maximum Power（MD） |
| Active energy import T1(Current Month) | 4 | 488 | BCD | Y | Active energy import T1(Current Month) |
| Active energy import T2(Current Month) | 4 | 492 | BCD | Y | Active energy import T2(Current Month) |
| Reactive energy import T1(Current Month) | 4 | 496 | BCD | Y | Reactive energy import T1(Current Month) |
| Reactive energy import T2(Current Month) | 4 | 500 | BCD | Y | Reactive energy import T2(Current Month) |
| Total Charge T1(Current Month） | 4 | 504 | HEX | Y | Unit:0.01 |
| Total Charge T2(Current Month） | 4 | 508 | HEX | Y | unit:0.01 |
| Number of Power Failures | 2 | 512 | HEX | Y | Number of Power Failures |
| Number of Sanctioned Load Exceeded | 2 | 514 | HEX | Y | Number of Sanctioned Load Exceeded |
| Month Average Power Factor | 2 | 516 | BCD | Y |  |
| Last 1 Month CS | 2 | 518 | HEX | Y |  |
|  | 0 | 520 |  | Y |  |
| Billing Date&Time | 6 | 520 | BCD | Y | SSMMHHDDMMYY |
| Active energy import (Current Month) | 4 | 526 | BCD | Y | unit:0.01 kWh |
| Taka Recharged(Current Month) | 4 | 530 | HEX | Y | Unit:0.01 |
| Taka Used(Current Month) | 4 | 534 | HEX | Y | Unit:0.01 |
| Active Maximum Power（MD） | 3 | 538 | BCD | Y |  |
| Reactive Maximum Power（MD） | 3 | 541 | BCD | Y |  |
| Active energy import T1(Current Month) | 4 | 544 | BCD | Y |  |
| Active energy import T2(Current Month) | 4 | 548 | BCD | Y |  |
| Reactive energy import T1(Current Month) | 4 | 552 | BCD | Y |  |
| Reactive energy import T2(Current Month) | 4 | 556 | BCD | Y |  |
| Total Charge T1(Current Month） | 4 | 560 | HEX | Y | Unit:0.01 |
| Total Charge T2(Current Month） | 4 | 564 | HEX | Y | Unit:0.01 |
| Number of Power Failures | 2 | 568 | HEX | Y |  |
| Number of Sanctioned Load Exceeded | 2 | 570 | HEX | Y |  |
| Month Average Power Factor | 2 | 572 | BCD | Y |  |
| Last 2 Month CS | 2 | 574 | HEX | Y |  |
|  | 0 | 576 |  | Y |  |
| Billing Date&Time | 6 | 576 | BCD | Y | SSMMHHDDMMYY |
| Active energy import (Current Month) | 4 | 582 | BCD | Y | unit:0.01 kWh |
| Taka Recharged(Current Month) | 4 | 586 | HEX | Y | Unit:0.01 |
| Taka Used(Current Month) | 4 | 590 | HEX | Y | Unit:0.01 |
| Active Maximum Power（MD） | 3 | 594 | BCD | Y |  |
| Reactive Maximum Power（MD） | 3 | 597 | BCD | Y |  |
| Active energy import T1(Current Month) | 4 | 600 | BCD | Y |  |
| Active energy import T2(Current Month) | 4 | 604 | BCD | Y |  |
| Reactive energy import T1(Current Month) | 4 | 608 | BCD | Y |  |
| Reactive energy import T2(Current Month) | 4 | 612 | BCD | Y |  |
| Total Charge T1(Current Month） | 4 | 616 | HEX | Y | Unit:0.01 |
| Total Charge T2(Current Month） | 4 | 620 | HEX | Y |  |
| Number of Power Failures | 2 | 624 | HEX | Y |  |
| Number of Sanctioned Load Exceeded | 2 | 626 | HEX | Y |  |
| Month Average Power Factor | 2 | 628 | BCD | Y |  |
| Last 3 Month CS | 2 | 630 | HEX | Y |  |
|  | 0 | 632 |  | Y |  |
| Billing Date&Time | 6 | 632 | BCD | Y | SSMMHHDDMMYY |
| Active energy import (Current Month) | 4 | 638 | BCD | Y | unit:0.01 kWh |
| Taka Recharged(Current Month) | 4 | 642 | HEX | Y | Unit:0.01 |
| Taka Used(Current Month) | 4 | 646 | HEX | Y | Unit:0.01 |
| Active Maximum Power（MD） | 3 | 650 | BCD | Y |  |
| Reactive Maximum Power（MD） | 3 | 653 | BCD | Y |  |
| Active energy import T1(Current Month) | 4 | 656 | BCD | Y |  |
| Active energy import T2(Current Month) | 4 | 660 | BCD | Y |  |
| Reactive energy import T1(Current Month) | 4 | 664 | BCD | Y |  |
| Reactive energy import T2(Current Month) | 4 | 668 | BCD | Y |  |
| Total Charge T1(Current Month） | 4 | 672 | HEX | Y | Unit:0.01 |
| Total Charge T2(Current Month） | 4 | 676 | HEX | Y | Unit:0.01 |
| Number of Power Failures | 2 | 680 | HEX | Y |  |
| Number of Sanctioned Load Exceeded | 2 | 682 | HEX | Y |  |
| Month Average Power Factor | 2 | 684 | BCD | Y |  |
| Last 4 Month CS | 2 | 686 | HEX | Y |  |
|  | 0 | 688 |  | Y |  |
| Billing Date&Time | 6 | 688 | BCD | Y | SSMMHHDDMMYY |
| Active energy import (Current Month) | 4 | 694 | BCD | Y | unit:0.01 kWh |
| Taka Recharged(Current Month) | 4 | 698 | HEX | Y | Unit:0.01 |
| Taka Used(Current Month) | 4 | 702 | HEX | Y | Unit:0.01 |
| Active Maximum Power（MD） | 3 | 706 | BCD | Y |  |
| Reactive Maximum Power（MD） | 3 | 709 | BCD | Y |  |
| Active energy import T1(Current Month) | 4 | 712 | BCD | Y |  |
| Active energy import T2(Current Month) | 4 | 716 | BCD | Y |  |
| Reactive energy import T1(Current Month) | 4 | 720 | BCD | Y |  |
| Reactive energy import T2(Current Month) | 4 | 724 | BCD | Y |  |
| Total Charge T1(Current Month） | 4 | 728 | HEX | Y | Unit:0.01 |
| Total Charge T2(Current Month） | 4 | 732 | HEX | Y | Unit:0.01 |
| Number of Power Failures | 2 | 736 | HEX | Y |  |
| Number of Sanctioned Load Exceeded | 2 | 738 | HEX | Y |  |
| Month Average Power Factor | 2 | 740 | BCD | Y |  |
| Last 5 Month CS | 2 | 742 | HEX | Y |  |
|  | 0 | 744 |  | Y |  |
| Billing Date&Time | 6 | 744 | BCD | Y | SSMMHHDDMMYY |
| Active energy import (Current Month) | 4 | 750 | BCD | Y | unit:0.01 kWh |
| Taka Recharged(Current Month) | 4 | 754 | HEX | Y | Unit:0.01 |
| Taka Used(Current Month) | 4 | 758 | HEX | Y | Unit:0.01 |
| Active Maximum Power（MD） | 3 | 762 | BCD | Y |  |
| Reactive Maximum Power（MD） | 3 | 765 | BCD | Y |  |
| Active energy import T1(Current Month) | 4 | 768 | BCD | Y |  |
| Active energy import T2(Current Month) | 4 | 772 | BCD | Y |  |
| Reactive energy import T1(Current Month) | 4 | 776 | BCD | Y |  |
| Reactive energy import T2(Current Month) | 4 | 780 | BCD | Y |  |
| Total Charge T1(Current Month） | 4 | 784 | HEX | Y | Unit:0.01 |
| Total Charge T2(Current Month） | 4 | 788 | HEX | Y | Unit:0.01 |
| Number of Power Failures | 2 | 792 | HEX | Y |  |
| Number of Sanctioned Load Exceeded | 2 | 794 | HEX | Y |  |
| Month Average Power Factor | 2 | 796 | BCD | Y |  |
| Last 6 Month CS | 2 | 798 | HEX | Y |  |
|  | 0 | 800 |  | Y |  |
| Numbers of open cover | 2 | 800 | HEX | Y |  |
| The last time of open cover | 6 | 802 | BCD | Y | SSMMHHDDMMYY |
| The last 2 time of open cover | 6 | 808 | BCD | Y |  |
| The last 3 time of open cover | 6 | 814 | BCD | Y |  |
| The last 4 time of open cover | 6 | 820 | BCD | Y |  |
| Numbers of open cover CS | 2 | 826 | HEX | Y |  |
|  | 4 | 828 |  | Y |  |
| Numbers of open terminal cover | 2 | 832 | HEX | Y |  |
| The last time of open terminal cover | 6 | 834 | BCD | Y |  |
| The last 2 time of open terminal cover | 6 | 840 | BCD | Y |  |
| The last 3 time of open terminal cover | 6 | 846 | BCD | Y |  |
| The last 4 time of open terminal cover | 6 | 852 | BCD | Y |  |
| Numbers of open terminal cover CS | 2 | 858 | HEX | Y |  |
|  | 4 | 860 |  | Y |  |
| Numbers of bypass | 2 | 864 | HEX | Y |  |
| The last time of bypass | 6 | 866 | BCD | Y |  |
| The last 2 time of bypass | 6 | 872 | BCD | Y |  |
| The last 3 time of bypass | 6 | 878 | BCD | Y |  |
| The last 4 time of bypass | 6 | 884 | BCD | Y |  |
| Numbers of bypass CS | 2 | 890 | HEX | Y |  |
|  | 4 | 892 |  | Y |  |
| Numbers of overload | 2 | 896 | HEX | Y |  |
| The last time of overload | 6 | 898 | BCD | Y |  |
| The last 2 time of overload | 6 | 904 | BCD | Y |  |
| The last 3 time of overload | 6 | 910 | BCD | Y |  |
| The last 4 time of overload | 6 | 916 | BCD | Y |  |
| Numbers of overload CS | 2 | 922 | HEX | Y |  |
|  | 4 | 924 |  | Y |  |
| Numbers of missing neutral event | 2 | 928 | HEX | Y |  |
| The last time of missing neutral event | 6 | 930 | BCD | Y |  |
| The last 2 time of missing neutral event | 6 | 936 | BCD | Y |  |
| The last 3 time of missing neutral event | 6 | 942 | BCD | Y |  |
| The last 4 time of missing neutral event | 6 | 948 | BCD | Y |  |
| Missing neutral event CS | 2 | 954 | HEX | Y |  |
|  | 4 | 956 |  | Y |  |
| Last Read Time | 6 | 960 | BCD | N | POS needs to reset the data after read the date,set all F |
| Return Token | 10 | 966 | BCD | N | POS needs to reset the tokens，set all F |
| Update Flag | 1 | 976 | Boolean | N | The meter is updated to return data, FF-no, FA-updated. POS card is required to write the flag is after read the data |
| CS | 2 | 977 | HEX | N |  |
| Verify Writable | 1 | 1020 | HEX |  | PSC used to check the password is corrected |
| Error Counter | 1 | 1021 |  |  | Card Reserved fields |
| PSC | 2 | 1022 |  |  | Card Reserved fields |

# 5 GPRS Meters Connection Platform Design

## 5.1Concept Description of MIC Communication Access

### Smart GPRS meters communicate with MIC using XML format based on TCP. It will use encryption and digital signature technical in TCP linker layer, and in data area of XML document, follow the standard DLMS protocol.

### XML Communication Protocol Define

### XML Format Define

### <?xml version='1.0'?>

### <h:rt xmlns h='ProtocolHead'>

### <h:pv>1</h:pv>

### <h:addr>030140000170</h:addr>

### <h:dir>down</h:dir>

### <h:pt>1</h:pt>

### <h:fc>3</h:fc>

### <h:seq>7</h:seq>

### <h:e>10</h:e>

### <h:a>0</h:a>

### <h:r>485845110000000000000007</h:r>< h:d>

### 0A15CEDF16.........................0A15CEDF16

### </h:d>

### <h:sg>0203<h:sg>

### </h:rt>

### XML Label Description：

### All data of XML should be transferred using ASCII code.

| Protocol Presentation | Protocol Description | Note |
| --- | --- | --- |
| <? xml version='1.0' ?> | XMLfixed head format |  |
| <h:rt xmlns h='ProtocolHead'> | To name the space under root element.Protocol Head means the first layer of protocol. |  |
| <h:pv>1</ h:pv> | XMLprotocol internal version number of company. 1: the first version |  |
| <h:f>100000000</h:f> | Address of transmit end，the label means which transmit end the data come from. The address will be 1 if the transmit end is master station; The address will be meter address if the transmit end is meter, whose length is not fixed and the max length is 32 pcs ASCII code. |  |
| <h:dir>down</h:dir> | The direction of transmission. up: meter to server down: server to meter |  |

| <h:pt>1</h:pt > | Data transport protocol in data area. 1：DLMS transport protocol 2: XML transport protocol（Company will develop in the future, as the second stage） |  |
| --- | --- | --- |
| <h:fc>1</h:fc> | Function code: it is mainly for front-end processor distinguishes the data types. When front-end processor doesn’t analysis the data or decrypt the encrypted data, it can response the frame transmitted from the meters. At the same time, the label can distinguish who is the transmit end. 1：Link interface test(meter launches) 2：Link interface test response frame(master station responses) 3：Request – response frame（master station responses） 4：Request —confirm/deny frame（master station responses） 5：Report initially- confirm/deny frame（meter launches） 6：Report initially confirm frame needed（meter launches） 7：Report initially confirm frame needless（meter launches） 8：business password refresh（master station launches） 9：manufacturer request（mainly for upgrade remotely）（master station launches） 10：manufacturer respond （mainly for upgrade remotely））（master station launches） |  |
| <h:seq>3< h:seq> | XML frame serial number，for defining which response frame was responded by the response end. The frame serial number is changed by primaryend, it will add 1 when primary end launches one frame of message. The range of variation can be0-99. Driven end regards the frame serial number of primary end as the response frame serial number. After messages transmitted by starting end, when the responded can’t be received timely , the serial number of retransmission will be same if the starting end allows retransmission, and the max retransmission numbers is 3; 2） If the driven end receives two starting frame with the same serial number in series, it means the response hasn’t been received yet, then retransmission( and without dealing with the message again); 3） If starting end receives two response frames with the same serial number in series, then will not deal with the second response frame. |  |
| <h:e>10</h:e> | Data encryption algorithm 00：without using encryption algorithm ，data transmitted using plaintext form 10：AES-128 In GCM Mode 11：AES-192 12：AES-256 20：DES 30：SHA 40：ECC |  |
| <h:a>1</h:a> | Verify algorithm 0：without using verify 1：SHA-256 |  |
| <h:r>4827762</h:r> | Random number. The starting end will regard the random number as vector to encrypt the data area, the receiving end will regard the random number as vector to decrypt the data area. It has 12 bytes, as 24 bytes HEX character String in XML. |  |
| <h:d >123456< /h:d > | Data area, if without using encryption algorithm, the flag is plaintext ; if using encryption algorithm, the flag is the plaintext will be encrypted. |  |
| <h:sg>0203<h:sg> | When without using verify, the flag is useless; when using verify, the flag is verify code for plaintext of data area. |  |
| </h:rt> | XML end flag. |  |

## 5.2 Function Code Description：

### Link interface test: the function is distinguished in data area.

### 01：log in

### 02：quit

### 03：heartbeat

### Link interface test response frame: the function is distinguished in data area.

### 01：log in

### 02：quit

### 03：heartbeat

### In this system, meters as client side, MIC as server side, link build , log in request and heatbeat are transmitted by meters , and responded by MIC.

### Log in frame: For transmitting a group of specific data to the MIC and confirming the link chaining relationship with master station , after meters connected with master station in TCP/IP.

### Heartbeat frame: For transmitting a group of data to maintain the TCP/IP link chaining .

### Request – response frame

### Request – response frame is the request frame transmitted from master station and the response frame responded by meters.

### The correct response means in XML layers, encryption and decryption runs correct or other data to be tested are correct, without including part or all deny for DLMS frames in DLMS layers.

### Request- confirm\deny frame

### Request- confirm\deny frame is the deny frame responded to the master station when errors happened on data that meters transmitted to the master station.

### It will response confirm frame if the update key request to master station is correct.

### Request- confirm\deny frame format：

| Confirm frame | Function code:00 |  |
| --- | --- | --- |
| Deny frame | Function code :01 | Error code：01: password error; 02: verify error;03: other error |

### Report initially-confirm\deny frame

### For data meters transmitted to the master station , if need confirmation, front-end processor will using the function code to achieve confirmation and deny for meters.

### The format refers to function code 3.

### Report initially -confirm frame needed

### For data meters reported to the master station initially, if need confirmed , sent according to the function code.

### Report initially -confirm frame needless

### For data meters reported to the master station initially, if confirmed needless , sent according to the function code.

### Business password updated

### To update the business password according to the function , sent by master station , encrypted by root key.

### Manufacturer request

### For self defined commands send from master station to the manufacturers.

### Manufacturer response

### For self defined commands responded from meters to the manufacturers.

### It adopts plaintext transmission mode for data areas of function code 1,2,4,5.

### Further information please check<The process of online meter communication >

# Text boxes

Data from Server to Meter

Data from Meter to Server

Connection established by server

## DPDC BANGLADESH

FRAGILE

Chief Executive Officer

(1 no.)

Finance Dept.

Office Care Dept.

HR & Legal Dept.

1.Officer- 1 no.

2.Cashier-1no.

1.Peon - 1no.

2.Sweeper-1 no.

3. Security-3 no.

4.Storekeeper-1 no.

5.Computer Opr.-1 no.

6.Driver-1 no.

7.Car-1no.

1.Officer- 1no.

Executive Officer

(2 no.)

Single Point Customer Service Desk

Report prep.,UCC & Vending management  and IT support Team

Pre-paid Metering system maintenance & supervision and file processing for new connec., load incr./decr.

1. Sr. Engr.-2 nos.

2. Jr. Engr.(CS)-4 nos.

Control room management team

Meter Installation, Line disconnection/re connection Team

Team for managing Non-prepayment customers

Emmergency maintenance support Team

Preventive maintenance support Team

1.Sr. Engr.-1no.

2. Line man-1no.

3.Electrician-1 no.

4.Helper-1no.

5.Driver-1 no.

6.Single cab -1no.

1.Sr. Engr.-1 no.

2.Helper-1no.

3. Motor Cycle-1 no.

1.Jr. Engr.-2nos.

2. Electrician-2 nos.

3.Helper-2nos.

4. Motor cycle-2 nos.

5.Driver-1 no.

6.Car-1no.

IT Officer

1.Jr. Engr.-1no.

2. Line man-1 no.

3.Helper -2no.

4. Cable Jointer-1 no.

5.Driver-1 no.

6.Single cab -1no.

7. Van-1no.

6.Driver-1 no.

7.single cab-1no.

1.Jr. Engr.- 4 nos.

2. Line man-4nos.

3.Helper-8nos.

4.Drivers-4nos.

5.Single cab -2nos.

6. Van-1no.

6.Driver-1 no.

7.Single cab-1no.

VS-1

VS-2

VS-3

OP-2 no.

OP-2 no.

OP-2 no.

MIC software checks the balance from the vendor’s operator

Depending on the feedback message received from the MIC, the vending software will either print the key or writes it into SC

The POS software prints the receipt with the vending information

Customer if wants to know information like his sanctioned load during peak hour, rate etc. may send his account number and the appropriate code via his mobile phone

The request will be processed via SMS server (within system master station) and the requested information will be retrieved from the database and sent to the mobile operator

The API appropriate to the meter will generate the encrypted number and MIC will either sends it to the POS or to the meter

Operator’s server feedbacks whether POS vendor has sufficient balance or not

A failure message will be sent to the POS

MIC sends the vending information directly to the meter

Single Phase or Three Phase Meter?

The POS software prints the receipt with the vending information

The POS vendor then attempts to charge his account

single phase

Th ph

Yes

No

The mobile company forwards the result to mobile of the consumer

The mobile company forwards the request to the utility’s MIC

The consumer pays to the POS vendor the amount applicable for vending

Vendor enters the information into the POS software and the software sends them to MIC via the network