| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/01/v12 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Table of Contents |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: November 8, 2008 |
|  | Annual Review Date: November 8, 2008 |

TABLE OF CONTENTS

INTRODUCTION	3

FLUIDS AND TISSUES SPECIMENS:

Cerebral Spinal Fluid (CSF)	5

# Blood/Bone Marrow for CMV Antigenemia	46

Sterile Fluids	33

Tissue/Biopsy Specimens	41

# RESPIRATORY TRACT SPECIMENS

Broncho-Alveolar Lavage (BAL) - CMV Surveillance (PMH)	17

Throat/Nasopharyngeal /Nasal Swabs (Symptomatic)	19

ETT/Auger Suction (Infants)	23

Bronchoscopy/BAL/Sputum/Washings (Symptomatic)	27

Throat/Mouth Washings (PMH)	31

# OCULAR SPECIMENS:

Ocular Specimens	13

ORO-FACIAL, GENTIAL AND SKIN LESIONS:

Genital/Peri-anal/Mouth/Nose Skin Lesions	10

GASTINOINTESTIONAL:

Faeces/Rectal	37

URINE:

Urine	44

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/01/v12 | Page 2 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Table of Contents |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: November 8, 2008 |
|  | Annual Review Date: November 8, 2008 |

APPENDICES:

Appendix I        Reagents/Kits 	55

Appendix II       Shell Vial Procedure 	58

Appendix III     Tube Culture (Shell Vials for CPE) Procedure	68

Appendix IV      Indirect Immunofluorescent Antibody (IFA) staining for Viral Culture Confirmation	...74

Appendix V        Direct Immunofluorescent Antibody (DFA) staining for Viral Culture Confirmation	77

Appendix VI       Direct Antigen Detection from Specimens	81

Appendix VII      Hemadsorption of Tube Culture Monolayers 	89

Appendix VIII     Media 	92

Appendix X         Cryopreservation of Cell Cultures	97

Appendix XI        Recovery of Cryopreserved Cells	98

Appendix XII       Cryopreservation of Virus Isolates	99

Appendix XIII     Preservation of Cell Culture Monolayers	101

Appendix XIV     Quality Control of Cell Cultures Used for Routine Virus Isolates	102

Appendix XV      Virus Isolation and Identification of Characteristics	105

Appendix XVI      Weekly Work Schedule	109

Appendix XVII    Virology Training Guide	112

Appendix XVIII   Quality Control of Monoclonal Antibodies	113

Appendix XIX      Pneumocystis Carinii DFA Test	117

Appendix XX       Cytospin Preparation	121

Appendix XXI      Specimens, Cell Lines and Stain Table	123

Appendix XXII - Sputolysin Procedure 	125

Record of Edited Revisions	126

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/02/v03 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Introduction |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

INTRODUCTION

Diagnostic Virology is performed for a variety of reasons, ranging from the diagnosis of an acute illness to the determination of asymptomatic carrier state.

The methods used to diagnose viral infections are based on the fact that many viruses produce characteristic changes in cells of the host and that most of them induce the production of infectious viruses or viral antigens in body tissues, secretions and excretions.  This in turn is usually followed by the production of antibodies, which are specific for the virus and its associated antigens.  The many diagnostic procedures used in Diagnostic Virology can be grouped into 4 categories, each with its particular role, limitations and advantages.  These include:

- Microscopic examination of infected tissues and exudates from the patient for evidence of viral inclusions or other pathologic alterations which may be characteristic of certain viruses.

- Isolation (Propagation) and identification of virus from infected tissues or other specimens obtained from the patient.

- Serologic studies for detection of virus-specific antibodies or antigens in patient’s serum.  (See Serology Manual).

- Direct detection of virus, viral antigens or viral nucleic acids (DNA or RNA) in tissues or other specimens from patients, independent of the propagation of these viruses in the laboratory.  (eg.  Direct Antigen Detection [Direct Smear], Centrifugation enhancement, Polymerase Chain Reaction [PCR], etc).

UHN/MSH Virology Lab is a Containment Level 2* facility that performs or reports the following procedures:

- Virology Direct Smear:

Antigen Detection done directly on specimens using Cytospin centrifugation and Immunofluorescence staining performed only on cell-containing materials such as Bronco-Alveolar Lavage (BAL), vesicular aspirates and buffy coat.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/02/v03 | Page 2 of 2 |
| --- | --- | --- |
| Virology Manual |  |  |

- Virology PCR:

Nucleic Acid Amplification using PCR performed usually on specimens lacking in cellular materials, viable viruses or viral antigens such as CSF and plasma.

- Virology Shell Vial Assay:

Centrifugation-enhanced culture that detects antigens during early stages of viral propagation.  Identification is done by immunofluoresent staining.

Many clinically significant viruses can be propagated and detected in appropriately selected cell lines. Certain shell vials (E-mix) can also be modified to performed as a tube culture. These shell vials can detect viruses through cytopathic effect (CPE) and identification is done by immunofluoresent staining.

4.	Virology Referred Out Tests:

Assays that are not performed in this lab, such as Electron Microscopy (EM), are usually sent to the Public Health Laboratory (PHL).  EM is done on viruses that cannot be propagated such as Norwalk, rota and other viruses causing gastro-enteritis. Other viruses requiring EM include BK, JC and Papovavirus.

Selection of these assays is driven by the nature of the specimen (eg. type and quantity); seasonality (eg. influenza in winter, enterovirus in summer); information supplied (eg. suspected viruses, symptoms and the degree of urgency); availability of resources and constrains placed on the laboratory.  Samples that are improperly identified; improperly transported or unsafe will not be processed.  Specimens containing agents requiring higher than Level 2 Containment* or assays not available in this lab may be referred to other laboratories for testing.

- Agents that are transmitted through the air, and can cause serious or life threatening disease (Level 3); viral agents causing haemorrhagic fevers such as the Ebola virus, Marburg virus and Lassa Fever (Level 4) will not be processed in this laboratory.  Refer to Safety Manual or Health Canada web site for Material Safety Data Sheet or a more complete list and Laboratory Biosafety Guidelines

http://www.phac-aspc.gc.ca/msds-ftss/msds36e-eng.php

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/03/v03 | Page 1 of 5 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Cerebral Spinal Fluid (CSF) |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

CEREBRAL SPINAL FLUID

## I. 	 Introduction

Cerebral Spinal Fluid (CSF) will be routinely cultured for cytomegalovirus (CMV), herpes simplex virus (HSV), varicella-zoster virus (VZV) and enteroviruses (coxsackie, echo and  polio virus).  PCR for these viruses will be performed if specifically requested. Other viruses that may be isolated from CSF include mumps virus and adenovirus. Requests for Rubella virus, JC virus, BK virus and arbovirus should be referred to the Public Health Laboratory (PHL).

## II.	Collection and Transport

Specimens should be collected in a clean, sterile container and sent to the laboratory as soon as possible.  If a delay in transport or processing is anticipated, the specimen should be kept at 4oC until processed. If a delay of more than 72 hours is anticipated, the specimen should be frozen at –70oC.  Avoid repeated freeze-thaw cycles.

## III.	Procedure

A.	Processing of Specimens:

Specimens should be set up as soon as possible after arriving in virology laboratory. After processing, an aliquot of up to 2 mL of the left-over specimen should be stored at -70(C in a cryovial.

  - If the specimen is requested for PCR and viral culture and

    - The amount of specimen is <0.5 mL, perform PCR only.

    - The amount of specimen is between 0.5-1.0 mL, perform PCR and tube cultures.

    - The amount of specimen is >1.0 mL, perform PCR, tube culture and shell vial assay.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/03/v03 | Page 2 of 5 |
| --- | --- | --- |
| Virology Manual |  |  |

b.	If specimen is requested for viral culture only and

    - The amount of specimen is <0.5mL, perform the culture only.

    - If the amount of specimen is >0.5mL, perform tube culture and shell vial assay.

c.	For PCR testing, aliquot 0.2-1 mL first (freeze aliquot unless PCR can be performed immediately) before proceeding. A minimum of 0.2 mL is needed for each of PCR and RT-PCR test.

d.	CSF specimens will be inoculated directly into shell vials without further processing.

- Direct Examination:

| Method | Virus(es) | Location |
| --- | --- | --- |
| PCR | HSV / CMV / EBV/VZV/ Parvo | In-house |
| RT-PCR* | Enterovirus West Nile virus | In-house |
| PCR | Adenovirus | Research Lab |
| PCR | HHV6,7 | Research Lab |

*RT-PCR = Reverse Transcription PCR using Qiagen Isolation Kit, RealArt reagents and Roche LightCycler. CMV= cytomegalovirus; EBV= Epstein-Barr virus; HSV= Herpes simplex virus; VZV= Varicella-zoster virus; HHV6,7= Human herpes virus types 6,7

Note:	HSV PCR is routinely performed on all CSF requesting virus testing, other PCR and RT-PCR tests are performed only upon request and with approval by  a microbiologist.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/03/v03 | Page 3 of 5 |
| --- | --- | --- |
| Virology Manual |  |  |

- Isolation and Identification:

| Method | Cell Linea | Incubation at 36oC | Stain used/Read |
| --- | --- | --- | --- |
| Shell Vial | MRC-5 (if requested) MRC-5 (if requested) | 2 days 4 days | CMV-IE VZV |
| Shell Vial for CPE | E-Mix MRC-5 (summer b) | 5 days 5 days | Read daily Read daily |

aMRC-5 = Human Fibroblast cells

b summer = from May to October.

- Interpretation and Processing of Cultures:

- Shell vial procedure:

- For CMV, fix and stain 1 shell vial after 2 days (or next working day).

- If VZV is requested, fix and stain 1 shell vial after 4 days (or next working day).

See Appendix II for detailed shell vial procedure.

- Shell Vial for CPE should be examined daily for Cytopathic effect (CPE).  Any culture demonstrating 2+ or more CPE should be confirmed using appropriate monoclonal antibodies immunofluorescent staining (Refer to Appendices IV and V).  If positive, record in freezer program and freeze the cells and supernatant (Refer to Appendix X and XII).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/03/v03 | Page 4 of 5 |
| --- | --- | --- |
| Virology Manual |  |  |

- Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for electron microscopy and further work-up.  Consult the charge/senior technologist or medical microbiologist.

- Culture Toxicity: If toxicity is suspected in a culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE), the cells should be scraped and appropriate monoclonal antibody staining performed.  Negative stain results indicate the need for a passage.  Scrape cells and add 0.2 mL of these scraped cells to a fresh tube containing 2 mL of media (1:10 dilution) and proceed again with tube culture method. (Appendix III).  If toxicity or CPE persists, refer to the charge/senior technologist for review.

- Contaminated Culture: If the tube culture is uninterpretable due to bacterial/fungal contamination, replant the specimen.

## IV.	Reporting Results

##### PCR:	Negative Report:	“Negative for ________virus. This is a research test”

Positive Report*:	“POSITIVE for ________ virus.  This is a research test.”

Indeterminate Report:	“Indeterminate by PCR.  This is a research test”

Shell vial:	Negative Report:	“Negative for ______________ virus.”

Positive Report*:	“POSITIVE for _______________ virus.”

Shell Vial for CPE:	 Negative Report:	“No virus isolated,”

Positive Report*:	“______________ virus isolated”

Toxicity Report:	"Specimen toxic to cell culture.”

Contaminated Report:	"Specimen is heavily contaminated with bacteria and/or fungus. Unable to perform Virology Culture.”

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/03/v03 | Page 5 of 5 |
| --- | --- | --- |
| Virology Manual |  |  |

* Inform senior, charge technologist and/or microbiologist.

* Report result to Medical Officer of Health (viral meningitis).

* Telephone all positive results to ward/ordering physician and document the calls.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

## V.	References

- Gleaves, Curt A. et al. Cumitech 15A “Lab Diagnosis of Viral Infections”.  American Society for Microbiology, August 1994.

- Collier L, Balows A, Sussman M.  Topley’s and Wilson’s Microbiology and Microbial Infections.  Volume 1, Ninth Ed. 1998

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/04/v03 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Genital/Peri-anal/Mouth/Nose Skin Lesions |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

GENITAL/PERI-ANAL/MOUTH/NOSE/SKIN LESIONS

## I.	Introduction

Specimens from genital, perianal and oro-labial (mouth/nose) lesions will only be examined for herpes simplex virus (HSV) unless otherwise requested.  Specimens from skin lesions will be examined for both herpes simplex virus (HSV) and varicella-zoster virus (VZV).  For other viruses requested, refer to Appendix XV (Virus Isolation and Identification) to ensure that the appropriate media is inoculated.

II.	Collection and Transport

The roof of the vesicle(s) is disrupted.  The fluid and cells released from the base of the lesion are collected using a sterile syringe and needle or a sterile swab.  If the specimen is collected with a syringe and needle, aspirate viral transport medium into and out of the syringe several times, then express the contents into the viral transport container.  Do not leave the needle and syringe in the transport container.  (These should be discarded in an appropriate sharps container).  If a swab is used, place the swab immediately into viral transport medium.  Transport to the lab as soon as possible.  If a delay in transport or processing is anticipated, the specimen should be kept at 4oC until processed. If a delay of more than 72 hours is anticipated, the specimen should be frozen at –70oC.  Avoid repeated freeze-thaw cycles.

## III.	Procedure

- Processing of Specimens:

Specimens for HSV and other viruses can be kept refrigerated for up to three days. However, if VZV is specifically requested, the specimen should be set up immediately or stored at -70(C. Vortex patient sample in transport medium for 30 seconds.  Remove excess fluid from the swab and discard the swab.  Specimen in the transport medium can be transferred to a 2 mL cryovial.  After preparation of slide (if needed) and inoculation of cultures, store cryovial at -70(C for 6 months.  Any remaining specimen in its original container should be kept at 4(C for 1 week.

Refer to Appendix II for Shell Vial inoculation.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/04/v03 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

- Direct Examination:

- For genital, perianal and oro-labial (mouth/nose) lesions, prepare one double-well cytospin only if requested.  Stain one well with HSV 1 monoclonal antibody and the other with HSV 2 monoclonal antibody.

- For all other skin lesions, always prepare one double-well cytospin.  Stain one well with herpes 1/2  bivalent antibody and the other well with VZV monoclonal antibody.

If a slide comes with the original specimen, it will be fixed in acetone for 10 minutes and stained in addition to the in-house prepared slide.  The slide will be stained for VZV primarily and HSV if possible.

Refer to Appendix V for immunofluorescent staining techniques.

- Isolation and Identification:

| Specimen | Method | Cell Linesa | Incubation at 36oC | Stainb used |
| --- | --- | --- | --- | --- |
| Oro- facial/genital | Shell Vial | MRC-5 | 1 day 1 day | HSV1 HSV2 |
| Skin | Shell Vial | MRC-5 MRC-5 MRC-5 | 1 day 1 day 4 days | HSV1 HSV2 VZV |

a MRC-5 = Human fibroblast cells

## b HSV1= Monoclonal antibody DFA stain for Herpes simplex 1

## HSV2= Monoclonal antibody DFA stain for Herpes simplex 2

VZV= Monoclonal antibody DFA stain for Varicella zoster

See Appendix II for detailed shell vial procedure

IV.	Reporting Results

A.	For genital, perianal, oro-labial specimens

a.	Direct Examination:

Negative Report: "Negative for Herpes Simplex virus".

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/04/v03 | Page 3 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

Positive Report*:		"POSITIVE for __________ virus".

Insufficient Cells Report:	"Insufficient cellular material to interpret test.  Culture to 					follow".

  - Shell Vial:

Negative Report:	“Negative for Herpes Simplex virus”

Positive Report*:	“POSITIVE for __________virus.”

- For skin lesion specimens

a. Direct Examination:

Negative Report:	“Negative for Varicella-Zoster virus”.

“Negative for Herpes Simplex virus”.

Positive Report*	“POSITIVE for _____________ virus”.

Insufficient Cells Report:	"Insufficient cellular material to interpret test.  Culture to follow".

  - Shell Vial:

Negative Report:	“Negative for Varicella-Zoster virus”

“Negative for Herpes Simplex virus”

Positive Report*:	“POSITIVE for __________virus.”

*Telephone all positive VZV results to ward/ordering physician, Infection Control and document calls.

Telephone all positive HSV results from neonates and post-partum women to appropriate ward/ordering physician and document calls.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

V.	Reference

Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.  American Society for Microbiology, August 1994.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/05/v03 | Page 1 of 4 |
| --- | --- | --- |
| 85Section: Virology Manual | Subject Title: Ocular Specimens |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

OCULAR SPECIMENS

## I.	Introduction

Viral infections of the eye (conjunctivitis, corneal ulcers, etc) are usually due to herpes simplex virus (HSV), varicella-zoster virus (VZV) and adenoviruses.  Ulcerative lesions are usually due to HSV and VZV.  For vitreous fluid, the two most common viruses isolated are cytomegalovirus (CMV) and varicella-zoster (VZV).  Other viruses which may cause conjunctivitis, such as enteroviruses, will be looked for only if specifically requested.

## II.	Collection and Transport

Specimens should be collected using a clean, sterile swab and gently swabbing the conjunctiva or ulcerative lesion.  Place the swab in viral transport medium and send to the laboratory as soon as possible.   Vitreous fluid should be collected in a clean, sterile container.   If a delay in transport or processing is anticipated, the specimen should be kept at 4oC until processed. If a delay of more than 72 hours is anticipated, the specimen should be frozen at –70oC.  Avoid repeated freeze-thaw cycles.

## III.  	Procedure

A.	Processing of Specimens:

Specimens should be set up immediately or stored at -70(C.  Vortex patient sample in transport medium for 30 seconds.  Remove excess fluid from the swab and discard the swab.  Refer to Appendices II and III for Shell Vial and Tube culture inoculation, respectively.

- Direct Examination:

If requested, prepare one double-well cytospin.  Stain one well with HSV bivalent 1/2 antibody and the other with VZV monoclonal antibody.

Refer to Appendix V for immunofluorescent staining technique.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/05/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- Isolation and Identification:

| Specimen | Method | Cell Linea | Incubation at 36oC | Stainb used/Read |
| --- | --- | --- | --- | --- |
| Conjunctiva, cornea | Shell Vial | MRC-5 MRC-5 R-MixToo* | 1 day 2 days 2 days | HSV-bivalent VZV P123/Ad* |
|  | Shell Vial for CPE | E-Mix (if enterovirus is requested) MRC-5 (summer, if enterovirus is requested) | 5 days 5 days | Read daily for 5 days Read daily for 5 days |
| Vitreous fluid | Shell Vial | MRC-5 MRC-5 MRC-5 R-MixToo* | 1 day 2 days 2 days 2 days | HSV-bivalent VZV CMV-IE P123/Ad* |
|  | Shell Vial for CPE | E-Mix (if enterovirus is requested) MRC-5 (summer**, if enterovirus is requested) | 5 days 5 days | Read daily for 5 days Read daily for 5 days |

aMRC-5 = Human Fibroblast cells; R-Mix= R-Mix Fresh cellsTM from Diagnostic Hybrids Inc.

bHSVbivalent= Monoclonal DFA stain for HSV1 and HSV2

bVZV= Monoclonal DFA stain for Varicella zoster virus

bCMV-IE= Monoclonal IFA stain for Cytomagalovirus Immediate Early antigen

bP123/Ad = Monoclonal IFA stain for parainfluenza virus 1, 2 & 3

P123/Ad* = if R-MixToo* is positive for virus, inoculate another R-MixToo shell vial so that the isolate can be frozen

** summer= May - October

- Interpretation and Processing of Cultures:

- For shell vial procedure:

If CMV is requested, fix and stain after 2 days (or next working day)

See Appendix II for detailed shell vial procedure.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/05/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- Shell Vials for CPE should be examined daily for Cytopathic effect (CPE).  Any culture demonstrating 2+ or more CPE should be confirmed using appropriate monoclonal antibodies and immunofluorescent staining (Refer to

If positive, record in freezer program and freeze the cells and supernate (Refer to Appendix X and XII).

- Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for electron microscopy and further work-up.  Consult the charge/senior technologist or medical microbiologist.

- Culture Toxicity:  If toxicity is suspected in a tube culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE), the cells should be scraped and appropriate monoclonal antibody staining performed.  Negative stain results indicate the need for a passage.  Scrape cells and add 0.2 ml of these scraped cells to a fresh tube containing 2 ml of media (1:10 dilution) and proceed again with tube culture method. (Appendix III).  If toxicity or CPE persists, refer to the charge/senior technologist for review.

- Contaminated Culture:  If the tube culture is visibly contaminated and uninterpretable, issue a report indicating contamination.

- Reporting Results

Direct:			Negative report:		“Negative for  _________virus.”

Positive report*:		“POSITIVE for ________virus.”

Shell Vial: 		Negative report:		“Negative for  _________virus.”

Positive report*:		“POSITIVE for ________virus.”

Shell Vial for CPE:	Negative Report:	“No virus isolated”

Positive Report*:	“POSITIVE for _________ virus.”

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/05/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Toxicity Report:	"Specimen toxic to cell culture.”

Contaminated Report:	"Specimen is heavily contaminated with bacteria and/or fungus.  Unable to perform Virology Culture.”

* Telephone all positive results to ward/ordering physician and document call.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

## V.  	Reference

- Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.

American Society for Microbiology, August 1994.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/06/v03 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Broncho-Alveolar Lavage (BAL) - CMV Surveillance (PMH) |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

BRONCHO-ALVEOLAR LAVAGE (BAL) - CMV SURVEILLANCE

## I.   	Introduction

Broncho-alveolar lavage specimens (BAL) for CMV surveillance collected on day 35 post-bone marrow transplant patients or routine screening of solid organ transplant patients are examined for CMV only.

## II.  	Collection and Transport

BAL fluid should be collected into a clean, sterile container. If a delay in transport or processing is anticipated, keep the specimen at 4 oC.

## III.  	Procedure

- Processing of Specimen:

- Approximately 2-3 mL of centrifuged sediment should be received from the specimen receiving planting area.

b) 	Transfer 2 mL of sediment to a sterile freezer vial containing 4 drops (0.2 mL) gentamicin (1 mg/mL) and 2 drops (0.1 mL) of fungizone (250 (g/mL) to a final concentration of 100 (g/mL and 10(g/mL respectively.

- Allow to stand at room temperature for 10 minutes

- Refer to Appendix II for Shell Vial inoculation.

- Direct Examination:

Not done.

- Isolation and Identification:

| Method | Cell Linesa | Incubation at 36oC | Stainb used |
| --- | --- | --- | --- |
| Shell Vial | MRC-5 | 2 days | CMV-IE |

aMRC-5 = Human fibroblast cells

## bCMV-IE= Monoclonal antibody IFA stain for CMV immediate early antigen

Refer to Appendix II for Shell Vial staining and interpretation.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/06/v03 | Page 2 of 2 |
| --- | --- | --- |
| Virology Manual |  |  |

D.	Interpretation and Processing of Cultures:

- At 48 hours observe shell vial coverslips using the inverted microscope:

- If <50% or no CPE - Perform DFA for CMV immediate early antigen

(See Appendix V).

- If >50% CPE - Prepare a cytospin slide of scraped cells and then perform DFA for CMV immediate early antigen.

- If positive, freeze shell vial supernate.

IV.  	Reporting Results

Shell Vial: 		Negative report:		“Negative for Cytomegalovirus.”

Positive report*:		“POSITIVE for Cytomegalovirus.”

* Telephone all positive results to ward/ordering physician and document the call.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

## V.  	Reference

1.	Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.

American Society for Microbiology, August 1994.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/07/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Throat / Nasopharyngeal / Nasal Swabs (Symptomatic) |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

THROAT/NASOPHARYNGEAL/NASAL SWABS (SYMPTOMATIC)

## I.   	Introduction

These specimens are set up for routine isolation of respiratory viruses (Influenza A and B, Parainfluenza 1, 2, and 3, Respiratory Syncytial Virus, and Adenovirus).  Direct antigen detection will be performed during the winter months (November to April, inclusive) and upon request only from May to October.  Additional cell lines or shell vials may be required if specific viruses are requested.  For other viruses requested, refer to Appendix XV (Isolation and Identification) to ensure that the appropriate media is inoculated.

II.  	Collection And Transport

Specimens should be obtained as early in the patient’s illness as possible.  Throat, nasopharyngeal or nasal swabs should be collected using a clean, sterile swab and placed into viral transport medium and transported to the laboratory as soon as possible.  If a delay in transport or processing for up to 72 hours is anticipated, keep the specimen at 4oC.

## III.  	Procedure

- Processing of Specimen:

Specimens can be kept refrigerated for up to 72 hours. Vortex patient sample in transport medium for 30 seconds.  Remove excess fluid from the swab and discard the swab.  Specimen in the transport medium can be transferred to a 2 mL cryovial.  After preparation of slide (if needed) and inoculation of cultures, store cryovial at -70(C for 6 months.  The original specimen container should be kept at 4(C for 1 week.

B.	Direct Examination:

Specimens from infants and those requesting RSV:

Prepare one double-well cytospin slide for immunofluorescent staining using the  SimulFluor RSV/P3 monoclonal antibody for one well and SimulFluor respiratory virus screen monoclonal antibody for the second well. Refer to Appendix VI for SimulFluor Screen Protocol.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/07/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Specimens not from infants and not requesting RSV:

Prepare one double-well cytospin slide for immunofluorescent staining using the  SimulFluor influenza A/B monoclonal antibody for one well and SimulFluor respiratory virus screen monoclonal antibody for the second well. Refer to Appendix VI for SimulFluor Screen Protocol.

NB:	(a) If a specific respiratory virus(es) is/are requested, prepare appropriate number of additional slides and stain using available SimulFluor stain panels and specific individual monoclonal antibodies.

(b) If direct smear is positive, the technologist will mark the inoculated R-Mix shell vial so that the coverslip will not be stained. Instead, a cell suspension of the R-Mix monolayer is prepared so that multiple cell spots (on slide) can be stained with SimulFluor stain panels and/or specific individual monoclonal antibodies.

Specimens (non stat) received in the virology lab by 14:00 hours: Complete direct smear testing the same day.

Specimens (non stat) received between 14:00 – 15:30 hours: Process specimen and prepare smear, however, staining, reading and reporting results may be completed the next day.

C.	Isolation and Identification:

| Specimens | Method | Cell Linea | Incubation at 36oC | Stainb used/Read |
| --- | --- | --- | --- | --- |
| Specimens from infants in NICU | Shell Via l | MRC-5 R-Mix* | 2 days 2 days | CMV-IE RS* If direct smear is positive, stain slide with corresponding SimulFluor panels |
|  | Shell Via l for CPE (if enterovirus is requested) | E-Mix MRC-5 (summer**) | 5 days 5 days | Read daily If CPE is present, pass &/or stain with enterovirus (DHI D3), Coxsackie B and ECHO stains |
| Other specimens | Shell Via l | R-Mix* | 2 days | RS* If direct smear is positive, stain slide with corresponding SimulFluor panels |
| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/07/v03 | Page 3 of 4 |
| Virology Manual |  |  |

aMRC-5 = Human Fibroblast cells

b CMV-IE = Monoclonal IFA stain for Cytomegalovirus Immediate Early antigen

b RS= SimulFluor Respiratory virus Screen DFA staining

b HSVbivalent= Monoclonal DFA stain for HSV1 and HSV2

*If direct smear is positive, the technologist will mark the R-Mix shell vial so that the coverslip will not be stained. Instead, prepare a cell suspension of the R-Mix monolayer so that multiple cell spots (on slide) can be stained with SimulFluor stain panels and/or specific individual monoclonal antibodies.to identify the virus.

** summer= May to October

- Interpretation and Processing of Cultures:

- For shell vial procedure:

i)	Fix and stain R-Mix shell vial on day 2 (or next working day).

ii)	If HSV requested, fix and stain on day 1 (or next working day).

iii)	If CMV required, fix and stain on day 2 (or next working day).

See Appendix II for detailed shell vial procedure.

- Shell Vials for CPE should be examined daily for Cytopathic effect (CPE).  Any culture demonstrating 2+ or more CPE should be confirmed using appropriate monoclonal antibodies and immunofluorescent staining (Refer to Appendices IV and V).  If positive, record in freezer program and freeze the cells and supernatant (Refer to Appendix X and XII).

- Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for electron microscopy and further work-up.  Consult the charge/senior technologist or medical microbiologist.

- Culture Toxicity:  If toxicity is suspected in a tube culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE), the cells should be scraped and appropriate monoclonal antibody staining performed.  Negative stain results indicate the need for a passage.  Scrape cells and add 0.2 ml of these scraped cells to a fresh tube containing 2 ml of media (1:10 dilution) and proceed again with tube culture method. (Appendix III).  If toxicity or CPE persists, refer to the charge/senior technologist for review.

- Contaminated Culture:  If the tube culture is visibly contaminated and uninterpretable, replant the specimen.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/07/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

## IV.   Reporting Results

Direct:			Negative Report:		“Negative for respiratory viruses.”

Positive* Report:		“POSITIVE for _________virus.”

### Shell Vial:		Negative Report:		“Negative for ________ virus”

Positive* Report:		“POSITIVE for _________virus.”

Toxicity Report:		"Specimen toxic to cell culture.”

Contaminated Report:	"Specimen is heavily contaminated with bacteria and/or fungus.  Unable to perform Virology Shell Vial Assay.”

*Telephone all positive results to ward/ordering physician and document.

*Notify Infection Control of all positive respiratory virus results and document.

*Notify Medical Officer of Health of all positive influenza virus results and document.

## *When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

V.  References

1.	Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.

American Society for Microbiology, August 1994.

2.	Greenberg, S. et al.  Cumitech 21 “Lab Diagnosis of Viral Respiratory Disease”.

American Society for Microbiology, March 1986.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: ETT/Auger Suction (Infants) |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

ETT/AUGER SUCTION (INFANTS)

## I.		Introduction

Viral bronchitis, bronchiolitis and pneumonia are commonly caused by RSV or Parainfluenza in infants and young children.  CMV pneumomitis may be seen in newborn/premature infants.

II.	Collection and Transport

Endotracheal tube (ETT) aspirates or auger suctions are generally collected into a sterile container.  If a delay in transport or processing is anticipated, keep the specimen at 40C.

## III. 	Procedure

A.	Processing of Specimens:

- If sample is for virology only, flush approximately 2 mL of viral transport media through tubing and use for inoculation.  If sample is to be split for other tests (i.e. C&S) use sterile saline.

b)	Refer to Appendix II and III for Shell Vial and Tube Culture inoculation, 			respectively.

B.	Direct Examination:

(a) Prepare one double-well cytospin slide for immunofluorescent staining.  Stain one well with RSV/Para3 SimulFluor monoclonal antibody and one with SimulFluor Respiratory virus Screen monoclonal antibody.  If a specific virus is requested, prepare appropriate number of additional slides and stain using specific individual monoclonal antibodies (Refer to Appendix VI Direct antigen Detection from specimens – SimulFluor Respiratory Screen Protocol Scheme 2)

(b) If direct smear is positive, the technologist will mark the inoculated R-Mix shell vial so that the coverslip will not be stained. Instead, a cell suspension of the R-Mix monolayer is prepared so that multiple cell spots (on slide) can be stained with SimulFluor stain panels and/or specific individual monoclonal antibodies.

Complete direct smear results the same day for specimens received in the virology section by 14:00 hours. For specimens received between 14:00 and 15:30

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

processing and smear preparation should be completed, however staining, reading and reporting results may be completed the next day.

C.	Isolation and Identification:

| Method | Cell Linea | Incubation at 36oC | Stainb used/Read |
| --- | --- | --- | --- |
| Shell Vial | R-Mix* MRC-5 (infants only) MRC-5 (if requested) MRC-5 (if requested) | 2 days 2 days 1 day 1 day | RS* CMV-IE HSV1 HSV2 |

aMRC-5 = Human Fibroblast cells; CMK = Cynomolgus Monkey Kidney

b CMV-IE = Monoclonal IFA stain for Cytomegalovirus Immediate Early antigen

b RS= SimulFluor Respiratory virus Screen DFA staining

*If direct smear is positive, the technologist will mark the R-Mix shell vial so that the coverslip will not be stained. Instead, prepare a cell suspension of the R-Mix monolayer so that multiple cell spots (on slide) can be stained with SimulFluor stain panels and/or specific individual monoclonal antibodies.to identify the virus.

- Interpretation and Processing of Cultures:

- For shell vial procedure:

i)	Fix and stain R-Mix shell vial on day 2 (or next working day).

ii)	Fix and stain CMV  shell vial on day 2 (or next working day).

- If HSV requested, fix and stain on day 1 (or next working day).

See Appendix II for detailed shell vial procedure.

- Tube cultures should be examined a minimum of 3x per week for Cytopathic effect (CPE).  Any culture demonstrating 2+ or more CPE should be confirmed using appropriate monoclonal antibodies and immunofluorescent staining (Refer

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- to Appendices IV and V).  If positive, record in freezer program and freeze the cells and supernate (Refer to Appendix X and XII).

- Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for electron

microscopy and further work-up.  Consult the charge/senior technologist or medical microbiologist.

- Culture Toxicity:  If toxicity is suspected in a tube culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE), the cells should be scraped and appropriate monoclonal antibody staining performed.  Negative stain results indicate the need for a passage.  Scrape cells and add 0.2 ml of these scraped cells to a fresh tube containing 2 ml of media (1:10 dilution) and proceed again with tube culture method. (Appendix III).  If toxicity or CPE persists, refer to the charge/senior technologist for review.

- Contaminated Culture:  If the tube culture is visibly contaminated and uninterpretable, issue a report indicating contamination.

## Reporting Results

Direct:			Negative Report:		“Negative for  respiratory virus”

PositiveReport*:		“POSITIVE for ______virus.”

Shell Vial:		Negative Report:		“Negative for Cytomegalovirus.”

Positive Report*:		“POSITIVE for _______virus.”

Toxicity Report:	"Virology Tube Culture: Specimen toxic to cell culture.

Contaminated Report:	"Virology Tube Culture: Specimen is heavily contaminated with bacteria and/or fungus.  Unable to perform Virology Shell Vial Assay.”

*Telephone all positive results to ward/ordering physician.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

*Notifiy Infection Control of all positive respiratory virus results and document.

*Notify Medical Officer of Health of all positive influenza virus results and document.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

V.	Reference

- Greenberg, S. et al.  Cumitech 21 “Lab Diagnosis of Viral Respiratory Disease”.

American Society for Microbiology, March 1986.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Bronchoscopy/BAL/Sputum/ Washings (Symptomatic) |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

BRONCHOSCOPY / BAL / SPUTUM / WASHINGS (SYMPTOMATIC)

## I.	Introduction

Viral pneumonia in immunocompromised patients is commonly due to cytomegalovirus (CMV) or respiratory syncytial virus (RSV).  Other viruses that may be detected include influenza, parainfluenza, adenovirus, enterovirus and measles viruses.  Requests for viruses other than the above may require the use of additional media.  Refer to Appendix XV (Virus  Isolation and Identification).

## II.  	Collection and Transport

Sputum, bronchial washes and aspirates are to be submitted in a clean, sterile container.  If a delay in transport or processing is anticipated, keep the specimen at 4oC.  Multiple bronchial washes and/or BAL samples received from the same patient at the same time should be pooled and processed as a single BAL sample.

## III.  	Procedure

A.	 Processing of Specimens:

i)	Bronchial washes and aspirates:

- Approximately 2-3 mL of centrifuged sediment is to be received from the specimen receiving area (planting).

- Prepare direct smears (if required) from the sediment. Very thick/mucoid specimens may require dilution of a portion of the sediment with sputolysin prior to direct smear preparation to avoid excessively thick smears. (See Appendix XXII)

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

ii)	Sputum:

- Combine equal amounts of sputum and a 1:10 dilution of sputolysin and vortex gently.

- Prepare direct smears, if required, from the above mixture.

B.	 Direct Examination:

NB:	(a) If a specific respiratory virus(es) is/are requested, prepare appropriate number of additional slides and stain using available SimulFluor stain panels and specific individual monoclonal antibodies.

(b) If direct smear is positive, the technologist will mark the inoculated R-Mix shell vial so that the coverslip will not be stained. Instead, a cell suspension of the R-Mix monolayer is prepared so that multiple cell spots (on slide) can be stained with SimulFluor stain panels and/or specific individual monoclonal antibodies.

Complete direct smear results the same day for specimens received in the virology section by 14:00 hours. For specimens received between 14:00 and 15:30 hrs, processing and smear preparation should be completed, however staining, reading and reporting results may be completed the next day (except on Fridays, consult Charge technologist).

C.	Isolation and Identification:

| Method | Cell Linea | Incubation at 36oC | Stainb used/Read |
| --- | --- | --- | --- |
| Shell Via l | MRC-5 R-Mix* | 2 days 2 days | CMV-IE RS* |
| Shell Vial for CPE | If enterovirus is requested: E-Mix MRC-5 (summer**) | 5 days 5 days | Read daily*** Read daily*** |

aMRC-5 = Human Fibroblast cells

b CMV-IE = Monoclonal IFA stain for Cytomegalovirus Immediate Early antigen

b RS= SimulFluor Respiratory virus Screen DFA staining

*If direct smear is positive, the technologist will mark the R-Mix shell vial so that the coverslip will not be stained. Instead, prepare a cell suspension of the R-Mix monolayer so that multiple cell spots (on slide) can be stained with SimulFluor stain panels and/or specific individual monoclonal antibodies.to identify the virus.

** Summer= May to October

*** If CPE is detected, the technologist will pass the infected supernatant to a new shell vial and prepare a cell suspension of the infected culture so that multiple cell spots (on slide) can be stained with the enterovirus D3, Coxsackie B and ECHO stains to identify the virus.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- Interpretation and Processing of Cultures:

- For shell vial procedure:

i)	Fix and stain R-Mix shell vial on day 2 (or next working day).

ii)	If CMV requested, fix and stain on day 2 (or next working day).

See Appendix II for detailed shell vial procedure.

- Shell Vial Cultures for CPE should be examined a daily for Cytopathic effect (CPE).  Any culture demonstrating 2+ or more CPE should be confirmed using appropriate monoclonal antibodies and immunofluorescent staining (Refer to Appendices IV and V).  If positive, record in freezer program and freeze the cells and supernate (Refer to Appendix X and XII).

- Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for electron microscopy and further work-up.  Consult the charge/senior technologist or medical microbiologist.

- Culture Toxicity:  If toxicity is suspected in a tube culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE), the cells should be scraped and appropriate monoclonal antibody staining performed.  Negative stain results indicate the need for a passage.  Scrape cells and add 0.2 ml of these scraped cells to a fresh tube containing 2 ml of media (1:10 dilution) and proceed again with tube culture method. (Appendix III).  If toxicity or CPE persists, refer to the charge/senior technologist for review.

- Contaminated Culture:  If the tube culture is visibly contaminated and uninterpretable, send out report indicating contamination.

## IV.  	Reporting Results

Direct:	Negative Report:		“Negative for respiratory viruses.”

Positive Report*:		“POSITIVE for ___________ virus.”

Shell Vial:		Negative Report:		“Negative for ________virus.”

Positive Report*:		“POSITIVE for _______virus.”

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/09/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Toxicity Report:	"Virology Tube Culture: Specimen toxic to cell culture.

Contaminated Report:	"Virology Tube Culture: Specimen is heavily contaminated with bacteria and/or fungus.  Unable to perform Virology Shell Vial Assay.

* Telephone all positive results to ward/ordering physician and document.

*Notify Infection Control of all positive respiratory virus results and document.

*Notify Medical Officer of Health of all positive influenza virus results and document.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

V.  	References

1.	Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.

American Society for Microbiology, August 1994.

2.	Greenberg, S. et al.  Cumitech 21 “Lab Diagnosis of Viral Respiratory Disease”.

American Society for Microbiology, March 1986.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/10/v03 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Throat/Mouth Washings |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

THROAT/MOUTH/WASHINGS (PMH)

## I.   	Introduction

These specimens are routinely set up for herpes simplex virus only.  Other viruses such as enteroviruses will be looked for only if specifically requested.  Refer to Appendix XV (Virus Isolation and Identification) to ensure that the appropriate media is inoculated.

## II. 	Collection and Transport

Mouth or throat washings are collected using sterile saline and placed in a clean, sterile container and transported to the laboratory as soon as possible.  If a delay in transport or processing is anticipated, keep the specimen at 4oC.

## III. 	Procedure

A.	Processing of Specimen:

a)	Transfer 2mL of specimen to a sterile freezer vial.

b)	Add 0.2 mL (4 drops) of gentamicin and 0.1 mL (2 drops) of fungizone to a final concentration of 100 (g/mL and 10 (g/mL respectively.

- Let stand at room temperature for 10 minutes.

- Direct Examination:

Not done.

- Isolation and Identification:

| Method | Cell Linesa | Incubation at 36oC | Stainb used |
| --- | --- | --- | --- |
| Shell Vial | MRC-5 MRC-5 | 1 day 1 day | HSV1 HSV2 |

aMRC-5 = Human diploid fibroblast cells

## b HSV1= Monoclonal antibody DFA stain for Herpes simplex 1

## b HSV2= Monoclonal antibody DFA stain for Herpes simplex 2

Refer to Appendix II for Shell Vial staining and interpretation.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/10/v03 | Page 2 of 2 |
| --- | --- | --- |
| Virology Manual |  |  |

IV.  	Reporting Results

Shell Vial:	Negative Report:	“Negative for Herpes Simplex virus”

Positive Report*:	“POSITIVE for Herpes Simplex virus type____.”

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

V. 	Reference

1.	Isenberg, HO. 1992. Clinical Microbiology Procedure Handbook, Vol. 2. ASM.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/11/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Sterile Fluids |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

STERILE FLUIDS

## I.   	Introduction

Viruses which may be isolated from pleural, peritoneal and pericardial fluid are enteroviruses (Coxsackie Group A and B, poliovirus, and echoviruses).  Viral isolation from joint fluid is exceptionally rare.  Amniotic fluid will be set up for cytomegalovirus shell vial and tube culture.  Specimens with requests for HSV or VZV also necessitate inoculation of shell vials. Refer to Appendix XV (Virus isolation and isolation and identification) to ensure the appropriate media are inoculated.

## II. 	Collection and Transport

Specimens should be collected in a clean, sterile container and sent to the laboratory as soon as possible.  If a delay in transport or processing is anticipated, keep the specimen at 4oC.

## III.	Procedure

A.	Processing of Specimens:

Specimens should be set up as soon as possible or stored at 4ºC for up to 72 hours.  All processed specimens should be stored at -70ºC after inoculation.  Bloody fluids should be spun at 2000 rpm (700xg) for 10 minutes and the supernate used for inoculation.

Refer to Appendix II for Shell Vial inoculation and staining.

Refer to Appendix III for Tube Culture inoculation.

B.	Direct Examination:

Not done.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/11/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

C.	Isolation and Identification:

| Specimens | Method | Cell Linea | Incubation at 36oC | Stain used/Read |
| --- | --- | --- | --- | --- |
| Amniotic fluid | Shell Vial | MRC-5 MRC-5 (if requested) MRC-5 (if requested) MRC-5 (if requested) | 2 days 1 day 1 day 2 days | CMV-IE HSV1 HSV2 VZV |
|  | Shell Vial for CPE | E-Mix MRC-5 (summer**) | 5 days 5 days | Read daily*** Read daily*** |
| Pleural , Peritoneal , Pericardial, other fluids | Shell Vial | MRC-5 (if requested) MRC-5 (if requested) MRC-5 (if requested) MRC-5 (if requested) | 2 days 1 day 1 day 2 days | CMV-IE HSV1 HSV2 VZV |
|  | Shell Vial for CPE | E-Mix MRC-5 (summer**) | 5 days 5 days | Read daily*** Read daily*** |

aMRC-5 = Human Fibroblast cells

** Summer= May to October

*** If CPE is detected, the technologist will pass the infected supernatant to a new shell vial and prepare a cell suspension of the infected culture so that multiple cell spots (on slide) can be stained with the enterovirus D3, Coxsackie B and ECHO stains to identify the virus.

- Interpretation and Processing of Cultures:

- For shell vial procedure:

- For amniotic fluid (or other fetal specimens), always set up CMV shell vial. Fix and stain after 2 days (or next working day).

- For other fluids, set up CMV, HSV1, HSV2 and VZV if requested. Fix and stain as indicated.

See Appendix II for detailed shell vial procedure.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/11/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- Shell Vial Cultures for CPE:

Shell Vials for CPE should be examined daily for Cytopathic effect (CPE).  Any culture demonstrating 2+ or more CPE should be confirmed using appropriate monoclonal antibodies immunofluorescent staining (Refer to Appendices IV and V).  If positive, record in freezer program and freeze the cells and supernate (Refer to Appendix X and XII).

- Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for electron microscopy and further work-up.  Consult the charge/senior technologist or medical microbiologist.

- Culture Toxicity:  If toxicity is suspected in a tube culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE), the cells should be scraped and appropriate monoclonal antibody staining performed.  Negative stain results indicate the need for a passage.  Scrape cells and add 0.2 ml of these scraped cells to a fresh tube containing 2 ml of media (1:10 dilution) and proceed again with tube culture method. (Appendix III).  If toxicity or CPE persists, refer to the charge/senior technologist for review.

- Contaminated Culture:  If the tube culture is visibly contaminated and uninterpretable, replant the specimen.

Refer to Appendix II for Shell Vial staining interpretation.

Refer to Appendix III for Tube culture reading and interpretation.

## IV.  	Reporting Results

Shell Vial:		Negative Report:		“Negative for ______virus.”

Positive Report*:		“POSITIVE for _______virus.”

### Tube Culture:		Negative Report:		“No virus isolated”

Positive Report*:		“POSITIVE for _______virus.”

Toxicity Report:	"Virology Tube Culture: Specimen toxic to cell culture.

Contaminated Report:	"Virology Tube Culture: Specimen is heavily contaminated with bacteria and/or fungus.  Unable to perform Virology Tube Culture.

* Telephone all positive results to ward/ordering physician.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/11/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

V. 	Reference

1.	Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.

American Society for Microbiology, August 1994.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/12/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Faeces/Rectal |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

FAECES/RECTAL

## I.   	Introduction

Faecal specimens may be submitted for the detection of viruses from patients with gastroenteritis, aseptic meningitis, viral encephalitis, or exanthem type rashes.  Most cases of viral gastroenteritis are caused by viruses which do not propagate in cell culture.  Faecal specimens from such cases can be examined directly by antigen detection methods for rotavirus, Norwalk-like agents and adenovirus type 40 and 41 or by electron microscopy (EM).  Aseptic meningitis may be due to enteroviruses and many can propagate in routine cell cultures.  Herpes simplex virus is commonly implicated in cases of viral encephalitis and is not isolated from faecal specimens.  Enteroviruses may cause exanthem type rashes and stool may be cultured for these viruses.

## II.  	Collection and Transport

Stool is collected in a dry sterile container.  Although rectal swab is less satisfactory than stool specimen, it will be processed if a stool sample cannot be obtained.  Rectal swab should be placed in viral transport media.  Specimens should be transported to the laboratory as soon as possible.  If a delay in transport or processing is anticipated, keep the specimen at 4oC.

## III. 	Procedure

A.	Processing of Specimens:

## a.	Stool

i.	Stool specimens will be processed according to the clinical information provided.  Specimens from patients with gastroenteritis or diarrhea will be referred to the Public Health Laboratory (PHL) for rotavirus, Norwalk-like agents or enteric adenoviruses.

ii.	Specimens from patients with rashes, aseptic meningitis or other symptoms involving the central nervous system will be processed in-house for enteroviruses.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR12/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

iii.	Specimens received without any clinical information will be referred to PHL for Electron Microscopy.

Stool specimens being processed in-house should be processed as follows:

- Transfer 1.5 to 2.0 g of stool to a clean, sterile 50 ml tube containing 4 to 6 sterile glass beads.

- Add 15 ml of maintenance medium.

- Vortex for 30 to 60 seconds.

- Centrifuge at 3000 rpm (700 x g) for 15 minutes.

- Transfer 2 ml supernatant to a sterile freezer vial.  Add 4 drops gentamicin and 2 drops fungizone to a final concentration of 100 (g/ml and 10 (g/ml respectively.

- Allow to stand at room temperature for 10 minutes.

## ii)	Rectal swab

- Vortex the swab in transport medium for 30 seconds.  Remove excess fluid from the swab and discard the swab.

- Transfer maintenance medium to a conical bottom centrifuge tube and centrifuge at 3000 rpm (700 x g) for 15 minutes.

- Transfer 2 ml supernate to a sterile freezer vial.  Add 4 drop gentamicin and 2 drops fungizone to a final concentration of 100 mg and 10 mg respectively.

- Allow to stand at room temperature for 10 minutes.

- Direct Examination:

If electron microscopy is requested or symptoms of gastroenteritis reported, forward specimen to PHL.  Otherwise, direct examination is not indicated.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/12/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

C.	Isolation and Identification:

| Method | Cell Linesa | Incubation at 36oC | Stain used/Read |
| --- | --- | --- | --- |
| Shell Vial | MRC-5 (only if requested) | 2 days | CMV-IE |
| Shell Vial for CPE | E-Mix MRC-5 (summer**) | 5 days 5 days | Read daily*** Read daily*** |

aMRC-5 = Human diploid fibroblast cells

** Summer= May to October

*** If CPE is detected, the technologist will pass the infected supernatant to a new shell vial and prepare a cell suspension of the infected culture so that multiple cell spots (on slide) can be stained with the enterovirus D3, Coxsackie B and ECHO stains to identify the virus.

- Interpretation and Processing of Cultures:

- For shell vial procedure:

i)	If CMV is requested, fix and stain after 2 days (or next working day) .

See Appendix II for detailed shell vial procedure.

- Shell Vials for CPE should be examined daily for Cytopathic effect (CPE).  Any culture demonstrating 2+ to 3+ CPE should be confirmed using appropriate monoclonal antibodies and immunofluorescent staining (Refer to Appendices IV and V).  If positive, record in freezer program and freeze the cells and supernate (Refer to Appendix X and XII).

- Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for electron microscopy and further work-up.  Consult the charge/senior technologist or medical microbiologist.

- Culture Toxicity:  If toxicity is suspected in a tube culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE), the cells should be scraped and appropriate monoclonal antibody staining performed.  Negative stain results indicate the need for a passage.  Scrape cells and add 0.2 ml of these scraped cells to a fresh tube containing 2 ml of media (1:10 dilution) and proceed again with tube culture method. (Appendix III).  If toxicity or CPE persists, refer to the charge/senior technologist for review.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/12/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- Contaminated Culture: If the tube culture is visibly contaminated and uninterpretable, issue a report indicating contamination.

## IV.  	Reporting Results

### Tube Culture:

### Negative Report:			“No virus isolated”

Positive* Report:			“POSITIVE for _______virus.”

Toxicity Report:		" Specimen toxic to cell culture.”

Contaminated Report:	"Specimen is heavily contaminated with bacteria and/or fungus.  Unable to perform Virology Culture.”

* Telephone all positive results to ward/ordering physician and document the call.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See LIS Manual for entering results.

V. 	Reference

- Isenberg, HO. 1992. Clinical Microbiology Procedure Handbook, Vol. 2. American Society of Microbiology.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/13/v03 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Tissue/Biopsy Specimens |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

TISSUE/BIOPSY SPECIMENS

## I.   	Introduction

The following viruses may be detected from various tissue or biopsy sources:

Lung:	Adenovirus/CMV/enterovirus/respiratory viruses

Liver: 	CMV/non-culturable viral hepatitis

Brain:	HSV/VZV/enterovirus/measles

Kidney: CMV

Heart:	Enterovirus

Postpartum: CMV

Bone Marrow:  CMV

For other viruses requested, refer to Appendix XV (Virus isolation and identification) to ensure the appropriate media is inoculated.

## II. 	Collection and Transport

# The sample should be collected directly adjacent to the affected tissue and placed in viral transport medium.  If a delay in transport or processing is anticipated, keep the specimen at 4oC.

## III.  	Procedure

A.	 Processing of Specimens:

- If the tissue is received in a dry container, add 1-3 ml of maintenance medium.

- Macerate the tissue using the small tissue grinder.

c)	If a large amount of tissue/cellular material is present, transfer suspension to a sterile 15 ml centrifuge tube and spin at 700 x g for 10 minutes

- Use the supernate as inoculum.

If Fetal / Post-partum tissue is received and Parvovirus PCR is requested, forward specimen to the Virology PCR section.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/13/v03 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

- Direct Examination:

Not usually performed.

- Isolation and Identification:

| Specimens | Methods | Cell Linesa | Incubation at 36oC | Stain used/Read |
| --- | --- | --- | --- | --- |
| LungbLiver/Bone Marrow/Kidney/ FetalTissue | Shell Vial | MRC-5 R-Mixb MRC-5 (if requested) MRC-5 (if requested) MRC-5 (if requested) | 2 days 2 days 1 day 1 day 2 days | CMV-IE RS* HSV1 HSV2 VZV |
|  | Shell Vial for CPE | E-Mix MRC-5 (summer**) | 5 days 5 days | Read daily*** Read daily*** |
| Brain | Shell Vial | MRC-5 MRC-5 MRC-5 | 2 days 1 day 2 days | CMV-IE HSV-bivalent VZV |
|  | Shell Vial for CPE | E-Mix MRC-5 (summer**) | 5 days 5 days | Read daily*** Read daily*** |

aMRC-5 = Human Fibroblast cells

b E-Mix or MRC-5 for Shell Vials for CPE inoculated with Lung tissue should be read for daily and if CPE is observed, stain a double Cytoprep with SimulFluor Respiratory virus Screen  and HSV bivalent monoclonal antibody stains.

R-Mixb  Shell Vial inoculated with Lung tissue should be stained with SimulFluor Respiratory virus Screen.

** Summer= May to October

*** If CPE is detected, the technologist will pass the infected supernatant to a new shell vial and prepare a cell suspension of the infected culture so that multiple cell spots (on slide) can be stained with the enterovirus D3, Coxsackie B and ECHO stains to identify the virus.

See Appendix II for detailed shell vial procedure.

See Appendix III for detailed tube culture (shell vials for CPE) procedure.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/13/v03 | Page 3 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

## IV.  	Reporting Results

Shell Vial:		Negative Report:		“Negative for ______virus.”

Positive Report*:		“POSITIVE for _______virus.”

### Shell Vials for CPE:	Negative Report:		“No virus isolated”

Positive Report*:		“POSITIVE for _______virus.”

Toxicity Report:	"Virology Culture: Specimen toxic to cell culture.

Contaminated Report:	"Virology Culture: Specimen is heavily contaminated with bacteria and/or fungus.  Unable to perform Virology Culture.

* Telephone all positive results to ward/ordering physician and document the call.

## *When entering positive results in the Lab Information System (LIS), enter the virus 	name in the isolate window (under F7).  See LIS Manual for entering results.

## V.	References

- Leland D. 1996.  Clinical Virology.  W.B. Saunders Company.

- Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.

American Society for Microbiology, August 1994.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/14/v03 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Urine |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

URINE

## I.   	Introduction

Urine is the specimen of choice for neonates suspected of congenital cytomegalovirus (CMV) infection.  Other viruses recovered from urine that may be representative of a systemic infection include enteroviruses, rubella, measles, and mumps.  In addition, adenovirus may be cultured from urine specimens.  If no virus is requested, urine specimens will be processed for CMV only.  Additional cell lines or shell vials may be required if other specific viruses are requested.  Refer to Appendix XV (Isolation and Identification) to ensure that the appropriate media is inoculated.  Urine for which polyomavirus (BK or JC) is requested should be sent to the Public Health Laboratory (PHL) for electron microscopy.

## II.  	Collection and Transport

The first morning voided urine sample is best for recovery of CMV.  Urine should be collected in a clean, sterile container.  If a delay in transport or processing is anticipated, keep the sample at 4oC.

## III.  	Procedure

A.		Processing of Specimens:

# Do not freeze the urine before processing.  Urine can be left at 4º C for no more than 48 hours before inoculation.  A fresh specimen should be requested from patients for which a urine is received that cannot be set up within this time frame (i.e. Friday evening, long weekends).

- Gently mix and transfer 2 mL of urine to a sterile freezer vial.  Add 4 drops gentamicin and 2 drops of fungizone to a final concentration of 100 µg/mL and 10 µg/ml respectively.

- Allow to stand at room temperature for 10 minutes before inoculating

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/14/v03 | Page 2 of 2 |
| --- | --- | --- |
| Virology Manual |  |  |

B.	Direct Examination:

Not done.

- Isolation and Identification:

| Method | Cell Linesa | Incubation at 36oC | Stainb used |
| --- | --- | --- | --- |
| Shell Vial | MRC-5 | 2 days | CMV-IE |

aMRC-5 = Human diploid fibroblast cells

## b CMV-IE= Monoclonal antibody IFA stain for CMV immediate early antigen

Refer to Appendix II for Shell Vial staining and interpretation.

## IV.  	Reporting Results

Shell Vial:		Negative Report:		“Negative for Cytomegalovirus.”

Positive Report*:		“POSITIVE for Cytomegalovirus.”

* Telephone all positive results to ward/ordering physician.

## * When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window (under F7).  See Appendix for entering LIS results.

V.  	Reference

1.	Gleaves, Curt A. et al.  Cumitech 15A “Lab Diagnosis of Viral Infections”.

American Society for Microbiology, August 1994.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 1 of 9 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Blood/Bone Marrow for CMV Antigenemia |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: December 14, 2007 |
|  | Annual Review Date: November 8, 2008 |

BLOOD / BONE MARROW FOR CMV ANTIGENEMIA

## I.   	Introduction

Human cytomegalovirus (CMV) can cause severe, life-threatening disease in immunocompromised patients such as transplant patients and patients with AIDS.  Systemic infections are characterized by carriage of CMV in the polymorphonuclear leukocytes (PMNL) of peripheral blood (viremia).  Infected PMNL can be detected by direct detection of CMV pp 65 antigen (CMV antigenemia) using an indirect immunofluorescence (IFA) technique.  CMV antigenemia can also be used to monitor the course of CMV infection during and after treatment.  Antigenemia will be performed on EDTA or heparinized blood requesting CMV.  Antigenemia and culture will be performed on bone marrow samples requesting CMV.

## II. 	Collection and Transport

A minimum of 5 mL of blood is collected in an EDTA Vacutainer® tube (purple top).  Samples should be transported to the laboratory as soon as possible at room temperature.  Smaller volumes of blood from infants will be accepted and the procedure will be completed despite a small number of PMNL’s.  Blood samples received 14:00–13:00 hrs will be processed as far as preparation and fixing of slides.  Staining and reading will be done the next day.  Samples received after 15:00 hrs will be refrigerated and processed the next working day or a fresh sample requested (except on Fridays, consult Charge technologist).

## Note:

Toronto Hospital Division of UHN: Reject (Transplant patients, In or Out patients)

- Specimens received >24 hours after being taken.

- Specimens received over the weekend (Friday after 2 p.m. to Sunday midnight)

Other sites (PMH, MSH): Only reject specimens if received over the weekend (i.e. >24 hours after collection.)

Phone Ward if specimen is rejected!!

Refer complaints to Dr. Mazzulli @17-4695.

NEVER REJECT STUDY SPECIMENS! Perform testing as usual but include a comment in the test field stating “Specimen was received >24 hours after being taken. Results may be compromised as a result of delay.”

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 2 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

III.	Materials:

- Phosphate Buffered Saline:

For 1000 mL -  10 mM PBS powder, pH 7.4 (Sigma p-3813)  in a glass vial

-  1000 mL dH20

Autoclave and store at room temperature.

OR

# Obtain sterile PBS from Rm. 977, ext. 8257.

- Erythrocyte Lysing Solution:

For 2000 mL	-16.6 gm NH4CL power, M.W.53.49 (Sigma A-0171)

-2.0 gm Potassium bicarbonate

-2000 mL dH20

Filter sterilize and store at 4oC. Stable for 2 months.

- Fixative Solution:

For 500 mL	-25 mL Formaldehyde (Sigma Cat. F-1268) (aliquot inside fume hood.)

-10 gm Sucrose, M.W. 342.3 (Sigma S-1888)

-500 mL PBS buffer

Store at room temperature.  Stable for 1 month.

Use fresh aliquot of fixative each day.

- Wash Solution

For 500 mL	-5.0 mL FCS

-500 mL PBS

Store at 4oC. Stable for 1 week.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 3 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

v)	Permeabilization Solution

For 500 mL	-2.5 mL NP40 (ICN cat# 198596 formerly Nonidet, sigma)

-50 gm Sucrose (Sigma S-1888)

-5.0 mL Fetal Calf Serum (FCS)

-500 mL PBS

Store at 4oC.  Stable for 1 month.

vi)	Antibody 1

Monoclonal Anti-HCMV pp65, (Biotest Clonab CMV, Cat No: P/N 912600).  Mix 1 mL of pp65 with 4 mL of PBS. Aliquot and store at 4oC.  Test with a CMV positive control slide.  Enter lot no. and QC slide results in Reagent History Form.

vii)	Antibody 2

Monoclonal Anti-Mouse – FITC Conjugate with Evans Blue (Baxter B1029-86B). Store at 4oC.

- Control slides

In-house positive CMV control (stored at -20oC and prepared from positive patients cells).Use with first batch of slides being stained each day.

In-house positive CMV control (stored at 4oC and prepared from positive CMV cultures).These are double-well slide with CMV positive and negative wells.Use 1 control with each subsequent batch being stained.

Commercially prepared CMV control (stored at 4oC) Use with each new batch of PP65 that is prepared(or if there are no other control slides available)

- CMV Antigenemia Procedures:

A.  Cell Separation Procedure

- Invert blood tube several times to mix.

- Transfer ~ 2 - 3 mL of blood to a 15 mL graduated centrifuge tube which contains 10 mL of ELS.

- Mix and put on a rotator for 5 minutes (or until RBC’s are lysed).

- Spin at 1300 rpm for 7 minutes.

- Gently pour supernatant into a discard container.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 4 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

- Add 2 - 3 mL of ELS to tube to carefully rinse button. Do this 3 times.

- Add ELS to 10 mL level. Using a pipette, mix button with supernatant.

- Mix and spin at 1300 rpm for 7 minutes.

- Gently pour supernatant into a discard container.

- Add PBS solution to 10 mL level. Using a pipette, mix button with supernatant.

- Mix and spin at 1300 rpm for 7 minutes.

- Gently pour supernatant into a discard container. Carefully remove excess red blood cells from suspension above the WBC deposit.(fluff the cells by using the pipette to gently blow the RBC’s off the button).

- Gradually add PBS to cell pellet until it reaches a turbidity of ~ 1.0 to 2.0 MacFarland Standard.

- Proceed to cell counting procedure

- Cell Counting Procedure

- Before using Coulter Counter:

- Replace the blue Cleaner Solution with Isotonic Diluent in an ACCUVETTE II vial.

- Run the Isotonic Diluent 3 times using the Start/Stop key. (Record with check marks on the daily scheduled maintenance section on Equipment sheet Policy QEQMI103001hCoulter.01) in the black binder titled “Coulter Analyser History Log”. (Record with check marks on the daily scheduled maintenance section on Equipment sheet Policy QEQMI103001hCoulter.01) in the black binder titled “Coulter Analyser History Log”.

- On Mondays (or Tuesdays following a long weekend) run the CBC commercial control for Coulter Particle Counter (STRECK Para 4) as follows:

- Remove vials from the refrigerator and allow to warm up to room temperature. (18-30C.)

- Date the vial when it is used for the first time.

- Use the red topped vial. (It is the lower control.)

- Mix the vial by holding it horizontally between the palms of the hands. (Do NOT use a mechanical mixer). Roll the vial back and forth for 20-30 seconds; occasionally invert the vial. Mix well (to resuspend the red cells, but don not shake.

- Gently invert the vial 8-10 times immediately before sampling.

- Pipette 50ul of sample from the red topped vial into 10 mL of Isoton diluent.

- Add 3 drops of Zap-oglobin and mix well.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 5 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

- Using the Coulter Particle Counter, count this sample 3 times. Record the counts in the Coulter Particle Counter Log Sheet found in the “Coulter Analyser History Log” black binder. Note: there is a separate log sheet for each kits lot number. Start a new sheet for each subsequent lot number. Also put a check mark in the appropriate box of the weekly scheduled maintenance sheet Policy QEQMI03001hCoulter.01. (also found in the black binder.) Put the manufacturers parameter sheet for each new lot number in the binder and put the date first used on the sheet.

- Dispense 10 mL of Isotonic Solution into an ACCUVETTE II vial for each sample.

- Invert cell suspension; dispense 50 uL of cell suspension into each ACCUVETTE II vial. Pipette up and down several times.

- Add 3 drops of ZAP-OGLOBIN (which will lyse any remaining RBC’s).

- Stir with transfer pipette to mix. Avoid introducing air bubbles.

- Read immediately two times and calculate the average WBC count (e.g. Reading of 2,200 E6 means the cell suspension has a WBC count of 2.2 x 106 /mL). Write down the average WBC count on the centrifuge tube.

Acceptable limit is between 1.0 x 106 to 2.0 x 106/mL

- Increase the volume added to the cytospin funnel if a specimen has a very low WBC count (maximum 300 uL).  Each slide should have 200, 000 WBC’s.

NOTE: If you get a count just under 1.0 x 106, you could write x2 on the lid of the conical tube and double the amount added to the cytospin funnel.) If you do this, you must also double the count i.e. an initial count of 0.9 x 106/ml would be calculated as 1.8 x 106 /mL.

- At the end of the day:

- Immerse the Aperature Tube of the Coulter Counter into an ACCUVETTE II vial full of blue Cleaner Solution.

- Run the Cleaner Solution 3 times using the Start/Stop key.

- Leave the Aperature Tube immersed in the Cleaner Solution overnight. . (Record with  check marks on the daily scheduled maintenance section on Equipment sheet Policy QEQMI103001hCoulter.01) in the black  binder titled “Coulter Analyser History Log”.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 6 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

- Preparation of Slides

1.  Dispense 200 ul of cell suspension from ACCUVETTE II vial (see above) into a

single cytospin funnel.

2.  Spin at 900 rpm for 3 minutes in a SHANDON Cytocentrifuge.

3.  Air dry slide for 5 minutes inside the Laminar Flow Hood.

D.  Fixation and Permeabilization of Slides

- Immerse prepared slides in Fixative Solution for 10 minutes.

- Rinse in Wash Solution for 5 minutes.
3.	Immerse in Permeabilization Solution for 5 minutes.

4.	Rinse in Wash Solution for 5 minutes.

5.	Let slides dry in Laminar Flow Hood for 5 minutes and proceed to staining, or store dried slides in fridge at 4oC for up to 72 hr. Store in -70oC freezer if slides cannot be stained within 72 hr.

E.  Staining of Slides

1.	Place one double-well control slide with CMV positive and negative cell spots at a random position within each batch of slides to be stained.

- Add 20 (l of working solution monoclonal antibody # 1 (anti-pp65) onto the sample and control slide.  Incubate in a humidified chamber at 37°C for 30 minutes.  FROM THIS POINT, DO NOT ALLOW THE CYTOPREP TO DRY AT ANY TIME DURING THE STAINING PROCESS.

- Wash by immersion in fresh PBS 3 times for 1 minute each.

- Wipe excess PBS off slide and add 20 (l of fluorescein conjugated antibody # 2 to the cytoprep.  DO THIS ONE SLIDE AT A TIME, DO NOT ALLOW CELL SPOT TO DRY IN BETWEEN.

- Incubate for 30 minutes at 37°C in a humidified chamber.

- Wash by immersion in fresh PBS 3 times for 2 minutes each.  Wash in fresh dH2O briefly.

- Allow slides to dry under hood about 5 minutes.

- Coverslip slides with FA mounting media.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 7 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

- Reading of Slides

  - Reading is performed with the fluorescence microscope using the #4 filter (λ 490/575).  Scan the entire surface of the cytoprep with the 40x objective, counting the number of infected cells.

The fluorescent, green polylobate nuclei are the infected and stained PMNL's.

A single fluorescent PMNL is sufficient to indicate a positive antigenemia result.

The following appearances DO NOT constitute a positive:

- cytoplasmic fluorescence in large granules (eosinphils)

- slightly greenish periphery of PMNL

- all of the PMNLs appear greenish

-	peri-nuclear staining of PMNLs

b.	Calculation of positive CMV antigenemia cell count performed in LIS:

Under DPP 65, at the media screen:

WBC#: WBC count from Coulter Counter, written on each centrifuge tube after counting.

PREP: # of positive cells seen in cytospin  slide

DIV2: # of positive cells divided by 2

POS#: DIV2/ WBC#.

F7, put 'V' in isolate # field, Enter, Enter, F2 under 'Org id', F12, choose 1 for CMV, F8, V,and '8' , F12, F12.

- Daily Quality Control:

a.	Check reagent expiratory date and verify that Reagent QC is satisfactory for the reagent lot/kit being used

b.	Appropriate control slide with positive and negative CMV wells (commercial; home-made slide with ATCC strain or buffer coat of known CMV positive are acceptable) must be stained with each batch. Place QC slide at a random position within each batch

c.	Examine the negative control well first to establish the dull red colour (Evans blue counterstain) and to determine if there is any nonspecific staining.

The positive control must be clearly distinguishable from the negative control or the test is invalid.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 8 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

d.	Record daily QC results in LIS (under procedure VPP65D, CMV pp65 - daily QC

STN Staining Reaction).

Failed Daily QC:

a.	Do not release patient results pending resolution of QC error.

b.	Inform charge/senior technologist.

c.	Record in Reagent Log, Instrument Log if microscope/incubator is involved in the failure and file incident report as appropriate.

d.	Re-run failed controls in parallel to fresh controls (and/or external QC) to evaluate the QC material itself.

e.	If the re-run shows the old QC material still fails, fresh QC passes and nothing else is wrong with the batch (only the old QC material failed, patient results valid) patient results may be released.

Marked decrease/absence in fluorescence can be due to:

        - Reagent deterioration/skipping (did not apply primary/secondary stain)

        - Microscope (filter, bulb, alignment)

        - Other equipment, reagents or technique

## IV.	Reporting Results

CMV Antigenemia:	Negative Report:  “Negative for Cytomegalovirus.”

Positive Report*:  “POSITIVE, - # positive cells/100,000 (Status result as “Interim”)

*Telephone all antigenemia results to Bone Marrow Transplant Clinic.  Telephone all positive results to UHN (TGH & TWH).

When entering positive results in the Lab Information System (LIS), enter the virus name in the isolate window and use a letter for the “Isolate Number”.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/15/v06 | Page 9 of 9 |
| --- | --- | --- |
| Virology Manual |  |  |

V.	References

- Clonatec Co.:  Detection of HCMV 65 Kda protein kinase in peripheral blood polymorphonuclear leukocytes by indirect immunofluorescence.  Clonatec, Biosoft Department Siege social: 60 rue de Wattignies, 75580, Paris Cedex 12 Tel. (1) 43 42 38 30, Fax (1) 43 40 48 86.

- Gerna, G. et al.  Comparison of different immunostaining techniques and monoclonal antibodies to the lower matrix phosphoprotein (pp65) for optimal quantitative of human cytomegalovirus antigenemia.  J. Clin. Micr. 1992; 30: 1232 – 1237.

- Niubo J. et al. Association of quantitative cytomegalovirus antigenemia with symptomatic infection in solid organ transplant patients.  Diagn. Microbiol. Infect. Dis. 1996; 24: 19-24.

4.	Ho S. et al.  Rapid cytomegalovirus pp65 antigenemia assay by direct lysis and immunofluoresence staining.  J. Clin. Micro. 1998; 36;638-640.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/01/v03 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix I Reagents/Kits |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix I

REAGENTS/KITS

Chemical Reagents

- Formaldehyde, Sigma

- Sucrose, Sigma

- Nonidet, ICN (changed to IGEPAL CA-630, Sigma cat. # 198596)

- Ammonium Chloride powder, Sigma

- Potassium bicarbonate, Sigma

- DMSO freezing Medium, Sigma

7.	Phosphate Buffered Saline (PBS):

8.06 g/L	Sodium Chloride

0.20 g/L	Potassium Chloride

1.36 g/L	KH2PO4

1.42 g/L	Na2HPO4

Adjust pH to 7.4 and autoclave.

Reagent Kits

- FITC – Anti Mouse-(Intermedico, Bartels, Dade-Behring)

- Herpes simplex I and II DFA (Dade-Behring)*

- Varicella zoster DFA-(Meridian)*

- CMV, DFA (Chemicon)

- CMV Early Antigen (CMVEA, Chemicon)*

- Herpes simplex Bivalent DFA (Bartels)

- Enterovirus D3 (Diagnostic Hybrids)

- Anti-Echovirus (Chemicon)

- Anti-Coxsackie A9 (Chemicon)

- Anti-Coxsackie B Blend (Chemicon)

- Anti-Enterovirus Blend 70/71 (Chemicon)

- Anti-Poliovirus Blend-(Chemicon)

- Clonab®, , CMV pp 65, Biotest-(RWR Scientific)*

- Respiratory Virus Antibody Pool  (Chemicon)

- Adenovirus Antibody (Chemicon)

- Anti-Influenza A Monoclonal Antibody (Chemicon)

- Anti-Influenza B Monoclonal Antibody (Chemicon)

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/01/v03 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

- Anti-Parainfluenza 1 Monoclonal Antibody  (Chemicon)

- Anti-Parainfluenza 2 Monoclonal Antibody (Chemicon)

- Anti-Parainfluenza 3 Monoclonal Antibody (Chemicon)

- Anti-RSV Monoclonal Antibody (Chemicon)

- Anti-Adenovirus Antibody-Bartels (Chemicon)

- Anti-measles Antibody-(Chemicon)

- SimulFluor DFA Respiratory Viral Screen/RSV panel-(Chemicon)

- SimulFluor DFA FluA/B panel-(Chemicon)

- SimulFluor DFA RSV/para3 panel-(Chemicon)

- SimulFluor DFA Parainfluenza 1,2,3/Adeno panel-(Chemicon)

- Specific Parainfluenza 1 DFA-(Chemicon)

- Specific Parainfluenza 2 DFA-(Chemicon)

Reagent Quality Control:

Performed prior to patient testing and must fall within range of expected results before reagents are released for use.  External QC materials (commercial QC slides) are used unless not available then ATCC or other established strains can be used to prepare in-house slides. QC materials supplied with reagent kits (usually used as daily QC) must also be done (may be done with the first batch of testing if external QC passes).

Reagent Quality Control Procedure:

a.	Check and make sure received date, expiratory date and lot number are recorded in the Reagent Log as well as in LIS micqc.

b.	Perform the assay to verify that the results are satisfactory for the reagent lot/kit and record in Reagent Log, and/or LIS and/or on the kit.

c.	Use external QC materials (different supplier and to test all components e.g. Bion 14-well Respiratory Panel slides for SimulFluor Resp Screen).

d.	Record QC results in Reagent Log and/or LIS as appropriate.

e.	Record “in use” date in Reagent Log, and/or LIS (by entering lot active:“yes”) and/or on the kit when placed in service.

Failed Reagent QC:

Test is invalid without satisfactory Reagent QC results.

a.	Do not release reagent lot for use pending resolution of QC error.

b.	Inform charge/senior technologist.

c.	Record in Reagent Log Chart, Instrument Maintenance Log if microscope/incubator is involved in the failure (and Incident Report if necessary).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/01/v03 | Page 3 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

d.	Re-run failed control materials in parallel to fresh controls to evaluate the QC material itself.

e.	If the re-run shows the old QC material still fails and fresh QC is satisfactory, the error may be attributed to the old QC material itself and the reagent is satisfactory.

- If the re-run shows both the old and fresh QC materials fail (or other QC not satisfactory), the error may be attributed to the reagent then the reagent cannot be released for use.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 1 of 10 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix II Shell Vial Procedure |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix II

SHELL VIAL PROCEDURE

I.   	Introduction

The shell vial method employs centrifugation of the patient specimen onto a cell monolayer contained in a vial.  In general, the centrifugation step shortens the time to a positive culture result.  Virus may be detected by direct fluorescent antibody (DFA) or indirect fluorescent antibody (IFA) staining within hours or days of inoculation.  Currently, the MRC-5 (Human Fibroblast cells, Diagnostic Hybrid Inc. [DHI]) shell vial is used for the detection of CMV, HSV and VZ, the R-Mix (DHI) is used for the detection of respiratory viruses and the E-Mix (DHI) is use for the detection of enteroviruses.

II.	Reagents and Materials

# Fluorescence microscope with filter for FITC/Evans blue

Inverted microscope

FITC-conjugated virus-specific antibody stains (HSV1,2; VZV; CMV-IE; D3 enterovirus)

SimulFluor DFA Respiratory Viral Screen/RSV panel-(Chemicon)*

Phosphate buffered saline (PBS)

Distilled water

Cold acetone (4oC)

Mounting fluid

Sterile pipettes

Cytospin and accessories

Humidified chamber

Sterile freezer vial

Sterile shell vials with round coverslips and caps

Needle with hooked end attached to syringe

# Maintenance media

Glass slides

Coverslips

Paper towels for blotting

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 2 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

III.		Procedure

- Registration

  - Upon receipt of a shipment of cells, initial and date the record sheet accompanying the shipment. The record should contain vendor, lot number, passage number and QC data.  File in the Cell Culture QC binder.

  - Register the shell vial lots in the lab information system (LIS), this is necessary to generate the Shell Vial MRC-5, E-Mix or R-Mix QC procedures.  Print labels. Refer to virology LIS manual for procedure.

- Seeding (not in routine use) of MRC-5shell vials

  - Before seeding the shell vials, aspirate about 15 mL of MRC-5 cell suspension into a 125 cm2 tissue culture flask, place label on the side of flask and/or write “MRC-5, date and ‘Pre’”.

  - After seeding shell vials, aspirate about 15 mL of MRC-5 cell suspension  into another 125 cm2 tissue culture flask, label on the side of flask with “MRC-5, date and ‘Post’”.

  - Aliquot the MRC-5 cells in 1 to 2 mL volumes into a sterile shell vials containing round cover-slips.

  - Each shell vial is capped tightly (CO2 produced by growing cells is needed to maintain proper pH for optimal cell growth) and incubated at 36ºC for 2-3 days to form a relatively confluent monolayer before use.

- Incubation

    - For seeded (not in routine use) MRC-5 shell vials, incubate at 36ºC and use them on days 3-10.

    - Store DHI (MRC-5, E-Mix and R-Mix) shell vials at room temperature in the dark. The DHI shell vials can be placed in service after pre-incubating for 2 to 4 hours.

Only sufficient shell vials for the day should be pre-incubated and the unused ones can be pre-incubated again the next day up to the allowed 24 hr limit..

- Refeed

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 3 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

Shipping media in the shell vials must be replaced with the corresponding refeed media prior to inoculation. This is done by decanting or aspirating with a pipette and adding 1.5 mL of the appropriate aliquot maintenance media (each of MRC-5, E-Mix and R-Mix has its own refeed medium from DHI).

- Inoculation of shell vials

i)	Refer to specimen protocol or Appendix XXI Specimen Cell Line Stain Table for the number of shell vials to be inoculated.

      - Prior to inoculation, check for confluent monolayer formation, sterility and for presence of a coverslip. Ensure that the shipping media have already been replaced with appropriate fresh maintenance media. Record results daily under Shell Vial MRC5, Emix or Rmix quality control procedures in the LIS.

iii)	Apply a specimen label (LIS barcode) to the shell vial(s) and a corresponding plane glass slide. Label slides for HSV1; HSV2; VZ; CMV on MRC-5 shell vials and RS on R-Mix shell vials accordingly. E-Mix will be read for CPE as with tube culture and does not require a pre-labeled slide.

iv)	Inoculate 0.2 mL for MRC-5, E-Mix and 0.3 mL for R-Mix of processed specimen into the shell vials.  Inoculate one specimen at a time, recapping immediately afterward.

v)	Centrifuge at room temperature for 15 minutes at 4300 rpm (3500 x g).

vi)	Use a new, sterile pipette for each vial.  Process one specimen at a time, recapping immediately afterwards.  After set up is complete, discard any remaining aliquotted maintenance medium.  For specimens that have excess blood or mucous, remove excessive sediment by refeeding shell vials after about 2 hours of incubation.

viii)	Incubate the shell vials at 36ºC, lined up in rows of HSV1 and HSV2. CMV, R-Mix and E-Mix should be lined up in different cluster plates (CMV-IE requires an extra step in IFA staining and 2 days of incubation; R-Mix and VZ are DFA staining but require 2 and 4 days of incubation respectively; E-Mix is incubated and read for CPE):

| Cell Line | Virus/Stain/Read for CPE* | # of Vials | Incubation Time |
| --- | --- | --- | --- |
| MRC-5 MRC-5 MRC-5 MRC-5 R-Mix E-Mix* | HSV 1, 2 HSV bivalent VZV CMV Resp virus Screen (RS) Enteroviruses* (read for CPE) | 2 1 1 1 1 1 | 1 day 1 day 4 days 2 days 2 days 5 days* |

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 4 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

4.	Staining of shell vials

  - Prior to staining, examine the shell vial monolayer using the inverted microscope:

  - If there is <75% CPE, perform IFA or DFA staining on the shell vial monolayer using the required antibody conjugate.  For CMV, see shell vial staining under Appendix IV (IFA) and for HSV 1&2, VZV and RS, see shell vial staining under Appendix V (DFA).

  - If  >75% of the monoloayer has lifted from the coverslip, check the colour of the maintenance media and proceed as follows:

  - If the maintenance media is bright pink (suggesting alkaline pH), yellow or cloudy, check with charge/senior technologist before proceeding further.

- If the maintenance media is appropriately coloured (salmon pink), perform IFA or DFA staining using cytospin preparations of scraped shell vial cells. Follow the staining procedure for prepared cytospin slides as outlined in the tube culture section in Appendix IV (IFA) and Appendix V (DFA).

- Discard cap.  Remove maintenance medium from the shell vials, using a different sterile pipette for shell vials of the same specimen number.

- Add 1 mL of cold acetone to each shell vial.  Cover and fix for 10 minutes.

- Decant acetone and blot on paper towel.

- Gently rinse with PBS from squirt bottle, filling vial 3/4 full.  Make sure the stream is gentle enough not to flip the cover-slip. Decant PBS.

- Add 75 (l (2 drops from bottle) of HSV1, HSV2 and VZ to the appropriate row of shell vials in the DFA cluster plate (including QC shell vials, if done on that day). Cover.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 5 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

ix)	Add 75 (l (2 drops from bottle) of CMV-IE to the appropriate row of shell vials in the IFA (CMV, 2 day) cluster plate (including QC shell vials, if done on that day). Cover.

x)	Incubate both DFA and IFA shell vials at 36oC for 30 minutes.

xi)	Gently rinse with PBS from squirt bottle, filling vial 3/4 full. Make sure the stream is gentle enough not to flip the cover-slip. Decant PBS.  Repeat.

xii)	For the DFA shell vials (HSV1, HSV2, VZV) remove the coverslip and place cell side down onto a drop of mounting fluid on the pre-labelled glass slide.

xiii)	For the IFA (CMV 2 day) shell vials, add 75(l (2 drops from bottle) of appropriate FITC-conjugated anti-mouse antibodies, cover and repeat the incubation and wash steps (i and j).

  - Remove the coverslip and place cell side down onto a drop of mounting fluid on a glass slide.

  - Read using fluorescence microscope with the FITC/Evans Blue filter and the 40x objective.

III.	Reading of Stained Shell Vials

i)	CMV – Immediate Early Antigen (CMV-IE)

Using the fluorescence microscope with the FITC/Evans Blue filter, scan the entire field using the 25x objective.  Use the 40x objective to investigate any fluorescing cells.

POSITIVE:	An even matte apple-green fluorescence covering the entire kidney bean shaped/oval nucleus.  May include specks of brighter fluorescence.

NEGATIVE:	No typical cells with apple-green fluorescence

INVALID: 	If no counterstain is visible or only the edge of cover slip is stained, inform senior/charge technologist. The cover-slip may have flipped before being stained

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 6 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

ii)	HSV/VZV

Using the fluorescence microscope with the FITC/Evans Blue filter, scan the entire field using the 10x or 25x objective.  Use the 40x objective to investigate any fluorescing cells.

POSITIVE:	Distinct apple-green fluorescence of the cytoplasma and /or nucleus of the infected cells.  Dull red Evans blue counter stain should be visible for stained nonfluorescent cells.

NEGATIVE:	No typical cells with apple-green fluorescence.

Dull red Evans blue counter stain should be visible for negative  cells.

INVALID: 	If no counterstain is visible or only the edge of cover slip is stained, inform senior/charge technologist.  The cover-slip may have flipped before being stained.

iii)	RS- (Respiratory virus Screen)

Using the fluorescence microscope with the FITC/Evans Blue and Rodamine bi-filter, scan the entire field using the 10x, and 25x objectives.  Use the 40x objective to investigate any fluorescing cells.

POSITIVE for respiratory virus:	i) green: Cells with apple-green fluorescence fluorescence.

POSITIVE for RSV:	i) gold: Cells with gold fluorescence.

NEGATIVE:	No typical cells with apple-green or gold fluorescence

INVALID: 	If no counterstain is visible or only the edge of cover slip is stained, inform senior/charge technologist. The cover-slip may have flipped before being stained.

IV.	Shell Vial for CPE (E-Mix) can be referred to Appendix III (Tube Culture/Shell Vial for CPE)

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 7 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

IV.	Quality Control

A.	Shell Vial MRC-5 Quality Control: (unopened shell vial)

This is done weekly when cell shipments are received to monitor cell growth.  Record daily in LIS.

| Examine daily (for 7 days) for: | Expected results: | Shell Vial MRC5 QC- expected results (LIS entry): |
| --- | --- | --- |
| Absence of contamination | Visual inspection: (1) medium colour not yellow (2) medium not cloudy | OK* |
| Healthy cell growth | Under inverted microscopy: (1) confluent monolayer (2) medium colour pink | OK* |
| Cover slip | Under inverted microscopy: cover slip present | OK* |

At the end of 7 days, one unopened shell vial in good condition is used as “Previous lot MRC-5” for the following week.

B.	Shell Vial  Inoculation QC procedure (6 shell vials + 1 previous lot):

This QC procedure is performed once a week utilizing HSV-1 (ATCC 539) to:

1.	Show that each MRC-5 lot supports the propagation of the intended viruses.

- Monitor entire shell vial procedures from inoculation to reading including incubation, staining and reading (HSV1 & 2 are DFA, CMV-IE is IFA).

- The inoculation part is done by Tube Culture bench, the Shell Vial bench completes the procedure including reporting in the LIS.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 8 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

|  | Shell Vials: | Each week, inoculated with 4 drops of: | After 1 day at 36oC, stain with: | Shell Vial MRC5 QC- expected results (LIS entry): | HSV1 daily SLIDE SV QC- expected results on Staining Reaction (LIS entry): |
| --- | --- | --- | --- | --- | --- |
| 1 | Previous lot MRC-5 | HSV-1 ATCC 539 | HSV-1 | HSV1 old ATCC539: Gr* |  |
| 2 | New lot MRC-5 (pos con) | HSV-1 ATCC 539 | HSV-1 | HSV1 ATCC539: Gr* | Pos* |
| 3 | New lot MRC-5 (neg con) | None | HSV-1 |  | Neg* |
| 4 | New lot MRC-5 (pos con) | HSV-2 ATCC 539 | HSV-2 |  | Pos* |
| 5 | New lot MRC-5 (neg con) | None | HSV-2 |  | Neg* |
| 6 | New lot MRC-5 (pos con) | CMV ATCC Davis | CMV-IE |  | Pos* |
| 7 | New lot MRC-5 (neg con) | None | CMV-IE |  | Neg* |

Gr* = stained positive for the intended virus

Pos*= stained positive with the specified stain

Neg*= stained negative with the specified stain

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 9 of 10 |
| --- | --- | --- |
| Virology Manual |  |  |

- Daily Slide Shell Vial QC procedure:

Done and recorded each work day to monitor the staining of each batch (except the day when Inoculated Shell Vial QC procedure is done).

| 4-well HSV daily QC slide | 2-well CMV daily QC slide | Well containing: | Stain with: | HSV1 daily SLIDE SV QC- expected results on Staining Reaction (LIS entry): |
| --- | --- | --- | --- | --- |
| 1 |  | HSV-1 (ATCC 539) | HSV-1 | Pos* |
| 2 |  | Uninoculated MRC-5 cells | HSV-1 | Neg* |
| 3 |  | HSV-2 | HSV-2 | Pos* |
| 4 |  | Uninoculated MRC-5 cells | HSV-2 | Neg* |
|  | 1 | CMV (ATCC 807) | CMV-IE | Pos* |
|  | 2 | Uninoculated MRC-5 cells | CMV-IE | Neg* |

Gr* = stained positive for the intended virus

Pos*= stained positive with the specified stain

Neg*= stained negative with the specified stain

| 4-well R-Mix daily QC slide | Well containing: | Stain with: | R-Mix daily SLIDE SV QC- expected results on Staining Reaction |
| --- | --- | --- | --- |
| 1 | Flu A (ATCC) | RS | Pos* |
| 2 | Uninoculated cells |  | Neg* |
| 3 | RSV (ATCC) | HSV-2 | Pos* |
| 4 | Uninoculated MRC-5 cells | HSV-2 | Neg* |
| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/02/v03 | Page 10 of 10 |
| Virology Manual |  |  |

D.	Reagent QC (HSV1, HSV2, HSV bivalent, CMV-IE and VZ stains):

a.	Performed prior to patient testing and must pass before reagents are released for use.

  - Done on external QC slides.

  - Record QC results in Reagent Log and LIS.

Failed QCs:

a.	Do not release patient results pending resolution of QC failure.

b.	Inform charge/senior technologist.

c.	Record in Reagent Log Chart, Instrument Maintenance Log (if eg. microscope/incubator is involved in the failure) and file incident report if necessary.

d.	Re-run failed controls in parallel to fresh controls (and/or external QC) to evaluate the QC material itself (already done routinely for MRC5 cells).

e.	If the re-run shows the old QC material still fails, fresh QC passes and nothing else is wrong with the batch (only the old QC material failed, patient results valid) patient results may be released.

Marked decrease/absence in fluorescence can be due to:

a.	Reagent deterioration/skipping (did not apply primary/secondary stain)

  - Microscope (filter, bulb, alignment)

c.	Other equipment, reagents or technique

V.	Reference

- Isenberg, H.D. 1992.  Clinical Microbiology Procedure Handbook Vol. 2.  ASM Press.

- Gleaves, Curt A. et al, J Clin Micro., Feb. 1985.  Comparison of Standard Tube and Shell Vial Cell Culture Techniques for the Detection of Cytomegalovirus in Clinical Specimens.

- Engler, Howard D., Selepak, Sally T., J Clin Micro., June 1994.  Effect of Centrifuging Shell Vials at 3,500 x g on Detection of Viruses in Clinical Specimens.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/03/v03 | Page 1 of 6 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix III Tube Culture Procedure |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix III

TUBE CULTURE (not in routine use) or SHELL VIALS for CPE PROCEDURE

I.	Introduction

Tube culture is the conventional method used by diagnostic virology laboratories for virus isolation.  Since there is no universal cell line for recovery of all clinically significant viruses, a combination of cell types is used routinely depending on the symptoms, clinical specimen type and specific viruses being sought. Shell Vials (E-Mix ) can also be adapted to extend their normal incubation times and continue as tube cultures.

II.	Reagents and Materials

Fluorescence microscope Leica DBRB with #2 filter for Rodamine/FITC Evans blue and #4 filter for FITC Evans blue or

Fluorescence microscope Leica DC300F with #3 filter for Rodamine/FITC Evans blue and #1 filter for FITC Evans blue

Inverted microscope

Control slides

Virus-specific antibody (eg. Enterovirus D3 stain, DHI)

FITC-conjugated antimouse antibody

Phosphate buffered saline (PBS)

Distilled water

Cold acetone (4oC)

Mounting fluid

Sterile pipettes

Cytospin and accessories

Vortex

Sterile freezer vial

Glass slides

Coverslips

Paper towels for blotting

Humidified chamber

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/03/v03 | Page 2 of 6 |
| --- | --- | --- |
| Virology Manual |  |  |

III		Procedure

- Registration

- Upon receipt in the lab, register cell culture received from the supplier in the lab information system (LIS).  Refer to virology LIS manual for procedure.

- File the vendor QC sheet (received with the shipment) in the QC binder.

- Randomly, select two tubes from each lot and check the monolayer microscopically for confluent growth and quality of cells.  Use these two tubes as the “unopened controls” outlined under the Quality Control section below.

- MRC-5, R-Mix and E-MIx cell lines are stored for 18-24 hours at 36o C in O2  (or until cell lines reach >50% confluency) and then are kept at room temperature until expiry.

- Inoculation of cell culture shell vials

- Aliquot 50 mL maintenance medium and allow to come to room temperature before using.

- Refer to the protocol for each specimen type to determine the number of tubes and types of cell lines to be inoculated.  Also refer to Appendix XV if needed.

- Prior to inoculation, check the cell culture tubes for acceptable confluent monolayer formation and sterility.

- Decant the medium from the tube.

- Using a clean, sterile pipette for each tube, add 1.5 mL of the aliquotted maintenance medium to each tube and re-cap.  After set up is complete, discard any remaining maintenance medium.

- Inoculate 0.2 mL (4 drops) of processed specimen into each tube, recapping immediately afterward.

- Incubate the tubes in the roller drum at 36oC.  Refer to the appropriate specimen protocol for the incubation time for each tube.

- Refeed MRC-5, R-Mix and E-Mix minimally once per 5 days. Shell vials showing signs of chemical toxicity (red media / sloughing cells), bacterial / fungal contamination (yellow / turbid media) or aging should be refed within the day.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/03/v03 | Page 3 of 6 |
| --- | --- | --- |
| Virology Manual |  |  |

III.	Reading of Cultures (Shell Vials for CPE)

- Cytopathic effect (CPE): E-Mix or other cell lines should be examined daily for CPE.  Any culture demonstrating > 2+ CPE should be confirmed by staining. The cells should be scraped, a cytospin slide prepared and appropriate monoclonal antibody staining performed.  If no CPE is present, refeed with corresponding maintenance medium and Reincubate.

- Enteroviruses  (D3 enterovirus, DHI): Perform enterovirus stain when CPE is observed:

a.		Prepare cytospin preparation from cell culture as outlined below:

b.	Remove about 0.5 mL (leaving about 1 mL) maintenance media from the culture using a sterile pipette.

c.	Scrape cells using a sterile pipette.  Break up cell clumps by pipetting up and down several times.

d.	Pipette 4 x 200 uL (4 x 4 drops) of scraped cells into 4 funnels on 2 double slides.

e.	Cytospin at 2000 rpm (700 x g) for 5 minutes.

f.	Remove slide and air dry.

g.	Fix in cold acetone for 10 minutes in a coplin jar.  Remove slide and air dry.

h.	An enterovirus QC control slide should be stained in parallel with the patient as follows.

i.	Stain the 4 wells by adding 20 (L each of Enterovirus D3, ECHO, Coxsackie B and Polio stains onto the fixed cell spots.

j.	Incubate in a humidified chamber for 30 minutes at 36oC.

k.	Wash each slide 3 times with fresh PBS for 2 minutes each in a coplin jar.

l.	Wipe excess PBS from the slide without touching the cell spot.

m.	Add 20 (L of  FITC-conjugated antibodies.

n.	Incubate in a humidified chamber at 36oC for 30 minutes.

o.	Wash each slide 3 times with fresh PBS for 2 minutes each in a coplin jar.

p.	Wash with distilled water for 1 minute in a coplin jar.

q.	Wipe excess water from the slide without touching the cell spot.

r.	Mount using coverslip and mounting fluid.

s.	Read with fluorescence microscope Leica DC300F with #3 filter for Rodamine/FITC Evans blue and the 40x objective (warning:#1 filter is for FITC Evans blue only).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/03/v03 | Page 4 of 6 |
| --- | --- | --- |
| Virology Manual |  |  |

Interpretation of Results

Positive for enterovirus:				Green fluorescence

Negative:	Dull-red counterstained cells with no apple-green fluorescence.

Invalid: 	If no counterstain is visible, repeat staining

QC slide failed, report to senior/charge

If positive, record in freezer program and freeze cells and supernate. Refer to Appendix X and XII for procedure.

- Confirmation by PHL: Any culture demonstrating CPE for which a virus cannot be detected using monoclonal antibodies or other in-house methods and for which toxicity has been ruled out (see below) should be referred to the Public Health Laboratory (PHL) for further work-up. Pass cells to a new culture before sending.  Scrape and add 0.2 ml (4 drops) of scraped cells to a fresh culture containing 2 mL of fresh maintenance media (1:10 dilution).   Consult the charge/senior technologist or medical microbiologist before referring the specimen to PHL.

- Culture Toxicity:  If chemical toxicity is suspected in a culture (rounding of cells, sloughing of cells, granular cytoplasm of cells or unusual CPE, consult senior/charge technologist if unsure), proceed as follows:

- Pass cells by scraping and adding 0.2 ml (4 drops) of these scraped cells to a fresh culture containing 2 mL of fresh maintenance media (1:10 dilution).  Proceed with tube culture method as outlined above.

vi)	The effects of chemical toxicity would be reduced by dilution whereas the effects 			of CPE (caused by viral replication) would be the same, if not accelerated on 			passage.  If CPE is suspected, identify virus by antibody stains. If chemical 			toxicity is suspected, continue to incubate (may need further refeeding to reduce 			toxicity). If unsure of cell toxicity or CPE , refer to the charge/senior technologist 			for review.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/03/v03 | Page 5 of 6 |
| --- | --- | --- |
| Virology Manual |  |  |

vii)	Contaminated Culture: If the culture appears visibly contaminated (eg. cloudy and/or yellow medium) and thus uninterpretable, proceed as follows:

a.	On 1st or 2nd reading - change the maintenance medium, and reincubate.

  - On 3rd or later reading or recurrence - issue a final report stating:

“Virology culture:  Specimen is heavily contaminated with bacteria and/or fungus.  Unable to interpret virology culture.”

c.	Replant if specimen is from a sterile site or contamination is attributed to the lab.  If multiple specimens are contaminated, report to senior/charge.

IV.	Quality Control  (Tube Cultures are not in routine use)

Record all results of QC in LIS (or log).  Refer to virology LIS manual for procedure.  Report any abnormal results to charge/senior technologist.

Five tubes are reserved from each lot of cell cultures received, and used as controls as follows:

i)	Negative controls:	(tubes labelled N1, N2, N3)

On Wednesday, Friday and Monday, an uninoculated tube from each cell line used that day is placed in the roller drum with the inoculated specimens.  These tubes are incubated, read and refed with the patient inoculated cultures to monitor the monolayer quality, medium toxicity/contamination.  They can also be used

to provide a baseline for comparison for inoculated cultures when reading for CPE.  HFF, CMK, HEp-2 and RD tubes are kept for 5, 2, 2 and 1 weeks respectively.

ii)	Unopened Controls:	(2 tubes labelled C and V respectively)

These tubes are not opened. One tube is kept at 36o C in O2 in the clean room (C)

and one is placed on the roller drum (V) at 36o C in O2.  These tubes are observed

for 1 week to identify toxicity and contamination originating with the vendor.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/03/v03 | Page 6 of 6 |
| --- | --- | --- |
| Virology Manual |  |  |

iii)	Positive Controls:

Each week HSV-1 ATCC strain # VR- 539 is scraped from the previous week’s positive control tube and used to inoculate a fresh HFF tube.  If the control fails to propagate, a new vial can be retrieved from liquid N2 tank MINS shelf 6.

Additional positive controls may be set up for the following reasons:

- Low isolation rates

- Comparison of cell lines

- Vendor changes

- Proficiency test failures

- Training

- Continuing problems with negative controls

- Preparation of QC material (i.e. positive control slides)

Consult a charge/senior technologist to determine the cell lines and viruses to be set up.

V.	Reference

- Isenberg, H.D. 1992.  Clinical Microbiology Procedures Handbook.  Vol. 2. ASM

Press.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/04/v03 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix IV Indirect Immunofluorescent Antibody (IFA) staining for Viral Culture Confirmation |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix IV

INDIRECT IMMUNOFLUORESCENT ANTIBODY (IFA) STAINING

## FOR VIRAL CULTURE CONFIRMATION

I.	Introduction

The IFA technique is used to identify viral isolates in the cells obtained from shell vials and tube cultures.  The indirect method consists of two steps.  In the first step, primary antibodies are allowed to react with viral antigens in the cells.  These specific complexes are detected in a second step using a species-specific antibody conjugated with a fluorochrome.  Viruses which we currently identify by IFA staining include cytomegalovirus immediate early antigen (CMV-IE) and enteroviruses.

II.	Reagents and Materials

Virus-specific antibody

FITC-conjugated antimouse antibody

Phosphate buffered saline (PBS)

Distilled water

Cold acetone (4oC)

Mounting fluid

Sterile pipettes

Cytospin and accessories (for tube cultures)

Humidified chamber

Sterile freezer vial

Glass slides

Coverslips

Paper towels for blotting

Humidified chamber (for tube culture)

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/04/v03 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

- Procedure

1.	Shell Vial

Follow outline in Appendix II to determine if staining should be done in the shell vial itself or if a cytospin needs to be prepared.  If the staining is to be done in the shell vial itself, proceed to step i) below.

i.	Discard cap.  Remove maintenance medium from the shell vial using a clean sterile pipette.

- Add 1 mL of cold acetone.  Cover and fix for 10 minutes.

- Decant acetone and blot on paper towel.

- Gently rinse with PBS from squirt bottle, filling vial 3/4 full.  Decant PBS.

- Add 75 (l (2 drops from bottle) of appropriate antibody. Cover.

vi.	Incubate at 36oC for 30 minutes.

vii.	Gently rinse with PBS from squirt bottle, filling vial 3/4 full.  Decant PBS.  Repeat.

viii.	Add 75(l (2 drops from bottle) of appropriate FITC -conjugated antibodies, cover and repeat steps vi and vii.

x.	Remove the coverslip and place cell side down onto a drop of mounting fluid on a glass slide.

xi.	Read using fluorescence microscope with the FITC/Evans Blue filter and the 40x objective.

2.	Tube Culture (or Shell Vials for CPE)

- Prepare cytospin preparation from cell culture as outlined in Appendix XX.

- Add 20 (l of appropriate antibodies onto the fixed cytospin slide.

iii.	Incubate in a humidified chamber for 30 minutes at 36oC.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/04/v03 | Page 3 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

iv.	Wash each slide 3 times with fresh PBS for 2 minutes each in a coplin jar.

v.	Wipe excess PBS from the slide without touching the cell spot.

vi.	Add 20 (l of appropriate FITC-conjugated antibodies.

vii.	Incubate in a humidified chamber at 36oC for 30 minutes.

viii.	Wash each slide 3 times with fresh PBS for 2 minutes each in a coplin jar.

ix.	Wash with distilled water for 1 minute in a coplin jar.

x.	Wipe excess water from the slide without touching the cell spot.

xi.	Mount using coverslip and mounting fluid.

- Read with fluorescence microscope with the FITC/Evans Blue filter and the 40x objective.

Interpretation of Results

Positive:	Enterovirus:

An green fluorescence.

Negative:	Red cells with no apple-green fluorescence.

IV.	Quality Control

Appropriate positive and negative control slides should be stained with each batch.

V.	Reporting

See individual specimen protocols.

VI.	Reference

Isenberg, H.D., 1992.  Clinical Microbiology Procedures Handbook Vol. 2.  ASM Press.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/05/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix V Direct Immunofluorescent Antibody (DFA) staining for Viral Culture Confirmation |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix V

DIRECT IMMUNOFLUORESCENT ANTIBODY (DFA) STAINING

I.          Introduction

The DFA staining technique is used to detect viruses either directly in patient specimens or which have been isolated in shell vial or tube cultures.  The method consists of a single staining step using a virus-specific antibody which is conjugated with a fluorochrome.  Viruses which we currently identify by DFA staining include HSV-1, HSV-2, VZV, CMV (late antigen) and respiratory viruses (SimulFluor stains for respiratory syncytial virus, parainfluenza, influenza, adenovirus).

II.	Reagents and Materials

FITC-conjugated virus-specific antibody

FITC/Rodamine-conjugated virus-specific antibody (SimulFluor)

Phosphate Buffered Saline (PBS)

dH2O

cold acetone (4oC)

mounting fluid

sterile pipettes

cytospin and accessories (for tube culture)

humidified chamber

glass slides

coverslips

paper towels for blotting

## III.	Procedure

- Shell Vial

This procedure is for staining of cells directly in shell vial.  If staining a cytospin 	slide or  slide made directly from a patient specimen, follow the tube culture 	procedure below.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/05/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

i.	Discard cap.  Remove maintenance medium from the shell vial using sterile pipette.

ii.	Add 1 mL of cold acetone.  Cover with tray lid and let sit for 10 minutes.

iii.	Decant acetone and blot shell vial on paper towel.

iv.	Gently rinse with PBS from squirt bottle, filling vial 3/4 full.  Decant PBS.

v.	Add 75(l (2 drops from bottle) of appropriate FITC or Rodamine-conjugated virus-specific antibody.  Cover with tray lid.

vi.	Incubate at 36oC for 30 minutes.

vii.	Gently rinse with PBS from squirt bottle, filling vial 3/4 full.  Decant PBS.  Repeat.

- Remove the coverslip from each shell vial and place cell side down onto a drop of mounting fluid on a glass slide.

- For HSV 1, HSV 2, VZ and CMV, read using fluorescence microscope with the FITC/Evans Blue filter and the 40x objective.

- For respiratory viruses, read using fluorescence microscope with the FITC/Evans Blue Rodamine bi-filter and the 40x objective.

2.	Tube Culture

- Prepare cytospin slide from cell culture tube as outlined in Appendix XX.

- Fix slide in cold acetone for 10 minutes in a coplin jar.  Remove slide and air dry.

- Add 20(l of appropriate FITC or Rodamine -conjugated antibody onto the fixed cytospin slide.

iii.	Incubate in a humidified chamber at 36oC for 30 minutes.

iv.	Wash each slide 3 times with fresh PBS for 2 minutes each in a coplin jar.

v.	Wash with distilled water for 1 minute in a coplin jar.

vi.	Wipe excess water from the slide without touching the cytospin preparation.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/05/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

vii.	Mount using coverslip and mounting fluid.

- For HSV 1, HSV 2, VZ and CMV, read using fluorescence microscope with the FITC/Evans Blue filter and the 40x objective.

- For respiratory viruses, read using fluorescence microscope with the FITC/Evans Blue Rodamine bi-filter.

Interpretation of Results

Positive:	Bartel CMV monoclonal antibody:  Bright apple green fluorescence of cytoplasmic inclusion (late antigen) and homogenous early nuclear antigen in CMV-CPE cells.

Chemicon SimulFluor Respiratory Screen:

All respiratory viruses except RSV show bright apple green fluorescence of the cytoplasm and/or nucleus of the infected cell.

RSV shows bright gold fluorescence of the cytoplasm and/or nucleus of the infected cell.

Chemicon SimulFluor Flu A/Flu B:

Influenzae A virus shows bright apple green fluorescence.

Influenzae B virus shows bright gold fluorescence.

Chemicon SimulFluor RSV/Para 3:

RSV virus shows bright apple green fluorescence.

Parainfluenzae 3 shows bright gold fluorescence.

Chemicon SimulFluor Para 123/Adeno:

Parainfluenza 1,2,3 viruses show bright apple green fluorescence.

Adenovirus shows bright gold fluorescence.

Chemicon individual monoclonal antibodies:

Parainfluenzae 1 and 2, and adenovirus show bright apple green fluorescence.

Negative:	Red Cells with no apple-green fluorescence.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/05/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

IV.	Quality Control

Appropriate positive and negative control slides should be stained with each batch.

VI.	Reference

Isenberg, H.D., 1992, ASM.  Clinical Microbiology Procedures Handbook Vol. 2.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 1 of 8 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix VI Direct Antigen Detection From Specimens |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix VI

#### DIRECT ANTIGEN DETECTION FROM SPECIMENS

- Introduction

Immunofluorescent staining may be used to rapidly detect viral antigen directly in a clinical specimen.  Smears prepared at the patient's bedside may be used, or a smear may be prepared in the laboratory from cellular material in a specimen.  Specimens for which direct antigen detection may be requested include bronchoscopy or nasopharyngeal specimens for respiratory virus detection or vesicular lesion scraping for HSV/VZV antigen detection.  Cells are stained using pooled or specific monoclonal antibody stains and examined under the fluorescence microscope looking for specific fluorescence of cell cytoplasm or nucleus.

II.	Reagents and Materials

Virus-specific or pooled FITC and Rodamine conjugated antibody stains (with Evans blue counter stain):

Respiratory Viral Screen/RSV panel

FluA/B panel

RSV/para3 panel

Para1,2,3/Adeno panel

Specific Parainfluenza 1

Specific Parainfluenza 2

Herpes simplex 1

Herpes simplex 2

Herpes simplex bivalent

Varicella zoster virus

# Phosphate buffered saline (PBS)

Cold acetone (4oC)

Distilled water

FA mounting fluid

Vortex

Sterile pipettes

Cytospin and accessories

Humidified chamber

Coplin jars

Fuorescence microscope with FITC/Rodamine/Evans blue filters

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 2 of 8 |
| --- | --- | --- |
| Virology Manual |  |  |

## Procedure

A.	Preparation of slide

a)	For swabs:

- Vortex patient sample in transport medium for 30 seconds.

Remove excess fluid from the swab and discard the swab.

- Transfer 0.5 - l.0 ml of this specimen to a microcentrifuge tube.  Centrifuge 1 minute at 14,000 rpm.

- Remove supernatant (can be placed back with original specimen to be processed further) down to 400 ul (8 drops).  Vortex 5-10 seconds.

- Pipette 200 ul (4 drops) of this sediment into funnel for each well.  Prepare the appropriate number of cytospin wells according to table below.

- Cytospin at 2000 rpm (700g) for 5 minutes.

- Remove slide and air dry.

- Fix in cold acetone for 10 minutes in a coplin jar.

- Remove slide and air dry.

- Proceed to staining.  Refer to Appendix V (DFA) for staining procedures.

b)	For Bronchoscopy Specimens (BAL,Washings):

- Mix specimen gently and examine for cellular turbidity.  Specimens which are more turbid than a 0.5 McFarland standard are diluted to that approximate turbidity using Hank's Balanced Salt Solution (Gibco BRL).

- Pipette 200 ul  (4 drops) of specimen into funnel for each well.  			Prepare the appropriate number of cytospin wells according to 			table below.

- Cytospin 200 uL at 2000 rpm (700 x g) for 5 minutes. Prepare the 			appropriate number of cytospin preparations according to the table 			below.

- Remove slide and air dry.

- Fix in cold acetone 10 minutes in coplin jar.

- Remove and air dry.

- Proceed to staining.  Refer to Appendix V (DFA) for staining 			procedures.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 3 of 8 |
| --- | --- | --- |
| Virology Manual |  |  |

c)	For Smears Prepared Outside of the Laboratory

For smears which have been prepared outside of the laboratory, 					examine macroscopically for evidence of material on slide. 						Specimens for which only one slide is received may be stained 					with ONE monoclonal antibody only according to the physician's 					request.  It is not possible to stain a negative control for such 					specimens.  A swab for viral culture should be requested if not 					received along with the smear.

Draw a circle around material on slide with a diamond pencil prior 				to staining.

    - Fix in cold acetone 10 minutes in coplin jar.

    - Remove and air dry

    - Proceed to staining.  Refer to Appendix V (DFA) for staining 	procedures.

- Staining Protocol

Prepare appropriate number of cytospin wells and stain as per chart.  Refer to Appendix V (DFA) for staining procedures.

| Specimen | Monoclonal Antibody |  |
| --- | --- | --- |
| Nasopharyngeal/ Bronchoscopy/ Throat | Respiratory screen a (November to April) | SimulFluor, Light Diagnostics |
| (prepare 2 cytospin wells) | Flu A/ Flu B | SimulFluor, Light Diagnostics |
| Vesicular Lesion Swab | HSV-bivalent | Bartels |
| (prepare 2 cytospin wells) |  |  |
|  | VZV | Meridan Bioscience Inc. |

a If respiratory screen or Flu A/B is positive, prepare more cytospin preparations and stain according to interpretation chart that follows.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 4 of 8 |
| --- | --- | --- |
| Virology Manual |  |  |

SimulFluor Respiratory Screen Staining Protocol and Interpretations – Scheme 1

Using filter for FITC/Evans Blue (Filter no. 3 in fluorescence microscope no.2, Leica I)

First double-well cytospin slide

| Cell spot | SimulFluor Mab Panels | Scenario I | Scenario II | Scenario III | Scenario IV | Scenario V |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Flu A/FluB | Not green Not gold | Not green Not gold | Green | Gold | Not green Not gold |
| 2 | Resp Screen | Not green Not gold | Gold | Green | Green | Green |
|  | Interpretations: | Report: Negative | Report: RSV | Report: Flu A | Report: Flu B | Adeno;, Para 1,2 or 3 (Proceed to second slide |

Scenario V: Spot 1 (A/B) is negative and spot 2 (RS) is green, proceed

Second double-well cytospin slide

| Cell spot | SimulFluor Mab Panels | Scenario V-A | Scenario V-B | Scenario V-C |
| --- | --- | --- | --- | --- |
| 3 | Para1,2,3/Ad | Green | Gold | Green |
| 4 | RSV/Para3 | Gold | Not green Not gold | Not green or gold |
|  | Interpretations: | Report: Para 3 | Report: Adeno | Para1,2 ( Proceed to third slide |

Scenario V-C: Spot 1 (Para123/Ad) is green and spot 2 (RSV/P3) is negative, proceed

Third double cytospin slide

| Cell spot | Individual Mab | Scenario V | Scenario VI |
| --- | --- | --- | --- |
| 5 | Para 1 | Apple-Green | Not green |
| 6 | Para 2 | Not green | Apple-Green |
|  | Interpretations: | Report: Para 1 | Report: Para 2 |

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 5 of 8 |
| --- | --- | --- |
| Virology Manual |  |  |

SimulFluor Respiratory Screen Staining Protocol and Interpretations- Scheme 2

Using filter for FITC/Evans Blue (Filter no. 3 in fluorescence microscope no.2, Leica I)

| Cell spot | SimulFluor Mab Panels | Scenario I | Scenario II | Scenario III | Scenario IV |
| --- | --- | --- | --- | --- | --- |
| 1 | RSV/Para3 | Not green Not gold | Green | Gold | Not green Not gold |
| 2 | Resp Screen | Not green Not gold | Gold | Green | Green |
|  | Interpretations: | Report: Negative | Report: RSV | Report: Para 3 | Adeno; P1,2; FluA,B Proceed to second slide |

First double cytospin slide

Second double cytospin slide

| Cell spot | SimulFluor Mab Panels | Scenario IV-A | Scenario IV-B | Scenario IV-C | Scenario IV-D |
| --- | --- | --- | --- | --- | --- |
| 3 | Para 1,2.3/Ad | Not green Not gold | Not green Not gold | Gold | Green |
| 4 | FluA/FluB | Gold | Green | Not green Not gold | Not green Not gold |
|  | Interpretations: | Report:Flu B | Report: Flu A | Report: Adeno | Para 1,2 Proceed to third slide |

Third double cytospin slide:

| Cell spot | Individual Mab IFA | Scenario V | Scenario VI |
| --- | --- | --- | --- |
| 5 | Para 1 | Green | Not green |
| 6 | Para 2 | Not green | Green |
|  | Interpretations: | Report: Para 1 | Report: Para 2 |

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 6 of 8 |
| --- | --- | --- |
| Virology Manual |  |  |

III.	Interpretation of Results

Examine smear for adequate numbers and types of cells.  Respiratory specimens should consist of columnar (ciliated or goblet) epithelial cells.  Scrapings from lesions should contain basal epithelial cells.  (See reference 2, page 69). Adequate interpretation of results requires a minimum of approximately 20-50 cells per smear.  Samples with inadequate numbers of cells should be shown to a charge/senior technologist and reported as having insufficient cellular material.

Positive:		Specific, apple-green fluorescence in the cytoplasm and/or 	nucleus of the exfoliated cells.  This specific fluorescence 	must be absent in the negative control and/or smears 	stained with other antibodies.

Negative:	Dull-red stained cells with no viral specific apple-green fluorescence.

OR

Dull-red stained cells with pinpoint non-specific nuclear staining.

Insufficient cells:	Fewer than 20 epithelial cells per smear

IV.	Quality Control

Reagent QC:

a.	Check expiratory date.

b.	Verify that Reagent QC is satisfactory for the reagent lot/kit being used (recorded in Reagent Log and/or on the kit).

c.	If necessary, perform the Reagent QC procedure ( external QC slide with all components eg. Bion 14-well Respiratory Panel).

Failed Reagent QC:

Test is invalid without satisfactory Reagent QC results.

a.	Do not release reagent lot for use pending resolution of QC error.

b.	Inform charge/senior technologist.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 7 of 8 |
| --- | --- | --- |
| Virology Manual |  |  |

c.	Record in Reagent Log Chart, Instrument Maintenance Log if microscope/incubator is involved in the failure (and Incident Report if necessary).

d.	Re-run failed control materials in parallel to fresh controls to evaluate the QC material itself.

- If the re-run shows the old QC material still fails and fresh QC is satisfactory, the error may be attributed to the old QC material itself and the reagent is satisfactory.

- If the re-run shows both the old and fresh QC material fail (or other QC not satisfactory), the error may be attributed to the reagent then the reagent cannot be released for use.

Daily QC:

a.	Appropriate positive and negative control slides (eg. ATCC 4-well slide with RSV/Para3 for SimulF RS stain) should be stained with each batch.

b.	Examine the negative control well first to establish the dull red colour (Evans blue counterstained) and to determine if there is any nonspecific staining.

The positive control must be clearly distinguishable from the negative control or the test is invalid.

Failed Daily QC:

a.	Do not release patient results pending resolution of QC error.

b.	Inform charge/senior technologist.

c.	Record in Reagent Log Chart (and Instrument Maintenance Log if microscope/incubator is causing the failure).

d.	Re-run failed controls in parallel to fresh controls (and/or external QC) to evaluate the QC material itself.

e.	If the re-run shows the old QC material still fails and fresh QC passes and nothing else is wrong with the batch (only the old QC material failed, patient results valid) patient results may be released.

Marked decrease/absence in fluorescence can be due to:

        - Reagent deterioration/skipping (did not apply the correct stain)

        - Microscope (filter, bulb, alignment)

        - Other equipment, reagents or technique

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/06/v03 | Page 8 of 8 |
| --- | --- | --- |
| Virology Manual |  |  |

V.	Reporting

See individual specimen protocols.

VI.	Reference

1.	Wiedbrauk, D.L. 1993, Raven Press. Manual of Clinical Virology.

- Rossier, E., Miller, H., Phipps, P.  1989, University of Ottawa Press.  Rapid Viral

Diagnosis by Immunofluorescence:  An Atlas & Practical Guide.

- SimulFluor Product Insert for cat. no. 3296, June 2002, Revision C: 40729

Light Diagnostics Chemicon International Temecula, CA 92590

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/07/v03 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix VII Hemadsorption of Tube Culture Monolayers |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix VII

HEMADSORPTION OF TUBE CULTURE MONOLAYERS (NOT ROUTINELY DONE)

The hemadsorption (HAD) technique is used primarily to detect viruses that produce little or no cytopathic effect (CPE) in tube culture monolayers.  Using guinea pig RBC, it is used to screen inoculated cell cultures for the presence of influenza, parainfluenza, mumps and Newcastle disease viruses.

I.	Procedure

Reagents

guinea pig RBC in Alsever's solution

sterile phosphate buffered saline(PBS)

Materials

sterile pipettes

precision pipettes

inverted microscope

centrifuge

15 mL sterile centrifuge tube

Preparation of 10% stock guinea pig RBC suspension

The stock suspension should be prepared every Monday and stored at 4oC and used within 7 days of preparation.

1.	Transfer 5 mL of blood to 15 mL tube and add equal volume of PBS.

2.	Centrifuge at 3000 rpm (700 x g) for 5 minutes at room temperature.

3.	Discard the supernate and add 10 mL of PBS.

4.	Centrifuge and wash the cells until the supernatant is clear.  (approx. 2-3 washings).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/07/v03 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

5.	Determine the packed-cell volume and add PBS equal to 9 times the packed-cell volume to yield a 10% suspension.

Preparation of 0.4% working guinea pig RBC suspension

The working suspension should be prepared from 10% suspension on the day of testing.

1.	Add 0.4 mL of the 10% suspension to 9.6 mL of PBS.

HAD Test

The HAD test is performed on day 5 and day 10 for respiratory specimens with no evidence of CPE.

1.	Select one RMK tube to be used for HAD.  Transfer the medium in the tube to another sterile, labelled capped tube.  Place medium at 4oC pending HAD results.

2.	Add 0.2 mL of the 0.4% RBC suspension to each culture tube, to be tested.

3.	Incubate the tubes horizontally at 4oC for 30 minutes.  Make sure the RBC suspension is distributed over the monolayer.

4.	Gently rotate or tap the tubes to resuspend nonadsorbed cells.  Immediately examine the tubes with inverted microscope with the 40X objective.  Do not handle the tubes in such a way that the monolayers will become warm.

Interpretation of Results

1.	Positive HAD test should show RBCs firmly attached to the monolayer.  Hemagglutinated cells (clumped RBCs) are also seen in the fluid overlaying the monolayer.

2.	Negative HAD test should show no or minimal RBCs attached to the monolayers, with almost all cells floating above the monolayers.

II.  Quality Control

Positive and negative controls should be set up for HAD test prior to the expected "flu" season.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/07/v03 | Page 3 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

Positive HAD Test

1.	Place the tube in a 36oC water bath for 15 minutes.

2.	Wash the eluted monolayers twice with PBS.

3.	Perform indirect immunofluorescence test for influenzae and parainfluenzae viruses.  See Appendix III.

4.	The culture medium harvested prior to the HAD test may be used for subpassage, storage or identification by hemagglutination inhibition.

Negative HAD Test

1.	Discard tube that is HAD negative at 10 days after inoculation.

2.	Tube inoculated after 5 days should be washed 3 times with 5 mL Hank's Balanced Salt Solution to remove all RBCs.

3.	Refeed tubes with 2 mL of maintenance medium and reincubate the cultures for another 5 days.

4.	Discard the culture fluid harvested from negative cultures unless subpassage is to be performed.

V.	Reference

Isenberg, H.D. 1992.  Clinical Microbiology Procedures Handbook.  Vol. 2. ASM.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/08/v03 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix VIII Media |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix VIII

MEDIA

GROWTH MEDIUM (Not in routine use)

500 mL Eagles' MEM with Hanks' salt/without glutamine

10 mL	Vitamins

5 mL	L-glutamine (200 mM)

50 mL Inactivated fetal calf serum

Store at 4oC.  Stable for 2 weeks.

MAINTENANCE MEDIUM (Made in-house, not in routine use)

500 mL Eagles' MEM with Hanks' salt/without glutamine (stored at 4oC)

5 mL	L-glutamine (200 mM, stored frozen at -20 oC in clean room freezer)

10 mL	Inactivated fetal calf serum (stored frozen at -20 oC in clean room freezer)

5 mL	Fungizone (250 μg/mL, stored frozen at -20 oC in clean room freezer)

*5 mL	Gentamicin (1 mg/mL, stored frozen at -20 oC in clean room freezer)

**5 mL Vancomycin (10 mg/mL, stored frozen at -20 oC in clean room freezer)

Store at 4oC.  Stable for 2 weeks.

*	Gentamicin Solution (1 mg/mL):

Dilute entire contents (10 mL) of 10 mg/mL Gentamicin Sulphate vial into 90 mL of d. H2O to achieve 1 mg/mL.  Filter sterilize, then dispense into 5 mL aliquots (stored frozen at -20 oC in clean room freezer).

**	Vancomycin Solution (10 mg/mL):

Add contents of 1 gram vial of Vancomycin to 100 mL of distilled H2O.  Filter sterilize, then dispense into 5 mL aliquots (stored frozen at -20 oC in clean room freezer.

MAINTENANCE MEDIUM (Diagnostic Hybrids Inc., ready to use)

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/08/v03 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

Media Quality Control:

a.	A 1.5 mL aliquot each of the corresponding maintenance media is to be placed into each of MRC-5, R-Mix and E-Mix shell vials for a check on sterility/toxicity before the media are used on patient samples.

b.	MRC-5, R-Mix and E-Mix Maintenance Media are to be registered into the LIS (micqc) as “on receipt” with lot numbers and expiry dates.

c.	Maintenance Media QC results are all entered into the LIS daily (R-Mix for 2 days, MRC-5 for 4 days and E-Mix for 5 days).

d.	Activate and inactivate the media lots in the LIS as appropriate.

Failed Media QC:

a.	Any media/cell lines showing microbial contamination or toxicity is considered abnormal.

b.	Do not release media lot for use pending resolution of the QC failure.

c.	Inform charge/senior technologist to discuss further actions including the following.

d.	Record in Incident Report (if necessary).

e.	Repeat QC/re-make media to evaluate if it is the cell media, the supplement(s) or other materials causing the problem.

CELL WASHING MEDIUM  (Purchased)

Hanks' Balanced Salt solution without CaCL2, MgCL2 and MgSO4.7H2O

CELL FREEZING MEDIUM (SIGMA C6164) (Purchased)

MEM supplemented with a mixture of fetal bovine serum and calf serum containing DMSO.

VIRAL FREEZING MEDIUM (SIGMA C6039) (Purchased)

MEM supplemented with a mixture of fetal bovine serum and calf serum containing 10% glycerol.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/08/v03 | Page 3 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

TRANSPORT MEDIA:

BARTEL'S VIRAL TRANSPORT MEDIUM (B1029-36A) (Purchased)

Eagles' MEM with nonessential amino-acid and L-glutamine in HBSS.

2% FBS

10 μg/mL Gentamicin

50 μg/mL Streptomycin

50 μg/mL Penicillin

4 μg/mL Amphotericin B

15 mM HEPES

9.5 mM Sodium bicarbonate

CHLAMYDIA TRANSPORT MEDIUM (Not in routine use)

500 mL Eagles' MEM with Hank's salt/without glutamine.

50 mL Fetal Calf Serum (normal)

5 mL	3M Glucose

5 mL	Gentamicin (1000 μg/mL)

5 mL	Vancomycin (1000 μg/mL)

5 mL	Fungizone (250 μg/mL)

Combine all components aseptically.  Dispense 1.5 mL transport medium into sterile screw-cap vials containing 3 glass beads.  Store at -20oC.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/09/v03 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix IX Trypsinization & Maintenance of Monolayer Cell Cultures |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix IX

TRYPSINIZATION AND MAINTENANCE OF MONOLAYER CELL CULTURES

Monolayer cell cultures may be kept active and available for seeding of tubes, vials, dishes and plates.  A constant supply of cell cultures can be maintained by routine subpassage of cell lines to new flasks.  (Generally research use only.)

1.	Discard medium from the cell culture flask (125 cm2).  Rinse monolayer with 15 mL of Hank's Balanced Salt Solution and discard.

2.	Add 5 mL of trypsin EDTA mixture (pre-warmed to 36oC) to flask.

3.	Incubate the culture flask for 3 minutes (no more than 5 minutes) at 36oC.  Observe after 3 minutes to see whether the cell sheet is breaking loose from the flask surface.  Tap flask sharply against palm of hand to aid in loosening tissue.

4.	When tissue has loosened completely, add 15 mL of pre-warmed growth medium into the flask.

5.	Mix cells by drawing cells and fluid up and down in a pipette.

6.	Adjust the volume to 90 mL with growth medium.

7.	Aliquot 30 mL of suspended cell mixture into at least one new 125 cm2 culture flask.  Aliquot the remaining to shell vials at 1.5 mL each or tube culture (16 x 125 mm) at 2 mL each.

8.	Incubate the culture flasks, shell vials or tube cultures at 36oC.

9.	Observe daily for growth of cells (3 - 5 days) and for change in pH of medium.  If the medium becomes acidic or basic, replace it with fresh growth medium.

10.	Replace growth medium with maintenance medium when a confluent monolayer is obtained (usually after 2 - 3 days).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/09/v03 | Page 2 of 2 |
| --- | --- | --- |
| Virology Manual |  |  |

- Replace with fresh maintenance medium once a week.

Note:	Freeze first passage of cell culture whenever a new shipment is received.  (See 			Appendix VIII).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/10/v03 | Page 1 of 1 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix X Cryopreservation of Cell Cultures |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix X

CRYOPRESERVATION OF CELL CULTURES

Generally research use only:

1.	When a new bottle of cells to be frozen arrives, transfer 30 mL aliquots of cells into 125 cm2 flasks (about 3 flasks).

2.	Incubate at 36oC until a complete monolayer is obtained (approximately 4 - 5 days).

3.	Follow steps 1 - 5 in Appendix IX (Trypsinization and maintenance of monolayer cell cultures).

4.	Transfer the trypsinized monolayer to a sterile 15 mL centrifuge tube.

5.	Centrifuge at 2000 rpm (700 x g) for 10 minutes.

6.	Discard the supernate and resuspend the cells in 10 mL cell freezing medium.

7.	Distribute 1.0 mL volume into freezing vials labelled with cell line information.

8.	Place the vials into a "Mr. Frosty" freezing container and hold in -70oC freezer for 2 - 3 hours.

9.	Record in the computer Freezer Program details of the cell lines stored.  Use study "CEL".

10.	Transfer the vials to liquid nitrogen freezer.

Reference

Diagnostic Procedures for Viral, Rickettsial and Chlamydial Infection.  A.P.H.A. 1989.  Sixth Edition.  Pg. 72.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/11/v03 | Page 1 of 1 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XI Recovery of Cryopreserved Cells |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix XI

RECOVERY OF CRYOPRESERVED CELLS

Generally research use only:

1.	Obtain the frozen cells from liquid nitrogen storage and immediately place the vial in a 37oC water bath WITH A PROTECTIVE COVER. **  Allow to thaw for 2 minutes (no more than 3 minutes).

2.	Wipe the outside of the vial with 95% alcohol.

3.	Transfer the contents of the vial to a new 125 cm2 flask using a sterile transfer pipette.

4.	Gradually add 30 mL growth medium to the cells (slowly over 2 minutes) to dilute the cells.

5.	Incubate at 37oC and observe at 24 hours for cell adherence and growth.

6.	Discard old medium and refeed cells with 30 mL of growth medium at 24 hours to remove all traces of DMSO and reincubate the cells.

7.	Replace growth medium with maintenance medium when the monolayer is confluent (usually after 2-4 days).

8.	Replace maintenance medium with fresh maintenance medium once a week.

Reference

Isenberg, HD:  Clinical Microbiology Procedures Handbook.  American Society of Microbiology, 1992.  Pg. 8.20.7.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/12/v03 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XII Cryopreservation of Virus Isolates |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: |
|  | Annual Review Date: November 8, 2008 |

Appendix XII

CRYOPRESERVATION OF VIRUS ISOLATES

- Record in the computer Freezer Program details of the isolate stored.

a.	Select "A. Clinical Records".

b.	"Add new entries?":  enter "Yes".

c.	Enter lab number, ensure patient data is correct, enter date frozen, enter study (ie "VIR"), ensure specimen type is correct.

d.	Enter name of isolate to be frozen once.

e.	Note the freezer locations in which the frozen isolates are to be placed.

- Freezer "G" & "J" refer to Liquid Nitrogen freezers.

- Shelf no. refers to the canister number.

- Box no. refers to the cane number.  Each cane holds 5 freezer vials.

2.	Discard maintenance medium on monolayer to be frozen.

3.	Add 1.0 mL viral freezing medium (see Appendix VII) to positive cells.  Scrape monolayer and mix well with freezing medium.

4.	Distribute into freezing vial labelled with LIS label.

5.	Store the vial immediately in liquid nitrogen freezer in the location specified by the freezer program.

FREEZING CAP SPECIMENS AND ISOLATES:

1.	After planting CAP specimens, add 1 mL of viral freezing medium to the sample and transfer to a freezing vial.  Enter into the freezer program as described above using "VQC" for study.  Enter "CAPSAM" as isolate #1.

2.	Freeze one vial of CAP viral isolates after identification using steps 2 - 5 described above.  The frozen isolate will be isolate #2 and is entered using the code for the name of the virus.  (The original sample and frozen isolate may be on different canes, this is acceptable).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/12/v03 | Page 2 of 2 |
| --- | --- | --- |
| Virology Manual |  |  |

Reference

Laboratory Diagnosis of Infectious Diseases.  1988 Volume II.  Pg. 268.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/13/v02 | Page 1 of 1 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XIII Preservation of Cell Culture Monolayers |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: |
|  | Annual Review Date: November 8, 2008 |

Appendix XIII

PRESERVATION OF CELL CULTURE MONOLAYERS

- Aspirate the medium from the cell culture tubes to be preserved.

- Add 8 mL buffered formaldehyde preservative medium to each tube.

- Record the following information on the tube:

- virus

- number of days incubation

- lab number

- Store preserved culture at room temperature.

Formaldehyde Preservative

100 mL	Formaldehyde Solution (37 - 40%)

900 mL	Distilled Water

20 mL		Phenol Red (0.5%)

4.0 g		NaH2PO4 - H2O

6.5 g		Na2HPO4

Materials

Vortex

Sterile pipettes

10 - 100 uL Eppendorf pipette

Humidified chamber

Coplin jars

Fluorescent microscope

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/14/v03 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XIV Quality Control of Cell Cultures Used for Routine Virus Isolates |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix XIV

QUALITY CONTROL OF CELL CULTURES USED FOR ROUTINE VIRUS ISOLATES

Tube Culture (Not in routine use)

Upon receipt of cell culture tubes, the record of the date received, vendor, lot number, and passage number is kept in the QC binder for cell lines.  The monolayer is checked microscopically for sterility and appearance of an acceptable confluent monolayer.

A.	Uninoculated Negative Controls:

Reserve 4 tubes of each lot cells for use as controls and label as follows:

N1, date;

N2, date;

N3  date;

C,   date;

V,   date

a.	Negative Controls with refeed:	(3 tubes, N1; N2; N3)

Select one tube each on Wednesday Friday and Monday to set up along with inoculated specimens.  Incubate, observe and refeed these tubes in parallel with patient inoculated cultures to monitor monolayer quality, toxicity and sterility.  They can also be used to provide a baseline for comparison of inoculated cultures when reading for CPE and immunostaining.  CMK and HFF tubes are kept for 3 weeks, HEp-2 and RD for 2 weeks

b.	Unopened Negative Controls without refeed: 	(2 tubes, C; V)

These tubes are left unopened and observed to identify toxicity and contamination originating with the vendor.  All tubes, CMK, HEp-2 , HFF and RD tubes are kept for only one week.  One tube (C) is kept in the clean room and one (V) is placed on the Virology drum.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/14/v03 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

Record sterility and cell appearance for these tubes into the LIS Manual   (REGISTRATION OF TUBE CULTURE MEDIA)

B.	Positive Controls:

Each week scrape from an HFF tubes containing the following QC strains of HSV-1 HSV-2  and CMV to propagate the QC strains in the new lot of HFF tubes, Use CMK tubes for RSV and nfluenza A. Examine microscopically for CPE and record the results into the LIS as growth control. At the same time also inoculate MRC-5 and R-Mix shell vials to perform quality control for MRC-5 shell vials (see II. Shell Vial Cell Lines  (MRC-5 cell suspension below)

HSV-1 (ATCC VR-5539)

HSV-2 (ATCC VR-540)

CMV (ATCC VR-807)

RSV                (ATCC  VR-284)

Influenza A     (ATCC VR-544)

The MRC-5 shell vials are then stained with HSV-1, HSV-2 and CMV IEA monoclonal antibodies at 24 hours, R-Mix shell vials with RS.  Record the results into the LIS as shell vial growth control as well as stain controls.

Each month (and whenever necessary), remove from the liquid nitrogen storage, cryovials of above strains to propagate the QC strains in HFF tubes.

Additional positive controls may be set up with the following strains and for the following reasons:

Coxsackie B1 (ATCC  VR-28)

Parainflunza 3 (ATCC  )

Varicella-zoster (ATCC  VR-1367)

- Low isolation rates

- Comparison of cell lines

- Vendor changes

- Proficiency test failures

- Training purposes

- Consistent problems with negative controls

- Preparation of QC material (i.e. Positive control slides)

Consult a senior technologist to determine the cell lines and viruses to be set up.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/14/v03 | Page 3 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

II.	Shell Vial Cell Line (Suspension seeding is not in routine use)

Upon receipt of a shipment of cells, initial and date the record sheet accompanying the shipment. The record should contain vendor, lot number, passage number and QC data.  File in the QC binder for cell lines.

Before seeding the shell vials, aspirate about 30 mL of MRC-5 cell suspension into a 125 cm2 tissue culture flask, label on the side of flask with “MRC-5, date and ‘Pre’”.

After seeding shell vials, aspirate about 30 mL of MRC-5 cell suspension into another 125 cm2 tissue culture flask, label on the side of flask with “MRC-5, date and ‘Post’”.

Reserve 6 shell vials for use as negative and positive controls as follows:

A.	Negative Controls for this week, also become Positive Old Lot for following week (3 Vials)

These are incubated at 36oC and observed daily for one week or more to identify toxicity and contamination originating with the vendor.  Results are recorded on the QC chart.

Three shell vials are reserved to QC the next shipment in parallel after the cells are added.

B.	Positive Controls (3 Vials)

Each week, usually 2-3 days after seeding the shell vials, HFF tubes containing HSV-1 (ATCC VR-5539), HSV-2 (ATCC VR-540) and CMV (ATCC VR-807) are scraped from and used to inoculate 6 MRC-5 shell vials, 3 from the current lot and 3 from the previous lot (the  same 3 vials were used as Negative Controls for a week).  The shell vials are then stained with HSV-1, HSV-2 and CMV IEA monoclonal antibodies after 1 day incubation.  Record the results into the LIS daily QC under the following codes:

a.	VHSV1D  HSV1 daily SLIDE SV QC

b.	VHSV1D  HSV1 daily SLIDE SV QC

c.	VCMV-D  CMV-IE daily SLIDE SV QC

d.	VQCSV   Shell Vial MRC-5 Quality Control

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/15/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XV Virus Isolation and Identification of Characteristics |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: |
|  | Annual Review Date: November 8, 2008 |

Appendix XV

| VIRUS ISOLATION AND IDENTIFICATION CHARACTERISTICS |
| --- |
| Virus | Minimum Cell Lines(s) Required | Method of Detection | Approx. Time to Detection | Typical CPE Appearance | Typical IF Appearance |
| Adenovirus | HEp-2 x 1 2 weeks | - CPE - Adenovirus DFA Mab | 1 - 2 weeks | - rounding, enlarging, clustering, granular - acid media | -nuclear and/or cytoplasmic -may see extracellular fluorescence |
|  | CMK x 1, 5 days CMK x 1, 10 days | -respiratory screen IFA plus specific Mab | 5 - 10 days | -poor development of CPE | " |
| Enterovirus |
| Polio | CMK x 1, 2 weeks | -CPE -Poliovirus IFA Mab | 1 - 3 days | -small, rounded cells, floating | IFA: Nuclear and/or cytoplasmic |
|  | HHF x 1, 2 weeks | " | " | " | " |
|  | HEp-2 x 1, 2 weeks | " | " | " | " |
| Coxsackie A | CMK x 1, 2 weeks | +/- CPE difficult to grow | 1 - 7 days | -some strains produce CPE, some do not | " |
|  | HHF x 1 2 weeks | +/- CPE | 1 - 7 days | " | " |
|  | HEp-2 x 1, 2 weeks | No CPE seen | -- | -- | -- |
|  | Suckling mouse | Signs of illness | 3 - 5 days | -required for some types of coxsackie A | -- |

IF = Immunofluorescence; SV = Shell Vial; CPE = Cytopathic Effect; IFA = Indirect Fluorecent Antibody; DFA = Direct Fluorescent Antibody

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/15/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Appendix XV (Cont'd)

| VIRUS ISOLATION AND IDENTIFICATION CHARACTERISTICS |
| --- |
| Virus | Minimum Cell Lines(s) Required | Method of Detection | Approx. Time to Detection | Typical CPE Appearance | Typical IF Appearance |
| Coxsackie B | CMK x 1 2 weeks | -CPE -Coxsackie B IFA Mab | 4 - 7 days | -teardrop shape | IFA: Nuclear and/or cytoplasmic |
|  | HHF x 1 2 weeks | (+/- CPE) | " | -teardrop shape | " |
|  | Hep 2 x 1, 2 weeks | " | " | -teardrop shape | " |
| Echovirus | CMK x 1 2 weeks | -CPE -Echovirus IFA Mab | 1 - 7 days | -teardrop, rounding | IFA: Nuclear and/or cytoplasmic |
|  | HHF x 1, 2 weeks | " | " | " | " |
|  | Hep-2 x 1, 2 weeks | No CPE | -- | -- | -- |
| Herpesvirus Family |
| Herpes Simplex | HHF x 1 7 days | -CPE -HSV - 1 and 2 DFA Mab | -usually 24-72 hrs. -sometimes longer | -swelling, rounding, refractile | -nuclear & cytoplasmic staining |
|  | MRC-5 (SV) x 2 | -HSV-1 and 2 DFA Mab on coverslip | 24 hours | -may or may not see CPE | -pale yellow-green staining of cells and periphery |
| Cytomegalo-virus | HHF x1 3 weeks | -CPE -CMV DFA Mab | 1-3 weeks | -small round or elongated foci -spreads slowly -rarely involves entire monolayer | -Early: nuclear -Late: nuclear and cytoplamic |
|  | MRC-5 (SV)x2 24-48 hours | -CMV IEA IFA Mab on coverslip | 24-48 hours | None | -pale matte green nuclear fluorescence inclusion |

IF = Immunofluorescence; SV = Shell Vial; CPE = Cytopathic Effect; IFA = Indirect Fluorecent Antibody; DFA = Direct Fluorescent Antibody

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/15/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Appendix XV (Cont'd)

| VIRUS ISOLATION AND IDENTIFICATION CHARACTERISTICS |
| --- |
| Virus | Minimum Cell Lines(s) Required | Method of Detection | Approx. Time to Detection | Typical CPE Appearance | Typical IF Appearance |
| Varicella Zoster | HHF x 2 weeks | -CPE -VZV DFA Mab | 5 days - 3 weeks | -Small foci -Slow -Rounded | -nuclear and cytoplasmic |
|  | MRC-5 (SV) x1 48 hours | -VZV DFA Mab on coverslip | 48 hours | -CPE rarely produced by 48 hours | -nuclear and cytplasmic -Direct Smear: cydtplasmic "halo" appearance |
| Human Herpes-6 | Isolation Not Done |  |  |  |  |
| Influenza A/B | CMK x 1, 5 days CMK x1, 10 days | IFA: Resp. screen and specific Mab | 5 - 10 days | -CPE may not be present -cells may appear toxic or -granular, vaculoated | -nuclear and cytoplasmic |
| Measles | Send to PHL CMK x 1, 2 weeks | CPE | 5 - 10 days | -syncytia -giant cells with ring of nuclei -intranuclear inclusions | -cytoplasmic |
| Mumps | Send to PHL CMK x 1, 2 weeks | Hemadsorp-tion | 6 - 8 days | -CPE production not predictable -may see synctyia, cell degeneration | -cytoplamsmic |
| Norwalk | Send Stool to PHL | EM | --- | --- | --- |
| Para-influenza 1,2,3 | CMK x 1, 5 days CMK x 1, 10 days | IFA: Resp. screen & specific Mab | 5 - 10 days | - little or none | -cytoplasmic |
| Parvovirus B19 | -serum for antibodies send to PHL -fluid/tissue for PCR, Virology Research Lab | --- | --- | --- | --- |

IF = Immunofluorescence; SV = Shell Vial; CPE = Cytopathic Effect; IFA = Indirect Fluorecent Antibody; DFA = Direct Fluorescent Antibody

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/15/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

| VIRUS ISOLATION AND IDENTIFICATION CHARACTERISTICS |
| --- |
| Virus | Minimum Cell Lines(s) Required | Method of Detection | Approx. Time to Detection | Typical CPE Appearance | Typical IF Appearance |
| Rhinovirus | Not Done Send to PHL | --- | --- | --- | --- |
| Rotavirus | Send Stool to PHL | EM | --- | --- | --- |
| RSV | HEp-2 x 1 2 weeks | CPE RSV DFA Mab | 2 - 7 days | -syncytia (Multi-nucleated fused cells) | -cytoplasmic -dense cytoplasmic inclusions |
| Rubella | Send to PHL Isolation rarely done | (Interference) | --- | --- | --- |

IF = Immunofluorescence; SV = Shell Vial; CPE = Cytopathic Effect; IFA = Indirect Fluorecent Antibody; DFA = Direct Fluorescent Antibody

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/16/v06 | Page 1 of 3 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XVI Weekly Work Schedule |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: November 8, 2008 |
|  | Annual Review Date: November 8, 2008 |

Appendix XVI

WEEKLY WORK SCHEDULE

- Specimen Management Bench - Monday to Friday :

- Accessioning and processing all Virology specimens.

- For PCR testing: mix well and transfer CSF/ EDTA blood / Amniotic fluid to Blue-topped vial (e.g. HSV, EBV, CMV, Parvovirus B19, Polyomavirus, Enterovirus.)

- Preparing and staining of Direct Smears, PCP slides.

- Send out stool or Urine for EM.

- Shell Vial Bench – Monday to Friday :

a) 	Staining and reading of all shell vials.

- Reading of all Direct Smears and PCP slides.

- Read Super E-mix Shell vials daily.

- Enter all shell vial related (e.g. new reagent lots, daily staining, weekly viral propagation and MRC-5 growth) QC results either in LIS and/or Data Sheet.

- Tabulate and fax weekly viral isolates data (on/after Friday).

- Maintain stocks of viral isolates as well as preparation of QC slide.

- CMV Antigenemia Bench :

- Monday to Friday:  Record temperatures and humidity on freezers, fridges and room every morning.

- Monday to Friday: Process, stain and read all CMV antigenemia specimens.

- Perform RPR on Wednesday to Friday.

- Perform VZ Ab testing using VIDAS.

- Perform Monospot daily.

- Molecular Bench:

a)   Perform Tagman HCV RNA PCR using Ampliprep when there

are enough of specimens for  a full run.

- Perform Tagman HBV DNA Assay using Ampliprep when there are     enough specimens for a full run.

- Assist PCR bench with Chlamydia/GC testing.

d)   Perform molecular bench inventories.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/16/v06 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

- AXSYM Bench:

a)   Perform all stat Hepatitis markers, HIV1&2, CMV IgG and Rubella

IgG and HIV assays and QC’s using AxSYM.

b)   Perform weekly maintenance on Thursday or Friday.

c)   Perform monthly maintenance at beginning of each month.

- Perform RPR (syphilis) on Monday and Tuesday.

- Do inventory on Wednesday/Thursday.

- Eye Bank bench:   Using NEXGEN:

- Perform Eye Bank -BioRad EIA HBsAg &HIV and Ortho EIA  HBcAb & HCV Ab daily.

- Perform C. difficile Toxin A/B testing daily.

- Perform EBV VCA IgG once a week.

- PCR Bench :

a)    Perform Chlamydia/GC using ProbTec.

b)   Perform WNV RT-PCR for TGLN and CSF specimens; freeze samples and enter into LIS store.

- Perform RNA and DNA extractions from CSF/whole blood.

- Perform HSV PCR Tuesday and Friday.

- Perform EBV PCR,CMV PCR and Parvo B19 PCR once a week.

- Perform Enterovirus PCR when received.

- P-Lab Bench :

- Perform Ortho HTLV 1&2 Ab

- Perform Immucor CMV Ab

- Perform WNV IgM Ab

- Freeze all transplant patients sera in freezer program under ‘Donor’, Inception Biosciences sera under ‘CTSCP’ and Cord Blood of Canada sera under ‘CBB’.

- Evening Technologist:

a)   Perform stat TGLN / stat recipient assays if requested.

- Perform WNV IgM assay

- Perform AxSYM assays, QC’s and maintenance

- Process time-sensitive specimens (eg.molecular tests).

- Night Technologist:

- Perform stat TGLN / stat recipient assays if requested.

- Continue WNV IgM assay if set up late.

- Perform AxSYM assays, QC’s and maintenance.

- Process time-sensitive specimens (eg.molecular tests).

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/16/v06 | Page 2 of 3 |
| --- | --- | --- |
| Virology Manual |  |  |

- Technician 1- Monday to Friday :

- Disinfect, check centrifuges and document on sheet.

- Spin and accession all Serology specimens.

- Send out all PHL specimens and printing out manifest.

- Process Viral load specimens.

- Document pressure reading in LIS for Serology Accession Hood.

- Technician 2- Monday to Friday :

- Disinfect, check centrifuges and document on sheet if not yet done by Technician 1.

- Process Viral load specimens.

- Enter patients’ demographic in Viral Load program.

- Spin, accession and freeze sera for HBV DNA and HCV RNA.

- Help technician 2 to spin and accession all serology specimens.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/17/v03 | Page 1 of 1 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XVII Virology Training Guide |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: |
|  | Annual Review Date: November 8, 2008 |

Appendix XVII

VIROLOGY TRAINING GUIDE (optional)

| WEEK | ACTIVITY | MATERIALS |
| --- | --- | --- |
| 1 | SHELL VIAL UNKNOWNS | CMV / HHF HSV / HHF |
| 1 - 2 | TUBE CULTURE UNKNOWNS | CMV / HHF HSV / HHF ECHOVIRUS / HHF, RMK, HEP-2 COXSACKIE B / HHF, RMK, HEP-2 ADENOVIRUS / HFF, RMK, HEP-2 *INFLUENZA A / HHF, RMK, HEP-2 *PARAINFLUENZA 3 / HHF, RMK, HEP-2 *RSV / HHF, RMK, HEP-2 |
| START 1ST WEEK | SPECIMEN PLANTING | PATIENT SAMPLES |
| START 2ND WEEK | SHELL VIAL STAINING | PATIENT SAMPLES |
| START 3RD WEEK | TUBE CULTURE READING | PATIENT SAMPLES |
| 1 - 8 | READ LAP - 1, 2, 3 | CACMILE SELF-STUDY VIROLOGY COURSE |
| 8 (END OF ROTATION) | WRITTEN EXCERCISES / SELF-EXAM | CACMILE SELF-STUDY VIROLOGY COURSE |

*November to April training periods only.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/18/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XVIII Quality Control of Monoclonal Antibodies |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix XVIII

QUALITY CONTROL OF MONOCLONAL ANTIBODIES

| Monoclonal Antibodies | Method | Expected Use |
| --- | --- | --- |
| Respiratory Viral Screen/RSV panel FluA/B panel RSV/para3 panel Para123/Adeno panel Specific Parainfluenza 1 Specific Parainfluenza 2 | SimulFluor DFA SimulFluor DFA SimulFluor DFA SimulFluor DFA DFA DFA | R-Mix Shell Vials / direct specimen |
| Coxsackie A9 Coxsackie B Echovirus Poliovirus Enterovirus 70 / 71 Mumps (not in routine use) | IFA | E-Mix /MRC-5 Shell Vials |
| CMV pp65 CMV Immediate Early | IFA IFA | Direct polymorph, leukocytes MRC-5 Shell Vial |
| Specific Herpes simplex 1 Specific Herpes simplex 2 Specific Varicella zoster virus CMV early & late Herpes simplex bivalent | DFA | MRC-5 Shell Vial /direct specimen MRC-5 Shell Vial /direct specimen MRC-5 Shell Vial /direct specimen MRC-5 Shell Vial MRC-5 Shell Vial /direct specimen |

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/18/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Appendix XVIII (Cont'd)

QUALITY CONTROL OF MONOCLONAL ANTIBODIES

Reagent quality controls:

These must be perform prior to patient testing to ensure each component of the reagent performs as expected.

a.	Check expiratory date then perform DFA, SimulFlour DFA or IFA accordingly.

b.	External QC slides (different manufacturer, unless not available) of the same batch are used to test both current and the new reagents in parallel

c.	 Results must fall within range of expected results before reagents are released for use (eg. all 7 viruses must be positive and negative wells are negative for the Bion 14-well Respiratory Panel).

d.	Record reagent expiry date and QC results in Reagent Log and/or LIS.

e.	Report abnormal QC results to Charge/Senior technologist.

Expected reagent QC results:

| External (commercial) QC slide | Current Reagent | New Reagent |
| --- | --- | --- |
| Positive well (for each virus) | + | + (no weaker than current reagent) |
| Negative well | - | - |

Failed reagent QC results:

i.	Inform charge/senior technologist to investigate cause of failed QC.

ii.	Record in Reagent Log Chart. (Instrument Maintenance Log if microscope/incubator is involved in the failure and Incident Report if necessary).

iii.	May need to re-run failed control materials in parallel to fresh controls to evaluate the QC material itself.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/18/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

iv.	If the re-run shows the old QC material still fails and fresh QC is satisfactory, the error may be attributed to the old QC material itself and the reagent is satisfactory.

v.	If the re-run shows both the old and fresh QC material fail (or other QC not satisfactory), the error may be attributed to the reagent then the reagent cannot be released for use.  Supplier of the reagent should be contacted and the appropriate incident report should be filled.

Daily QCs:

These are performed within each batch of patient samples to monitor assay performance and techniques within the batch.

a.	Check reagent expiratory date and verify that Reagent QC is satisfactory for the reagent lot/kit being used.

b.	Appropriate positive and negative control slides (eg. ATCC 4-well slide with RSV/Para3 for SimulF RS stain) should be stained with each batch. These slides should be placed in various random positions within the batch.

c.	Examine the negative control well first to establish the dull red colour (Evans blue counterstained) and to determine if there is any nonspecific staining.

The positive control must be clearly distinguishable from the negative control or the test is invalid.

d.	Record QC results in LIS and/or wosksheet.

Failed Daily QC:

i.	Do not release patient results pending resolution of QC error.

ii.	Inform charge/senior technologist.

iii.	Record in Reagent Log Chart (and Instrument Maintenance Log if microscope/incubator is involved in the failure).

iv.	Re-run failed controls in parallel to fresh controls (and/or external QC) to evaluate the QC material itself.

v.	If the re-run shows the old QC material still fails, fresh QC passes and nothing else is wrong with the batch (only the old QC material failed, patient results valid) patient results may be released.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/18/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Marked decrease/absence in fluorescence can be due to:

a.	Reagent deterioration/skipping (did not apply primary/secondary stain)

b.	Microscope (filter, bulb, alignment)

c.	Other equipment, reagents or technique

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/19/v03 | Page 1 of 4 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XIX Pneumocystis Carinii DFA Test |
| Issued by: LABORATORY MANAGER | Original Date: March 14, 2001 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix XIX

PNEUMOCYSTIS CARINII DFA TEST

I.	Introduction

The Merifluor-Pneumocystis DFA test is an in vitro test for the direct detection of Pneumocystis carini cysts and trophozoites in bronchoalveolar lavage (BAL), bronchial wash (BW); sputum or biopsy specimen.

II.	Collection and Transport

BAL, wash and sputum should be collected using standard procedures.  Biopsy specimens e.g. transbronchial, open lung or others must not be fixed and are transported to the lab on a saline moistened piece of gauze in a sterile container.  Tissue should not be allowed to dry or become immersed in saline.  All specimens should be transported as soon as possible to the laboratory.  PCP testing can be done on the day after receipt except specimens received Friday or the day before a holiday must be stained and read that day.

III.	Procedure

Reagents

FITC- P. carinii conjugate

Control slides

Distilled water

FA mounting fluid

Sputolysin: diluted 1:10 (i.e. 300 Ul sputolysin 3.0 mL distilled water)

Materials

Vortex

Sterile pipettes

10 - 100 uL Eppendorf pipette

Humidified chamber

Coplin jars

Fluorescent microscope

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/19/v03 | Page 2 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

Preparation of Slides

BAL and BW:

- Centrifuge the BAL or BW for 10 minutes at 1800 x g.

- Remove and discard all but 0.5 mL of the supernatant.  Thoroughly resuspend the pellet in the remaining 0.5 mL of fluid.

- Make a thin smear twice the size of a cytospin spot and allow to air dry.

- Fix in acetone for 5 minutes in a coplin jar, then air dry.

- Slide must be stained within 8 hours or freeze at -200C.

Sputum .. See Sputolysin Procedures AppXXII

- Combine equal volumes (3 mL each) of sputum and diluted sputolysin.  Vortex mixture.

- Incubate for 3 minutes at 350C.

- Vortex the mixture briefly and add an equal volume of PBS and entrifuge at 1300 x g for 5 minutes.

- Remove the supernatant, leaving 0.5 mL to resuspend the pellet.

- Make a smear twice the size of a cytospin spot.  Allow to air dry.

- Fix in acetone for 5 minutes in a coplin jar, then air dry.

- Slide must be stained within 8 hours or freeze at -200C.

Biopsy Specimen

- Prepare a freshly cut surface on a fragment of tissue.

- Touch the cut surface to a FA slide.  Make several non-overlapping imprints within the well, avoiding smearing using several cuts.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/19/v03 | Page 3 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- While imprints are still moist on the slide, fix by adding 1 - 2 drops of acetone and allow to air dry.

- Slide must be stained within 8 hours or freeze at -200C.

Staining - DFA

- Cover the smear with 30 uL of P. carinii FITC-conjugate antibody.

- Incubate in a humidified chamber for 30 minutes at 360C.

- Wash slide twice with distilled water for 2 minutes in a coplin jar.

- Allow the slide to dry.

- Mount using coverslip and mounting fluid.

- Read with fluorescence microscope with the FITC / Evans Blue filter and 40x objective.

Interpretation of Results

POSITIVE:	Any specimen which contains two typical cysts exhibiting apple-green fluorescence of characteristic morphology.  Generally cysts, 5 - 8 um diameter, are found together with trophozoites in clusters.  Clusters can be variable in size and may appear with or without "honeycomb" like structure.  Some cysts fluoresce evenly throughout their structure whereas other cysts may fluoresce mainly on their periphery and produce a "honeycomb" appearance within the clusters.

NEGATIVE:	Red fluorescence without any characteristic apple-green fluorescence as described above.

- Reporting

POSITIVE:	"Pneumocystis jiroveci (previously known as P. carinii) positive by immunofluorescence".

NEGATIVE:	"Pneumocystis (previously known as P. carinii) negative by immunofluorescence".

Telephone all positive results and document.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/19/v03 | Page 4 of 4 |
| --- | --- | --- |
| Virology Manual |  |  |

- Quality Controls

Positive and negative control slides should be stained each time the staining procedure is performed.  Refer to a senior technologist if controls do not work or for any other problems with staining, reading or reporting results.

External QC (slides from a source other than the reagent supplier or the daily QC) should be done on new reagent lots and if the batch (daily) QC fails.

Check Calcoflour stain result in the LIS for concordance and notify the Mycology section as well as Senior/Charge if their result is different. Appropriate actions should be taken to reconcile the difference.

- Reference

- Merifluor Pneumocystis, Meridian Diagnostics, Inc. 3471 River Hills Drive, Cincinnati, Ohio, 45244.  Tel. 513-271-3700.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/20/v03 | Page 1 of 2 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XX Cytospin Preparation |
| Issued by: LABORATORY MANAGER | Original Date: June 25, 2002 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix XX

CYTOSPIN PREPARATION

- Introduction

A cytospin preparation is a concentration of cells taken directly from specimens or from scraped cell cultures.

- Reagents and Materials

Virus-specific or pooled antibody

# Phosphate buffered saline (PBS)

Cold acetone (4oC)

Distilled water

Mounting fluid

Non-immune antibody

vortex

sterile pipettes

cytospin and accessories

humidified chamber

coplin jars

fluorescence microscope

- Procedure

1.	Shell Vial

i.	Remove all except 1 ml maintenance media from shell vial using a sterile 			pipette.

- Scrape cells from top of coverslip using a sterile pipette.  Break up cell clumps by pipetting the cells up and down several times.

- Pipette 200 ul (4 drops) of scraped cells into funnel for each well.

- Cytospin at 2000 rpm (700g) for 5 minutes.

- Remove slide and air dry.

- Fix in cold acetone for 10 minuets in a coplin jar.  Remove slide and air dry.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/20/v03 | Page 2 of 2 |
| --- | --- | --- |
| Virology Manual |  |  |

- Proceed to staining.  Refer to Appendix IV for Indirect fluorescent antibody staining techniques or Appendix V for Direct fluorescent antibody staining techniques.

or

Refer to Appendices IV and V for immunofluorescent staining techniques 				for shell vials.

- Tube culture (or Shell Vials for CPE)

i.	Remove all except 1 ml maintenance media from the culture tube using a 	sterile pipette.

ii.	Scrape cells from side of tube using a sterile pipette.  Break up cell clumps 	by pipetting the cells up and down several times.

iii.	Pipette 200 ul (4 drops) of scraped cells into funnel for each well.

iv.	Cytospin at 2000 rpm (700 x g) for 5 minutes.

v.	Remove slide and air dry.

vi.	Fix in cold acetone for 10 minutes in a coplin jar.  Remove slide and air 	dry.

vii.	Proceed to staining.  Refer to Appendix IV for Indirect fluorescent 	antibody stains or Appendix V for Direct fluorescent antibody stains.

or

Refer to Appendices IV and V for immunofluorescent staining techniques 				for shell vials.

3.	Direct from specimen

- Reference

Thermo Shandon, cytospin.  Manufacturer's manual.  Refer to Appendix VI for procedure.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/21/v03 | Page 1 of 1 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XXI Specimens, Cell Lines and Stain |
| Issued by: LABORATORY MANAGER | Original Date: October 28, 2003 |
| Approved by: Laboratory Director | Revision Date: Nov 12, 2008 |
|  | Annual Review Date: November 8, 2008 |

Appendix XXI – Specimens, Cell Lines and Stain Table

| Source | Direct | S/V | S/V Stain | comment |
| --- | --- | --- | --- | --- |
| Amniotic fluid | CMV & Parvo B 19 PCR if requested. | SVEM5 MRC5 |  | For CPE: no stain Read for 5 days |
|  |  | MRC-5 48 hr | CMV |  |
| Auger suction | DFA* | MRC-5 48 hr | CMV |  |
|  |  | R-Mix1 | RS |  |
| BAL(CMV) only-Tx |  | MRC-5 48 hr | CMV |  |
| Throat/mouth/oral washing from PMH |  | MRC-5 24 hr | HSV-1 |  |
|  |  | MRC-5 24 hr | HSV-2 |  |
| BAL/ Throat swab/Sputum/lung aspirate | DFA during Flu season only,otherwise only if requested | MRC-5 48 hr |  |  |
|  |  | R-Mix1 | RS |  |
| Nasopharyngeal/ Nasal swab (Respiratory viruses) | DFA during Flu season only,otherwise only if requested | R-Mix1 | RS |  |
| Blood( CMV Antigenemia Assay) | CMV pp-65 |  |  |  |
| CSF | HSV PCR CMV SV (if requested, do PCR) Enterovirus, WNV PCR if requested and approved | SVEM5 MRC5 |  | For CPE: no stain Read for 5 days |
|  |  | MRC-5 48 hr | CMV |  |
| Genital swab for HSV | DFA only if requested | MRC-5 24 hr | HSV-1 |  |
|  |  | MRC-5 24 hr | HSV-2 |  |
| Lesion swab/fluid Vesicle swab/fluid For VZV or Unknown | DFA | MRC-5 24 hr | HSV-1 |  |
|  |  | MRC-5 24 hr | HSV-2 |  |
|  |  | MRC-5 48h | VZV |  |
| Ocular | DFA if requested | MRC-5 24 hr | HSV-1 |  |
|  |  | MRC-5 24 hr MRC-5 48h | HSV-2 VZV | Incubate for 4 days |
|  |  | R-Mix2 | P123/Ad2 |  |
| Stool/Rectal swab | Send to PHL for EM | MRC-5 48 hr | CMV | if enteroviruses req'd, |
|  | (Rotavirus,Novovirus- | if CMV req'd |  |  |
|  | Norwalk,Calicivirus) |  |  |  |
| Tissue,Biopsy, Lung, Liver, Kidney, fetal & others |  | MRC-5 48 hr | CMV |  |
|  |  | SVEM5 |  | For CPE: no stain Read for 5 days |
| Brain | HSV,CMV,VZ ,WNV, PCR if requested and approved |  |  |  |
| Sterile fluids |  | MRC-5 48 hr | CMV |  |
|  |  | SVEM5 |  | For CPE: no stain Read for 5 days |
| Urine |  | MRC-5 48 hr | CMV |  |
| Blood (EDTA,lavender) | EBV PCR (MSH) |  |  |  |
|  | Parvo PCR(MSH) |  |  |  |

* DFA= SimulFluor DFA ,Flu season is from the 1st of November to the end of April. Do DFA for Baby’s Auger Suction/Nasopharyngeal Swab year round.

** RD  June to Nov.

Treat sputum with sputolysin if is purulent. Working solution: 1 ml of conc.+ 10 ml of DH2O ,only stable for 48 hours at 2-80C.

1  Use 6 drops of untreated specimen.

2 Use Simulfluor Para1,2,3/Adeno,report as ‘Negative or Positive for Adenovirus’.

| UHN/MSH Microbiology Department Policy & Procedure Manual | Policy # MI/VIR/16/22/v02 | Page 1 of 1 |
| --- | --- | --- |
| Section: Virology Manual | Subject Title: Appendix XXII - Sputolysin Procedure |
| Issued by: LABORATORY MANAGER | Original Date: October 28, 2003 |
| Approved by: Laboratory Director | Revision Date: May 20, 2005 |
|  | Annual Review Date: November 8, 2008 |

Appendix XXII

SPUTOLYSIN PROCEDURE

Sputolysin Reagent is a concentrate of dithiothreitol (DTT)  in phosphate buffer used in the isolation of pathogens from mucoid sputum , BAL and other fluids.

Materials

a.	Sputolysin Reagent  (Cat. No. 560000, CALBIOCHEM) - dilute a 10 mL vial to 100 mL 	with sterile dH2O.  Stable for up to 48 hr. at 2 – 8oC.

b.	Microcentrifuge tubes

c.	Microcentrifuge

d.	Vortex mixer

Procedures

Sputum / mucoid BAL for PCP

a.	Adjust specimen s to approximately 0.5 McFarland standard with Hank’s Buffered Saline 	Solution (HBSS) or maintenance medium.

b.	Suspend specimen (approximately 1 mL) with an equal volume of Sputolysin in a 	microcentrifuge tube by vortexing for 30 seconds.

b.	Incubate at room temperature for 15 minutes.

c.	Centrifuge at 5000 rpm for 5 minutes and remove supenate.

d.	Make a thick and a thin smear on the 2 wells of a PCP slide.

Reference

CALBIOCHEM Product Insert, revised 21 Jan 2000 (http://www.calbiochem.com)

Record of Edited Revisions

Manual Section Name: Virology

| Page Number / Item | Date of Revision | Signature of Approval |
| --- | --- | --- |
| Annual Review | May 12, 2003 | Dr. T. Mazzulli |
| Pg. 4 Paragraph entered to end of Introduction | October 10, 2003 | Dr. T Mazzulli |
| BMT-CMV Antigenemia section -vi Antibody-added sentence | October 10, 2003 | Dr. T Mazzulli |
| Appendix I - Reagent Quality Control - added Paragraph | January 13, 2004 | Dr. T Mazzulli |
| Appendix II - Staining of Shell Vials (ii) added sentence | January 13, 2004 | Dr. T Mazzulli |
| Appendix II - 'D' Reagents added "Failed QC's" | January 13, 2004 | Dr. T Mazzulli |
| Appendix XIX - Preparation of Slides (Sputum) | January 13, 2004 | Dr. T Mazzulli |
| Appendix XXII - Added Sputolysin | January 13, 2004 | Dr. T Mazzulli |
| Annual Review | January 13, 2004 | Dr. T. Mazzulli |
| P6, B. Table-added HHV 6, 7 | May 20, 2005 | Dr. T Mazzulli |
| P7, Added C. Table and notes at the end of page | May 20, 2005 | Dr. T Mazzulli |
| P9, added 1st two lines | May 20, 2005 | Dr. T Mazzulli |
| P10, A, Procedure –added “three days” at end of 1st line | May 20, 2005 | Dr. T Mazzulli |
| P10, A, Procedure –added the last sentence | May 20, 2005 | Dr. T Mazzulli |
| P12, revised the how to add virus name sentence | May 20, 2005 | Dr. T Mazzulli |
| P14, C. Table-added R-Mix*, P123/Ad*and its footnotes | May 20, 2005 | Dr. T Mazzulli |
| P20, added Note (b) and Specimens (non stat) | May 20, 2005 | Dr. T Mazzulli |
| P20, added R-Mix* and RS* in C. Table | May 20, 2005 | Dr. T Mazzulli |
| P21, added in footnotes | May 20, 2005 | Dr. T Mazzulli |
| P23, added B (b) | May 20, 2005 | Dr. T Mazzulli |
| P24, added shell vial and content & its footnotes | May 20, 2005 | Dr. T Mazzulli |
| Annual Review | May 20, 2005 | Dr. T. Mazzulli |
| Annual Review | July 23,2006 | Dr. T. Mazzulli |
| Annual Review | August 13, 2007 | Dr. T. Mazzulli |
| P46-55 CMV antigenemia – explanation and workflow notes added | December 14, 2007 | Dr. T. Mazzulli |
| Annual Review | November 8, 2008 | Dr. T. Mazzulli |
| P4 and throughout, tube cultures replaced by shell vials for CPE | November 8, 2008 | Dr. T. Mazzulli |
| P6, Direct Examination, Table changed | November 8, 2008 | Dr. T. Mazzulli |
| P14 and throughout, RD tube culture replaced by E-Mix shell vial | November 8, 2008 | Dr. T. Mazzulli |
| P58, Appendix II, Shell Vial Procedure, MRC-5 seeding procedure omitted from routine, DHI refeed media added | November 8, 2008 | Dr. T. Mazzulli |
| P92-93, Appendix VIII, Media, DHI refeed media replace in-house maintenance media QC | November 8, 2008 | Dr. T. Mazzulli |
| P120, Appendix XIX, PCP staining Quality Control, check Calcoflour result for concordance | November 8, 2008 | Dr. T. Mazzulli |
| P123, Appendix XXI – Specimens, Cell Lines and Stain Table | November 8, 2008 | Dr. T. Mazzulli |
| Annual Review | November 8, 2008 | Dr. T. Mazzulli |