# Product Architect and Engineer Specifications Rev. E

This Product Architect and Engineer Specifications document has been provided to assist you in the bidding process. This Microsoft Word® file allows you to cut and paste Architect and Engineer Specifications directly into your proposal file.

Each product A&E can be located using the alphabetical listing below and then clicking on the specific model number. Before proceeding, please click on and read the disclaimer below.

DISCLAIMER

## INDEX

A	B	C	D	E	F	G	H	I	J	K	L

M	N	O	P	Q	R	S	T	U	V	W	X

Y	Z

##### 50 Spring Street

Ramsey, NJ 07446

##### Tel: 201-934-8500 / Fax: 201-934-9832

Web Site: www.bogen.com

57-6000-04D		0303

Specifications subject to change.

A

| A2 | A2T | A6 | A6T | A8 | A8T |
| --- | --- | --- | --- | --- | --- |
| AFDS2 | AH5A | AH15A | ANS1R | ANS500 | ANS500M |
| AS1 | ASWB1 | ASWG1 | AT10A | AT35A |  |

Return to Index

#### B

| BAL2S | BC1 | BDT30A | BLM | BPA60 | BRG1R |
| --- | --- | --- | --- | --- | --- |

Return to Index

#### C

| C10 | C10MOH | C20 | C20MOH | C35 | C60 |
| --- | --- | --- | --- | --- | --- |
| C100 | CA10A | CA11A | CA15C | CA17 | CA19 |
| CA21B | CAM2 | CAM8 | CAM8PRO | CDC-3 | CG8A |
| CG8AW | CM200X | CM206M | CM211M | CMP1R | CR100A |
| CS1EZ |  |  |  |  |  |

Return to Index

#### D

| DDU250 | DFT120 | DMA40 | DMA80 | DMA160 | DMP06 |
| --- | --- | --- | --- | --- | --- |
| DPA80 | DPA160 | DS3 |  |  |  |

Return to Index

#### F

| FG15B | FG15W | FG20S | FG30 | FMR |  |
| --- | --- | --- | --- | --- | --- |

Return to Index

G

| GA2 | GA6A | GCU250 | GDU150 | GS35 | GS60 |
| --- | --- | --- | --- | --- | --- |
| GS100 | GS150 | GS250 |  |  |  |

Return to Index

#### H

| HCU350 | HDO100 | HDU150 | HDU250 | HFCS1 | HS7EZ |
| --- | --- | --- | --- | --- | --- |
| HS15EZ | HS30EZ | HTA125A | HTA250A |  |  |

Return to Index

#### I

| IH8A |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Return to Index

#### L

| LOS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Return to Index

#### M

| M300 | M450 | M600 | MAC | MAX1R | MBS1000 |
| --- | --- | --- | --- | --- | --- |
| MC22 | MC27 | MFM | MGN19 | MIC1S | MIC1X |
| MIC2S | MIC2X | MLA40 | MLA40T | MMF | MMS |
| MPS | MR8 | MRS | MSM | MT250D |  |

Return to Index

#### N

| NR100 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Return to Index

#### O

| OCS1 | OPS1 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Return to Index

P

| PCM2000 | PCMCPU | PCMPS2 | PCMTBM | PCMTIM | PCMZPM |
| --- | --- | --- | --- | --- | --- |
| PEQ1R | PG8A | PG8W | PI35A | PM3000 | PM3180 |
| PRO4 | PRO8 | PRO12 | PRO16 | PRS40C | PRS48 |
| PRS624DA | PRSASAC |  |  |  |  |

Return to Index

#### R

| R6 | R6T | R8 | R8T | RE84 | RF12A |
| --- | --- | --- | --- | --- | --- |
| RF24A | RM350D | RPK79 | RPK82 | RPK84 | RPK86 |

Return to Index

#### S

| S86 | S86T725 | S86T725BR | S86T725PG8W |
| --- | --- | --- | --- |
| S86T725PG8WBR | S86T725PG8WBRVK | S86T725PG8WBRVR | S86T725PG8WVK |
| S86T725PG8WVR | S810 | S810T725 | S810T725PG8W |
| S810T725PG8WVK | S810T725PG8WVR | SAX1R | SB6 |
| SBA225 | SBA325 | SCR25A | SCU250 |
| SCW20 | SCW35 | SF4 | SG8W |
| SI35A | SM1EZ | SM4T | SMTB |
| SP58A | SPT5A | SP158A | SPT15A |
| SP308A | SPT30A |  |  |

Return to Index

#### T

| T725 | T72510 | TAMB | TB8 | TBA15 | TBL1S |
| --- | --- | --- | --- | --- | --- |
| TEL1S | TG4C | TGS | TL100 | TL600 | TNG1S |
| TP6AP | TP12AP | TP30D | TPS | TPU15A | TPU35B |
| TPU60B | TPU100B | TPU250 |  |  |  |

Return to Index

V

| VAR1 | V35 | V60 | V100 | V150 | V250 |
| --- | --- | --- | --- | --- | --- |
| V-HUB | VRS1 | VRS2 |  |  |  |

Return to Index

#### W

| WB1EZ | WB8 | WBS8T725 | WBS8T725BR |
| --- | --- | --- | --- |
| WBS8T725BRV | WBS8T725V | WBS810T725 | WCU250 |
| WMA80 | WMA160 | WMK1 | WMT1A |
| WSGCU250 | WSHCU250 | WV100 | WV150 |
| WV250 |  |  |  |

Return to Index

#### X

| X300 | X450 | X600 | XLR25 |  |  |
| --- | --- | --- | --- | --- | --- |

Return to Index

#### Z

| ZPM3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Return to Index

A2, A2T

The loudspeaker shall be a NEAR Model A2 (8-ohm) or Model A2T (70V) in Black (BLK), White (WHT) or Green (GRN) or approved equivalent loudspeaker consisting of one 6-inch nominal low frequency transducer, one 1/2-inch nominal high frequency transducer mounted coaxially, with a filter network for dividing frequencies between the transducers. A weather-tight enclosure shall house all components. The enclosure shall be constructed from an injection-molded, high density (30% or greater), mineral-filled polypropylene material compounded with UV inhibitors.

Three molded-in colors shall be made available (Black, White, and Green). Perforated speaker grilles shall be made from heavy-gauge PVC, color-matched to the enclosure.

The low frequency driver shall utilize a metal-alloy cone with deep-anodized surface treatment for rigidity and corrosion resistance. The cone shall provide a heat transfer element for the voice coil under high power input. Compounded rubber cone surrounds shall be formulated to withstand all-environment installations, including salt spray, ultraviolet light (UV), heat, cold, and constant humidity. The voice coil will be centered via a high gauss, low viscosity magnetic fluid (ferrofluid), which increases the heat transfer rate from the voice coil under long-term, high-power use. The magnetic fluid shall prevent corrosion from occurring in the magnet gap.

The high frequency driver shall utilize an environmentally stable polycarbonate diaphragm. Ferrofluid shall dampen the voice coil and assist in the heat transfer for higher power capability.

Environmental testing shall ensure long-term operation in any weather. Specifications shall exceed Mil-Std-810E Test Methods for Temperature, Humidity, Ultra-Violet Light, and Salt Spray.

The mounting bracket shall be designed with multiple angles to facilitate installation in corners or when angulation is required. An integral safety strap mounting point shall be included. The loudspeaker shall rotate, on its axis, a minimum of 180 degrees. The bracket shall be formed from heavy-gauge aluminum (minimum 3mm thick), and finished with a scratch-resistant paint (color-matched to the enclosure).

The input connectors for 8-ohm and 70-volt systems shall be gold-plated screws with integral clamping washers.

Dimensions of each speaker shall not exceed 9" Diameter x 8" Deep.  Weight shall not exceed 8 lb. (A2), and 10 lb. (A2T). The speaker shall be a NEAR Model A2 (8-ohm) or Model A2T (70V) in Black (BLK), White (WHT) or Green (GRN).

Part No. 54-8008-01R2

Return to Index

A6, A6T

The loudspeaker shall be a NEAR Model A6 (8-ohm) or Model A6T (70V) in Black (BLK), White (WHT), or Green (GRN), or approved equivalent, loudspeaker consisting of one 6-inch nominal low frequency transducer, one 1-inch nominal titanium high frequency transducer with a filter network for dividing frequencies between the transducers.  A weather-tight enclosure shall house all components. The enclosure shall be constructed from an injection-molded, high density (30% or greater) mineral-filled polypropylene material compounded with UV inhibitors.

Three molded-in colors shall be made available (Black, White, and Green). Perforated speaker grilles shall be made from heavy-gauge PVC, color-matched to the enclosure.

The low frequency driver shall utilize a metal-alloy cone with deep-anodized surface treatment for rigidity and corrosion resistance. The cone shall provide a heat transfer element for the voice coil under high-power input. Compounded rubber cone surrounds shall be formulated to withstand all-environment installations, including salt spray, ultraviolet light (UV), heat, cold, and constant humidity. The voice coil will be centered via a high gauss, low viscosity magnetic fluid (ferrofluid), which increases the heat transfer rate from the voice coil under long-term high-power use. The magnetic fluid shall prevent corrosion from occurring in the magnet gap.

The high frequency driver shall utilize an environmentally stable titanium diaphragm. Ferrofluid shall dampen the voice coil and assist in the heat transfer for higher power capability.

Environmental testing shall ensure long-term operation in any weather. Specifications shall exceed Mil-Std-810E Test Methods for Temperature, Humidity, Ultra-Violet Light, and Salt Spray.

The mounting bracket shall be designed with multiple angles to facilitate installation in corners or when angulation is required. An integral safety strap mounting point shall be included. The loudspeaker shall rotate, on its axis, a minimum of 180 degrees. The bracket shall be formed from heavy-gauge aluminum (minimum 3mm thick), and finished with a scratch-resistant paint (color-matched to the enclosure).

The input connectors for 8-ohm and 70-volt systems shall be gold-plated screws with integral clamping washers.

Dimensions of each speaker shall not exceed 7-1/8" W x 13-7/16" H x 7-11/16" D.  Weight shall not exceed 10 lb. (A6) and 12 lb. (A6T). The system shall be the NEAR Model A6 (8-ohm) or Model A6T (70V) in Black (BLK), White (WHT) or Green (GRN).

Part No. 54-8009-01R2

Return to Index

A8, A8T

The loudspeaker shall be a NEAR Model A8 (8-ohm) or Model A8T (70V) with a power handling capacity of 175W (8-ohm) or 64W (70V) or approved equivalent. The loudspeaker shall consist of one 8-inch nominal low frequency transducer and one 
1-inch nominal titanium high frequency transducer with a filter network for dividing frequencies between the transducers. A weather-tight enclosure shall house all components. The enclosure shall be constructed from an injection-molded, high density (30% or greater) mineral-filled polypropylene material compounded with UV inhibitors.

Three molded-in colors shall be made available (Black, White, and Green). Perforated speaker grilles shall be made from heavy-gauge PVC, color-matched to the enclosure.

The low frequency driver shall utilize a metal-alloy cone with deep-anodized surface treatment for rigidity and corrosion resistance. The cone shall provide a heat transfer element for the voice coil under high-power input. Compounded rubber cone surrounds shall be formulated to withstand all-environment installations, including salt spray, ultraviolet light (UV), heat, cold, and constant humidity. The voice coil will be centered via a high gauss, low viscosity magnetic fluid (ferrofluid), which increases the heat transfer rate from the voice coil under long-term high-power use. The magnetic fluid shall prevent corrosion from occurring in the magnet gap.

The high frequency driver shall utilize an environmentally stable titanium diaphragm. Ferrofluid shall dampen the voice coil and assist in the heat transfer for higher power capability.

Environmental testing shall ensure long-term operation in all weather. Specifications shall exceed Mil-Std-810E Test Methods for Temperature, Humidity, Ultra-Violet Light, and Salt Spray.

The mounting bracket shall be designed with multiple angles to facilitate installation in corners or when angulation is required. An integral safety strap mounting point shall be included. The loudspeaker shall rotate about its axis a minimum of 180 degrees. The bracket shall be formed from heavy-gauge stainless-steel (minimum 3mm thick), and finished with a scratch-resistant paint (color-matched to the enclosure).

The input connectors for 8-ohm and 70-volt systems shall be gold-plated screws with integral clamping washers.

Dimensions of each speaker shall not exceed 10-1/4" W x 17-7/8" H x 10-7/8" D.  Weight shall not exceed 18 lb. (A8), and 20 lb. (A8T). The system shall be the NEAR Model A8 (8-ohm) or Model A8T (70V) in Black (BLK), White (WHT) or Green (GRN).

Part No. 54-8010-01R3

Return to Index

AFDS2

The amplifier failure detector and automatic substitutor shall be a Bogen Model AFDS-2, or equivalent, capable of continuously supervising the operation of any main power amplifier and its standby amplifier in a sound system. It shall be capable of detecting a loss of as little as 2dB in either amplifier and automatically switch operation from main to standby amplifier, should the main amplifier be at fault. The failure of either amplifier shall be indicated by a corresponding front-panel-mounted LED and an aural fault alert tone. It shall be possible to silence the tone by depressing the SILENCE button which shall automatically reset when the failure is corrected.

A 40kHz signal, originated within the AFDS-2, shall be pulsed into the inputs of the main and standby amplifiers and their outputs shall be continuously analyzed; if either amplifier should fall below 2dB*, the AFDS-2 shall be activated. It shall be suitable for operation with, and capable of detecting failure in, any 25-volt or 70-volt balanced or unbalanced system. In a balanced system, two accessory isolation transformers (specify Bogen Model TL100, if needed) shall be required.

The device shall be powered from either a 120VAC, 60Hz line or a 12VDC source, with power consumption limited to 15 watts or 0.5 ampere, respectively. Screwdriver-adjustable controls shall be provided on the unit for setting the sensitivity of the device and the level of the 40kHz oscillator.

The unit shall be 19”W x 3-1/2”H x 7-1/2”D and shall weigh 8 pounds. The panel shall be fabricated from #16 gauge cold-rolled steel and shall be finished in black enamel

*Threshold is adjustable.

Part No. 54-7584-07

Return to Index

AH5A, AH15A

The loudspeaker shall be a Bogen Model _____ amplified horn-type loudspeaker, or approved equivalent, and shall incorporate a ___-watt amplifier with volume control. (Specify AH-5A/5-watt or AH-15A/15-watt.)  Frequency response shall be from 275Hz to 14,000Hz; dispersion shall be 110°.  The loudspeaker shall operate from 24VDC source, positive ground, and shall provide an input impedance of 600 ohms, balanced.

— (Use for AH-5A)  Rated power output shall be 5 watts RMS continuous.  Sound pressure level, measured four feet on axis with 15 watt input @ 1,000Hz shall be at least 116dB.  Current at rated output shall be 400mA and, at idle, 75mA.  Sensitivity shall be 32mV across 600 ohms.

— (Use for AH-15A)  Rated power output shall be 15 watts RMS continuous.  Sound pressure level, measured four feet on axis with 15 watt input @ 1,000Hz shall be at least 121dB.  Current at rated output shall be 1mA and, at idle, 43mA.  Sensitivity shall be 58mV across 600 ohms.

The loudspeaker shall be of weatherproof, all-metal construction, with driver enclosed within a waterproof housing.  A 24-inch color-coded, insulated cable shall be provided for quick connection to audio and power sources.  The loudspeaker shall include a self-aligning, field-replaceable diaphragm.  A plastic cover shall be provided for strain relief and to protect the volume control.

An all-purpose mounting bracket shall provide precise positioning in the vertical and horizontal planes with a single adjustment.  The bracket shall include banding slots to permit mounting on beams and pillars.  The bracket and loudspeaker shall be finished in textured mocha enamel.  The unit shall measure 9” diameter x 9-1/4” deep.  Shipping weight shall be 4-1/2 pounds.

Part No. 54-7757-04

Return to Index

ANS1R

The ANS1R module shall have a maximum gain control that sets the maximum amount of gain added, from 0 dB to 22 dB of gain, once the ambient noise level surpasses the sound pressure level set by the ambient threshold. The ANS1R shall have a ramp speed control that sets the speed by which gain is added to the signal once the ambient noise level surpasses the threshold, from less than 1 dB/s to greater than 20 dB/s.

The module shall have an activity threshold control with a corresponding bi-color LED that will illuminate amber when at mix bus threshold. The ANS1R shall have an ambient threshold control that shall adjust the microphone input threshold from 64 dBSPL to 112 dBSPL with the same LED illuminating green when at mic threshold.

The ANS1R module shall have stereo unbalanced RCA inputs that provide 20 k-ohm input impedance. The unbalanced inputs shall be electronically mono-summed and connected to the amplifier’s front level control for the bay in which it is installed so that the input is not lost when using the output module. Or, it can be fed directly to the mix bus through the modules’ Aux level control, which bypasses the gain control function.  The AUX level shall control the input source when jumpered to the mix bus only.  Aux inputs shall have the ability to be muted by higher priority modules. It shall have a gradual fade back from mute when the mute control is deactivated. The module shall have a 4-pin input screw terminal barrier strip connector to make the input connection for the microphone and to connect a remote defeat switch (contact closure).

Part No. 54-8014-01R1

Return to Index

ANS500, ANS500M

The Ambient Noise Sensor system shall be a Bogen Model ANS500, or approved equivalent. The system shall be designed to electronically adjust the level of a page announcement in an area of a building where ambient noise levels are continuously changing. The system shall consist of the control module (Model ANS500), power supply and up to four (4) microphone modules (ANS500M) wired in parallel.

The system shall ensure that page announcements are audible even during periods of high noise levels. The frequency response shall be shaped when the signal is boosted so that speech articulation becomes more intelligible in the high noise area and so that there is no distortion in music reproduction.

The system shall continuously monitor the ambient noise level through the microphone module located in the subject area. The wire run between control unit and microphone module, when composed of 2-conductor AWG20, shall be able to reach a length of 2,000 feet with no appreciable loss of signal strength. All wiring connections to the control module shall be made via terminal strips or jacks.

The microphone module shall include an adjustable mounting bracket for precise positioning.

The system shall be powered by a 24 volt power supply, which shall operate from 120V AC. Current draw shall not exceed 30mA.

As ordered from the factory, the system shall consist of one ANS500 Control Unit, one ANS500M microphone module, and one power supply.

Dimensions of the control unit shall be 6-3/4" W x 4-1/8" H x 1-1/4" D. Dimensions of the microphone module shall be 2" W x 2-1/8" H x 7/8" D.

Part No. 54-7856-01R2

Return to Index

AS1, ASWB1, ASWG1

The loudspeaker shall be a Bogen Model ________ (Insert AS-1, ASWB-1, or ASWG-1) amplified loudspeaker, or equivalent, utilizing an eight-inch cone-type loudspeaker and a built-in amplifier with volume control, providing a frequency response from 100Hz to 10kHz, with not more than 1.5% distortion at rated output. Sensitivity shall be 113mV, ±4dB. Input impedance shall be 1000 ohms. The loudspeaker shall be powered by a suitable 24V DC power supply and shall consume 50mA at nominal output. Rated power output shall be one watt into 45 ohms. Sound pressure level, measured four feet on axis with one watt input at 1000Hz shall be at least 92dB.

(Use for Model ASWB-1) The loudspeaker shall be assembled in a wall baffle for surface mounting (with slight downward sound dispersion), constructed of 3/8" particle board in simulated walnut, with a black grille cloth. The unit shall measure 9-1/2"W x 11-5/8"H x 6-5/8"D (top), 4-1/8"D (base). The shipping weight shall be eight pounds.

(Use for Model ASWG-1) The loudspeaker shall be assembled on a 12-5/8" diameter steel ceiling grille, finished in white semi-gloss enamel, for recessed installation. The shipping weight shall be three pounds.

Part No. 54-7764-04

Return to Index

AT10A, AT35A

The speaker line attenuator shall be a Bogen model (specify AT10A or AT35A), and shall permit setting the output level at loudspeakers on a 25V or 70V line without altering the amplifier volume setting.  The attenuator shall provide a choice of 10 stops and an "off" position, and shall be capable of controlling up to 10-/35-watt speaker systems.

Part No. 54-7777-06R2

Return to Index

BAL2S

The BAL2S input module shall be a stereo, high-impedance, electronically balanced input module. It shall be mutable by higher priority modules and shall feature an internal PCB jumper to enable or disable muting from the priority bus system. It shall have a continuously variable ducking control that will enable attenuation of the input signal from a minimum of 10 dB to a maximum of 48 dB relative to the normal unmuted condition. The module shall have a rapid mute when the mute function is activated and a gradual fade back from mute when the mute control is deactivated. Gain shall be switch selectable per channel and shall be 0 dB or +18 dB.

Part No. 54-5093-01R2

Return to Index

BDT30A

The loudspeaker shall be a Bogen Model BDT30A, or approved equivalent, reentrant horn type loudspeaker.  The frequency response shall be from 225Hz to 14kHz.  Rated power output shall be 30 watts RMS continuous.  Dispersion shall be 100º, each horn.  Sound pressure level, measured four feet on axis with 30 watt input @ 1000Hz, shall be at least 121dB for each horn.

The unit shall incorporate a seven-position weather-sealed switch, to allow matching the loudspeaker to a 25V or 70V constant-voltage line.  Power handling capacity shall be adjustable at 70V to 30, 15, 7.5, 3.7 or 1.8 watts, and at 25V to 15, 7.5, 3.7 or 1.8 watts.  Impedance shall be adjustable to 2,500, 1,300, 666, 333, 167, 89, or	45 ohms.

The loudspeaker shall be of weatherproof all metal construction, with driver enclosed within a waterproof housing.  The loudspeaker shall include a self-aligning, field replaceable diaphragm.

Screw terminals shall be provided for connection to the audio line.  A plastic cover shall be provided to protect the connectors and impedance selector switch, and to provide strain relief for the audio line.

An all-purpose mounting bracket shall provide precise positioning in the vertical and horizontal planes with a single adjustment.  The bracket shall include banding slots to permit mounting the loudspeaker on beams or pillars.  Bracket and loudspeaker shall be finished in textured mocha enamel.  The unit shall measure 16-1/2” W x 9-3/4” H.  Shipping weight shall be 8 lbs.

Part No. 54-7761-02R2

Return to Index

BLM

The BLM is a dual-impedance, transformer-balanced, 600-ohm or 10k-ohm (jumper selectable) auxiliary input module.The BLM has the ability to be muted by other input modules giving it the ability to operate in systems requiring priority override schemes. The ability to be muted by other input modules is defeatable (via jumper selection) allowing the BLM to operate as a standard auxiliary input. To further enhance system operation, the BLM includes variable music muting. A continuously adjustable control sets the level of the signal muting the BLM provides, when directed to mute by other input modules, allowing the BLM to perform a page over music function. Screw terminals are provided for input connections.

Input sensitivity for rated output (100mV) shall be 130mV, and maximum gain shall be -2dB. The frequency response shall be 20Hz to 20kHz, ±1 dB, with distortion less than .3% from 20Hz to 20kHz. The input impedance shall be jumper-selected: 600-ohm or 10k-ohms and the connectors shall be screw terminals. The priority shall be on continuously or lowest priority, jumper-selected.

Part No. 54-9149-02R2

Return to Index

BPA60

The amplifier shall be a Bogen BPA60 power amplifier or approved equivalent.  It shall be of solid-state construction and shall have integrated circuits, silicon transistors and diodes to provide for continuous high-quality sound.

The rated output shall be achieved with an input signal not greater than 300mV (75mV with Model TL600 accessory transformer).  The frequency response shall be flat within -2dB, from 20Hz to 20kHz. Hum and noise shall be at least 85dB below rated output.  Output regulation shall be better than 2dB from no load to full load.

The amplifier shall supply 60 watts RMS from 50Hz to 15kHz at less than 2% THD into rated load impedances.  Output impedances shall be 8-ohms/25V, 16-ohms, 25VCT and 70V.  Power consumption shall not exceed 180 watts at full rated output.  The amplifier shall measure 15-1/4"W x 3-1/2"H x 8"D ; weight shall not exceed 19 lbs.

Input impedances shall be: unbalanced, high impedance (50k-ohms); balanced/unbalanced, low impedance (600-ohms) with accessory transformer.  Line bridging shall be possible using an accessory transformer.  Overall gain shall be adjustable by means of an input level control located on the rear panel.  A lo-cut filter switch shall provide -10dB attenuation at 100Hz.

The amplifier shall operate within a temperature range of -4°F to +131°F (-20° C to +55° C).  A thermostat control shall be provided to prevent operation at excessive ambient temperatures.  Additional overload protection shall be provided by transient protection diodes and a resettable electric circuit breaker.

The amplifier shall contain an illuminated on/off power switch, and shall operate from a 120V AC, 60Hz source.  An auxiliary power receptacle (not switched) shall be provided, which shall be grounded, provided that the amplifier line cord is properly grounded.

The amplifier shall be designed for mounting within a standard 19-inch EIA equipment rack, using optional rack panel brackets.

Part No. 54-7609-06R2

Return to Index

BRG1R

The BRG1R input module shall have a mono-balanced input and a buffered pseudo-balanced output that will enable the connection of several amplifiers to each other in a daisy chain configuration without creating ground loops between units. It shall have an RCA jack for both the input and the output connections. The module shall have a gain/trim control that will allow the gain to be adjusted plus or minus 5 dB relative to 
0 dB nominal gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. It shall have a continuously variable ducking control that will enable attenuation of the input signal from a minimum of 10 dB to a maximum of 48 dB relative to the normal unmuted condition and a gradual fade back from mute when the mute control is deactivated. The buffered output is not muted. The module shall have a VOX/gating circuit to control muting of lower priority modules and an internal gating circuit with separate controls for gate threshold and duration. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

C10, C10MOH, C20, C20MOH

The public address amplifier shall be a Bogen Model __________ or approved equivalent, with a full power rating of _______watts. (Specify: C10(MOH)/10 watts or C20(MOH)/20 watts.) The frequency response shall be 70Hz to 16KHz ± 1dB, with less than 1% distortion at rated power output. Input sensitivity shall be 600uV for low-impedance balanced microphones, 85mV for auxiliary inputs and 75mV for the telephone input. Hum and noise shall be 55dB below rated output for the MIC input, and 70dB below rated output for the AUX and TEL inputs.

The amplifier shall provide simultaneous mixing of two low-impedance balanced microphones and telephone input, or one microphone, one auxiliary input and telephone input. The unit shall have a front-panel selector switch which shall allow one of the input channels (MIC 2/AUX) to be selected for use as a microphone or an auxiliary input. It shall be possible to mute the auxiliary input when a customer-supplied SPST switch is attached to the AUX MUTE terminals on the rear panel.

The TEL input shall provide signal-activated paging with muting of the AUX channel. A VOX threshold control shall be included to eliminate activation of the channel by noise on the telephone line. The threshold control and TEL volume control shall be located on the rear panel.

The microphone inputs shall be equipped with filters to protect against RF interference. Independent volume controls and a treble cut control (-11dB @ 10KHz) shall be incorporated.

The amplifier shall provide output impedances of 4, 8, and 16 ohm speaker systems as well as for 25V and 70V constant voltage systems.

(This paragraph applies to MOH units only) A music on hold output shall be provided from the aux input source. The output shall be unaffected by paging. Screw terminal connections shall be provided at 600 ohms @ 1 volt and 8 ohms @ 1 watt. A level control shall be provided on the rear panel.

The amplifier shall contain a self resetting thermostat in the power transformer to protect against heat build-up and short circuited or overloaded connections.

The amplifier shall be mountable in 19-inch equipment racks, using an optional rack panel kit (Bogen Model RPK-35B), or in a flush-in-wall mounting cabinet with tilt-out locking panel (Bogen Model WMK-1). Dimensions shall be 11 -3/8"W x 2-7/8”H x 7-3/8”D. Shipping weight shall be 5 lbs. for Model C10(MOH) and 6 lbs. for Model C20(MOH).

Part No. 54-7852-03

Return to Index

C35, C60, C100

The public address amplifier shall be a Bogen Model _________, or approved equivalent, with a full power rating of _______watts. (Specify: C35/35 watts, C60/60 watts or C100/100 watts.) The frequency response (transformer) shall be 70 Hz to 16 kHz ±2 dB @ 2 dB, with less than 1% distortion; 70 Hz to 16 kHz @ -2 dB. Input sensitivity shall be 600µV for low-impedance balanced microphones, and 85mV for auxiliary inputs. Hum and noise shall be 55 dB below rated output for the MIC inputs, and 70 dB below rated output for the AUX input.

The amplifier shall provide two low-impedance balanced microphone inputs, two Hi-Z auxiliary inputs, and one telephone line input. Active mixing of the inputs (2 MIC/1 AUX plus TEL, or 1 MIC/2 AUX, plus TEL) shall be provided. A switch shall be provided to select either the MIC 2 or AUX 1 input.

The microphone inputs shall be equipped with filters to protect against RF interference.  Independent volume controls for each input as well as TREBLE control (±11 dB @ 10 kHz) and BASS control (±11 dB @ 100 Hz) shall be incorporated. A precedence circuit shall mute the AUX 2 input when a customer-supplied switch is actuated.

The amplifier shall provide output impedances of 4-, 8-, and 16-ohm speaker systems as well as for 25V and 70V constant voltage systems. Two high-impedance outputs shall be provided to drive a tape recorder or booster amplifier and, when used with an accessory transformer, to feed a 500/600-ohm telephone line.

The amplifier shall contain a resettable thermostat in the power transformer to protect against heat build-up and short-circuited or overloaded connections.

Provision shall be included to mount the amplifier in 19-inch equipment racks, using an optional rack panel kit (Model RPK50). Dimensions shall be 14-1/2" W x 3-3/4" H x 11" D.  Shipping weight shall be ______lb.  (Insert 16 lb. for C35, 18 lb. for C60 or 20 lb. for C100.)

Part No. 54-7853-01R2

Return to Index

CA10A, CA11A, CA15C, CA17,

CA19, & CA21B

The call-in switch shall be a Bogen Model ________ (specify CA10A, CA11A, CA15C, CA17, CA19, or CA21B), or equivalent, designed for flush- or surface-mount installation in a standard single-gang outlet box.  It shall be mounted on a brushed aluminum faceplate, 4-1/2” high x 2-3/4” wide, with beveled edges.  The plate shall have two holes drilled to conform to the positions of the tapped holes on the outlet box. Two oval-head machine screws shall be supplied for mounting.

(Use for all except CA17)  The switch shall be furnished with insulated, color-coded connecting leads, stripped and tinned.

(Use for CA10A)  The switch shall be two-position, rocker-type, single-pole, normally open, designed for use with Bogen PI35A and SI35A systems, and Bogen Multi-Graphic Series 115B, 2223, and 2233 systems.  The depressed position shall be momentary.  When pressed, the switch shall energize the corresponding annunciator lamp and the call-in tone at the room selector panel, and shall maintain this condition after the switch is released and until the call is acknowledged by the operator.  The holding action shall be accomplished without the use of relays or other mechanical devices.

(Use for CA11A)  The switch shall be three-position, rocker-type, designed for use with Bogen PI35A and SI35A systems, and Bogen Multi-Graphic Series 115B, 2223, and 2233 systems.  It shall have two single-pole circuits which are open in the normal center position, labeled TALK.  One circuit shall close when the switch is pressed downward, a momentary position which energizes the corresponding annunciator lamp and the call-in tone at the room selector panel.  This condition shall be maintained after the switch is released and until the call is acknowledged by the operator.   The holding action shall be accomplished without the use of relays or other mechanical devices.  The other circuit shall close when the switch is pressed upward to the fixed position labeled PRIVACY.  When the switch is in this position, it shall be impossible for the system operator to monitor the associated staff loudspeaker.  However, this shall not affect the transmission of program material or intercommunication from the control center to the loudspeaker (privacy is not available with 2-wire call-in).

(Use for CA15C)  The switch shall be two-position, rocker-type, single-pole, normally open, designed for use with Bogen MULTICOM 2000 systems.  The depressed position shall be momentary.  When pressed, the switch shall cause a designated administrative phone to ring.  When pressed four times, it shall activate an “emergency call.”

(Use for CA17)  The switch shall be two-position, push-button type, single-pole, normally open.  It shall be designed for use with Bogen PI35A, SI35A, and Multi-Graphic systems equipped with the Bogen SCR25A module.  The depressed, momentary position shall activate the corresponding annunciator lamp and the call-in tone at the room selector panel.

(Use for CA19)  The switch shall be two-position, rocker-type, single-pole, normally open, designed for use with enhanced staff stations in Bogen MULTICOM 2000 systems.  The depressed position shall be momentary.  When pressed, the switch shall cause a designated administrative phone to ring.  When pressed two times, it shall activate an “emergency call.”

(Use for CA21B)  The switch shall be three-position, rocker-type, designed for use with Bogen MULTICOM 2000 systems.  It shall have two single-pole circuits which are open in the normal center position, labeled TALK.  One circuit shall close when the switch is pressed downward, a momentary position which shall cause a designated administrative phone to ring. When pressed three times, the switch shall activate an “emergency call.”  The other circuit shall close when the switch is pressed upward to the fixed position labeled PRIVACY.  When the switch is in this fixed position, it shall be impossible for an administrator to monitor the associated staff loudspeaker.  However, this shall not affect the transmission of program material or intercommunication to the loudspeaker.

Part No. 54-7858-02R2

Return to Index

CAM2

The unit shall be a Bogen Model CAM2 or approved equivalent. It shall operate from 120V AC, 60Hz. Inputs shall be provided for four balanced, low-impedance microphones and one high-impedance, high-level, auxiliary sound source. All microphone inputs shall use XLR connectors and have individual phantom power switches. Each input shall include a front-mounted clip indicator and the main output shall be monitored by a 5 segment LED meter. The pre-amplifier shall incorporate active mixing to minimize both mixing bus noise and interaction between channel gain controls, while providing excellent crosstalk isolation between channels. The pre-amplifier shall provide a balanced output that can be switched between providing a line level or microphone level output signal. A separate unbalanced line level output shall be provided.  A bridging input shall be provided that allows multiple CAM2 units to be interconnected without the need to use any of the MIC or AUX inputs. Operating parameters shall be as set forth in the Technical Specifications table above.

Part No. 54-5099-01R1

Return to Index

CAM8, CAM8PRO

The unit shall be a Bogen Model _____________ (specify CAM8 or CAM8PRO). Frequency response shall be 20Hz to 20kHz, ±1dB. Power requirements shall be 18V AC center-tapped, 21V AC/120V AC at 60Hz. The unit shall utilize an external power supply.

The unit shall measure 19" W x 1-3/4" H x 6" D,  weigh 7 pounds, and be rack-mounted in a standard rack or placed on a flat surface.

The unit shall have 8 inputs, each with Main/Aux output selector, Gain/Trim Control, Input Level Control knob, Low-Cut Filter, and MIC/Line switch.

The unit shall have balanced inputs and outputs with an Output Level Control knob for Main and Aux outputs.

The unit shall have an additional Auxiliary output.

The MIC inputs shall have switchable Phantom Power (+15V DC) for condenser microphones.

The unit shall be of heavy-duty construction with sealed potentiometers and pluggable terminal strip connections.

The CAM8PRO shall include a Compressor/Limiter with adjustable Threshold and Ratio Controls, an LED Bar Graph Output Meter, and a Bypass switch. It will also include a Headphone Output.

Part No. 54-8007-01R1

Return to Index

CDC-3

The music source shall be a Bogen Model CDC-3 Multi-Disc CD Player that can be programmed to play tracks from any of up to three discs held in the unit.

The CD player shall provide a stereo aux input that feeds through whenever the CD stops playing and both a stereo and mono output.

The frequency response shall be 20Hz - 20kHz. The signal-to-noise ratio shall be greater than 70dB. The audio output level shall be 1.5V stereo and 3V mono.

The CD player shall come with introduction, random, repeat, clear, search, and scan functions. The player shall include an output volume control and a liquid crystal display (LCD).

The player shall have the capacity to program up to 36 tracks from 3 separate discs and review, clear, or change the programming.

The player shall include three possible running time displays: (1) the amount of time remaining on the track being played, (2) the amount of time elapsed on the track being played, and (3) the remaining time left on the disc in its entirety.

The player shall include five modes of operation: ONE, 1 DISC, 1 DISC INTRO, ALL, and ALL INTRO. The modes only affect regular playback operation, random playback, and intro playback.

The CD player shall be enclosed in a heavy-gauge steel chassis.

The player shall fit into a 19" rack using only two rack spaces. The unit shall include integral rack mount ears. It shall allow the attachment of feet for tabletop placement.

The product weight shall be 14 lbs. The dimensions shall be 18-7/8" W x 3-3/8" H x 11" D.

Part No. 54-8012-01R1

Return to Index

CG8A

The ceiling speaker grille shall be a Bogen model CG8A aluminum grille, or equivalent, capable of protecting and concealing a recessed 8" cone-type loudspeaker.  The diameter of the grille shall be 12-5/8" and it shall be contoured and finished in satin aluminum.

CG8AW

The ceiling speaker grille shall be a Bogen model CG8AW aluminum grille, or equivalent, capable of protecting and concealing a recessed 8" cone-type loudspeaker.  The diameter of the grille shall be 12-5/8" and it shall be contoured and finished in white semi-gloss enamel.

Part No. 54-7777-06R2

Return to Index

CM200X, CM206M, CM211M

The Administrative Intercom System shall be a Bogen CM200-Series, with a total capacity or up to ___ stations (enter 6 or 11).

The master units shall be Bogen Model ______ (Enter CM206M or CM211M). The remote units shall be Bogen Model CM200X.

Each master unit shall be capable of selectively calling any other master unit and any remote connected to that master. Remote units shall be capable of calling only the master to which they are connected.

The system shall have full trunkage, which shall permit multiple conversations between master units; up to 3 simultaneous two-way conversations shall be possible in a 6-station all-master system, up to 5 simultaneous two-way conversations shall be possible in an 11-station all-master system.

Each master shall have push-on/push-off call buttons to select a station and sound an electronic call tone.  Each selector button shall be equipped with an LED indicator as a reminder to release the selector button following a conversation. It shall be possible to establish conference calls between master stations by simultaneously pressing the desired call buttons.

Each master station shall be equipped with a Talk button, Talk Lock button and Privacy button. Controls shall be provided to adjust the volume of the call tone and of speech transmitted and received over the speaker. Power and Busy LEDs shall also be included.

Each CM200X remote station shall have a push-on/push-off call button, Talk button and Privacy button. When a remote calls its master, it shall be necessary to press a Talk button while speaking. When a master calls a remote, speaking and listening at the remote shall be hands-free. The Privacy button shall prevent a master from monitoring the remote location.

A single power supply (Bogen Model RF12A) shall be required for each installation. Multi-conductor cable shall be required to interconnect the system. Each unit shall be desktop- or wall-mountable and shall include a junction box to simplify installation.

Part No. 54-7860-01R2

Return to Index

CMP1R

The CMP1R module shall have a compressor ratio control adjustable from 2:1 to infinite to alter the dynamics of the signal above the limiting threshold. The module shall have a gain/trim control that will allow the gain to be compensated up to +15 dB relative to 0 dB nominal gain. The CMP1R shall have a threshold control adjustable from -40 dBV to +10 dBV with the center of rotation being approximately -10 dBV. The module shall also have a compression bypass switch to enable or disable the compression for instant comparison between compression and no compression while tuning the system.

The CMP1R module shall have an unbalanced RCA input that provides a 20 k-ohm input impedance. The unbalanced input shall connect to the amplifier’s front level control for the bay in which it is installed so that the input shall not be forfeited when using the output module. Aux inputs shall have the ability to be muted by higher priority modules. It shall have a gradual fade back from mute when the mute control is deactivated.

Part No. 54-8014-01R1

Return to Index

CR100A

The auxiliary program source shall be a Bogen Model CR100A integrated auto-reversing cassette tape player and an AM/FM-stereo tuner with a built-in stereo amplifier (1-watt per channel).

The program source shall feature electronic quartz-locked PLL tuning with manual tuning control and auto seek control.  The auto seek control shall automatically ascend (or descend) the frequency scale to the next strong frequency.  It shall be possible to pre-program up to 4 bands (FM1, FM2, FM3, AM) with up to 6 stations each.  A preset scan control shall be provided to scroll and select from available presets.

The cassette tape playback system shall be an automatically reversing, dual-capstan drive type, with wow and flutter limited to 0.35%.  The frequency response shall be 100Hz to 8kHz, with signal to noise ratio at 54dB.  The FM tuner section shall have 10dB sensitivity, signal-to-noise ratio at 60dB and frequency range from 87.5MHz to 108MHz.

The following controls shall be provided:   ON/VOLUME, BALANCE, TONE, EJECT, PROGRAM (fast forward and rewind), SEEK,  A/PS (auto seek/preset scan), BAND (band), STEREO (stereo), and 6 pushbuttons for preset functions. An LCD digital readout shall be provided to show selected frequency and band.

The program source shall operate on 120 volts, 60Hz AC.  It shall incorporate a low-level, 600-ohm output that shall be capable of driving the auxiliary input (AUX) of a public address amplifier.  It shall be possible to drive 8-ohm loudspeakers directly utilizing the internal stereo amplifier (1-watt per channel).

The program source shall be rack mountable in a standard 19” equipment rack by means of the optional RK78 rack panel kit (3-1/2”H).

Part No. 54-7887-01

Return to Index

CS1EZ

The ceiling speaker shall be a Bogen Model  CS1EZ, or approved equivalent ceiling speaker.  The frequency response shall be 50Hz to 12kHz.  The on axis sound pressure level shall be 95dB, at least four feet with one watt input. Rated power output shall be 1 watt, RMS continuous.

The unit shall have an impedance of 4900 ohms.

The ceiling speaker shall be comprised of an eight-inch cone speaker with a 70V matching transformer mounted on a steel ceiling grille painted with white enamel.

The unit shall measure 13” diameter by 3-1/4” depth.  Shipping weight shall be 5 lbs.

Part No. 54-8006-01

Return to Index

DDU250

The microphone shall be a Bogen Model DDU250. It shall be a cardioid, dynamic desktop microphone with a frequency response of 100Hz to 12kHz and a 500-ohm impedance. The sensitivity shall be -76dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. It shall have a push-to-lock/push-to-talk switch and a matte black finish. It shall have a 10', 5-conductor cable. Dimensions shall be 4-1/4" W x 18-1/4" H x 6-1/4" D. Weight shall be 3-1/2 pounds.

Part No. 54-5090-01R1

Return to Index

DFT120

The feedback termination device shall be a model DFT120, with 120 seconds of memory and the ability to record up to 8 messages while simultaneously playing previously recorded messages.  The device’s operation shall be capable of automatic or external control.

The feedback terminator shall provide a frequency response from 100Hz to 6.8KHz +/-3dB. Distortion shall be less than 1% over its bandwidth. The messages shall have a dynamic range of at least 60dBr and a signal to noise ratio of at least 60dBr.

The feedback terminator shall accommodate both loop start trunks and 4-wire dry loop interfaces, selectable by a slide switch. The input connector style for the interface shall be an RJ-11 type.

Further, the device shall provide an output capable of either 8 ohm @ 0.125W or 600 ohms @ +4dBm, selectable by slide switch.  The output connector style for the interface shall be an RJ-11 type.  A control to adjust the output signal level shall be provided.

A bank of dip switches shall be accessible to set device operating features. The feedback terminator shall have the ability to start recording based on dry loop, loop start, audio triggered or DTMF activation methods. The device shall be capable of stripping out of the recorded message in either the beginning or anywhere in the message. The device shall be able to regenerate DTMF tones in a message and to limit the number of DTMF tones a message can contain before the recording is aborted. The device shall allow for 2, 3, 4 or an unlimited number of DTMF tones in a message. The device shall allow a recording to be aborted by the issuance of 2 DTMF “#” digits in succession.

The selection of a pre-page tone shall be available. The recorded message shall be able to automatically replay and the time duration between message plays shall be selectable as 1, 2, 5 or 10 seconds.

The feedback terminator shall have contact closures that indicate if the unit is in use, playing and/or recording.  An internal jumper shall be able to set the contact for normally open or normally closed operation.

The feedback terminator shall be wall mountable and use an external power supply.  The power supply shall be UL and CSA listed.

Part No. 54-7885-02

Return to Index

DMA40, DMA80, DMA160

The mixer amplifier shall be a Bogen Model _____ or approved equal having a continuous power rating of _____ watts (enter DMA-40, 40 watts, DMA-80, 80 watts or DMA-160, 160 watts). It shall be modular in design for maximum flexibility and have Power MOSFET output stages for improved performance and reliability. Conventional package-type mixer amplifiers which do not provide either modular flexibility or Power MOSFET reliability shall not be accepted as an equal.

The amplifier shall provide 7 input channels; one a fixed program (music) input equipped with variable mute, and 6 modular input ports for use with any combination of Bogen’s input modules. The variable mute circuit shall be screwdriver adjustable over a range of at least 60dB and capable of being activated by either an external contact closure or the amplifier’s internal priority circuits. The module ports shall be accessible only from the rear and of the plug-in type, utilizing ribbon-type connectors having gold plated contacts.

Frequency response at all power levels up to full rated output shall be within 0 to -2dB from 20Hz to 20kHz for the direct output, and within 0 to -3dB on the transformer coupled outputs. Distortion at all power levels up to rated output shall be less than 0.3% over the same frequency range. Signal-to-noise ratio shall be at least -75dB or better.

The amplifier shall include front mounted level controls for each input, a Master Gain Control and associated bar-graph type LED output level meter, a master power switch and full range bass and treble tone controls. The tone controls shall provide ±10dB range at 100Hz and 10kHz. Also included shall be tone control bypass, low-cut filter and Pre-amp Out/Power Amp In link controls located inside the module port cage.

Both direct and transformer-coupled outputs shall be included to match 4 and 8 ohm speaker systems and 25V and 70V distribution systems. Bridging In/Out and Pre-amp Out/Power Amp In link jacks shall also be provided.

The amplifier shall be designed for continuous duty service in commercial and industrial applications on line voltages of 120V, 60Hz AC, and shall include an AC line circuit breaker.

Part No. 54-9131-02

Return to Index

DMP06

The mixer/preamplifier shall be a Bogen ModelDMP-06 or approved equal. It shall be modular in design for maximum flexibility and shall have high-performance circuitry. Conventional mixer/preamplifiers which do not provide both modular input and high-performance circuitry shall not be accepted as equal.

The unit shall provide 7 input channels; one a fixed program (music) input equipped with variable mute, and six module inputs for use with combinations of Bogen's input modules. The variable mute circuit shall be screwdriver adjustable over a range of at least 60dB and capable of being activated by either an external contact closure or the mixer's internal priority circuits. Module ports shall be accessible only from the rear and shall be of the plug-in type, utilizing ribbon-type connectors with gold-plated contacts.

Each input shall have two controls to set the level of each mix. Bass and treble controls shall be included and shall provide ±10dB cut or boost at 100Hz and 10kHz, respectively. Tone control defeat switches shall be provided and shall be located in the module port cage to prevent accidental adjustments.

Two separate output channels shall be provided, each with direct 600-ohm unbalanced, and transformer-coupled 600-ohm balanced taps. Each output channel shall provide an independent mix of the program input and up to six module inputs. A separate Master volume control shall set the overall output level of each mix. Front panel LED output level indicators shall be included.

The frequency response shall be 20Hz to 20kHz, +0, -1dB. Distortion levels shall be less than 0.2% at maximum output and shall be typically less than 0.01%. The signal-to-noise ratio shall be 72dB with the Master control set at maximum. Sensitivity shall be 100mV/10 kilohms for the program and module inputs.

Bridging in/out jacks shall be included for each channel, for recording and/or for connecting either mixing bus to other D-Series equipment. Sensitivity for the bridging I/O shall be 100mV/3 kilohms.

The mixer/preamplifier shall be designed for continuous duty service in commercial and industrial applications on line voltages of 120V, 60Hz AC, and shall include an AC line circuit breaker.

Part No. 54-9145-02

Return to Index

DPA80, DPA160

The amplifier shall be a Bogen Model ____ or approved equal having a continuous output power rating of ____ watts (enter DPA-80, 80 watts or DPA-160, 160 watts). It shall include a module input for maximum flexibility and have Power MOSFET output stages for improved performance and reliability. Conventional package-type amplifiers which do not provide both modular flexibility and Power MOSFET reliability will not be accepted as equal.

The amplifier shall provide 2 input channels; a fixed program (music) input with variable mute, and one modular input port for use with Bogen’s input modules. The variable mute circuit shall be screwdriver-adjustable over a range of at least 60dB and capable of being activated by either an external contact closure or by a priority signal from the module input. The module port shall be of the plug-in type, accessible from the rear, and utilizing a ribbon-type connector having gold-plated contacts.

Frequency response at all levels up to full rated output shall be within +0 to -2dB from 20Hz to 20kHz. Distortion at all power levels up to the rated output shall be less than 0.5%. Signal-to-noise ratio shall be at least -75dB or better.

The amplifier shall include front-panel-mounted level controls for each input, a Master gain control and associated bar-graph-type LED output level meter, and an illuminated power on/off switch. A Lo-Cut filter switch shall be included and shall be located inside the module port to prevent accidental adjustments.

Both direct and transformer-coupled outputs shall be provided to match 4- and 8-ohm speaker systems and 25V and 70V distribution systems. (For DPA-80 only: A 25V center-tapped output shall be included .) A Bridging In/Out jack shall be provided for recording and/or bridging applications. A Preamp Out/Power Amp In link shall be included; the link switch shall be located in the module port to prevent tampering.

The amplifier shall be designed for continuous duty service in commercial and industrial applications on line voltages of 120V, 60Hz AC, and include an AC line circuit breaker.

Part No. 54-9146-03

Return to Index

FG15B, FG15W, FG20S, FG30

The speaker shall be a Bogen Model _____ (enter FG15B, FG15W, FG20S, or FG30) background and foreground speaker designed to complement sophisticated music systems.

- (Use for the FG15B) The speaker shall have a rugged molded black plastic housing. The driver shall consist of a 3” paper woofer and a 3/4” mylar tweeter. The speaker shall handle 15 watts @ 8-ohms or 1, 2, 4, 7.5, or 15 watts @ 70 volts.

- (Use for the FG15W) The speaker shall have a rugged molded eggshell white plastic housing. The driver shall consist of a 3” paper woofer and a 3/4” mylar tweeter. The speaker shall handle 15 watts @ 8-ohms or 1, 2, 4, 7.5, or 15 watts @ 70 volts.

- (Use for the FG20S) The speaker shall be a black splash-proof speaker, which can be used outdoors and exposed to low-pressure water spray.  It shall have a rugged molded plastic housing. It shall consist of a 5” poly woofer and a 3/4” mylar tweeter.  The FG-20S is rated at 20 watts @ 8-ohms or 5, 10, 15, or 20 watts @ 70 volts.  Corrosion-resistant stainless steel contacts and an epoxy coated splash-proof grille are incorporated for use in high humidity environments.

- (Use for the FG30) The speaker shall have a black plastic housing. It shall consist of a 5” paper woofer and a 3/4” mylar tweeter. The FG-30 is rated at 30 watts @ 8-ohms or 10, 15, 20, or 30 watts @ 70 volts.

The speakers shall include a “U” mounting bracket.  A black swivel mount (model FG-SM) is also available for the FG-20S and FG-30.

Part No. 54-7867-02R2

Return to Index

FMR

The background music/music-on-hold source shall be a Bogen Model FMR, especially designed to provide background music over a paging system, or supply music-on-hold to a telephone system. The unit shall have 1-watt and line-level outputs to facilitate connection to a variety of paging/telephone systems including an amplified speaker.

A built-in speaker shall make tuning easy. An LED indicator shall illuminate when the signal is strongest. Automatic frequency control (AFC) will prevent signal drift.

In addition to a built-in telescoping antenna, provisions shall be included to connect an external antenna. A tone control and output volume controls shall be included and shall be screwdriver-adjustable. Screw terminals shall be provided for the outputs, antenna, and 24V power source. A jack shall be included to connect a 12V receptacle-mount power supply. (Power supply not included - PRS40C recommended.) The FMR shall be 3-3/8" W x 6" H x  1-1/2" D, and shall include flanges for wall mounting.

Part No. 54-9142-04R2

Return to Index

GA2

The amplifier shall be a Bogen Model GA2, or equivalent, capable of delivering 1.5 watts at 2% THD, and 1 watt at 0.25% THD from 200Hz to 15kHz, +0dB, -2.5dB, into 8 ohms. It shall provide one high-impedance input with volume control, one 8-ohm output, and one 600-ohm output. Input impedance shall be 100 kilohms. Output level across a balanced 600 ohms shall be 8dBm/2V. Input sensitivity at full output shall be 50mV or less; hum and noise shall be at least -72dB below rated output. Inputs shall be via RCA-type phono jack or screw terminal strip. Output shall be via screw terminals.

The unit shall operate from 120V AC, 60Hz and shall consume 4 watts. The unit shall measure 5-1/2"W x 4-1/8"H x 2-1/4"D. The shipping weight: shall be 2 lbs. A 5-1/2-foot AC power cord shall be provided.

Part No. 54-7767-03R2

Return to Index

GA6A

The amplifier shall be a Bogen Model GA6A, or equivalent, capable of delivering 6 watts at not more than 1% total harmonic distortion from 75Hz to 15kHz. Frequency response shall be 30Hz to 12kHz, +0dB, -3dB. The amplifier shall provide one low-impedance, balanced or unbalanced microphone input and one high-impedance auxiliary input, with individual front panel controls and mixing capability. Microphone dynamic range shall be 46dB with mic sensitivity of 0.3mV Auxiliary input sensitivity shall be 0.2V or better. Hum and noise shall be -50dB for microphone, and	-64db for auxiliary inputs. Tone adjustment shall allow 9dB treble boost or attenuation at 10kHz, located on rear panel.

Outputs shall be provided on the rear panel for 8-ohm speaker and 25V and 70V lines. Output and microphone connections shall be made at rear-panel screw terminals; auxiliary input shall be via a rear panel RCA-type phono jack.

The amplifier shall operate from 120V AC, 60Hz, and shall consume 16 watts. A rocker-type, front panel-mounted switch shall illuminate when the unit is switched on. Overload protection shall be by means of a thermally-actuated circuit breaker and a replaceable fuse. The chassis shall be constructed of zinc-plated galvanized steel with protective epoxy, and the cover from black vinyl-clad cold-rolled steel. The front panel shall be finished in black. The unit shall measure 8-1/2"W x 2-5/8"H x 6"D. The shipping weight shall be 5 pounds.

Part No. 54-7767-03R2

Return to Index

GCU250

The microphone shall be a Bogen Model GCU250. It shall be a cardioid, back electret condenser gooseneck microphone with a frequency response of 50Hz to 18kHz and a 250-ohm impedance. The sensitivity shall be -68dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. Max SPL @ 1% THD shall be greater than 130dB. It shall have a non-glare black finish. The GCU250 shall have an XLR male type connector. It requires an external 9V - 52V DC phantom power source. Dimensions shall be 18-1/4" H x 3/4" Dia. Weight shall be 4 ounces.

Part No. 54-5090-01R1

Return to Index

#### GDU150

The microphone shall be a Bogen Model GDU150. It shall be a cardioid, dynamic gooseneck microphone with a frequency response of 100Hz to 12kHz and a 500-ohm impedance. The sensitivity shall be -75dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. It shall have a push-on/push-off talk switch mounted on its base and a non-glare black finish. The GDU150 shall have an XLR Male type connector. Dimensions shall be 19-1/4" H x 1-1/4" Dia. Weight shall be 1 pound.

Part No. 54-5090-01R1

Return to Index

GS35, GS60, GS100, GS150

The amplifier shall be a model _____, rated at ____ watts RMS (insert GS35/35 watts, GS60/60 watts, GS100/100 watts or GS150/150 watts).

The amplifier shall accommodate up to 6 Lo-Z balanced microphones, 2 Hi-Z auxiliary sources and a telephone paging input (Mic 5 shall be switch-selected for mic or telephone line; Mic 6 switch-selected for microphone or Aux 1).  Mics 1 through 4 shall use XLR-type connectors; Aux input shall be via RCA phono jacks and all other connectors shall use screw terminals. Phantom power shall be supplied for use with condenser microphones. Microphone precedence connections shall be included for Mic 1, 2, 3, 5/Tel, 6/Aux 1 and Aux 2.

The amplifier shall provide a frequency response from 20 Hz to 20 kHz +0/-1 dB at rated power. Distortion shall be 0.3% typically, from 20 Hz to 20 kHz direct at rated power, and from 65 Hz to 20 kHz transformer @ -2 dB.

The amplifier shall include an Aphex Aural Exciter circuit, variable loudness contour control, and dual function equalizer. The equalizer shall be switch selectable for feedback control or acoustic shaping and shall include 10 center-detent slide controls providing ±12 dB of boost or cut from 62.5 Hz to 16 kHz in acoustic mode and from 125 Hz to 8 kHz in feedback control mode.

The amplifier shall include automatic level control to provide consistent output regardless of who is paging, automatic muting complete with a VOX circuit, and a variable mute level. Provisions shall also be included for remote volume control, using an accessory control unit (GSRVC).

Outputs shall be provided for 4- and 8-ohm speakers and for 25V, 25VCT, and 70V distributed systems.  Additional outputs shall be provided to feed a booster amp and tape recorder.  A dedicated output shall permit feeding a 600-ohm telephone line using an accessory transformer (Model WMT1A).  A Preamp out/power amp in circuit shall be provided to insert signal processing equipment.

The amplifier shall be rack mountable using an accessory rack panel kit (GSRPK). It shall be UL and CSA listed and shall be backed by a 3-year warranty.

Part No. 54-7874-02C

Return to Index

GS250

The amplifier shall be a model GS250, rated at 250 watts RMS, with three-speed fan cooling.

The amplifier shall accommodate up to 6 Lo-Z balanced microphones, 2 Hi-Z auxiliary sources and a telephone paging input (Mic 5 shall be switch-selected for mic or telephone line; Mic 6 switch-selected for microphone or Aux 1).  Mics 1 through 4 shall use XLR-type connectors; Aux input shall be via RCA phono jacks and all other connectors shall use screw terminals.  Phantom power shall be supplied for use with condenser microphones.  Microphone precedence connections shall be included for Mic 1, 2, 3, 5/Tel, 6/Aux 1, and Aux 2.

The amplifier shall provide a frequency response from 20Hz to 20kHz +0/-1dB at rated power.  Distortion shall be 0.3% typically, from 20Hz to 20kHz direct at rated power, and from 65Hz to 20kHz transformer @ -2dB.

The amplifier shall include an Aphex Aural Exciter circuit, variable loudness contour control and dual-function equalizer.  The equalizer shall be switch-selectable for feedback control or acoustic shaping and shall include 10 center-detent slide controls providing ±12dB of boost or cut from 62.5Hz to 16kHZ in acoustic mode and from 125Hz to 8kHz in feedback control mode.

The amplifier’s Tel input shall include automatic level control to provide consistent output regardless of who is paging, and a four step VOX-activated AUX mute level.  Provisions shall also be included for remote volume control, using an accessory control unit.

Outputs shall be provided for 4- and 8-ohm speakers and for 25V, 25VCT, and 70V distributed systems.  Additional outputs shall be provided to feed a booster amp and tape recorder.  A dedicated output shall permit feeding a 600-ohm telephone line using an accessory transformer (Model WMT1A).  A Preamp out/power amp in circuit shall be provided to insert signal processing equipment.

The amplifier shall be rack mountable using an accessory rack panel kit.  It shall be UL and CSA listed.

Part No. 54-7882-03R2

Return to Index

HCU350

The microphone shall be a Bogen Model HCU350. It shall be a cardioid, back electret condenser handheld microphone with a frequency response of 30Hz to 20kHz and a 60-ohm impedance. The sensitivity shall be -56dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. Max SPL @ 1% THD shall be greater than 130dB. It shall have a rubberized black finish and will require an external 9V - 52V DC phantom power source. Dimensions shall be 6-1/4" D x 1" Dia. Weight will be 5 ounces.

Part No. 54-5090-01R1

Return to Index

HDO100

The microphone shall be a Bogen Model HDO100. It shall be an omni-directional, dynamic handheld microphone with a frequency response of 70Hz to 15kHz and a 500-ohm impedance. The sensitivity shall be -72dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. It shall have a silent on/off lockable reed switch and a rubberized black finish. The HDO100 shall have an XLR Male connector. Dimensions shall be 6-1/2" D x 1-1/2" Dia. Weight shall be 1 pound.

Part No. 54-5090-01R1

Return to Index

HDU150

The microphone shall be a Bogen Model HDU150. It shall be a cardioid, dynamic handheld microphone with a frequency response of 70Hz to 15kHz and a 500-ohm impedance. The sensitivity shall be -70dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. It shall have a sliding-type on/off switch and a rubberized black finish. The HDU150 shall have an XLR Male connector. Dimensions shall be 6-1/2" D x 1-1/2" Dia. Weight shall be 1 pound.

Part No. 54-5090-01R1

Return to Index

HDU250

The microphone shall be a Bogen Model HDU250. It shall be a cardioid, dynamic handheld microphone with a frequency response of 50Hz to 18kHz and a 250-ohm impedance. The sensitivity shall be -72dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. It shall have a sliding-type on/off switch and a rubberized black finish. The HDU150 shall have an XLR Male connector. Dimensions shall be 7" D x 1-1/4" Dia. Weight shall be 1 pound.

Part No. 54-5090-01R1

Return to Index

HFCS1

The loudspeaker shall be a Bogen Model HFCS1 Ceiling Speaker or approved equivalent, consisting of one 6" (nominal) low frequency transducer, one 3/4" (nominal) high frequency transducer with a filter network for dividing frequencies between the transducers.

The front baffle shall be injection-molded, ABS material, and the back can (enclosure) shall be plated steel. All components shall be mounted inside the enclosure.

The baffle shall be supplied in white with a mild texture finish to promote paint adhesion if desired. A perforated steel speaker grille shall be provided, color-matched to the baffle.

The low-frequency driver shall utilize a molded polypropylene diaphragm (cone). A compounded rubber cone surround shall be formulated to withstand environmental conditions with high or low heat, high or low humidity, and ultra-violet light.

The high-frequency driver shall utilize a diaphragm consisting of black polycarbonate.

Integral swing-out clamps shall provide a secure installation in the ceiling surface. A safety cable attachment point shall be included in the removable terminal cover enclosure.  An optional 10-foot long cable kit shall be available to serve as a back-up safety cable (Model CK10). An optional tile bridge/support ring installation bracket shall provide additional support when mounting the loudspeaker into suspended ceilings (Model TBCR). The bracket shall also serve as a pre-installation guide for new construction installations, providing attachment to either 16" OC or 24" OC mounting.

The input connector shall be a 4-screw snap-lock input connector, providing "loop-through" for additional speakers.

Power input selection shall be via a front-mounted rotary switch, located under the removable grille. High impedance tap selections shall be 1, 2, 4, 8, 16, and 32 watts. A low impedance 16-ohm selection shall also be provided.

Dimensions of the speaker shall not exceed 12-5/16" diameter x 12" D. Weight shall be 9 lb.

Part No. 54-8016-03A

Return to Index

HS7EZ, HS15EZ, HS30EZ

The loudspeaker shall be a Bogen Easy Design Horn Loudspeaker, Model HS7EZ, HS15EZ, or HS30EZ.

###### HS7EZ

Rated power output shall be 7.5 watts RMS continuous. Frequency response shall be 250 Hz to 14 kHz. Dispersion shall be 120º. Sound pressure level shall be at least 105 dB*. Impedance shall be 653 ohms. The speaker shall feature a 12" lead wire for electrical connections.

###### HS15EZ

Rated power output shall be 15 watts RMS continuous. Frequency response shall be 275 Hz to 14 kHz. Dispersion shall be 110º. Sound pressure level shall be at least 121 dB*. Impedance shall be 326 ohms. A screw terminal shall be provided for connection to the audio line.

###### HS30EZ

Rated power output shall be 30 watts RMS continuous. Frequency response shall be 225 Hz to 14 kHz. Dispersion shall be 100º. Sound pressure level shall be at least 125 dB*. Impedance shall be 163 ohms. A screw terminal shall be provided for connection to the audio line.

The loudspeaker shall be of weatherproof, all metal construction. An all-purpose mounting bracket shall provide precise positioning in the vertical and horizontal planes with a single adjustment. The bracket shall include banding slots to permit mounting the loudspeaker on beams or pillars. Bracket and loudspeaker shall be finished in textured mocha enamel.

The driver shall be enclosed within a waterproof housing. The loudspeaker shall include a self-aligning, field-replaceable diaphragm.

A plastic cover shall be provided to protect the connectors and stepped volume control, and provide strain relief for the audio line.

The HS7EZ shall measure 6" diameter by 4" depth, the HS15EZ shall measure 9" diameter by 9-1/4", and the HS30EZ shall measure 11" diameter by 10-1/2" depth.  Product weight shall be 2 lb., 5 lb., and 7 lb., respectively.

An  I-beam mounting bracket (Model BC1) shall be available as an accessory.

* Sound pressure level measured four feet on axis with Rated power output @ 1 kHz.

Part No. 54-7888-01B

Return to Index

HTA125A

The power amplifier shall be a Bogen Model HTA125A or approved equal solid-state amplifier incorporating state-of-the-art MOSFET power transistors. Amplifiers utilizing conventional or bipolar power transistors shall not be acceptable.

The amplifier shall deliver an audio output of 125 watts (rms continuous). The total harmonic distortion shall be less than 0.5% at the 125-watt rating over the frequency range of 20 to 20,000Hz. The rated output shall be obtained with an input signal that is not greater than 500 millivolts (rms). Hum and noise shall be at least 90dB below rated output. The frequency response, when measured at full rated output, shall be flat within ±1dB, from 20 to 20,000Hz.

The amplifier shall provide either balanced or unbalanced constant-voltage outputs of 25 VCT and 70 volts, plus 4 and 8 ohm balanced or unbalanced outputs. Output regulation shall be within 2dB from no load to full load.

The amplifier shall provide an input of 50,000 ohms unbalanced high impedance, or 600 ohm balanced/unbalanced low impedance, or line bridging with an optional accessory plug-in transformer. Overall gain shall be adjustable by means of a single level control located on the rear panel. An internal low-cut filter (-10dB @ 100Hz) also shall be provided. The front of the amplifier shall contain an illuminated on/off power switch. The amplifier shall incorporate electronic shutdown circuitry which shall activate whenever an overload or short circuit occurs on the output of the amplifier. A front panel overload shutdown LED shall illuminate to indicate the discontinuance of power output; the circuitry shall automatically restore power output once the cause of the shutdown condition has been removed.

The amplifier shall operate from a 120 VAC, 60Hz source and shall consume 45 watts or less at idle and 260 watts at full rated output.

The amplifier shall have thermostatic control to prevent operation at excessive ambient temperatures. The amplifier also shall include electronic overload limiting, short-circuit protection and a 4 amp Slo-Blo fuse.

The amplifier shall have a standard EIA 19-inch front panel suitable for rack mounting. The amplifier shall be 19" wide, 5-1/4" high and 11" deep, finished in black and shall weigh 36 lbs.

Part No. 54-7790-04R2

Return to Index

HTA250A

The power amplifier shall be a Bogen Model HTA-250A or approved equivalent solid-state amplifier incorporating state-of-the-art MOSFET power transistors. Amplifiers utilizing conventional or bipolar power transistors shall not be acceptable.

The amplifier shall deliver an audio output of 250 watts (rms continuous). Total harmonic distortion shall be less than 0.5% at the 250-watt rating over the frequency range of 20 to 20,000Hz. The rated output shall be obtained with an input that is not greater than 500mV (rms). Hum and noise shall be at least 90dB below rated output. The frequency response, when measured at full rated output, shall be flat within ±1dB, 20 to 20,000Hz.

The amplifier shall provide either balanced or unbalanced constant-voltage outputs of 25 VCT and 70 volts, plus 4 and 8 ohm balanced or unbalanced outputs. Output regulation shall be within 2dB from no load to full load.

The amplifier shall provide an input of 50,000 ohms unbalanced high impedance, or 600 ohms balanced or unbalanced low impedance, or line bridging with optional accessory plug-in transformers. Overall gain shall be adjustable by means of a single level control located on the rear panel. An internal low-cut filter

(-10dB @ 100Hz) shall also be provided. The front of the amplifier shall contain an illuminated on/off power switch. The amplifier shall incorporate electronic shutdown circuitry which shall activate whenever an overload or short occurs on the output of the amplifier. A front panel overload shutdown LED shall illuminate to indicate the discontinuance of power output; the circuitry shall automatically restore power output once the cause of the shutdown condition has been removed.

The amplifier shall operate from a 120VAC, 60Hz source and shall consume 60 watts or less at idle and 520 watts at full rated output. The amplifier shall have thermostatic control to prevent operation at excessive ambient temperatures. The amplifier also shall include electronic overload limiting, short-circuit protection and a 7-amp Slo-Blo fuse.

The amplifier shall have a standard EIA 19-inch front panel suitable for rack mounting. The amplifier shall be 19” wide, 5-1/4” high and 11” deep, finished in black and shall weigh 50 lbs.

Part No. 54-7773-06

Return to Index

IH8A

The loudspeaker shall be a Bogen Model IH8A reentrant horn-type loudspeaker, or approved equivalent, providing a frequency response from 350Hz to 12kHz.  Input impedance shall be 8 ohms. Rated power output shall be 15 watts.  Dispersion shall be 130°. Sound pressure level, measured four feet on axis at rated output, shall be at least 120dB.

The loudspeaker shall be of weatherproof, all metal construction, with driver enclosed within a waterproof housing.  A 12-inch connecting cable shall be provided.

An all-purpose mounting bracket shall provide precise positioning in the vertical and horizontal planes.  Bracket and loudspeaker shall be finished in textured mocha enamel.  The unit shall measure 6-1/4" dia. x 6"D.  The product weight shall be 2-1/2 lbs.

Part No. 54-7774-03R2

Return to Index

LOS

The line-output module shall be a Bogen Model LOS, or equivalent, capable of providing a transformer-balanced +4dBm, 600-ohm output.  Input sensitivity shall be 42mV (for rated 8-ohm output, 2V, or for rated 600-ohm output, +4dBm). Maximum gain shall be 33dB.  Frequency response shall be 100Hz to 15kHz, ±1.5dB, with distortion less than 0.75% for the 8-ohm output and less than 0.2% for the 600-ohm output, from 100Hz to 15kHz.  Signal-to-noise (referenced to 8-ohm rated output, 2V) shall be -72dB.

Jumpers shall be included to: select the music-on-hold or line-out function; switch a 20dB attenuator in-line with the input signal for proper level matching; and bypass the transformer for direct output at up to .5W @ 8 ohms.

A screwdriver-adjustable level control shall be provided. Phono plugs shall be furnished for the music input and the music output, and screw terminals for other output connections.

Part No. 54-9149-02R2

Return to Index

M300, M450, M600

The amplifier shall be a Bogen M-Class Amplifier, Model M600, M450 or M300. The amplifier shall provide a mono 70V output capable of 1200, 900 or 600 watts respectively or, it can provide two independent amplifier channels rated at 600, 450 or 300 watts/channel into 4 ohms, respectively.

The amplifier shall provide 2 module bays for the installation of various input modules. A dual-channel (balanced or unbalanced), high-impedance input module shall come installed as a standard module in the amplifier.

The amplifier shall be capable of 3 distinct modes of operation. These are Stereo, Dual Mono, and 70V Mono. In Dual Mono and 70V Mono, the amplifier shall provide the function of a 2 x 1 mixer of the installed input modules. Additionally, in the Dual Mono and 70V Mono modes, the amplifier shall allow one module to mute the other installed module if desired.

The amplifier shall drive the speaker load directly without the use of an output transformer. The amplifier shall allow a user-selectable low frequency roll-off of 65 Hz, 125 Hz, or no roll-off.

The amplifier shall have a defeatable sleep mode that greatly reduces idle power consumption when the amplifier has not received audio for more than 3 minutes. The amplifier shall also include a clip limiting feature that automatically reduces amplifier clipping.

The amplifier shall have three indicators that correspond to status, signal, and clip/limit.

The amplifier shall allow the connection of external signal processing equipment when in Dual Mono or 70V Mono modes. The signal flow shall automatically be diverted to external equipment when connected to the effects loop. The amplifier shall also provide both pre- and post-EQ signal feeds for distribution to other equipment.

The amplifier shall include a system that automatically compensates for surges or sags in AC line voltages of up to +/-10%. Additionally, the amplifier shall be protected against over-currents, overloads, excessive thermal dissipation, DC voltage, and short circuit on the outputs.

The amplifier shall be enclosed in a heavy-gauge steel chassis with recessed level control knob, which can be protected by a removable plastic cover. The amplifier shall be cooled by 2 independent continuously variable speed fans with easily removable fan filters.

The amplifier shall allow the attachment of rack ears (rear rack ears optional) and fit into a 19" rack using two rack spaces. It shall also allow the attachment of feet for tabletop placement.

Part No. 54-5092-01R2

Return to Index

MAX1R

The MAX1R module shall be a mono, high-impedance, unbalanced input module. The module shall have an RCA jack as its input connector. The module shall have a gain/trim control that will allow the gain to be adjusted up to +6 dB relative to 0 dB nominal gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. It shall have a continuously variable ducking control that will enable attenuation of the input signal from a minimum of 10 dB to a maximum of 48 dB relative to the normal unmuted condition and a gradual fade back from mute when the mute control is deactivated. The module shall have a VOX/gating circuit to control muting of lower priority modules and its internal gating circuit, with separate controls for gate threshold and duration. The module shall have bass and treble controls with cut or boost of 10 dB at 100 Hz and 10 kHz, respectively. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

MBS1000

The microphone shall be a Bogen Model MBS1000. It shall be a dynamic-type, omni-directional, dual-impedance desktop microphone. The frequency response shall be uniform from 50Hz to 12,000Hz, with a presence boost at 2,000Hz for natural, intelligible sound. Impedance shall be selected via a switch on the underside of the microphone base.  Impedances shall be 400 ohms (matching 125 ohms to 1,000 ohms) or 40,000 ohms (matching 100k ohms or greater).  Voltage output shall be -76dB at Lo-Z, and -55dB at Hi-Z. The microphone shall provide push-to-talk and lift-to-talk operation.  The push-to-talk bar shall include a locking mechanism.  Provision shall be included to defeat lift-to-talk operation.  The microphone and relay switching shall be accomplished with long life DPDT professional leaf switches.  The microphone circuit shall be wired normally open.  The microphone shall be constructed of molded Cycolac® in black.  It shall be supplied with 7 feet of 4-conductor cable, 2-conductors individually shielded, and shall be permanently wired into the microphone.  Dimensions shall be 4-3/8" W x 9-3/8" H x 5-7/8" D.  Weight shall be 1-1/4 pounds.

Part No. 54-5090-01R1

Return to Index

MGN19

The microphone shall be a Bogen Model MGN19 dynamic-type, omni-directional microphone.  Frequency response shall be uniform from 50Hz to 12,000Hz, with a presence boost at 2,000Hz for natural, intelligible sound.  Impedance shall be 400 ohms.  A sealed push-to-talk  microswitch shall be mounted on the microphone housing.  The sensitivity shall be -76dB (+/- 3dB).  The microphone shall be furnished with a 19" chrome-plated flexible gooseneck and mounting flange and seven feet of rugged synthetic-jacketed 4-conductor, 2-shielded cable.  The microphone shall have a black Cycolac® cap and housing with chrome plated screen and shall measure 4-5/8" long with a maximum diameter of 1-3/8". Removable set screws shall secure the front cap to the microphone and the microphone to the gooseneck. Dimensions shall be 4-5/8" H x 1-3/8" Dia. Weight shall be 1-1/4 lbs.

Part No. 54-5090-01R1

Return to Index

MIC1S

The MIC1S module shall have a transformer-isolated, balanced input with screw terminal connector. It shall interface with low-impedance dynamic microphones. It shall also interface with electret condenser microphones and shall have an internal 24V DC phantom power supply to provide the bias supply that is selectable by a PCB jumper. The module shall have a gain/trim control that will allow the gain to be adjusted from 
28 dB to 62 dB of gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. The module shall have a VOX/gating circuit to control muting of lower priority modules and its internal gating circuit with separate controls for gate threshold and duration. It shall have a built-in limiter to limit the maximum output level of the module, with a threshold control. The module shall have bass and treble controls with cut or boost of 10 dB at 100 Hz and 10 kHz, respectively. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

MIC1X

The MIC1X module shall have a transformer-isolated, balanced input with XLR connector. It shall interface with low-impedance dynamic microphones. It shall also interface with electret condenser microphones and shall have an internal 24V DC phantom power supply to provide the bias supply that is selectable by a PCB jumper. The module shall have a gain/trim control that will allow the gain to be adjusted from 
28 dB to 62 dB of gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. The module shall have a VOX/gating circuit to control muting of lower priority modules and its internal gating circuit with separate controls for gate threshold and duration. It shall have a built-in limiter to limit the maximum output level of the module, with a threshold control. The module shall have bass and treble controls with cut or boost of 10 dB at 100 Hz and 10 kHz, respectively. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

MIC2S

The MIC2S module shall have an electronically-balanced input with screw terminal connector. It shall interface with low-impedance dynamic microphones. It shall also interface with electret condenser microphones and shall have an internal 24V DC phantom power supply to provide the bias supply that is selectable by a PCB jumper. The module shall have a gain/trim control that will allow the gain to be adjusted from 
18 dB to 62 dB of gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. The module shall have a VOX/gating circuit to control muting of lower priority modules and its internal gating circuit with control for gate threshold. It shall have a built-in limiter to limit the maximum output level of the module, with a threshold control. The module shall have bass and treble controls with cut only of 10 dB at 100 Hz and 
3 kHz, respectively. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

MIC2X

The MIC2X module shall have an electronically-balanced input with XLR connector. It shall interface with low-impedance dynamic microphones. It shall also interface with electret condenser microphones and shall have an internal 24V DC phantom power supply to provide the bias supply that is selectable by a PCB jumper. The module shall have a gain/trim control that will allow the gain to be adjusted from 18 dB to 62 dB of gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. The module shall have a VOX/gating circuit to control muting of lower priority modules and its internal gating circuit with control for gate threshold. It shall have a built-in limiter to limit the maximum output level of the module, with a threshold control. The module shall have bass and treble controls with cut only of 10 dB at 100 Hz and 3 kHz, respectively. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

MLA40, MLA40T

The system shall be a Bogen free-standing lectern (Model MLA40) or tabletop lectern (MLA40T).

The system shall be self-powered via a 40-watt built-in amplifier and shall have a frequency response of 20 Hz to 20 kHz.

The system shall include a shock-mounted, high-quality cardioid condenser phantom powered microphone.

Two microphone inputs shall be provided as well as a Hi-Z Aux input, each with independent volume controls. Both microphone inputs shall be compatible with dynamic or phantom powered microphones and shall share common bass and treble controls.

The system shall include a speech filter and Automatic Level Control circuit to enhance intelligibility and a line level output for taping or connection to another audio system.

The MLA40 shall be configurable for either tabletop use or as a traditional podium-style lectern. It shall include six 8" speakers and solid smooth rolling casters for mobility.

The MLA40T shall be configured for tabletop use and shall include two 8" speakers.

The system shall include a recessed brass reading lamp with an on/off switch. It shall be complemented by a medium oak finish.

The MLA40 shall measure 21-5/8" W x 48" H x 19-1/2" D and weigh 133 lb.

The MLA40T shall measure 21-5/8" W x 17" H x 19-1/2" D and shall weigh 63 lb.

Part No. 54-7864-01B

Return to Index

MMF

The transformer-balanced, low-impedance microphone pre-amplifier shall be a Bogen Model MMF, or equivalent. Input sensitivity for rated output (100mV) shall be 250mV, and maximum gain shall be 52dB.  The frequency response shall be 20Hz to 20kHz, ±1dB, with distortion less than .3%, and noise floor of -75dB.  It shall have screwdriver-adjustable low- and high-frequency cut filters providing an action of -3dB @ 400Hz and @ 5kHz, and a separate gain control with an adjustment range of 25dB.

The module shall be capable of providing phantom power to a condenser microphone, enabled by means of a printed circuit board jumper.  A female 3-pin connector shall be provided for microphone connection.

Part No. 54-9149-02R2

Return to Index

MMS

The transformer-balanced, low-impedance microphone pre-amplifier shall be a Bogen Model MMS, or equivalent. Input sensitivity for rated output (100mV) shall be 250mV, and maximum gain shall be 52dB.  The frequency response shall be 20Hz to 20kHz, ±1dB, with distortion less than .3%, and noise floor of -75dB.  It shall have screwdriver-adjustable low- and high-frequency cut filters providing an action of -3dB @ 400Hz and @ 5kHz, and a separate gain control with an adjustment range of 25dB.

The module shall be capable of providing phantom power to a condenser microphone, enabled by means of a printed circuit board jumper.  Screw terminals shall be provided for microphone connection.

Part No. 54-9149-02R2

Return to Index

MPS

The transformer-balanced, low-impedance paging microphone pre-amplifier shall be a Bogen Model MPS, or equivalent.  The unit shall be signal-activated, the channel being normally "off", gating "on" when a 15mV voice-signal is present at the input. It shall have built-in automatic level control (ALC) circuitry with a range of ±1dB output change with an input level change of -10dB to +20dB (referenced to nominal input level, -70dBm), which can be bypassed by means of a printed circuit board jumper.  Input sensitivity for rated output (100mV) shall be 250mV, and maximum gain shall be 52dB.  The frequency response shall be 20Hz to 15kHz, ±2dB, with distortion less than .3%, 20Hz to 20kHz, with the ALC OUT, and less than .75%, 50Hz to 20kHz, with the ALC IN.  Noise floor shall be -75dB.

The module shall include screwdriver-adjustable low- and high-frequency cut filters providing an action of -3dB @ 400Hz and @ 5kHz, and a separate gain control with an adjustment range of 25dB.  Paging priority shall be user-selectable, from three priority levels, by means of circuit board jumpers. Screw terminals shall be provided for microphone connection.

Part No. 54-9149-02R2

Return to Index

MR8

The plaster ring shall be a Bogen model MR8, or equivalent, circular cold-rolled steel unit. It shall be finished in a rust-retardant gray primer coating, and the dimensions shall be: 12" dia. x 3/4"D.

Part No. 54-7777-06R2

Return to Index

MRS

The microphone pre-amplifier with remote volume control shall be a Bogen Model MRS, or equivalent.  It shall be transformer-balanced, low-impedance, with an input sensitivity for rated output (100mV), of 250mV, and a maximum gain of 52dB.  The frequency response shall be 20Hz to 20kHz, ±1dB, with distortion less than .3% from 20Hz to 20kHz. The noise floor shall be -75dB.

The remote volume control range shall be from 0dB to -60dB. When used with the Bogen accessory, Model RVCD, remote volume control shall be possible from distances up to 2,000 feet without loss of gain.  Screw terminals shall be provided to connect the RVCD accessory.

The module shall include screwdriver-adjustable low- and high-frequency cut filters providing an action of -3dB @ 400Hz and @ 5kHz, and a separate gain control with an adjustment range of 25dB.  The module shall be capable of providing phantom power to a condenser microphone, enabled by means of a printed circuit board jumper.  Screw terminals shall be provided for microphone connection.

Part No. 54-9149-02R2

Return to Index

MT250D

The power amplifier shall be a Bogen Model MT250D Power Amplifier.  It shall meet UL 1711 standard for Fire Protective Signaling Systems and shall be designed to operate from 120/240VAC (50/60Hz), and from a 24-volt battery backup system.  It shall include a battery saver circuit which shall automatically reduce idling power requirements after at least 20 seconds of no signal.

The amplifier shall provide a rated output power of 250 watts with less than 2% total distortion at rated power, 50 to 15,000Hz.  Frequency response shall be ±2dB from 20 to 20,000.  The noise level shall be 90dB below rated output and regulation shall be better than 2dB from no load to full load.

The front panel power switch shall be disabled such that the amplifier remains “on” regardless of the position of the switch.  (An internal jumper shall be provided to enable the switch.)  The unit shall be protected against AC line surges, overloads, shorted output terminals, and abnormal heat buildup.

The amplifier shall accept input from a high-impedance unbalanced source or balanced low-impedance source (requires accessory transformer).  Input impedance (nominal, Hi-Z) shall be 50 kilohms; input sensitivity shall be 1 volt for full rated output.  Input impedance (nominal, Lo-Z) shall be 600 ohms (requires the use of an accessory transformer).  Input sensitivity shall be 200mV with the input selector switch in the HIGH LEVEL position, and 70mV with the switch in the TEL LINE position.  Provisions shall be included for bridging input (requires accessory transformer).

Five output transformer taps shall be provided on the rear panel: 12.5V, 25V, 8-ohm, 70.7V and 100V.  A polarized output receptacle shall be provided for the 100V output.  A low-cut filter switch and input level control shall be provided.

The amplifier shall be housed in a sturdy 11-gauge metal enclosure.  The front panel shall include predrilled mounting holes for installation in standard equipment racks.  Front panel dimensions shall be 19” wide  x 5-1/4” high.  Shipping weight shall be approximately 60 pounds.

Part No. 54-7824-03

Return to Index

NR100

The night ringer shall be a Bogen Model NR100. The night ringer shall send an electronic tone through paging system speakers when triggered by the telephone system’s night bell circuit. The NR100 can be used to signal security guards or other late-working personnel.

The night ringer shall comply with Part 68 of FCC rules. It shall easily connect to the Aux input of a paging amplifier and activated by either 90V ring or contact closure. The unit will produce an electronic warble tone and will be equipped with a volume adjustment. Connections will be included to attach a background music source. The ringer will preempt the background music automatically.

Rugged and compact in design, the unit will measure only 5-1/4" W x 3" H x 1-1/4" D and will have flanges for easy wall mounting. It will operate from a 24V DC power source, not included; Bogen RF24A recommended.

Part No. 54-9134-03R2

Return to Index

OCS1

The loudspeaker shall be a NEAR Orbit Model OCS1 Ceiling Speaker or approved equivalent, consisting of one 6-1/2" (nominal) low frequency transducer, one 20mm (3/4") (nominal) high frequency transducer with a filter network for dividing frequencies between the transducers.

The front baffle shall be injection-molded, ABS material containing fire inhibitors with a 94VO rating, and the back can (enclosure) shall be plated steel. All components shall be mounted inside the enclosure.

The baffle shall be supplied in white with a mild texture finish to promote paint adhesion if desired. A perforated speaker grille shall be made from heavy-gauge steel, color-matched to the baffle.

The low-frequency driver shall utilize a metal-alloy cone with hard-anodized surface treatment for rigidity and corrosion resistance. The cone shall provide a heat transfer element for the voice coil under high-power input. A compounded rubber cone surround shall be formulated to withstand environmental conditions with high or low heat, high or low humidity, and ultra-violet light. The voice coil shall be protected via a high gauss low viscosity magnetic liquid (ferrofluid), to prevent corrosion from occurring in the magnet gap. The fluid will also serve as a thermal path to further reduce heat build-up in the voice coil. The driver will utilize the ferrofluid to provide centering force for the voice coil in the magnet gap.

The high-frequency driver shall utilize a diaphragm consisting of black polycarbonate. Ferrofluid shall dampen the voice coil and facilitate the transfer of heat from the coil to the magnet structure.

Integral swing-out clamps shall provide a secure installation in the ceiling surface. A safety cable attachment point shall be included in the removable terminal cover enclosure.  An optional 10-foot long cable kit shall be available to serve as a back-up support cable (Model CK10). An optional tile bridge support ring installation bracket shall provide additional support when mounting the loudspeaker into suspended ceilings (Model TBCR). The bracket shall also serve as a pre-installation guide for new construction installations, providing attachment to either 16" OC or 24" OC mounting.

The input connector shall be a 4-screw snap-lock input connector, providing "loop-through" for additional speakers.

Power input selection shall be via a front-mounted rotary switch, located under the removable grille. 70V (high-impedance) tap selections shall be 1, 2, 4, 8, 16, and 32 watts; 100V (high-impedance) tap selections shall be 2, 4, 8, 16, and 32 watts. A low-impedance 16-ohm selection shall also be provided.

Dimensions of the speaker shall not exceed 12-5/16" diameter x 12" D. Weight shall be 10 lb.

Part No. 54-8016-01A

Return to Index

OPS1

The loudspeakers shall be NEAR ORBIT Model OPS1W (White), and OPS1B (Black) or approved equivalent, consisting of one 6-1/2" (nominal) low frequency transducer, and one 20mm (3/4") (nominal) high frequency transducer with a filter network for dividing frequencies between the transducers.

An injection-molded, ABS material containing fire inhibitors with a 94VO rating, shall house all components.

The enclosure shall be supplied in either white or black in color with a mild texture finish to promote paint adhesion if desired. A perforated speaker grille shall be made from heavy-gauge steel, color-matched to the enclosure.

The low-frequency driver shall utilize a metal-alloy cone with hard-anodized surface treatment for rigidity and corrosion resistance. The cone shall provide a heat transfer element for the voice coil under high-power input. A compounded rubber cone surround shall be formulated to withstand environmental conditions with high or low heat, high or low humidity, and ultra-violet light. The voice coil shall be protected via a high gauss low viscosity magnetic liquid (ferrofluid), to prevent corrosion from occurring in the magnet gap. The fluid will also serve as a thermal path to further reduce heat build-up in the voice coil. The driver will utilize the ferrofluid to provide a centering force for the voice coil in the magnet gap.

The high-frequency driver shall utilize a diaphragm consisting of black polycarbonate. Ferrofluid shall dampen the voice coil and facilitate the transfer of heat from the coil to the magnet structure.

The hanging cables shall be designed with forged eye bolts captured on one end to attach directly to the enclosure. The other end of the cables shall have a secured loop that will attach to a quick connect clip. An integral safety cable attachment point shall be included in the enclosure. An optional 10-foot cable kit (CK10) shall be available to serve as a back-up safety cable or main suspension drop cable.  An internal safety strap ensures that the drivers are secured to the upper suspension.

The input connector shall be a 4-screw snap-lock removable connector, providing "loop-through" for additional speakers.

Power input selection shall be via a front-mounted rotary switch, located under the removable grille. 70V (high-impedance) tap selections shall be 1, 2, 4, 8, 16, and 32 watts; 100V (high-impedance) tap selections shall be 2, 4, 8, 16, and 32 watts. A low-impedance 16-ohm selection shall also be provided.

Dimensions of the speaker shall not exceed 15" diameter x 9-1/4" high. Weight shall not exceed 10 lb.

Part No. 54-8016-02A

Return to Index

PCM2000 (Modules PCMCPU, PCMTBM, PCMTIM, and PCMZPM)

The zone paging system shall be the Bogen PCM2000 Zone Paging System, designed for direct connection to loop start and ground start trunks, to PBX or KEY paging ports which supply DTMF capability, and to analog T/R lines. The unit shall allow total system amplifier powers of up to 250W.

The unit shall include flanges with keyhole slots for wall-mounted installation.  Operation shall require a 12V DC power supply.  A suitable power supply shall be provided (PCMPS2 power supply).

The system shall consist of the appropriate modules as specified and shall be registered under Part 68 of FCC rules.

###### Modules

All modules shall be designed for wall-mounted installation. All modules shall be equipped with a ribbon cable and connector and power cable with connector to permit them to be interconnected to each other.  The face plates of each module shall be finished in black, with each control/connector clearly labeled in white.  Each face plate shall have knockouts to facilitate cable and wire dressing.  All connections shall be made using a small regular screwdriver or common jacks (RJ11 or RCA).

The following modules shall be supplied:

PCMCPU - Central Processing Module. One PCMCPU module shall be provided for the first nine (9) zones in the system.  One PCMCPU module shall be needed for each satellite system.

The module shall provide for satellite system identification via built-in DIP switches.  It shall include a locking program/run selector switch (with program LED), satellite data link RCA jack, and 12V DC power source jack.  A connector block, using screw terminal connections, shall be provided for paging amplification connection, low-power and high-power BGM connections, emergency/shift change signal activation, AUX contact closure, and 12V DC power source connection.  A power-on LED indicator shall be provided to indicate power-applied status.

PCMTBM - Talkback Module.  One PCMTBM talkback module shall be provided per system (including any satellite systems).  The module shall provide for talkback operation in centrally-amplified zones (only).  The module shall provide a power on-LED, talkback volume control, and talkback switching delay control.  A connector block, using screw terminal connectors shall be included for paging amplification wiring.

PCMTIM - Telephone Interface Module.  One PCMTIM module shall be provided per PCM2000 system.  The module shall provide for telephone interface selection via built-in DIP switches.  It shall include a volume control for tone and BGM source, and RJ11 jacks for night ringer, telephone line, and override.  A connector block, using screw terminal connections, shall be provided for BGM source, and two (2) C-form relay contact sets.  A power- on LED indicator shall be provided to indicate power- applied status.

PCMZPM - Zone Paging Module. One PCMZPM module shall be provided for each three (3) paging zones in the system.  Up to three (3) PCMZPM modules may be connected to the master system, for a total zone capacity of 9 zones.  Up to three (3) additional PCMZPM modules may be connected with a PCMCPU module to form a satellite system to further increase zone capacity.

The PCMZPM module shall provide built-in DIP switches to set talkback on/off for each zone.  It shall include a power-on LED, low-power background music volume control, background music out/in jumper field, local BGM selection jumpers, and high-power/low-power operation selector switch.  A connector block, using screw terminal connections, shall be included to connect local background music, zone wiring, and relay driver outputs.

Part No. 54-7833-03R2

Return to Index

PCMPS2

The power supply shall be the Bogen PCMPS2 plug-in power supply, with 120V AC 60Hz input and 12V DC, 1.5A output.

Part No. 54-7833-03R2

Return to Index

PEQ1R

The PEQ1R module shall have a ‘Q’ control that provides control over the ‘Q’ (bandwidth) of the two parametric filters. The ‘Q’ shall be continuously adjustable from 1.5 octaves to 1/6 octave in order to meet both wideband and narrow-band equalization requirements. The PEQ1R shall have a frequency control that shall provide control over the center frequency of the 2 parametric filters with a frequency range of 200 Hz to 4 kHz (Lo-Mid) and 1 kHz to 8 kHz (Hi-Mid). The parametric bands shall have a gain control that will allow 14 dB of cut or boost. The PEQ1R shall have bass and treble controls with a gain range of 12 dB cut or boost at 100 Hz for the bass and at 10 kHz for the treble. The PEQ1R shall have an equalizer bypass switch that shall provide instant comparison between equalization and no equalization during the tuning of the system.

The PEQ1R module shall have an unbalanced RCA input that provides a 20 k-ohm input impedance. The unbalanced input shall connect to the amplifier’s front level control for the bay in which it is installed so that the input shall not be forfeited when using the output module. Aux inputs shall have the ability to be muted by higher priority modules. It shall have a gradual fade back from mute when the mute control is deactivated.

Part No. 54-8014-01R1

Return to Index

PG8A

The ceiling speaker grille shall be a Bogen model PG8W steel grille, or equivalent, capable of protecting and concealing a recessed 8" cone-type loudspeaker.  The diameter of the grille shall be 13" and it shall be low profile and finished in white semi-gloss enamel.

Part No. 54-7777-06R2

Return to Index

PG8W

The ceiling speaker grille shall be a Bogen model PG8A aluminum grille, or equivalent, capable of protecting and concealing a recessed 8" cone-type loudspeaker.  The diameter of the grille shall be 13" and it shall be low profile and finished in satin aluminum.

Part No. 54-7777-06R2

Return to Index

PI35A

The intercom system shall be a Bogen Model PI35A.

The PI35A shall provide instantaneous intercommunication and background music (or other program) for up to 25 speaker-equipped stations. A 20-watt intercom amplifier shall feature a frequency response that has been shaped for maximum intelligibility. A built-in 35-watt program amplifier shall ensure that program material and/or emergency announcements are clearly heard and easily understood. The front panel shall include step-by-step instructions and color-coded guidelines for easy access and operation.

Complete facilities shall be provided for distributing program material from microphones, cassette player, or other background music source. Distribution shall be accomplished by simple push-button selection, following the color-coded guidelines. Emergency announcements shall take precedence over program distribution and shall be accomplished with a single push-button selection and a built-in console microphone. Provision shall be included to permit the distribution of a time signal to all stations.

Optional paging facilities shall permit emergency all-call paging from a remote telephone, or interphone, or microphone. Telephone paging captures system priority and overrides all system functions except the emergency page feature.

The PI35A shall include a built-in time tone that can be sent to the entire system, supervisory tone to signal unauthorized monitoring from the control panel, and monitor speaker to monitor a program or listen to a station.

A room selector panel shall be provided to select intercom and program functions for each station. Calls from stations shall be initiated through call-in switches and shall be announced at the control center by light and tone annunciation. Provisions shall be made for two-wire or voice call-in.

The PI35A shall be enclosed in a space-saving console, finished in an attractive simulated walnut veneer. The system shall provide a 25-volt balanced output and operate from a 120V AC, 60Hz source. Maximum power consumption shall be 100 watts. Dimensions shall be 20-1/2" W x 8-1/2" H x 11" D. Shipping weight shall be 31 lb.

Part No. 54-7796-03R2

Return to Index

PM3000

The pre-amplifier shall be a Bogen ProMatrix Digitally Matrixed Pre-Amplifier, Model PM3000.

The pre-amplifier shall incorporate three independent audio channels and provide 4 aux inputs and 2 mic inputs that can be individually assigned to each pre-amplifier channel with one of the mic inputs programmable for telephone paging applications.

The pre-amplifier shall provide for automatic switching of inputs based on input activity. It shall be possible to assign a priority level for each input on each output channel.

Each output shall supply both balanced and unbalanced signals. Front panel mounted LED output level meters shall be provided for each pre-amplifier channel.

The pre-amplifier shall provide automatic fade-in of audio source after a microphone page or when switching to a lower priority input.  The paging over music level shall be adjustable.

A front-mounted, removable control panel and a wireless infrared remote control unit shall be provided.

There shall be two (2) modes of operation.  The User mode shall permit the selection of a pre-amplifier channel to perform the following operations: manual selection of an input source; adjustment of volume level; adjustment of bass and treble response. The Programming mode shall be password-protected and shall permit the following operations: assignment of priority levels; set microphone precedence activation, ALC, phantom power and mic/tel assignment; preset volume, bass, and treble levels; limit maximum output volume; inhibit user’s ability to make volume or tone adjustments; set mute level of aux inputs during a microphone page; change program mode password; create custom display labels for input sources; reset all features to factory defaults.

All programming steps shall be displayed and verified on an alphanumeric display panel. It shall be possible to program the unit using the control panel or infrared remote control unit. Non-volatile memory shall be used to retain user control settings.

The pre-amplifier shall operate from either a 120V or 240V AC source. Technical specifications shall be as listed in the Technical Specifications Table.

Part No. 54-7883-01R2

Return to Index

PM3180

The amplifier shall be a Bogen ProMatrix Digitally Matrixed Amplifier, Model PM3180. It shall incorporate three independent amplifier channels rated at 20, 60, and 100 watts.  The user interface shall be all-digital and shall automatically control the distribution of multiple program and paging inputs to separate areas served by the amplifier.

The amplifier shall provide 2 Lo-Z balanced Mic inputs. It shall be possible to configure Mic B as a 600-ohm transformer balanced input for telephone paging applications. There shall be automatic level control for Mic inputs as well as a choice of microphone precedence activation (VOX, Normally Open, Normally Closed) and available phantom power for use with condenser microphones.

There shall be 4 auxiliary inputs (RCA unbalanced).  Input trim controls shall be provided to adjust for differing audio source input levels.

The amplifier shall provide for automatic switching of inputs based on input activity. It shall be possible to assign a priority level for each input on each amplifier channel.

Each amplifier channel shall have separate 4- and 8-ohm outputs as well as 25 and 70 volt taps. Audio processing inserts shall be included for each amp channel to facilitate the insertion of external signal processing equipment. Front panel mounted LED output level meters shall be provided for each amp channel.

The amplifier shall provide automatic fade-in of audio source after a microphone page or when switching to a lower priority input. The paging over music level shall be adjustable.

A front-mounted, removable control panel and a wireless infrared remote control unit shall be provided.

There shall be two (2) modes of operation. The User mode shall permit the selection of an amplifier channel to perform the following operations: a) manual selection of an input source; b) adjustment of volume level; c) adjustment of bass and treble response. The Programming mode shall be password-protected and shall permit the following operations:

a) Assignment of priority levels; b) Set microphone precedence activation, ALC, phantom power and mic/tel assignment; c) Preset volume, bass and treble levels; d) Limit maximum volume for each amp/input combination; e) Inhibit user’s ability to make volume or tone adjustments; f) Set mute level of aux inputs during a microphone page; g) Set audio processing link operation; h) Change program mode password; i) Create custom display labels for input sources; j) Reset all features to factory defaults.

All programming steps shall be displayed and verified on an alphanumeric display panel. It shall be possible to program the unit using the control panel or infrared remote control unit. Non-volatile memory shall be used to retain user control settings.

The amplifier shall operate from a 110V AC source. The unit shall be rack-mounted with optional mounting kit (RPK79). The display panel shall be wall-mounted with optional mounting kit (RMPWMK3).

Part No. 54-7873-01R2

Return to Index

PRO4, PRO8, PRO12, PRO16

The message-on-hold announcer shall be a Bogen Model _____ (specify PRO4, PRO8, PRO12, or PRO16) announcer that shall achieve a full 64 KBPS digital toll quality sampling rate. The unit shall have a ______ (specify 4, 8, 12, or 16 minute) memory length.

The ProHold shall automatically assess the audio start and stop points, set the record levels, set the downloads, and go into play mode. If power to the unit is interrupted, the ProHold shall automatically reload the program from the tape left in the unit. The ProHold shall have a one-time play feature controlled by a built-in trigger jack. The audio output shall be connected to a loudspeaker and message-triggered by a switch. The trigger jack shall have a message sensing feature that can signal other equipment, such as lights, doors, etc., during playback.

The ProHold shall have a 600-ohm transformer-balanced output and a 1 watt into 8 ohms output available. The ProHold shall come with power on/off, speaker on/off, volume, and trigger controls. The unit may be wall- or table-mounted.

The ProHold shall be powered by a 12V @ 800mA from 120V AC power supply. The dimensions shall be 9-5/8" W x 6-3/4" H x 3-3/8" D. The shipping weight shall be 5 lb.

Part No. 54-9168-06R2

Return to Index

PRS40C

The power supply shall be a Bogen Model PRS40C, or approved equivalent, and shall supply 12V DC at 300 mA from a 120V DC, 60 Hz source. Maximum power consumption shall be 8 watts. The sleeve of the mini plug (and the lead with the white tracer) shall be positive. The power supply shall measure 2” W x 2-3/8” H x 1-5/8” D. The power supply shall be UL listed.

Part No. 54-7610-03R3

Return to Index

PRS48

The power supply shall be a Bogen Model PRS48, or approved equivalent, and shall supply 48V DC at 100 mA from a 120V AC, 60 Hz source. Maximum power consumption shall be 24 watts. The power supply shall measure 2-1/2” W x 3” H x 1-7/8” D. The power supply shall be UL listed.

Part No. 54-7610-03R3

Return to Index

PRS624DA

The dual power supply shall be a Bogen Model PRS624DA, or approved equivalent, and shall supply 24V DC at 4A, and 24V DC at 250 mA from a 120V AC, 60 Hz source. Maximum power consumption shall be 300 watts. The power supply shall be of solid-state construction and shall provide short-circuit protection, automatic cutoff and reset, LED “ON” indicator, and external fuse. The power supply shall have the capability of providing 24V DC at 35 mA loop current to the Tip and Ring lines of a loop-start trunk or CO line. Dimensions shall be 4-3/8” W x 6-5/8” H x 6-1/4” D.

Part No. 54-7610-03R3

Return to Index

PRSASAC

The power supply shall be a Bogen Model PRSASAC, or approved equivalent, and shall supply regulated 24V DC at 450 mA from a 120V AC, 60 Hz source. It shall also have the capability of providing 24V DC at 35 mA Loop Current to the TIP and RING lines of a loop-start trunk or CO line. Maximum power consumption shall be 30 watts.

The unit shall be of solid-state construction and shall feature a flange for wall or cabinet mounting, a recessed barrier strip, and a three-wire line cord terminated in a three-prong plug. Dimensions shall be 2-3/4” W x 4-1/2” H x 2-1/2” D. The power supply shall be UL and CSA listed.

Part No. 54-7610-03R3

Return to Index

R6, R6T

The landscape speaker shall be a Bogen Model _____ (specify R6 or R6T) and capable of handling 100W @ 8 ohms (R6) or 32W @ 70V (R6T).

The speaker shall be completely weatherproof and shall be designed with NEAR’s Metal Diaphragm Technology (MDT)™ and Magnetic Liquid Suspension (MLS)™, which shall ensure reliability even in the most extreme outdoor environments without any change in acoustical quality or ability to deliver superior sound.

NEAR Rock Landscape Loudspeakers shall look like rocks, shall be shaped like rocks, and textured to feel like rocks. They shall have a 6" mid/bass driver and be horizontal in orientation with a _________ (specify sandstone or granite) color scheme.

NEAR Rocks shall offer elevated sound dispersion at 100° Horizontal and 45° Vertical. The frequency response shall be 75Hz-20kHz with a sensitivity of 88dBspl.

The R6 and R6T shall be 18" W x 10" H x 14" D and shall weigh 35 lb. (R6) and 37 lb. (R6T).

Part No. 54-9249-01R2

Return to Index

R8, R8T

The landscape speaker shall be a Bogen Model _____ (specify R8 or R8T) and capable of handling 175W @ 8 ohms (R8) and 64W @ 70V (R8T).

The speaker shall be completely weatherproof and shall be designed with NEAR’s Metal Diaphragm Technology (MDT)™ and Magnetic Liquid Suspension (MLS)™, which will ensure reliability even in the most extreme outdoor environments without any change in acoustical quality or ability to deliver superior sound.

NEAR Rock Landscape Loudspeakers shall look like rocks, shall be shaped like rocks, and textured to feel like rocks. They shall have an 8" mid/bass driver and be vertical in orientation, with a __________ (specify sandstone or granite) color scheme.

NEAR Rocks will offer elevated sound dispersion at 100° Horizontal and 45° Vertical. The frequency response shall be 60Hz-20kHz with a sensitivity of 90 dBspl.

The R8 and R8T shall be 23" W x 16" H x 15" D and shall weigh 64 lb. (R8) and 67 lb. (R8T).

Part No. 54-9249-01R2

Return to Index

RE84

The protective enclosure for the 8" cone-type loudspeakers shall be Bogen model RE84, or equivalent, designed for recessed installations.  It shall be constructed of one-piece heavy-gauge steel, and shall include a speaker mounting ring.  A foam insert shall be permanently attached to the inner surface, to prevent metallic resonance.  Four combination 1/2" – 3/4" conduit knockouts shall be provided at 90 degree intervals, and the unit shall be finished in a rust-retardant black primer coating.  The dimensions shall be: 12-1/4" dia. x 4-1/2"D.

Part No. 54-7777-06R2

Return to Index

RF12A

The power supply shall be a Bogen Model RF12A, or approved equivalent, and shall supply regulated 12V DC at 1A from a 120V AC, 60 Hz source. Maximum power consumption shall be 24 watts. An LED pilot lamp, recessed screw terminals and provisions for wall-mounting shall be provided. The power supply shall measure 3” W x 2-3/4” H x 4-3/4” D.

Part No. 54-7610-03R3

Return to Index

RF24A

The power supply shall be a Bogen Model RF24A, or approved equivalent, and shall supply regulated 24V DC at 1A from a 120V AC, 60 Hz source. Maximum power consumption shall be 48 watts. An LED pilot lamp, recessed screw terminals, and provisions for wall-mounting shall be provided. The power supply shall measure 3” W x 2-3/4” H x 4-3/4” D.

Part No. 54-7610-03R3

Return to Index

RM350D

The paging system shall be the Bogen RM350D, a self-contained paging system for small- to medium-sized applications.  It shall combine digital tuner, microphone, and aux inputs with a 35-watt output and shall be capable of driving 4- to 8-ohm speaker systems as well as 25 or 70 volt distributed systems.

The tuner section shall use a PLL synthesizer to provide accurate band selection.  An LCD display shall be provided to display frequency readout.  It shall be possible to program up to 18 FM and 12 AM preset stations. Push buttons shall be provided to tune stations, select presets, and scan preset stations.

An integral microphone input shall accept a balanced Lo-Z microphone.  Input connection shall be via a three-pin standard mic connector.  A microphone volume control shall be provided.  The input shall include a switch-selected ALC circuit to maintain a constant output level.  The input shall also include VOX- or contact-activated mute of program from tuner or aux source.  Provisions shall be included to mute the program using dry contact from a customer-supplied switch. Either normally open or normally closed switches can be used.

A pushbutton on the front panel shall select between the tuner or Aux input as a program source.  The aux input shall consist of a single RCA jack to accept signal from a cassette player, CD, or other line-level source.  Bass, treble, and volume controls shall be provided to adjust the level of program.  The volume control shall not affect the microphone input.

The RM350D shall permit connection of up to four switch-selected paging zones. A push button shall be included to select single zones; a single button shall be included to select all zones at once.  A pre-page output shall be provided to route tuner or aux input to a telephone music-on-hold input.  The output shall not be affected by volume, bass or treble settings.

It shall be possible to supply telephone line input to the unit when an accessory transformer (specify Model WMT1A) is used.  Output taps shall be provided for direct connection of 4- to 8- ohm speakers and for connection of 25 or 70 volt distributed systems.  Individual zone taps shall be provided for ease of connection.  An impedance jumper shall be provided to set the output signal on the zone taps.

The RM350D shall operate from a nominal 120V/60Hz AC source, and shall be UL listed. It shall be rack mountable using accessory brackets (model RPK47) as an option. An FM dipole antenna, AM loop antenna, mono patch cord, and stereo-to-mono patch cord shall be included with the unit.

Part No. 54-7876-01R2

Return to Index

S86, S86T725, S86T725BR

The loudspeaker shall be a Bogen model S86 (or transformer coupled S86T725 or S86T725BR), or equivalent, 8" cone-type loudspeaker, having a frequency response of at least 50Hz to 12kHz.  Axial sensitivity shall be 95dB, at four feet with one-watt input.  The loudspeaker shall have a 6 oz. ceramic magnet, a 3/4" inch voice coil, and a power handling capacity of 7W, minimum.  Mounting holes shall be provided for attaching an optional transformer. Speaker depth shall be 3-1/4".

– (For S86T725 add)  A transformer, capable of matching an 8-ohm loudspeaker to a 25-volt or 70-volt line, and providing power taps of 4, 2, 1, 1/2, 1/4, and 1/8 watts shall be included.  The transformer primary and secondary leads shall be stripped, tinned, and shall be at least 6" in length.

– (For S86T725BR add)  A terminal strip shall be provided for connection of the audio line.  Terminals shall be labeled for 4, 2, 1, 1/2, 1/4, and 1/8 watt connection.

Part No. 54-7777-06R2

Return to Index

S86T725PG8W, S86T725PG8WBR, S86T725PG8WBRVK, S86T725PG8WBRVR, S86T725PG8WVK, S86T725PG8WVR

The loudspeaker assembly shall be a Bogen model S86T725PG8W (or S86T725PG8WVR, S86T725PG8WVK, S86T725PG8WBR, S86T725PG8WBRVR, or S86T725PG8WBRVK), or equivalent, 8" cone-type loudspeaker, having a frequency response of at least 50Hz to 12kHz.  Axial sensitivity shall be 95dB, at four feet with one-watt input.  The loudspeaker shall have a 6 oz. ceramic magnet and a 3/4" voice coil.  A transformer, capable of matching an 8-ohm loudspeaker to a 25-volt or 70-volt line, and providing power taps of 4, 2, 1, 1/2, 1/4, and 1/8 watts shall be included.  The transformer primary and secondary leads shall be stripped, tinned, and shall be at least 6" in length.

The loudspeaker shall be assembled on a 13" steel ceiling grille, finished in white semi-gloss enamel.

– (For S86T725PG8WVR add) A recessed control shall be included to adjust the volume of the loudspeaker.

– (For S86T725PG8WVK add)  A control, accessible from the front of the grille, shall be included to adjust the volume of the loudspeaker.

– (For S86T725PG8WBR add)  A terminal strip shall be included for connection of the audio line.  Terminals shall be labeled for 4, 2, 1, 1/2, 1/4, and 1/8 watt power connection.

– (For S86T725PG8WBRVR add)  A terminal strip shall be included for connection of the audio line.  Terminals shall be labeled for 4, 2, 1, 1/2, 1/4, and 1/8 watt power connection. A recessed control shall be included to adjust the volume of the loudspeaker.

– (For S86T725PG8WBRVK add)  A terminal strip shall be included for connection of the audio line.  Terminals shall be labeled for 4, 2, 1, 1/2, 1/4, and 1/8 watt power connection. A control, accessible from the front of the grille, shall be included to adjust the volume of the loudspeaker.

Part No. 54-7777-06R2

Return to Index

S810, S810T725

The loudspeaker shall be a Bogen model S810 (or transformer coupled S810T725), or equivalent, 8" cone-type loudspeaker, having a frequency response of at least 70Hz to 15kHz.  Axial sensitivity shall be 96dB, at four feet with one-watt input.  The loudspeaker shall have a 10 oz. ceramic magnet, a 1" voice coil, and power handling capacity of 15 watts, minimum.  Mounting holes shall be provided for attaching an optional transformer.  Speaker depth shall be 3-1/4".

– (For S810T725 add) A transformer, capable of matching an 8-ohm loudspeaker to a 25-volt or 70-volt line, and providing power taps of 4, 2, 1, 1/2, 1/4, and 1/8 watts shall be included.  The transformer primary and secondary leads shall be stripped, tinned, and shall be at least 6" in length.

Part No. 54-7777-06R2

Return to Index

S810T725PG8W, S810T725PG8WVK, S810T725PG8WVR

The loudspeaker shall be a Bogen model S810T725PG8W (or S810T725PG8WVK, or S810T725PG8WVR), or equivalent, 8" cone-type loudspeaker, having a frequency response of at least 70Hz to 15kHz.  Axial sensitivity shall be 96dB, at four feet with one-watt input.  The loudspeaker shall have a 10 oz. ceramic magnet and a 1" voice coil.  A transformer, capable of matching an 8-ohm loudspeaker to a 25-volt or 70-volt line, and providing power taps of 4, 2, 1, 1/2, 1/4, and 1/8 watts shall be included.  The transformer primary and secondary leads shall be stripped, tinned, and shall be at least 6" in length.  The loudspeaker shall be assembled on a 13" steel ceiling grille, finished in white semi-gloss enamel.

Part No. 54-7777-06R2

Return to Index

SAX1R

The SAX1R module shall be a stereo, high-impedance, unbalanced input module. The module shall have two RCA jacks for its input connectors. The module shall have a gain/trim control that will allow the gain to be adjusted up to +6 dB relative to 0 dB nominal gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. It shall have a continuously variable ducking control that will enable attenuation of the input signal from a minimum of 10 dB to a maximum of 48 dB relative to the normal unmuted condition and a gradual fade back from mute when the mute control is deactivated. The module shall have a VOX/gating circuit to control muting of lower priority modules and its internal gating circuit, with separate controls for gate threshold and duration. The module shall have bass and treble controls with cut or boost of 10 dB at 100 Hz and 10 kHz, respectively. The module’s output shall be assignable to either or both of two mixing buses. The module shall allow stereo sources to be mixed into mono and sent to either or both of two mix buses.

Part No. 54-5093-01R2

Return to Index

SBA225, SBA325

The Room Selector Panel shall be a Bogen Model _________ (enter SBA225 or SBA325), or approved equal.

– Use the following 2 paragraphs for SBA225 –

The panel shall be  capable of connecting up to 25 speaker-equipped locations to a program, off or intercom channel.  The panel shall provide 25 lever-action three-position, four-pole selector switches with positive detents and 25 red LEDs.

Switch positions shall be legibly identified as PROGRAM A, OFF and INTERCOM C, each with a color-coded guideline in accordance with the operating method used in Bogen Multi-Graphic Systems.

– Use the following 3 paragraphs for SBA325 –

The panel shall be capable of connecting up to 25 speaker-equipped locations to either of two program channels, off, or to an intercom channel.  The panel shall provide 25 lever-action three-position four-pole switches with positive detents, 25 push on/off intercom channel selector switches and 25 red LEDs.

Switch positions shall be legibly identified as PROGRAM–A,  PROGRAM–B,  and  OFF O.  The intercom channel switches shall be labeled I/C.  Each channel shall have a color-coded guideline in accordance with the operating method used in Bogen Multi-Graphic Systems.

The annunciator system shall illuminate the appropriate LED and sound a tone signal when a call is placed from a staff station.  The call shall be acknowledged by pressing the appropriate intercom selector switch, which shall cause the LED to flash to remind the operator that the channel is open.

– Use the remaining paragraphs for both panels –

The individual switches shall be designed for maximum reliability and a life expectancy of over 250,000 operations.  Switches which have a lower life expectancy shall not be accepted.  Switch handles shall be permanently affixed to the levers.  Knobs and handles held in place by friction will not be accepted.  Switches shall be self-wiping with precious metal contact surfaces.

The annunciator system shall provide for automatic call cancellation, and shall operate on less than 15VDC to eliminate any shock hazard.  Annunciator systems which do not provide automatic call cancellation, or which use holding relays or other mechanical devices will not be accepted.

The room selector panel shall provide for the ready accommodation of add-on TZMA Time Zone Module and/or SCR25A Call-In Module.

Part No. 54-7857-02R2

Return to Index

SCR25A

The Call-in module shall be a Bogen Model SCR25A, or approved equivalent, and shall operate with room selector panels in Bogen Multi-Graphic systems.  The module shall provide annunciator latching capacity for up to 25 circuits.

The module shall provide 25 silicon controlled rectifiers and shall permit the use of momentary switches without SCRs for call-in to a central console.

Connection to the room selector panel shall be via simple plug-in method.  Construction shall be of G-10 glass epoxy.  Support brackets shall be supplied.  Termination shall be via centerline pins. The module shall measure 16-3/4”W x 3-1/2”D x 3/4”H, and shall weigh 8 ounces.

Part No. 54-7618-04

Return to Index

SCU250

The microphone shall be a Bogen Model SCU250. It shall be a cardioid, back electret condenser boundary microphone with a frequency response of 50Hz to 18kHz and a 250-ohm impedance. The sensitivity shall be -58dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. It shall have a matte black finish and will require an external 9-52V DC phantom power source. Dimensions shall be 2-3/4" W x 3-1/4" D x 3/4" H. Weight shall be 1 pound.

Part No. 54-5090-01R1

Return to Index

SCW20

The sound column shall be a Bogen Model SCW20, or approved equivalent. It shall contain four 5-inch cone speakers and shall have an input impedance of 8 ohms. The cabinet shall be sturdily constructed of 3/8-inch particle board, acoustically lined, and finished in simulated oiled walnut, with a black grille.

The column shall have a (continuous) wattage rating of 20 watts. Maximum sound pressure level, measured four (4) feet on axis with 1 watt input shall be 100dB. The frequency response shall be from 80 to 14kHz. Dispersion shall be 45° in the vertical plane and 90° in the horizontal plane.

The removable rear panel shall provide a polarized screw-terminal strip and plate for mounting a line-matching transformer. Dimensions shall be 7-1/2"W x 20"H x 4-1/2"D; shipping weight shall be 12 lbs.

Part No. 54-7551-06R2

Return to Index

SCW35

The sound column shall be a Bogen Model SCW35, or approved equivalent. It shall contain six 6-inch cone speakers and shall have an input impedance of 8 ohms. The cabinet shall be sturdily constructed of 1/2-inch particle board, acoustically lined, and finished in simulated oiled walnut, with a black grille.

The column shall have a (continuous) wattage rating of 35 watts. Maximum sound pressure level, measured four (4) feet on axis with 1 watt input shall be 105dB. The frequency response shall be from 70 to 16kHz.  Dispersion shall be 25° in the vertical plane and 120° in the horizontal plane.

The removable rear panel shall provide a polarized screw-terminal strip and plate for mounting a line-matching transformer. Dimensions shall be 9-1/2"W x 42"H x 5-1/4"D; shipping weight shall be 26 lbs.

Part No. 54-7551-06R2

Return to Index

SG8W

The ceiling speaker grille shall be a Bogen model SG8W steel grille, or equivalent, capable of protecting and concealing a recessed 8" cone-type loudspeaker.  The diameter of the grille shall be 13", the speaker mounting studs shall be hidden, and the grille shall be low profile and finished in white semi-gloss enamel.

Part No. 54-7777-06R2

Return to Index

SI35A

The school communication Control Center shall be a Bogen Model SI35A, or approved equivalent. The Control Center shall be engineered for optimum simplicity of operation, made possible by the use of function-identified push buttons with associated color-coded guidelines, and supported by step-by-step instructions printed on the front panel.

Communication Control Centers, which are difficult to operate and do not provide push button operation, color-coded guidelines, and operating instructions permanently printed on the panels shall not be considered.  The Control Center shall provide at least the following features and functions:

1.	Direct two-way voice communication between the Control Center and any classroom or speaker-equipped location, with simultaneous distribution of program material or voice announcements to any other classroom or location.

2.	Distribution of voice announcements from the Control Center to any or all speakers.

3.	Facilities for automatically sounding a supervisory tone signal over any loudspeaker selected for two-way communication, to alert the teacher to the call, and to prevent unauthorized monitoring.  The tone signal shall sound whenever the classroom is being monitored and shall repeat at regular intervals.

4.	Distribution of program material to any or all classrooms.

5.	Ability to transmit a program or announcement simultaneously to all classrooms by simple operation of a program source push button and the ALL ROOMS push button.

6.	Separate inputs for two low-impedance balanced microphones and one high-impedance auxiliary program source (cassette tape player/tuner, etc.). Program source selection shall be accomplished by simply pressing the appropriately labeled push button.

7.	Aural and visual monitoring of all program material.

8.	Facilities for voice call origination to the Control Center from any classroom equipped with a voice call origination switch.

9.	Facilities for annunciator call-in to the Control Center from any classroom equipped with a call origination switch.  (Note: Specify Bogen CA10A Call Switch for this feature.)

10.	Facilities to positively prevent the Control Center from monitoring any classroom whose call origination switch is in the Privacy position.  (Note: Specify Bogen CA11A Call/Privacy Switch for this feature.)

11.	Provision for the instantaneous distribution of emergency messages from the Control Center to all locations equipped with loudspeakers, simply by pressing a single red push button. This action shall override all other programs and bypass all other controls.  The emergency message shall be transmitted at a predetermined level.

12.	Provision for an optional emergency page feature which shall permit emergency announcements from a remote telephone, interphone, or microphone to all locations equipped with loudspeakers.

13.	Classroom call origination with light annunciation and tone signal at the Control Center.  Call origination shall require only a momentary depression of the call-origination switch, which shall activate a repetitive tone signal and light the annunciator lamp associated with the calling classroom.  The annunciator lamp shall remain lit until the call is answered and then be automatically cancelled.

14.	Provision to optionally distribute a classroom change signal to all speaker-equipped stations.

15.	Functionally-identified push buttons and color-coded guidelines for each function of the Control Center.  The intercom channel shall be identified by green guidelines.  The program channel shall be identified by amber guidelines. The emergency page push button shall be red.

16.	Provision to include an optional cassette tape player-FM/AM tuner. (Note: Specify Bogen Model CR100A and RK78 mounting kit. Uses 2 rack spaces.)

To fulfill the above requirements, a Bogen Model SI35A, or approved equivalent Control Center shall be provided, meeting the following technical requirements:

It shall be all solid-state and designed for continuous duty service in institutional and industrial applications on line voltages of 120 volts, 60Hz AC, over a temperature range of 0°F to 130°F.  Power consumption of the MCP35A control panel, at rated output, shall not exceed 100 watts.

It shall include two separate amplifiers.  The program amplifier shall be capable of producing 35 watts RMS at less than 1% distortion at rated power and bandwidth.  The frequency response shall be within +1,-3dB from 80Hz to 15kHz.  The intercom amplifier shall have an output rating of 20 watts RMS; frequency response shall be shaped for maximum intelligibility.  Both amplifiers shall have a balanced 25-volt line output.

It shall include inputs for two Lo-Z balanced microphones, one Hi-Z unbalanced aux input, telephone paging accessories, and booster amplifier.  Terminals shall be provided for the time signalling and telco page (activation) features.

It shall provide all controls necessary for two-way intercom communication with any classroom, distribution of general announcements or program material to any or all classrooms, and transmission of emergency announcements to all classrooms. Provisions shall be included for optional emergency paging from a remote telephone, interphone, or microphone.

Complete facilities for aural (monitor speaker) and visual (LED) monitoring of all program material shall be provided.

It shall include three-position (Program, Off, Intercom) room selector switches and associated LEDs, and PRESS TO TALK, ALL ROOMS, and EMERGENCY PAGE push buttons. The EMERGENCY switch shall gather all station lines to permit single push button distribution of announcements to all speaker locations.  Similarly, the ALL ROOMS switch shall permit single push-button distribution of program material to all speaker locations, except for those on the intercom channel.

It shall include facilities for voice-call origination from classrooms and for selective classroom privacy; the latter shall prevent the Control Center from monitoring any classroom whose call origination switch is in the Privacy position.

The Control Center shall measure 12"H x 20-1/2"W x 11" D (stands about 13-1/2" high). The cabinet shall be constructed of sturdy material and finished in simulated walnut veneer; control panels shall be finished in black. Shipping weight shall be 35 lb.

(Also include all program source equipment, classroom loudspeakers, call origination switches, and other associated material, hardware and cable required.)

The above equipment shall be the product of a United States company of established reputation who has been regularly engaged in the design and manufacture of School Sound and Communications Systems for at least 30 years. The system shall be supplied or installed by or under the direct supervision of an authorized local distributor who has been trained by the manufacturer in the proper installation, operation, and service of the equipment.

Part No. 54-7795-05R2

Return to Index

SM1EZ, SM4T

The speaker shall be a Bogen Model _____ (specify SM1EZ or SM4T). The frequency response shall be 125 Hz to 15 kHz. Dispersion angle shall be no less than 120°. Sensitivity, measured 1-watt @ 1 meter on axis, shall be a minimum of 90 dBspl.

Use for SM1EZ. The unit shall incorporate a 1-watt single-tap with wire-wound volume control for use in 70V constant voltage speaker systems.

Use for SM4T. The unit shall incorporate a rotary switch to select power settings of 4, 2, 1, 1/2, and 1/4 watts with wire-wound volume control for use in 70V constant voltage speaker systems. The speaker’s settings are to be rotary-switch selectable.

The speaker shall comply with NFPA National Code 160b that allow speakers to be installed in plenums and other air handling spaces. The speaker shall also comply with UL-2043 (report available).

The speaker shall be of durable ABS plastic construction and shall be mounted using specially designed studs that easily pierce ceiling tiles. Custom-designed wing nuts shall be used for securing the speaker to the ceiling tile, as well as two standard wire nuts to connect the speaker wires to the studs. One stud shall be copper- plated and the other nickel-plated as a means of designating polarity. The speaker shall include a large, rubber O-ring seal to hold the base of the speaker cavity tight to the ceiling tile.

The unit shall measure 9-1/2" in diameter by 3" in depth. Base diameter against ceiling shall be 8-3/4". Product weight shall be 2 lb.

Part No. 54-7620-01R2

Return to Index

SP58A, SPT5A

The loudspeaker shall be a Bogen Model ________ (specify SP58A or SPT5A), or approved equivalent, reentrant type horn loudspeaker. The frequency response shall be 250Hz to 14kHz. Rated power output shall be 7.5 watts, RMS continuous. Dispersion shall be 120º. Sound pressure level, measured four feet on axis with 7.5-watt input @ 1000Hz, shall be at least 105dB.

(Use for SPT5A) The unit shall incorporate a five-position weather-sealed switch, to allow matching the loudspeaker to a 25V or 70V constant-voltage line. Power handling capacity shall be adjustable at 70V to 7.5, 5, 2.5, 1.25, or 0.65 watts, and at 25V to 1, 0.62, or 0.31 watts.

(Use for SP58A) The unit shall have an impedance of 8 ohms.

The loudspeakers shall have a weatherproof, all-metal housing. An all-purpose mounting bracket shall provide precise positioning in the vertical and horizontal planes. Bracket and loudspeaker shall be finished in textured mocha enamel. The loudspeakers shall measure 6" Dia. by 4" D. Weight shall be ________ (insert 2 lbs. for SPT5A, 1.25 lbs. for SP58A).

Part No. 54-7760-03R2

Return to Index

SP158A, SPT15A

The loudspeaker shall be a Bogen Model ____ (specify SP158A or SPT15A), or approved equal, reentrant type horn loudspeaker.  The frequency response shall be 275Hz to 14KHz. Rated power output shall be 15 watts, RMS continuous. Dispersion shall be 110º.  Sound pressure level, measured four feet on axis with 15 watt input @ 1000Hz, shall be at least 121dB.

(Use for SPT15A) The unit shall incorporate a seven-position weather-sealed switch, to allow matching the loudspeaker to a 25V or 70V constant-voltage line. Power handling capacity shall be adjustable at 70V to 0.9, 1.8, 3.8, 7.5, or 15 watts, and at 25V to 0.48, 0.94, 1.8, 7.5, or 15 watts. Impedance shall be adjustable to 5000, 2500, 1300, 666, 333, 89, or 45 ohms.

(Use for SP158A) The unit shall have an impedance of 8 ohms.

The loudspeaker shall be of weatherproof, all metal construction, with driver enclosed within a waterproof housing.  The loudspeaker shall include a self-aligning, field-replaceable diaphragm.

Screw terminals shall be provided for connection to the audio line. A plastic cover shall be provided to protect the connectors and impedance selector switch, and provide strain relief for the audio line.

An all-purpose mounting bracket shall provide precise positioning in the vertical and horizontal planes with a single adjustment.  The bracket shall include banding slots to permit mounting the loudspeaker on beams or pillars. Bracket and loudspeaker shall be finished in textured mocha enamel.  The unit shall measure 9" diameter by 9-1/4"D.  Shipping weight shall be ________ (insert 4-1/2 lbs. for SPT15A, 4 lbs. for SP158A).

Part No. 54-7612-05R2

Return to Index

SP308A, SPT30A

The loudspeaker shall be a Bogen Model ____ (specify SP308A or SPT30A), or approved equivalent, reentrant type horn loudspeaker.  The frequency response shall be 225Hz to 14kHz. Rated power output shall be 30 watts, RMS continuous.  Dispersion shall be 100º. Sound pressure level, measured four feet on axis with 30 watt input @ 1000Hz, shall be at least 125dB.

(Use for SPT30A) The unit shall incorporate a seven-position weather-sealed switch, to allow matching the loudspeaker to a 25V or 70V constant-voltage line. Power handling capacity shall be adjustable at 70V to 1.8, 3.7, 7.5, 15, or 30 watts, and at 25V to 1.8, 3.7, 7.5, or 15 watts. Impedance shall be adjustable to 2500, 1300, 666, 333, 167, 89, or 45 ohms.

(Use for SP308A) The unit shall have an impedance of 8 ohms.

The loudspeaker shall be of weatherproof, all metal construction, with driver enclosed within a waterproof housing.  The loudspeaker shall include a self-aligning, field-replaceable diaphragm.

Screw terminals shall be provided for connection to the audio line.  A plastic cover shall be provided to protect the connectors and impedance selector switch, and provide strain relief for the audio line.

An all-purpose mounting bracket shall provide precise positioning in the vertical and horizontal planes with a single adjustment.  The bracket shall include banding slots to permit mounting the loudspeaker on beams or pillars. Bracket and loudspeaker shall be finished in textured mocha enamel.  The unit shall measure 11" in diameter by 10-1/2"D.  Shipping weight shall be 6 lb.

Part No. 54-7759-04R2

Return to Index

TAMB

The telephone-access voice-paging adapter shall be a Bogen Model TAMB capable of providing either trunk port or station port access to paging amplifier/amplified speakers, multi-zone paging adapter, or talk back amplifier/amplified speakers.

The adapter shall have station port compatibility, 2-wire analog with a ringer equivalence number of 1.2B, and trunk port compatibility with 2-wire loop start or ground start. The paging frequency response shall be 200 Hz to 8000 Hz, ±1 dB, and the input/output impedance shall be 600-ohms, nominal.

When used in the station port access mode, the device shall be line-powered and shall not require an external power supply; when used in the trunk port access mode, it shall operate from 24V DC @ 90 mA, or 48V DC @ 105 mA. The unit shall be capable of generating an 800 Hz (±20%), 1/2-second duration signal to be used as a pre-announce or confirmation tone; the tone level shall be controlled by a single screwdriver adjustment that shall be accessible without removing the cover.

When used in the station access mode, the device shall be capable of three methods of release following a page: (1) Loop Current Interruption, (2) Voice-Operated Disconnect, and (3) Default Disconnect Timer.

The loop current interruption detection circuit shall, if the particular line to which the device is connected issues a disconnect signal (a loss of loop current for longer than 30 milliseconds), recognize this signal and immediately disconnect the device from the line.  The voice-operated disconnect circuit shall be enabled/disabled via mode switches or an external signal.

A default disconnect timer circuit shall set the maximum time allotment for paging and ensure that the unit will always disengage the line if the other disconnect circuits are inoperative. The default disconnect timer duration shall be adjustable from 6 to 35 seconds and the VOX disconnect timer duration shall be adjustable from 2 to 6 seconds. These controls shall be accessible without removal of the cover and they shall be screwdriver-adjustable.

When used in the trunk port access mode, the device shall automatically terminate paging access upon release of the trunk port.

An RCA-type jack shall be included to accept a line level input from a suitable background music source. A screwdriver-adjustable control shall be provided to set the background music volume.

One set of normally open contacts shall be provided for use with the ground start trunk port operation or for auxiliary equipment control. The contacts shall be rated at 30V DC, 2A.

The device shall be mounted in a steel enclosure and finished in black enamel with white lettering. It shall comply with Part 68 of FCC Rules and Regulations. The FCC Registration Number and Ringer Equivalence Number shall appear on the front panel.

The overall dimensions shall be 8-1/8" W x 4-1/2" H  x 1-7/8" D.  The shipping weight shall be 2 lb.

Part No. 54-7783-05R2

Return to Index

TB8

The load bearing T-bar support shall be a Bogen model TB8, or equivalent, capable of sustaining the weight of an 8" speaker, grille and protective enclosure in suspended ceiling construction. It shall be manufactured of steel and shall be finished with a rust-retardant galvanized coating. The unit shall measure: 24"W x 3/4"H x 14-3/4"D.

Part No. 54-7777-06R2

Return to Index

TBA15

The paging/talkback amplifier shall be a Bogen TBA-15, approved under part 68 of FCC rules.  The unit shall provide two-way communication between a telephone and remote loudspeakers.  It shall be all solid-state in design and shall provide automatic electronic switching of the direction of conversation, without the use of relays or other moving parts.  Talkback amplifiers which use relays or other mechanical devices, or which are not all solid-state in design shall not be considered.

The amplifier shall have a rated power output of 15 watts.  The frequency response shall be shaped for maximum intelligibility and background noise rejection.  Distortion shall be less than 3% at rated power.  Attack time for the voice activated circuit shall be less than 5ms. (3ms., typ.).  Switching delay time shall be adjustable from less than 50ms. to greater than 0.5 sec.  Screwdriver-adjustable controls shall be provided to adjust switching sensitivity, switching delay, and loudspeaker and handset volume levels.

Terminals shall be provided for connection of a 600-ohm transformer-coupled telephone input line, and 25V/70V constant-voltage outputs.  Mute terminals shall be provided to defeat the talkback function.  Terminals shall be housed within a panel recess and protected by a removable cover.

The amplifier shall operate from a 120VAC, 60Hz source.  Circuit safeguards shall include a press-to-reset AC circuit breaker, safe operating area (SOA) and thermal protection.  A red pilot lamp shall be provided on the front panel.

The amplifier enclosure shall be constructed of sheet metal and finished in black enamel.  Overall dimensions shall be 5-1/4”H x 19”W x 2-7/8”D.  Keyhole slots and machine-screw holes shall be provided for wall- or rack-mounted installation.

Part No. 54-7801-02

Return to Index

TBL1S

The TBL1S input module shall be a transformer-isolated, balanced input module. The module shall have a pluggable 3-pin input barrier strip connector to make the input connection. The module shall have a gain/trim control that will allow the gain to be adjusted from -11 dB to +19 dB of gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. The module shall have a VOX/gating circuit to control muting of lower priority modules with separate controls for gate threshold and duration. It shall have a continuously variable ducking control that will enable attenuation of the input signal from a minimum of 10 dB to a maximum of 72 dB relative to the normal unmuted condition and a gradual fade back from mute when the mute control is deactivated. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

TEL1S

The TEL1S module shall have a transformer-isolated, balanced input and configuration jumpers that will allow it to interface with both wet and dry loop telephone systems. In the dry loop mode, this module shall allow connections to page port systems. In the wet mode of operation, it shall allow connections to both ground start and loop start telephone systems. The module shall have a 6-pin input barrier strip connector to make the input connection. The module shall provide for the connection of an external talk-battery power supply of 48V DC. The module shall have a gain/trim control that will allow the gain to be adjusted from 0 dB to 30 dB of gain. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. The module shall have a VOX/gating circuit to control muting of lower priority modules and its internal gating circuit with separate controls for gate threshold and duration. It shall have a built-in limiter to limit the maximum output level of the module, with a threshold control. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

TG4C

The multiple tone generator shall be a Bogen Model TG4C, or equivalent, with a rated output level of one volt RMS into a 600-ohm load.

The device shall be activated by an external contact closure. It shall be capable of generating four distinct signals: (1) pulsed alarm tone, (2) slow whoop, (3) repetitive chime, and (4) steady tone signal.

The pulsed signal shall be a square wave with cycle on-off timing of 1.2 seconds on, 0.4 seconds off, 1.6 seconds on, and a frequency range of 650-1300 Hz. The slow whoop signal shall be a slowly ascending, low to high swept signal with cycle on-off timing of 1.2 seconds on, 0.4 seconds off, 1.6 seconds on, and a frequency range of 500-1200 Hz. The chime tone shall be a signal with exponential decay slope of 6.5 seconds, cycle on-off timing of 0.3 seconds on, 0.7 seconds off, and a frequency range of 650-1300 Hz.  The steady tone shall be a square wave with adjustable frequency range of 650-1300 Hz. The all-solid-state unit shall offer a choice of continuous signal of any of the four tone-types or double-burst signal of any tone type except the steady tone.

The tone generator shall accommodate input from a high-level program source. Built-in precedence shall allow the tone signal to override program material. When used with a public address amplifier, the unit shall be capable of pre-announce signalling of a voice announcement over the program source.

Both the output level and pitch control shall be adjustable. The unit shall operate from 12-48V DC, positive or negative ground. Construction shall be steel, finished in silver gray. The overall dimensions shall be 6-3/4" W x 5-3/4" H x 2" D. The shipping weight shall be 3 lb.

Part No. 54-7779-04R2

Return to Index

TGS

The multiple tone generator module shall be a Bogen Model TGS, or equivalent, with a rated output level of 90mV.  The module shall be activated by an external contact closure; momentary closure shall cause a single tone output, and continuous closure shall cause a repeated tone sequence.  It shall be capable of producing four distinct tones: (1) a three-stroke chime, (2) a steady tone, (3) an alarm (hi-lo) tone, and (4) a tone burst.  The three-stroke chime shall be a three-tone signal with a delay of 3 seconds and shall have a frequency range of 1.2kHz to 800Hz; the steady tone shall be a 650Hz square wave; the alarm tone shall be square waves of 450Hz and 650Hz, switching at a frequency of .96Hz; the tone burst shall be square waves of 450Hz and 650Hz, switching at a frequency of 7.5Hz.  Paging priority shall be user-selectable, from three priority levels, by means of printed circuit board jumpers.  Screw terminals shall be provided for tone selection and activation.

Part No. 54-9149-02R2

Return to Index

TL100

The matching transformer shall be a Bogen Model TL100, or equivalent, and shall provide a balanced one-to-one input for matching and isolation. The primary impedance shall be the same value as the total termination of the input impedance to the amplifier(s). The frequency response shall pass frequencies within ±2 dB from 20 Hz to 15 kHz. The unit shall incorporate mumetal shielding for hum reduction. The transformer connections shall terminate in a keyed nine-pin miniature plug, which shall fit into a matching nine-pin receptacle. The transformer shall be cylindrical in shape with a 1" diameter and the overall length (including pins) shall not exceed 2".

Part No. 54-7775-02R2

Return to Index

TL600

The line transformer shall be a Bogen Model TL600, or equivalent, and shall match a balanced 600-ohm zero level transmission line, or provide a 600-ohm output from a pre-amplifier. The secondary impedance shall be 10,000 ohms. The overall frequency response shall pass frequencies within ±1 dB from 20 Hz to 20 kHz. The unit shall incorporate mumetal shielding for hum reduction. The transformer connections shall terminate in a keyed nine-pin miniature plug, which shall fit into a matching nine-pin female receptacle. The transformer shall be cylindrical in shape, with a 1" diameter and the overall length (including pins) shall not exceed 2".

Part No. 54-7775-02R2

Return to Index

TNG1S

The TNG1S input module shall be a multiple tone generator input module. The module shall have a 5-pin input barrier strip connector to make the trigger connections. The module shall include 8 tones: burst/steady, slow whoop, siren, mechanical bell, Klaxon, night ringer, double chime, and doorbell tones. The module shall permit 4 of the 8 tones to be triggered. Momentary and continuous playback modes shall be available. The module shall have a level control. It shall have the ability to mute lower priority modules and be muted by higher priority modules. The module shall be able to assume any of 4 priority levels. The module shall have a gradual fade back from mute when the mute control is deactivated. The module’s output shall be assignable to either or both of two mixing buses.

Part No. 54-5093-01R2

Return to Index

TP6AP, TP12AP

The selective ring, common-talk interphone system shall be a Bogen TP-AP Series with a total capacity of up to ____ stations (enter 6 or 12).

The system shall provide two-way and conference call communication, and all-station paging. Each station shall be equipped with a telephonic handset and wall mounting base equipped with a push button keypad to select and ring the desired station(s). All-station paging shall be selected by pressing the push button corresponding to the station used to make the page. Conference calls shall be initiated by simultaneously pressing the desired call buttons. Page announcements shall be transmitted over the earpiece speaker in the handset of each station.

An electronic call tone shall be used to alert parties to a call. It shall be possible to bypass the paging feature at any station where this feature is not desired. A two-position high/low switch shall be provided at each station to control the volume of page announcements and the electronic call tone. Each station shall have a built-in amplifier, permitting the addition of an external loudspeaker (such as the Bogen IH-8A) to any station located in an area where the ambient noise level may interfere with the ability to hear page announcements and/or the call tone.

It shall be possible to use an optionally available paging adapter (Bogen Model TB-10A) as an interface between the interphone paging system and an external paging amplifier (or amplified speaker). This option shall permit all-station paging to remote areas without reducing system capacity. It shall also be possible, using the adapter, to add an additional one-way or one-way-with-talkback paging channel to the system. (In this configuration, the adapter is wired as a station, reducing system capacity by one for each TB-10A installed.) A variety of Bogen paging amplifiers and amplified speakers are available for configuring the system to individual application requirements.

A single power supply (Bogen Model RF-24A) shall be required for each installation. Multi-conductor cable shall be required to interconnect the system. Each unit shall be wall-mounted. Junction boxes shall be supplied with each station.

Part No. 54-7861-01

Return to Index

TP30D

The tuner shall be a Bogen TP30D. It shall incorporate a digital PLL synthesized tuner for precise reception of AM and FM signals.

All tuning shall be accomplished by pushbutton. A numerical readout of frequency shall be displayed on an LCD display panel.

FM frequency range shall be from 87.5 to 107.9MHz.  AM frequency range shall be from 530 to 1620kHz.

It shall be possible to select up to 18 FM and 12 AM preset stations in 5 bands (FM1, FM2, FM3, AM1, AM2). It shall be possible to select stations individually by pushbutton or by scanning the preset stations in a band.

A stereo output of 1 volt minimum shall be provided via RCA jacks. A Mono selector button on the front panel shall make it possible to select mono output on the jacks. A stereo output cable and stereo-to-mono cable shall be included with the unit.

Push-release terminals shall be provided for an external AM loop antenna and FM dipole antenna. AM loop and FM dipole antennas shall be included with the unit.

The tuner shall operate from nominal 120V AC, 60Hz. Power consumption shall be 8 watts.

Dimensions shall be 10-1/2"W x 1-5/8"H x 7-1/8"D. Shipping weight shall be 6 lbs.

The tuner shall be designed for shelf or rack-mounted installation.  An accessory rack kit, Model RPK46A, shall be available separately (uses 1-3/4" of rack space).

Part No. 54-7875-01R2

Return to Index

TPS

The transformer-balanced, low-impedance telephone paging input pre-amplifier shall be a Bogen Model TPS, or equivalent.  The unit shall be signal-activated, the channel being normally "off", gating "on" when a 15mV voice-signal is present at the input. It shall have built-in automatic level control (ALC) circuitry with a range of ±2dB output change with an input level change of -10dB to +20dB (referenced to nominal input level, - 24dBm), which can be bypassed by means of a printed circuit board jumper.

Input sensitivity for rated output (100mV) shall be 50mV, and maximum gain shall be 6dB.  The frequency response shall be 20Hz to 15kHz, ±2dB, with distortion less than .3% from 20Hz to 20kHz with the ALC OUT, and less than .75% from 50Hz to 20kHz with the ALC IN.  Noise floor shall be -80dB.

The module shall include screwdriver-adjustable low- and high-frequency cut filters providing an action of -3dB @ 400Hz and @ 5kHz, and a separate gain control with an adjustment range of 25dB.  Paging priority shall be user-selectable, from three priority levels, by means of printed circuit board jumpers.  Screw terminals shall be provided for input connections.

Part No. 54-9149-02R2

Return to Index

TPU15A

# The telephone paging amplifier shall be a Bogen Model TPU15A, or equivalent, with a power rating of 15 watts. Distortion shall be less than 2%. Frequency response shall be ±2dB from 70Hz to 12kHz for the music channel and the page channel shall be shaped for maximum intelligibility. Sensitivity shall be -20dBm, 600 ohms for the page channel, and 70mV for the music channel. Signal-to-noise shall be -70dB ("A" weighted). Tone control action shall be -3dB at 2.5kHz; 6dB per octave; the low-cut filter action shall be -3dB at 350Hz; 6dB per octave. The amplifier shall provide a 600-ohm balanced page channel input, and a 25-kilohm, unbalanced auxiliary/music channel input. The page channel shall incorporate automatic level control (ALC) limiting output level change to +1, -3dB with 15dB input level change (ref.-20dBm rated input sensitivity).  The amplifier shall also provide a night ringer, which shall be triggered by an external contact closure. Outputs shall be 25V, 70V, and 8 ohms balanced and transformer-coupled.

# The amplifier components shall be completely solid-state and the unit shall mount directly to a wall.  Electronic circuitry shall provide voice-activated muting of background music during a page.  Amplifiers that require the use of telephone system-supplied external relays shall not be accepted.

# Screw terminal barrier strips shall be provided for all input and output connections. Individual controls shall consist of Page Volume, Music Volume, Night Ringer Volume, and Tone, all of which shall be screwdriver-adjustable.  A Peak Level LED indicator, Lo-Cut filter switch and a circuit breaker shall be provided.

# The amplifier shall operate from a 120V AC, 60Hz power source. The unit shall be professionally finished (silver on black) and shall measure 11"W x 2-3/4"H x 2-3/8"D.  The shipping weight shall be four pounds.

Part No. 54-7797-03R2

Return to Index

# TPU35B, TPU60B, TPU100B, TPU250

The telephone paging amplifier shall be a Bogen Model ___, with a full power rating of ___ watts. (Specify: TPU35B/35 watts, TPU60B/60 watts, TPU100B/100 watts, TPU250/250 watts.) The amplifier shall provide a frequency response of ±1dB from 70Hz to 15kHz, and shall deliver rated power at less than 1% distortion.

The amplifier shall permit paging from telephone and/or microphone. The signal-activated paging channel shall automatically mute background music during a telephone page, eliminating the need for manual activation of switches and the use of external relays. Provision shall be included to set to mute the level of background music during a page.  Music level shall be returned to its normal level after a page.

The telephone paging channel shall have a VOX sensitivity adjustment to eliminate transmission of background noise, and automatic output leveling (ALC) to compensate for varying voice levels and paging techniques of persons using the system.

An Aphex® Aural Exciter circuit shall be included to regenerate the harmonics lost during the amplification process.  A control shall be provided to set the level of the Aphex effect.

A night ringer shall be included to alert personnel of incoming calls during non-business hours. The night ringer shall be activated by a contact closure or by 90-volt ring signal from the telephone line.

Input terminals shall be furnished for a telephone line and LO-Z balanced microphone.  A choice of RCA jack or screw terminals shall be provided for the music source. Terminals shall also be provided to control music muting during a mic page, and for contact closure or ring signal activation of the night ringer. Bridging jacks shall be provided to bridge two TPU-series amplifiers.

Balanced or unbalanced outputs shall be provided for 16-ohm, 25V, 25VCT, and 70V speaker lines. Provision shall be included to feed a 600-ohm telephone line, LO-Z input or balanced microphone input of another amplifier, using an accessory line-matching transformer (Model WMT1A).

Individual controls shall be provided to set the telephone and mic page volume, music volume, night ringer volume, VOX sensitivity, and music mute level. Bass and treble controls shall permit tonal adjustments.  An automatic level control (ALC) and VOX sensitivity controls shall be included.  A peak level indicator shall illuminate when the amplifier is driven into clipping.  A power indicator shall also be provided.  The amplifier shall operate from a 120V AC, 60Hz source, and shall be equipped with a resettable circuit breaker and thermal and electronic overload protection (TPU250 has a 6A slow-blo fuse).

Installation shall be facilitated by flanges with keyhole slots for mounting on a suitable backboard.  Dimensions for the 35, 60, and 100 models shall be 14-3/16" W x 8-3/8" H x 3-5/8" D. Dimensions for the TPU250 shall be 19" W x 10-1/2" H x 3- 13/16” D.

Part No. 54-7836-02R3

Return to Index

# V35B, V60, V100, V150, V250

The amplifier shall be a Bogen Power Vector Amplifier, Model V35, V60, V100, V150 or V250. The amplifier shall be compatible with both high- (70/25V) and low- (4/8-ohm) impedance  speakers, with the capability of 35, 60, 100, 150,  or 250 watts, respectively.

The amplifier shall provide 8 module bays for plug-in input modules with two of the bays also capable of handling plug-in signal processing output modules. There shall be 4 levels of priority between modules.

Each of the 8 module bays shall have an associated independent volume control. Each independent volume control shall have a signal/clip LED to indicate if a clipping condition is occuring. Each amplifier shall also include bass and treble controls, as well as a motorized master volume control, which can be remotely operated using the RVCP accessory (sold separately).

Two screw terminals shall be provided for invoking a master mute function that will interrupt all audio from the mixer section of the Power Vector amplifier.

An 11-segment LED output level meter will register either the average or peak level of the amplifier’s output level, determined by an Average/Peak switch. Each Power Vector amplifier shall have a Tone Control Bypass switch and a Low-Cut Filter switch located on the rear of the amplifier in module bay 6.

A lockable switch will permit the selection of transformer-coupled output or direct output for speaker runs. Master mute and remote volume control functions are controlled using a screw terminal.

Signal processing insert jacks (RCA connectors) will allow external equipment to be inserted between the pre-amp output and the power amp input.

Each model will have a Pre-EQ unbalanced (RCA jack) buffer output whose signal is post all volume controls, tone controls, and output module signal processing, but before (pre-EQ) any external signal processing equipment connected to the Signal Processing Insert jacks.

Each amplifier will include a 500W maximum, unswitched AC power receptacle.

The amplifier shall fit into a 19" rack and fit in two rack spaces. It shall allow the attachment of feet for tabletop placement. Each model shall measure 17" W x 3-1/2" H x 13-1/2" D. The V35 shall weigh 24 lb., the V60 - 28 lb., the V100 - 32 lb., the V150 - 35 lb., and the V250 - 40 lb.

Part No. 54-8013-01R2

Return to Index

V-HUB

The conference phone shall be a Bogen V-Hub teleconference phone. It shall be a full-duplex, simultaneous, two-way communication conference phone with three omni-directional microphones, an easy-to-read recessed LCD display, 10 number speed dial, special calling functions, and a simple three-step setup process.

It shall include DSP-based echo cancellation and a high-quality speaker. Three green LED lights shall flash when the Mute feature is active, or when there is an incoming call; lights shall remain on during a call.

Part No. 54-9259-01R1

Return to Index

VRS1, VRS2

The vandal-resistant speaker shall be a Bogen Model [VRS1] [VRS2], or approved equivalent.  It shall provide for hands-free, two-way communication.  The vandal-resistant speaker assembly shall consist of a 3-inch, weather-resistant, cone-type speaker, and 25V line-matching transformer tapped at 1/2 watt.  It shall be possible to bypass the transformer when 8-ohm operation is desired.

(Use for VRS1)  The speaker station shall include a heavy-duty metal pushbutton-type switch, which shall be wired to provide for call-in to the control center.  It shall be possible to wire the switch for use with systems which require a momentary contact closure for call annunciation.  A silicon-controlled rectifier circuit shall be included for use with systems which require “latching” operation for call annunciation.

All components shall be mounted to a #11-gauge stainless steel faceplate.  The speaker shall be protected by the faceplate and by a baffle plate with stamped perforations and a grille screen.  The faceplate shall measure 5-1/2” W x 7-3/4” H, and shall include mounting holes corresponding to the location of threaded holes on a 2-1/2” deep gang box (Steel City H2BD, or equivalent).

Part No. 54-7817-02R3

Return to Index

WB1EZ

The surface mounting loudspeaker shall be a Bogen Model WB1EZ, or equivalent, 8" cone-type loudspeaker having a frequency response of at least 50 Hz to 12 kHz. The on  axis sound pressure level shall be 95 dB, at least four feet with one-watt input. The loudspeaker shall have a six-ounce ceramic magnet and a 3/4" voice coil.

The loudspeaker shall be assembled in a wall baffle for surface-mounting, angled for additional downward sound dispersion. The baffle shall be constructed of 3/8" particle board, glued and covered in simulated walnut vinyl. Glue blocks shall be used to reinforce all side corner joints. The speaker opening shall be covered with a black grille cloth.

Overall dimensions shall be 9-1/2" W x 9-1/2" H x 5-1/4" D [top] (3-1/4" D base).

Part No. 54-7886-01B

Return to Index

# WB8

The loudspeaker wall baffle shall be a Bogen model WB8, or equivalent, capable of housing an 8" cone-type loudspeaker and angled for additional downward sound dispersion.  The baffle shall be constructed of 3/8" particle board, glued and covered in simulated walnut vinyl.  Glue blocks shall be used to reinforce all side corner joints.  The speaker opening shall be covered with a black grille cloth. Hardware for mounting speaker to baffle shall be supplied with the unit.  Overall dimensions shall be 9-1/2"W x 9-1/2"H x 5-1/4"D (top) x 3-1/4"D (base).

Part No. 54-7777-06R2

Return to Index

# WBS8T725, WBS8T725BR, WBS8T725BRV, WBS8T725V

The surface-mounting loudspeaker assembly shall be a Bogen model WBS8T725 (or WBS8T725BR, WBS8T725BRV, or WBS8T725V), or equivalent, 8" cone-type loudspeaker having a frequency response of at least 50Hz to 12kHz.  Axial sensitivity shall be 95dB, at four feet with one-watt input.  The loudspeaker shall have a 6 oz. ceramic magnet and a 3/4" voice coil.  A transformer, capable of matching an 8-ohm loudspeaker to a 25-volt or 70-volt line, and providing power taps of 4, 2, 1, 1/2, 1/4, and 1/8 watts shall be included.  The transformer primary and secondary leads shall be stripped, tinned, and shall be at least 6" in length.

The loudspeaker shall be assembled in a wall baffle for surface mounting, angled for additional downward sound dispersion.  The baffle shall be constructed of 3/8” particle board, glued and covered in simulated walnut vinyl.  Glue blocks shall be used to reinforce all side corner joints.  The speaker opening shall be covered with a black grille cloth. Overall dimensions shall be 9-1/2"W x 9-1/2"H x 5-1/4"D (top) x 3-1/4"D (base).

– (For WBS8T725BR add) A terminal strip shall be included for connection of the audio line.  Terminals shall be labeled for 4, 2, 1, 1/2, 1/4, and 1/8 watt power connection.

– (For WBS8T725BRV add) A terminal strip shall be included for connection of the audio line.  Terminals shall be labeled for 4, 2, 1, 1/2, 1/4, and 1/8 watt power connection. A control shall also be included for adjusting the volume of the loudspeaker.

– (For WBS8T725V add) The assembly shall include a control for adjusting the volume of the loudspeaker.

Part No. 54-7777-06R2

Return to Index

# WBS810T725

The surface mounting loudspeaker shall be a Bogen model WBS810T725, or equivalent, 8" cone-type loudspeaker having a frequency response of at least 70Hz to 15kHz.  Axial sensitivity shall be 96dB, at four feet with one-watt input.  The loudspeaker shall have a10 oz. ceramic magnet and a 1" voice coil.  A transformer, capable of matching an 8-ohm loudspeaker to a 25-volt or 70-volt line, and providing power taps of 4, 2, 1, 1/2, 1/4, and 1/8 watts shall be included.  The transformer primary and secondary leads shall be stripped, tinned, and shall be at least 6" in length.

The loudspeaker shall be assembled in a wall baffle for surface mounting, angled for additional downward sound dispersion.  The baffle shall be constructed of 3/8” particle board, glued and covered in simulated walnut vinyl.  Glue blocks shall be used to reinforce all side corner joints.  The speaker opening shall be covered with a black grille cloth. Overall dimensions shall be 9-1/2"W x 9-1/2"H x 5-1/4"D (top) x 3-1/4"D (base).

Part No. 54-7777-06R2

Return to Index

WCU250

The microphone shall be a Bogen Model WCU250 hanging microphone. It shall be a cardioid, back electret condenser microphone with a frequency response of 50Hz to 18kHz and a 250-ohm impedance. The sensitivity shall be -65dB (+/- 3dB) and the signal-to-noise ratio greater than 65dB. It shall have a matte black finish and will require an external 9V - 52V DC phantom power source with a connecting cable of 20'. Dimensions shall be 1-1/4" D x 1/2" Dia. Weight shall be 5 ounces.

Part No. 54-5090-01R1

Return to Index

WMA80, WMA160

The wall-mounted mixer/amplifier shall be a Bogen Model [WMA-80] [WMA160] or approved equal having a continuous power rating of [80 watts] [160 watts].  It shall be modular in design for maximum flexibility, shall offer three-level priority operation between input modules, and have Power MOSFET output stages for improved performance and reliability. Conventional mixer amplifiers which do not provide modular flexibility, three-level priority operation, or Power MOSFET reliability will not be accepted as an equal.

The amplifier shall provide 8 input channels; a Lo-Z microphone input (with female XLR connector), a Hi-Z projector input (with 1/4” connector), and 6 modular input ports for use with any combination of Bogen’s input modules. The module ports shall be located on the rear side of the amplifier chassis, to prevent tampering after installation. Module ports shall be of the plug-in type, utilizing ribbon-type connectors.

A 10-band graphic equalizer shall be included and shall provide ±8dB at ISO centers of 125, 200, 315, 500, 800, 1.2k, 2k, 3.1k, 5k, and 8kHz. Equalizer controls shall be located behind the  front cover. A built-in compressor circuit shall limit the output of the preamplifier to 1 volt, for safe operation. A low-cut filter switch (providing -3dB @ 65Hz, 6dB/octave) and tone control bypass switch shall also be provided. These switches shall be located in the module cage to prevent accidental activation.

Frequency response at all power levels up to the full rated output shall be within 0 to -2dB from 20Hz to 20kHz for the direct output, and within 0 to -3dB on the transformer-coupled outputs. Distortion at all power levels up to the rated output shall be less than 0.3% over the same frequency range. Signal-to-noise ratio shall be at least -75dB or better.

The amplifier shall include level controls for each input, a Master Gain Control and associated bar graph type LED output level meter, and an illuminated power switch. A hinged, locking panel in the front cover shall protect the controls and secure the unit.

The amplifier shall provide a direct 4-ohm output and transformer-coupled 8-ohm and 25V and 70V outputs.

The amplifier shall be installed in a (flush-/surface-mount) back box, Bogen Model (BB-F/BB-S), which shall have provisions for entry of power cable and for all input and output lines. The front cover shall be designed so that it may not be removed without access to the area behind its locking panel. The amplifier shall operate on line voltages of 120V, 60Hz AC, and include an AC line circuit breaker.

Part No. 54-9138-03

Return to Index

WMT1A

The line-matching transformer shall be a Bogen Model WMT1A, or equivalent, capable of matching either inputs from, or outputs to, a 600-ohm line. It shall provide a perfect impedance match between a 600-ohm balanced line and the high-impedance input of an amplifier, or the 25V output of an amplifier. Frequency response shall be ±2 dB from 50 Hz to 20 kHz. Less than 0.1 volt across 600-ohm line shall be required for full output power from an average amplifier (maximum level, +20 dBm). Output shall be approximately 1.73 volts when connected across the 25V output tap or WMT1A Hi-Z output connection of a Bogen amplifier.

Line input or output connections from the 600-ohm line shall be made to a three-screw terminal strip. Connection to the auxiliary input of an amplifier shall be by means of a shielded cable terminated in a phono plug. Provisions shall be included to connect the unit to a microphone input. The mounting bracket shall provide for the transformer to be mounted by means of two steel screws. The unit shall measure 2-3/8" H x 2" W x 
1-1/4" D and the shipping weight shall be 1 lb.

Part No. 54-7775-02R2

Return to Index

WV100, WV150, WV250

The amplifier shall be a Bogen Wall-Mount Power Vector Amplifier, Model WV100, WV150 or WV250. The amplifier shall be compatible with both high- (70/25V) and low- (4/8-ohm) impedance speakers, with the capability of 100, 150, or 250 watts, respectively.

The amplifier shall provide 8 module bays for plug-in input modules with two of the bays also capable of handling plug-in signal processing output modules. There shall be 4 levels of priority between modules.

Each of the 8 module bays shall have an associated independent volume control. Each independent volume control shall have a signal/clip LED to indicate if a clipping condition is occuring at the module’s output. Each amplifier shall also include detented bass and treble controls, as well as a motorized master volume control, which can be remotely operated using the RVCP accessory (sold separately).

The amplifier shall include an adjustable output level limiter with indicator LED. A tape output jack shall be available on the front panel and an optional front panel input combo jack with 1/4" stereo phone and female XLR capabilities may be installed.

Screw terminals shall be provided for invoking a master mute function that will interrupt all audio from the mixer section of the amplifier.

An 11-segment LED output level meter will register either the average or peak level of the amplifier’s output level, determined by an Average/Peak switch. Each amplifier shall have a Tone Control Bypass switch and a Low-Cut Filter switch located on the rear of the amplifier in module bay 6.

A switch will permit the selection of transformer-coupled output or direct output for speaker runs. Master mute and remote volume control functions are controlled using a screw terminal.

The amplifier shall be flush-mounted or surface-mounted into a wall using either a BBF or BBS back box (sold separately). A front cover door shall be required (WMAD sold separately). Each model shall measure 14-1/8" W x 21" H. The WV100 shall weigh 27 lb.; the WV150, 29 lb.; and the WV250, 28 lb.

Part No. 54-8015-01A

Return to Index

X300, X450, X600

The amplifier shall be a Bogen Black Max Amplifier, Model X600, X450 or X300. The amplifier shall provide two independent channels of 70V output each with the capability of 600, 450 or 300 watts, respectively.

The amplifier shall provide 2 separate electronically balanced inputs available through pluggable 3-pin terminal strips. The input impedance shall be 10k ohms in a balanced configuration. Each input channel shall have a continuously adjustable input level control mounted on the rear panel of the amplifier.

The amplifier shall have the ability to be wired to other Black Max amplifiers in such a way as to provide power-up sequencing of all amplifiers so wired. Sequential turn-on connections shall be made through a 4-pin pluggable terminal strip. Sequential turn-on shall be defeatable via a rear-mounted, low-profile switch. A power status indicator on the rear of the unit shall provide information as to the amplifier’s current AC power state. The indicator shall indicate either unpowered, standby, or active state of the amplifier.

The amplifier shall drive the 70V speaker loads directly without the use of an output transformer. The amplifier shall allow a user-defeatable low frequency roll-off at 60Hz for each channel independently to protect transformer-coupled speakers from saturation.

The amplifier shall have a defeatable sleep mode that greatly reduces idle power consumption when the amplifier has not received audio for more than 3 minutes. The amplifier shall also include a clip limiting feature that automatically reduces amplifier clipping.

The amplifier shall have three indicators that correspond to status, signal, and limit.

The amplifier shall include Bogen’s patented Back-Slope AC voltage regulation that automatically compensates for surges or sags in AC line voltages of up to +/-10%.  Additionally, the amplifier shall be protected against over-currents, overloads, excessive thermal dissipation, DC voltage, and short circuits on the outputs.

The amplifier shall be enclosed in a heavy-gauge steel chassis with a cast aluminum front and flexible plastic fan grilles. The amplifier shall be cooled by 2 independent fans with continuously variable speed control and easily replaceable fan filters.

The amplifier shall fit into a 19" rack and use two rack spaces. It shall allow the attachment of feet for tabletop placement.

Part No. 54-8011-01B

Return to Index

ZPM3

The zone paging control module shall be a Bogen Model ZPM3. It shall be designed for direct connection to loop start and ground start trunks, and to PBX or KEY paging ports that supply a normally-open contact closure and DTMF capability. It shall also connect to analog station ports using a suitable access module.

The unit shall include flanges with keyhole slots for wall-mounted installation and a built-in 60-terminal punch block. Operation shall require a 24V power supply for all applications. Contacts shall be provided for connection to an additional 48V power supply when 48V talk battery operation is required.

The paging control module shall be registered under Part 68 of FCC rules and shall provide at least the following features and functions:

1.	Up to three one- or two-way paging zones plus All-Call.

2.	Total power handling ability of 100 watts and operation with self-amplified paging systems or central-amplified paging systems.

3.	Up to three paging-zone groups. Each paging zone group shall be field-programmable and shall contain up to three user-selected zones.

4.	Night ringer circuitry which, when activated by high-voltage ring signal or contact closure, shall sound a night ringer tone in all zones. Alternately, it shall be possible to field-program (via tone phone) a night ringer zone group that shall sound the night ringer tone in up to three user-selected zones.

5.	Shift change or emergency-call signalling as described below:

— (Use for shift change feature) A shift change tone feature shall be provided. This feature shall be activated by a customer-supplied contact closure, which will energize a customer-supplied external relay, disconnect any current page, and sound a user-selected tone in all zones. Alternately, it shall be possible to field-program (via tone phone) a shift change zone group that shall sound the shift change tone in up to three user-selected zones.

— (Use for emergency-call feature) An emergency call feature shall be provided. This feature shall be activated by a customer-supplied contact closure (requires a preamplified microphone with built-in contact closure or microphone and other customer-supplied switch). The emergency-call feature shall override the normal paging features of the module, sound a user-selected alert tone in all zones, and open an audio channel for the emergency page. Alternately, it shall be possible to field-program (via tone phone) an emergency-call zone group which shall preempt normal operation, sound the alert tone, and open the audio channel for an emergency page in up to three user-selected zones.

— (Use for shift change and emergency-call feature) A choice of tones shall be provided for the shift change signal (or emergency-call alert signal). The desired tone shall be selected via field-programming and shall consist of either a single-tone burst or dual-tone burst, each with a duration of one second.

6.	Built-in DIP switches which shall enable/disable the field-programming mode, select the zone type (one-way or two-way), Talk Battery type (24V or 48V), and tone options (pre-announce and confirmation tones).

7.	Field-programming from a touch-tone phone. Field-programmable functions shall include assigning individual zones to the paging zone groups, night bell zone group and shift change/emergency-call zone group. Field-programming shall also be used to enable/disable a privacy beep over two-way (talk back) zones, select the desired shift change/emergency-call tone, and enable/disable access to All-Call paging.

8.	Mute contacts which go to a normally-open state whenever the unit is accessing a two-way zone. These contacts may be used to operate the talk back muting function on talk back amplifiers.

9.	External contact closure for activating external equipment or for use in ground start trunks, shift change and emergency call applications. The contacts shall change state when the unit goes off hook.

10.	Capability of providing uninterrupted background music to all zones not being paged.

11.	Battery backup option which will retain user-programmed parameters for up to two hours in the event of a power failure. The battery backup option shall require four (4) AA size nickel cadmium batteries.

12.	Background music source input jack and screwdriver-adjustable volume control.

13.	Screwdriver-adjustable volume control of confirmation, pre-announce, error, and shift change/emergency-call tones.

14.	Screwdriver-adjustable night ringer volume control.

15.	Wall-mounting design with dimensions of 9" W x 7-1/4" H x 1-3/8" D. Shipping weight shall be 4 lb.

Part No. 54-7802-04R2

Return to Index

NOT AVAILABLE

No Architect and Engineer Specifications are available for this product at this time. Updates will periodically be made to this document, which is available online. New product Architect and Engineer Specifications will also be added. Visit www.bogen.com/aespecs.htm.

Return to Index

DISCLAIMER

Note: Bogen endeavors to provide correct and current product information. However, product specifications will change from time to time. The specifications contained on this disk may not reflect the most current specifications. Please contact Bogen technical support at 201-934-8500 ext. 3950 to confirm current product specifications prior to placing your order or designing your system. Bogen is not responsible for claims arising from the improper use of products even if incorrect or not up-to-date product information is provided in this document.

Return to Index