PC programming software for ZB-S

# Pos. ...)  ... pcs.

Programming software for pre-set memory cards for the quick pre-programming at the PC and simply reading and editing of the logbook.

For documentation all files are saveable on memory cards and hard disk.

Prints for documentation:

Detailed prints of the programmed system configuration with the following details:

- individual name of the device

- the date and time of automatic battery duration tests, incl. distance

- the date and time of automatic function tests, incl. distance

- manual reset: yes/no

- delay on mains return: 0-15 min

- selective emergency light: yes/no

- Lon switch: yes/no

- capacity in Ah

- quantity of booster

- rated operation time in h

- min. operation time in %

- assignments of the 3 relays

- assignments of the 3 function keys

- assignments of the 4 option inputs

- number, type and individual name of the bus modules

Detailed print of the programmed electrical circuits (line diagram) with the following details per electrical circuit:

- electrical circuit / SKU number and type

- individual electrical circuit name

- type of monitoring

- switching mode of the electrical circuit

- number of luminaires

- address and individual name per luminaire

- switching mode of each luminaire

Logbook prints with the following options:

- fault event (35 different fault events separate or completely generic)

- time period of the logbook (date and time)

- individual comment per print

- luminaire failure: Detail of the individual luminaire and electrical circuit names

...... off CEAG PC software ZB-S for external programming of memory card via PC

...... off card reader for memory cards

Type: PC programming software for ZB-S

Supplier: CEAG