本文档下载自文档下载网，内容可能不完整，您可以点击以下网址继续阅读或下载：

http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Flotherm 9.1 应用手册

Flotherm 9.1官方 应用手册

[此处图片未下载成功]

FloTHERM&#174; User Guide

Version 9.1

&#169; 1989-2010 Mentor Graphics Corporation

rights reserved.

.Theoriginalrecipientofthisdocumentmayduplicatethisdocumentinwholeorinpartforinternalbusinesspurposesonly,providedthatthisentirenoticeappearsinallcopies.Induplicatinganypartofthisdocument,therecipientagreestomakeeveryreasonableeffort to prevent the unauthorized use and distribution of the proprietary information.

document is for information and instruction purposes. Mentor Graphics reserves the right to makechangesinspecificationsandotherinformationcontainedinthispublicationwithoutpriornotice,andthereader should, in all cases, consult Mentor Graphics to determine whether any changes have beenmade.

terms and conditions governing the sale and licensing of Mentor Graphics products are set forth inwritten http://www.51wendang.com/doc/d2e52c141054f5479dae40c5agreements between Mentor Graphics and its customers. No representation or other affirmationoffactcontainedinthispublicationshallbedeemedtobeawarrantyorgiverisetoanyliabilityofMentorGraphics whatsoever.

GRAPHICS MAKES NO WARRANTY OF ANY KIND WITH REGARD TO THIS MATERIALINCLUDING, BUT NOT LIMITED TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY ANDFITNESS FOR A PARTICULAR PURPOSE.

GRAPHICS SHALL NOT BE LIABLE FOR ANY INCIDENTAL, INDIRECT, SPECIAL, ORCONSEQUENTIALDAMAGESWHATSOEVER(INCLUDINGBUTNOTLIMITEDTOLOSTPROFITS)ARISINGOUTOFORRELATEDTOTHISPUBLICATIONORTHEINFORMATIONCONTAINEDINIT,EVEN IF MENTOR GRAPHICS CORPORATION HAS BEEN ADVISED OF THE POSSIBILITY OFSUCH DAMAGES.

RIGHTS LEGEND 03/97

.S.GovernmentRestrictedRights.TheSOFTWAREanddocumentationhavebeendevelopedentirelyat private expense and are commercial computer software provided with restricted rights. Use,

or dihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5sclosure by the U.S. Government or a U.S. Government subcontractor is subject to therestrictions set forth in the license agreement provided with the software pursuant to DFARS 227.7202-3(a) or as set forth in subparagraph (c)(1) and (2) of the Commercial Computer Software - RestrictedRights clause at FAR 52.227-19, as applicable.

/manufacturer is:

Graphics Corporation

S.W. Boeckman Road, Wilsonville, Oregon 97070-7777.

: 503.685.7000

-Free Telephone: 800.592.2210

:http://www.51wendang.com

: http://www.51wendang.com/

Feedback on Documentation:http://www.51wendang.com/user/feedback_form.cfm

: The trademarks, logos and service marks (&quot;Marks&quot;) used herein are the property ofMentor Graphics Corporation or other third parties. No one is permitted to use these Marks without theprior written consent of http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Mentor Graphics or the respective third-party owner. The use herein of a third-party Mark is not an attempt to indicate Mentor Graphics as a source of a product, but is intended toindicate a product from, or associated with, a particular third party. A current list of Mentor Graphics’trademarks may be viewed at:http://www.51wendang.com/terms_conditions/trademarks.cfm.

of Contents

1

with FloTHERM. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Functional Overview . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ..Problem Specification. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Computational Method. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Solving . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Results Analysis . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Demonstration. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .The FloTHERM Windows. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Modeling Steps . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 2

the Requirements. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Establish the Requirements . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Start Simple . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Consider the Main Features. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Extent of the Solution Domain. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Well Structured Project Manager Data Tree. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

3

on a FloTHERM Project . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Overview of the FloTHERM Project. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Directory Structure . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ..Working with Project Files. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . .Project Manager Window. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Window Layout . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Title Bar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Data Tree. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .New Object Palette. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Library Manager . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Project Manager Menu Bar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Project Manager Toolbar . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Project Building. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Summary of Operation . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Supporting Application Windows. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Starting a New Project. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ..New Project Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Loading an Existing Project. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Load Project Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . .Filter Project Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ..Notes Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Saving Projects. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloTHERM User Guide, V9.1

[此处图片未下载成功]

232324242525252829313131313132333333343535363741474864656566676769697374743

of ContentsSave Project Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Edit Notes Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ..Managing the Project Data. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Projehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ct Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .System Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ..Geometry Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting FloTHERM Viewing/Units Preferences . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .User Preferences Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Global Units Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Importing/Exporting Projects. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Import Project Options . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . .Export Project Options . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Archiving Projects. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Archiving Project Data in PDML Format. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Archiving Project Data in PACK Format. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Using Environment Variables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 4

the Mathematical Model. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .The Modeling Method. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Project Defaults. . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Main Source of Error . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Defining the Solution Domain. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .System Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Overall Solution Domain Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Boundary Face Types Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating Cutouts in the Solution Domain . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Cutout Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . .

Cutout Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting Initial Fields Over the Solution Domain. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Initial Variables Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solution Set Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting Initial Fields Over Subdomains. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating Subdomains . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Subdomain Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Edit Subdomain Dialog. . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Initial Values Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Choosing the Solution Variables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Base and Standard Derived Variables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .How to Choose the Project Solution Variables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Modeling Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Defining Solar Radiation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solar Radiation Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Defining Air Flow . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Laminar Flows . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Turbulent Flows . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Turbulence Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Gravity . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .747779798081838386878889909091919999991001001001021041051061071081081111121121131131141151151151181251251281281281291334FloTHERM User Guide, V9.1

of ContentsGravity Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Changing the Fhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5luid Properties. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Checking the Fluid Property. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting Reference Temperature and Pressure . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Global System Settings Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 5

the Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloTHERM Geometry Model . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Types of Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Primitives . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . .Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .SmartParts. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Coordinate Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating the Geometry . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Using the Project Manager . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Using the Drawing Board. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Attaching Attributes to Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Building Assemblies . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating Parent Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Add Child Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Assembly Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Edit Assembly Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Adding Primitive Shapes. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solid Blocks . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solid Block Menus . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . .Sources . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Source Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Resistances . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Resistance Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Edit Primitive Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Regions. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Region Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . .Edit Region Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Adding SmartParts. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating Complex Shapes . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Construction Precedence Rules . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Rules for Solid Cuboids and Prisms . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Blocks or Prisms in Surface Contact . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Overlapping Intersecting Blocks or Prisms . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Rules for Flow Devices. . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . .Context Rules for Overlapping Supplies and Extracts. . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Rules for Overlapping Sources. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Rules for Overlapping Components . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Rules for Network Assemblies and Heat Pipes. . . . . . . . . . . . . . . . . . . . . . . . . . .Context Rules for Plate Conduction. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Promoting and Demoting Objects. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

a Pattern of Objects. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1331381381401401451461461461471481501531531541541541541541551561591591601621631631641651681691701751761781781791http://www.51wendang.com/doc/d2e52c141054f5479dae40c580184184185185185185187188FloTHERM User Guide, V9.15

of ContentsCopying Objects . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Pattern Creation Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Finding Objects . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .To Select All Objects of a Type . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .To Search for a Named or Particular Type of Object. . . . . . . . . . . . . . . . . . . . . . . . . . . . .Find Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Summary of Objects . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . .Summary Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating Zoom-In Projects. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Representation of Boundary Conditions. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .To Create a Zoom-In Project . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Obtaining Valid Zoom in Regions . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Modeling Constraints . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Importing/Exporting Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Introduction to Importing Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . .Mentor Graphics File Formats . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .MCAD File Formats. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .ECAD File Formats . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .IDF Preferences Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Library Selector Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exporting FloTHERM Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 6

the Geometry Structure. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board Window. . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board Window Layout. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Editing the Geometry . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Sensitive Menus . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .New Object Palette. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board Menu Bar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board Toolbar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Interaction with the Project Manager . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Changing the View http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Hiding Objects . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Select View Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Control View Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .View Set Up Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting the Display Options. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .The Workplane . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board Picture Dialog . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . .Moving Objects . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Using the Mouse. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Move Selected Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board Datum Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Align Selected Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Measuring Distances . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board Measure Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Annotatiohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ns to the Screen Display . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .1881881911911911921941941951951961971982012022032072072092102102132132132182232242272392412422422432452472492492512562562572572612612612646FloTHERM User Guide, V9.1

of ContentsAnnotation Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .264Chapter 7

Libraries . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Library Manager . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .The Library Trees. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Building Libraries . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . .Create New Library and Edit Library Dialogs . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Populating the Library from the Current Project . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Populating the Library by Importing a Library. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Copying Libraries. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Moving Items in the Library. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Version 3.x Conversion . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Libraries Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Deleting Libraries and Library Items. . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . .Libraries . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Library Items. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Searching the Libraries . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Library Search Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Sorting Libraries . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exporting Libraries . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Starter Libraries. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5.ATX Library. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Component Starter Pack. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Axial Fans. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Filters . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloTHERM_Libraries for Project Attributes . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Heat Sinks. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Interface Materials . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Materials. . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Library Content Disclaimer . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 8

Grid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .The Spatial Solution Grid . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Grid Refinement Methods. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting Object Grid Constraints . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Grid Constraint Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting the System Grid Constraints (Smoothing) . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . .System Grid Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Localizing the Grid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Adding Grid Patches. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Grid Patches Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Grid Summary Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .The Time Grid . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Total Transient Time and the Transient Solution Period . . . . . . . . . . . . . . . . . . . . . . . . . .Time Steps . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Keypoints . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .267267268273273274274274275275275276276277277277278278278279279280280281282282284284285285285291292293293296302303308310310311311FloTHERM User Guide, V9.17

of ContentsTime Patches. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Results Stored. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Importance of Convergence for Each Time Step . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plotting Time Steps. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Displaying Time Step Statistics . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Post-Processing in the Visual Editor. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Transient Solution Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Transient Grid Data Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 9

the Project . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting Monitor Points. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating Monitor Points . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Monitor Point Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . .Edit Monitor Point Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Monitor Point Shape Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solving the Equations . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solving Interactively. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solving in Batch Mode. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Using a Batch File. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Monitoring Solution while in Batch Mode. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .To Interrupt Batch Solution . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . .To Request Email when Solution Terminates . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Extended Batch Support for PDML with Tables Output . . . . . . . . . . . . . . . . . . . . . . . . . .Running Complete Transients Over a Number of Stages. . . . . . . . . . . . . . . . . . . . . . . . . .Setting Solution Process Priority (Windows). . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Choice of Solver Types. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 10

the Solution. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Profiles Window . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Window Layout . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plot Display Area . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plot Panels. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plot Options Popup Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Profiles Window Menu Bar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Profiles Window Toolbar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating New Plots . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Create New Plots Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Editinghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Plot Parameters . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plot Parameters Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting the Axis Range and Scale . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Axis Parameters Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting User Preferences . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plot Configuration. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Customizing the Appearance of the Plot . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Profiles User Preferences Dialog . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . .

Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .3113123133133143143163233253253253263273293313313323373373383393393423443453473473473493503543563633643643713723753763783783793793808FloTHERM User Guide, V9.1

of ContentsImporting and Exporting Profiles . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .External Profile Definition (*.CSV) File Format. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Saving Images of Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Save Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 11

Solution Controls . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . .Solution Process. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Overview. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Possible Solution Scenarios . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Controlling the Solution. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Rules for Assessing Convergence Problems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Techniques for Controlling the Solution. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Overall Solution Control Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Overall Solution Control Dialoghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Settings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Additional Solver Control Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Additional Solver Control Dialog Settings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Variable Solution Control Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Variable Solution Control Dialog Settings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 12

Results . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Overview . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Quick Display of Results . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . .Automatic Update of Geometry and Solution Changes . . . . . . . . . . . . . . . . . . . . . . . . . . .Selection Across Windows. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Visual Editor Window . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Window Layout . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Visualization Viewer . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .View Manipulation Mode. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Select Mode . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Annotation Mode . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . .Changing the Background Color . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Superimposing Plots of Results . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Display Mode . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Animating The Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Saving the Animation Scene. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Initializing the Animation Scene . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Tables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Object/Table Editor Pahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nel. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Sensitive Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .PropertyEditor . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Saving the Visualization State . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .The Menu Bar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Toolbars . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Cursors . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exploring the Project Data. . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .381382382382385385385388388389389394394399400401401409409409410410410410412412414415415416417418418419419422423424425425432435436437FloTHERM User Guide, V9.19

of ContentsChanging the Units . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Units . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Changing the View . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Viewer. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Viewer Properties . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Viewpoints. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Viewpoint Toolbar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Viewpoint Properties . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Customizing Geometry Display. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Geometry . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Geometry Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Cut Plane. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . .Selected Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Defining Results Data Range. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Results . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Scalar Fields. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Scalar Fields Properties. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Vector Fields . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Vector Fields Properties . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Plotting Plane and Isosurface Results Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plots . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plots Properties. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plane Plot . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Isosurface Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Isosurface Plot Properties. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Plotting Surface Temperatures. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Surface Plots. . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Particle Tracking . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Particles. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Creating and Locating Sources. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Source. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Adding Annotations. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Context Sensitive . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Annotations. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . .Animating the Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Animation . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Animation Scenes. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Outputting an Animation Scene. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Printing the Scene. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Saving Still Images. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Outputting Animations. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Outphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5utting Movies Between ViewPoints . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 13

Project Data and Results . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Types of Data Available for Tabulation . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Displaying Tables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

to Tables Mode and Using Tables Property Sheets . . . . . . . . . . . . . . . . . . . . . .43843943944044044244244344344444444544744844945045045245245345345545645945946146146246246446446947047147247347447547547547547547747747847810FloTHERM User Guide, V9.1

of ContentsSelecting Table Cell Data. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Resizing Table Columns. . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Hiding Rows and Columns. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Sorting Tables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Setting the Scope of Display. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exporting Tables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exporting Selected Cell Data to the System Paste Buffer . . . . . . . . . . . . . . . . . . . . . . . . .Exporting Selected Cell Data to a CSV File. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exporting the Complete Table to a CSV File. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exporting Selected http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Cells To a SpreadSheet . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Exporting the Complete Table to a Spreadsheet. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Outputting Tables in Batch Mode. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Printing Tables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Summary Reports. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Generating Summary Reports. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table Properties Sheet. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Geometry Data. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . .Displaying Geometry Tables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Geometry Table Properties Sheet . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Grid Data . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Displaying Solution Grid Tables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Grid Tables Properties Sheet . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Monitor Points Data. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Displaying Monitor Tables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Attributes Data. . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Displaying Attributes Tables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Attributes Tables Properties Sheet. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Regions Tables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Displaying Regions Tables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Results Data. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Displaying Results Tables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Results Table Properties Sheet . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hapter 14

Auxiliary Variables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Calculating Auxiliary Variables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Calculate Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Calculating Total Pressure. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Total Pressure . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Confirmation Request Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Calculating Flow Angle. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Flow Angle Dialog . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 15

Asked Questions . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Questions . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Project Manager . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Board . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .480480481482482482483483483483483484484484485485487487489502502503504504504505505506506507508508513513513515515516516517519519519519FloTHERM User Guide, V9.111

Table of ContentsVisual Editor. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloEDhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5A Bridge. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloMCAD Bridge. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solution Grid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Heatsinks. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solution Variables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Command Center Sequential Optimization . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Building Geometry . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Fans. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Support Site. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Running FloTHERM . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Modeling Issues . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Questions with Answers . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Project Manager . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Drawing Board . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Visual Editor. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . .FloEDA Bridge. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloMCAD Bridge. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solution Grid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Heatsinks. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Solution Variables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Command Center Sequential Optimization . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Building Geometry . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Fans. . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Support Site. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Running FloTHERM . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Modeling Issues . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Chapter 16

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Symptoms and Advice. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Errors Associated with Data Files During Load/Save Operations . . . . . . . . . . . . . . . . . . .Errors Associated with Data Files During Import/Export Operations . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . .Errors Associated with Data Files During Pack/Unpack Operations. . . . . . . . . . . . . . . . .Floating Point (FP) Errors. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Convergence Difficulties . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Display Difficulties. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Inability to Select Buttons. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Inability to Select Items . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Unexpected Results. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Miscellaneous. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . .Message Display . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Main Message Window. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Message Window Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloTHERM Messages . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Errors. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Warnings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . .51952052052052052052052152152152152152152152452452552552552652652752852952953053153353353453553653753854154354454554754854854854955056457512FloTHERM User Guide, V9.1

Table of ContentsAppendix A

-Supported Attributes and Objects . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .583Index

-PartyInformation

-User License Agreement

User Guide, V9.113

List of Figures

1-1. Problem Specification. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 1-2. Computational Method . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 1-3. Solving . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 1-4. Electronics Cabinet. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . .Figure 1-5. Model of Electronics Cabinet . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 1-6. Circulation Patterns. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 1-7. Increased Size of the Inlet Vent . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 1-8. Stagnant Region Near the Front of the Lower Rack of Boards . . . . . . . . . . . . .Figure 3-1. Directory Structure . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-2. Window Layout. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-3. Assemblies and Parts. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-4. Topping. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . .Figure 3-5. Root Assembly . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-6. Object Palette . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-7. Adding Assemblies. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-8. Adding Parts . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-9. Adding Holes . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-10. Adding Siblings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-11. Adding Monitor Points . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-12. Library Manager . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-13. Pattern Creation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-14. Decompose Example. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-15. Grid Inflation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-16. Application Windows . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-17. Popup Menu with Notes Option Highlighted . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-18. Project Tree Hierarchy . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-19. Project Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-20. Systhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5em Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-21. Example Geometry Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-22. Visualizing SmartParts . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-23. View Stagger. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-24. Import Project Options from the Project Menu. . . . . . . . . . . . . . . . . . . . . . . . .Figure 3-25. Export Project Options from the Project Menu. . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-1. System Menu Options. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-2. Solution Domain. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-3. Open and http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Symmetry Boundaries . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-4. Cutouts on the Solution Domain Boundary . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-5. Cutouts in the Solution Domain . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-6. Default Cutout. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-7. Cutout Menu Options . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .FloTHERM User Guide, V9.1

[此处图片未下载成功]

24252526262727283436373839414242434343475356586676798080818485888910110310410510610610714

List of FiguresFigure 4-8. Subdomains. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-9. Initial Subdomain . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . .Figure 4-10. Storage Mass Fluxes. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-11. Bn, GradT, MagGradT and Sc in Results Table. . . . . . . . . . . . . . . . . . . . . . . .Figure 4-12. Grid Layout . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-13. Fluid Speed . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-14. Velocity Vector. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-15. Fluid Speed as Displayed in the Visual Editor . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-16. Example Alignment . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-17. Revised Algebraic Model . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . .Figure 4-18. LVEL K-Epsilon. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-19. Align the Gravity Force . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-20. Align the Gravity Force . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-21. The Case where One Vector Component is Zero . . . . . . . . . . . . . . . . . . . . . . .Figure 4-22. The Case where All Three Vector Components are Non-Zero. . . . . . . . . . . . .Figure 4-23. Angled Gravity. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-24. Application of Gravity Force . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 4-25. Fluid Property . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . .Figure 4-26. Modeling a Remote Radiation Source . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-1. Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-2. Object Coordinates . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-3. Object Coordinates when Rotating the Object . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-4. Creating the Geometry . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-5. Locating an Assembly. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-6. Solid Blocks . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-7. Adding Blocks. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . .Figure 5-8. Solid Block (Cuboid) Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-9. Dragging the Boundary. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-10. Dragging the Boundary. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-11. Setting the Length of Each Side . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-12. Collapse Direction. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-13. Collapse Direction after Rotation . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-14. Rotation when using Absolute Coordinates . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-15. Edit Region Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . .Figure 5-16. Collapse States in Y-Direction . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-17. Define a Volume Region. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-18. Define a Plane Region. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-19. Displaying Results . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-20. Attaching Grid Constraints. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-21. United Bodies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-22. Intersection of Bodies. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-23. Body With Intersections Subtracted . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . .Figure 5-24. Construction Precedence Rules. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 5-25. Cuboidal Blocks in Surface Contact. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

5-26. No Heat Flux Across Common Surfaces . . . . . . . . . . . . . . . . . . . . . . . . . . . . .112114120122123124124125126130131134135135136136137139142147150150153157159160161162164165166166167171172173173174174176176176178179180FloTHERM User Guide, V9.115

List of FiguresFigure 5-27. Overlapping Blocks. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .180Figure 5-28. Overlapping Blocks — Block B Specified Second. . . . . . . . . . . . . . . . . . . . . .181Figure 5-29. Overlapping Blocks — Block A Specified Second . . . . . . . . . . . . . . . . . . . . .181Figure 5-30. Block Resting on a Collapsed Cuboid http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .182Figure 5-31. Block into Which a Collapsed Cuboid Penetrates . . . . . . . . . . . . . . . . . . . . . .182Figure 5-32. Cuboids in Contact with Sloping Blocks . . . . . . . . . . . . . . . . . . . . . . . . . . . . .183Figure 5-33. Cuboids in Contact with Domain Edge. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .184Figure 5-34. Context Rules for Recirculation Devices and Fixed Flows . . . . . . . . . . . . . . .184Figure 5-35. Context Rules for Fans and Resistances. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .184Figure 5-36. Example Layouts where Conduction between Collapsed Cuboids Will Occur186Figure 5-37. Example Layout where Conduction between Collapsed Cuboids Will Not Occur186

5-38. Context Rules for Plate Conduction . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .186Figure 5-39. Context Rules for Plate Conduhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ction . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .187Figure 5-40. Creating a Pattern . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .189Figure 5-41. Create a Pattern. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .190Figure 5-42. Representation of Boundary Conditions. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .195Figure 5-43. Zoom-In Creation Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .196Figure 5-44. Zoom-In Creation Progress Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .196Figure 5-45. Save Zoom-In Project As Dialog . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .197Figure 5-46. Project Notes. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .198Figure 5-47. Format Suhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5bmenu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .202Figure 6-1. Main Components of the Drawing Board. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .214Figure 6-2. Current Selection Mode in Drawing Board . . . . . . . . . . . . . . . . . . . . . . . . . . . .217Figure 6-3. Selection Mode Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .217Figure 6-4. Moving and Resizing the Mouse. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .219Figure 6-5. Expanding Bounding Box Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .222Figure 6-6. Topping. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .222Figure 6-7. Cuboid Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .223Figure 6-8http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. New Object Palette . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .225Figure 6-9. Visualizing the Geometry. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .227Figure 6-10. Pattern Creation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .230Figure 6-11. View Top Displays Only the Currently Selected Object . . . . . . . . . . . . . . . . .231Figure 6-12. View Up to Parent. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .232Figure 6-13. Rotation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .233Figure 6-14. One of Four Drawing Board Views . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .234Figure 6-15. Datum Planes . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . .235Figure 6-16. Datum Lines . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .235Figure 6-17. Mirror . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .235Figure 6-18. Decompose SmartPart. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .237Figure 6-19. Grid Inflation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .238Figure 6-20. Interaction with Project Manager . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .241Figure 6-21. Display Relationship between Two Windows . . . . . . . . . . . . . . . . . . . . . . . . .242Figure 6-22. Standard View. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .244Figure 6-23. Rotating a Cuboid in 2D. . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .24816FloTHERM User Guide, V9.1

List of FiguresFigure 6-24. Align with Gravity . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-25. One View of a Cuboid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-26. Another View of the Same Cuboid But From a Different Direction . . . . . . . .Figure 6-27. Workplanes. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-28. Workplane Manipulation . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-29. Additional Drawing Board Picture Dialog Display Options. . . . . . . . . . . . . . .Figure 6-30. Window Sequence. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-31. Plane Direction Selechttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tion . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-32. Workplane in Different Positions . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-33. Workplane at Top . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-34. Object Orientation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-35. Display Grid . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-36. Viewing Complicated Grid Patterns. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-37. Using the Mouse. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-38. Plane Datum Type. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-39. Linhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e Datum Type . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-40. Rotation About Datum Points. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-41. Alignment With Datum Line . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-42. Rotation About Datum Line . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-43. Mirror Image about Datum Plane. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-44. Alignment with Datum Plane . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-45. Rotation about Datum Plane . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-46. Measure the Distance . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 6-47. Example Annotation .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 7-1. Library Manager. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 7-2. Libraries Tree . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 7-3. Example of an Attributes Node Popup Menu. . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 7-4. Attribute Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-1. Default Grid for Two Cuboids . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-2. Minimum 4-Cell and 10-Cell Grid Requirements Attached to Cuboids. . . . . . .Figure 8-3. Localized Grid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-4. Grid with Inflation Layers. . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-5. Grid Patches . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-6. Options . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-7. Localizing the Grid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-8. Nesting Localized Grid Spaces. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-9. Close and Abutting Localized Grid Spaces . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-10. Grid Inflation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-11. Near the Domain Edge . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-12. Objhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ect Internally Abutting a Localized Grid . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-13. Object Lying More Than One Grid Cell Inside a Localized Grid . . . . . . . . . .Figure 8-14. Grid Smoothing. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-15. Closely-Spaced Objects in Different Grid Spaces . . . . . . . . . . . . . . . . . . . . . .Figure 8-16. Addition of a Grid Patch. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

8-17. Grid Patch Passing Through Localized Grid . . . . . . . . . . . . . . . . . . . . . . . . . .248249249250250251252252252253254255256256258258259259259259260260263266267268269270286286287287288291297298298299300300300301302302303FloTHERM User Guide, V9.117

List of FiguresFigure 8-18. Example Diagram Illustrating Grid Spacing when Power Options are AppliedFigure 8-19. Grid Patches . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-20. Grid with a Power Law Variation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-21. Basic Grid Example . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-22. Grid Refinement . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-23. For Grid Popup Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-24. Maximum Aspect Ratios. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-25. Sequence of Short Solution Periods . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-26. Additional Time Steps. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-27. Local Ghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rid Refinement . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-28. Transient Analysis Resolution Example - 15 Uniform Time Steps . . . . . . . . .Figure 8-29. Transient Analysis Resolution Example - 30 Uniform Time Steps . . . . . . . . .Figure 8-30. Transient Analysis Resolution Example - 60 Uniform Time Steps . . . . . . . . .Figure 8-31. Transient Save Times Example. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-32. Transient Save Times Selectable in Tables. . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-33. Transient Save Times Selectable in Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-34. Time Step Distribution - Uniform. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-35. Time Step Distribution - Increasing Power. . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-36. Tihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5me Step Distribution - Decreasing Power. . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-37. Time Step Distribution - Symmetric Power . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 8-38. Example of Selected Transient Function Overlaying Time Patches. . . . . . . . .Figure 8-39. Time Step Distribution Plot . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-1. Monitor Point in Drawing Board . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-2. Monitor Point Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-3. Approaching Convergence . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-4. Transient Solutions . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-5. Solve Progress Dialog. . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-6. Plot of Residual Error . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-7. Extract from Logit File . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-8. Output CSV Files . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 9-9. Task Priority Popup Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-1. Window Layout. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-2. Plot Panels. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-3. Cascaded Windows. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-4. Plot Confighttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5uration. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-5. Axes. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-6. Grid. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-7. Secondary Grid . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-8. Legend. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-9. Sub-Divisions . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-10. Zero Lines Popup Menu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-11. Zero Line for Right-Side Y-Axis . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . .Figure 10-12. Plots Tile. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-13. Plots Cascaded . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

10-14. Steady Solution. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .30530630630730730931031131131231331331431431531631931932032032232232632632832933133233834034434835035135235335835935936036036136236236618FloTHERM User Guide, V9.1

List of FiguresFigure 10-15. Transient Solution. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-16. Residuals versus Time. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-17. Monitor Points versus Iteration. . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . .Figure 10-18. Residuals Iteration Curves versus Time . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-19. Monitor Points versus Time . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-20. Results versus Distance. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-21. Specifying End Points. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-22. Axes Submenu . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-23. Setting the Axis Range . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-24. Axis Range . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-25. HSB Color Model. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . .Figure 10-26. RGB Color Model. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 10-27. Example CSV File Containing Residual Data for Temperature. . . . . . . . . . .Figure 11-1. Solution Process . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 11-2. Solution Scenarios. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 11-3. Error Field. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 11-4. Full Conjugate Heat Transfer in 2D Solid Objects. . . . . . . . . . . . . . . . . . . . . .Figure 11-5. Required Accuracy . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 11-6. Number of Iterations. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . .Figure 11-7. Residual Error. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-1. Visual Editor in Graphics Mode. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-2. Visual Editor in Tables Mode. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-3. Revealed Detail. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-4. Planar Plots . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-5. Isosurface Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-6. Plots of Particle Flows . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-7. Different Display Modes. . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . .Figure 12-8. Default Animation Scene . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-9. Tables Mode Example. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-10. Example X-Grid Table . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-11. Object/Table Explorer Tree. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-12. Object/Table Explorer Tree Popup Menu Options. . . . . . . . . . . . . . . . . . . . .Figure 12-13. Node Property Sheet. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-14. Changes Applied to a Group of Items. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-15. Shortcuts . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . .Figure 12-16. Orientation Axis and Angle . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-17. Visual Editor. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-18. Viewer Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-19. Viewpoint Toolbar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-20. Geometry Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-21. Example of a Cut Plane. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-22. Expansion of Results Node. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Figure 12-23. Plots Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . .Figure 12-24. Plane Plot Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

12-25. Plane Plot Showing Velocity Vector Arrows . . . . . . . . . . . . . . . . . . . . . . . . .367368369369370371373375376376380381382386388393395398399408410411414416416417418419420420423423424425426431436440442444446449453456457FloTHERM User Guide, V9.119

List of FiguresFigure 12-26. Isosurface Plot Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .459Figure 12-27. Particles Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .462Figure 12-28. Automatic Source Placement . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .464Figure 12-29. Source Toolbar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . .465Figure 12-30. Annotation Toolbar. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .471Figure 12-31. Animation Toolbar . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .473Figure 13-1. Tables Tree . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .479Figure 13-2. Collapsed Geometry Table Properties . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .479Figure 13-3. Expanded Geometry Table Properties.. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .480Figure 13-4. Expanding a Table Column to Fit Data. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .481Figure 13-5. Table Column Expanded. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .481Figure 13-6. Hiding Selected Rows. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . .481Figure 13-7. Type Header Context-Sensitive Popup Menu. . . . . . . . . . . . . . . . . . . . . . . . . .482Figure 13-8. Type Row Context-Sensitive Popup Menu. . . . . . . . . . . . . . . . . . . . . . . . . . . .483Figure 13-9. Additional Tables when Selecting Cutouts Overall . . . . . . . . . . . . . . . . . . . . .488Figure 13-10. Additional Tables when Selecting Solid Conductors . . . . . . . . . . . . . . . . . . .488Figure 13-11. Additional Tables when Selecting Compact Components or Network Assemblies488

13-12. Illustrating the Table Variables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .494Figure 13-13. Compact Component Table for cbga, pqfp1 and pbga1. . . . . . . . . . . . . . . . .498Figure 13-14. Area Array — General Network (cbga1) . . . . . . . . . . . . . . . . . . . . . . . . . . . .498Figure 13-15. Peripheral — General Network (pqfp1) . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . . . .498Figure 13-16. Area Array — Two Resistor Network (pbga1). . . . . . . . . . . . . . . . . . . . . . . .499Figure 13-17. Component Fluxes Table for cbga, pqfp1 and pbga1. . . . . . . . . . . . . . . . . . .499Figure 13-18. Area Array — General Network (cbga1) . . . . . . . . . . . . . . . . . . . . . . . . . . . .499Figure 13-19. Peripheral — General Network (pqfp1) . . . . . . . . . . . . . . . . . . . . . . . . . . . . .499Figure 13-20. Area Array — Two Resistor Network (pbga1). . . . . . . . . . . . . . . . . . . . . . . .500Figure 13-21. Base Grid X-Grid Table . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .502Figure 13-22. Object/Attribute Table . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .505Figure 13-23. Material/Object Table. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .506Figurhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e 13-24. Regions Tables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .507Figure 13-25. Tabulating Over a Plane . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .509Figure 13-26. Temperatures in Grid Cells in an X-Direction Plane . . . . . . . . . . . . . . . . . . .509Figure 13-27. Temperatures in Volume Cells . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .510Figure 13-28. Displaying Grid Values Over Plane Plots. . . . . . . . . . . . . . . . . . . . . . . . . . . .512Figure 14-1. Current Variables Panel . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .514Figure 15-1. Root Assembly and Sub-Assemblies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .528Figure 15-2. Mirroring Around a Datum Plane. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .529Figure 16-1. Compacthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Component Within Localized Grid. . . . . . . . . . . . . . . . . . . . . . . . . .55820FloTHERM User Guide, V9.1

List of Tables

3-1. Palette Options. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-2. Project Manager Menu Bar Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-3. Project Manager Project Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-4. Project Manager Edit Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-5. Project Manager View Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-6. Project Manager Geometry Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-7. Project Manager Model Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-8. Project Managehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5r Grid Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-9. Project Manager Solve Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-10. Project Manager Results Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-11. Project Manager Window Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-12. Project Manager Help Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-13. Project Manager Toolbar Buttons. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-14. Application Toolbar Buttons. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 3-15. Environment Variables . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 4-1. Alignment Angle. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 . . . . . . . . . . . . . . . . . .Table 5-1. Primitives. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 5-2. Geometry Macros . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 5-3. Electronic Parts . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 5-4. Example of Local Coordinate System. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 5-5. Allowed Geometry Criteria. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-1. Color Conventions. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-2. Object Axes Directions . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-3. Drawing Board Menu Bar Contents . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . .Table 6-4. Drawing Board Project Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-5. Drawing Board Edit Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-6. Drawing Board View Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-7. Drawing Board Tools Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-8. Drawing Board Geometry Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-9. Drawing Board Grid Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-10. Drawing Board Window Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-11. Drawing Board Help Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-12. Drawing Board Toolbar Buthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tons. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-13. Hot Keys . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 6-14. Measure Dialog. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 8-1. Guidelines on Aspect Ratio Levels. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 8-2. Results Stored . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 10-1. Profiles Window Menu Bar Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 10-2. Profiles Window Project Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 10-3. Profiles Window Edit Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .21

[此处图片未下载成功]

4448495154555758596263636http://www.51wendang.com/doc/d2e52c141054f5479dae40c546692126146148149151200216219227228228231232236237239239239244263290312356356357FloTHERM User Guide, V9.1

List of TablesTable 10-4. Profiles Window View Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 10-5. Profiles Window Plots Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 10-6. Profiles Window Window Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 10-7. Profiles Window Help Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 10-8. Profiles Window Toolbar Buttons. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 11-1. False Time Step Relaxation. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-1. Visual Editor Menu Bar Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-2. Visual Editor File Menu Contents. . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-3. Visual Editor Edit Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-4. Visual Editor Solve Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-5. Visual Editor Selection Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-6. Visual Editor Animation Menu Contents . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-7. Visual Editor Viewer Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-8. Visual Editor Help Menu Contents. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 12-9. Annotation Toolbar Button . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 14-1. Base Variables. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . http://www.51wendang.com/doc/d2e52c141054f5479dae40c5. . . . . . . . .Table 15-1. Base Variables Required by the Auxiliary Variables . . . . . . . . . . . . . . . . . . . .Table A-1. XML-Supported Attributes. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

A-2. XML-Supported Objects . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .35836136336336339042542642842842942943043147151452758358422FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

1WorkingwithFloTHERM

in electronic systems, sub-systems and packages. Such simulation can be used duringtheearlieststageofelectronicssystemsdevelopmenttoobservetheeffectsofdesignchangesonthe thermal behavior, prior to building and testing the prototype.

,morereliableproducts,being “correct by designhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5”.

windows.

uses the techniques known as Computational Fluid Dynamics (CFD) to analyzeairflow and heat transfer. FloTHERM is specifically designed to investigate these phenomenawithin electronics equipment.

can be caused by natural (hot air rises) or mechanical (fans) means. There are threemodes of heat transfer:

Conduction – the transfer of heat through a solid or stationary fluidConvection – the transfer of heat from a surface into a fluidRadiation – the transfer of heat from one surface to another.

and heat transfer are governed by conservation laws that can be expressed in a partialdifferential form (Navier Stokes Equations).

FloTHERM, the conservation equations are converted to a finite volume form. As the nameimplies,theconvertedhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5equationsrequireavolumeinwhichvaluesoftemperature,pressureandvelocityarecalculated.Hencethespace(calledthesolutiondomain)thatisbeingrepresentedinthe model is split up into a number of small volumes or grid cells.

,themorepointsarecalculatedandthebettertheresolutionofthe case, but at the expense of additional computer overheads to calculate the results.

conservation equations are coupled (values for a variable depend on surrounding values ofthat variable and also other variables) and non-linear. Hence they are solved in an iterativemanner, until the errors in the conservation equations are at an acceptable level.FloTHERM User Guide, V9.123

Working with FloTHERM

Overview

information on the CFD techniques used, refer to theFloTHERM Background TheoryReference Guide.

with FloTHERM, you define the requirements, set up the mathematical modeling://www.51wendang.com/doc/d2e52c141054f5479dae40c5par,constructthegeometry,addsolutiongrid,solvethesolutionanddisplaytheresults.ProblemSpecification

FloTHERM, the user defines the overall dimensions of the volume or enclosure to beinvestigated, including the individual components that make up the design structure, andsuperimposes a computational grid. Each grid cell denotes a region for which FloTHERMcalculates flow values (for example, velocities, temperature and pressure, and so on) for themodel.

properties of the air flow (for example, density, viscosity, specific heat) set at the defaultvalues for dry air at 30 C can be changed, if necessary, to reflect the type of coolant used.

(forexample,ambienttemperature,knownmassflowrateandheat sources) can also be added.

1-1. Problem Specification

,FloTHERMintegratestherelevantdifferentialconservahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tionequationsovereachcomputationalgridcell,assemblingasetofalgebraicequationswhichrelatethevalueof a variable in a cell to its value in its nearest neighbor. For example, temperature T shown inFigure1-2 is related to temperatures T1, T2, T3, T4, T5, and T6

[此处图片未下载成功]

in the neighboring cells.24FloTHERM User Guide, V9.1

Working with FloTHERMFunctional OverviewFigure 1-2. Computational Method

[此处图片未下载成功]

Solving

program solves the algebraic equations, using iterative procedures to converge on asolution after a finite number of successive iterations.

1-3. Solving

solution, the circulation patterns in the form of velocity vectors, isotherm and isobarcontours and fills, may be displayed to show the resultant flow behavior.

patterns may be analyzed by the engineer, and corrective measures, such as the

of fahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ns, vents and so on, may be taken as necessary, as indicated in the followingexamples.

the FloTHERM model of the air flow and heat transfer inside the electronics cabinetshown inFigure1-4 andFigure1-5

[此处图片未下载成功]

.

User Guide, V9.125

Working with FloTHERM

[此处图片未下载成功]

[此处图片未下载成功]

Functional Overview

cabinet is comprised of two racks of PCBs supported by card guide support rails. Thesupply and outlet comprise of an inlet vent at the bottom, and two outlet fan trays at the top.

1-4. Electronics Cabinet

1-5. Model of Electronics Cabinet

FloTHERM User Guide, V9.1

Working with FloTHERMFunctional OverviewViewingSolutionResults

,thecirculationpatternsmaybedisplayedtoshowtheresultantflowvaluesinthefollowing forms:Figure 1-6. Circulation Patterns

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par[此处图片未下载成功]

In

[此处图片未下载成功]

Figure1-6, the air flow in the top rack appears to be inhibited by the middle card guidesupport rail causing a hot spot in the top center of the PCBs.

increasing the size of the inlet vent and re-solving a better heat distribution is obtained asshown below.

1-7. Increased Size of the Inlet Vent

User Guide, V9.127

Working with FloTHERM

FloTHERM Windows

may also quickly demonstrate retrograde steps. For example, adding a baffle justabove the inlet vent to prevent the incoming air flowing up the cabinet in front of the rackschanges the air flow to produce a stagnant region near the front of the lower rack of boards.

1-8. Stagnant Region Near the Front of the Lower Rack of Boards

,byrepeatedboundarymodificationhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5andre-solving,FloTHERMmaybeusedtoobtaintheoptimum design from a thermal perspective.

is a multi-window environment:

TheProject Manager window forms the core of the entire program. From this

are spawned all other application windows. It is also used to show all the

.Thegeometryisdisplayedina tree format with branches that can be expanded to show additional information. Thegeometry and other specifications required to describe the model are organized withinthe tree structure using assemblies and sub-assemblies.

Board window is used to create and manipulate geometry

.Itallowstheusertoseeawireframerepresentationofthemodel–defaultsto three 2-D views and one 3-D view.

the final acceptable result the solution is..Thisshowhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5showclose

Post processing of results can be performed using theVisual Editor window. In

(contoursor

[此处图片未下载成功]

vectors)

[此处图片未下载成功]

aswell

[此处图片未下载成功]

asparticle

[此处图片未下载成功]

animationcan be displayed. This latter format is best described as numerical smoke. InTables

tables of set-up and results data can be viewed.

FloTHERM User Guide, V9.1

Working with FloTHERMModeling Steps Information from CAD packages can be imported via theFloMCAD Bridgewindow

.ThisapplicationtakestheCADdata,removesun-necessarydetail,breaksitupinto

objects and transfers it into the model. Some additional work is then

to specify data required to fully describe the model over and above the

imported. This method can be used to create whole models or just parts.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5drepresentationsofPCBscanbeconstructedusingtheFloEDABridgewindow. PCBs can be constructed from new geometry, loaded from existing geometry or

from EDA interface tools.

Center window is used to optimize the model and to control the

of further investigations to study the effect of changing various

. It utilizes optimization software from the Center for Qualitative Methods,CQM BV.

building models of chip  Additionally, you can link to the FloTHERM PACK web tool

.

the six main steps needed to build a basic model are:

.“Defining the Requirements” on page31

.“Defining the Mathematical Model” on page99

.“Building the Geometry” on page145

.“Adding Grid” on page285

.“Solving the Project” on page325

.“Visualizing Results” on page409

://www.51wendang.com/doc/d2e52c141054f5479dae40c5del,youcanusethedesignoptimizationtechniques,seeOptimizingthe Design in the

[此处图片未下载成功]

Command Center User Guide

[此处图片未下载成功]

[此处图片未下载成功]

to quickly create different design scenarios.FloTHERM User Guide, V9.129

Working with FloTHERM

Steps

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

2DefiningtheRequirements

first step towards creating a project in FloTHERM is to define the requirements. You needto determine what is to be achieved and identify the key features to be modeled.EstablishtheRequirements

the beginning of a project, it is of great benefit to take the time to assess exactly what tomodel before starting FloTHERM. A sketch that shows the major features and dimensions willhelp to start the case. This will allow you to decide how much needs to be included and also toorient yourself with the FloTHERM axis set.://www.51wendang.com/doc/d2e52c141054f5479dae40c5parthe outset identify the important key features of the model. It is in these areas that you mayhave to concentrate more grid cells to increase the resolution of the results. Also place monitorpoints into key areas. These allow the variables to be tracked at particular locations during thesolution process. This will quickly give feedback as to whether the results are sensible andincrease confidence when leaving a simulation running for an extended period.StartSimple

key is to start with a simple set up and only add complexity in stages. Add project notes(available when saving and from the popup menu of the top node in the Project Manager) totrack changes made. By adding complexity in stages it is much easier to back track when thereis a problem with the solution to find the features that may have caused the problem. Onlyincludefeaturesthatareimportanttothemodelinquestion.Overcomplicationofgeometrywillincreasethesolhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5utiontimeandsuchitemsasfilletsinthecornersofaboxdonothaveanyeffecton the thermal calculations.

.The size of this will depend on the case in question. Another consideration in setting thesolution domain will be whether only the inside of a box is required or whether some of theenvironmentaroundanyboxneedstobeincluded.Indeed,itisnotevennecessarytomodelthewhole of the box.

User Guide, V9.131

Defining the Requirements

the Main Features

a component or Board will not generally require the model to be extended to a solidbox surface. This type of simulation may well be investigating the methods of local heat

and therefore a comparison can be made by siting the objects suspended in free air orby definhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing a particular airflow over the objects in question.

modeling a whole system such as a computer or electronics module the casing itself willformanimportantpartofthemodelandwillneedtoberepresented.Oftenthesolutiondomainwill end at the casing and the user will need to define the outside temperature and how the heatis transmitted from the exterior of the box – ambient setting. This is normally acceptable forcases that have forced ventilation or are sited away from significant obstructions.

the outside of the box is designed to aid the heat transfer processes (for example fins) then itis difficult to define a heat transfer coefficient and the structure will have to be modeledexplicitly. Hence the solution domain will have to be extended beyond the box.

there are local objects near the box in question, then thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he solution domain will need to beextended to include these. A good example of this would be tabletop electronics with vents inthe bottom. Here the gap between the bottom of the box and the table will have a significanteffect on airflow within the system and will have to be included in the solution domain.WellStructuredProjectManagerDataTree

well as considering what to model it is also worth thinking at an early stage of how to

the project manager tree. By starting with a well laid out structure the project will bemuch more manageable as it grows. This will again be of benefit in tracing the source of anyproblems. It will also allow the easy transfer of sub-assemblies between the project and librarymanager, making it easy to store often used components for use in future projects.

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

3WorkingonaFloTHERMProject

chapter dehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5scribes a FloTHERM project and shows how it is managed.OverviewoftheFloTHERMProject

flow study is encapsulated within a unique FloTHERM project. All data relating to thestudy is stored in its own project directory structure created automatically by FloTHERM.Whenopeningorsavingaproject,FloTHERMautomaticallyretrievesorstorestheinformationfrom or to the project directory, hiding the handling of the numerous data files from the userand, therefore, making it easier to use.

it is not essential to understand the directory structure to run FloTHERM, it isintroducedhereincaseyoudecidetomaintaindifferentdataareasfordifferenttypesofprojectsor for individual users.

installations create a MentorMA directory in Program Files (on Microsoft&#174; Windows)or in /opt/on UNIX. The location of the FloTHERM projects directory (known as theSolutionDirectory)defaultstoflouserbelowflosuitehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5_v91/flothermbutitcanbechangedafterinstallation by saving your project to a different solution directory. On multi-user systems,separate solution directories are useful for designating different user areas.

the projects solution directory, each project has its own directory named after theproject,butwithanumericextension.Withineachprojectdirectory,theseparatedatatypesareheld in sub-directories.Figure3-1 shows the directory structure containing two projects:Tutorial_1 and Tutorial_2. Tutorial_1 is expanded to show its top-level sub-directories.FloTHERM User Guide, V9.133

Working on a FloTHERM Project

of the FloTHERM Project

3-1. Directory Structure

only files/directories that you might manually access are:

project solution directory, if flouser is relocatedgroup.bak,abackupoftheprojectfile,heldinthePDProjectdirectory.Copygroup.bakover grhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5oup, in the same directory, if you need to restore a project.library files of geometry and attributes in the Libraries directoryfloqueue, for setting up a remote solution environment

.LMCacheand.LMRecentdirectoriesareforsystemfilesrequiredbytheLibraryManager.Do not edit these files.

,youeithercreateanewprojectorloadanexistingone.Every new FloTHERM project must be created and then saved to the project directory. (Thesolver will not run until the project is saved.) See“Starting a New Project” on page67.

,itcanbereloadedlater,andifrequired,exportedforarchiveaswellasfor use in other FloTHERM, MCAD or ECAD systems. See

[此处图片未下载成功]

“Loading an Existing Project” onpage69,“Importing/Exporting Projects” on page87 and“Archiving Projects” on page90.34FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ger WindowProjectManagerWindow

for the entire program session. If you close the Project Manager, FloTHERM http://www.51wendang.come the Project Manager to control and build your FloTHERM projects. You can create newprojectsorloadexistingonesaswellasdisplayandmanipulatetheprojectgeometrydatausinga tree hierarchy.

section introduces you to the Project Manager window, describing its layout andcommands. The main topics covered in this section are:

“Window Layout” on page35“New Object Palette” on page41“Library Manager” on page47“Project Manager Menu Bar” on page48“Project Manager Toolbar” on page64“Supporting Application Windows” on page66

additional modeling advice, see“Building the Geometry” on page145 and for frequentlyasked questions, see“Frequently Asked Questions” onhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 page519.

the FloTHERM start-up splash screen clears, the Project Manager window appears.Figure

[此处图片未下载成功]

3-2 shows all the main components of the window, but the right side panel containingthe new object palette and the library manager is optional and may not be visible on start-upFloTHERM User Guide, V9.135

Working on a FloTHERM Project

Manager Window

3-2. Window Layout

main Project Manager window features are:

“Title Bar” on page36, for the project name and application“Data Tree” on page37, for displaying the geometry structure“New Object Palette” on page41, a button panel for creating new geometry“LibraryManager”onpage47,astorageareaforcommonlyuseddesignsandattributes“Project Manager Menu Bar” on page48, for displaying lists of operations on theproject data“Project Manager Toolbahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5r” on page64, shortcut buttons for commonly used Project

commands

[此处图片未下载成功]

thetopnodeinthe data tree.

change the name of the project, chooseProject &gt; Save As and use theSave Project Dialogto save the project under a new name.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowWhenFloTHERMstartsupitdisplaysadefaultproject,DefaultSIinthecaseshown.However,you can choose a different start-up project using theSet Default feature in theNew ProjectDialog (Project &gt; New).

uses the basic concept of sets (assemblies) and subsets (parts) to organize itsgeometry data. These assemblies and parts are displayed in a data tree which can be easilyexpanded to show the full hierarchical structure of the project gehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ometry.

FloTHERM is started with a project stub loaded (DefaultSI andDefaultUS contain nogeometry) only theSystem node (for defining the solution domain) and the top-levelRootAssembly node (ready to hold the new geometry you are going to create) are present. WhenFloTHERM is started with a loaded project, the display includes the top-level geometry in thetree structure. Examples of projects with or without geometry are shown below.

3-3. Assemblies and Parts

&gt;Load and using theLoad Project Dialog. Templates of common designs and examples are alsoprovided from the menu commandProject &gt; Newand theNew Project Dialog.

,somenodesmustbeexpanded.Aplus‘ ’ sign by a node indicates that the node can be expanded. Click http://www.51wendang.com/doc/d2e52c141054f5479dae40c5‘ ’ to expand the node.

,nodesmarkedbyaminus‘-’signindicatetheyarealreadyexpanded.Clickthe‘-’to

[此处图片未下载成功]

collapse a node.

the tree expands beyond the expanse of the window, then scroll bars appear so that you canpan the data view.

User Guide, V9.137

Working on a FloTHERM Project

Manager Window

search facility is very useful when working on very large projects. ChooseEdit &gt; Find tolaunchtheFindDialogtosearchthroughthestructureandfindobjectsmatchedbynameand/ortype.

(Topping)

:

First, clicking the item in the tree to select it,Then, clicking or choosingView &gt; Top

[此处图片未下载成功]

The selected item then becomes the top item in the display area as shown below.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

[此处图片未下载成功]

Figure 3-4. Topping

reverse the process chooseView &gt; Up to Parent and move back up the tree. To re-displaythe tree from the top, reset the view (View &gt; Reset).

, you could have expanded the tree to display the constituent parts of the chassis,but this is more cluttered.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowFigure 3-5. Root Assembly

,anitemmustbeselected.Toselectan item, left-click it in the tree. Once selected, the item will become highlighted.

selection can be quickly changed by using the arrow keys to traverse the data tree as follows:

Up and down keys to move up or down within the assembly in which the currentselected object is located.Left and right keys to move up and down the asshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5embly levels (that is, parent to child or

versa).

deselect an item or items, click in the blank area of the display.

(Ctrl-Select)

make multiple selections of geometry, after selecting the first item press Ctrl-left-click overeach additional required data item. Individual objects can be de-selected by Ctrl-left-clickingthem.

selections can be in any assembly and for different data types. But note that, if a typedependent data input dialog is open when an object of different type is selected, then an errormessage is displayed asking if you want to cancel the selection. If

[此处图片未下载成功]

No is selected, then the datainput dialog is automatically closed.

User Guide, V9.139

Working on a FloTHERM Project

Manager Window

/Assemblies,Regions,MonitorPointsorCutoutsbelowanassemblyhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5using theSelect All command from the assembly popup menu.Select All displays a submenufrom which you choose the type of objects to be selected.

is a valuable technique for selecting multiple objects in the hierarchy for review in theSummary Dialog (launched by clicking in the Project Manager).

(Shift-Select)

your design has a number of primitives/SmartParts/regions/cutouts/monitor points under theroot assembly, you can select a group of them (of the same or of mixed type) by selecting thefirstobject,holdingtheShiftkey,andselectingthelastobject.Alternatively,youcanselectthelast object, hold the Shift key, and then select the first object.

that you can quickly change the name of a geometry object in the tree. First select theobject, then click its highlighted name to display it in a data entry field and over-type. Clickanywhere else ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n the display area to apply the change. To get out of edit mode and cancel thechange, press Esc.

, you can change the object name when changing the object definition in thelocation/construction dialogs. See“Context Sensitive Menus” on page40.

listing order of the geometry reflects the setup sequence. Items at the top of the tree aregenerally considered created first (see“Construction Precedence Rules” on page178 for moredetails).

,youcanmoveobjectsupanddownthetreebydraggingtheiriconstothedesiredlocation.Astheobjectisdraggedacrossthetree,themousepointerchangestofor a valid drop-site, or for an invalid drop-site.

,pressCtrlwhiledraggingtheicon.Selecttheobjectreadyforthedragbeforeholding down Ctrl.

/DemotingGeometry

, selected objects can be promoted upwards or demoted downwards athttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the siblinglevel,usingthepromoteanddemotebuttons,orthecommandsintheGeometrymenu.ContextSensitiveMenus

tree data can be changed using context sensitive menus that are displayed when you right-clickaniteminthetree.Thesemenuscontainoptionswhich

[此处图片未下载成功]

perform,

[此处图片未下载成功]

orcall

[此处图片未下载成功]

dialogstoperform,operations on the selected item. See“Managing the Project Data” on page79.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowNewObjectPalette

the New Object Palette to create new geometry from object templates. The New ObjectPalette is a tool panel containing selection buttons for all the possible geometry types. It is

-sideofthewindow,butitslayoutisoptimizedfordisplayspace.SowhentheLibrary Manager is displayed, the panel has a horizontal format. But, when the LibraryManager is hidden, thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 New Object Palette has a vertical format as shown inFigure3-6.

3-6. Object Palette

:click

, chooseView &gt; Palette or PressF7.

(inactive)whenasuitablegeometryobjectisnotselectedinthedatatree. For example, if nothing is selected in the tree then there are no active buttons, If anassembly is selected in the tree, then most of the buttons are active. To activate the otherbuttons, select:

[此处图片未下载成功]

a cuboid or enclosure wall for a new holea PCB for a new componenta network assembly for a new network nodea network node for a new network cuboida recirculation device for a new supply or extract.

User Guide, V9.141

Working on a FloTHERM Project

Manager Window

the mouse pointer pauses over a button in the pahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lette, a ToolTip will appear to indicatethe geometry represented.

objects are either created as children or siblings of the item selected in the data tree. Tocreate a new object, left-click an object in the tree and the valid geometry types for the treeselection become active in the New Object Palette. Click the required object in the palette. Thenew object will then appear in the tree.

.Thetop-levelrootassembly contains all the project geometry, but to create a structured design you create sub-assemblies of related functional parts, for example separate assemblies for the structure,electronics and ventilation.

-assembly,selectanassemblyinthedatatree(therootassemblyifstartinganewproject)thenclick.Thenewemptyassemblyisaddedastothetreeasachildoftheselectedassembly, rhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5eady to hold new geometry parts, seeFigure3-7.

3-7. Adding AssembliesThe origin of the assembly is located at the origin of the selected assembly.

[此处图片未下载成功]

Adding

[此处图片未下载成功]

Parts

add parts to an assembly, select an assembly in the data tree and click the part button in thepalette. The new part appears as a child of the selected assembly as shown for a new cuboid inFigure3-8.

3-8. Adding Parts

origin of the part is located at the origin of the selected assembly.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowAddingHoles

are added as children to cuboids and enclosure sides. Select the cuboid or enclosure side(displayedbyexpandingtheenclosure)andclicktheholesbuttoninthepalette.Thenewholeisdisplayed as a child of the selected geometry, as shown inFigure3-9.

3-9. Adding Holes

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parThe origin of the hole is located at the origin of the selected cuboid or enclosure side.AddingCo-locatedSiblings

can be co-located in an assembly by selecting a part in the tree, then clicking an object inthepalette.Forexample,selectingacuboidinthetreethenclickingasourceinthepaletteaddsa source at the same location and in the same assembly as the cuboid, as shown inFigure3-10.

3-10. Adding Siblings

a new monitor point is created for a selected part, then the monitor point is located at thecenter of the selected part. If a new monitor point is created for a selected assembly, then it islocated at the origin of its parent assembly as for other parts added to assemblies, as shown inFigure

[此处图片未下载成功]

3-11

[此处图片未下载成功]

.

[此处图片未下载成功]

Figure 3-11. Adding Monitor Points

User Guide, V9.143://www.51wendang.com/doc/d2e52c141054f5479dae40c5r

Working on a FloTHERM Project

Manager Window

full list of options available for the selected tree objects are given in the table below.

3-1. Palette Options

[此处图片未下载成功]

FloTHERM User Guide, V9.144

Working on a FloTHERM ProjectProject Manager WindowTable 3-1. Palette Options

listing order in the data tree reflects the setup sequence, that is, items at the top of the treeare considered created first. See“Construction Precedence Rules” on page178 for coincidentgeometry.

, when a new object is added to an assembly, the default size is one-tenth of the

.Onemajorexceptionistheenclosure,whichissizedtofitthesolutiondomainwith the wall thickness one-tenth of the smallest dimension.

of objects created in a project with a 1 m3 solution domain are as follows:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Assembly — empty assemblyCompact Component — 0.1 m&#215; 0.1 m&#215; 0.1 m. No power is attached to the componentCuboid — block 0.1 m&#215; 0.1 m&#215; 0.1 mCutout — cutout 0.1 m&#215; 0.1 m&#215; 0.1 mCylinder—12-facetcylindercomprisingbothcuboidsandprismswithradiusof0.05m

length 0.1m

[此处图片未下载成功]

FloTHERM User Guide, V9.145

Working on a FloTHERM Project

Manager Window

Enclosure — enclosure occupying a 1 m&#215; 1 m&#215; 1 m space, with thin walls 0.1 m thickFan—3D,4facetfixedflowaxialfanwithhubdiameterof0.008m,outerdiameterof0.1 m, depth of 0.1 m, and a fixed flow rate of 8e-3m3s-1Fixed Flow — inflow of zero volume flow-rate covering an area of 0.1 m&#215; 0.1 mHeat Sink — heat sink base 0.1 m&#215; 0.1 m&#215; 0.005 m with 3 internal fins http://www.51wendang.com/doc/d2e52c141054f5479dae40c50.095 m longand uniform styleHole — empty space 0.1 m&#215; 0.1 m&#215; 0.1 mInverted Tet — inverted tet with 0.1 m lengths in the three coordinate directionsMonitor Point — cross-hair shaped monitor pointPCB — 0.1 m &#215; 0.1 m non-conducting PCBComponent — one-tenth the X-Y size of the parent PCBPerforated Plate — 0.1 m&#215; 0.1 m&#215; 0.1 m with square holes 0.005 m pitched 0.01 m&#215;mPrism — prism with 0.1 m lengths in the three coordinate directionsRecirculationDevice—0.1msquaresupplyinthez-planeatthereferenceorigin,anda

.1msquareextractinthez-planeatz=0.1mfromthereferenceoriginwithaflowrateof 0.008m3s-1. The default size of both the child nodes (extract and supply) are one-

of the solution domain X and Y sizes.

— volume resistance 0.1 m&#215; 0.1 m&#215; 0.1 m

Block — sloping block 0.1m&#215; 0.1414214 m angled at 45 degrees

— tet with 0.1 m lengths in the thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ree coordinate directions

— volume source 0.1 m&#215; 0.1 m&#215; 0.1 m

Region — region 0.1 m&#215; 0.1 m&#215; 0.1 m

a flow rate of 2,900cfmwith a flow rate of 480cfmNetwork Assembly — emptynetwork assembly

Node — empty node

Cuboid — block 0.1 m&#215; 0.1 m&#215; 0.1 m

Pipe — empty heat pipe assembly

— TEC with dimensions 40 mm&#215; 40 mm&#215; 47 mm and a ceramic thickness of

.75 mm

— die with dimensions 4.9 mm&#215; 4.9 mm&#215; 0.22 mm

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowResizing,RelocatingandAddingProperties

new object is edited to suit the model using theContext Sensitive Menus.

, you can use the“Drawing Board Window” on page213 to change the geometrysize and location by dragging boundaries.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5BuildingGeometry

,youcanaddgeometrytothedatatreeusingthe library and importing files in various formats from the file system.

information on libraries, see“Library Manager” on page47 and“Using Libraries” onpage267.

information on importing files, see“Importing/Exporting Geometry” on page201.LibraryManager

. The Library Manager is not displayed by default, to save space. The quickest way todisplay the Library Manager is to click or chooseView &gt; Library Manager or double-click F7.

Library Manager appears to the right of the display with the New Object Palette arrangedhorizontally above it as shown inFigure

[此处图片未下载成功]

3-12

[此处图片未下载成功]

.

3-12. Library Manager

User Guide, V9.147

Working on http://www.51wendang.com/doc/d2e52c141054f5479dae40c5a FloTHERM Project

Manager Window

operation of the Library Manager trees is similar to that of the Project Manager data tree,the nodes with children are indicated by a ‘ ’. Clicking a ‘ ’ will expand the tree to reveal thehidden entries. Clicking a ‘-’ will collapse the tree and hide child entries.

into the Project Manager tree.

a full description of the Library manager, see“Using Libraries” on page267.

the Project Manager menu bar to execute Project Manager operations either directly or bylaunching a dialog

3-2. Project Manager Menu Bar Contents

[此处图片未下载成功]

48FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowProjectMenu

the Project ManagerProject menu for general prohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ject management.

3-3. Project Manager Project Menu Contents

[此处图片未下载成功]

FloTHERM User Guide, V9.149

Working on a FloTHERM Project

Manager Window

[此处图片未下载成功]

Table 3-3. Project Manager Project Menu Contents

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowTable 3-3. Project Manager Project Menu Contents

Notes

Program ManagerIf changes are detected when exiting, you are given the chance to save them using a querydialog. There are three options:

Yes saves the project and solution data before exiting.

new project displays theSave Project Dialog, allowing a name, title and library classto be entered. An existing project is overwritten.

No does not save the project but backs up and removes the solution data before exiting.The backed up results are used to interpolathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e from later.Cancel cancels the exit request.

, if you attempt to exit FloTHERM while either the exchange factor calculation or the

,youarepromptedtoconfirmorcanceltherequest.IfyouchooseNotocancelthe exit, FloTHERM does not exit, but any open dialogs are closed. If you chooseYes tocontinue, the solution is interrupted and FloTHERM exits.

the Project ManagerEdit menu to perform or undo changes to basic construction data.

[此处图片未下载成功]

Table 3-4. Project Manager Edit Menu Contents

[此处图片未下载成功]

FloTHERM User Guide, V9.151

Working on a FloTHERM Project

Manager Window

[此处图片未下载成功]

Table 3-4. Project Manager Edit Menu Contents

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowTable 3-4. Project Manager Edit Menu Contents

3-13. Pattern Creation

[此处图片http://www.51wendang.com/doc/d2e52c141054f5479dae40c5未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

PSU (Assembly)

&#215; 3 patternof boardsOriginalBoard

Notes

Copy

and Paste can be combined into one drag-and-drop operation. Press the Ctrl key whiledraggingtheobject’sicontothedesiredtreeposition,thenreleasethemousebutton.Selecttheobject ready for the drag before holding down the Ctrl key.

the Project Manager View menu to select the amount of data displayed in the data tree andaccess new object and library definitions.

User Guide, V9.153

Working on a FloTHERM Project

Manager Window

bars or, alternatively choose to display an individual assembly.

3-5. Project Manager View Menu Contents://www.51wendang.com/doc/d2e52c141054f5479dae40c5

[此处图片未下载成功]

Usage Notes

.ByToppingassembliesyoucanmethodicallystepthroughallthe assemblies in a particular path from the highest to the lowest level in the data tree.

return back to the previous level, useView &gt; Up to Parent. To return to the top of the tree,useView &gt; Reset.

operation is conveyed to other application windows, so the display areas of the DrawingBoard and Visual Editor applications are drawn to display the topped assembly.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowSee“Viewing Assemblies or Parts Individually (Topping)” on page38.

tree.

3-6. Project Manager Geometry Menu Contents

[此处图片未下载成功]

FloTHERM User Guide, V9.155

Working on a FloTHERM Projhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ect

Manager Window

[此处图片未下载成功]

Table 3-6. Project Manager Geometry Menu Contents

Notes

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Decompose

creates a new assembly at the same level of the SmartPart, the SmartPart beingdeleted. InFigure3-14, an enclosure is decomposed into an assemblage of six primitive parts.

3-14. Decompose Example

,slopingblockorblockwithholesathermalattributemaybeappliedwhich defines the object as conducting, or non-conducting at a fixed temperature. If a libraryattribute is attached which has a power output set, the power setting is ignored. However, ondecomposingtheobject,theresultingcuboidseachretainthethermalattachmentandthepowersetting now becomes valid and is applied.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowModelMenu

://www.51wendang.com/doc/d2e52c141054f5479dae40c5se the Project ManagerModelmenu to define the solution domain environment.

3-7. Project Manager Model Menu Contents

[此处图片未下载成功]

FloTHERM User Guide, V9.157

Working on a FloTHERM Project

Manager Window

the Project Manager Grid menu to refine the solution grid.

3-8. Project Manager Grid Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

Usage Notes

Inflation

there are no grid constraints attached to the object, then a grid constraint is created and

.Thisconstraintwillbenamedaftertheobjectandhave a minimum of 1 grid cell, extending out 5% of the Low and High coordinate side lengthsas shown inFigure3-15.

3-15. Grid Inflation

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowIfagridconstraint,withdefault(no)ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nflationsettings,isalreadyattachedtoanydirectionoftheobjectand not attached to any other non-selected object, then the grid constraint selected willbe updated to set inflation 5% of the low and high coordinate side lengths as shown inFigure3-15.

,withnoinflationsettings,isalreadyattachedtoanydirectionoftheselectedobjectand also attached to other non-selected objects, then a new grid constraint is created bycopying the attached constraint but changing the inflation setting to 5% of the Low and Highcoordinate side lengths. This new grid constraint will then be attached to the object instead.To reset the inflation settings use theGrid Constraint Modeling Dialog described in theFloTHERM Project Attributes Reference Guide.

the Grid

grid can be viewed in the Drawing Board and Visual Editor application windows:

In the Drawing Board, using theDrawing Board Picture Dialog.In thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he Visual Editor, activateShow Grid in the Plane Plot properties sheet. See“Plane

” on page456.

the Project ManagerSolve menu to start and control the solution.

3-9. Project Manager Solve Menu Contents

[此处图片未下载成功]

FloTHERM User Guide, V9.159

Working on a FloTHERM Project

Manager Window

3-9. Project Manager Solve Menu Contents

Notes

-initializing

any problems that need correcting before solution can take place.

the project contains valid solution data, you will be warned that initialization deletes theexisting solution data and asked if you want to continue.

the initialization completes, a message is displayed in the status bar to inform the user.Solving

following checks are made before starhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ting the solution:

[此处图片未下载成功]

60FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager Window Model changes

checks for any unsaved project changes. If any changes are detected, these mustbe saved prior to solving. For new projects, theSave Project Dialog is displayed so youcan name the project and save it. If you cancel theSave Projectdialog, the solve is

.Anychangesfoundinprojectsalreadysavedarewrittenautomaticallyoverthe already stored version.

Data consistency and data errors

problems are detected, messages are displayed. Those flagged as errors must be

.Warningandinformationalmessagesmayalso appear, but the solution will continue.

Exchange factor calculations

models require the automatic calculation of the exchange factors, before

the equations if:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5Solving the project for the first time whenSolve &gt; Exchange Factors has not

been activated, or

grid, the number of radiating surfaces, or the turbulence model has changed

the last time exchange factors were calculated.o

Solar

accounting for solar radiation have to determine where the solar radiation falls.This is done before the main solve calculation if:

project is to be solved for the first time, orThe project is considered to have changed in some way, for example, a geometry

.

the solution starts, theProfiles window displays the plot of residual errors as they arecalculated. It pops to the front of the screen if it is not already running. If there are monitorpoints defined, it additionally displays a plot of monitored variables for temperature. If alreadyrunning, it continues in its current state, perhaps behind other applhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ication windows or iconized.To help you estimate the time required to solve a project, a dialog is automatically launchedwith the percentage done indicated in a progress bar.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.161

Working on a FloTHERM Project

Manager Window

Factors

the calculation of the Exchange Factors can be time-consuming, a dialog is displayed withthe percentage done indicated in a progress bar.

&gt; Interrupt Exchange Factors or

.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

if you decide to interrupt the exchange

large cases, the progress bar may seem to freeze near completion. If this occurs, theSTOP button will cease to function and you should wait for the exchange factor to

://www.51wendang.com/doc/d2e52c141054f5479dae40c5nutodisplaythesolutionresultsinthreedifferentformats:3D visualization, tabulations and 2D lineplots.

3-10. Project Manager Results Menu Contents

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject Manager WindowWindowMenu

the Project ManagerWindow menu to open the supporting application windows andpackages and display FloTHERM error/warning messages, or refresh the current window.

3-11. Project Manager Window Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

HelpMenu

the Project ManagerHelp menu to access information about FloTHERM. In addition todisplaying the on-line help it provides links to FloTHERM user support web pages.

3-12. Project Manager Help Menu Contents

User Guide, V9.163

Working on a FloTHERM Project

Manager Window

3-12. Project Manager Help Menu Contents

://www.51wendang.com/doc/d2e52c141054f5479dae40c5jectManagerToolbar

(bydefaulttheserundowntheleftsideoftheProjectManagerwindow)aredescribedinTable3-13.Theremainingbuttonsontheleftsideofthe window form the Application toolbar, and launch the other FloTHERM windows. TheApplication toolbar is common to most of the product windows.

[此处图片未下载成功]

Table 3-13. Project Manager Toolbar Buttons

[此处图片未下载成功]

64FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectProject BuildingTable 3-13. Project Manager Toolbar Buttons

the Project Manager it is possible to build the complete FloTHERM model. You cancreate the problem specification and solve without calling another application window.

a full description of the dialogs called to perform the project management tasks, see thefollowing:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

“Starting a New Project” on page67, for starting, loading, saving and deleting projects.“Defining the Mathematical Model” on page99, for setting the solution domain,modeling type and calculating auxiliary variables.“Building the Geometry” on page145, for creating or editing the model structure.“Project Attributes” in theFloTHERMProject Attributes Reference Guide for creatingand attaching attributes to modeling objects.“Using Libraries” on page267, for populating and using the libraries.“AddingGrid”onpage285,fordefiningthesolutiongridoverthesolutiondomainandmodeling objects.“Solving the Project” on page325, for running the simulation.“Monitoring the Solution” on page347, for displaying 2D line plots of the solutionresults.“Visualizing Results” on page409, for producing 2D and 3D stills or animations of thesolution results.“Reporting Project Data and Results” on page477, for tabulating the projecthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 data and

results in a format that can be loaded into a spreadsheet.

[此处图片未下载成功]

FloTHERM User Guide, V9.165

Working on a FloTHERM Project

Building

Building Scenario Projects in theFloTHERMCommand Center User Guide to quickly

different scenarios for a given project.

,youarerecommendedtousetheotherapplicationwindowstoobtaindifferentrepresentationsofthedeveloping data structure.

,youcancalltheDrawingBoardtoviewandeditthephysicalstructurepictorially.Figure3-16 shows the Project Manager and Drawing Board representations for the sameproject.

[此处图片未下载成功]

Figure 3-16. Application Windows

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

The supporting windows are called by thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 buttons listed inTable3-14. Note that the currentapplication window’s launch button will not be displayed in the toolbar.

3-14. Application Toolbar Buttons

the Project Manager (PM)

the Drawing Board (DB)

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectStarting a New ProjectLaunches the Visual Editor (VS) in Graphics Mode

the Visual Editor (VS) in Tables Mode

Profiles (PF)

FloMCAD Bridge (MC)

the Command Center (CC)

FloEDA Bridge

your default browser to

[此处图片未下载成功]

FloTHERM PACK

[此处图片未下载成功]

, the

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

web-based tool for building models of chip packages.

Tour of FloTHERM inGetting http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Started with FloTHERM for an overview of thesupporting application windows.

default, the studies you create are FloTHERM projects. FloTHERM enables you to startstudies from two kinds of projects:

An empty spaceA template containing a standard model

,cansavealotoftimeifyouneedtorepeatstandarddesigns.Tostart a project from a template, use theNew Project Dialog.

access:PM Project &gt; New

thisdialog to choose the base model template from which to start a new project. You canalso set the default template which will always be loaded first when you start FloTHERM.

from. The current, default project type will be selected when the dialog opens.ChoosingaTemplate

tabs above the dialog display area indicate the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5template categories available. Click a tab todisplay the templates for that category. The and icons indicate projects with orwithout results respectively.

User Guide, V9.167

Working on a FloTHERM Project

a New Project

the page buttonsare present, then there are more categories available than areactually displayed. Click these buttons to page through the different tabbed categories in thedirection indicated.

load a template for use as a new project, click a tab name to display the templates held forthat chosen category type, then click on a template project name or icon to select it, then pressOK.

save this new project, you must rename it using theSave Project Dialog, you cannot

.TocalltheSaveProjectdialoguseorSaveAsintheProjectMenu.Ifyouhavemadechangestothecopiedtemplate,onclosingtheproject(byexitingFloTHERMor loading another project) yohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5u will be prompted to save your changes. If you do not save, thenew project will be lost.

is supplied with four template category types:

Application Examples — to provide practical examples of FloTHERM modelingtechniques.ATX — to provide standard form factor templates for ATX PC designs.BTX — to provide standard form factor template for BTX PC designs.Defaults — two templates DefaultSI and DefaultUS using SI and American units

. DefaultSI defines a space of 1m3. DefaultUS defines a space of 8ft3. In

defaults, the space is filled with air at 30 C and pressure of 1 atmosphere.

set the default project, which is loaded each time FloTHERM starts, select the template inthe dialog and clickSet Default.

[此处图片未下载成功]

To delete a template, sehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lect it in the dialog and clickDelete.

user-made templates can be created using theSave Project Dialog. Your projects can beadded to an existing template category or to a new category type.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectLoading an Existing ProjectLoadinganExistingProject

session. To access the information generated, you must load the project into programmemory using theLoad Project Dialog.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

LoadProjectDialog

access:PM Project &gt; Load

thisdialog to load a FloTHERM project which has been previously saved as either:

A FloTHERM system solution directory file (using orProject &gt; Save), orAn external system disk file using the Project Manager export facility.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 See“Export

Options” on page89.

in theFilter Project Dialog. By default, the list is filtered by your username.

load a project, select it in the list and clickLoad.

, you can delete or unlock the selected project by clicking the correspondingfunction button.

are two aids to help identify the selected project:

Project title appears below the list, andusingNotes you can read any attached project notes.

list the projects held in a different directory, useBrowse.

project files, that is, by class, sub-class, username, before date or after date.

User Guide, V9.169

Working on a Fhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5loTHERM Project

an Existing Project

the selected project and its related solution data from the list and the current project

[此处图片未下载成功]

directory.

[此处图片未下载成功]

new one first. Also, you cannot delete a project that was not saved under your own

.But,asFloTHERMalsolocksprojectsincurrent use, before unlocking a project check that you are not using it in another programsession and, in a multi-user system, it is not being used by someone else.

the title of the project currently highlighted in the scroll list.

theNotes Dialog to display any notes attached to the project currently highlighted inthe scroll list.

Solution Directory

the directory from which to load your projects. The initial default setting is set-up durinhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5gthe installation procedure. Use theBrowse button to call a file browser to locate the directory.Any change made here is reset if the dialog is cancelled.

,youmustusetheSaveProjectDialog(Project&gt;SaveAs).

://www.51wendang.comeCatalogwhenitisknownthatthereareprojectscopiedormovedintothe directory using the operating system, but they are not listed in the dialog.

, use Ctrl   Shift-R with the Project Manager open, before launching theLoadProject Dialog.

the project selected in the project list.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectLoading an Existing ProjectCancel

the load and any solution directory selection change.

you selectProject &gt; Load, if there are unsaved changes in the project you have beenworking on, you will be given the choichttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e either to cancel the load or to continue the load andlose the changes.

.Ifthesystemfailswhenworkingonaprojectitwillstillbelockedwhenyouattempttoloaditagain.YouwillbewarnedthatitislockedandtoldtouseUnlocktoallowaccess to the project.

default, the project list contains only those projects saved under your login name. If youwanttodisplayprojectscreatedbyotherusers,pressFilter,andusetheFilterProjectDialogtostop filtering the list by your username.

projects created in previous versions of FloTHERM have been loaded and saved inversion 9.1, they can no longer be run on the earlier version. The method of loading projectsfrom previous versions depends upon whether you are the owner of the project ohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5r not.YourOwnV3.xorV4.xProjects

attempting to load a project you created in FloTHERM version 3.x or 4.x, an alert boxwill appear warning you of the software discrepancy. The alert box provides two options:

Yes — continue and update the project to version 9.1 format (cannot be undone)No — cancel the load and leave the project unchanged.

you are attempting to load a FloTHERM version 3.x, 4.x or 5.x project owned by someoneelse,thenyouwillhavetofirstusethefloupdateallutilitytochangetheownershipoftheprojectbefore trying to load it into FloTHERM.

User Guide, V9.171

Working on a FloTHERM Project

an Existing Project

use floupdateall, ensure FloTHERM is not running and then:

.Copy the complete version3.x, version 4.x or 5.x project directory into your version 9.1

directory.

.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Open a command prompt (Microsoft&#174; Windows) or terminal (Solaris) and set the

environment as follows:

to:

&lt;install_dir&gt;_v91

type:

-env

to:

&lt;install_dir&gt;/fMentorMA/flosuite_v91/flotherm/SOLARIS/bin

type:

.Go to the version 9.1 solution directory and run floupdateall in order to be owner of all

projects in this directory by typing:

-o -d .

that the “.” identifies that the current directory is to be updated.

.After running floupdateall, start up FloTHERM and chooseProject &gt; Load to call the

Project dialog. Ensure that the correct solution directory is chosen and click

.Youwillthenseetheupdatedprojectsinthelistreadytobe loaded into FloTHERM.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ImportingExternalProjects

import a FloTHERM project, right-click the project name at the top of the Project Managerdata tree, and choose the appropriate file type from the popup menu and submenus. A fileselection dialog is displayed to find the required file. For a full description of the optionsavailable, see“Project Menu” on page49.

,firstconsultyourlocaluser support.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectLoading an Existing ProjectProjectandSolutionDataSafety

to this dialog is disabled during a solution to prevent any conflict between projects andsolution results. Conversely, when theLoad Projectdialog is open, solution is prevented.

[此处图片未下载成功]

[此处图片未下载成功]

FilterProjectDialog

access:ClickFilter in thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5eLoad Project Dialog

this dialog to filter the selection list in theLoad Project Dialog. It can filter projectsaccording to the user assigned class and sub-class set in theSave Project Dialog, or by thesystem creation date and username.

by Class

displayed in theLoad Project Dialog.

by Sub-Class

-classselectionlist,butitisonlyactiveifFilterByClassisalreadychosen. Using theSub-Class list, you can further refine the list of projects displayed in theLoad Project dialog by filtering on bothClass andSub-Class.

by Username

only those projects saved under the username you enter. By default, all projects ownedby all users in the solution directory are listed in theLoad Project dialog.

after Date

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ts all the projects saved after the date and time entered in the format:

-MM-DD hh:mm

before Date

all the projects saved before the date and time entered in the format:

-MM-DD hh:mm

User Guide, V9.173

Working on a FloTHERM Project

Projects

confirmation of the settings, the scroll list in theLoad Project Dialog, is populated withproject entries of the selected class type.

,theFilterbyUsernameoptionisde-activatedbydefault.However,itdoesremembertheselectionsmadethelasttimethedialogwasusedfortheFilter before andafter date options (but not the values).

access:ClickNotesin theLoad Project Dialog

.Thesereferencenotesare created using theEdit Notes Dialoghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5.

you work, “Save” frequently rather than waiting until you have finished. When saving aproject, you can overwrite the current project, or create a new project as follows:

Saving a New Project

you are saving a project for the first time, chooseProject &gt; Saveor Project &gt; SaveAs, or click in the standard toolbar and use theSave Project Dialog to name and

the new project.

Saving Changes to a Project

you are just saving changes to a project, chooseProject &gt; Save or click

toolbar.

Saving a Project Under a Different Name

you are saving the project under a different name, then chooseProject &gt; Save As tolaunch theSave Project Dialog

[此处图片未下载成功]

.

: When using an existing project name, you are warned of the attempt to overwriteif both projects have been created under the same username (login http://www.51wendang.com/doc/d2e52c141054f5479dae40c5accounts). If their

are different, then a new project of the same name is created. in the

access: PM Project &gt; Save As

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectSaving ProjectsUse thisdialog to save a project with the name, classification, and title in the directory youspecify.

, you can save the project as a template which can be loaded later using theNewProject Dialog.

[此处图片未下载成功]

[此处图片未下载成功]

SaveProjectDialogSettings

Name

the name of the project: up to 32 characters will be accepted; special characters are notallowed.

project name entered here appears at the top of the window and in theName: field in thestatus bar near the bottom of the Project Manager application window.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the named project.

the project class type, for example, a department name.

-Class

the project sub-class type, for example, a client name.

the project title intended to later help identify the project. The title for the active projectalways appears in the status bar near the bottom of the window.

theEdit Notes Dialog, to attach reference information to the project.

Solution Directory

the directory to hold the project data and results. To change the directory, clickBrowse to display a file browser to choose the required directory.

As Template

the project is saved as a template and assigned to theCategoryindicated. You canchange thisCategory by either choosing it from the popup list or typing in your own.FloTHERM User Guide, V9.175

Working on a FloTHERM Prohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ject

Projects

save a project using theSave Project Dialog, you need to specify the name of the project.You will be warned if you are attempting to overwrite an existing project. If you just want tosave the changes to the current project, then useProject &gt; Save.

displays theSave Project Dialog automatically when appropriate. For example,when you useProject &gt; Save or instead ofProject &gt; Save Asto save a new http://www.51wendang.comanizingProjects

help you organize your project database, you can classify your project by class and, whererequired, sub-class enabling easier retrieval when there are a large number of projects to scanthrough.

example, projects might be developed for consultancy, sales or support purposes for

://www.51wendang.comter,projectscanberetrievedbyscanningascrolllist,filteredbydepartmentnameandclient name, in theLhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5oad Project Dialog.

identification, enter a project title. UsingNotes to add help information to the projectnotepad can be particularly useful for projects with similar names. Such notes can be editedusingtheEditNotesDialog,whichislaunchedusingthepopupmenuoverprojectnamenodeatthe top of the Project Manager data tree, for example, seeFigure3-17.

3-17. Popup Menu with Notes Option Highlighted

that the project you want to delete is not the current loaded project, you can delete itusing theDelete button in theLoad Project Dialog.

[此处图片未下载成功]

and

[此处图片未下载成功]

BackupFiles

the project is saved, two project files are automatically created:

group - the project data file, andgroup.bak - the project backup data file.FloTHERM User Guide, V9.1

Working on a FloTHERM Projechttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tSaving ProjectsBoth files are stored in thePDProject directory below the project solution directory.

, for some reason, you need to restore your project, then copy the filegroup.bak overgroup.SavingTemplates

templates are saved under:

...MentorMA/flosuite_v91/flotherm/flocentral/Templates

a subdirectory corresponding to the assigned category name. For example, if you save

asatemplatewithCategorysetto“ApplicationExamples”,thenProject1.projectwillbe listed in directory:

...MentorMA/flosuite_v91/flotherm/flocentral/Templates/ApplicationExamples

,thenFloTHERMcreatesanewsubdirectoryunderTemplatesto hold the templates of this type.

, knowledge of the underlying directory structure is not required for accessing the

.AccesstobothsuppliedandusercreatedtemplatesisavailablefromtheNewProjectDialog, which has tabbed panelshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 to switch between displays of template categories.

created templates can be deleted using theDeletecommand in theNew Project Dialog.SavingPackedFiles

save a project in a compressed format ready for archiving or transfer to Mentor GraphicsMechanicalAnalysiscustomersupport,exportitasapackfileusingProject&gt;ExportProject.See“Export Project Options” on page89.

access:In a data tree, right-click overProject Name orModeling Object and selectNotesfrom the popup menu

thisdialog to attach construction information to the project and its individual modelingcomponents during development.

of this facility is encouraged because it allows you to jot down the reasons for makingparticular settings. These notes are useful reminders when later loading a case, debugging, re-designingorusinganobjectinanothermodel.Notesalsohelpotheruserstoidentifyprojechttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tsorobjects, and understand the design and evolution of a project.

User Guide, V9.177

Working on a FloTHERM Project

Projects

Entry

text by clicking in the text entry field and typing. The text automatically wraps to thebeginningofthenextlinewhenitreachestheendofthetextfield.Thereisatextentrylimit(of4 Kb).

new text, the cursor is initially in the upper left-hand corner of the dialog, but if text exists,you can locate the cursor either by clicking elsewhere in the text or by using the arrow keys.Date

the current date at the text insertion mark. For example:

5 Mar 2008

the current time in hours, minutes and seconds at the text insertion mark. For example:

:45:46

://www.51wendang.com/doc/d2e52c141054f5479dae40c5logusing the Notes button in theSave Project Dialog. However, the notes may be added/edited atanytimeduringprojectdevelopment.Toaccesstheprojectnotes,right-clickthetitleboxintheProject Manager tree, and chooseNotesfrom the popup menu.

can be attached to geometry using the Notes button in the location dialogs (Edit

,EditSmartPart,EditRegion)duringcreationoratanytimeduringdevelopment.TheEdit Notes dialog can also be displayed by selecting the object, then right clicking over it andselectingNotes from the popup menu.

Geometry

geometry also copies any attached notes.

Conflict

another object is selected when the notes dialog is on display, then the text panel changes toshow the notes appropriate to the current selected object.

multiple selections are made, then the dialog is closed. You can only attach notes to a sinhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5gleobject.

,iftheobjectisdeselectedwithoutselectinganotherobject,thentheNotesdialogisclosed.78FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectManaging the Project DataFunctionKeys

basic editing function keys depend on your operating system, for example, for home, startof line, end of line, and so on. But there is an additional FloTHERM popup menu for copyingand moving text. To display the Notes popup utility menu, right-click over theEdit Notesdialog text area. The Utility popup contains the standard Cut, Copy and Paste options.ManagingtheProjectData

,theprojectdataisdisplayedinatreehierarchyintheProjectManager, seeFigure3-18.

3-18. Project Tree Hierarchy

data tree contains three main types of nodes allowing access to the project data:

Project Node

top node, for the project identification and the importing/exporting http://www.51wendang.com/doc/d2e52c141054f5479dae40c5of projects

System Node

the definition of the solution domain

Geometry Nodes

expandable and collapsible nodes, with the root assembly as the top node. The

nodes are used for modeling the geometry structure. See“Data Tree” on

, if you need help on navigating around a data tree.

D and 3D views of the geometry structure as it is constructed can be seen in the

Board Window.

-clickingover the nodes in the tree.

-clicking the project node displays the Project Menu (Figure

[此处图片未下载成功]

3-19). Use this menu to

the title and add notes to help identify the project, as well as import and export projects.FloTHERM User Guide, V9.179

Working on a FloTHERM Project

the Project Data

3-19.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Project Menu

Notes launches theEdit Notes Dialog, to add or edit reminders attached to the project.

is very useful for identifying the project for later use.

, you can attach notes when saving the project usingProject &gt; Save As.See“Save Project Dialog” on page74.

Title launches the title entry dialog. The title is used to help identify projects for later

. The title entered here is displayed in theLoad Project Dialog, and at the bottom ofthe Project Manager window.

change the title, overtype the data entry field and click OK. Alternatively, you canchange the title when saving the project usingProject &gt; Save As. See“Save Project

” on page74.

ImportProject displays a submenu of the types of project files that can be imported to

the current project in program memory. After choosing the format type, a fileselection dialog appearhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s. See“Importing/Exporting Projects” on page87.

displays a submenu of the types of project files that can be exported tothe file system. After choosing the format type, a file selection dialog appears. See

“Importing/Exporting Projects” on page87.

-clickingSysteminthedatatreedisplaystheSystemMenu(Figure3-20),fordefiningthesolution domain.

3-20. System Menu

can launch dialogs to access data defining the location of the solution domain, externalambients,thefluidtype,effectsofgravity,

[此处图片未下载成功]

the

[此处图片未下载成功]

referencetemperatureandpressure.See“SystemMenu” on page100 for descriptions of these dialogs.

FloTHERM User Guide, V9.1

Working on a FloTHERM Project

the Project Data

-clicking an item of geometry in the data tree displays a menu (for example, seeFighttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ure3-21), for editing the geometry structure.

3-21. Example Geometry Menu

the options vary for each selection, all the possible menu entries are listed here inalphabetical order:

launches theAmbient selection dialog so you can choose the ambientcondition type for the system boundaries. For information on ambients, seeAmbientAttributes in theFloTHERMProject Attributes Reference Guide.

calls the object construction dialog to define the object build details.Copy copies the object into the paste buffer.

cuts the object from the data tree and stores it in the paste buffer.

allows you to export geometry, from the selected assembly, in a variety of

file formats. This option is not available if more than one assembly is selected.See“Importing/Exporting Projects” on page87.

Project alhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lows you to export FloTHERM projects in a variety of external fileformats. See“Importing/Exporting Projects” on page87 for a list of the formatssupported.

launches theBoundary Face Types Dialog, to specify the external boundaries.FluidlaunchestheFluidselectiondialog,sothatyoucanchoosethepropertiesoffluidflowing through the solution domain. If the fluid you require does not exist, then usingthe selection dialog, you can call theFluid Property Dialog in theFloTHERMProjectAttributes Reference Guide.

launches the

[此处图片未下载成功]

Global Units Dialog, to set the external radiant and ambienttemperatures, the datum pressure.

User Guide, V9.181

Working on a FloTHERM ProjectManaging the Project Data

launches theGravity Dialog,to define the effects of gravity.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5achgridconstraintsacrossthe cuboid. If the grid constraint type does not exist, then using theGrid Constraintdialog, you can call theGrid Constraint Modeling Dialog (seeFloTHERMProjectAttributes Reference Guide) to create it.

allows you to import geometry stored in a variety of external file formats intotheselectedassembly.Thisoptionisnotavailableifmorethanoneassemblyisselected.The imported geometry will appear in the tree as children of the selected assembly. See“Project Menu” on page49 for a list of the formats supported.

formats. See“Project Menu” on page49 for a list of the formats supported.Locationcallsthelocatingdialogtochangethepositionoftheobject.FloTHERMusesthree different locating dialogs for the three types of geometry: assemblies, primitivesand SmartParts. SeeEdit Assembly Dialog,Edit Primitive Dialog,Edithttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 SmartPartDialog.

calls theMaterial selection dialog (described in theFloTHERMProjectAttributes Reference Guide) to attach a material type to the cuboid. If the material typedoes not exist, then using theMaterialdialog, you can call theMaterial Propertydialog (described in theFloTHERMProjectAttributes Reference Guide) to create it.NewObjectdisplaystheNewObjectPalettetoallowyoutocreatenewobjects,andifrepeated, displays theLibrary Manager so you can use geometry and attributes storedin a common library area.

Subdomain creates a new subdomain throughout which you can change theenvironment. The new subdomain becomes a child ofSolution and the location andpropertiesofthenewsubdomaincanbechangedbyexpandingSolutionanddisplayingthe child popup menus. See“Setting Initial Fields Over Subdomains” on page112.Notes calls the“Edit Notes Dialog” on page77, to add reminders to the construction.Paste pastes the object copiehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d or cut from the data tree into the selected tree location.Notethatthedestinationmustbevalidforthegeometrytype.Forexample:anassemblyfor any geometry except components and holes, a PCB for a component and a blockwith holes for a hole.

calls theRadiation selection dialog, to attach a radiation attribute to thecuboid. If the attribute does not exist, then using theRadiation dialog, you can call theRadiationAttributeDialog(FloTHERMProjectAttributesReferenceGuide)tocreateit.

To Library, saves the geometry to the library already selected in the library tree,“Library Manager” on page267.

FloTHERM User Guide, V9.1

Working on a FloTHERM Project

FloTHERM Viewing/Units Preferences

All displays a submenu so you can select all the geometry of a particular typewithin the selected assembly. If the po-up menu ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s over theRoot Assembly, then allobjects of that type in the entire project will be selected.

only available in the Project Manager, calls theSummarydialog to tabulateconstruction information for the selected geometry.

calls theSurface Finish selection dialog, to attach a surface attribute to thecuboid.Iftheattributedoesnotexist,thenusingtheSurfaceFinishdialog,youcancalltheSurface Attribute Dialog (FloTHERMProjectAttributes Reference Guide) to createit. Alternatively, you can attach a surface finish via theMaterial Property Dialog(FloTHERMProjectAttributes Reference Guide).

Exchange calls theSurface Exchange selection dialog, to attach a surfaceexchange attribute to the cuboid. If the attribute does not exist, then using theSurfaceExchange dialog, you can call theSurface Exchange Attribute Dialog (FloTHERMProjectAttributes Reference Guide) to create it.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ondialog,toattachathermalattribute.Iftheattributedoes not exist, then using theThermal dialog, you can call theThermal AttributeDialog (FloTHERMProjectAttributes Reference Guide) to create it.

(thistitlenameisdisplayed at the bottom of the Project Manager window). This option is only availablefor the top-level project node.

/UnitsPreferences

provides several customizing options for your preferred set-up in theUserPreferences Dialog andGlobal Units Dialog.

access: PM Edit &gt; Preferences

thisdialog to choose your preferred set-up for display coordinates, automatic safety saves,representation of SmartParts, project solution directory, as well as synchronization andautomatic configuration of application windows.

settings you make http://www.51wendang.com/doc/d2e52c141054f5479dae40c5here are retained for the next session.

Positions in

the display coordinates in either:

Coordinates, these are relative to the model origin.

User Guide, V9.1

Working on a FloTHERM Project

FloTHERM Viewing/Units Preferences

Coordinates, these have two reference points depending on the applicationwindow:

the Project Manager or in any object dialog, local coordinates are relative to theorigin of the current assembly.

,localcoordinatesofthecursorlocationarerelativeto

[此处图片未下载成功]

the origin of the last topped object.

[此处图片未下载成功]

o

[此处图片未下载成功]

Visualize SmartParts

the representation of SmartParts as they are drawn in the Drawing Board applicationwindow as either simple bhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ounding boxes or showing all their composite primitive parts.WhenBounding Box is chosen, double-clicking on the bounding box of a SmartPart in thewindow display area toggles its display between composite parts and bounding box, seeFigure3-22.

3-22. Visualizing SmartParts

Parallel Solver

(Applicable to multi-processor machines.) Runs the parallel solver to thread (or distribute) thesolution amongst the processors of your machine and, therefore, speed up solution.

Of Processors to the number of processors on your machine for efficient use ofthe parallel solver. Note thatNumber Of Processors must be greater than one otherwise thesolver will revert to serial mode.Show Ignored Geometry

that geometry marked as ignored will still be visible in the Project Manager. Ignoredgeometry will be indicated in the tree by red highlighting.

FloTHERM User Guide, V9.1

Workhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing on a FloTHERM Project

FloTHERM Viewing/Units Preferences

AW Open

location, size and state of open windows are saved in a configuration file for each user.When you exit a program session withAuto AW Open activated, any windows open at thattime are re-opened automatically at their last location and size when you re-start FloTHERMagain.

AW Open is deactivated, only the Project Manager is opened when you start

. It will be located as you last left it. Other windows can be opened manually, andwill appear at their last location and size.Link Hierarchy

.DeactivatingLink Hierarchy causes the display of all primitives below the current ‘Topped’assembly (the assembly displayed in the Project Manager) to be displayed in the Drawing

.So,collapsingintheProjectManagerdoesnotaffectthedhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5isplaysintheDrawingBoard

[此处图片未下载成功]

application window.

more about Topping, see“View Menu” on page53.View Stagger

the flow velocity representation for the Tables application window (that is, the VisualEditor in Tables mode) as either the cell edge discretized value (staggered) or a cell centeredaverage.

(thedefault),thevelocitiesdisplayedarethediscretizedvaluesofthecomponentsu,vandwofthevelocityvectorfieldlocatedatthefacesofthegridcells.Thisarrangement is depicted schematically in the X-Y, X-Z and Y-Z planes for a single cell asshown inFigure3-23.

User Guide, V9.185

[此处图片未下载成功]

[此处图片未下载成功]

Working on a FloTHERM Project

FloTHERM Viewing/Units Preferences

deactivated, the velocity is interpolated to the cell center, as for the other variables.Solution Safety Saves

regular intervals forhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 saving results during solution. It can protect you from losing work inthe event of equipment or software failure according to the following options:

Frequency

number of outer iterations between automatic saves.

Step Frequency

[此处图片未下载成功]

The number of time step intervals (transient solutions only) between automatic saves.

[此处图片未下载成功]

Reset All Preferences

all settings to the installation defaults.

-userid.cfgin:

&lt;...installdirectory&gt;/flosuite_v91/flotherm/config

access: PM Edit &gt; Units

thisdialog to set the default units in the construction dialogs and windows.

units for length set here are also used by FloMCAD Bridge when exporting FloTHERMgeometry in MCAD file formathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s.

that the default units used by the Visual Editor/Tables visualizing and reporting windoware independent from the global units settings. Use the Units property sheet (see“Units” onpage439) to set the default units in the Visual Editor.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectImporting/Exporting Projects

.Theunit used by a class selected in the list is indicated by the default display forUse Units, forexample, LENGTH in meters (m).

the units to be applied to the selected measurement class type.

[此处图片未下载成功]

[此处图片未下载成功]

forLengthdefaultstometers,butyoumaywanttoenteranobjectwithaspecificationininches. In such cases, just reset the dialog input field units by selection from the popuphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5menupriortoenteringthedata.ThentheunitwillberememberedforthatdialogobjectImporting/ExportingProjects

can be can be imported and exported to and from external disk files. In the ProjectManager data tree, right-click the top node to display the popup Project Menu, and choose thefileformattypefromtheImportProjectorExportProjectsubmenu.Astandardfileselectiondialog appears for you to choose the name and location or destination of the file required.Alternatively, you can chooseImport Project orExport Projectfrom the Project ManagerProject menu.

-indirectory,theentries,and order of the entries, in the popup menus may vary from that shown.

User Guide, V9.187

Working on a FloTHERM ProjectImporting/Exporting Projects

3-24. Import Project Options from the Project Menu

Detect Fihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5le automatically determines the file type on import.

PDML (not shown inFigure3-24) is not required for the normal running ofFloTHERM and is only issued on special license. It does not normally appear in themenu. Please contact your FloTHERM supplier if you need this format.

imports FloTHERM projects exported in PDML format. See“PDML Files” onpage204.

.4 File imports FloTHERM V1.4*.prb or*.PRB files. See“Version 1.4 LibraryFiles” on page205.

/V3 Project imports a FloTHERM version 2.x or 3.x project.

imports a Project XML file (to import a Geometry XML file, see

“Importing/Exporting Geometry” on page201). By default, the filter searches for allfiles. See“XML Files” on page205.

File imports a packed file. By default, the filter searches for*.pack files.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

chooseYes, the packed file is unpacked and http://www.51wendang.com/doc/d2e52c141054f5479dae40c5copied over the existing project which is

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectImporting/Exporting Projects

3-25. Export Project Options from the Project Menu

PDML (not shown inFigure3-25) is not required for the normal running ofFloTHERM and is only issued on special license. Please contact your FloTHERMsupplier if you need this format.

exports the current FloTHERM project in PDML format. The name of the

,witha.pdmlextension,isusedasthedefaultfilename.Alsosee“PDMLFiles”on page204.

solution data ready for archiving or transfer to FloTHERM customer support. Thename of the project, with a.pack extension, is used as the default file name.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

://www.51wendang.com/doc/d2e52c141054f5479dae40c5r

(noresults)exportsthecurrentbaseprojectmodeldataandCommandCenterdefinitions only, in a compressed format, ready for archiving or transfer to FloTHERMcustomersupport.Thenameoftheproject,witha.packextension,isusedasthedefaultfile name.

sizes are much smaller compared to the standardPack File option. However, thecase must be re-run after unpacking to regenerate the results.

SAT exports an assembly as an ACIS*.sat file.

:This*.satfiledoesnotincludetheassemblyhierarchy,objectnamesorunits.

IGES calls theExport IGESdialog to save an MCAD assembly as a*.igs format file.Note: This *.igs file does not include the assembly hierarchy, object or names.

User Guide, V9.189

Working on a FloTHERM ProjectArchiving Projects

projects can be archived by exporting them as PDML or PACK files using

&gt;Export Projecthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5. The PDML or PACK files can then be copied to the externalbackup media.

,youcanautomatetheprocedurebycreatingscripts.Examplesofscriptsexportingall the projects in a selected solution directory are provided below.

you do not need to save the results, export the solution directory in PDML format files.If you need the project and the results, export in PACK file format.

following is an example Microsoft&#174; Windows script usingflogate_cl to export a solutiondirectory in PDML format:

@echo off

USER SETTINGS

&quot;FLOSOLNDIR=C:Files_v91&quot;callC:&quot;ProgramFiles&quot;_v91-env

END USER SETTINGScd /D %FLOSOLNDIR%

NOT EXIST PDMLDIR mkdir PDMLDIRdir /B /AD &gt; temp

/f &quot;tokens=1,2 delims=.&quot; %%i in (thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5emp) do (

&quot;%FLOSOLNDIR%&quot;%%i.%%j(flogate_cl-i&quot;V2/V3Project&quot; -r &quot;%FLOSOLNDIR%%%i.%%j&quot; -o PDML -wPDMLDIR%%i.pdml))del temp

:

.Edit the lines in the USER SETTINGS part to fit with your configuration, that is, thepaths to your solution directory and toflotherm.bat.

-bitoperatingsystem.Ifyouareusinga64-bit operating system, replace Program Fileswith Program Files (x86).The example assumes that the solution directory is the defaultflouser directoryalthough this may be set to any mapped drive.

.Anewsub-directorycalledPDMLDIRiscreatedinthesolutiondirectorytocontaintheexported files ready for archive.

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectUsing Environment Variables

.The disadvantage of archiving with PDML format files is that the solutihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5on data is notstored in the file, however, PDML files are generally less than 1MB in size.

data from a solution directory. For Microsoft&#174; Windows operating systems, a script,similar to the following example, may be used to archive FloTHERM projects with solutiondata.

@echo off

USER SETTINGS

&quot;FLOSOLNDIR=C:Files_v91&quot;callC:&quot;ProgramFiles&quot;_v91-env

END USER SETTINGScd /D %FLOSOLNDIR%

NOT EXIST PACKDIR mkdir PACKDIRdir /B /AD &gt; temp

/f &quot;tokens=1,2 delims=.&quot; %%i in (temp) do (

EXIST &quot;%FLOSOLNDIR%&quot;%%i.%%j(echo %%i.%%j |&quot;%FLOPRODUCTDIR%&quot; -q -r PACKDIR%%i.pack .%%i.%%jhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 -z ))del temp

:

.Edit the lines in the USER SETTINGS part to fit with your configuration, that is, thepaths to your solution directory and toflotherm.bat.

-bitoperatingsystem.Ifyouareusinga64-bit operating system, replace Program Fileswith Program Files (x86).The example assumes that the solution directory is the defaultflouser directoryalthough this may be set to any mapped drive.

.A new sub-directory calledPACKDIR is created in the solution directory to contain theexported files ready for archive.3.PACK format files can be very large.

uses a number of environment variables to control the behavior of various aspectsof the program. These variables are only recommended for the advanced user, and are notneeded for the basic running of the software and may result in undocumented appearance,features anhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d behavior.

User Guide, V9.1

Working on a FloTHERM ProjectUsing Environment Variables

-15 is a list with brief descriptions of the most commonly used environment variablesand example values.Defined indicates that any setting is valid; setting the value toTRUE inthese cases will suffice.

3-15. Environment Variables

[此处图片未下载成功]

92FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectUsing Environment Variables

3-15. Environment Variables (cont.)

User Guide, V9.193

[此处图片未下载成功]

Working on a FloTHERM ProjectUsing Environment Variables

[此处图片未下载成功]

Table 3-15. Environment Variables (cont.)

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectUsing Environment Variables

3-15. Environment Variables (cont.)

User Guide, V9.195

[此处图片未下载成功]://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Working on a FloTHERM ProjectUsing Environment Variables

[此处图片未下载成功]

Table 3-15. Environment Variables (cont.)

FloTHERM User Guide, V9.1

Working on a FloTHERM ProjectUsing Environment Variables

3-15. Environment Variables (cont.)

User Guide, V9.197

[此处图片未下载成功]

Working on a FloTHERM ProjectUsing Environment Variables

[此处图片未下载成功]

Table 3-15. Environment Variables (cont.)

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

4

FloTHERM you set up a mathematical model to simulate the physical system beingrepresented. This requires defining a region of space (solution domain) within which

model equations are to be solved. Modeling the solution domain requires thesetting of the solution domain dimensions, boundary conditions and the filling fluidhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 properties.

(SeeBackgroundofComputationalFluidDynamics (CFD) in theFloTHERM Background Theory Reference Guide). These techniquesrequire the definition of a mathematical model to describe:

region and its boundary conditionsProperties of the fluid flowVariables to be solved

of the model (2D or 3D)Solution typeAny effects of gravity

temperature and pressure valuesAny radiation effects

provides default values to get you started. You can start from an empty space or adesign type usingProject &gt; New to launch theNew Project Dialog, then choosing a projecttemplate. For example, choosingDefaultSI from theNew Projectdialog models a 1m3 spacefilled with air at 30 C and pressure of one atmosphere; ifDefaultUS is chosen instead, theproject space defaults to 8 ft3http://www.51wendang.com/doc/d2e52c141054f5479dae40c5.

both cases, the solution type is steady state, solving for temperature, pressure and velocities,simulating heat flow in three dimensions. Radiation effects are not included in the defaultmodel. Gravity is on and acting in the negative Y-direction.

User Guide, V9.199

Defining the Mathematical ModelDefining the Solution Domain

,itisoftencommonto change the settings to suit your specific requirements. For example, activating radiation, orswapping the LVEL K-Epsilon turbulence model for the Revised algebraic model.

.As such, it is critical that they accurately reflect the physical reality. Errors in the input to themathematical models are often the largest source of error in an analysis,great care shouldtherefore be taken http://www.51wendang.com/doc/d2e52c141054f5479dae40c5to ensure the quality of the input data.

provides solution for the parts of the model contained within the solution domain.The solution domain is always present. Although you can edit the solution domain to meet thescope of your model, it cannot be deleted.

overall solution domain is by default a cuboid, and is defined by setting its size and

,boundaryfacetypes,externalambientconditions,referencetemperaturesandpressureand grid constraints.

change the solution domain definition you can use the popupSystem Menu in either theProject Manager or Drawing Board.

theSystem Menu (Figure4-1) in one of two ways:

the Project Manager data tree, right-click

the Drawing Board, ensure that the solution domain is on view. If it is not, useEdit&gt;Modify Picture to launch theDrawing Board Picture Dialog anhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d activate the

[此处图片未下载成功]

display option forSolution Domain.

Selection Mode toCutout/OverallDomain, then right-click the boundingbox of the solution domain.

FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining the Solution Domain

4-1. System Menu Options

launches theOverall Solution Domain Dialog to define the location and sizeofthesolutiondomain.Alternatively,selectthesolutiondomainintheDrawingBoardand drag the bounding box sides to move or re-size it.

,youcancutoutsectionsofittocreatetherequiredshape. See“Creating Cutouts in the Solution Domain” on page105.

for the model.

launches the ambient selection dialog (seeAttribute Selection Dialog in theFloTHERM Project Attributes Rehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ference Guide) to allow you to attach an ambientattribute to define the external conditions outside any side, or all sides of the domain. Iftheattributedoesnotexist,thenyoucanusetheAmbientdialogtolaunchtheAmbientAttribute Dialog to create it.

launches theBoundary Face Types Dialog to set the solution domain boundariesto symmetry or open.

launches theGravity Dialog to define the effects of gravity.

,sothatyoucanchoosethepropertiesoffluidflowingthroughthesolutiondomain.Ifthefluidyourequiredoesnotexist,youcanusetheFluid selection dialog to call theFluid Property Dialog to create it.

Subdomain creates a new subdomain throughout which you can change theenvironment. The new subdomain becomes a child ofSystemin the Project Managerdata tree. The location and properties of the new subdomain can be changed by

and displaying the popup menu. http://www.51wendang.com/doc/d2e52c141054f5479dae40c5See“Setting Initial Fields Over theSolution Domain” on page108.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

launches theEdit Notes Dialog to attach any reference information to the overallsolution domain.

User Guide, V9.1

Defining the Mathematical ModelDefining the Solution Domain

access:SelectLocation from theSystem Menu

.Thesolutiondomaindefinesthe extent of the geometry model included in the FloTHERM calculations, for example, eitherthe complete model or just a subset of it.

Dimensions in

the units of length measurement from the popup.Notes

theEdit Notes Dialog to attach reference information to the overall solution domain.Positihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5on

the origin of the solution domain relative to the origin of the geometry.Size

the lengths of the sides of the integration domain in the three coordinate directions.Note that the third direction is always needed, even for 2D models.

default, the origin of the solution domain is coincident with the geometry origin. Changingthepositionandthesizeofthesolutiondomainallowsyoutofocusonparticularsectionsofthegeometry.

FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining the Solution Domain

4-2. Solution Domain

, you can extend the solution domain beyond the geometry to examine theenvironment outside the model.

,youcandragthesolutiondomainboundariestomoveand/orre-sizeit. If the solution domain boundaries are not displayed in the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Drawing Board, chooseEdit&gt;Modify Picture and activate the Solution Domain display option. Ensure that theCurrent Selection Mode is set toCutout/Overall Domain, then you can select and drag thedomain boundaries.

default, the six boundaries of the solution domain are treated as open boundaries, that is,boundaries of constant pressure through which air or, if blocked by a conducting object, heatcan flow. Use theBoundary Face Types Dialogto alternatively set up impermeable symmetryboundaries.

-CuboidSolutionDomains

.Butforthosenon-cuboidmodels,youcancreatecutoutsto remove sections of the solution domain.

,selecttheassemblytowhichitwillbecomeapart,thenchooseineithertheProjectManagerortheDrawingBoardNewObjectPaletteand

[此处图片未下载成功]

add

[此处图片未下载成功]

or draw a new cutout. When created in http://www.51wendang.com/doc/d2e52c141054f5479dae40c5the Project Manager, the new cutout defaults to a cube(one-tenth the size of the domain in each direction) located at the origin of the selected

User Guide, V9.1103

Defining the Mathematical ModelDefining the Solution Domain

. To change the location of the cutout, either select and drag the cutout boundaries, oruse theEdit Cutoutdialog.Related Topics

“Boundary Face Types Dialog” on page104

“Creating Cutouts in the Solution Domain” on page105

access: PM Cutout Menu &gt; Faces or selectLocation from theSystem MenuUse thisdialog to define the selected boundary or cutout in the solution domain as either:

— a free boundary of constant pressure through which air can flow, orSymmetry — a frictionless, impermeable and adiabatic planar surface through whichneither air nor heat can flow.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ettings

- Y- Z-High, X- Y- Z-Low Domain Boundary Type

the six boundary face options with reference to the coordinate directions. These optionsare used when the faces are not all the same type.Just toggle on the boundary type required for each face.All Domain Boundary Types

the selected boundary type to all the boundary faces.

-3, (a) models an overall boundary open on three sides. As it is symmetrical, onlyhalf the model needs solving; this is achieved using a symmetry plane, (b).

[此处图片未下载成功]

Figure 4-3. Open and Symmetry Boundaries

[此处图片未下载成功]

Symmetry

(a)

(b)

FloTHERM User Guide, V9.1

Defining the Mathematical Model

Cutouts in the Solution Domain

on the solution domain boundary can also be included in a symmetry model as showninFigure4-4.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arFigure 4-4. Cutouts on the Solution Domain Boundary

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Symmetry

radiation, symmetry means that every object within the domain has a mirror image on theother side of the symmetry face, and as a result, we consider the radiation between all userdefined, radiating, solid objects and all their mirror images. The exchange factors areautomatically modified to add the total effect into the analysis.

Drawing Board application window distinguishes between both types of boundary usingcolor:

Gray forSymmetryYellow forOpen

“Defining the Solution Domain” on page100

“Creating Cutouts in the Solution Domain” on page105

Topics

the required solution domain is nothttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 of a regular cuboid shape, then use cutouts to removesections of the solution domain.

, therefore, excluded from the program solution.

User Guide, V9.1105

Defining the Mathematical Model

Cutouts in the Solution Domain

4-5. Cutouts in the Solution Domain

the Project Manager, click in the New Object palette adds a defaultCutout to theproject data tree below the selected assembly. Thedefault Cutout cuts out a cube from thesolution domain (one-tenth the size of the domain in each direction) located at the origin of theselected assembly.

4-6. Default Cutout

the Drawing Board, click in the New Object palette and draw the cutout over therequired section of the solution domain.

creation, you can use theEdit Cutout Dialog to accuratehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ly locate the cutout, oralternatively drag its boundaries in the Drawing Board.

access all the editing options available for the cutout, use theCutout Menu. To display theCutout Menu, select the cutout and right-click.

faces of a cutout are open by default. Use the Cutout Menu (Figure4-7) to change theirboundary conditions.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

106FloTHERM User Guide, V9.1

Defining the Mathematical Model

Cutouts in the Solution Domain

4-7. Cutout Menu Options

launches theEdit Cutout Dialog to change the location of the cutout.Ambients launches the ambient attachment dialog so you can choose the ambientconditions for the external cutout faces. SeeAmbient Attributes in theFloTHERMProject Attributes Reference Guide.

launches theBoundary Face Types Dialohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5g to specify the external boundaries ofthe cutout.

and Copy are tree editing options and use the system paste buffer. Cut or copiedcutouts can only be pasted into assemblies.

information on the remaining options, see“Context Sensitive Menus” on page223.

access: SelectLocation from theCutout MenuUse thisdialog to change the location of an existing cutout.

the cutout.All Dimensions In

the units of length measurement from the popup.Position

the origin of the cutout relative to the origin of the root assembly (ifAbsolutecoordinates are in use) or parent assembly (ifLocal coordinates are in use). Use the

[此处图片未下载成功]

UserPreferences Dialog to check or set the coordinate system.

User Guide, V9.1107

Defining the Mathematical Model

Inihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tial Fields Over the Solution Domain

the length of each side along the coordinate direction.Notes

theEdit Notes Dialog to attach reference information to the cutout.

faces of a cutout are open by default, but symmetry boundaries can be set using the

Face Types Dialog, called by right-clicking the cutout and selectingFaces from theCutout Menu.Related Topics

“Creating Cutouts in the Solution Domain” on page105“Defining the Solution Domain” on page100

steady state, the initial field values will not affect the final converged results, but a goodinitial guess can hasten solution convergence and therefore reduce the computation time.However, for the majority of cases, the defaults are normally sufficient.

transient calculations, the set of initial conditions are not http://www.51wendang.com/doc/d2e52c141054f5479dae40c5a guess at the final solution, butrather they form a part of the problem specification itself. For transient calculations, the initialfields must be set to the conditions that are known to prevail at the start of the transient.The simplest method of initialization is to set the initial variable value constant over thecomplete domain using theInitial Variables Dialog.

can then set the initial variables either manually on a variable-by-variable basis or load inthe results from a previous project using theSolution Set Dialog.

access: PM Model &gt; Initial variables

thisdialog to set initial values for individual field variables to be solved and stored. Theseinitialvalueseitherhelpconvergenceinsteadystatesolutionsorprovidethestartingconditionsfor transient calculations.

FloTHERM User Guide, V9.1

Defining the Mathematical Model

Initial Fields Ohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ver the Solution Domain

Previous Solution

launches theSolution Set Dialog to select the results data from another project as theinitial values for the next solution run.Defined Solution Set

the solution set just loaded after usingSelect. You have the option of detaching (de-selecting) this solution data to return to the default automatic settings discussed below.Field Value

both the variable type and its method of initialization. There are three methods ofinitialization for the chosen variable:

— default settings generated by program.

—onlyactivewhenSelecthasbeenusedtoloadtheresultsfromanother project. It allows you to set the variable value to that of the loaded set. Thisoption also activates theAll Variables check box, so alternatively, you can re-initializeall the solution variableshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 to the values held in the selected solution http://www.51wendang.comer Speci ed— you enter the initial value for the variable.

following is a comprehensive list of the variables which can appear in the popup list withmeanings and default (automatic) values for their initial fields:

- Field of pressures, stored and solved by default. The default initializationvalue is 10-10.

- Field of x-directed velocity resolutes, stored and solved by default. Thedefault initialization value is 10-10.

- Field of z-directed velocity resolutes, stored and solved by default. Thedefault initialization value is 10-10.

-Fieldofz-directedvelocityresolutes,storedandsolvedbydefaultprovideddimensionality is 3D. The default initialization value is 10-10.

- Field of Kinetic Energy of turbulence, activated by selectingLVEhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5L K-EpsilonintheTurbulenceDialog.Thedefaultinitializationvalueisprogramcalculated.DissTurb - Field of dissipation of turbulence, activated by selectingLVEL K-Epsilonin theTurbulence Dialog. The default initialization value is program calculated.

User Guide, V9.1109

Defining the Mathematical Model

Initial Fields Over the Solution Domain

- Field of temperatures, stored and solved provided it is selected as thethermalvariable.Thedefaultinitializationvalueistheexternalambienttemperaturesetin theGlobal Unitsdialog, the default of which is 35 C.

- Density field, stored when theIdeal Gas Law option is selected in theFluidPropertydialog (seeFluid Property Dialog in theFloTHERM Project AttributesReference Guide). The default initialization value is the ambient density.

- Turbulent Viscosity field, activated when any of the Turbulent models(Automahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tic Algebraic,Revised Algebraic orLVEL K-Epsilon) is activated in theTurbulence Dialog.

addition to the solved variables (like velocities, temperature and pressure), access to otherfield variables is also given in this dialog. For example, if the ideal gas law option has beenselectedforthefluidproperty,Densitywillappeartowardstheendofthevariablelist.Densityrefers to the field of densities which is stored and which therefore can be initialized.

load the results into memory, useSelect to display theSolution Set Dialog, then choose thevariable to be loaded and ensure that the Select Solution Set switch is activated before

the dialog settings. Repeat the procedure for each variable that you wish to loadfrom the predefined solution set. Alternatively, if you wish to initialize all the variables to thepredefined solution set values in one go, thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5en activate All variables check box beforeconfirming the settings.

a project is selected which has a different grid from the current project, then the automatic

[此处图片未下载成功]

grid interpolation will be invoked when the project is re-initialized.

[此处图片未下载成功]

AssociatedSystemData

of System in the Project Manager and the solution domain in the Drawing Boardallows you to access the global system data, apply different ambient conditions to differentdomainfacesandattachgridconstraintstotheoveralldomain.Justchoosetheappropriateitemfrom the popup menu as follows:

launches theGlobal System Settings Dialog, to set the background (ambient)temperature,externalradianttemperatureandpressurereferencedthroughoutthemodel.Ambients launches the Ambient attachment dialog, so that you can choose an ambientto apply to one or all faces of the domain. The applied ambients overwhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rite the globalsettingsatthesamelocation.AmbientattributesarecreatedusingtheAmbientAttributeDialog.

User Guide, V9.1

Defining the Mathematical Model

Initial Fields Over the Solution Domain

across the solution domain in the direction you choose.

,youcaninitializevariablesoversub-regionsofthesolutiondomain,bycreatingasubdomain and calling theInitial Values dialog. See“Setting Initial Fields Over Subdomains”on page112.

,itisusuallyagoodideatoviewthembeforethesolutionisstarted.To do this you must first selectRe-Initialize from theSolve menu which causes thefields to be initialized and loaded into program memory according to the settings you made intheInitial Variables Dialog, and ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lso theInitial Values Dialog. Once the fields have beeninitialized, you can display the fields in the Visual Editor application window.

access: PM Model &gt; Initialvariables &gt; SelectUse this dialog to load solution data from a selected project.

of a scroll list from which you can choose the solution set to be loaded.Filter

theFilter Project Dialog to filter the contents of the list by category types, that is, byclassification, type, username, before date or after date.OK

confirmation of the selection, the chosen project solution data is loaded into the currentproject and used as the initial conditions for the next FloTHERM run (seeInitial VariablesDialog).

from a stored solution works most efficiently when there are small physical

between the currhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ent project and the one being used to initialize from. If there arelarge differences, especially geometric (for example, repositioned fans, addition of heat sinks),it may be more efficient to re-initialize using theAutomatic Field Value option in theInitialVariables Dialog, which is the program default setting.

User Guide, V9.1111

Defining the Mathematical Model

Initial Fields Over Subdomains

set the initial field values constant over a defined individual subregion of the solution

, you need to create a new subdomain and apply initial field values to it. The values sethere take precedence over the uniform variable selections made in theInitial Variables Dialog.

create a subdomain using theProject Manager, point toSystem, right-click and chooseNew Subdomain from the popup menu.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5iniscreatedanddisplayedinthetreeasachildofSystem.Thenewsubdomainis one-tenth the size of the solution domain and located at its origin. IfInitial Subdomains istoggledonintheDrawingBoardDrawingBoardPicturedialog,thenthenewsubdomainwill also appear in the Drawing Board.

4-8. Subdomains

,displaytheNewObjectPalette,clickonthesubdomainiconanddragthemousepointer,whichchangesto

[此处图片未下载成功]

cross-wires,

[此处图片未下载成功]

overthatregionof the picture destined to hold the subdomain. The subdomain appears as a peach coloredcuboid in the display.

creation, the location of the subdomain can be edited by dragging its boundaries in theDrawing Board or using the popupSubdomain Menu.

FloTHERM User Guide, V9.1

Defining the Mathematical Model

Initial Fields Over Subdomains

default, the initiahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5l values are those applied to the solution domain. To apply initial valuesover just a subdomain, use theSubdomainMenu. Right-click the subdomain to display themenu.

initial values.

launches theEdit Notes Dialog to add reminders to the subdomain.Summary only available in the Project Manager, launches theSummary Dialog totabulate construction information for the selected geometry.Delete deletes the selected subdomain from the project.

access: PM Subdomain Menu&gt; Location

.Ineachsubdomain,theconstantvaluesettakesprecedenceoverthatimpliedbythe uniform whole-domain constant setting made in theInitial Variables Dialog.

the initialhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 subdomain.All Dimensions In

the units of length measurement from the popup.Position

the origin of the initial subdomain relative to the model origin, that is (0,0,0) in the

[此处图片未下载成功]

absolute coordinate set.Size

the length of each side of the subdomain along the coordinate direction.

User Guide, V9.1113

Defining the Mathematical Model

Initial Fields Over Subdomains

Values

theInitial Values Dialog to allow you to set a constant subdomain value for eachsolution variable. The initial variables default to values given in the description for“InitialVariables Dialog” on page108.

that theInitial Valuesdialog is closed ifApply is pressed in theEdit Subdomaindialog.

initialize the variables to different constant values over distinct subdomains within thesolutionhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 domain, you define the location and size of the subdomain, and then enter the initialvalue for each selected variable.

following diagram shows a domain in which a subdomain is present. The value oftemperature in the overall domain is set to 20 C in theInitial Variables Dialog and in thesubdomain the value is set as 100 C using theEdit Subdomain dialog.

4-9. Initial Subdomain

temperature in the subdomain is taken as 100 C,not as 20 Cnor 120 C.

access: PM Subdomain Menu &gt; Location &gt; Initial Values

thisdialog to set a constant subdomain value for each of the variables listed in the popup.The initial variables default to values given in the description for theInitial Variables Dialog.

the initial value for the variable selected from the popup list. Just enter the value thahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t youwant the variable to be before starting the solution.

[此处图片未下载成功]

114FloTHERM User Guide, V9.1

Defining the Mathematical ModelChoosing the Solution Variables

section describes types of solution variables, and how to obtain them, in the followingsections:

“Base and Standard Derived Variables” on page115“How to Choose the Project Solution Variables” on page115“Modeling Dialog” on page118

(temperature,pressureandvelocities)duringsolutiondepending on the type of model chosen. Additional derived variables (speed, heat and massfluxes, surface temperature) can also be derived from the base variables during solution andstored.

example, heat fluxes can be stored to provide the data for the calculation of the total flowrate and heat flux respectively, across dhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5efined planar and volume regions.

, after solution, auxiliary variables can be calculated from the base and derivedvariables. Such auxiliary variables are: Total Pressure and Flow Angle. See“AdditionalAuxiliary Variables” on page513.

.In the Project Manager, chooseModel &gt; Modeling to launch theModeling Dialog.2.Select theType of Solution required:

and heat transferFlow only, for isothermal cases.

only, for cases made up of primarily solid objects and solving fortemperature.

.Select theDimensionality:

D, for cases where the geometry and physical conditions are regular in the thirdcoordinate direction and save computation time.

D,formoremodelinginallthreedimensions,butcomputationallymoreexpensive.

User Guide, V9.1115

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arDefining the Mathematical ModelChoosing the Solution Variables

.Choose whether to includeRadiation effects for situations with radiative heat transfer.5.Selectasteadyortransient(timedependent)SolutionTypeifyouaretryingtocaptureatransient effect.6.Choose to includeSolar Radiation if the effects of shortwave radiation on the thermalenvironment are to be modeled.7.ClickOK to apply the settings to the project model and use them during the nextsolution.

.In the Project Manager, chooseModel &gt; Modeling to launch theModeling Dialog.2.Check onMass  uxes if you want to determine the total flow rate going through eachboard gap in a PCB rack.3.Check onHeat  uxes if you want to carry out a heat flux budget analysis on complex3D objects, such as detailed models of electronic packages.4.ClickOK to apply the settings to the project model and use them during the nextsolution.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ToPlottheSolutionResultsoveraPlane

.Display Visual Editor in graphics mode:

the Visual Editor is on display, but in tables mode, click

FloTHERM User Guide, V9.1

Defining the Mathematical ModelChoosing the Solution Variables

.IftheVisualEditorisnotondisplay,clickClickMakesurethatShowScalarissetandchoosethevariabletobeplottedfromthepopupmenuandchoosetheaxisandlocationfor the plot using the property sheet.

more information on plotting results, see“Plotting Plane and Isosurface Results Plots” onpage453.

.Display the Visual Editor in tables mode:

,butingraphicsmode,clickmode.

.tochangetotables

the Visual Editor is not on display, click in another FloTHERM applicationwindow, to launch the Visual Editor in tables mode.

.

[此处图片未下载成功]

Expand the Tables branch and selhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ect the

[此处图片未下载成功]

Results

[此处图片未下载成功]

[此处图片未下载成功]

node.

User Guide, V9.1117

Defining the Mathematical ModelChoosing the Solution Variables

.Choose the results variable type from the popup menu and define the range ofinformation required using the property sheet.

more information see“Results Data” on page507.

access: PM Model &gt; Modeling

thisdialog to define the principal features of the mathematical model.

of Solution

the type of solution to determine the variables solved. There are three options:

—solvestemperature,pressureandvelocitiesappropriateforthe dimensionality selected. This is the default setting.

Only — calculates the flow of isothermal (constant temperature) fluid. Anythermal effects are ignohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5red as are gravity effects.

Only — simulates the conduction of heat for the entire solution domainfilled with stationary (non-flowing) material.

of Computational Fluid Dynamics (CFD) in the

[此处图片未下载成功]

FloTHERM BackgroundTheory Reference Guide for details of the variables and their precise storage locations.Dimensionality

the overall solution domain to either two or three dimensions. See“Modeling

” on page122 which discusses the importance of this setting and how it affectsthe solution.

FloTHERM User Guide, V9.1

Defining the Mathematical ModelChoosing the Solution Variables

the radiation modeling type for boundaries to which you have attached radiationattributes (seeRadiation Attribute Dialog in theFloTHERM Project Attributes ReferenceGuide) from the Radiation popup menu. There are three options:://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

Off — is the appropriate modeling choice for most forced convectionsystems and initial simulation of all types.

On — calculates the view factors between all pairs of surfaces for whichradiation has been activated. If the path between the surfaces is blocked, then the viewfactor is calculated based upon the proportion of radiation that can pass.

On- High Accuracy — as with simplified, except calculations are moreaccurate. The calculation of the radiation exchange factor could take up to four timeslonger.

[此处图片未下载成功]

[此处图片未下载成功]

strategy of radiation modeling, seeRadiation Model in theFloTHERM BackgroundAutomatic Exchange Factor Calculation

,theexchangefactorsaregeneratedautomaticallyonprogram solve if:

for the first time without having previously calculated the exchange fachttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tors,Solving when the grid, the number of radiative surfaces, or the turbulence model haschanged since the exchange factors were last calculated, or

any attachment to any object has been modified (for example, material property,surface attribute, or thermal attribute, and so on,), then the user is prompted to choosewhether or not to re-calculate the exchange factors (from the already calculated viewfactors) in case any emissivity of any surface has consequently been changed.

Radiation

Radiation launches theSolar Radiation dialog, see“Defining Solar Radiation” onpage125, to model the effects of the sun on the environment by specifying the location andorientation of the electronic enclosure as well as the time and day of year.Store Mass Fluxes

only when a flow is present, and therefore deactivate for conduction only cases.Storage is allocated for the display of three additional field http://www.51wendang.com/doc/d2e52c141054f5479dae40c5variables for:

fluxes (flow rates per unit area) across cell faces normal to the x-direction,

User Guide, V9.1119

Defining the Mathematical ModelChoosing the Solution Variables

fluxes across cell faces normal to the y-direction, and

3D simulations, mass fluxes across cell faces normal to the z-direction.

the same way as the velocity components and heat transfer coefficients, the mass fluxes areassociated with high cell faces of the individual grid cells. This is illustrated for five grid cellsspanning the x-direction of the domain.

4-10. Storage Mass Fluxes

[此处图片未下载成功]

xE

Heat Fluxes

when flow and heat transfer is present. Therefore deactivate for flow only cases.Activates the storage allocation for the display of three additional field stores for:

http://www.51wendang.com/doc/d2e52c141054f5479dae40c5fluxes (heat flow per unit area) across cell faces normal to the x-direction,Heat fluxes across cell faces normal to the y-direction, and

3D simulations, the heat fluxes across cell faces normal to the z-direction.

heat flux is the total heat flux including both convective and conductive transport. For

, consider a grid cell labelled P and its neighbor cell in the high x-direction labelledN.Letudenote the x-directed velocity component at the intervening cell face. The total heat fluxacross this face is calculated as follows:

≥0:

˙″=m˙''xCp(Tp–Tmin) q˙''x

&lt; 0:

˙''=m˙''xCp(TN–Tmin) q˙''x

:

andTN denote the temperatures atP andN

[此处图片未下载成功]

respectively

FloTHERM User Guide, V9.1

Defining the Mathematical ModelChoosing the Solution VariablesTmin denotes the minimum domain temperature

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parCPdenotes the specific heat of the fluid

˙''xandq˙''x respectively denote the mass flow per unit area and the diffusive

(conductive) heat flow per unit area (as described earlier in this section under heat

coefficients).

upwind principle used in one form or another in most CFD methodologies.

and on the surface of cuboidal blocks, the fluid mass flow rate is of course zero so that(J˙''x) reduces to the conductive flux,q

[此处图片未下载成功]

˙''x

Association

,massfluxesandheattransfercoefficients,thetotalheatfluxespertaintocellfaces,nottocellcenters;andforagivencell,thevaluedisplayedwillbethatofthehighface.

Surface Temperatures

of this option will allow access to the true surface temperatures of all conductingobjects forhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 examination in Tables and post-processing in the Visual Editor.

Surface Temperature

two cells A and B:

the solver computes the temperature atA andB to beTA andTB respectively.The question is how does the solver compute the surface temperature at a and b.

is hAa and between B and b is hBb.

1D heat balance gives:

(TA- TB) = hAa (TA- Ta)

only unknown isTa so rearranging the equation gives:

= [(hAa - hAB)TA  hAB TB]/hAa

similar expression is obtained forTb:

= [(hBb - hAB)TB  hAB TA]/hBb

User Guide, V9.1121

Defining the Mathematical Model

the Solution Variables

GradT

the calculation and storing of the GradT and MagGradT temperature gradient post-processing fields.

GradT is http://www.51wendang.com/doc/d2e52c141054f5479dae40c5a vector indicating size and direction of the steepest temperature gradient

from cell centres. It is stored as three components;XGradT,YGradT andZGradT.

, the magnitude of the temperature gradient, is a scalar field stored at cell

.

values are viewable in Visual EditorResults table, seeFigure4-11, and in plane plots(see“Plane Plot” on page456) and isosurface plots (scalars only) (see“Isosurface Plots” onpage459).

4-11. Bn, GradT, MagGradT and Sc in Results Table

Bn and Sc

only when bothStore Heat Fluxes andStore GradT have been selected.

the calculation and storage of:

Bn - a normalised parameter that indicates thermal bottlenecksSc - a normalised parameter that indicates possible path of heat flow

and Sc are scalar fields stored at cell centers. These values are viewable in Visual EditorRehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5sultstable,seeFigure4-11,andinplaneplots(see“PlanePlot”onpage456)andisosurfaceplots (see“Isosurface Plots” on page459).

choice of dimensionality is one of the most important decisions you have to make whenperformingaCFDcalculation.Astowhatchoiceisappropriatedependsonwhatyouwantfromthe calculation, that is, whether you require the resolution of 3D effects present in the flow orwhethera2Dsimulationwillprovidethenecessaryinformationtotheaccuracyrequiredfortheapplication under consideration.

[此处图片未下载成功]

airflowvariables. Selection of 2D automatically activates solution for the x-directed (u) and y-directed(v) velocity components and the pressure (P). Selection of 3D automatically activates solution122FloTHERM User Guide, V9.1

Defining the Mathematical ModelChoosing the Shttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5olution Variablesfor the three velocity components (u, v andw) and the pressure(P). Temperature control isachieved using theType of Solution menu.

a given level of grid refinement 3D simulations are more computer intensive than 2Dsimulations. So, the choice made directly affects the time required for the program to providethe solution of the equations governing the flow.

layout of the grid and velocities for the three Cartesian grid options is shown in

-12.

4-12. Grid Layout

D Grid (Vertical)x,u

[此处图片未下载成功]

[此处图片未下载成功]

2D Grid (Horizontal)

[此处图片未下载成功]

3D Grid

that x, y or z can be vertical according to the selection of the gravity direction in the“Gravity Dialog” on page133.

2D option uses the x-y coordinates in the 2D plane with the z-coordinates normal to theplane. The 2D optihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5on can be used:

To represent a vertical slice through an enclosure when little variation of the flowconditions is expected horizontally in the perpendicular direction,Alternatively,tosetthethicknessofthe2Dverticalslicetocovertheentireextentoftheenclosure normal to the 2D plane,To analyze the flow in a horizontal plane when the vertical variations are considered to

unimportant.

Dx-ygridhasadepthinthethirddirection(z)whichissetintheOverallSolutionDomainDialog.Thevaluesoftemperature(T),pressure(P)andvelocities(u,vandw)ineachgridcellrepresenttheaveragevaluethatpertainsthroughoutthe depth of the grid cell.

f generically stands forT, u, v, w orP, the value computed for each grid cell in the 2D x-yplane is the depth-averaged valuef, that is:

[此处图片未下载成功]

FloTHERM User Guide, V9.1123

Defining the Mathemhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5atical Model

the Solution Variables

=  zE∫0 fdz  ZE

is the end coordinate specifying the depth of the 2D slice, determined from thesettings made in theOverall Solution Domain dialog.

Dto2DwhenambientsareattachedtotheZ-Low,Z-High orDefault All boundaries of the Overall Solution Domain.

software calculates the heat transfer through the Z, as well as the X and Y boundaries,which may not be desired.

program solves for the resolutes u, v and w of the air velocity and, as explained in theBackground of Computational Fluid Dynamics (CFD) in theFloTHERM Background TheoryReference Guide, these quantities are stored at the grid cell faces as illustrated below:

[此处图片未下载成功]

The velocity vector displayed in contour plots of the Visual Editor is the value at the grid cellcenters ashttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 clarified in the following diagram (Z omitted).

[此处图片未下载成功]

Subscripts:‘h’≡high face value ‘l’ ≡ low face value

magnitude of the velocity vector (that is, the air speed) is:

uh 2 vl vh 2 wl wh 2--------------- --------------- -----------------2  2  2

FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining Solar RadiationThe fluid speed can be displayed directly as the mouse passes over a plane plot grid in theVisual Editor.

4-15. Fluid Speed as Displayed in the Visual Editor

a plane plot, show the grid and chooseSpeed as theScalar Field in thePlane PlotProperties.

,FloTHERMdoesnotmodeltheeffectsofthesun.Tomodelsolarradiation,youusetheSolarRadiationdialogtoactivatethesolarradiationsolverandindicatethetimeofdayandyear as well as the orientation of the enclosure building.

display theSolahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5r Radiationdialog, click theSolar Radiationbutton in the“ModelingDialog” on page118.

radiation is affected by passing through transparent materials and resistances. See

Property Dialog andResistance Attribute Dialog in theFloTHERM Project AttributesReference Guide.

access: PM Model &gt; Modeling &gt; SolarRadiation

thisdialog to model the effects of the sun (short wave radiation).

Solar Radiation

the calculation of the effects of solar radiation for a specified sun position and

[此处图片未下载成功]

intensity during program solution. It enables the option fields describing the orientation andlatitude of the enclosure, the position of the sun in the sky, and the solar intensity from whichthe solar radiation is calculated.

User Guide, V9.1125

Defining the Mathemathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ical Model

Solar Radiation

Orientation from North

the orientation of the building by defining the angle that a wall parallel to the chosen axesmakes to the North.

,thenenterthe alignment angle as illustrated for the four points inTable4-1.

4-1. Alignment Angle

[此处图片未下载成功]

[此处图片未下载成功]

Figure4-16 shows a building with walls parallel to the X-axis oriented towards the West.

4-16. Example Alignment

Position

.Also,youcaneitherenterthesolarintensitymanuallyorrequesttheprogramtocalculate it (allowing for the effect of clouds).

Latitude

the latitude of the building.

Day

the day of year. Enter the day number, and select the month fhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rom the popup list.

Solar Time

the time of day using a twenty-four clock, with the sun reaching its zenith at 12

.

FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining Solar Radiation Solar Intensity

the solar radiation falling on a notional plane perpendicular to the direction of theradiation.

Cloudiness

to the sun’s rays, according to the solar position settings.

,thecalculatedsolarintensitycanbereducedbyaspecifiedproportionbysettingacloudinessfactorbetween0and1.Asthecloudinessis increased towards 1 (maximum cloudiness) the solar intensity is reduced. For

,settingacloudinessof0.3wouldreducetheintensityby30%,thatisto70%ofthe clear day value.

calculated results are obtainhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ed after entering the solar position settings and pressingEnteron the keyboard. The results displayed are as follows:

CalculatedSolarIntensity—bydefault,givesthecalculatedsolarintensityforaclear

,dayoftheyearandtimeofday.Thisvaluecanbereducedbysetting a cloudiness factor.

—thesolarazimuthfromtheNorth,measuredclockwise,startingfromzero at North

Altitude — the angle of the sun above the horizon, with zero representing on thehorizon.

calculating the effects of the sun, the two types of solar data are:

Program calculated sun position used to determine either any over-shadowing ofsurrounding buildings or the shading effect of canopies, and so on.Solar intensity used to calculate solar gains and the effect on temperature in external

equipment such as roadside cabinets.

further background to solar dhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ata refer toCIBSE Guide A Section 2.7 and CIBSE Guide JSection 5.

solution, check the solar configuration in the Visualization Editor application window.Display the values forSolarViz over a plane plot, that is,SolarViz set forScalar Field in theFloTHERM User Guide, V9.1127

Defining the Mathematical Model

Air Flow

,andshowtheplotgrid.TheSolarVizvalueswillthenappearinatooltipas the mouse passes over the grid.

-initializing

solar field results are not removed on Re-Initialize. To force the re-calculation of the solarfield after initializing, you need to change the model (for example, attach or detach a material)before pressing.

Topics

“Modeling Dialog” on page118“Plotting Plane and Isosurface Results Plots” on page453

://www.51wendang.com/doc/d2e52c141054f5479dae40c5byattachingafluidpropertytotheSystemnode in the Project Manager data tree (see“Changing the Fluid Properties” on page138), theflow type needs to be set using theTurbulence Dialog.

are two main flow types: Laminar and Turbulent.

laminar flow, the mixing between fluid elements takes place at the microscopic level bymolecular diffusion, and is therefore controlled by the physical properties of the fluid, namelythelaminar(thatis,molecular)viscosityforthediffusionofmomentumandtheconductivityofheat.

.CalculationofarepresentativeReynold’s number for forced convection or a Grasshof number for natural convection can beused to determine the flow regime (laminar or turbulent).

,fluctuatingandchaoticmotionwhichintheprogramistreatedasbeingsuperimposedontheunderlyingmeanmotion.Thetemperatuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5res,velocitiesandpressurescomputed by the program when turbulence is simulated are representative of this underlyingmeanmotion.Themeanvaluesofthesequantitiesareaveragesovertime,longcomparedwithatypicalturbulentfluctuation(butshortcomparedwithanytransientvariationofthemeanflow).Turbulenceisresponsibleformacroscopicmixingofthefluidelementsandthisisamuchmorepowerfulmixingmechanismthanmoleculardiffusion.

[此处图片未下载成功]

Thisphenomenaismodeledbymeansofaturbulent viscosity (or eddy viscosity) which augments the laminar viscosity. The turbulent128FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining Air Flowviscosity is not a property of the fluid but a function of the flow conditions. It can rangetypically from being 100 to 1000 times larger than the molecular viscosity.

(notjustunidirectional)thenalwaysselectturbulenttoaccount for these larger values of effective vhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5iscosity and the resulting increased mixing.TurbulenceDialog

access: PM Model &gt; Turbulence

thisdialog to define the air flow model.

or Turbulent Flow

either:

Laminar — where the fluid layers move steadily without interference, orTurbulent(thedefault)—wherethemotionofthefluidlayersareaffectedbyirregular,

and chaotic eddy currents.

most models of electronic enclosures, whether ventilated using forced or natural

, the air movement exhibits turbulent motion. Therefore, you should normallyactivate the turbulent flow option.

Turbulence displays a popup menu which allows you to choose one of threeturbulence modeling options:

Revised Algebraic — for accurate treatment at air-solid interfaces.Automatic Algebraic (the dhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5efault) — for program calculated viscosity where thesolution domain is highly cluttered with objects.LVEL K-Epsilon — asRevised Algebraic, but using the KE model

Viscosity Modelin theFloTHERM Background Theory Reference Guide for amathematical description of the modeling methods.

significant turbulence contributor comes from air flow over solid surfaces. TheRevisedAlgebraic model calculates the turbulent viscosity to account for this. It computes a lengthscale, varying from point to point, based on objects in the system. This scale, together with theFloTHERM User Guide, V9.1129

Defining the Mathematical Model

Air Flow

computed velocity, is used to compute a turbulent viscosity. The Revised Algebraicapproach is based on the LVEL turbulence model described in [Ref.1].

,theprogramcalculatestheturbulentvishttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5cosityusingtypicalflow values. SelectingRevised Algebraic expands the dialog to display fluid characteristicvelocity and length data entry fields.

4-17. Revised Algebraic Model

task is to set thecharacteristic velocity and thecharacteristic length to values whichtypify the flow under consideration:

Velocity — sets the characteristic velocity which typifies the flow under consideration.

example, for an enclosure containing racks of PCBs, thecharacteristic velocity isideally the mean velocity in the inter PCB gaps.

—setsthecharacteristiclengthwhichtypifiestheflowunderconsideration.Forexample, for an enclosure containing racks of PCBs, thecharacteristic lengthis the

gap between PCBs.

the revised algebraic turbulence models, the program calculates the maximum turbulentviscosity from the following expression:

.01&#215; (density)&#215; (characterishttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tic velocity)&#215;(characteristic length)

is, applies a ‘cap’ to the field of turbulent viscosity.

macroscopic mixing of heat energy is presumed to be controlled by the general turbulentmixing process, so that the program calculates theturbulent conductivity from the followingexpression:

[此处图片未下载成功]

(turbulent viscosity)&#215; (specific heat)/0.9

0.9 is the base default value for the turbulent Prandtl number.

many enclosure designs the calculated results are found to be insensitive to the exactspecifications of these quantities.

this case all that is required is that they are set to values representative of the problem inquestion. The reason for this insensitivity is that enclosures are often packed full of PCBs,power supplies, cables, and so on, so that the primary turbulent transports taking place are130FloTHERM User Guide, V9.1

Defining the Mathemathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ical ModelDefining Air Flowbetween the surfaces of the solids and the fluid. The program calculates the wall friction andheattransferbymeansofthelogarithmicfrictionlawwhichdoesnotdirectlyinvolvethevalueof the turbulent viscosity.

,suchasthoseoccurring at the boundaries of free jets, the Revised KE Model should be used.

Automatic Algebraic model is identical to the Revised Algebraic, except the calculatedturbulentviscosityfieldisnotcapped.Theturbulentviscosityisbasedonthedistancefromthewall and the local speed. It is particularly appropriate for cases that are cluttered with objectsand has the advantage that there are no user settings. The disadvantage is that it may produceartificially high turbulent viscosities away from surfaces particularly in large open spaces.

the Automatic Algebraic option is suhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5itable for most problems, the Revised Algebraicoptionmaybepreferablewhenmodelingbulkfluidmovementoraccuratetreatmentatair-solidsurfaces.

-EpsilonModel

4-18. LVEL K-Epsilon

the wall, the effect of turbulence is calculated by the LVEL model described for RevisedAlgebraic,butthisisblendedwiththeKEapproach.TheLVELK-Epsilonmodelcalculatestheturbulentviscosityforthefluidcellsnotimmediatelyadjacenttosolidsurfacesasafunctionoftwofieldvariables:thekineticenergyoftheturbulence(k)anditsrateofdissipation(theGreekletter epsilon). These two field variables are determined by the solution of two additionaldifferential equations which these variables satisfy.

,moreproperly,fortheturbulentvariationsineffectiveviscositycausedbyvelocityshears from free jets, and so on, in open spaces.

flow boundaries, turbulent kinetic energy and turbulent dissipation are convected in by theflow.Thelevelofhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5thesevaluesaresetbytheuserwhendefiningtheambientusingtheAmbientAttributedialog, or in the appropriate flow dialog. If left at the default of zero, an estimate ismade based on the flow rate calculated from the average inflow speed.

that KE models are rarely needed and are used for cases where turbulence is to be

[此处图片未下载成功]

modeled overlarge empty volumes within an enclosure.

User Guide, V9.1131

Defining the Mathematical Model

Air Flow

-EpsilonandStratification

there are large empty volumes within an enclosure the representation of the turbulencemay be more critical. Then the user is advised to perform calculations in which the specifiedcharacteristic velocity and length are varied over ranges corresponding to the problem in

.Thesensitivityofthecalculationstotheuncertaintiesinturbulencerepresentationcanthen be deduced by comparhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing these results. If these are significant you should consider usingthe KE model of turbulence.

the KE model option is chosen, then you have the option of including buoyancygeneration terms by activating stratification. Use this option only where the temperaturedifferences in the fluid are large (approximately 50  C). Therefore, this option should not berequired for the majority of FloTHERM applications.

-EpsilonAdditionalSolutionVariables

LVEL K-Epsilon model defines the turbulent viscosity at each point from two additionalvariables that characterize the local state of turbulence:

KE Turb, the kinetic energy of turbulence, andKE Diss, its rate of dissipation

the KE model, these two additional fields are solved at each cell thereby providing aturbulent viscosity which differs from cell to cell.

Turb and KE Diss are automatically set by the program for:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par

Boundaries with the KE Turb and KE Diss left to their default value of zero, that is, noambients have been attached to change the KE Turb and Diss valuesInitial valuesFalse time steps

KE Turb and Diss are calculated based on average inlet velocity values as follows:

of turbulence=10–3&#215;[velocity]

–3223 2

:0.1643&#215;[10&#215;(velocity)]dissipation rate of turbulence=--------------------------------------------------------------------------------li

=0.1&#215;(nominalinletarea)1--2

FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining GravityThese automatic boundary settings are usually suitable because the generation of turbulencewithin the calculation domain is normally sufficiently high to make precise settings of the inletvalues inconsequential.

initial and false time step values are set the same as the valueshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 for the velocities.

.D. Agonafer, L. Gan-Li and D.B. Spalding. “The LVEL Turbulence Model for

Heat Transfer at Low Reynolds Numbers”.EEP-Vol. 18, Application of

/CAD Electronic Systems. ASME 1996.

. There are some applications that you may wish to treat as isothermal (that is, constanttemperature). In this case, select theFlow Only option in the“Modeling Dialog” on page118,and gravity will be ignored.

applications rely solely on natural convection in which case it is essential to solve fortemperature and to model gravity. Even in a forced convection system, gravity may have asignificant effect in regions not reached by air-flow from the fans.

default, gravity is on in the negative Y-direction. But, the gravity solution causes themomentum eqhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5uations to become strongly coupled with the temperature equations via the

force term. This results in larger numbers of iterations to reach a converged solutionthan if gravity is absent.

is defined using the“Gravity Dialog” on page133 called by, right-clicking the Systemnode in the Project Manager data tree and choosingGravity from the popup menu.

, selectGravity from theModel menu.

[此处图片未下载成功]

Dialog

access: PM Model &gt; Gravity

User Guide, V9.1133

Defining the Mathematical Model

Gravity

thisdialog to activate or deactivate the effects of gravity. When activated, gravity can besimulated as a force acting on the fluid either parallel or angled to any of the coordinatedirections.

are three options for setting the gravity direction:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par Off

the effects of gravity from the solution.

Normal

gravity to align with one of the three coordinate directions selected from thepopup. This is the default option.

Angled

gravity in the direction set by vector resolutes:

sets the resolute of the vector in the x-directionYN sets the resolute of the vector in the y-directionZN sets the resolute of the vector in the z-direction

: the vector is always converted into a unit vector at the start of the next solve step.Value

the value of the gravity constant used for the program solution, which is either thesystem default value of 9.81 ms-2or a value you enter in the Gravity (g) field.

,eitherdirectedalongoroppositetothedirectionofthecoordinateaxhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5is,asselectedfromthepopuplist.Inotherwords,itallows you to define which coordinate points vertically upwards. For example, selection of

[NegativeXDirection]fromthepopupfora2DsimulationwillalignthecoordinatesasshowninFigure4-19, with the gravity acting vertically downwards.

[此处图片未下载成功]

134FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining GravityIn the 2D case it makes no sense to set gravity in the [Z] directions.

, selection of [Negative Z Direction] for a 3D simulation will align the coordinates asshown inFigure4-20.

[此处图片未下载成功]

ToAngleGravity

option requests the setting of the resolutes in the X-, Y- and Z-direction of the unit vectorthatisalignedwiththedirectionofgravity.Notethat

[此处图片未下载成功]

ifthevectorspecifiedisnotaunitvector,then the program will normalize to a unit vector before starting the solution.

unit vectohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5r is a vector of unit length whose resolutes in the three coordinate directions areknownasthedirectioncosines.Lettheunitvectorbedenotedbynanditsresolutesinthex-,y-,and z-direction by nx ny and nz the values of which are to be entered in the corresponding datafields in the menu. For the example shown inFigure4-21, the settings to be made are:

= -cosθ

= -sinθ

= 0.0

4-21. The Case where One Vector Component is Zero

general situation is where all three components of n are non-zero (Figure4-22).

User Guide, V9.1135

Defining the Mathematical Model

Gravity

[此处图片未下载成功]

ExampleofAngledGravity

[此处图片未下载成功]

enclosureisaVDUmonitorinclinedtothehorizontalas shown inFigure4-23.

4-23. Angled Gravity

this, case gravity has resolutes ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n both the x- and y-directions.

-DensityOption

the constant-density option is selected for the fluid property (seeFluid Properties in theFloTHERM Project Attributes Reference Guide), the gravitational force per unit volume of airis calculated from the following expression, known as Boussinesq’s approximation:

.81&#215;(expansivity)&#215;(density)&#215;(T  referencetemperature)

:

expansivity is the volumetric expansivity of the fluid. It is a property of the fluid and

is set in Fluid Properties. For an ideal gas, theexpansivity is the reciprocal ofthe absolute temperature. Accordingly, the default value for theexpansivity is set to

/300K.

is the constant-density value as set in theFluid Propertydialog.

has the default value of 35 C. It is set as the Global Ambient

in thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e“Global System Settings Dialog” on page140.

denotes the in-cell value of the temperature and, by default, is in degrees Centigrade.The value of T is calculated by the program.

FloTHERM User Guide, V9.1

Defining the Mathematical ModelDefining GravityVariable-DensityOption

-constantairdensityoptionisselectedforthefluidproperty(seeFluidPropertiesintheFloTHERM Project Attributes Reference Guide), the gravitational force per unit volume iscalculated from the following expression:

.81&#215; (ρ referencedensity)

:

referencedensity is calculated by the software based on the value for the GlobalAmbient Temperature as defined in the“Global System Settings Dialog” on page140.ρ denotes the in-cell value of the density which is calculated by the program from the

gas law formula selected in Fluid Properties.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5hengravitypointsalongoneofthecoordinateaxes(thatis,[NORMAL]optionselected),theformula for the gravitational force is applied to the associated velocity equation. Thus, if thenegative x-direction is selected, the program applies the negative of the force to theu-velocityequation.

,theprogramappliestheresolvedcomponentsof the force in the respective velocity equations. For example, if the gravity force is in the x-yplane inclined at an angleθ tox (Figure4-24), the program applies the resolved components totheuandvvelocityequations(butnottotheequationforthewvelocity).Fortheuequation,thefactor 9.81 in the force term is replaced by 9.81cosθ; in the vequation it is replaced by

.81sinθ.

4-24. Application of Gravity Force

,theaccelerationduetogravityusedbytheprogramis9.81ms-2whichisthevalueatsea level.://www.51wendang.com/doc/d2e52c141054f5479dae40c5rnecessary, the constant can be reset in theGravity dialog in order to simulate conditions ofhigh acceleration as pertains, for example, in rocket launches.

[此处图片未下载成功]

FloTHERM User Guide, V9.1137

Defining the Mathematical Model

the Fluid Properties

appearance of the reference temperature (for constant density option) and the referencedensity (for variable density option) in the force formula is designed to have the effect ofreducing the gravitational force exerted on the fluid by either partial or total removal of thehydrostaticcomponent.Theobjectofthisistorepresentthemotion-inducingpartofthegravityforce as accurately as possible.

procedure is desirable because the hydrostatic force is usually very much larger than themotion-inducing part of the force. Failure to reduce the gravity force in this way can result in aloss of acchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5uracy due to the limited precision of 32-bit computers.

distinction between the motion-inducing and hydrostatic part of the gravity force is

by the following example. A tank of water at room temperature (35 C) if left alonewill attain the state of hydrostatic equilibrium, the gravity force being exactly balanced by theincrease of pressure with depth below the surface. It is small inequalities of temperature in thewater which causes water motion - the light water rising and the heavier falling.

the gravity force in this way results in the removal of hydrostatic head from the

.Sincethedefaultvaluefortheambienttemperatureis35 C,intheexampleofthetank of water which is at 35 C the use of the force formula results in a reduced pressure fieldthat is zero throughout the tank in the equilibrium case.

accurately model the effect of thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 cooling/heating by the surrounding air, it is necessary toset up the appropriate physical properties, that is density, conductivity, specific heat, viscosityand expansivity.

default fluid property values for the Default_SI projects are for air at 30 C and 1 atm.CheckingtheFluidProperty

check the fluid property currently in use as the enclosure coolant, display the projectsummary by pausing the mouse over the name of the project at the top of the project tree(Figure4-25).

FloTHERM User Guide, V9.1

Defining the Mathematical ModelChanging the Fluid PropertiesFigure 4-25. Fluid Property

change the fluid type:

Right-click overSystem node and chooseFluid from the popup menu to display the

containing all the fluids known to the project (and the currently attachedfluid highlighted) in the scroll list.

theFluiddialog, select thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 fluid you want to use for the enclosure coolant in the list,and confirm usingAttach.

,thenstillintheFluiddialog,createanewfluid,byclicking eitherEdit orNew to call theFluid Propertydialog. Alternatively, you canload a fluid from the library by clickingLibrary.

a full description of using and populating the libraries, see“Using Libraries” on

.

full descriptions of the fluid modeling parameters, seeFluid Property Dialog

[此处图片未下载成功]

in theFloTHERM Project Attributes Reference Guide.

User Guide, V9.1139

Defining the Mathematical Model

Reference Temperature and Pressure

;todisplay this dialog, chooseGlobal in the Project ManagerModel Menu.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5o access: PM Model &gt; Global

thisdialog to set the basic reference values that are used throughout the solution domain.These are:

Datum Pressure — all other pressures (both user defined or program calculated) arerelative to this pressure.External Radiant Temperature — the temperature of a remote radiating source, used

radiation models to calculate the net radiant flux incident on the external sides of theenclosure.

Ambient Temperature — the constant temperature prevailing outside the

.

Pressure

the external fluid pressure, and is used to calculate the absolute pressure values for use invariable density models.

settings of pressure must then be made relative to this datum pressure. For most

, the default value of 1 atmosphere will be appropriate.

Radiahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nt Temperature

the temperature of a remote radiating source.

temperature is used (with the emissivity value for the surface of the enclosure set in theSurfaceAttributeDialog,documentedintheFloTHERMProjectAttributesReferenceGuide)tocalculate the radiative exchange between the exterior surface of the enclosure and the remotesurface.

the case of external cabinets at night, the temperature is that of the sky.

Ambient Temperature

the ambient to be used by default for:

Fluid temperature at inflow boundaries

FloTHERM User Guide, V9.1

Defining the Mathematical ModelSetting Reference Temperature and Pressure

Reference temperature in the buoyancy forceInitial fields of temperature

[此处图片未下载成功]

[此处图片未下载成功]

Radiant Transient

the transient function applied to vary theExternal Radiant Temperature as afunction ohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5f time during transient calculations. See“Transient Variation of Temperature” onpage143.

attach a transient function, clickTransient Attributeand use theTransient Pro ledialog.SeeTransient Functions in theFloTHERM ProjectAttributes Reference Guide.

Transient

the transient function applied to vary theExternal Ambient Temperature as afunction of time during transient calculations. See“Transient Variation of Temperature” onpage143.

attach a transient function, clickTransient Attribute and use theTransient Pro ledialog.SeeTransient Functions in theFloTHERM ProjectAttributes Reference Guide.

.Moreoftenthannot, when working with electronic enclosures, the pressures at the enclosure vents are zerogauge pressure, that is, 0Nm-2 which is the default for pressure for all flow boundaries. Thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5segaugepressuresarealso‘reduced’inthesensethatthehydrostaticcomponentissubtractedoutof them, so that even at a vertical vent, the gauge pressure is exactly zero all the way upvertically. See“Gravity Modeling Considerations” on page138.

program uses the datum values when it needs to know the absolute value of pressure, thatis, at each grid cell:

pressure = datum pressure   gauge pressure

. SeeFluid Properties in theFloTHERM Project Attributes Reference Guide.

that, strictly speaking, the program should add back in the hydrostatic component in theabsolutepressureforuseinthegaslaw.Howeverthiseffectisentirelynegligibleformostcasesof practical interest.

User Guide, V9.1141

Defining the Mathematical Model

Reference Temperature and Pressure

://www.51wendang.com/doc/d2e52c141054f5479dae40c5onSource

heat loss/gain through radiative transfer is achieved by setting the remote source

exterior surface using theSurface Attribute Dialog (FloTHERMProjectAttributesReference Guide).

example of its use is an enclosure within a room with walls at a constant temperature asshown inFigure4-26.

4-26. Modeling a Remote Radiation Source

this case there is radiant exchange between the enclosure walls and the remote surfaces.Setting the external radiant temperature allows the net radiant flux to the surface to becalculated from the following expression:

σFε((Tremote)4  (Twall)4)

:

σ is the Stefan-Boltzmann constant.F is the view factor.ε is the emissivity of the surface.Tremote is the temperature of the remote surfacehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5, which is distinct from the bulktemperature of the fluid surrounding the enclosure.Twall is the program calculated temperature of the external surface of the enclosure (not

to the user).

an external cabinet at night, the external radiant temperature is that of the sky. This will bedependent on the local conditions, cloud cover, and so on.

[此处图片未下载成功]

142FloTHERM User Guide, V9.1

Defining the Mathematical ModelSetting Reference Temperature and PressureFurtherInformation

reader seeking more background on radiative cooling/heating should consult books underFurtherReadingintheFloTHERMBackgroundTheoryReferenceGuide,especiallythosebyG.Ellison andTransport Phenomena by Bird, Stewart and Lightfoot.

ambient temperature is used in the definition of the buoyancy force resulting fromtemperature differences withinhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the enclosure. If gravity has been switched on (using the“Gravity Dialog” on page133) and the constant density option is active (the default), theprogram calculates the buoyancy force at each point of the enclosure as:

.81&#215; (density)&#215; (expansivity)&#215; (T Tambient)

is the temperature of the fluid at the point in question.

, if the fluid within the enclosure is everywhere at the ambient temperature, thebuoyancy force is everywhere zero.

.Atthestartof the calculation the temperature in every grid cell is set equal to the ambient temperature,irrespectiveofwhetherthecellcontainsfluidorsolid.Thisdefaultcanbeoverriddenbyuseofthe options in the“Initial Variables Dialog” on page108.

modeling of electronics equipmenthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5, such as pole mounted communications base stations,over periods of time extending to several hours will require both the ambient air temperature(External Ambient Temperature) and the radiant temperature (External Radiant

) to vary dynamically.

model the variation dynamically, attachAmbient andRadiant Transient functionsThe ambient air temperature and the radiant temperature are defined to vary independentlybecause the radiant temperature is analogous to the so-called “Sky Temperature” and has adifferent diurnal variation from the ambient air value.

,seeAttributeDefinitionsandSurfaceFinishesintheFloTHERMProjectAttributes Reference Guide.

User Guide, V9.1143

Defining the Mathematical Model

Reference Temperature and Pressure

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

5BuildingtheGeometry

://www.51wendang.com/doc/d2e52c141054f5479dae40c5etrycanbecreatedandmanipulatedusingtwodifferentmethods:updatingtheproject data tree in the Project Manager, or dragging geometry boundaries in the DrawingBoard.

chapter describes the geometry model and the construction methods.FloTHERM User Guide, V9.1145

Building the Geometry

Geometry Model

uses a rectangular coordinate method for modeling electronic systems and allgeometry is constructed from fundamental cuboid and prism shapes.

geometry is built by locating and defining the following types of geometry:

Primitives — the primary lowest level building blocksAssemblies — groups of primitives, other assemblies and SmartPartsSmartParts — generic models of complicated geometries

are the basic building blocks from which all FloTHERM geometry is built, eitherspecifhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ically or inherently using assemblies or SmartParts.

are classified by shape and type as shown inTable5-1.

5-1. Primitives

[此处图片未下载成功]

146FloTHERM User Guide, V9.1

Building the GeometryFloTHERM Geometry ModelTable 5-1. Primitives

[此处图片未下载成功]

Assemblies

are combinations of primitives, SmartParts and/or other assemblies, combined tocreate a more complex object or set of objects.

assemblies of parts and sub-assemblies (in other words assemblies within assemblies) withthe root assembly as the top-level assembly encompassing the complete geometry structure.All objects (primitives, SmartParts and other assemblies) are created associated with aparticular selected (current) assembly as illustrated inFigure5-1.

5-1. Assemblies

local coordinatehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s are used, the location of an object (as displayed in the dialog) will berelative to the origin of the assembly to which it belongs.

User Guide, V9.1147

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Building the Geometry

Geometry Model

are complicated assemblages of primitives which can be quickly generatedparametrically, with different levels of modeling to choose the level of detail required.The supplied SmartParts fall into two main categories:

Geometry Macros — for defining abstract shapesElectronic Parts — practical models of electronic components

default, SmartParts are represented collectively as an overall structure, but some can be

&gt;Decomposetoallowindividualmodificationoftheircompositeparts. For example, consider a plate fin heat sink. A new design variation can be createhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d bydecomposing the SmartPart into an assembly of parts so that individual fins can be modified.

full list of the available SmartParts is provided below. Those SmartParts available fordecomposition are identified by an asterisk.

are described in theFloTHERM SmartParts Reference Guide.

5-2. Geometry Macros

[此处图片未下载成功]

148FloTHERM User Guide, V9.1

Building the GeometryFloTHERM Geometry ModelElectronicParts

5-3. Electronic Parts

[此处图片未下载成功]

FloTHERM User Guide, V9.1149

Building the Geometry

Geometry Model

locates geometry using two sets of coordinates:

Local object coordinates for locations on individual objectsSystem coordinates for locating objects in the overall model

://www.51wendang.com/doc/d2e52c141054f5479dae40c5inatesystem(Xo,YoandZo)soyoucandefineitssizeandorientationinthemodel.Anobjectispositionedby

[此处图片未下载成功]

locating

[此处图片未下载成功]

itsoriginrelativetothesystem.

5-2. Object Coordinates

that when rotating the object, the object origin and axes directions rotate with the object.

5-3. Object Coordinates when Rotating the Object

FloTHERM User Guide, V9.1

Building the GeometryFloTHERM Geometry ModelSystemCoordinates

locates geometry in the overall model using two right-hand coordinate systemtypes:

Absolute Coordinates — always relative to the model originLocal Coordinates — depend on the display method being used.

,localcoordinatesarerelativetotheoriginoftheassemblytowhichtheobject belongs.

the Drawing Board display, local coordinates are relative to the origin of the object or

://www.51wendang.com/doc/d2e52c141054f5479dae40c5semblyonview.Localcoordinateswillbethesameastheabsolutecoordinatesifthemodelisviewed from the root assembly (providing the root assembly is still at the default origin). Notehowever,thatthelocalcoordinatesdisplayedinanydialogswillalwaysberelativetotheparentassembly.

coordinates are the default because they provide useful reference points for complexobjects. Each sub-assembly may have its own local coordinate system which allows easylocation and replication of objects within that assembly.

switch between the coordinate reference types, use theUser Preferencesdialog, launchedby choosingPreferences from theEdit menu.

example shows how the local and object coordinates operate when an assembly is rotated.

5-4. Example of Local Coordinate System

[此处图片未下载成功]

FloTHERM User Guide, V9.1151

Building the Geometry

Geometrhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5y Model

5-4. Example of Local Coordinate System

objects modeling the solution domain (that is, overall solution domain, cutouts, initialsubdomains, regions and grid) are always located using absolute coordinates. System objectsignore a setting ofLocal Coordinates in theUser Preferencesdialog.

[此处图片未下载成功]

152FloTHERM User Guide, V9.1

Building the GeometryCreating the GeometryCreatingtheGeometry

geometry is created using either the Project Manager or Drawing Board applicationwindows.

5-4. Creating the Geometry

the Project Manager when you need to work on the overall project data set, use the libraryor import geometry. Use the Drawing Board when it is useful to see the shape of the structureduring its construction.

.TheassemblyonviewintheProject Manager will behttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 that shown in the Drawing Board. Also, selecting an object in theProject Manager selects the same object in the Drawing Board.

the Project Manager and Drawing Board are required to display different assemblies,deactivateLink Hierarchy in the“User Preferences Dialog” on page83.

the Project Manager, geometry can be built by any of the following methods:

Adding object templates, see“New Object Palette” on page41.Importing objects from the FloTHERM libraries, see“Library Manager” on page267.ImportingexternalECAD,MCADorPDMLfiles,see“Importing/Exporting

[此处图片未下载成功]

Geometry”

page201.

FloTHERM User Guide, V9.1

Building the Geometry

Assemblies

Drawing Board displays the shape of the model under construction and can be used tocreate geometry by dragging object boundhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5aries. New objects are created in the Drawing Boardby selecting a 2D view of the model and using theNew Object Palette.

complete the definition of the model structure, physical attributes are attached to each

object. Attributes may be attached, in either the Project Manager or Drawing Board,using the right-click popup menus over the objects. In some SmartParts, for example PCBs,material properties are attached from within the construction dialogs.

, attributes can be attached by dragging from theLibrary Manager.

a description of all the attribute definitions, refer to theFloTHERM Project AttributesReference Guide.

FloTHERM all modeling objects (primitives, SmartParts and other assemblies) belong to aparent assembly, with theRoot Assembly as the top-level assembly.

,ifanobjectisselhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ectedwhenanewobjectiscreated,thenewobjectwillbecolocatedwiththeselectedobject.Thatis,itwillbeplacedatthesamelocationas,andhavea default size the same as, the already selected reference object.

(empty)assembly,selecttheparentassemblytoholdthenewassemblyandclick

theNew Object Palette. The new empty assembly appears in the tree as a child of theselected assembly.

new assembly exists only as a reference origin until objects are added to it and thereforecannot be drawn out in the Drawing Board. When objects are added to the assembly, then itsgreen bounding box may be displayed in the Drawing Board.

[此处图片未下载成功]

AddChildGeometry

add geometry to an assembly you can:

Create new geometry using theNew Object Palette in either the Project Manager or

Board.

User Guide, V9.1154

Building the GeometryBuilding Ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ssemblies

[此处图片未下载成功]

Copy geometry to and from the libraries, see“Library Manager” on page267.Import files from the external file system, see“Importing/Exporting Geometry” onpage201.Drag and drop from within the Project Manager data tree.

relocate and further define the assembly, use theAssembly Menu by right-clicking theassembly.

addition to launching dialogs to edit the selected assembly, theAssembly Menu can importexternalgeometry lesandloadthemintotheassemblyorcanexporttheassemblygeometrytoexternal  les.

Locationcalls theEdit Assemblydialog to define the location of the assembly.Material calls theMaterial selection dialog to attach a material type to the assembly.

defining materials, seeMaterial Properties in theFloTHERM Attributes ReferenceGuide.

Constraints calls theGrid Constraint selection dialog, see“Setting Obhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ject GridConstraints” on page291, to attach grid constraints across the assembly.

Object displays either the Project ManagerNew Object Palette or the DrawingBoardNew Object Palette. Repeating theNew Object menu selection in the ProjectManagerdisplaystheLibraryManager,soyoucanusegeometryandattributesstoredin a common library area.

User Guide, V9.1155

[此处图片未下载成功]

[此处图片未下载成功]

Building the Geometry

Assemblies

Select All displays a submenu so you can select all the geometry of a particular type

the selected assembly. If you are pointing at the Root Assembly, then all objectsof that type in the entire project will be selected.

allows you to import geometry stored in a variety of external file formats intothe selected assembly. The imported geometry will appear in the tree as children of theselected assembly. This option is not availahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ble if more than one assembly is selected.See“Project Menu” on page49, for information on the formats available.

you to export geometry, from the selected assembly, in a variety of

file formats. It displays submenus to call different selection dialogs to show

.Thisoptionisnotavailableifmorethan one assembly is selected. See“Project Menu” on page49, for information on theformats available.

,see“LibraryManager”onpage267. Note that, the specification of an assembly saved in the library includes anyattached attributes.

, Copy andPaste are tree editing options and use the system paste buffer. Cut or

assemblies can only be pasted into assemblies.

,refertothe“FullListofGeometryMenuOptions”onpage81.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5access:PM Assembly Menu &gt; Location

thisdialog to change the position of an assembly.

the new assembly.

the origin of the primitive. This origin is relative to the origin of either:

The current selected assembly ifLocal coordinates are in use.The model ifAbsolute coordinates are in use.

“System Coordinates” on page151.

Dimensions in:

the units of length from the popup list.

FloTHERM User Guide, V9.1

Building the GeometryBuilding AssembliesNotes

theEdit Notesdialog to attach reference information to this assembly.

Grid

any grid constraints attached to just the assembly grid space. See“Localizing theGrid” on page296.

, use

Geometry

the assembly geometry to be ignorehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d by the thermal solution. Ignored geometry is similarto deactivated geometry in that it is not displayed in either the Drawing Board or the VisualEditor. However, ignored geometry has no impact on the solution grid, that is, the grid ismodeled as if the geometry did not exist.

is checked on in theUser Preferencesdialog.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

or thel key for a shortcut toToggle Localize.

usingAbsolute coordinates, the position of the assembly will be relative to the modelorigin.However,whenusingLocalcoordinates,thepositionoftheassemblywilldependonthedisplay method used:

the Project Manager,Local coordinates are relative to the parent assembly. For example,consider the assembly and sub-assembly shown below.

5-5. Lohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5cating an Assembly

sub-assembly is located in the Y-direction at either Y=1.5 inAbsolute terms, or Y=0.5 inLocal terms as the parent assembly origin starts atAbsolute 1.0.

the Drawing Board display,Localcoordinates are relative to the origin of the assembly onview.Local coordinates will be the same as theAbsolute coordinates if the model is viewedFloTHERM User Guide, V9.1157

Building the Geometry

Assemblies

(providingtherootassemblyisstillatthedefaultorigin).Notehowever,that the Local coordinates displayed in any dialogs will always be relative to the parentassembly.

,anewassemblyoriginisalwayslocatedattheoriginofthecoordinatesystembeingused.

an explanation ofAbsolute andLocal coordinates, see“System Coordinates” on page151.158FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesAddingPrimitiveShapes

://www.51wendang.com/doc/d2e52c141054f5479dae40c5 basic building blocks for all FloTHERM geometry representations are thePrimitives.Primitives are simple geometric shapes which include:

“Solid Blocks” on page159 (cuboids, prisms, tets and inverted tets)“Sources” on page162 (heat fluxes, air velocities and pressure)“Resistances” on page163 (resistances to air flow)“Regions” on page168 (2D or 3D regions of space for capturing solution summary

)

, prisms,tetsandinverted tets are the most basic method of inserting blocks of solidmaterial of specified composition at any location within the solution domain.

5-6. Solid Blocks

geometry outlines may be used to model electronic structures whose shapes are

hydraulically equivalent by setting dimensions to achieve the same surface area.Thephysicalqualitiesoftheblocksareset-upbyattachingmaterial,surface,thermal,radiationhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5and surface exchange attributes.

-uniformstructuresforwhichthereisnotan equivalent SmartPart.

that solid blocks can be used in a negative way to block out regions of the enclosure withwhichthereisnoconcernforaparticularanalysis(forexample,withinacomputeritmaynotberequired to obtain solution in the case containing the disk drives).

add a new solid block, use the New Object Palette in either the Project Manager or the

[此处图片未下载成功]

Drawing Board and select one of the following buttons:

[此处图片未下载成功]

for cuboid

[此处图片未下载成功]

for prism

User Guide, V9.1159

Building the Geometry

Primitive Shapes

(tetrahedral,thatis,withthreeright-angledtriangularfacesthatarealignedwiththethree coordinate axes)

inverted tet (heptahedron objects, that is, a cubohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5id with one of its corners removed)IntheProjectManager,ashapewithlengthsone-tenththesizeofthesolutiondomainiscreatedin the three coordinate directions. Note that cuboids can be collapsed to represent a planarsurface using theEdit Primitivedialog.

,whenyoudragouttheoutlineofaprimitiveacrossaworkplanetocoverthearearequiredacrossthechosenplane,thedepthnormaltotheplaneistheaverageofthetwodrawn dimensions.

5-7. Adding Blocks

blocks are indicated in the Drawing Board by a dark blue outline.

,youcanchangethelocationandshapebyre-selectingtheobjectanddraggingitsboundaries in the Drawing Board or use theEdit Primitivedialog. Note that you can alsocollapse the cuboid using theEdit Primitive dialog, but there is a shortcut. You can draw acollapsed cuboid after choosing in the palette

physical definition of the primitive is achieved by attaching attributes using thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he popupmenus as discussed below.

,cuboids,prisms,tetsandinvertedtetsarecreatedassmooth,

[此处图片未下载成功]

non-conducting

[此处图片未下载成功]

solids.To complete the definition of the block, right-click it and use the geometry popup menu toattach the physical definition attributes. Surface, surface exchange or radiation can be attachedto one or all sides of the primitive. The other attributes apply to the whole primitive.

menu is the same for all solid blocks. The example for cuboids is shown inFigure5-8.160FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesFigure 5-8. Solid Block (Cuboid) Menu

Location calls theEdit Primitivedialog to change the location and size of the cuboid.Material calls theMaterial dialog to attach, or define and attach Material thermal

. For defining material types, seeMaterial Propehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rties in theFloTHERM

Attributes Reference Guide.

calls theSurface Finish dialog to attach, or define and attach, surface

such as roughness and emissivity, as well as color. Alternatively, you can

a surface finish as part of the material property definition, but note that

.Fordefiningsurfaces,seeSurface Finishes in theFloTHERM Project Attributes Reference Guide.

calls theThermal dialog to attach, or define and attach, a thermal modelingtype describing the heat transfer. The thermal effects of cuboids can be modeled by

temperature, fixed power output, conduction or joule heating. For defining the

model, seeThermal Attributes in theFloTHERM Project Attributes ReferenceGuide.

calls theRadiation dialog to attach, or define and attach, a radiative

://www.51wendang.com/doc/d2e52c141054f5479dae40c5n to either an individual face or all faces of the cuboid. For defining radiation,seeRadiation Attributes in theFloTHERM Project Attributes Reference Guide.

Exchange calls theSurface Exchange dialog to attach, or define and attach, asurface exchange attribute to overwrite the FloTHERM calculated heat transfer

. Note that this is very advanced functionality and should only be used underadvice from Mentor Graphics Mechanical Analysis support engineers. For further

, seeSurface Exchange Attributes in theFloTHERM Project Attributes

Guide.

and Copy are tree editing options and use the system paste buffer. Cut or copied

can only be pasted into assemblies.

,refertothe“FullListofGeometryMenuOptions”

[此处图片未下载成功]

onpage81.

User Guide, V9.1161

Building the Geometry://www.51wendang.com/doc/d2e52c141054f5479dae40c5parPrimitive Shapes

,pressureandtemperatureoveraplanarareaorvolumelocation within the solution domain.

example, using sources you can simulate the source of heat due to the dissipation of

power within a volume and a planar (or collapsed) source can be used to set a sourceof heat that is distributed uniformly over a surface.

are provided for fixed sources, sources that are linearly dependant on temperature orsources that are prescribed functions of time.

add a new source, first create the source geometry and then attach the source attribute. Tocreate the source geometry, choose in the New Object Palette.

the Project Manager, a cuboid shape one-tenth the size of the solution domain is created.

.In thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he Drawing Board, when you drag the outline of the source across a workplane to cover thearea required across the chosen plane, the depth normal to the plane is the average of the twodrawn dimensions.

5-9. Dragging the Boundary

are represented in the Drawing Board by a brown outline.

,youcanchangethelocationandshapebyre-selectingtheobjectanddraggingits

[此处图片未下载成功]

boundaries in the Drawing Board or use the

[此处图片未下载成功]

Edit Primitive

[此处图片未下载成功]

dialog. Note that you can alsocollapse the source using theEdit Primitive dialog, but there is a shortcut. You can draw acollapsed source after choosing in the palette.

physical definition of the source is achieved by attaching the source attribute using thepopup Source Menu.

FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesSourceMenu

http://www.51wendang.com/doc/d2e52c141054f5479dae40c5are rectangular cuboid or planar locations which, by default, have no thermal effects.Sourceeffectscanbedescribedbyattachingsourcefluxesandvariablesusingthepopupmenu.Right-click the source to display theSource Menu.

calls theEdit Primitivedialog to change the location and size of the source.

,ordefineandattach,prescribedfluxesorfixedvaluesto be attributed to the source. For defining source effects, seeSource Attributes in theFloTHERM Project Attributes Reference Guide.

and Copy are tree editing options and use the system paste buffer. Cut or copied sourcescan only be pasted into assemblies.

information on the remaining general options, refer to the“Full List of Geometry MenuOptions” on page81.

are used for setting the resistance to the air flow distributed across a finite volumeor plane (collapsed resistance).

://www.51wendang.com/doc/d2e52c141054f5479dae40c5n example of a volume resistance is the distributed resistance to flow provided by a regionoccupied by a large number of cables.

,mesh, or other partial obstruction to the flow that does not occupy a significant volume.AddingResistances

create a new resistance, you first create the resistance geometry and then attach the

attribute. To create the resistance geometry, choose in the New Object Palette.In the Project Manager, a cuboid shape one-tenth the size of the solution domain is created.

[此处图片未下载成功]

Edit

[此处图片未下载成功]

Primitivedialog.FloTHERM User Guide, V9.1163

Building the Geometry

Primitive Shapes

the Drawing Board, when you drag the outline of the resistance across a workplane to cohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5verthearearequiredacrossthechosenplane,thedepthnormaltotheplaneistheaverageofthetwodrawn dimensions.

5-10. Dragging the Boundary

are represented in the Drawing Board by a yellow outline.

,youcanchangethelocationandshapebyre-selectingtheobjectanddraggingitsboundaries in the Drawing Board or use theEdit Primitivedialog. Note that you can also

the resistance using theEdit Primitive dialog, but there is a shortcut. You can draw acollapsed resistance after choosing in the palette.

physical definition of the resistance is achieved by attaching the resistance attribute usingthe popupResistance Menu.

are rectangular cuboid or planar locations which, by default, are just open spaces.Resistance to the air flow must be described by attaching properties. Resistance properties canbe attached using the geometry popup menu. Right-chttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lick the resistance to display the

Menu.

.Notethat the resistance can be located on any one side of the solution domain boundary or of acutout, or entirely within the solution domain.

,ordefineandattach,

[此处图片未下载成功]

a

[此处图片未下载成功]

resistance

[此处图片未下载成功]

attribute.Fordefining a resistance to flow, seeResistance Attributes in theFloTHERM Project AttributesReference Guide.

FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesCutandCopyaretreeeditingoptionsandusethesystempastebuffer.Cutorcopiedresistancescan only be pasted into assemblies.

information on the remaining general options, refer to the“Full List of Geometry MenuOptions” on page81.

access: PMAny Primihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tive &gt; Location

thisdialog to change the location and size of the selected primitive object. A primitiveobject is the most basic modeling representation in FloTHERM, that is, a cuboid, prism, tet,inverted tet, resistance or source.

, sources and resistances can be collapsed to represent planar objects.

the primitive object. The object type is displayed in a read-only field.

Dimensions in

the units of measurement from the popup.

the origin of the primitive. This origin is relative to the origin of either:

The current selected assembly ifLocal coordinates are in use.The model ifAbsolute coordinates are in use.

“System Coordinates” on page151.

the length of each side of the cuboid, prism, tet or inverted tet shape (Figure5-11).

http://www.51wendang.com/doc/d2e52c141054f5479dae40c55-11. Setting the Length of Each Side

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

TetCuboidPrismInverted Tet

User Guide, V9.1165

Building the Geometry

Primitive Shapes

to

whether you are modeling a planar surface or a volume according to the followingoptions:

No collapse, a cuboidal shapeLow-Face, a planar surface set over the lowest coordinatesMid-Point, a planar surface set over the mid point coordinates, orHigh-Face, a planar surface set over the highest coordinates.

[此处图片未下载成功]

If 2D effects are sufficient, then collapsing the primitive increases the efficiency of modeling.

[此处图片未下载成功]

Collapse Direction

the direction for any collapse.Figure5-12 shows the various collapse states for the Ydirection.

5-12. Collapse Direction

-FaceMihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d-PointHigh-Face

[此处图片未下载成功]

Notethatthecollapsedirectionisrelativetothecuboid’sownlocalcoordinatesystem,soevenif you rotate the cuboid, the collapse direction remains the same.

[此处图片未下载成功]

Figure 5-13. Collapse Direction after Rotation

FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesAngled Resistance

the collapsed geometry is a resistance, then the dialog expands to allow the creation of anangled resistance.

create an angled resistance:

.Choosethelocalaxisaboutwhichtheresistanceistoberotated:None,X,YorZ.Note

the axis cannot be the same as the collapse direction.

.If you are using Local coordinates, then enter the angle of rotation. However, if you are

,thentheRotatefieldisde-activatedandtheangleisderivedfrom the sides of the resistance bounding box, as shown inFigure5-14.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5re 5-14. Rotation when using Absolute Coordinates

Grid

any grid constraints attached to the object’s grid space. See“Localized Grid” onpage286.

theEdit Notesdialog so you can attach reference information to the primitive.CreatingHoles

are created by adding hole objects to the selected cuboid. SeeAdding Holes toCuboids in theFloTHERM SmartParts Reference Guide.

are now achieved using theEdit SmartPartdialog andBlock With Holesdialog.

[此处图片未下载成功]

Changes to the hole composition and location are made using the

[此处图片未下载成功]

Hole in Block

[此处图片未下载成功]

dialog.FloTHERM User Guide, V9.1167

Building the Geometry

Primitive Shapes

conjugate heat transfer, that is, conduction in all dhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5irections, as well as convection andradiation from all sides is available by default for 3D cuboids.

model full conjugate heat transfer for collapsed cuboids aligned with the grid, select

Plate Conduction in theOverall Solution Control Dialog before solving. The heatconductionalongandacrossthecollapsedcuboidwillthenbecomputed.WhenActivatePlateConduction is not activated, only heat transfer in the collapse direction is modeled.

[此处图片未下载成功]

[此处图片未下载成功]

ModelingAdvice

“Construction Precedence Rules” on page178 for information on the thermal effects at theboundaries of objects.

on the transparency definition in the materials attached tocuboids, solar radiationwill be either fully blocked, partially blocked/absorbed or fully transparent to solar radiation.Prisms,unlikecuboids,areeitherfullytransparentorfhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ullyopaquetosolarradiation,dependingon whether the attached material is marked as transparent or not. There are no intermediatestates (that is, no absorption of solar radiation).

are defined spaces in the model. Using regions, you can:

.Capture summary values for 2D (collapsed) or 3D (non-collapsed) spaces. These

values can be viewed in the Visual Editor regions tables or set-up as output

in theCommand Center.

.Refinethegridinareasnotoccupiedbygeometry.See“AttachingGridConstraints”on

.

.Create new projects based on the part of the model enclosed within the selected region.

“Creating Zoom-In Projects” on page195.

FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesCreatingNewRegions

fluid volume regions using the New Object Palette in either the Project Manager or theDrawing Bhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5oard.

,selecttheassemblytoholdtheregion,thenclickintheNewObjectPalette. The new region then appears in the data tree as a child of the selected assembly.In the Drawing Board, display the assembly to hold the region, then click in theNew

Palette and drag the mouse pointer across the location for the region. On releasing themouse button, the region will be displayed

creation, you can change the design using the region popup menu. Right-click the regionto display theRegion Menu.

calls theEdit Regiondialog to change the location of the region.

calls theFluid attachment dialog. If the fluid does not exist, then using theFluiddialog,you can call theFluid Propertydialog to create it.

Constraints launches theGrid Constraint attachment dialog. If the grid constraint typedoes not exist, then using theGrid Constraintdialog, you can cahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ll theGrid ConstraintModelingdialog. See theAttributes Reference Guide for more information.

launches theEdit Notesdialog to add reminders to the construction.

only available in the Project Manager, calls thePattern Creationdialog to tabulateconstruction information for the selected geometry.

cuts the selected region from the project and copies it into the paste buffer so it may bepasted into a different assembly.Copy

[此处图片未下载成功]

copies the region into the paste buffer so that it may be pasted into another assembly.FloTHERM User Guide, V9.1169

Building the Geometry

Primitive Shapes

To Library saves the region to the library already selected in the library tree (onlyavailable in the Project Manager).

Zoom-In, launches theZoom-In Creationdialog to start the process to save the

and environment defined within the regionhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 as a separate project. Note the dialog willonly be called if the zoom-in criteria is met. For more information see“Creating Zoom-InProjects” on page195.

can be collapsed for a 2D representation.

the Project Manager, to create a collapsed region, you first have to create the region, thencollapse it using theEdit Region dialog.

, in the Drawing Board, you can draw the region, then select it and use theEdit

. However, in the Drawing Board, there is a shortcut, and you can draw it directafter choosing from the New Object Palette.

[此处图片未下载成功]

The popup menu is the same as for the non-collapsed region.

access:PM Region Menu &gt; Location

thisdialog to define a planar or volume region of the solution domain After solution, themean flow results calculated for variables within the defined region mahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5y be tabulated using theTables application window.

FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesFigure 5-15. Edit Region Dialog

further information on tables, see“Results Data” on page507.

the new planar or volume mean flow region.

theEdit Notesdialog to attach reference information for the region.

To

whether you are setting up a planar or volume region according to the followingoptions:

No Collapse — a volume regionLow-Face — a planar region set over the lowest coordinatesMid-Point—- a planar region set over the mid-point coordinatesHigh-Face — a planar region set over the highest coordinates

Direction

the direction for any collapse.Figure

[此处图片未下载成功]

5-16 shows the various collapshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e states for the Ydirection.

User Guide, V9.1171

Building the Geometry

Primitive Shapes

5-16. Collapse States in Y-Direction

and Size

the new region according to the following options:

Size to Solution Domain

the region size to the full extent of the solution domain.

Position

the origin of the primitive. This origin is relative to the origin of either:

current selected assembly ifLocal coordinates are in use.The model ifAbsolute coordinates are in use.

“System Coordinates” on page151.

Size

the length of the sides of the region.

Dimensions in

the units of length measurement from the popup.

Grid

if a localized grid is to be generated for grid constraints attached to this object. SeeInflation&gt;&gt; in thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5FloTHERM Attributes Reference Guide.

volume region is defined by selecting NoCollapse and setting its position and size.

can either useSize to Solution Domainto set the region to cover the complete solutiondomain or, alternatively, you enter values for the origin and size.

[此处图片未下载成功]

172FloTHERM User Guide, V9.1

Building the GeometryAdding Primitive ShapesFigure 5-17. Define a Volume Region

plane region is defined by selecting the collapse direction and entering start coordinates

,anditssize.Notethataplanarregionshouldhavearowofcellsoneither side to display a full set of results. If the planar region is located on the edge of thesolution domain the results in the direction normal to the solution domain will be reported aszero.

-18 shows the region collapsed towards the high y-coohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rdinate

5-18. Define a Plane Region.

[此处图片未下载成功]

zDisplayingResults

solution, the mean flow results as well as the mean, minimum and maximum values forany variable, can then be tabulated over this new region using the Visual Editor tables. See“Regions Tables” on page506.

,theresultswillshowtheHighresults,whichwillrepresentthe

[此处图片未下载成功]

results in the first row of cells in the positive direction of the plane normal to the face, and theLow results, which will represent the results in the other direction.

[此处图片未下载成功]

FloTHERM User Guide, V9.1173

Building the Geometry

Primitive Shapes

5-19. Displaying Results

-FluidRegions

(defined in theFluid Propertydialog). This can be used, for examphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5le, to create a watercooled heat sink.

restriction on the use of alternative fluids, is that the volume containing each fluid must befully enclosed by solid geometry, that is, you cannot have a fluid-to-fluid interface. Up to 100multi-fluid regions can be used.

,attachtherequiredfluidpropertytoitusingtheFluidselectiondialog,called by right-clicking the region and choosingFluid from the popupRegions Menu.After attaching the new fluid, within the defined volume region any space which wouldnormally be the base fluid will contain the alternative attached fluid.

[此处图片未下载成功]

Attaching

[此处图片未下载成功]

GridConstraints

there are locations within the flow where the grid is not locally dependent on the

, regions can be added with attached grid constraints to refine the grid at this locationas shown inFigure5-20.

5-20. Attaching Grid Constrhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5aints

FloTHERM User Guide, V9.1

Building the GeometryAdding SmartPartsZooming-InonProjects

regions can be used to concentrate the computer analysis on a particular area of

.Afteraprojectsolution,justthegeometryandsolutionmodelinginformationcollectedwithinaselectedvolumeregion(subjecttomodelingconstraints)canbesavedasanewprojectfor further investigation and design change. See“Creating Zoom-In Projects” on page195.AddingSmartParts

save time when building complicated structures from primitive shapes, pre-built modeltemplates of equipments are supplied which are easily adapted to suit your model. Thesemodeled structures are called SmartParts and are added to the project in the same way asprimitives, using the New Object Palette.

the SmartPart is added to the project, you can edit it to suit your design using theSmartPart popup menu.

User Guide, V9.1175http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Building the Geometry

Complex Shapes

shaped objects can be created by uniting or deleting overlapping geometry using theFloMCAD Bridge application window.

are three main stages to creating a complex shape:

.Load Geometry into FloMCAD Bridge

use the Project Manager or Drawing Board to create a project containing the

geometry that will make up the complex shape, then click to launch

Bridge. Load the project geometry into FloMCAD Bridge usingExternal &gt;ImportProjectGeometry.TheindividualFloTHERMobjectsnowbecomeFloMCADBridge bodies.

://www.51wendang.combine the MCAD Bodies

FloMCAD Bridge, select the intersecting bodies ready to make the following

:

ChooseTools &gt; Unite Bodies to unite the intersecting geometry into one body

(Figure5-21).

://www.51wendang.com/doc/d2e52c141054f5479dae40c5gure 5-21. United Bodies

Choose Tools &gt; Intersect Bodies to delete all but the intersecting bodies

(Figure5-22).

5-22. Intersection of Bodies

Choose Tools &gt; Subtract Bodies to delete all the intersecting bodies (Figure5-23).

[此处图片未下载成功]

Figure 5-23. Body With Intersections Subtracted

[此处图片未下载成功]

3.

[此处图片未下载成功]

Return Geometry to the Project Manager

&gt; Decompose to revert the geometry back to FloTHERM geometry, andreturn it to the project in its new form usingTools &gt; Transfer Assembly.

FloTHERM User Guide, V9.1

Building the GeometryCreating Complex ShapesIn the Project Manager, load the complex shape into the library, from where it can be copiedinto other projects.

User Guide, V9.1177

Building the Geometry

Precedence Rules

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arlisting order of objects in the Project Manager data tree reflects the set up sequence. Itemsatthetopofthetreeareconsideredcreatedfirst.Thisissignificantforcoincidentobjectsofthesame type because, in general, the last created objects take precedence. ConsiderFigure5-24.

5-24. Construction Precedence Rules

andCard have coincident boundaries, thenCard over writes the settings made byWall4 in the coincident region. Note, however, that this is not always the case for objects ofdifferent types as described by the following precedence rules:

.Solid objects (solid cuboids and prisms) overwrite other solid objects according to the

order.

.Fans always overwrite collapsed resistances irrespective of tree order.

.Flowobjects (fans, resistances, free boundaries associated with cutouts and fixed flow

) overwrite each other in tree order with the exception of http://www.51wendang.com/doc/d2e52c141054f5479dae40c5point 2.

.Un-collapsed cuboids andprisms overwrite fans and resistances irrespective of order.

.Fans and resistances located on collapsed cuboids will overwrite the collapsed cuboid

that they appear lower in the data structure.

.Fixed  ows take precedence over free boundaries created on cutouts.

[此处图片未下载成功]

ContextRulesforSolidCuboidsandPrisms

are provided for the construction of common complex shapes, but unusual shapescan be built up by the insertion of multiple overlapping cuboids, triangles and collapsedcuboids.

FloTHERM User Guide, V9.1

Building the GeometryConstruction Precedence RulesHeat transfer in complex shapes constructed in this way are subject to the following rules.BlocksorPrismsinSurfaceContact

[此处图片未下载成功]

When two cuboidal blocks are in contact (seeFigure5-25) the surface between the two objectsis treated as http://www.51wendang.com/doc/d2e52c141054f5479dae40c5follows:

.Ifthethermalattributesofbothobjectsaresettoconducting,theprogramcalculatesthe

transfer between the objects, assuming that no thermal resistance exists at the

.Notethatifyouwanttointroducearesistancearisingfromthepresenceofanadhesive, you can specify the resistance as a surface property on one or more surface

.

.If the objects are not conducting, or only conducting in one of the two objects, the

does not compute the heat conduction between them. The exposed surfaces ofthe objects (that is, the surfaces not in contact with other blocks or prisms) exchange

with the surrounding fluid according to the thermal options selected.

.Heat transfer across the interface between the objects when only one of them is

can be contrived by specifying a source per unit area for temperature on thesurface of the object.

.TheFixehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5dTemperatureandtheFixedHeatFlow(cuboidsonly)thermalattributesapply

to exposed surfaces of the objects, that is, the surfaces which are contacted by thefluid,andnotincontactwithanotherblockorprism.InFigure5-26,aheatfluxissetforBlock B, all of which goes into the fluid and none of which goes into Block A.

statement is true irrespective of the thermal option selected for Block A, that is,

Block A is conductive, fixed flux or fixed temperature there is no flux of heatfrom Block B to Block A.

User Guide, V9.1179

Building the Geometry

Precedence Rules

[此处图片未下载成功]

If the Total Power is set for Block B (rather than flux per unit area), all this power goes

the fluid, that is, the program sets the heat fluxes for the exposed faces of Block Bsuch that the power output to the fluid equals the total power set by the user.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ppingIntersectingBlocksorPrisms

two overlapping blocks or an overlapping block and prism (Figure5-27). The

forBlocks or Prisms in Surface Contact also apply to this configuration, however,the order in which the objects are specified is important.

[此处图片未下载成功]

In the overlapping region, the thermal properties (that is, the conductivity, the density and thespecificheat)ofthesecondobjectinthehierarchytakesprecedenceoverthatofthefirstobject.Thus,theinterfacebetweentheobjectsisdefinedbytheperimeteroftheseconddefinedobject.IfBlockAisenteredbeforeBlockB(Figure5-28)thenthethermalpropertiesofBlockBapplyin the region of intersection.

FloTHERM User Guide, V9.1

Building the GeometryConstruction Precedence RulesCases:

Block A conducting, Block B not conducting

temperatures for Block A are not calculated in the region of intersection, but the

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ed

[此处图片未下载成功]

forBlockAisappliedintotaltothenon-intersectingportionofBlockA(that is, no power is lost).

Block B conducting, Block A not conducting

temperature is calculated throughout BlockB, including the region of intersection,with the total power uniformly applied over the whole of Block B.

Blocks A and B both conducting

temperatures are solved throughout and the power in the region of intersection is

for the two cuboids, that is, the power for Block A and the power for Block Bare added to one another in the region of intersection.

Block B is entered before Block A, the thermal properties of Block A apply in the region ofintersection (Figure5-29).

User Guide, V9.1181

[此处图片未下载成功]

Building the Geometry

Precedence Rules

a block resting on ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 collapsed cuboid (Figure5-30).

[此处图片未下载成功]

Inthissituationthethermalresistanceofthecollapsedcuboid

[此处图片未下载成功]

altersthethermalspecificationofthe block as follows:

For a conducting block, the presence of the collapsed cuboid reduces the heat transfer

the block to the fluid on the other side of the collapsed cuboid. If the thermal

,heattransferiscompletelyeliminatedacross the surface of intersection.

,ifeithertheFixedHeatFlowortheFixedTemperaturethermalattributesis selected for the block, the heat flux from the block is unaffected by the collapsed

.

a block into which a collapsed cuboid penetrates (Figure5-31).

block as follows:

Forhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 a conducting block, a collapsed cuboid cutting through a block locally alters the

cuboid is defined lower in the tree hierarchy than the block. Hence, if the

cuboid has zero conductivity, heat conduction across the collapsed cuboid

the block is prevented.

the fixed flux or fixed surface temperature option has been set for the block, the

of collapsed cuboid within the block is ignored.

FloTHERM User Guide, V9.1

Building the GeometryConstruction Precedence Rules

[此处图片未下载成功]

CuboidsinContactwithSlopingBlocks

the intersection of a thin (collapsed) sloping block with a cuboidal block

(Figure5-32).

on the specification of the sloping block, the program will act in different ways:

Conducting (Thick or Thin)://www.51wendang.com/doc/d2e52c141054f5479dae40c5rhierarchy than the cuboid.

Non-conducting (Thin)

thin sloping block (or plate) will be ignored.

Non-conducting (Thick)

sloping block will act as an insulator providing it is defined lower in the hierarchy.CuboidsinContactwithDomainEdge

attachment of an ambient property. The attached ambient sets the temperature and heattransfer coefficient (Figure5-33). If no ambient is attached, or the heat transfer coefficient is0.0, then no heat will be transferred from the cuboid block.

User Guide, V9.1183

[此处图片未下载成功]

[此处图片未下载成功]

Building the Geometry

Precedence Rules

[此处图片未下载成功]

ContextRulesforFlow

[此处图片未下载成功]

Devices

context ruhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5les for ensuring that some flow objects are included in the FloTHERMsolution are as follows:

Recirculation devices and fixed flows must sit on the edge of cuboids, cutouts, or the

boundary (Figure5-34).

5-34. Context Rules for Recirculation Devices and Fixed Flows

in

fromsolution

Fans and resistances must be on the edge ofone and only one cutout or domain

, or entirely within the solution domain (Figure5-35).

5-35. Context Rules for Fans and Resistances

in

insolutionExcluded fromsolution

two or more supplies (or extracts) from different recirculation devices overlap, their flow

[此处图片未下载成功]

rates are additive.

[此处图片未下载成功]

If two or more supplies (or extracts) from the same recirculatihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5on device overlap, they override,

[此处图片未下载成功]

[此处图片未下载成功]

but in such a away that the total mass flow required by that recirculation device is maintained.184FloTHERM User Guide, V9.1

Building the GeometryConstruction Precedence RulesContextRulesforOverlappingSources

two or more sources overlap, the effect of each source is added together to provide thetotal source. For example, the power is additive in the region of overlapping heat sources.ContextRulesforOverlappingComponents

discrete solid components are treated in the same way as blocks and prisms. See“Overlapping Intersecting Blocks or Prisms” on page180.

components which are discrete, but not solid, are treated in the same way asoverlapping sources; the power is additive in the region of overlap.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ecedenceruleswithinthenetworkassemblyor heat pipe, that is, cuboids lower down the tree will overwrite those above.

the network assembly uses the Embedded Conduction Solver, its cuboids cannot beoverwritten by other solid geometry lower down the project tree that is not solved by theEmbedded Conduction Solver.

Activate Plate Conduction is checked on in the“Overall Solution Control Dialog” onpage394, all collapsed cuboids are treated as uncollapsed objects and the following contextrules apply:

.Acollapsedcuboidwillalwaysoverwritetheuncollapsedcuboidregardlessofhierarchy

.

.A network assembly abutting a collapsed cuboid will conduct into the collapsed cuboid.

[此处图片未下载成功]

Collapsed cuboid

.A compact component abutting a collapsed cuboid will not conduct through the

[此处图片未下载成功]

collapsed cuboid, but jump tohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the grid cell on the other side.

cuboid

User Guide, V9.1185

Building the Geometry

Precedence Rules

.Collapsed cuboids in edge-to-edge contact must abut by at least one grid cell, in their

state, for conduction between them to occur, seeFigure5-36 and

-37.

5-36. Example Layouts where Conduction between Collapsed Cuboids

Occur

5-37. Example Layout where Conduction between Collapsed Cuboids

[此处图片未下载成功]

Will Not Occur

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Figure5-38 shows a group of collapsed cuboids placed incorrectly. Heat will not flow frombeyond CollapsedCuboid3.

5-38. Context Rules for Plate Conduction

FloTHERM User Guide, V9.1

Bhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5uilding the GeometryConstruction Precedence RulesFigure 5-39. Context Rules for Plate Conduction

workaround is to uncollapse all the objects and check their arrangements against theexample layouts given in paragraph 4.

items in the data tree, or using the promote or demote

[此处图片未下载成功]

buttons.

[此处图片未下载成功]

Note that dragging an object above or below an assembly will make the object a child of the

[此处图片未下载成功]

assembly rather than an adjacent sibling.

User Guide, V9.1187

Building the Geometry

a Pattern of Objects

can be made of geometry either singly or in a pattern. To make a single copy of an

,selectitineithertheProjectManagerorthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5heDrawingBoardandthenuseCopy(Ctrl-C)andPaste(Ctrl-V)http://www.51wendang.comingCopyandPaste,thenewobjectwillbeoccupythesame location as the original object.

the Drawing Board a new copy of an object at a different location can be created by holdingdown the Ctrl key at the same time as dragging the original object to the required location. Thenew object is created when the mouse button is released.

copies and their separation in either direction using thePattern Creation Dialog called bychoosingPattern from theEdit menu.

access:PM Edit &gt; Pattern

.Thedialog is deactivated if more than one object is selected in the display area.

pattern is directed along any two coordinate axis in either the positive or nhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5egativedirections.

Direction

the pattern for the first direction of a bidirectional pattern and the only pattern for aunidirectional pattern.

Direction

the pattern for the second direction of a bidirectional pattern.

the total number of objects created in the direction selected from a popup list containing: X, -X,  Y, -Y,  Z, -Z.

default, no copies are made.

FloTHERM User Guide, V9.1

Building the GeometryCreating a Pattern of ObjectsPitch

.Itisthedistancebetweenthestartedgesofeachobjectinthe given direction.

create a pattern of the selected object, enter the number of copies and spacing (pitch) alongyour first and second selected directions.

-40showsthegeneratedpatternoftwoobjectsinthe Ydirectionandhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5sixobjectsinthe X direction, with the original object as the first element of the pattern.

5-40. Creating a Pattern

in the  y direction

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

x

pitch is the spacing of the objects.

,thepatternisgeneratedanddisplayedinthedisplayarea.Thenew objects are then added at the same level in the data hierarchy as the original object.Figure5-41 shows a 2 by 3 pattern generated from a single fan.

[此处图片未下载成功]

FloTHERM User Guide, V9.1189

Building the Geometry

a Pattern of Objects

5-41. Create a Pattern

.The original object forms the first element of the pattern.

.Thepatternoperationwillonlyworkforasinglesehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lectedobjectorassembly(command

for multiple selections).

.A pattern cannot be undone usingUndo.

.Keeping the default values of 1 in either direction results in no change to the geometry.SpecialNoteforUndo

&gt;Undotocancelapatterncommand.Toremovethepatternyouhave just created, select the pattern components and delete them using eitherEdit &gt; Cut or theDelete key.

that patterning will multiply the detail in the selected object and, whilst this is aneasywaytoquicklycreategeometry,itcanalsoquicklycreatealargegridcellcount.Onlyusethenecessarylevelofdetail(forexample,maybe

[此处图片未下载成功]

asimplerrepresentationofthefan)andwhereappropriate, use localized grid to restrict the grid caused by the geometrical detail to the area itinfluences.

FloTHERM User Guide, V9.1

Building the GeometryFinding ObjectsFindingObjects://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar,twosearchutilitieshavebeenprovidedto help you find and select modeling objects. These are:

ASelectAllpopupmenuoptionforselectingallmodelingobjectsofaparticulartypeinan assembly, orAFinddialog for finding a named modeling object within thetopped assembly

.

.In the Project Manager, if the assembly node to be searched is not visible, expand the

until it can be seen.

.Select and right-click the assembly to be searched.

.ChooseSelect All from the popup Assembly menu.

.Select the geometry type you are searching for from the Select All sub-menu.

objects of the type chosen, and found in the selected assembly, will become

in the data tree.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

ToSearchforaNamedorParticularTypeofObject

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par1.The search can be through the complete model, or restricted to atopped assembly:FloTHERM User Guide, V9.1191

Building the Geometry

Objects

To search through the complete model, in either the Project Manager or Drawing

, ensure that you are viewing the Root Assembly. Click to reset the data

.

,ineithertheProjectManageror

Board, select the assembly and clickTop.

.ChooseEdit &gt; Find

.Enter the search information in theFinddialog.

.PressFind and the found object(s) will be highlighted in the application window.

,FloTHERMsearchesfromthetopdownandselectsthefirstobjectmatchingthe entered search criteria; but by activating the Select All button, all objects matchingthe search criteria will be selected.

open as you work so you can search for an item, http://www.51wendang.com/doc/d2e52c141054f5479dae40c5work on it, andreturn to it later to search for another occurrence of the item using the&gt;&gt; Forward and&lt;&lt; Back buttons.

access:PM Edit &gt; Find

thisdialog to search the currenttoppedassembly for modeling objects according to achosen search criteria: name, type, localized grid status, or collapsed state within the activeapplication window.

found, the objects are selected ready for interrogation and/or update.

you want to find objects by name, enter a search string into theFind field.

search can be customized by considering case and content match for the search string.Check on:

Match Case to match the upper and lower case text of entered search string. To search

the exact match of typed string activateMatch Case and ensurePartial Match isdeactivated.

Match to match objects with names containing http://www.51wendang.com/doc/d2e52c141054f5479dae40c5the entered search string. To

[此处图片未下载成功]

anddeactivateMatchCase. For example, you could search for ‘IC 081’ and ‘BIC 081’ by partially searchingon ‘IC’.

All to find all instances of the search string.

FloTHERM User Guide, V9.1

Building the GeometryFinding ObjectsSettingObjectType

search by object type, select theType from the drop-down list containing all the possibleoptions.All will search through all the modeling objects in thetopped assembly.

to:

Off, to include objects without a localized grid.On,toincludeobjectswithalocalizedgrid,thatis,haveLocalizedswitchedonintheir

dialogs. See“Localized Grid” on page286.

,ensureLocalizedissettoBoth(thedefault).Thatis,both objects with and whttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ithout localized grids will be included in the search.

to:

Off, to include primitives that have not been collapsed.On, to include collapsed primitives. (A collapse direction has been set in theirEdit

.)

,ensureCollapsedissettoBoth(thedefault).Thatis, both collapsed and 3D objects will be included in the search.

.ThenumberofmatchesfoundwillappearintheFoundfieldandthe found objects appear highlighted in the display.

the Drawing Board, the picture may be scaled so that the found object(s) might be off thedisplayintheDrawingBoard,soyouwillnotseethemhighlighted.Ifthisisthecase,useEdit&gt; Finddialog in Project Manager because the data tree updates to show the found objectSearchingForward

searching for individual instances (Select http://www.51wendang.com/doc/d2e52c141054f5479dae40c5All is off),Findselects the first match in thetopped assembly. To search forward through the tree, click &gt;&gt; to find the next match.SearchingBackwards

,click&lt;&lt;tofindthe previous match.

User Guide, V9.1193

Building the Geometry

of Objects

Dialog.

,selecttheobjectsforwhichtheinformationisrequired,thenclick

the Project Manager.

: If nothing is selected, theSummarydialog will not appear.

access: Select object in the PM then or press the ‘i’ key.

thisdialog to display information about the objects selected in the Project Manager datatree structure.

summary data is preshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ented in tabular format, one row per object, with the object name inthe left-hand column. Use the scroll bars if the table extends beyond the display.

Type

information tabulated depends on the geometry type and the current settings. Only thosecolumnsforwhichdataisavailablewillbedisplayed.Thefulllistofpossibledatacolumnsare:

Type — geometry classPosition — location of object originSize — length of the object in the three coordinate directionsMaterial — name of the attached material propertyThermal — name of the attached thermal attributePower — power setting in the attached thermal attributeSurface — name of surface type attached. Note that if a surface is attached when a

property with an attached surface is already present, this isindicatedby

‘Additional Surface Attached’

[此处图片未下载成功]

— nhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ame of the attached resistance attribute (for resistances and fans)

[此处图片未下载成功]

Ambient — indicates ‘Ambient Attached’ (for cutouts)

— name of the attached source attribute (for sources)

— indicates ‘Radiation Attribute Attached’

FloTHERM User Guide, V9.1

Building the GeometryCreating Zoom-In Projects

Surface Exchange — indicates a Surface Exchange Attribute is attachedFluid — name of the attached fluid property (for regions)Localized — indicates the object has attached grid constraints with embedded gridactivated (On)Grid Constraints — any grid constraints attached defining the number and size of the

on the object(s), any inflation and whether the grid is localized or not.

-InProjects

you may want to zoom-in and refine the geometry and modeling complexity over aparticular region without inchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5urring the computational overhead of solving the complete project.If any changes over a region have little effect on the global flow fields of the original solutiondomain, then you can use a volume region to save the geometry and modeling attributes foundwithin it to a separate new zoom-in project. This new project can then be loaded into

for further analysis completely independent of the original parent project.RepresentationofBoundaryConditions

boundary conditions at each cell face on the surface of the selected region will be

in the new zoom-in project by a collection of cutout objects (each the same size oftheregioncellfaces)externallyabuttingthezoom-insolutiondomain.Thesecutoutswillnotbe

[此处图片未下载成功]

visible in the Drawing Board, but will be listed in the Project Manager under assemblieslabelled according boundary face.

5-42. Representation of Boundary Cohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nditions

User Guide, V9.1195

Building the Geometry

Zoom-In Projects

-InProject

create a zoom-in project:

.Set-up and solve your project with a volume region over the place of interest. The

region must satisfy the zoom-in project requirement criteria as discussed in

“Modeling Constraints” on page198

.Right-click the volume region you have created and chooseCreate Zoom-In from the

menu.

.A dialog (Figure5-43) is displayed to indicate the number of cells on the region

and prompts for confirmation to continue.

5-43. Zoom-In Creation Dialog

.ClickOK to continue.

.TheZoom-In Creation Progress dialog (Figure5-44) is displayed to indicate the

progress using a progress bar.

5-44. Zoom-In Creation Progress Dialog

progress dialog ishttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 automatically removed when the zoom-in project has been

[此处图片未下载成功]

created.

[此处图片未下载成功]

6.TheSave Zoom-In ProjectAs dialog (Figure5-45) is displayed so that you can either

the default project name or enter a new one.

FloTHERM User Guide, V9.1

Building the GeometryCreating Zoom-In ProjectsFigure 5-45. Save Zoom-In Project As Dialog

.The default project name is ZI_region whereregion is the name of the volume regionused to create the zoom-in project. This name can be changed by over-typing.

project name is limited to a maximum of 32 characters; names greater than 32

are truncated.

-inprojectunderthenewnameorclickCanceltocancelthesave.

,ifchangingthenametothatofanalreadyexistingproject,youwillbewarnedand asked if you want it to be over written or given the opportunity of entering of a

://www.51wendang.com/doc/d2e52c141054f5479dae40c5fferent name.

created, the new zoom-in project can be loaded usingProject &gt; Load.

obtain a valid region from which the zoom-in project is created, the region should be sized,wherepossible,suchthatthemajorityofitsboundaryprovideseitherafluid-to-fluid,orasolid-to-fluid interface. This will minimize the number of components which invalidate the zoom-inapproach (see“Modeling Constraints” on page198).

errors can be removed by either removing the offending part or increasing the size of theregion.

-InRegions

-inregionwillincreasethecoupling (the measure of the amount a zoom-in region changes the results in the originalsolution domain) and careful attention should be paid to thecoupling metric as explained in“Determining the Coupling Metric” on page198.

[此处图片未下载成功]

Changinghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the number and locality of source/sink objects (for example, heat sources, sources ofmass flow) should not invalidate the zoom-in approach as long as the total heat or flowsource/sink of the region remains constant.

User Guide, V9.1197

Building the Geometry

Zoom-In Projects

-InExample

.Racksorserversinthecabinetwouldbemodeledsoastoensurethecorrectairflowandairtemperatureswouldbepredicted.ThePCBsandotherobjects would be modeled at a simple block level.

a solution has been obtained, a region around a slot could be used to create a zoom-inproject. The crude PCB representation could then be replaced with a more detailed

of the individual components and their associated powers. An accurate

of solving for the whole dhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ata center. The model could be further refined by zooming-in on an individual chip and increasing its modeling complexity.

,orthemeasureoftheamountazoom-inregionchangestheresults,canbeobtained using theproject notes. When the zoom-in project is created, data relating to theoriginal solution domain is copied to the project notes of the new project.

see the project notes (Figure5-46), right-click the top of the Project Manager data tree andchooseNotes from the popup menu.

5-46. Project Notes

-inproject,comparetheresultswiththedatawrittentotheprojectnotes.If no changes are made to the zoom-in model, the data should be identical. The net mass andheat flows of each face of the zoom-in region can be obtained by summing the columns of thecutouts result table and comparing the values to their equivalent within the project notes.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par[此处图片未下载成功]

ModelingConstraints

sets certain constraints on the types of projects and regions that can be used tocreate new zoom-in projects. See“FloTHERM Projects Disallowed” on page199 and“FloTHERM Regions Disallowed” on page199.

FloTHERM User Guide, V9.1

Building the GeometryCreating Zoom-In ProjectsFloTHERMProjectsDisallowed

following types of FloTHERM project are NOT suitable for creating zoom-in projects:

2D projects cannot be used to create environment: solutions must be3D.Transient projects cannot be used to create environment: solutions must beSteady

.

FloTHERM project has to be in a ‘just solved’ state, that is, a solution has terminated andno subsequent modifications have been made to the project. The following conditions are notsuitable to create an environment:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5r Grid has changed so project is not consistent with the solution data: backup directoryexists. Re-solve in FloTHERMResidual history does not exist so project is not consistent with solution. Re-solve inFloTHERMProjecthasnotbeentranslatedsoprojectisnotconsistentwithsolution:Tagfiledoes

exist. Re-solve in FloTHERM.

enable the environment to be correctly defined, the FloTHERM project must provide aminimum number of solved variables. The project must have been solved for Temperature,Pressure, Velocities and Heat Flux.

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERMRegionsDisallowed

.Thefollowingconfigurations are disallowed:

Collapsed regions cannot be used to create environment, they must be 3D.

User Guide, V9.1199

Building the Geometry

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ating Zoom-In Projects

Regions on the edge of a grid space are not valid. That is, if a region is at a localized

boundary or if it is at the solution domain boundary it cannot be used to create

.

,amessageisissuedifthenumberof cell faces on the six region sides exceeds 10,000. If this value is exceeded, the zoom-inproject will still be created, but processing will be slow.

stop the warning message, set a value higher than the number of cells required in theFLOMAXZOOMINCELLS environment variable.

a limited number of FloTHERM object types are allowed to exist in a region that is to beselectedtodefineazoom-inmodel.Thisistoensuretheautomatedgriddefinitionandsolutioncontrol capabilities are never compromised.

-5 lists the allowed geometry criteria.://www.51wendang.com/doc/d2e52c141054f5479dae40c5par5-5. Allowed Geometry Criteria

[此处图片未下载成功]

200FloTHERM User Guide, V9.1

Building the Geometry

/Exporting Geometry

5-5. Allowed Geometry Criteria

/ExportingGeometry

assemblies can be imported into, or exported from, FloTHERM in a variety offormats and methods. This section introduces the file formats and access using the ProjectManager.

topics covered in this section are:

to Importing AssembliesMentor Graphics File FormatsMCAD File FormatsECAD File Formats

FloTHERM Geometry

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Mentor Graphics Expedition Enterprise Flow and Zuken CR5000 Board Designer. Forfullinformationonthedirectinterfaces,seeImportingDesignsandExportingDesignsinFloTHERM User Guide, V9.1201

Building the Geometry

/Exporthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing Geometry

the Project Manager data tree, right-click the assembly to hold the imported geometry andchoose the file type from theFormat submenu (Figure5-47).

5-47. Format Submenu

selecting the format type, a standard file selection dialog appears for you to choose thename and location of the file required. After importing the file, a new assembly containing theimported geometry is added to the data tree below the selected parent assembly.The format options are:

Detect File automatically determines the file type on import.

PDML is only issued on special license and is not required for the normalrunning of FloTHERM. Please contact your FloTHERM supplier if you need this

.PDMLcallsafilebrowsertoselectandimportFloTHERMprojectsexportedinPDML format. See“PDML Files” on page204.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ctandimportIDFVersion2.0(*.liband*.brd)or3.0(*.lib and*.brd or*.emp and*.emn) files. See“ECAD File Formats” on page207.IDF Library Link launches file browsers to select and import IDF Version 2.0 (*.liband*.brd) or 3.0 (*.lib and*.brd or*.emp and*.emn) files in sequence and then callstheLibrarySelectordialogtochoosethelibrariestobecross-referencedwithavailableComponent Package parts or assemblies.

,

[此处图片未下载成功]

see“ImportingIDFGeometryUsingLibraryLinks”onpage209.

FloTHERM User Guide, V9.1

Building the Geometry

/Exporting Geometry

.4 File calls a file browser to select and import FloTHERM V1.4*.lib or*.LIB files.See“Version 1.4 Library Files” on page205.

/V3ProjectcallsafilebrowsertoselectandimportaFloTHERMversion2.xor3.xproject.

calls a file browser to select and load a Geometry XML file (to import a ProjectXMhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5L file, see“Importing/Exporting Projects” on page87). By default, the file browserlists all files. See“XML Files” on page205.

calls a file browser to select and load an ACIS*.sat file. After choosing the file,FloMCAD Bridge starts up and if the load is successful, displays the loaded MCADassembly ready for conversion to FloTHERM geometry and transfer to the project. SeeImporting MCAD Files in theFloTHERM FloMCAD Bridge User Guide.

that for older*.sat files with no unit definition, you are prompted to choose theunits FloTHERM is to use to model the MCAD assembly.

calls a file browser to select and load an IGES*.igs file. After choosing the file,FloMCAD Bridge starts up and if the load is successful, displays the loaded MCADassembly ready for conversion to FloTHERM geometry and transfer to the project. SeeImporting MCAD Files in theFloTHERM FloMCAD Bridge User Guide.

callshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 a file browser to select and load an ASCII STL*.stl file. As*.stl files do notsupport unit definition, after confirming the file selection, you are prompted to choosethe units used to model the MCAD assembly.

the load is successful, FloMCAD Bridge displays the loaded MCAD assembly readyfor conversion to FloTHERM geometry and transfer to the project. SeeImportingMCAD Files in theFloTHERM FloMCAD Bridge User Guide.

[此处图片未下载成功]

[此处图片未下载成功]

Graphics files can be imported in five different formats:

Design Modeling Language (PDML)ASCII PDML

version 3 assembly filesFloTHERM version 1.4 library filesXML (conforming to theXML Schema)

User Guide, V9.1203

Building the Geometry

/Exporting Geometry

files are used to transfer information to and from thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he external file system for either thecomplete project or any selected assembly in the Project Manager. By default, PDML files arebinary;however,ASCIIaccesscanbemadeavailablewithaspeciallicensekey.Pleasecontactyour local FloTHERM supplier for more information on the ASCII access license key ifrequired.

Graphics uses PDML files to provide library objects for your modeling; some of theseare available through starter libraries. Web macros are available from the FloTHERM sectionon SupportNet: select the Downloads tab and then click “FloTHERM Web Parts” listed underRelated Downloads. And other Mentor Graphics products, such as FloTHERM PACK andFloEDA Bridge, provide models for FloTHERM using PDML.

_cl

quickly convert external file format data to PDML for subsequent import into FloTHERMyou can use theflogate_cl utility. This is particularly useful when creating a number of libraryhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5files for distribution to other FloTHERM users.

_cl can convert the following file types into ASCII or binary PDML:

PDMLIDF

Library LinkPDMLV1.4 FileV2/V3 Project

(conforming to theXML Schema)

_cl

_cl,openacommandwindowandsettheFloTHERMenvironmentbytypingandentering:

&lt;installdir&gt;_v91-env

type theflogate_cl command line. The full format is:

_cl -i &lt;format&gt; -r &lt;file&gt; [ -l &lt;file&gt; ] -o &lt;format&gt; -w &lt;file&gt;

:

FloTHERM User Guide, V9.1

Building the Geometry

/Exporting Geometry

-i &lt;format&gt; is the input file format (one of the options listed in the previous paragraph)-r &lt;file&gt; is the name of file (or IDF board file) to be read-l &lt;library&gt; ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s name of IDF library (IDF read only)

-o &lt;format&gt; is the name of output format (PDML or ASCII PDML)-w &lt;file&gt; is the name of file to output

no arguments are included in the command line then help text is displayed, listing all thecommand options.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Example

convert an ASCII PDML file to a binary one:

_cl -i &quot;ASCII PDML&quot; -r ascii_pdml.pdml -o PDML -w binary_pdml.pdml

would allow an ASCII PDML file that has been written by an external source or macro to

[此处图片未下载成功]

be converted into the binary form for license-free import into FloTHERM.

AssemblyFiles

version 3*.assembly files are assemblies of primitives and SmartParts exportedfrom FloTHERM 3.x using theSelect Assembly dialog.

importing the assembly files into FloTHERM data tree, the resuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ltant geometry can bedragged or copied into the Library Manager for use in the version 9.1 library.

.4LibraryFiles

.libfileareaddedtotheselectedassembly.Theimporteditemsarenamed as the library file without the.lib extension and appended with a sequence number.For further information on file conversion details, contact Mentor Graphics customer support.

.Therearetwo XML file types:

User Guide, V9.1

Building the Geometry

/Exporting Geometry

XML files, which contain geometry and solution domain information. Usingthe GUI, these files are imported using:

&gt; Import Project &gt; XML, or

right-clicking on the project node in the Project Manager tree and selectingImport Project&gt;XML.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5metry XML files, which only contain geometry information. Using the GUI, thesefiles are imported using:

&gt; Import Assembly &gt; XML, or

right-clicking on any Assembly in the Project Manager tree and selectingImport&gt;XML

-draggingtheXMLfilefromaWindowsExplorerwindow.NotethatifyousimplydragtheXMLfileit will move from the Explorer window, although it can be dragged (or Ctrl-dragged)backfromthelibrary;thatis,thebehavioristhesameasExplorer-to-Explorermoveandcopy.

name defined within the the XML file, for example:

- &lt;xml_case&gt;

&lt;name&gt;Heatsink&lt;/name&gt;...

&lt;/xml_case&gt;

used to name the FloTHERM project/assembly that is created from the file.

alternative to importing an XML file directly using the GUI, is to convert the XML file toPDML format using theflogate_cl utilithttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5y, for example:

_cl -i XML -r my_example.xml -o PDML -w my_example.pdml

“CreatingPDMLFilesUsingflogate_cl”onpage204.TheresultantPDMLfilecanthenbeimported into FloTHERM.

documentation for the XML Schema is provided in the-Documentationfolder:

&lt;install_dir&gt;_v91-Documentation

top-level file isxml_case.html, from which all elements are viewable via links.

FloTHERM User Guide, V9.1

Building the Geometry

/Exporting Geometry

(ahigh-leveloverviewwhichsupplementsthe detailed schema documentation) is provided in the appendix“XML-Supported Attributesand Objects” on page583.

examples of XML files are provided in theexamples folder:

&lt;install_dir&gt;_v91

.xml is a ghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5eometry XML file specifying a simple 20 mm&#215; 10 mm&#215; 1 mm aluminiumblock.

-Fins.xml is a geometry XML file specifying a 50-folded-fin heatsink on a 40 mm&#215; 40mm&#215; 2.5 mm base.

FloMCAD Bridge, the SAT file geometry (all 2D and 3D objects) can be simplified andimported as basic FloTHERM primitives (such as cuboids or prisms) or SmartParts (such asenclosure, perforated plate, and so on).

via FloMCAD Bridge will (in most cases) require user intervention to perform thesimplifications and dissection into FloTHERM objects.To import geometry from MCAD generated file formats:

.IntheProjectManagerdatatreeright-clicktheassemblytoholdtheimportedgeometry,and then choose the format type of the file to be imported from the MCAD filesubmenus to display a file browser.2.Select the MCAD file to be imported and the FloMCAD Bridge window appearsautomatically loading ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nd displaying the imported file.3.SimplifyanddecomposetheMCADAssemblyintoFloTHERMgeometry,andtransferto the FloTHERM project below the selected assembly.For a description of the MCAD options, seeFile Formats Supported in theFloTHERMFloMCAD Bridge User Guide

Geometry can be imported into FloTHERM by reading IDF board description files orusing one of the supplied direct interfaces. The Project Manager can import IDF data, whilstFloEDA Bridge offers direct interfacing in addition to a more advanced IDF import capability.This section describes the file interface via the Project Manager. For information on thesupplied direct interfaces via FloEDA Bridge, seeEDA Board Designs in theFloTHERM

User Guide, V9.1

Building the Geometry

/Exporting Geometry

Bridge User Guide. For an overview of running FloEDA Bridge, seeBasic Procedurein theFloTHERMhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 FloEDA Bridge User Guide.

.0and3.0BoardDescriptionFiles

IDF description of a board is not just a single file. It consists of two files:

.A board file (.brd or.emn) to describe:

shape of the board.

and orientations for mechanical and electrical components.Positions of drilled holes (vias).

restrictions on component placement, and so on.

.A library file (.lib or.emp) which contains geometrical and (optionally) thermal detailsof all the components. The following is an example of component definition with theoptional thermal details highlighted in the IDF library file:

.ELECTRICAL

EPF8282A_LCC__5000_7.4_22.4_ THOU 150.00000 -650.0000 -625.0000 0.00000 650.0000 -625.0000 0.00000 650.0000 625.0000 0.00000 -650.0000 625.0000 0.00000 -650.0000 -625.0000 0.0000PROP POWER_OPR 5000PROP THETA_JC 22.4PROP THETA_JB 7.4.END_ELECTRICAL://www.51wendang.com/doc/d2e52c141054f5479dae40c5arthat both thermal resistances THETA_JC and THETA_JB must be present.FloTHERM must read in both files to combine their specifications and produce an assemblycomprising both geometry and thermal data (if available in the original IDF files).

import geometry from IDF version 2.0 and 3.0 file formats:

.Configure your IDF preferences using theIDF Preferences dialog. To call theIDFPreferencesdialog,selecttheassemblytoreceivethegeometry,right-clickandchooseCon gure IDF from the popup menu.2.With the assembly still selected in the data tree, right-click and chooseImport &gt; IDFfrom theAssembly popup menu to display a file http://www.51wendang.coming the browser, find the board description you wish to import:

.brd file for IDF V2.0

User Guide, V9.1

Building the Geometry

/Exporting Geometry

A.lib or.emn file for IDF V3.0

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parand then press Open. The browser remains open, now select the geometrical file:

.lib file if a.brd file was the first choiceA.emp file if a.emn file was the first choice

importing the file, the geometry appears in the data tree below the selectedassembly.

data imported into FloTHERM may be inspected and edited using the software as normal.ForIDFfiles,thePCBconstructiondialogcanbeusedtoinspectandedittheboarddimensions,composition and component details.

provides a link from the IDF board layout information file to libraries of CompactPackage SmartParts or assemblies. Using the IDF Library Link, when an IDF file is imported,the PCB SmartPart is created and then the component Part Names it contains are cross-referencedagainstdesignatedlibraries.Wherematchesarefound,thelibraryCompactPackageSmartPart or assembly with thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 same name is copied into the FloTHERM model located at theidentical position and orientation to the equivalent component in the IDF file. If no Part Namematches are found, then a simple PCB SmartPart Component is created.

import geometry using library links follow the same procedure as for“Importing IDFs” onpage208, but chooseImport &gt; IDF Library Link from the popupAssembly Menu and inaddition to selecting the ECAD files, use theLibrary Selector dialog to choose the libraries tobe searched.

access:PM Assembly Menu &gt; Configure IDF

this dialog to set up your preferences for the IDF file conversion.

the default conductivity of the board or package.Zero Thickness

the board or package is imported with a zero thickness, this option provides a default value.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parFloTHERM User Guide, V9.1

Building the Geometry

/Exporting Geometry

Filter

theFilter On check-box if you want small components filtered out. You can specifythe maximum width/length (X/Y) and maximum height (Z) below which the components willbe http://www.51wendang.component

(availableonlyinIDF3.0)files will be accounted for in the physical height assigned to the cuboids representing themechanical and electrical parts.

switch ensures that the names of the imported data will use the followingconvention:

IDF file name is assigned to the geometry objectThe assembly is namedidfboard_idThe PCB SmartPart is named board_idMechanical components are named:geometry_id_part_id_package_index

_index is the rank of the package in the input file.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arLibrarySelectorDialog

access:PM Assembly Menu &gt; Import &gt; IDF Library Link

this dialog to choose the libraries to be searched for cross-reference links when importingECAD IDF files.

Libraries List

the libraries designated for searching are listed in theSelected Libraries list.To add a library to this list, select the library in the data tree on the right (expanding wherenecessary) then click

remove a library from the list, select it in the list and then click

[此处图片未下载成功]

either

[此处图片未下载成功]

infileformatorusingoneofthesupplied direct interfaces. This section describes the file interface via the Project Manager. For

FloTHERM User Guide, V9.1

Building the Geometry

/Exporting Geometry

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arinformation on the supplied interfaces via FloEDA Bridge, seeExporting Designs in theFloTHERM FloEDA Bridge User Guide.

export FloTHERM geometry, in the Project Manager data tree, right click the assemblycontaining the geometry to be exported, then choose the format type required from the sub-menus.

, you can chooseExport Assembly from theProjectmenu.

selecting the format type a file browser appears so you can select the destination for theoutput file.

that if any additional user intervention is required, for example, an IGES flavour

, then theExport IGES dialog will be displayed before the data is written to disk.The format options are:

Assembly displays submenus to call a file browser to select destinations for avariety of file format options.

PDML is not required for the normal rhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5unning of FloTHERM and is only issuedon special license. Please contact your FloTHERM supplier if you need this format.PDMLexportstheselectedassemblygeometryinaPDMLformatfile.Thenameoftheproject, with a.pdml extension, is used as the default file name. See“PDML Files” onpage204

:Theflogate_clcommandlineutilityisalsoavailableforcreatingPDMLfiles.See“Creating PDML Files Using flogate_cl” on page204.

exports an assembly as an ACIS

[此处图片未下载成功]

*.sat file. It displays a file browser to choose itsdestination.

User Guide, V9.1211

Building the Geometry

/Exporting Geometry

selecting the version required, theExport SAT dialog is called, allowing you to

[此处图片未下载成功]

choose how and where you want the file to be saved.

[此处图片未下载成功]

[此处图片未下载成功]

IGES calls a file browser to save an MCAD assembly as a

[此处图片未下载成功http://www.51wendang.com/doc/d2e52c141054f5479dae40c5]

*.igs format file.212FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

6

and three dimensional picture views of the geometry under construction can be displayedusing the Drawing Board. This chapter describes how you can manipulate the Drawing Boardpicture view and change the display options.

the Drawing Board to check the location of the geometry and the density of the solutiongrid in 2D or 3D views of the model. The geometry can also be moved or resized by draggingboundaries across a 2D workplane.

,selectinthesidebuttonbarofanotherFloTHERMapplication

[此处图片未下载成功]

window.

[此处图片未下载成功]

Figure6-1 shows the main components of the window, note that the right-hand-sidetool panel is optional and may not be visible on start-up.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5THERM User Guide, V9.1213

Viewing the Geometry StructureDrawing Board Window

6-1. Main Components of the Drawing Board

inGetting Started with FloTHERM, but the display area is dedicated to viewing theshape of the project geometry. The main features specific to the Drawing Board are:

Display Area for displaying and editing geometryPicture Mode for swapping between one and four picture displayMouse Mode for toggling between pick and view manipulation

Selection Mode for changing the geometry types available for selection

[此处图片未下载成功]

New Object Palette, for creating new objects

Board Menu Bar for displaying lists of commands

Board Toolbar for shortcut buttons to commonly used Drawing Boardcommands

FloTHERM User Guide, V9.1://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Viewing the Geometry Structure

Board Window

-up,thedatadisplayareacontainsfourviewsoftheassembly.Thefourviewsdefaulttothird angle projection and display the assembly from the following directions:

View 0 (top left): 2D Y View 1(top right): 3D View 2 (bottom left): 2D Z View 3 (bottom right): 2D X

D view from the positive Y direction3D view from positive X, Y and Z directions2D view from the positive Z direction2D from the positive X direction

default views can be changed using the mouse (seeMouse Mode), theView Menu, andthe keyboard.

theF key to change the window layout to first angle projection:

View 0: 2D X View 1: 2D Z View 2: 3D View 3: 2D Y

to return to third angle projection.

, to change a single view, click the viewhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5, then use one of the following keycombinations:

I X Shift-X Y Shift-Y Z Shift-Z

D (3D view from positive X, Y and Z directions)2D  X (2D view from the positive X direction)2D -X (2D view from the negative X direction)2D  Y (2D view from the positive Y direction)2D -Y (2D view from the negative Y direction)2D  Z (2D view from the positive Z direction)2D -Z (2D view from the negative Z direction)

D view from the positive X direction2D view from the positive Z direction3D view from positive X, Y and Z directions2D from the positive Y direction

User Guide, V9.1215

Viewing the Geometry StructureDrawing Board Window

default, each picture contains all the geometry on display in the Project Manager data tree.Further additions such as the solution domain, solution or snap grids, system and object axes,monitor points, initial subdomains, regions, flow/sourhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ce directions, gravity and solar directionvectors are available, but their display options must be activated in theDrawing Board PictureDialog.

picture can be annotated individually with comment text and pointers usingTools&gt;Annotations and entering text or selecting pointers in theAnnotation Dialog.

Drawing Board uses colors (Table6-1) to help distinguish between objects on display.

6-1. Color Conventions

[此处图片未下载成功]

TheActivePicture

.Allmodelconstructionoperationsareappliedto the active picture, and any visible changes made are then copied to all other pictures. Tomakeapictureactive,left-clickit,anditbecomeshighlightedbyaredborder.Alternatively,theTab key activates the different pictures in sequence, stepping from one picture to the next. Thelatter method will not affect which items are currently selected.://www.51wendang.com/doc/d2e52c141054f5479dae40c5r

detailed views, a single picture can be enlarged to fill the display area. If you are in thedefault four picture mode and wish to expand a particular view, then left-click the view and

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

. Press to return to the four picture mode. Note that, when in single picture mode,theTab key toggles through all the different views, displaying each in turn.

the Drawing Board, the mouse has two different operating modes for picking geometry andmanipulating the view. To swap between the two modes, toggle the mouse mode button in theleft toolbar:

for picking objects of the type selected inCurrent Selection http://www.51wendang.come for changing the view when dragging the mouse across the picture.Alternatively, for a more measured approach, chooseView &gt; Control View,Edithttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 View or Select View to launch the view control dialogs. See“ControlView Dialog” on page245,“View Set Up Dialog” on page247 and“SelectView Dialog” on page

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

243.

,nearthebottomofthewindow(Figure6-2),indicatesthetypeofgeometry that can be selected in a picture when the mouse is in pick mode.

6-2. Current Selection Mode in Drawing Board

Selection Mode can be changed using this button or theSelection Mode popupmenu (Figure6-3) displayed by right-clicking an empty location in the graphics display area.Both menus contain the same geometry options.

6-3. Selection Mode Menu

User Guide, V9.1217

Viewing the Geometry StructureDrawing Board Window

[此处图片未下载成功]

[此处图片未下载成功]

The geometry type chosen from the mhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5enu can be selected in the picture when the mouse is inpick mode (that is, when is displayed in the left toolbar). Note that geometry cannot beselected when the mouse is in view manipulation mode (that is, is displayed in the lefttoolbar). Toggle or press F9 to choose pick mode.

make any changes to an object in the Drawing Board, the object must first be selected.

,andtheCurrentSelectionModesettothetypeofgeometrytobepicked. Objects are highlighted in red when selected.

select a single object:

-click the object.

To select multiple selections of objects of the same type:

-left-click each object, or

-band the objects. That is, point to a position outside all the objects, thenpress and hold the left mouse button and drag the pointer until all the requiredobjects are touchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hed by the dashed selection border.

select objects in an assembly-type object, for example an assembly, a heat pipe, anetwork assembly, a network node, a recirculation device:

the assembly-type object in the Program Manager tree. The object may beexpandedorcontractedinthetree,ineithercaseallchidrenoftheobjectareselectedandcanbemovedasasingleentity;theobject’sboundingbox.Note,however,thatyou cannot resize a selected assembly-type object.

selected, you can edit the geometry by dragging the object boundaries (see“Moving andResizing Objects” on page219) or using the popup context sensitive menus (see“ContextSensitive Menus” on page223).

you are unable to select the required object, it may be overlapped by another object of thesametype.Inthiscasetheprogramalwaysselectstheclosestobject.Ifthisisthecase,toselectthe object either change the view or use the Project Manager. See“Inhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5teraction with the ProjectManager” on page241.

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

(whichincludeparts,assemblies,cutoutsoverall,andsubdomains)areselected, their edges are highlighted in red, and their bounding box is drawn in the workplane.Objects that can be re-sized using the mouse have drag handles on their selection boundaries(Table6-4).

6-4. Moving and Resizing the Mouse

,pointonthelinebetweenthehandlesanddrag.Alternatively,pointnearthehandles with the middle mouse button and drag. This latter option has the advantage that theobjectwillnotbeinadvertentlyre-sizedduringmovement.Ifyouareusingatwo-buttonmouse,simultaneously press the left and right buttons.Toresize an object, point at a handle and drag.

position of the cursor during mouse opehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rations is displayed at the bottom of the window.Note that, re-circulation devices and compact components cannot be re-sized by dragging. Re-circulation devices cannot be re-sized in this way because the supplies and extracts are fixedlocations. Similarly, compact components have thermal resistances which are specific to aparticular physical package geometry, and so would have no relevance if the SmartPart was re-sizedinthisway.Toresizetheobjectsparametrically,see“UsingtheConstructionDialogs”onpage220.

geometry parts and re-size directions allowed are indicated inTable6-2.

6-2. Object Axes Directions

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1219

Viewing the Geometry StructureDrawing Board Window

6-2. Object Axes Directions

objects can be re-sized in the directions other than the collapsed direction.Also, when dragging a SmartPart boundary, http://www.51wendang.com/doc/d2e52c141054f5479dae40c5if the requested resize will result in the SmartPartbecoming inconsistent, then the resize will be rejected. For example, making an enclosure toosmall so that its walls overlap. Setting thinner walls will allow smaller enclosures.

, when the resizing is rejected, the SmartPart moves. This occurs when draggingfrom the objects’s low co-ordinate direction because you are changing the location of its origin.

amount moved or resized is indicated in the message bar at the bottom of the window.

can also be edited parametrically in the Drawing Board using the location and

(right-clickobjectandchooseLocationandConstructionfromthepopup

[此处图片未下载成功]

220FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

). If you just want to move the object a certaihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n distance, then useEdit &gt; Move to launchtheMove Selected Dialog.

,lineorplane,thencreateadatum reference using theDrawing Board Datum Dialog. You can then:

about a datum pointAlign or rotate about a datum lineAlign, mirror or rotate about a plane

the Drawing Board, you can copy geometry in four ways:

and Paste, which operates in two stages:

an object into the paste buffer usingEdit &gt; Copy

an object from the paste buffer into the current selected assembly and co-located with the original object usingEdit &gt; Paste. If you wish to paste the objectinto a different assembly, first select the assembly in the Project Manager.

object usingTools &gt; Mirror and a datum plane, see“Mirror” on page235.Pattern, to create a unidirectihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5onal or bidirectional pattern of the selected object usingEdit &gt; Pattern to launch thePattern Creation Dialog.

Drag by holding down Ctrl and the left-mouse button and dragging the selectedobjecttoitsnewlocation.NotethatitisimportanttoreleasethemousebuttonbeforetheCtrl key, otherwise the copy will not be performed.

[此处图片未下载成功]

[此处图片未下载成功]

from different assemblies are copied into the current assembly on display, that is theExpandingCollapsed(BoundingBox)Assemblies

the object you want to change is hidden within the green bounding box of a sub-assembly,then you can expand this wireframe box to display the individual assembly component parts.By double-clicking on this bounding box, you expand the sub-assembly to expose itscomponent parts which you can then edit (Figure6-5).

User Guide, V9.1221

Viewing the Geometry StructureDrawing Board Window

[此处图片未下载成功]://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

Bounding Box changesto Wire Frame

that you cannot collapse assemblies in the Drawing Board. If you wish to return to thebounding box representation, collapse the assembly data tree in the Project Manager.For more information on collapsing the data tree, see

[此处图片未下载成功]

“Tree Expansion and Collapse”

[此处图片未下载成功]

on

[此处图片未下载成功]

page37.

‘Topping’

the view of the geometry is cluttered, you can restrict the view to a selected object using“View Menu” on page231.

a model containing several assemblies including one representing the electronics,which contains further sub-assemblies for the electronic components. The procedure fortraversing assembly levels, using View &gt; Top (or) andView &gt; Up to Parent (or), isillustrated inFigure6-6.

6-6. Topping

FloTHERM User Guide, V9.1

Viewing the Gehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ometry Structure

Board Window

context sensitive object menus are used to refine the details of location, shape and

.Selecttheobject,thenright-clicktodisplayamenuwithediting entries available to that object, as shown inFigure6-7 for the menu for a cuboid.

6-7. Cuboid Menu

that, if nothing is selected when the mouse is right-clicked in the display area,theSelection Mode popup menu appears (see“Current Selection Mode” on page217).

possible menu commands are as follows but not all will necessarily be available:

calls theAmbient dialog, to choose the ambient condition type for theselected cutout. If the attribute does not exist, then use the dialog to call theAmbientAttributedialog to create a new ambient condition type.

calls the apprhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5opriate SmartPart construction dialog or window to definethe object details.

calls the“Boundary Face Types Dialog” on page104 to specify the solutiondomain and selected cutout boundaries.

calls theFluid dialog, to choose the fluid type for the selected region. If the

,thenusethedialogtocalltheFluidPropertydialogtocreateit.Grid Constraints calls theGrid Constraintdialog to choose the minimum grid

.Iftheconstraintdoesnotexist,thenusethedialogtocalltheGrid Constraint Modelingdialog, to create it.

calls eitherEdit Primitivedialog orEdit SmartPartdialog to locate anobject.

calls theMaterial dialog to choose the material type for the objects. If thematerial does not exist, then use the dialog to call the

[此处图片未下载成功]

Material Propertydialog tocreate it.

User Guihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5de, V9.1

Viewing the Geometry StructureDrawing Board Window

calls the“Edit Notes Dialog” on page77 to attach construction reminders to theobject.

calls theRadiation dialog so you can choose the radiation for the selectedobject. If the radiation type does not exist, then use the dialog to call theRadiationAttributedialog to create it.

calls theResistance dialog to choose the resistance attribute type for theselected object. If the resistance does not exist, then you can use theResistancedialogto callResistance Attributedialog to create it.

calls the“Edit Monitor Point Dialog” on page327, so you can choose a cross-hair, sphere or cube for the representation of a monitor point in the Drawing Boardapplication window.

calls theSource dialog to choose the source attribute for the selected source. Ifthesourcetypedoesnotexist,thenusethedialogtocallthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5heSourceAttributedialogtocreate it.

calls the Surface Finish dialog to choose the surface for the object. If the

,thenusethedialogtocalltheSurfaceAttributedialogtocreateit.

Exchange calls theSurface Exchange dialog to set the surface exchange forthe object. If the attribute does not exist, then use the dialog to call theSurfaceExchange Attributedialog to create it.

calls the Thermal dialog so you can choose the thermal attributes for theselected object. If the attribute does not exist, then you can call theThermal Attributedialog to create it.

the New Object Palette to create new geometry. The New Object Palette is a tool panelcontaining selection buttons for all the possible geometry types.

create a new object, click its type button in the New Object Palette, thenhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 drag the cursoracross the required position in the display. For the full procedure, see“Drawing NewGeometry” on page225

available geometry types are shown inFigure6-8.

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

6-8. New Object Palette

,useoneofthefollowingmethodstodisplayit:click

,F7 or chooseNew in theEdit menu. The New Object palette then appears below the topmenu and shortcut button bar to the right of the display area.

the mouse pointer pauses over a button in the palette, a ToolTip will appear to indicatethe geometry represented.

,firstchoosetheworkplaneviewbeforeselectingthegeometrytypeanddrawing the object as follows:

.Activatetherequiredpicture.Ifthefourviewsareondisplay,clickonthepictureyouwant to draw on.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 If in single picture mode, use theTab key to cycle through the viewsuntil you reach the view you want.2.CheckCurrentAssembly.Thenewobjectwillbecomepartofthecurrentassembly.Soto check which assembly has been chosen, useView &gt; Top.The Drawing Board displays the current assembly.

.

[此处图片未下载成功]

Change the Current Assembly.In a complicated model it may be helpful to focusattention on the group of objects being worked on. This is done by ‘topping’ the

User Guide, V9.1225

Viewing the Geometry StructureDrawing Board Window

of interest which simplifies the view in both the Project Manager and theDrawing Board by only showing the ‘topped’ assembly and its children. Select theassembly of interest in the Project Manager and chooseView &gt; Top.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

4.Select and Draw Object Type. Ensure you hahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ve nothing selected in the data area byclicking a free area of the display, then in the New Object Palette, click on the icon ofthe object type you need.After the cursor changes to cross-wires, drag the mouse pointer across the region of thedisplay that the object is to occupy. On release of the mouse-button, the new object iscreated.

,theobjectwillnotbedisplayedintheDrawingBoard.Itwill,however,beaddedSizeofThirdDimension

Dworkplane,thethirddimensionofa3Dobjectis created as the average of the two drawn dimensions.

(Planar)Objects

that all collapsed objects are drawn collapsed normal to the workplane.

created in a hidden assembly are not displayed.

SmartParts are created in the Drawing Board, their visual representation depends on theVisualize SmartParts setting in the“http://www.51wendang.com/doc/d2e52c141054f5479dae40c5User Preferences Dialog” on page83, called byEdit &gt;Preferences. IfVisualize SmartParts is set toBounding Box, then only an object’s boundingboxisvisibleasitisdrawn.IfitissettoPrimitives,thentheSmartPartisshownasacollectionof primitive parts.

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

6-9. Visualizing the Geometry

compositeBounding box

you have drawn out the bounding box of a SmartPart, you can display its composite parts bydouble-clicking it. To return to the bounding box representation, double-click it again.Similarly the view of an assembly can be expanded to show its component parts by double-clickingonit.Notethatasexpandedassembliesnolongerhavetheirboundariesondisplay,youcannot double-click back. So to collapse the view of assemblies, you must use the ProjectManager.Related Topics

“Changing the View” on pahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ge242“Moving Objects” on page256

“Drawing Board Datum Dialog” on page257“Project Manager Window” on page35“Link Hierarchy” on page85“Measuring Distances” on page261

“Adding Annotations to the Screen Display” on page264

the Drawing Board menu bar to execute Drawing Board operations either directly or bylaunching a dialog.

6-3. Drawing Board Menu Bar Contents

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1227

Viewing the Geometry StructureDrawing Board Window

6-3. Drawing Board Menu Bar Contents

.

6-4. Drawing Board Project Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

EditMenu

the Drawing BoardEdit menu to change the model set up. You can create new objecthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s,change and replicate existing objects as well as set up preferences.

[此处图片未下载成功]

Table 6-5. Drawing Board Edit Menu Contents

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

6-5. Drawing Board Edit Menu Contents

User Guide, V9.1229

[此处图片未下载成功]

Viewing the Geometry StructureDrawing Board Window

6-5. Drawing Board Edit Menu Contents

[此处图片未下载成功]

Figure 6-10. Pattern Creation

[此处图片未下载成功]

230FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

the Drawing BoardView menu to change which assembly and components are displayedand also the angle from which they are viewed.

6-6. Drawing Board View Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

Figure 6-11. View Top Displays Only the Currhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ently Selected Object

User Guide, V9.1231

Viewing the Geometry StructureDrawing Board Window

6-12. View Up to Parent

Notes

angle of projection view is as follows:

0: 2D Y (2D view from the positive Y direction)View 1: 3D (3D view from positive X, Y and Z directions)View 2: 2D Z (2D view from the positive Z direction)View 3: 2D X (2D view from the positive X direction)

a description of quickly changing the views using hot keys, see“Changing the Angle ofProjection Using the Keyboard” on page215.

Drawing BoardTools menu provides a working tool set.

6-7. Drawing Board Tools Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

232FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

6-7. Drawing Board Tools Menu Contents

[此处图片未下载成功http://www.51wendang.com/doc/d2e52c141054f5479dae40c5]

[此处图片未下载成功]

Usage Notes

6-13. Rotation

point at vertex

information on datums, see the description of the“Drawing Board Datum Dialog” onpage257.

[此处图片未下载成功]

FloTHERM User Guide, V9.1233

Viewing the Geometry StructureDrawing Board Window

6-14. One of Four Drawing Board Views

-Picture ModeFour-Picture Mode

toggling from four to a single picture, the picture displayed is the current selected picture.

Modes

three snap modes are:

to the grid

you move objects, they are drawn towards the snap grid.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Snapping

[此处图片未下载成功]

towardsisnotdisplayed.Todisplaythesnapgrid,useinthe“DrawingBoardPicture Dihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5alog” on page251.

to an object

you move objects, they will snap to the edge of other objects when they are movedwithinacertaintolerance.Ifanobjectisnotwithinthetolerance,themovedobjectwillbe placed as though the snap is off.

off

snap off, you align objects without the help of the snap function.

Plane

origin.

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

6-15. Datum Planes

-Z plane needs Ycoordinate

a datum line you define the intersection of two planes. Note that datum lines and planesmust be orthogonal.

6-16. Datum Lines

line parallel to the Y axis needsX and Z coordinates

datum point is defined by the three http://www.51wendang.com/doc/d2e52c141054f5479dae40c5coordinate fields.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Figure 6-17. Mirror

User Guide, V9.1235

Viewing the Geometry StructureDrawing Board Window

area.

6-8. Drawing Board Geometry Menu Contents

[此处图片未下载成功]

Usage Notes

of SmartParts

example, consider a heat sink decomposed into an assemblage of six primitive parts.

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

6-18. Decompose SmartPart

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

GridMenu

the Drawing BoardGrid menu to refine the grid.://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar6-9. Drawing Board Grid Menu Contents

User Guide, V9.1237

Viewing the Geometry StructureDrawing Board Window

6-19. Grid Inflation

Notes

Inflation

there are no grid constraints attached to the object, then a grid constraint is created and

.Thisconstraintwillbenamedaftertheobjectandhave a minimum of 1 grid cell, extending out 5% of the Low and High coordinate side lengthsas shown inFigure6-19.

,withdefault(no)inflationsettings,isalreadyattachedtoanydirectionoftheselected objectand not attached to any other non-selected object, then the grid constraint willbe updated to set inflation 5% of the Low and High coordinate side lengths as shown inFigure6-19.

,withnoinflationsettings,isalreadyattachedtoanydirectionoftheselectedobjectand also attached to other non-shttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5elected objects, then a new grid constraint is created bycopying the attached constraint but changing the inflation setting to 5% of the Low and Highcoordinate side lengths. This new grid constraint will then be attached to the object instead.To reset the inflation settings use the In ation&gt;&gt;button in theGrid Constraint Modelingdialog.

Deflation

-selectedobjects,then

[此处图片未下载成功]

acopyoftheconstraints, but with the inflation cancelled, will be made. The new constraints replace theconstraints for the selected object. The new constraints can be seen in the“Grid ConstraintDialog” on page292 identified by the owning object’s name and a number sequence.

FloTHERM User Guide, V9.1

Viewing the Geometry Structure

Board Window

the Drawing BoardWindow menu to open the supporting application winhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5dows andpackages and display FloTHERM error/warning messages, or refresh the current window.

6-10. Drawing Board Window Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

HelpMenu

-linehelp.(Use the Project ManagerHelp Menuto link to FloTHERM web support.)

6-11. Drawing Board Help Menu Contents

Drawing Board toolbar provides shortcut buttons common menu options,Table6-12summarizes their operation and refers you to the appropriate descriptions.

6-12. Drawing Board Toolbar Buttons

User Guide, V9.1239

Viewing the Geometry StructureDrawing Board Window

[此处图片未下载成功]

Table 6-12. Drawing Board Toolbar Buttons

FloTHERM User Guide, V9.1

Viewing the Geometry StructureDrawing Board WindowInteractionwiththehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ProjectManager

is close interaction between the Drawing Board and the Project Manager windows. TheDrawingBoarddisplaystheassemblyondisplayintheProjectManager.Thewindowsmayberesized so that both are comfortably displayed at the same time, seeFigure6-20.

6-20. Interaction with Project Manager

an object in the Project Manager also selects it in the Drawing Board, and vice versa.This makes it easy to select objects that are in a cluttered region or hidden in the DrawingBoard. Selection of an object in the Drawing board will scroll it into view in the Project

. When more than one object is selected in the Drawing Board, the first will be placedat the top of the view in the Project Manager. You may need to scroll down the view in theProject Manager to see the others.

that, ifLink Hierarchy is set in the“User Preferences Dialog” on page83, then the

://www.51wendang.com/doc/d2e52c141054f5479dae40c5eeexpansionsalsomatchthedisplayintheDrawingBoard(thatis,collapsedassemblies indicated by ‘ ’ in the Project Manager are displayed as green wireframe boxes inthe Drawing Board pictures). TheUser Preferencesdialog is launched byEdit &gt; Preferences.The display relationship between the two windows, for an assembly containing two cuboids, isillustrated in

[此处图片未下载成功]

Figure6-21.

User Guide, V9.1241

Viewing the Geometry Structure

the View

6-21. Display Relationship between Two Windows

you wish to break this tree interaction between the two displays, then switch off theLinkHierarchy option in the User Preferencesdialog.

views of the geometry structure can be quickly changed using the first and third angle ofprojectionkeys(FandTonthekeyboardrespectively).See“ChangingtheAngleofProjectionUsing the Keyboard” on page215.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing the mouse in view manipulation mode, you can dynamically drag the view, see“KeyBoard and Mouse Control” on page246

a more measured approach, click on the picture view to be changed, then use one of thefollowing methods to change the view parametrically:

View &gt; Select View to call the“Select View Dialog” on page243, to choose either astandard or user-defined view.View &gt; Edit View to call the“View Set Up Dialog” on page247, to define the viewparametricallyView &gt; Control View to call the“Control View Dialog” on page245, to change the

by panning with slider bars and zooming or rotating using buttons.

view is obscured at any time, then geometry can be selected and hidden from view. Thegeometry remains active in the project solution, but becomes invisible so not to obstruct theview.

,selectitineitherthe

[此处图片未下载成功]

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arProjectManagerorDrawingBoardandthenchooseoneof the following:

FloTHERM User Guide, V9.1

Viewing the Geometry StructureChanging the View

Geometry &gt; HideF12

selected object is then hidden from view in the Drawing Board and the Visual Editor

windows. In the Project Manager, the object is grayed out to indicate it is a hiddenobject, but it is still selectable.

, while working in the Visual Editor, you can also hide geometry, using F12 or

&gt; Hide Selected Objects. For the Visual Editor, see“Hiding Geometry” on page415.Torevealthehiddenobject,selectitintheProjectManagerdatatreeandthenchooseoneofthefollowing:

Shift-F12Geometry &gt; Reveal

access: DB/MC View &gt; Select View

thisdialog to define the direction from which you wish to view the geometry model.To select ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 view, you can choose from either:

A standard program generated view based on the coordinate direction selected from thepopup list, orYour own preferred and saved user defined view.

can alter the viewpoint repeatedly within a display session. Each time the viewpoint isaltered, the screen is redrawn from the new viewpoint.

you to choose the FloTHERM standard views based on the axis directions as follows:

For a 2D view, select one of the positive or negative axis directions.For a 3D view, select the combination of the positive axis directions ( X, Y, Z).Figure

[此处图片未下载成功]

6-22

[此处图片未下载成功]

provides examples of the 4 Drawing Board views of the same model:  Y,  Z,3D(combined  X, Y, Z) and  X.

User Guide, V9.1243

Viewing the Geometry Structure

the View

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rFigure 6-22. Standard View

, the standard views can be displayed using the hot keys listed inTable6-13.

6-13. Hot Keys

[此处图片未下载成功]

[此处图片未下载成功]

UserDefined

theUser View options which allow you to either:

Select an already existing view, orModifyorcreateanewviewusingtheNeworEditbuttonstolaunchthe“ViewSetUp

” on page247.

a selection list containing all the existing user defined view directions known to theproject, and the following list control buttons:

FloTHERM User Guide, V9.1

Viewing the Geometry StructureChanging the View

New — creates a new user defined view having the current view settings. By default,each view is namedViewn, wheren is the next sequence number.Edit — calls theView Set Up Dialog, so you can change and rename the selected viewdirection.Delete http://www.51wendang.com/doc/d2e52c141054f5479dae40c5— deletes the selected view direction after confirmation of the request.

important part of the functionality of the Drawing Board is the ability to quickly and easilychange your selected viewpoint. Additionally, you are able to recover quickly to a favoredviewpoint by recalling a particular saved view set-up.

basic procedure is to save the current viewpoint from the active window as a new userdefined view. You can then rename the view or update its view set-up parameters as describedin the following sections.

save a new user defined view for the active picture, in theSelect Viewdialog, selectUserDe nedandpressNewtoaddtheviewtothelist.Bydefault,eachnewviewisnamedViewn,where n is the next sequence number.

new view can be recalled at any time and applied to any picture as follows.

select a user defined view, http://www.51wendang.com/doc/d2e52c141054f5479dae40c5click a view in theUser View scroll list and pressAPPLY. Theactive picture is redrawn from the selected viewpoint.

change the user defined view, click the view in theUser View scroll list and pressEdit andchange the settings in theView Set Up Dialog.

access: DB/MC View &gt; Control View

,zoomandrotatetheviewofthegeometrymodel.IntheDrawingBoard,theControl Viewdialog operates on the active picture only.

are three view controls:

UsePanViewwhenthepictureistoolargetofitonthescreenbutyouwanttokeepthe

display scale.

User Guide, V9.1245

Viewing the Geometry Structure

the View

UseZoomViewtoincreaseordecreasethedisplayscale:tozoominondetailsortogeta more general http://www.51wendang.comeRotate View to rotate the picture clockwise or anti-clockwise about thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e coordinate

.

dialog settings are applied dynamically as the sliders are moved or the buttons are pressed.ControlViewDialogSettings

.Twosliderbarsmovetheviewfromlefttoright,andupanddown.Thesliderbarrepresentsthefullextentofthevisualizationdomainwithzeroatitscenterpoint.

or decreases the display scale by the amount you specify. Enter the percentage sizechange you require and then click on  to magnify objects or- to decrease the size of objectsand fit more into the picture. Use multiple presses to continue zooming in or out.

get back to the default scaling, useView &gt; Re t.

the view about the center of the picture between -180 and  180 degrees around the

.Youentertheangleofrotationandtheselecteddirection(clockwiseoranti-clockwise) for the appropriate axis.://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

, you can pan, rotate and zoom the active Drawing Board view using the mouseandthekeyboard.Butnotethatthemousemodemustbeinviewmanipulationmode,thatis,is visible in the left toolbar. If it is not visible, then click to toggle the mouse mode buttonfrom pick mode to view manipulation mode.

you are using a two button mouse, simulate the following references to the middle mousebutton by simultaneously pressing the left and right buttons.

-Left-Click and drag to pan the picture in the direction of the mouse.

FloTHERM User Guide, V9.1

Viewing the Geometry StructureChanging the ViewZooming

Shift-Left-Click and drag the mouse upwards to decrease the size (zoom-out) ordownwards to increase the size (zoom-in).

can also create a rectangular area to zoom in (rubber band zoom) by a Right-Click-Dragover the location you wanhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t to zoom. On release of the button, the view of the selected locationexpands to fill the display area.

-Click-Drag rotates the picture in the direction of the mouse.

access: DB/MC View &gt; Edit View orView &gt; Select View &gt; Edit

thisdialog to accurately define your picture views by either:

Directly changing the current view (when called byView &gt; Edit View), orCreating a view specification (when called by theSelect Viewdialog (View &gt;

&gt; Edit)) which can be later applied using theSelect View Dialog.

dialog is particularly useful for aligning an axis with gravity and centering the view.

[此处图片未下载成功]

[此处图片未下载成功]

ViewSetUpDialogSettings

active when creating or changing a view specification which is to be stored and thenaccessed by the“Select View Dialog” on pagehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5243. The name entered here will appear in theUser View scroll list in theSelect Viewdialogallowing this view to be applied at any time.All Dimensions In

the units of length measurement. All locations are set relative to the model origin.View Up

&gt;EditViewcommand,theorientationofthegeometryonthescreencan be changed by setting the model up-direction using one of two methods:

User Guide, V9.1247

Viewing the Geometry Structure

the View

.Representing the up-direction as a unit vector, with the component displacement

-directionofeachofthe three coordinate axis. The up-direction values range from -1 for vertically

to  1 for vertically upwards.

-23 shows a cuboid drawn in the 2D X view. The view is then changed by

both X and Y to  1 to rotate thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 axes by 45 .

6-23. Rotating a Cuboid in 2D

you change the up-direction, a message indicating the normalized version of thevalues you input is displayed.

.Alternatively, pressAlign with Gravity to set the up-direction to align with the gravity

(set in the“Gravity Dialog” on page133), seeFigure6-24.

6-24. Align with Gravity

you useView &gt; Select View &gt; Editto change a stored view definition, you can only set theup-direction as a unit vector, because you are not changing a current view and, therefore, haveno reference to a gravity direction.

From

[此处图片未下载成功]

Sets the viewpoint (or assumed eye location) with respect to the origin of the solution domain.

[此处图片未下载成功]

View To

called by the View &gt; Edit View command, sets the center of the picture. You can eitherenter the coordinates for the center of thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 view (with respect to the solution domain origin) orpressCenter of Solution to automatically set the center of the solution domain as the center ofthe Drawing Board picture.

FloTHERM User Guide, V9.1

Viewing the Geometry StructureSetting the Display OptionsWhencalledbyView&gt;SelectView&gt;Edittochangeastoredviewdefinition,youcanonlysetthe center of the view by entering the coordinates for the center of the view, as you are notchanging a current view and therefore have no reference to a central solution location.Setting the Up Direction

values you enter for the up direction are normalized to create the unit vector. For example,if x&#180;, y&#180; and z&#180; are the values you enter, then the resultant value for x is given by:

'x=---

[此处图片未下载成功]

x' y

[此处图片未下载成功]

' z'

of Setting Up Direction

two views of a cuboid, shown inFigure6-25 http://www.51wendang.com/doc/d2e52c141054f5479dae40c5andFigure6-26.

6-25. One View of a Cuboid

=0, Y=1.0, Z=0

6-26. Another View of the Same Cuboid But From a Different Direction

=0.4, Y=1.0, Z=0.8x

-25, Y points directly upwards and X and Z are horizontal; inFigure6-26, Y pointsupwards, but X and Z point downwards.

addition to the geometry structure, the Drawing Board displays a workplane and optionalfeaturessuchasthelocationofthesolutiondomain,monitorpointsandregions,axesonobjectsas well as snap and solution grids.

workplane is a 2D reference plane used for manipulating the geometry and displaying asolution or snap grid. The workplane is indicated by a gray boundary, outside the solutiondomain as shown inFigure6-27 for the default four picture layout.

User Guide, V9.1249

Viewing the Geometry Structure

the Display http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Options

6-27. Workplanes

can be seen, each picture has its own workplane, which in 2D views is normal to the view.Geometrycanbedrawn,movedorre-sizedbymovingtheprojectionsofthegeometryontotheworkplane as shown inFigure6-28.

6-28. Workplane Manipulation

, or a solution grid to examine the grid cell distribution. You can also use theDrawingBoard Picturedialog to change the location of the workplane, moving it normal to the plane;this is useful for viewing localized grids that seem to overlap in a particular direction.AdditionalDisplayOptions

[此处图片未下载成功]

Board,

[此处图片未下载成功]

butadditionaloptions(seeFigure6-29)to display features such as the overall solution domain, axes, monitor points, and so on, can beactivated or de-activated.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5r250FloTHERM User Guide, V9.1

Viewing the Geometry StructureSetting the Display OptionsFigure 6-29. Additional Drawing Board Picture Dialog Display Options

access: DB Edit &gt; Modify Picture or

,andtheinformationdisplayed. You can request the display of the overall domain, solver and snap grids, initialsubdomains, axes, monitor points, regions and flow/source direction in all the views, and agravity vector in the 3D view.

Options, including the grid type, and theSnap Grid Size, are retained when theDrawing Board closes, so you do not have to set your personal preferences on entry each time.DrawingBoardPictureDialogSettings

Plane

the workplane used for a selected Drawing Board picture. To set up a workplane:

.Select the appropriate picture view from the popupApphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lies To list. The window

is shown in

[此处图片未下载成功]

Figure

[此处图片未下载成功]

6-30.

User Guide, V9.1251

Viewing the Geometry Structure

the Display Options

6-30. Window Sequence

.Then set the plane direction from the popup, seeFigure6-31.

6-31. Plane Direction Selection

default, the workplane orients towards the low side coordinates of the solution

, as shown inFigure6-32.

6-32. Workplane in Different Positions

general, for grid inspection, the default workplane location will suffice. However, if two ormorelocalizedgridspaces,separatedinspacebut

[此处图片未下载成功]

sitting

[此处图片未下载成功]

behind

[此处图片未下载成功]

eachother,arepresent,thentheprojected grid will give a misleading impression. It is only then that the plane needs to belocated to bisechttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t one of the spaces.

FloTHERM User Guide, V9.1

Viewing the Geometry StructureSetting the Display OptionsTomovetheworkplaneawayfromtheoriginofthemodel,normaltotheplanedirection,enterthe coordinate offset. InFigure6-33, the default workplane has been changed to coincide withthe top of the solution domain by setting the offset to 1.0 (the default domain size).

6-33. Workplane at Top

“Viewing Complicated Grid Patterns” on page255, for an example of moving theworkplane.

.FirstchooseWorkplaneintheSelectionModepopup menu, see“Selecting Objects” on page218, then drag the workplane in the directionnormal to its surface.

reset the workplane to the default location chooseDefault Layout from theViewmenu.Snap Grid

the gap between the snap grid lines used for aligning objects when dragging or drawing inthe Drawing Board. The finer the detailhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 required, the smaller the grid size. You can also set agrid display interval, that is the number of lines to skip before displaying the next grid line. Iftoo fine a grid is set, a warning will be issued, and the grid is not drawn.

current snap functionality is set by the snap button in the Drawing Board left toolbar or byusingTools &gt; Toggle Snap. There are three modes:

to grid

[此处图片未下载成功]

Snap to object

[此处图片未下载成功]

[此处图片未下载成功]

Snap is turned off. Moves are independent of the grid

snapping to the grid, as you draw or drag an object closer to a point on the snap grid, theobject moves automatically to align with the grid.

,asyoudrawordraganobjectclosertoapointonanotherobject,itmoves automatically to align with the other object. If no other object is nearby then the objectwill be sized or positioned as though snap is turned off.://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

[此处图片未下载成功]

FloTHERM User Guide, V9.1253

Viewing the Geometry Structure

the Display Options

-downmenuintheDisplayOptions section of the dialog.

Options

the information types that can be displayed in the workplane by toggling on theappropriate options:

SolutionDomain—theoveralldomainincludinganycutouts.Thecolorrepresentationdepends on the boundary face settings: gray for symmetry, yellow for open.Initial Sub-domains — all initial subdomains (in peach) over which constant initialvalues can be applied.Axes—thesystemcoordinatesaxesdirectiondisplayedatthebottomright-handcornerof the picture.AxesonObjects—thelocalaxesonindividualobjectstoindicatetheirownorientation

may be different to the system axes. The options are:

— on all objects http://www.51wendang.com/doc/d2e52c141054f5479dae40c5(including solution domain and cutouts),Selected — on all selected objects (the default for a new user)None — local axes are not displayed at all.

,theseaxesmaybecomedifficulttoseeoncomplicatedmodels.Soitisadvisabletousethesinglepicturemodeforthispurpose.Forclarity,usetheView &gt; Top command to examine individual objects or assemblies.

[此处图片未下载成功]

Figure6-34 shows the orientation of individual objects is indicated by arrows

on the wire-frame outlines drawn from the object origin.

6-34. Object Orientation

an item is topped, the system axis in the bottom corner of the picture shows the

for the topped item.

Monitor Points — all monitor points below the current assembly.

FloTHERM User Guide, V9.1

Viewing the Geometry StructureSetting the Display Options

Regions — displays all reghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ions below the current assembly.Gravity Vector — an arrow drawn in View 3 to indicate the direction of gravity.Alternatively, Shift-G toggles this gravity vector on and off.Flow/Source Direction— arrows attached to flow or source objects indicating their

directions. Note that the arrow will not appear for sources without an attachedsource attribute

—anarrowshowingthedirectionofshortwavesolarradiationinView3.

Grid

-35.

6-35. Display Grid

selects the type of grid to be displayed over the workplane from the popup menu:

Solver griddisplays the computational cell grid. The solver grid is used to examine the

cell distribution and structure. It displays solid grid lines representing the solutiongridcellfaces.Thehighcellfacelocationsarereportedinthestatusbaratthebotthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5omofthe window as the mouse pointer passes over the grid.

that you can also display the solver grid by pressing ‘g’ in the keyboard.

Snap grid displays the grid lines to which objects are attracted as they are drawn,

or re-sized on the screen when inSnap to Grid mode. It displays dotted

along the snap locations for both axes in the workplane. Selection ofSnap Gridusesthedisplayintervalinputfieldtospecifyadisplayfactor.Thisfactorlimitsthesnapgrid lines to only display every nth grid line starting from the solution domain origin.

grid. If the solver grid is displayed, pressingg will remove it.

obstructed in a particular direction. ConsiderFigure

[此处图片未下载成功]

6-36, which shows three differentlocations for the workplane in a system with two cuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5boids with localized grid constraints.FloTHERM User Guide, V9.1255

Viewing the Geometry Structure

Objects

6-36. Viewing Complicated Grid Patterns

-36 you can see that:

Whentheworkplaneisontheedge(oroutsidethesolutiondomain),thenallgridspacesare projected onto it.Whentheworkplaneisinsidethesolutiondomain,thegridbisectingtheplaneisshown.The workplane can be stepped to the nearest cell center using the ‘&lt;’ and ‘&gt;’ keys.

“SelectingObjects”onpage218,thenuse one of the following methods:

[此处图片未下载成功]

Construction/location dialogs (called from the object’s right-click popup menu),“Move Selected Dialog” on page257, or

[此处图片未下载成功]

Drag the object’s bounding box with the mouse.

modeling objects may be movhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ed by picking an edge of their bounding box and dragging itacross the workplane. The footprint of the object moves across the plane following the mouse.On release of the mouse, the body moves.

6-37. Using the Mouse

position of the cursor during mouse operations is displayed at the bottom of the window.256FloTHERM User Guide, V9.1

Viewing the Geometry StructureMoving ObjectsToavoidaccidentallyresizingsmallobjects,grabtheobjectsusingthemiddlemousebutton(orboth buttons together for a two button mouse). The resize handles are then ignored.

: When an object is moved using the mouse, the original shape of the geometric objectstays drawn until the operation is complete.

a parametric approach, you can use the following methods:

Edit &gt; Move to call the“Move Selected Dialog” on page257.Selectandright-clicktheobjectandchooseLocationfromtheobjectmenutocallEdit

://www.51wendang.com/doc/d2e52c141054f5479dae40c5mitivedialog orEdit SmartPartdialog to define the new location of the object.

object(s) can also be moved to line up with other objects or a reference datum using:

Tools&gt;Aligntocallthe“AlignSelectedDialog”onpage261,toalignanedgeorcenter

the selected geometry with an edge or center of another piece of geometry, or with aDrawing Board datum.

&gt; Datum to call the“Drawing Board Datum Dialog” on page257, to set up a

point for moving geometry.

access: DB Edit &gt; Move

(s)ofgeometryintheDrawingBoardapplicationwindow.If no objects are selected in the picture, then the complete assembly on display is moved.MoveSelectedDialogSettings

Lengths In

the units of length measurement using the popup list.

By

the distance the object is to move along the axes indicated.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

access: DB Tools &gt; Datum

thisdialog to define a datum plane, line or point to aid the construction of geometry.

,youeithercreateanewdatumplane,lineorpointinadditiontothegeometrymodel or select a part (vertex, edge or face) of an already existing geometric object as thedatum.

User Guide, V9.1257

Viewing the Geometry Structure

Objects

one datum is allowed at a time.

Dimensions In

the units of length measurement from the popup.

Geometry

the selection of the current datum using the mouse pointer. It becomes active only aftera plane, line or point is selected in theDatum Type section of the dialog.

pressingSelect Geometry you are prompted to select the point, line or plane in the

://www.51wendang.com/doc/d2e52c141054f5479dae40c5easthecurrentdatum.Afteryouselectthedatum,theDrawingBoard Datumdialogupdates to show the datum coordinates.

can then update the datum either parametrically in the dialog or by dragging in the datadisplay area.

Type

Plane

a datum plane specified by selecting the axis perpendicular to the plane from the

[X=, Y=, Z=] popup and setting the distance from the origin in the text box

(Figure6-38).

6-38. Plane Datum Type

[此处图片未下载成功]

[此处图片未下载成功]

Y-Z plane needs X

[此处图片未下载成功]

X-Z plane needs YX-Y plane needs Z

Line

a datum line specified by defining the intersection of two planes (Figure6-39).

[此处图片未下载成功]

Figure 6-39. Line Datum Type

line parallel to the Y axis needs

and Z coordinates to be set

FloTHERM User Guide, V9.1

Viewing the Geometry StructureMohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ving Objects Point

a datum point specified by entering its location in the three coordinate directions. No Datum

the use of reference datum.

-40,Figure6-41,Figure6-42,Figure6-43,Figure6-44 andFigure6-45.

6-40. Rotation About Datum Points

axis of rotation is perpendicular to the

and through the point

6-41. Alignment With Datum Line

line

objects in a selected

are moved the same

[此处图片未下载成功]

[此处图片未下载成功]

distance towards the line

6-42. Rotation About Datum Line

6-43. Mirror Image about Datum Plane

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1259

Viewing the Geometry Structure

Objects

6-44. Alignment with Datum Plane

://www.51wendang.com/doc/d2e52c141054f5479dae40c5lignmentofobjects

[此处图片未下载成功]

ontheplanethrough

origin of the parent assembly

6-45. Rotation about Datum Plane

plane and through the origin of the

box of the selected geometry

Topics

[此处图片未下载成功]

See“Rotation” on page233.

FloTHERM User Guide, V9.1

Viewing the Geometry StructureMeasuring DistancesAlignSelectedDialog

access: DB Tools &gt; Align or

.Youcanalign objects horizontally or vertically about their sides or centers.

Type

two rows of buttons are for alignment about a horizontal or vertical line:

The top row of buttons aligns about a horizontal line, from left to right: about centers,with tops, with botthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5oms.The bottom row of buttons aligns about a vertical line, from left to right: about centers,

left sides, with right sides.

the objects to be aligned, and then click the appropriate button.

distance between two objects can be measured and displayed using theDrawing BoardMeasure Dialog called by choosingTools &gt; Measure.

access: DB Tools &gt; Measure or

thisdialog to display the distance between two points selected in the Drawing Boarddisplay area.

is indicated by an annotation in the picture showing the direct path distancebetween the two points. Both this direct distance and the equivalent coordinate distances aredisplayed in the dialog.

In

[此处图片未下载成功]

Sets the units of length measurement from the popup.

[此处图片未下载成功]://www.51wendang.com/doc/d2e52c141054f5479dae40c5par

Distance

read-only field indicating the measured distance between the two selected points.

User Guide, V9.1261

Viewing the Geometry Structure

Distances

,Y, Z Distance

-onlyfieldsdisplayingthemeasureddistancebetweenthetwopointsalongtheX,Y,andZaxes respectively.

to be measured.

two points can be between:

A corner and another corner, edge, face or datum.An edge and a parallel edge, corner, parallel face, or parallel datum.A face and a parallel face, parallel edge, or parallel datum.

the second selection the distance fields of the dialog are updated and the measurementannotations are added to the data display area.

,clickMeasureandthemousepointerchangeshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tocross-hairs,readyforyoutoselectthetwopointswhenpromptedbythestatusmessagesatthebottomofthewindow.Notethat,astheobjectsareselectedusingthemousepointer,theselectionmodemayhavetobechanged before each selection. For example, consider the procedure for measuring between acorner and a datum:

Measure prompts you to select a corner, edge or face for the first point.Go to theCurrent Selection Mode menu at the bottom of the window and selectVertex.Select the corner on the first object.The program then prompts you to select the second object.Go to theCurrent Selection Mode menu again and this time chooseDatum.Select the second point on the datum in the display area.

distance is then calculated and displayed in the window and the dialog.Figure6-46 showsthe measurement annotation between two vertices.

FloTHERM User Guide, V9.1

Viewing the Geometry StructureMeasurhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing DistancesFigure 6-46. Measure the Distance

indicates both the absolute distance and the coordinate distances betweenthe two points as described inTable6-14.

6-14. Measure Dialog

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1263

Viewing the Geometry Structure

Annotations to the Screen Display

6-14. Measure Dialog

[此处图片未下载成功]

MovingandDeletingMeasurementAnnotations

arrow and value are treated as normal annotations and can be moved or deleted after firstsetting theCurrent Selection Mode toAnnotation. For further information, see“To Move orDelete Annotations” on page266.

(orFloMCADBridge)displayforscreencaptures, use theAnnotation Dialog.

access: DB/MC Tohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ols &gt; Annotate or

thisdialog to add temporary explanatory notes to the Drawing Board display area. Theseannotations are intended to enhance hardcopy output generated using the Print dialog.

Drawing Board picture can be annotated with:

Text (simple text lines, time and date) andLine pointers (with or without arrowheads)

.

[此处图片未下载成功]

264FloTHERM User Guide, V9.1

Viewing the Geometry StructureAdding Annotations to the Screen DisplayAnnotationDialogSettings

Annotation

simple text, as well as time and date strings as follows:

Text initiates the locating of the string already entered in the text field. After selecting

, move the mouse pointer to the insertion point and click. The text string then

at the cursor position.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5tiatesthelocatingofthesystemtimetextstring.AfterselectingTime,movethemousepointertotheinsertionpointinthedisplayareaandclick.Thetimethenappearsin a 24 hour format at the cursor position, for example, 15:45.

initiates the locating of the system date text string. After selectingDate, move themousepointertotheinsertionpointandclick.Thedatethenappearsinashortenedformat the cursor position, for example, Thu 15 Mar 2007.

the annotation font size selected from a popup containing:

, 8, 10, 12, 14, 16, 18, 20, 24, 30, 36 pts.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Arrow Annotation

the line drawing in any direction. After selectingArrow, choose the line style youwant from the popup at the end of the data field:

No arrow head,Small arrow head (9 pts long arrow),Double small arrow head,Large arrow hhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ead (20 pts long),Large double arrow head.

locate the line pointer, move the mouse pointer to the line starting position, then click anddragthemousepointerfromthestartingpositiontotheendpositionandthenreleasethemousebutton. The line then appears in the chosen style.

User Guide, V9.1265

Viewing the Geometry Structure

Annotations to the Screen Display

that annotations are only temporary features and are not stored with the project data set.Annotations are not anchored to the view displayed; they do not move relative to any viewchanges.

-47 shows the various annotation types.

6-47. Example Annotation

attempting to move or delete an annotation, ensure thatAnnotation is selected as theCurrent Selection Mode.

move the annotation, drag it to itshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 new location.

delete an annotation, select it then do one of the following: press theDelete key, selectEdit&gt;Cut or click. Note that cut annotations are deleted and cannot be restored from thepaste buffer.

,alltheannotationscanberemovedbytogglingthedisplaybetweenoneandfourpicture mode ().

the Drawing Board, measurement annotations can be added to the picture usingTools &gt;

[此处图片未下载成功]

Measure

[此处图片未下载成功]

to call the“Drawing Board Measure Dialog” on page261.

Topics

“Selecting Objects” on page218.

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

7UsingLibraries

FloTHERM libraries are storage areas for commonly used geometry and attributes whichyou can quickly copy to the model saving setup time. Mentor Graphics supplies standard start-up libraries, but you can build http://www.51wendang.com/doc/d2e52c141054f5479dae40c5libraries to suit your own requirements.

possible source of material data from which to populate your libraries is provided by theNASA TPSX site. Register fromhttp://tpsx.arc.nasa.gov, then open the latest TPSX WebEdition.

,usetheLibraryManager.TodisplaytheLibraryManager,intheProjectManager click or chooseLibrary from theView Menu.

7-1. Library Manager

,iftheNewObjectPaletteisalreadyondisplay,clicking

will display the Library Manager.,or

[此处图片未下载成功]

selecting

[此处图片未下载成功]

View

[此处图片未下载成功]

&gt;

[此处图片未下载成功]

FloTHERM User Guide, V9.1267

Using Libraries

Manager

operation of the Library Manager trees is similar to that of the Project Manager data tree,where the nodes with children are indicated by a ‘ ’. Clicking a ‘ http://www.51wendang.com/doc/d2e52c141054f5479dae40c5’ will expand the tree toreveal the hidden entries. Clicking a ‘-’ will collapse the tree and hide child entries.

items can be quickly dragged into the project tree. The mouse pointer changes toindicate for a valid drop-site, or for an invalid drop-site.

Library Manager displays three main folders:

RecentlyUsedforquickaccesstoitemsrecentlycopiedfromtheLibrariesnodeduringthis program session.Project Attributes for all attributes known to the current projectLibraries for access to the central cross-project libraries to enable easy transfer of

from one project to another.

Used tree becomes populated when you drag items from theLibraries node anddrop them in the Project Manager tree. The copied item is added to theRecently Used nodewhichcancontainuptothelasttencopiedlibraryitems.Itisusefulforquickaccesstothemostcommonly used centralhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 library objects (for the current session only).

quickly copy a recently used item into the project, expand theRecently Used tree and then

[此处图片未下载成功]

drag and drop the item into an assembly in the Project Manager data tree.

[此处图片未下载成功]

Project

[此处图片未下载成功]

Attributes

Attributes tree expands to show a folder node for each attribute type (Figure7-2).

7-2. Libraries Tree

FloTHERM User Guide, V9.1

Using LibrariesLibrary ManagerExpanding the node lists the attributes, of the named type, known to the current project. Usingthe Library Manager, you can attach these attributes to a geometry object by dragging themfrom the Project Attributes tree and dropping them on the object in the Project Manager tree.TheProjectAttributestreeispopulatedbycreatingattributeseitherdirectlyusingtheLibraryManager or when editing project geometry.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5To create an attribute in theLibrary Manager, right-click the node type and use the attributenode popup menu.

,right-clickthegeometryandchoosetheattributetype using the popup menu. SeeAttaching Attributes via Menu System in theFloTHERMProject Attributes Reference Guide.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

AttributeNodePopupMenu

attribute node popup manages the folder contents.Figure7-3 shows the Material Menu.

7-3. Example of an Attributes Node Popup Menu

menu options are:

New calls the attribute definition dialog to create the new attribute. After creation, thenew attribute is listed in the attribute tree.Flush deletes all attributes not attached to objects in the Project Manager tree.

edit an attribute, expand the attribute node to display it in the Project Attribhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5utes tree, thenright-click it and use the popupAttribute Menu.

User Guide, V9.1269

Using Libraries

Manager

7-4. Attribute Menu

menu options are:

Edit calls the attribute definition dialog to edit the attribute.Copy copies an attribute and displays the attribute dialog so you can rename this newattribute and adjust the settings.Deletedeletestheattributeprovidedthatitisnotattachedtoanobject.Otherwise,deleteis prevented.SavetoLibrarycopiestheattributetotheselectedlibrary(selectthedestinationlibrary

the Library ManagerLibraries tree first).

tree expands to show a folder node for each library or sub-library, and a leafnode for each library item indicated by an icon of that geometry or attribute type.

the data tree, library entries can be moved/copied by dragging and dropping.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rControlButtons

the library manager tree are the operation buttons:

to Project copies library items from the Libraries tree to

Project Manager data tree as follows:

in the data tree or to the Root Assembly if nothing has been

.

attributes are copied automatically to the appropriate

Attributes tree.

, double-clicking a library item copies it to the project.

[此处图片未下载成功]

Create a New Library

[此处图片未下载成功]

calls the

[此处图片未下载成功]

Create New Library and Edit

[此处图片未下载成功]

Library Dialogs to create a library node below the selected Libraries

.

an Archived Library calls a file selection dialog for you to

the library file to import. The imported library will appehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

the selected node in the Libraries tree.

FloTHERM User Guide, V9.1

Using LibrariesLibrary ManagerSearch Selected Library calls the“Library Search Dialog” on

to find a named library or library item.

Library Manager Filters Options displays aLibrary

Options panel to choose the types of libraries available for

. The options checked on will be available for display.

,thebuttonsShowAllGeometryandHideAllGeometry

switch on or clear all the geometry type selections.

the attributes in the Library Manager.

Palette removes the panel from the display. Alternatively,

[此处图片未下载成功]

press

[此处图片未下载成功]

F7

[此处图片未下载成功]

.

-click a Libraries node to display the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5popup menu containing all the available options:

EditLibrarylaunchesthe“CreateNewLibraryandEditLibraryDialogs”onpage273,asking for the destination directory name and library name for the selected library.NewLibrarylaunchesthe“CreateNewLibraryandEditLibraryDialogs”onpage273,asking for the directory name and library name for the new library.Cut deletes the selected library and stores it in the paste buffer.Copy copies the selected library into the paste buffer.Paste copies the contents of the paste buffer into the selected libraryDelete deletes the selected library, but does not store it in the paste buffer.Search launches the“Library Search Dialog” on page277, allowing you to search alllibraries for an object name which matches the entered search string.Export to File launches a file selection dialog so you can choose whhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ere to save thelibrary file.ImportfromFilelaunchesafileselectiondialogtochoosea*.libraryfiletoimportintothe selected library as a http://www.51wendang.comethiscommandifyouknowlibraryitemsare present in the library directories but are not on display in the Library Manager.Sort By Name sorts the libraries and contents of libraries alphabetically.Sort By Date sorts the libraries and contents of the libraries by the dates they were lastmodified.Convert converts version 3.x library files to version 9.1 format.

User Guide, V9.1271

Using Libraries

Manager

-click a Libraries item to display a popup menu containing all the available options:

Transfer to Project copies the library item to the selected assembly.Cut deletes the selected library and stores it in the paste buffer.Copy copies the selected library into the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5paste buffer.Delete deletes the selected library file but does not store it in the paste buffer.View displays the ASCII PDML for the selected library file.

can be copied into a project assembly by dragging from the Library Manager anddropping on a project assembly node in the Project Manager data tree.

,firstselecttheassemblytoreceivethedesignintheProjectManagertree,theninthe Library Manager, point at the design, right-click and chooseTransfer to Project from theLibrary Item popup menu (or double-click the library item). The design then appears belowthe selected assembly in the Project Manager data tree.

can be dragged from the Libraries tree and dropped onto the project data tree over ageometryobjectthatallowsthattypeofattribute,attachingtheattributetotheobject.Droppingattributes onto multiple selections is not allowed.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5natively, attributes can be added to the project by selecting the attribute in the LibraryManager, right-clicking and choosingTransfer to Project from the Library Item popup menu(ordouble-clickthelibraryitem).Theattributewillthenbeaddedtotheprojectattributesnodeand therefore can be seen in the attribute selection dialog. The attribute can then be attachedusing the right-click object popup menu to launch the generic propertyAttribute SelectionDialog described in theFloTHERM Project Attributes Reference Guide.

objects and attributes between library nodes acts like a cut and paste. Draggingobjects and attributes between library nodes while holding down the Ctrl key acts like a copyand paste.

Libraries tree can be populated by dragging geometry and attributes from the project datatree and dropping them on a node in the Libraries tree.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

FloTHERM User Guide, V9.1

Using LibrariesBuilding LibrariesAlternatively, you can use theSave to Library option in the object popup menu. See“Managing the Project Data” on page79.

Topics

libraries are built by first creating a library folder (directory), then populating the folderwith library items, either from the current project or imported from the external file system.Tocreateanewlibraryreadytoreceivegeometryorattributes,usetheCreateNewLibraryandEdit Library Dialogs called by right-clicking a Library Manager node and choosingNewLibrary from the Library popup menu.

access:LM Library Menu &gt; Edit Library orNew Library

(directory)withthenameandatthelocationyouspecify.

the name ofhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the library.

the directory to hold the new library items. Enter the full path of the directory.

[此处图片未下载成功]

[此处图片未下载成功]

By default, FloTHERM uses the installation directory path which is normally:

Files/MentorMA/flosuite_v91/flotherm/flocentral/Libraries

the new library as read only. After confirmation of the settings, the library will be

in the Library Manager as a white folder to indicate that the library is lockedand cannot be changed.

Only to allow changes to the library.

User Guide, V9.1273

Using Libraries

Libraries

,thenewlibraryfoldericonappearsbeneaththeselectednodeofLibraryManagertreereadyreceivegeometryorattributes.Notethattheiconisnot preceded by a ‘ ’ indicating it is an empty library.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parNote that, the Library Manager expects the directory to contain only valid library format files(*.library,*.pdml geometry). If there are non-library format files present in this directory, anerror message will be displayed.

,dragtheitemfromtheProjectManagerdatatreeanddropit onto the library folder icon. When items are dragged across the data trees, the mouse pointerchanges to indicate for a valid drop-site, or for an invalid drop-site.

,youcanpopulatealibrarybyimporting*.libraryfilespreviouslyexportedfromaFloTHERMsystemtotheexternalfilesystem.Toimportalibrary,clickthedestinationlibraryfolder and choose the file from theImport Library file browser displayed by either:

Right-clicking and choosingImport from File from the Library popup menu, orClicking at the bottomhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 of the Library Manager

selecting the file, a new folder icon will appear in the Library Manager containing theimported library.

information on exporting libraries, see“Exporting Libraries” on page278.

/PropertyDuplication

that each attribute or property is given its own unique identifier, so that when you importthesameattributeorpropertymorethanonce,itisduplicatedinthelibrary.Forexample,ifyouimporttwomaterialsbothwiththesamesurfaceattributesattached,thesurfaceattributewillbeduplicated in the library.

and library items can be copied to create other libraries, by pointing at the library orlibraryitem,right-clickingandselectingCopyfromthepopupmenu.

[此处图片未下载成功]

The

[此处图片未下载成功]

library

[此处图片未下载成功]

itemiscopiedinto the paste buffer, so to finalize the copy, select the destination library folder for thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he copieditem, right-click and choosePaste from the popup menu. The copied item is then added to theLibrary Manager tree.

FloTHERM User Guide, V9.1

Using LibrariesBuilding LibrariesMovingItemsintheLibrary

objects and attributes between library nodes acts like a cut and paste. Draggingobjects and attributes between library nodes while holding down the Ctrl key acts like a copyand paste.

.xConversion

.xlibraryfilesinthelibrary,thenconvertthemtoversion9.1formatbeforeuse. To convert version 3.x library files to version 9.1 format, point at the library in the libraryManager, right-click and selectConvert from theLibrary popup menu.

version 3.x projects with scenario cases into version 9.1 may cause problems withlibrary links if the libraries have been moved around.

detecting a version 3.x lihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5brary link, the Library Manager will first search for the file in theversion 9.1 library directory of the same name. If the file is not found, then all the library

will be searched for the file. If the file is not found, then the error message “FailedInconsistent Data” will appear. (Note that, if a different file with the same name exists in thelibrary, it will be used instead without warning.)

solve the problem, either create a version 9.1 library link pointing to the version 3.x librarydirectory using theCreate New Librarydialogor reset the library variable in the CommandCenter, seeLibrary for Geometry and Attributes in theFloTHERM Command Center UserGuide.

access:PM/DBModeling Object &gt;Attribute &gt; Library

,sothatthey can then be attached to the selected modeling object using theAtthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ribute Selection Dialog(described in theFloTHERM Project Attributes Reference Guide).

User Guide, V9.1275

[此处图片未下载成功]

Using Libraries

Libraries and Library Items

dialog consists of a data tree which can be expanded to show all the entries in the centrallibrary, a scroll bar may be used to see all items.

load a library item into the project either:

Select the library item in the tree and pressLoad, orDouble-click the library item.

clicking Load the library item is loaded into the current project and can be seen in theProject Manager Project Attributes list as well as the list in theAttribute Selection dialog.Notes: The libraries and attributes displayed in the tree can be edited by right-clicking in thetreeandusingthepopupmenus.Themenuoperationsarethesameasinthemainlibrarypanel.See“Attribute Node Popup Mhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5enu” on page269 and“Operations on Library Nodes” onpage271 for a description of all the options available.

option in the Attribute menu is not available if the attribute selection dialog is stillopen.

delete a library, select the library in the Library Manager, right-click, and chooseDeletefrom theLibrary popup menu.

deletion is handled differently, depending upon whether a library or a link to a library is tobe deleted. A library link is created whenever the directory containing the library item is not asub-directory of the directory of the node to which the new library is being added.

deleting a library, as the operation is irreversible, a dialog appears to prompt you toconfirm the request.

,thelibraryanditscontainedfilesaredeletedandremovedfromthhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5eLibrary Manager tree and the file system.

FloTHERM User Guide, V9.1

Using LibrariesSearching the LibrariesDeletingaLibraryLink

deleting a library link, the library link and all its contained directories and files areremoved from the Library Manager. An additional, dialog appears asking if you also want todelete the associated directory and files.

delete an individual library item, select it in the Library Manager, right click and chooseDelete from the Library Item popup menu. As the operation is irreversible, you are asked toconfirm the request.

confirming theDelete, the library item is then deleted and removed from the LibraryManager tree.

.Tosearchforalibraryitem,right-clickalibrarynode,selectSearchfromthepopupmenu,andusetheLibrarySearch Dialog.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rySearchDialog

access: LM Library Menu &gt; Search

(partially or completely) the name string entered. The search starts from the currently selecteditem in the tree.

String

name of the library or library item to search for.

Case

search to match the case of the entered string exactly.

Match

search to find a partial match of the string or a complete match.

Forwards or Backwards

search to scan up or down the tree hierarchy.

User Guide, V9.1277

Using Libraries

Libraries

.Theobjectwillbehighlightedinthetreewhenfound,oranalertwillappearifthere are no matches.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ttowraparoundand continue the search.

.Youcaneithersortthecompletelibrary,ortheindividual libraries.

sort the complete library, point at the top libraries node in the Library Manager, otherwisepoint at the library you want to sort, then right-click and choose eitherSort By Name orSortBy Date from theLibrary popup menu.

Manager folders and items are then reordered where appropriate.

export a library for archive to the external file system, right-click the library node andchooseExport to File from the popup menu. The file selection dialog appears so you canchoose the output destination and name for the library file.

output file will be in the library file format, with file extension*.library.

appropriate, some libraries are initially stocked with standard ehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ntries to get you started,butyoucanbuildthelibrariestosuityourown

[此处图片未下载成功]

http://www.51wendang.comanizationscanalsosetuptheirown standard entries to be shared among their engineering teams.

the Libraries tree to see the types of supplied libraries:

information on each of these library types, see:

FloTHERM User Guide, V9.1

Using LibrariesStarter Libraries

“ATX Library” on page279“Component Starter Pack” on page279“Axial Fans” on page280“Filters” on page280“FloTHERM_Libraries for Project Attributes” on page281“Heat Sinks” on page282“Interface Materials” on page282“Materials” on page284

library contains different styes of chassis and equipment suitable forATX_Part,SFF_Part_Library andmicroATX_Part_Librarybased form factors.

[此处图片未下载成功]

Starter

://www.51wendang.com/doc/d2e52c141054f5479dae40c5r[此处图片未下载成功]

Pack

library contains different types of 2 Resistor Compact Components.

User Guide, V9.1279

Using Libraries

Libraries

Comair Rotron

library of fans representing different models of Comair Rotron Axial Fans at varyingspeeds and AC or DC supplies.

[此处图片未下载成功]

DeltaA library of fans representing different models of Delta Axial Fans.ETRIA library of fans representing different models of ETRI Axial Fans.MicronelLibrary of Micronel Axial Fans.NMBLibrary of NMB Axial Fans.PapstLibrary of papst Axial Fans.Sany Denki

[此处图片未下载成功]

Library of Sany Denki Axial Fans.

UAF PlanarA library of resistance attributes representing the flow resistance of UAF foam filters.UAF Volume British Units

library of assemblies containhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing resistances representing UAF foam and polyester mediafilters. Imperial measurement units are used.

FloTHERM User Guide, V9.1

Using LibrariesStarter Libraries UAF Volume SI Units

library of assemblies containing resistances representing UAF foam and polyester mediafilters.

_LibrariesforProjectAttributes

AmbientsLibraryofambientattributeswithambientandradianttemperaturesfrom0to60degreesC.FluidsLibrary of fluid properties for standard settings of air and other commonly used fluids.Grid Constraints

library of grid constraints with settings for:

Maximum size of the grid cells across an object (1 to 90 mm)Minimum number of grid cells across an object (1 to 30)

Materials

library of material attributes describing materials commonly used in electronic

.

Radiation

of radiation attributeshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 with a subdivided radiating tolerance between 01 mm to 90mm.

[此处图片未下载成功]

ResistancesLibrary of planar resistances ranging from a 10% to 95% open space.Sources

for a library of fixed value source attributes with a temperature range between 0DegC and 60 DegC.

User Guide, V9.1281

Using Libraries

Libraries

for a library of source attributes with a temperature Total Source value rangebetween 1 Watt and 90 Watts

Surfaces

for defining surfaces commonly found in electronic systems. The library is split upinto surfaces for metals, non-metals as well as paint and surface coatings.

Thermals

for a library of thermal attributes with a fixed temperature value ranging from 1 to60 degrees C.

,conductingwithaTotalPowervaluerangingfrom 1 Watt to 900 Watts.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Transients

of transient periods with different function type examples: cosinusoidal,

, Gaussian, parabola, power law, linear.

library expands to reveal subdirectories for models of HS Marston and IERC heat sinks.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

InterfaceMaterials

FloTHERM User Guide, V9.1

Using LibrariesStarter Libraries Berquist

library of surface finishes representing BERGQUIST interface materials. The library issplit up into the following interface types:

Bond Ply 100-5Hi-FlowPoly-PadQ-PadSil-PadInsulatingNon-Insulating Softface

Chomerics

library of surface finishes representing CHOMERICS interface materials. The library issplit up into the following interface types:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar CHO-THERMTHERM-A-GAPTHERMATTACHTHERMFLOW

Dow Corning

library of surface finishes representing Dow Corning interface materials. The library issplit up into the following interface types:

Gap FillersPhase ChangeThermal grease/paste/gel

Thermagon Interface Materials

.Thelibraryissplitup into the following interface types:

Electrical InsulatorGap FillersPhase Change

User Guide, V9.1283

Using Libraries

Libraries

is a library of links providing quick access to the library files defining materials

used in constructing electronic systems. Its structure is identical toMaterialsunderFloTHERM_Libraries.

data included in the delivered libraries has undergone review thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5o ensure accuracy and

. However, since there are many data sources available, some of the information maybeoutofdateornotmatchyourcurrentknowledge.Youare,

[此处图片未下载成功]

therefore,advisedtoconsultothersources to confirm information where there is any doubt as to the validity of the data supplied.For data associated with particular part manufacturers, you are advised to check with thesupplier web-sites for the latest information.

Graphics does not assume responsibility for omissions or inaccuracies in the dataincluded in these libraries nor any consequences resulting from their use within the software.284FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

8AddingGrid

chapter describes the two kinds of solution grid:

The Spatial Solution Grid

Spatial Solution grid subdivides the solution domain into a set of non-overlappingcontiguous finite voluhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5mes called grid cells. The CFD techniques used by FloTHERM,calculate the conservation equations over each grid cell. SeeBackground of

(CFD)intheFloTHERMBackgroundTheoryReferenceGuide.

The Time Grid

Time grid indicates the number, size and distribution of the time steps used intransient calculations.

distribution is important as it affects the numerical accuracy, determining how close thediscretized numerical solution is to the true, continuous variation implied by the differentialequations.

general, start with a coarse grid and refine it in regions of: complex flow, high gradients andareas of particular interest. But note, the more detailed the grid, the more computer time isrequired, so the choice of grid is a trade-off between accuracy and speed.GridRefinementMethods

, the program sets a default shttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5olution grid to align with the edges of the geometry youcreate,asshownfortwocuboidsinFigure8-1.Theobjectboundarycornerscoincidentwiththegrid lines are called grid keypoints.

User Guide, V9.1285

Adding Grid

Spatial Solution Grid

8-1. Default Grid for Two Cuboids

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

hastobedeleted.Alternatively,youcanusetheVisualEditorinTablesmode,see“GridData” on page502, to deactivate individual keypoints. This is also useful for removingObjectGridConstraints

is important to ensure adequate grid coverage wherever objects are placed in the model. Byusing object grid constraints set in theGrid Constraint Modeling Dialog (described in the

),youcanattachminimumgridrequirementstoindividual objects.Figure8-2 shows two cuboids with attached grid constraints in the x-http://www.51wendang.com/doc/d2e52c141054f5479dae40c5direction, one with a minimum of four cells and the other a minimum of ten.

-2.Minimum4-Celland10-CellGridRequirementsAttachedtoCuboidsUsing a system grid constraint allows you to determine the minimum refinement of the gridthroughout the space and allows you to restrict the aspect ratios present in the grid.

lines generated by an object, whether they are keypoints or constraint lines, will extend tothe edges of the solution domain, even if these edges are far away from the object. Sometimesthese grid lines are only required inside or near the object and are not needed far away from it.To prevent grid lines from extending unnecessarily far from where they are generated, the

.Agridspaceisacuboidalvolumeofspacewhich contains grid lines not needed in the surrounding region and only lets through lines thatare needed. Containing grid lines by http://www.51wendang.com/doc/d2e52c141054f5479dae40c5this method is known as localizing the grid.

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution GridFor example, inFigure8-3, the ten grid constraint lines inside the cuboid on the right are notneededintheairoutsideit.Agridspacehasbeendefinedbythecuboidandonlythekeypointsdefining the edges of the grid space continue into the rest of the solution domain.

8-3. Localized Grid

,forexample.theEdit Primitive, Edit Assembly, Edit SmartPart or Edit Region dialogs, as appropriate. This canalso be toggled on by selecting the object in the Project Manager or Drawing Board and doingone of the following:

PressinglChoosing Toggle localize grid in theGridmenuClicking in the left button bar

-3,thelocalizedgridspacewasthesamesizeastheobject.Butthegridspacecanbeextended beyondhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the object by specifying an inflation layer around the object. The inflationlayers are defined by grid constraints.

8-4. Grid with Inflation Layers

-4, the grid constraints on the objects have been inflated on either side by three gridcells in the x-direction.

grid constraints defining inflation layers are attached to an object, but the object does notgenerateagridspacebyhavingLocalizedswitchedon,theinflationboxwillstillgenerate

[此处图片未下载成功]

extra

[此处图片未下载成功]

grid lines beyond the extents of that object. This is useful for some kinds of grid generation.

[此处图片未下载成功]

Extra lines can also be defined in the inflation regions by using the grid constraint options, seeFloTHERM User Guide, V9.1287

Adding Grid

Spatial Solution Grid

&gt;&gt;buttonunderGridConstraintModelingDialogSettingsintheFloTHERM Prhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5oject Attributes Reference Guide.

following SmartParts must be located completely inside a localized grid space:

Fan primitive part of a fan SmartPartRecirculation device supply and extractCompact heat sinksCompact componentsThin sloping plates

components are also restricted if they abut a localized grid. It is good practice toinflate the localized grid beyond the compact component and into the parent grid, a goodboundary layer will then be captured.

, if any 2D models of these objects sit on the edge of a localized grid space but extendbeyond it into the parent grid space, then this is also considered a restricted configuration.

any of these restrictions are detected, an error message is issued and no solution is attempted.GridPatches

://www.51wendang.com/doc/d2e52c141054f5479dae40c5dequate,youcan use grid patches to apply additional grid over specified regions of the grid.

8-5. Grid Patches

-5 shows a patch of three additional cells applied between two cuboids.

,afterallothergridconditionshavebeenapplied,you

[此处图片未下载成功]

canusetheSystemGridDialogtosmooth the grid by removing:

Large variations in neighboring cell size in each direction, and

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution Grid Large aspect ratios between directions.

final grid is calculated in the following order:

.Geometry keypoints

.Constraints on objects and assemblies in hierarchical order

.Grid patches

.System constraints

.Grid Smoothing

.Deactivated keypoints in the Tables application window.

and after atthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5empting to refine the grid you should always check its existing structure,taking care to view the grid from all three coordinate directions.

view the grid in the Drawing Board:

PressG, orSelectEdit &gt; Modify Picture (which calls theDrawing Board Picture Dialog) and set

Grid option toSolver Grid.

.Iftheworkplaneliesontheedgeor outside of the solution domain, all grid spaces are projected onto the workplane. If the

lies inside the solution domain, the grid intersected by the workplane is displayed.You should check that:

Cells of large aspect ratio have not been created.There are no large changes in cell dimensions at joins between groups of grid spaces.Such grids should be avoided because they can result in very slow convergence of the solutionalgorithm.

that large aspect ratios can also bhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e checked using theGrid Summary Dialog. For mostsystem-level analysis, aspect ratios exceeding 10:1 are rarely required. For package-level

,largeraspectratiosareunavoidable,butshouldbeconfinedtoregionswellawayfromthe object(s) of interest.

,assembliesorregionsthatcontainsmallgridcellsisaveryeffectivemethodof reducing aspect ratios in the other areas of the solution domain.

User Guide, V9.1289

Adding Grid

Spatial Solution Grid

-1 provides guidelines for aspect ratio levels.

8-1. Guidelines on Aspect Ratio Levels

[此处图片未下载成功]

Iflargeaspectratiosarenecessaryduetogeometryinteraction,trytomakesurethattheyoccurin regions where the flow is simple and unidirectional, and that no large temperature gradientsexist, otherwise you may have solution convergence problems.

example, considhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5er a single package or device modeled in detail in free air. The ideal gridshould focus in towards the device, becoming gradually larger with distance away from http://www.51wendang.comrgeaspectratiogridcellscanbeencounteredatsomedistanceawayfromthedevice,but this area is usually of little concern and should not have any extreme flow or temperaturevariations. Localizing the grid can improve the grid further — with localized grid around thedevice, aspect ratios at large distances from the device are improved.

dimensionality settings made in theModeling Dialog affect the grid. 2D calculates a 3Dgrid cell and then reduces it to a depth of one grid cell as shown in“Grid Layout” on page123.For transient effects, see“The Time Grid” on page310.

,anddisplaysdialog options (Figure8-6) for interpolating solution http://www.51wendang.com/doc/d2e52c141054f5479dae40c5results to the new grid.

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution GridFigure 8-6. Options

Yes leaves the current project unchanged, but displays theSave Project Dialog, to save

project, along with the interpolated results, in a new project. The new project thenbecomes the current loaded project.

applies all changes, including the interpolated results, to the current loaded project.Cancel aborts the operation and leaves the results mapped to the previous grid.

“Setting Object Grid Constraints” on page291

“Grid Data” on page502

“Localizing the Grid” on page296

“Adding Grid Patches” on page302

“Grid Smoothing” on page288       Related Topics

constraints define the minimum grid requirement across selected geometry.

apply grid constraints to objects, assemblies and cutouts on the solhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ution domain:

.Select the geometry in either the Project Manager or Drawing Board.

.Right-click and chooseGrid Constraints from the popup menu to display theGrid

dialog.

.Select and attach the grid constraint in the required direction.

the grid constraint you require does not exist, then either modify an existing constraint orcreate a new one usingEdit orNew in theGrid Constraint dialog, to call theGrid ConstraintModeling Dialog (described in theFloTHERM Project Attributes Reference Guide).

apply grid constraints to the overall solution domain, see“Setting the System Grid

[此处图片未下载成功]

Constraints (Smoothing)” on page293.

User Guide, V9.1291

Adding Grid

Spatial Solution Grid

access:PMModeling Object &gt; Grid Constraints

(gridconstraint)http://www.51wendang.com/doc/d2e52c141054f5479dae40c5toanyitemofgeometryorcutout on the solution domain.

,thenchoosetheconstrainttypefromthe selection list.

a selection scroll list which contains the names of the grid constraints held in thedatabase.

theGrid Constraint Modeling Dialog to change the specification of the grid constrainthighlighted in the list.

theGrid Constraint Modeling Dialog to create a new grid constraint type.

an identical copy of the selected grid constraint. UseEdit to change its name andparameters.

the grid constraint highlighted in the list.

Attached

the grid constraint attached to the current object in the current grid direction.Attachment

over which local grid direction of the cuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rrent object the grid constraint is to apply(X,Y, Z or Override All to apply the constraint to all directions).

object to which you want the grid constraint attached must be selected in the display area.Any current attachment will appear in the dialog. Select the grid constraint that you requirefrom the selection list, then the direction it is to apply. PressAttach to confirm the attachment.This new attachment appears in the Currently Attached field of the dialog.

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution GridIf the grid constraint you require is not in the list, then use theNew orCopy andEditcommands to create it.

grid constraint is removed from a modeling object by attaching aNULL constraint (aconstraint with no additional cells) to it instead.

detach a grid constraint from a modeling objehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ct, chooseNULL (Detach) in the selectionscroll list, and pressAttach.

(Smoothing)

constraints determining the solution accuracy level can be applied over the completesolution domain using theSystem Grid Dialog. TheSystem Grid dialog provides control of:

Smallest cell size allowed,Maximum cell size or minimum cell number,Smoothing of adjacent cell length ratio and inter-direction length aspect ratios.

display theSystem Grid dialog, in either the Project Manager or Drawing Board windows,click in the left toolbar, or use the Grid menu and selectSystem orSystem Grid

.

access: PM Grid &gt; System or

this dialog to refine the solution grid by setting a predefined standard grid type (coarse,medium or fine) or manually changing the grid by successive degrees of grid density.SystemGridDialogSetthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ings

, Coarse, Medium, Fine

the grid in all directions using standard preset grid constraints as follows:

None — resets all the system grid settings, so only the basic system grid remains.Coarse,Medium orFine — resets the system grid slider bars to predefined locations;

,thelargerthenumberofcellsadded.Whenthereisapre-definedgrid,a query dialog appears, warning you that the manually set grid will be reset and the

[此处图片未下载成功]

associated

[此处图片未下载成功]

withthe edges of the geometry. You are given the opportunity to cancel the grid change.

User Guide, V9.1293

Adding Grid

Spatial Solution Grid

-, Yo-, Zo-Direction, Override All

.Thatisinthex,y,z,oralldirections, across the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5solution domain.

Dimensions in:

the dimensions of the units displayed in the dialog.

Size

the minimum size of a grid cell. Enter the cell value into the data field or move the sliderbar. The data field updates to reflect the minimum size as the slider bar is moved.

the slider bar is moved, a lookup table containing a list of % values is referenced.

%valueasthesliderismoved.Thelookuptableisorderedsothatwhenthesliderbarismovedtowardstheleft-hand side, a coarser grid is created (that is, a larger minimum cell size); when movedtowards the right, a finer grid is created (that is, a smaller minimum cell size).

any localized grid spaces, the smaller of its own value and its parent’s value is used. (SeeMinimum Size under theGrid Constraint Modeling Dialog described in theFloTHERM

://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Attributes Reference Guide.) The system grid only sets the base grid value; it may setother grid space values if they do not override it.

Size/Min No.

the cell size by specifying either the maximum cell size or the minimum number of cells.Select the option from the popup, then either enter the value or use the slider bar as forMinimum Size.

is moved towards the right-hand side. The maximum size, like the minimum size, is

by multiplying the lookup table % value by the length of the solution domain as theslider is moved. If the minimum number is selected and the slider moved, the value of theminimum number is read directly from the lookup table.

value may be overridden by grid constraints (if they are finer).

check box toggles grid-smoothing on (ticked) and off http://www.51wendang.com/doc/d2e52c141054f5479dae40c5(unticked).

the check box is ticked, you can choose between using the Version 2 (V2) or Version 3(V3) grid smoothing algorithm (for detailed descriptions, seeVersion 2 Grid SmoothingAlgorithm andVersion 3 Grid Smoothing Algorithm).

slider bar sets the number of additional grid cells by adding cells to:

Optimize the length ratio of neighboring cells, andFloTHERM User Guide, V9.1

Adding GridThe Spatial Solution Grid Reduce aspect ratios in the direction selected byXo-, Yo-, Zo-Direction, Override AllYou can observe the effect when the grid is displayed by switching onDynamic Update, seebelow.

grid is refined (more smoothing) as the slider bar is moved to the right.

amount of smoothing, set by the slider bar, is used for all grid spaces.

Summary

theGrid Summary Dialog to provide overall statistics for the solution grid.

Aspechttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t Ratio

the size of the largest cell aspect ratios. For example, the location of the largest X/Zaspect ratio is at the same location as the smallest Z-cell.

Update

the dynamic update of the grid on and off. When activated, the grid updates as the

://www.51wendang.comethisoptionifyourgraphics card is reasonably modern.

-activated,theApplybuttonmustbepressedbeforetheslidervaluesareappliedtothegrid.

No. Cells

the total number of cells in the project.

,Medium andFine commands all reset the slider bars to predefined locations.These locations reference lookup table % values that will result in the requested grid densitiesfor the majority of model types. However, if the grid density is not as expected (for example,clickingMediumresultsinacoarsetypegrid)thenthesliderbarsshouldbeadjustedtoachievethe desired ghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rid; note that movement to the right refines the grid.

GridSmoothingAlgorithm

,gridconstraintsandpatcheshavebeencalculated.Thegridsmoothingalgorithmonlyaddsadditionalgridcells.Itwillnotchangegrid

[此处图片未下载成功]

lines previously calculated.

single slider bar performs the grid smoothing by simultaneously varying a number ofparameters using the following two calculation methods:

User Guide, V9.1295

Adding Grid

Spatial Solution Grid

The first calculation is based on the length ratios of neighboring cells in a single grid

. It will compare the lengths of the two cells in this direction, and if they are

different (based on a tolerance varied by the slider bar), it will split the

(aslongasitislargerthana‘smallcellsize’alsovariedbytheslider http://www.51wendang.com/doc/d2e52c141054f5479dae40c5bar). This will be repeated for all cells in this direction until the tolerances

by the slider bar are met.

second calculation is based on the aspect ratios of cells in a given grid direction tocellsintheothertwogriddirections.Iftheseaspectratiosarelarge(basedonatolerancevariedbythesliderbar),itwillsplitthelargecellinthisdirectioninhalf(aslongasitislarger than the small cell size also varied by the slider bar). This will be repeated for allcells in this direction until the tolerances specified by the slider bar are met.

GridSmoothingAlgorithm

Version 3 (V3) grid smoothing is almost identical to the Version 2 (V2) algorithm,

, the V3 algorithm will not create as many extremely small cells during the smoothingcalculation.ThissometimeshappenswhenverysmallcellsexistpriortoV2smoothingandcancause a large total number of grid cells.

V3 smoothing algorithm shouldhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 be used in preference to the V2 algorithm, and is the

. The V2 algorithm remains available so that projects created in V2 that use smoothingcan be represented in V3 without imposing a grid change.

-definingprocessasautomaticaspossible.However,itisstilllikelythatgridconstraintsattachedtoobjectsorgridpatchesmayhavetobeused if object or local grid refinement is required. Users are advised to first attach objectconstraints and then create any grid patches, if necessary, then finally use theSystem Griddialog.

sliders for the minimum size and maximum size/minimum number reflect a percentage ofthe solution domain in that direction. When using them with&lt;Override All&gt; (all directions),the displayed sizes reflect the settings for the last visit to a specified direction. Therefore, if thesolutiondomainisdifferentinsizeforthethreedirections,thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hesizeshownwillonlybereflectedexactly for one direction, tending to produce cells of the same aspect ratio as the solutiondomain itself. Use the Drawing Board to view the actual sizes created.

constraints for a modeling object can be restricted to apply entirely within the space theobject occupies. This grid type is called the Localized Grid.

localize any attached grid constraints for a selected object, do one of the following:296FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution Grid Activate theLocalize button in the object’s location dialog, that is, the Edit Primitive,

Assembly, Edit SmartPart or Edit Region dialogs, as appropriate.

‘l’ on the keyboard

localize grid in theGrid menu

theToggle Localize Grid button

example, inFigure8-7, ten grid constraint lines attached to the cuboid on the right are http://www.51wendang.com/doc/d2e52c141054f5479dae40c5notneeded in the air outside it. By activating Localize for the cuboid, a grid space is defined tooccupy the cuboid’s space, so only the keypoints defining the edges of the grid space continueinto the rest of the solution domain.

8-7. Localizing the Grid

with a localized grid are indicated in the Project Manager by an object icon with asuperimposed grid, as shown for a cuboid and cylinder.

allow the nesting of localized grid spaces, a parent-child grid relationship is followed.

,andanylocalizedgridspacescreatedoverthisbasicgridbecomechildrenofthesystemgrid.Iflocalizedgridspacesarecreatedover

[此处图片未下载成功]

existing

[此处图片未下载成功]

localized grid spaces, then in turn, the localized grid spaces themselves have children and the

[此处图片未下载成功]

[此处图片未下载成功]http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

basic grid becomes a grandparent.

User Guide, V9.1297

Adding Grid

Spatial Solution Grid

8-8. Nesting Localized Grid Spaces

-8 shows three localized grids created in order of size. All grid lines from a parent gridspacewillpassthroughallchildgridspaces.Localizedgridarethereforealwaysfinerthantheirparent spaces.

grid spaces are allowed to abut each other. Prior to version 6.1, abutting localizedgridspaceswerenotpermitted,butthisrestrictionhasnowbeenremoved.Wherelocalizedgridspacesabut,allofthegridlinesfromonegridspacepassthrough(orbleedinto)theother.Thisallows the solver to treat the interface between abutting grid spaces in the same way as it treatsthe interface between parent and child grid spaces.

choice of which grid space’s lines bleed into the other is based on minimizing the numberof additionalhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 cells created by the bleeding. Under certain circumstances, the finer grid may

,butonlywhentheresultingtotalnumberofgridcellsinthemodelislowerthanthecoarsecellsbleedingintothe

[此处图片未下载成功]

finergridspace.Figure8-9

[此处图片未下载成功]

illustrateshowthe grid changes as two localized grid spaces go from being close to each other to actuallyabutting.

8-9. Close and Abutting Localized Grid Spaces

Grid SpacesAbutting Grid Spaces

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution GridKeypoints

extents of a localized grid space are the keypoint locations on the corner of the object orinflationbox,see“Keypoints”onpage285.Keypointsmayberemovedfromedgesoflocalizedgrid spaces if there is a sufficiently large minimum cell size in the parent grid space.

patches are defined on the base grid if http://www.51wendang.com/doc/d2e52c141054f5479dae40c5they only extend over the domain, and always passthrough localized grid spaces. See“Adding Grid Patches” on page302.

grid constraints have been set to extend a distance beyond the object using the InflationGrid panel in theGrid Constraints Modeling dialog (see the description of theInflation&gt;&gt;button underGrid Constraint Modeling Dialog Settings in theFloTHERM Project AttributesReference Guide), then localizing the grid for the object restricts the grid lines to the objectspace and inflated area as shown inFigure8-10.

8-10. Grid Inflation

of two grid spaces is not permitted. The localization settings for the second objectwill be kept, but ignored while the spaces overlap.

a localized grid space is one grid cell away from the edge of the solution domain, then anadditional grid line will be inserted to ensurhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e there are two grid cells as shown in

[此处图片未下载成功]

Figure8-11

[此处图片未下载成功]

[此处图片未下载成功]

.FloTHERM User Guide, V9.1299

Adding Grid

Spatial Solution Grid

8-11. Near the Domain Edge

addition of the extra grid cell ensures an accurate CFD solution between the localized gridspace and the edge of the domain.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

ObjectsInternallyAbuttingaLocalizedGrid

an object internally abuts a localized grid, then all of its keypoints will pass into the parentgrid, as seen inFigure8-12.

8-12. Object Internally Abutting a Localized Grid

the object lies more than one grid cell inside a localized grid space, then all of its keypointswill be contained by the localized grid as shown inFigure8-13.

8-13. Object Lying More Thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5an One Grid Cell Inside a Localized GridThe easiest way to ensure that objects are wholly within a localized grid is to in ate the objectthat defines the localized grid.

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution GridRestrictions

,ifinalocalizedgridspace,mustbelocatedwhollyinsideorontheedgeof a single localized grid space:

FansRecirculation devicesFixed FlowsCompact componentsCompact heat sinksThin sloping blocks

,thenthesolutionwillbedeniedandarelevanterrormessage is displayed in theMessage Window dialog. The restriction is more severe forcompact components which are not permitted to touch the edge of a localized grid space.GridSmoothing

,theexistence of small localized grid cells may well cause thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he addition of grid cells in the parentgrid.

example, consider the base (parent) grid with a localized (child) grid. In this case, thelocalized grid is for an object with grid constraints in the x-direction only, see “BeforeSmoothing” inFigure8-14.

applying medium smoothing, additional cells have been added to the parent grid, see“After Smoothing” inFigure8-14.

8-14. Grid Smoothing

SmoothingAfter Smoothing

.Localizedgridspaces can reduce (but not increase) their minimum allowable cell size via the grid constraint

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

attached to the localized object which defines the space. Nested grid spaces can further reduceFloTHERM User Guide, V9.1301

Adding Grid

Spatial Solution Grid

minimum cell size, relhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ative to their parent grid space. This provides a way of restrictingsmall cells to localized grid spaces; the minimum cell size setting should generally be confinedto the grid space on which it is defined.

,thereareasmallnumberofsituationswheretheminimumcellsizeconstraintmaybeviolated. One place this can happen is where localized grid spaces abut. Because all of the gridlinesfromonegridbleedintotheother(see“AbuttingLocalizedGridSpaces”onpage298),itis possible that small cells can bleed into a grid space in which they are smaller than theminimum cell size constraint.

situation is where there are closely-spaced objects in different grid spaces, seeFigure8-15.

8-15. Closely-Spaced Objects in Different Grid Spaces

of the localized grid spaces contains a cuboid which generates its own gridlines. The twocuboids are slightly offset from each other in the y-direction. The base grid needshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 a grid line inthe y-direction to satisfy the system grid maximum cell size, so it selects a grid line whichcoincides with the cuboid in the right-hand localized grid space. However, since all base gridlines must pass through child grids, this results in a small cell (which may be smaller than theminimum cell size) in the left-hand grid space. This type of behavior is very sensitive to theexact placement of objects, the system grid and other grid constraint settings, and the relativeorder of the objects in the project tree.

patches are required if you need to refine the grid regions between geometry.Figure8-16showsschematicallytheadditionofagridpatchwiththreeadditionalcellsbetweentwoobjects.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Figure 8-16. Addition of a Grid Patch

GridBasicGridPlus

Patch

FloTHERMhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 User Guide, V9.1

Adding GridThe Spatial Solution GridTo create a grid patch, define the number of computational cells and their distribution over theregion. To add a grid patch for a specified direction, use theGrid Patches Dialog.

that grid patches extend over the solution domain and will always pass through localizedgrid spaces, seeFigure8-17.

8-17. Grid Patch Passing Through Localized Grid

patches can only be applied to the base system grid. To do the same on a localized childgrid, you can create a region and apply grid constraints to it.

access: PM Grid &gt; Patches

this dialog to create additional grid patches between regions of geometry.

making any settings in this dialog, you should display the current grid in the DrawingBoard and check the existing keypoints and grid constraints settings. SelectEdit &gt; Mohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5difyPictureintheDrawingBoardtocalltheDrawingBoardPictureDialogandactivatethedisplayof the solution grid.

To

the coordinate direction for the grid patch.

theGrid Summary Dialog to display the grid statistics.

Patch

a scroll list containing the names of the grid patches already existing in the projectfor the direction selected inApplies To, and data fields associated with the selection in thescroll list.

following control keys act upon theGrid Patch

[此处图片未下载成功]

[此处图片未下载成功]

list:

User Guide, V9.1303

Adding Grid

Spatial Solution Grid

New — calls a name entry dialog so you can start the new patch. Confirmation of the

creates a new patch entry in the scroll list, so you can now enter the data

for the new patch.://www.51wendang.com/doc/d2e52c141054f5479dae40c5r— deletes the grid patch selected in the scroll list after confirmation of the

.

—onlyactivewhenoperatingintheDrawingBoard,andisusedtosetthesizeofgridpatchesusingthemouse.AfterpressingSelect,pointthemouseatageometryedgeor face to define the start position. Repeat to define the end position. A patch is createdwith the start and end locations defined.

Name — calls an edit name dialog so you can change the name of the patch

in the scroll list.

and End Locations

,alternativelySelect can be used in the Drawing Board.

grid patch is valid providing both its start and end locations lie within the overall solutiondomain. The tolerance used to compare the patch and solution domain alignment is 1% theoverall solution domain size in the appropriate direction.

of Celhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ls Control

the density of the grid cells for this patch by using one of the options:

[此处图片未下载成功]

Additional Cells — adds an absolute number of cellsMinimum Number — sets a minimum number of cellsMaximum Size

[此处图片未下载成功]

— sets a maximum size for each grid cell

Distribution

options for the grid spacing over the patch as follows:

Uniform — for uniform grid spacing.

Increasing Grid Size — progressively increases the grid spacing.

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution Grid Decreasing Grid Size — progressively decreases the grid spacing.

SymmetricGridSize—forsymmetriccombinationofIncreasingandDecreasinggrid

.

last three options depend on the index value set.

Index

the power index by which the grid spacing is to increase or decreasehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5.

theincreasing power option, the coordinate location of the faces of each grid cell

(withinthegridregionspecified)increasesasthepowerofthespacingnumbercountedfrom the start (of the region).

example, suppose one region covers the x-wise gap between geometry objects, asrepresented inFigure8-18.

8-18. Example Diagram Illustrating Grid Spacing when Power Options

Applied

center

location of the faces of theith grid cell are labelledi andi-1 inFigure8-18. Therearen grid cells, that is,n spacings. The program sets the x-coordinate of theith face

the following formula when theincreasing power law is selected.

power xi=(lengthofregion)-- n

thedecreasing

[此处图片未下载成功]

power option is selected, the program sets the spacing to decrease as

[此处图片未下载成功]

the power of the spacing number counted from the end, accorhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ding to the following

[此处图片未下载成功]

formula.

[此处图片未下载成功]

i power xi=(lengthofregion)1–1–-- n

User Guide, V9.1305

Adding Grid

Spatial Solution Grid

theGrid Patches dialog, you can achieve local grid refinement by adding patchesbetween regions of geometry.

8-19. Grid Patches

grid defined using patches is imposed onto the system independently of any grid alreadyexisting.Forexample,agridwithapowerlawvariationwillbeappliedoverkeypointsalreadythere. This could result in some small cells.

8-20. Grid with a Power Law Variation

,youshouldviewyourchangesintheDrawingBoardapplicationwindowagain.If the grid is not on view, display it using theDrawing Board Picture Dialog.

Grid

-21 shows a program calculated grid in the x-y plane for an enclosure withhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 a boundaryinlet, and three cuboidal blocks. The default grid generated by the program matches the

.Inthisexample,theprogramhasput

[此处图片未下载成功]

in

[此处图片未下载成功]

6gridcellsinthex-directionand6 in the y-direction, while a user has added a grid constraint of 4 additional cells in the x-direction over the largest block.

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution GridFigure 8-21. Basic Grid Example

Refinement

(thatis,theregionbetweenX=0.08andX=0.09).Todothis,createapatchtostartat0.08andendat0.09inthex-directionwith uniform cell distribution, and enter one additional cell. The grid would then appear asshown inFigure8-22.

8-22. Grid Refinement

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

To display the grid, chooseModify http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Picture from the Drawing BoardEdit menu, then in theDrawing Board Picture Dialog, setDisplay GridtoSolver Grid.

should check that:

Cells of large aspect ratio have not been created.There are not large changes in cell dimensions at joins between regions.

“Guidelines on Aspect Ratio Levels” on page290 and“Checking Grid Suitability” onpage309.

User Guide, V9.1307

Adding Grid

Spatial Solution Grid

grid can be further refined by:

Attaching grid constraints to define the minimum requirements for the solution domainor geometry objects within it.Restricting how far the grid extends into the domain from the generating object using

and inflation grids.

Constraint Modeling Dialog in theFloTHERM Project Attributes Reference Guide.GridSummaryDialog

access: PM Grid &gt; Summaryhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 orGrid &gt; System &gt; Summary orGrid &gt; Patches &gt;Summary or

this dialog to check the grid statistics in the three coordinate directions for either:

[此处图片未下载成功]

the base solution domain grid orthe localized grid for a selected object.

statistics include the total number of cells, the size and location of the smallest grid cell,as well as the maximum aspect ratios.

[此处图片未下载成功]

[此处图片未下载成功]

GridSummaryDialogSettings

Grid Size

the number of grid cells in the three coordinate directions and theTotal number ofcells (Nx&#215;Ny&#215;Nz) for the selected grid space.

‘child’spaces‘nested’ inside the currently selected grid space. Cells in a parent space occupied by a childspace are not counted.

Grid Cell

the size and locathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ion of the smallest grid cell in the given direction.

Aspect Ratios

the size of the largest cell aspect ratios. For example, the location of the largest X/Zaspect ratio is usually at the same location as the smallest Z-cell.

FloTHERM User Guide, V9.1

Adding GridThe Spatial Solution GridFor Grid

start-up, theGrid Summary dialog fields show information for the base grid covering theoutside of all objects. Alternatively, if there are objects present withLocalized Grid settingsattached,http://www.51wendang.comethepopupmenuatthebottom of the dialog (Figure8-23), which contains a list of all objects with localized grid, tochoose the object with the attached grid of interest.

8-23. For Grid Popup Menu

.

“LocalizedGridStructure”onpage297foranexplanationofnestingoflochttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5alizedgridcells.CheckingGridSuitability

,youcanusethisdialogtocheckthatthegridis suitable for the current application. You can check:

Total grid size does not indicate extravagant use of grid patches.Size of the smallest grid cells for reasons of accuracy.Maximum aspect ratios are not high for critical cells.

attempting to create as realistic a model as possible, you may have been tempted to generatean enormous grid, adding far more patches than are really necessary.

for adequate grid modeling requirements are provided by the applicationexamples supplied with your installation or on the Mentor Graphics support site:

://www.51wendang.com

smallest grid information should be used to check that there are no cells anywhere whichare smaller than:

[此处图片未http://www.51wendang.com/doc/d2e52c141054f5479dae40c5下载成功]

-6&#215; the overall scale for the system being modeled.

User Guide, V9.1309

Adding Grid

Time Grid

,inasystemwhichisoftheorderof1m,thesmallestgridcellshouldnotapproachavalueof1micron.Thegridcellvolumesunderthesecircumstancescanbegintoapproachtheminimumresolutionwhichcanbehandledbythecomputerandseriousproblemsinthesolutionmay occur.

most cases, and certainly in critical areas and regions of interest, the aspect ratios shouldideally be less than the order of 10 or 20:1.

, high aspect ratios on the edges of the solution domain often cannot be avoided andhave no detrimental effects on the results, seeFigure8-24.

8-24. Maximum Aspect Ratios

aspect ratio

flow is turningLarger aspect ratio

where flow

parallel to cells

Topics

“Ghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5uidelines on Aspect Ratio Levels” on page290“Localized Grid Structure” on page297

.Itindicatesthenumber,sizeanddistributionofthe time steps used in transient calculations.

what is required are small time steps near the start of the transient, and longer time stepstowardstheendofthetransient.TheIncreasingPoweroption,see“TimePatchesSettings”onpage318, is ideal for setting time steps like this.

each transient project, specify a total transient simulation period. The project solution

can run for this complete period or less, depending on the setting for the solution periodin theOverall Transient Settings.

may wish a full simulation to comprise a sequence of short solution periods using the endconditions of the previous run for the initial conditions of the next run as shown inFhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5igure8-25

[此处图片未下载成功]

.310FloTHERM User Guide, V9.1

Adding GridThe Time GridFigure 8-25. Sequence of Short Solution Periods

1Period 2

[此处图片未下载成功]

Period ...

[此处图片未下载成功]

Period n

default, the overall total transient time and the solution period are the same.

default, there is one time step which corresponds to the entire solution period. This can besubdivided, using Time Patches (Figure8-26), so the entire transient can be simulated in asequence of time intervals in each of which a distinct calculation is performed. The initial

for interval n is the solution obtained at the end of interval n-1. The start time of aninterval and its elapse time (that is, duration of the interval) define the integration time.

8-26. Additional Time Steps

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

keypoints locate the solution time steps. By default, there is one time step, with akeypoint at the start and at end of the solution period.

.Ifyoutrytodefinetime steps smaller than the keypoint tolerance they will not be created. This provides a way ofsuppressing very small unnecessary time steps that might otherwise be created.

can achieve local grid refinement by adding time patches between time steps, seeFigure8-27.

User Guide, V9.1311

Adding Grid

Time Grid

. You should be aware that this could result in some small time steps.

8-27. Local Grid Refinement

is important to understand thahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t after a transient calculation is completed, the only fields thatthe program stores are those at the end-time of the transient. Therefore, if intermediate timeresults are required, subdivision of the integration time interval needs to be specified. For

, you may wish to analyze the air flow and thermal behavior of an enclosure over a 24hourperiod,towhichendsettS=0.0andtE=24hours.Ifyouwanttolookatthetemperaturedistribution every 6 hours, you will have to do this in four intervals, seeTable8-2.

8-2. Results Stored

[此处图片未下载成功]

[此处图片未下载成功]

However, note that the values of variables at the monitored locations, see“Setting Monitor

”onpage325,arestoredateachtime-step.Consequently,thetimehistoryofthesevaluesmaybeplotteddirectlyusingtheProfileswindow.See“ResidualsIterationCurvesversusTime(Transient Solution)” on page369.

FloTHERM User Guide, V9.1

Adding GridThttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he Time GridImportanceofConvergenceforEachTimeStep

is important to ensure that convergence of the algorithm is achieved for each time stepotherwise the solution errors left over from incomplete convergence will be propagated (andpossibly enlarged) from one time step to the next.

“Variable Solution Control Dialog” on page401 for details of solution-algorithm control.PlottingTimeSteps

,checkthetimegriddistributionfromtheTime Step Distribution Plot.

a good resolution without excessive computational time. As a very simple example,

-28,Figure8-29andFigure8-30showtheeffectontheaccuracyofatransientanalysisby changing the number of time steps. In this example, a ramp and fall transient function

[此处图片未下载成功]

(shown in red) has been applied to a PSU, andhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 a monitor point has been added to the PSU.

[此处图片未下载成功]

Figure 8-28. Transient Analysis Resolution Example - 15 Uniform Time StepsFigure 8-29. Transient Analysis Resolution Example - 30 Uniform Time StepsFloTHERM User Guide, V9.1313

Adding Grid

Time Grid

8-30. Transient Analysis Resolution Example - 60 Uniform Time StepsDisplayingTimeStepStatistics

check the time grid density, use theTransient Grid Data Dialog,

-ProcessingintheVisualEditor

data at selected times, called Save Times, can be displayed in tables and plots. SaveTimes are time steps at which the 3D results fields will be saved to disk.

[此处图片未下载成功]

Save times are defined in the Transient Solution dialog, for example, see

[此处图片未下载成功]

Figure8-31.

8-31. Transient Save Times Example

the solution has completed, the results can be loaded ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nto the Visual Editor for viewing.Note that only the 3D results fields are saved, derived properties such as flow rates and heatfluxes are not available.

Viewing transient data in tables

FloTHERM User Guide, V9.1

Adding GridThe Time GridLaunch the Visual Editor in Tables mode and select theTable &gt; Results node of the

. In the properties sheet displayed under the tree, selectDisplay Transient and

the time of interest from theTransient drop-down list of save times, see

-32.

8-32. Transient Save Times Selectable in Tables

Plots of transient data

see how a plot changes with time, create a plot in the Visual Editor and, in the

properties sheet (refer to“Results Properties” on page449)choose the time ofinterest from theTransient drop-down list of save times, see

[此处图片未下载成功]

Figure8-33.

User Guihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5de, V9.1315

Adding Grid

Time Grid

8-33. Transient Save Times Selectable in Plots

access: PM Model &gt; Transient

this dialog to set the number, size and distribution of time steps used in transient

.

set the overall simulation time and the duration of the next solution period, use theOverallTransient Settings.

time steps can be created using theTime Patches Settings.

dialog is divided into five frames which provide subsets of settings:

“Overall Transient Settings” on page317.“Time Patches Settings” on page318 to adjust the time grid or use the default.“SaveTimesSettings”onpage320tosetthe“SaveTimes”,timesatwhichdataissavedfor post-processing display by the Visual Editor, either in tables or plots.

[此处图片未http://www.51wendang.com/doc/d2e52c141054f5479dae40c5下载成功]

“Transient Functions” on page321 to display transient functions present in the projectas an aid to setting your time steps.“Time Step Distribution Plot” on page322 gives a graphical representation of the time

.

FloTHERM User Guide, V9.1

Adding GridThe Time GridTransient Solution

the dialog and selects the solution of variables for flows where the alteration of flowand heat transfer with time is of interest (for example, for such events as a power up).

transient calculations, the program solves the equations for a number of time steps, the timestepbeingdefinedbytheuserinthisdialog.Unlessatransientcalculationhasbeenselected,byticking this box, the program prevents selection of the rest of the dialog.

time zero for a transient simulation, you specify the starting conditions in theInitial

Dialog. It is important to realize that in transienthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 simulations the setting of the initialconditionsactuallyformsapartoftheproblemspecification,sinceearlier-timevaluesinfluencelater-time values. (This is not the case for steady state simulations, but even so a good guess atthe initial fields can reduce the number of iterations required for convergence.)

theSave Times Settings to specify a list of times at which 3D field data can be saved andmade available for post-processing in Tables and the Visual Editor.

[此处图片未下载成功]

[此处图片未下载成功]

Summary

,andlocationandsize of the smallest time step.

Units

.Thissettingisforreadabilityofthe dialog and does not change the default time units (set usingEdit &gt; Units).

these settings to set the total duration of the simulation, and thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e elapse period of the nextsolution run.

Transient Time

the total duration of the simulation defined by entering theStart Time andEnd Time inseconds.TheTimeStepDistributionPlotx-axis(Time)isupdatedwhentheEndTimevalueischanged.

Solution Period

.Thisstarttimeisupdatedatthestartofeachsolution.Thedurationisthetimeforthenextsolutionperiod.FloTHERM User Guide, V9.1317

Adding Grid

Time Grid

Tolerance

-spanbetweenthetimesteps.Transientkeypointslocatethestartandend of time steps forming the transient grid, see“Transient Keypoints” on page311. Transientkeypoints with a separation below this value will be combined.

in the project, and the datahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 fields associated with the current selection in the scroll list.YoucanselectmorethanonetimepatchusingCtrl-Selectand/orShift-Select.Whenmorethanone time patch is selected, data common to all of the selected time patches is shown andchanges made to common fields affect all selected time patches. Data fields that are notcommon are blanked out and the values particular to the time patches are maintained.Selected time patches are highlighted in theTime Step Distribution Plot.

the new time patch with a default name that you can change using the data entry field.Delete

the selected time patch(es).

creates time patches. All existing time patches will be deleted.

-created time patches are based on the Transient Functions currently attached tothe project, if there are none then a single time patch is created. If there are transient functionsthehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n time patches will be created for each period (if the function is periodic) or for each sub-function (if the function is sundivided). The time patches will also be divided into time steps,dependent on the settings in the Number of Steps Control and Time Step Distribution frames.Thenamesofautomatically-createdtimepatchesarederivedfromthestartandendtimesofthepatch, for example, “2-3s”. The units of time (s in this example) are those specified by theTime Units field at the top of the dialog.

and End Time

the elapse period for the selected time patch.

of Steps Control

the density of the patch steps adjusted by either adding an absolute number of steps,specifying the minimum number, or maximum size of steps to be found in this grid region.318FloTHERM User Guide, V9.1

Adding GridThe Time GridTime Step Distribution

options for how time steps are distributed throhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ughout a time patch:

Uniform creates time steps of equal duration, seeFigure8-34.

8-34. Time Step Distribution - Uniform

Increasing Power creates time steps that progressively increase, that is, the time steps

longer with time, seeFigure8-35. The rate of increase is dependent on theIndex

.

8-35. Time Step Distribution - Increasing Power

Decreasing Power creates time steps that progressively decrease, that is, the time steps

shorter with time, seeFigure8-36

[此处图片未下载成功]

. The rate of increase is dependent on the

[此处图片未下载成功]

Indexvalue.

User Guide, V9.1319

Adding Grid

Time Grid

8-36. Time Step Distribution - Decreasing Power

SymmetricPowercreatestimestepsthatprogressivelyincreaseandthenprogressively

around the mid-time, seeFigure8-37. The rate of ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ncrease/decrease is

on theIndex value.

8-37. Time Step Distribution - Symmetric Power

Index sets the rate at which the time step duration increases or decreases when one of

Power distributions is selected.

(SaveTimes)when3Dfielddatacanbemadeavailableforpost-processing in the Visual Editor, see“Post-Processing in the Visual Editor” on page

[此处图片未下载成功]

314.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

You can specify Save Times in one of two ways:

As an evenly distributed set of times, by entering the frequency in theEvery Nth Stepdata entry field and clickingPopulateIndividually, by entering times in theValue data entry field and clickingAdd.

FloTHERM User Guide, V9.1

Adding GridThe Time GridYou can use a combination of these methods to create a list. Ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s you populate and add SaveTimes, the list will grow. You can delete selected Save Times from the list, or delete the wholelist.

Nth Step

.Thedefaultis1.Whenspecifying Save Times in this way, the data is always saved after the first time step and then ateachNthstepthereafter.Forexample,forasetofeighttimesteps,ifEveryNthStepissetto2,data would be saved after the 1st, 3rd, 5th, and 7th time steps.

.Notethatifyouhaveentered a number greater than the total number of steps, only the time of the first step is saved.Value

a new Save Time to be added to the list.

to add the time entered in theValue field to the list. The value snaps to that of thenearest time step. For example, if the overall transient is 100s long with time steps set at://www.51wendang.com/doc/d2e52c141054f5479dae40c5rof 20s, attempting to add a Save Time at 38s will create one at 40s. You cannot savedata at any other times than the ends of time steps.

Times List

.Note,thatifthetimesspecifieddonotfallonatimestepduring the transient solution, then the data will be saved at the closest possible time step value.Delete

the selected (highlighted) entry.

All

the list of save times. A confirmation message is displayed.

the transient functions currently attached to the project. Transient functions are createdusing theTransient Function Attribute dialog. For information about this dialog and how toattach transient functions, seeTransient Functions in theFloTHERMProject AttributesReference Guide.

can select transient functions from the list to see them graphically represented on theadjacent Time Step http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Distribution Plot. Ctrl-Select selects individual transient functions andShift-Select selects a range.

User Guide, V9.1321

Adding Grid

Time Grid

Function plots overlay the time patches and are individually colored. Note that thevertical axis has no quantitative meaning for transient functions, it merely provides profiles ofthe functions so that you can decide where to add or remove time steps.Figure8-38 shows anexample of a selected transient function in red overlaying a set of three time patches.

8-38. Example of Selected Transient Function Overlaying Time PatchesTimeStepDistributionPlot

within regions of the time grid. It is a graphical summary of the time grid information forthe current project. When single or multiple Time Patches are selected, the correspondingportion of the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5plot changes color to indicate the selected time patches. For example, in

[此处图片未下载成功]

Figure

[此处图片未下载成功]

8-39 the last time patch, covering the time interval 7-10 s, has been selected and isshown in green.

8-39. Time Step Distribution Plot

vertical axis indicates the individual time step duration and the horizontal axis the timeperiod over which the time steps apply. For example, inFigure8-39 the transient period322FloTHERM User Guide, V9.1

Adding GridThe Time Gridbetween1and2secondsintothecalculationhasfour0.25secondtimesteps.Theunitsforbothaxes are obtained from the unit set for the total transient start time in the“Overall TransientSettings” on page317.

total number of steps and the smallest time step are displayed in theTransient Grid DataDialog, which is available by clicking theSummary button.

plot also shows any selectedTransient Functions.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

access: PM Model &gt; Transient &gt; Summary

dialog displays calculated statistics for the time grid.

smallest size and location information can be used to check that detailed time steps havebeen correctly added to important transient boundary conditions. Two such examples are forperiods when:

A fan is switching on and offPower is dissipating or charging

of Steps

the total number of time steps for the entire solution.

Time Step

both size and location of smallest time step.

User Guide, V9.1323

Adding Grid

Time Grid

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

9SolvingtheProject

and heat transferhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 equations within the solution domain.

solution may be monitored in profile plots of the convergence of residual errors and/orvariable values at monitored points.

starting the solution, set monitor points at locations where you wish to monitor thevariation of the solution variables.

monitor points are locations on the solution domain, they are treated as part of thegeometry structure and therefore become part of the current selected assembly.CreatingMonitorPoints

monitor points using either the New Object Palette in either the Project Manager or theDrawing Board.

,selecttheassemblytoholdthemonitorpoint,thenclickintheNewObject Palette. The new monitor point then appears in the data tree as a child of the selectedassembly.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5(whenlocalor absolute coordinates have been respectively set in theUser Preferences Dialog).

,youcancreatemonitorpointslocatedatthecenterofgeometryobjects.Selectan item of geometry (for example, cuboid or region) before http://www.51wendang.comingtheDrawingBoardIn the Drawing Board, monitor points are only visible if their display option is selected. So

[此处图片未下载成功]

before attempting to create monitor points in the Drawing Board, check that the monitor point

[此处图片未下载成功]

display option is active in theDrawing Board Picture Dialog.

User Guide, V9.1325

Solving the Project

Monitor Points

,sotocheckwhichassemblyischosen,useView&gt;Top.Ifthisisnottheassemblyyouwant,thenchangethecurrentassemblyusing the Project Manager before creating the monitor point in the Drawing Board.

change http://www.51wendang.com/doc/d2e52c141054f5479dae40c5the current assembly, select the assembly in the Project Manager and use

&gt;Top.

create the monitor point in the Drawing Board, click in the New Object Palette. Themouse cursor changes to cross-wires, just click in a picture where you want the monitor pointlocatedand,providingthemonitorpointdisplayoptionisactivated,thenewmonitorpointwillappear.

that, although a monitor point may be a member of an assembly, its location is ignoredwhen representing the collapsed assembly in the Drawing Board. The bounding box only

,asshowninFigure9-1.However,ifyoumovetheboundingbox then the monitor point, providing it belongs to the assembly, also moves.

[此处图片未下载成功]

Figure 9-1. Monitor Point in Drawing Board

[此处图片未下载成功]

The definition of the new monitor point can be changed using theMonitor Point Menu,obtained by right-clicking the monitor point.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arMonitorPointMenu

9-2. Monitor Point Menu

FloTHERM User Guide, V9.1

Solving the ProjectSetting Monitor Points

Location calls theEdit Monitor Point Dialog, to change the location of the monitorpoint.ShapecallstheMonitorPointShapeDialog,tochangethemonitorpointrepresentation

the Drawing Board. Monitor points can be displayed as small cross-hairs, spheres orcubes.

calls theEdit Notes Dialog, to add reminders to the construction.

only available in the Project Manager, calls theSummary Dialog to tabulateconstruction information for the selected geometry.

cuts the monitor point from the data tree and copies it to the paste buffer.

copies the monitor point into the paste buffer so it can be pasted elsewhere.

To Library, only available in the Project Manager, saves the monitor point to thelibrary already selected in the library http://www.51wendang.com/doc/d2e52c141054f5479dae40c5tree, see“Library Manager” on page267.

access:PM Monitor Point Menu &gt; Location

thisdialogto change the position of a monitor point. A monitor point is the location atwhich you wish to check the variation of the field variables.

variation of field variables is plotted using theProfiles window. This is useful formonitoring convergence or viewing the transient variation of field values.

the monitor point. Note that if an object was selected when the monitor point wascreated, then its name matches that of the selected object.

Dimensions In

the unit of length measurement from the popup.

the position of the monitor point.

Coordinates (the default) are in use, then the position is relative to the origin of theparent assembly. Otherwise, usihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ngAbsolute Coordinates, the location is set relative to themodel origin.

change the coordinate system, use the

[此处图片未下载成功]

“User Preferences Dialog” on page83.

User Guide, V9.1327

Solving the Project

Monitor Points

theEdit Notes Dialog, to attach reference information to the monitor point.

,monitorpointsarerepresentedintheDrawingBoardbycross-wires,buttheirshapecanbechangedtospheresorcubes.Tochangethemonitorpointshape,right-clickthemonitorpoint and chooseShape from the popupMonitor Point Menu.

profile plots, the values plotted are those found in the computational cell in which the

(theprogramdoesnotinterpolatethevaluetothepreciselocationofthemonitor point).

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rofObject

,youcancreatemonitorpointsatthecenterofgeometryobjects.Selectanitemof geometry (for example, cuboid or region) in the Project Manager and then click on themonitor point button. The new monitor point will be located at the center of the selectedgeometry. For clarity, the monitor point will be named after the selected object.

-statesimulations,youcanplotfieldvaluesatthemonitorpointlocationsasafunctionofouteriteration,see“CreatingNewPlots”onpage364.Thisprovidesyouwithanalternativemethod of investigating convergence to that provided by viewing the plot of residuals againstiteration. For example, if the pressure at a monitor location is shown to change with iterationcount, then convergence may yet be some way off; whereas if it appears to be approaching aconstant value, then convergence at this location has nearly been achieved, seeFigure9-3.://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar9-3. Approaching Convergence1.0(E-3) Pressure0.9

.8

.7Pressure-6.01Iteration No.1110.60.50.40.30.2Iteration No.Convergence is some way offApproaching convergence

FloTHERM User Guide, V9.1

Solving the ProjectSetting Monitor PointsMonitoringVariablesinTransientSolutions

,youcanplotthefieldvaluesatthemonitorpointlocationsasafunctionof time, see“Creating New Plots” on page364.

9-4. Transient Solutions

.10

.99

.88

.77

.66

.55

.44

.33

.22

.11

.00TimePressure plotted against Time

fields stored in program memory are those of the last time-step solved. Consequently,

-step.Ifyouwant to see how things change with time, you have to profile the monitor values.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5osetupmonitorpointsatalllocationsforwhichyouneeddata.Datafromprevioustime intervals will only be available if a monitor point was present at that time.

solution, if you set up a list of times using the Save Times frame of theTransient

Dialog, then after solution you can display the field data at different snapshots in timeusing the Visual Editor and Tables windows. By default, only the field data at the end of thesolution is shown in the Visual Editor and Tables windows.

access:PMMonitor Point Menu &gt; Shape

window.

is useful when you need to distinguish quickly between the different monitor points.MonitorPointShapeDialogSettings

the monitor point selected for reshaphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing.FloTHERM User Guide, V9.1329

Solving the Project

Monitor Points

on the shape you require.

FloTHERM User Guide, V9.1

Solving the ProjectSolving the EquationsSolvingtheEquations

FloTHERM solution can be run either interactively or in batch mode from the commandline.

solve interactively, click on in the standard button bar.

, you can start the solve from the Project Manager by choosingSolve from theSolve menu.

,themessagewindowappearstodisplayanywarningsorinformationmessages from the solver. The Profiles window automatically starts up ready to display theprogress of the solution as it is calculated. If the Profiles window is not visible, it may beiconized or hidden behind another window.

the solution FloTHERM reports its progress in a dialog displayinhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5g a percentagecompletion bar.

9-5. Solve Progress Dialog

the solver terminates, the solution status is displayed in the Message window.

:

.Re-runningasimulationcausesallexistingresultsforthemodeltobedeletedbeforethe

begins running. If you wish to save the results from the previous run you shouldre-name the project prior to running the simulation again.

://www.51wendang.coming the

[此处图片未下载成功]

Command Center

[此处图片未下载成功]

, you can perform a series of solver runs for comparison

.

User Guide, V9.1331

Solving the Project

the Equations

,itsprogressistraceddynamicallybytheplottingofthe residual error values against iteration in theProfiles window.

9-6. Phttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lot of Residual Error

if there are monitor points in the project, a plot of monitored variables for temperature, orpressure if temperature is not available, is also displayed.

continues until convergence or the number of overall outer iterations is reached,whichever is the sooner. Alternatively the program can be interrupted.

the solution algorithm has started, it is important to realize that you do not have to waituntil the solution has converged before you can display the results. You can pause the solutionat the end of the current outer-iteration by pressing the interrupt button in the standardbutton bar. This causes control to return to the application windows from where you can viewtheintermediateresults.ThecalculationcanthereafterbecontinuedbychoosingSolvefromtheSolve menu or the button.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5tch mode is mainly used for large projects which will require a long processing time. Theprojectsarecreatedinteractivelyin

[此处图片未下载成功]

FloTHERM,with

[此处图片未下载成功]

thenumberofiterationsyouwantsolvedfor set-up, the case initialized and sequential or parallel solution type selected in the user332FloTHERM User Guide, V9.1

Solving the ProjectSolving the Equationsinterface, before submitting the job for batch solution from the command line or using a batchfile (see“Creating and Running Batch Files” on page337.).

the job is running, you can examine the logit file to check the solution progress andinterrupt it if necessary. For information on the logit file, see“Monitoring Solution while inBatch Mode” on page337.

notification on job completion can be requested. For information on the email

, see“To Request Email when Solution Terminates” on page339.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5te that batch mode may also be used to solve PDML project files, see“Extended BatchSupport for PDML with Tables Output” on page339.

are three different FloTHERM command line sequences depending on whether you arerunning on Microsoft&#174; Windows, Solaris or Linux.

://www.51wendang.comunch a command prompt window.

.Type:

&lt;install_dir&gt;MentorMA_v91\par-b project &lt;options&gt;

:

&lt;install_dir&gt;

-bis where you have installed FloTHERMinitiates batch mode

the name of the project to be solved. If there are any spaces or special

in the project name, then following standard Microsoft&#174; Windows

, it must be enclosed in single or double quotes. For example:

-b &quot;my project&quot;project

://www.51wendang.com/doc/d2e52c141054f5479dae40c5Note that special national characters are not allowed.

&lt;options&gt;are the optional solver parameters which can follow the basic command asdescribed below.

full list of optional parameters are:

-p project

FloTHERM interactively and loads the project

User Guide, V9.1333

Solving the Project

the Equations

-i solnsetinitializes the starting solution to asolnset solution set.-xforces the software to only calculate the radiation exchange factors.-sforces the software to only solve the CFD equations.-z pack filenameexports the solved project as a compressed file for archiving or transfer to other systems.-r htmfileexports all the Tables specification and results data to the namedhtml file.-c

.Ifthebasecaseisnotfullhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ysolved,thenitisalso solved.

, if FLOQUEUELOCATION is set, ensure there is a volunteer running that can solvethe scenario projects. To start FloVolunteer, see the FloTHERM installation notes. For

information seeFloVolunteer in theFloTHERM Command Center User Guide. -o output directory

*.csvfileformattodirectoryoutputdirectory.See“OutputCSV Files” on page339.

-O output directory

the information forall the tables in*.csv file format to directoryoutput directory.See“Output CSV Files” on page339.

,thefullcommandsyntaxtooutputthetablesspecificationandresultstoanhtmlfile is:

-b  &quot;my project&quot; -r &quot;my html file&quot;

[此处图片未下载成功]

[此处图片未下载成功]

Default: Omitting -xand -sforces the program to decide whether to perform the radiationExchangeFactorcalculationspriortoCFDsolution.Thatis,ifhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5radiationisonandthereisnotavalid set of view factors, then the view factors will be calculated.

is a defined rule of precedence for concurrent command line options. The -poptionoverrides-b,andboth-pand-boverride-d,buthandleloadfailuresdifferently.Ifthe-pprojectoption fails, the default project is loaded, but if the specified batch project fails toload, the program exits.

FloTHERM User Guide, V9.1

Solving the ProjectSolving the EquationsToSolveaProjectonSolarisSystems

.Set-up the PATH variable by typing at the system prompt:

PATH &lt;install_dir&gt;MentorMA/flosuite_v91/

/SOLARIS:$PATH

:

&lt;install_dir&gt;is where you have installed FloTHERM

.Type:

-b project &lt;options&gt;

:

-binitiates batch mode

the name of the project to be solved. If there are any spacehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s or special

in the project name, then following standard Solaris conventions, it must

enclosed in single or double quotes. For example:

-b &quot;my project&quot;project

that special national characters are not allowed.

&lt;options&gt;areoptionalsolverparameterswhicharethesameasforWindowssystems,see“Optional Parameters on Windows Systems” on page333.

example, the command syntax for outputting the tables specification and results to an htmlfile is:

-b  &quot;my project&quot; -r &quot;my html file&quot;

(andSolarisFloVolunteerOnlyInstallations)On Linux systems, only the Solver and EFG are available.

.First initialize the project on your front-end machine (running on Windows or Solaris).

.Log on to your Linux machine and type:

&lt;install_dir&gt;/runSolve project

:

&lt;instalhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5l_dir&gt;is where you have installed runSolve, for example:

/opt/MentorMA/flosuite_v91/common/LINUX or SOLARIS&lt;n&gt;/bin

the name of the project to be solved.

User Guide, V9.1335

Solving the Project

the Equations

(andSolarisFloVolunteerOnlyInstallations)

,youcanforcethesoftwaretocalculatetheradiationexchangefactorsbeforesolvingand also, if you have a parallel solver license, choose to run the parallel solver.

additional arguments are included in the following command string:

&lt;install_dir&gt;/runSolve  x -p -n # project

:

xrequests the calculation of the radiation exchange factors before solving-p

the parallel solver. Two CPUs are used by default, but you can specify a differentnumber by adding the -n # arguments.

-n #

the number ofhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 CPUs to be used by the parallel solver

example:

&lt;install_dir&gt;/runSolve -p -n 4 project

run the solver on four CPUs.

-upandFloTHERM has not been run, then first runflotherm -env in directory:

&lt;install_dir&gt;_v91

-env sets up the path, and environment variables required to run FloTHERM and itsutilities, but does not run FloTHERM itself. This replaces the set-up command line utilityavailable for earlier versions of FloTHERM. This environment is also created when

runs normally.

-upandFloTHERM has not been run, then first runsource setup in directory:

On Solaris:://www.51wendang.com/doc/d2e52c141054f5479dae40c5

&lt;install_dir&gt;/MentorMA/flosuite_v91/flotherm/SOLARIS&lt;n&gt;/bin

On Linux:

FloTHERM User Guide, V9.1

Solving the ProjectSolving the Equations&lt;install_dir&gt;/MentorMA/flosuite_v91/flotherm/LINUX/bin

setup sets up the path, and environment variables required to run FloTHERM and itsutilities,butdoesnotrunFloTHERMitself.ThisenvironmentisalsocreatedwhenFloTHERMruns normally.

save time typing, you can use the suppliedflobatch.bat file or create your own batch file.CreatingandRunningBatchFiles

create a batch file, use a text editor to start a new file and add the FloTHERM commandlines. For example, on Windows systems, to solve two projects My Project1 and My Project2add the following lines:

“C:&lt;path&gt;” -b ¡盡y Project1¡�

“C:&lt;path&gt;” -b ¡盡y Project2¡�

&lt;path&gt;is:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5gramFiles_v91

assumes that FloTHERM has been installed in the defaultC:Files directory.Note that the names are case-sensitive on UNIX systems.

the batch file with the extension.bat (for example,batchrun.bat) into any directory.

,openaDOSpromptwindowandnavigatetothedirectorywherethescriptwas saved and type the file name to start the batch run. When you return to the machine, youwill be able to open the solved projects in FloTHERM and examine the results.

.bat

batch file namedflobatch.bat is provided in the bin directory to aid in the running of batchjobs. The file is setup to accept the name of the project to be solved and, if so desired, theproject to be used for the initialization, as command line input. The syntax is:

project_to_solve &lt;project_to_initialize_from&gt;

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ionwhileinBatchMode

in batch mode, if you need to check your project is solving, then examine the logit fileheld in the solution project log subdirectory:

.../flouser/project_set_dir/DataSets/BaseSolution/PDTemp

User Guide, V9.1337

Solving the Project

the Equations

logit file is an ASCII text record of the residual data as it is generated. If the logit file isincreasing in size, then the project is still solving.

logit file can be used to check how well the linear equation solver is performing for aparticular variable.Figure9-7 is an extract taken from the top of an example file to show itsformat.

9-7. Extract from Logit File

solution values are recorded for each iteration (pass). After many iterations, if the solutionprocess as a whole is convergent, the residuals presented to the solver will be small, and thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ecorrectionsobtainedwillbecorrespondinglysmall,sotherewillbelittlechangeintheresidualvalues indicated for a particular variable.

interrupt batch solution you need to create an empty file calledstopnow in the solutionsubdirectory:

&lt;solution_dir&gt;/project_set_dir/DataSets/BaseSolution/

easiest way to create thestopnow file is as follows:

[此处图片未下载成功]

On Solaris systems use thetouch command:

&lt;solution_dir&gt;/project_set_dir/DataSets/BaseSolution/stopnow

On Windows systems use Explorer to create a new text document and rename it

, ensuring it has no.txt extension.

FloTHERM User Guide, V9.1

Solving the ProjectSolving the EquationsOnceyouhavecreatedthisfileyoushouldwaitforthesolutiontointerrupt,whichwilltaketwoiterations, before trying to load the project into an interactive session.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5questEmailwhenSolutionTerminates

can request email notification of the termination of a solution run. By default, the emailincludes the solver floerror.log and logit files as attachments and is requested by configuringyour recipient environment variable as follows:

On Solaris systems:

FLO_EMAIL user_name@domain

On Windows systems:

FLO_EMAIL=user_name@domain

the solution terminates, the software will send an email to the recipient named by theenvironment setting. If it is not set, mail will not be sent.

, the Windows software includes an SMTP utility program which needs to knowthe name of the SMTP mail server. The Windows scriptflomail.bat includes a variable

_HOST which must be configured to the correct value. The default value is mailhost.Prior to use, the user must set this variable to the correct name.

you do not know your mailhhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ost name, contact your System Administrator.

.pdml project files may also be solved from the command line. The regions,monitor points and cuboid flux results data normally displayed in the Tables application

,maybeoutputtoacommaseparated.csvtextfilebyspecifyingthe output directory. The command line syntax is as follows:

-b full_pathname/project.pdml -o &lt;output directory&gt;

will create the appropriate project subdirectory in the directory from the user

.

.csvfiles contain a row of column headers separated by commas, followed by the rows oftablecellsseparatedbycommas.Thesolutionresultscanbeeasilyloadedintoaspreadsheetasshown inFigure9-8 for temperature values at monitored points.

User Guide, V9.1339

Solving the Project

the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Equations

9-8. Output CSV Files

are two batch output options for tables data:

Results tables onlyAll tables

(-ooutputdirectory) option are:

For all cuboids:

_Temperature.csv — cuboid names and temperature

When monitor points are present:

_DissTurb.csv — dissipation of turbulence at monitor pointsmon_KETurb.csv — kinetic energy of turbulence at monitor pointsmon_Pressure.csv — pressure at monitor pointsmon_Temperature.csv — temperature at monitor pointsmon_TurbVis.csv — turbulent viscosity at monitor pointsmon_XVelocity.csv,mon_YVelocity.csv andmon_ZVelocity.csv — velocities at

points

When volume regions are present:

_DissTurb.csv — dissiphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ation of turbulence in volume regionsregvol_Generation.csv

[此处图片未下载成功]

— source of turbulence generationregvol_KETurb.csv — kinetic energy of turbulence in volume regionsregvol_MagHeatFlux.csv — heat flux in volume regionsregvol_MagMassFlux.csv — mass flux in volume regions

FloTHERM User Guide, V9.1

Solving the ProjectSolving the Equationso

_MeanRadTemp.csv — mean radiant temperature in volume regionsregvol_Pressure.csv — pressure in volume regionsregvol_Speed.csv — speed in volume regionsregvol_Temperature.csv — temperature in volume regionsregvol_TurbVis.csv — turbulent viscosity in volume regionsregvol_XHeatFlux.csv,regvol_YHeatFlux.csv andregvol_ZHeatFlux.csv —

heat flux

_XMassFlux.csv,regvol_YMassFlux.csv andregvol_ZMassFlux.csv —

mass flux

_XVelocity.csv,regvol_YVelocity.csv, andrehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5gvol_ZVelocity.csv — velocities

volume regionsoo

When planar regions are present:

_regions.csv — field results over planar regions

For all conducting cuboids:

_conduct.csv — cuboid fluxes

For the solution domain

_Overall.csv — cutouts and overall solution domain

the uppercase O (-O output directory) option will output all the table data generatedfor the batch job. The possible files generated include those listed for“Results Tables” onpage340 and the following additional geometry and attribute settings files.

For geometry tables:

_resistances.csv — collapsed resistancesComponent_Fluxes.csv — conductive, convective and radiative heat fluxes for

and network assembly nodes

_Nodes.csv — Temperatures at component and network assembly nodes

_Overallhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5.csv — cutouts and overall solution domain

_smartparts.csv — Die SmartParts

_smartparts.csv — fan SmartParts

_Flows_smartparts.csv — fixed flow SmartParts

_geometry.csv — geometry model

ooooooFloTHERM User Guide, V9.1

Solving the Project

the Equations

_Assembly_SmartParts.csv — Network assembliesRecirculation_SmartParts.csv — recirculation device SmartPartsTEC_smartparts.csv — TEC SmartParts

For attribute tables:

.csv — ambient/objectFluid.csv — fluid attributesGridConstraint.csv — grid constraint/objectMaterial.csv — material/objectObject_Properties.csv — objects/propertiesRadiationProperty.csv — radiation/objectResistanceProperty.csv — resistance/objectSourceProperty.csv — source/objectSurfaceExchange.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5csv — surface exchangeSurfaceFinish.csv — surface finish/objectThermal.csv — thermal/objectTranisentProperty.csv — transient attributes

,orbyanumberofrunswithconsecutiveintegration periods; they can be solved either interactively, with batch jobs or with the

Center. However, care must be taken when solving a single transient in a number ofstages, for each transient stage must run with consecutive transient times. For information onsetting up the transient grid and the transient times, see“The Time Grid” on page310.

, FloTHERM will generally handle the correct times but you should be aware ofwhat is expected and how FloTHERM maintains the correct transient times. The followingexplains what happens with the different modes.

running a transient case, the full thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ransient is defined by the transient grid and the totaltransient time. But the case can be run in separate stages defined by the transient solutionperiod.

a case with total transient start and end times of 0 to 20 seconds. The case could, forexample, be run in two separate runs of 10 seconds. When running interactively, to ensure the342FloTHERM User Guide, V9.1

Solving the ProjectSolving the Equationstime values are consistent between stages, FloTHERM automatically updates the transientsolution period start time to match the end of the previous stage.

initializing from another project using theModel &gt; Initial variables“Initial VariablesDialog” on page108, the transient time starts from the current case total transient time and notfrom the project selected in theInitial Variablesdialog.

batch mode, when running a transient in separate stages, eachhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 stage must be provided with acase to start from. For example, to run one transient project over four different stages the batchjobs can be set and run as follows:

-b transientcase

-b transientcase -i transientcase

-b transientcase -i transientcase

-b transientcase -i transientcase

will produce identical results to the same case run interactively four times. Using the -ioption to the same name is effectively the same as a continuation in the interactive mode andensuresthatthetransientsolutionperiodstarttimeistakenfromtheendofthepreviousstageateach run.

running the same case but as individual projects (for example, to enable different integrationperiodstobesetortokeeptheresultsforeachstage)thefollowingshouldproducethesameendresult,exceptthatthehistoryforeachrunwillonlybeavailableateachindividualstageandnotas one concatenated plot:

-b http://www.51wendang.com/doc/d2e52c141054f5479dae40c5transientcase

-b transientcase1 -i transientcase

-b transientcase2 -i transientcase1

-b transientcase3 -i transientcase2

with the interactive mode, when initializing from another project defined in the“InitialVariables Dialog” on page108, the transient time is started from the total transient time anddoes not take the time from the project selected in the“Initial Variables Dialog” on page108.SolvingTransientsUsingCommandCenter

case where a single transient is solved in a number of consecutive stages (“SolvingTransients Using Batch Mode” on page343) can also be solved in the Command Center bysetting up scenarios that are initialized using theAll From Previous option. This will result insetting the transient solution period start time to the end time of the previous scenario. Whenusing theAll From Base option each scenario will take the transient solution period starthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 timefrom the Base Project.

more information on the Command Center settings, seeScenario Table Panel in theFloTHERM Command Center User Guide.

User Guide, V9.1343

Solving the Project

the Equations

all the cases described under“Running Complete Transients Over a Number of Stages” onpage342, should the transient solution period start time become equal to or greater than thetotal transient end time, an error message (ERROR E/01029 - Attempt to continue beyond endof transient -Check Overall times) is generated and the run aborted.

(Windows)

Microsoft&#174; Windows systems, you can change the solution process priority by either usingthe Task Manager or setting an environmental variable.

FloTHERM is solving, a process calledsolexe appears in the operating system TaskManaghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5erProcesses panel.

set the process priority:

.DisplaytheTaskManagerProcessespanelbyright-clickinginthetaskbarandchoosing

Manager from the popup menu, then click on the Processes tab, if not on view.

.Right-clicksolexe, and choose the priority level from the popup menu, seeFigure9-9.

9-9. Task Priority Popup Menu

,makesureyouchooseonlyNormal,BelowNormalorLow.

[此处图片未下载成功]

SettinganEnvironmentVariable

process priority can also be changed by setting an environment variable.

set the process priority, before starting FloTHERM in the command prompt window, type:

FLO_SOLUTION_PRIORITY = &lt;n&gt;

&lt;n&gt;is an integer value:

FloTHERM User Guide, V9.1

Solving the ProjectSolving the Equations1 = Low

= Normal (the default)

= High

= Real Time

zehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ro or a non-valid number is assigned, the setting will default toNormal. Numbers greaterthan 4 will default toReal Time.

[此处图片未下载成功]

[此处图片未下载成功]

SeeFrom the Command Line for instruction on starting FloTHERM from the commandprompt window.

can run 32-bit or 64-bit solvers depending on the operating system.

-bitSystems

64-bit thermal solver runs by default. To force FloTHERM to run the 32-bit solver, set theenvironment variable FLO_CPU_GENERIC to true.

re-activate the 64-bit solver, remove the setting.

-bitSystems

32-bit thermal solver is run by default. To force FloTHERM to run the 64-bit solver, setFLO_RUN64BITSOLVER to true.

re-activate the 32-bit solver, remove the setting.

all other systems, only the 32-bit thermal solver is available.

User Guhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ide, V9.1345

Solving the Project

the Equations

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

10MonitoringtheSolution

,theProfileswindowisopenedanddisplaysaplotofresidualerrors(and,ifmonitorpointsareset,aplotofvariationofvaluesatmonitorpoints)againstiterationnumberor time to monitor the solution progress.

after solution, additional plot types can be displayed to monitor convergence and show theresults for both steady or transient solutions, see“Creating New Plots” on page364.ProfilesWindow

access: Click in most application windows

this window to display 2D line plots of solution results for the purposes of:

Solution monitoringDisplaying results for analysisComparing results from different solution runs

the Profiles window is not already active, it is launched automaticallyhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 when the solver startsand shows the solution progress.

,youcanmanuallystarttheProfileswindowtodisplaytheresultsinaprofileplotformat by clicking the

[此处图片未下载成功]

icon in the standard button bar of another FloTHERM applicationwindow. In both cases, a window similar to that shown inFigure10-1 is displayed.FloTHERM User Guide, V9.1347

Monitoring the Solution

Window

10-1. Window Layout

,thenitremainsinitscurrentdisplaystate(mightbehiddenoriconized).Allcurrentprofileplotsareinitialized(arecleared)and the residual profile plot and monitor points are dynamically updated as solution proceeds.The window layout and method of command activation follow that described inApplicationWindow Basics inGetting Started with FloTHERM, but with the display area dedicated to 2Dline plots.

main features specifihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5c to the Profiles window and described in this section are:

“Plot Display Area” on page349, for displaying the 2D line plots“Plot Options Popup Menu” on page354, for quickly accessing commands and dialogsto edit the selected plot

[此处图片未下载成功]

“Profiles Window Menu Bar” on page356, for displaying the lists of operationsavailable for the selected plot“Profiles Window Toolbar” on page363, buttons for quickly creating new plots and

or hiding a grid over a selected plot

FloTHERM User Guide, V9.1

Monitoring the SolutionProfiles WindowPlotDisplayArea

default, on start-up, if no monitor points have been set, the plot display area shows only themost recent solution residual plot associated with the current project. If the solution doescontain monitor points, then two plots are displayed: the residual plot and the monitoredhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5

.Notethatforflow-onlycalculations,theadditionalplotwillswitchtomonitorpressure.

no residual data is available (that is, prior to solution), then a blank screen is displayed untilthe solution data becomes available.

, you can set the Profiles window to automatically display a particular

of plot types and arrangement for the loaded project. To set up a project plotconfiguration you create the plots and arrangement required, then save the configuration alongwith the project data using either theProject &gt; Save menu entry, or the program will promptwhen you close the Profiles window. From then on, when this project is loaded, the Profileswindowwilldisplaythisconfigurationwhenitstartsup,untilyouchangetheconfigurationandsave it again.

solution, additional plots of results can be disphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5layed using theCreate New Plotsdialog.For steady solutions, you can add plots of:

residuals versus iterationsmonitor points versus iterationresults versus distance.

transient solutions, you can add plots of:

residuals iteration curves versus timeresiduals versus timemonitor points versus timeresults versus distance.

plot types are discussed in the description of theCreate New Plots dialog under“Creating New Plots” on page364.

User Guide, V9.1349

Monitoring the Solution

Window

(orsubwindow)withstandardwindowcontrols.Bydefault, the plot panels are tiled within the display area and their size is adjusted according tothe number of plots displayed, as shown inFigure10-2 for six plots.

[此处图片未下载成功]

Figure 10-2. Plot Panels

plots arehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 added at the end, after the other panels.

, you can display the plot panels on top of each other, slightly offset by selectingPlots&gt;Cascade(Figure10-3).

FloTHERM User Guide, V9.1

Monitoring the SolutionProfiles WindowFigure 10-3. Cascaded Windows

reset to the default tile layout (Figure10-2), selectPlots&gt;Tile.

panels display the information type determined at their creation. So, monitored variablesolution plots will only display information for the monitor points present when the panel wascreated.

creation of the plot panel, then delete the monitor solution panel and re-create it. The newpanel will contain all the monitor points.

,itmustfirstbeselected.Toselectaplot,clickit.Theplot window http://www.51wendang.com/doc/d2e52c141054f5479dae40c5frame becomes highlighted to indicate selection.

plots are located in the data display area according to the creation sequence, but theycan be moved by dragging their windows.

selected plot to fill the data display area.

,eitherclickinthestandardtoolbaror

restore any iconized plots.

User Guide, V9.1buttonintheplot

[此处图片未下载成功]

border.

[此处图片未下载成功]

Click

[此处图片未下载成功]

351

Monitoring the Solution

Window

expand a single plot to fill the display area, click

move a plot legend, left-click the legend and drag it to its new position.

delete a plot, click

[此处图片未下载成功]

[此http://www.51wendang.com/doc/d2e52c141054f5479dae40c5处图片未下载成功]

Edit Menu.Delete

[此处图片未下载成功]

from the

“Creating AdditionalPlots” on pageFigure10-4.

,theY-axisisthecalculateddependentvariableunitclass(forexample,temperature,pressure, velocity, and so on), and the X-axis is the independent variable (time, iteration,distance). But you can swap the axes using the“Plot Parameters Dialog” on page372.

-comefirst-servedbasis.Thatis,itmatchestheunit class (the dimension of the quantity plotted, for example, Temperature, Velocity,

,andsoon)ofthefirstprofilelistedinthe“PlotParametersDialog”onpage372.All profiles with this same unit class will then be drawn on the plot.

-axistotheright of the plot. The unit class for this second Y-axis will match the first of the remaining352FloThttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5HERM User Guide, V9.1

Monitoring the SolutionProfiles Windowprofiles not already displayed. All profiles of this unit class will then also be displayed on theplot.

-5 shows a plot for pressure and the X,Y and Z Velocities.

10-5. Axes

-axeswillnotbedisplayedunlesstheother profiles appearing before them in the list in thePlot Parameters Dialog are deleted. Theset-up order of the profiles can be seen in the profiles list of the dialog.

(themaximumandminimumvalues,aswellasintervals)forboththehorizontaland vertical axis are generated automatically within sensible limits and intervals that make

.Alternatively,youcanmanuallyenterthestartandendranges using theAxis Parameters Dialog.

, unlabeled sub-intervals can also be included by selecting View &gt; Sub-dihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5visions.Theunitsofthevaluesdisplayedintheprofileplotsaretheglobalunitssetinthe“GlobalUnitsDialog” on page86.

lines can be displayed aligned with the major marked intervals on both axes by selectingView&gt;Grid. The grid is switched on by default.

plot title is displayed in the top left-hand corner of the plot frame. It can be changed from

[此处图片未下载成功]

the default and added into the plot for hardcopy using thePlot Parameters Dialog.

User Guide, V9.1353

Monitoring the Solution

Window

,alegendforeachplotisdisplayedtowardthetopright-handcorner.Thelegendisakey of the colors and style used by the plot.

display the legend, if not already visible, selectView&gt;Legend. The legend can be movedwithin the plot by dragging, but it cannot be dragged outside the surrounding X or Y axes. Ifthere are too manhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5y profiles to display in the legend, then the list ends with&lt;More...&gt;. Legendvisibility is switched on by default.

fonts and colors of the labels and axis annotation can be changed using theProfiles UserPreferences Dialog.

variable profiles can be plotted as lines and/or symbols which include asterisks, dots,crosses or plus signs.

more information on how to configure plots, see“Editing Plot Parameters” on page371.PlotOptionsPopupMenu

Options menu displayed by right-clicking over a plot.

popup menu contains a mixture of direct actions and dialog calls:

the

[此处图片未下载成功]

“Plot Parameters Dialog” on page372, for the selected plot type.

the submenu with the option to display the axis dialogs for each http://www.51wendang.com/doc/d2e52c141054f5479dae40c5axis in the plot. See“Setting the Axis Range and Scale” on page375.

a copy of the selected plot and locates it as the last profile plot.

FloTHERM User Guide, V9.1

Monitoring the SolutionProfiles Window

[此处图片未下载成功]

Locate

the annotation of selected points on the plot using the left-hand axis data. The types ofannotation available are displayed in a submenu:

annotate a point, select the annotation option, then click the profile line.

[此处图片未下载成功]

A label indicates the nearest point on the line corresponding to the option selected. The(mutually exclusive) options are:

Extrema - the nearest local maximum or minimumMinima -the nearest local minimum valueMaxima - the nearest local maximum valueZeros - nearest zero value (where Y=0, or X=0 if axis is swapped)Points - value at nearest pointhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5, on any profile, to the mouse pointerNone-nolabelwillbeadded,whichpreventslabellingwheninadvertentlyleft-clicking

the plot

all locationLocate labels.

User Guide, V9.1355

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Monitoring the Solution

Window

dialog.

10-1. Profiles Window Menu Bar Contents

[此处图片未下载成功]

[此处图片未下载成功]

ProjectMenu

the Profiles windowProject menu to save the project and profiles plots.

10-2. Profiles Window Project Menu Contents

FloTHERM User Guide, V9.1

Monitoring the SolutionProfiles WindowEditMenu

the Profiles windowEdit menu to change the profile plots. You can create new plots andchange or copy existing plots.://www.51wendang.com/doc/d2e52c141054f5479dae40c510-3. Profiles Window Edit Menu Contents

[此处图片未下载成功]

FloTHERM User Guide, V9.1357

Monitoring the Solution

Window

the Profiles windowView menu to change the view of a plot.

10-4. Profiles Window View Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

Usage Notes and Examples

10-6. Grid

FloTHERM User Guide, V9.1

Monitoring the SolutionProfiles WindowFigure 10-7. Secondary Grid

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Figure 10-8. Legend

User Guide, V9.1359

Monitoring the Solution

Window

10-9. Sub-Divisions

10-10. Zero Lines Popup Menu

Independent Variable for the iteration/time/distance axis.Dependent Variable (Left Y-axis and Right Y-axis) for the calculated values axhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5is.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

360FloTHERM User Guide, V9.1

Monitoring the SolutionProfiles WindowFigure 10-11. Zero Line for Right-Side Y-Axis

.Alsoalistoftheplotwindowswillbedisplayedbelowthemenuentries.Ifaplotisiconizedortiled,clickingonthe plot name causes the plot to expand to fill the display area. SelectDisplay All to return todisplay all the plots.

10-5. Profiles Window Plots Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1361

Monitoring the Solution

Window

Examples

10-12. Plots Tile

10-13. Plots Cascaded

.Ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5

[此处图片未下载成功]

list

[此处图片未下载成功]

ofthecurrentlyactivewindowsisdisplayed aboveMessage Window.

FloTHERM User Guide, V9.1

Monitoring the SolutionProfiles WindowNew windows must be launched using the application buttons in the left toolbar.

10-6. Profiles Window Window Menu Contents

[此处图片未下载成功]

HelpMenu

-linehelp.(Use the Project ManagerHelp menu, to link to FloTHERM web support.)

10-7. Profiles Window Help Menu Contents

[此处图片未下载成功]

ProfilesWindowToolbar

Profiles window toolbar is a single shortcut button at the top of the left-toolbar above theapplication button icons. This button changes its appearance according to its function, whichtoggles between hiding and showing the plot grid, seeTable10-8.

10-8. Profiles Window Toolbar Buttonshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5

[此处图片未下载成功]

FloTHERM User Guide, V9.1363

Monitoring the Solution

New Plots

any time after solution, the results can be plotted in different formats depending on thesolution type.

create a new profile plot, use the dialog“Creating New Plots” on page364, launched bychoosingNew from theEdit menu.

,adefaultplotofthetypechosenisaddedtotheProfileswindowand the“Plot Parameters Dialog” on page372 appears so you can choose the data to bedisplayed.

access:PFEdit &gt; New

thisdialog to initiate the creation of a new profile plot.

the profile plot. If desired, overtype with a meaningful name as it can be made toappear at the top of the plot by clicking onDisplay in Plot in the“Plot Parameters Dialog” onpage372. It ahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lso appears in the plot panel window banner.

the new profile plot type from a drop-down menu.

steady solutions you can request the following plots:

“Residuals versus Iteration Plot (Steady Solution)” on page365“Monitor Points versus Iteration (Steady Solution)” on page368“Results versus Distance” on page371

transient solutions you can request:

“Residuals Iteration Curves versus Time (Transient Solution)” on page369“Residuals versus Time (Transient Solution)” on page367“Monitor Points versus Time (Transient Solution)” on page370“Results versus Distance” on page371

FloTHERM User Guide, V9.1

Monitoring the SolutionCreating New PlotsFor example, to define a new distance plot, in thePlot Parametersdialog you choose:

Variable to be plottedStart and end points

://www.51wendang.com/doc/d2e52c141054f5479dae40c5fter clickingOK, a new plot panel is added to the display area and the“Plot ParametersDialog” on page372 appears so you can choose the profiles to display on the plot.

further customizations such as:

Adding grid and legends useView MenuSetting the axis range or scale or annotating selected points on the plot use thePlotOptions popup menuChanging the color and font size, seeCustomizing the Appearance of the Plot

can quickly create new plots of the same type already in the display area. Just select theplot,anduseEdit&gt;Copy.Theselectedplotisthencopiedandlocatedasthelastplot.Youcannow edit the new plot to suit your requirements. See“Editing Plot Parameters” on page371.ResidualsversusIterationPlot(SteadySolution)

.Solutionvariablesarecalculatediterativelyuntilapre-determinedlevelofaccuracyihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5sattained,atwhichpoint the solution is said to be converged.

User Guide, V9.1365

[此处图片未下载成功]

[此处图片未下载成功]

Monitoring the Solution

New Plots

10-14. Steady Solution

behavior of the Profiles window as it is used to monitor convergence can be characterizedby two main functions:

The display of the solution plot of residual error (deviation from the required accuracylimit) against iteration number, andThe ability to change the configuration of the plots as the solution proceeds

,orinreal-timeasitiscalculatedby the solver program. Real-time display gives the user the ability to monitor the solution as itprogresses, and therefore decide whether to terminate it or not.

default configuration is as follows:

[此处图片未下载成功]

All dephttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5endent variables plotted on the same plotA vertical logarithmic scaled axis for the residualsA horizontal axis displays the iteration numbers on a fixed scale.Profiles drawn in solid lines with a different color for each variable

(TransientSolution)

Residual versus Iteration profiles plots monitor the convergence of steady

. Solution variables are calculated iteratively until a pre-determined level of accuracyis attained, at which point the solution is said to be converged.

FloTHERM User Guide, V9.1

Monitoring the SolutionCreating New PlotsFigure 10-15. Transient Solution

behavior of the Profiles window as it is used to monitor convergence can be characterizedby two main functions:

The display of the solution plot of residual error (deviation from the required accuracy

) against iteration number for the last (or current) http://www.51wendang.com/doc/d2e52c141054f5479dae40c5time step. The plot changes to

the next time step as the solution proceeds

ability to change the configuration of the plots as the solution proceeds

the“Plot Parameters Dialog” on page372, there is a time step selector which allows you tochoose a time step, then all the iterations for that time step will be displayed. The time step canbe selected independently for each profile.

, if any of the default profiles time steps are edited andApply &gt; OK pressed, then theprofile remains at that time step, rather than moving on to display the latest time step as thesolution proceeds.

default configuration is as follows:

All dependent variables plotted on the same plotA vertical logarithmic scaled axis for the residuals.A horizontal axis displays the iteration numbers on a fixed scale.Profiles drawn in solid lines withhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 a different color for each variable

(TransientSolution)

[此处图片未下载成功]

thefullsimulation.FloTHERM User Guide, V9.1367

Monitoring the Solution

New Plots

10-16. Residuals versus Time

default configuration is:

All dependent variables plotted on the same plotA vertical logarithmic scaled axis for the residualsA horizontal axis for the time of the full transient solutionThe profiles are drawn in solid lines with a different color for each variableThe last iteration at each time step is depicted

(SteadySolution)

iteration number, either as they are calculated during solution, or after the solution iscomplehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5te. Monitor points must be created prior to solution.

variables are plotted on a fixed vertical linear scale, which means a separate plot for eachvariableunitclass,forexample,Temperature,Pressure.Also,asthehorizontalaxisdisplaystheiterationnumberinafixedlinearscale,aseparateplotisrequiredformonitorpointsactivatedatdifferentiteration

[此处图片未下载成功]

numbers.Figure10-17showsplotsofTemperatureagainstIterationNumber.368FloTHERM User Guide, V9.1

Monitoring the SolutionCreating New PlotsFigure 10-17. Monitor Points versus Iteration

default configuration is:

Variables are plotted on a fixed vertical linear scale with only one variable per plot.

,ifavailable.IfTemperatureisnotavailable,thenit plots the first variable listed in the“Plot Parameters Dialog” on page372.

numbers along the horizontal axis

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ithadifferentcolorforeachmonitorpointwithalimit of up to ten colors. After all the colors have been used, the color allocation

will be repeated, starting from the first set color

(TransientSolution)

-step.Convergencemaybedisplayedeitherforacompletedsolution,orinreal-timeasitiscalculated

[此处图片未下载成功]

by the solver program. Real-time display gives the user the ability to monitor the solution as it

[此处图片未下载成功]

progresses, and therefore decide whether to terminate it or not.

10-18. Residuals Iteration Curves versus Time

User Guide, V9.1369

Monitoring the Solution

New Plots

more information on time-steps, see“The Time Grid” on page310.

default configuration is as follows:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par

All dependent variables plotted on the same plotA vertical logarithmic scaled axis for the residualsA horizontal axis displays the time into the simulation on a fixed scaleProfiles drawn in solid lines with a different color for each variableConvergence at each time step is depicted

(TransientSolution)

Points versus Time profiles plots show the variation of variables at specific pointsagainsttime,eitherastheyarecalculatedduringsolution,orafterthesolutioniscomplete.Theyare only available for transient solutions.

variables are plotted on a fixed vertical linear scale, which means a separate plot is neededfor each variable unit class unless a 2nd Y-axis is selected in thePlot Parametersdialog, see“2nd Y-Axis” on page372. The horizontal axis displays the time.Figure10-19 shows plots ofpressure against time.

10-19. Monitor Points versus Time

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rThe default configuration is:

Variables are plotted on a fixed vertical linear scale with only one variable per plot.

,ifavailable.IfTemperatureisnot

[此处图片未下载成功]

available,thenit plots the first variable listed in the“Plot Parameters Dialog” on page372

along the horizontal axis

profiles are drawn in solid lines with a different color for each monitor point

FloTHERM User Guide, V9.1

Monitoring the SolutionEditing Plot ParametersResultsversusDistance

profiles plots represent graphically how a variable changes with distance along anystraight line through a model.

10-20. Results versus Distance

variable is plotted along the vertical axis, and the horizontal scale displays the distance inany one of the three coordinate directions on a linear scale. If the component of velocity is

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ed,andStaggeredhasbeenselectedinthePMUserPreferencesDialog,thenthevaluesplotted are at the staggered locations.

default configuration is:

Vertical linear scale for the field valueHorizontal linear distance scaleSolid lines for profiles, with a different color for each line plottedAll profiles for the same variable are plotted on the same plot

: Deactivated monitor points do not appear in the plot.

Topics

“Creating New Plots” on page364“Editing Plot Parameters” on page371“Setting the Axis Range and Scale” on page375“Profiles User Preferences Dialog” on page379

[此处图片未下载成功]

Use thePlot Parameters dialog to edit a selected plot.

User Guide, V9.1371

Monitoring the Solution

Plot Parameters

access: PF Edit &gt; Modhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ifyor Plot Options Menu &gt; Modify

thisdialog to create any profile curves allowed for a particular plot type, and specify theappearance of each profile. Additionally, you can export and import profiles to and fromexternal files.

consists of a name entry field to identify the plot and two tabbed panels to displaythe different types of data entry fields appropriate to define the following:

General Tab Settings — choosing the variable and the plot typeStyle — configuring the appearance of each profile line

the plot. Activating Display in Plot requests the display of the name shown here atthe top of the plot. This title is also shown in the plot banner, so this feature is mainly intendedfor plot image captures. The title is restricted to 30 characters.

Axes

to swap the X and Y axes.

nd Y-Axis

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rActivatetouseaseconddependentvariableaxis.Bydefault,thesecondunitclasstypedetectedin the profiles list of this dialog, scanning top-to-bottom, will be plotted along the right Y-axis.The first unit class detected will remain along the left Y-axis.

Panel

the individual profile lines for each plot. It comprises a selection list containing all theprofiles in the current plot. TheSelection panel data fields, and the list buttons below, apply tothe profile selected in the list. TheSelection fields vary depending on the type of profileselected on the list. The full list of possible fields and operations are as follows:

data field

the name of the selected profile in an editable data field. To change the name of theselected profile, overtype its name in the data field. Any number of characters may be enteredbut only up to thirty will be recognized.

thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he project in which the profile data is contained.

FloTHERM User Guide, V9.1

Monitoring the SolutionEditing Plot ParametersData Item

for monitor point plots only, this selects the data item to be profiled from a list ofavailable data for this plot type.

the variable to be plotted from a drop-down list of available variables.

Points

displayed for distance profiles of 3D solution data (Figure10-21), it contains editablevalues of X1, Y1 and Z1 start points, and X2, Y2 and Z2 end-points of the line defining theprofile.

10-21. Specifying End Points

Steps

displayed forResidual versus Iteration plots in transient cases. Select the time step forwhich all the iterations are to be displayed from the popup list. The time step can be selectedindependently for each profile.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5t.Thedefaultname,derivedfromthedataselection,maybeoverridden by over-typing its name field at the top of theSelection panel.

the profile selected in the list.

[此处图片未下载成功]

Copy

a new profile identical to the profile selected in the list, then switches the selection tothe clone.

User Guide, V9.1373

Monitoring the Solution

Plot Parameters

theExport Selected Pro les file selection dialog to save the selected profile as a simplecomma-separated,X,Yco-ordinateASCIIdatafile.Itcanthenbecopiedintootherplotsinthisor other projects for comparison purposes using theImport button. See“External ProfileDefinition (*.CSV) File Format” on page382.

default, the file will have a.csv extension.

leFileselectiondialogtoimportanexternal*.csvfiledescriptionoftheprofile. See“External Prhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ofile Definition (*.CSV) File Format” on page382.

class as the current plot, then the profile will be added to the profiles list and will bedisplayed when you clickOK orApply.

.Thestylesettingsontheright of the panel apply to the profile highlighted in the list.

the appearance of the selected profile, according to the current settings selected here inthe Style panel.

Color

the color of the profile line. Clicking the color button calls theColor Dialog, so youcanchangethecoloroftheprofileline.Thecolorofthebuttonwillchangetoindicatethecolorselected.

Thickness

the line thickness to 1 (the default), 2 or 4 pixels.

Style

the line style thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5o solid (the default), dots, dashes or dot-dash.

Type

(thedefault),asterisk,diagonalcross,dashor box.

FloTHERM User Guide, V9.1

Monitoring the SolutionSetting the Axis Range and ScaleSymbol Size

the size of the symbol, chosen above, by dragging the slider bar to display a value

the approximate length of each side of the bounding square around the symbol.The size range is between 4 and 20 pixels.

Spacing

interval N between the symbols by dragging the slider bar. Every Nth point is displayed.Defaults to 1, in which case, all points are displayed.

Fit

a line fit to the data from two drop-down options:

the selected profile from the plot.

Topics

“Create New Plots Dialog” on page364“Settinhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5g the Axis Range and Scale” on page375“Profiles User Preferences Dialog” on page379None, that is, no line is displayed for this profile (symbols might be plotted instead)Polyline (the default), to join the plot points

plot axis labels and ranges are set individually, by choosing the axis and calling the“AxisParameters Dialog” on page376.

,usetheplotpopupmenu.Right-clicktheplottodisplaythePlot Options menu and chooseAxes to display a submenu as shown inFigure10-22.

10-22. Axes Submenu

[此处图片未下载成功]

Click the axis you want to change and then update the settings in theAxis Parametersdialog.FloTHERM User Guide, V9.1375

Monitoring the Solution

the Axis Range and Scale

default, the unit class (the type of measurement used to represent the profiled variable

)ofthetopprofileinthelistofthhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e“PlotParametersDialog”onpage372,isplottedalongtheY-axis.Notethatdifferentvariablesmeasuredusingthesameunitclasscanbedisplayedonthe same plot. For example, all the residuals for the solved variables can be shown on the sameplot as shown inFigure10-23.

10-23. Setting the Axis Range

that the 2nd axis has been set in thePlot Parameters Dialog, there is the option of asecondaxis,foradifferentunitclass,ontherightY-axisofthesameplotasshownbelow.Thissecond axis depicts the second unit class type detected in the profiles list of thePlot

, scanning from top-to-bottom. If this unit class is the same for all profiles,then the same unit class is used on the second Y-axis.

10-24. Axis Range

the plots have been swapped in thePlot Parameters Dialog

[此处图片未下载成功]

, then the options available to

[此处图片未下载成功]

change the variable axes will be X-Axhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5is (top), X-Axis (bottom) and Y-Axis.

access: PF Plot Options Menu&gt; Axes &gt; X-Axis orY-Axis

FloTHERM User Guide, V9.1

Monitoring the SolutionSetting the Axis Range and ScaleUse theX or Y-Axis Parameters dialog to control the labelling, scaling and range of a profileplot axis.

you want to change the color of the axes and also the appearance of the labels, then use theProfiles User Preferences Dialog.

the axis label, which appears aligned centrally with the axis.

type

the axis scaling as either linear (the default) or logarithmic.

Limit

the start of the axis range from one of three options:

Automatic (the default)

the program to display data from the lowest value.

Manual

the value range input fields to allowhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 you to set the lowest value you wish

see included in the plot.

% of range

the value range input fields used to set the lowest value you wish to see

in the plot as a percentage of the overall data range.

Limit

the end of the axis range from one of three options:

Automatic (the default)

the program to set the end at the highest value.

Manual

the value range input fields to allow you to set the highest value you wish

see included in the plot.

% of range

the value range input fields used to set the highest value you wish to see

in the plot as a percentage of the overall data range.

User Guide, V9.1377

Monitoring the Solution

User Preferences

Last

,forhistoryiteration/timeaxisplotsonly,anadhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ditionaldialogfieldisdisplayedtoallow you to choose see the last N iterations or for any time plot the last t of time:

Advice

.Thisdialogallowsyouto“zoomin”tothedatarangeyouenterintheUpperandLowerLimitfieldsin order to observe more clearly the variations.

are two types of profiles preferences for:

Plot configuration, for the window size, location, as well as grid and axes displayPlot customization, for colors, font sizes, solution update interval, line smoothing, and

identification information

window size and location are determined automatically by the program when you createnewprofileplots,see“PlotPanels”onpage350.Bydefault,theplotpanelsaretiledwithinthedisplay area and their size is adjusted acchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ording to the number of plots displayed.

, you can display the plot panels on top of each other, slightly offset by choosingPlots &gt; Cascade.

,soyoucanmoveorresizeitusingthenormalwindowcontrols.GridandAxes

theView menu, you can choose to:

Superimposeagridovertheplottoprovideguidelines,andwherethereare

[此处图片未下载成功]

twoaxesforvariables, a secondary gridAdd the plot legendDisplay sub-division markersAdd lines passing through zero values

FloTHERM User Guide, V9.1

Monitoring the SolutionSetting User PreferencesSavingPlotConfiguration

plot configuration is saved with the project by choosingProject &gt; Save orSave As. Also,when you close the Profiles window, if an unsaved configuration is detected, then a querydialog appears asking if you want to save the configuration or not.

you savehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the plot configuration, then the next time you open the Profiles window for thisproject, the same plot configuration will be used.

, however, that if the solution has changed, this may affect the restore of the plot

. For example, if the project is re-initialized, then no plots will be displayed.CustomizingtheAppearanceofthePlot

for the general appearance of a plot can be set up using thePro les User

(Edit &gt; Preferences). The preferences set in the dialog remain throughoutthe program session, and further program sessions, until they are changed in the dialog again.ProfilesUserPreferencesDialog

access: PF Edit &gt; Preferences

thisdialog to customize the plot display. You can change colors, font sizes and solutionupdate intervals as well as add extra features such as the time and date.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arColors

.ClickthecolorbuttontocalltheColor Dialog, to change the setting. The button color changes to agree with the setting made intheColordialog.

Sizes

the font sizes for the selected plot from the drop-down lists.

Update Interval

(default=5sec).ItcanbeusefultosetthistohighervaluesifyouneedtosignificantlymodifytheResidualorMonitorPoint plots during solution.

Features

Features includesUse anti-aliasing, which smooths the appearance of profile lines, andthree options for adding information to plots intended to be captured and included in reports.The plot additional data options are:

User Guide, V9.1379

Monitoring the Solution

User Preferences

Display date, to display the currehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nt date in the top-right-hand corner of the plotDisplay project ID, to display the project name in the top left-hand side of the plotDisplay time, to display the current time in the top right-hand corner of the plot.

access:

Edit &gt; Modify &gt; Style &gt; Line Color icon (a color block)or

Edit &gt; Preferences &gt;one of the color blocks

thisdialog, which is a standard Java color selector dialog, to change the color of theselected item. The dialog is called from:

Plot Parametersdialog, to change the color of a profile linePro les User Preferencesdialog, to change the color of the window background,

, axes lines, labels and titles.

Panels

consists of three tabbed panels for choosing the color model and a previewpanel to observe the selection. The color change is not applied untilOK http://www.51wendang.com/doc/d2e52c141054f5479dae40c5is clicked.

-coloredpatches

[此处图片未下载成功]

formingapalette.Clickapatchto select a color.

10-25. HSB Color Model

HSB color model defines color in three attributes:

FloTHERM User Guide, V9.1

Monitoring the SolutionImporting and Exporting Profiles

Hue (H), the name we give a color. The hue of a lemon is yellow.Saturation (S), the vividness of the colorBrightness (B), how light or dark the color is

,dragthesmallwhitecircleintheselectionareato the color you want to use. Move the slider bar up and down to change the range of colorsdisplayed in the color selection area.

, type values in the boxes that correspond to the component colors. The colordisplay changes to reflect the values as they are entered.

equivalent RGB vahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lues are displayed.

10-26. RGB Color Model

RGB panel consists of three settings for the proportion of red, green and blue colors thatmake up the required color. Use either the slider bar or the data entry fields to set a value foreach color.

color is assigned a value between 0 and 255. The RGB model is based on colors of lightand higher RGB values correspond to the presence of greater quantities of white light.

,theresultingcoloriswhitelight.Attheopposite end of the scale, when all three colors are set to zero, the resulting color is black.ImportingandExportingProfiles

data can be exported to the external file system and saved in a*.csv ASCII text file.These results can be used by spreadsheets when generating reports.

, the

[此处图片未下载成功]

*.csv files can be imported into another project andhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 superimposed on profileplots for quick comparison of results. This allows you to create plot files for experimentalFloTHERM User Guide, V9.1381

Monitoring the Solution

Images of Plots

data, which can then be superimposed on to profile plots for comparison with

results.

import and export profile data, use theImport andExport buttons in thePlot ParametersDialog.

(*.CSV)FileFormat

data is formatted in pairs of X, Y coordinate data delimited by a comma as shown inFigure10-27 for a file containing residual data for temperature.

10-27. Example CSV File Containing Residual Data for TemperatureSavingImages

[此处图片未下载成功]

ofPlots

profile plots can be saved to an image file for easy incorporation into your documentation.To save an image, use theSavedialog.

access: PF: Projhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ect &gt; Save Image

FloTHERM User Guide, V9.1

Monitoring the SolutionSaving Images of PlotsUse thisdialog to save the profile plots, to a single image file, in one of three formats:PNG(*.png), JPEG(*.jpg) or TIFF(*.tif).

recommended formats are:

jpg when incorporating images into word processor documents, andTIFF for presentations.

Selected panel only captures the current active (highlighted) plot panel.All panels captures the complete plot display area.

User Guide, V9.1383

Monitoring the Solution

Images of Plots

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

11AdvancedSolutionControls

, the default settings are sufficient to achieve convergence. However, if convergenceproblems are encountered, there are solution controls available to help.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5providesanoverviewoftheFloTHERMsolutionprocessanddescribesthedialogssupplying the advanced solution controls.

and heat transfer equations within the solution domain. These calculations are of aniterative nature for each grid cell in the solution domain and continue until:

A prescribed maximum number of iterations have been performed, orA predetermined level of residual error is attained, at which time the solution is said tobe converged. In this case convergence applies to the complete system and can beverified using defined monitor points.

the solution proceeds, you can monitor its progress in the plot of the residual errors againstiteration number for each variable using the Profiles window as shown inFigure11-1.FloTHERM User Guide, V9.1385

Advanced Solution Controls

://www.51wendang.com/doc/d2e52c141054f5479dae40c5lution Process

11-1. Solution Process

errors represent a measure of:

the mass imbalance in the system (associated with pressure,P)the momentum imbalance in the system (associated with the velocitiesU,V andW)the energy imbalance in the system (associated with temperatureT)

a full description of the residual error in terms of the system equations, seeFinite VolumeEquations in theFloTHERM Background Theory Reference Guide.

the solution progresses, the residual errors should fall for each variable. The terminationresidualissetautomaticallybyFloTHERMtoprovideasafemarginforthemajorityofsystemsanalyzed and is based on mass, momentum and energy inputs into the system as follows:MassContinuity

termination residual for mass continuity,Ep, is taken as one half of one per cent of a˙, within the enclosure:charachttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5teristic flow rate,M

˙Ep=0.005M

˙istaken

[此处图片未下载成功]

asthetotalinletflowrateorthetotalForanenclosurewithforcedinfloworoutflow,M

flow rate, whichever is the largest. In the absence of forced flow (that is, the pure free386FloTHERM User Guide, V9.1

Advanced Solution ControlsSolution Process˙ is calculated as the product of the density, the Estimated Free Convectionconvection case)M

and the area of the enclosure normal to the vertical.

termination residual for the velocity components,Evel, is taken as one half of a per cent of˙, multiplied by the associated characteristic velocity,V:the characteristic flow rate,M

˙VEvel=0.005M

termination residual for the temperatureET, is calculated as one-half of a per cent of acharacteristic heat source,Q:

= 0.005Q

://www.51wendang.com/doc/d2e52c141054f5479dae40c5hintheenclosure,Qistakenasthesumofthetotalheatsourcesor the total heat sinks. If no heat sources are present,Q is taken as:

˙C TET=0.005Mptyp

:

= the specific heat of the fluid, and

Ttyp = 20 C

(kandepsilon)

the incoming flows. In order to compensate for this the termination criteria are lessstringently set to prevent unnecessary calculation as follows:

˙Ek=0.05kM

˙Eε=0.5εM

termination residuals work extremely well in guaranteeing convergence for the majorityof problems. However, they should be considered as conservative estimates, and for certaincases of problem can be too restrictive a criteria to base convergence on as discussed below.FloTHERM User Guide, V9.1387

Advanced Solution Controls

the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Solution

the solution process is initiated, the most likely scenario is that the solution will

, but there are the following possibilities reflected by the residual error plots shown inFigure11-2.

11-2. Solution Scenarios

[此处图片未下载成功]

extremelyslowly,thenyoucanresetthesolutioncontrol panels, but first consider the following rules for assessing a solution convergenceproblem as the problem may well lie in the project set-up.

FloTHERM User Guide, V9.1

Advanced Solution ControlsControlling the SolutionRulesforAssessingConvergenceProblems

.If a solution diverges, it is almost guaranteed to be a problem definition problem. Be

suspicious of the set up and check all defined objects and attributes beforeproceeding to alter any solutihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5on control parameters.

.Ifasolutionfailstoconvergesuccessfully,thenitisimportanttocheckthegrid.Ifthere

poor aspect ratio grid cells and large jumps in grid size between adjacent grid cells,then this is the likely cause of the problem.

.If you are happy with the set up and the grid, then and only then should the solution

parameters be adjusted.

.Do not waste time forcing low-level stable or low-level oscillation convergence

les down to a residual error level of 1. Use the monitor points and error field tosensibly assess whether the solution is converged to a defined level of accuracy, and

stop the solution.

, if absolute residual convergence is required, then use the double precision

, see“Double Precision Solver” on page393, or use monitor point convergencecriteria, see“Use of Monitor Points” on page391, to automatically stop the soluthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ion

monitor point values have stabilized.

you do need to change the control parameters, then the following section provides anoverview of how to resolve and manage the solution process.

,bothautomaticandmanual,whichcanbeusedtooptimize the solution process. In discussing their use, it is important to note that it is only

particular situations.

FloTHERM, extremely complex and highly non-linear systems involving multiple modes ofheat transfer are being modeled and it is impossible to automatically generate appropriatesolution control parameters that will guarantee convergence under all circumstances. The

applications, but may need to be adjuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5sted in more complex situations.

(dtf)relaxationusingtheVariableSolutionControlDialog,isthe most common form of solution control and involves adding a false transient term to thefinite volume equations.

general, the false time step should be set to a characteristic time scale for the problem inquestion. The automatic settings will set this in a sensible way, and any adjustments shouldnormallybebyfactors(2-50istypical)whichincreaseordecreasetheautomaticvalue.FortheFloTHERM User Guide, V9.1389

Advanced Solution Controls

the Solution

identified in“Possible Solution Scenarios” on page388, the actions described inTable11-1 will work for the majority of cases.

11-1. False Time Step Relaxation

[此处图片未下载成功]

LinearUnder-Relaxation

Relaxation setting in the“Additional Solver Contrhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ol Dialog” on page399 is asimple form of damping with the extreme values of 0 freezing the solution and 1 providing nodamping. Typically values between 0.5 and 0.9 are recommended. The relaxation works bymultiplying the adjustment to each solved and derived variable at each iteration by a userdefined factor, that is:

φ =φ′  α(φ φ′)

:

φ is the value at the current iteration

α is the linear relaxation factor

φ′ is the value at the previous iteration.

is the method used to control convergence for density in systems requiring the use of theideal gas law. It can also be useful for systems exhibiting divergence or high-level oscillationprofiles.

FloTHERM User Guide, V9.1

Advanced Solution ControlsControlling the SolutionMultiGrid

Multi Grid option in the“Overall Solution Control Dialog” on page394 is designed tochoose an iteration procedure which uses multi ghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rid acceleration to solve the linear equationsfor temperature. For problems with conjugate heat transfer, it can improve convergence andsignificantly reduce overall computation time.

inner iterations are set to the following defaults:

50 for pressure1 for X,Y and Z velocities100 for temperature

are usually enough for most circumstances, but in cases where the continuity equation ishaving difficulty then setting 100 or more inner iterations on pressure using theVariableSolution Control Dialog can help.

error compute frequency option in theAdditional Solver Control Dialog, allows you tospecify when the software checks for convergence of a particular variable rather than allow thesoftware to do it automatically. In unstable situations, where the continuity equation refuses toconverge in an overall sense, then this setting canhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 force the solver to do many more inner

.Forexample,if100inneriterationshavebeenset for pressure, then the error compute frequency could also be set to 100. This will forceFloTHERM to always perform all 100 inner iterations before proceeding.

Fan Relaxation setting in theOverall Solution Control Dialog, is similar in design to thelinear under-relaxation described above, but is used specifically to control the variation in theflow calculated at fans for each outer iteration. Useful values will lie between 0.5 and 0.9 andare especially useful for any fans specified with a non-linear fan curve if the operating point isbeing determined as near a low gradient section of the curve.

is possible to define monitor points as objects within the project hierarchy. This means thatthey can be moved, copied and saved just like any othehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5r geometric item. The convenience ofthis approach makes it easy to add as many monitor points as possible to a project. For allsolutions, they can be used to determine whether the solved variables have reached a steadystate.However,theyareparticularlyusefulfordeterminingconvergenceinthelow-levelstableand low-level oscillation profiles. Under these circumstances, the variation in all variablesFloTHERM User Guide, V9.1391

Advanced Solution Controls

the Solution

be assessed and if small enough, then a considered judgement should be made that thesolution is effectively converged.

,theremaywellbeanaturalinstabilityintheflowfield that can manifest itself in a low-level oscillation profile. The monitor points under thesecircumstances can be used for making assessment of the level of instability involved.

also“Monitor Point Convergence for Temhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5perature” on page396.

situations where the convergence is of the low-level stable or low-level oscillation type, itcan be useful to examine the error field for particular variables. This can be activated in theOverall Solution Control Dialog, and will allow the residual error in each grid cell to bedisplayed as a contour map in the Visual Editor application window. This should be used asfollows:

IntheVisualEditor,checkwherethemaximumandminimumvaluesarelocated(using

&gt;Result Ranges to display a cross-hairs at the actual locations can be useful).Quite often, this will point to a location of little interest or concern to the user, but is

some kind of instability which are keeping the overall residual level high.

.Ifthisisanirrelevantarea,thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nacheckofthemonitorpointsshouldrevealwhetherthesolutionhasreachedasteady-state,andthesolution should be considered to be effectively converged.

error field can also be used to help identify problem areas in the grid. It is possiblethat instabilities in the solution are actually being caused by poor grid structure. This

usually be related to an aspect ratio problem or a large step change in grid size

adjacent grid cells. The error field can help to point out where the grid need tobe refined. InFigure11-3, the maximum error is located in the recirculation behind acomponent on a board. The grid is clearly too coarse in this area and should be refined.  392FloTHERM User Guide, V9.1

Advanced Solution ControlsControlling the SolutionFigure 11-3. Error Field

(forexample,greaterthan100),stop the solutionhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 and activate the double-precision solver switch, then continue the solution.Activation of the double precision solver will reduce residuals, commonly temperature, whenthere are high areas of extremely high conductivity (and thus almost uniform temperature)

in the model. Often, this does not result in a change of the temperature of such cuboids.An alternative method of determining convergence is to utilize the monitor point convergencecriteria fromSolve &gt; Control, see“Monitor Point Convergence for Temperature” on page396.Enabling the double precision solver has an additional memory overhead which made need tobe taken into consideration. If the solver uses more memory than is physically available, thiswillresultintheuseofpagedmemorywhichwillresultinalargeincreaseoftheprojectelapsedsolve time

are two methods of activating the double precision solver:

Environment Variable Method

the FLO_http://www.51wendang.com/doc/d2e52c141054f5479dae40c5DOUBLEP environment variable (see“Using Environment Variables” onpage91) to any value.Any loaded project will then be solved using the double

solver. The setting of this environment variable is not displayed in the GUI. Graphical User Interface Method

theUse Double Precision Solver option in theOverall Solution Control Dialog.Thissettingissavedwiththeproject,thereforetheprojectwillusethe

[此处图片未下载成功]

doubleprecisionsolver each time the project is loaded.

User Guide, V9.1393

Advanced Solution Controls

Solution Control Dialog

-BitTranslation

translation process, which is the conversion of the model data into a form that the solverreads,hasbeenupdatedtorunon64bitoperatingsystems.Thisenablesthetranslatortoaddressmuchmorememory,thusallowingtranslationofmuchlargermodels,forexample,intheorderof 10 million cells plus.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5the64-bittranslatorisautomaticonMicrosoft&#174;Windows,buttorunitonSolarisyou will need to set the FLO_RUN64BITSOLVER environment variable to True.

access: PM Solve &gt; Overall Control

thisdialog to control the iterative solution.

Option

the type of solution from two options:

Segregated Conjugate Residual — involves an iteration procedure which uses

residual acceleration to solve the linear equations for pressure and

.

Grid — involves an iteration procedure which uses multi grid acceleration to

the linear equations for temperature. For problems with conjugate heat transfer, itcan improve convergence and significantly reduce overall computation time.

most calculations the defaultMulti Grid solver is the best option.

http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Solver Controls To Default

the solver controls in the“Variable Solution Control Dialog” on page401 and“Additional Solver Control Dialog” on page399, to the system defaults.

Iteration

each time step for a transient calculation. Each outer iteration results in the solution of alldifferential equations expressed in quasi-linear form. In general, many outer iterations are

-linearequations.See“SettingNumberofOuter Iterations” on page397.

Relaxation

-linearfans.Settingthisparametertolessthan1,say0.7,asexperience has shown may help achieve convergence.

FloTHERM User Guide, V9.1

Advanced Solution ControlsOverall Solution Control DialogActivate Plate Conduction

the linear embedded conduction solver,http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 enabling full conjugate heat transfer in 2Dsolid objects, seeFigure11-4.

11-4. Full Conjugate Heat Transfer in 2D Solid Objects

,thinobjects, but there is an additional grid mesh overhead that will result in increased memory

. Details of the mesh size will provided during the sanity check in message, INFOI/09033.

plate conduction is activated.

information on the precedence rules, see“Context Rules for Plate Conduction” onpage185.

default, the Activate Plate Conduction is switched off and FloTHERM uses a simplifiedlinearsolverwhichdoesnotenablefullconjugateheattransferof2Dsolidobjects,butrequiresless memory.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Use Double Precision Solver://www.51wendang.com/doc/d2e52c141054f5479dae40c5par.Thissettingissavedwiththeproject.See“DoublePrecisionSolver” on page393.

Grid Damping

.Onlyusethisoptionif theMulti Grid solution exhibits divergent behavior. Alternatively, use theSegregatedConjugate Residual solver.

:Thiswillpreventdivergence,butmayresultinsomeslowdowninconvergenceinnormalsituations. For this reason,Multi Grid Damping should only be activated when required.FloTHERM User Guide, V9.1395

Advanced Solution Controls

Solution Control Dialog

Flow

the solution of flow but retains the stored variables, hence effectively freezing theflow solution. Freeze flow can be useful for:

Improving convergence of the Temperature equation for very complex conjugate heattransfer problems.Very fast solutions of the Temperature field in forcehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d convection problems when

.Thiscanbeveryusefulinperformingquickparametricstudies on the effect of changing heat sources.

see“Freezing the Flow” on page397.

Error Field

you to store the field of residuals for any variable, (but only one variable at a time)selected from the popup. After solution, the ‘Error’ field contains the local residual errors forthe selected variable. By contour filling using this error field, the user can identify areas wheretheprogrammayhavedifficultyinconvergingtheequations.Theusercanthenfocusattentionon the grid, project set-up and assumptions in the areas of difficulty.

“Storing Error Field Values” on page397 for a more detailed description.

Point Convergence for Temperature

the criteria for stopping the solver when a desired level of temperature convergence is

.Actihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5vatingthisoptionexpandsthedialogtoallowtheentryofthemeasures used to determine when testing for convergence starts and the required accuracy.

RequiredAccuracysetstheacceptabletemperaturerangewithwhichtojudgewhetherthe monitor point has converged.Number of Iterations

[此处图片未下载成功]

sets the sample size over which to judge whether the monitorpoint temperature has converged.Residual Threshold sets a temperature residual value below which the program starts

for monitor point convergence.

further explanation see“Using Monitor Point Convergence for Temperature” on page398.396FloTHERM User Guide, V9.1

Advanced Solution ControlsOverall Solution Control DialogEstimated Free Convection Velocity

to calculate the false time step relaxation values and termination residuals. You do notneed to set this if you have any forced flow objects such as fans or fixed flowhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 SmartParts.SettingNumberofOuterIterations

,500outeriterationsareperformed,butforthemajorityofcalculationsoftenasmanyas several hundred iterations will be needed to converge the solution to a satisfactory level.However, the exact setting of the number of outer iterations you enter is not critical because:

Thecalculationstopsofitsownaccordirrespectiveofthecurrentiterationnumberwhen

normalized errors (see“Variable Solution Control Dialog” on page401) fall belowunity.

the algorithm does perform the specified number of iterations without satisfying theconvergence criterion, you can continue the calculation (by selectingSolve&gt;Solve). FreezingtheFlow

option to freeze the flow field can be useful in two situations:

In some physically very complex cases, it can be difficult to achieve complete

in the temperature equation as a result of fluctuating errors inhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the fluid

.Inordertoachieveconvergence,theusercanfreezetheflowfieldandsolve for the temperature equation only.

,extremelyrapidparametricstudiescan be performed by freezing the flow field, making a change to a heat source for

, and solving for T only.

[此处图片未下载成功]

[此处图片未下载成功]

field, and failure to solve for the velocities would invalidate any results from the

residual error for temperature (rT) in a grid cell is the extent to which the temperatureequation is not satisfied:

= (C0T0  C1T1  C2T2  C3T3  C4T4  C5T5  C6T6   S)

(C0  C1  C2  C3  C4  C5  C6)&#215; T

equals zero this equation is exactly satisfied.

User Guide, V9.1397

Advanced Solution Controls

Solution Control Dialog

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ntheerrorfieldarethecellresidualsdividedbytheterminationresidual,for example, for temperature in each cell the quantity stored in the error field isrT/ET. It is thisnormalized error distribution which may be displayed.

the pressure variable,rp is the continuity error in a grid cell, that is, it is the difference

.Displayofthecontinuityerrorfield will help to identify locations of the largest mass imbalances — it can sometimes be thecasethatalltheerrorislocatedinonegridcell.Again,whatisstoredintheerrorfieldandwhatis therefore displayed isrp/Ep, the residual errors normalized by the termination residual forpressure.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

window. For an example of the residual plots, see“Monitor Points versus Iteration

,youmustensurethatthhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5emonitorpointsareplacedateverypointwhere the temperature is required to be monitored for convergence.

(samplesize),themomentthe monitor point is judged to be converged can be changed.

the temperature is converging,Figure11-5 illustrates the moment of accepted convergence.

11-5. Required Accuracy

the temperature is changing by a constant amount, the acceptable gradient is defined by theNumber of Iterations and theRequired Accuracy as shown inFigure11-6.

FloTHERM User Guide, V9.1

Advanced Solution ControlsAdditional Solver Control DialogFigure 11-6. Number of Iterations

(EFCV)

estimated free convection velocity (EFCV) needs to be set when there is no forced flow(generated by fans or fixed flow SmartParts) present in the enclosure and gravity is activated,that is, whhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5en the buoyancy forces are of importance. In this case EFCV sets a scale for thevelocity from which the program can estimate the false-time step under-relaxation factors toapply in order to achieve a convergent solution.

the vertical air velocities encountered in electronic enclosures of this kind arebetween 0.1ms-1 to 1.0ms-1. The software assumes a default of 0.2 ms-1. The exact value ofthe setting you make for EFCV is not critical provided it is in the right range.

solution, you are advised to check the average fluid velocities produced by the software,and adjust the EFCV and re-solve if significantly different from the original estimate.AdditionalSolverControlDialog

access: PMSolve &gt; Solver Control

thisdialog to control the solution of linearized equations at the level of inner iterations.This dialog is needed only for those rare occasions where the problem under considerationhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 isextremely complex and it is not possible to achieve acceptable solution convergence controlusingtheVariableSolutionControldialogalone.Forafulldescription,see“VariableSolutionControl Dialog” on page401.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1399

Advanced Solution Controls

Solver Control Dialog

:pressure,temperatureandthevelocitycomponents.

Variables

classical linear under-relaxation to any variable you select from the popup, which

both variables used in the solution algorithms, and variables derived from the solutionalgorithms.

correction,f&#180;, obtained by the linear solver for variablef, gives rise to the following fieldadjustment:

f  Linear_Relaxation&#215;f&#180;

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rthat is, only a portion off&#180; is added tof. This option is often used for under-relaxing density incompressible flows.

an option for controlling the convergence of the solution variables of pressure,

resolutes, K.E. Turb, Diss Turb and temperature. The Error Compute Frequency setsthe iterations of the linear solver at which residuals are calculated. By default, the solverdetermines itself when to recalculate the residuals.

,whichmeansthatthenewfieldvaluesofavariablearetakenasequaltothatjustresultingfromtheinneriterations.Ifyouweretoseta value of zero, the program would set the new value to the previous-pass value, that is, youwould prevent all changes from occurring.

speaking you need not reset these under-relaxation factors for the solved variables,that is, normalhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ly you should leave them at their default values of unity. Instead you should usethe false time-step method (provided in theVariable Solution Control Dialog).

the false transient under-relaxation, linear under-relaxation can also be applied toauxiliary fields. For example, you can apply it to control the pass-to-pass changes in densitywhen you have selected the ideal gas law option in theFluid Propertydialog.

[此处图片未下载成功]

[此处图片未下载成功]

400FloTHERM User Guide, V9.1

Advanced Solution ControlsVariable Solution Control DialogErrorComputeFrequencyConvergenceCheck

the linear solver is performing its iterations, it occasionally checks if the error of thelinearized equations has fallen below the termination residual set in theVariable Solution

.Iftheerrorsatisfiesthiscondition,theinneriterationsonthevariableceaseandthe algorithm moves on to attend thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5o the next variable.

default, the linear equation solver itself determines at which inner iteration it thinks that theconvergence criterion is satisfied, and hence at which iteration it should repeat the test for thiscondition. The error compute frequency entry allows you to over-ride the solver’s intelligence,in order to force the test for linear-equation convergence at a preset inner-iteration frequency.For example, if the error compute frequency for pressure is set to 25, this means that the solverwill test for satisfaction of the convergence criterion every 25th inner iteration.

can occasionally prove desirable to force the solver to calculate residuals at a preset

, as sometimes the linear-equation solver can decide to test for convergence veryinfrequently. This can result in the solver doing all the iterations set in theVariable SolutionControl Dialog, when in rehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ality fewer would do to satisfy convergence. However, what youshould not do is reset the error compute frequency to a very low number (for example, 1),because this will double the time the solver takes to do each inner iteration.

access:PM Solve &gt; Variable Control

thisdialog to control the solution of a field variable. The solution can be controlled by:

The false-time step (which controls convergence)The termination residual (which governs solution termination)The number of inner iterations (which affects the convergence rate)

the fluid variable to be controlled from the popup. A comprehensive list of all thevariables which can appear in the popup is given below:

PressureX-Velocity

FloTHERM User Guide, V9.1

Advanced Solution Controls

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parVariable Solution Control Dialog

Y-VelocityZ-VelocityK.E. TurbDiss TurbTemperature

Time Step

a transient-like parameter which is used to ‘damp’ or ‘under-relax’ the solution of anyvariable except pressure. Set to correspond to time-scale of problem, for example, (typical

)/(typical velocity). Larger values give light damping, small values give heavy damping.Automatic sets False Time-steps based on fans in forced flow cases and the EFCV in naturalconvection cases. PressCalculate Automatic Values to see the automatic value.

slider bar can be used to quickly change the automatic setting by either dividing ormultiplying it by a factor of up to 20. PressCalculate Automatic Valuesto see the http://www.51wendang.comer Speci ed allows you to override the automatic settings manually.

Residual

the convergence tolerancehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5, that is, the acceptable total error in solution for a variable. Youcaneitherrequestittobeautomaticallycalculatedormanuallysetit.Theautomaticterminationresidual is calculated as:

For pressure: 0.5% estimated typical mass flow.For velocities: 0.5% estimated typical momentum.For temperature: 0.5% of fixed heat source.

ormultiplyingitbyafactorofupto20.PressCalculateAutomaticValuestoseethe effect.

Iterations

the maximum number of inner iterations on the linearized equation solver for the selectedvariable.

Automatic Values

the calculation of the automatic values which the program would use during solution,and the resultant values are displayed in the ‘Automatic’ fields.

that the units displayed are the global unit preferences. If you wish to change thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hem, youneed to use the“Global Units Dialog” on page86.

FloTHERM User Guide, V9.1

Advanced Solution ControlsVariable Solution Control DialogCalculatingtheFalseTimeStep

-relaxationistheprincipalmeansthatyouwillusetocontrolconvergenceof the iterative algorithm.

,thisunder-relaxationprovidesaninertialeffectwhichrestrainstheamountby which the value in each cell is permitted to change at each outer iteration.

inertial effect is proportional to the mass in the cell and inversely proportional to the falsetime step, set for the variable. Consequently, the smaller the false time step, the larger theinertial effect, and so the less the variable is permitted to change.

default, the program calculates an automatic false time-step which is used for all variables(the one exception being pressure to which the method is not applied).

program-calculatehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d value is calculated from the following expression:

--------------------------------------------------------------------------------------maximumfanvelocity

there is no forced convection set (that is, no external or internal fans, or fixed flow set)the program-calculated value is determined from the following expression:

------------------------------------------------------------------------------------------------------------------------EstimatedFreeConvectionVelocity(EFCV)

the EFCV is set by the user in theOverall Solution Control Dialog.

setting of EFCV is needed for situations in which the flow is solely driven by naturalconvection. In electronic enclosures typically, the free convection velocity will vary between0.1ms-1 and 1ms-1 depending on the heat dissipated, the enclosure height and the resihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5stances toair flow within the enclosure. You need only estimate EFCV — you donot need to know itexactly (it is the job of FloTHERM to calculate the air flow pattern). If you set EFCV to themaximum anticipated velocity, it will have the effect of heavy under-relaxation so that youshould get convergence albeit slowly. However, choosing a large EFCV may lead to

high termination criteria. Care should be taken to ensure the solution does notconverge too easily.

default the EFCV is set to 0.2ms-1.

some amount of false time step under-relaxation is essential for the velocities. Theprogram-calculated value is often sufficient to procure a convergent algorithm.

some flows, the program-calculated false time step on the velocities may be insufficient toget convergence. You can reset under-relaxations foru, v andw to equal the smallest cell sizedivided by the largest anticihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5pated velocity.

User Guide, V9.1403

Advanced Solution Controls

Solution Control Dialog

convergence problems persist, consult“Troubleshooting” on page533 (or contact MentorGraphics Support) for advice rather than increasing the under-relaxation still further.

under-relaxation is typically needed for buoyant flows in which the temperaturefield feeds back into the momentum equations via the buoyancy force.

program ‘plays safe’ by providing an automatic setting for the false time step which isequivalent to that determined for the velocities.

,inflowswherethetemperaturesolutiondoesnothaveasignificantfeedbackintothevelocitycalculation(thatis,smalltemperaturedifferencessogravitationaleffectsareminimal),the program-calculated false time-step for temperature may over restrain the pass-to-pass

.Inthiscasehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5,youcaneitherincreasetherateofconvergencebysettingavalue 10 to 100 times larger than the automatic calculated value (use the slider bar) or removethe automatic under-relaxation entirely. You can do this by entering a user specified false-timestep of 1015s.

very slow flows which are dominated by diffusion (that is, the Reynolds number is verymuch less than unity), the fluid velocity is not the appropriate quantity from which to infer thefalse time step. In the case of very low Reynolds numbers (for example, less than unity), youshould set the false time step from the following expression:

(density)&#215;(typicaldimension)--------------------------------------------------------------------------------------(viscosity)

the termination residuals determines the accuracy of the equations to be solved.

,itisimportantnottoconhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5fusethisaccuracywiththeaccuracywithwhichthesolutionmodels physical reality. For example, if you solve the equations on a very coarse grid, you canget a very accurate solution of the equations, but the solution obtained cannot be expected toaccurately simulate physical reality.

the program finds that the residual error for each variable is less than its terminationresidual, it terminates the iterative solution on the grounds that it has satisfied the specifiedconvergence criteria. A more detailed account of this procedure is now given.

residual error for temperature,RT, is defined as the sum for all grid cells of the absolutevalues of the error,rT, of the temperature equation for each grid cell, namely:

=Σ |rT |

grid cell error,rT, is the extent to which the temperature equation in a cell is not satisfied:404FloTHERM User Guide, V9.1

Advanced Solution ControlsVariable Solution Contrhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ol DialogrT = (C0T0  C1T1  C2T2  C3T3  C4T4  C5T5  C6T6   S)

(C0  C1  C2  C3  C4  C5  C6)&#215; T

equals zero this equation is exactly satisfied.

,Eu,Ev,Ew andEp denote the termination residuals set in the dialog. The program takesthe specified convergence level as being reached when:

/ET &lt; 1 andRu /Eu &lt; 1 andRv /Ev &lt; 1 andRw /Ew &lt; 1 andRp /Ep &lt; 1

,theouteriterationsceaseandthesolutionprocesswillstop.Theresidualerrors,dividedbytheterminationresiduals,thatis,RT/ETandsoon,areplottedonthe vertical axis of the plot of residual versus iteration.

program-calculated termination residuals are determined as described in the followingsections.

(AutomaticSetting)The termination residual for mass continuity,Ep, is taken as one half of one per cent of a˙, within the system:characteristic flow rate,M://www.51wendang.com/doc/d2e52c141054f5479dae40c5par

˙Ep=0.005M

˙istakenasthetotalinletfanflowrateorthetotaloutletfanflowrate,Forasystemwithfans,M˙ iswhichever is the largest. In the absence of fans (that is, the pure free convection case),M

as the product of the density, the EFCV and the area of the domain normal to thevertical.

has units of kg s-1

(AutomaticSetting)

termination residual for the u velocity component,Eu, is taken as one half of a percent of˙, multiplied by the associated characteristic velocity,V:the characteristic flow rate,M

˙VEu=0.005M

has units of Newtons

(AutomaticSetting)

termination residual for the v velocity,Ev, is calculated the same way as that for the uvelocity:

˙VEv=0.005M

User Guide, V9.1405

Advanced Solution Controls

Solution Control Dialog

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rminationResidual(AutomaticSetting)

,Ew,iscalculatedthesamewayasthatfortheuandv velocities:

˙VEw=0.005M

(AutomaticSetting)

termination residual for the temperature, ET, is calculated as one half of a percent of a

˙:characteristic heat source,Q

˙ET=0.005Q

˙,istakenasthemaximumofthetotalheatIfheatsourcesarespecifiedwithintheenclosure,Q˙, is taken as:sources or the total heat sinks. If no heat sources are present,Q

˙C TET=0.005Mptyp

:

˙ = the characteristic flow rateM

= the specific heat of the fluid

Ttyp = 20 C

˙ has units of WattsQ

(kandepsilon)

,theproductionofturbulencewithinthesolutiondomainisgreaterthanthatin the incoming flows. In order to compensate for this, the termination criteria are lessstringently set tohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 prevent unnecessary calculation as follows:

˙Ek=0.05kM

˙Eε=0.05εM

iterations are done to solve the equations for temperature, velocities and pressure at eachouter iteration (or solution pass). As an example for temperature, the task is to solve thefollowing equation for temperature (T) in each grid cell:

(C0T0 C1T1 C2T2 C3T3 C4T4 C5T5 C6T6 S)T=------------------------------------------------------------------------------------------------------------------------------------------------------------(C0 C1 C2 C3 C4 C5 C6)

,T2, ...T6 are the temperatures in the neighboring grid cells.

FloTHERM User Guide, V9.1

Advanced Solution ControlsVariable Solution Control DialogAsingleinneriterationcalculatesTfromthisequationateachgridcell.Repeatediterationsareneeded to solve the equation set because some of the neighbor values of temperature are theprehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5vious iteration values. The iterations on temperature continue until the specified number iscompleted or they will terminate early if the termination criterion is satisfied, that is, if thenormalized residual falls below unity.

/ET &lt; 1

the next outer iteration, it is necessary to solve the temperature equations again because thecoefficientsC1,C2 ...C6 will all have changed.

can set the number of inner iterations on any variable in the list, that is, temperature,

, and pressure. The default number of inner iterations for the variables is as follows:

50 inner iterations on pressure,100 for temperature, and1 for velocities.

-calculatedValues

you wish to see the program calculated termination residuals or false time steps, then pressCalculate Automatic Values. The program calculated values are then displayed in the‘Automatic’ fihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5elds.

:ManualModelingConsiderations

can set your own value for the termination residuals in the User Specified field. For

,youmaywantatighterconvergencecriterionthanthatprovidedautomatically.Ifyouset the termination residuals to very small values (for example, 10-10), you will force the

.Inthisevent(thatis,thattheprogramdoesalltheiterations),itdoesnotmean that the solution is not converged — convergence may have been reached but theresiduals have got stuck at levels below which they cannot be reduced due to the limitedprecision of a 32-bit computer.

User Guide, V9.1407

Advanced Solution Controls

Solution Control Dialog

11-7. Residual Error

Error1E12

E09

E06

E03

E00050100150http://www.51wendang.com/doc/d2e52c141054f5479dae40c5200250

No.300350

[此处图片未下载成功]

the value.

[此处图片未下载成功]

InnerIterations:ModelingConsiderations

is often found that improved convergence is achieved by performing 100 or more inneriterations on pressure.

more than 100 inner iterations on temperature are beneficial, especially when the defaultfalse time-step for temperature is reset to a large value so that little or no under-relaxation isused for temperature.

velocity variables sometimes benefit from 5 or 10 inner iterations.

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

12VisualizingResults

Visual Editor runs in two modes:

Graphics — to view the geometry and results in 3D world scenes, as well as createanimations of the air flow.Tables — to present the modelhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 set-up and results data in a tabular format.Overview

Visual Editor may be used to quickly observe areas of particular interest such as: Maximum and Minimum Values

and minimum values may be displayed for any stored variable usingShowRange in theScalar Fields Properties.

Surface Temperature Values

temperature value plots may be displayed over selected bodies or the completemodel. See“Plotting Surface Temperatures” on page461.

Values over a Visualization Plane

visualization plane may be positioned to intersect a point of interest in the solutiondomain. Contours and vectors of any stored variable may be displayed over the plane.See“Plane Plot” on page456.

Isosurfaces

.See“Isosurface Plots” on page459. This feature is particularly useful for high-lightingarhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5eas above a certain critical temperature level.

Particle Source Traces

can be released within the domain to visualize the flow or movement of anyvectorvariable.See“ParticleTracking”onpage462.Thisfeatureisextremelyeffectivefor understanding complex re-circulating flows or complex heat flows.

User Guide, V9.1409

Visualizing Results

Editor Window

the Visual Editor by default.

default, the selection of geometry in the Visual Editor is conveyed to the Drawing Board orProjectManagerwindows(andviceversa).Thatis,objectsselectedintheVisualEditorarealsoselected in the Drawing Board and Project Manager windows.

feature is very useful when you want to select geometry in the Visual Editor when ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t ishidden, or partially hidden by solution results.

start the Visual Editor in graphics mode, click on in any other application window. TheVisual Editor then starts up with the graphical 3D representation of the project in the displayarea, similar to that shown inFigure12-1.

12-1. Visual Editor in Graphics Mode

start the Visual Editor inTables mode, click in any other application window. The

[此处图片未下载成功]

isnow

[此处图片未下载成功]

presentedinthedisplayarea, seeFigure12-2.

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowFigure 12-2. Visual Editor in Tables Mode

either mode, the basic window layout is split into two main parts:

.Theright-sidefordisplayingtheFloTHERMgeometryandsolutionresultsingraphicor

formhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ats.

.The left-side for customizing the display.

main features of the Visual Editorwindow are:

Application Bar for swapping between the graphics and tables modes (or displayingboth at once).Data Display Area for theVisualization Viewer orTables.Object/Table Explorer for selecting the project data to be investigated.PropertyEditorforchangingthedataforitemsselectedintheObjectExplorerpanelor display area.Menu Bar for listing window operationsToolbars for buttons controlling the animation scene.MessageAreaintheframeatthebottomofthewindow,fortheVisualEditor

[此处图片未下载成功]

operation,

and status messages. For some processes, requiring a wait time, a progressbar appears.

User Guide, V9.1411

Visualizing Results

Editor Window

the Visual Editor starts-up, the project geometry and reshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ults (if present) will be loadedautomatically. The geometry on display in the Project Manager appears in the display area, asshown below in graphics mode.

graphics mode the geometry on display in the Project Manager appears automatically inthe Visualization Viewer(animation display area).

Visualization Viewer runs in three viewer modes:

.View Manipulation mode, for dragging the view

.Select mode, for examining the scene data

.Annotation mode, for adding text notes

will toggle between the view manipulation and select modes. TheEscape key will togglethrough all three modes.

,theVisualEditorallowsyoutoquicklymanipulatetheviewbydraggingthemouse.This is the

[此处图片未下载成功]

View Manipulation mode. At other times, to return to the

[此处图片未下载成功]

View Manipulationmode, click in the toolbar.://www.51wendang.com/doc/d2e52c141054f5479dae40c5rdisplay has two viewer manipulation modes:

Examiner Viewer (the default)

quickly rotating the complete model by dragging the mouse across the display.

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor Window Fly Viewer

simulating a flight around the model with the view as from a cockpit.

Viewer mode, you can:

Rotate the complete model by dragging the mouse across the scene

releasing the mouse button while the mouse is still in motion enables the spin

. The faster the mouse is moving, the faster the spin.

Pan the scene left, right, up or down by dragging the mouse with the middle button

.

panning, the mouse changes to

Zoom the view to make it appear as if you are approaching or moving away from the

. To zoom, drag the mouse with both the left http://www.51wendang.com/doc/d2e52c141054f5479dae40c5and middle buttons pressed.

addition, the middle mouse button can be used to zoom the view in or out in steps.

zooming, the cursor changes to

Rubber Band Zoom to zoom in on an area of particular interest. To rubber band zoom,

-click and drag the mouse over the area to be magnified. As the mouse is dragged,the area to be zoomed is indicated by masking (graying out) the rest of the view. On

of the mouse button, the mask will be removed and the view expands to revealmore detail as shown in

[此处图片未下载成功]

Figure

[此处图片未下载成功]

12-3

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

.

User Guide, V9.1413

Visualizing Results

Editor Window

12-3. Revealed Detail

mouse movements may be treated like that of an aeroplane joystick, with the left andmiddle mouse butthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ons acting as a throttle. The speed of flight is graphically represented by ablue bar at the bottom of the window, clicking the left mouse button increases the speed whilstthe middle mouse button decreases the speed.

Ctrl to stop a flight. Keeping Ctrl pressed and moving the mouse pans the image.The view can be changed more accurately by setting view data in the properties sheet, orselecting the view using the menus or toolbars. See“Changing the View” on page439.WalkMode

mode, which is akin to walking through the model, is available in eitherExaminerViewerorFly Viewer mode.

enterWalk mode, hold Alt   left mouse button (the Alt key may be released after pressingthe left mouse button). You will remain inWalkmode until you release the left mouse button.The movement is in the same direction as that of the mouse.

,individualgeometryobjectscanbeselectedfordisplaychhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5anges.Youcanhide, re-color or add texture effects to selected geometry.

select an item in the Visualization Viewer, press theSelectmode tool button and thenclick the object. For multiple selections use the Shift or Ctrl key while making the selections.By default, you can choose cuboids, prisms, tets and plates. But to make selection easier incomplicatedmodels,youcande-activatethegeometry

[此处图片未下载成功]

typesusingthegeometrypropertysheet.See“Geometry Properties” on page444.

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowConversely,ifyouareunabletoselecttheobject,checkthatthetypehasbeensetasselectablein the geometry property sheet.

: If the object is hidden from view, then you can either hide any obstructions or select theobject in the Project Manager. Also, for multiple selections it may be easier to use the ProjectManager.

is usefulhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 to be able to hide components of a model to get a better view of the main objects ofinterest. To hide an object, first ensure you are in Pick Mode, then click on the object in theVisualization Viewer and either pressF12 or selectSelection &gt; Hide.

change the color and/or texture of an object, select it in the display and then change thesettings using theSelected Geometry Properties property sheet.

tooltip information that you see displayed as the mouse hovers over an object in theVisualization Viewer, can be attached permanently to the scene as an annotation. To add anannotation, press. The cursor changes to cross-wires and clicking an object in theanimations display area adds an annotation

further explanation, see“Adding Annotations” on page469.

background color defaults to pale green, but you can quhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ickly change the color of thebackground and objects by selecting colors from a palette or adjusting the proportion of red,green or blue light using thesettings node in the property editor. See“Settings Properties” on

[此处图片未下载成功]

page437.

User Guide, V9.1415

Visualizing Results

Editor Window

addition to the surface temperature plots that can be superimposed over the geometry, youcan also display planar and isosurface plots using the Plots toolbar.

and vector plots are displayed over a plane as shown inFigure12-4.

12-4. Planar Plots

create a plane plot, you expand the results node in the Object Explorer and choose the plotsnode, then click in the plots toolbar. See“Plots” on page453.

plots create a 3D contour plot of the same value for a gihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ven variable as shown inFigure12-5.

12-5. Isosurface Plots

,youexpandtheresultsnodeinthe

[此处图片未下载成功]

Object

[此处图片未下载成功]

Explorer

[此处图片未下载成功]

and

[此处图片未下载成功]

choosetheplots node, then click in the plots toolbar. See“Plots” on page453.

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowPlotsofParticleFlows

flow of the fluid can be tracked by displaying the path a massless particle would followthrough the model as shown inFigure12-6.

12-6. Plots of Particle Flows

plot the flow path, you create a source, and set the number of particles to be released byselectingsource in the Object Explorer panel, clicking and editing the source data in theProperties Editor panel. To collocate a source with another object, select the object prior tocreating the source. See“Particlhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5es” on page462.

you cannot edit the model using the Visual Editor, you can change the visualrepresentation of the geometry in the display area.

geometry can be represented as solid or wireframe and when results are available,

by surface temperature plots. The representation is changed using the selectionbutton bar, see

[此处图片未下载成功]

Figure12-7.

User Guide, V9.1417

Visualizing Results

Editor Window

12-7. Different Display Modes

nothing is selected in the Visualization Viewer, all the geometry will change to the chosendisplay mode, otherwise only the selected geometry will be effected.

change to wireframe or return to solid mode you can press theW orS shortcut keys

[此处图片未下载成功]

respectively.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

AnimatingThttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hePlots

can be animated by automatically moving:

the planes normal to their planeparticles along their flow paththrough different surface values

setting up the plots, you can start the animation by selecting animation in the Object

://www.51wendang.comethePropertiesEditorpaneltorefinetheanimationsettings.See“Animating the Plots” on page472.

&gt; Save saves the animation settings.

&gt; Save State As saves the image and settings in an external*.xml file. This is useful forsaving views containing different plot types for subsequent loading and rapid display ofdiffering results of interest.

frames of an animation can be output in movie files, click

in theAnimation Toolbar.FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowPrintingtheVisualizationVihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ewerDisplay

&gt;Print.Seealso“OutputtinganAnimation Scene” on page475.

&gt;ReInitializeStaterestoresthedefaultsettingsfortheanimationscene,thatis,removingany plots, materials and textures as well as the view.

default scene is a perspective view of the geometry with the vertical axis aligned withgravity, seeFigure12-8.

12-8. Default Animation Scene

toggle perspective off and back on click and respectively.

,thedataondisplayintheProjectManagerisreportedinthedisplayareainthe form of summary tables.

Model Table is displayed by default, with theObject/Attribute Table behindit.

switch between the tables, click the named tabs above the tables, see

[此处图片未下载成功]

Figure

[此处图片未下载成功]

12-9

[此处图片未下载成功]

://www.51wendang.com/doc/d2e52c141054f5479dae40c5.

User Guide, V9.1419

Visualizing Results

Editor Window

12-9. Tables Mode Example

of grid statistics, and if results exist, field results, monitor point results and regions arealso available by selection, using the expanded Tables node and property sheets.

functionality of the Tables is only briefly introduced here, for more detailed information,see“Displaying Tables” on page478.

each table type there is a column header, and a row for each table element as shown inFigure12-10.

12-10. Example X-Grid Table

,thenusethescrollbarsto

[此处图片未下载成功]

see

[此处图片未下载成功]

thefullextent.

editing of the table data is available, you can:

Hide table rows/columns

FloTHERM User Guide, V9.1://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Visualizing ResultsVisual Editor Window

Deactivate/activate keypointsedit object attributes

editing the table, you must select the cell/row/column to be changed as follows.Row/ColumnSelection

the mouse pointer you may select:

Individualtablecellsbyclickingontheactualcells(themousechangestoacrossshape to indicate that it is passing over data cells).Complete table rows by clicking on the row titlesComplete table columns by clicking on the column titlesComplete table by clicking on the top-left table title box

rows or columns (not rows and columns) can be selected by Shift-left-click.

/column,clickitsheader,right-lick,thenchooseHideselectedrowsorcolumnsfrom the popup menu. SelectingShow Allin the right-click menu reverses the command andrestores any hidden rows/columns.

/DeactivatingKhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5eypoints

the Grid table, you can change the state of grid keypoints. To activate/deactivate a

,intheGridTable,selectthekeypointStatecellthendouble-click.Note,however,thatif the keypoint marks the start of a localized grid area, then it cannot be deleted.

a definition of keypoints, see“Grid Refinement Methods” on page285.

attributes attached to modeling objects can be changed using the Object/Attributes table.Double-click on the table cell containing the attribute to be changed and choose an alternativesetting using the popup selection dialog.

are three main methods for exporting table data:

Generating an HTML report which can be loaded on an intranet. See“SummaryReports” on page484”.Creating CSV files of complete tables or selected cells, rows and columns. See

[此处图片未下载成功]

“Exporting Tables” http://www.51wendang.com/doc/d2e52c141054f5479dae40c5on page482.

FloTHERM User Guide, V9.1

Visualizing Results

Editor Window

Loading table data directly into your default spreadsheet package. See“Exporting

” on page482.

,whenruninbatchmode,thetablesdatacanbeoutputtoCSVfiles.See“ExtendedBatchSupport for PDML with Tables Output” on page339.

the table data on display can be printed usingFile &gt; Print. For further information, see“Printing Tables” on page484.

/TableEditorPanel

,ortabledisplay,canbecontrolledusingtheeditorpanelontheleft-sideofthe window. The editor panel contains three main parts:

Object/Table Explorer

navigate around the Visual Editor scene or table data.

Context Sensitive Toolbar

any operation that can be performed on the selected data type.

Property Editor

changing the scene or tahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ble data.

/TableExplorer

theObject/Table Explorer to find and display the scene or table data. It contains ahierarchical tree representing the different types of scene or table data, seeFigure12-11.422FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowFigure 12-11. Object/Table Explorer Tree

‘ ’ or ‘-’ on the left of the nodes to expand or collapse the tree respectively. All the

tree nodes are shown inFigure12-11, but, by using theSettings node, the tree can beconfiguredtoaccessonlysubsetsofscenedata.Thisisusefulforunclutteringtheviewoflargesets of data.

an item in the tree populates theContext Sensitive Toolbar and also thePropertyEditor.

“Exploring the Project Data” on page436 and“Reporting Project Data and Results” onpage477 for descriptions of all the node types, operations and property sheets available.ContextSensitiveToolbar://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar-sensitivetoolbartooperateonthescenedatatypeselectedintheObject/TableExplorer. The command buttons vary with context, but they all include a link, to theproperty sheet description in the on-line help. For example, seeFigure12-18 on page440.Alternatively, you can use the right-click popup menus over the tree to execute commands onthe tree nodes, seeFigure

[此处图片未下载成功]

12-12.

[此处图片未下载成功]

Figure 12-12. Object/Table Explorer Tree Popup Menu Options

User Guide, V9.1423

Visualizing Results

Editor Window

descriptions of the toolbar buttons and popup menu commands, refer to the appropriatenode section in“Exploring the Project Data” on page436.

theProperty Editor panel to view and edit the scene data for the type selected in the

/TableExplorer.Eachnodeinthetreehasapropertysheetcontainingrelateddataehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ntryfield as shown inFigure12-13 for viewpoint1.

12-13. Node Property Sheet

Down arrow indicates that the sheet can be expanded to reveal further data entry fields.Clicking an Up arrow hides data fields.

changes may require over-writing, selection from a menu, moving a slider bar, orturning a thumbwheel, depending upon the data type.

.SelecttheobjectintheVisualizationViewerandthepropertiessheetwillprovidematerialandtextureoptionstochange the appearance of the model.

.Whenmultipleexplorertreenodes

[此处图片未下载成功]

orobjectsintheVisualization Viewer are selected, the property sheet data entry fields are populated with thosefields common to all. Editing the common fields updates all the selected objects. Thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he exampleinFigure12-14 shows how cut planes and results planes can be collocated.

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowFigure 12-14. Changes Applied to a Group of Items

&gt; Save, the current image and settings can be saved with the project. When theproject is re-loaded, the view will maintain the settings saved.

return the display settings to the original defaults, including the removal of all planes,particles, and so on, useFile &gt; Reinitialize State.

the menu bar to execute operations either directly or by launching a dialog.

12-1. Visual Editor Menu Bar Contents

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1425

Visualizing Results

Editor Window

12-1. Visual Editor Menu Bar Contents

[此处图片未下载成功]

[此处图片未http://www.51wendang.com/doc/d2e52c141054f5479dae40c5下载成功]

Any button or keyboard shortcuts are indicated on the left and right of each menu itemrespectively, as shown inFigure12-15.

12-15. Shortcuts

the button or pressing the key will perform the same operation as the menu command.FileMenu

,includingimportingscenegeometryand solution data files, saving files, printing animation scenes and quitting the applicationwindow.

[此处图片未下载成功]

Table 12-2. Visual Editor File Menu Contents

User Guide, V9.1426

Visualizing ResultsVisual Editor WindowTable 12-2. Visual Editor File Menu Contents

Notes

of the contents of the display area to a printer or file is determined as follows:

IftheVisualizationViewerisonview,thenasnapshotofthecurrentanimationsceneisprinted.If a table fills the display area, then the dahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ta on display is printed.Ifthewindowissplit,containingboththeVisualizationViewerandtables,thedifferent

types are printed separately.

,toprintthefulltableyouwillneedtoexportthetable data in*.csv format and load into your default spreadsheet package. See“ExportingTables” on page482.

,see“OutputtinganAnimationScene”onpage475.

[此处图片未下载成功]

FloTHERM User Guide, V9.1427

Visualizing Results

Editor Window

theEdit menu to change the visualization scene.

12-3. Visual Editor Edit Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

WindowMenu

Visual EditorWindow menu launches the other FloTHERM application windows

the application window is not already open, selecting the application name will launch thewindow. If the window ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s already open, but hidden from display, it will be popped to the front.SolveMenu

the Visual EditorSolve menu to start the solution.

12-4. Visual Editor Solve Menu Contents

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowTable 12-4. Visual Editor Solve Menu Contents

[此处图片未下载成功]

SelectionMenu

the Selection menu to configure the display of geometry and temperature plots.

12-5. Visual Editor Selection Menu Contents

[此处图片未下载成功]

AnimationMenu

theAnimation menu to control the animation.

[此处图片未下载成功]

Table 12-6. Visual Editor Animation Menu Contents

User Guide, V9.1429

Visualizing Results

Editor Window

12-6. Visual Editor Animation Menu Contents

theViewer menu to customize the view of the model.

[此处图片未下载成功]

://www.51wendang.com/doc/d2e52c141054f5479dae40c5Table 12-7. Visual Editor Viewer Menu Contents

[此处图片未下载成功]

430FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowTable 12-7. Visual Editor Viewer Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

Figure 12-16. Orientation Axis and Angle

menu provides options for the display of the on-line help and copyright information.The on-line help includes descriptions of the window layout, keyboard and mouse operations,and links to the FloTHERM manual set.

[此处图片未下载成功]

Table 12-8. Visual Editor Help Menu Contents

User Guide, V9.1431

Visualizing Results

Editor Window

12-8. Visual Editor Help Menu Contents

[此处图片未下载成功]

[此处图片未下载成功]

Toolbars

are shortcut buttons grouped into movable panels so that you can drag them to

.Tomoveatoolbar,dhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ragthedoublehandlesinthetoolbar.Thedraghandlesare on the left-side (in horizontal format) or top (in vertical format) of the toolbar.

toolbars are described below.

Applications toolbar includes switch buttons to swap the data display mode between theanimation scene and tables as follows:

only the Visualization Viewer.

[此处图片未下载成功]

Shows only the Tables.

[此处图片未下载成功]

Tiles the Visualization Viewer

[此处图片未下载成功]

and Tables

[此处图片未下载成功]

horizontally, so both can be seen at

[此处图片未下载成功]

the same time.

[此处图片未下载成功]

Tiles the Visualization Viewer and Tables vertically, so both can be seen at the

time.

-upinformationtoanexternalfileoroutputtoaprinteras follows:

saves the current animation into a Visual Editor*.xhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ml file.

prints the animation scene, or tabulations, on view in the display area. If

,thenthetwopagesareoutput,

the graphics and tables on separate sheets.

previews the print output.

Edit Operations toolbar is used to edit the animation scene as follows:

[此处图片未下载成功]

Undoundoes the last operation on a property. It does not undo view changes.

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowRedo redoes the last undo.

deletes the selected plot or annotation.

.See

“Plane Plot” on page456.

particle source creates a new particle source. See“Source” on

.

Solve toolbar is used to control the solution as follows:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arSolve starts the solution. When the solution starts,

stop the solution. changes to. Click

starts the calculation of the exchange factors. When the calculation

, changes to. Click to stop the solution.

Selection toolbar is used for selecting the geometry representation as follows:

displays the selected geometry in wireframe. If nothing is selected,

complete model is represented as wireframe.

displays the selected geometry as solid. If nothing is selected, the

model is represented solid.

displays the surface temperature plot over the sides of the selected

.Ifnothingisselected,allthegeometryiscoveredbysurfaceplots.(Only

when results are available).

Animation toolbar is used for controlling those animations with theOn button activhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ated inScene Properties. The controls are as follows:

backwards

[此处图片未下载成功]

Stop animation

[此处图片未下载成功]

Play forwards

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Output animation

User Guide, V9.1433

Visualizing Results

Editor Window

Viewer toolbar is used to control the view and manage viewpoints as follows:

-hairsreadytolocatetheannotation.Click

object to be annotated in the Visualization Viewer and a tool tip containing

object specification data whttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ill be anchored at the selected location. See

“Adding Annotations” on page469.

.Notethattheobjecttypemustbeselectable,

is, set selectable in the geometry property sheet. See“Select Mode” on

.

mode, allows you to change the view by dragging the mouse. See

“View Manipulation Mode” on page412.

all resizes the display to fit the complete model in the Visualization

.

snapshot launches theSave As dialog to save the view in the

Viewer as a*.gif or*.bmp file.

movie launches theSave As dialog to save the animation between

as a*.gif or*.bmp file.

active when two or more viewpoints are set.

[此处图片未下载成功]

Perspective view

[此处图片未下载成功]

adds the effects ohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5f perspective to the view to give theappearance of depth.

[此处图片未下载成功]

Orthographic view

[此处图片未下载成功]

removes the effects of perspective.

[此处图片未下载成功]

HelpToolbar

Help toolbar is used to display tool-tips and link to the on-line help as follows.

’s this?

[此处图片未下载成功]

enables the display of context sensitive help. When the mouses

[此处图片未下载成功]

changes to

[此处图片未下载成功]

, clicking an area in the Visual Editor window displays a tool tip

[此处图片未下载成功]

[此处图片未下载成功]

and a link to the on-line help as shown below for the animation toolbar.

FloTHERM User Guide, V9.1

Visualizing ResultsVisual Editor WindowCursors

cursors shapes are used in the Visual Editor to indicate the current operation asfollows.

mode

in annotation mode, annotations appear as thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e mouse moves over the

. Clicking the mouse over an object will anchor the annotation to the

. See“Adding Annotations” on page469.

mode

in pick mode you can select geometry in the Visualization Viewer for

or coloring providing it has been set as selectable in theGeometry

. See“Select Mode” on page414.

mode

.Ifyou

the mouse button while the mouse is still moving, the display will spin.

“View Manipulation Mode” on page412.

in panning mode you can move the scene left, right, up or down by

the mouse with both the left and middle buttons pressed. See“View

Mode” on page412.

.Tozoom,http://www.51wendang.com/doc/d2e52c141054f5479dae40c5dragthemousewithboththeleftand

buttons pressed. See“View Manipulation Mode” on page412.

mode

in help mode you can display a tool tip with a link to the HTML help

[此处图片未下载成功]

system. See

[此处图片未下载成功]

Help Toolbar

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

.

User Guide, V9.1435

ExploringtheProjectData

-sideoftheVisualEditorforexploringandcustomizingthescene in the Visualization Viewer.

12-17. Visual Editor

a tree node in the Object Explorer populates the context sensitive toolbar and

sheets of the Property Editor with related editing command buttons and data fields.The tree nodes access the following data types:

http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Settings, for configuring the tree contents and main animation settingsSettings &gt;Units, for changing the display units and their formatViewer, for setting camera properties and how the view is animatedViewer &gt;Viewpoints, for changing viewpointsGeometry, for including monitor points and choosing geometry appearanceCut Plane, for changing the geometry representation above or below a selected planeResults, for producing summaries or plots of resultsResults &gt;Scalar Fields, for defining the scalar field variables available for plottingResults &gt;Vector Fields

[此处图片未下载成功]

, for defining the vector field variables available for plottingResults &gt;Plots, for creating new plane or isosurface plots

FloTHERM User Guide, V9.1

Visualizing ResultsExploring the Project Data

Results &gt; Plots &gt;Plane Plot, for editing plane plotsResults &ghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t; Plots &gt;Isosurface Plots, for editing isosurface plotsResults &gt;Surface Plots, for editing the appearance of any surface plotsResults &gt;Particles,for creating particle sourcesResults &gt; Particles &gt;Source, for editing sourcesAnnotations, for annotating the displayAnimation, for creating animations.

the basic animation set-up.

theSettings property sheet to choose the nodes displayed in the tree and set-up the basicappearance and controls for the Visualization Viewer as follows:

the to top-level tree nodes for display. By default, all top-

nodes are selected.

,expandtheoptionsandtoggletheselections

/off.

the font size of the characters in the explorer and

panels.

default, thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he font size is set to 8pt. To change the font size,

drag the bar or enter a point value.

.Tochange

color, click on the color bar and use theSelect Colordialog.

the color progressively from theBackground Color to

color chosen forBackground Bottom Color.

,gradientisnotselected,sothebackgroundcolorisjust

one solid color set forBackground Color.

the color of the bottom of the display whenGradient

is active.

settings are as described forBackground Color above.

sets the color of the title in the Visualization

clearly. It deactivates the manual setting ofTitle Color.Node Tree/Sheet FontSizeBackground ColorGradientBackgroundBackground BottomColorAuto-Color Title

://www.51wendang.com/doc/d2e52c141054f5479dae40c5THERM User Guide, V9.1437

Visualizing Results

the Units

ColorSets the color of the title displayed in the Visualization Viewer.

-Color Title must be switched off to allow the manual

of the title color.

settings are as described forBackground Color above.

the size of the font used to display the animation title.

the font size used for the legend text.

the intensity of the minimum light falling on the model.

change the level, either move the slider bar or enter a value

0 and 1.

the transparency level to one of five options:

delayed blend sorted object blend sorted object sorted triangle blend sorted layers blendNote: To work properly, thesorted layers blend requires later

cards.

.Spinanimationis

by default.://www.51wendang.com/doc/d2e52c141054f5479dae40c5,ensureyouareinviewmanipulationmode,then

the mouse across the display area in the direction of the

spin. On release of the mouse button, the geometry spins.

: The faster the mouse moves, the faster the spin.

.Thedefaultis

dpi.

the use of advanced graphics card features to give

particle colors. For older graphic cards, deactivate

Particle Colors otherwise the particles may loose their

.

the representation of the decimal point and separator

to either:

A dot and comma(dpoint. separator,) A comma and semi-colon(dpoint, separator;)

the linking of object selections in the Tables to other

.Title Font SizeLegend Font SizeAmbient Light LevelTransparencySpin AnimationPrinter DPIAccurate Partichttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5leColorsNational DelimetersActivate TablesSelection Linking

.TodisplaytheUnits property sheet, expand theSettings node and selectUnits. Note that unit definitionsin the Visual Editor are independent from unit definitions set in the Project Manager using the“Global Units Dialog” on page86 (Edit &gt; Units).

FloTHERM User Guide, V9.1

Visualizing ResultsChanging the ViewUnits

&gt;UnitsnodetospecifythetypeandformatoftheunitsdisplayedbydefaultintheVisualizationViewer.Theseunitscanbeoverriddenontheitempropertysheets,ifrequired.UnitsProperties

theUnits property sheet to choose numbering system for the data display as follows:Default unit formatSets the default number format to one of two options:

General, (the default) for normal decimal numbering Scienti c, for using the E format, fohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5r example: 2.0 E 01 = 20

[此处图片未下载成功]

Number of Significant Figures set to Default. The range is

1 to 7.Default SignificantFigures

.Tore-specifytheunitsforaparticular data type, display the options by clicking the down arrow and use the field options:

Units — choose the unit from a popup menu, for example, Hz, KHz, MHz or GHz forfrequency.Number of Signi cant Figures — choose the number of significant figures in the data

, for example, Default (the value set inDefault Signi cant Figures) or in the

1-7.

—settheunitformattingtooneofthreeoptions:Default(theDefaultunitformat setting),General orScienti c.

main methods of changing the view of the geometry are:

Dragging http://www.51wendang.com/doc/d2e52c141054f5479dae40c5the mouse across the Visualization Viewer

view. SeeView Manipulation Mode.

Using the menus and toolbars

view can be quickly changed using theViewer Menu andViewer Toolbar.

Using the object editing property sheets

,selecttheviewernode,theneditthecamera,viewingmodeand display options using the viewer property sheet.

Jump to Viewpointsispressed,thendragthemousetochange

User Guide, V9.1439

Visualizing Results

the View

previously set up using the Save Viewpoint button

double-clicking the viewpoint in the tree. can be re-displayed

the Viewer node to access the camera or viewpoint and any saved viewpoint properties.ViewerToolbar

the Viewer toolbar (Figure12-18) to operate on the current view or animation in theVisualizahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tion Viewer.

12-18. Viewer Toolbar

can be recalled later. The viewpoint is added as a child node to Viewer. The

name for each saved camera setting isviewpointn, where n is the

number.

recall a viewpoint later, expand the viewer node and select the viewpoint in

tree.

by viewpoints starts an animation changing the view between viewpoints.

stops the animation.

active when two or more viewpoints are set.

movie launches theSave As dialog to save the animation between

as a*.gif or*.bmp.

active when two or more viewpoints are set.

Snapshot launches theSave As dialog to save the view in the

Viewer as a*.gif or*.bmp file.

[此处图片未下载成功]

ViewerProperties

thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Viewer property sheet to set-up the camera properties and how the view is to beanimated as follows:

[此处图片未下载成功]

Sets the title of the animation display. It appears near the top of the

[此处图片未下载成功]

window.

[此处图片未下载成功]

The title defaults to the name of the project. To change the title, over-type the

[此处图片未下载成功]

Title

[此处图片未下载成功]

field.

the camera set-up. To change the camera set-up, expand and

the data entry fields:Camera

FloTHERM User Guide, V9.1

Visualizing ResultsChanging the ViewThe camera type is set from one of two viewing options:

.Perspective View adjusts for the effects of perspective

.Orthographic View, no rules of perspective are applied

, you can use the perspective and orthographic

.

the height of the chttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5amera view in degrees or radians.Locates the camera using X,Y and Z coordinates.

[此处图片未下载成功]

[此处图片未下载成功]

Angle of Axis

of

the direction the camera is pointing.Sets the rotational angle of the camera.

ModeSets the viewer mode to one of two options:

.ExaminerViewer(thedefault),toquicklyrotatethecompletemodel

.Youcanalsopantheview

dragging the mouse with themiddle button pressed, as well as

by dragging the mouse with both theleft and middle mouse

pressed. Drag up and down to zoom in and out respectively.

.FlyViewer,forsimulatingaflightaroundthemodelwiththeviewas

.Themousemovementsmaybetreatedlikethatofan

joystick, with theleft and middle mouse buttons acting

a throttle. The speed of flight is graphically represented by a bluehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5

at the bottom of the window, clicking the left mouse button

the speed whilst the middle mouse button decreases the

.

the Ctrl key stops the flight, and keeping it held whilst moving

mouse allows the image to be panned, as if the pilot was moving his

. Note that, this mode requires some experimentation to master the

.

Mode, which is akin to walking through the model, is available in

ViewerorFly Viewer mode.

on/off the display of the axes to indicate the orientation of the

[此处图片未下载成功]

model. The axes are displayed in the bottom left corner of the display

.

[此处图片未下载成功]

Show Axes

[此处图片未下载成功]

FloTHERM User Guide, V9.1441

Visualizing Results

the View

GravityToggles on/off the gravity direction arrow if thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e effects of gravity have

modeled. The gravity direction is shown in the display area by a

.Ifgravityhasnotbeenmodeled,thenthegrayarrowwill

appear.

the direction of the solar radiation if it has been modeled.

, it indicatesoff. The solar radiation direction is shown in the

by a yellow arrow

how the viewpoints are animated. There are three options:

, loops continuously from first viewpoint to last viewpoint.

, stops after all viewpoints have been displayed.

and Forth, loops back and forth from first viewpoint to last

back to first viewpoint.

the speed that the animation flies between the viewpoints after

. See“Viewpoint Toolbar” on page442.

the speed of the animation displayed on screen in the Visualization

and also the frame rathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e for movie output.

the time the view takes to jump from one viewpoint to another

double-clicking the viewpoints in the object explorer tree.

activated, any exported animation scene will be at the same

as the screen.

respectively.

to scale the fonts appropriately for snapshot and movie outputsaved when you click

[此处图片未下载成功]

or respectively.

[此处图片未下载成功]

Controls the animation for output capture. It activates the animation of

[此处图片未下载成功]

planes and particles, and so on. after movie output has been requested.

[此处图片未下载成功]

When turned off, only the normal fly-between points animation can be

[此处图片未下载成功]

output.

[此处图片未下载成功]

Show SolarLoopingVelocityAnimation RateJump TimeUseScreenResolutionOutput X SizeOutphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ut Y SizeOutput DPIRun AnimationViewpoints

the Viewpoint node to edit and jump to viewpoints created previously using.ViewpointToolbar

the Viewpoint toolbar (Figure12-19) to operate on the selected viewpoint.

12-19. Viewpoint Toolbar

[此处图片未下载成功]

creates a copy of the selected viewpoint.

FloTHERM User Guide, V9.1

Visualizing ResultsCustomizing Geometry DisplayDelete deletes the selected viewpoint.

.Alternatively,double-click

viewpoint in the tree.

to animates the display through all the viewpoints between the current

and the selected viewpoint.

to current sets viewpoint to current view

the Viewpoint properties sheet to edit the selected viewpoint as follows:

TypeDefaults to viewpointn wheren http://www.51wendang.com/doc/d2e52c141054f5479dae40c5is a sequence number.Sets the type of camera view from one of two options:

Perspective View adjusts for the effects of perspective Orthographic View, no rules of perspective are applied

the height of the camera view in degrees or radians.

X,Y, Z location. To change the location, expand and use the

entry fields.

[此处图片未下载成功]

Angle of Axis

of

[此处图片未下载成功]

Orientation

[此处图片未下载成功]

[此处图片未下载成功]

Directionthecameraispointing.Tochangethedirection,expandandusethe data entry fields.

[此处图片未下载成功]

Sets the rotational angle of the camera.

[此处图片未下载成功]

CustomizingGeometryDisplay

default, the geometry is displayed in a solid color, but it can be displayed as a wireframe orcoveredbysurfacetemperatureplots.Thecompletemodelorindividualselectedobjectscanbechanged using theGeomehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5try Toolbar andGeometry Properties.

can be hidden from view after selecting it in the Visualization Viewer, making itwireframe or cutting it above or below a plane. See“Hiding Geometry” on page445.FloTHERM User Guide, V9.1443

Visualizing Results

Geometry Display

,thecolorsofselectedobjectscanbechangedandtexturesappliedbyselectingtheobjects and usingSelected Geometry Properties.

the Geometry node to edit the display of the geometry.

the Geometry toolbar (Figure12-20) to choose the geometry coloring.

12-20. Geometry Toolbar

displays the selected geometry in wireframe.

displays the selected geometry as solid

.Thisoption

only available for solved projects.

no geometry is selected, the abovehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 three operations will be applied to all geometry.GeometryProperties

the Geometry properties sheet to define how the geometry and monitor points are to bedisplayed in the Visualization Viewer as follows:

DomainOnlyavailablewhenvalidresultsarepresent.ClipToDomainremoves

outside the solution domain from the display.

display the solution boundaries, tickShow Domain in theResults

.

.Bydefault,monitor

are represented by small red dots, but you can change their size

representation usingMonitor Point Size andMonitor Point

described below.

the size of monitor point

[此处图片未下载成功]

Indicates the appearance of monitor points, that is, color, shininess and

. To change their set-up, expand use the data entry fields:

the color by clihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5cking the color bar and using theSelect Color

.Show MonitorPointsMonitor PointSize

[此处图片未下载成功]

Monitor

[此处图片未下载成功]

Point

[此处图片未下载成功]

MaterialColor

FloTHERM User Guide, V9.1

Visualizing ResultsCustomizing Geometry DisplayShininess

Tets

shininess on a scale between 0 and 1, with 0 for matt surfacesand 1 for glossy surfacesDefinestransparencyonascalebetween0and1,with0foropaqueand1for invisibleAllowscuboidstobeselectedintheVisualizationViewer(wheninpickmode).Allows prisms to be selected in the Visualization Viewer (when in pickmode).Allows collapsed cuboids to be selected in the Visualization Viewer(when in pick mode).Allows hidden objects to be selectedhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 in the Visualization Viewer (whenin pick mode).Allows wireframe objects to be selected in the Visualization Viewer(when in pick mode).Indicates the gravity direction, if modeled. Otherwise, it indicatesoff.

arrow by checkingShow Gravity in theViewer Properties.

the direction of the solar radiation, if modeled. Otherwise, it

. The solar radiation direction can also be shown in the

Viewer by a yellow arrow by checkingShow Solar

theViewer Properties.Solar Radiation

hide geometry, ensure its type has been set to selectable in the Geometry Properties sheetthen, in Pick mode, select the object in the Visualization Viewer and chooseSelection &gt; Hide.Alternatively, you can make the geometry wireframe by pressing

and below planes using aCut Plane. or http://www.51wendang.com/doc/d2e52c141054f5479dae40c5W, or cut geometry

the Cut Plane node to set the geometry representation above or below a selected plane.CutPlaneProperties

the Cut Plane properties sheet to define a plane across the model and change the

of the geometry above and below it as follows:

[此处图片未下载成功]

Allows the visualization display to be customized according to thesettings made in this property sheet.

[此处图片未下载成功]

Chooses the axis direction normal to the plane.

FloTHERM User Guide, V9.1

Visualizing Results

Geometry Display

the plane along the axis direction.

the representation above the plane:

.Normal

[此处图片未下载成功]

— solid or surface temperature as displayed prior to cut

.Wireframe — outline only

.Clipped — hidden

Cuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t PlaneChooses the representation below the plane, with the same options as

.

-21 shows a model before and after a cut plane has been created. The cut plane slicesthrough the model in a direction normal to the x-axis and located near the center of the model.Solid geometry is requested below the plane and wireframe above.

12-21. Example of a Cut Plane

is common to show the geometry as wireframe, or clipped above or below a plane plot,showing temperature for example.

is achieved as follows:

.Activate the cut plane and change its axis to be the same as the results plane plot.

.Select both cut plane and results plane plot using click and then Ctrl-click.

property sheet will now show the items that are common between cut plane and

plane plot (see“Multiple Selection” on page424).

.Sethttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5thelocationinthepropertysheeteitherbytypingthevalueinorusingthesliderbar.

one location will be imposed on both objects thus collocating them.

FloTHERM User Guide, V9.1

Visualizing ResultsCustomizing Geometry DisplaySelectedGeometry

selected geometry property sheet is displayed when geometry is selected in the

Viewer.

Viewer as follows:

the settings made in the property sheet.Indicates the object material color, shininess and transparency. Tochange the definitions, expand and use the data entry fields:Change the color by clicking color bar and selecting it from theSelectColordialog palette.Defines shininehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ss on a scale between 0 and 1, with 0 for matt surfacesand 1 for glossy surfacesDefines transparency on a scale between 0 and 1, with 0 for opaque and1 for invisible.Indicates the texture definition applied over the selected geometry. Tochange the set-up, expand and use the data entry fields:Selects a texture file. ClickFilename to launch theChoose a Pixmap

browser and choose the file containing the texture definition to be

to the selected object.

remove a texture, delete the text displayed in theFilename value

and press return.

default, sets the horizontal tiling of the texture.

default, sets the vertical tiling of the texture.

the texture according to the option chosen:

Add Colors, mixes color and texture Replace, displays just texture

,Ylocationoffsetforthetexturepatternonthesurfaceof

selected object.

[http://www.51wendang.com/doc/d2e52c141054f5479dae40c5此处图片未下载成功]

[此处图片未下载成功]

translationRepeat in Y?Repeat in X?Texture ColorTranslationX

change the location offset, expand and use the data entry fields.

User Guide, V9.1447

Visualizing Results

Results Data Range

in X, YRotates the texture image.Indicates the patterning of the selected texture image according to

of requested instances in the X and Y directions. To change the

, expand and use the data entry fields.

the center X, Y location of the texture image. To change the

, expand and use the data entry fields.

the texture to other surfaces.

mapping is normally suitable for most cases. It displays the

on all faces of the selected object.

is useful for shiny surfaces. It makes the object appear like a

surhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5face reflecting the selected texture.

Plane, XZ Plane, YZ Plane maps the texture to the selected plane

[此处图片未下载成功]

[此处图片未下载成功]

X

OffsetMovesthesurfaceoftheselectedobject.This

[此处图片未下载成功]

isuseful,

[此处图片未下载成功]

whencoincident

interfere with each other. For example, coincident objects of

colors may cause flickering.

the slider bar to manually adjust the surface of the object away

the coincident object to make the display cleaner.

FloTHERM results are accessed using theResultsnode in the Object Explorer. Using thetop-levelResults node you can display the dimensions of the solution domain. By expandingtheResults node you can customize the results display range for selected variable Scalar andVector field types as well as create plohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ts, seeFigure12-22. When there are no results, the nodecannot be expanded.

FloTHERM User Guide, V9.1

Visualizing ResultsDefining Results Data RangeFigure 12-22. Expansion of Results Node

no results are present, selecting the Results node only allows you to import the resultsfrom another project.

,selecttheResultsnodetodisplayinformationonthesolutiondomain.ResultsProperties

theResults properties sheet to show the location of the solution domain and also

/de-activateitsdisplayintheVisualizationViewer.Youcanalsochangethesolutionsetdisplayed as follows:

X/Y/Z

/highIndicates the coordinate locations of the boundary faces of the solutiondomain.

Domain

[此处图片未下载成功]

Activates/de-activates the display of the solution domain.

[此处图片未下载成功]

Indicates the displayed thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ime step which can be changed from the drop-

menu. This field is only available for transient models.

User Guide, V9.1449

Visualizing Results

Results Data Range

the animation frame display sequence proportionate to the actualdata saved times. If this is not set, the saved data frames are displayed

equal time intervals. This option is only available for transient

.

:Whenusingrelativeanimationwithsmalltimestepsmanyframes,

thousands, may be needed to resolve all of the detail in the

.Ifyouhavelotsoftimesteps,buttheanimationisnotrelative,

least as many frames as there are timesteps will be needed.

the solution directory for the results display. Useful for

[此处图片未下载成功]

importing the results from different projects.Solution Path

accehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ss the results data, expand theResults node, then theScalar FieldsandVector Fieldsnodes as required.

the Scalar Fields node displays all the scalar field variables available for plotting.Theoptionsavailabledependuponthecontentsofthesolutionset,butthepossiblechoicesare:Pressure,XVelocity,YVelocity,ZVelocity,Speed,Temperature orTurbvis.

a field variable in the tree updates theScalar Fields properties panel with

results type data.

the Scalar Fields properties sheet to customize the display of the FloTHERM results asfollows:

ValueIdentifies the variable chosen.Indicates the minimum variable value.

ValueIndicates the maximum variable value.

RangeToggles on/off the display of colored crosses at the location of the

and minimum values in the animation scene.://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

FloTHERM User Guide, V9.1

Visualizing ResultsDefining Results Data RangeRangeChooses the range of data plotted from three options:

TotalRange,thedefault,forthecompleterangeoftheplotsolutiondata

Auto Range, for the complete range of all the visible plots User Range, for a user defined range. This option activates theCurrent Min. Value andCurrent Max. Value data entry fields to

you to manually set the variable range.

the minimum range value for display either by overtyping or using

thumbwheel.

thumbwheel.

the results display within the minimum and maximum results

. That is, the results outside this range are not displayed.

a logarithmic scale for the results legend.

thatLog Scale is active when both Current Min. Value and

Mahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5x. Value are positive.

the results legend, for example see below:Current Min.ValueCurrent Max.ValueClip To &gt;Minand &lt;MaxLog ScaleShow Legend

Title

Units in

MapAneditablefieldforre-namingthetitleabovethelegend.Defaultstotheplot variable name.Displays the legend units.Sets the color map for the results values. For example, different color

are useful for distinguishing between different scalar fields.

of use are:Iron for thermal imaging of chips and solid

/White for speed vectors. By default theSpectrum of colors is

.

the number of legend intervals (ticks placed against the legend).

maximum number of ticks is 21.

the location of the minimum value.

the position of maximum value.LegendNumberof DivisionsMin. Location

[此处图片未下载成功]

Max. Location://www.51wendang.com/doc/d2e52c141054f5479dae40c5rUser Guide, V9.1451

Visualizing Results

Results Data Range

.

.

visible for transient solutions. It indicates the transient minimumtime value.Only visible for transient solutions. It indicates the transient maximumtime value.

the Vector Fields node displays all the vector field variables available for plotting.Theoptionsdependuponthecontentsofthesolutionset,butthepossiblechoicesare:Velocity,Heat Flux and Mass Flux.

a field variable in the tree updates the Vector Fields properties panel with

results type data.

the Vector Fields properties sheet to customize the display of the velocity results asfollows:

ValueIndicates the vector variable selected.Indicates the minimum velocity value.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rMaximum ValueIndicates the maximum velocity value.

Factor

Size

Min.

Max.

the size of the arrows by moving the slider bar.Sets the size of the vector arrow head by moving the slider bar.Setstheminimumrangevaluefordisplayeitherbyovertypingorusinga slider bar.Setsthemaximumrangevaluefordisplayeitherbyovertypingorusingthe slider bar.Clips the results display within the minimum and maximum resultsrange. That is, the results outside this range are not displayed.Sets the minimum width of the arrow head.Sets the legend scale to one of the following:Linear,LogarithmicorNone.Decreases the density of the arrows. Set the scale for thinning using

Ratio.

FloTHERM User Guide, V9.1

Visualizing ResultsPlotting Plane and Isosurface Results PlotsThinning Rahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tio

.

.

the scale used for thinning. 0 = no thinning.Only visible for transient solutions. It indicates the transient minimumtime value.Only visible for transient solutions. It indicates the transient maximumtime value.

display FloTHERM results in contour, vector, and isosurface plot format, first create thedefault plot, then use the plot property sheet if you need to customize it to your particularrequirements.

create a plot, expand theResults node and selectPlots in the Object Explorer tree and usethePlots toolbar.

the Results/Plots node to create and define the display of planar or isosurface results plots.PlotsToolbar

the Plots toolbar (Figure12-23) to create new plots.

12-23. Plots Toolbar

Dplotofthesolutiongridandresults.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5(Alternatively,you

click in the Top toolbar.)

new planar plot namedplane# (where # is a sequence number) will be added

the tree as a child of plots.

are two types of plane plots:

Vectors — for plotting flow direction and magnitude

[此处图片未下载成功]

[此处图片未下载成功]

Scalars — for plotting scalar values.

User Guide, V9.1453

Visualizing Results

Plane and Isosurface Results Plots

,thentheplaneplotiscentered

the selected object. The X, Y and Z locations are obtained from the object

with the active plane related to the largest aspect ratio of the object.

,thisisusefulforinvestigatingtemperaturevariationwithinaspecific

layer where manually locating the plane with the layer object would

be difficult to achievehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5.

Plots

plots show flow vectors over a plane. The vector arrows drawn originate

the center of each cell. The direction of the arrow indicates the local flow

,bydefault,bothits

[此处图片未下载成功]

length

[此处图片未下载成功]

andcolorgiveameasureofthemagnitude

the speed of the fluid field strength.

FloTHERM User Guide, V9.1

Visualizing ResultsPlotting Plane and Isosurface Results PlotsScalar Plots

plots display cell values in the form of contour lines, color-filled contour

or color-filled grid cells.

fill plot is a color filled-plane showing variable variation according to color

. Each point on the plane is colored according to the value of the variable.

Isosurface creates a surface joining all points which have the same value

a given variable.

thathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the plots will only be visible if their show options are set on in thePlane PlotProperties andIsosurface Plot Properties. This enables you to set up a number of plots, butdisplay them individually.

plots are visible by default, with scalar values on display. However, isosurface plots arenot visible by default.

the Plots properties sheet to define the color of the solution grid which can be displayedover the selected plots by activatingShow Grid in the“Plane Plot Properties” on page456.Grid ColorIndicates the plot grid color. The color can be changed by clicking on the

[此处图片未下载成功]

color bar and using the

[此处图片未下载成功]

Select Color

[此处图片未下载成功]

dialog.

FloTHERM User Guide, V9.1

Visualizing Results

Plane and Isosurface Results Plots

the Results/Plots/plane plot node to customize the http://www.51wendang.com/doc/d2e52c141054f5479dae40c5display of the selected plane plot.PlanePlotToolbar

the Plane Plot toolbar (Figure12-24) to copy or delete the plot selected under the plotsnode.

12-24. Plane Plot Toolbar

creates a copy of the selected plot.

deletes the selected plot.

Cut Plane to this plot locks a cut plane to the same location and axis as

plot. The cut plane will move with the plane plot until you click theUnlock

Plane button.

can only be one locked cut plane at a time.

the cut plane is locked, you cannot edit the cut plane’s options, see“Cut

Properties” on page445.

the Plane Plot properties sheet to activate or de-activate the display of scalar values orvector fields and change its specification as follows:

[此处图片未下载成功]

Axis

name field identifyhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ing the plot. It defaults to planen, where n

[此处图片未下载成功]

is a

[此处图片未下载成功]

sequence number.

[此处图片未下载成功]

Toggles on/off the display of the plane plot.Locates the plane plot across the chosen axis X,Y or Z.Locates the plot along the chosen axis by either using the slider bar (range

by the solution set) or entering a value directly.

[此处图片未下载成功]

The figure below shows a plane plot drawn across the Y axis, at Y = 0.5m.

FloTHERM User Guide, V9.1

Visualizing ResultsPlotting Plane and Isosurface Results PlotsShow Scalar

FieldPlots scalar values.Sets the field variable to be plotted from the drop-down menu. The choice

,Pressure,Speed and(XYZ)Velocity, but may

include (XYZ)MassFlux,MagMassFlux, (XYZ)HeatFlux,

, (XYZ)GradT,MagGradT,Bn andSc, see“Modeling

”http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 on page118.

the vector field variable selected byVector Field.

which vectors (if any) are to be displayed over the solution

. The choice includesVelocity (the default, seeFigure12-25), and can

(depending on theModeling dialog settings) includeMassFlux,

, andGradT.Show VectorVector Field

12-25. Plane Plot Showing Velocity Vector Arrows

-25originatefromthecenterofeach

. The direction of the arrow indicates the local flow direction and both

length and color give a measure of the magnitude of the speed of the

.

GridDisplays thesolution grid over the selected plot. Alternatively, pressingG

,whenaplaneplotisselected,willtogglethedisplay

[此处图片未下载成功]

ofthe

grid on or off.

User Guide, V9.1457

Visualizing Reshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ults

Plane and Isosurface Results Plots

.and

.Displays colored crosses at the location of the maximum and minimumvalues in the animation scenes.

Min.

Min.

Max.

Max.

Tooltip

[此处图片未下载成功]

Minimum value plotted.Indicates the location of the minimum value.Maximum value to be plotted.Indicates location of maximum position.Indicates the cell in which the cursor is located.

[此处图片未下载成功]

Fill TypeContouring formatting for the scalar values can be:

Fill

solution grid cell is completely painted with the color with no

between cell values.

fills between contour levels, color graded between the intervals

Lines

contour lines for locations of thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e same value

FloTHERM User Guide, V9.1

Visualizing ResultsPlotting Plane and Isosurface Results PlotsNumber of

Lighting

the number of contour lines.Adds lighting to give a 3D feel.Moving the slider bar changes the transparency of the plot allowing the

structure to be seen through it. The slider bar ranges from 0

(opaque coloring) to 1 (invisible).

thetranslator dragger manipulator so that you can drag the

along an axis.ShowManipulator

move the plane, click on the arrow head pointing in the required

and drag.

default, the manipulator is not displayed.

, you can move the plot up or down one cell at a time by

the right or left-arrow key respectively.

the Results/Plots/isosurface node to change the appearance of http://www.51wendang.com/doc/d2e52c141054f5479dae40c5the selected isosurface plot.IsosurfacePlotToolbar

the Isosurface Plot toolbar (Figure12-26) to copy or delete the selected plot.

12-26. Isosurface Plot Toolbar

creates a copy of the selected plot.

deletes the selected plot.

the Isosurface Plot properties sheet to customize the display of the selected plot as follows:NameEditablenamefieldidentifyingtheplot.Itdefaultstoplanen,where

[此处图片未下载成功]

n

[此处图片未下载成功]

is

[此处图片未下载成功]

[此处图片未下载成功]

a sequence number.

User Guide, V9.1459

Visualizing Results

Plane and Isosurface Results Plots

Scalar

FieldPlots scalar values.Sets the field variable to be plotted from the drop-down menu. The

includesTemperature,Pressure,Speed and(XYZ)Velocity,

may also include (XYhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5Z)MassFlux,MagMassFlux,

(XYZ)HeatFlux,MagHeatFlux, (XYZ)GradT,MagGradT,Bn and

, see“Modeling Dialog” on page118.

the variable to be plotted over the isosurface plot

the value to be plotted.

.Alternatively,pressing

,whenaplaneplotisselected,willtogglethedisplay

the solution grid on or off.

,theresultsandtheirlocationaredisplayedin

tooltip as the mouse moves over the grid.

colored crosses at the location of the maximum and minimum

in the animation scenes.Color ByIso. ValueShow GridShow Min. andMax.

Min. Value

Min.

Max. Value

Max.

[此处图片未下载成功]

Location

Tooltip

LightingIndicates minimum value plotted.Indicates location of the minimum valuehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5.Indicates maximum value plotted.Indicates location of maximum position.Only active when the grid is displayed. It activates the display of a tooltip showing the results at the mouse location.Adds lighting to give a 3D feel.

LightingSmooths the edges of the plot.

FloTHERM User Guide, V9.1

Visualizing ResultsPlotting Surface TemperaturesTransparencyMoving the slider bar changes the transparency of the plot allowing the

structure to be seen through it. The slider bar ranges from 0

(opaque coloring) to 1 (invisible).

in theModeling Dialog plots of surface temperatures can be plotted over the geometry byclickinginthetoolbarabovetheVisualizationViewer.Thisisusefulforspottinghot-spotsin the model.

the Surface Plots node to define thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e representation of the surface plots.

follows:

the results are displayed as solid contours. By default, this is

off and the results are displayed as cell filled colors.

Grid

Lighting

in

the solution grid over the model.Adds lighting to geometry to give a 3-dimensional appearance.By default the Visual Editor runs as a foreground task.Backgroundprocessing allows the Visual Editor to run as a background task while

[此处图片未下载成功]

continuing to work interactively with other applications. But note that

operation will take longer.

User Guide, V9.1461

Visualizing Results

Tracking

you encounter memory problems when creatihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ng surface plots, then set the followingenvironment variable:

_SEPARATOR_MAX_CACHES=0

setting, however, has the downside of slowing the plotting.

-C

-C does not interrupt or pause surface plot calculations, they continue until all the surfacesare covered by plots. So if the calculations are taking too long, run them in the background toallow other operations to be performed concurrently. To push surface plot calculations to thebackground:

Ensure nothing is selected in the display area.Set all geometry to solid by clicking.

.The“Done”statusmessageisdisplayedinthebottom left-hand corner when complete. Clicking will then draw the completed surfacetemperature plot.

results are present, the fluid flow can be examined by creating a particle source and trackingits motion.://www.51wendang.com/doc/d2e52c141054f5479dae40c5

the Particles node to create particle sources and define the basic properties such as color,size, lifetime and distribution of particles.

(Figure12-27)tocreateparticlesourcesandresetanychangesmadetothe particles property sheet.

12-27. Particles Toolbar

Source - creates a new source which will appear in the tree below

.Ifanobjectisselectedwhenthisbuttonis

[此处图片未下载成功]

used,

[此处图片未下载成功]

then the source will be located at the center of the bounding box of the object.

[此处图片未下载成功]

See

[此处图片未下载成功]

“Automatic Source Placement” on page464 and“Creating and Locating

” on page464.

FloTHERM User Guide, V9.1

Visualizing ResultsParticle TrackingDefaults - resets the source settings to the factory defaults.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5articlesProperties

the Particles properties sheet to define the appearance and duration of a particle.

chosen from a dropdown menu. The contents of the menu are

on the project solution data. It displays any scalar field stored.

larger the smear value the longer the particle will appear.

each particle is displayed for a fixed time, faster moving particles will

.Thisenhancestheimpression

speed.

values for smear, particularly associated with small Time Step

,maycauseparticlestooverlapproducingacontinuousribbon-type

.

the width of the particles.SmearWidth

-Step

the life expectancy of a particle, expressed in seconds. It sets themaximum time thathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the particle can exist as it travels along its path.Sets the interval between the display of the particles on the track.Specifies the fraction of the time step used to spread the start location of

particles and its value ranges from 0 to 1.

value of 0 will release all particles at the same time from

source locations and often creates an effect like a “sheet” of particles

through the model.

value of 1 will set the release time of particles as 100%

distributed, that is, distributing the particles over the whole of

first time step and starts them from those positions. This value creates

the flow patterns.

[此处图片未下载成功]

be

[此处图片未下载成功]

seen through it. The http://www.51wendang.com/doc/d2e52c141054f5479dae40c5slider bar ranges from 0 (opaque coloring) to 1

(invisible).Transparency

User Guide, V9.1463

Visualizing Results

Tracking

,firstensureyouareinpickmode,thenselectParticlesintheObjectExplorer and use one of these methods:

Automatic Source Placement

a piece of geometry (using either the Project Manager or the Visual Editor) andclick. The source will be located at the center of the bounding box of the object asshown inFigure12-28.

12-28. Automatic Source Placement

Dragging the Manipulator

to create a new source at a default location, then in the source property sheetset theManipulator Type toTranslate. Move the manipulator by dragging the

arrow to reposition the source.

#,where#http://www.51wendang.com/doc/d2e52c141054f5479dae40c5is a sequence number.

created, the source properties can be edited by selecting it in the tree and using the

sheet. Also, you can be move the source by snapping it to a selected geometry objectby activatingsnap to target in theSource Toolbar

[此处图片未下载成功]

.

[此处图片未下载成功]

[此处图片未下载成功]

Source

the Source node to operate on selected sources and access edit their display data.SourceToolbar

the Source toolbar (Figure12-29) to copy, delete or align selected sources.

FloTHERM User Guide, V9.1

Visualizing ResultsParticle TrackingFigure 12-29. Source Toolbar

creates a copy of the selected plot.

deletes the selected plot.

to Target moves the selected source to align with a target object.

snap to a target, you must be in pick mode, then:

.Shift   middle-mouse click the target object andhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 theSnap Target appears.

.Create or select the source to be snapped.

.Click

source then snaps to the target.

Target is a yellow arrow normal to a red grid which can snap to the

of a selected object. It can be re-positioned by dragging the arrow to the

.Asthetargetmovesoverthegeometry,itwillsticktotheface

the object on which it is placed so that the arrow points in the direction away

the face, for example, see below:

,Shift middle-mouseclickinthebackgroundofthe

Viewer.

the Source properties sheet to set up the appearance of the source selected in the tree asfollows:

. of

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Source names may be changed by overtypingToggles onhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5/off the display of the source particle streamlinesSets the number of particles to emit from the source. The particles are

[此处图片未下载成功]

distributed evenly over the particular line(s) or area of release.

[此处图片未下载成功]

Displays the source in the Visualization Viewer

User Guide, V9.1465

Visualizing Results

Tracking

SourceDistributes the release points evenly across the surface area of the source

shown in the example below for an elliptical source.

the shape of the source. You can chose from elliptic, rectangular orline source shapes with particles released from the sides, or evenly across

area of the source by selecting the area check box.

the particles from an elliptical shaped source.

the particles from a rectangular shaped source.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ne

the release points evenly along a line.

the Manipulator which, when the mouse is in Pick Mode (),sets how the source can be manipulated within the Visualization Viewer.

that only one manipulator will be displayed at a time and its shape is

[此处图片未下载成功]

its

[此处图片未下载成功]

function

[此处图片未下载成功]

chosen

[此处图片未下载成功]

fromfourmutuallyexclusiveoptionsas

:

FloTHERM User Guide, V9.1

Visualizing ResultsParticle TrackingNone

manipulator is selected (source cannot be moved by dragging).

the manipulator which may move the source along an axis

.

move. To move the manipulator, click on the arrow pointing in the

dihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rection and then drag the mouse.

the manipulator which may rotate the source.

[此处图片未下载成功]

The manipulator is a ball made up of circular elements. To rotate the

[此处图片未下载成功]

source, select and drag the circle that is angled in the direction you want

source to rotate.

User Guide, V9.1467

Visualizing Results

Tracking

the manipulator which may resize the source.

manipulator is a set of white handles on the bounding box of the

source. Drag the handles to change the size of the source.

the direction of the particle tracking, that is, it tracks backwardsalong the particle source. This is useful for locating a particle source.Choosestheshapedrawntorepresenttheindividualparticles.Theoptionsarhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e:Solid,Ellipses,Arrows(the default),

[此处图片未下载成功]

Triangles

[此处图片未下载成功]

.

[此处图片未下载成功]

Tracks

the flow stream as solid thin lines.

the flow stream with individual shapes selected from the

popup menu. The particles can be represented as ellipses,

or triangles.

FloTHERM User Guide, V9.1

Visualizing ResultsAdding AnnotationsRibbons

the flow stream in solid bands.

particles can be indicated by superimposing arrows, ellipses or

over the ribbons selected from theParticleAppearance popup

.

[此处图片未下载成功]

SelectableEnables the selection of particle sources by clicking in the display area

in pick mode.

calculations of particle tracks for large studies may take some time, but yhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ou can interruptthe calculations using Edit &gt; Interrupt Calculation, or Ctrl-C when the display area is infocus. Interrupted particle calculations can be continued using Edit &gt; Continue Calculations,or Ctrl-R when the display is in focus.

annotations can be added to the Visualization Viewer to enhance illustrations forhardcopy or inclusion in reports. These annotations are used to highlight geometry and resultsof special interest in a particular axis for a plane plot, or a selected scalar field and value inisosurface plots.

add an annotation:

.With the required plot on view, click to enter annotation mode. The mouse pointer

to cross-wires to make location easier.

that you can also change the viewer mode using the Escape key to toggle throughthe view manipulation, pick and annotation modes.

.MovethemousepointeracrosstheVisualizationViehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5werandtheannotationtextbubble

displayed and updates with the appropriate information for the object/plot locationcovered by the mouse. For example, name of object and variable value for geometry;name of plot, plane location, variable value for plane plots as shown in Step 3.

User Guide, V9.1469

Visualizing Results

Annotations

.Click the mouse at the point of interest and the annotation remains located in the

Viewer.

Annotations are also added to the tree, see below.

.To delete an animation, select it in the tree and click

.To customize the text displayed in the annotation, select the annotation in the tree and

theAnnotation Properties.

that annotations in plane plots are axis sensitive. Annotations disappear when the parentplot axis is changed, but they are retained and will reappear http://www.51wendang.com/doc/d2e52c141054f5479dae40c5when their creation axis is re-displayed in the plot.

, the annotations in isosurface plots are variable and value sensitive. Changing thevariable type or variable value in the parent plot will remove the annotations, but they will beretained and will reappear when the variable type and value is recalled.

[此处图片未下载成功]

File

[此处图片未下载成功]

&gt;

[此处图片未下载成功]

Save,onlythoseanimationsonviewwill be saved.

FloTHERM User Guide, V9.1

Visualizing ResultsAdding AnnotationsAnnotations

the Annotation toolbar (Figure12-30) to delete the selected annotation.

12-30. Annotation Toolbar

12-9. Annotation Toolbar Button

deletes the annotation selected in the Object Explorer.

theAnnotation property sheet to changhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e the appearance of the selected annotation asfollows:

Size

-only field for displaying the name of the geometry marked by theannotation.Check on to display the annotations.Sets the font size for the selected annotation. To change the font size,either enter a value or move the slider bar.Sets the color of the annotation text. By default, the text is black. To

,clickthecolorbarandusetheSelectColor

.

/de-activatesthedisplayoftextenteredintheExtraTextfield.Extra Text

,Y OffsetsText entry field for user added text to be located above the datadisplayed in the annotation.Controls the length and direction of an annotation callout arrow using

[此处图片未下载成功]

point and the annotation box.

[此处图片未下载成功]

Activates/de-activatehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s the display of the name of the annotated object.Show Name

[此处图片未下载成功]

FloTHERM User Guide, V9.1471

Visualizing Results

the Plots

Type

Value

Position

On

Visible/

/de-activates the display of geometry type if the annotation isover geometry.Activates/de-activates the display of the results value at the annotatedlocation.Activates/de-activates the display of the coordinates of the annotatedlocation.Activates/deactivates a solid background for the annotation.TheAlways Visible check box and theVisibility Tolerance variablefields are mutually exclusive, but they both may be used to improve the

of annotations if they are found to flicker or disappear during

.

.Butonlhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5yusethisoptioninextremecaseswherethe

Tolerance does not produce the desired results.

Tolerance is set to give good results on most graphic

, however in certain circumstances, you can increase the tolerance

make it more likely that annotations appear correctly. If changing the

Tolerance does not work, then check onAlways Visible.

location of the annotation relative to theorigin.

change the location, expand and use the data entry fields.

you change the location, ensure the new position is still within

annotated object, otherwise you will lose the associated

. Use Undo if you need to return to the previous location.

reference location for positioning the annotation:

for geometry, it is the origin of the model. for plane plots it is the origin of the plot. for isosurface plots http://www.51wendang.com/doc/d2e52c141054f5479dae40c5it is the origin of the model.

vector direction of the normal from the surface selected for

. This is used to check that you have selected the correct side.

change the direction, expand and use the data entry fields.LocationOriginNormal

are three types of plot animations:

.Moving planar plots normal to the plane

.Moving particles along a flow stream

.Moving isosurfaces through different surface values.

setting up your plot, selectanimation in theObject Editorpanel and use theAnimationToolbar and properties panel to control the animation scene.

FloTHERM User Guide, V9.1

Visualizing ResultsAnimating the PlotsIf you need information on setting up plots, refer to“Plotting Plane and Isosurface ResultsPlots” on page453 and“Particle Tracking” on page462.

,expandtheAnimationnodeahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ndselecttheplottobeanimatedinthe tree, then use theScene Properties.

.Expandingthenodeliststheplotspresent and therefore available for animation.

the Animation toolbar (Figure12-31) to control the plots enabled for animation. Alloperations act on thecurrent frame indicated in the properties sheet as follows:

12-31. Animation Toolbar

Backwards plays the animation backward from thecurrent frame.

Backwards displays the next frame in a backward sequence backward

thecurrent frame.

the animation.

frame.

Forwardsplays the animation forward from thecurrent frame. When

, the animation repeats continuously, but you can get it to reverse

whttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hen it reaches the end of its range by settingswing.

Animation, launches theSave As file browser to save the animated

in a single movie file or multiple image files. See“Outputting

” on page475.

that this toolbar can only function for enabled animations. See

follows:

frame

[此处图片未下载成功]

Num. of Frames

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

The number of the animation frame on view.

[此处图片未下载成功]

Total number of frames in the animation.

User Guide, V9.1473

Visualizing Results

the Plots

per secSpeed of the animation in frames per sec (fps).

may not always be possible to render the plhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ot at the selected fps, as

is a best only value which defaults to 30.

.Theplot

or variable values travel from one side of the animation range

the other. When it reaches the end of the range, it reverses its

and travels back towards the start of the rangeSwing

/DisablePlotAnimations

default, plots are not enabled for animation.

,expandtheAnimationnodeandselecttheplottobeanimated,thencheckOn in theScene Properties. The plot is then ready to be animated by clicking in theAnimation toolbar.

disable the animation, un-checkOn.

theanimation scenes nodes to enable animations and define their extents. The settingsmade are for the plot selected in the tree.

theanimation scene properties sheet to includehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the selected plot in the animation asfollows:

animation. For example:

location, for a plane plot isosurface value, for a isosurface plot animation offset, for particle movement time, for a transient solution

the animation. After checkingOn, the plot will be included in

animation scene when is pressed in the Animation toolbar.

the start location or variable for animations of steady solution

, or the start time for animations of transient solution results.OnMinimum Value

ValueSets the end location or variable for animations of steady solution

, or the end time for animations of transient solution results.

FloTHERM User Guide, V9.1

Visualizing ResultsOutputting an Animation SceneOutputtinganAnimationScene

contents of the Visualization Vhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5iewer can be output in a number of ways:

Print to obtain hardcopyOutput still images for inclusion in a word processing packageOutput movie files

obtain a hardcopy print-out of the scene, chooseFile &gt; Printand use the systemPrintdialog. ChooseFile &gt; Preview to check the output will be as you expect.

save still images of the scene for including in reports, select theViewer node and click theOutputSnapshotbutton,thenusetheFileSelectiondialogtosavetheimageasa*.bmpor*.giffile.

output animation files, ensure the animation is active (set On in the properties sheet) thenclicktheOutputAnimationbuttonandusetheFileSelectiondialogtosavetheanimationfile in the selected format.

exporting an animation, type the appropriate file extension:

*.avi on Microsoft&#174; Windows, or*.mpeg ohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n UNIX, to create a single animation moviefile of the selected type.*.bmpor*.giftocreateamultiplestaticimagefiles,oneforeachframeoftheanimation.

separate files can be combined into a single animation file using external

software.

output movies of the changing view between viewpoints, click

save the movie in the selected format. and use the file browser

creating*.avi files, there are various compression options available. The choice of thecompression format will depend on the graphic capabilities of the machine on which theanimation is to be played.Full Frames (uncompressed)

[此处图片未下载成功]

will result in potentially largeFloTHERM User Guide, V9.1475

Visualizing Results

an Animation Scene

files but should play on all machines. The most universally playablhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e compressionoption isCinepak Codec by Radius.

that it is strongly advised to check playability of the AVI file prior to exporting manymovies from the Visual Editor.

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

13ReportingProjectDataandResults

,whenruninTablesmode,providessummarylistingsofthe model specification data and solution results.

tabulations are viewed directly from the display area, but they can be output in variousformats, or copied into a spreadsheet, for incorporation into reports.

chapter describes how to display the results in tabular form.

are seven main types of project data available for display in tables:

.Report

a project summary report which can be output as an HTML file, see“SummaryReports” on page484.

.Geometry

the sethttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5-up information and solution results for all geometry below the assembly orobject ‘topped’ in the Project Manager.

:collapsedresistances,fans,fixedflows,recirculationdevices,cutouts and overall domain, solid conductors, compact components. See“GeometryData” on page487.

.Grid

:X,Y,Z,andtransientgrid,see“GridData”onpage502.

.Monitor

variable history at monitor points, see“Monitor Points Data” on page504.

.Attributes

‘topped’intheProjectManager.Attribute types include: materials, surface finishes, resistances, ambients, thermals,sources, transients, radiation, surface exchanges, grid constraints.

on the attributes attached to each object is displayed in the

/Attribute table whenGeometry is selected in the tree node andGeometricDetails is ticked in the properthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ies sheet. See“Object/Attribute Table” on page490.FloTHERM User Guide, V9.1477

Reporting Project Data and Results

Tables

addition, tables of attributes and the objects to which they are attached are displayedwhenAttributes is selected in the tree node. See“Attribute/Object Tables” on

.

.Regions

user-defined regions summary data, see“Regions Tables” on page506.

.Results

field results of pressure, velocities in X, Y and Z directions, temperature, turbulentviscosityandspeedeitheroverthecompletesolutiondomainoranypre-definedoruser-set region of the solution domain. See“Results Data” on page507.

display the tables, the Visual Editor must be in Tables mode. The different types of tabledata can then be displayed by selecting the type below the expandedTables node.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parfollowing is applicable to all tables.

.To run the Visual Editor in Tables mode:

If the Visual Editor is not already displayed, clickIf the Visual Editor is open in Graphics mode, click:

[此处图片未下载成功]

o

[此处图片未下载成功]

o in an application window. to change to full Tables mode (the Visualization Viewer is not displayed).

[此处图片未下载成功]

to display tables vertically to the right of the Visualization Viewer.

[此处图片未下载成功]

to display tables horizontally underneath the Visualization Viewer.

default, no tables are displayed, but the Tables tree is expanded and the Geometrytable is selected, seeFigure13-1.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsDisplaying TablesFigure 13-1. Tables Tree

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

2.As you select each http://www.51wendang.com/doc/d2e52c141054f5479dae40c5of the branches of the Tables tree, note that the properties sheet

://www.51wendang.comethepropertiessheettoconfiguretherangeofdatadisplayedinthe table.

.Youcancollapseandexpandsectionsofthepropertiessheetbyclickingtheblueupand

arrow respectively, for examples, seeFigure13-2 andFigure13-3.

13-2. Collapsed Geometry Table Properties

User Guide, V9.1479

Reporting Project Data and Results

Tables

13-3. Expanded Geometry Table Properties.

.When you have selected which data you want to display using the properties sheet, you

save this as a “state” which can be reloaded later (File &gt; Save State As andFile &gt;Load State, see“File Menu” on page426).

,suchasdataexportandrowhiding,selectionofrows,columnsor cells is required.

standard rules of multiphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5le selection apply for cells:

Left-click for single selectionCtrl-click for multiple selectionShift-click for range selection

.Similarly,clickacolumnheadertoselectthecomplete column. To select the complete table, click the top-left corner of the table.

[此处图片未下载成功]

ResizingTableColumns

resize a column width to show the data it contains:

.Hover over the right-hand boundary of the column until a double line with arrows

(Figure13-4).

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsDisplaying TablesFigure 13-4. Expanding a Table Column to Fit Data

.Double-click the mouse to widen the column (Figure13-5)

13-5. Table Column Expanded

any rows shown in tabhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ular view, associated with the selected objects to also be

. If the selected rows were not on view before selection, then the tables page scrollsso that the selected rows are visible.

as well as in other application windows. See“Selecting Scope of Linking” on page485.HidingRowsandColumns

tables can get very large and it is useful to hide rows and columns not required forinvestigation.

hide a row or column:

.Select the rows or columns to be hidden.

.Right-click and chooseHide Selected Rows orHide Selected Columns as appropriate

the popup menu, for example, seeFigure

[此处图片未下载成功]

13-6

[此处图片未下载成功]

.

[此处图片未下载成功]

Figure 13-6. Hiding Selected Rows

User Guide, V9.1481

Reporting Project Data and Results

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arExporting Tables

reveal the hidden rows or columns, right-click and select Show All.

sort a table column alphabetically:

.Select the header of the column to be sorted.

.Right-click and chooseEnable Sorting from the popup menu, seeFigure13-7.

13-7. Type Header Context-Sensitive Popup Menu

restore the default order, right-click again and chooseDisable Sortingfrom the popupmenu.

Visual Editor application window is synchronized with the Project Manager tree view. Itdisplays data for the geometry, object attributes, regions and monitor points that are below thetop of the data tree on show in the Project Manager, that is, the current ‘topped’ tree.

example, you can limit the information displayed to a particular assembly by selecting theassemblyintheProjectManagerandchoosingView&gt;Top(F3).Alternatively,yhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5oucanexpandthe range usingView &gt; Up To Parent (F5) orView &gt; Reset(F4).

table data can be exported to the paste buffer, in*.csv

[此处图片未下载成功]

format files, or loaded directly intoyour default spreadsheet application.

export the table information:

.Select the cell data to be exported.

.Right-click and choose the export option from the popup menu, seeFigure13-8.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsExporting TablesFigure 13-8. Type Row Context-Sensitive Popup Menu

.Select the cells to be exported

.Right-click and selectCopy Selected Data. This selected data can then be pasted into

using your normal text editor.

.Select the cells to be exported

.Right-click and selectExporthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Selected Data

.Set the file name and destination in the Save file browser

.With the table selected and on view in the Visual Editor

.Right-click over the table cell area and selectExport All Data

.Set the file name and destination in theSave file browser

.Select the cells to be exported

.Right-click and selectRun Spreadsheet Application and Paste Selected Data to

your default spreadsheet software with the selected data on display

[此处图片未下载成功]

Spreadsheet

.Click the top-left corner of the table to select the complete table

User Guide, V9.1483

Reporting Project Data and Results

Tables

.Right-clickoverthetablecellareaandselectRunSpreadsheetApplicationandPaste

Data to http://www.51wendang.com/doc/d2e52c141054f5479dae40c5launch your default spreadsheet software with the selected data on

separated variable files can be output for tables of regions, monitor points and cuboidfluxes when FloTHERM solves PDML projects in batch mode. See“Extended Batch Supportfor PDML with Tables Output” on page339.

,gototheSettingspropertysheetandchange theNational Delimiter toTable Dot Decimal.

,butonlythecontentsofthedisplayarea.Ifyouhavealong table, you may well have to generate and combine several print files to capture the fulltable. It is easier to create a*.csv file as described in“Exporting Tables” on page482.

,youcanoutputasummaryreportlistingtheprojectdata.See“SummaryReports”on page484.

print a table:

.Display the table

.Click

[此处图片未下http://www.51wendang.com/doc/d2e52c141054f5479dae40c5载成功]

in the toolbar and use the system print dialog

[此处图片未下载成功]

SummaryReports

summary report of the project data, listing the model and geometry details, can be output invarious formats including HTML, PDF and print formats.

information output to the table depends on the options chosen in the property sheet, butassuming all options are chosen, the table layout can contain:

Report Heading — product and date of generationModel Summary — project name and modeling, turbulence, gravity, fluid and global

settings

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsSummary Reports GeometryTables—constructionandobjectproperties.IfSmartPartDetailshasbeen

, then information is included for the component parts that make up each

Control — overall control settings and solver variable information

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parGrid Tables — Grid summary and location, including keypoint information.

Point Summary Tables — solved variable results (for example, pressure, X,Y, Z velocity, Temperature, Turb. Vis) at monitor points.

.Select theTablesnode in the Visual Editor

.Choose the data to be included using theTablesproperties sheet

.Still in the property sheet, tickShow Preview on to view the report format in the tables

area.

.If satisfied with the contents of the report to be generated, then:

.To generate an HTML report:

.Click the Generate Report icon in the toolbar above the property sheet.

://www.51wendang.come theSave Filedialog to set the name and location for the.html or.htm file.

default filename is the name of the project.

that when generating HTML reports, in addition to the file there will also://www.51wendang.com/doc/d2e52c141054f5479dae40c5.Forexample,areportfilenamedmy_report.htmlwillhave

_report_files.Boththefileandthefolderarerequiredtoview

report correctly.

.To print a report or generate a PDF report (provided you have a PDF generator):

.Click the Print Report icon in the toolbar above the property sheet.

://www.51wendang.come the systemPrint dialog to choose the file format and output destination.

theTables property sheet to choose the scope of selection linking across windows andcontent for the summary report.

linking of object selections in Tables and other windows depends on the settings made

[此处图片未下载成功]

under

[此处图片未下载成功]

Selection Linking. As it is easy to select all objects in a project using Tables, whichFloTHERM User Guide, V9.1485

Reporting Project Data andhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Results

Reports

impact on the performance of the other application windows, three settings are providedto define the scope of interactivity.

define the scope, expandSelection Linkingand check:

Single Cell Selects Object to automatically synchronize object selections according tothe settings ofSend selection to GDA andSend selection to PM/DBSend selection to GDA to synchronize the selection in the Visual Editor GraphicsDisplay AreaSend selection to PM/DB to synchronize the selection in the Project Manager and

Board windows

Preview to preview the HTML output in the tables display area.

Summary to add a summary of the project at the top of the report. The

information comprises: project name, modeling settings, turbulence settings, gravitysettings, phttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5roject fluid and global system settings.

Control Summary to add a summary of the solver controls that have been set intheSolve &gt; Overall Control,Solve &gt; Variable Control,Solve &gt; Solver Control dialogs.The solver control information comprises: solver type, number of iterations, fan relaxation,Estimated Free Convection Velocity and solver variables.

add the construction information to the report, expandGeometric and select:

Geometric Details for all the project geometry on display in the Project Manager.Geometric Details is activated by default.SmartPartDetailsforallprimitivesthatcomprisealltheSmartPartsanduserinputfor

objects.

and tick the types of geometry for which calculated results are required.SelectingCollapsed Resistances andSolid Conductors cause the dishttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5play of additionalSmartPart Details options to selectively switch their display on/off.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry DataAddingMonitorPoints

Point Tables to add the results for all the monitor points.

to add the X, Y and Z grid data. The time grid is included for transient solutions.AddingRegions

to add the summary data for all the regions in the project. This information canincludemassheatflux,pressure,XYZvelocities,speed,temperature,turbulentviscosity,meanflows.

details of all the geometry displayed in the Project Manager tree can be listed in theGeometry tables.

are three main types of geometry table data:

Geometry Model (active by default) listing the construction detailsObject/Attribute listing all the geometry and attached attribuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tesResultslistingthecalculatedresultsfortheselectedgeometries(onetablepergeometry

)

://www.51wendang.comunch the Visual Editor in Tables  mode, see“Changing to Tables Mode and Using

Property Sheets” on page478.

.Select theGeometry node.

.Select the tables for display using the Geometry properties sheet.

information on all the options available, see“Geometry Table Properties Sheet”

[此处图片未下载成功]

onpage489.

User Guide, V9.1487

Reporting Project Data and Results

Data

on a table type in the property sheet adds the table to the display (provided that theinformation type is present), but for the following selections, more than one table is added.Cutouts/Overall

Overall makes two additional tables available:Overall/CutoutsandCutoutshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5/Overall results summary, seeFigure13-9.

13-9. Additional Tables when Selecting Cutouts Overall

solid conductors are present, selectingSolid Conductors creates three extra tables: CuboidFluxes, Cuboid Name and Solid conductors summary, seeFigure13-10.

13-10. Additional Tables when Selecting Solid Conductors

compact components and network assemblies are present, selectingCompact Componentsand Network Assemblies in the Tables Geometry property sheet presents three extra tables:Compact Component

[此处图片未下载成功]

,

[此处图片未下载成功]

Component Fluxes

[此处图片未下载成功]

andNetwork Assemblies. seeFigure13-11.

13-11. Additional Tables when Selecting Compact Components or

Assemblies

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry Dhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ataGeometryTablePropertiesSheet

theGeometry property sheet to select the geometry set-up and results data for display intables.

Details is checked on.

Geometry Model table lists the status and location data for all the modeling objects ondisplay in the Project Manager. The table presents one modeling object per row. The

supplied covers:

Type — a geometry construction type, for example, cuboid, enclosure, PCB, and so on.Level — the data hierarchy level the object occupies, for example, 0 for the rootassembly, 1 for children of the root assembly, 2 for grandchildren of the root assembly.Status — OK if passed sanity check. Those objects that are not sanity checked areindicated by n/a.X,Y, Z Pos. — geometry position with respect to the root origin (absolute 0,0,0).X,Y, Z Size— geometry size in thehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 three coordinate directions.Collapsed—whetheraplanar(YES)orvolumesurface(NO)ismodeled.Forexample

.Also,thisfieldisnotappropriate for SmartParts.

/Area Speci ed, Heat/Volume Speci ed, Heat Speci ed, Heat Applied —the“specified”valuesforheataretakendirectlyfromtheprojectsettings,splitaccordingtowhethertheyaredescribedasperunitarea,perunitvolumeortotal.TheHeatAppliedisdeterminedaftertheprojectissolvedandisalwaysgivenasatotalvalueinW.ForFans,theHeat Applied value is theDissipated Fan Power, see“Fans Table” on page490.Current — the object’s operating current.

— the object’s operating voltage.

— the object’s localized grid status. ON is displayed whenLocalize grid isactivated in the location Edit Primitivedialog, or theEdit SmartPartdialog.

Factor — the factor, by which, the fan operating RPM is to be reduced.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parNotes:LocationsareindicatedineitherAbsoluteorLocalcoordinatesdependingonthesettingin the“User Preferences Dialog” on page83.

geometry details, refer to“Building the Geometry” on page145.

User Guide, V9.1489

Reporting Project Data and Results

Data

table. Fan primitives are not displayed in the Geometry Model table, fan data is shownon a single line.

/AttributeTable

Object/Attribute table is available when the Geometry Model table is on display, that iswhenGeometricDetailsischeckedon.ClicktheObject/Attributetababovethetablesareatobring the table to the front.

/Attribute table lists the same geometry as in the Geometry Model table, butindicates any attached attributes. TheObject/Attribute table can also be displayedhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 from theTables/Attributes node.

.Thetable presents one resistance per row.

information supplied covers:

Context — internal or external resistance, where: internal resistance is completelywithin the domain and an external resistance is on the domain boundary or a cutout.Inward Volume Flow, Mass Flow, Heat  ow (Enthalpy based on 0 C),Temperature.Outward Volume Flow, Mass Flow, Heat  ow (Enthalpy based on 0 C),http://www.51wendang.com Volume Flow, Mass Flow, Heat flow (Energy)Pressure Drop

information on collapsed resistances, seeResistance Attributes in the FloTHERM ProjectAttributes Reference Guide.

.CheckingonSmartPartDetailsforcollapsed resistahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nces will add these resistances to the resistances table.

Fan table lists the flow information for all the Fan SmartParts in the model. The tablepresents one fan per row.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry DataThe information supplied covers:

Context—whetheritisaninternalorexternalfan,where:aninternalfaniscompletelywithin the domain and an external fan is on the domain boundary or a cutoutVolume Flow — volume flow rate of air passing through the fanMass Flow— mass flow rate of air passing through the fanHeat Flow— enthalpy of air passing through the fanFlow Direction —Positive indicates a direction towards the higher coordinates andNegative towards the lower coordinates.Mean TemperatureStatic Pressure — effective static pressure the fan is operatinghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 againstSwirl SpeedRange Flag — to indicate whether fan is operating within its normal operating range.Derated Factor — the value for fan rpm derating.Derated Fan Power — the value for fan rpm derating.Fan Ef ciency — the ratio between power transferred to the airflow and the power

by the fan, as determined from the operating point of the fan (that is, the

point on the fan curve).

,thisfigureissetto0andthe Dissipated Fan Power is consequently equal to the Derated Fan Power.

Dissipated Fan Power — the fan power dissipated as heat.Derated Fan Noise — the value for fan rpm derating.

details on the Fan SmartPart, seeFans in theFloTHERM SmartParts Reference Guide.FixedFlowsTable

.The table presents one fixed flow per row.

informatihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5on supplied covers:

Volume Flow — volume flow rate through the deviceMass Flow — mass flow rate through the deviceHeat Flow — heat flow (enthalpy based on minimum domain temperature, that is:

˙Cp(T–Tmin)) passing through the device

User Guide, V9.1491

Reporting Project Data and Results

Data

FlowDirection—eitherintooroutofthesolutiondomain.Itindicatesthedirectionas

(Positive)orthelowercoordinates(Negative)andinto (Inward) or out from (Outward) the solution domain. For exampleNegative

indicates the flow is into the domain and towards the lower coordinates.

Temperature

Temperature

,seeFixedFlowsintheFloTHERMSmartPartsReferenceGuide.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5tiondevicesinthemodel.Thetablepresentsoneparentrecirculationdeviceperrowfollowedbyonerowforeachchild extract and supply.

information supplied covers:

Mass Flow.Supply Vol. Flow,Heat Flow,Flow Direction and Mean Temperature.Extract Vol. Flow, Heat Flow, Flow Direction and Mean Temperature, MaxTemperature.Heat Added— heat added by the device.Static Pressure — effective static pressure the device is operating against.Operating Point Flag — to indicate device operating status.Temperature Flag — indicatesDesired Temperature if operating under its maximum

andTemperature Out of Range if operating at its maximum power.

,thatis:m˙Cp(T–Tmin)passing through the device.

direction is towards either the higher coordinates (Positive) or the lower coordinates

(negative)andinto(Inward)orohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5utfrom(Outward)thesolutiondomain.ForexampleNegativeInwards indicates the flow is into the domain and towards the lower coordinates.

Recirculation Devices in theFloTHERM SmartParts Reference Guide.Overall/CutoutsTable

/Cutoutstabledisplaysthefluidandheatflowinformationfortheoverallboundaryand all cutouts on it. The table presents one row per face.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry DataThe information supplied can cover:

Face — the face to which this row of data applies.InwardVolume Flow,Mass Flow,Heat Flow,Fluid Temperature.OutwardVolume Flow,Mass Flow,Heat Flow,Fluid http://www.51wendang.comVolume Flow,Mass Flow andHeat Flow.Maximum Solid TemperatureandMean Solid Temperature of any solid objects

a cutout.

columns appear when radiation modeling is switched on in theModehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5l &gt; ModelingModelingdialog. These are:Radiation In, Radiation OutandRadiation Net.

:Careshouldbetakenwhenswitchingfrom3Dto2DwhenambientsareattachedtotheZ-Low,Z-High orDefault All boundaries of the Overall Solution Domain. The softwarecalculates the heat transfer through the Z as well as the X and Y boundaries.

details on Cutouts, see“Edit Cutout Dialog” on page107.

/OverallResultsSummaryTable

Cutout/Overall Results Summary table lists the total inward, outward and net values forvolume flow, mass flow and heat flow. The table presents one row for the domain and one rowfor each cutout.

Cuboid Fluxes table is available whenSolid Conductors is checked on in theGeometryproperty sheet. It lists the thermal information for all the solid conductors in the project. Thetable presents one row for each surface that has heat transfer (not insulated).

ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nformation supplied covers:

Cuboid Fluxes — Object name.Face — X, Y, Z-High and low side surface of the object that has heat transfer.Min,Max,Mean S-F Surface Temperature —surface to fluid values.Min, Max, Mean S-S Surface Temperature — surface to surface values.S-F Area, S-S Area — surface to fluid and surface to surface areas.Cond Heat In,Cond Heat Out,Cond Heat Net — inward, outward and netconductive heat.ConVHeatIn,ConvHeatOut,ConvHeatNet—inward,outwardandnetconvective

.

FloTHERM User Guide, V9.1

Reporting Project Data and Results

Data

ConV Heat Transfer Coef cient — convective heat transfer coefficient.Cond Heat Transfer Coef cient — conductive heat transfer coefficient.

,outwardandnetradiativeheatappearwhenradiationmodelingis switched on in theModel &gt; Modelingdialog. Thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ese are:Rad Heat In,Rad Heat Out andRad Heat Net.

information supplied does not cover thermal data for solids that connect directly to

Components. This information can be obtained from the Compact Component tableand Component Fluxes table (Compact Components checked on in the Geometry tableproperties sheet).

note that theConV Heat Transfer Coef cient column can be modified using the HeatTransfer Calculator at the bottom of the Geometry properties sheet. See“Changing the HeatTransfer Coefficient in Solid Conductors Table” on page495.

-12illustratesthetablevariablesastheyapplytothefacesofCuboid1,whenCuboid1 is in contact with Cuboid 2.

[此处图片未下载成功]

Figure 13-12. Illustrating the Table Variables

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Min, Max, Mean, Solid-to-Solid (S-S) Temperatures,Conductive heat flowhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s

both cuboids at the area of contact (that is, the Min, Max, Mean, Solid-to-Solid (S-S)Whenacollapsedcuboidisconducting,thetableswindowalsoreportstheheatfluxthroughthecuboid. In certain circumstances, this can produce reported heat fluxes that appear to beincorrect. For example, consider a conducting collapsed cuboid with an attached thermal of10W placed between two conducting cuboids. The high and low-side fluxes for the thermal donot add up to 10W because the heat is placed into the solid cells on either side of the collapsedcuboidanditisnotthereforeseenbythesoftwareaspassingthroughthecuboid.Thetablesarein fact correctly reporting the fluxes resulting from the temperature differences between the494FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry Dataadjacent solid cells on either side of the collapsed cuboid. The same would also be true if air,rather than solid, adjoined the collapsed cuboid.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 In this case the flux magnitudes wouldprobably be significantly lower.

cuboids overlap, say a corner of one cuboid overlaps the corner of another, the objectthat is overwritten (that is, the object higher up the Project Manager tree) no longer has sixfaces, but a number of faces as a result of the section removed from it due to the overlap. Assuch, face based flux and temperature information for the cuboid will not be correct.

default, theConv Heat Transfer Coefficient column in theSolid Conductors table iscalculated from the following formula:

=---------------------------------------------------------(Area&#215;(Tref–Tsurf))

is the net convective heat flux column

is the surface area exposed to the air

is the mean surface temperature column

is the reference tehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5mperature

Heat Transfer Coefficientcolumn calculated for any solid-surface interfaces isformulated in a similar way but where:

is the net conductive heat flux column

is the unexposed solid-solid air

is the mean surface temperature on the solid-solid interface

is the reference temperature

changeQ, setHeat Flux toSpeci ed and enter the new value for the net convective heatflux inSpeci ed Heat Flux. To return to the default value for Q, setHeat Flux toTable Set(the value listed in the net convective heat flux column will be used).

changeTref, setRef. Temperature toSpeci ed and enter the reference temperature inSpeci ed Ref. Temp. To return to the default value forTref, setRef. Temperature toGlobalAmbient (the value set in theGlobal Units dialog).where:

User Guide, V9.1495

Reporting Project Data and Results

Data

://www.51wendang.com/doc/d2e52c141054f5479dae40c5arComparingPredictedandExpectedHTCValues

,setTreftothebulkfluidtemperaturein the enclosure room. Remember however, that this just represents the effective surface heattransfer coefficient and not an overall heat transfer coefficient (U-value) allowing for thesurface resistance on both sides of the material and the material itself.

Cuboid Name table is available whenSolid Conductors is checked on in the Tables

properties sheet. It lists the surface temperature and size for all the solid conductorsin the model. The table presents one row for each cuboid that has heat transfer (that is, notinsulated).

information supplies:

Maximum, Minimum, Mean and Standard Deviation for surface temperature.Volume

Solid Conductors Summary table presents the total flux budget, thahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t is, the proportion ofheat leaving the entire cuboid by convection, conduction and radiation.

is particularly useful for reporting maximum values for entire assemblies. For example,when importing a voxelized MCAD assembly, containing say a thousand cuboids, themaximum temperature and total amount of heat loss can be displayed.

information supplied covers:

Min S-F Surface,Max S-F Surface temperaturesMin S-S Surface, Max S-S Surface temperaturesConductive Heat In, Out, andNetConvective Heat In, Out andNetTotal Heat

,outwardandnetradiativeheatappearwhenradiationmodelingis switched on in theModel &gt; Modelingdialog. These are:Rad Heat In,Rad Heat Out andRad Heat Net.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry DataAddingtheSolidConductorsinSmartParts

SmartParts comprise solid conduchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tors. Checking onSmartPart Details (appears afterSolid Conductors is selected in theGeometrytables properties sheet) will add these solidconductors to the Cuboid Fluxes,Cuboid Name andSolid Conductors Summary http://www.51wendang.compactComponentTable

access the Compact Component table, check onCompact Components and NetworkAssemblies in theGeometry tables properties sheet.

Compact Component table presents one compact component per row.

information supplied depends on the model type and covers:

TCase — case temperatureTPcb — PCB temperatureTLeads — lead temperature (not appropriate for area array packages)Hottest Junction — the number of the hottest junctionHottest Junction Temperature — the temperature of the hottest junctionJunction temperatures — remaining columns are for each junction temperature

further explanation, see examples in“Tehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5mperature and Flux Data Variation for DifferentCompact Component Model Types” on page498.

access the Component Fluxes table, check onCompact Componentsand NetworkAssemblies in the Geometry property sheet.

Component Fluxes table presents one compact component per row

information supplied depends on the model type and covers:

Case Flux for Top and SidesPCB FluxLeads FluxTotal Power

User Guide, V9.1497

Reporting Project Data and Results

Data

Compact Component output in tables comprises two data sets:Temperature Data andFlux Data. In the following example we show three different package types:

cbga is an area array package type and modeled using a general network of resistorspqfp1 is a periphhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5eral package type modeled using a general network of resistorspbga1 is an area array package type modeled with a two-resistor representation

of these model types will have different temperature and flux data available, as described

[此处图片未下载成功]

in

[此处图片未下载成功]

Figure

[此处图片未下载成功]

13-13 toFigure13-20.

13-13. Compact Component Table for cbga, pqfp1 and pbga1

13-14. Area Array — General Network (cbga1)

13-15. Peripheral — General Network (pqfp1)

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry DataFigure 13-16. Area Array — Two Resistor Network (pbga1)

:

For Peripheral Packages, there is a choice of 1,2 or 4 lead nodes. For 2 or 4 leads, the

value in tables is the numerical average of the 2 or 4 nodal values from the

.

is the board temperaturhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e and is the temperature value in the board immediately

to the central bottom inner node in the network.

[此处图片未下载成功]

Figure 13-17. Component Fluxes Table for cbga, pqfp1 and pbga1

[此处图片未下载成功]

13-18. Area Array — General Network (cbga1)

[此处图片未下载成功]

[此处图片未下载成功]

Figure 13-19. Peripheral — General Network (pqfp1)

User Guide, V9.1499

Reporting Project Data and Results

Data

13-20. Area Array — Two Resistor Network (pbga1)

details on Compact Component SmartParts geometry, seeCompact Components in theFloTHERM SmartParts Reference Guide.

access the Network Assemblies table, selectCompact Components and NetworkAssemblies in the Geometry tables properties sheet.

Assemblies table lists the details of all the network assemblies and theirhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5component network nodes.

names of the network assemblies and their component network nodes are listed in the firstcolumn. The information supplied for each network node covers:

PowerNode TemperatureConvective Heat GainConductive Heat GainTotal Heat Gain

additional column forRadiative Heat Gain appears when radiation modeling is switchedon in theModel &gt; Modelingdialog.

,soanegativevaluemeansthatheatislostfromthenodetotherest of the model. TheTotal Heat Gain

[此处图片未下载成功]

is the sum of the three types of heat gain.

: The heat gains apply only to nodes that interact with the rest of the FloTHERM model,that is, peripheral nodes (nodes that have collapsed network cuboids). Heat flow is not shownfrom internal nodes.

further information, seeNetwork Assembly in theFloTHERM SmartParts ReferenceGuide.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar500FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGeometry DataHeatPipesTable

Heat Pipes table lists the details of all the Heat Pipe SmartParts in the model. The tablepresents one Heat Pipe SmartPart per row.

information supplied for each heat pipe lists:

Minimum TemperatureMaximum TemperatureConvective Heat LossConductive Heat LossTotal Heat Loss, always a positive number, no matter how many network cuboids areused in its design.Validity, indicates whether the heat pipe is moving more heat than it can handle. The

.AnadditionalcolumnforRadiativeHeatLossappearswhenradiationmodelingisswitchedonin theModel &gt; Modelingdialog.

TEC table displays the thermal data for all the TEC parts in the model. The table presentsone TEC SmartPart phttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5er row.

information supplied for each TEC SmartPart covers:

Heat PumpedHeat AddeddT —the mean hotside - mean cold side temperatures,Maximum Hot Side Temperature

Die table displays the power dissipation and maximum temperature for all the Die

in the model. The table presents one Die SmartPart per row, unless it has a non-uniform heat dissipation, then additional rows are added for each SmartPart Die source.The information supplied for each Die SmartPart covers:

Power DissipationMaximum Temperature

User Guide, V9.1501

Reporting Project Data and Results

Data

.Transientsolutionshavethe additional option of displaying the type of grid at the set time-steps.

are three main types of grid table:

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par

Base Grid X, Y, Z tables, the grid covering the solution domain outside of all objectsTime Grid, the time-steps set in the transient solutionLocalized Grid, the grid covering the space an object occupies

://www.51wendang.comunch the Visual Editor in Tables mode, see“Changing to Tables Mode and Using

Property Sheets” on page478.

.Select theGrid node.

property sheet updates to show the grid display options.

.To display a grid table, tick the required type:

X,Y,orZgriddirectionsforspatialdirectiondata.AnexampleofanX-Gridtableis

inFigure13-21.

[此处图片未下载成功]

[此处图片未下载成功]

[此处图片未下载成功]

Transient for the time-steps details in transient solutions.

information on all the grid tables options, see“Grid Tables Properties Sheet” on page503.

13-21. Base Grid X-Grid Tablhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e

information on localizing the grid, see“Localizing the Grid” on page296.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsGrid DataGridTablesPropertiesSheet

theGrid property sheet to choose the type of grid data for tabulation.

,Y,ZGridTables

is a separate table for each direction of the base grid. Each Base Grid table presents asingle point in the grid per row for the selected direction, refer toFigure13-21.

information supplied covers:

Location — in X, Y or Z directionsType — KEYPOINT or GRIDState — Active, De-Active or blank when the grid line is not a keypoint

: The keypoints of non-localized grids can be changed by double-clicking on theState cell.

Object Name — The name of the object to which the grid line is attached. Unset

.When‘:GRIDhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5SPACE’isappended to the object name, then that object has a localized grid attached. See

“Localizing the Grid” on page296.

,onlythefirst encountered keypoint is displayed.

objects with a localized grid are present in the project, additional Localized Grid tables arecreated (three tables for each object, one for each grid direction). Each table presents one rowfor each point in the grid.

information supplied covers;

Location— in X, Y or Z directionsType —KEYPOINT orGRIDState — Active, De-Active or blank when the grid line is not a keypoint.Object Name — the name of the object to which the grid line is attached. Unset

.When‘:GRIDSPACE’isappended to the object name, then that object has a localized grid attachehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d. See

“Localizing the Grid” on page296.

User Guide, V9.1503

Reporting Project Data and Results

Points Data

transient solutions only, to display the time-step data, tick transient. The table presents asingle time point in the transient solution grid per row.

information supplied covers:

Time — point in timeType — KEYPOINT or GRID

,onlythefirst keypoint encountered is displayed.

details on the transient grid, see“The Time Grid” on page310.

monitor point iteration for a steady solution, or time history for a transient solution, can bedisplayed in Monitor tables.

display the monitor point data in tables:

://www.51wendang.comunch the Visual Editor in http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Tables mode

.Expand the Tables node and select Monitor

Monitor tables for the solved variables populate the tables display area, one tableper variable.

Monitor tables present values for a particular iteration/snapshot in time per row.

information supplied covers:

Iteration (for steady solutions or time into the solution (for transient solutions)The variable value at the iteration/time, one column for each monitor point.

[此处图片未下载成功]

towhichtheyareattached.There are two main types of tables:

A singleObject/Attribute table, for listing all the objects in the projectFloTHERM User Guide, V9.1

Reporting Project Data and ResultsAttributes Data AnAttributestableforeachattributetypeintheproject,listingalltheattributesofthat

://www.51wendang.com/doc/d2e52c141054f5479dae40c5pe in the project

://www.51wendang.comunch the Visual Editor in Tables mode, see“Changing to Tables Mode and Using

Property Sheets” on page478.

.Select theAttributes node. Details for all the attributes attached to the geometry

‘topped’ in the Project Manager are displayed in the Object/Attribute table, see

-22.

.To access additional tables of individual attribute types, tick on the required attribute

in theAttributes Tables Properties Sheet.

13-22. Object/Attribute Table

,alltheavailableoptionsareselected.Onre-call,thedialogremembers your last selections.

theAttributes property sheet to display details of project attributes.

/AttributeTable

/Attributetableisthemainattributetableanddisplayedbydefhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5aultwhenAttributesis selected in the tables tree

Object/Attribute table lists the project geometry and any attached attributes. The tablepresents one row for each object, with additional rows if different attributes are attached toindividual faces. The information supplied in each row lists:

object name in the first column, andthe attributes attached to this object in the remaining columns.

[此处图片未下载成功]

Objects with grid constraints have additional rows for the grid directions.

that transient attributes are indirectly attached to objects; one or more transients may beattached to a source attribute, and a single transient may be attached to a thermal attribute.FloTHERM User Guide, V9.1505

Reporting Project Data and Results

Tables

details on the attribute types available, seeIntroducing FloTHERM Attribute Types in theFloTHERM Project Attributes Rehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ference Guide.

/ObjectTables

/Objecttables,displayedafterselectioninthepropertysheet,indicatethenamesoftheattributedefinitionsinthefirstcolumn.Theremainingcolumnslistthenamesoftheobjectswhich have these attributes attached.Figure13-23 shows theMaterial/Object table, otherAttribute/Object tables areSurface Finish/Object,Resistance/Object,Thermal/Object andso on.

13-23. Material/Object Table

of more than one material type.

names are displayed in black. Attributes are in blue.

-clicking on a table cell containing an attribute name will cause the correspondingattribute dialog to popup and allow you to edit details of the attribute.

.http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 There are three main types of regions tables:

Mean Flows listing data for all faces of all regions in the projectRegions Summary listing summary data for all the regions in the projectIndividual Variables tables, one for each variable type, listing variable values within

[此处图片未下载成功]

each region in the project.

://www.51wendang.comunch the Visual Editor in Tables mode, see“Changing to Tables Mode and Using

Property Sheets” on page478.

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsResults Data2.Select theRegions node.

the regions tables become available, that is the Mean Flows and Regions Summarytables, as well as the tables solved variables, seeFigure13-24.

13-24. Regions Tables

Mean Flows table reports calculated mass and heat flow rates, presentihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ng data for one faceof a region per row. Note that for planar regions there will be only one face.

information supplied covers:

Face — the face to which this row of data appliesHigh face side Volume Flow, Mass Flow, Heat Flow Temperature — data at the highcoordinate side of the regionLow face side Volume Flow, Mass Flow, Heat Flow Temperature — data at the lowcoordinate side of the regionNet Volume Flow, Mass Flow and Heat Flow

,outwardandnetvaluesfortheVolumeFlow,Mass Flow and Heat Flow for each region, one row per region.

data is displayed for each calculated variable in a separate table. The tables presentone region per row and report the Minimum,Maximum,Mean,Stand. Dev. andVolumevalues for the table variable.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ulatedfieldvariablecanbetabulatedoverthe

[此处图片未下载成功]

completesolutiondomain or any pre-defined or user-set planar or volume region.

User Guide, V9.1507

Reporting Project Data and Results

Data

tables are only available after a solution.

://www.51wendang.comunch the Visual Editor in tables mode.

.ExpandtheTablesnodeandselectResults.Alltheresultstablesautomaticallybecome

. Click the name tabs above the tables to switch between them.

.By default, the results, at the center of every grid cell, throughout the solution domain

be reported.

change the range of data reported, use the Results property sheet.

information on all the results options, seeResults Table Properties Sheet.

: TheResults node is not visible if the project has not been solved.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5sultsTablePropertiesSheet

the Results property sheet to display the field results at grid cells over the selected range.ChoosingtheGridType

results displayed can be displayed for two types of solution grid:

Base Grid, for the grid created from keypoints, constraints, patches and system grid, orObjectGrid, for the localized grid covering the selected object. See“Localizing the

” on page296.

there are any localized grid settings within the solution domain, then averaged values will bedisplayed for theBase Grid selection. These averaged values are those mapped onto theBaseGrid from the localized grid solution and are enclosed in square brackets.

range of the solution domain to be used for the results table is chosen from theSourcepopup menu:

Use Domain Size makes the full range of the solution domain availableUserhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5setactivatesthePositionandSizedatafieldssoyoucanenter

[此处图片未下载成功]

thecoordinatesforwhich the results are requiredUse Region activates the Region selection list so you can choose a pre-defined region

which the results are required

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsResults DataTabulatingOveraPlane

tabulate over a plane, you need to set the plane direction and location, seeFigure13-25.

13-25. Tabulating Over a Plane

in X-direction

[此处图片未下载成功]

You can choose to plot over a slice through the domain, or a specified area on it.

,thetwogriddirectionsareplottedintheresultstablesasfollows:

Plane in X-direction — Y horizontal, Z verticalPlane in Y-direction — X horizontal, Z verticalPlane in Z -direction — X horizontal, Y vertical

-26showsthehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5temperatureineachgridcellintheX-planelocatedatX=0.03125.Thecell marked is labelled by the grid indices: IY=2, IZ=14.

coordinates of the cell center are: X=0.03125, Y=0.4375 and Z=1.688. The temperature inthis cell is 20.71 C.

13-26. Temperatures in Grid Cells in an X-Direction Plane

display the results over a plane through the length of the domain:

.SetSource toUse Domain Size

.Expand Plane or Volume and setTypetoPlane

.Set the planeAxis direction and the start locationValue. The plane will then extend

the full length of the solution domain in the other two directions.

[此处图片未下载成功]

FloTHERM User Guide, V9.1509

Reporting Project Data and Results

Data

display the results over a plane of specified size:

.Expand Plane or Volume and setSourchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e toUser Set

.Set the planeAxis direction and the start locationValue.

.ExpandPositionAndSizeandlocatetherequiredplanebysettingthelocationandsize

the other two directions.

tabulating over a volume, all three grid directions are included in the table, seeFigure13-27.

13-27. Temperatures in Volume Cells

table format is similar to the planar format (Figure13-26), except all three directions aretabulated. In the example shown inFigure13-27, table cell IX=3, IY=13, IZ=2 (locationX=0.1563, Y=3.563, Z=0.1875) has a temperature of 20.93 .

tabulate over the complete solution domain

.Set

[此处图片未下载成功]

Source toUse Domain Size

.Expand Plane or Volume and setTypetoVolume

FloTHERM User Guide, V9.1

Reporting Project Data and ResultsResults Data3.Set the planeAxishttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 direction and the start locationValue. The plane will then extend

the full length of the solution domain in the other two directions.

tabulate the results over a specified location:

.SetSource toUser Set

.Expand Plane or Volume and setType toVolume

.ExpandPosition And Size and enter the location start coordinates and size.

display the results for a selected region:

.SetSource toUse Region

.Choose theRegion from the popup menu containing all the regions in the project.SettingtheCellIntervalFrequency

default, the values of field variables will be tabulated for every grid cell within the selecteddomain space, but the size of the table can be reduced by setting a cell tabulation frequency(interval).

set intervals in the results tables:

.ExpandIntervals

.Set the interval nuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5mber in the required direction. The minimum number is 1 and any

number skips the appropriate number of cells in between, at regular intervals.

of theTransient Solution Dialog, they can be displayed in the results tables.

,activatetheDisplayTransientResultoption,thenclickchoosethe time of interest from the drop-down list.

can have the field values displayed as the mouse passes over a plane plot in the VisualEditor. The field values are at the center of the cell indicated by the mouse pointer, seeFigure13-28.

User Guide, V9.1511

Reporting Project Data and Results

Data

13-28. Displaying Grid Values Over Plane Plots

a plane plot, show the grid anhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d choose the Scalar Field to be displayed over the plot. Atooltip will then popup when the mouse hovers over a grid cell. See“Plane Plot Properties” onpage456 for a description of the plane plot settings.

,iftheView

[此处图片未下载成功]

staggeroptionisselectedintheUserPreferencesdialog,then the variable values are displayed for the staggered locations.

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

14AdditionalAuxiliaryVariables

addition to the variables calculated during the solution, FloTHERM can calculate the valuesof auxiliary variables, such as flow angle and total pressure, from the values of the solvedvariables.

chapter describes how to calculate the auxiliary variables.

is capable of calculating the following auxiliary variables after solutionhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5:

Flow AngleTotal Pressure

calculates auxiliary variables using the current solution data to derive them fromthe base variables (temperature, pressure and velocities, and so on) and standard derivedvariables (speed, heat and mass flux, KE Turb, KE Diss, and so on).

calculate auxiliary variables, first perform a 3D Flow and Heat Transfer solution to obtainthe appropriate base variables, seeTable14-1 on page514, then request the calculation of theauxiliary variables using theCalculate Dialog.

access: PM Model &gt; Auxiliary variables

thisdialog to calculate additional derived variables from the current solution data. TheseadditionalcalculatedvariableswillbestoredaspartofthesolutiondataandcanbedisplayedintheVisual Editor,Profiles andTables windows.

to this dialog is inhibited until the project is initialized or solved because it uses thesolutionhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 results.

[此处图片未下载成功]

[此处图片未下载成功]

FloTHERM User Guide, V9.1513

Additional Auxiliary Variables

Auxiliary Variables

Variables

Variables panel (Figure14-1) displays a list of the base and standard derivedvariables (from which the auxiliary variables are calculated) as well as any auxiliary variablesalready calculated.

,theyaredisplayedforinformationalpurposes only.

there are auxiliary variables in the list, then a dotted line separates them from the base andstandard derived variables.

14-1. Current Variables Panel

that if the solution data changes, then any auxiliary variables in this list are automaticallyreturnedtotheNewVariableslist,indicatingthattheirvaluesarenolongervalidandhavetoberecalculated.

Variables

://www.51wendang.com/doc/d2e52c141054f5479dae40c5he New Variables panel displays the auxiliary variables not currently included but availablefor solution.

variables listed inTable14-1 will be included in theNew Variables list, provided theyhave not already been calculated and there is enough information in the solution set for theirvalues to be calculated.

14-1. Base Variables

[此处图片未下载成功]

[此处图片未下载成功]

514FloTHERM User Guide, V9.1

Additional Auxiliary VariablesCalculating Total PressureCalculate

is active for an auxiliary variable selected in either theCurrent Variables orNewVariables list. It pops up a dialog specific to the selected variable (that is, Flow Angle or TotalPressure dialog as appropriate) so that you can request its calculation.

calculation, an auxiliary variable selected in theNew Variables list is transferred to theCurrent Variables list to indicate it has been calculated.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5Note that processing information is displayed in the message bar below theNew Variables list.Delete

is active for an auxiliary variable selected in theCurrent Variables list. It removes theselected variable from the solution data directory and moves the variable name to the lowerNew Variables list, so you may include it again later when needed.

calculating the auxiliary variables, the results can be displayed in the Visual Editor andProfiles windows.

In VE Graphics mode, create a Plane plot, see“Plotting Plane and Isosurface Results

”onpage453,andchoosetodisplaythescalarvariable,selectingitstypefromthedrop-downScalar Menu.

,selecttheResultsTabletype,thenselectthevariabletypeandrangefor display in the property sheet. See“Results Table Properties Sheet” on page508.

Profiles, create a Results v Distance plot and chohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ose the auxiliary variable to be

using the“Plot Parameters Dialog” on page372.

Topics

“Total Pressure” on page515“Flow Angle Dialog” on page517

calculate the total pressure fields, you must first perform a 3D Flow and Heat Transfersolution to obtain the base variables of speed, temperature and density. For information onsetting the solution type and dimensionality, see“Modeling Dialog” on page118.

the solution data contains values for these fields, launch theCalculate Dialog, and selectTotalPressure from theNew Variables list and clickCalculate.

User Guide, V9.1515

Additional Auxiliary Variables

Flow Angle

Request Dialog is displayed to confirm your request.

access: PM Model &gt; Auxiliary variables &gt;http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Calculate

.Iftotalpressurehasalreadybeencalculated, then you are warned that it already exists in the solution set.

Pressure

(1/2ρV2)candriveacurrentofairthroughagainstapressuregradient,orwhenfacinganobstructioncanbe converted to static pressure and thus drive the flow. This, for example, is why in a floor orceiling void, maximum flow occurs through the active tiles on the opposite side of the void totheinletwheretheairissloweddownbytheoppositewallandvelocitypressureisconvertedtostatic pressure.

Pressure Formula

PTotal=PStatic --ρV2

:

ρ = fluid density

= speed

= static pressure

“Calculating Auxiliary Variables” on page513.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the flow angle if it is important to determine whether the air flow is traveling in aspecific direction.

,firstperforma3DFlowandHeatTransfersolutiontoobtainthe base variables of X, Y, Z-velocity and speed. For information on setting the solution typeand dimensionality, see“Modeling Dialog” on page118.

,launchtheCalculateDialog,selectFlowAngle from theNew Variables list and clickCalculate.

FloTHERM User Guide, V9.1

Additional Auxiliary VariablesCalculating Flow AngleTheFlowAngleDialogisdisplayed,allowingyoutochoosetheaxisfromwhichtheflowangleis to be measured.

access: PM Model &gt; Auxiliary variables &gt; Calculate

.

the variable has already been calculated then you are warned it exists inhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 the solution set.FlowAngleDialogSettings

for Flow Angle

the axis from which the flow angle is measured using the popup list.

there is no existing flow angle, then the initial setting is Y.

,thentheinitialsettingistheaxisthatwasusedtocalculatetheflow angle previously.

Angle

flow angle calculation is often used to evaluate the performance of a laminar (uni-

) flow scheme. The direction (axis) is selected as the design flow direction, and theresults can then be viewed as the deviation from the design. Typically, flow angles of less than15  might be considered as good.

flow angle is calculated from the following formula:

(Flow Angle) = X, YorZvelocity/Speed

example, the flow angle for the X-axis is:

(Flow Angle) = Xvelocity/Speed

Flow Angle will eithhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5er be in radians (0…π) or degrees, depending on the setting in the“Global Units Dialog” on page86.

Topics

“Calculating Auxiliary Variables” on page513“Displaying the Auxiliary Variables Values” on page515

User Guide, V9.1517

Additional Auxiliary Variables

Flow Angle

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

15FrequentlyAskedQuestions

chapter provides answers for many of the most frequently asked questions (FAQs) aboutFloTHERM. The questions are numbered and grouped as follows:

How can I import or export PDML (.pdml) files into FloTHERM now that FloTHERMGATE no longer exists?How can I access the new Library Manager?Can I drag geometry files from the desktop into FloTHERM?How http://www.51wendang.com/doc/d2e52c141054f5479dae40c5can I quickly remove unwanted attributes from my model?How can I add a component to a PCB?How can I change the side details of an enclosure?How can I import, export, unlock, pack, unpack and delete projects?How can I read archived packed FloTHERM version 3.x projects?How do I import a set of data points from a fan curve without entering them manually?How do I remove unused attributes from the project?How do I add a hole to a Cuboid?

How can I use the workplane to view the grid at different locations in the solutiondomain?Can I graphically move an object without accidentally resizing it?Found objects are not appearing in the Drawing Board, how can I see them?VisualEditor

How can I export an image from the Visual Editor?

User Guide, V9.1519

Frequently Asked Questions

Why have the colors been lost from the particles http://www.51wendang.com/doc/d2e52c141054f5479dae40c5display?How can I get rid of rendering interference when two or more object faces arecollocated?Why does my Fly by Viewpoints animation not loop smoothly?

Why can I not move or resize components using the mouse?

How can I retain color attributes after transferring the MCAD assembly to the Project

?

What is the easiest way to localize the grid on an object or assembly?When an object is saved to the library, will any associated grid be maintained?Can I use a region to define a localized grid spaceWhy does the grid icon in the Drawing Board not open the Grid dialog?

How can I show how much heat is going into a heatsink?

How and when to have heat and mass fluxes stored for a given solution?Does storing mass and heat fluxes influence the cohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nvergence and solution time?What are auxiliary variables, and how are they calculated?

What is a cost function?How can I make the sequential optimizer search for a specific value instead ofminimizing?How can I make the sequential optimizer maximize a value instead of minimizing it?How can I ensure that the sequential optimizer finds the global minimum?

FloTHERM User Guide, V9.1

Frequently Asked QuestionsQuestions with AnswersBuildingGeometry

What are assemblies and how do they work?Can I mirror Geometry?

How is a fan curve affected by blockages, since the published fan curve is based on anopen room?How does high back pressure affect the performance of an axial fan?

How can I access the support site?What FloTHERM parts, macros and libraries are available on thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he support web site?

How can I change the solution process priority (Windows Only)How can I run FloTHERM as a background task on Solaris Systems?I have built a model but the simulation time seems extraordinarily long, what is wrong?How can I use run FloTHERM using more than one processor?How can I run batch files?What machine specification do I need to run FloTHERM?

What is the difference between global and ambient?When do I have to use a source?

.How can I import or export PDML (.pdml) files into FloTHERM now that FloTHERM

no longer exists?

files. Right-click the assembly to receive the geometry and selectImport &gt;

User Guide, V9.1521

Frequenthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ly Asked Questions

with Answers

orExport &gt; PDMLfrom the Assembly Menu. Browse to the directory where

file is loaded, select the file and chooseOpen. The PDML geometry is copied into

assembly or written to the file.

import or export a project PDML, use the Project Menu popup in the Project

. Right-click on the F icon at the top of the data tree, and select

&gt;PDMLorExport Project &gt; PDML. Browse to the directory where

file is loaded, select the file and choose Open. The project PDML is copied into theassembly or written to a file.

.How can I access the new Library Manager?

Library Manager is not displayed by default, to save display space. The quickest

to display the Library Manager is to click. Alternatively, selectView &gt;

Manager or double-click F7. See“Library Manager” on paghttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e47 and“Using

” on page267.

.Can I drag geometry files from the desktop into FloTHERM?

Windows systems, the easiest way to import a PDML file is to place the PDML fileon your desktop and drag it to a Library Manager node from where it can be dragged

the geometry node tree.

information on the Library, see“Library Manager” on page47.

.How can I quickly remove unwanted attributes from my model?

Shift-F flushes all the unattached attributes from the project. Alternatively, you

use theFlush menu option in an attribute node popup menu, see“Attribute Node

Menu” on page269.

.How can I add a component to a PCB?

.ThenewcomponentisaddedasachildoftheselectedPCBandcanbe moved and resized using the PCB Component Menu.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5edviatheDrawingBoard.SelectthePCB,andclicktheComponent icon. The component can be drawn on the PCB using left-mouse drag. Thecomponent can then be adjusted using the PCB Component Menu or the Drawing

.

.How can I change the side details of an enclosure?

the Enclosuredialog to set the thickness and modeling levels of the enclosure

.Toaddaholetoanenclosurewall,selectthewallinthedatatreeandclick

New Object Palette. SeeEnclosures in theFloTHERM SmartParts Reference

.

.How can I import, export, unlock, pack, unpack and delete projects?in522FloTHERM User Guide, V9.1

Frequently Asked QuestionsQuestions with AnswersSelect Loadin the Project Menuto call theLoad Projectdialog. Most aspects of

administration can be controlled here, including the ability to browse to other

.

export a project that you can send via e-mail thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5o colleagues or to

Graphics support, right-click on the project name at the top of the Project

tree (F icon) and choose Export Project &gt; PDML. Browse to the directory

you wish to save the file, name it and choose Open. The file is saved to the

.

.How can I read archived packed FloTHERM version 3.x projects?

version 3.2 pack files can be unpacked into FloTHERM version 9.1. SinceFloTHERMversion9.1nolongerhasanExternalmenuitemintheProjectManager,thePack/Unpack features have been moved to the Project/Load menu item.

, you will not be able to unpack in FloTHERM version 3.2 any pack files that

created in FloTHERM version 9.1.

.How do I import a set of data points from a fan curve without entering them manually?

,thedatapointsforafancurveforanon-linearfan,hadto be entered manually. In versionhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 9.1, this process has been automated as follows:

Createacomma-separatedpoint-pairtextdatafile(*.csvfile)withthedataflowrate

the first column and the static pressure in the second column,Import CSV file

a comma-separated floating point-pair curve text data file to set up the fan

.Import CSV file launches a standard file browser to look for files

a.csv extension.

theFan dialog, selectNon-Linear Fan and enter the static pressure and open

flow rate. Ensure that the units used are the same in both the*.csv file and

dialog.

the Fandialog, click Fan Curveto display theFan Curve dialog, and click

CSV fileto display a file browser. Find the*.csv file and double-click it to

the data points.

.How do I remove unused attributes from the project?

you want to remove unused attributes from thttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5he project, use Ctrl   Shift-F.

.How do I add a hole to a Cuboid?

the cuboid in the Project Manager data tree, and click on the hole in block icon

.TheholecanbemovedandresizedusingtheHoleMenu

the Drawing Board. SeeHoles in theFloTHERM SmartParts Reference Guide.

, holes can be added to individual sides of enclosures. SeeCreating Holes in

in theFloTHERM SmartParts Reference Guide.

User Guide, V9.1523

Frequently Asked Questions

with Answers

.How can I use the workplane to view the grid at different locations in the solution

?

previous versions of FloTHERM, the grid was uniform throughout the solution

. With the use of the localized grid, you can now tailor the grid over specific

within the domain, see“Localizing the Grid” on phttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5age296. Because of this,

is now the need to be able to visualize the grid at different planes throughout the

domain.

FloTHERM, the grid is displayed by projecting it onto the 2D workplane which can

moved normal to its plane. To move the workplane:

Click anywhere in the required view of the Drawing BoardPress theI key to obtain an isometric viewChange theSelection Mode toWorkplane and drag the Workplane in the

normal to its plane. Note the changing grid pattern as the workplane

regions of localized grid.

see“The Workplane” on page249 and“Viewing Complicated Grid Patterns” on

.

.Can I graphically move an object without accidentally resizing it?

, use the middle mouse button and drag. This will disable object resize.

.Found objects are not appearing in the Drawing Board, how can Ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 see them?

picture has probably been scaled so that the items are not in view. In this case, use

Project Manager to find objects because the data tree updates after anEdit &gt; Find

.

.How can I export an image from the Visual Editor?

in the settings explorer panel and click the snapshot camera icon in

file type for the exported image.

file types are jpg, JPG, and BMP.

.Why have the colors been lost from the particles display?

your machine does not have advanced graphic cards features, activatingAccurate

Colors underSettings, may cause particles to lose their coloring. For older

cards, ensureAccurate Particle Colors is not active.

FloTHERM User Guide, V9.1

Frequently Asked Questhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ionsQuestions with Answers3.How can I get rid of rendering interference when two or more object faces are

?

one of the offending geometries and drag theSurface Offset slider in the

sheet to move (for rendering purposes only) the object above or below the

offending surface(s).

.Why doesmyFlybyViewpoints animation not loop smoothly?

looping of aFly by Viewpoints animation output is achieved by cloning the first

. This will create a duplicate at the end of the loop, thus resulting in an outputthat can be looped in the AVI player.

.Why can I not move or resize components using the mouse?

can only be moved or resized using the mouse if theLock Component

button is off/unlocked

Component Move button is designed to prevent accidental dragging of

. To unlock mohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5vement, click. The button will then change to

movement is now allowed.

.How can I retain color attributes after transferring the MCAD assembly to the Project

?

you need to retain the MCAD part colors, set the environment variable

_SET_COLOR_ON_TRANSFERtoanyvaluebeforelaunchingFloMCADBridge. Also seeRetaining Color Attributes in theFloTHERM FloMCAD Bridge User

.

.What is the easiest way to localize the grid on an object or assembly?

the object or assembly and pressl on the keyboard.

.When an object is saved to the library, will any associated grid be maintained?

attached attributes will be saved with the object. Therefore, any grid constraints

to the object when it is saved in the library will also be retrieved when the

[此处图片未下载成功]

object is later http://www.51wendang.com/doc/d2e52c141054f5479dae40c5loaded from the library.

[此处图片未下载成功]

3.

[此处图片未下载成功]

Can I use a region to define a localized grid space

User Guide, V9.1525

Frequently Asked Questions

with Answers

, use regions over areas of special interest where the grid is not dependent on

. See“Setting Object Grid Constraints” on page291.

.Why does the grid icon in the Drawing Board not open the Grid dialog?

application of grid patches, see“Adding Grid Patches” on page302, goes back to

earliest versions of FloTHERM. These patches are defined by specifying their start

end locations in the applied direction together with the grid details such as the

number and distribution of the cells. Grid patches are not associated with

.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5stoobjectsorassembliesofobjects,seetheGridConstraintModelingDialogin theFloTHERM Project Attributes Reference Guide. With the addition of inflation to

(seetheInflation&gt;&gt;description),andtheabilitytosmooththegridusingthe System Grid dialog, FloTHERM now has the ability to produce excellent quality

that are both object associated and consistent.

.How can I show how much heat is going into a heatsink?

a 2D region () at the interface between the heatsink and the base object. See

“Regions” on page168 for help on building regions.

,displaytheregionresultsintheVisualEditorTableswindow.Todisplaythe results over the region, open the Tables window by clicking on in any

window, expand the Tables node, and chooseRegions in the data tree.

mean flows through the region will be displayed in a single row identified http://www.51wendang.com/doc/d2e52c141054f5479dae40c5by the

of the region in the first column. The net flow of heat through the region is

in the Heat Flow Net Column, see“Regions Tables” on page506.

.How and when to have heat and mass fluxes stored for a given solution?

,see“ModelingDialog”

[此处图片未下载成功]

on page118.Store heat fluxes when flow and heat transfer is present and you wish to analyze thedirection of the heat flow.

mass fluxes when a flow is present and you wish to analyze its direction.

: As mass flux is velocitydensity, the velocity vector field will give the same

except in cases where the density varies significantly.

.Does storing mass and heat fluxes influence the convergence and solution time?

FloTHERM User Guide, V9.1

Frequently Asked QuestionsQuestions with Anshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5wersRequesting the storage of heat and mass fluxes stores up to an additional six variables:

Heat fluxes (heat flow per unit area) across cell faces normal to the X-directionHeat fluxes across cell faces normal to the Y-directionIn 3D simulations, the heat fluxes across cell faces normal to the Z-directionMass fluxes (flow rates per unit area) across cell faces normal to the X-directionMass fluxes across cell faces normal to the Y-directionIn 3D simulations, the mass fluxes across cell faces normal to the Z-direction

these are only derived from the solved variables, the solution time should only

increase. See“Store Heat Fluxes” on page120 and“Store Mass Fluxes” on

for further background on the variables solved.

.What are auxiliary variables, and how are they calculated?

://www.51wendang.com/doc/d2e52c141054f5479dae40c5dfromthecurrentsolutiondata.

is capable of calculating flow angle and total pressure providing the

contains the necessary base variables.

base variables required by the auxiliary variables are illustrated in the following

:

15-1. Base Variables Required by the Auxiliary Variables

[此处图片未下载成功]

See“Calculating Auxiliary Variables” on page513 for instructions on how to request

calculation of auxiliary variables.

.What is a cost function?

cost function is the value that can be minimized, maximized or made a specified

by the sequential optimizer. The cost function can either be made equal to a

output variable (for example, solid cuboid temperature) or be made a more

(forexample,componenttemperatureplusheatsinkmass).http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Forfurtherinformationonsettingcostfunctions,seeActivatingOutputVariables in theFloTHERM Command Center User Guide.

information on the sequential optimizer, seeSequential Optimization in the

Command Center User Guide.

User Guide, V9.1527

Frequently Asked Questions

with Answers

.How can I make the sequential optimizer search for a specific value instead of

?

the relevant output variable in the cost function, then set theCost Type toTarget

of the defaultLinear. Then type in theCost Target value.

.How can I make the sequential optimizer maximize a value instead of minimizing it?

,thensettheCostWeightingto-1.

.How can I ensure that the sequential optimizer finds the global minimum?

a Design of Experiments, see theCommand Center Userhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Guide, is performed

starting the sequential optimizer. This can be requested using the Optimize

, see theCommand Center User Guide.

.What are assemblies and how do they work?

are collections of geometry shapes grouped together to create functional

.Groupinggeometryenablesastructuralapproachtocreatinggeometryandmakesit easier to debug complex shapes.

complete geometry structure is held in the top (Root) assembly, which can be

into sub-assemblies as shown inFigure15-1.

15-1. Root Assembly and Sub-Assemblies

assembly is located via a reference origin and can contain primitives, SmartParts

other assemblies as well as regions and monitor points. The assembly geometry is

,somovinganassemblywillmove

[此处图片未下载成功]

alltheconstituentparts by http://www.51wendang.com/doc/d2e52c141054f5479dae40c5the same amount.

“Building the Geometry” on page145 for a description of the geometry model.

.Can I mirror Geometry?

FloTHERM User Guide, V9.1

Frequently Asked QuestionsQuestions with AnswersObjects can be mirrored around a datum plane in the Drawing Board, seeFigure15-2.

theDrawing Board Datumdialog to create a datum plane midway between the

,thenchooseTools&gt;Mirror.

15-2. Mirroring Around a Datum Plane

.How is a fan curve affected by blockages, since the published fan curve is based on an

curves are measured with flow upstream and downstream of the fan unobstructed.

an obstruction close to the fan disturbs the air flow, degrading the flow

.Foranaxialfan,introducinganobstructiondownstreamofthefantendsto reduce the maximum flow rate the fan can achieve, bhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ut does not significantly affect

pressure increase developed by the fan. For an obstruction upstream of the fan both

maximum flow rate and the pressure increase developed by the fan are reduced.

.How does high back pressure affect the performance of an axial fan?

(thatis,closetothefanstaticpressure)the flow though the fan will be quite low, as defined by the fan curve. Under these

, air leaving the fan will be rotating at close to the rotational speed of the

blades, so most of the effect of the fan is to ‘stir’ the air. This provides some

,butdoesnothelptoremoveheatfromthesystem.However,operatingafancontinuouslyundertheseconditionsisnotrecommended,asthelifetimeofthefanmay be much shorter the when it is used within it's normal operating range close to the

volume flow rate.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5e

.How can I access the support site?

support is provided by Mentor Graphics SupportNet

(http://www.51wendang.com/). This site provides support pages for FloTHERM. To

SupportNet, you will need to register (clickRegister Now).

you have a password you will be able to call up SupportNet from the product by

Help&gt;Support.

,selectHelp&gt;ReportaProblemOn-line

[此处图片未下载成功]

.

User Guide, V9.1529

Frequently Asked Questions

with Answers

may also contact our offices directly. For a list of our regional sites, see:

://www.51wendang.com/company/office_locations/

.What FloTHERM parts, macros and libraries are available on the support web site?

is continuously being updated with new information, including web parts

://www.51wendang.com/doc/d2e52c141054f5479dae40c5d macros. Users should periodically check SupportNet to see the latest available

.

.How can I change the solution process priority (Windows Only)

you want to set a low priority for the solver so you can work on other applications or

at the same time as solving a FloTHERM project, then set the

_SOLUTION_PRIORITY environment variable to 1.

_SOLUTION_PRIORITY has four possible process priorities. In ascending order,

are: Idle, Normal, High and Real Time. The default is Normal, however you can

this by configuring the following environment variable:

FLO_SOLUTION_PRIORITY = n

n is an integer value from one to four as follows:

= Idle

= Normal (the default)

= High

= Real Time.

zero or a non-valid number is assigned, the setting will default to Normal. Numhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5bers

than four will default to Real Time.

, you can use the Windows Task Manager to change the processing

. See“Setting Solution Process Priority (Windows)” on page344 for further

.

.How can I run FloTHERM as a background task on Solaris Systems?

run FloTHERM as a background task, append “&amp;” to the flotherm command line.

.I have built a model but the simulation time seems extraordinarily long, what is wrong?

most likely problem is the existence of a very small grid cell in the model which iscausing an extremely small time-step to be required. The time-step is controlled by the

grid cell in the model and any single small grid cell will cause a very small

-step to be required. A quick check of theGrid Summarydialog will show the

cell size existing in the model. If the smallest cell sizehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 in any one direction is

FloTHERM User Guide, V9.1

Frequently Asked QuestionsQuestions with Answerssignificantly smaller than the rest, then this cell may be inadvertently caused by a

mis-aligned geometry and may be the cause of the long simulation time.

.How can I use run FloTHERM using more than one processor?

-upofferedbymulti-processormachines.TorunFloTHERMintheparallelmode,selectUse Parallel Solverin theUser Preferencesdialog and specify the number of processors

want FloTHERM to use.

.How can I run batch files?

to“Solving in Batch Mode” on page332.

.What machine specification do I need to run FloTHERM?

minimum specification is:

x86-compatible Intel or AMD processor, minimum 1GHz Pentium III or 400MHz UltraSPARC-II processor or higher512http://www.51wendang.com/doc/d2e52c141054f5479dae40c5 MB system memory (RAM), 1 GB recommendedGraphics card with OpenGL support, minimum 64 MB memory and minimum

(1024 x 768) screen resolution

much available system RAM as possible. Running on 64bit Windows operating

bitversionwherethelimitis2GB.Whensolvingfor5variablesona32bitoperatingsystemwith2GBofmemory, maximum model size is in the region of 5million grid cells.

.What is the difference between global and ambient?

external ambient temperature settings made by Model &gt; Globaland the Global

Settingsdialog,is used for the following:

As a reference temperature for buoyancy calculationsAs the initial condition at the start of a solutionAs a default temperature of air convected into the model

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ternalradianttemperatureisusedasadefaultexternaltemperaturethatisradiatedto, from any object within the solution domain that is part of the radiation calculation

can ‘see through’ to the outside of the solution domain.

attributes attached to the sides of the solution domain or a solution domain

can be used to override the Global temperature values set in Model &gt; Global.

User Guide, V9.1531

Frequently Asked Questions

with Answers

.When do I have to use a source?

source attribute attached to a source primitive, as opposed to a thermal attribute

to a cuboid, is useful for the following reasons:

Definition of a source of heat in a portion of a cuboid.Ability to define heat dissipation in terms of W/m3 (for an uncollapsed source),

/m2 (for a collapsed source) or as a linear function of the temperathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ure.

addition to this a source can be placed in air and values of pressure, velocity, and so

. defines for that portion of air space.

FloTHERM User Guide, V9.1

Chapter

[此处图片未下载成功]

16Troubleshooting

chapter provides information for troubleshooting problems in FloTHERM. Possibleproblem sources are listed and advice or workarounds given. There is also an overview ofFloTHERM error reporting and a list of possible error messages. Note that self-explanatorymessages may not be listed.

see“Frequently Asked Questions” on page519

section offers symptom-related advice when difficulties or errors are encountered whilerunning FloTHERM.

User Guide, V9.1533

Troubleshooting

and Advice

/SaveOperations

:Expectedfilenotinthelist

[此处图http://www.51wendang.com/doc/d2e52c141054f5479dae40c5片未下载成功]

Problem:Errorwhenloadingfile

[此处图片未下载成功]

Problem:Errorwhensavingfile

[此处图片未下载成功]

534FloTHERM User Guide, V9.1

TroubleshootingSymptoms and AdviceErrorsAssociatedwithDataFilesDuringImport/ExportOperations

:Expectedfilenotinthelistwhenimportingfile

[此处图片未下载成功]

Problem:Errorwhenimportingfile

[此处图片未下载成功]

Problem:Expectedfilenotinthelistwhenexportingfile

[此处图片未下载成功]

Problem:Errorwhenexportingfile

[此处图片未下载成功]

FloTHERM User Guide, V9.1535

Troubleshooting

and Advice

/UnpackOperations

:Expectedfilenotinthelistwhenpackingfile

[此处图片未下载成功]

Problem:Errorwhenpackingfile

[此处图片未下载成功]

Problem:Expectedfilenotinthelistwhenunpackingfile

[此处图片未下载成功]

Problem:Errorwhenunpackingfile

[此处图http://www.51wendang.com/doc/d2e52c141054f5479dae40c5片未下载成功]

536FloTHERM User Guide, V9.1

TroubleshootingSymptoms and AdviceFloatingPoint(FP)Errors

:FPErrorduring[Re-Initialize]

(See also advice on convergence difficulties)

[此处图片未下载成功]

Problem:FPErrorduring[Solve]priortoresidualsbeingplotted

[此处图片未下载成功]

Problem:FPErrorduring[Solve]

also advice on“Convergence Difficulties” on page538.

[此处图片未下载成功]

FloTHERM User Guide, V9.1537

Troubleshooting

and Advice

:Divergence—residualscontinuouslyincreasing

[此处图片未下载成功]

Problem:Residualsremainathighlevel

[此处图片未下载成功]

Problem:Rapiddivergence

[此处图片未下载成功]

538FloTHERM User Guide, V9.1

TroubleshootingSymptoms and AdviceProblem:Excessivevaluesandlackofconvergence

[此处图片未下载成功]

Problem:Largeresidualerroronacontinuation

://www.51wendang.com/doc/d2e52c141054f5479dae40c5par[此处图片未下载成功]

Problem:Erraticconvergence

[此处图片未下载成功]

FloTHERM User Guide, V9.1539

Troubleshooting

and Advice

:LackofconvergenceinBuoyantFlows

[此处图片未下载成功]

Problem:Residualsfailtoconvergeandleveloff

[此处图片未下载成功]

Problem:Residualontemperatureremainsathighlevel

[此处图片未下载成功]

Problem:SolutionPlotisnotupdating

[此处图片未下载成功]

Problem:[Re-Initialize]doesnotclearresults

[此处图片未下载成功]

540FloTHERM User Guide, V9.1

TroubleshootingSymptoms and AdviceDisplayDifficulties

:NoresultsshowninCursorValues

[此处图片未下载成功]

Problem:Unabletoplotiteration/timepro le

[此处图片未下载成功]

Problem:Noappearanceoftransientpro leofresiduals

[此处图片未下载成功]

Problem:NovectorsplottedwhenVectoroptionactivated

[此处图片未下载成功]

Problem:NocontoursplottedwhenContouroptionachttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tivated

[此处图片未下载成功]

FloTHERM User Guide, V9.1541

Troubleshooting

and Advice

:Noappearanceofresidualplot

[此处图片未下载成功]

Problem:Unabletoplottimeprofile

[此处图片未下载成功]

Problem:Unabletoseevelocityvectors

[此处图片未下载成功]

542FloTHERM User Guide, V9.1

TroubleshootingSymptoms and AdviceInabilitytoSelectButtons

:UnabletoCreate[Contours],[Vectors],[Profile]andsoon

[此处图片未下载成功]

Problem:Unabletochange[Time]grid

[此处图片未下载成功]

Problem:UnabletoSelectSolve

[此处图片未下载成功]

FloTHERM User Guide, V9.1543

Troubleshooting

and Advice

:UnabletoSelectObjectinDrawingBoard

[此处图片未下载成功]

544FloTHERM User Guide, V9.1

TroubleshootingSymptoms and AdviceUnexpectedResults

:Noheattransferorunexpectedheattranhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5sfer

[此处图片未下载成功]

Problem:Nofloworunexpectedflow

[此处图片未下载成功]

Problem:Magnitudeofflowratesnotasexpected

[此处图片未下载成功]

FloTHERM User Guide, V9.1545

Troubleshooting

and Advice

:Fieldsvaluesuniform

[此处图片未下载成功]

Problem:ResultsInitializedfromfileshowtheinitialfieldvalues

[此处图片未下载成功]

546FloTHERM User Guide, V9.1

TroubleshootingSymptoms and AdviceMiscellaneous

:Insufficientspacetorunmodel

[此处图片未下载成功]

[此处图片未下载成功]

Problem:Griddistributionnotasexpected

:UnabletostartFloTHERM

[此处图片未下载成功]

FloTHERM User Guide, V9.1547

Troubleshooting

Display

outputs various status messages to provide information or tell you about an error.These messages are displayed either at the bottom of the application windowhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 in the status areaor in dedicated message dialogs.

main message window which reports general errors, warnings and information, appearsautomaticallywhenaneventrequiringyourattentionisdetected.Theeventsareloggedandcanbe re-displayed (unless they are manually cleared from the dialog) at any time during theprogram session using theWindow &gt; MessageWindow command.

access:PM Window &gt; Message Window

this dialog to read any status, error or warning messages generated during programoperation.

messages are displayed in a scroll list with the text formatted as follows:

_Status Error_Number - Error_Message &lt;Name_of_Problem_Item&gt;

:

Error_Status

three warning levels:ERROR — data error interrupting solution,WARN — flags set up problems such as incorrehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ct location of boundaries, for

, a fan detected inside a block, or

—purelyinformational,forexample,objectencounteredoutsidethesolution

.o

isatrouble-shootingnumberthatiscross-referencedagainsthelpadvice

in“FloTHERM Messages” on page549. It is the number to quote to Mentor

Support when you need help.Error_Number

_Message

explains the problem.identifies the problem http://www.51wendang.com_of_Problem_Item

On

the display of the Message Window dialog.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM MessagesDisplay the Message Window dialog:

when Information messages, Warnings or Errors are generated. That is, display theMessage Window if any type of message is generated (default).only when Warnings or Errors are generated. That is, the Message Window will not bedisplayehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d if only Information messages are generated.only when Errors are generated. That is, the Message Window will not be displayed if

Information messages and/or Warnings are generated.

that you can display the Message Window dialog at any time by selectingWindow &gt;Message Window.

all error messages from the dialog.

the dialog.

the messages provided by FloTHERM do not provide sufficient information, then see“Symptoms and Advice” on page533. If you still need help, then please contact TechnicalSupport.

messages generated during initialization or solution are appended to the contents of theerror list, so it is recommended to regularly clear the list.

section lists the FloTHERM messages that you may see in the Message Window dialog,and offers instructions about whahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t to do next. Self-explanatory messages are not included.There are three types of messages:

ErrorsWarningsInformation

User Guide, V9.1549

Troubleshooting

Messages

/00nnn-System

-invalidparameters/arguments

command line parameters have been entered. See“Solving in Batch Mode” on

.

file might be damaged. (It might have been overwritten by another application or

).Theremightbeaproblemwithyourfilesystem,diskornetwork. Try opening the file again. If the problem persists, see your system administrator. Ifthe file is damaged, try restoring the most recent backup file.

/0010-memoryallocationerror

your swap space or exit some processes and try again.

/01nnn-UserSystem

any E/01000 messages not listed hehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5re, please consult Mentor Graphic Support. See

Support inGetting Started with FloTHERM.

/01001-OutofMemory

your swap space or exit some processes and try again.

/01011-SmartPartcannotbedecomposed

cannot decompose fans, recirculation devices sloping plates or non-conducting PCBs intotheir primitive component parts.

/01013-Objectcannotbere-sized

cannot be resized using the mouse, so use the object’s construction dialog instead. Calltheconstructiondialogbyright-clickingtheobjectandchoosingConstructionfromthepopupmenu.

/01014-Cannotdeleteattachedproperty

property is still attached to an object. It must be detached before you can delete it.

[此处图片未下载成功]

550FloTHERM User Guide, V9.1

TroubleshootingFloTHERM MessagesERRORE/01020-CouldnotcreateSolutionDatainrepository

solution data direchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tory has write access.

/01021-Parallelsolverlicenserequired&lt;ExchangeFactorCalculationperformedabnormalexit&gt;

.SwitchofftheUseParallelSolver option in theUser Preferencesdialog (Edit &gt; Preferences in the Project Manager).Alternatively, apply for the parallel solver license before attempting to solve again.

/01022-Anobjectmustbeselectedforthisoperation

on an object in the display area.

/01025-UnabletoaccessSolutionData

read permission on the solution data directory for the project. You need the same grouppermissions as when it was created.

/01026-Operationdisabled(badaccesstosolution)

read permission on the solution data directory for the project. You need the same grouppermissions as when it was created.

/01028-Pastefailedmustselectassemblytopasteinto

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ck on the assembly you want to paste the object into and try again.

/01029-Attempttocontinuebeyondendoftransient-CheckOveralltimes

. If you need to continue, then increase the End Time for the total transient in theOverall Transientdialog.

/01030-Packoperationfailed

.ERRORE/01031-Unpackoperationfailed

file you are trying to unpack is not packed. Check the file pathname.

User Guide, V9.1551

Troubleshooting

Messages

/01032-AttempttochangegridduringSolve-ABORTrunandre-solve!

are changing the project data while the program is solving. Cancel the solution until youhave finished making the changes.

/01034-Selecteditemisnotadirectory

file hhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5as been selected instead of a directory in the file browser. Move back up a directorylevel and choose a directory.

/01040-CannotSolvewhileloadprojectdialogopen

.ClosetheLoadProjectdialogbefore solving.

/03nnn-DrawingBoard

/03001-Bufferfailure

some windows or other processes to free some memory and try again.

/03002-Notenoughcolors

processes are monopolizing the screen colors. Close some processes and try again.ERRORE/03003-CannotcreateprimitivewithzerosizeintwodirectionsYou have not dragged the mouse far enough while attempting to draw an object.

/03004-Cannotcreatezerothicknessobject

have not dragged out the size of a SmartPart.

/03005-Failedtoselectcorner,retryorpressEsctocancel.CheckVertex is selected as theCurrent Selection Mode.

/03006-Failedtoselhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ectedge,retryorpressEsctocancel.CheckEdge is selected as theCurrent Selection Mode.

/03007-Failedtoselectface,retryorpressEsctocancel.CheckFace is selected as theCurrent Selection Mode.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM MessagesERRORE/03008-Failedtoselectface,edge,orcorner,retryorpressEsctocancel.

that what you want to select is theCurrent Selection Mode object type and try again.ERRORE/03009-Failedtoselectappropriateface,edge,orcorner,retryorpressEsctocancel

second selection is not of the appropriate type. The guidelines are:

A vertex with another vertex, edge, plane or datum,An edge with a parallel edge, vertex, parallel face, or parallel datum, orA face with a parallel face, parallel edge, parallel face or parallel datum.

/E/03014-PleaseselecttheappropriateparentforthenewobjectWhile using the Drawing Board, an attempt hashttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 been made to add invalid geometry to a HeatPipe SmartPart. Only uncollapsed Network Cuboids can be added to Heat Pipe SmartParts.ERRORE/04nnn-ProjectManager

/04001-ProjectmustbesavedpriortoaSolve

project has not been given a name. Use Project &gt; Save As.

/04002-Projectmayhavebeenchangedduringsolution-re-solveproject

have been changing the project while the program was solving. Re-solve to obtain an up-to-date solution set.

/04017-Failedtokeypointlocalizedgrid

changing the location of the named object in the Project Manager tree hierarchy.

/04018-ZoominCreationError-

error appears for several conditions:

Project not consistent with solution: backup directory exists.

solve again.

Project not consistent with solution: residual file does not exist.

solve again.

User Guide, V9.1553http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Troubleshooting

Messages

Project not consistent with solution: Tag file does not exist.

solve again.

2D projects cannot be used to create environment

to3-Dimensional in theModeling Dialog (Model &gt; Modeling).

Transient projects cannot be used to create environment

Type toSteady State in theModeling Dialog (Model &gt; Modeling)

Project must have Temperature, Pressure, Velocities and Heat Flux. Ensure these

are solved and run for one more iteration.

theModelingdialog, ensure thatType of Solution is set toFlow and Heat Transfer andStore Heat Fluxes is checked on prior to solving again.

Region is not valid if it is collapsed

the region or create a new 3D region instead.

RegionisnotvalidifitisalocalizedgridboundaryorifitisatthesolutiondomainEnsure there are athttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 least two grid cells between the region and the offending boundary.

/04019-ZoomInCreationError,IntersectingDissipatingObject/s-Invalidobject(s)intersectingregion:

error occurs when the thermal attribute for the named object is set toFixed Heat Flow orJoule Heating. Ensure that the thermal attribute is set to eitherFixed Temperature or

.

/04020-ZoomInCreationError,Intersectingobject(s)

that the named object is within the region. Note that for PCBs, both the board andcomponents need to be checked.

/04021-ZoomInCreationError-AbuttingDissipatingObject/s-Invalidobject(s)abuttingtheregion

error occurs when the thermal attribute for the named object is set toFixed Heat Flow orJoule Heating. Ensure that the thermal attribute is set to eitherFixed Temperature or

.

/04022-ZoomInCreationError-Abuhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ttingObject/s-Invalidobject(s)abuttingtheregion

the object or resize the region.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM MessagesERRORE/05nnn-Profiles

/05001-Outofavailablememory

some windows or other processes to free some memory and try again.

/05003-Novalidprofilesavailabletoplot

values are to be plotted.

the profiles in the Distance Profile Plot and try again.

/05005-Internalerror1

your FloTHERM customer support and describe the actions leading up to this error.ERRORE/05008-Internalerror4

your FloTHERM customer support and describe the actions leading up to this error.ERRORE/05009-Unabletodisplayalogarithmicrangeatorabovethisvalue

.Changethttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hescaletolinear.ERRORE/05011-Internalerror7

your FloTHERM customer support and describe the actions leading up to this error.ERRORE/05015-DividebyZero

.Correctdata entry field and try again.

/05016-InvalidNumberFormat

invalid string was entered in a numeric field. Type a valid number in the data entry field andtry again.

/05017-Rangelimiterror

error was made in specifying a range limit. For example, setting the lower limit of an axisrange higher than the upper limit. Re-enter the range limit and try again.

User Guide, V9.1555

Troubleshooting

Messages

/05018-Valueoutsiderange

value was entered in a numeric field which is outside the allowed range. Re-enter a valuewithin the range and try again.

/06nnn-Tables

/http://www.51wendang.com/doc/d2e52c141054f5479dae40c506001-Unabletoallocatemorememory

some windows or other processes to free some memory and try again.

/06002-Nosolutiondataavailable

project has not been solved yet so there are no calculated field variables.

/06005-Unabletoallocatememoryforderivedproperties

some windows or other processes to free some memory and try again.

/06009-Unabletoallocatememoryfortable

some windows or other processes to free some memory and try again.

/07nnn-Converter

/07003-Invalidfileselected

is not recognized by the V1.4 Converter — choose a.lib,.prb or.pfm file.

/07004-Unabletoopenimportfile

are conversion problems - check the syntax of your file.

/07006-Invalidfilecontentsorincompatibleversion

file is not of FloTHERM v1.4.prb,.pfm or.lib format.

/07009-Excessivethicknessfhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5orplanarobject-checkvalue

thickness of either a conducting internal plate or external wall has been set to an excessivevalue. As v9.1 uses this value to set the physical thickness of the object rather than just athermal parameter, problems can occur. Reset the thickness to a sensible value.

/08nnn-Solver

any E/08000 error messages not listed here, please consult Mentor Graphics Support.556FloTHERM User Guide, V9.1

TroubleshootingFloTHERM MessagesERRORE/08013-Aarraysizeerror

.TheproblemmaybecorrectedbyrecalculatingtheEFGresultorre-initializingtheproject.ERRORE/08070-Inconsistentexchangefactor,re-runEFG

has changed so exchange factors are no longer correct. Re-run EFG (Solve &gt;Exchange Factors) to obtain correct values.

/08153-Notenoughmemoryavailableforthespecifiednumberohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5fsubdivisions.EFGstopped

.Soeitherfreeupmemorybyterminatingotherprocessesrunningonthesystemorreducethenumberofradiationsurfacesbeingsolved,and then try again.

/08160-Insufficientmemorytorunsolver

is not enough memory available to run the solver. So either free up memory by

other processes running on the system and try again or buy more memory.

/08161-Failedtogetasolverlicense

solver cannot run because the solver license is unavailable. Either a solution is already inprogress or machine is not licensed to run the solver.

/09nnn-Translator

/09001-Failedtosavesolvercontroldatatodisk(Wrong

?)

with your systems administrator.

/09002-Failedtosavesolverlistdatatodisk(Wrongprivilegesorfilesystemfull?)

with your systems administrahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tor.

/09003-Failedtosavegeometricvariabledatatodisk(Wrongprivilegesorfilesystemfull?)

with your systems administrator.

/09004-CannotaccessTranslator-outputdirectory(protectionswrong)

write protection on the solution data directory.

User Guide, V9.1557

Troubleshooting

Messages

/09005-Objectdoesnotliecompletelyinsideasinglelocalizedgrid

,wheninalocalizedgridspace,mustbelocatedwhollyinsideorontheedgeofasingle localized grid space. These objects are: fans, recirculation devices, fixed flows, compactcomponents, compact heatsinks, thin sloping blocks.

/09007-CompactcomponenttouchestheedgeofalocalizedgridCompact components are not permitted to touch the edge of a localized grid space. Thisrestriction applies whether they are inside or outside the localized grid. The recommended

is to createhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 a single localized grid space to encompass the areas of interest as shown inFigure16-1.

16-1. Compact Component Within Localized Grid

gridsERRORE/09012-Toofewgrid-cellstobesolved

a 2D model you need at least two grid cells in the X and Y directions. For a 3D model youadditionally need at least two grid cells in the Z direction.

/09013-3Doptionneedsmorethan1cellinZdirection

D models need at least two grid cells in the Z direction.

/09014-VectoroptionrequiresoddnumberofcellsinXandYdirections

.Eitherselectanothersolveroptionorchangethegridtogiveanoddnumberofcells.

/09015-SolarCalculation

,andrequirespositional

[此处图片未下载成功]

[此处图片未下载成功]

as well as http://www.51wendang.com/doc/d2e52c141054f5479dae40c5intensity settings.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM MessagesERRORE/09016-DifferentFluidsadjacentandnotseparatedbysolidRegions with attached fluids must be totally separated from one another by a solid interface.ERRORE/09017-Toomanyfluids

is a limit of 100 regions with different attached fluids.

/09020-Compactheatsinkbaseisoverwritten&lt;objectname&gt;,Blockedby:&lt;objectname&gt;

the compact heatsink base seriously degrades its efficiency. Move the heatsink orthe object so they no longer overlap.

/10nnn-EFG

/10010-Erroraccessingsolutiondata

file read/write error has been detected while attempting to calculate the exchange factors.Check solution data directory has read/write access and that there is enough disk space.ERRORE/10011-Errorloadingzonal1.ptsfile

file read error has been detected while attempting to chttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5alculate the exchange factors. Checkread permissions.

/10013-Insufficientmemory

is too large for the remaining physical memory. Increase your swap space or exit someprocesses and try again.

/10014-Errorwritinglogfile

solution data directory has write access and that there is enough disk space.

/10015-Errorwritingexchangefactors

file write error has been detected while attempting to calculate the exchange factors. Checksolution data directory has write access and that there is enough disk space.

/10016-Errorloadingviewfactors

file read error has been detected while attempting to load the view factors file while

to calculate the exchange factors. The file might be corrupted or does not have readaccess. Also, check disk space.

User Guide, V9.1559

Troubleshooting

Messages

://www.51wendang.com/doc/d2e52c141054f5479dae40c5RE/11nnn-Datastorage

you experience any E/11000 errors not listed here, please contact Mentor Graphics Support.ERRORE/11013-Failedtogetalock:IfprojectnotalreadyinuseSelect

[Project/Load/Unlock]tounlock

:itisalreadybeingusedbysomebody else, the system crashed when the project was open, or you are trying to delete thecurrently loaded project.

/11015-Failedtocreatefile

that you have enough space and write access to the directory you are trying to write to.ERRORE/11016-Failedtoopenfile

file exists.

/11019-Failedfilenotfound

file path.

/11022-Failedincompatiblefileversion

file is incompatible with this version of the database.

/11038-Failedgroupalreadyexistsindatabase

are attempting to import a project or library that is already known to FloTHERM. http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Eitherdelete the project or library from the database or rename it using Project &gt; Save As to create acopy, delete the original, then try again.

/11044-Failednotownerofproject

cannot delete or unlock a project you do not own.

/12nnn-MCAD

/12001-Failedtoopenfile

the file exists and that you have the correct permissions to open the file.

/12002-Failedtoreadinfile

the file format, it is corrupted in some way.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/12004-Failedtowritefile

that you have write permission to the directory you are trying to write to.

/12005-Selectedpathisnottoafile

are attempting to read/write to a directory not a file. Check the filename and try again.

/12006-Selectedfiledoesnotexist

file path name.

/12007-http://www.51wendang.com/doc/d2e52c141054f5479dae40c5NotopologyfoundinIGESfiletryingtorecover

structure definition is missing from the file. Regenerate the*.igs file reading the advicegiveninGeneratingIGESfilesfromPro/ENGINEERRelease20.0,GeneratingIGESfilesfromIDEAS 7 andExporting IGES Files from IDEAS 5.

/12008-Failedtoselectplanarface,tryagain

mouse-click missed the planar face.

/12009-Failedtoselectcorner,tryagain

mouse-click missed the corner.

/12010-Unknownunittype,assumingmeters

type of units used in the external file are not of the expected type and meters are usedinstead. If this is incorrect, then regenerate the file using standard units.

/12011-NeedtoselectanMCADBodybeforeattemptingthisoperation.

operation attempted only works on an MCAD Body.

/12012-ACISmodelerror

was an internal error in the ACIS Solid Modeler. If this is causing problems, plehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ase callFloTHERM customer support.

/12014-Outofmemory

MCAD application has run out of memory. Increase your swap space or exit someprocesses and try again.

User Guide, V9.1561

Troubleshooting

Messages

/12015-Unexpectedendoffile-abortingread

formatted file. Check file syntax.

/12016-FailedtoHealModel

data is not accurate enough.

/12017-IGESreadfailed-willtrytoreadwithlegacyIGESReader

,sowilltrytousethein-houselegacyreader.The legacy reader is not so robust but does support assemblies of IGES files.

/12018-FailedtoconvertparameterdatatoACISentities

to read an IGES file. To debug the file, set theFLOMCADKEEPLOGFILES

again. FloMCAD Bridge will create thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e log file in your system’s TEMPdirectory, with theappropriate file type and date stem-name, for example:

_READ-05-04-16-35-35.log

seeACIS Error Messages in theFloTHERM FloMCAD Bridge User Guide.

/12019-UserInterrupt,Operationaborted

the data from the file was interrupted, hence the operation aborted.Regenerate the file and try importing again.

/12020-Failedtoremovefeature(s)offace(s)

—invalidoperation attempted.

/12021-FailedtoreplaceBodywithPrimitive

body could not be represented with the requested primitive shape — invalid operationattempted.

/12022-Failedtoflattentheselectedface

could not be flattened — invalid operation attempted.

/12023-Failedtolevelselectedfaces

could not be levelled — invalid operation attempted.://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/12024-Failedtosubtractboundingboxfromselectedfeature(s)orface(s)

operation failed — invalid operation attempted.

/12025-Failedtosubtractboundingboxfromselectedfeature(s)orface(s)

operation failed — invalid operation attempted.

/12026-Canonlyflattenonenon-planarfaceatatime

just one non-planar face before attempting to flatten it.

/12027-Canonlyrotatealignwithoneplanarface

,soonlyone face must be selected.

/12028-Failedtorotatealignmodel

user support with details of the problem.

/12029-ErrorinStepReader

.Ifnotsuitableforuse,checkyouareusingasupportedversionofSTEP.SeeFileFormatsSupportedintheFloTHERMFloMCADhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5BridgeUserGuide.

/12030-FatalErrorinStepReader

file might be corrupted. Regenerate STEP file and try importing again.

/12032-ErrorinCATIAReader

.Ifnotsuitableforuse,checkyouareusingasupportedversion of CATIA. SeeFile Formats Supported in theFloTHERM FloMCAD Bridge UserGuide.

/12033-FatalErrorinCATIAReader

file might be corrupted. Regenerate CATIA file and try importing again.

/12034-ErrorinPRO/EReader

.Ifnotsuitableforuse,checkyouareusingasupportedversion of Pro/E. SeeFile Formats Supported in theFloTHERM FloMCAD Bridge User Guide.

User Guide, V9.1563

Troubleshooting

Messages

/12035-FailedtoperformrequestedSlice

resultant representation of the imported design might not be of a high enough quality. Tryhealing the model uhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5singTools &gt; Heal, seeFloMCAD Bridge Menu Bar in theFloTHERMFloMCAD Bridge User Guide.

/12036-CurrentPlatformwillnotsupporttheMCADAW

platform requires Open GL. See your system administrator.

/12037-Failedtogetalicenseforthistranslator

.Ifitisafloatinglicense,itmightbecheckedout.Ifyouneedalicense,then contact customer support.

/12038-PRO/Ereadfailed-willtrytoreadwithInterOpPro/EReader

default, FloMCAD Bridge uses the TTF reader for Pro/Engineer files. If the read fails, thenFloMCAD Bridge will retry, but using the InterOp PRO/E Reader.

/12040-Voxelisemeshistoolarge

is an upper limit of ten million cells to prevent the project getting too large.

/01nnn-System

/01002-Solutiondatanotdeletedfromrepository

data directory permissions changed while user is running the shttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5oftware.

/01003-Solutiondatanotfound-re-creatingwithoutresults

project being loaded has probably been imported without the solution results. You willhave to re-solve to get the results.

/W01006-NoResults-Unabletousesolutiondataforinitialization

solution set you have chosen has no solution results available for use as initial variables.

/W01013-Decomposedmodelmaynotbethesameasinternalmodel.

message can appear when decomposing compact heatsink, sloping block and cylinderSmartParts.

User Guide, V9.1

TroubleshootingFloTHERM Messages

heatsinks is of a type not available to FloTHERM users. This is a local value in eachgrid cell in the heatsink fin or pin volume and is determined from a correlation based on thelocalReynolhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5dsnumberineachcellandthegeometryoftheheatsink.SeeCompactModelingintheFloTHERM SmartParts Reference Guide.

the compact heatsink is decomposed, the surface exchange representation will be

back to a constant value of zero. If the project containing the decomposed heatsink isthen re-solved, the results will be different.Sloping Blocks and Cylinders

.1,athermalattributecanbeattachedtotheseobjectswithatotalpowerdistributedproportionally to the internal cuboid and prism volumes. A decomposed sloping block or

-conducting, Conducting with Total Power or Fixed Temperature. It is also possible,however, to attach an existing thermal attribute with either Fixed Heat Flow or Joule Heatingsetting. These settings are not currently available for the sloping block or cylinder SmartPartsand will be ignored.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ARNW/03nnn-DrawingBoard

/03001-Topitemisnotanassembly,creatingnewobjectinparent

the current display is not of an assembly, the object just created becomes a member of thesame assembly as the item on display.

/03002-Popupdisabledduetoobjectselectionconflict

cannot display a popup menu if you have objects of different types selected. Check thatyou have only selected objects of the same type and try again.

/03003-PerspectiveisdisabledintheDrawingboard,ignoring

,requiringmeasurementsand reference points, perspective is not considered applicable here. If perspective is required,use the Visualization application window.

/03004-Viewupdirectionwasnormalized

-directionhavebeennormalized.Forexample,ifx&#180;,y&#180;andz&#180;are the values you enthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5er, then the resultant value for x is given by:

User Guide, V9.1565

Troubleshooting

Messages

'

=---x' y' z'

/03005-Cannotdisplaysnapgridasitstoofine-trymodifying

,thegridistoofinefortheindividuallinestobeseen. Increase the snap grid display interval in theDrawing Board Picturedialog.WARNW/03006-Monitorpointsnotdisplayed,displayfrom[Edit/Modify

]

Points in theDrawing Board Picturedialog.

/03007-Overall&amp;Cutoutsnotdisplayed,displayfrom[Edit&gt;

]

Domain in theDrawing Board Picturedialog.

/03008-InitialSubdomainsnotdisplayed,displayfrom[Edit&gt;

]

Initial Subdomains in theDrawing Board Picturedialog.

/03009-Regionsnotdisplayed,displayfrom[Edit&gt;http://www.51wendang.com/doc/d2e52c141054f5479dae40c5ModifyPicture]Activate Regions in theDrawing Board Picturedialog.

/04nnn-ProjectManager

/04001-Closingdialogduetoincompatibleselection

,however,isincompatiblewiththeopen dialog, so the dialog is closed.

/04002-Allofpatchdatawillbeignored-checktherange

grid patch just created is outside the solution domain. The position and size of the solutiondomain is given in theOverall Solution Domaindialog.

/04005-Localizedgrid-Localizedgridsoverlap-thisisnotallowed

of two grid spaces is not permitted. The localization settings for the second objectwill be kept, but ignored, while the spaces overlap. The same is true for localized grid spacesthat are nested. Nested abutting localized grid spaces are permitted. See“Localized GridStructure” on page297.

FloTHERM User Guide, V9.1

TroubleshootingFloThttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5HERM Messages

/04007-Keypointsoflocalizedgridspacescannotbedeactivated

(usingtheTablesapplicationwindow)akeypoint which is a grid line defining the boundary of a localized grid space. Deactivating thekeypoints could lead to an inconsistent grid and so is inhibited.

/04008-ZoomInCreationWarning-Morethan10,000cellsexistontheregionboundary

message is issued to warn that a large project will be created for the zoom in region.Reduce the complexity of the geometry in the region to prevent performance degradation.

/05nnn-Profiles

/05001-Profilelocationnotwithinsolutiondomain

,therefore,ignored.

/05002-Solutiondatanotyetavailableforselectedmonitorpoint

(atleastoneiterationforsteadyshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tateor one time step for a transient must be completed). Either re-solve or, if the case is currentlyrunning, wait until at least one iteration or time step has been completed.

/05004-Novalidsolutiondataavailable

,http://www.51wendang.completesetupandsolve, then try again.

/05005-Notenoughpointstoplotaprofile

can occur when trying to plot a time profile when only one time-step has been solved.

/05017-Nullmonitorpointornopointattached&lt;PointName&gt;

are two possible reasons for this message:

.You have attempted to create an iteration pro le plot but forgot to select a monitorpoint, orb.Anullmonitorpointhasbeencreated,socontactyourFloTHERMcustomersupportand describe the actions leading up to this error.

User Guide, V9.1567

Troubleshooting

Messages

/05018-Nodataavailabletoplot://www.51wendang.com/doc/d2e52c141054f5479dae40c5rdata may be available due to a number of reasons, such as, no memory available to loaddata, no solution data or no points in import file.

/05021-Cannotplotnegativeorzerovaluesonalogarithmicscale

or zero values cannot be plotted on a logarithmic scale. Use linear scale only.

/05022-Excessivevaluesforlogscale-Changingtolinear

to display large values on a logarithmic scale. The display has been changed to show alinear scale.

/05023-Readerrorswhenimportingfile

.Checktheformatofthefile is correct.

/05024-Cannotdisplayprofilesofdifferentstartpointsonsameplot

points that start at different start times for time plots and different iterations foriteration plots cannot be plotted on the same plot. Use a different plot to display profiles ofdifferent start times or iterations.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5parWARNW/05027-Incompatiblefileversion

software could not read the configuration from an incompatible version of a configurationfile, so it will set up its own default configuration.

/05028-Filereaderror

,duetoanunreadableformat,soitwill set up its own default configuration.

/06nnn-Tables

/06001-Nodataavailableinsolutiondata

table displayed, but no results available. Solve project. If you have further problems,then check disk space.

/06002-Noderivedpropertydataavailableforcurrentobject

property data expected for object, but none was found. Possible cause - problemsduring translation. Perform sanity check.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/07nnn-Converter

/07001-Recirc.supplyoutofsequenceorpreviousinvalid

ehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rror detected in the library file. Check the location statements. This can happen if the.lib file has been created manually resulting in the extract object being invalid or missing.

/07002-Recirc.Extractoutofsequenceorpreviousinvalid

error detected in the library file. Check the location statements. This can happen if the.lib file has been created manually resulting in the supply object being invalid or missing.

/07003-Nolocationnumberforrecirculation

for missing location number in the library file.

/07004-Cannotconvert,unrecognizedobjecttype

can happen if an incorrect object type name is entered during manual file creation.

/07006-Unsupportedturbulencemodel-Defaultedtolaminar

can result from importing a .prb file that did not originate in FloTHERM V1.4.

/07007-Ambientnotattachedtosystem-differentambientalreadyset

://www.51wendang.com/doc/d2e52c141054f5479dae40c5Version1.4Converterhasdetectedaconflictintryingtoattachmorethanoneambienttoadomain edge.

/07008-Ambientnotattached-requiresuserattachment

.4Converterdoesnotattachambienttointernalcutoutsurfaces,soyouwillhaveto add them manually.

/07009-Ambientnotattached-Libraryfilesrequireuserattachment

library file ambients do not attach ambients in case of conflict with existingattachments.

/07010-Attempttoconvertanunknownvariable-ignored

can result from importing a .prb file that did not originate in FloTHERM V1.4.

User Guide, V9.1569

Troubleshooting

Messages

/07012-Excessivethicknessforplanarobject-reducedto1.E5

thickness of either a non-conducting internal plate or external wall has been set to an

value. As version 9.1 uses this value to set the physical thickness of the object ratherhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5than just a thermal parameter the thickness has been reset to a value that does not causeproblems.

/07013-AmbientTemperaturenotdefinedinlibfile-Checkobject

.Asthe library file does not contain this value, a default has been assumed. The user should checkthe setting.

/07014-ResistanceFreeAreaRatio&lt;=0-Setto1.E-10

orlesshasbeendetectedwhenimportingav1.4project.Thefreearearatiois reset to a small value to avoid error messages from the resistance attribute dialog.

/07015-Objectlocatedoutsideofsolutiondomain—Checkobject

imported v1.4 object was found to be completely outside of the imported solution domain.Theusershouldcheckwhetherthiswasexpectedasthetranslatorwillignoreallobjectsoutsidethe solution domain.

/09nnn-Translator

/09001-Objecthasbeenentirelyover-writhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ten

objects, the last one in the hierarchy normally takes precedence. See“ConstructionPrecedence Rules” on page178.

/09002-Objectliesentirelyoutsidethesolutiondomain

this is what you want.

/09003-Overlapofthisobjectwithanotherisdisallowedthereforeitisdeactivated

geometry hierarchy description“Construction Precedence Rules” on page178.

/09011-Fluidflowisentirelyblockedbysolidorheatflowisentirelyblockedbyaninsulatoritisdeactivated

that this is intended, and rearrange the geometry if not.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/09012-Fluidflowentirelyblockedbysolid,ornotdirectedintosolutiondomain-itisdeactivated

flow exit is obscured by a solid. You might just need to rotate it by 180 .

/09013-ObjectisincontactwithmorethanoneExternalBoundarysurfacethereforeitisdeactivated://www.51wendang.com/doc/d2e52c141054f5479dae40c5rno unique ambient can be deduced by the software. Move object or reallocate ambient.

/09014-Objectsettoconductingwithnomaterialattached,thereforeitwillnotconductheat

,sotheconductionandfrictionsourceswillbede-activated. However, the obstruction caused by the object will remain and unless you attach amaterial to the object, the results will be incorrect.

/09017-Thedefinedgridinthisprojectnowexceeds3milliongridcells!

,modelswithamassivenumberofgridcellsmybecreated.Examplesofsuchconditionsare,afterimportingacomplexgeometryusingFloMCADBridge,whengridsmoothing is used when very small cells exist or when the model is inherently detailed (forexample, detailed board-level model).

.This message is issued to warn of potential long solve times prior to a http://www.51wendang.com/doc/d2e52c141054f5479dae40c5solve.

.

/09021-ResistanceisNOTcollapsedbuthasplanarresistancepropertyattachedthereforeitisdeactivated

resistance with a planar property type is inconsistent. Either collapse the resistance orset the resistance attribute type to volume.

/09022-Resistanceiscollapsedbuthasvolumeresistancepropertyattachedthereforeitisdeactivated

.Eitherun-collapsetheresistanceorset the resistance attribute to planar.

/09023-NoPropertyattachedtoResistancethereforeitisdeactivated

must have a resistance attribute attached.

User Guide, V9.1571

Troubleshooting

Messages

/09024-Resistanceinpartialcontactwithexternalboundarysurfacethereforeitisdeactivated

resistance to ensure it is eihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ther fully attached to an external surface or stands on its own.

/09025-NoPropertyattachedtoSourcethereforeitisdeactivated

must have a source property attached.

/09026-Supplysideofrecirculationdeviceisnotplacedonasolidthereforeitisdeactivated

side must be placed on a solid.

/09027-Extractsideofrecirculationdeviceisnotplacedonasolidthereforeitisdeactivated

side must be placed on a solid.

/09028-Objectisincontactwithmorethanoneexternalboundarysurfacethereforeitisdeactivated

unique ambient can be deduced by the software.

/09029-Flowdirectionisparalleltoobjectplanethereforeitisdeactivated

direction must have a non-zero normal component.

/09030-Prismorslopingsurfaceofprismoverwrittenbyblockage&lt;blockedobject&gt;,Blockedby:&lt;blockingobject&gt;

geometry hierarchy description in“Construction http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Precedence Rules” on page178.

/09032-Fanpartiallycoversacutout-mustbeeitherfullornocoverage

fan to ensure it is either completely covers a cutout or stands on its own.

/09033-Fandeactivated:directionmusthavenon-zeronormalcomponent

the angled fan option is activated, the flow direction must have a non-zero normalcomponent.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/09034-Inconsistentsource-sourceattributemustbefixedvaluewhenusedwithmasssource

a mass source is active, all other variables must have fixed value source attributes.

/09036-Conductingcollapsedcuboidoverwrittenoronaninsulatedobject,thereforedeactivated

conducting collapsed cuboid has been placed on an insulated surface.

/09040-MorethanonesymmetryboundarydefinedonXdirection-ignoredforradiation

/09041-Morethanonesymmetryboundarhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ydefinedonYdirection-ignoredforradiation

/09042-MorethanonesymmetryboundarydefinedonZdirection-ignoredforradiation

message is generated when both domain faces in the referenced direction are set tosymmetry with radiation switched on.

two radiation symmetry faces on opposite ends of the solution domain does not makephysical sense for thermal radiation calculation, the radiation symmetry on both faces isignored. By using one symmetry face in each direction, the warning is removed.

/09043-FixedFlowwithoutambientattachedisdeactivated

an ambient to the fixed flow.

/09047-Thermostatnotinsidedomain:Recirculationdevicedeactivated

thermostat attached to the recirculation device is located outside of the overall solutiondomain, hence the recirculation device has not been included in the solution. Relocate thethermostat to be within the overall solution domain anhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d use the drawing board applicationwindow to check the location of the thermostat before continuing with the solution.

/09049-Nosourcehasbeenactivatedinattachedsourceproperty

source attribute is attached to a source cuboid, but the source has not been activated for anyvariable. SeeSource Option Dialog in theFloTHERM Project Attributes Reference Guide forinformation on how to activate the source attributes.

User Guide, V9.1573

Troubleshooting

Messages

/12nnn-MCAD

/12001-Nothingselectedthatcanbeusedforrequestedoperation

must select the object that you want to operate on.

/12003-Accuracyreportedbelow1e-6,mighthaveproblemswithmodel

works to an accuracy of 1e-6. Change accuracy in your MCAD package, seeCreating MCAD Files Using External Software in theFloTHERM FloMCAD Bridge UserGuide.

/12004-NoGeometry(http://www.51wendang.com/doc/d2e52c141054f5479dae40c5BodiesorPrimitives)intheassembly,clearingmodel

appears during tidy-up process after the deletion of all the component parts of theMCAD assembly.

/12005-Unexpectedformforgroupentity

error. While reading an IGES file, came across a strange entity name.

/12006-Firstentityingroupisnottoasurface

error found while reading IGES file.

/12007-ACISModelWarning

.Ifthisiscausingproblems,then call FloTHERM customer support.

/12008-Bodyappearstobeathinnon-planarshell,thiscouldcauseproblemsinthedissector

.Insteadofusing the MCAD package to model the part, try modeling it using an Enclosure SmartPart.

/12009-DegeneratetrianglefoundinSTLdata-ignoringit

illegal degenerate triangle (a line or a poihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5nt) has been detected in the input.stl file andcannot be converted to a planar face, hence it is being ignored.

/12010-FailedtoreadACISdataastext-tryingtoreadasbinary

requested is not of type selected in the import menu.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/12011-Freecurvesorpointsencountered,thesehavebeenignored

and data not part of the model have been found and ignored.

/12012-WarninginStepReader

.Ifnotsuitableforuse,checkyouareusingasupportedversion of Step. SeeFile Formats Supported in theFloTHERM FloMCAD Bridge User Guide.

/12013-WarninginCATIAReader

.Ifnotsuitableforuse,checkyouareusingasupportedversion of CATIA. SeeFile Formats Supported in theFloTHERM FloMCAD Bridge UserGuide.

/12014-WarninginPRO/EReader

://www.51wendang.com/doc/d2e52c141054f5479dae40c5eimporteddesignlooksOK.Ifnotsuitableforuse,checkyouareusingasupportedversion of PRO/E. SeeFile Formats Supported in theFloTHERM FloMCAD Bridge UserGuide.

/12015-CurrentPlatformwillnotsupportlightingmodel

platform requires Open GL. See your system administrator.

/01nnn-System

/01002-Solutiondatahasbeeninitialized-restartingsolution

project is re-initialized at the start of each solution run, according to program defaults orselections made in the Initial Variables dialog (PMModel &gt; Initial Variables).

/01003-Removingunuseddeactivatedkeypoints

have moved an item of geometry with deactivated keypoints. The program is just notingthe removal of the deactivation of the grid at the location that the object used to occupy. If youstillwanttodeactivatethegridalongthebordersoftheobject,youwillhavetodeactivatethemagain using the grid table ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n the Tables application window.

/01005-Nameoflibrarypropertychanged-existingpropertyretained.

message occurs because the library attribute you are attempting to attach is recognized asalready existing in the project, but with different set-up values, so the attachment is prevented.

User Guide, V9.1

Troubleshooting

Messages

example, this can occur if you attach a library attribute to a cuboid, change its name andsettings, then try to re-attach the original attribute from the library. FloTHERM identifiesattributes by internally generated serial numbers, not by their names.

aware that you can have problems if you modify library attributes and attach them to

in an assembly which you later save to the library. Importing the assembly from thelibrary to a new project in which the library attribute is already used will prevent thhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5e modifiedattribute being used and the assembly definition will not be as expected.

.Ifyouneedtocreateanewattributebasedonthesettingsofalibrary attribute, first copy the library attribute then modify and use this new attribute instead.

/04nnn-ProjectManager

/04001-CreatingaNewUserConfigurationFile

has been started up for the first time and creates a configuration file to match theinstallation setup and your own system. This configuration file will be used to setup yourFloTHERM session each time it starts.

change the configuration use theUser Preferencesdialog. Changes made to theconfiguration are saved in the configuration file.

/04002-UserInterruptdetected,pleasewaitwhilesolverstops

solver has been interrupted using the button orSolve &gt; Interrupt Solve. AllFloTHERM operations are inhibited until the solver saves the resultshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5 obtained so far.

/04003-Couldnotwritetoconfigdirectory,savinguserpreferencestohomefilesystem

first starting FloTHERM, if the configuration directory could not be written to theFloTHERM installation directory, then directory /floconfig, containing all the programconfiguration files, will be created in your home directory.

/06nnn-Tables

/06003-Tablescannotdisplayalljunctiontemperatures

message is issued when the project contains a compact component with more than tenjunctions. Tables can only display ten junction temperatures.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/07nnn-Converter

/07001-InternalRadiationboundariesnotconverted

conversion of internal radiation is carried out. FloTHERMversion 9.1 uses a differentradiation model.

/07002-ExternalRadiationboundariesnotconverted

converhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5sion of external radiation is carried out. FloTHERM version 9.1 uses a differentradiation model.

/07003-Specialboundariesnotconverted

conversion of special boundaries is carried out.

/07004-ExternalWallradiationnotconverted

conversion of external wall radiation is carried out.

/07006-Ambientdatanotsetforobject

to set ambient attribute data.

/07007-DefaultDensityusedforFixedFlowSmartPart

no inflow temperature was specified for the object, a default value for density was assumedto convert the mass flow to a volumetric flow.

/07008-DefaultTemperatureusedforFixedFlowSmartPart

no inflow temperature was specified for the object, a default value for temperature wasassumed to convert the mass flow to a volumetric flow.

/07009-DefaultDensityusedforFanSmartPart

no inflow temperature was specified for the objechttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5t, a default value for density was assumedto convert the mass flow to a volumetric flow.

/07011-DefaultDensityusedforRecirculationSmartPart

no inflow temperature was specified for the object, a default value for density was assumedto convert the mass flow to a volumetric flow.

/07015-Inwarddirectionondomainedgewrong-corrected

version 1.4 object was placed on the edge of the domain with the inward direction setincorrectly, the converter has corrected this value.

User Guide, V9.1

Troubleshooting

Messages

/07016-Userspecifiedhtc,ambientattachmentonfacereplacedby:&lt;Ambientpropertyname&gt;

ambient on a particular domain face was replaced by an attachment which sets the heattransfer coefficient.

/07017-SourceconvertedforTransient-CheckvaluesforSteadyStateuse:&lt;...&gt;

values were imported with http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Transient Function values which were converted with theassumption that the source will be used in Transient mode. If the sources are to be used in asteady state mode, then check the source values.

/07018-UnsupportedStandardTurbulenceModelconvertedtoRevisedModel

imported version 1.4 model contains a setting for the Standard Turbulence model. Thismodel is no longer supported in version 3.2 and has been converted to the newer RevisedTurbulence model.

/07019-FixedHeatTransferCoefficientnotsupportedforPrisms-ignored&lt;prismname&gt;

.Theprogramwilldefaulttousethestandardwallfunctionsfortheprism surface.

/08nnn-Solver

/08003-Solverstopped:steadysolutionconverged

exit from solver with solution converged in steady state.

/08004-Solverstopped:steadyshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5olutionhasNOTconverged

exit from solver with solution not converged in steady state.

/08005-Solverstopped:transientsolutionconvergedateachtimestep

normal exit from solver with converged solution for all time-steps.

/08006-Solverstopped:transientsolutiondidNOTconvergeforalltimesteps

solution normal exit from solver with non-converged solution for some time-steps.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/08007-Solverstopped:allmonitorpointsarestable

at all monitor points is stable (that is, within the required accuracy for the specifiednumber of iterations).

/08008-Solverstopped:steadysolutionconverged.NOTallmonitorpointsarestable,checkterminationresidual

Point Convergence for temperature is selected in theOverall Solution Controldialog. Solution has converged to the specifiehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5d residual, however, not all monitor points havereached the required accuracy for the specified number of iterations. Check the terminationresidual selected.

/09nnn-Translator

/09001-ObjectliespartiallyoutsidetheSolutionDomain

that this is what you intend.

/09007-Collapsedplatethicknessextendsmorethanonecell,resultsunpredictable,considermodelingasthickplate

“OverallSolutionControlDialog”onpage394,the program has detected a collapsed cuboid with thickness in the collapsed direction greaterthan that of the grid cell in that direction.

cuboids are considered sub-cell features. Consider modeling the plate usinguncollapsed cuboids.

/09008-Symmetryboundarycannotoverwriteopenboundary-boundarywillremainopen

attempt has been made to overwrite an open domain boundary with a symmetry face of acutout. An open bouhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ndary cannot be overwritten by a symmetry boundary, so it remains open.

/09010-SymmetryBoundaryoverwrittenwithattachedAmbient.Allsettingsforheattransfercoefficientandradianttemperaturewillbeapplied.

default, no heat or fluid flow passes through a symmetry plane. A symmetry boundary withan attached ambient no longer acts as a symmetry plane for heat transfer, allowing heat flowthrough the symmetry plane. Fluid flow will still be prevented.

/09011-OpenExternalBoundarysurfacewithoutAmbientProperty

ambient will be used by default - check that this is what is intended.

User Guide, V9.1579

Troubleshooting

Messages

/09012-ObjecthasnotbeenplacedonaSolidorDomainBoundary

are attempting to locate a fixed flow or recirculation device in an unsuitable position.

/09014-PCBblocks&gt;1/2cellsochangedtocompleteblockage

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ockage caused by component will fill the near-board cell.

/09015-ThermalPowerisignoredforSmartParts

power can only be attached to individual cuboids.

/09016-Fancurve-localmaximumignored

the fan curve has a local maximum, then FloTHERM uses a modified fan curve which ismonotonically decreasing and equal to the supplied curve except in the neighborhood of thelocal maximum.

/09017-RadiationPropertyAttachedtoSurfaceofnon-conductingblock

properties attached to non-conducting blocks have no effect and are ignored.Radiation sources can only be applied to conducting objects.

/09018-NoMaterialAttachedtoObject:Assumedtobenon-conducting&lt;objectname&gt;

material was attached to an object (for example, a heatsink) that would normally have amaterial attached.

/09021-NoFlowBoundaries,butuser-setConvectionVelocityis0

the EFCV http://www.51wendang.com/doc/d2e52c141054f5479dae40c5in theOverall Solution Control dialog (Solve &gt; Overall Control).

/09022-Changeinvariables,cannotcontinueresidualdisplay

continues, but display restarts from current iteration number.

/09031-SanityCheckcompleted

model has been checked for consistency and any errors or warnings are displayed abovethis message in theMessage Windowdialog.

/09032-Translatorcompleted

data has been translated into solver data.

FloTHERM User Guide, V9.1

TroubleshootingFloTHERM Messages

/09033-TotalnumberofGridCellsare:&lt;XXXXXX YYYYYYfromembeddedconductionsolver=ZZZZZZ&gt;

mesh, where:

is the normal system plus the localized grid cell countYYYYYY is the contribution from the embedded conduction solverZZZZZZ is the total grid sihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ze (XXXXXX   YYYYYY).

/09041-Atleast2Componentsintersect

check shows there are discrete PCB components overlapping. Check the PCBConstruction dialog.

/09042-AComponent'sXpositionislocatedofftheboardINFOI/09043-AComponent'sYpositionislocatedofftheboardINFOI/09044-AComponent'sXboundaryislocatedofftheboardINFOI/09045-AComponent'sYboundaryislocatedofftheboard

check shows the boundary of the PCB component extends beyond the perimeter of thePCB.

/09050-Resistancepropertyattachedto2Dfanisignored

the case of 2D fans, the flow velocity is calculated from the fan curve and local pressuresonly because any attached resistance acts at the same location as the fan primitive, so the fancannotdetectapressuredrop.For3Dfans,however,theresistanceandfanprimitivearelocatedatoppositeendsofthefan,soapressuredropcanbedetected.AlsoseeModelingtheEffectsofFinger Guards or Grilles in theFhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5loTHERM SmartParts Reference Guide.

/09051CompactComponentinterconnectresistancepartiallyover-written

components use collapsed cuboids to represent component-board interconnect

such as balls/pins, and the standoff resistance. This message is issued when any ofthese collapsed cuboids are partially overwritten by another object, as this will affect thecompact component representation, and thereby have an influence on the results.

of these collapsed cuboids which are completely over-written will generate a &quot;WARNW/09001 - Object has been entirely over-written&quot; message.

User Guide, V9.1581

Troubleshooting

Messages

the board on which it sits. The remedy is to make sure that the board appears before anyattached compact components in the projehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ct tree.

/09078Modelistransientbutdensityorspecificheathavevaluesof1.0inthematerialattribute&lt;materialattributename&gt;

a solution will be attempted this warning is issued to make you aware that either theDensityorSpecificHeatofamaterialhasbeendefinedashavingavalueof“1.0”.Themessageis only generated if a transient solution has been selected.

FloTHERM User Guide, V9.1

Appendix

[此处图片未下载成功]

A

-SupportedAttributesandObjects

Attributes and Objects in the FloTHERM v8.2 XML Reader are listed inTableA-1andTableA-2. For details about importing geometry specified in XML files, see“XML Files”on page205.

A-1. XML-Supported Attributes

[此处图片未下载成功]

FloTHERM User Guide, V9.1583

XML-Supported Attributes and Objects

A-2. XML-Supported Objects

[此处图片未下载成功]

584FloTHERM User Guide, V9.1

XMLhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5-Supported Attributes and Objects

A-2. XML-Supported Objects

User Guide, V9.1585

[此处图片未下载成功]

XML-Supported Attributes and Objects

[此处图片未下载成功]

Table A-2. XML-Supported Objects

FloTHERM User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

— Numerics —

D and 3D Calculations,1182D and 3D Views

Board,215Visual Editor,40932 and 64-bit Solvers,34564 Bit Translation,394

— A —

Coordinates,151Absolute Pressure,141

Localized Grid,298Acceleration Due to Gravity,137Accurate Particle Colors,438Activate

,503

Solver Control Dialog,399Air Speed,124Alignment

in Drawing BoardAlign Selected Dialog,261Ambients

,140Angled

,134resistance,167Animations,410

controls,429,474display area,412of plots,472

solhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5utions,473Annotate

Dialog,264delete annotations,266Profiles

points on line plots,355Visual Editor,412,415,469Anti-aliasing Plot Smoothing,379Application Windows

opening,85Archiving Projects,90

Heads (annotation),265ASCII PDML,88,204display library file,272

(SolutionGrid),290,295,

,147,154Assembly Menu,155edit location,156version 3 files,205Attributes,154editing

tables,506libraries,268

_Libraries,281tables,504

Templates,68Auto AW Open,85

Algebraic Turbulence Model,129,

False Time Step,402

Termination Residual,402Auxiliary Variables,400,513avi animation scene files,475Axes

Board

on objects,254system coordinates,254Profile Plots,353

Parameters Dialog,376range and scale,375swap,372Visual Edhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5itor,441Axial Fanslibrary,280

— B —

Color

Editor,415,

[此处图片未下载成功]

437

User Guide, V9.1587

ABCDEFGHIJKLMNOPQRSTUVWXYZ

gradient,437Backup Files,34,76Backward Search,193Base Grid Table,502,503Batch Mode

,338

options,332solving transients,343bmp files,475Bn,122

Face Types Dialog,104Boussinesq’s Approximation,136brd Files

description file,208BTX templates,68

,132,143,403Button Bars

selection problems,543

,497Components

Fluxes Table,497IDF preference,210starter libraries,279Conduction

PCBs

preference,209

only solutions,118conductive transport,120plate,395

HTC,495Configuration FileFloTHERM,86Constrictions,163

Sensitive MenusDrawing Board,223Project Managhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5er,40Continue Solution,332Contours

plots,455Control Solution

Solution Control Dialog,394start/stop,332Control View

View Dialog,245Convection

transport,120forced,402natural,403

HTC,495Convergencecontrol,394difficulties,538

for assessment,389Coordinate Grid Table,503Coordinate System

and local,150setting,83Copy

,188,221libraries,274profile line,373profile plots,354Coupling Metric

— C —

solution variables,402

(forAuxiliaryVariables),

Projects,70

Length and Velocity,130Class of Project,75Cloudiness,127

Objects,42,178Collapse

resistances table,490collapsed SmartPart details,490geometry in Drawing Board,222primitives,166regions,170

for collapsed primitives,193http://www.51wendang.com/doc/d2e52c141054f5479dae40c5tree in Project Manager,37Colors

title,438

Board conventions,216Profiles,380

Editor,415

color,437changing background,415Column/Row Selection in Tables,421Compact Components

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

-in project,198Create

,153new library,270

Library Dialog,273new profile plots

New Plots Dialog,364CSV Files

output,339Profile File,374,382Tables output,482Cuboids,159collapse,166

fluxes table,493Cuboid Menu,160cuboid name table,496edit location,165

contact with an Internal Plate,182in contact with domain edge,183in contact with triangular block,180intersected by plate,182intersecting blocks,180

with angled plate,183two in contact,179

Selection Mode,217Cursors

Editor,435

Plane ihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n Visual Editor,445

/Overall Results Summary Table,493Cutouts

,105

Cutout Dialog,107

,503

SmartPart,148,236

,231Default Object Size,45Default Templates,68Delete

,266

(cut in Project Manager),53keypoints,286libraries,271,276profile,373

plots,352

Variables,400in profile plots,360Derived Variables,513Die

,501

Transport

in very slow flows,404diffusive heat flow,121Dimensionality,118Direction of Gravity,135Directory Structure,33Display

,541Options

Board,254Visual Editor,417

,109

(Drawing Board Measure),261Divergence

of problems,388

precision solver switch,393Multi Grid solutions,395

(see Sohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5lution Domain),100Domain Boundary Faces,104Double Precision Solver Switch,393DPI,438

Board,213

Board Datum Dialog,257Drawing Board Measure Dialog,261Drawing Board Picture Dialog,251FAQs,524

— D —

Files of Project,33Data Tree

Manager,37Visual Editor,422Date

in Drawing Board,265display in profile plots,380filter projects by,73in Notes,78Datum

pressure,140line, plane or point,257

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ— E —

Files,207

Assembly Dialog,156Edit Cutout Dialog,107Edit Library,271Edit Menu

Board,228in Visual Editor,428Profiles,357

Manager,51

Monitor Point Dialog,327Edit New library Dialog,273Edit Notes Dialog,77Edit Primitive Dialog,165Edit Region Dialog,170Edit Subdomain Dialog,113Edit View,231

Parts (SmartParthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s),149Email

,339

Conduction Solver,395

message details,581emn Files,202,208emp Files,202,208

Command Line Option

and LINUX,336Windows,336

Configuration

projects,199disallowed regions,199Environment Variables,91

_SEPARATOR_MAX_CACHES,462Errors

Compute Frequency,391convergence check,400messages,549

Free Convection Velocity (EFCV),

,402

Viewer,413,441Example of Applicationtemplates,67

Factors,119Expand,221

All in Drawing Board,54,231profile plots,352

,37Export

,156,201libraries,271,278profiles,374,381project,50,80,81,87External

temperature,140boundary conditions,104

.CSV definition files,382radiant temperature,140

Annotation in Profile Plots,355

— F —http://www.51wendang.com/doc/d2e52c141054f5479dae40c5

Time Steps,389calculating,403setting,402Fans

rules,184Fans Table,490FAQs,529

,391,394Field Resultsloading,111File Menu

Editor,426Files

,534

overview,33Filters

Project Dialog,73library items,271,280projects,69

Dialog for Topped Geometry,192First Angle Projection,215Fixed Flows

rules,184fixed flows table,491FLO_DOUBLEP,393

_RUN64BITSOLVER,394Floating Pointerrors,537flobatch.bat,337flogate_cl,204flotherm -env,336

Projects Disallowed,199

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

-InRegionsDisallowed,199floupdateall,71FloVolunteer

number of jobs,96maximum number of threads,96queue path,95

,

directory path,93Flow

angle auxiliary variahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ble,514,527Flow Angle Dialog,517flow direction displayed,255flow models

only,118

and heat transfer,118flow only,118

Properties,138

,124Fluid Speed,124Fly Viewer,414,441Font Sizes

,265profile plots,379

Editor display area,438

Editor node/property sheets,437Forced Convection,402Forward Search (&gt;&gt;),193Freeze Flow,396,397

,146

Editor properties,444Global Settings

ambient temperature,140global system settings

System Settings Dialog,140Global Units Dialog,86Go,331

Color in Visual Editor,437GradT,122

Display AreaVisual Editor,412Gravity,133

Dialog,133

display in Drawing Board,255vector display in Visual Editor,442Grid

ratios,290,295,308calculation order,289constraints,286

,293

://www.51wendang.com/doc/d2e52c141054f5479dae40c5 in Drawing Board,255display in Visual Editor,457Grid Constraint Dialog,292

Menu in Drawing Board,237Grid Menu in Project Manager,58Grid Summary Dialog,308interpolation,290patches,288,302

Patches Dialog,303smallest cell,309smoothing,293

grid size,295,309transient grid,310viewing,289

Project Data File,76Guage Pressure,141GUI Preferences,83

— G —

objects,178

using Drawing Board,224construction using Project Manager,153copy,188exporting,201FAQs,528

Menu in Drawing Board,236Geometry Menu in Project Manager,55Geometry Model Table,489ignored,84,157libraries,270

rules,178selection,191summary,194

User Guide, V9.1

— H —

Fluxes,120Heat Pipestable,501Heat Sinks

,282

Transfer Coefficient

ABCDEFGHIJKLMNOPQRSTUVWXYZ

://www.51wendang.com/doc/d2e52c141054f5479dae40c5changing using table cells,495Help

,63what’s this?

Editor,434

,242

assemblies,226profile lines,375profile plots,351

rows and columns,421Holes,167Hot Keys

Board view change,244grid plane plot key,457standard views,244

Color Model for Profiles,380HTC

using table cells,495

Subdomains,114

Iterations,391,402,408

,406

Directory,33

Materials Library,282Interpolation of Grid,290Interrupt

,332Inverted Tets,159Irregular Shapes,176

Plots,409,453,459

— J —

animation files,475

— K —

,109Keypoints,285transients,311

tolerance,318

— I —

of Projects,75brd Files,202

Files,208

Preferences Dialog,209

://www.51wendang.com/doc/d2e52c141054f5479dae40c5power and thermal resistance,208Ignore Geometry,157

ignored geometry,84import,202Importing

,156,201libraries,270,271,274profiles,374,381projects,80,82,87Independent Variablesin profile plots,360Initial Settings

values,108

Values Dialog,114field variables

Variables Dialog,108initial subdomains,112

in Drawing Board,254initialization of solution and solution

,60

— L —

Flow,129

of Enclosure,126Legend

plots,354Libraries,47building,273export,278import,274

Files,202,208

Load Dialog,275Library Manager Panel,47Library Search Dialog,277Library Selector Dialog,210search,277sort,278

libraries,278v3 conversion,275version 1.4 files,205

3 assembly files,205Linear Settings

axis in Profile Plots,377linear relaxation,4http://www.51wendang.com/doc/d2e52c141054f5479dae40c500

under-relaxation,390

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

pointers in Drawing Board or

Bridge,265

color in profiles,374

datum in Drawing Board,258line style in Profiles,374Link Hierarchy,85

Batch Solver,335Load

item,275project

Project Dialog,69Local Coordinates,83,151Localized Grid,286,296assemblies,157

grid tables,502primitives,167regions,172Locate

in Profiles,355assemblies,157geometry,151Lock Cut Plane,456

Axis in Profile Plot,377Logit File,338

Animation,442

Reynolds Number Flows,404LVEL

-Epsilon Turbulence Model,129,131

files,207Mean Flowstable,507

Distances

Board Measure Dialog,261Menus

bar

Editor,425

://www.51wendang.com/doc/d2e52c141054f5479dae40c5s,549

Window,63,548Min Cell Size,301

Annotation in Profile Plot,355Mode Bar in Visual Editor,432Model Orientation from North,126Modeling OptionsModel Menu,57

Dialog,118solution variables,115Modules

Editor data,437Monitor Points,325,351

for temperature,396,398display in Drawing Board,254edit location,327

at center of objects,328Monitor Point Menu,326

Point Shape Dialog,329

Points v Iteration Profile Plots,

Points v Time Profile Plots,370Monitoring Convergence,328,391Moving Objects

in Drawing Board,219Move Selected Dialog,257mpeg animation scene files,475Multi Grid,391,394damping,395

-fluid Regions,174

Selections of Geometry,39,218Visual Editor,424

— M —

(for complex geometry),148MagGradT,122Manipulator

Editor sourhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ces,466Mass Continuity

error,386

residual,405Mass Fluxes,119Materials

Visual Editor,447libraries,269library,284

Annotation in Profile Plot,355Maximum and Minimum Values,409,450MCAD

User Guide, V9.1

— N —

geometry name,40

Delimeters (Visual Editor),438Natural Convection,403

ABCDEFGHIJKLMNOPQRSTUVWXYZ

Radiant Flux,140New

,153library,271

Object Palette,41,224project

Project Dialog,67Normal Gravity,134Notes,74,77

/editing,77Number of Ticks in LegendVisual Editor,451

mode support,339Pick Mode,218

Editor,435Picture

Board,215mode,216

Regions,168,170,173display in Drawing Board,255Planar Sources,162Plane Plots,453,456grid key,457

Conduction,185Plates

conduhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ction,395Play Animations,473Plots

plots

Options pop-up menu,354Plot Parameters Dialog,372Plots Menu,361Visual Editor,453

(picture annotations),265Pop-up Menus

Board,223Profiles,354

Manager,40Visual Editor,423

Rules for Geometry,178Preferences,83

Plots,378Pressure

,140

Software Versions,71Primitives,146

location,165Printing

reports,484tables,422,484

Editor scenes,475DPI,438Prisms,159

Priority (solver),344Profile Plots

of points,355configuration,352

— O —

Axes,254

Coordinates,150Object Explorer Panel,422Object Grid Space,286,291

/Attribute Table,490,505Open Boundary,104Outer Iterations,394,397Outputting

,475snapshots,475

Editor scenes,475

://www.51wendang.com/doc/d2e52c141054f5479dae40c5 Solution Control Dialog,394Overall Solution Domain,102Overall Transient Dialog,317Overall/Cutouts Table,492Overlapping Blocks,180

Cuboid Fluxes table,495

— P —

File,89

View,246,413Visual Editor,435Parallel Solver,84Particle Tracking,462Patches

grid,288transient grid,311Patterns

Creation Dialog,188PDF

report,484PDML Files,88,204

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

,364hide,351

/title,352line style,374manipulation,351

Color Dialog,380profiles preferences,378project ID,380saving images,382smoothing,379types,375

Application Window,347Progress Messages,548Project

,76catalog,70

and sub-classes,75data files,33delete,70

,80,87ID in profile plot,380importing,80,87load,69new,67notes,70,75overview,33

http://www.51wendang.com/doc/d2e52c141054f5479dae40c5directory,33,75title,70,75,83unlock,70zoom-in,195

Attributes,154

Attributes Tree,268Project Manager,35

,521menu bar,49Project Menu

Board,228Profiles,356

Manager,49Property Sheets

Editor,411,424

exchange factorsbatch mode,334remote source,140switching on/off,119Range of Profile Plots,375

Used Library Items,268Recirculation Devicescontext rules,184table,492

Density,137Reference Temperature,136Refit,231Regions,168

,199

in Drawing Board,255Edit Region Dialog,170Region Menu,169summary table,507tables,506

-in projects,195Relative Pressure,140Relaxation (fan),394Remote Radiating Source

radiant temperature,140modeling,142

Generation,484Reset

Board view,54,231solver controls,394Residual Error,386,404

Iterathttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ion Curves v Time Profile

,369

v Time Profile Plots,367Resistances,159collapse,166

Menu,164Resizing Objects,219Restrictions

FloTHERM Zoom-In Projects,199on FloTHERM Zoom-In regions,199Results

,25

results,545display at time steps,449

a visualization plane,409

— R —

Temperature,140Radiation

radiant flux (net),140

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

,453range,450

Menu,62

v Distance Profile Plots,371transient solution,312

Editor properties,449

Algebraic Turbulence Model,129RGB Color Model for Profiles,381Rotate View,246,413

/Column Table Selection,421Rubber Band Zoom

Drawing Board,247in Visual Editor,413

Editor properties,437Shortcut Butthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ons

Board,239Profiles,363

Manager,64Simple Shapes,159Slow Flows,404

Grid Cell,301,309SmartParts,148

table,490

(display composite parts),84Smoothing the Grid,293Snap,234

grid,253snap to target,465Snapshots,475

Radiation,125primitives,168

Radiation Dialog,125solar vector display,255,442solexe,344

Conductors Summary Table,496Solid Conductors Tables,488Solution

,33initialize

Set Dialog,111process,385priority,344profile plots

interval,379solution safety saves,86solution type,119variables,109Solution Domaindefining,100

in Drawing Board,254display in Visual Editor,449grid constraints,110

constraints (smoothing),293overall boundary,102Solve

,332

,331

— S —

Check

window,548Save://www.51wendang.com/doc/d2e52c141054f5479dae40c5arscene,418animation settings,426animation state,426Save Project Dialog,74Sc,122

Fields

Editor properties,450Scale of Profile Plot,375Screen

,382Search,52

,191libraries,271,277

Axis of Profile Plot,376Segregated Conjugate Residual,394Segregated Solver Option,394Select All,156Select View,231

View Dialog,243Selection

Board objects,218mode in Visual Editor,412problems,544

Manager objects,39Select All,40,191

rows and columns,421Selection Linking and Tables,485activating,438

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

Menu,59Solver

options,388,394email on completion,339grid display,255

/continue,332parallel solver,84

solution controls,394Solver Progress Dialog,61,331start,331stop,332

Libraries,27http://www.51wendang.com/doc/d2e52c141054f5479dae40c51,278source setup,336Sources,159

,166

direction in Drawing Board,255source for particles,464Source Menu,163Speed of Air,124Spin Animations,413Stagger,85

values in tables,512

View in Drawing Board,243Start

,331

a previous solution set,110starting FloTHERM problems,547Starter Libraries,278Stationary Flow,118Steady Solution

plots,364Stop

run using stopnow,338solution,62Store

field,392,396values,397heat fluxes,120mass fluxes,119

temperature,121Stratification,132

-Class of Project,75Subdomains,112edit location,113initial values,114

Menu,113

Over-relaxation (SOR),400Summary Dialog (for geometry),194

Values (for output regions),168Sun (effects of),125Surface Temperaturecalculation,121

values,409,461plots in Visual Editor,461http://www.51wendang.com/doc/d2e52c141054f5479dae40c5store,121

Axes of Profile Plots,372

Color Model for Profiles,380Symmetry Boundary,104System

,83,150

display,254grid

constraints,293System Grid Dialog,293System Menu,100

— T —

,419

data,504batch mode output,334CSV output,482geometry data,487grid data,502localized grid,502regions,506results data,507

/column selection,421selection linking,438summary report,484TEC

,501Temperature

error,387solution control,404termination residual,406transient variations,141Templates,67deleting,77saving,75

Residual,386,402setting,404

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

,159

Annotation,265Textures,415,447

Angle of Projection,215Three Dimensional Analysis,118Time

,265

in profile plot,38http://www.51wendang.com/doc/d2e52c141054f5479dae40c50grid tables,502in notes,78steps

display,449time steps,311,318

Step Distribution Plot,322Title

plot,372

before loading project,70setting,75Title Bar,36

Editor display color,438Toggle Snap,234Toolbars

Manager,64Visual Editor,432Tools Menu

Board,232Top,54,222,225,231Total Pressure,514,527

Pressure Dialog,516

Geometry from Library to Project,

Grid,311keypoints,311table,504

Grid Data Dialog,323Transient Solution Dialog,316Transient Solution

Command Center,343in stages,342period,310

plots,364

display at selected time step,449results stored,312total time,310,317validity checking,344

Solution dialogSave Times frame,320

Time Patches frame,318Turbulence,128

Dialog,129TurbVis,110

://www.51wendang.com/doc/d2e52c141054f5479dae40c5rTwo Dimensional Analysis,118Type of Solution,118

— U —

Velocity,124Under-relaxation

any variable,400Units,86

Editor properties,438Unlock Cut Plane,456Unlock Project,70Unpack File,88Up Direction,247Update

update interval,379Upwind Principle,121

Preferences Dialog,83Username Project Filter,73

— V —

Velocity,124Variables,109

variables,513Bn,122Density,110DissTurb,109

,108,114KETurb,109MagGradT,122Pressure,109

plot display,373range,376Sc,122

types,115Temperature,110TurbVis,110

Solution Control Dialog,401XGradT,122XVelocity,109YGradT,122

User Guide, V9.1

ABCDEFGHIJKLMNOPQRSTUVWXYZ

,109ZGradT,122ZVelocity,109Vector Plots,454

fields range,452Velocities

error,387solution control,403Version

://www.51wendang.com/doc/d2e52c141054f5479dae40c5r1.4 Library Files,2051.4 Project,882 Project,813 Project,88

.x Library Files,271,275Video Compression,475View Changing

Board,242

View Dialog,243View From,248

Set Up Dialog,247View To,248View Up,247view reset,226

the Grid,289Visual Editor,430

manipulation mode,218,412View Menu

Board,231Profiles,358

Manager,53View Stagger,85

on Results Table,512Viewer

in Visual Editor,441Visual Editor properties,439Viewpoints

Editor properties,442Visual Editor,410

animations,426,472cursors,435

view,419display modes,417FAQs,524

animation frames,475printing tables,484

,410

modes,412

viewer,412Visualize SmartParts,84Volume Regions,168

in Drawing Board,255Volumetric Expansivity,136

— W —

http://www.51wendang.com/doc/d2e52c141054f5479dae40c5Velocity,124Walk Mode,414Warning

,548What’s This?

Editor,434Window

Menu,63Work Plane,251

— X —

Distance (Drawing Board Measure),262XML

Examples,207

File Types,205

a Geometry File,203Importing a Project File,88Schema Documentation,206

— Y —

Distance (Drawing Board Measure),262

— Z —

Distance (Drawing Board Measure),262Zoom

Board view,246Visual Editor view,413,435zoom-in project,195

User Guide, V9.1599

[此处图片未下载成功]

ABCDEFGHIJKLMNOPQRSTUVWXYZ

FloTHERM User Guide, V9.1

Third-PartyInformation

section provides information on open source and third-party software that may be included in the FloTHERM product. ThissoftwareapplicationmayincludeXercesC  version3.0.1third-partysoftware.XercesC  version3.0.1isdistributedunderthetermsofthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5heApacheLicenseversion2.0andisdistributedonan&quot;ASIS&quot;basis,WITHOUTWARRANTYOFANYKIND,eitherexpressorimplied.Seethelicenseforthespecificlanguagegoverningrightsandlimitationsunderthelicense.Youcanviewacopyofthelicenseat:&lt;install_dir&gt;_&lt;version&gt;_2.0.pdf.

.0third-partysoftware,whichisdistributedonan&quot;ASIS&quot;basis,WITHOUTWARRANTYOFANYKIND,eitherexpressorimplied.Zipversion3.0maybesubjecttothefollowinglicense:

&#169; 1990-2007 Info-ZIP.  All rights reserved.

the purposes of this copyright and license, &quot;Info-ZIP&quot; is defined as the following set of individuals:

,JohnBush,KarlDavis,HaraldDenker,Jean-MichelDubois,Jean-loupGailly,HunterGoatley,EdGordon,IanGorman,ChrisHerborth,DirkHaase,GregHartwig,RobertHeath,JonathanHudson,PaulKienitz,DavidKirschbaum,JohnnyLee,OnnovanderLinden,IgorMhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5andrichenko,SteveP.Miller,SergioMonesi,KeithOwens,GeorgePetrov,GregRoelofs,KaiUweRommel,SteveSalisbury,DaveSmith,StevenM.Schweda,Christian Spieler, Cosmin Truta, Antoine Verheijen, Paul von Behren, Rich Wales, Mike White.

&quot;asis,&quot;withoutwarrantyofanykind,expressorimplied.InnoeventshallInfo-ZIPoritscontributorsbeheldliableforanydirect,indirect,incidental,specialorconsequentialdamagesarisingoutoftheuseoforinability to use this software.

,includingcommercialapplications,andtoalteritand redistribute it freely, subject to the above disclaimer and the following restrictions:

.

.Redistributionsofsourcecode(inwholeorinpart)mustretaintheabovecopyrightnotice,definition,disclaimer,andthis list of conditions.Redistributionsinbinaryform(compiledexecutablesandlibraries)mustreproducetheabovecopyrightnotice,definition,disclaimer,andthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hislistofconditionsindocumentationand/orothermaterialsprovidedwiththedistribution.ThesoleexceptiontothisconditionisredistributionofastandardUnZipSFXbinary(includingSFXWiz)aspartofaself-extractingarchive;thatispermittedwithoutinclusionofthislicense,aslongasthenormalSFX banner has not been removed from the binary or disabled.

--including,butnotlimitedto,portstonewoperatingsystems,existingportswithnewgraphicalinterfaces,versionswithmodifiedoraddedfunctionality,anddynamic,shared,orstaticlibraryversionsnotfromInfo-ZIP--mustbeplainlymarkedassuchandmustnotbemisrepresentedasbeingtheoriginalsourceor,ifbinaries,compiledfromtheoriginalsource.SuchalteredversionsalsomustnotbemisrepresentedasbeingInfo-ZIPreleases--including,butnotlimitedto,labelingofthealteredversionswiththenames&quot;Info-ZIP&quot;(oranyvariationthereof,including,butnotlimitedto,differentcapitalizations),&quot;PocketUnZip,&quot;&quot;WiZ&quot;or&quot;MacZip&http://www.51wendang.com/doc/d2e52c141054f5479dae40c5quot;withouttheexplicitpermissionofInfo-ZIP.SuchalteredversionsarefurtherprohibitedfrommisrepresentativeuseoftheZip-BugsorInfo-ZIPe-mailaddressesortheInfo-ZIPURL(s),suchastoimplyInfo-ZIPwillprovidesupportforthealteredversions.

-ZIPretainstherighttousethenames&quot;Info-ZIP,&quot;&quot;Zip,&quot;&quot;UnZip,&quot;&quot;UnZipSFX,&quot;&quot;WiZ,&quot;&quot;PocketUnZip,&quot;&quot;Pocket Zip,&quot; and &quot;MacZip&quot; for its own source and binary releases. 3.4.

ThissoftwareapplicationmayincludeUnzipversion6.0third-partysoftware,whichisdistributedonan&quot;ASIS&quot;basis,WITHOUTWARRANTYOFANYKIND,eitherexpressorimplied.Unzipversion6.0maybesubjecttothefollowingcopyright and license:

&#169; 1990-2009 Info-ZIP.  All rights reserved.

the purposes of this copyright and license, &quot;Info-ZIP&quot; is defined as the following set of individuals:

MarkAdler,JohnBush,KarlDavis,HaraldDenker,Jean-Mhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ichelDubois,Jean-loupGailly,HunterGoatley,EdGordon,IanGorman,ChrisHerborth,DirkHaase,GregHartwig,RobertHeath,JonathanHudson,PaulKienitz,DavidKirschbaum,JohnnyLee,OnnovanderLinden,IgorMandrichenko,SteveP.Miller,SergioMonesi,KeithOwens,GeorgePetrov,GregRoelofs,KaiUweRommel,SteveSalisbury,DaveSmith,StevenM.Schweda,Christian Spieler, Cosmin Truta, Antoine Verheijen, Paul von Behren, Rich Wales, Mike White.

&quot;asis,&quot;withoutwarrantyofanykind,expressorimplied.InnoeventshallInfo-ZIPoritscontributorsbeheldliableforanydirect,indirect,incidental,specialorconsequentialdamagesarisingoutoftheuseoforinability to use this software.

,includingcommercialapplications,andtoalteritand redistribute it freely, subject to the above disclaimer and the following restrictions:

.

.Redistributionsofsourcecode(inwholeorinpart)mustretaintheabovecopyhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5rightnotice,definition,disclaimer,andthis list of conditions.Redistributionsinbinaryform(compiledexecutablesandlibraries)mustreproducetheabovecopyrightnotice,

,disclaimer,andthislistofconditionsindocumentationand/orothermaterialsprovidedwiththedistribution.Additionaldocumentationisnotneededforexecutableswhereacommandlinelicenseoptionprovidestheseandanoteregardingthisoptionisintheexecutable'sstartupbanner.ThesoleexceptiontothisconditionisredistributionofastandardUnZipSFXbinary(includingSFXWiz)aspartofaself-extractingarchive;thatispermittedwithoutinclusionofthislicense,aslongasthenormalSFXbannerhasnotbeenremovedfromthebinaryor disabled.

--including,butnotlimitedto,portstonewoperatingsystems,existingportswithnewgraphicalinterfaces,versionswithmodifiedoraddedfunctionality,anddynamic,shared,orstaticlibraryversionsnotfromInfo-ZIP--mustbeplainlymarkedassuchandmustnotbemisrepresentedasbeingtheoriginalsohttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5urceor,ifbinaries,compiledfromtheoriginalsource.SuchalteredversionsalsomustnotbemisrepresentedasbeingInfo-ZIPreleases--including,butnotlimitedto,labelingofthealteredversionswiththenames&quot;Info-ZIP&quot;(oranyvariationthereof,including,butnotlimitedto,differentcapitalizations),&quot;PocketUnZip,&quot;&quot;WiZ&quot;or&quot;MacZip&quot;withouttheexplicitpermissionofInfo-ZIP.SuchalteredversionsarefurtherprohibitedfrommisrepresentativeuseoftheZip-BugsorInfo-ZIPe-mailaddressesortheInfo-ZIPURL(s),suchastoimplyInfo-ZIPwillprovidesupportforthealteredversions.

-ZIPretainstherighttousethenames&quot;Info-ZIP,&quot;&quot;Zip,&quot;&quot;UnZip,&quot;&quot;UnZipSFX,&quot;&quot;WiZ,&quot;&quot;PocketUnZip,&quot;&quot;Pocket Zip,&quot; and &quot;MacZip&quot; for its own source and binary releases.3.4.

End-UserLicenseAgreement

latest version of the End-User License Agreement is available on-line at:http://www.51wendahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ng.com/eula

-USER LICENSE AGREEMENT (“Agreement”)

(asdefinedinSection2)betweenthecompanyacquiringthelicense(“Customer”),andtheMentorGraphicsentitythatissuedthecorrespondingquotationor,ifnoquotationwasissued,theapplicablelocalMentorGraphicsentity(“MentorGraphics”).ExceptforlicenseagreementsrelatedtothesubjectmatterofthislicenseagreementwhicharephysicallysignedbyCustomerandanauthorizedrepresentativeofMentorGraphics,thisAgreementandtheapplicablequotationcontaintheparties'entireunderstandingrelatingtothesubjectmatterandsupersedeallpriororcontemporaneousagreements.IfCustomerdoesnotagreetothesetermsandconditions,promptlyreturnor,ifreceivedelectronically,certifydestructionofSoftwareandallaccompanyingitemswithinfivedaysafterreceiptofSoftwareandreceiveafullrefund of any license fee paid.

.ORDERS, FEES AND PAYMENT.

.1.TotheextentCustomer(orifandasagreedbyMentorGraphttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hics,Customer’sappointedthirdpartybuyingagent)placesandMentorGraphicsacceptspurchaseorderspursuanttothisAgreement(“Order(s)”),eachOrderwillconstituteacontractbetweenCustomerandMentorGraphics,whichshallbegovernedsolelyandexclusivelybythetermsandconditionsofthisAgreement,anyapplicableaddendaandtheapplicablequotation,whetherornotthesedocumentsarereferencedontheOrder.AnyadditionalorconflictingtermsandconditionsappearingonanOrderwillnotbeeffectiveunlessagreedinwriting by an authorized representative of Customer and Mentor Graphics.

.2.Amountsinvoicedwillbepaid,inthecurrencyspecifiedontheapplicableinvoice,within30daysfromthedateofsuchinvoice.Anypastdueinvoiceswillbesubjecttotheimpositionofinterestchargesintheamountofoneandone-halfpercentpermonthortheapplicablelegalratecurrentlyineffect,whicheverislower.Pricesdonotincludefreight,insurance,customsduties,taxesorothersimilarcharges,whichMentorGraphicswillinvoiceseparately.Unlessprovidehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5dwithacertificateofexemption,MentorGraphicswillinvoiceCustomerforallapplicabletaxes.Customerwillmakeallpaymentsfreeandclearof,andwithoutreductionfor,anywithholdingorothertaxes;anysuchtaxesimposedonpaymentsbyCustomerhereunderwillbeCustomer’ssoleresponsibility.Notwithstandinganythingtothecontrary,ifCustomerappointsathirdpartytoplacepurchaseordersand/ormakepaymentsonCustomer’sbehalf,Customershallbeliableforpayment under such orders in the event of default by the third party.

.3.AllproductsaredeliveredFCAfactory(Incoterms2000)exceptSoftwaredeliveredelectronically,whichshallbedeemeddeliveredwhenmadeavailabletoCustomerfordownload.MentorGraphicsretainsasecurityinterestinallproductsdeliveredunderthisAgreement,tosecurepaymentofthepurchasepriceofsuchproducts,andCustomeragreestosignanydocumentsthatMentorGraphicsdeterminestobenecessaryorconvenientforuseinfilingorperfectingsuchsecurityinterest.MentorGraphics’deliveryofSoftwarebyelectronichttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5meansissubjecttoCustomer’sprovisionofbothaprimaryand an alternate e-mail address.

.GRANTOFLICENSE.Thesoftwareinstalled,downloaded,orotherwiseacquiredbyCustomerunderthisAgreement,includinganyupdates,modifications,revisions,copies,documentationanddesigndata(“Software”)arecopyrighted,tradesecretandconfidentialinformationofMentorGraphicsoritslicensors,whomaintainexclusivetitletoallSoftwareandretainallrightsnotexpresslygrantedbythisAgreement.MentorGraphicsgrantstoCustomer,subjecttopaymentofapplicablelicensefees,anontransferable,nonexclusivelicensetouseSoftwaresolely:(a)inmachine-readable,object-codeform;(b)forCustomer’sinternalbusinesspurposes;(c)fortheterm;and(d)onthecomputerhardwareandatthesiteauthorizedbyMentorGraphics.Asiteisrestrictedtoaone-halfmile(800meter)radius.CustomermayhaveSoftwaretemporarilyusedbyanemployeefortelecommutingpurposesfromlocationsotherthanaCustomeroffice,suchastheemployee'sresidence,anairportorhotel,provihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5dedthatsuchemployee'sprimaryplaceofemploymentisthesitewheretheSoftwareisauthorizedforuse.MentorGraphics’standardpoliciesandprograms,whichvarydependingonSoftware,licensefeespaidorservicespurchased,applytothefollowing:(a)relocationofSoftware;(b)useofSoftware,whichmaybelimited,forexample,toexecutionofasinglesessionbyasingleuserontheauthorizedhardwareorforarestrictedperiodoftime(suchlimitationsmaybetechnicallyimplementedthroughtheuseofauthorizationcodesorsimilardevices);and(c)supportservicesprovided,includingeligibilitytoreceivetelephonesupport,updates,modifications,andrevisions.Fortheavoidanceofdoubt,ifCustomerrequestsanychangeorenhancementtoSoftware,whetherinthecourseofreceivingsupportorconsultingservices,evaluatingSoftwareor

[此处图片未下载成功]

otherwise,anyinventions,productimprovements,modificationsordevelopmentsmadebyMentorGraphics(atMentorGraphics’ sole discretion) will be the exclusive property of Mentor Graphics.

://www.51wendang.com/doc/d2e52c141054f5479dae40c5ar3.ESCSOFTWARE.IfCustomerpurchasesalicensetousedevelopmentorprototypingtoolsofMentorGraphics’EmbeddedSoftwareChannel(“ESC”),MentorGraphicsgrantstoCustomeranontransferable,nonexclusivelicensetoreproduceanddistributeexecutablefilescreatedusingESCcompilers,includingtheESCrun-timelibrariesdistributedwithESCCandC  compilerSoftwarethatarelinkedintoacompositeprogramasanintegralpartofCustomer’scompiledcomputerprogram,providedthatCustomerdistributesthesefilesonlyinconjunctionwithCustomer’scompiledcomputerprogram.MentorGraphicsdoesNOTgrantCustomeranyrighttoduplicate,incorporateorembedcopiesofMentorGraphics’real-timeoperatingsystemsorotherembeddedsoftwareproductsintoCustomer’sproductsorapplicationswithoutfirstsigningorotherwiseagreeing to a separate agreement with Mentor Graphics for such purpose.

CODE.

.1.PortionsorallofcertainSoftwaremaycontaincodeforexperimentaltestingandevaluation(“BetaCode”),whichmaynotbeusedwithoutMenhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5torGraphics’explicitauthorization.UponMentorGraphics’authorization,MentorGraphicsgrantstoCustomeratemporary,nontransferable,nonexclusivelicenseforexperimentalusetotestandevaluatetheBetaCodewithoutchargeforalimitedperiodoftimespecifiedbyMentorGraphics.ThisgrantandCustomer’suseoftheBetaCodeshallnotbeconstruedasmarketingorofferingtosellalicensetotheBetaCode,whichMentorGraphicsmaychoosenottorelease commercially in any form.

.2.IfMentorGraphicsauthorizesCustomertousetheBetaCode,CustomeragreestoevaluateandtesttheBetaCodeundernormalconditionsasdirectedbyMentorGraphics.CustomerwillcontactMentorGraphicsperiodicallyduringCustomer’suseoftheBetaCodetodiscussanymalfunctionsorsuggestedimprovements.UponcompletionofCustomer’sevaluationandtesting,CustomerwillsendtoMentorGraphicsawrittenevaluationoftheBetaCode,includingitsstrengths,weaknesses and recommended improvements.

.3.Customeragreesthatanywrittenevaluationsandallinventions,produhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5ctimprovements,modificationsordevelopmentsthatMentorGraphicsconceivedormadeduringorsubsequenttothisAgreement,includingthosebasedpartlyorwhollyonCustomer’sfeedback,willbetheexclusivepropertyofMentorGraphics.MentorGraphicswillhaveexclusiverights,titleand interest in all such property. The provisions of this Subsection 4.3 shall survive termination of this Agreement.

.RESTRICTIONS ON USE.

.1.CustomermaycopySoftwareonlyasreasonablynecessarytosupporttheauthorizeduse.EachcopymustincludeallnoticesandlegendsembeddedinSoftwareandaffixedtoitsmediumandcontainerasreceivedfromMentorGraphics.AllcopiesshallremainthepropertyofMentorGraphicsoritslicensors.CustomershallmaintainarecordofthenumberandprimarylocationofallcopiesofSoftware,includingcopiesmergedwithothersoftware,andshallmakethoserecordsavailabletoMentorGraphicsuponrequest.CustomershallnotmakeSoftwareavailableinanyformtoanypersonotherthanCustomer’semployeesandon-sitecontractorhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5s,excludingMentorGraphicscompetitors,whosejobperformancerequiresaccessandwhoareunderobligationsofconfidentiality.CustomershalltakeappropriateactiontoprotecttheconfidentialityofSoftwareandensurethatanypersonpermittedaccessdoesnotdiscloseoruseitexceptaspermittedbythisAgreement.Logfiles,datafiles,rulefilesandscriptfilesgeneratedbyorfortheSoftware(collectively“Files”)constituteand/orincludeconfidentialinformationofMentorGraphics.CustomermayshareFileswiththirdpartiesexcludingMentorGraphicscompetitorsprovidedthattheconfidentialityofsuchFilesisprotectedbywrittenagreementatleastaswellasCustomerprotectsotherinformationofasimilarnatureorimportance,butinanycasewithatleastreasonablecare.StandardVerificationRuleFormat(“SVRF”)andTclVerificationFormat(“TVF”)meanMentorGraphics’proprietarysyntaxesforexpressingprocessrules.CustomermayuseFilescontainingSVRForTVFonlywithMentorGraphicsproducts.UndernocircumstancesshallCustomeruseSoftwareorallowitsuseforthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hepurposeofdeveloping,enhancingormarketinganyproductthatisinanywaycompetitivewithSoftware,ordisclosetoanythirdpartytheresultsof,orinformationpertainingto,anybenchmark.Exceptasotherwisepermittedforpurposesofinteroperabilityasspecifiedbyapplicableandmandatorylocallaw,Customershallnotreverse-assemble,reverse-compile,reverse-engineer or in any way derive from Software any source code.

.2.Customermaynotsublicense,assignorotherwisetransferSoftware,thisAgreementortherightsunderit,whetherbyoperationoflaworotherwise(“attemptedtransfer”),withoutMentorGraphics’priorwrittenconsentandpaymentofMentorGraphics’then-currentapplicabletransfercharges.AnyattemptedtransferwithoutMentorGraphics’priorwrittenconsentshallbeamaterialbreachofthisAgreementandmay,atMentorGraphics’option,resultintheimmediateterminationoftheAgreementandlicensesgrantedunderthisAgreement.ThetermsofthisAgreement,includingwithoutlimitationthelicensingandassignmentprovisions,shhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5allbebindinguponCustomer’spermittedsuccessorsininterestandassigns.

.3.The provisions of this Section 5 shall survive the termination of this Agreement.

.SUPPORTSERVICES.TotheextentCustomerpurchasessupportservicesforSoftware,MentorGraphicswillprovideCustomerwithavailableupdatesandtechnicalsupportfortheSoftwarewhicharemadegenerallyavailablebyMentorGraphicsaspartofsuchservicesinaccordancewithMentorGraphics’thencurrentEnd-UserSoftwareSupportTermslocatedathttp://www.51wendang.com/about/legal/.4.

7.LIMITED WARRANTY.

.1.MentorGraphicswarrantsthatduringthewarrantyperioditsstandard,generallysupportedSoftware,whenproperlyinstalled,willsubstantiallyconformtothefunctionalspecificationssetforthintheapplicableusermanual.MentorGraphicsdoesnotwarrantthatSoftwarewillmeetCustomer’srequirementsorthatoperationofSoftwarewillbeuninterruptedorerrorfree.Thewarrantyperiodis90daysstartingonthe15thdayafterdeliveryoruponinstallahttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tion,whicheverfirstoccurs.CustomermustnotifyMentorGraphicsinwritingofanynonconformitywithinthewarrantyperiod.Fortheavoidanceofdoubt,thiswarrantyappliesonlytotheinitialshipmentofSoftwareundertheapplicableOrderanddoesnotreneworreset,bywayofexample,withthedeliveryof(a)Softwareupdatesor(b)authorizationcodesoralternateSoftwareunderatransactioninvolvingSoftwarere-mix.ThiswarrantyshallnotbevalidifSoftwarehasbeensubjecttomisuse,unauthorizedmodificationorimproperinstallation.MENTORGRAPHICS’ENTIRELIABILITYANDCUSTOMER’SEXCLUSIVEREMEDYSHALLBE,ATMENTORGRAPHICS’OPTION,EITHER(A)REFUNDOFTHEPRICEPAIDUPONRETURNOFSOFTWARETOMENTORGRAPHICSOR(B)MODIFICATIONORREPLACEMENTOFSOFTWARETHATDOESNOTMEETTHISLIMITEDWARRANTY,PROVIDEDCUSTOMERHASOTHERWISECOMPLIEDWITHTHISAGREEMENT.MENTORGRAPHICSMAKESNOWARRANTIESWITHRESPECTTO:(A)SERVICES;(B)SOFTWAREWHICHISLICENSEDATNOCOST;OR(C)BETA CODE; ALL OF WHICH ARE PROVIDED “AS IS.”

.2.THEWARRANTIESSETFORTHINTHISSECTION7AREhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5EXCLUSIVE.NEITHERMENTORGRAPHICSNORITSLICENSORSMAKEANYOTHERWARRANTIESEXPRESS,IMPLIEDORSTATUTORY,WITHRESPECTTOSOFTWAREOROTHERMATERIALPROVIDEDUNDERTHISAGREEMENT.MENTORGRAPHICSANDITSLICENSORSSPECIFICALLYDISCLAIMALLIMPLIEDWARRANTIESOFMERCHANTABILITY,FITNESSFORA PARTICULAR PURPOSE AND NON-INFRINGEMENT OF INTELLECTUAL PROPERTY.

.LIMITATIONOFLIABILITY.EXCEPTWHERETHISEXCLUSIONORRESTRICTIONOFLIABILITYWOULDBEVOIDORINEFFECTIVEUNDERAPPLICABLELAW,INNOEVENTSHALLMENTORGRAPHICSORITSLICENSORSBELIABLEFORINDIRECT,SPECIAL,INCIDENTAL,ORCONSEQUENTIALDAMAGES(INCLUDINGLOSTPROFITSORSAVINGS)WHETHERBASEDONCONTRACT,TORTORANYOTHERLEGALTHEORY,EVENIFMENTORGRAPHICSORITSLICENSORSHAVEBEENADVISEDOFTHEPOSSIBILITYOFSUCHDAMAGES.INNOEVENTSHALLMENTORGRAPHICS’ORITSLICENSORS’LIABILITYUNDERTHISAGREEMENTEXCEEDTHEAMOUNTPAIDBYCUSTOMERFORTHESOFTWAREORSERVICEGIVINGRISETOTHECLAIM.INTHECASEWHERENOAMOUNTWASPAID,MENTORGRAPHICSANDITSLICENSORSSHALLHAVENOLIABILITYFORANYDAMAGESWHAThttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5SOEVER.THEPROVISIONSOFTHISSECTION8SHALLSURVIVETHETERMINATION OF THIS AGREEMENT.

.NEITHERMENTORGRAPHICSNORITSLICENSORSSHALLBELIABLEFORANYDAMAGESRESULTINGFROMORINCONNECTIONWITHTHEUSEOFSOFTWAREINANYAPPLICATIONWHERETHEFAILUREORINACCURACYOFTHESOFTWAREMIGHTRESULTINDEATHORPERSONALINJURY.THEPROVISIONSOFTHISSECTION9SHALLSURVIVETHETERMINATIONOFTHISAGREEMENT.9.

.INDEMNIFICATION.CUSTOMERAGREESTOINDEMNIFYANDHOLDHARMLESSMENTORGRAPHICSANDITSLICENSORSFROMANYCLAIMS,LOSS,COST,DAMAGE,EXPENSEORLIABILITY,INCLUDINGATTORNEYS’FEES,ARISINGOUTOFORINCONNECTIONWITHCUSTOMER’SUSEOFSOFTWAREASDESCRIBEDINSECTION9.THEPROVISIONSOFTHISSECTION10SHALLSURVIVETHETERMINATIONOFTHIS AGREEMENT.

.INFRINGEMENT.

.1.MentorGraphicswilldefendorsettle,atitsoptionandexpense,anyactionbroughtagainstCustomerintheUnitedStates,Canada,Japan,ormemberstateoftheEuropeanUnionwhichallegesthatanystandard,generallysupportedSoftwareproduchttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5tinfringesapatentorcopyrightormisappropriatesatradesecretinsuchjurisdiction.MentorGraphicswillpayanycostsanddamagesfinallyawardedagainstCustomerthatareattributabletotheaction.CustomerunderstandsandagreesthatasconditionstoMentorGraphics’obligationsunderthissectionCustomermust:(a)notifyMentorGraphicspromptlyinwritingoftheaction;(b)provideMentorGraphicsallreasonableinformationandassistancetosettleordefendtheaction; and (c)grant Mentor Graphics sole authority and control of the defense or settlement of the action.

.2.IfaclaimismadeunderSubsection11.1MentorGraphicsmay,atitsoptionandexpense,(a)replaceormodifySoftwaresothatitbecomesnoninfringing,or(b)procureforCustomertherighttocontinueusingSoftware,or(c)requirethereturnofSoftware and refund to Customer any license fee paid, less a reasonable allowance for use.

.3.MentorGraphicshasnoliabilitytoCustomeriftheclaimisbasedupon:(a)thecombinationofSoftwarewithanyproductnotfurnishttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hedbyMentorGraphics;(b)themodificationofSoftwareotherthanbyMentorGraphics;(c)theuseofotherthanacurrentunalteredreleaseofSoftware;(d)theuseofSoftwareaspartofaninfringingprocess;(e)aproductthatCustomermakes,uses,orsells;(f)anyBetaCode;(g)anySoftwareprovidedbyMentorGraphics’licensorswhodonotprovidesuchindemnificationtoMentorGraphics’customers;or(h)infringementbyCustomerthatisdeemedwillful.Inthecaseof(h),Customer shall reimburse Mentor Graphics for its reasonable attorney fees and other costs related to the action.

.4.THISSECTIONISSUBJECTTOSECTION8ABOVEANDSTATESTHEENTIRELIABILITYOFMENTORGRAPHICSANDITSLICENSORSANDCUSTOMER’SSOLEANDEXCLUSIVEREMEDYWITHRESPECTTOANYALLEGEDPATENTORCOPYRIGHTINFRINGEMENTORTRADESECRETMISAPPROPRIATIONBYANY SOFTWARE LICENSED UNDER THIS AGREEMENT.

12.TERM.

.1.ThisAgreementremainseffectiveuntilexpirationortermination.ThisAgreementwillimmediatelyterminateuponnoticeifyouexceedthescopeoflicensehttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5grantedorotherwisefailtocomplywiththeprovisionsofSections2,3,or5.ForanyothermaterialbreachunderthisAgreement,MentorGraphicsmayterminatethisAgreementupon30dayswrittennoticeifyouareinmaterialbreachandfailtocuresuchbreachwithinthe30daynoticeperiod.IfaSoftwarelicensewasprovidedfor limited term use, such license will automatically terminate at the end of the authorized term.

.2.MentorGraphicsmayterminatethisAgreementimmediatelyuponnoticeintheeventCustomerisinsolventorsubjecttoapetitionfor(a)theappointmentofanadministrator,receiverorsimilarappointee;or(b)windingup,dissolutionorbankruptcy.

.3.UponterminationofthisAgreementoranySoftwarelicenseunderthisAgreement,CustomershallensurethatalluseoftheaffectedSoftwareceases,andshallreturnittoMentorGraphicsorcertifyitsdeletionanddestruction,includingallcopies,to Mentor Graphics’ reasonable satisfaction.

.4.TerminationofthisAgreementoranySoftwarelicensegrantedhereunderwillnhttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5otaffectCustomer’sobligationtopayforproductsshippedorlicensesgrantedpriortothetermination,whichamountsshallimmediatelybepayableatthedateoftermination.

.EXPORT.SoftwareissubjecttoregulationbylocallawsandUnitedStatesgovernmentagencies,whichprohibitexportordiversionofcertainproducts,informationabouttheproducts,anddirectproductsoftheproductstocertaincountriesandcertainpersons.CustomeragreesthatitwillnotexportSoftwareoradirectproductofSoftwareinanymannerwithoutfirstobtainingall necessary approval from appropriate local and United States government agencies.

.U.S.GOVERNMENTLICENSERIGHTS.Softwarewasdevelopedentirelyatprivateexpense.AllSoftwareiscommercialcomputersoftwarewithinthemeaningoftheapplicableacquisitionregulations.Accordingly,pursuanttoUSFAR48CFR12.212andDFAR48CFR227.7202,use,duplicationanddisclosureoftheSoftwarebyorfortheU.S.GovernmentoraU.S.Governmentsubcontractorissubjectsolelytothetermsandconditionssetforthinthttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5hisAgreement,exceptforprovisionswhichare contrary to applicable mandatory federal laws.

.THIRDPARTYBENEFICIARY.MentorGraphicsCorporation,MentorGraphics(Ireland)Limited,MicrosoftCorporationand other licensors may be third party beneficiaries of this Agreement with the right to enforce the obligations set forth herein.

.REVIEWOFLICENSEUSAGE.CustomerwillmonitortheaccesstoanduseofSoftware.WithpriorwrittennoticeandduringCustomer’snormalbusinesshours,MentorGraphicsmayengageaninternationallyrecognizedaccountingfirmtoreviewCustomer’ssoftwaremonitoringsystemandrecordsdeemedrelevantbytheinternationallyrecognizedaccountingfirmtoconfirmCustomer’scompliancewiththetermsofthisAgreementorU.S.orotherlocalexportlaws.SuchreviewmayincludeFLEXlmorFLEXnet(orsuccessorproduct)reportlogfilesthatCustomershallcaptureandprovideatMentorGraphics’request.Customershallmakerecordsavailableinelectronicformatandshallfullycooperatewithdatagatheringtoshttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5upportthelicensereview.MentorGraphicsshallbeartheexpenseofanysuchreviewunlessamaterialnon-complianceisrevealed.MentorGraphicsshalltreatasconfidentialinformationallinformationgainedasaresultofanyrequestorreviewandshallonlyuseordisclosesuchinformationasrequiredbylawortoenforceitsrightsunderthisAgreement.Theprovisionsofthissectionshallsurvive the termination of this Agreement.

.CONTROLLINGLAW,JURISDICTIONANDDISPUTERESOLUTION.TheownersoftheMentorGraphicsintellectualpropertyrightslicensedunderthisAgreementarelocatedinIrelandandtheUnitedStates.Topromoteconsistencyaroundtheworld,disputesshallberesolvedasfollows:ThisAgreementshallbegovernedbyandconstruedunderthelawsoftheStateofOregon,USA,ifCustomerislocatedinNorthorSouthAmerica,andthelawsofIrelandifCustomerislocatedoutsideofNorthorSouthAmerica.AlldisputesarisingoutoforinrelationtothisAgreementshallbesubmittedtotheexclusivejurisdictionofPortland,OregonwhenthelawsofOregonapply,orDublihttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5n,IrelandwhenthelawsofIrelandapply.Notwithstandingtheforegoing,alldisputesinAsia(exceptforJapan)arisingoutoforinrelationtothisAgreementshallberesolvedbyarbitrationinSingaporebeforeasinglearbitratortobeappointedbytheChairmanoftheSingaporeInternationalArbitrationCentre(“SIAC”)tobeconductedintheEnglishlanguage,inaccordancewiththeArbitrationRulesoftheSIACineffectatthetimeofthedispute,whichrulesaredeemedtobeincorporatedbyreferenceinthissection.ThissectionshallnotrestrictMentorGraphics’righttobringanactionagainstCustomerinthejurisdictionwhereCustomer’splaceofbusinessislocated.TheUnitedNationsConvention on Contracts for the International Sale of Goods does not apply to this Agreement.

.SEVERABILITY.IfanyprovisionofthisAgreementisheldbyacourtofcompetentjurisdictiontobevoid,invalid,unenforceableorillegal,suchprovisionshallbeseveredfromthisAgreementandtheremainingprovisionswillremaininfullforce and effect.

.MISCELLANEOUS.Thishttp://www.51wendang.com/doc/d2e52c141054f5479dae40c5Agreementcontainstheparties’entireunderstandingrelatingtoitssubjectmatterandsupersedesallpriororcontemporaneousagreements,includingbutnotlimitedtoanypurchaseordertermsandconditions.SomeSoftwaremaycontaincodedistributedunderathirdpartylicenseagreementthatmayprovideadditionalrightstoCustomer.PleaseseetheapplicableSoftwaredocumentationfordetails.ThisAgreementmayonlybemodifiedinwritingbyauthorizedrepresentativesoftheparties.AllnoticesrequiredorauthorizedunderthisAgreementmustbeinwritingandshallbesenttothepersonwhosignsthisAgreement,attheaddressspecifiedbelow.Waiveroftermsorexcuseofbreachmustbeinwritingandshall not constitute subsequent consent, waiver or excuse.

. 090402, Part No. 239301

文档下载网是专业的免费文档搜索与下载网站，提供行业资料，考试资料，教学课件，学术论文，技术资料，研究报告，工作范文，资格考试，word文档，专业文献，应用文书，行业论文等文档搜索与文档下载，是您文档写作和查找参考资料的必备网站。

文档下载 https://www.51wendang.com/

亿万文档资料，等你来发现