TITLE 16. LABOR AND EMPLOYMENT

SAFETY AND HEALTH CODES BOARD

Title of Regulation: 16 VAC 25-50. Boiler and Pressure Vessel Regulations (amending 16 VAC 25-50-20, 16 VAC 25-50-150, 16 VAC 25-50-340, and 16 VAC 25-50-440; adding 16 VAC 25-50-445).

Statutory Authority: § 40.1-51.6 of the Code of Virginia.

Effective Date: July 2, 2003.

Agency Contact: Fred P. Barton, Boiler Safety Compliance Director/Chief Boiler Inspector, Department of Labor and Industry, Powers-Taylor Building, 13 S. Thirteenth Street, Richmond, VA 23219, telephone (804) 786-3262, FAX (804) 371-2324 or e-mail fpb@doli.state.va.us.

Summary:

The amendments eliminate possible conflicts with a recently enacted statute (§ 40.1-51.19 of the Code of Virginia) governing hobby boilers; allow certificate fees to be paid by credit card; adopt current Part CW of ANSI/ASME-CSD-1 provisions for burner controls and safety devices; and update references to prevailing National Fire Protection Association, American Society of Mechanical Engineers and National Board Codes.

Summary of Public Comments and Agency's Response: A summary of comments made by the public and the agency's response may be obtained from the promulgating agency or viewed at the office of the Registrar of Regulations.

REGISTRAR'S NOTICE: The proposed regulation was adopted as published in 18:26 VA.R. 3769-3772 September 9, 2002, with the additional changes shown below. Therefore, pursuant to § 2.2-4031 A of the Code of Virginia, the text of the final regulation is not set out at length; however, the changes from the proposed regulation are printed below.

16 VAC 25-50-20. [ No change from proposed. ]

16 VAC 25-50-150. [ No change from proposed. ]

16 VAC 25-50-340. Burner controls and safety devices.

Gas Fired burner installations shall conform to the requirements of the following nationally recognized standards including: the American Gas Association, Underwriters Laboratories, [ Part CG (General), ] Part CW (Steam and Waterside Control) of ANSI/ASME-CSD-1 or National Fire Protection Association (NFPA) No. 85 series as applicable.

16 VAC 25-50-440. [ No change from proposed. ]

16 VAC 25-50-445. [ No change from proposed. ]

DOCUMENTS INCORPORATED BY REFERENCE

1998 2001 Boiler and Pressure Vessel Code, ASME Code, American Society of Mechanical Engineers.

National Board Bylaws, National Board of Boiler and Pressure Vessel Inspectors, August 8, 1996.

ANSI/NB 23, 1998 2001 National Board Inspection Code, National Board of Boiler and Pressure Vessel Inspectors.

ASME B31.1, ASME Code for Pressure Piping, American National Standards Institute, 1995 and Addenda through 1997 1998.

NFPA 85C, Standards for the Prevention of Furnace Explosions/Implosions in Multiple Burner Boiler-Furnaces, 1991 85 Boiler and Combustion Systems Hazards, 2001 Edition, National Fire Protection Association.

[ Part CG (General), ] Part CW (Steam and Waterside Control) and Part CF (Combustion Side Control) Flame Safeguard of ANSI/ASME CSD-1, Controls and Safety Devices for Automatically Fired Boilers, 1992 1998, American Society of Mechanical Engineers.

"Boiler Blowoff Equipment," National Board of Boiler and Pressure Vessel Inspectors, Rules and Recommendations for the Design and Construction of Boiler Blowoff Systems, 1991.

API510, Pressure Vessel Inspection Code, Maintenance Inspection, Rating, Repair and Alteration, Sixth Edition, June 1989, American Petroleum Institute.

VA.R. Doc. No. R02-16; Filed May 13, 2003, 10:55 a.m.

(  ––––––––––––––––––  (

# EMERGENCY REGULATIONS