本文档下载自文档下载网，内容可能不完整，您可以点击以下网址继续阅读或下载：

http://www.51wendang.com/doc/fb33f3710f796b0ba7283023

IQxel_User Guide

IQxel User Guide

[此处图片未下载成功]

[此处图片未下载成功]

LitePoint IQxel

[此处图片未下载成功]

For WLAN and Bluetooth

&#169; 2012, LitePoint CorporationAll rights reserved

RIGHTS LEGEND

part of this document may be reproduced, transmitted, transcribed, stored in a retrieval sys-tem, or translated into any language or computer language, in any form or by any means, elec-tronic, mechanical, magnetic, optical, chemical, manual, or otherwise, without the prior written permission of LitePoint Corporation.DISCLAIMER

Corporation makes no representations or warranties with respect to the contents of this manual or of the associated LitePoint Corporation products, and specifically disclaims any implied warranties of merchantability or fitness for any particular purpose.  LitePoint Cor-poration shall under no circumstances be liable for incidental or consequential damages or related expenses resulting from the use ofhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 this product, even if it has been notified of the pos-sibility of such damages.

you find errors or problems with this documentation, please notify LitePoint Corporation at the address listed below. LitePoint Corporation does not guarantee that this document is error-free. LitePoint Corporation reserves the right to make changes in specifications and other infor-mation contained in this document without prior notice.TRADEMARKS

and the LitePoint logo, IQview, IQflex, IQnxn, and IQmax are registered trademarks and IQsignal, IQwave, IQfact, IQcheck, IQdebug, IQmeasure, IQtest, IQexpress, IQultra, IQ201X, IQxstream, TrueChannel, and TrueCable are trademarks of LitePoint Corporation. Microsoft Windows is a registered trademark of Microsoft Corporation in the United States and/or other countries. All trademarks or registered trademarks are owned by their respective owners.

INFORMATIONLitePoint Corphttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023oration575 Maude Court

, CA 94085-2803United States of AmericaTelephone:  1.408.456.5000Facsimile:  1.408.456.0106

TECHNICAL http://www.51wendang.com/supportTelephone:  1.408.456.5000

: weekdays 8am to 6pm, Pacific Standard Time.E-mail: support@http://www.51wendang.com

: 1075-5038-001

Release Version 1.5August 2012, Rev.4

[此处图片未下载成功]

Safety Instructions

symbol means the RESPONSIBLE BODY or OPERATOR should refer to the

[此处图片未下载成功]

instruction manual to preserve the protection afforded by the equipment.

[此处图片未下载成功]

[此处图片未下载成功]

Handling

the equipment is used in a manner not specified by the manufacturer,

Equip-the protection provided by the equipment may be impaired.

is danger of explosion if batteries are mishandled or incorrectly rhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023eplaced. On systems with replaceable batteries, replace only with the same manufacturer and type or equivalent type recommended by the

per the instructions provided in the product service man-Warning

. Do not disassemble batteries or attempt to recharge them outside the system. Do not dispose of batteries in fire. Dispose of batteries properly in accordance with the manufacturer’s instructions and local regulations.This symbol indicates that LitePoint products should be recycled and not be disposed with common unsorted Household or Municipal waste.

products should be sent to a facility that properly recycles elec-and Dis-trical and electronic equipment.  Responsible waste collection and recy-posal

of electronic products will help protect human health, the environment, and conserve natural resources.

of ContentsSafety InstructionsGhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023etting Started with IQxelIQxel Main WindowLaunching an ApplicationGPRF

Signal AnalyzerHardware

SettingsTrigger SettingsResults

a Signal MeasurementPower TableI vs. Time PlotQ vs. Time PlotPower vs TimeSpectrumSettings

Spectrum MeasurementPower MeasurementVector Signal GeneratorVSGWaveformsWiFi SISOVSAHardware

SISO Hardware SettingsVSA Settings41010101111111111121213131415151616161717171818181818

SISO

an OFDM Signal MeasurementConstellation PlotTx Quality TableSpectrum PlotEVM vs.Subcarrier PlotEVM vs. Symbol PlotPhase Error vs. Symbol PlotSpectral Flatness Plot

Frequency Error vs. Time PlotCCDF PlotPower Vs. Time PlotI vs. Time PlotQ vs. Time PlotPSD of Phase Error

a DSSS Signal MeasurementConstellation PlotTx Quality TableSpectrum PlotEVM vs. Time Plot

Error vs. Tihttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023me PlotPower Vs. Time PlotI vs. Time PlotQ vs. Time PlotSettings

SISO Settings

Selection

802.11 a/g/n/ac for OFDM AnalysisWiFi b for DSSS AnalysisVSGHardware

SISO Hardware SettingsVSG SettingsWaveformsWaveGenWave GenerationFile GenerationStandard Selection

Wave Generation SettingsDSSS Wave Generation Settings

MIMOVSAHardware

MIMO Hardware SettingsVSA SettingsTrigger SettingsResultsWiFi MIMO

MIMO MeasurementsIQxel Test System Port ConfigurationPhysical Configuration of MIMOIQxel GUI MIMO ConfigurationConstellation PlotTx Quality Table

Table PlotSpectrum PlotEVM vs.Subcarrier PlotEVM vs. Symbol PlotPhase Error vs. Symbol PlotSpectral Flatness PlotPower Vs. Time PlotSettings

MIMO Shttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ettingsStandard Selection

802.11 a/g/n/ac for OFDM AnalysisWiFi b for DSSS AnalysisVSGHardware

SISO Hardware SettingsVSG SettingsWaveformsWaveGenWave GenerationFile GenerationStandard Selection

Wave Generation SettingsDSSS Wave Generation Settings

Hardware SettingsVSA Settings

SettingsResultsBluetooth

a Bluetooth Signal MeasurementTx Quality TableAdjacent Channel PowerFM Demodulator OutputPower Vs. Time20 dB BandwidthEDR Symbol ConstellationEDR DEVM Vs. Time

Frequency Error vs. Time PlotLE Avg. Freq Vs. TimeLE DeltaF2 Max Vs. TimeSettings

Analysis SettingsVSGHardware

Hardware SettingsVSG SettingsWaveformsWaveGenWave GenerationFile GenerationStandard SelectionPHY ParametersLE Packet SettingsClassic EDR Packet Settihttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ngs

Started with IQxel

Main Window

LitePoint IQxel is used for comprehensive testing of wireless products ranging from WLAN, SISO, MIMO and Bluetooth products. The IQxel Graphical User Interface provides the capability to monitor all aspects of wireless product testing. The main screen of the IQxel application allows you to select the application for testing the various products based on the tech-nology specifications. When you select a task, the user interface for that technology displays and allows you to enter parameters specific to the selected product.

IQxel main screen allows you to monitor the overall performance of the products. The Menu drop-down displays the following application buttons:

SISO—allows you to select options for testing products that comply with 802.11 a/b/g/n/ac SISO specifications.://www.51wendang.com/doc/fb33f3710f796b0ba7283023rMIMO—allows you to select options for testing products that comply with 802.11 a/b/g/n/ac MIMO specifications.

—allows you to select options for testing Bluetooth products.

an Application

launch an application, click Menu and select the relevant application button. For example, if you want to launch the 802.11 a/b/g/n/ac application, click 802.11 a/b/g/n/ac button in the main screen. The selected application launches.

Signal Analyzer

Settings

Hardware Settings screen allows you to set the hardware parameters for signal capture..

ResourceFrequencyReference LevelCapture LengthSampling Rate

Set-tings

down menu to select VSA1 or VSA2 depending on the module you are using to analyze the signal.

the center frequency for the VSA module.

://www.51wendang.com/doc/fb33f3710f796b0ba7283023arSet the input signal reference level. This value should be set as close to the expected signal peak power level as possible.Set the length of the signal capture.

down menu to select the sampling rate for the current active hardware mod-ule.

Reset Settings to reset the general settings to the default value.

Settings

down menu to select the source of the trigger signal.

Free Run – Capture trigger is re-armed continuously l Timer – Capture trigger is linked to an internal timer

Video – Capture trigger occurs when an RF signal transition of the configured slope, level, and gap time occurs at baseband

External 1-4 – Capture triggers when a signal transition of the configured slope is detected on the specified EXT port

setting applies only to Video and EXT1:4 trigger sources. l Edge: Edge signal detection l Level:RF thhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023reshold level

setting applies only to Video and EXT1:4 trigger sources. l Rising edge signal detection initiates a trigger event l Falling edge signal detection initiates a trigger event

Threshold Sets the RF level threshold for Video trigger source only. Note that this level is rel-Levelative to the reference level.

Single mode indicates the trigger is armed for a single trigger on the next trigger event.

Multiple mode indicates the trigger is automatically re-armed after each trigger event.

the time that must elapse after a trigger event before the trigger is re-armed. This

Time

is enabled only when the trigger source is Video or External.

the amount of time to wait after a trigger event before executing the trigger

. This field is disabled when the trigger source is Frhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ee Run.

, in ms, set for trigger time out.

a Signal Measurement

the steps below to perform an GPRF signal measurement: 1.  2.  3.  4.  5.

the IQxel user interfaceClick Technology and select GPRFClick VSA

Hardware

the VSA Settings screen, set the parameters provided in the table below

[此处图片未下载成功]

6. In the Trigger Settings screen, set the parameters provided in the table below.SourceTypeEdge

LevelModeGap TimeOffset

the source to VIDeoSet the type to EdgeSet Edge to POSitive

Threshold Level to -25 dBSet Mode to SSHot

the Gap Time to 10 &#181;sSet the offset time to -10 &#181;s

7.  8.  9.  10.  11.

SettingsIn the  Power Measurement  screen, set the Filter Type to NONE

FFT Spectrum Measurement, set the Resolution Bandwidth to 100Click Resulhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ts

the Constellation  measurement from the box on the left side of the screen into one  of the display windows

. Click the Continuous Analysis button 13. Drag the Power Table  measurement from the box on the left side of the screen into one

the display windows

Table

[此处图片未下载成功]

Displays results of the power measurement per interval.

vs. Time Plot

figure below displays the In Phase signal amplitude of the specified packet vs. Time plot.

[此处图片未下载成功]

Q vs. Time Plot

[此处图片未下载成功]

The figure below displays the Quadrature signal amplitude of the capture segment vs. Time plot.

Power vs Time

the captured data as power in dBm over time. This plot shows the unprocessed raw cap-

[此处图片未下载成功]

tured data over the full capture length.

power spectrum density (dBm/RBW) whttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ith the configured resolution bandwidth cal-culated over the length specified in the Analysis Results screen.

[此处图片未下载成功]

Settings

Spectrum Measurement

FFT Spectrum Measurement screen allows you to set the resolution bandwidth for the sig-nal capture.

Band-The resolution bandwidth determines the smallest frequency range that can widthbe resolved.Power Measurement

Power Measurement screen allows you to set the signal capture parameters to measure the signal power. ParameterFilterTypeBandwidthOffsetRoll-off

filter settingsNone - No filteringGAUSS - Gaussian filtering

- Root Raised Cosine filterDouble-sided bandwidth of filterFrequency offset of filter

off factor of root-raised-cosine filter. This does not apply to Gaussian filter.

Interval For interval-based measurements, the capture is http://www.51wendang.com/doc/fb33f3710f796b0ba7283023divided into intervals of the spec-Lengthified length and the measurements are calculated per interval.Measurement

of time over which a measurement is calculated.

Signal Generator

VSG screen displays the following items:

the frequency for the VSG module.Power LevelSets the power level of the output signal.Sampling Drop-down menu to select the sampling rate for the current active hardware mod-Rateule.

SettingsClick Reset Settings to reset the general settings to the default value.WaveformsLoadUploadLoaded WaveStopPlayCWWaveRF (on)RF (off)

Load and select a wavefile to load the wavefile from the test system to VSG.Click Upload to load wavefiles from the a source location to the test system and then to the VSG.

the name of the selected waveform.Stop playing the waveform file.Start playing the waveform file.VSG mhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023odulation is off.VSG modulation is on.

RF output power is on.VSG RF output power is off.

WiFi SISO

SISO Hardware Settings

Settings

VSA Settings screen allows you to set the signal capture parameters.ParameterHardware ResourceFrequencyReference LevelCapture LengthSampling RateResetAGC

down menu to select VSA1 or VSA2 depending on the module you are using to analyze the signal.

the frequency for the VSA module.

the input signal reference level. This value should be set as close to the expected signal peak power level as possible.Set the length of the signal capture.

down menu to select the sampling rate for the current active hardware mod-ule.

Reset to reset the general settings to the default value.Click AGC to perform Automatic Gain Control.

Settings

http://www.51wendang.com/doc/fb33f3710f796b0ba7283023down menu to select the source of the trigger signal.

Free Run – Capture trigger is re-armed continuously l Timer– Capture trigger is linked to an internal timer

Video – Capture trigger occurs when an RF signal transition of the configured slope, level, and gap time occurs at baseband

External 1-4 – Capture triggers when a signal transition of the configured slope is detected on the specified EXT port

setting applies only to Video and EXT1:4 trigger sources. l Edge - Edge signal detection. l Level - RF threshold level

setting applies only to Video and EXT1:4 trigger sources.

Positive - rising edge signal detection initiates a trigger event.  l Negative - falling edge signal detection initiates a trigger event.

Sets the RF level threshold for Video trigger source only. Note that this level is rel-

LevelMode://www.51wendang.com/doc/fb33f3710f796b0ba7283023arto the reference level.

Single mode indicates the trigger is armed for a single trigger on the next trigger event.

Multiple mode indicates the trigger is automatically re-armed after each trigger event.

trigger edge= positive or trigger type=level, the time that the signal must stay below the threshold before the trigger is re-armed.

the trigger is re-armed. Trigger edge=negative does not apply for trigger type=level.

amount of time to delay the trigger after the trigger event.

TimeFor trigger edge=negative, the time that the signal must stay above the threshold

negative value only applies to captures and indicates  the length of pre-trigger  data to include in the capture.

Delay

OffsetAmplitude Off-Amplitude imbalance in percent.

OffsetPhase Imbalance in degreehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023s.

the Group Delay of the Q Channel in nanoseconds. The default value is zero (0).

DC offset in volts.

Results

SISO

an OFDM Signal Measurement

the steps below to perform an OFDM signal measurement: 1.  2.  3.  4.  5.

the IQxel user interface

Technology and select WiFi SISOClick VSA

Hardware

the VSA Settings screen, set the parameters provided in the table below.

[此处图片未下载成功]

6. In the Trigger Settings screen, set the parameters provided in the table below.SourceTypeEdge

LevelModeGap TimeOffset

the source to VIDeoSet the type to EdgeSet Edge to POSitive

Threshold Level to -25 dBSet Mode to SSHot

the Gap Time to 10 &#181;sSet the offset time to -10 &#181;s

. Click Settings 8. In the  Standard Selection screen,http://www.51wendang.com/doc/fb33f3710f796b0ba7283023 select OFDM from the Standard drop down menu

set the following parameters in the 802.11a/g/n/ac section of the screen.Phase Correction

Clock CorrectionAmplitude CorrectionFrequency Correction

Phase Correction to On

Symbol Clock Correction to OnSet Amplitude Correction to OffSet Frequency Correction to LTF

Channel EstimationPacket FormatSet Channel Estimation to LTFSet Packet Format to Auto

. Click Results

. Drag the desired plots from the  left pane into one of the display windows 11. Click the Continuous Analysis

[此处图片未下载成功]

Note: The PSDU export button allows you to save the decoded data as a text file.Below is a description of the plots.

Plot

figure below displays the symbol constellation plot an OFDM signal. Symbol constellation shows the quality of the demodulated data in the complex plane for ehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ach symbol in the analyzed frame.

Quality Table

figure below displays the signal quality measurement based on power, EVM, Phase Error etc for an OFDM signal.

[此处图片未下载成功]

Spectrum Plot

measurement bandwidth is 100kHz as specified by the IEEE specification. The plotted frequency range is  /-30MHz for all analysis. Power spectral density plot can be used to display the power spectral density of signals other than 802.11 signals.

figure below displays the spectrum plot for an OFDM signal with a frequency range of  /-

[此处图片未下载成功]

30 MHz.

The figure below displays the wideband spectrum plot for an OFDM signal with a frequenc range of  /-120 MHz.Note: You must click the Wide form a wide band capture.

and set the sampling rate to 160 MHz to per-

[此处图片未下载成功]

EVM vs.Subcarrier Plot

Error Vector Magnitude (EVM)http://www.51wendang.com/doc/fb33f3710f796b0ba7283023 versus the Sub Carrier Number plot displays the EVM for each subcarrier averaged over all symbols within the data frame.  The figure below displays the EVM Versus Carrier plot for OFDM  signal.  The plot represents RMS EVM of all active sub-carriers, including data and pilot subcarriers.

[此处图片未下载成功]

EVM vs. Symbol Plot

EVM versus the Symbol plot shows the EVM for each symbol averaged over all sub-car-riers within frame data. The figure below displays a plot for the EVM Versus Symbol Number for OFDM  s

[此处图片未下载成功]

ignal.

Phase Error vs. Symbol Plot

figure below illustrates the Phase Error vs. Symbol plot for OFDM signal. The data is obtained by calculating the common phase error of the pilot carriers for each OFDM symbol.

[此处图片未下载成功]

This measurement is also known as Common Phase Error.

Flatness Plot

Spectral Flatness http://www.51wendang.com/doc/fb33f3710f796b0ba7283023shows an estimate based on the long training sequence of the spectral flat-ness of the sub-carrier energies spectrum as compared with the limits imposed by the 802.11 specification.

figure below illustrates the Spectral Flatness graph for OFDM  signal.

[此处图片未下载成功]

Preamble Frequency Error vs. Time Plot

figure below displays the OFDM Preamble Frequency Error vs. Time plot only on the

[此处图片未下载成功]

preamble portion of the signal.

CCDF Plot

CCDF (Complimentary Cumulative Distribution Function) window plots the peak to aver-age power distribution. The horizontal axis plots the power level above the average power level, and the vertical axis plots the probability that the actual power is greater than this amount. The CCDF is only measured over a single packet, so the gap does not contribute to the meas-urement.

blue curve represents the measured signal, ahttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023nd the red curve represents the ideal curve for an OFDM signal. When compared with an ideal curve, it shows that the OFDM signal is sig-

[此处图片未下载成功]

nificantly affected by the signal compression.

Vs. Time Plot

figure below displays the Power vs. Time plot for an OFDM signal.

[此处图片未下载成功]

I vs. Time Plot

figure below displays the In Phase signal amplitude of the specified packet vs. Time plot for

[此处图片未下载成功]

an OFDM signal.

vs. Time Plot

figure below displays the Quadrature signal amplitude of the capture segment vs. Time plot for an OFDM signal.

[此处图片未下载成功]

PSD of Phase Error

figure below displays the Phase Error (PSD) plot for an OFDM signal. It is derived by cal-culating the PSD of the Phase Error (Time) data.

PSD of Phase Error plot analyzes phase versus frequency and plots the eshttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023timated PSD of the synthesizer measured during the burst. This data is derived by calculating the PSD of the esti-mated phase errors per symbol.

: The lower limit of the frequency range is determined by the number of OFDM symbols

[此处图片未下载成功]

available for estimation and can be lowered by increasing the number of symbols.

Performing a DSSS Signal Measurement

the steps below to perform a measurement: 1.  2.  3.  4.  5.

the IQxel user interface

Technology and select WiFi SISOClick VSA

Hardware

the VSA Settings screen, set the parameters provided in the table below

[此处图片未下载成功]

6. In the Trigger Settings screen, set the parameters provided in the table below.SourceTypeEdge

LevelModeGap TimeOffset

the source to VIDeoSet the type to EdgeSet Edge to POSitive

Threshold Level to -25 dBSet Mohttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023de to SSHot

the Gap Time to 10 &#181;sSet the offset time to -10 &#181;s

. Click Settings 8. In the  Standard Selection screen, select DSSS from the Standard drop down menu and

the following parameters in the 802.11b section of the screen.EVM MethodEqualizer TapsDC Removal

the EVM drop-down menu, select Standard

the Equalizer Taps drop-down menu, select OFFSet DC Removal to Off

. Click Results

. Drag the desired plots from the  left pane into one of the display windows  11. lick the Continuous Analysis

Note: The PSDU export button allows you to save the decoded data as a text file.Below is a description of the plots.

Plot

figure below displays the symbol constellation plot for DSSS  signal. Symbol constellation shows the quality of the demodulated data in the complex plane for each symbol in the analyzed

[此http://www.51wendang.com/doc/fb33f3710f796b0ba7283023处图片未下载成功]

frame.

Quality Table

figure below displays the signal quality measurement based on power, EVM, Phase Error etc for a DSSS signal.

[此处图片未下载成功]

Spectrum Plot

measurement bandwidth is 100kHz as specified by the IEEE specification. The plotted bandwidth stays  /-30MHz for all analysis. Power spectral density plot can be used to display the power spectral density of signals other than 802.11 signals.

figure below displays the spectrum plot for an OFDM signal with a frequency range of  /-

[此处图片未下载成功]

30 MHz.

The figure below displays the wideband spectrum plot for an OFDM signal with a frequenc range of  /-120 MHz.Note: You must click the Wide form a wide band capture.

and set the sampling rate to 160 MHz to per-

[此处图片未下载成功]

EVM vs. Time Plot

figure below displays the EVM versushttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 time for a DSSS  s

[此处图片未下载成功]

ignal

Frequency Error vs. Time Plot

figure below displays the Frequency vs. Time plot for a DSSS  s

[此处图片未下载成功]

ignal.

Vs. Time Plot

[此处图片未下载成功]

The figure below displays the Power vs. Time plot for a DSSS signal.

I vs. Time Plot

figure below displays the In Phase signal amplitude of the specified packet vs. Time plot for

[此处图片未下载成功]

a DSSS signal.

vs. Time Plot

figure below displays the Quadrature signal amplitude of the capture segment vs. Time plot

[此处图片未下载成功]

for a DSSS signal.

Settings

SISO Settings

allows you to set some of the hardware settings of the VSA/VSG, such as phase and frequency correction and all of the analysis parameters to be used by the VSA when measuring the DUT that is connected to the IQxel thttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023est system.

Selection

Standard Selection drop-down menu allows you to select the IEEE 802.11 standard for analysis.

options are as follows: l DSSS l OFDM

802.11 a/g/n/ac for OFDM Analysis

table below shows settings for the IEEE 802.11 a/g/n/ac standards.

—Enables phase correction options for analysis.

Cor-Off—Disable phase correction for analysis. Can be used when the carriers and ref-rectionerences of the transmitter and receiver are phase-locked or when low-frequency car-rier phase noise could be present.

On—Enables symbol clock correction options for analysis.Clock Cor-Off—Disables symbol clock correction options for analysis.rection

On—Enables amplitude correction options for analysis.CorrectionOff—Disables amplitude correction options for analysis.

down menu to select the carrier frequency error esthttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023imation method.

option to select section of waveform:

—Long Training Field

—Signal

—Data

down menu to select channel estimation method.

Available option to select section of waveform:EstimationLTF—Long Training Field

—Data

Auto—

—packets transmitted in legacy-compatible format

Format

—packets transmitted with preamble compatible with legacy 802.11GREenfield—high-throughput packets transmitted without legacy compatible partVHT—very high throughput packets transmitted

b for DSSS Analysis

table below shows settings for the IEEE 802.11 b standards.

down menu to select equalizer tapsAvailable option to select are as follows:OFF—Equalizer tap is turned off

—5-tap frequency domain equalizer; use this setting when the performance ohttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023f a transmitter and receiver pair with matching filters is to be assessed.TAP7—7-tap frequency domain equalizer

Taps

—9-tap frequency domain equalizerOFF---Recommended Setting

larger the number of taps, the more the equalizer can correct for Inter Symbol Interference (ISI) present in the transmitter. If the EVM improves substantially when changing from 5 to 9 Taps, the transmitter is likely to have too much ISI.

: If you use the 11b Std. Tx mod acc, option for EVM Calculation, then you must set the Equalizer Taps to Equalizer Off.

—Enables DC Removal options for analysis; use only if the DC Offsets are known to be substantial relative to the desired signal level. This can be the case if

Removalthe RF signal level is extremely low, or if there is a DC present when using the

inputs.

—Disables DC Removal options for analysis ; recommended setthttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ing.Drop-down menu to select the EVM method.

Method

option to select are as follows:

—The 11b Standard Transmit Modulation Accuracy method applies the algorithm defined in IEEE 802.11b-1999 Standard Section 18.4.7.8 to the sam-pled data after carrier and symbol timing recovery.

[此处图片未下载成功]

RMS—The RMS error vector method applies the standard rms error vector algo-rithm1

VSG

SISO Hardware Settings

Settings

VSG Settings screen allows you to set the signal capture parameters.

down menu to select VSG1 or VSG2 depending on the module you are

to generate the signal.

the frequency for the VSA module.Power

signal power level.

Drop-down menu to select the sampling rate for the current actihttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ve hardware mod-Rateule.ResetClick Reset to reset the general settings to the default value.

WaveStopPlayCWWaveRF (on)RF (off)

Load and select a wavefile to load the wavefile from the test system to VSG.Click Upload to load wavefiles from the a source location to the test system and then to the VSG.

the name of the selected waveform.Stop playing the waveform file.Start playing the waveform file.VSG modulation is off.VSG modulation is on.

RF output power is on.VSG RF output power is off.

WaveGen

Generation

Generation

File Generation section allows you to generate a wave file and, if desired, load the gen-erated wave file to the VSG, or download to your hard drive.ParameterFilenameDescriptionLoad to VSGDownloadGenerate

the name of the wave file you need to generate.Enter a descripthttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ion for the wavefile you wish to generate.

this checkbox to load the generate wave file to the VSG.

this checkbox to download the generated wavefile to your system.Click Generate to generate the waveform.

Selection

down menu to select the type of signal.

DSSS – IEEE 802.11b specification

OFDM– IEEE 802.11a/g/n/ac specification

the type of PHY Service Data Unit (PSDU) excluding MAC header and CRC, if enabled.

RANDOM - random bit setting l ALL0- all bits are set to 0 l ALL1- all bits are set to 1

ALT01 - bits alternate between 0 and 1Enter length of the PSDUPSDU range is as follows:

Length

for 802.11a/g specification: up to 4095 l for 802.11n specification: up to 65,535

for 802.11ac specification: up to 524,284 (20 MHz), 2,097,148 (40 MHz) and 8,388,604 (80 MHz)

the dhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023uration of idle time between packets in seconds.

Type

Gap

is from 1 us to 200 ms.

is the initial value used in the scrambler registers to scramble the payload data

.

or disables MAC header.

or disables CRC.

MAC Depends on the type of packet. Address 1 is the address for the intended receiver, Address 1 and Address 2 is the address of the transmitter. See the  IEEE 802.11 standards for to 4more details.

Wave Generation SettingsDetermines the number of spatial streams, modulation, coding rate, and data rate

.

and Coding scheme index ranges from 0 to 7 for non-HT mode. A

of 0 indicates the lowest data rate (6 Mbps, BPSK &#189;), a value of 7 indicates

highest data rate (54 Mbps, 64-QAM &#190;). Refer to Table 78 in section 17.3.2.2

://www.51wendang.com/doc/fb33f3710f796b0ba7283023arMCS Indexof 802.11a-1999 spec for details.

802.11 n: Modulation and Coding scheme index ranges from 0 to 76 for HT

.

802.11 ac: Modulation and Coding scheme index ranges from 0 to 9 for VHT

. For details, refer to the VHT MCS index table references for 20 MHz, 40

, 80 MHz and 160 MHz in the IEEE P802.11ac specification.

the signal bandwidth of the transmitted packet.

l Bandwidth for 802.11a/g specification is 20 MHz

Bandwidth for 802.11n specification is 20, 40 MHz

Bandwidth for 802.11ac specification is 20, 40, 80 MHz

field selects whether HT-greenfield format is used or not. Applies to 11n

.

– transmits high-throughput packets in HT-greenfield format without a

compatible component.

– sets preamble compatibility in HT-mixed format to both MIMO ahttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023nd leg-

802.11 standards.

802.11n specification

field selects the difference between the number of space-time streams and spa-

streams in the HT-SIG field; for non-STBC, this value is 0. For STBC(space-

block coded), you can select either STBC 1 or 2. STBC = 1: allowed MCS

the set 0 to 23, 33 to39, 41, 43, 46, 48, 50 STBC= 2: allowed MCS from

set 8 to 15 Software will report error if  the above limitation is not satisfied.

802.11ac  specification

field specifies whether STBC (space-time block coded) is used or not. A

of 1 indicates that STBC is used with number of space-time streams twice

number of spatial streams (NSTS = 2NSS). A value of 0 indicates that STBC Packet TypeSTBC

is not used.

of

Indicates the number of extension spatial streams. Applies to 802.11n spehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023cification Spatial only.

802.11 ac specification, the number of spatial streams needs to be specified, in Number of addition to the MCS index. The range is from 1 to 8 spatial streams. For 802.11n Spatial specification, this setting does not apply since the number of spatial streams is Streamsalready contained in the MCS index.

When enabled, the Not Sounding bit is set to 0 in HT-SIG mode, indicating that it Packetis a sounding PPDU. Applies to 802.11n specification only.

whether the PSDU contains an A-MPDU. If aggregation is enabled, the

will be encoded as a A-MPDU. This parameter does not apply to

a/g specification.

– block convolutional coding defined in section 17.3.5.5 of  the IEEE 802.11

standard

LDPC – low-density parity-checking coding defined in  section 20.3.11.6 of the TypeIEEE standard

://www.51wendang.com/doc/fb33f3710f796b0ba7283023This parameter does not apply to 802.11 ag specification

field specifies whether the long or short guard interval length is used.

Inter-Short – interval designates a 400 ns time duration.val

– interval designates a 800 ns time duration.

Wave Generation Settings

Rate

data rate for 802.11bShort – short preambleLong – long preamble

– preamble is turned off

WiFi MIMO

MIMO Hardware Settings

Settings

VSA Settings screen allows you to set the signal capture parameters. Parameter

down menu to select VSA1 or VSA2 depending on the module you are using to analyze the signal.Set the frequency for the VSA module.Shttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023et the input signal reference level. This value should be set as close to the expected signal peak power level as possible.Set the length of the signal capture.Drop-down menu to select the sampling rate for the current active hardware mod-ule.Click Reset to reset the hardware settings to the default value.Click AGC to perform Automatic Gain Control.

ALL to apply the same hardware settings to all VSA modules in the MVSAALLMIMO setup.

Settings

down menu to select the source of the trigger signal.

Free Run – Capture trigger is re-armed continuously

Timer– Capture trigger is linked to an internal timer

Video – Capture trigger occurs when an RF signal transition of the configured

, level, and gap time occurs at baseband

External 1-4 – Capture triggers when a signal transition of the configured

is detected on the specified EXT port

://www.51wendang.com/doc/fb33f3710f796b0ba7283023his setting applies only to Video and EXT1:4 trigger sources.

Edge - Edge signal detection.

Level - RF threshold level

setting applies only to Video and EXT1:4 trigger sources.

Positive - rising edge signal detection initiates a trigger event. SourceTypeEdge

l Negative - falling edge signal detection initiates a trigger event.

Sets the RF level threshold for Video trigger source only. Note that this level is rel-Levelative to the reference level.

Single mode indicates the trigger is armed for a single trigger on the next

event. Mode l Multiple mode indicates the trigger is automatically re-armed after each trigger

.

trigger edge= positive or trigger type=level, the time that the signal must stay

the threshold before the trigger is re-armed.

Time

trigger edge=negative, the time that thehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 signal must stay above the threshold

the trigger is re-armed. Trigger edge=negative does not apply for trigger

=level.

amount of time to delay the trigger after the trigger event.

negative value only applies to captures and indicates  the length of pre-trigger  data

include in the capture.

Results

MIMO

MIMO Measurements

Test System Port Configuration

you perform MIMO measurements, make sure you have set up the connections to the IQxel master and slave test systems using BNC and External 10 MHz Reference Cable as indi-cated in the table below.

2 (top unit)

(middle unit)

(last unit)Ext. 10 MHz Reference CableBNC Cable #1BNC Cable #2RF InTRIG 3TRIG 4RF InTRIG 3TRIG 4RF OutTRIG 3TRIG 4Physical Configuration of MIMO

figure below is a representation ohttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023f the physical configuration of a 3x3 MIMO set up.

[此处图片未下载成功]

GUI MIMO Configuration

must configure the  MIMO setup in the GUI before performing the measurements.Perform the following actions to configure the MIMO setup:

. Connect to the IQxel master test system from the user interface. Refer to the LitePoint

Quick Start guide for information on how to connect to the test system.

. In the Num. of Remote Tester text box, enter the number of remote test systems used for

MIMO setup.

. Enter the host name or IP address for the remote test system.

. Click Connect.

. Click Add Modules. You are now connected to the MIMO test system setup.

. Set Port Routing. Refer to the LitePoint IQxel Quick Start guide for information on how

set up port routing. Note that you must click Apply All to apply the settings to all testhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ers in the MIMO setup.

IQxel application is now connected to all the master and  slave modules.

[此处图片未下载成功]

Follow the steps below to perform a measurement:

.

.

.

.

. Launch the IQxel user interfaceClick Technology and select WiFi MIMOClick VSAClick HardwareIn the VSA Settings screen, set the parameters provided in the table below

[此处图片未下载成功]

6. In the Trigger Settings screen, set the parameters provided in the table below.

Level

Time

the source to VIDeoSet the type to EdgeSet Edge to POSitiveSet Threshold Level to -25 dBSet Mode to SSHotSet the Gap Time to 10 &#181;sSet the offset time to -10 &#181;s

7. Click Settings

. In the  Standard Selection screen, set the following parameters provided in the table

.Standard l DSSS - for http://www.51wendang.com/doc/fb33f3710f796b0ba7283023802.11b signals

OFDM - for 802.11a/g/n/ac signals

. Perform one of the following actions depending on whether you are analyzing DSSS or

waveforms.

If you are analyzing OFDM waveforms, set the following parameters in the

.11a/g/n/ac section of the screen.Phase Correction

Clock Correction

Correction

Correction

Estimation

FormatSet Phase Correction to OnSet Symbol Clock Correction to OnSet Amplitude Correction to OffSet Frequency Correction to LTFSet Channel Estimation to LTFSet Packet Format to Auto

. Click Results

. Drag the Constellation  measurement from the box on the left side of the screen into one

the display windows

. Depending on the MIMO configuration setup, select the number of streams you would

to analyze for a plot.

. Click the Continuous Analhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ysis button

: The PSDU export button allows you to save the decoded data as a text file.

Plot

figure below displays the symbol constellation plot for a 3-stream MIMO  signal. Symbol constellation shows the quality of the demodulated data in the complex plane for each symbol in the analyzed frame.

[此处图片未下载成功]

Tx Quality Table

figure below displays the signal quality measurement based on power, EVM, Phase Error

[此处图片未下载成功]

etc for a 3-stream MIMO signal.

Tx Quality Avg/Max/Dev Table

figure below displays the average, maximum and standard deviation signal quality meas-

[此处图片未下载成功]

urements based on power, EVM, Phase Error etc for a 3-stream MIMO signal.

Table Plot

figure below displays the Power Table plot for a 3-stream MIMO signal.

[此处图片未下载成功]

Spectrum Plot

://www.51wendang.com/doc/fb33f3710f796b0ba7283023arThe resolution bandwidth is 100kHz as specified by the IEEE specification. The plotted band-width stays  /-30MHz for all analysis. Power spectral density plot can be used to display the power spectral density of signals other than 802.11 signals.

figure below displays the spectrum plot for an OFDM signal at a frequency range of  /-30 MHz .

[此处图片未下载成功]

The figure below displays  the wideband spectrum plot for an OFDM signal at a frequency

[此处图片未下载成功]

range of  /-120 MHz .

vs.Subcarrier Plot

Error Vector Magnitude (EVM) versus the Sub Carrier Number plot displays the EVM for each subcarrier averaged over all symbols within the data frame.  The figure below displays the

EVM Versus Carrier plot for a 3-stream OFDM  MIMO signal.  The plot represents RMS EVM of all active subcarriers, including data and pilot subcarriers.

:

[此处图片未下载成功]://www.51wendang.com/doc/fb33f3710f796b0ba7283023par

When you select C, it provides the composite result over all streams.

vs. Symbol Plot

EVM versus the Symbol plot shows the EVM for each symbol averaged over all sub-car-riers within frame data. The figure below displays a plot for the EVM Versus Symbol Number for 3-stream OFDM  MIMO signal.

: When you select C, it provides the composite result over all streams.

[此处图片未下载成功]

Phase Error vs. Symbol Plot

figure below illustrates the Phase Error vs. Symbol plot for 3-stream OFDM MIMO signal. The data is obtained by calculating the common phase error of the pilot carriers for each OFDM

[此处图片未下载成功]

symbol. This measurement is also known as Common Phase Error.

Spectral Flatness Plot

Spectral Flatness shows an estimate based on the long training sequence of the spectral flat-ness of the sub-carrier spectrum as compared with the limits imhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023posed by the 802.11 spec-ification.

[此处图片未下载成功]

The figure below illustrates the Spectral Flatness graph for 3-stream OFDM MIMO signal.Power Vs. Time Plot

[此处图片未下载成功]

The figure below displays the Power vs. Time plot for a 3-stream MIMO signal.

Settings

MIMO Settings

allows you to set some of the hardware settings of the VSA/VSG, such as phase and frequency correction and all of the analysis parameters to be used by the VSA when measuring the DUT that is connected to the IQxel test system.

Selection

Standard Selection drop-down menu allows you to select the IEEE 802.11 standard for analysis.

options are as follows:

DSSS

OFDM

802.11 a/g/n/ac for OFDM Analysis

table below shows settings for the IEEE 802.11 a/g/n/ac standards.On—Enables phase correction options for analysis.

://www.51wendang.com/doc/fb33f3710f796b0ba7283023se Cor-Off—Disable phase correction for analysis. Can be used when the carriers and ref-rectionerences of the transmitter and receiver are phase-locked or when low-frequency car-

phase noise could be present.

On—Enables symbol clock correction options for analysis.Clock Cor-Off—Disables symbol clock correction options for analysis.rection

On—Enables amplitude correction options for analysis.

—Disables amplitude correction options for analysis.

down menu to select the carrier frequency error estimation method.

option to select section of waveform:

LTF—Long Training FieldCorrection

—Signal

—Data

down menu to select channel estimation method.

Available option to select section of waveform:

—Long Training Field

—Data

Auto—

—packets http://www.51wendang.com/doc/fb33f3710f796b0ba7283023transmitted in legacy-compatible format

—packets transmitted with preamble compatible with legacy 802.11

—high-throughput packets transmitted without legacy compatible part

—very high throughput packets transmitted

b for DSSS Analysis

table below shows settings for the IEEE 802.11 b standards.Drop-down menu to select equalizer taps

option to select are as follows:

—Equalizer tap is turned off

—5-tap frequency domain equalizer; use this setting when the performance

a transmitter and receiver pair with matching filters is to be assessed.

—7-tap frequency domain equalizerTAP9—9-tap frequency domain equalizer

--Recommended Setting

larger the number of taps, the more the equalizer can correct for Inter Symbol

(ISI) present in the transmithttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ter. If the EVM improves substantially

changing from 5 to 9 Taps, the transmitter is likely to have too much ISI.

: If you use the 11b Std. Tx mod acc, option for EVM Calculation, then you

set the Equalizer Taps to Equalizer Off.

—Enables DC Removal options for analysis; use only if the DC Offsets are

to be substantial relative to the desired signal level. This can be the case if

Removalthe RF signal level is extremely low, or if there is a DC present when using the

inputs.

—Disables DC Removal options for analysis ; recommended setting.

down menu to select the EVM method.

option to select are as follows:

—The 11b Standard Transmit Modulation Accuracy method applies the

defined in IEEE 802.11b-1999 Standard Section 18.4.7.8 to the sam-

data after carrierhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 and symbol timing recovery.

—The RMS error vector method applies the standard rms error vector algo-

[此处图片未下载成功]

rithm1

VSG

SISO Hardware Settings

Settings

VSG Settings screen allows you to set the signal capture parameters. ParameterDescription

down menu to select VSG1 or VSG2 depending on the module you are VSGusing to generate the signal.

the frequency for the VSA module.

Downlink signal power level.Level

Drop-down menu to select the sampling rate for the current active hardware mod-Rateule.

Reset to reset the general settings to the default value.

(on)

(off)

Load and select a wavefile to load the wavefile from the test http://www.51wendang.com/doc/fb33f3710f796b0ba7283023system to VSG.Click Upload to load wavefiles from the a source location to the test system and then to the VSG.Displays the name of the selected waveform.Stop playing the waveform file.Start playing the waveform file.VSG modulation is off.VSG modulation is on.VSG RF output power is on.VSG RF output power is off.

WaveGen

Generation

Generation

File Generation section allows you to generate a wave file and, if desired, load the gen-erated wave file to the VSG, or download to your hard drive.Parameter

to VSG

the name of the wave file you need to generate.Enter a description for the wavefile you wish to generate.Select this checkbox to load the generate wave file to the VSG.Select this checkbox to download the generated wavefile to your system.Click Generate to generate the waveform.

Sehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023lectionDrop-down menu to select the type of signal.

l DSSS – IEEE 802.11b specification

OFDM– IEEE 802.11a/g/n/ac specification

the type of PHY Service Data Unit (PSDU) excluding MAC header and

, if enabled

RANDOM - random bit setting

ALL0- all bits are set to 0

ALL1- all bits are set to 1

ALT01 - bits alternate between 0 and 1

length of the PSDU

range is as follows:

l for 802.11a/g specification: up to 4095

for 802.11n specification: up to 65,535

for 802.11ac specification: up to 524,284 (20 MHz), 2,097,148 (40 MHz)

8,388,604 (80 MHz)

the duration of idle time between packets in seconds.PSDU TypeWave GapRange is from 1 us to 200 ms.

is the initial value used in the scrambler registers to scramble the payload data Scramblerbits.

Ehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023nables or disables MAC header.Header

or disables CRC.

MAC Depends on the type of packet. Address 1 is the address for the intended

1 receiver, and Address 2 is the address of the transmitter. See the  IEEE 802.11 stand-to 4ards for more details.

Wave Generation SettingsDetermines the number of spatial streams, modulation, coding rate, and data rate

.

and Coding scheme index ranges from 0 to 7 for non-HT mode. A

of 0 indicates the lowest data rate (6 Mbps, BPSK &#189;), a value of 7 indicates

highest data rate (54 Mbps, 64-QAM &#190;). Refer to Table 78 in section 17.3.2.2

Indexof 802.11a-1999 spec for details.

802.11 n: Modulation and Coding scheme index ranges from 0 to 76 for HT

.

802.11 ac: Modulation and Coding scheme index ranges from 0 to 9 for VHT

. For details, refhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023er to the VHT MCS index table references for 20 MHz, 40

, 80 MHz and 160 MHz in the IEEE P802.11ac specification.

the signal bandwidth of the transmitted packet.

l Bandwidth for 802.11a/g specification is 20 MHz

Bandwidth for 802.11n specification is 20, 40 MHz

Bandwidth for 802.11ac specification is 20, 40, 80 MHz

field selects whether HT-greenfield format is used or not. Applies to 11n

.

– transmits high-throughput packets in HT-greenfield format without a

compatible component.

– sets preamble compatibility in HT-mixed format to both MIMO and leg-

802.11 standards.

802.11n specification

field selects the difference between the number of space-time streams and spa-

streams in the HT-SIG field; for non-STBC, this value is 0. For STBC(space-

://www.51wendang.com/doc/fb33f3710f796b0ba7283023artime block coded), you can select either STBC 1 or 2. STBC = 1: allowed MCS

the set 0 to 23, 33 to39, 41, 43, 46, 48, 50 STBC= 2: allowed MCS from

set 8 to 15 Software will report error if  the above limitation is not satisfied.

802.11ac  specification

field specifies whether STBC (space-time block coded) is used or not. A

of 1 indicates that STBC is used with number of space-time streams twice Packet TypeSTBC

the number of spatial streams (NSTS = 2NSS). A value of 0 indicates that STBC

not used.

of

Indicates the number of extension spatial streams. Applies to 802.11n specification Spatial only.

802.11 ac specification, the number of spatial streams needs to be specified, in Number of addition to the MCS index. The range is from 1 to 8 spatial streams. For 802.11n Spatial specification, this sethttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ting does not apply since the number of spatial streams is Streamsalready contained in the MCS index.

When enabled, the Not Sounding bit is set to 0 in HT-SIG mode, indicating that it Packetis a sounding PPDU. Applies to 802.11n specification only.

whether the PSDU contains an A-MPDU. If aggregation is enabled, the

will be encoded as a A-MPDU. This parameter does not apply to

a/g specification.

– block convolutional coding defined in section 17.3.5.5 of  the IEEE 802.11

standard

LDPC – low-density parity-checking coding defined in  section 20.3.11.6 of the TypeIEEE standard

parameter does not apply to 802.11 ag specification

field specifies whether the long or short guard interval length is used.

Inter-Short – interval designates a 400 ns time duration.val

– interval designates a 80http://www.51wendang.com/doc/fb33f3710f796b0ba72830230 ns time duration.

Wave Generation Settings

Rate

data rate for 802.11bShort – short preambleLong – long preamble

– preamble is turned off

Bluetooth

Hardware Settings

Settings

VSA Settings screen allows you to set the signal capture parameters. Parameter

down menu to select VSA1 or VSA2 depending on the module you are using to analyze the signal.Set the frequency for the VSA module.Set the input signal reference level. This value should be set as close to the expected signal peak power level as possible.Set the length of the signal capture.Drop-down menu to select the sampling rate for the current active hardware mod-ule.Click Resethttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 to reset the general settings to the default value.Click AGC to perform Automatic Gain Control.

Settings

down menu to select the source of the trigger signal.

Immediate – Capture trigger is re-armed continuously

Timer– Capture trigger is linked to an internal timer

Video – Capture trigger occurs when an RF signal transition of the configured

, level, and gap time occurs at baseband

External 1-4 – Capture triggers when a signal transition of the configured

is detected on the specified EXT port

setting applies only to Video and EXT1:4 trigger sources.

Edge - Edge signal detection.

Level - RF threshold level

setting applies only to Video and EXT1:4 trigger sources.SourceType

l Positive - rising edge signal detection initiates a trigger event.

Negative - falling edge signal detection http://www.51wendang.com/doc/fb33f3710f796b0ba7283023initiates a trigger event.

Sets the RF level threshold for Video trigger source only. Note that this level is rel-

Level

to the reference level. l Single mode indicates the trigger is armed for a single trigger on the next trigger event.

Multiple mode indicates the trigger is automatically re-armed after each trigger

.

trigger edge= positive or trigger type=level, the time that the signal must stay

the threshold before the trigger is re-armed.

trigger edge=negative, the time that the signal must stay above the threshold

the trigger is re-armed. Trigger edge=negative does not apply for trigger

=level.

amount of time to delay the trigger after the trigger event.Gap Time

negative value only applies to captures and indicates  the length of pre-trigger  data

include in thehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 capture.

the timeout for the trigger.

Results

a Bluetooth Signal Measurement

the steps below to perform a Bluetooth signal measurement:

.

.

.

.

. Launch the IQxel user interfaceClick Technology and select BluetoothClick VSAClick HardwareIn the VSA Settings screen, set the parameters provided in the table below

[此处图片未下载成功]

6. In the Trigger Settings screen, set the parameters provided in the table below.

Level

Time

the source to VIDeoSet the type to EdgeSet Edge to POSitiveSet Threshold Level to -25 dBSet Mode to SSHotSet the Gap Time to 10 &#181;sSet the offset time to -100 &#181;s 7. Click Settings and use all default values in the Analysis Settings screen.

. Click Results.

. Drag the plotshttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 from the box on the left side of the screen into one of the display windows 10. Click the Continuous Analysis

Tx Quality Table

figure below displays the signal quality measurement based on power, Init. Freq Offset etc. For all bluetooth packet types, some of the TX quality results are dependent upon the type of payload.

requirements for payload bits for the TX Quality parameters if you are using Low Energy bluetooth packet are as follows:

The Avg Dev Sync parameter requires a 11110000 payload bit.

The |Fn| Max, |F0-Fn| Max, |F1-F0| and |Fn-Fn-5| Max parameters require 1010 payload. l CRC OK can use any payload.

requirements for payload bits for the TX Quality parameters if you are using Classic packet ( a packet with 1 Mbps data rate) are as follows:

The Delta F1 Average parameter requires a 00001111 payload bit.

The Delta F2 Average parametehttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023r requires a 1010 payload bit..

The Delta F2 Max parameter requires a 1010 payload bit.

The Max Freq Drift Rate parameter requires a 1010 payload bit.

[此处图片未下载成功]

The figure below shows the TX quality table for a Low Energy bluetooth packet.

Channel Power

measurement bandwidth is 100kHz as specified by the IEEE specification. The plotted bandwidth stays  /-5 MHz for all analysis.

Note that measuring Adjacent Channel Power requires prbs9 data.  The payload for LE packets must be 37-byte long.

[此处图片未下载成功]

Demodulator Output

demodulator plot is the output of the FM demodulator analysis as function of time. The graph below shows zoomed-in FM demodulator of a 1Mbps signal. FM Demodulator Output can be analyzed using any packet type or data type. Results will not be valid for EDR pi/4-DQPSK and 8psk portion of packet.

.

://www.51wendang.com/doc/fb33f3710f796b0ba7283023parPower Vs. Time

Power Vs. Time data. This data can be analyzed using any bluetooth data packet and

[此处图片未下载成功]

with any payload.

20 dB Bandwidth

figure below shows the spectrum measured with a 10 kHz resolution bandwidth and the 20 dB mask. It reports the 20 dB bandwidth inside the plot window. The 20 dB bandwidth is

as the difference between the lowest frequency below the center frequency and the high-est frequency above the center frequency at which the spectrum power is less than or equal to 20 dB below the maximum spectrum measured in the 2 MHz band around the center frequency.

[此处图片未下载成功]

This data can only be anaylzed using a 1Mbps (classic) datarate waveform with prbs9 data.EDR Symbol Constellation

EDR Symbol Constellation plot can be analyzed only using EDR packets and is used to indicate the quality of the demodulated data in the http://www.51wendang.com/doc/fb33f3710f796b0ba7283023complex plane for each symbol in the analyzed frame. The constellation shows the differential I/Q values for the bluetooth signal.

[此处图片未下载成功]

EDR DEVM Vs. Time

[此处图片未下载成功]

The EDR DEVM Vs. Time plot can be analyzed only using EDR packets.

EDR Frequency Error vs. Time Plot

EDR Frequency Error vs. Time

[此处图片未下载成功]

plot can be analyzed only using EDR packets.

Avg. Freq Vs. Time

plot can be analyzed only using  L

[此处图片未下载成功]

E packets with 10101010 data pattern.

LE DeltaF2 Max Vs. Time

plot can be analyzed only using  L

[此处图片未下载成功]

E packets with 10101010 data pattern.

Settings

Analysis Settings

allows you to set some of the hardware settings of the VSA/VSG, such as phase and frequency correction and all of the analysis parameters to be used byhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 the VSA when measuring the DUT that is connected to the IQxel test system.Data rate of the packet to be analyzed; represented in Mbps. If AUTO is

Rateselected, the analysis will auto-detect the data rate of the received signal and

the detected data rate.

BandwidthFor FM-related signal processing.The nominal bandwidth is 1300 KHz.Pwr. Detect Sets the gap between  bursts.Gap Time

. Detect Maximum power difference between packets that are expected to be detected.Threshold

—Determines the LE (low energy) payload pattern based on header con-LE Payload tents per standard, regardless of the actual payload.Type Detec-Pattern—Automatically recognizes LE payload pattern based on payload bits, tion regardless of the payload header content.

VSG

Hardware Settings

Settings

VSG Settings screen allows you to set the sihttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023gnal capture parameters. Description

down menu to select VSG1 or VSG2 depending on the module you are VSGusing to generate the signal.

the frequency for the VSA module.

Downlink signal power level.Level

Drop-down menu to select the sampling rate for the current active hardware mod-Rateule.

Reset to reset the general settings to the default value.

(on)

(off)

Load and select a wavefile to load the wavefile from the test system to VSG.Click Upload to load wavefiles from the a source location to the test system and then to the VSG.Displays the name of the selected waveform.Stop playing the waveform file.Start playing the waveform file.VSG modulation is off.VSG modulation is on.VSG RF output power is on.VSGhttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023 RF output power is off.

Generation

Generation

File Generation section allows you to generate a wave file and, if desired, load the gen-erated wave file to the VSG, or download to your hard drive.

Parameter

to VSG

the name of the wave file you need to generate.Enter a description for the wavefile you wish to generate.Select this checkbox to load the generate wave file to the VSG.Select this checkbox to download the generated wavefile to your system.Click Generate to generate the waveform.

Selection

type of packet.

, NULL, POLL, DM, DH and AUX each are-a type of classic packet if the data rate is 1 Mbps.

:  Forward Error Correction is not used in any packet. CRC is always used.

the data rate is more thahttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023n 1Mbps, then it is an EDR packet.LE---Represents a Low Energy packet.

of naming convention for the packet are as follows:

--classic packet with1 slot

DH1---The prefix 2 represents 2Mpbs (an EDR packet) and the suffix 1 represents the packet has a single slot

Parameters

PHY parameters section allows you to set physical layer parameters .Parameter

BT

Filter

Time

Rate

Time

Length

(bits)DescriptionSets the modulation index.Sets the BT product parameter for the bluetooth package.Sets rolloff parameter (in percent) in EDR filter.Sets EDR packet guard time.Sets frequency offset in generated packet.Sets the symbol rate offset.Sets duration of generated signal in slots, including zero gap.Sets the phttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023ayload (excluding header and CRC) length in Bluetooth packets for all packet types; specifies as bits.

LE Packet SettingsLE Header Payload TypeSets LE Header Payload type field in the LE packet header, 0 to 7.LE Sync WordSets LE Sync word in HEX (in transmission order), where A = 1010

EDR Packet SettingsParameterDescription

LAP---sets Lower Address Part in Bluetooth device address in HEXAddress UAP---sets Upper Address Part in Bluetooth device address in HEX(hex)

_ADDR---sets 3-bit Logical Transport Address in bits

--sets the FLOW bit in packet header, which is used for flow control of

over the ACL logical transport.Packet

(bits)ARQN--- sets the 1-bit acknowledgement indication ARQN field in packet

(bits)Flow---sets 1-bit Flow indication field in payload header, which controls the flow

the logichttp://www.51wendang.com/doc/fb33f3710f796b0ba7283023al channels

type--- choose data type in payload.

---all bits are 1

---all bit are 0

FOUR0---four bits that are 1 and four bits that are 0

--bits can be random

Bits (Hex)---If data type is USER, then user must enter data in HEX (in

order, A=1010, min 1 Hex letter required)

---Bit pattern is 10101010. Data length is determined by the data length

.

--sets SEQN bit in packet header, which provides a sequential numbering scheme to order the data packet stream.LLID--- sets 2-bit LLID indication field in payload header, which specifies log-ical link.

文档下载网是专业的免费文档搜索与下载网站，提供行业资料，考试资料，教学课件，学术论文，技术资料，研究报告，工作范文，资格考试，word文档，专业文献，应用文书，行业论文等文档搜索与文档下载，是您文档写作和查找参考资料的必备网站。

文档下载 https://www.51wendang.com/

亿万文档资料，等你来发现