Minutes of and follow up on the Second Solar Keymark meeting, Athens, October 30-31, 2001

Participants

Page 6	Annex A: 	List of participants.

Material given out for the meeting:

- Draft interim/status project report

- CEN /CENELEC Internal Regulations – Part 4: Certification, ‘The CEN/CENELEC European Mark System’

Start of meeting /JEN

- Welcome

- Presentation of participants

- Minutes of the last meeting (see interim report)

WP1.A. Collectors /AAW

Page 7 	Annex B:	Detailed notes from Aasa Wahlstroem/SP

Page 15	Annex C:	Comments in formatted sheet + reference to empty format sheet from Christian Mûller-Schöll/SPF – let’s try to use this document for future comments

Page 16 	Annex D:	A proposal for a new EA interlaboratory comparison (Christian Mûller-Schöll/SPF) + comments from Peter Kovacs/SP + reaction from Jan Erik Nielsen/DTI to EA

Page 18	Annex E:	Uncertainty Analyses in Solar Collector Measurements, Christian Mûller-Schöll/SPF	(reference to separate attached PDF-file)

Page 19 	Annex F:	Rain penetration test (detection of ingress of water 5.7.2.2.):

- Humidity measurements, Christian Mûller-Schöll/SPF

- Comments and suggestions concerning the rain penetration test defined in 5.7 of EN 12975-2, Kostas Voropoulos / NCSR "Demokritos"

- Comments and suggestions concerning the pass criteria of the rain penetration test defined in 5.3.7 of EN 12975-1, Kostas Voropoulos / NCSR "Demokritos"

WP1.B. Factory made systems /AV

Page 21	Annex G: 	Detailed notes from Amelie Veenstra

WP1.C. Custom built systems /JEN

Page 29	Annex H: 	Notes concerning ENV12977 Custom Built Systems from Jan Erik Nielsen

WP1.D. Databases/models/test sequences /HD

Page 31	Annex I: 	Interim report on WP1.D from Harald Drück

WP2. Mark Scheme /JEN

- Report on the status for the Solar Keymark Mark Scheme Proposal (see Solar Keymark interim report)

- An important change in the basic European Mark Scheme rules: The Keymark is now given additional to a national mark

- ENV not allowed as a basis of a Keymark

- Position paper from EBHE: Focus on free trade, and no additional national/regional requirements (see Annex J, page 35)

- Teun Bokhoven: Certification bodies should accept test reports from any accredited lab – include procedure for manufacturers to go directly to test lab and then to certification body. Sampling of initial test sample should be specified. No double inspection of manufacturers – check of ISO 9000 reports should be enough.

- Agreement on proposal to TC312 to open up all EN’s for revision. Follow up: As you have probably seen in the report from the Athens TC312 meeting, the participants in the Keymark project were very active, and they managed to open up all the EN(V)’s for revision. Also new convenors of the TC312/WG’s were appointed; now all of them are participating in the Keymark project. The convenors are now: WG1 (collectors): Emmanouil Mathioulakis (Demokritos), WG2 (factory made systems) Amelie Veenstra (TNO), WG3 (custom built systems) Jan Erik Nielsen (DTI). Except from WG1 the convenors are now the same persons as the corresponding subtask leaders in our project, which should make work more effective – and I’m sure Aasa and Emmanouil will co-operate very closely (please make contact with each other and discuss).

- Annex A and D in EN12975-1 and Annex A in EN 12976-1 should be the basis of the specific requirements

- Discussion about accreditation of test labs because of the statements in B.2.3.2 in CEN /CENELEC Internal Regulations – Part 4: Certification, ‘The CEN/CENELEC European Mark System’: All laboratories or inspection bodies owned or employed by a Certification Body shall be accredited respectively against EN ISO/IEC 17025 (EN 45001) or EN 45004 for the category of products and related test methods covered by the European Standards concerned. In specific cases the Certification Body may evaluate laboratories as an alternative to accreditation. It is seen, that it is not clear whether a test lab actually should be accredited or not. Follow up: After the meeting discussion on mail has been continued, and far most of the participants wants the accreditation as a must. In Annex K, page 36 CEN has given it’s opinion on this matter: The Solar Keymark group has first to see which method it the best one for the testing in the solar energy domain.  We remember that a few years ago TNO raised the question of the high costs of accreditation for laboratory, being perhaps not in proportion with the income of the limited number of tests which can be performed.  Accreditation in the long run seems however to be the solution, preferred by most of the people, especially in matters where trade barriers are playing a role, what is the case.

- Discussion about B.2.3.3 in the same reference stating that: The Certification Body, its laboratories and inspection bodies shall not receive financial subsidy to support their certification, testing or inspection activities, in order to avoid unfair competition. In Annex K, page 36 the view of CEN is presented: If difficulties persist and if needed, a contact should be taken with EA to see what can be done in the specific sector of solar energy, wherein research is an important element and should not be taken in account to evaluate the compliance with the requirement of an independent finance without subsidy. This was done by JEN, but no answer so far.

Action plan:

- Revision of scope – discussion/agreement with CEN.

- Definition of “new products”  (when to re-test) – already in EN12975 – EN12976?

- Surveillance procedures - what to do how often: Agreement on 5-10 years

- Inter comparison tests: Should not be included in the scheme rules

- Future administration (homepage)

- QA of factory processes: ISO 9000

- Manual – (requirement for this already in – maybe format should be made?)

- Classification and specifications on the label: Still to be discussed

- Next draft of specific requirements: 23/11, -01? (has changed to February 2002)

- Final draft spring 2002

- Approved summer/autumn 2002

Next meeting

Next meeting will most kindly be hosted by Hubert Fechner at Arsenal Research in Vienna (http://www.arsenal.ac.at/) May 27-28.

Concluding remarks

The Keymark project is well on track.

AGENDA

Date & time:	Tuesday 30th of October, 15:00 – 19:00 + Wednesday 31th of October, 9:00 – 16:00

Location: 	Hotel Stanley, 1 Odysseos Str., Karaiskaki square, Athens, Greece

Tuesday 30th of October

15:00 Start of meeting /JEN

- Welcome

- Presentation of participants

- Minutes of the last meeting

15:30 WP2. Mark Scheme /JEN

- Report on the status for the Solar Keymark Mark Scheme Proposal

- Discussion on how to proceed with the Mark Scheme Development -> Conclusion and action plan

17:00 Coffee break

17:15 WP3. Dissemination /JEN

- Proposal for homepage -> Decision

- Other actions -> List of proposed actions

17:30 WP1.A. Collectors /AAW

- Implementation of test procedures

- How far is everybody? -> Update of time schedule

- Lessons learned -> List of lessons learned

- Comments on the standards (please give comments to subtask leader before the meeting and bring with you the EN12975-1&2)

- Detailed discussion -> First list of recommendations for improving the EN12975

- Inter-comparison of test results?

19:00 End of first day

Wednesday 31st of October

09:00 WP1.B. Factory made systems /AV

- Implementation of test procedures

- How far is everybody? -> Update of time schedule

- Lessons learned -> List of lessons learned

- Comments on the standards (please give comments to subtask leader before the meeting and bring with you the EN12976-1&2)

- Detailed discussion -> First list of recommendations for improving the EN12976

- Inter-comparison of test results?

10:30 Coffee break

10:45 WP1.C. Custom built systems /JEN

- Implementation of test procedures

- How far is everybody? -> Update of time schedule

- Lessons learned -> List of lessons learned

- Comments on the standards (please give comments to subtask leader before the meeting and bring with you the EN12977-1,2&3)

- Detailed discussion -> First list of recommendations for improving the EN12976

- Inter-comparison of test results?

12:15 Lunch

13:15 WP1.D. Databases/models/test sequences /HD

- Status of the work

- Work plan discussion -> detailed work plan

14:15 General matters

- Status report

- Economy

- Contracts

14:45 Next meeting

15:00 Miscellaneous

15:30 Concluding remarks

16:00 Meeting ends

Initials:

JEN :	Jan Erik Nielsen, DTI

AAW: 	Aase Wahlstroem, SP

AV:	Amelie Veenstra, TNO

HD:	Harald Drueck, ITW

Material to be sent out before the meeting:

- Draft interim/status project report including:

- Notes/minutes from 1.meeting

- Proposal for a CEN European Mark Scheme for Solar Thermal Products

- Notes from meeting with CEN 17/8, -01

- Revised Annex 5 ‘The Keymark’

- Proposed scope for a Keymark working group on solar thermal products

- 1. draft of Rules and Requirements of the CEN KEYMARK Scheme for Solar Thermal Products … Part 2: Special Rules for Solar Thermal Products

- AFNOR reaction on proposed scope

- Latest version of the CEN /CENELEC Internal Regulations – Part 4: Certification, ‘The CEN/CENELEC European Mark System’, this includes among other general requirements the:

- CEN Keymark Scheme Rules

ANNEX A: List of participants

| List of participants in second Solar Keymark meeting, Athens, 2001 |
| --- |
|  | Contact persons | Institution | Phone | Email |
|  | Chris Nikitakis Rainer Berkman Andreas Constantinides | ESIF – European Solar Industry Federation | +30 1 494 4154 +49 831 575 0081 +30 1 924 7250 | esifadm@otenet.gr esifhead@aol.com kikeron@ath.forthnet.gr |
|  | Jan Erik Nielsen | DTI - DK | +45 7220 2463 | jan.erik.nielsen@teknologisk.dk |
|  | Vassilis Belessiotis Emmanouil Mathioulakis Kostas Voropuolos | Demokritos - GR | +30 1 650 3817 | sollab@mail.demokritos.gr |
|  | Amelie Veenstra | TNO - NL | +31 15 269 52 43 | a.veenstra@bouw.tno.nl |
|  | Aasa Wahlstroem | SP - S | +46 33 165589 | asa.wahlstrom@sp.se |
|  | Hubert Fechner | Arsenal - A | +43 1 50550-6299 | fechner.h@arsenal.ac.at |
|  | Fernando Suraci Giacobbe Braccio | ENEA - I | +39 6 3048 3340 +39 0835 974387 | fernando.suraci@casaccia.enea.it braccio@trisaia.enea.it |
|  | Harald Drueck Stephan Fischer | ITW - D | +49 711 685 3536 +49 711 685 3231 | drueck@itw.uni-stuttgart.de fischer@itw.uni-stuttgart.de |
|  | Maria J. Carvalho | INETI - P | +351 21 712 7193 | mjoao.carvalho@mail.ineti.pt |
|  | Carol Buscarlet | CSTB - F | +33 04 9395 6714 | buscarlet@cstb.fr |
|  | Christian Müller-Schöll | SPF - CH | +41 55 222 48 25 | cms@solarenergy.ch |
|  | Teun P. Bokhoven Werner Kolderhoff | Astig – A Solar Thermal Industry Group | +31 78 625 0900 +49-6123-1785 | t.p.bokhoven@econosto.com koldehoff.werner@t-online.de |
|  | Danjana Theis Klaus Kimmerle | IZES/TZSB - D | + 49 681 5891 831 + 49 681 9762 840 | theis@htw-saarland.de kimmerle@izes.de |
|  | V.K. Sharma | ENEA – I | +39 835 974220 | sharma@trisania.enea.it |
|  | Pilar Navarro-Rivero | Technological Institute of Canary Islands – E | +34 928 723026 | privero@itccanarias.org |
|  | Iordanis Paradissiadis | Greek Solar Industry Association – GR | +30 1 9416057 | iparad@intersolar.gr |
|  | Peter Kovacs | SP - S | +46 33165662 | peter.kovacs@sp.se |

ANNEX B: Notes concerning WP1.A EN12975 Solar Collectors

Notes taken by Åsa Wahlström SP.

# Implementation of test procedures

To label solar collectors with the Solar Keymark test must have been performed according to EN12975-1, paragraph 5.2 Required tests a)-j).

- Five laboratories are planning to be accredited for all tests

- Three laboratories will exclude test i) Freeze resistance test. This test is, however, only for collectors that are claiming to be freeze-resistant. The laboratories therefore can offer complete tests for Solar Keymark for all other collectors while collectors that are claiming that they are freeze resistant must do test i) at another laboratory.

- One laboratory will so far exclude test b) and one will so far exclude parts of test g) for the moment. However, both might include at a later stage so there are feasible that they can offer all tests for Solar Keymark later.

- One laboratory will be accredited for test h) Thermal performance and one for the tests a) Internal pressure for absorber, i) Freeze resistance, h) Thermal performance, c) Exposure and e) Internal thermal shock. Additional tests must be performed at another laboratory.

The implementation and accreditation plans are shown in Table WP1.A.1.

# Update of time schedule

Two laboratories are already accredited for complete test procedures for Solar Keymark label and in March 2002 will additional four laboratories be accredited. Three laboratories will feasible be able to perform the complete test procedures for Solar Keymark label in September 2002. All planed accreditations of test procedures will be performed before the project end in March 2003. See accreditation time schedule in Figure WP1.A.1.

Thermal Performance Tests

Information has been collected about which procedure each laboratory will base their accreditation for test h) Thermal performance. The purpose is to elucidate with whom the laboratories may exchange information and inter-compare test results.

- Eight laboratories will be accredited according to the steady state (SS) outdoor thermal performance test procedure.

- Four laboratories will be accredited according to the steady state (SS) indoor thermal performance test procedure.

- Three laboratories will be accredited according to the quasi-dynamic (QDT) outdoor thermal performance test procedure.

Some laboratories will implement some test procedures in research and development purpose but has no plans to be accredited according to the test procedure. (See Table WP1.A.2)

Table WP1.A.1 	Implementation and accreditation of test procedure.

EN12975-1, 2 Solar Collectors

| Laboratory | Date of implementation | Date of accreditation | Tests planning for accreditation stated in EN 12975-1 § 5.2 a) – j) |
| --- | --- | --- | --- |
| Arsenal (Austria) | 2001-12-31 | 2002-03-01 | All |
| CSTB (France) | 2002-03-01 | 2003-03-01 | h) |
| Demokritos (Greece) | 2001-06-30 | 2002-03-01 | a), b), c), d), e), f), g), h), and j). Excluded test: i) Freeze resistance |
| DTI (Denmark) | 2001-12-31 | 2001-12-31 | a), c), d), e), f), g), h), and j). Excluded tests: b) High temperature resistance i) Freeze resistance |
| ENEA (Italy) | 2001-12-31 | 2002-03-30 | No information |
| INETI (Portugal) | 2002-03-31 | 2002-09-01 | a), b), c), d), e), f), g), h), and j). Excluded test: g) Mechanical load (5.9.1 is only performed at the moment) i) Freeze resistance |
| ITW (Germany) | 2001-12-31 | 2002-03-01 | All |
| IZES (Germany) | 2001-05-01 | 2001-08-23 | All |
| SP (Sweden) | 2001-12-31 | 2001-12-31 | All |
| SPF (Switzerland) | ongoing | 2001-04-20 | All |
| TNO (The Netherlands) | 2001-12-31 | 2002-06-01 | a), c), e), h) and i) |

Figure WP1.A.1 	Accreditation of test procedure according to EN12975-1,

Solar Collectors

Table WP1.A.2 	Test procedures for implementation (I) and accreditation (A) of the Thermal Performance test (EN12975).

| Laboratory | SS Outdoor 6.1.4 6.2.4 | SS Indoor 6.1.5 6.2.5 | QDT Outdoor 6.3 |
| --- | --- | --- | --- |
| Arsenal (Austria) | A | A | A |
| CSTB (France) | A |  |  |
| Demokritos (Greece) | A |  | I |
| DTI (Denmark) | A |  |  |
| ENEA (Italy) |  |  |  |
| INETI (Portugal) | A |  |  |
| ITW (Germany) | A | A | A |
| IZES (Germany) | A | I | I |
| SP (Sweden) |  | A | A |
| SPF (Switzerland) | A |  | I |
| TNO (The Netherlands) |  | A | I |

##### Lessons learned and Comments on the EN12975-1&2

- The purpose with collecting comments was discussed and it was clarified that the main aim is to help each other in implementing test procedures for Solar Keymark labelling, to identify difficulties with performing the tests and to interpret the harmonised standards. If needed primarily write Keymark internal procedures for the operational procedure of performing the tests and secondly give suggestions for revision of the standards to the CEN/TC 312 for the next scheduled revision of the harmonised standards.

- Some of the comments given to AAW were just small editing corrections of the standards and it was decided that AAW would add them to the notes from the meeting. The following comments were of brought up for discussion:

  - Uncertainty of test results

  - Rain test

  - Specify properties of coating

  - Exposure test

  - Annex M

  - Second method of identification of parameters in QDT

  - Heat transfer fluid

  - Tilt angle

## Uncertainty of test results

A procedure of deciding the uncertainty of the end result of the testing is missing in the standard. CMS explained that according to the new laboratory standard EN 17025 there are two ways on how to give the uncertainty.

- Calculation of the total result overall uncertainty with strict, metrological and statistical acceptable methods.

- To identify all components that contribute to the uncertainty and make a reasonable estimation based on the performance and range of measurements.

Furthermore EN 17025 says that in the case that approved testing methods gives limits for the main uncertainty sources and specifies how the account of the calculated result should be done, the laboratory will fulfil the demands for uncertainty account if the method is followed.

It was thereafter discussed that for thermal performance it is difficult to directly follow the first suggestion of uncertainty calculation and for the second suggestion it was discussed whether the standards gives all required limits.

- It was decided that the Solar Keymark laboratories would try to investigate if a harmonised procedure of how to calculate the uncertainty can be created as an informative Annex.

- KV has developed one method for SS uncertainty calculation that he would supply to the Solar Keymark.

- Also AV has a report on uncertainty calculation that she would supply.

- Inputs from all participants were requested for this matter.

## Rain test

There were several comments of the rain penetration test of being ambiguous, difficult and subjective. In the standards there are three different methods for detecting rain penetration and the discussions concluded that all of them needs further specifications.

- The Solar Keymark will write an internal paper that will address the difficulties with each method and make suggestions of how to clearer define the methods.

- It was concluded that all three methods are needed.

- KV will write a short suggestion of the method 5.7.2.2.a weighing of the collector.

Done, see Annex F

- CMs will write a short suggestion of the method 5.7.2.2.b humidity measurements. Done, see Annex F.

- AAW will write a short suggestion of the method 5.7.2.2.c measuring of condensation level. Will be done in February by Aasa.

## Specify properties of coating

The documentation of test results requires only the name of the material of the absorber coating. This makes it difficult to identify the material. It was discussed if one can require that the manufacturer must give values for  and  for documentation of the coating. This point would be included in the list of recommendations for revision.

## Exposure test

A suggestion of the possibility of adding an indoor test to the standard was discussed. This was concluded that it was not the task of the Solar Keymark since it will not lead the accreditation process forward.

It was also addressed that the result is somewhat qualitative but this was not regarded as a problem.

Annex M

It was questioned why Annex M only is informative? In Annex G that is normative it is stated that if thermal performance has been tested according to 6.3, test results according to Annex M should be attached. Therefore it was concluded that Annex M should be normative in case of testing according to 6.3.

## Second method of identification of parameters in QDT

A suggestion of including algorithms for non-linear models beside the Multiple Linear Regression (MLR) for identification of parameter values in the QDT equation was discussed.

This could be considered if the method leads to the same result that could be verified in an inter-comparison of test results of QDT measurements.

## Heat transfer fluid

A question if any laboratory uses the possibility of using another heat transfer fluid than water was made. All laboratories used water except SPF that used glycol.

## Tilt angle

The tilt angle of the solar collector should be mounted in 45according to the standard. It was addressed that this will make comparison of measurements at different laboratories difficult since the incident angle will be different at different latitudes.

- Finally it was concluded that there are a few things that need revision in the standards and JEN will inform at the next CEN/TC 312 meeting (1-2 November 2001) that the Solar Keymark recommends that the EN12975 should be open for a new revision period. (JEN comment: He did, and it was accepted)

- It was also a request that all participants should consider how testing times and costs could be reduced during implementation of the test procedure. To also consider if some tests not really are necessary and can be optional.

###### Inter-comparison of test results

The following points there discussed for inter-comparison of test results:

- Benchmark test for parameter identification for QDT

- Round Robin

- Comparison of SS with QDT

## Benchmark test for parameter identification for QDT

Inquires was made of a test that verifies that a set of measurement values collected during a QDT test will be evaluated in the same way at the different laboratories.

- It was decided that AAW will distribute a set of measurement data in the beginning of 2002 there all laboratories are invited to perform an parameter identification for comparison (specifically the three laboratories that will be accredited according to the QDT test procedure).

## Round Robin

A Round Robin on thermal performance has been suggested from several laboratories. CMS and HD informed that within the EA (European Accreditation) a Round Robin test for solar collectors will begin in 2002 and continue for two years. It was therefore concluded that there is no need for another Round Robin within the Solar Keymark.

## Comparison of SS with QDT

At SP measurements both with SS indoor and QDT has been made for one glazed and one unglazed collector and the results will be compared and evaluated.

- Theses kinds of comparisons were inquired from other participants.

- If there is a response from other participants AAW will create a reference list of the comparisons that have been done.

# List of incoming comments

- ISO 17025 offers in Claus 5.4.1, NOTE:

"... standards that contain sufficient ... informations on how to

perform the tests ... do not need to be ... rewritten as internal

procedures if these standards are written in a way that they can be used as published be the operating staff in a laboratory."

Question to all of you:

Do we want to aim with the revision of the methods standards to fulfil the requirements of this NOTE??

- Mixup of "Uncertainty" and "Accuracy" has to be clarified (all over, e.g. 6.1.2.3.2.1.) Sometimes the values given are to be questioned.

- EN 12975-2 treats a lot about sensors that is also treated in Quality managements acc. to ISO 17025. (E.g. calibration intervals.) How can we resolve double-specifications in these two standards?

- Has the coating to be specified in the test reports? How can we identify it? What if the manufacturer refuses to give the exact specification?

- Do we want to have a procedure for the estimation of the measurement uncertainty in the standard? Normative or informative?

- All the comments to the voting on 12975 sent in by Switzerland, Spain, UK, Germany, France, Sweden

- Proposal for corrections of the new European Standards in specific points

a) Rain penetration test (EN 12975-2)

From the three alternative methods of measuring the penetration of water into the collector (weighting the collector, humidity measurement, measuring the condensation level), only the first one is reliable.

The measurement of humidity inside the collector is a method which introduces many uncertainties due to its nature. Moreover, the requirements and accuracy of the measuring instrument and the point of measurement are not specified.

Also, the procedure for the measurement of the condensation level in the inside part of the cover are not specified. Measuring the area of the condensate is very unreliable since this area does not have regular shapes and is not evenly distributed in the cover.

Thus, the only reliable method is the weighting of the collector and it is proposed that only this should be mentioned in the Standard.

- Proposal for corrections of the new European Standards in specific points

b) Rain penetration test (EN 12975-2 and EN 12975-1)

According to the standard, the minimum accuracy of scale must be + 1gr for the measurement of the collector weight and the acceptance criterion is the determined water quantity shall be less than 5 gr/m2.

Since there are collectors that their weight  can reach over 50 kg, it is obvious that the measurement of such a collector with the accuracy of + 1 gr presents many uncertainties related to other environmental parameters and requires very expensive balances.

The permissible amount of water of 5 gr/m2 is too small, since in praxis almost all collectors present such water penetration, especially small ones. Moreover, it is noted that rain penetration test is actually the only ones that has a quantitave acceptance criterion.

It is proposed that the accuracy of the balance should be 5 gr/m2 and the acceptance criterion for the collector should be 30 gr/m2.

- Standardization activities concerning evaluation of uncertainty in test results

It is obvious that any test results should be accompanied by its uncertianty. However, as in the ISO Standards, there is no provision or methodology in the new European Standards for the determination of the uncertainty of test results.

It is proposed, and in view of future certification procedures, that CEN should start activities for the investigation of this matter with the scope to end up with a Standard defining acceptable procedures concerning evaluation of uncertainty in test results of solar collectors and systems.

- 4  Symbols and units, page 5: coefficient b0 for the incidence angle modifier K(b is missing

- Exposure test, page 12: the possibility of an indoor test should be included.

- 6.3.4.8 Collector Parameter identification tool,  page 66:

Beside the method of Multiple Linear Regression (MLR) also algorithms for non-linear models are discussed. These are the Levenberg-Marquart-Algorithm /Press/ and the DF-program as used for Dynamic System Testing acc. to ISO 9459, Part 5. The work within IEA SH&C Task XIV showed that both approaches lead to the same results. The advantage of MLR is the simplicity of the data evaluation, whereas the non-linear model is more flexible with respect to special collector designs. We propose that both methods should be  taken into account for the revision of the standard.

- Annex C, page 106: Heading C.2 Calculations must be heading C.3 Approach - - Description of how to install the sensor is missing

The number of measurements and the duration of the measurement respectively are missing.

- Annex E, page 111: symbol eta0

6.1 Outdoor, 6.1 Indoor

6.1 Outdoor, 6.3 Outdoor

”Power Output per collectorUnit (W)” it should be indicated  that these values are for normal incidence

- Annex M, page 133:

Why only informative?

- Exposure test 5.4.3 is unclear (30 days – 30 hrs?)

- 6.1.5.2. Reference to table 1 should be table 5

- 6.1.7.1 Figure 5 is wrong figure

- Rain test criteria ambiguous

- part 1, p4: rain penetration test, problem to detect water entry without dismantling/destroying the collector

- QDT: Benchmarktest for parameter identification

- Round Robin Test should be performed

- General

Some tests seem to us too expensive compared to the result (e. g. rain penetration test). Some other ests seem rather useless. For instance in the past we used to do an impact resistance test with a hailstone launcher and then we gave up the test because all collectors passed it.

- Mechanical load test

The test according to EN 12211 - Windows and doors - Resistance to wind load - (7.4 safety test) has the same objective than the tests described in 5.9 of EN 12975-2. We propose to adopt the former as an alternative to the latter. This test procedure is currently applied in the CSTB test laboratory. Then we propose the following amendment to EN 12975-1:

clause 5.2 g): add "alternatively the collector can be subjected to a safety test according to EN 12211"

- Exposure test

We feel the test in the standard is too short and the result is too much qualitative. We proposed that a working group (of CEN) will study the possibility of carrying out exposure tests associated with quantitative assessment methods (thermal, mechanical, ?).

- Heading Annex D and Annex F should be without “… under steady state conditions” since both performance test reports are also for reporting tests done according to the quasi dynamic method.

Annex C:

Comments in formatted sheet from Christian Mûller-Schöll/SPF

# TC312 Standards Revision Comment Sheet

| Character of the comment | Comment reference number (edited by convenor) |
| --- | --- |
| Exact reference | Clause 6.1.2.3.2.1 | Quote (if necessary) “ ” |
| Author Christian Müller-Schöll | E-mail collectors@solarenergy.ch |
| Describe the problem In many places in our standards the word "accuracy" is associated with a numerical figure. However VIM states "accuracy is a qualitative concept" and consequently NIST Technical note 1297 states (Appendix D) "one should not use it quantitatively, that is, associate numbers with it; numbers should be asociated with measures of uncertainty instead." Plus, there is a mixup of the words "uncertainty" and "accuracy" which is not correct.Furthermore, ISO 17025 clause XXXXX states that calculation of the uncertatinty of the end result can be omitted if the test method standard limits the uncertainty of the measurands that has most influence on the end result. I believe that this is the concept we should follow |
| Propose an improved text Replace heading till "0,1 K" by: “6.1.2.3.2.1 Required uncertaintyThe temperature of the heat transfer fluid at the collector inlet shall be measured with a standard uncertainty (coverage factor k=1) of 0,5 K” |
| Which points require further discussion? 1. Will we refer to use a coverage factor not being 1 here? I believe that in this stage of the uncertatiny calculation process whe should work with single standard uncertainties (i.e. k=1) 2. We have to discuss about the value. I believe that 0,5 K is appropriate and realistic. |
| Remarks This problem also applies to all other chapters that deal with measurements in 12975-2. (see other comments). VIM = Vocabulary in metrology (by ISO)Nist Technical Note 1297 available on Internet (free download). |
| Author’s personal comment reference 12975-2_1 |
| Connection to other comments (edited by convenor) |

Comments have to be submitted in English language.

Please send your comment to the appropriate convenors as WORD-file by e-mail.

Please avoid comments to be longer than one page. Be brief and clear.

This file can be used as template. Save it in your templates directory or simply double-click in the Windows Explorer from any directory.

An empty format sheet is attached as a separate file, ready for use: TC312 Standards Revision Comment Sheet.dot

ANNEX D: A proposal for a new EA interlaboratory comparison

| Proposed by: | Swiss Accreditation Service SAS Hanspeter Ischi Lindenweg 50, CH-3003 Berne-Wabern |
| --- | --- |
| Task group responsible: | ??? |
| Quantity to be measured: | Efficiency Curve Parameters of a Solar Collector (A) Incidence Angle Modifier (A) Calculation of Thermal Capacity (A) Pressure drop curve (B) Stagnation Temperature (B) Assessment of Resistance to Mechanical Load (B) |
| Samples to be distributed: | Solar flat plate collectors |
| Measurement range: | As prescribed in EN 12975-2 |
| Organising Accreditation Body: | Swiss Accreditation Service SAS, Switzerland |
| Reference Laboratory: | SPF Institut für Solartechnik HSR, Mr. Christian Müller-Schöll Oberseestr. 10, CH-8640 Rapperswil With technical support by: ITW Institut für Thermodynamik und Wärmetechnik Universität Stuttgart, Mr. S. Fischer Pfaffenwaldring 6, D-70550 Stuttgart |
| Homogeneity and stability of the samples: | Homogeneity: A manufacturer will produce the test samples with special care that all materials are taken from same batches of the suppliers and that all samples are manufactured with the same process parameters. Stability: A solar collector is assumed to have a service life of about 20 years with little change in performance parameters (1...5%). There should be no changes in the product during the comparison. |
| Measurement procedure: | Two test samples (A1 and A2) will be sent out as two loops for determination of efficiency parameters (marked "A" in section 3). The determination shall be performed by either of the methods described in EN 12975-2. Laboratories are encouraged to apply more than one method. The number of participating laboratories is limited to about 12 (6 in each loop). The samples will be measured by the reference laboratory at the beginning and at the end of each loop. Six test samples (B1 through B6) will be sent out for determination of pressure drop, stagnation temperature and resistance to mechanical load test (marked "B" in section 3). The reason for this procedure is that these tests might take a long period of time in the laboratories (months) and the test samples might be destroyed by the last test (mechanical load). The results of the tests "A" and tests "B" have absolutely no interconnection. The number of participating laboratories is limited to 6. The samples can not be tested by the reference laboratories as the tests might destroy the samples. Homogeneity of the samples is assumed. |
| Transportation method: | Shipment by usual freight carrier. |
| Proposed date of the beginning: | April 2002 |
| Estimated date of distribution of the final report: | April 2003 |
| References: | EN 12975-2, 2001 |
| Remarks: | The additional expenses of the reference laboratories are to be covered by the participants in equal shares. |

Berne-Wabern, 05.09.2001  Is/Mc

Comments from Peter Kovacs/SP:

Concerning additional expenses of the reference laboratories we do not agree

that this should be covered by the participants. To our knowledge common

practice in ILC activities is that each laboratory manages their own costs.

(The work of the reference laboratory should be regarded as preparative work

and thus financed from an appropriate superior authority).

Reaction from Jan Erik Nielsen/DTI:

Dear Robert Benyon

From Jan-Ulrik Holtoug I have your mail below. Could you please inform me of the status of the ILC on flat plate collectors.

From one of my colleagues, Peter Kovacs at SP in Sweden I've got the following comment:

"Concerning additional expenses of the reference laboratories we do not agree

that this should be covered by the participants. To our knowledge common

practice in ILC activities is that each laboratory manages their own costs.

(The work of the reference laboratory should be regarded as preparative work

and thus financed from an appropriate superior authority)".

Speaking on behalf of the "Solar Keymark Group" I agree with Peter that we at least has to discuss this among the participating labs. And by the way, how do you choose the labs to participate in the ILC?

The Solar Keymark Group represents 11 main European solar thermal test labs participating in the EU-Altener project "Solar Keymark" and working on establishing a CEN Keymark for solar thermal products based on the new EN's for these products.

Thank you and best regards

> Jan Erik Nielsen

# ANNEX E: Uncertainty Analyses in Solar Collector Measurement

# Christian Müller-Schöll, C and Frei, U.: “Uncertainty Analyses in Solar Collector Measurement”, Proceedings of Eurosun 2000, Copenhagen

# Attached as a separate PDF-file: 19_15_Christian_Muller_Scholl_UNCERTAINTY_ANALYSES_IN_SOLAR_C.pdf

# Mathioulakis,E, Voropoulus, K. and Belessiotis,V.: “Assessment of Uncertainty in Solar Collector Modelling and Testing”. Solar Energy Vol.66. No.5, pp. 337-347, 1999, Elsevier Science Ltd.

# Attached as a separate PDF-file: science.pdf

# Annex F:	Rain Penetration Test

# Suggestion of the method 5.7.2.2.b: Humidity measurements, Christian Mûller-Schöll/SPF

As far as I see my job,we are looking for something quantitative, which

is still not very easily done, and might need some mor e experience and

also input from other labs, but I will try something that is on the safe

side:

******

For flat plate collectors, an "absolute humidity sensor" has to be

placed in the air gap between the absorber and the glazing. Care shall

be taken that the sensor does neither touch the glazing nor the

absorber. This type of sensor usually consistst of two elements, a

relative humidity sensor and a temperature sensor. Absolute humidity is

assessed by calculation. The collector and the sensor shall be connected

to the hot fluid loop for at least five hours before the rain is

switched on in order to stabilize. When testing outdoors, in order to

minimize disturbances of the measurement, the collector shall be shaded

during the whole test.

The humidity shall be monitored from five hours before the raining till

at least five hours after the raining.

Results

Any visuble droplets in the inside of the collector

or a humidity that exceeds 20 g/kg at any time during the periods

described above, or a humidity that doubles from the value measured

after stabilization during the periods described above, shall yield

"major failure" (a mark of "2").

NOTE: Ingress of water might also be detected at a later stage, during

the test "Final inspection", Clause 5.11.

Remarks from the author:

We might also need to add a chapter about humidity sensors,

calibrations, uncertainties etc. in the appropriate section.

Numerical figures in the text proposed above are subject to discussion.

******

--

Christian Müller-Schöll

SPF-HSR

Comments and suggestions concerning the rain penetration test defined in 5.7 of EN 12975-2, Kostas Voropoulos / NCSR "Demokritos"

Point 1:

The Standard EN 12975-2 suggests three alternative methods of measuring the penetration of water into the collector, after the rain penetration test (5.7.2.2):

- weighting the collector

- humidity measurement

- measuring the condensation level

However, only for the first method it specifies the procedure and the measuring device together with its uncertainty. It says nothing about the other two methods, i.e. the procedure to be followed, instruments, accuracies, e.t.c.

The measurement of humidity inside the collector is a method which introduces many uncertainties due to its nature and it is not mentioned when, how and at which point of the collector this measurement is conducted.

The procedure for the measurement of the condensation level in the inside part of the cover is not also specified. Measuring the area of the condensate is very unreliable since this area does not have regular shapes and is not evenly distributed in the cover.

Our opinion is that the whole procedures for both humidity and condensation level measurements should be mentioned clearly in the test of paragraph 5.7 of EN 12976-2.

Point 2:

In 5.7.2.2 of EN 12975-2, it is stated that the minimum accuracy of scale must be + 1gr for the measurement of the collector weight.

Since there are collectors that their weight  can reach over 50 kg, it is obvious that the measurement of such a collector with the accuracy of + 1 gr presents many uncertainties related to other environmental parameters and requires very expensive balances. It is proposed that the measurement should be conducted with an accuracy of 5 gr/m2 collector area.

Point 3:

In the Standard there is no specific mention about the several types of collectors that can be tested in rain penetration, concerning their construction materials. However, there are collectors which have wood on their backs.

Our proposal is that an extra paragraph should be included in 5.7 of the Standard, stating clearly that in cases of collectors having wood in the backs (or other special cases), the laboratory must take all necessary measures so that the final result will not be influenced or altered by the special construction of the collector during  the conduction of the test.

Comments and suggestions concerning the pass criteria of the rain penetration test defined in 5.3.7 of EN 12975-1, Kostas Voropoulos / NCSR "Demokritos"

In this paragraph it is stated that the pass criterion for the collector concerning the rain penetration test, and in the case that the weighting method has been used, is that the determined water quantity shall be less than 5 gr/m2.

According to our opinion, this figure is too small, since in praxis the majority of the collectors present such water penetration. It should also not be forgotten that actually this the only test in which a quantitative pass criterion is set, whereas in all other tests it is the "no major failure". This may cause the unhappy situation that a collector with medium efficiency can pass the rain penetration test due to its "heavy sealing", thus being certified and another collector with very high efficiency can be excluded because it did not meet the 5 gr/m2 rain penetration criterion.

It is therefore proposed that the acceptance criterion of the rain penetration test for the collector should be 30 gr/m2.

# ANNEX G: Notes concerning EN12976 Factory Made systems

Notes taken by Amelie Veenstra TNO

# Implementation of test procedures - status

Solar Keymark label for “factory made solar thermal systems” requires compliance with EN12976-1, chapter 4. The relating tests are EN 12976-2, chapter 5.

- Four laboratories are planning full accreditation for these tests (Democritos, ENEA, INETI, TNO)

- Three laboratories are planning accreditation for DST thermal performance test only (CSTB, ITW, IZES)

- All above laboratories will only implement the obligatory tests, not the optional tests

- Accreditation status:

- DST accreditation ready: INETI, IZES, TNO

- CSTG accreditation ready: Democtiros, INETI

- Quality tests accriditation ready: none

The implementation and accreditation plans are shown in Table WP1.B.1.

Tabel WP1.B.1 Status implementation EN 12976 – 2nd meeting

| Laboratory | Deadline for implementation | Deadline for accreditation | Tests to be implemented: A. Quality tests B. Th. performance |
| --- | --- | --- | --- |
| Demokritos (Greece) | 2002-05-30 | 2002-09-02 | A. All B. CSTG (CSTG accr. ready) |
| ENEA (Italy) | 2001-09-30 | 2001-12-30 | A. All B. CSTG |
| CSTB (France) | 2001-12-30 | 2003-06-30 | A. None B. DST |
| INETI (Portugal) | 2002-03-31 | 2002-09-30 | A. All B. DST and CSTG (DST and CSTG acc. ready) |
| ITW (Germany) | 2002-12-30 | 2003-12-30 | A. None B. DST |
| IZES (Germany) | 2001-05-01 | 2001-08-23? | A. None B. DST |
| SPF | Ready | No accriditation planned | A. None B. DST |
| TNO (Netherlands) | 2001-12-30 | 2002-06-30 | A. All B. DST (DST acc. ready) |

# Lessons learned and Comments on the EN12976-1&2

General resolutions

Like with EN 12975 discussion, it was agreed on to resolve implementation matters within this consortium, acting as a platform. This includes technical and accreditation matters, as well as interpreting questions and comments on the standards.

The subtask WP1.b leader (TNO-AV) will collect and maintain a uniform comment sheet on the standards, for the next revision round of CEN TC 312.

Also, AV will prepare a list of recommendations and alterations to be included in the Mark scheme rules.

Furthermore, AV will act as a contact when a technical problem arises while implementing the standard tests.

Comments, discussion and action

- Some wrong references and other editorial issues

- 1. Implementation of SMT Bridging the Gap result DST and CSTG
2. Comparability CSTG and DST concerning reference conditions

- Round robin tests needed?

- Daily load pattern for Long Term Performance Prediction (LTPP)

- Conformity of slightly changed products

- Development of standards “virtual” system for quality check

- Methods for calculating measurement uncertainty

- Availability InSitu software for DST

- Presently conducted DST tests in Europe and acceptance

- Testing costs

- Classification and sequence of tests

Ad. A. Editorial

The group is asked to forward all found editorial mistakes to AV, to be put in the comments list for CEN TC 312.

Ad. B. Reference conditions and SMT results

Final results of SMT “Bridging the Gap” should be implemented in DST and CSTG standard. Most important are the newly established reference conditions for CSTG, in order to guarantee comparability of DST and CSTG.

Because of the expected long time schedule for revising the ISO standards, is was advised to include these reference conditions into Solar Keymark Scheme, for the time being.

Ad. C. Round robins

Till further notice, the group does not advise “round robins” for any of the tests in EN 12976-2.

Ad. D. Daily load pattern

It was stated that a daily load pattern of “100% draw off at 6hrs after solar noon” is discriminating for some system types. This was recognised by the group, though it was stressed that this 100% draw off was a compromise made on TC 312 level. The reason for this was that the CSTG method is not capable off performing LTPP calculations with other draw offs. Possibly this could be changed in a next revision of CSTG standard. This issue will stay on the list of comments.

Ad. E. Conformity of slightly changed products

The questions was raised how to test a system which has slight changes compared to a previous, already tested system. For instance, when a new system type is developed with a new store and an “old” collector, collector test need not to be repeated. This topic is related to the issue “lifespan of the keymark”, and should be dealt with while establishing the Solar Keymark scheme rules (WP2).

Ad. F.  “Virtual” system for quality check

In relation to quality checks for processing test data (for thermal performance), there was suggested to establish a virtual system described as “standard test dataset”. Quality of testing cannot be checked with such a dataset, but processing data, fitting data and calculating can. For instance:

- A standard DST test dataset (D1 files) can be used to run intermediate checks on data processing, parameter fitting and LTPP calculations.

- A standard DST test dataset with uncertainty band gaps (“D1 ±∆D1”, based on sensor accuracy and/or estimation of random errors) can be used to run intermediate checks on uncertainty in end result of LTPP.

- This standard dataset can also be used in interlaboratory comparison.

Standard date sets can be incorporated within WP 1.d task. AV could supply such a standard data set for DST results.

Ad. G. Measurement uncertainty

When ISO 17025 is in force (beginning of 2002) accreditation boards will ask for procedures to calculate uncertainty of measurements. For discussion of this issue, see also report WP 1.a.

With respect to DST and CSTG testing and uncertainty, it is the belief of AV that the report of SMT project B-gap is sufficient proof for reporting uncertainty, at least for the time being.

AV will do an extra check at the Dutch accreditation board (via TNO Quality Manager).

Ad H. Availability InSitu software

There were some doubts about the availability of InSitu software for DST parameter fitting procedure. The general opinion is that our dependence on one commercial company is not favourable, especially because the algorithms are not fully described in the DST standard. More important, the question is whether accreditation boards will accept the use of this software with a non-open source code and no possibilities for validation checks at the labs. There are several suggestions to deal with this problem:

- Check at accreditation board if the present situation is acceptable. AV will check.

- Insist on open source code, or else full description of algorithms within the standard, through ISO. CEN TC 312/WG2 convenor will check.

- Investigate possibilities of the TRNSYS model (action by who?)

- Mr. Du Gazelle from Belgium will check if their work on this topic can be of help.

The concluding remark is that Solar Keymark group can forward questions to CEN TC 312 and ISO TC 180 level, but cannot resolve this issue within the Keymark project.

Ad. I. European status DST

A question was raised about the dissemination and use of DST method on a commercial base. An inventory amongst the group gave the results beneath, from which you can conclude the dissemination is fairly good:

| Institute | Approx. Number tests/year | Remarks |
| --- | --- | --- |
| TNO | 10-20 | Dutch reference conditions |
| CSTB | 10-20 | DST related French test type |
| INETI | 1 |  |
| IZES | 3-5 |  |
| SP | 5 |  |
| ITW | 2 |  |

Ad. J Test costs

Concern was mentioned about the expected test costs. The group was asked to develop the tests procedures (logistically) as efficient as possible and give comments on standards from this respect.

Another issue related to this was the amount of requirements for factory made systems. Because this amount was criticized, the group decided to circulate an enquiry amongst the group about the necessity of the requirement. AV will circulate this enquiry.

Ad. K. Classification/ test sequence

With the revision of prEN 12976-1 to EN 12976-1 the table about “Classification of tests” was deleted. This type of classification was not allowed in a product standard. For certification reasons a classification could although be of need. Also a sequence of tests may be needed in conjunction with collector tests. The group could discuss and decide on adopting proposal 3 of the next chapter.

| Person | Action |
| --- | --- |
| AV | Will prepare formal comment sheets to be forwarded to CEN TC 312 |
| AV | Will draw proposals to be implemented in scheme rules |
| AV | Will check acceptance of commercial inSitu software for DST calculation |
| AV | Will check if SMT B-gap uncertainty calculations DST and CSTG are acceptable for accreditation |
| AV | Will act as a contact for technical problems while implementing tests |
| AV | Will circulate enquiry on amount of requirements |
| Du Gazelle | Will inform Solar Keymark group on DST parameter fitting in Belgium |

# List of recommendations /alterations for mark scheme rules

Proposal 1: Adopt reference conditions for CSTG methods according to reference conditions established with the SMT project “Bridging the Gap”.

Proposal 2: Adopt table for retesting slightly changed product like in table 1 (source prEN 12976-1: 1996):

In  Table 1, guidelines are given to assess whether one or more tests have to be repeated in order to assure that the changed product is still in conformity with the requirements.

Table 1: Guidelines for repetition of tests in case that components have been changed

| Component Test | Antifreeze fluid | Control unit | Collector | Store | Heat exchanger | Supporting frame | Collector piping or installation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Freeze resistance test | X | X2) | X3) | X4) |  |  | X3) |
| Over temperature |  | X2) | X | X |  |  | X |
| Pressure resistance |  |  | X | X | X |  | X |
| Collector tests |  |  | X |  |  |  |  |
| Lightning protection |  |  | X | X4) |  |  | X5) |
| Mechanical strength |  |  |  |  |  | X |  |
| Thermal performance7) | X1) | X | X | X | X |  | X6) |
| Ability to cover load7) | X1) | X | X | X | X |  | X6) |
| 1): Usually not affected, except when the viscosity of the fluid changes. 2): If the control unit is involved in frost or overheating protection. 3): Mainly for drain-back systems. 4): If the tank is placed outdoors. 5): If the material is changed (especially non-metal to metal) 6): Mainly for thermosyphon systems 7): When, in the judgement of the second/third party, changes have a minor character or will improve the performance of the system, retesting of the performance and the ability to cover the load is generally not necessary and the old results can be used. |

### Proposal 3: Consider adopting the following text as “initial testing procedure” (source: prEN 12976-1; 1996).

### Initial testing

The system to be tested shall be installed under responsibility of the manufacturer. Following installation, the manufacturer (or a representative party for the manufacturer) shall sign a statement that the system has been installed according to the installation manual and is in good working order. A copy of this declaration shall be included in the test report.

The following tests and checks shall be performed on the system according to the regimes given in table 2. The regimes are as follows:

A:	This test or check is related to the safety of the system for the user. When this test fails, the system is considered not to be in conformity with the requirements.

B:	When this test or check fails, the system may be repaired or modified and the test repeated once. When the repeated test fails, the system is considered not to be in conformity with the requirements.

C:	For this test there is no pass/fail criterium in the Requirements; the measured value from the test is reported but not subject to requirements.

D:	This test or check is optional; the results have no influence on the conformity to the requirements.

Table 2: Regimes of tests for initial testing.

| Clause | Clause in prEN XXY-2 | Name of test | Regime |
| --- | --- | --- | --- |
| 4.1.3.1 | 5.1 | Freeze resistance test | B |
| 4.1.4.1 | 5.2 | Over temperature protection test | A |
| 4.1.5 | 5.3 | Pressure resistance test | A |
| 4.1.2 | 5.4 | Water contamination test (optional) | D |
| 4.4.1 | 5.5 | Lightning protection test (optional) | D |
| 4.3.2 | 5.6 | Mechanical strength and durability of supporting frame test (optional) | D |
| 4.3.1 | prEN 12975-1 | Collector tests | prEN 12976-1 |
| 4.5.2, 4.7 | 5.8 | Thermal performance characterization | C |
| 4.5.2 | 5.9 | Ability to cover load | C |

# Full list of incoming comments

NOTE: This list will be translated into formal comments towards CEN TC 312, wherever needed.

| Laboratory | Comments |
| --- | --- |
| Demokritos (Greece) | Proposal for corrections of the new European Standards in specific points a) Determination of long-term energy output of a system tested by the CSTG Method (EN 12976-2) Systems can be tested according to ISO 9459-2 or ISO/DIS 9459-5 Method, depending on their type (table 3). Their performance is stated in tables of Annex A, depending on the system type. However, the reference conditions for performance prediction in Annex B are such that they refer and fit to the ISO/DIS 9459-5 and not to the ISO 9459-2. This happens since the conditions that are defined for the system long-term performance prediction in the ISO 9459-2 are different that these of the ISO/DIS 9459-5. The ISO 9459-2 defines that long-term performance prediction is done by considering a draw-off either of a volume equal to the store volume or until a temperature limit for the hot water. In the ISO 9459-5 a daily load volume and a desired hot water temperature (considering a mixing valve) are simultaneously defined, as is the case of Annex B of the European Standard. As a result, with such conditions it is unclear how the long-term performance prediction of a system tested according to ISO 9459-2 can be done. It is proposed that the long-term performance prediction of a system tested according to ISO 9459- 2 should be done either under the conditions stated in this Standard (as it is) or an official alteration in the ISO 9459- 2 should be done which will contain the way that the long-term performance prediction is done under the new conditions. b) Character of tests defined in EN 12976-1 A series of tests of several nature are defined in the Standard (concerning health, resistance, electrical safety, performance) for the system and its parts. Since this Standard contains provisions and suggestions for conformity assessment based on the tests, the character of each test is not mentioned. Obviously, for a conformity assessment some tests must be mandatory and some other can be optional. It is proposed that this point should be clarified. At least tests that are related to safety (such as pressure resistance, overtemperature protection, electrical safety) should be characterized as mandatory, some others could be mandatory but not subjected to acceptance criteria and others could be optional. The characters of each test could be defined in a relative table, as was in a previous draft of the Standard. c) Normative references (EN 12976-2) The Standard contains the reference to the Standard ISO/DIS 11924 (for overtemperature protection and pressure resistance tests). However, this Standard is now not in use. It is proposed that the procedures defined in the old ISO/DIS 11924 for the tests can be used as they are and a correction should be made in the references paragraph of the Standard EN 12976-2. Standardization activities concerning evaluation of uncertainty in test results It is obvious that any test results should be accompanied by its uncertianty. However, as in the ISO Standards, there is no provision or methodology in the new European Standards for the determination of the uncertainty of test results. It is proposed, and in view of future certification procedures, that CEN should start activities for the investigation of this matter with the scope to end up with a Standard defining acceptable procedures concerning evaluation of uncertainty in test results of solar collectors and systems. |
| ENEA (Italy) |  |
| CSTB (France) | Check on system docs in stead of most tests (for instance freeze resistance, mechanical resistance, high-temperature resistance) Daily load pattern (Annex B Reference conditions for performance prediction). The pattern 100 % after solar noon favors the ICS systems (little effect of night losses). It is a problem for us when we assess thermosiphon and ICS for Corsica or overseas territories. Air velocity (ISO/DIS 9459-5:1997 clause 5.2.3.6) "the surrounding air velocity shall be measured on a surface (minimum dimensions 1m x 1m) fixed in the same plane as the collector surface." In this case, a three-cup anemometer could not met the specifications (+/-0.5ms-1). What is the solution? Mains water temperature (ISO/DIS 9459-5:1997 clause 6.2.2.1.1). According to the standard, the upper limit of the mains water temperature is 20 °C. This limit cannot be respected in summer without cooling. If it has no physical justification we proposed to raise this limit up to 25 °C. Software to apply ISO/DIS 9459-5:1997 methodTo apply the ISO 9459-5 test method, we use the software bought from InSitu Scientific Software version 2.7 - 1997. It seems this software is no longer on the market (no news from Wolfgang Spirkl). It is a problem for the future if there is no software available. |
| INETI (Portugal) | Results bridging the gap should be implemented in CSTG and DST, till that time: international agreement on preliminary adoption |
| ITW (Germany) |  |
| IZES (Germany) | Dst not recommended for load site heat exchanger and temperature controlled pump (see also SMT project“bridging the gap“) No round robin necessary |
| TNO (Netherlands) | Results bridging gap to be included Conformity of slightly changed products Availability InSitu Software Test costs too high Wrong reference in EN 12976-1 page 13, ”5.10” should be ”5.9” |

ANNEX H: Notes concerning ENV12977 Custom Built Systems

# NOTES taken by Jan Erik Nielsen

5 laboratories are planning to implement (some) of the ENV12977 standards before the end of 2002. 4 are planning to have accreditation for (some) of the ENV12977 standards before the end of 2002

Some of the laboratories will exclude some parts of the standards. To be able to label custom built systems with the Solar Keymark all requirements and tests stated in ENV12977-1 must be fulfilled. Some labs may only wish to label the components (store and controller).

Still only a few comments and lessons learned from using the standards were given at this second meeting, as most of the laboratories have just started the implementation. However, some problems and suggestions were addressed:

- Problem of two store test procedures

- Time consuming store test procedures

- Round Robin on thermal performance of stores, no decision taken

- Methods for calculating measurement uncertainty still missing,

- Reporting format: Has to be fixed. JEN collects input from the participants

These items will be discussed again at the next meeting.

All participating laboratories seem to have a working quality assurance system, and nobody expected any problems with the actual accreditation procedure, that needed to be addressed in the network.

JEN will collect more experiences with and comments to the standards just before next meeting.

Enclosed next two pages:

- Tables for participating labs in ENV 12977-2&3

- Comments – so far – on the standards

| Comments so far to the standards ENV 12977-2: System Test |
| --- |
| Laboratory | Deadline for implementation | Deadline for accreditation | Comments |
| Arsenal (Austria) | 2002-12-01 | 2002-12-31 |  |
| Demokritos (Greece) | 2003-05-30 | 2003-09-02 |  |
| DTI (Denmark) | 2002-03-31 | 2002-03-31 | Only controller test |
| ENEA (Italy) | 2002-06-30 | 2002-06-30 |  |
| ITW (Germany) | 2001-12-31 | 2002-03-30 |  |
| IZES (Germany) | ? | ? |  |
| SP (Sweden) | 2002-12-31 | 2002-12-31 |  |

| ENV 12977-3: Storage Performance Test |
| --- |
| Laboratory | Deadline for implementation | Deadline for accreditation | Comments | Test 6.3.1 Analytical | Test 6.3.2 Par. ident. | Test 7 In system test |
| Arsenal (Austria) | 2002-12-01 | 2002-12-31 |  |  |  |  |
| Demokritos (Greece) |  |  |  |  |  |  |
| DTI (Denmark) | 2002-03-31 | 2002-03-31 | UA determination time consuming | X |  |  |
| ENEA (Italy) | 2002-12-31 | 2003-03-30 |  |  |  |  |
| ITW (Germany) | 2001-12-31 | 2002-03-31 | good experience with parameter identification method | X (only heat loss rate and capacity) | X | X |
| IZES (Germany) | ? | ? | Simplification wanted |  | ? |  |
| SP (Sweden) | 2002-12-31 | 2002-12-31 | Testing and evaluation is time consuming |  | X | X |
| Laboratory | Comments to ENV 12977-3: Storage Performance |
| Arsenal (Austria) |  |
| Demokritos (Greece) |  |
| DTI (Denmark) | p10: 0,05 ->0,1 K p12: control deviation of store inlet temp. 0,1K p14: 0,02->0,05 K p22: Other UA-method / fewer T-points Maybe only one heat loss coefficient necessary |
| ENEA (Italy) |  |
| ITW (Germany) | - good experience with parameter identification method - no experience with determination of the heat transfer capacity rate of immersed heat exchangers according to 6.3.1.1.3 and. 6.3.1.2.6 resp. |
| IZES (Germany) |  |
| SP (Sweden) |  |

# ANNEX I. Interim Report to WP1.D

# Databases for computer models and test sequences, Harald Drück

In the European Standards EN 12975, EN 12976 and ENV 12977 numerical computer models and mathematical procedures for the determination of certain parameters based on measured data are included. The aim of this subtask is to set up a data base for computer models and measured data (test and verification sequences) in order to validate these models and procedures.

1.D.1: Computer models

It was decided to take the following computer models into account:

Collector:
The equation how the thermal behaviour of a solar collector is described is given in EN 12975. This equation is directly implemented in the collector model from Bengt Perers which is available as TRNSYS Type 132. Hence it is only necessary to deal with this model.

Store:
The basic equations which are necessary to describe the thermal behaviour of a hot water store are in principle given in EN 12977-3. Since there are several ways to implement these equations in a numerical model, different store models are available. The ones considered in this project are:
	- TRNSYS Type 60 (Standard TRNSYS Type)
	- TRNSYS Type 140 (MULTIPORT store model)
	- maybe the model from Simon Furbo

1.D.2: Validation

The validation can be carried out based on two approaches.

1.D.2.1 Analytical validation:

The analytical validation is performed by a comparison of the results calculated by the model with the results of analytical calculations. Examples of this approach are given in ENV 12977-3, Annex B2 (temperature in the store during stand-by) and ENV 12977-3, Annex B3 (store considered as a heat exchanger)

1.D.2.2 Comparison with measured data:

The validation is performed by a comparison of the results calculated by the model with the results of measurements. If this approach is used, there is the problem that the results of the calculation depend on both, the model itself and the parameters used in combination with the model. Hence it is necessary to perform this validation in the following steps:

- determination of the parameters necessary to describe the thermal behaviour of the specific component. The determination of these parameters has to be performed as described in the standard based on a set of measured test data.
- validation of the model (in combination with the determined parameters) by `re-simulation` of an other set of measured data.

Following this approach allows for a validation of the model and the procedure used for the determination of the parameters. In order to ensure that the parameters determined are not only valid for the data used for the parameter determination it is necessary to use two sets of measured data. One for the determination of the parameters (test sequence) and one for the validation (validation sequence).

However, since the numerical models that are used in combination with the standards are quite complex, a general validation will never be possible.

1.D.2.3 Criteria for acceptance:

For the comparison of calculated (predicted) results with measured data the following acceptance criteria can be used ('x' indicates a flow loop defined by a pair of corresponding inlet and outlet connection; e. g. collector in- and outlet, store charge loop in- and outlet, store discharge loop in- and outlet):

Difference in transferred energy x,Q:

with:	Qx,p = calculated (predicted) energy [kJ]

Qx,m = measured energy [kJ]

Difference in transferred power:

Every time step during the simulation for each flow loop 'x' the absolute difference between the transferred predicted and measured power Px shall be calculated by

with:	Px,p = calculated (predicted) power [W]

Px,m = measured power [W]

The mean difference in transferred power shall be calculated by

with:	tx,t = transfer time [s]. Time period during which energy is transferred through the corresponding flow loop. The transfer time is calculated over one or more test or verification sequences, excluding time periods used for conditioning at the beginning of the sequences.

The mean transferred power shall be calculated by

The relative error in transferred power p shall be calculated by

1.D.3: Database of test and validation sequences

The database with test and validation sequences shall include the following:
- Description of the component (collector, store, "virtual system")
- Description of the data format
- Test sequences for the determination of the parameters
- Validation sequences for the verification of the determined parameters
- Address of the person responsible for the data

1.D.3.1 Types of stores that should be included in the database

Store that is charged via two immersed heat exchangers (solar and auxiliary) and that is discharged in a direct way

Store that is charged by solar energy via a mantel heat exchanger and that is discharged in a direct way

Store which is charged and discharged in a direct way

1.D.3.2 Types of collectors that should be included in the database

Flat plate collector with selective coating

Flat plate collector with none selective coating

CPC-Collector (CPC = Compound parabolic concentrator)

Collector with honey comb cover

1.D.4: Deliverables

A CD containing the numerical computer models, test sequences and validation sequences for the different types of stores and collectors. Furthermore data of a "virtual" solar domestic hot water system will be included, which allow for the validation of a system model (such as the DST-model) for a complete solar domestic hot water system.

1.D.5: Time table and further actions

The following table lists the actions agreed upon during the meeting in Athens:

| Pos | Action | Person responsible | Due date |
| --- | --- | --- | --- |
| 1 | Delivery of sets with test and validation sequences for stores and collectors according to 1.D.3 | all participants of WP 1.D | 15/03/02 |
| 2 | Preparation of an example for Pos 1 and distribution to the participants | H. Drück S. Fischer | 31/01/02 |
| 3 | Delivery of a set of test and verification sequences for a "virtual" solar domestic hot water system | A. Veenstra | until next meeting |
| 4 | Documentation of models | H. Drück S. Fischer | until next meeting |
| 5 | Analytical validation of models | H. Drück S. Fischer | until next meeting |
| 6 | Application of the models and validation procedures on the test and validation sequences | H. Drück S. Fischer | until next meeting |
| 7 | Presentation of results | H. Drück S. Fischer | next meeting |
| 8 | Discussion of results and decision about the further procedure | all | next meeting |

Note: This report includes the decisions made at the Brussels and Athens meeting

H. Drück 17/01/2002

# ANNEX J. Position paper from EBHE

POSITION PAPER

To be discussed in the Solar Keymark-2. meeting, Athens

The main targets of the acceptance of International and European Standards, together with the KEYMARK Project, is the removal of the obstacles to the free trading of our products and the healthy competition.

It is already known that, before the approval of the Standards, several Laboratories promoted national testing Standards, resulting to the creation of obstacles to the penetration in some markets. Moreover, there is a general sense that, in some cases, Laboratory executives follow commercial politics by favoring specific companies and by creating conditions of unequal competition.

The continuation of the application of testing Standards, which are different than the European ones, prolongs this unacceptable situation. It is not accepted the fact that a Laboratory declares the acceptance of new Standards by participating in Projects such as the KEYMARK but simultaneously oppose them by implementing other ones.

Our position is that only test results reported by Laboratories accredited for testing according to the new European Standards should be accepted in the framework of KEYMARK

Testing Laboratories should keep the rules of impartiality and objectivity. They can not be considered reliable in cases that their actions indicate lack of objectivity by showing different behavior against companies or groups of companies.

Athens, 30 October 2001

Greek Solar Industry Association

Dr. lordanis Paradissiadis

President

# Annex K. Answer from P. Croon on questions on CCB Accreditation

2001-12-12

Accreditation in the KEYMARK system, especially of laboratories

- The requirements for testing laboratories and inspection bodies

First of all the attention has to be drawn on the requirement B.2.3 and B.2.3.1 of the CEN/CENELEC Internal Regulations : Part 4 Certification of the CEN/CENELEC European Mark System (the Keymark), imposing the accreditation of the certification bodies themselves on the basis of EN 45011 by bodies that are signatories to the European co-operation for Accreditation (EA) Multilateral Agreement (MLA). A deviation is not foreseen.

For their departments or subcontractors active in testing and inspection, B.2.3.2 has to be implemented: All laboratories or inspection bodies owned or employed by a Certification Body shall be accredited respectively against EN ISO/IEC 17025       (EN 45001) or EN 45004 for the category of products and related test methods covered by the European Standard concerned.  In specific cases the Certification may evaluate laboratories as an alternative to accreditation.

- The alternative method to accreditation.

If the certification body will itself evaluate the laboratory (or inspection body), the accreditation body will probably evaluate if the certification body has the knowledge and the competence to do that.  If the certification body has an own department for testing, the accreditation body involved will assess not only the certification activity but also the testing activity of the certification body to be accredited.

The attitude of the accreditation bodies can be specific in these matters depending of the policy followed in the different countries (Beltest in Belgium, Cofrac in France, RvA in the Netherlands and so on).

However there exist other methods as the peer assessment as done by CENELEC in their Keymark schemes.

If in the solar energy sector, one of these possibilities is chosen, it is to be foreseen in the Keymark Solar Energy scheme.  The relevant rules have to be approved by the CCB.

- Interpretation of EN ISO/IEC 17025, especially the finance aspects

It should be remembered that the accreditation bodies are assessing the laboratories wishing to be accredited on the basis of EN ISO/IEC 17025 and that they have to give an interpretation to EN ISO/IEC 17025 in their business.

In the framework of EA they are seeking a common interpretation.

However EN ISO/IEC 17025 is giving a requirement relating to the financial aspects which is not so strict as mentioned in the e-mail of  Mr. Nielsen of 2001-12-12.

It reads:

Clause 4.1.4.  If the laboratory is part of an organization performing activities other than testing and/or calibration, the responsibilities of key personnel in the organization that have an involvement or influence on the testing and/or calibration activities of the laboratory shall be defined in order to identify potential conflicts of interest.

Note 1 Where a laboratory is part of a larger organization, the organizational arrangements should be such that departments having conflicting interests, such as production, commercial marketing or financing do not adversely influence the laboratory’s compliance with the requirements of this International Standard.

Note 2 If the laboratory wishes to be recognized as third-party laboratory, it should be able to demonstrate that it is impartial and that it and its personnel are free from any undue commercial, financial and other pressures which might influence their technical judgement.  The third-party testing or calibration laboratory should not engage in any activities that may endanger the trust in its independence of judgement and integrity in relation to its testing or calibration activities

4. Conclusion

The Solar Keymark group has first to see which method it the best one for the testing in the solar energy domain.  We remember that a few years ago TNO raised the question of the high costs of accreditation for laboratory, being perhaps not in proportion with the income of the limited number of tests which can be performed.  Accreditation in the long run seems however to be the solution, preferred by most of the people, especially in matters where trade barriers are playing a role, what is the case.

If accreditation is chosen, the laboratory should foresee in its Quality Manuel provisions in conformity with clause 4.1.4.

If difficulties persist and if needed, a contact should be taken with EA to see what can be done in the specific sector of solar energy, wherein research is an important element and should not be taken in account to evaluate the compliance with the requirement of an independent finance without subsidy.

P. Croon

Contact was taken with EA 17/1, 01 by JEN:

Dear Robert Benyon /EA

As you know from my last mail concerning the ILC on solar collectors we are an European group working on a "Solar Keymark Scheme". In this connection we have a question for EA.

Our problem is that many of the European solar labs are subsidised from national (independent) funds because of the general political will to promote renewable energy, but according to the below statement this is not allowed:

B.2.3.3 in CEN /CENELEC Internal Regulations – Part 4: Certification, ‘The CEN/CENELEC European Mark System’ states that: "The Certification Body, its laboratories and inspection bodies shall not receive financial subsidy to support their certification, testing or inspection activities, in order to avoid unfair competition."

The basis of this statement is according to CEN the clause 4.1.4 in EN ISO/IEC 17025:

"Clause 4.1.4.  If the laboratory is part of an organization performing activities other than testing and/or calibration, the responsibilities of key personnel in the organization that have an involvement or influence on the testing and/or calibration activities of the laboratory shall be defined in order to identify potential conflicts of interest.

Note 1 Where a laboratory is part of a larger organization, the organizational arrangements should be such that departments having conflicting interests, such as production, commercial marketing or financing do not adversely influence the laboratory’s compliance with the requirements of this International Standard.

Note 2 If the laboratory wishes to be recognized as third-party laboratory, it should be able to demonstrate that it is impartial and that it and its personnel are free from any undue commercial, financial and other pressures which might influence their technical judgement.  The third-party testing or calibration laboratory should not engage in any activities that may endanger the trust in its independence of judgement and integrity in relation to its testing or calibration activities."

CEN advise us to contact EA, so we will appreciate the opinion of EA in this matter very much.

Thank you

Jan Erik Nielsen

# Footnotes

AV = Amelie Veenstra