Implementing and Automating

Critical Control 19: Secure Network Engineering

for

Next Generation Data Center Networks

STI Joint Written Project

Authors: Aron Warren, George Khalil, Michael Hoehl

Accepted:

Abstract

This document provides technical and best practice approaches to implement and automate safeguards consistent with control 19, “Secure Network Engineering”, of the SANS Twenty Critical Security Controls for Effective Cyber Defense.  The scope is the secure design of cutting-edge high speed 40GbE networks designed to host Internet facing web and mobile applications.

# Executive Summary

“People seem to want to treat computer security like it's rocket science or black magic. In fact, computer security is nothing but attention to detail and good design.”

Marcus J. Ranum

Next Generation networks will have to defend against many of the same threats targeting today’s networks.  Modern reconnaissance, discovery, and mapping approaches are versatile and just as effective at higher network speeds.  The major difference is the speed of exploitation.  Whereas today’s network may require a few days to complete a multi-gigabyte data theft attack, poorly designed Next Generation 40 Gigabyte Ethernet (40GbE) networks can “facilitate” this same exploit in just a few seconds.  This condition makes the requirement for secure network engineering vital for Next Generation networks.

Network design is foundational to security controls.  Incorporating safeguards at this level is essential to prevent the circumvention of higher level controls.  The first and most fundamental requirement is to build a multi-tiered network architecture.  To accomplish this, assets of similar value and function are segmented into enclaves.  Chokepoints are then created between each enclave.  This approach allows access, detective, and preventive controls to be implemented in a logical manner with rapid response to suspected threats.  Further, proxies can be introduced at each chokepoint that further reduces the surface of attack.

The proposed N-Tiered architecture has two silos.  The first silo contains the segmented applications.  Enclaves for Internet Access, SSL/Proxies, HTTP/API Servers, Web Applications, and Data are recommended.  The second silo contains the infrastructure services.  Enclaves for Customer Authentication, Network Applications, Management, and B2B connections are recommended in this silo.

Once the N-Tiered network architecture is in place, additional controls are implemented within each enclave.  Controls include centralized authentication, IPS, NAC, malware scanning, data leakage prevention, vulnerability and patch management.  These controls are tuned for each enclave to optimize performance and effectiveness.

Enclaves are interconnected using a “security fabric”.  A security fabric is created by using a switching platform that provides multiple security services across the enclaves.  The security fabric includes the familiar firewall capabilities.  It also is expanded to provide other security services including network IPS/IDS, web application and database firewalling, in-line malware scanning, and load balancing.  By combining all these services within the security fabric, packets can be exchanged beyond 40Gbps through backplane speeds of over 500G.  Services can also be performed in parallel (e.g., IPS inspection and firewall inspection simultaneously).  The security fabric also provides financial advantages by reducing the consumption of physical switch ports.

A second data center is incorporated into the design as a fully redundant site offering the same services as the primary data center.  Proposed design and services are able to be delivered from either data center.  This approach provides the ability to remain fully functional if either site becomes unavailable (PROD-PROD).  The solution can also be implemented with a single production site and an alternate site hosting a testing environment (PROD-UAT).  The UAT site can be used as the standby DR location for PROD.

The standard 40GbE was ratified by IEEE 802.3ba in June 2010.  In 2012, only a few vendors are offering products that support 40GbE and adoption by enterprises has been slow.  A solution based on functional requirements and product availability is provided in this paper.  A Bill of Materials is included in Appendix B.

Technology is just one part of a triad of considerations.  People and process are the other core considerations for this paper’s proposed solution.  Documentation and procedures are necessary to optimize the existing staff resources.  Documentation is “living”, with regular updates expected from requirements phase to asset retirement.  Automation of processes is necessary at 40GbE.  Several approaches are proposed including engaging Managed Security Service Providers (MSSPs) who must be experienced in 40GbE or higher technologies.

There are several benefits associated with this secure network engineering of next generation networks.  These include improved security, increased design credibility, better manageability, lower total costs, and faster response to threats.  Ultimately, adopting these design recommendations will provide a solid foundation for safeguarding infrastructure and data at the highest speeds available today—and tomorrow.

# Problem Description

## Introduction to SANS Critical Security Control 19

The SANS Institute, in collaboration with many other organizations, extracted twenty critical technical security controls (SANS, 2011) from Revision 3 of the NIST Special Publication 800-53 (National Institute of Standards and Technology, 2010), the recommended security controls for federal information systems.  These controls are prioritized based upon NSA attack remediation strategies scores and are directed towards CISOs, CIOs and IGs (SANS, 2011).   The controls form a shared top priority list for protection against today’s and tomorrow’s cyber attacks.  This paper is based on Critical Control number 19, Secure Network Engineering, which focuses on the design aspects of the network infrastructures.

Critical Control number 19 is centered on careful planning of the network architecture to prevent attackers from bypassing security controls thusly allowing pivoting through the network.  This control is used in parallel with the other controls to form a cohesive, secure deployment.  The procedure to implement this control is to define a template that describes the overall network services and layout that is to be provided.  Diagrams should show network components such as switches, routers, firewalls, client and servers.

Sensitive systems, such as databases, must not be accessible from untrusted networks when designing the network.  DMZs are how these design aspects are implemented.  Taking DMZs to the next level is the implementation of trust zones.  This paper uses the word “enclaves” to represent the different trust zones.  These enclaves have very specific functions and allow for very granular controls to be implemented between boundaries.

To allow for rapid response to attacks, the network must be engineered so that quick deployment of access lists, black holes, signatures and any other defensive methods can be achieved.  Any form of automation that is available is highly recommended.

Specifically mentioned in the control is the use of layered DNS service.  This is achieved by only allowing intranet DNS servers to forward unanswerable queries to DNS servers located in a DMZ.  In turn the DMZ DNS server is only allowed to forward requests to the Internet.

To measure the success of the design, port and vulnerability scanners are used to determine visibility of systems.  If unauthorized systems are found or sensitive data machines, such as database servers, are located and publically visible then the scoring of the design takes a noticeable numerical hit.

## Critical Security Control 19 Implementation Challenges

When designing a secure network, a balance of security, performance and accessibility must be achieved.  A perfectly secure network would be air-gaped, with so many controls in place that the functionality would border on unusable.  That design is not what this paper strives to achieve.  When too many controls are put into place, the performance of the network begins to become degraded.  This paper’s objective is to define a secure network approach to perform at 40 Gbps Ethernet (40GbE) throughput.  This meant some of the security controls had to be shifted to specific individual devices in order to ensure the necessary throughput.  When single points of failure create too high of a risk for loss of availability, redundancy must then be considered.   The design presented here does not detail all of the possible redundancy options that could or should be implemented but instead focuses on the theme of Critical Control 19—a design that prevents a hacker from pivoting through the network by minimizing attack points and creating data chokepoints for analysis.  Network design must incorporate security controls early into the planning process rather than as an afterthought.  By not building security into the project early, higher (and possibly unexpected) implementation costs might occur down the road.

## Network Challenges for Next Generation Networks

40GbE and 100GbE, at the time of this writing, are still considered cutting edge technologies with few vendors offering a product line specifically targeting 40GbE.  To clarify, this paper focuses on 40GbE in a single pipe as opposed to aggregation of 4 separate 10GbE pipes.  Even though switch vendors have been offering 40GbE backplane speeds for several years now, today the chokepoint or bottleneck impacting total throughput is not with the switching fabric. The problem lies with the ability for the other technologies, such as firewall, IDS, IPS and applications, to keep up with the sheer volume of data being thrown at it.

The level of uncertainty increases relative to speed too.  For example, in the past if 1% of traffic was missed on a 100Mbps pipe, this only resulted in an actual uncertainty of 1Mbps.  However, this same 1% is equivalent to 100Mbps of unanalyzed traffic at 10GbE and 400Mbps at 40GbE.  With an increase in speed, the scale of unanalyzed traffic (uncertainty) scales to an unacceptable level.

40GbE introduces human capital challenges as well.  More traffic, and the associated monitoring, will require additional experienced staff to review the alerts and events that will be created.  The 40GbE flows and technologies will also demand a higher skilled staff.  Automation will be critical if adding staff is not in the budget

Forensics analysis teams are only now beginning to ramp up for 40GbE.  Organizations must be careful not to get too far ahead of incident handling teams, law enforcement, and assessment teams.  In the event these teams are not prepared to work with the 40GbE infrastructure, the enterprise may find work being done on production systems—or even worse, the production systems may get confiscated to conduct investigations.

## Organizational challenges with 40GbE and Next Generation Networks

For this STI Joint Written Project, a fictitious organization was created and named GIAC Enterprises.  GIAC Enterprises is a small to medium sized growing business with 1,000 employees, two data centers, 200 people in central business and IT, and is the largest supplier of fortune cookie sayings in the world.  GIAC Enterprises has recently decided to implement a 40GbE network to meet the demands of mobile apps that deliver fortunes.  The CIO has created a special tiger project team to handle this challenge.  The recommendations and scope of this paper are associated with this type of organization profile.  Further, the business has asked that automation be considered wherever available so that additional staffing is minimized.

# Functional Requirements

As with all projects and designs, a clear understanding of business and technical requirements is required.  Based upon the fictitious company GIAC Enterprises’ organization profile, the following requirements were used to develop this paper’s recommendations.

With 40GbE networks, security cannot be “bolted on” as an afterthought.  The network design will not be successful if security is not included early in the requirements and planning phases.  Secure network engineering is only 1 of 20 critical security controls—however it can be one of the most impactful.  Further, there are no higher level controls that can overcome a serious deficiency with lower level network controls.  Without proper network design and build practices, many of the other 19 critical security controls can be defeated or simply circumvented.

## Documentation

Secure network engineering begins with gathering documentation—not creating documentation.  Understanding the specific business purpose(s) of the new infrastructure, risk appetite of the organization, existing infrastructure, current data flows, planned interfaces, financial constraints, corporate security policies, contractual (e.g., PCI) and regulatory (e.g., SOX) obligations are important first steps.  Gaps are typically discovered during this first phase.  A small investment of time here can result in big payoffs later in the project.

Creating an accurate map of the current and intended network is necessary early on in the project.  A traditional network topology map is an excellent start however this does not provide the entire picture.  Documentation should also include all protocols running through the network, data flows, chokepoints, asset lists (including value), access controls, and system administration methods.  Inter-system dependency should also be documented.  For example, an IP host cannot talk to its peer over the network without names resolution.  Several of these documents are living and change regularly.  Establish a change management procedure for documents, as well as a means to properly secure the documentation.

## Data Center Physical Controls

Next, a data center site review is in order.  Network engineers will commonly consider data center environmental (e.g., cooling, power, cable distribution, and rack space).  However, data center physical security controls must also be inspected and planned for.  Secure network engineering includes implementing proper physical safeguards to protect the new infrastructure from unauthorized access, tampering, and theft.  Ensure appropriate data center facility entry controls are implemented to limit and monitor physical access to systems and infrastructure.  Visitors must be easily distinguished from authorized staff.  Visitor logs, which include all staff and visitors, building card access systems, and surveillance equipment must be implemented.  Physical security controls and logging are also required for any removable media.

## Enclaves

“Fast, fat, and flat” may seem like an ideal mantra for next generation networks.  However, this design approach leads to operational and security risks.  Lack of segmentation makes it difficult for the NOC to monitor traffic flows for anomalies and routing failures.  Congestion management and avoidance become challenging as well.  Inspection and troubleshooting Layer 4 through Layer 7 problems with conventional tools becomes almost impossible.  High value assets become mixed with different assets that are not maintained, safeguarded, and monitored with the same level of rigor.  The surface of attack then becomes large and these low value assets might become pivot points of attack.

Today’s advanced web and mobile applications are tiered in architecture.  This provides another credible argument for separation of hosts into communities or enclaves.  An enclave allows for easy grouping of assets of similar functionality or value.  Trust boundaries can be created making it easier to assign responsibilities and establish accountabilities.  Chokepoints can be introduced between the enclaves to prioritize network flows, inspect traffic, and perform forensics.  The chokepoints can also be used to limit access to the hosts and their associated applications.  The use of enclaves is mandatory.

Additionally enclaves make audit and compliance reporting easier for organizations.  Everything does not have to be in scope for inspection by an auditor or compliance assessor.  If the infrastructure contains hosts of various data classifications then separation can provide financial benefits as well.  When all hosts are present on a flat network, security controls that are required for compliance (e.g., PCI DSS 2.0) may need to be applied to all hosts within the segment.  This may end up being extremely costly.

As a minimum design standard, the following enclaves are required:

Figure 3.3: Enclave Overview

The silo of enclaves on the left of Figure 3.3 is for the N-Tier Applications.  The Internet Access Enclave serves as the entry point into the infrastructure from the Internet.  This enclave contains the Internet access provider equipment including routers and switches.  A dedicated, standalone firewall separates the untrusted Internet access provider network from the trusted customer premises equipment.  The SSL/Proxy Enclave services as the peering point for SSL encryption of mobile and browser devices.  Customers are challenged for authentication from this enclave.  Additionally proxies are to be hosted within this enclave.  The HTTP/API Enclave, Web Application Enclave, and Data Enclave are required to host the equivalent N-Tier application function.

The silo of enclaves on the right of Figure 3.3 is for Infrastructure Applications.  The Customer Auth Enclave contains the credential stores for customer authentication and authorization.  The Network App Enclave contains services like DNS, NTP, RADIUS, SIEM, and tape back-up.  The B2B Enclave is essentially a landing beach for business partners to securely communicate with systems within the other enclaves.  The Management Enclave contains the “jump boxes” for remote administration and support.  Further technical elaboration is provided in the section 4, Secure Network Engineering Practices for Next Generation Networks.

## Firewalls and Security Applications

Firewalls are used to interconnect the enclaves.  The firewalls must be configured to perform stateful inspection of network traffic.  A standalone firewall is also required for the Internet Access Enclave.  A separate standalone firewall is required to connect the N-Tier to the Enterprise Core.  A security fabric is recommended to interconnect the N-Tier Application Enclaves.  In addition to the conventional firewall functionality, the security fabric includes integrated security applications.  These security applications are integrated into a high-speed (500GbE or faster) backplane chassis, reducing the need for cabling and 40G physical ports.  Security applications in scope are intrusion prevention, in-line malware and spyware scanning.  If supported, Web Application Firewall (WAF) and Database Activity Monitor (DAM) services should also be integrated into the security fabric.  The aforementioned security services can be separated from the security fabric and implemented as standalone systems if this provides business or technical advantages over an integrated solution.

A final firewall is required to interconnect the Infrastructure Application Enclaves to the N-Tier Application enclaves.  A dedicated firewall is required so that common network services (e.g., tape back-up, managed file transfer, ETL, data synchronization, etc.) do not starve resources that are customer facing.  For example, data that needs to be exported, transformed, and loaded routinely may create a sustained high utilization on the 40GbE network.  This will consume switch, firewall, and network interface card utilization.  A separate firewall for this purpose helps reduce the risk of appreciable performance impact on interactive customer transactions.  A firewall policy manager is required to optimize policies and firewall rules.  A tool for monitoring of flows through firewall is also required to ensure state table overflow does not occur.  This last function might be available as part of the firewall element manager.

## Internet Access

The network design must support multiple Internet Service Providers and diversity.  The purpose of this requirement is primarily for availability.  Also, the design must incorporate integration between at least two data centers.  The purpose of this requirement is to synchronize data between environments (PROD-PROD and PROD-UAT).  Disaster recovery plans must be developed and scripted procedures implemented prior to the infrastructure being made generally available.

## DNS

Internal DNS must be designed in a hierarchical manner.  Secure DNS servers are required within the Network Application Enclave.  These DNS servers are intended for hosts within the N-Tier Application and Infrastructure Enclaves only.  These DNS servers must point to trusted DNS servers within the Enterprise Core.  The Enterprise Core DNS servers then connect to authoritative servers on the Internet.  DNS servers within the Network Application Enclave as well as all DNS clients within the other enclaves are not permitted direct Internet access for names resolution.  For queries of external domains, the Network Application Enclave DNS servers must perform recursive lookups through the Enterprise Core DNS servers.  Zone transfers in/out of the Network Application Enclave are not permitted.  A managed service provider must host and protect the domain used by customers to access the services offered by GIAC Enterprises.  Customer queries of the external domain are not to be resolved by the DNS servers within the Network App Enclave.

## System and Infrastructure Hardening

System and infrastructure hardening is required.  Benchmarks from SANS, CIS, or similar authoritative source must be adopted as part of standard system build process.  Verification of build standards must be done prior to commissioning the system.  Automation of security control verification and recurring configuration inspection must be implemented.  Procedures should follow an authoritative standard (e.g., NIST Special Publication 800-128 Guide for Security-Focused Configuration Management of Information Systems).  Lastly, formal certification and accreditation procedures for systems must be created and integrated into change management.

## Configuration and Change Management

Automated file-integrity monitoring (also known as change-detection software) is required to track network and security component alterations.  These tools must alert staff to unauthorized modification of critical system files, configuration files, or content files.  Recurring configuration comparisons must be performed to ensure integrity of applications, systems, and infrastructure.  All detected configuration changes with material impact must be reconciled to Change Management tickets.

## Virtual Server and Blade Server Management

Virtual switching is inherent to hypervisor platforms.  Care must be taken when implementing Layer 3 virtual switch capabilities.  Network based security controls (e.g., firewalls, NIPS, etc.) are not to be circumvented using these virtual switches.  Netflow or similar technology must be included in the solution to baseline traffic patterns and to identify communication anomalies between virtual clients.  Flows associated with virtual servers and blade servers are to be inspected in the same manner physical hosts would be.  Trunking is not permitted to ensure 802.1q tagging exploits are not successful.  Separate NICs on the hypervisor and blade server chassis must be used for each enclave.  NetFlow or a similar technology must be included in the solution to baseline traffic patterns and to identify communication anomalies between virtual clients.

## Vulnerability and Threat Management

Vulnerability scanning and penetration testing must be performed routinely.  Scanning and testing must be performed using sources originating from the Internet as well as from within each enclave.  This provides insight into the initial surface of attack as well as pivot weaknesses.

Once the vulnerabilities are identified through scanning or vendor notification, remediation is required.  An operational framework is required that delivers patch and non-patch remediation in a timely manner.  Consider an approach based on NIST Special Publication 800-40 Version 2.0 Creating a Patch and Vulnerability Management Program.

Real-time threat analysis must be performed using IPSs, in-line malware and spyware scanning.  Host Intrusion Prevention Systems (HIPS) are highly recommended for seasonal companies that cannot patch systems promptly throughout the year.  Seasonal “freezes” (e.g., Chinese New Year) may require systems to go unaltered for months, preventing implementation of patch and non-patch remediation within 30 days.  A HIPS can help serve as a bridge during these freezes.  Additional IPSs are recommended including Web Application Firewalls (WAF) and Database Activity Monitoring (DAM).  For 40GbE next generation networks, WAF and DAM services are becoming vital for detecting higher level attacks that may be deluded among the millions of events and alerts that are being reported by the systems.

## Log Management

Threat monitoring with actionable intelligence is a prerequisite for rapid response.  A Security Information and Event Management (SIEM) system is required to gather, process, correlate, alert, and archive security events.  Events from IDSs (e.g., replay attacks, fragmentation attacks, buffer overflow attacks, etc.), firewalls (e.g., DoS attacks, port errors, dropped packets), SSL (e.g., DoS attacks, certificate errors, session drop), reverse-proxies (e.g., dictionary logon attacks, cached content change, etc.), and file integrity monitoring can collectively overwhelm the SOC staff without automation.

Resiliency depends on a clear understanding of operational and security threats.  If the log sources are not properly configured, then the SIEM and SOC cannot be effective.  Log and event sources for SIEM include operating systems, applications, databases, network, and security components.  Secure Network Engineering includes the proper configuration of these components to generate the necessary events that drive incident response.  Further, the log sources and files must be safeguarded from unauthorized viewing and alteration while in transit, if possible, and while in storage.  Logs must be sent to a centralized SIEM to protect the integrity of event data.  A log source configuration standard based on PCI Requirement 9 or NIST Special Publication 800-92 Guide to Computer Security Log Management is required.

## Asset Management

An asset management or CMDB is required to track assets and configuration information in a secure manner.  This information should be verified routinely using automated tools that scan the network and fingerprint assets.  Assets must be scanned for data classification as well.  Scanners must incorporate algorithms to identify restricted data (e.g., Luhn Mod-10 method for identifying and validating credit card primary account numbers).

Rogue device detection must be performed routinely.  Data center physical security controls should be the primary preventive control to prevent unauthorized devices from connecting to the network.  Rogue device detection should be used to verify that the physical controls are effective.  The automation for asset discovery and restricted data scanning may be used for discovering rogue devices.

## Access Management

Authentication, Authorization, and Auditing (AAA) systems for customers must be separate from system administrators.  High Authority accounts used by DBAs, firewall administrators, network engineers, system administrators, and vendors must be located in a separate enclave from customer accounts.  No trust is to be established between the Enterprise Core, High Authority, and Customer credential systems.

Remote administration is made available from the Management Enclave.  Business partners, manufacturer support staff, outsourced staff, managed service providers, and the IT staff must all use jump boxes to gain access into the applications, systems, and infrastructure.  Products that may be considered for the jump box function include Microsoft Terminal Server, Citrix, and VMWare.  Multi-factor authentication is required for access onto these jump boxes.  Further, remote administrators must have their computer scanned to verify basic security controls are in place and working properly.  Network Access Control (NAC) products are to be implemented to check the status of malware prevention, personal firewall, patches, and vulnerabilities on administrator computers prior to revealing the jump boxes.

## Performance Management

SNMP, RMON, and NetFlow are common tools for network engineers to perform performance monitoring and capacity planning.  These protocols must be properly secured.  Vendor defaults (e.g., SNMP community string “public”) are not permitted.  SNMP v3 is required.  When available, authentication and encryption controls must be incorporated into performance management design.

## Forensic Management

Support for forensic analysis and network monitoring “Out-of-band” is required.  Network taps or in-line OSI Layer 1 network monitoring devices are acceptable.  These devices are to be transparently connected so that they do not introduce performance degradation.  SPAN or similar technology features are not to be used on 40GbE components.  In addition, the integration of the network monitoring devices must be in a manner that does not allow circumvention of network based security controls (e.g., firewalls).  Dedicated network monitoring systems for each enclave would provide the necessary boundary to prevent this exploit.

## Service Management

Where there is a business advantage, consider the use of managed service providers as an alternative to additional staffing.  Opportunities include domain hosting, managed PKI, firewall/IPS/IDS/AV management, security operations center services, computer security incident handling, vulnerability scanning and penetration testing.  Some of these same services are available as a cloud computing offering.  This option might be desirable for reducing capital and expense commitments.  This allows the limited IT staff to focus on business communications and solutions by reducing the demands of daily security operations.  This also provides an elastic bench of resources for the busy seasons and rapid business growth.

# Secure Network Engineering Practices for Next Generation Networks

Before authoring this paper, the STI team approached vendors, consultants, and early adopters of 40GbE to share their expertise and lessons learned.  This research incorporates their feedback.  Current benchmarks and standards were also reviewed for applicability to 40GbE.  Section 4 presents risk considerations, remediation strategies, technical approaches, design recommendations, and references to best practices for secure network engineering of a 40GbE infrastructure intended to host web and mobile applications.

## Design and Build Technical Approach for Next Generation Networks

Figure 4.1 visually depicts a high-level network architecture overview with multiple enclaves that host an Internet facing mobile or web application.

Figure 4.1: High-Level Network Architecture Overview

Two major groups of enclaves are recommended.  The silo of enclaves on the left of Figure 4.1 and labeled “N-Tier App Enclaves” contain the web and mobile applications.  Each function of the application is isolated into a separate enclave.  This silo of enclaves is connected by a customer facing firewall (A) and infrastructure firewall (B).  Separate firewalls are used substantially for performance and capacity planning in a 40GbE network—not security.  As new 40GbE firewalls arrive on the market, a single multi-port firewall to interconnect all N-Tier Application Enclaves could be considered with proper capacity planning.  Access is cascading between enclaves through the firewall so that any enclave can only connect to adjacent enclaves within the N-Tier Application Enclave silo.  The Infrastructure Enclaves contain network applications and access controls necessary for all N-Tier Application Enclaves.  This includes account authentication and authorization, in addition to common network applications (e.g., DNS, tape back-up, SNMP, patching, etc.).  Administrators of the systems and applications within the N-Tier Application Enclave must pass through the Management Enclave.  The B2B Enclave is for EDI, ETL, and vendor partner connections (e.g., MSSP).  The Enterprise Core access into this new infrastructure is restricted using a dedicated firewall(s) (D) and Internet access into the N-Tier Application Enclave if also restricted using a dedicated firewall(s) (C).

Once the network has incorporated proper security controls, the architect must consider the operational impact of 40GbE speed.  Automation becomes a critical consideration as the velocity of data increases many orders of magnitude.  With speed comes an increase in the number of flows, events, and triggers.  Procedural controls that were successful with slower speed networks may get overrun at higher speeds.  For example, swapping current firewalls with new firewalls containing faster 40GbE interfaces has a cascading effect.  The firewall may be able to handle the new packet volume—however the SOC, SIEM and associated firewall administration tools may go into a meltdown.  Security controls, automation, and capacity planning must go hand-in-hand.

## Internet Access Enclave

This first enclave within the N-Tier Application silo is where the mobile and web applications are revealed to the Internet.  Multiple Internet access providers may be terminated here to provide diversity and redundancy.

Figure 4.2 Internet Access Enclave

### Risk Considerations and Remediation Strategies

This is the first location where customer and attacker are being identified and separated.  This enclave contains the highest level of uncertainty because the untrusted network and trusted network are both present.  Internet sourced mapping and scripted attacks use this as their primary point of entry.  Intrusion detection and prevention devices are necessary to safeguard the infrastructure as well as to examine the evolving taxonomy of Internet based attacks.  Probes and brute force authentication attacks targeting infrastructure devices at this layer are common.  Poorly designed networks will unintentionally allow enumeration of network accounts in RADIUS/TACACS or AD/LDAP credential store.

Ethernet switches in general are by design oversubscribed (sum of physical interface speed exceeds switch backplane speed) and can be overwhelmed by sustained traffic volume from metro networks.  A standalone firewall and switch are recommended for this enclave for the above mentioned performance reason as well as security benefits.

### Technical Approach and Design Recommendations

The Internet Access Enclave is the first layer into the network. Redundancy, high availability and resource isolation is critical to maintain stable and secure access to customers.  To offer redundancy, Internet access should be provided by multiple ISP’s, for diversity, using different paths and peering partners.  This approach will provide high availability in the event of an ISP outage, upstream provider failure, or network equipment failure.  Multiple ISP’s will allow traffic engineering, load balancing and provide an alternate connection in the event of a DoS attack.

Each connection from the Internet access’s providers should be terminated into a router supporting 40GbE interfaces running BGP using a private AS number.  This provides IP mobility across separate ISP’s and allows for future transitions between carriers.  Internet facing interfaces must prevent any leakage of internal routes, topology broadcasts or redistribution, and explicitly prevent external management of the routers.  For traffic engineering, multiple high availability instances can be created to allow a path across both ISP’s concurrently.

Any peering relationship (e.g., routing protocols, VPN, RADIUS, etc.) must be mutually authenticated prior to making a trusted connection.  This control will help defeat attack sources masquerading as a trusted peer.  Integrity checking must also be in place to defeat man-in-the-middle attacks.

The Internet access routers connect into a high speed 40GbE switch which provides a common media for high availability and fail-over capabilities.  Network taps provide inspection points for Internet traffic.  Switch SPAN features are not recommended.

A firewall connects the aforementioned switch to the N-Tier Application silo.  This perimeter firewall must be a standalone device with large processing power capable of handling legitimate traffic and potential attacks simultaneously.  The standalone firewall is intended to serve as a buffer between the Internet Access Enclave and the remaining enclaves within the N-Tier Application silo.  This approach prevents resource exhaustion attacks that target the Internet facing firewall.  External management and non-public information exposure must be disabled on the outside interfaces.  The firewall should point to the High Availability IP address of the perimeter routers based on the traffic engineering designs.  Access Control Lists (ACLs) should be created with permit statements that match security policy and align with business requirements.  This approach applies to both inbound and outbound traffic.  ACLs must end with an explicit deny with logging enabled for dropped connections.  Logging of denied packets provides valuable insight including common attack vectors, taxonomy, and firewall administrator ACL change errors.  This data is also valuable for effective data and event correlation across all network and security devices.  Logging of the permitted traffic is a commonly accepted practice.  Data leakage considerations should include network related information (e.g., internal IP addresses, routing tables, etc.).  ICMP should be disabled to defeat reconnaissance efforts by attackers.  Further, ICMP should be filtered to prevent smurf attacks and using the network as a reflection or amplification point.

Flow data should be enabled on all devices that support it (e.g., Cisco 12816 router).  This “network” data is very useful to the security team with 40GbE networks to identify baseline changes, detect threats, and perform event correlation.  This same data is valuable to an attacker when mapping the network.  Safe network engineering practices must be considered early on so that flow data is not exfiltrated or altered.

There are multiple options to forward traffic on to the next enclave (SSL/API).  The first option and most traditional is Network Address Translation (NAT).  NAT is only recommended at the perimeter within the Internet Access enclave.  This is required to translate from the ARIN IP address space to a RFC 1918 private IP address space.  For the other enclaves, RFC1918 addresses are used (e.g., 10.0.0.0/8, 192.168.0.0/16, and 172.16.0.0/12) and routing is performed.  Routing is recommended because there is less queue delay associated with deep packet inspection and less chance of errors than with NAT traversal.  The router protocol must be secure, ensuring that routes cannot be maliciously manipulated or deleted.  Recommended security controls include router authentication and integrity checking.  Modern firewalls support routing protocols with associated security settings.  The router protocol should have established boundaries.  Routing tables are not to be redistributed from Enterprise or Internet peers.  Route summarization or static routes must be used.

All network devices must have a common authoritative time source (NTP).  This provides credibility for logging and data correlation.

### Industry Best Practices and Authoritative Sources for Security Controls

Dynamic routing protocols, such as BGP, are generally preferred on border and edge routers due to the ability of the router to propagate route changes more efficiently and rapidly than by an operator entering the routes statically.  BGP has existed for a long time and been thoroughly tested throughout the world.  One of the benefits of dynamic routing protocols is they offer route injection protection such as TTL verification and authentication of peers (see Appendix A.2).  Having independent AS numbers on the border routers provide flexibility to advertise routes to different ISPs for failover or attack remediation strategies (see Appendix A.2).

Routing black holes should be implemented on the routers and firewall and automated where available.  Routers must already have the ACLs or maps in place to perform this traffic filtering.  This is needed to minimize the amount of time needed to create the black hole and apply it.  Automation is achieved when a black hole route is injected on one router and via a dynamic routing protocol is distributed to the other routers (see Appendix A.9.3).

Black hole routes are used to prevent traffic from crossing network segments.  For example, a black hole route implemented on the border router might be used to prevent a DoS attack.  Another example might be to prevent the further exfiltration of data.  If the destination network is known, implementing traffic drops across the entire network can be done quickly and efficiently.

Deployment of Infrastructure ACLs (iACLs) is expected on border routers (see Appendix A.3).  iACLs permit management and control traffic to the infrastructure switches and routers while preventing attack traffic directed at the infrastructure devices.  Typically iACLs focus on source and destination IP addresses as well as Layer 4 ports and protocols.  “Antispoofing ACLs explicitly permit traffic based on authorized source IP addresses only.  Any traffic sourced from outside the explicitly permitted IP address range is dropped” (Schudel & Smith, 2008, “Interface ACL Techniques,” para. 3) such as private network address leakage, Martians and bogons.  Transit ACLs (tACLs) “explicitly permit only required and authorized traffic to transit the IP network” (Schudel & Smith, 2008, “Interface ACL Techniques,” para. 3).  TACLs typically don’t filter IP addresses but are used more on packet types such as IP header options, IP fragments or protocols such as routing protocols.

Many general router hardening practices such as IP Options selective dropping and disabling of IP Source Routing must be deployed on the router (see Appendix A.9.5 and A.9.7 respectively).  Unused features or services must be turned off on routers and switches.  Such services include dhcp, bootp and NTP timeserving (see Appendix A.8).  The additional CPU availability, created by removal of unused services, allows more flexibility to avoid CPU resource exhaustion.

Login banners are to be implemented on every device in the network to provide a vetted legal notice to anyone using the device as to the level of privacy and the legal issues associated with accessing the devices.  Neither physical location data nor network architecture information should be found on any switches, routers or firewalls (see Appendix A.9.1).

Implement ARP inspection on routers to prevent malicious frame redirection or MAC table poisoning.  Another method available is to hard code static MAC addresses for the most critical devices (see Appendix A.30).

Disable, if possible, or do not use VLAN 1, the default VLAN for some vendors.  VLAN 1 is not to be revealed to any of the enclaves.  Further, the management VLAN must only be revealed to the Management enclave.  This eliminates the switch interface from being a possible target of attack.

A firewall located after the border router provides the next depth and breadth layer of defense (Schudel & Smith, 2008, “Principles of Defense in Depth and Breadth,” para. 1).  Where implementation of traffic controls might overwhelm the border router, those controls are transferred to the firewall.  Not only are the same Antispoofing ACLs, iACLs and tACLs found on the border routers implemented here, but more fine grained ACLs are implemented on the firewall, too.  Adoption of an explicit deny rule is preferred here to allow only authorized ports and protocols through as determined by the firewall security plan (see Appendix A.4).

Quality of Service (QoS) is used to ensure that control and management traffic are guaranteed passage when the routers and switches are overwhelmed with normal data traffic (see Appendix A.15).  Deployment should be on both the router facing the service provider and the interior router of the Internet Access Enclave.  Traffic markings should persist when passing through the firewall.

Role based CLI access and passwords must be implemented on all network devices (e.g., routers, switches, firewall, etc.).  A read-only view, account or level of access should be used by all staff that access the router or firewall.  A separate read-write view, account or level of access should be used only when changes to the devices is necessary (see Appendix A.11).  To protect storage of configuration files that may contain passwords in the clear, use the highest level of encryption available (see Appendix A.10).  If possible the use of one time passwords or multi-factor authentication is preferred (see Appendix A.16.

All network devices (e.g., routers, switches, firewall, NIPS, etc.) must implement Authentication, Authorization and Accounting, also known as AAA services.  This ensures that password policies are enforced, that account access is revoked in a timely manner, that the correct levels of authorization are enforced, and a record of account usage is created (see Appendix A.7).

All non-console administrative access must use the most secure mechanisms such as SSH versus the insecure telnet.  Remote management must use the most secure mechanisms such as SNMPv3 versus SNMPv1/2.  iACLs should be implemented to limit access to the management consoles and services (see Appendix A.17).

NAT is introduced by this enclave on the firewall.  NAT provides obscuration of internal IP addresses by providing a many-to-one mapping of internal IP address to a single outside IP address (see Appendix A.26).

Administratively disable any unused ports that are not actively in use to prevent unauthorized access or incorrect insertion of cables.

## SSL/Proxy Enclave

SSL accelerators and reverse proxy servers are present in this enclave.  These serve multiple purposes—the most common being to off-load encryption processing overhead from HTTP servers.  If logging is required, customers are challenged at this enclave for a name and password.

Figure 4.3 SSL/Proxy Enclave

### Risk Considerations and Remediation Strategies

Man-in-the-middle, session high-jacking, Cross-site Scripting (XSS), and denial of service (DoS) attacks are quite prevalent today.  In some cases these attacks are effective because of poor network design.  In other cases these attacks are effective because too much surface is revealed to the Internet, leaving systems vulnerable to attack because of product defect and configuration errors.  Secure network engineering must include an approach that reduces the surface of attack and optimizes performance.  Specialty products like proxies and SSL accelerators are hosted in this enclave to defeat brute force authentication attacks and resource exhaustion attacks targeting HTTP and API Servers.

If logon is required, challenging for customer account authentication is done from this enclave.  Logon at this point within the infrastructure is necessary to disguise the complexity (and potential vulnerability) of authentication servers deeper within the infrastructure.  The actual customer credential store (account name, passwords, passphrase, account number, attributes, etc.) is not to be hosted within this enclave.  The SSL accelerator or proxy will reach out to the authentication servers for credential verification.  This design approach is necessary to defeat direct attacks against the authentication server platform (e.g., DoS, buffer overflow, etc.) that could result in circumventing authentication controls.

If SSL is used for mobile device or browser access (which is recommended), this enclave reveals the Internet sourced data in the clear for the first time.  Security controls that safeguard confidentiality must be balanced with controls to inspect for attacks and errors.  Keep in mind that encryption without inspection may disguise exfiltration occurring within the N-Tier Application Enclaves.  Further, throughput of a 40GbE network can quickly decline when traffic is repeatedly encrypted and unencrypted.

Proxy and reverse proxy servers can be used to cache content.  These platforms might be used as a springboard of attack.  Cached contend that is not properly safeguarded can result in unintentional data leakage.  Further, malicious alteration of cache content could allow client side attacks.

### Technical Approach and Design Recommendations

The SSL/Proxy enclave consists of an SSL offloading engine that will accept inbound 40GbE SSL traffic from mobile app customers and decrypt it.  SSL poses certain challenges for security device inspection as packets traverse the network in an encrypted form.  Utilizing an SSL offloading appliance provides the enterprise with the following advantages:

- Inspection of unencrypted traffic as it traverses other enclaves.

- Elimination of SSL processing on servers

- Implementation of an application layer firewall.  Several SSL accelerator products reviewed provide additional application firewall or Layer 7 inspection capability.

Traffic from the Internet Access Enclave must pass through a firewall before being passed into the SSL/API Enclave.  Unlike the Internet facing firewall, this firewall that interconnects the Internet Access and SSL/Proxy Enclaves does not have to be a standalone appliance.  A more sophisticated device can be considered that serves the secure interconnect needs between the remaining N-Tier Application Enclaves.  The proposed device contains shared security services that are applied to the switching fabric.

A security fabric is created by using a shared platform that provides multiple security services across the enclaves.  The security fabric must include firewall capabilities but also can be expanded to provide other security services including network IPS/IDS, web application and database firewalling, in-line malware scanning, and load balancing.  By combining all these services within the security fabric, customers can take advantage of backplane speeds of over 500 Gbps that today far exceed the physical limitations of 40GbE.  Services can also be performed in parallel (e.g., IPS inspection and firewall inspection simultaneously).  The security fabric also provides financial advantages by reducing the consumption of physical switch ports.  Examples of security fabric solutions include Fortinet, Cisco, and Crossbeam.

To alleviate the server I/O challenge of handling 40GbE, consider load balancers.  This approach will help eliminate a significant throughput bottleneck.

A Network Intrusion Prevention System (NIPS) is introduced as traffic is passed to the HTTP/API Enclave.  Data is in the clear at this point.  IPS must run in learning or monitoring mode for initial deployment to identify any business traffic anomalies that needs to be addressed prior to make the switch to active in-line blocking.

### Industry Best Practices and Authoritative Sources for Security Controls

Several of the security controls mentioned in 3.2.3 apply to this enclave as well.  Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch and vulnerability management, and remote management apply to this enclave.

The same VLAN protections mentioned in the Internet Access Enclave apply here as well with the addition of disabling trunking on access layer ports (see Appendix A.23).

This enclave continues the design practice of separation of services and classification.  Each device or service in the enclave offers similar services or has data classified at the same level.  This separation provides protection from the previous less trusted enclave while also allowing the uniform inspection of data between the enclaves.   Since only one type of data is passing between the different enclaves the traffic inspection can be narrowed and made very specific.  This also provides measurable optimization of performance for firewalls and IPSs at 40GbE speeds.

## HTTP/API Enclave

This part of the N-Tier Application Enclaves contains the HTTP Servers and API Servers.

Figure 4.4 HTTP/API Enclave

### Risk Considerations and Remediation Strategies

The aforementioned enclaves contain function specific devices (e.g., firewall, IPS, SSL Accelerator, etc.) that are in many cases appliances and proprietary.  This enclave most likely will introduce multi-function capable hosts based on common enterprise operating systems (e.g., Red Hat Enterprise Linux, Microsoft Windows Server, IBM AIX, etc.).  Hardening, configuration management and file integrity monitoring will be required.  The network design must permit the associated automated tools into this enclave to routinely update, inspect and report.  Release management and change management practices become vital as the hosts within this enclave will be updated frequently (e.g., code updates, software releases, content changes, etc.).  Further, automated update of security controls must be incorporated (e.g., patching, web application firewalls and HIPS signature updates, malware detection databases, etc.).

Blade server and virtual server integration is now a major design consideration for this enclave.  Port aggregation is commonly considered during the design phase.  This provides higher bandwidth as well as fault tolerance between blade server chassis (or hypervisor) and ethernet switch.  Careful consideration is required if cable taps, inspection devices (e.g., IPS/IDS) and forensic analysis devices are to be integrated.  For example, if the blade server chassis and ethernet switch are interconnected using 4 x 10 Gbps to get an aggregate of 40 Gbps, there may not be a way to introduce a tap or IPS in-line.

Virtualization and blade servers may introduce new flows in which traffic never passes a physical switch.  As an example, consider two Microsoft Windows Servers running IIS as guests on VMWare ESX.  If clustered, the Windows Servers would be able to intercommunicate without inspection by a network intrusion prevention system appliance.  This would make detection of a pivot attack more difficult.  Some switch vendors like Cisco and Extreme Networks are introducing virtual switches with features to overcome this issue.  SPAN may help in some conditions, however this feature is typically the first sacrificed when the switch approaches maximum utilization.

Common IT service activities will result in large volumes of data movement even though HTTP Server content is static.  Tape backup moves a substantial amount of data daily.  Creating snapshots of VMs prior to software upgrades is a common practice.  With SLAs of 99.5% or better required, the operational risks associated with patching and system updates requires frequent backup and image motion.  Tape backup, snapshotting VMs, and replicating servers can become a security risk as configuration and restricted data may be present on hosts.  This data motion can happen very quickly with 40GbE networks.  Network design should incorporate controls to inspect and protect IT service initiated data motion.

Many of the aforementioned risk considerations apply to the remaining enclaves.

### Technical Approach and Design Recommendations

The HTTP Enclave is a separate security zone defined in our firewall with ACL’s defining inbound and outbound traffic between the SSL and the Web Application Enclaves.  The decrypted SSL traffic that was provided by the SSL/Proxy Enclave crosses back into the firewall, IPS, AV and web application firewall for inspection and back out to an interface of the load balancer to distribute to the HTTP server farm.  The connection between the firewall and the load balancer and between the load balancers can either go directly or through a switch. A business and design decision can be made based on business needs. From one prospective not having a switch reduces the chance for the wrong device being connected to the network. Potential signal interception or unauthorized taps introduce additional points of failure. On the other hand not using a switch reduces some of the insight into port statistics monitoring that is a part of our overall infrastructure monitoring.

This enclave must not store any customer data or any proprietary information; however that data is transported through this enclave.  The sole purpose of this enclave is receiving the decrypted http traffic, parsing the HTML requests and forwarding it to the next enclave for logic and web application request processing. Bandwidth at 40 Gbps speed could present a challenge for the server side processing.  Load balancing is recommended.

Anomaly detection at the HTTP layer is critical to monitor abnormal URL access, frequency and volume. From the 40GbE network prospective, NetFlow/sFlow data is crucial at all layers to monitor abnormal spikes between specific hosts and destination. This provides non-signature based analysis in the event that our other layers of security fail as well as provide us insight into attacks that do not fit our normal traffic behavior.  A correlation engine is required to process the various sources of data to detect anomalies (e.g., HTTP server logs, IPS logs, NetFlow/sFlow logs, etc.)

Host based monitoring is another critical layer of protection to identify attacks and traffic from the host and application prospective. The network will see the traffic but might not have full understanding of how each application will handle the various types of anomalies that is being directed towards it. Layering security implementation is recommended as through the 20 critical controls and specifically critical control number 19.

With a limited number of systems, the understanding of data flow is the foundation to creating access lists limiting source and destination traffic between the SSL enclave and the HTTP enclave moving to the Web Applications Enclave. ACL’s are applied on the firewall limiting communications to trusted hosts between the enclaves while dropping and logging any other non-authorized traffic.

### Industry Best Practices and Authoritative Sources for Security Controls

Several of the security controls mentioned in 3.2.3 apply to this enclave as well.  Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch and vulnerability management, and remote management apply to this enclave.

The network design makes use of virtualization and blade servers.   VMs should be separated by different trust levels, asset values, or data classification.  This would be achieved by running VMs of the same trust level on the same box and using a separate hypervisor on a separate machine to host VMs of a different trust level.  VMs should also be prevented from accidentally being migrated from one trust level to another trust level.  Securing the hypervisor is another hardening technique and can be implemented by using multi-factor authentication, separation of roles and privileges, and disabling or removing unused services on the hypervisor (See Appendix A.27).

Hypervisors also introduce their own network switches.  A thorough understanding of how the switch is implemented to prevent unintentional misconfigurations or breaches of trust levels.  These virtual switches are also capable of using VLAN trunking and as such the same considerations presented above regarding trunking apply here as well (See Appendix A.27).

If VLAN trunking is used then usage of an authentication method is highly recommended.  Ports should have a default configuration of not allowing trunking so that manual configuration is required as a safety precaution.  Automatic VLAN propagation, if necessary, must also be contained to propagate VLANs within similar security zones (See Appendix A.22).

## Web Application Enclave

This enclave contains the web application servers and API servers.  In addition, load balancers, web application firewalls, and web application intrusion prevention systems may be present.

Figure 4.5 Web Application Enclave

### Risk Considerations and Remediation Strategies

This enclave has many of the same risks as the aforementioned HTTP/API Server Enclave including multi-function hosts, virtualization, blade servers, common IT services, and Ethernet port requirements.  Further, this enclave is a very dynamic environment operationally.  It is also the most complex.  The hosts within this enclave are a hub for combining content and data from a variety of sources.  There are many leads and feeds to consider for this enclave including enterprise service buses, message services, databases, warehouses, SOA gateways, XML accelerators, and legacy gateways.  Because of this, accurate documentation and comprehensive data mapping are critical for this enclave.

Managing this enclave’s ACLs for firewalls, routers, and switches can be a daunting task for engineers.  An unintended configuration error might reveal vulnerabilities and new targets of attack.  In addition to the firewall administration tools provided by firewall manufacturers, consider the use of firewall policy managers.  These products integrate with multiple firewalls from multiple manufacturers.  In addition to the routine policy updating, they also include policy optimization.  A poorly written ACL has one of the biggest impacts on firewall performance.

Many different types of IT administrators must access this enclave including database administrator, system administrators, middleware administrators, application administrators and the “occasional” developer.  Direct access into this enclave is a common request, however this is a poor approach.  Access must be proxied through the Management Enclave to ensure access controls are enforced and activity can be tracked.  Security integration into SDLC is also vital.  Early adoption of security best practices will reduce the likelihood of unplanned application problems that result in network security controls being “temporarily” relaxed to troubleshoot production problems.

### Technical Approach and Design Recommendations

Many organizations must consider hosting multiple web application standards that reside within this enclave.  As an example, the majority of new web applications may be built on IBM Websphere, however a legacy web application based on Microsoft Windows .Net may have to remain around for a few more years.  A design decision is required to create duplicate web application enclaves or introduce further segmentation within the enclave.

For architects considering further security to isolate disparate standards within the enclave, there are a few options.  A common option considered is to implement IPSec ESP on the hosts.  This provides mutual authentication and encryption.  However, legacy systems many not have a practical IPSec solution or the processing overhead is materially impactful to application performance.  Some switch manufacturers offer Private VLANs in which the Ethernet switch limits inter-port conversation to within the same VLAN.  This can be effective, however load balancing and clustering can be a challenge to integrate.  A new standard IEEE 802.1ae is being adopted by some 40GbE switch manufacturers.  In this case the switch itself performs the encryption of frames—there is no supplicant required on the host for authentication and no client needed for encryption.  Kerberos snooping, LLDP, or DNS are used by the switch to determine the host type.  The switch can automatically assign the encryption and segmentation settings or the switch administrator can set this manually.

Application firewalls are common within this enclave.  Also known as layer 7 firewalls or Web Application Firewalls (WAF), they safeguard web applications from the most common forms of attack.  The difference between these firewalls and the traditional network firewall is they have context intelligence.  A WAF can recognize attacks targeting web application weaknesses including configuration errors, parameter manipulation, coding errors, buffer overflows, and known web application defects in a way IPS and traditional firewalls cannot.  For example, Imperva offers a product SecureSphere which provides protection against the OWASP Top Ten attacks, including SQL injection, XSS and CSRF.  Several other commercial and open source solutions are available.  XML firewalls, SOA firewalls, and HTTP firewalls may be of interest.  These application firewalls can be installed as agents on the server, in-line Ethernet, SPAN, or in some cases as a cloud-based service.  With 40GbE speed, any help applying intelligence to raw events must be considered.

### Industry Best Practices and Authoritative Sources for Security Controls

Several of the security controls mentioned in 3.2.3 apply to this enclave as well.  Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch vulnerability management, and remote management apply to this enclave.

## Data Enclave

This enclave may contain traditional databases (e.g., Microsoft SQL Server, Oracle, MySQL, etc.) as well as a number of other data sources including enterprise service buses, message services, databases, warehouses, SOA gateways, XML accelerators, and legacy gateways.

Figure 4.6 Data Enclave

### Risk Considerations and Remediation Strategies

Enterprises might consider dissolving this enclave, opting to access data within the Enterprise Core Enclave directly.  Concerns about data synchronization and the cost of redundant data stores may make this seem an attractive design approach.  Expanding the use of database technology in place within the Enterprise Core might be tempting to consider.  Rapid growth in customer demand may accelerate capacity demands and require an unplanned upgrade of existing enterprise data services impacting internal and external customers.  Further, segmentation within the core may not be sufficient to create boundaries for compliance and audit.  This may draw the entire enterprise into scope for compliance evaluation and control implementation.

Operationally, there are potential problems using data sources within the Enterprise Core.  For example, two phase commit and record level locks become difficult to execute.  There are many hidden costs and risks associated using data resources residing within the Enterprise Core.  A thorough investigation into all design options for is strongly recommended.  Creating this enclave is highly recommended.

As with the Web Application Enclave, documentation and data mapping are critical for this enclave.  Policies should also be documented including data retention and data destruction.  These policies may drive archiving and transfers impactful to the network capacity.

The pattern of traffic for this enclave will be high volume, large payload transfers.  Database ETL (Export-Transform-Load) and EDI (Electronic Data Interchange) will cause bulk transfers—possibly while customers transactions are occurring.  The benefits of a separate customer facing firewall and infrastructure firewall are best demonstrated with this enclave when running at 40GbE speeds.

There are a number of attacks targeting database servers that a conventional IDS will not detect.  Database intrusion prevention systems (also known as database activity monitors) are becoming increasingly popular.  They provide contextual knowledge of database protocols and structures that is used to detect database attacks.  These products can be placed in-line, installed as an agent, assigned to a SPAN port, or connected to a tap.

### Technical Approach and Design Recommendations

There are a variety of data sources that might be placed within or revealed through this enclave.  Database servers are commonly staged within this part of the network.  Day one the database is empty.  There must be an approach defined for getting data in and out of the database server to ensure the data remains relevant.  ETL is a common way to get this data.  However this creates a challenge for real-time data.  ETLs are typically done once or twice a day, so customers that demand data with quick expiration will not be satisfied.  For example, if the web or mobile application is to provide logistic information (e.g., “Where is my shipment of fortune cookies and when will it arrive?”), then ETL simply won’t work.  In some cases the data may not be on-premise.  A B2B connection or EDI service is required.  In some cases the data is not entirely from the enterprise—but instead a collection of information from enterprise, business partners and vendors.  This enclave is where these data feeds are intended to land before being revealed to the Web Application Enclave.

Network engineering for this enclave must include the secure transport of data.  Confidentiality is important, but so is authentication and integrity checking.  Garbage traveling at 40 Gbps is still garbage.

If for some business reason the data cannot reside within the Data Enclave, then consider alternatives like database gateways (e.g., SQL, XML, DB2, etc.), an enterprise service bus (e.g., Tibco), or message service (e.g. IBM MQ Series) for the enclave.

### Industry Best Practices and Authoritative Sources for Security Controls

Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch and vulnerability management, and remote management apply to this enclave.

In this enclave we scope in our monitoring to continuous analysis of all database traffic to detect unauthorized or anomalous activities.  This can be done in-line on the network or a copy of the database transactions can be offloaded to another device for analysis.  Baselining is another important step that will assist in the identification of normal versus malicious transactions (see Appendix A.28).

## Customer Authentication and Authorization Enclave

This enclave contains the credential store for customer accounts.  Authentication, authorization, and auditing of customer account activity are performed here.  This enclave does not contain the credential store for Enterprise Core accounts nor infrastructure (i.e., firewalls, routers, switches, etc.) accounts.  Customer data is not stored here—just the account information necessary to access the applications revealed to the Internet.

Figure 4.7 Customer Auth Enclave

### Risk Considerations and Remediation Strategies

Requiring customer authentication provides several business opportunities for the enterprise.  Website personalization, order processing, fulfillment tracking, logistics, loyalty programs, and promotions can all be integrated with the website customer credentials.  Internal business systems like ERP may have to integrate with this customer credential store, too.  The business may require many touch points to this credential store.  This might unintentionally create a large surface for attack.  Segmenting customer authentication and authorization data is vital to protect confidentiality and integrity.  This enclave is intended to prevent customer account harvesting and pivot attacks deeper into the enterprise infrastructure.  Lastly, breach notification is expensive and can have a material impact on enterprise reputation.

This enclave is generally revealed to all N-Tier Application Enclaves, so secure network engineering is critical for this enclave.  Once this enclave is compromised, attackers will attempt to circumvent firewalls between the N-Tier Application Enclaves.

### Technical Approach and Design Recommendations

This is not the location where system administrators, DBAs, and network engineers store their accounts to manage the infrastructure.  This enclave and associated services are not intended for the Enterprise Core.  There should be no trust established to enterprise credential stores or directories.

A dedicated solution to host customer credentials is placed within this enclave.  Several options are available including RADIUS, LDAP, Microsoft AD, Tivoli Identity and Access Manager, and others.  Identity and Access Services (IAM) systems, federated services, and single sign-on services may also reside within this enclave.

Automation for IAM will become critical as the number of customers increase.  Customer self-registration and self-password reset should be considered.  Tokens for passing credentials to HTTP, Web Application, and Data enclaves will also be created here.  Mutual authentication between hosts within in this enclave and other enclaves is required prior to customer credential or token exchange.

### Industry Best Practices and Authoritative Sources for Security Controls

Several of the security controls mentioned in 3.2.3 apply to this enclave, too.  Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch and vulnerability management, remote management, and NAT apply to this enclave.

## Network Application Enclave

Traditional network applications and services reside in (or are revealed by) this enclave.  This includes tape back-up, DNS, SIEM, NTP, File Integrity Monitoring, RADIUS, TACACS, administrator authentication servers, MFT, release management, application performance monitoring, network performance monitoring (SNMP/RMON/NetFlow), transaction auditors, and forensic analysis tools.

Figure 4.8 Network App Enclave

### Risk Considerations and Remediation Strategies

The largest fraction of firewall ACLs are associated with this enclave.  This part of the network offers the greatest opportunity for firewall policy and rule optimization—or the greatest source of inefficiency and firewall performance hit.  For example, 100 network services (DNS, NTP, RADIUS, etc.) presented from this enclave to the other enclaves would result in at least 700 ACLs (7 enclaves x 100 network services= 700 ACLs).  With redundancy of hosts and services, this could possibly translate into 10,000 Access Control Entries!  As with the Web Application Enclave, consider Firewall Policy Managers (FPM).

In addition to ACL optimization on the firewall, network engineers must consider the number of flows passing through the firewall.  Though a firewall may have a new 40GbE interface that is 40 times faster than conventional 1GbE interface firewalls, the state table buffer may not be the same order of magnitude larger.  With 40GbE, firewalls might be overwhelmed with stateful flow management long before the physical Ethernet interface is saturated.  This may result in unexpected outcomes including session loss through the firewall.  Worse, this may result in a buffer overflow state in the firewall resulting in a failed closed condition that passes traffic that should be denied.

System, database, application, middleware and firewall administrators all store their accounts in RADIUS or similar authentication system within this enclave.  Centralized authentication of high authority accounts is required for this entire infrastructure.  Distributed account management is not practical (and in some cases not compliant).  A RADIUS or similar service for administrative accounts should be placed within this enclave.  This will also provide a convenient method of centralized management of authentication controls (e.g., password complexity, rotation, etc.).  Insider threats should be strongly considered when designing this enclave.

The velocity of traffic for 40GbE networks is very high, making management a challenge.  This enclave creates even more complexity because of the high volume combined with small packets.  Security Information and Event Management (SIEM) automation is critical for processing and correlation is necessary.  Events from IDS (e.g., replay attacks, fragmentation attacks, buffer overflow attacks, etc.), firewall (e.g., DoS attacks, port errors, dropped packets), SSL (e.g., DoS attacks, certificate errors, session drop), reverse-proxy (e.g., dictionary logon attacks, cached content change, etc.), and file integrity monitoring can collectively overwhelm the SOC staff and SIEM platform without proper planning.

### Technical Approach and Design Recommendations

All network application servers that serve the N-Tier Application enclave silo reside within this enclave.  Network applications serving the Enterprise Core do not reside within this enclave.  Network applications include DNS, Logging, NTP, management, monitoring, patch and release management, and SIEM.  These services are securely revealed into the remaining N-Tier Application enclaves using the aforementioned iACLs.

Two Public Key Infrastructures (PKIs) are introduced within the enclave.  The first is for customer authentication of the services offered (www.giacenterprisescooolmobileapp.com).  The second is for non-console administrative access to infrastructure components including SSL accelerators, firewalls, IPS/IDS, reverse-proxies, and load balancers.  PKI and certificate mismanagement at this layer can impact customer trust (expiration and signing errors) and security control integrity.  In addition to PKI, DNS is offered from this enclave.  This is necessary for intersystem communication without embedding IP addresses (e.g., SSL accelerator needs DNS to find HTTP server IP addresses).  Mobile device and web browser names resolution of www.giacenterprisescoolmobileapp.com is provided separately from this infrastructure.  Managed security providers or cloud hosted services (e.g., Symantec, Entrust, etc.) are recommended for automation and administration to minimize the need for additional internal resources to maintain these services securely.

DNS servers within this enclave point to trusted DNS Servers within the Enterprise Core.  For queries of external domains, the Network Application Enclave DNS servers perform recursive lookups through the Enterprise Core DNS servers.  Hosts within the N-Tier Application Enclaves are not permitted to query untrusted, external DNS servers directly.

Functional isolation will result in a large number of servers within this enclave.  Servers residing in the network applications enclave connect to a high port density switch with a high speed backplane.  In addition, port aggregation may be required to link multiple chassis together.  Capacity and Performance Monitoring are vital for this enclave as network application performance problems could manifest as application performance problems.  Through the security fabric the traffic is inspected and filtered real-time (e.g., firewall, IPS and inline AV, etc.) before going to its destination enclave and final system.

A network monitoring switch is required between the high speed Ethernet switch and security fabric.  The network monitoring switch provides an inline tap to capture and monitor traffic without effecting enterprise services or having to schedule downtime when the need arises.   The network monitoring can then forward frames to a variety of devices including IDS, forensic analysis, and data leakage analysis.

For managing the virtual environment, networking becomes a challenge at 40GbE.  Managing virtual network switching (in addition to guest CPU and memory demands) can have a material impact on performance of the host system.  When the network is virtualized at this speed, the host must allocate more resources to virtual switching and starves guest resources.  Several vendors are approaching this issue with very different solutions.  Some are offering virtual switching in which a separate host is providing the resources for switching.  Others have taken an approach of eliminating the virtual switching with device drivers and redirecting virtual switching to actual switching with external physical switches.  This last approach presents a problem when there are only a limited number of physical ports supporting 40GbE.  As the cost per port drops, adoption of the last approach may grow.  Lastly, these new solutions provide SPAN ports, network QOS and ACL control down to the VM level.

Visibility into network traffic flows in the virtual environment can be a challenge.  The monitoring controls (e.g., NetFlow/sFlow/jFlow) present in the physical switching environment must be made available within the virtual environment.  This is vital for performance monitoring as well as security and anomaly detection.  In some cases, the switch vendor offers an option for virtual environments (e.g., Cisco Nexus 1000V).  A switch vendor agnostic alternative should also be considered (e.g., Lancope StealthWatch FlowSensorVE).

NTP Servers reside within this enclave.  Time synchronization is necessary for system clocks, session management, and key management.  Host time settings must also be safeguarded from unauthorized change.  For credible security event management, an authoritative clock source is required (e.g., PCI DSS Requirement 10).

All administrative non-console access to network applications must be encrypted.  SSL or SSH are to be used with ciphers at least 128 bit.  When available, mutual authentication between jump boxes in the Management Enclave and hosts within this enclave must be implemented.

Centralized infrastructure account management is performed within this enclave.  This service is not to be integrated with the customer or Enterprise Core authentication solutions.  A RADIUS or TACACS server is recommended.  AD integration can be considered—however there may not be any integration with the Enterprise Core AD.  Key rotation between authentication server and infrastructure components must be performed at least yearly.  Logging of authentication and access is required and retention policies would apply.

Logging of events is required.  These events must be reviewed daily or automation must be implemented.  Several categories of events would be gathered including component failures, port errors, threshold exceeded, and security controls defeated.  Centralized logging is necessary for IT administrators as well as for security staff for which the solution would reside within this enclave.  Logged events from the other enclaves make their way here for centralized analysis.  The approach and solutions implemented here of data aggregation and analysis by the monitoring group are outside the scope of this paper.

This enclave additionally contains the NTP servers for the network.  NTP time synchronization is required for all routers, switches, servers, desktops, proxies and any device capable of being synced (see Appendix A.6).  Time synchronization is necessary for credible correlation of events associated with security, syslog (see Appendix A.29), SNMP/RMON (see Appendix A.17), NetFlow, as well as any application performance monitoring servers.

Anti-virus, anti-spyware, malware detection, file integrity monitoring, configuration management, and data leakage prevention are all necessary services and must be considered as critical controls.  Definition of these controls is outside the scope of this paper, however the centralized management of these services would reside within this enclave.

### Industry Best Practices and Authoritative Sources for Security Controls

Several of the security controls mentioned in 3.2.3 apply to this enclave, too.  Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch and vulnerability management, remote management, and NAT apply to this enclave.

NTP in an environment can be implemented in many ways.  Most commonly has been the use of a local NTP master server that contacts a stratum 2 or stratum 3 time server to synchronize time.  That local NTP master server then is authoritative for distributing time throughout the network.  With the availability of commercial stratum 1 receivers that receive updates from either the US Naval Observatory or from a GPS signal, the local NTP master server then becomes a stratum 1 time server for the entire environment (See Appendix A.5).

An infrastructure DNS server is located here to service requests by any device or host in the N-Tier Application and Infrastructure silos of enclaves.  DNS requests for lookups of Internet domains are sent to enterprise DNS servers that proxy access to authoritative servers provided by trusted ISP or DNS service provider.  Implemented here are the DNS protocol extensions that form DNSSEC.  DNSSEC provides a chain of trust from the root DNS servers on down using public key cryptography (See Appendix A.32).

## B2B Enclave

This enclave is intended for connectivity to vendor partners and service providers.  For example, a company selling fortune cookies would have several connection requirements including payment processors, call centers, warehouse, logistic services, and managed services providers.  Common business functions like accounting and marketing may also require integration of their vendor partners and cloud based services.  This enclave must provide a versatile and secure means of connecting to these vendors and hosted business systems.

Figure 4.9 B2B Enclave

### Risk Considerations and Remediation Strategies

Global outsourcing and managed service providers are commonly engaged by today’s enterprise.  Remote IT and business support services may be desirable, too.  This is another vector of attack that enterprises must consider.

Inspection controls (IPS, logging, etc.) must be implemented to protect the confidentiality and integrity of data movement.  Network engineers and security staff should not lose this opportunity to verify trustworthiness of partners and providers.  If reconnaissance activity is detected, then the vendor must be notified immediately.

### Technical Approach and Design Recommendations

The B2B Enclave is the entry point for partner’s data transfers.  Due to the different trust levels of the traffic coming in from partners versus traffic coming in from customers, a separate ISP connection is recommended for B2B.  A 40GbE router and firewall at the edge are required for this alternate ISP connection.  All access into the B2B Enclave is challenged to validate the identity of the source prior to permitting access into B2B and appropriate systems.  A VPN service is implemented within this enclave to perform this authentication as well as encryption.  All B2B vendor connections must be authenticated and encrypted using IPSec IKE and ESP respectively.  The VPN function may be offered by the security fabric or with a standalone appliance.

Once traffic is unencrypted by the VPN, an IPS is required for traffic inspection and attack prevention within B2B.  If the security fabric does not provide an IPS service, then a standalone IPS is required.  Vendor data flows should be terminated to a front end application (e.g., Data Exchange Server) to process the request and validate the web or application logic prior to being allowed into the backend data store.

Management connections by the vendors must not be allowed unmonitored and must be pre-authorized formally.  All vendor remote access must be forced through the Management Enclave with a dedicated jump box or proxy.  Connection to all other enclaves and systems must be explicitly denied.  Remote support sessions must be logged for auditable record of vendor changes.  Even changes to the vendor’s own asset must be logged.  This assists internal staff with identifying application anomalies that might occur after a vendor makes changes to the way applications or systems operate.

Many different methods of data exchange will occur through this enclave including managed file transfers (e.g., scp, ftp, sftp, etc.), Electronic Data Interchange (EDI), electronic payment processing, and database gateways to vendors.  In some cases the partner or service provider will permit security associations using IPSec or SSL.  In other cases the vendor partner or service provider will require their own asset be installed within the customer network.  Payment processors commonly require their own VPN appliance or dedicated circuit/router connection to be installed at the merchant location.  Systems may have to be installed that will reach out to cloud based services to retrieve or push data.  In short, there will be a considerable amount of network engineering that will be required within this enclave.

With all these leads and feeds, it may be beneficial to create a “data exchange server”.  Several vendors (e.g., IPSwitch, Sterling, Axway, etc.) offer managed file transfer solutions that are intended to handle this many-to-many data movement.  Authentication, integrity checking, and encryption are incorporated into this one centralized solution.  Standards enforcement and operations are much more effective with this approach.

### Industry Best Practices and Authoritative Sources for Security Controls

Several of the security controls mentioned in 3.2.3 apply to this enclave, too.  Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch and vulnerability management, remote management, and NAT apply to this enclave.

This enclave provides access to and from B2B partners via VPNs, either of the IPSec or SSL types (see Appendix A.22).  The VPN terminates inside the enclave and is inspected by the NIPS when data is in the clear.

Virtual Desktops provided to each external B2B partner create a secure environment that can be monitored, restricted and reset after each use.  This prevents direct data transfers as well as limits the ability for the B2B partner to connect outside of agreed upon hours.

## Management Enclave

The purpose of this enclave is to host administrator and support team jump boxes.  These jump boxes are used to gain access into the infrastructure for activities that require high authority.  For example, a member of the security team wants to update firewall ACLs.  This individual must pass through this enclave to access the firewall console or policy manager.  Direct access into the infrastructure is not permitted from administrator PCs.

Figure 4.10 Management Enclave

### Risk Considerations and Remediation Strategies

There a many components throughout this new infrastructure that will need to be routinely accessed for configuration and update purposes.  High Authority Accounts (such as admin, sa, and root) are used to perform these duties.  The security these components offer can be easily defeated if high authority access is not properly safeguarded.  Further, many security controls are relaxed for high authority accounts.  There is an assumption that a conscientious administrator is at the wheel with all appropriate safeguards.  Of course, this may not always be the case.  A variety of individuals will require high authority access.  This includes manufacture technical support, help desk, NOC/SOC, administrators, MSP, outsourcing providers, and operations support staff.  This enclave provides a solution for secure administrative access to protect the integrity of the security components themselves.

Also, if “out-of-band” management access is desired, further inspection and monitoring is required to ensure this path is not exploited to circumvent firewalls and other critical security controls.  Network engineers will typically design this out-of-band management network without considering how attackers may also use it.  This enclave is intended to contain the out-of-band and in-band management so that appropriate security controls are engaged.

### Technical Approach and Design Recommendations

The Management Enclave is the gateway to manage all servers and equipment in all enclaves.  To control and track administrator access, all management services are denied across all enclaves except from the Management Enclave.  Inside the Management Enclave, access is permitted using a white list approach via ACL’s applied to the security fabric’s enclave connection.  Logging is extremely critical to validate change controls are effective and provide a centralized point of audit.

The Management Enclave is a high risk target because it is the gateway into the other enclaves.  To reduce the risk, a NAC appliance must be installed at the entry point to the Management Enclave.  An in-line based NAC appliance is recommended as compared to software agents.  This is simpler to implement and maintain.  It provides clients and authentication validation through a redirected browser session as compared to requiring a full client to be installed in advanced.  This option provides flexibility to control guest accounts and non-organization issued devices being connected to the network. It also provides a method to validate that vendors meet the organization's minimum security requirement prior to be being granted access to the network.  At the time this paper was written, several vendors offer products in this vector. For example, Cisco offers the Clean Access NAC and McAfee currently offers a NAC appliance.

Ideally, all management access must go through a secure proxy server, with access enforced via ACL’s.  Management access that does not support a proxy or browser client must have client software installed on jump servers with access controls (i.e., authentication and network ACLs).  Access to the proxy server and jump box requires multi-factor authentication and AES128 encryption.

All access through the Management Enclave must be logged.  This includes proxies, jump boxes, and network applications.  Logs are then presented to a correlation engine for processing and alerting.  Further, logs must be gathered and archived in a secure location to prevent unauthorized access and alteration.

Multiple jump boxes should be created to separate vendor access from trusted employee access.  This approach allows creation of specific ACL’s based on functional role (network administrator, DBAs, etc.) and the asset value of the target system ACL’s must prevent any user or administrator from connecting to any management ports or services without passing through Management Enclave.  Further, ACLs must prevent direct file transfer from Management Enclave.  File transfer (e.g., TFTP for router OS and service pack for Microsoft Windows OS) must be sourced from Network Application Enclave.  To upload files or patches administrators must go to the appropriate jump box then connect to the release management server to upload the required files.  Once formally authorized, the files are scanned and submitted or transferred via the release management software to release and apply the approved patches.

Management service authentication and authorization are maintained by a system located within the Network Application Enclave.  This identity and access management service must be separated from all Customer and Enterprise Core services.  Explicit blocking of traffic between the other authentication systems outside of this enclave is required.  The management authentication services are the most critical due to the elevated privilege provided across the organization.  Rigorous Identity and Access Management policies (IAM) for high authority accounts must be enforced here.  This includes password policies, naming conventions, idle timeout, and automated disabling of unused accounts.  Further this control is a common target for audits.

Data Loss Prevention (DLP) controls must be placed within this enclave.  Managed file transfers and release management are to be orchestrated using this enclave, however the actual file transfer (ETL, firmware upgrades, patches, etc.) occur from the Network Applications Enclave.  This way data integrity inspection can be done, malware scanning can be done, and release management controls can be enforced.  Further, data leakage is prevented using the administrator non-console connection.

Based on the number of interfaces needed, a smaller form factor stacked switch is recommended.  This provides physical security advantages in addition to lower per port costs.  In-line TAP or a monitoring switching in this instance is included as a part of the design to allow for traffic capture and analysis outside of switching.  This approach also avoids downtime to implement inspection tools in the event of problem or security incident.

Network taps and network management solutions that provide in-line access to network traffic are consolidated into this enclave for console and non-console administrative access.  NIDS, forensic analysis tools, packet capture and performance monitoring solutions are integrated into the taps here.

### Industry Best Practices and Authoritative Sources for Security Controls

Several of the security controls mentioned in 3.2.3 apply to this enclave, too.  Specifically, the guidance provided with routing, hardening, QoS, ACLs, firewalls, AAA, patch and vulnerability management, remote management, and NAT apply to this enclave.

Network Access Control, NAC, solutions are implemented in this enclave providing network level policy compliance for computers in the Enterprise Core as well as for remote access users to ensure that computers meet the required antivirus, HIDS/HIPS and operating system patch versions (See Appendix A.33).

Multi-factor authentication is implemented in this enclave wherein we verify the administrator or user’s identity from not only a password but another mechanism like a token, SMS message, smartcard or biometrics which is necessary to minimize use of compromised passwords.

All network devices (e.g., routers, switches, firewalls, etc.) must implement AAA services.  This ensures that password policies are enforced, that account access is revoked in a timely manner, that the correct levels of authorization are enforced, and a record of account usage (see Appendix A.7) is created.

Terminal servers, virtual desktops, KVMs, and jump boxes allow the administrator to connect to a machine that is a launching point to the management device they are attempting to connect to.  This centralized point of connectivity reduces the number of ACLs that must be implemented on the networking devices.

## Enterprise Core

This is the existing network that collectively defines the enterprise.  This includes LANs, WANs, MPLS, or similar network connectivity as well all hosts and applications.  Controls for the Enterprise Core are out of scope for this document.  However, there are some general assumptions that should be addresses.

Figure 4.11 Enterprise Core

### Risk Considerations and Remediation Strategies

Many of the IT staff will use PCs that reside within the Enterprise Core.  Remote access may be provided into the Enterprise via PC VPN or site-to-site connections.   Remote access into the enterprise (e.g., PC VPN) may be indistinguishable from local access within the enterprise.  All these access points can be used as a vector of attack into the aforementioned enclaves.  Therefore, all interactive administrative access from the Enterprise Core must first pass through the Management Enclave and be inspected.

Segmentation of systems and services within Enterprise Core is highly recommended to create separate communities based on data classification and risk.  As a minimum, systems and services revealed into N-Tier Application Data Enclave silo should be segmented.  This provides security advantages as well as makes routing easier to design.

### Technical Approach and Design Recommendations

Controls for the Enterprise Core are not in scope for this paper.  The Enterprise Core contains the organization’s internal systems and applications (e.g., HR, Finance, email, file services, etc.).  This infrastructure is separate and distinct from the new infrastructure.  All network applications (e.g., DHCP, DNS, etc.) necessary for the Enterprise Core are contained within the Enterprise Core.  None of the aforementioned network applications or security services are reused for the Enterprise Core’s needs.

The DNS Servers within Network Application Enclave will reach into Enterprise Core to query third-party domains.  These DNS Servers within the enterprise must be properly secured to prevent DNS poisoning.  The DNS Servers within the Enterprise Core will use separate controls and Internet access than that used by the aforementioned Internet Access Enclave.

A standalone firewall is required to separate the Enterprise Core from the new infrastructure.  This firewall is similar to the firewall placed within the Internet Access Enclave in that it serves as a demarcation point and is intended to prevent attacks that exhaust resources.  ACLs within the firewall restrict access to predetermined services and hosts.

NAC must be implemented at the border between the Enterprise Core and the Management Enclave to provide security control inspection of administrator computers.  Administrator computers must be inspected for Anti-Virus, HIPS, and patching prior to being permitted access into the Management Enclave.

# Recurring Security Service Considerations

The following services are necessary for maintaining the new infrastructure in a commercially reasonable and compliant manner.  Managed Security Service Providers should be considered for these obligations to supplement current IT resources.  In some cases an MSP should also be considered for seasonal demands (e.g., Chinese New Year customer volume for fortune cookies).

## Patch and Vulnerability Management

Typically, network engineers will consider in their plans common operational duties associated with “break/fix”.  However, one of the most common causes of system outages and service interruption is change—not component failure.  Change is typically accelerated for public facing infrastructures.  Part of this change is driven to continually improve the customer experience.  Part of this change is to deploy patches and security updates.  Microsoft Patch Tuesday is an example of routine vendor notification of product defect that demands at least monthly updates.

A patch and vulnerability program is required to automate product defect discovery and remediation delivery to this new environment.  Patch and vulnerability management framework must be in place for network and security software.  This mitigates exploitation of network product defect or code errors.  Software should follow the version control method used by the company as well as the vetting process for rollout of software and firmware (see Appendix A.19).  Depending on the regulatory requirements, a formal patch and vulnerability management program might be required for compliance (e.g., PCI DSS 2.0 Requirement 6 “Develop and maintain secure systems and applications”).  NIST provides a very credible resource (Special Publishing 800-40v2) for creating a patch and vulnerability management program.

## Vulnerability Scanning and Penetration Testing

“Inspect what you expect” is a popular slogan that security professionals know well.  For the infrastructure proposed in this document, regular inspection of security controls is required.  A vulnerability scanning solution must be incorporated into the design so that systems can be tested for configuration and product defect weaknesses.  In some cases, this testing may be required quarterly for compliance reporting.  If this is the case, then automated vulnerability scanning solutions by an authoritative source should be strongly considered.

In general, there are three categories of vulnerability scanning.  The first category is network based vulnerability scanning.  Products like Nessus, Qualys, and Foundstone (McAfee) scan hosts and network infrastructure over the network to identify weaknesses that might be exploitable.  These products are also useful for asset profiling and identifying unintentional sensitive data leakage.  The second category of vulnerability scanner is more specialized and focuses in on web applications.  Products like Burp, IBM AppScan, and HP WebInspect review HTTP content to determine if common website attacks (e.g., parameter manipulation) can be effective.  The last category of vulnerability scanning is source code security analysis.  Products like HP Fortify and Veracode Static examine program code for vulnerabilities including potentially insecure library functions, control flow errors, bounds checking errors, and buffer overflows.  All three of these categories are necessary for comprehensive vulnerability scanning.

In addition to vulnerability scanning, a more thorough testing is required periodically.  Penetration testing must be done just prior to initial promotion of this infrastructure to production, as well as on a yearly basis.  Penetration tools like Metasploit and Core Security Technologies Core Impact simulate a variety of common attacks to reveal the cause, effect, and prevention of breaches.  They include thin agents that are used on compromised hosts to pivot through the infrastructure.  This approach provides insight into the methods advance persistent attack would use.

With each major change, vulnerability scanning and penetration testing must be performed.  The network architecture will have to include integration of these tools into every enclave.  Simply scanning from the Internet is not adequate.  This practice ensures intentional or unintentional changes do not introduce new material risks.

## Asset Management and Configuration Management Database

There are quite a large number of components to this proposed architecture.  The network engineering team has many assets to design and build.  Building out a 40GbE infrastructure is a significant investment with recurring financial obligations.  Because of these considerations, an Asset Management and Configuration Management Database (CMDB) are highly recommended.  Asset information includes component specifications, configuration, maintenance providers, support contracts, and financial obligations.  This information should all be stored in a centralized and secure warehouse.  The assets are in many cases inter-related (e.g., data mapping).  Configuration Items (CI) and element relationship information are tracked within a CMDB.  Asset Management and CMDB solutions provide many benefits including access to as-built information for operations staff, configuration information for future design enhancements, and useful forensic information.  Organizations considering a 40GbE network and deployment of mobile applications are strongly advised to implement a system to organize and maintain the configuration information in a secure manner.

## MSSP

Many IT services were mentioned in this paper.  An enterprise embarking on a new web presence should consider the operational impact to existing IT resources and processes.  “Bench strength” may be required to serve the demands of a global customer.  Managed Security Service Providers (MSSP) can offer this support.  An MSSP can perform operational duties such as DNS hosting and administration, patch and vulnerability management, firewall administration, IPS monitoring and response, PKI management, SIEM hosting and monitoring, and perform first responder duties.  The enterprise does not have to tackle these duties alone.  Engaging an MSSP can be cost effective and measurably improve service delivery.

## CSIRT

Rapid response is critical for organizations considering Next Generation networks.  A comprehensive computer security incident response plan must be in place prior to production release of the new infrastructure.  Roles and responsibilities must be clearly communicated in advance of a serious security incident.  Enterprises are advised to engage organizations with incident handling expertise and services.  Services to consider include CSIRP development, incident handling training, mock incident exercises, incident response, and litigation support.

## Audit and Compliance

Depending on the data classification of the new website, a formal audit may be required.  For example, web sites intended to accept credit cards for payment will require an audit by a PCI certified Internal Security Assessor (ISA) or Qualified Security Assessor (QSA).  Audits may have to be performed routinely and after any major change.  Engaging auditors during the network design phase will help to ensure all controls—including inspection controls for auditors are incorporated properly.

In addition to periodic review by auditors, inspection of controls may have to occur frequently to demonstrate the required security controls and safeguards have been working continuously between audits.  Automation of this frequent inspection is recommended.  Tools like Tripwire Enterprise can be used transparently to credibly demonstration that the security controls have been sustained in a commercially reasonable and compliant manner.  These same tools can be used for quality control and change management reconciliation, too.

# Lessons Learned

Before authoring this paper, the STI team approached vendors, consultants, and early adopters of 40GbE to share their expertise and lessons learned.  This section calls out specific feedback regarding pitfalls, promising solutions, and strategies for success.

## Pitfalls

Firewall ACL optimization is required for rapid implementation of changes and firewall performance.  In addition to ACL optimization, network engineers must consider the number of flows passing through the firewall.  Though a firewall may have a new 40GbE interface that is 40 times faster than conventional 1GbE interface firewalls, the state table buffer may not be the same order of magnitude larger.  40 times more flows may not be possible with 40GbE.  Firewalls might be overwhelmed with stateful flow management long before the physical Ethernet interface is saturated because the same silica from 1Gbps interface firewalls is being reused for buffering.  This may result in unexpected outcomes such as “random” session loss through the firewall.  Worse, buffer overflow conditions may occur resulting in a fail closed condition that passes traffic that should be denied.  Remember to research limitations of flow tables, IP tables, and routing tables.

With high-speed networks, tracking traffic can be a challenge.  NetFlow systems provide valuable insight for both network and security engineers.  Unfortunately, the NetFlow system capacity may have been intended for the total number of flows associated with 1Gbps Ethernet.  The aforementioned firewall flow management condition can occur with NetFlow systems, too.  A 40GbE switch network between a Web Application Server and Database server may still be supported with existing NetFlow management solutions.  However, 40GbE with many brief flows (e.g., Internet clients accessing SSL Accelerator) may cause existing NetFlow management platform integrity and capacity issues.  Further, NetFlow data from a 40GbE network could unintentionally saturate 100Mbps and 1Gbps connections that lead to the NetFlow Management platform.

40 gigabit speed Ethernet can be achieved in a variety of ways.  Port aggregation technologies available today provide the ability to achieve 40 gigabit speed.  However, the implementation of this feature may prevent integration of new security controls in-line.  For example, the 4x10GbE uplink between switches might be done in a proprietary way that is incompatible with a 40GbE interface on a new IPS.  Network Engineers are advised to review current port aggregation implementation if legacy equipment integration is required.  This is especially true for today’s blade server technology.

Physical switches running at 10GbE and 40GbE can quickly overwhelm virtual switches within hypervisor platforms.  Baselines for processing by the hypervisor platform will change when integrating physical high-speed Ethernet.  A blade server chassis can also experience similar “drinking from the fire hose” conditions.  Network design should include considerations for all data flows—physical and virtual.

Serialization delay, latency, queue delay, jitter, and packet fragmentation are still present with 40GbE.  These conditions must still be a design consideration when building 40GbE networks.  Improper implementation of QoS will be negatively impactful to actual throughput and quality.  Mismanaged traffic will result in more work for the security controls to follow flows for threats and policy enforcement.  When the security controls are over-utilized with network traffic tracking, the network throughput quickly declines.

Forensics and Incident Handling teams are only now beginning to ramp up for 40GbE.  Enterprises must be careful not to get too far ahead of incident handling teams, law enforcement, and assessment teams.  In the event these teams are not prepared to work with the 40GbE infrastructure, the enterprise may find work being done on production systems—or that the production systems may get confiscated to conduct investigations.

## Promising Solutions

Today, many vendors have available firewalls with backplane speeds of over 500Gbps.  These same firewalls have integrated switching fabric and the ability to add security applications such as IPS, IDS, in-line virus and spyware scanning, proxy, WAF, and DAM.  This integrated platform is sometimes referred to a “security fabric”.  The designs are modular, with specialty processors provided for each of the security services to optimize performance.  This modular design also allows capacity to be added without a forklift approach.  Further, the backplanes allow presentation of a packet to multiple services simultaneously.  This parallel processing reduces latency considerably as compared to using external appliances serially connected 40GbE.  In addition, these vendors offer integrated management solutions with a standard user interface.  System administrator and operator staff benefit from the management software consistent look and feel.  Today, security fabric solutions do have a limit of 1Gbps and 10Gbps Ethernet external physical interfaces.  40GbE physical interfaces are not expected until later in 2012.

Third-party Firewall Policy Management (FPM) vendors include AlgoSec, FireMon, LogLogic, RedSeal Networks, Skybox Security, and Tufin.  They are extremely helpful for optimization and visualization so that administrators can effectively reduce firewall rules and policies.  They also provide insight into permitted data flows across multiple firewalls (even from multiple firewall vendors).

Flows through the virtual environment can be a blind spot for network and security engineers.  Increase the network speed to 40GbE, and even more uncertainty occurs.  Several switch vendors are offering software switches for the virtual environment.  These solutions replace the default virtual switch found on the hypervisor platform.  Products from Cisco (Nexus 1000V) and Lancope (StealthWatch FlowSensor VE) are useful in the virtual environment for anomaly detection, data flow mapping, and network performance monitoring.

The new IEEE 802.1AE standard (also known as MACsec) provides a new method of protecting data traversing Ethernet LANs without the hosts having to provide CPU cycles to benefit from the encryption.  The switching fabric performs the host identification using LLDP, Kerberos Snooping, IEEE 802.1af, or static configuration.  No 802.1X supplicant is required on the host.  Once authenticated, traffic is passed encrypted.  This standard also provides an effective method to identify and isolate unauthorized hosts on a LAN.  Communication with these unauthorized hosts is automatically prevented.  Snooping attacks are also defeated.  Several switch vendors have announced this standard is on their product road map.

## Strategies for Success

While in the network design phase, consider how an attacker will be able to exploit this new 40GbE architecture.  This will foster conversation about the need for security controls and choke points.  In addition, this will drive solutions that will be able to handle the volume and type of threats associated with high speed networks.  Smurf and Bot attacks can be highly effective if reflected off a 40GbE network.  Data leakage is also harder to detect when deluded within 40GbE flows.

Document the existing data flows before designing the new network.  Understand how traffic is intended to flow—as well as how traffic is actually flowing.  This can lead to constructive discussions about the requirements for the new network (and associated security controls).

Consider the financial benefits of 40GbE in addition to the performance benefits.  Port aggregation has several cascading expenses including Ethernet NICs, Ethernet ports, LIU ports, fiber patch cables, and host I/O.  A single 40GbE connection may be a fraction of the cost of a 4x10GbE connection.

Leverage automation to handle the velocity of 40GbE traffic.  Resiliency depends on clear understanding of operational and security threats.  A 40GbE network can fail just as quick (or even quicker) as a 1GBps network.  Automation scope includes people, process and technology.  Consider cloud offerings and Managed Service Providers.  Develop scripts for repetitive processes as well as security incident procedures.  Implement technologies such as SIEM, Firewall Policy Managers, and NetFlow Managers.

Lastly, efficiencies gained by 40GbE may be lost with unplanned security investment requirements.  The planned speed and unplanned spend of 40GbE networks can be several orders of magnitude larger than that of conventional 1GbE networks.

# References

Aggarwal, V.  (2010).  40 GbE will be an important technology for the data center.  Retrieved from http://m.informationweek.in/Data_Center/10-09-24/40_GbE_will_be_an_important_technology_for_the_data_center.aspx

Anue Systems Inc. (2002-2011).  Anue 5288 Net Tool Optimizer .  Retrieved from http://www.anuesystems.com/resource-library/datasheets/anue-5288-net-tool-optimizer-data-sheet

Antoine, V., Bongiorni, R., Borza, A., Bosmajian, P., Duesterhaus, D., Dransfield, M., . . . Ziring, N.  (2005).  Router Security Configuration Guide (Report No. C4-040R-02).  Retrieved from http:// www.nsa.gov/ia/_files/routers/C4-040R-02.pdf

Blade Network Technologies.  (2010).  40G and 100G Ethernet.  Retrieved from http://bladenetwork.net/userfiles/file/PDFs/WP_40G_and_100G_Tech_Brief.pdf

Blue Coat Systems, Inc. (2011).  Blue Coat Full Proxy Edition ProxySG 900/9000.  Retrieved from http://www.bluecoat.com/sites/default/files/documents/files/bcs_ds_fullproxy_900-9000_v6b.pdf

Brocade.  (2010).  40 Gigabit and 100 Gigabit Ethernet Are Here!  Retrieved from http://www.brocade.com/forms/getFile?p=documents/white_papers/40_100_GbE_Are_Here_WP.pdf

Brocade.  (2010).  40 and 100 Gigabit Ethernet Overview.  Retrieved from http://www.brocade.com/downloads/documents/white_papers/higher-speed-ethernet.pdf

Center for Internet Security.  (2011).  Security Configuration Benchmark for Cisco IOS (Version 3.0.0).  Retrieved from http://benchmarks.cisecurity.org/en-us/?route=downloads.benchmarks

Chanda, G., Yang, Y.  (2010).  40 GbE: What, Why & Its Market Potential.  Retrieved from http://www.cse.ohio-state.edu/~panda/788/papers/1h_40GbE_What_Why_Its_Market_Potential.pdf

Check Point Software Technologies Ltd. (2011).  Check Point 61000 Security System.  Retrieved from http://www.checkpoint.com/products/61000-appliances/

Cisco Systems, Inc. (2006).  Cisco XR 12000 and 12000 Series .  Retrieved from http://www.cisco.com/en/US/prod/collateral/routers/ps167/product_data_sheet0900aecd8027c8dd.pdf

Cisco Systems, Inc.  (2010).  Cisco SAFE Reference Guide. Retrieved from http://www.cisco.com/en/US/docs/solutions/Enterprise/Security/SAFE_RG/SAFE_rg.html

Cisco Systems, Inc.. (2011).  Cisco NAC Appliance.  Retrieved from http://www.cisco.com/en/US/prod/collateral/vpndevc/ps5707/ps8418/ps6128/product_data_sheet0900aecd802da1b5.pdf

Cisco Systems, Inc. (2012).  Cisco Nexus 1000V Series Switches.  Retrieved from http://www.cisco.com/en/US/prod/collateral/switches/ps9441/ps9902/data_sheet_c78-492971.pdf

Convery, S.  (2004).  Network Security Architecture [Kindle version].  Retrieved from http://www.amazon.com

CrossBeam  (2011).  cross beam X-Series X60 & X80-S.  Retrieved from http://www.crossbeam.com/wp-content/uploads/DS_X60_X80S.pdf

Edelman, J.  (2011).  40GbE Data Center Switching.  Retrieved from http://www.jedelman.com/1/post/2011/12/40gbe-data-center-switching.html

Extreme Networks, Inc. (2011).  BlackDiamond 8800 Series Switches.  Retrieved from http://extremenetworks.com/libraries/products/DSBD8800S_1023.pdf

Extreme Networks, Inc. (2011).  BlackDiamond X* Series Switches.  Retrieved from http://extremenetworks.com/libraries/products/PBBDX_Series_1778.pdf

Extreme Networks, Inc. (2011).  Extreme Networks Direct Attach Implementation on VMware ESX Server.  Retrieved from http://extremenetworks.com/libraries/solutions/ANDAVMwareESX_1745.pdf

Extreme Networks, Inc. (2011).  Summit X670 Series Switches.  Retrieved from http://www.extremenetworks.com/libraries/products/DSSumX670_1777.pdf

F5 Networks.  (2011).  Platform Guide: 11050.  Retrieved from http://support.f5.com/content/kb/en-us/products/big-ip_ltm/manuals/product/pg_11050/_jcr_content/pdfAttach/download/file.res/pg_11050.pdf

IBM.  (2009).  Confronting HPC Cloud Computer Security Concerns.  Retrieved from http://www.hpcwire.com/whitepapers/2009-10-23/confronting_hpc_cloud_computing_security_concerns.html

IBM.  (2011).  IBM InfoSphere Guardium.  Retrieved from ftp://public.dhe.ibm.com/common/ssi/ecm/en/imd14286caen/IMD14286CAEN.PDF

IBM.  (2011).  IBM System Networking RackSwitch G8264.  Retrieved from http://www.redbooks.ibm.com/technotes/tips0815.pdf

ICANN.  (2008).  DNSSEC @ ICANN.  Retrieved from http://www.icann.org/en/announcements/dnssec-paper-15jul08-en.pdf

Imperva.  (2008).  Imperva Data Security and Compliance Lifecycle.  Retrieved from http://www.imperva.com/docs/WP_Regulatory_Compliance.pdf

Imperva.  (2009).  Protecting Databases from Unauthorized Activities using Imperva SecureSphere.  Retrieved from http://www.imperva.com/docs/WP_Protecting_Databases_from_Unauthorized_Activities.pdf

Imperva.  (2011).  The Business Case for Database Security.  Retrieved from http://www.imperva.com/docs/WP_Database_Security_Business_Case.pdf

Interface Masters Technologies, Inc. (2011).  Niagara 4232-4XL .  Retrieved from http://www.interfacemasters.com/pdf/Niagara_4232-4XL.pdf

NIST (2005) Special Publication 800-40 Version 2.0 Creating a Patch and Vulnerability Management Program.  Retrieved from http://csrc.nist.gov/publications/nistpubs/800-40-Ver2/SP800-40v2.pdf

NIST (2006) Special Publication 800-92 Guide to Computer Security Log Management.  Retrieved from http://csrc.nist.gov/publications/nistpubs/800-92/SP800-92.pdf

NIST (2007) Special Publication 800-95 Guide to Secure Web Services.  Retrieved from http://csrc.nist.gov/publications/nistpubs/800-95/SP800-95.pdf

PCI Security Standards Council (2010), Payment Card Industry (PCI) Data Security Standard Requirements and Security Assessment Procedures (Version 2.0).  Retrieved from https://www.pcisecuritystandards.org/documents/pci_dss_v2.pdf

PCI Security Standards Council, Virtualization Special Interest Group.  (2011).

Information Supplement: PCI DSS Virtualization Guidelines (Version 2.0).  Retrieved from https://www.pcisecuritystandards.org/documents/Virtualization_InfoSupp_v2.pdf

SANS Institute.  (2011)  Twenty Critical Security Controls for Effective Cyber Defense: Consensus Audit Guidelines (Report No. 3.1).  Retrieved from http://www.sans.org/critical-security-controls/cag3_1.pdf

Schudel, G., Smith, D. J.  (2008).  Router Security Strategies [Securing IP Network Traffic Planes] [Kindle version].  Retrieved from http://www.amazon.com

U.S. Department of Commerce, National Institute of Standards and Technology.  (2010).  Guide for Assessing the Security Controls in Federal Information Systems and Organizations: Building Effective Security Assessment Plans (NIST Special Publication 800-53A Revision 1).  Retrieved from http://csrc.nist.gov/publications/nistpubs/800-53A-rev1/sp800-53A-rev1-final.pdf.

Wexler, S.  (2011).  Sourcefire Claims First IPS For 40 GbE.  Retrieved from http://www.networkcomputing.com/wan-security/231900482

# APPENDIX A: Secure Network Engineering Benchmarks and Standards

Overview

This appendix contains specific reference locations as a supplement to the best practices outlined in the enclaves above.  While this list is not exhaustive, it is intended as a launching point for further research.  At the end of this section additional reference material is listed which may be of further benefit.

# BGP

Schudel & Smith, 2008, “BGP Security Techniques”, para 1-3.

Schudel & Smith, 2008, “AS Path Limits”, para 1-2.

# ACLS

## Infrastructure

Schudel & Smith, 2008, “Interface ACL Techniques”, para. 3.

## Anti-spoofing

Schudel & Smith, 2008, “Interface ACL Techniques”, para. 4.

## Transit

Schudel & Smith, 2008, “Interface ACL Techniques”, para. 3.

## Classification

Schudel & Smith, 2008, “Interface ACL Techniques”, para. 3

# Firewall

Convery, 2004, “Network Firewalls”, para 1.

Convery, 2004, “Application Firewalls”, para 1.

# Dedicated Management LAN

Schudel & Smith, 2008, “Chapter 6.  IP Management Plane Security”

# NTP Service

Antoine et al., 2005, p.146

# AAA Services

Schudel & Smith, 2008, “Authentication, Authorization and Accounting”, para 1-7.

# Unused Services

Schudel & Smith, 2008, “Disabling Unused Management Plane Services”, para 1-3.

Convery, 2004, “Disable Unneeded Services”, para 1.

# General Router Hardening

## Logins and Banners

Schudel & Smith, 2008, “System Banners”, para 1-2.

Convery, 2004, “Login Banner”, para 1.

## Router Network Traffic and the Loopback Interface

Antoine et al., 2005, p. 58

## Black hole routing

Schudel & Smith, 2008, “Remotely Triggered Black Hole Filtering”, para 1-15.

## Remote management via ssh/https

Antoine et al., 2005, p. 227

Antoine et al., 2005, p. 73

## Disabling IP source routing

Schudel & Smith, 2008, “Disable IP Source Routing”, para 1.

## ICMP Best practices

Convery, 2004, “ICMP Design Considerations”, para 1-3.

## IP options selective drop

Schudel & Smith, 2008, “IP Options Selective Drop”, para 1-4.

# Passwords

Convery, 2004, “Reusable Password”, para 1-2.

Convery, 2004, “Password Encryption”, para 1-3.

# Role based CLI access

Schudel & Smith, 2008, “Role-Based CLI Access”, para 1-5.

# IP Directed broadcast and ICMP direct broadcast disabling

Convery, 2004, “Smurf”, para 1-4.

Schudel & Smith, 2008, “Disabling IP Directed Broadcasts”, para 1-4.

# NIDS

Convery, 2004, “Network Intrusion Detection Systems”, para 1.

Convery, 2004, “Inline NIDS”, para 1.

Convery, 2004, “NIDS Placement” para 1.

# HIDS

Convery, 2004, “HIDS”, para 1-4.

# QOS

Schudel & Smith, 2008, “QoS Techniques”, para 1.

# OTP / Multi-Factor Authentication

Convery, 2004, “OTPs”, para 1-4.

# SNMP

Schudel & Smith, 2008, “SNMP Security”, para 1-4.

# Rogue Device Detection

Convery, 2004, “Rogue Device Detection”, para 1-2.

# Software Version Management

Schudel & Smith, 2008, “Software Vulnerabilities”, para 1-4.

# NetFlow

Schudel & Smith, 2008, “Network Telemetry and Security,” para. 1

# Routing Authentication

Antoine et al., 2005, p. 125

# VPNS

Schudel & Smith, 2008, “IPsec VPN Services”, para 1-2.

Schudel & Smith, 2008, “SSL VPN Services”, para 1-2.

# VLANS

Schudel & Smith, 2008, “Disable Auto Trunking”, para 1-3.

Convery, 2004, “VLAN Trunking Protocol (VTP)”, para 1-3.

# Proxies

Cisco, 2010, p. 6-17

# Trusted zones

Cisco, 2010, p. 10-5

# NAT

Schudel & Smith, 2008, “Network Address Translation”, para 1-12.

# Virtual Machines

PCI Security Standards Council, 2011

# Database Security

Impervia, 2011

IBM, 2011

# Syslog

Convery, 2004, “Syslog”, para 1-2.

# ARP Inspection

Convery, 2004, “ARP Considerations”, para 1-15.

# Web Application Firewalls

https://www.owasp.org/images/a/a6/Best_Practices_Guide_WAF_v104.en.pdf

# Virtualization

PCI Security Standards Council , 2011

# DNS

ICANN, 2008, pg. 2

# NAC

Schudel & Smith, 2008, “Layer 2 Ethernet Control Plane Security”, para 1-2.

# Additional Benchmarks

The Center for Internet Security has dozens of benchmarks for operating systems, networking devices, applications and mobile devices.  The benchmarks are consensus driven from subject matter experts across a wide range of operating environment (Center for Internet Security, 2011).  The U.S. Defense Information Systems Agency’s Security Technical Implementation Guides (DISA STIGs) also provide another set of benchmarks dive deeper into the focus areas of network devices and operating systems (see http://iase.disa.mil/stigs/).  The combination of both resources along with the references listed above should provide good coverage of the current authoritative best practices in the industry.

# Tools

Center for Internet Security

The Center for Internet Security has available benchmark assessment tools freely available for download.  The Router Assessment Tool, or RAT, ensures conformance to CIS benchmarks by comparing a router’s configuration against the benchmark.  Additionally the site has Apache HTTP, Oracle Database and UNIX Server Assessment Tools.

http://benchmarks.cisecurity.org/en-us/?route=downloads.browse.category.tools.rat

APPENDIX B: Bill of Materials

| Bill of Material Per Data Center |  |  |
| --- | --- | --- |
| Description | Device Example | Quantity |
| Customer Facing segment |  |  |
| Internet Enclave |  |  |
| Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module | CrossBeam X80 | 1 |
| Edge Firewall providing 40 Gbps interfaces | CheckPoint 61000 | 1 |
| Edge Router with providing 40 Gbps connectivity | Cisco 12816 Router | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports | Extreme Networks Summit X670 | 1 |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| SSL Enclave |  |  |
| SSL offloading providing 40 Gbps wire speed and 15 Gbps decryption | F5 BigIP 11050 | 3 |
| 4 x 40 Gbps load balancer | Interface Masters Niagara 4232-4Xl | 1 |
| Connection to security fabric Bound 4 x 10 Gbps ports |  |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| HTTP Enclave |  |  |
| Connection to security fabric Bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| 4 x 40 Gbps load balancer | Interface Masters Niagara 4232-4Xl | 1 |
| Virtual switch for managing virtual machines | Cisco Nexus 1000v for VMWare | One per each VM host |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| Web Applications Enclave |  |  |
| Connection to security fabric Bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| 4 x 40 Gbps load balancer | Interface Masters Niagara 4232-4Xl | 1 |
| Virtual switch for managing virtual machines | Cisco Nexus 1000v for VMWare | One per each vm host |
| Inspect requests on the application level for malicious content. One is needed for each VMWare ESX server | Web application firewall |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
|  | Web application firewall (Naxsi, Layer7, F5, Trustwave, etc) | Agent per server as network based is limited to 1 Gbps |
|  | Web application IPS (Imperva) |  |
| Data Enclave |  |  |
| Connection to security fabric bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
|  | Database Intrusion Detection System |  |
| 4 x 40 Gbps load balancer | Interface Masters Niagara 4232-4Xl | 1 |
|  | 10 Gbps interface cards for early adopters |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
|  | Database Intrusion Detection System (McAfee etc.) | Agent per server as network based is limited to 1 Gbps |
| Customer Authentication Enclave |  |  |
| Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module bound 4 x 10 Gbps Ports connected back to External Cross beam Chassis | CrossBeam X80 Security Fabric | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports | Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module | 1 |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| Network Applications Enclave |  |  |
| Connection to security fabric Bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| Virtual switch for managing virtual machines | Cisco Nexus 1000v for VMWare or Extreme's Direct attach option | One per each VM host |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports stacked | Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module | 1 |
| High density 40 Gbps or 10 Gbps switch | Extreme Networks BlackDiamond X Series switch | 1 |
| B2B Enclave |  |  |
| Connection to security fabric bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports stacked | Extreme Networks Summit X670 | 1 |
| Edge Firewall providing 40 Gbps interfaces | CheckPoint 61000 with VPN Module | 1 |
| Edge Router with providing 40 connectivity | Cisco 12816 Router | 1 |
| Management Enclave |  |  |
| Connection to security fabric Bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports stacked | Extreme Networks Summit X670 | 2 |
|  | Cisco Clean access NAC, McAfee NAC or similar inline NAC appliance | 1 |
| Virtual switch for managing virtual machines | Cisco Nexus 1000v for VMWare or Extreme's Direct attach option | One per each VM host |
| Although 40 Gbps proxy servers are not available at the time this paper was written, Management traffic is not very bandwidth intensive. As the technology allows for 40 Gbps it can be used in this location | Blue Coat SG Proxy 9000 | 1 |
| Enterprise Services Segment |  |  |
| Internet Enclave |  |  |
| Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module | CrossBeam X80 | 1 |
| Edge Firewall providing 40 Gbps interfaces | CheckPoint 61000 | 1 |
| Edge Router with providing 40 connectivity | Cisco 12816 Router | 1 |
| 40 Gbps switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports | Extreme Networks Summit X670 | 1 |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| Authentication Enclave |  |  |
| Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module bound 4 x 10 Gbps Ports connected back to External Cross beam Chassis | CrossBeam X80 Security Fabric | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports | Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module | 1 |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| Network Applications Enclave |  |  |
| Connection to security fabric Bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| Virtual switch for managing virtual machines | Cisco Nexus 1000v for VMWare or Extreme's Direct attach option | One per each VM host |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports stacked | Security Fabric with 2 x 16 port 10 Gbps Network Module, Firewall, IPS, AV module | 1 |
| High density 40 Gbps or 10 Gbps switch | Extreme Networks BlackDiamond X Series switch | 1 |
| B2B Enclave |  |  |
| Connection to security fabric Bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports stacked | Extreme Networks Summit X670 | 1 |
| Edge Firewall providing 40 Gbps interfaces | CheckPoint 61000 with VPN Module | 1 |
| Edge Router with providing 40 connectivity | Cisco 12816 Router | 1 |
| Management Enclave |  |  |
| Connection to security fabric Bound 4 x 10 Gbps ports | Connection to CrossBeam X80 Security Fabric |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| 40 GbE switch with 4 x 40 Gbps interfaces and 48 x 10 Gbps ports stacked | Extreme Networks Summit X670 | 2 |
|  | Cisco Clean access NAC, McAfee NAC or similar inline NAC appliance | 1 |
| Virtual switch for managing virtual machines | Cisco Nexus 1000v for VMWare or Extreme's Direct attach option | One per each VM host |
| Although 40 Gbps proxy servers are not available at the time this paper was written, Management traffic is not very bandwidth intensive. As the technology allows for 40 Gbps it can be used in this location | Blue Coat SG Proxy 9000 | 1 |
| Enterprise Enclave |  |  |
| 1 and 10 Gbps high density switch | Extreme networks BlackDiamond 8800 Series Switch |  |
| 40 Gbps capable inline monitor / tap | Anue Systems 5288 monitoring switch | 1 |
| Bound 12 x 10 Gbps Ports | Connection to CrossBeam X80 Security Fabric |  |