Ph 122							quark%/~bland/docs/manuals/ph122/scope/scope.doc

May 30, 2002

THE OSCILLOSCOPE,  AC SIGNALS, & THE ELECTROCARDIOGRAM

In this lab the operation of the oscilloscope is explored.  Then it is used to observe some time-dependent voltage signals. Finally, a computer oscilloscope is used to view your electrocardiogram (EKG).

Theory of the Oscilloscope

Figure 1.  Oscilloscope tube.

The oscilloscope (frequently referred to as the “scope”) is an extremely useful instrument for measuring voltages that vary with time.  It works on much the same principles as your television set.  A beam of electrons is generated by heating a cathode at the rear of the tube.  This beam is accelerated along the length of the tube by applying a potential difference between the screen and the cathode.  (See figure 1.)

(Question:  Which end

must be at the higher

potential?)

Along the way, the electron beam passes between parallel plates charged so as to deflect the beam vertically.  A time-varying voltage to be measured is connected across these plates.  Another set of plates is placed so as to deflect the beam horizontally.  An increasing voltage is applied to these plates to “sweep” the beam across the screen of the scope.  This produces a “graph” of the input voltage versus time on the screen.

# Procedure

I.  Setting up the Oscilloscope

a) Plug in the scope, but do not turn it on.

b)  On each amplifier and on the time base:

1) Turn the red calibration knob clockwise until it clicks.

2)  Place all the buttons in the out position.

c)  On the panel to the right of the screen:

1)  Adjust the INTENSITY and FOCUS knobs to 3 o’clock.

2)  Turn on the power.

d)  Choose the left differential amplifier and press in the ON button.

e)  On the time-base/amplifier:

1)  Adjust the following buttons:

out:  SWP MAG

in:  AUTO TRIG, AC COUPL, SLOPE, and CHOP

2)  In the column marked “source,” choose LEFT to indicate the differential amplifier you are using.

f)  Turn the LEVEL knob to its minus (-) position.

g)  Do you have a horizontal green line on your screen?  If not, turn the differential amplifier’s POSITION knob until the line appears on the screen.

h)  Now adjust the INTENSITY and FOCUS knobs to get the finest line possible.

II.  Checking the Calibration of the Oscilloscope

On the panel to the right of the screen there is a metal bar which provides a signal for calibrating the scope.  The signal is a square wave with a repetition frequency of 120 Hz and a peak-to-peak amplitude of 400 mV, as shown in figure 2.  We would like to take that signal and feed it into the scope through one of the vertical amplifiers, so that we can see how accurately the scope reads the signal.

First, let’s look at the screen.  The screen is made up of a grid of 8 large divisions in the vertical direction and 10 in the horizontal direction.  The scales on the scope refer to these large divisions.  Each large division is broken up into 5 subdivisions.  We can think of this grid as being similar to a graph where the horizontal direction represents time and the vertical direction represents voltage.  The scale of our “graph,” that is, the amount of voltage or time represented by one division, can be adjusted to fit the signal we wish to measure.

The voltage (vertical) scale is set by the large knob marked “VOLTS/DIV” on the differential amplifier and the time (horizontal) scale is set by the “SECONDS/DIV” knob on the time-base amplifier.  So, the number illuminated on each knob indicates how much voltage one vertical division represents or how much time one horizontal division represents.

Now, if we want to look at the calibration signal, how should we set these knobs?

vertical scale =(400 mV)/(8 div) = 50 mV/div.

The signal we want to measure has a peak-to-peak voltage of 400 mV, so we would like the vertical scale of the screen to be able to fit at least 400 mV on the vertical axis.  There are 8 vertical divisions; so, the scale we want is

Is there a 50 mV/div setting on the differential amplifier?  Yes, but notice that if our signal is just a bit larger than 400 mV we won’t be able to fit the whole signal on the screen.  To be on the safe side, let’s go to the next setting:  0.1 V/div (i.e., 100 mV/div).  This gives us room to spare.

Now, what about the horizontal scale?

Our calibration signal occurs at a frequency f of 120 Hz or 120 cycles per second.  What is the period T of this signal?  Recall that T = 1/f, so in this case T = 1/(120 Hz) = 8.33 msec.  If we choose the time-base setting of 1 msec/div, won’t this just allow one cycle plus a bit more of our signal to fit on the screen?

In your lab book, draw a picture of what you expect to see on the screen when you feed the calibration signal in to the scope.  Then set the scales as above:  0.1 V/div, 1 msec/div.

VERIFICATION (Show time!):

NOTE:  The readings of voltage and time should be made accurately, by interpolating between divisions on the scope screen.  Do not round off to the nearest division.

a)  Attach a BNC-to-banana cable to the positive (+) input on the differential amplifier.

b)  There are two banana plugs on the end of the cable.  The red plug is connected to the central wire, and the black plug is connected to a cylindrical braided outer shield.  Using an alligator clip, connect the central conductor to the calibration loop.  Connect the ground to the ground lug on the differential amplifier.

c)  On the differential amplifier, press in the ground (GND) button (use the one next to the (+) input).  This should give you a horizontal green line.  This line indicates the “graph” line corresponding to zero volts.

d)  Use the POSITION knob on the differential amplifier to adjust the zero-volt line to one of the lines near the bottom of the screen.  Now put the GND button back in the out position.

e)  Do you have a clear, stationary “square-wave” type signal on the screen?  If not slowly turn the tine-base LEVEL knob until you get a clear signal.

f) Notice that you can use the POSITION knob on the differential amplifier to move the signal vertically to a position where it is easy to read.  Similarly, the POSITION knob on the time-base may be used to move the signal horizontally to a convenient position.

g)  The scale of the graph may also be changed (using the VOLTS/DIV knob on the differential amplifier for vertical scale change or the SECONDS/DIV knob on the time base for horizontal scale change) to magnify or compress the signal to make it easy to measure.  Try some different scales; then return to 0.1 V/div, 1 ms/div.  You must, however, be sure to note the scale setting in making any calculations.

h)  You may find that your picture is improved by turning the bandwidth limit on or off (push the BWL button in or out).

i)  When you are satisfied with the settings, draw the screen of the scope as you see it in your lab book.

j)  To find the peak-to-peak voltage V of the signal, count the number of divisions from the top of the signal to the bottom.  Read this number accurately; don’t just look for the round number which is closest.  Now multiply the number of divisions by the scale factor (i.e., the setting of the VOLTS/DIV knob).  Then, V is given by

V = (# of div)x(scale factor) = (# of div)x(# of volts/div) = # of volts

When you determine V, indicate it on your drawing of the scope waveform.  Each person should make a separate, independent measurement, so that you can estimate the error by comparing the multiple measurements.

k)  The period T is determined similarly by counting the number of horizontal divisions occupied by one full period of the signal and then multiplying by the horizontal scale factor (# of  seconds/division).  Put this on the drawing too.

l)  What is the peak-to-peak voltage of the signal?  What are the values of the period and frequency of the signal?  Do they agree with the given values of the signal (400 mV at 120 Hz)?  Note any discrepancy in your lab notebook, as a percentage of the number measured, and discuss the accuracy of this scope for future measurements, assuming the calibration signal to be quite precise.

III.  Signals from the Function Generator

The function generator is a sort of variable power supply which provides a voltage which varies periodically with time.  With the function generator we may generate sinusoidal waves or other periodic shapes.  Here we will measure these signals.

In what follows, it is important to realize that changing the settings on the oscilloscope merely amounts to changing the type of “graph paper” - or changing the magnification of the “microscope” - which we are using to measure the signal, while changing the settings on the function generator actually changes the signal itself.

a)  Hook a BNC-to-BNC cable from the function generator OUTPUT to the (+) input on the differential amplifier.  Make a brief sketch of the whole arrangement.

b)  Set the VOLTS/DIV knob on the differential amplifier to 2 V.

c)  On the function generator:

1)  Set the AMPLITUDE knob to 12 o’clock.

2)  Set the FREQUENCY knob to 12.5 .

3)  Set the MULTIPLIER knob to 101.

4)  Set the FUNCTION knob to a sine wave in the gray section.

Write down the frequency which you have set on the function generator.

d)  Do you have a sine-wave signal on your scope?  If not, adjust the appropriate knobs on the scope, i.e. LEVEL, POSITION, VOLTS/DIV, etc., until the signal appears clearly on the screen.

e)  Draw an accurate picture of what you see on the screen.  From the scope, determine V (peak-to-peak), T, and f; be sure to show your work in finding V and T from their numbers of divisions on the screen and the corresponding scale factors.  Does your value for f agree with the function generator’s value for f?

f)  Change the differential amplifier’s VOLTS/DIV setting to 5 V/div.  What happened to the picture on the screen?  Did the amplitude of the signal being sent to the scope change?  Check this by determining the peak-to-peak voltage V of the signal using this scale setting (see part II.j).  Compare.

g)  Change the SECONDS/DIV setting on the time base to 2 msec.  What happened to the picture on the screen?  Did the period of the signal being sent to the scope change?  Check this by measuring the period of the signal using this scale setting (see II.k).  Compare.

h)  Return the VOLTS/DIV and SECONDS/DIV knobs to their original settings (Part III).  Now change the MULTIPLIER knob on the function generator to 102.  What happened to the picture on the screen?  Has the signal being sent to the scope changed or merely its representation on the screen?  Make a rough calculation of V, T, and f  to check this, and comment.  Sketch the picture.

j)  On the function generator, turn the AMPLITUDE knob to 9 o’clock.  What happened to the picture on the screen?  Did the signal being sent to the scope change, or merely its representation on the screen?  Sketch the picture on the screen.  Find the settings of the VOLTS/DIV knob which is most convenient for reading this signal and determine V from the screen.

k)  Finally, play around a bit with the different setting of the FUNCTION and FREQUENCY knobs and report on what you see.

IV. The Electrocardiogram (EKG)

This experiment section will use the Science Workshop interface system to read and display the electrocardiogram on a computer-based oscilloscope. The purpose of this laboratory activity is to demonstrate a method for measuring the electrical activity of the heart muscle – the electrocardiogram.

## THEORY

The EKG (electrocardiogram) sensor measures cardiac electrical potential wave forms (voltages) produced by the heart as its chambers contract. Heart muscle cells are polarized at rest. This means the cells have a very small potential difference (voltage) from one side to the other of their cell membranes.

The cells of the heart can depolarize without an outside stimulus; that is, they will depolarize spontaneously. The group of cells that depolarize the fastest is called the pacemaker (also known as the sinoatrial or SA node). These cells are located in the right atrium. All the cells of both atria depolarize and contract almost simultaneously.

The atria and the ventricles are isolated from each other electrically. Therefore, the depolarization of the atria does not directly affect the ventricles. Another group of cells in the right atria, called the atrioventricular or AV node, send electrical signals from the atria down a special bundle of conducting fibers (called the Bundle of His) to the ventricles. In the muscle wall of the ventricles are the Purkinje fibers, which are a special system of muscle fibers that bring depolarization to all parts of the ventricles almost simultaneously. This process causes a small time delay and so there is a short pause after the atria contract before the ventricles contract. Because the cells of the heart muscle are interconnected, this wave of depolarization, contraction and repolarization spreads across all the connected muscle of the heart.

When a portion of the heart is polarized and the adjacent portion is depolarized this creates an electrical current that moves through the body. The changes in these currents can be measured, amplified, and plotted over time. The EKG is the graphical representation of the meaured electrical currents.

The Electrocardiogram

One part of a typical EKG (electrocardiogram) is a ‘flat line’ or trace indicating no detectable electrical activity. This line is called the Isoelectric line. Deviation from this line indicates electrical activity of the heart muscles.  The first deviation from the Isoelectric line in a typical EKG is an upward pulse following by a return to the Isoelectric line. This is called the P wave and it lasts about 0.04 seconds. This wave is caused by the depolarization of the atria and is associated with the contraction of the atria.

After a return to the Isoelectric line there is a short delay while the heart’s AV node depolarizes and sends a signal along the atrioventricular bundle of conducting fibers (Bundle of His) to the Purkinje fibers, which bring depolarization to all parts of the ventricles almost simultaneously. After the AV node depolarizes there is a downward pulse called the Q wave. Shortly after the Q wave there is a rapid upswing of the line called the R wave followed by a strong downswing of the line called the S wave and then a return to the Isoelectric line. These three waves together are called the QRS complex. This complex is caused by the depolarization of the ventricles and is associated the with the contraction of the ventricles.

After a short period of time the chemical ions that have been involved in the contraction migrate back to their original locations. The movement of these ions generates an upward wave that then returns to the Isoelectric line. This upward pulse is called the T wave and indicates repolarization of the ventricles..

The sequence from P wave to T wave represents one heart cycle. The number of such cycles in a minute is called the heart rate and is typically 70-80 cycles (beats) per minute at rest.

Some typical times for portions of the EKG are given below.

P-R interval ....120-200 milliseconds (0.120 to 0.200 seconds)

QRS interval ....under 100 milliseconds (under 0.100 seconds)

Q-T interval .....under 380 milliseconds (under 0.380 seconds)

If your EKG does not correspond to the above numbers, DO NOT BE ALARMED! These numbers represent typical averages and many healthy hearts have data that fall outside of these parameters. To read a EKG effectively takes considerable training and skill. This sensor is NOT intended for medical diagnoses.

## PROCEDURE

In this activity, the EKG sensor will measure the electrical current associated with the polarization and depolarization of heart muscle tissue during the heart’s contractions. The Science Workshop program records and displays the electrocardiogram (heart voltage signal). The Science Workshop program automatically calculates heart rate based on the peaks and valleys in the EKG trace.

## PART I: Computer Setup

1.	Log onto the computer and open Science Workshop.  Connect the EKG sensor’s DIN plug into Analog Channel A on the interface.

2.       Open the Science Workshop file from your directory on the hard drive.  If your section 	number is n, this file is

C:\labs\122\secn\oscillo\B13_ekgd.sws.

•	The document will open with a Graph display of “EKG Voltage (mV) ” versus “Time (sec)” on one plot, and “Heart Rate (bpm)” versus “Time (sec)” on the second plot.

•	Note: For quick reference, see the Experiment Notes window. To bring a display to the top, click on its window or select the name of the display from the list at the end of the Display menu. Change the Experiment Setup window by clicking on the “Zoom” box or the Restore button in the upper right hand corner of that window.

3.	The “Sampling Options…”  should be set as follows: Periodic Samples = Fast at 100 Hz (100 samples per second).

## PART II: Sensor Calibration and Equipment Setup

### About the EKG Sensor

The sensor consists of the electronics box with a cable for connecting to the Science Workshop . Three electrode leads enter the electronics box on the side opposite the cable that attaches to the interface. The circuitry isolates the user from the possibility of electrical shock in two ways. The sensor signal is transmitted through an opto-isolation circuit. Power for the sensor is transferred through a transformer. The circuitry protects against accidental over-voltages of up to 4,000 Volts.

The sensor is designed to produce a signal between 0 and five volts with 1 volt being the Isoelectric line. Deviation from the Isoelectric line indicates electrical activity. The shape and periodicity of the signal is of primary importance, so the sensor does not need to be calibrated.

Equipment Setup: Connecting the EKG Sensor to a Person

Use three electrode patches per subject. The electrodes can be reused but they tend to absorb moisture (they are very hygroscopic), and therefore, reuse is not recommended. The electrodes should be kept in an air-tight, clean, dry container for storage.

•	Because the electrical signal produced by the heart and detected at the body’s surface is so small, it is very important that the electrode patch makes good contact with the skin. Scrub the areas of skin where the patches will be attached with a paper towel to remove dead skin and oil.

1.	Peel three electrode patches from the backing paper. Firmly place the first electrode on the right wrist. Place a second electrode on the right upper arm. Place the third electrode on the left upper arm. (This is one of several possible arrangements for EKG electrodes on the body.)

•	Place each electrode so it is on the inside part of the arm (closer to the body) and the tab on the edge of the electrode patch points down, so the wire of the sensor can hang freely without twisting the edge of the electrode patch.

2.	Connect the micro alligator clips from the sensor to the tabs on the edges of the electrode patches.

•	Connect the black (or “reference”) alligator clip to the wrist electrode patch.

•	This is the reference point for the “Isoelectric” line (baseline).

•	Connect the green (or negative) alligator clip to the right upper arm electrode patch.

•	Connect the red (or positive) alligator clip to the left upper arm electrode patch.

There are several different ways to connect the EKG sensor. This simple arrangement is appropriate for the classroom.

## PART IIIA: Resting EKG

1.	Click the “REC” button to begin recording data. The person whose EKG is being measured should remain calm and relaxed. Encourage the person to breath normally. The values of data will be recorded in the Graph display.

2.	Click the “STOP” button to end data recording after about fifteen seconds.

•	“Run #1” will appear in the Data list in the Experiment Setup window.

## Analyzing the Data

1.	Click the Graph to make it active. Click the “Magnifier” button. The cursor changes to a magnifying glass shape when it is in the graph display area.

2.	In the plot of EKG Voltage, use the Magnifier/cursor to click and draw a rectangle around a region of the data that includes four or five complete heart cycles.

•	The graph will rescale to show the region you selected.

3.	Click the “Smart Cursor” button.

•	The cursor changes to a cross-hair shape when it is in the Graph display area. The Y-coordinate of the cursor is displayed near the Y-axis label. The X-coordinate of the cursor is displayed near the X-axis label.

4.	Move the cursor/cross-hair into the plot of EKG Voltage. Place the cursor at a point that corresponds to the peak of a P wave. Record the time (displayed as the X-coordinate near the X-axis label).

5.	Move the cursor/cross-hair to the point that corresponds to the peak of the Q wave. Record the time. Move the cursor/cross-hair to the point that corresponds to the peak of the R wave. Record the time.

6.	Calculate the P-R interval and record the time.

7.	Move the cursor/cross-hair to the point that corresponds to the peak of the S wave. Record the time.

8.	Calculate the Q-R-S interval and record the time.

9.	Move the cursor/cross-hair to the point that corresponds to the peak of the T wave. Record the time.

10.	Calculate the overall Q-T interval and record the time.

11.  Calculate the R-R' interval between two successive heart-beats.  The inverse of this time is the heart rate, in beats per second.

DATA TABLE: Interval Analysis

| Item | Time |
| --- | --- |
| P wave begins | sec |
| Q wave begins | sec |
| R wave begins | sec |
| S wave begins | sec |
| T wave begins | sec |

| Item | Time | Typical Time |
| --- | --- | --- |
| P-R interval | sec | 0.120 to 0.200 sec |
| QRS interval | sec | under 0.100 sec |
| Q-T interval | sec | under 0.380 sec |
| R-R' interval | sec | 0.5 to 1.2 sec |

11.	Click the “Statistics” button to open the Statistics area. Click the “Statistics Menu” button in the plot of Heart Rate (bpm).

12.	Click the “Autoscale” button to rescale the graph to fit the data.

13.	Select “All of the Above” from the Statistics Menu.

•	The Statistics area in the plot of Heart Rate will show count, minimum x and minimum y, maximum x and maximum y, mean for x and y, and Standard Deviation for x and y.

14.	Record the minimum y, maximum y, and mean of y as the heart rate.

DATA TABLE: Heart Rate Analysis

| Item | Rate (bpm) |
| --- | --- |
| Minimum |  |
| Maximum |  |
| Mean |  |

## Questions

1.	Compare your values for the P-R, Q-R-S, and Q-T intervals to the typical times in the table. What could explain the differences?

2.	How does the heart rate measured by the EKG compare to your heart rate as determined by direct measurement of the pulse at the wrist or neck? What could explain the difference?  Compare with the value as determined from the R-R' interval.

Equipment

Oscilloscope (Tektronix model  D10, one 5B10N time base, 2 A520N diff. amps)

Function generator (Tektronix model FG502)

1 - BNC-to-banana cable

1 - red crocodile clip

1 - BNC-to-BNC cable

Science Workshop Interface System and computer

EKG Sensor

EKG electrodes

Paper towels