Рег.№ 93-00-…………….../…08.2013г.

“АСАРЕЛ-МЕДЕТ” АД - ГР. ПАНАГЮРИЩЕ

##### ТЕХНИЧЕСКО ЗАДАНИЕ

Относно: Избор на доставчик на апаратура и материали,

производство на SIEMENS AG

- ОПИСАНИЕ НА ДОСТАВКАТА:

| № по ред | НАИМЕНОВАНИЕ | Кат. № | Мярка | К-во |
| --- | --- | --- | --- | --- |
| 1 | COMMUNICATIONS PROCESSOR CP5711 USB-ADAPTOR (USB V2.0) FOR CONNECTING A PG OR NOTEBOOK TO PROFIBUS OR MPI; CONTAINS 2M USB CABLE | 6GK1571-0BA00-0AA0 | бр | 1 |
| 2 | SIMATIC S7, MICRO MEMORY CARD P. S7-300/C7/ET 200, 3.3 V NFLASH, 2 MBYTES | 6ES7953-8LL31-0AA0 | бр | 2 |
| 3 | LOGO!12/24RCE,LOGIC MOD.,DISPL. PU/I/O: 12/24V DC/RELAY, 8 DI (4AI)/4 DO; MEM 400 BLOCKS EXPANDABLE, ETHERNET | 6ED1052-1MD00-0BA7 | бр | 1 |
| 4 | LOGO! USB PC CABLE FOR PROGRAM TRANSMITTING FROM PC TO LOGO! AND VICE VERSA DRIVER ON CD-ROM INCLUDED | 6ED1057-1AA01-0BA0 | бр | 1 |
| 5 | SIMATIC NET SCALANCE X005, IE ENTRY LEVEL SWITCH UNMANAGED 5 X 10/100MBIT/S RJ45 PORTS, LED DIAGNOSTICS, IP30, 24 V DC POWER SUPPLY, PROFINET COMPLIANT SLEEVE, WITH MANUAL | 6GK5 005-0BA00-1AA3 | бр | 1 |
| 6 | PLUG-IN RELAY, 4 CO CONTACTS, 24V DC, 6A | LZX:PT570024 | бр | 30 |
| 7 | SINAMICS G120 POWER MODULE PM240 WITH BUILT IN CL. A FILTER WITH BULT IN BRAKING CHOPPER 3AC380-480V +10/-10% 47-63HZ OUTPUT HIGH OVERLOAD: 30KW FOR 200% 3S,150% 57S,100% 240S AMBIENT TEMP -10 TO +50 DEG C OUTPUT LIGHT OVERLOAD: 37KW FOR 150% 3S,110% | 6SL3224-0BE33-0AA0 | бр | 1 |
| 8 | SINAMICS G120 POWER MODULE PM240 WITH BUILT IN CL. A FILTER WITH BULT IN BRAKING CHOPPER 3AC380-480V +10/-10% 47-63HZ OUTPUT HIGH OVERLOAD: 18,5KW FOR 200% 3S,150% 57S,100% 240S AMBIENT TEMP -10 TO +50 DEG C OUTPUT LIGHT OVERLOAD: 22KW FOR 150% 3S,110% | 6SL3224-0BE31-8AA0 | бр | 1 |
| 9 | SINAMICS G120 POWER MODULE PM240 WITH BUILT IN CL. A FILTER WITH BULT IN BRAKING CHOPPER 3AC380-480V +10/-10% 47-63HZ OUTPUT HIGH OVERLOAD: 3KW FOR 200% 3S,150% 57S,100% 240S AMBIENT TEMP -10 TO +50 DEG C OUTPUT LIGHT OVERLOAD: 3KW FOR 150% 3S,110% | 6SL3224-0BE23-0AA0 | бр | 1 |
| 10 | BASE FOR RELAY WITH 4 CHANGEOVER CONTACTS | LZS:PT78740 | бр | 30 |
| № по ред | НАИМЕНОВАНИЕ | Кат. № | Мярка | К-во |
| 11 | SINAMICS G120C USS/MB 0,55KW UNFIL SINAMICS G120C RATED POWER 0,55KW WITH 150% OVERLOAD FOR 3 SEC 3AC380-480V +10/-10% 47-63HZ UNFILTERED I/O-INTERFACE: 6DI, 2DO,1AI,1AO SAFE TORQUE OFF INTEGRATED FIELDBUS: USS/ MODBUS RTU PROTECTION: IP20/ UL OPEN TYPE SIZE: FSA 196X73X203(HXWXD) EXTERNAL 24V | 6SL3210-1KE11-8UB1 | бр | 1 |
| 12 | SINAMICS G120 BASIC OPERATOR PANEL (BOP-2) | 6SL3255-0AA00-4CA1 | бр | 1 |
| 13 | SINAMICS G120 CONTROL UNIT CU250S-2 DP INTEGRIERT PROFIBUS SUPPORT OF VECTOR CONTROL, SERVO CONTROL AND EASY POS. VIA EXTENDED FUNCTION LICENSE 4 CONFIGURABLE DI/DO, 6 DI (USABLE AS 3 F-DI), 5 DI, 3 DO (USABLE AS 1 F-DO), 2 AI, 2 AO SAFETY INTEGRATED STO, SBC, SS1 FURTHER SAFETY FUNCTIONS VIA EXTENDED SAFETY LICENSE ENCODER: D-CLIQ + HTL/TTL/SSI, RESOLVER/HTL VIA TERMINAL PROTECTION IP20 USB- AND SD/MMC-INTERFACE | 6SL3246-0BA22-1PA0 | бр | 1 |
| 14 | SINAMICS G120 BASIC OPERATOR PANEL SINAMICS G120 BASIC OPERATOR PANEL (BOP-2) | 6SL3255-0AA00-4CA1 | бр | 1 |
| 15 | DC USB модул, DC 24V, 15A | 6EP1931-2EC21 | бр | 3 |
| 16 | SINAMICS G120 POWER MODULE PM240 WITHOUT CHOPPER 3AC380-480V +10/-10% 47-63HZ OUTPUT HIGH OVERLOAD: 55KW FOR 200% 3S,150% 57S,100% 240S AMBIENT TEMP -10 TO +50 DEG C OUTPUT LIGHT OVERLOAD: 75KW FOR 150% 3S,110% | 6SL3224-0BE35-5UA0 | бр | 1 |
| 17 | LV HRC FUSE LINK GL/GG WITH NON-INSULATED GRIP LUGS WITH FRONT INDICATOR SIZE 000, 100A, AC 500V/DC 250V | 3NA3830 | бр | 12 |
| 18 | LV HRC FUSE LINK GL/GG WITH NON-INSULATED GRIP LUGS WITH FRONT INDICATOR SIZE 000, 63A, AC 500V/DC 250V | 3NA3822 | бр | 12 |
| 19 | LV HRC FUSE LINK GL/GG WITH NON-INSULATED GRIP LUGS WITH FRONT INDICATOR SIZE 000, 50A, AC 500V/DC 250V | 3NA3820 | бр | 12 |
| № по ред | НАИМЕНОВАНИЕ | Кат. № | Мярка | К-во |
| 20 | LV HRC FUSE LINK GL/GG WITH NON-INSULATED GRIP LUGS WITH FRONT INDICATOR SIZE 000, 32A, AC 500V/DC 250V | 3NA3812 | бр | 12 |
| 21 | LV HRC FUSE LINK GL/GG WITH NON-INSULATED GRIP LUGS WITH FRONT INDICATOR SIZE 000, 20A, AC 500V/DC 250V | 3NA3807 | бр | 12 |
| 22 | LV HRC FUSE LINK GL/GG WITH NON-INSULATED GRIP LUGS WITH FRONT INDICATOR SIZE 000, 16A, AC 500V/DC 250V | 3NA3805 | бр | 12 |
| 23 | CONTACTOR, AC COIl VOLTAGE 120V, 1-N.O., 20A | 3RT1017-1AK61 | бр | 2 |
| 24 | CONTACTOR, AC COIl VOLTAGE 120V, 55A | 3RT1035-1AK60 | бр | 2 |
| 25 | CONTACTOR, AC-3 18,5 KW/400 V, DC 24 V, 3-POLE, SIZE S3, SCREW CONNECTION | 3RT1035-1BB40 | бр | 3 |
| 26 | NEOZED FUSE LINK 400V GL, SIZE D01, 2A IN FOLDING BOX | 5SE2302 | бр | 10 |
| 27 | CIRCUIT-BREAKER SIZE S0, FOR MOTOR PROTECTION, CLASS 10, A-REL.4.5A...6.3A, N-REL.82A, SCREW TERMINAL, STANDARD SWITCHING CAPACITY | 3RV1021-1GA10 | бр | 2 |
| 28 | CIRCUIT-BREAKER SIZE S0, FOR MOTOR PROTECTION, CLASS 10, A-REL. 2.2...3.2A, N-REL.42A, SCREW TERMINAL, STANDARD SWITCHING CAPACITY | 3RV1021-1DA10 | бр | 2 |
| 29 | CIRCUIT-BREAKER SIZE S0, FOR MOTOR PROTECTION, CLASS 10, A-REL. 1.4...2A, N-REL. 26A, SCREW TERMINAL, STANDARD SWITCHING CAPACITY | 3RV1021-1BA10 | бр | 2 |
| 30 | SITOR FUSE LINKS 160A, AC 690V (DIN 43620, SIZE 00) | 3NE8024-1 | бр | 6 |
| 31 | CIRCUIT-BREAKER SIZE S0, FOR MOTOR PROTECTION, CLASS 10, A-REL. 9...12.5A, N-REL. 163A SCREW TERMINAL, STANDARD SWITCHING CAPACITY | 3RV1021-1KA10 | бр | 2 |
| 32 | CIRCUIT-BREAKER SIZE S0, FOR MOTOR PROTECTION, CLASS 10, A-REL. 7...10A, N-REL. 130A, SCREW TERMINAL, STANDARD SWITCHING CAPACITY | 3RV1021-1JA10 | бр | 2 |
| 33 | CONTACTOR, AC-3 4KW/400V, DC 24 V, 3-POLE, SIZE S0, SCREW CONNECTION | 3RT1023-1BB40 | бр | 6 |
| 34 | CIRCUIT-BREAKER SIZE S2. FOR MOTOR PROTECTION, CLASS 10, A-REL. 22...32A, N-REL. 416A, SCREW TERMINAL, STANDARD SWITCHING CAPACITY | 3RV1031-4EA10 | бр | 2 |
| 35 | CURRENT MEASURING MODULE; SET CURRENT 2,4...25A; OVERALL WIDTH 45MM; STRAIGHT-THROUGH CT | 3UF7101-1AA00-0 | бр | 2 |
| № по ред | НАИМЕНОВАНИЕ | Кат. № | Мярка | К-во |
| 36 | CIRCUIT-BREAKER SIZE S2. FOR MOTOR PROTECTION, CLASS 10, A-REL. 28...40A, N-REL. 520A, SCREW TERMINAL, STANDARD SWITCHING CAPACITY | 3RV1031-4FA10 | бр | 2 |
| 37 | CURRENT MEASURING MODULE; SET CURRENT 10...100A; OVERALL WIDTH 55MM; STRAIGHT-THROUGH CT | 3UF7102-1AA00-0 | бр | 2 |
| 38 | Захранващ блок | 6EP1332-2BA10 | бр | 2 |
| 39 | DIGITAL MODULE; 4 INPUTS AND 2 RELAY OUTPUTS; INPUT VOLTAGE DC 24V; BISTABLE RELAY OUTPUTS; MAXIMUM 2 DIGITAL MODULES PER BASIC UNIT 2 | 3UF7310-1AB00-0 | бр | 2 |
| 40 | CONTACTOR, AC-3 37 KW/400 V, DC 24 V, 3-POLE, SIZE S3, SCREW CONNECTION | 3RT1045-1BB40 | бр | 3 |
| 41 | CIRCUIT-BREAKER VL 160N STANDARD BREAKING CAPACITY ICU=55KA / 415 V AC 3 POLE, LINE PROTECTION OVERCURRENT RELEASE TM, LI IN=160A, RATED CURRENT IR=125-160A, OVERLOAD II=800-1600A, SHORT CIRCUIT WITH SCREW CONNECTION WITHOUT AUXILIARY RELEASE WITHOUT AUXILIARY/ALARM SWITCH | 3VL2716-1DC36-0AD1 | бр | 1 |
| 42 | BASIC UNIT 2 SIMOCODE PRO V; PROFIBUS DP INTERFACE 12 MBIT/S, RS485; 4I/3O FREELY PARAMETERIZABLE; US: DC 24V; THERMISTOR MOTOR PROTECTION; RELAY OUTPUTS MONOSTABLE; EXPANDABLE BY EXPANSION MODULES | 3UF7010-1AB00-0 | бр | 1 |
| 43 | CIRCUIT-BREAKER VL 250H HIGH BREAKING CAPACITY ICU=70KA / 415 V AC 3 POLE, LINE PROTECTION OVERCURRENT RELEASE TM, LI IN=250A, RATED CURRENT IR=200-250A, OVERLOAD II=1200-2500A, SHORT-CIRCUIT WITHOUT AUXILIARY RELEASE WITHOUT AUXILIARY/ALARM SWITCH | 3VL3725-2DC36-0AA0 | бр | 1 |

При офериране е задължително спазването на номерацията. При неофериране на дадена позиция моля да отбележите цена 0, а добавянето на нови позиции се отбелязва с буква към съответния номер на позицията.

II. ТЕХНИЧЕСКА ЧАСТ

1. Качество - Доставката да се придружава със Сертификат за качество от завода производител.

2. Произход – Siemens AG;

3. Франкировка - DDP склад на Купувача, гр. Панагюрище, площадка Асарел;

4.  Количества: Съгласно описаното в таблицата по-горе.

5. Срок на доставка – моля посочете брой календарни дни, считано от датата на получена писмена поръчка за доставка;

6. Гаранции – моля посочете в месеци след доставка, но не по-малко от 18 месеца;

7. Възможност за поръчка на позиции апаратура и материали по Ценова листа на SIEMENS AG с посочена търговска отстъпка, които не са включени в Техническото Задание при същите условия на ценообразуване;

8. Референтен списък на клиенти:

-  участниците следва да се представят Референтен списък на клиенти с адреси и телефони с годишни количества доставки или година на доставяне на стоки със същите параметри;

9. Референции

- участниците следва да  препоръки от 3 други настоящи клиенти

10. Фирмени документи

Всеки участник в процедурата е необходимо да представи Актуално състояние, Счетоводен баланс и Oтчет за приходи и разходи – за последната отчетна финансова година.

Проекто-договорът се изготвя от страна на „Асарел Медет” АД на основание утвърденит е в дружеството типови договори и се предоставя на контрагентите за бележки и коментари в процеса на договаряне.

III. ТЪРГОВСКА ЧАСТ

1. Цени:

- Твърда цена за срока на договора в лева и в щатски долари едновременно в опция на Купувача. Ако офертите са предложени в различни валути, за целите на сравнението те се приравняват към една и съща валута – лева. За предотвратяване на отклонения и промяна в предложените ценови условия от периода на подаване на оферта до датата на изготвяне на анализа, породени от валутно-курсови разлики разлики, оферираните цени се приравняват в лева по валутен курс на БНБ от датата, на която е изготвена офертата на всеки конкретен участник в търга.

2. Условия на плащане

– разсрочено след доставка – (по-големия брой дни след доставка е предимство при оценката на офертите).

3. Валидност на офертата

- Валидността на офертата следва да бъде минимум три месецa след срока на подаването й.

IV. ИЗИСКВАНИЯ КЪМ ОФЕРТИТЕ И ДОСТАВЧИЦИТЕ

При изготвяне на предложението за участие в офертното проучване
поканения кандидат следва да се придържа стриктно към обявените от 
КУПУВАЧА условия.

Офертите трябва да бъдат в съответствие с изискванията на настоящото Техническо задание. Ако кандидатът не може да изпълни или да отговори на отделна точка, той трябва да посочи “Без отговор” за тази точка. Участниците в проучването следва да обосноват изчерпателно всички отговори.

V. ПРЕДСТАВЯНЕ НА ОФЕРТИТЕ

1. Офертите се изпращат само запечатани в плик, като Търговските условия /цена, начин на плащане и валидност на офертата/ са запечатани във втори плик вътре в големия плик.

Върху запечатания плик с офертата, получен в деловодството на „Асарел-Медет”АД или изпратен по пощата, изискваме да се поставят надписите: “Оферта за доставка на апаратура и материали, производство на SIEMENS AG”, Да се отвори само от определената за целта комисия” и обозначен на плика “Подател: ........…”.

2. Крайния срок за представяне на офертите е до 28.08.2013г.

Оферти получени след крайния срок за представяне, няма да бъдат разглеждани.

Офертите не подлежат на промяна след изтичане на крайния срок за представянето им.

им.

VI. ОТВАРЯНЕ И ОЦЕНКА НА ОФЕРТИТЕ.

1.Офертите се отварят и разглеждат от избраната за целта комисия. Резултатите се оповестяват след приключване работата на комисията, като  класирането се извършва само в един кръг.

2. Най-напред се изготвя оценка за съответствие по техническите условия.

В случай, че някой от участниците в проучването не отговаря на изискванията по т.II Техническа част и/или не представи в офертата си отговор на която и да е от точките по тази част то той се декласира, като плика с търговските условия не се отваря.

3. За доставчик комисията по избор на изпълнител на доставката ще предложи за утвърждаване на Изп. Директор на “Асарел Медет” АД участникът, който отговаря  на всички технически условия и е предложил най-ниски цени за единица качество (продукция, гаранция) за доставка на апаратура и материали, производство на SIEMENS AG.

4. Обръщаме Ви внимание, че създаденият ред в дружеството за съхранение на офертите, прозрачност и принципност при тяхното разглеждане изключва възможността за влияние върху избора на изпълнител или върху качеството на входящия контрол чрез корупция. Освен това при констатиране подобни опити, съответните длъжностни лица се освобождават дисциплинарно от работа, а договорите със съответните партньори се прекратяват.

5. Ако имате някакви въпроси не се колебайте да се обърнете към лицето за контакти.

6. Лице за контакти: Цветана Димитрова Ненова - Специалист Доставки

Телефон: 0357/ 60 467

GSM: 0884/ 25 60 58

Факс: 0357/ 60 260

Е-mail: tznenova@asarel.com

Специалист Доставки: 					Директор „Развитие и Логистика”

/икн. Цветана Ненова/					/ инж. Ек. Станчева - Ковачева/

Експерт Търговия: 						Директор „ПТД”:

/икн. Анатолий Бабачев/  				 /инж. Ив. Чолаков/

Ръководител отдел „Доставки и Логистика”: 		Генерален Директор:

/инж. П. Паланкалиев/   			 /инж. Д. Николов/

Прокурист:

/икн. Иван Дончев/